## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269126 | 1269126 | HOSE;DOSN,X420109-00035,BALANCE COOLING | HOSE;MNFR:DOOSAN CORPORATION,PTNO:X420109-00035,ADDITIONAL FEATURES EN:BALANCE COOLING | 01)CROWN LIFT TRUCKS,01)X420109-00035,HOSE,01)BALANCE COOLING | X420109-00035 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | X420109-00035 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | BALANCE COOLING | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217175 | 1217175 | HOSE;DRVT,471TC-6-20M,NM,3/8 IN NB,HYD,S | HOSE;MNFR:DRIVETRAIN,PTNO:471TC-6-20M,ADDITIONAL FEATURES EN:NONMETALLIC,3/8 IN NB,HYD,SAE,100R16,WP 4000PSI,2 PLY SPIRAL WIRE R | 01)DRIVETRAIN AUSTRALIA,01)471TC-6-20M,HOSE,01)NONMETALLIC,3/8 IN NB,HYD,S | 471TC-6-20M | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 471TC-6-20M | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/hydraulic-industry-standard-hose-5800-2500-psi-471-hose/471tc-6 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 3/8 IN NB | OUTSIDE DIAMETER | 11/16 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 43 SERIES | CONNECTION 2 | 43 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 5000 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 BRAIDS STEEL WIRE | BEND RADIUS | 65 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ABS,BV,DNV,EN 857 (TYPE 2SC),ISO 11237 (TYPE 2SC),SAE J1942,USCG HF,SAE 100R16 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217174 | 1217174 | HOSE;DRVT,471TC-8-20M,NM,1/2 IN NB,HYD,S | HOSE;MNFR:DRIVETRAIN,PTNO:471TC-8-20M,ADDITIONAL FEATURES EN:NONMETALLIC,1/2 IN NB,HYD,SAE 100R16,MAX WP 17000PSI,2 PLY SPIRAL W | 01)DRIVETRAIN AUSTRALIA,01)471TC-8-20M,HOSE,01)NONMETALLIC,1/2 IN NB,HYD,S | 471TC-8-20M | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 471TC-8-20M | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/hydraulic-industry-standard-hose-5800-2500-psi-471-hose/471tc-8 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 1/2 IN NB | OUTSIDE DIAMETER | 51/64 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 43 SERIES | CONNECTION 2 | 43 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 4250 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 BRAIDS STEEL WIRE | BEND RADIUS | 90 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ABS,BV,DNV,EN 857 (TYPE 2SC),ISO 11237 (TYPE 2SC),SAE J1942,USCG HF,SAE 100R16 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217215 | 1217215 | HOSE;DRVT,781-24,NM,HYDR,250 BAR,1.1/2IN | HOSE;MNFR:DRIVETRAIN,PTNO:781-24,ADDITIONAL FEATURES EN:NONMETALLIC,HYDRAULIC,250 BAR,1.1/2IN | 01)DRIVETRAIN AUSTRALIA,01)781-24,HOSE,01)NONMETALLIC,HYDRAULIC,250 B | 781-24 | 3000461 | DRIVETRAIN | DRIVETRAIN | 781-24 | PARKER |  |  |  |  | https://www.mrostop.com/781-24-parker-high-pressure-hydraulic-hose-1-1-2-in-5000-psi | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER | 1-1/2 IN | OUTSIDE DIAMETER | 2-17/64 | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 78 SERIES | CONNECTION 2 | 78 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 5000 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 257 DEG F | REINFORCEMENT MATERIAL | 4/6 SPIRAL WOUND HIGH TENSILE STEEL WIRE | BEND RADIUS | 20 IN | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE 100R13/J1942/ISO 3862-1 TYPE R13/EN 856 TYPE R13/USCG HF/DNV/ABS, MSHA APPROVED | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217299 | 1217299 | HOSE;DRVT,722TC-16,NONMETALLIC:1 IN NB,H | HOSE;MNFR:DRIVETRAIN,PTNO:722TC-16,ADDITIONAL FEATURES EN:NONMETALLIC:1 IN NB,HYD,SAE 100R12,MAX WP 4000PSI,4 PLY SPIRAL WIRE | 01)DRIVETRAIN AUSTRALIA,01)722TC-16,HOSE,01)NONMETALLIC:1 IN NB,HYD,SAE | 722TC-16 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 722TC-16 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/hydraulic-constant-working-pressure-hose-4000-psi-globalcore-722-hose/722tc-16 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER | 1 IN NB | OUTSIDE DIAMETER | 1-1/2 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 43 SERIES | CONNECTION 2 | 43 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 4000 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 4 PLY SPIRAL WIRE REINFORCED | BEND RADIUS | 150 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 18752,SAE 100R12 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217269 | 1217269 | HOSE;DRVT,206-4-RL,NONMETALLIC:3/16 IN N | HOSE;MNFR:DRIVETRAIN,PTNO:206-4-RL,ADDITIONAL FEATURES EN:NONMETALLIC:3/16 IN NB,HYD,SYNTH RUBBER TUBE,1 TEXTILE INNER BRAID | 01)DRIVETRAIN AUSTRALIA,01)206-4-RL,HOSE,01)NONMETALLIC:3/16 IN NB,HYD | 206-4-RL | 3000461 | DRIVETRAIN | DRIVETRAIN | 206-4-RL | PARKER |  |  |  |  | https://www.fppoutlet.com/products/206-4-rl-hydraulic-air-brake-hose-3-16-id-double-fiber-and-steel-wire-braid-pkr-fiber-cover-blue.html | [10 empty] | ENRICHED | 40142020 Hydraulic hose | HOSE | HYDRAULIC | TYPE |  | INSIDE DIAMETER | 3/16 IN NB | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING | 3000 PSI | MATERIAL | PKR RUBBER | REINFORCEMENT MATERIAL | 2 BRAID FIBER -STEEL WIRE | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217187 | 1217187 | HOSE;DRVT,811HT-16,NM,RDTR,25MM NB,3 PLY | HOSE;MNFR:DRIVETRAIN,PTNO:811HT-16,ADDITIONAL FEATURES EN:NONMETALLIC,RADIATOR,25MM NB,3 PLY | 01)DRIVETRAIN AUSTRALIA,01)811HT-16,HOSE,01)NONMETALLIC,RADIATOR,25MM N | 811HT-16 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 811HT-16 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/high-temperature-flexible-suction-and-return-line-811ht/811ht-16 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | RADIATOR,NONMETALLIC | INSIDE DIAMETER | 1 IN | OUTSIDE DIAMETER | 1-1/2 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 81 SERIES,88 SERIES,43 SERIES | CONNECTION 2 | 81 SERIES,88 SERIES,43 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 250 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -46 TO 125 DEG C | REINFORCEMENT MATERIAL | MULTIPLE LAYERS OF FIBER SPIRAL AND ONE HELICAL WIRE | BEND RADIUS | 3 IN | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | MSHA,SAE 100R4,SAE J1942 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217301 | 1217301 | HOSE;DRVT,811HT-32,NONMETALLIC:50MM NB,W | HOSE;MNFR:DRIVETRAIN,PTNO:811HT-32,ADDITIONAL FEATURES EN:NONMETALLIC:50MM NB,WATER SUCTION/DELIVERY,10BAR(150PSI)WP,HT TEXTI | 01)DRIVETRAIN AUSTRALIA,01)811HT-32,HOSE,01)NONMETALLIC:50MM NB,WATER S | 811HT-32 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 811HT-32 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/high-temperature-flexible-suction-and-return-line-811ht/811ht-32 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | WATER SUCTION/DELIVERY,NONMETALLIC | INSIDE DIAMETER | 2 IN | OUTSIDE DIAMETER | 2-1/2 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 81 SERIES,88 SERIES,43 SERIES | CONNECTION 2 | 81 SERIES,88 SERIES,43 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 150 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -46 TO 125 DEG C | REINFORCEMENT MATERIAL | MULTIPLE LAYERS OF FIBER SPIRAL AND ONE HELICAL WIRE | BEND RADIUS | 152 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | MSHA,SAE 100R4,SAE J1942 | ADDITIONAL FEATURES | HT TEXTI | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217314 | 1217314 | HOSE;DRVT,811HT-40,NONMETALLIC: RADIATOR | HOSE;MNFR:DRIVETRAIN,PTNO:811HT-40,ADDITIONAL FEATURES EN:NONMETALLIC: RADIATOR,63.5MM NB3 | 01)DRIVETRAIN AUSTRALIA,01)811HT-40,HOSE,01)NONMETALLIC: RADIATOR,63.5M | 811HT-40 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 811HT-40 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/high-temperature-flexible-suction-and-return-line-811ht/811ht-40 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | RADIATOR,NONMETALLIC | INSIDE DIAMETER | 2-1/2 IN | OUTSIDE DIAMETER | 3 IN | LENGTH |  | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | 88 SERIES | CONNECTION 2 | 88 SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 62 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -46 TO 125 DEG C | REINFORCEMENT MATERIAL | MULTIPLE LAYERS OF FIBER SPIRAL AND ONE HELICAL WIRE | BEND RADIUS | 178 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | MSHA,SAE 100R4,SAE J1942 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217189 | 1217189 | HOSE;DRVT,811S-56,NONMETALLIC:RADIATOR,3 | HOSE;MNFR:DRIVETRAIN,PTNO:811S-56,ADDITIONAL FEATURES EN:NONMETALLIC:RADIATOR,3 PLY,STRAIGHT,88.9MM IDX90CM NOMINAL LGTH | 01)DRIVETRAIN AUSTRALIA,01)811S-56,HOSE,01)NONMETALLIC:RADIATOR,3 PLY | 811S-56 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 811S-56 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/medium-pressure-parkrimp-no-skive-hose-811s/811s-56 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | STRAIGHT,RADIATOR,NONMETALLIC | INSIDE DIAMETER | 3-1/2 IN | OUTSIDE DIAMETER | 4-11/64 IN | LENGTH | 90 CM | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | IF SERIES | CONNECTION 2 | IF SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 145 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 FIBRE SPIRAL,ONE HELICAL WIRE | BEND RADIUS | 360 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE 100R4 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217315 | 1217315 | HOSE;DRVT,811S-64,NONMETALLIC: 100MM X 9 | HOSE;MNFR:DRIVETRAIN,PTNO:811S-64,ADDITIONAL FEATURES EN:NONMETALLIC: 100MM X 90CM,STRAIGHT0 | 01)DRIVETRAIN AUSTRALIA,01)811S-64,HOSE,01)NONMETALLIC: 100MM X 90CM,S | 811S-64 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 811S-64 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/medium-pressure-parkrimp-no-skive-hose-811s/811s-64 | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | STRAIGHT,NONMETALLIC | INSIDE DIAMETER | 4 IN | OUTSIDE DIAMETER | 4-9/16 IN | LENGTH | 90 CM | CORE MATERIAL | SYNTHETIC RUBBER | CONNECTION 1 | IF SERIES | CONNECTION 2 | IF SERIES | FITTING MATERIAL |  | COVER MATERIAL | SYNTHETIC RUBBER | PRESSURE RATING | 145 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING | -40 TO 100 DEG C | REINFORCEMENT MATERIAL | 2 FIBRE SPIRAL,ONE HELICAL WIRE | BEND RADIUS | 400 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE 100R4 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217279 | 1217279 | HOSE;DRVT,9A8AL-AL040404C316-24,METALLIC | HOSE;MNFR:DRIVETRAIN,PTNO:9A8AL-AL040404C316-24,ADDITIONAL FEATURES EN:METALLIC:316L SS CORE/321 SS BRAID,FL SERIES,0.609M LG,1/4IN HOSE,F | 01)DRIVETRAIN AUSTRALIA,01)9A8AL-AL040404C316-24,HOSE,01)METALLIC:316L SS CORE/321 S | 9A8AL-AL040404C316-24 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 9A8AL-AL040404C316-24 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | METALLIC | INSIDE DIAMETER | 1/4 IN | OUTSIDE DIAMETER |  | LENGTH | 0.609 M | CORE MATERIAL | STAINLESS STEEL 316L | CONNECTION 1 | FL SERIES | CONNECTION 2 | FL SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | STAINLESS STEEL 321 BRAID | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217280 | 1217280 | HOSE;DRVT,9A8AL-AL080808C316-36,METALLIC | HOSE;MNFR:DRIVETRAIN,PTNO:9A8AL-AL080808C316-36,ADDITIONAL FEATURES EN:METALLIC:316L SS CORE/321 SS BRAID,FL SERIES,0.914M LG,1/2IN HOSE | 01)DRIVETRAIN AUSTRALIA,01)9A8AL-AL080808C316-36,HOSE,01)METALLIC:316L SS CORE/321 S | 9A8AL-AL080808C316-36 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 9A8AL-AL080808C316-36 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | METALLIC | INSIDE DIAMETER | 1/2 IN | OUTSIDE DIAMETER |  | LENGTH | 0.914 M | CORE MATERIAL | STAINLESS STEEL 316L | CONNECTION 1 | FL SERIES | CONNECTION 2 | FL SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | STAINLESS STEEL 321 BRAID | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217251 | 1217251 | HOSE;DRVT,CODE 7094-38300,NONMETALLIC:3/ | HOSE;MNFR:DRIVETRAIN,PTNO:CODE 7094-38300,ADDITIONAL FEATURES EN:NONMETALLIC:3/8IN ID, 9.5MM, 300 PSI, AIR HOSE, RUBBER | 01)DRIVETRAIN AUSTRALIA,01)CODE 7094-38300,HOSE,01)NONMETALLIC:3/8IN ID, 9.5MM | CODE 7094-38300 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 7094-38300 | PARKER |  |  |  |  | https://www.partsgopher.com/product/7094-38300/mpt-ii-series | https://www.hydradynellc.com/product/7094-38300/series-7094-red | [9 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | AIR,NONMETALLIC | INSIDE DIAMETER | 3/8 IN | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL | NBR | CONNECTION 1 | HY | CONNECTION 2 | HY | FITTING MATERIAL |  | COVER MATERIAL | CHLOROPRENE SMOOTH FINISH | PRESSURE RATING | 300 PSI | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | MULTIPLE TEXTILE PLIES | BEND RADIUS |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217355 | 1217355 | HOSE;DRVT,EMI-ELP-138341,138341,DIAPHRAG | HOSE;MNFR:DRIVETRAIN,PTNO:EMI-ELP-138341,ADDITIONAL FEATURES EN:138341,DIAPHRAGM-2160MM 313130 C/W PSG GUARD | 01)DRIVETRAIN AUSTRALIA,01)EMI-ELP-138341,HOSE,01)138341,DIAPHRAGM-2160MM 313 | EMI-ELP-138341 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | EMI-ELP-138341 |  |  | 313130 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | DIAPHRAGM | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.16 M | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W PSG GUARD | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217356 | 1217356 | HOSE;DRVT,EMI-ELP-138342,138342,DIAPHRAG | HOSE;MNFR:DRIVETRAIN,PTNO:EMI-ELP-138342,ADDITIONAL FEATURES EN:138342,DIAPHRAGM-2755MM 313134 C/W PSG GUARD | 01)DRIVETRAIN AUSTRALIA,01)EMI-ELP-138342,HOSE,01)138342,DIAPHRAGM-2755MM 313 | EMI-ELP-138342 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | EMI-ELP-138342 |  |  | 313134 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | DIAPHRAGM | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 2.755 M | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W PSG GUARD | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217359 | 1217359 | HOSE;DRVT,EMI-ELP-148140,POWER UNIT TO P | HOSE;MNFR:DRIVETRAIN,PTNO:EMI-ELP-148140,ADDITIONAL FEATURES EN:POWER UNIT TO PRESS #1 -8 JIC STR @ 4.75 LONG C/W JOINER X 2 | 01)DRIVETRAIN AUSTRALIA,01)EMI-ELP-148140,HOSE,01)POWER UNIT TO PRESS #1 -8 J | EMI-ELP-148140 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | EMI-ELP-148140 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER | 1 IN | OUTSIDE DIAMETER |  | LENGTH | 4.75 IN | CORE MATERIAL |  | CONNECTION 1 | 8 JIC STRAIGHT | CONNECTION 2 | 8 JIC STRAIGHT | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER UNIT TO PRESS,C/W JOINER X 2 | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217332 | 1217332 | HOSE;DRVT,EMI-ELP-150131,NONMETALLIC:1 1 | HOSE;MNFR:DRIVETRAIN,PTNO:EMI-ELP-150131,ADDITIONAL FEATURES EN:NONMETALLIC:1 1/4IN MULTISPIRAL 4 WIRE 6000 PSI, ROLLOF 20 METRES P | 01)DRIVETRAIN AUSTRALIA,01)EMI-ELP-150131,HOSE,01)NONMETALLIC:1 1/4IN MULTISP | EMI-ELP-150131 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | EMI-ELP-150131 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE |  | INSIDE DIAMETER | 1-1/4 IN | OUTSIDE DIAMETER |  | LENGTH | 20 M | MATERIAL | NONMETALLIC | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REINFORCEMENT MATERIAL:MULTISPIRAL 4 WIRE,PRESSURE RATING:6000 PSI | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217217 | 1217217 | HOSE;DRVT,Z001301746,HSE,HYDR,TAILHOSE,E | HOSE;MNFR:DRIVETRAIN,PTNO:Z001301746,ADDITIONAL FEATURES EN:HOSE,HYDRAULIC,TAILHOSE,END STUD,90 DEG,50MM,STEEL HYDRAULIC | 01)DRIVETRAIN AUSTRALIA,01)Z001301746,HOSE,01)HOSE,HYDRAULIC,TAILHOSE,END | Z001301746 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | Z001301746 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,END STUD | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH | 50 MM | CORE MATERIAL | STEEL | CONNECTION 1 | 90 DEG TAIL | CONNECTION 2 | 90 DEG TAIL | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1268528 | 1268528 | HOSE;GARD,100006772,COMP AIR INTAKE HOSE | HOSE;MNFR:GARDNER DENVER,PTNO:100006772,ADDITIONAL FEATURES EN:COMP AIR INTAKE HOSE,L55-75 DN130 | 01)GARDNER DENVER INDUSTRIES,01)100006772,HOSE,01)COMP AIR INTAKE HOSE,L55-75 | 100006772 | 3000280 | GARDNER DENVER | GARDNER DENVER | 100006772 | [5 empty] | https://airenergyuk.com/shop/intake-hose-l55-l75-100006772/ | https://www.industrialairpower.com/100006772-intake-hose-l55-l7.html | [9 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | COMPRESSOR AIR INTAKE | INSIDE DIAMETER | DN 130 | OUTSIDE DIAMETER |  | LENGTH | 55 TO 75 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1219997 | 1219997 | HOSE;MAN,251365 | HOSE;MNFR:MANITOU,PTNO:251365 | 01)JUNGHEINRICH AUSTRALIA PT,01)251365,HOSE | 251365 | 3000007 | MANITOU | MANITOU | 251365 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.xdalys.lt/en/lower-wire-radiator-cooler-manitou-251365-original_engine-cooling | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1219996 | 1219996 | HOSE;MAN,277138 | HOSE;MNFR:MANITOU,PTNO:277138 | 01)JUNGHEINRICH AUSTRALIA PT,01)277138,HOSE | 277138 | 3000007 | MANITOU | MANITOU | 277138 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://czescimanitou.pl/przewody-chlodnicy-przewod-chlodnicy-gorny-manitou-277138,c34,p893,pl.html | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | UPPER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1268976 | 1268976 | HOSE;MAN,305233,RDTR | HOSE;MNFR:MANITOU,PTNO:305233,ADDITIONAL FEATURES EN:RADIATOR | 01)JUNGHEINRICH AUSTRALIA PT,01)305233,HOSE,01)RADIATOR | 305233 | 3000007 | MANITOU | MANITOU | 305233 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://czescimanitou.pl/manitou-przewod-chlodnicy-gorny-manitou-305233,c2,p894,cs.html | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | RADIATOR | TYPE | UPPER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | END CONNECTION |  | COLOR |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BEND RADIUS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 30-06-2023 |  | 1248899 | 1248899 | HOSE;MER,OTH367-350-060 | HOSE;MNFR:MERCEDES,PTNO:OTH367-350-060 | HOSE | OTH367-350-060 | 3000008 | MERCEDES | MERCEDES | 367-350-060 | [5 empty] | https://teamequip.com/sandvik-367-350-060-d1926-air-cooler-hose-t189984/ | https://governmenttransitsurplus.com/products/purosil-3-5-x-6-heavy-duty-red-silicone-hump-hose-367-350-060-nos | [9 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1275279 | 1275279 | HOSE;PRKH,EI1J743-4-4-BPACK,HT,STR,45DEG | HOSE;MNFR:PARKER HANNIFIN,PTNO:EI1J743-4-4-BPACK,ADDITIONAL FEATURES EN:HT,STR,45DEG,43SERIES | 01)ENZED MOUNT ISA(RKM INVES,01)EI1J743-4-4-BPACK,HOSE,01)HT,STR,45DEG,02)43SERIES | EI1J743-4-4-BPACK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EI1J743-4-4-BPACK |  | ENZED MOUNT ISA(RKM INVES |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HIGH TEMPERATURE,STRAIGHT | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL |  | CONNECTION 1 | 45 DEG,43 SERIES | CONNECTION 2 | 45 DEG,43 SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273755 | 1273755 | HOSE;PRKH,EMI-16A-201Q-S, 77 SERIES 20 S | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-16A-201Q-S,ADDITIONAL FEATURES EN: 77 SERIES 20 STRAIGHT FLANGED HOSE TAIL 77 SERIES, STEEL HOSE | 01)ENZED,01)EMI-16A-201Q-S,HOSE,01) 77 SERIES 20 STRAIGHT FLAN | EMI-16A-201Q-S | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-16A-201Q-S |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL | STEEL | CONNECTION 1 | 77 SERIES 20 STRAIGHT FLANGED TAIL | CONNECTION 2 | 77 SERIES 20 STRAIGHT FLANGED TAIL | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273740 | 1273740 | HOSE;PRKH,EMI-72-TC-HSE-MS78, MULTISPIRA | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-72-TC-HSE-MS78,ADDITIONAL FEATURES EN: MULTISPIRAL S10 4WIRE HYDRAULIC HOSE ROLL, HOSE ASSY NONMETAL | 01)ENZED,01)EMI-72-TC-HSE-MS78,HOSE,01) MULTISPIRAL S10 4WIRE HYDR | EMI-72-TC-HSE-MS78 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-72-TC-HSE-MS78 | [5 empty] | URL NOT FOUND | [10 empty] | ENRICHED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE | HYDRAULIC,NONMETALLIC | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL |  | CONNECTION 1 |  | CONNECTION 2 |  | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL | MULTISPIRAL S10 4 WIRE | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273752 | 1273752 | HOSE;PRKH,EMI-DS-29, HITEMP FSLEEVING 24 | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-DS-29,ADDITIONAL FEATURES EN: HITEMP FSLEEVING 24 ROLL REDCOVER, HOSE PROTECTION HIGH TEMP | 01)ENZED,01)EMI-DS-29,HOSE,01) HITEMP FSLEEVING 24 ROLL R | EMI-DS-29 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-DS-29 |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | HIGH TEMPERATURE PROTECTION | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HITEMP FSLEEVING 24 ROLL,COLOUR:RED COVER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273749 | 1273749 | HOSE;PRKH,EMI-FS-20, HITEMP FSLEEVING 20 | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-FS-20,ADDITIONAL FEATURES EN: HITEMP FSLEEVING 20 ROLL REDCOVER, HOSE PROTECTION HIGH TEMP | 01)ENZED,01)EMI-FS-20,HOSE,01) HITEMP FSLEEVING 20 ROLL R | EMI-FS-20 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-FS-20 |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | HIGH TEMPERATURE PROTECTION | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HITEMP FSLEEVING 20 ROLL,COLOUR:RED COVER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273750 | 1273750 | HOSE;PRKH,EMI-FS-22, HITEMP FSLEEVING 22 | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-FS-22,ADDITIONAL FEATURES EN: HITEMP FSLEEVING 22 ROLL REDCOVER, HOSE PROTECTION HIGH TEMP | 01)ENZED,01)EMI-FS-22,HOSE,01) HITEMP FSLEEVING 22 ROLL R | EMI-FS-22 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-FS-22 |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | HIGH TEMPERATURE PROTECTION | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HITEMP FSLEEVING 22 ROLL,COLOUR:RED COVER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273751 | 1273751 | HOSE;PRKH,EMI-FS-24, HITEMP FSLEEVING 24 | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-FS-24,ADDITIONAL FEATURES EN: HITEMP FSLEEVING 24 ROLL REDCOVER, HOSE PROTECTION HIGH TEMP | 01)ENZED,01)EMI-FS-24,HOSE,01) HITEMP FSLEEVING 24 ROLL R | EMI-FS-24 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-FS-24 |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | HIGH TEMPERATURE PROTECTION | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HITEMP FSLEEVING 24 ROLL,COLOUR:RED COVER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273754 | 1273754 | HOSE;PRKH,EMI-FS-38, HITEMP FSLEEVING 38 | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-FS-38,ADDITIONAL FEATURES EN: HITEMP FSLEEVING 38 ROLL REDCOVER, HOSE PROTECTION HIGH TEMP | 01)ENZED,01)EMI-FS-38,HOSE,01) HITEMP FSLEEVING 38 ROLL R | EMI-FS-38 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-FS-38 |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | HIGH TEMPERATURE PROTECTION | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HITEMP FSLEEVING 38 ROLL,COLOUR:RED COVER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273743 | 1273743 | HOSE;PRKH,EMI-FS-48, HITEMP FSLEEVING 48 | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-FS-48,ADDITIONAL FEATURES EN: HITEMP FSLEEVING 48 ROLL, REDCOVER, HOSE PROTECTION HIGH TEMP | 01)ENZED,01)EMI-FS-48,HOSE,01) HITEMP FSLEEVING 48 ROLL | EMI-FS-48 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-FS-48 |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | HIGH TEMPERATURE PROTECTION | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HITEMP FSLEEVING 48 ROLL,COLOUR:RED COVER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273753 | 1273753 | HOSE;PRKH,EMI-HSC-7, HOSE SUPPORT CLAMP7 | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-HSC-7,ADDITIONAL FEATURES EN: HOSE SUPPORT CLAMP7 PK STEEL, RUBBER, EYELET CUT, 7MM | 01)ENZED,01)EMI-HSC-7,HOSE,01) HOSE SUPPORT CLAMP7 PK ST | EMI-HSC-7 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-HSC-7 |  | ENZED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40142000 Hoses | HOSE | NO MODIFIER | TYPE | EYELET CUT | INSIDE DIAMETER | 7 MM | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HOSE SUPPORT CLAMP 7 PK STEEL | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273994 | 1273994 | HOSE;PRKH,EMI-J743-10,TAIL,10 SEAL LOK F | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-J743-10,ADDITIONAL FEATURES EN:TAIL,10 SEAL LOK FEM 45 DEG TAIL, 43 SERIES | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-J743-10,HOSE,01)TAIL,10 SEAL LOK FEM 45 DEG | EMI-J743-10 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-J743-10 |  | ENZED MOUNT ISA(RKM INVES |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL |  | CONNECTION 1 | 10 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | CONNECTION 2 | 10 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273995 | 1273995 | HOSE;PRKH,EMI-J743-12,TAIL,12 SEAL LOK F | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-J743-12,ADDITIONAL FEATURES EN:TAIL,12 SEAL LOK FEM 45 DEG TAIL, 43 SERIES | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-J743-12,HOSE,01)TAIL,12 SEAL LOK FEM 45 DEG | EMI-J743-12 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-J743-12 |  | ENZED MOUNT ISA(RKM INVES |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL |  | CONNECTION 1 | 12 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | CONNECTION 2 | 12 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273996 | 1273996 | HOSE;PRKH,EMI-J743-16,TAIL,16 SEAL LOK F | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-J743-16,ADDITIONAL FEATURES EN:TAIL,16 SEAL LOK FEM 45 DEG TAIL, 43 SERIES | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-J743-16,HOSE,01)TAIL,16 SEAL LOK FEM 45 DEG | EMI-J743-16 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-J743-16 |  | ENZED MOUNT ISA(RKM INVES |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL |  | CONNECTION 1 | 16 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | CONNECTION 2 | 16 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273993 | 1273993 | HOSE;PRKH,EMI-J743-8,TAIL,8 SEAL LOK FEM | HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-J743-8,ADDITIONAL FEATURES EN:TAIL,8 SEAL LOK FEM 45 DEG TAIL, 43 SERIES | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-J743-8,HOSE,01)TAIL,8 SEAL LOK FEM 45 DEG | EMI-J743-8 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-J743-8 |  | ENZED MOUNT ISA(RKM INVES |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141764 Hose assembly | HOSE | ASSEMBLY | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | CORE MATERIAL |  | CONNECTION 1 | 8 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | CONNECTION 2 | 8 SEAL LOK FEMALE 45 DEG TAIL,43 SERIES | FITTING MATERIAL |  | COVER MATERIAL |  | PRESSURE RATING |  | BURST PRESSURE RATING |  | TEMPERATURE RATING |  | REINFORCEMENT MATERIAL |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 30-06-2023 |  | 1274607 | 1274607 | HOSE;STAU,SPG63-250-1-RBU | HOSE;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:SPG63-250-1-RBU | 01)COOPER FLUID SYSTEMS,01)SPG63-250-1-RBU,HOSE | SPG63-250-1-RBU | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | SPG63-250-1-RBU |  | COOPER FLUID SYSTEMS |  |  |  | https://www.hyspecs.com.au/products/category/hydraulic-accessories/pressure-gauges?fullweb=1 | https://www.oilsolutions.com.au/wp-content/uploads/513-Stauff_Pressure_Gauges__Test_Kits-1.pdf | [9 empty] | ENRICHED | 41112412 Pressure gauge | GAUGE | PRESSURE | MEASURING RANGE | 0 TO 250 BAR | DIAL SIZE |  | PROCESS CONNECTION |  | CONNECTION LOCATION |  | MOUNTING TYPE |  | ACCURACY |  | DISPLAY TYPE |  | TUBE MATERIAL |  | CONNECTION MATERIAL |  | CASE MATERIAL |  | FILLER MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1333493 | 1333493 | JACK;DIEC,BKA0052 | JACK;MNFR:DIECI,PTNO:BKA0052,ADDITIONAL FEATURES EN:MINI | JACK,01)MINI | BKA0052 | 3000511 | DIECI | DIECI | BKA0052 | [5 empty] | https://parts.titanmachinery.ua/dieci/BKA0052 | [10 empty] | CLEANSED | 24101612 Jacks | JACK | NO MODIFIER | TYPE | MINI | LOAD RATING |  | EXTENDED HEIGHT |  | RETRACTED HEIGHT |  | SIZE |  | BODY MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1266928 | 1266928 | LATCH;AB,800FALM,MNTG,MTL,22MM,3 CONTACT | LATCH;MNFR:ALLEN BRADLEY,PTNO:800FALM,ADDITIONAL FEATURES EN:MOUNTING,METAL,22MM,3 CONTACTS | 01)NHP ELECTRICAL ENGINEERIN,01)800FALM,LATCH,01)MOUNTING,METAL,22MM,3 CONTA | 800FALM | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800F-ALM | [5 empty] | https://www.rockwellautomation.com/en-au/products/details.800F-ALM.html | https://www.rexelusa.com/p/75037/allen-bradley/mounting-latch-metal-for-800-f-225-mm-operators/662468122139/800f-alm | [9 empty] | CLEANSED | 31162407 Latch | LATCH | NO MODIFIER | TYPE | MOUNTING | SIZE | 22 MM | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3 CONTACTS | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1266929 | 1266929 | LATCH;AB,800FALP,MNTG,PLSTC,22MM,3 CONTS | LATCH;MNFR:ALLEN BRADLEY,PTNO:800FALP,ADDITIONAL FEATURES EN:MOUNTING,PLASTIC,22MM,3 CONTS | 01)NHP ELECTRICAL ENGINEERIN,01)800FALP,LATCH,01)MOUNTING,PLASTIC,22MM,3 CON | 800FALP | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800F-ALP | [5 empty] | https://www.rexelusa.com/p/40423/allen-bradley/contact-block-mounting-latch-plastic-for-800f-pendant-station/662468122146/800f-alp | https://rexel-cdn.com/products/ab800f-x10pdf.pdf?i=E8EC2D53-0EE5-4906-BB78-9D1FE6896A19 | [9 empty] | CLEANSED | 31162407 Latch | LATCH | NO MODIFIER | TYPE | MOUNTING | SIZE | 22 MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3 CONTACTS | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1258550 | 1258550 | LATCH;DIEC,3E61012 | LATCH;MNFR:DIECI,PTNO:3E61012,ADDITIONAL FEATURES EN:WINDOW,VEH, DOOR FRAME | LATCH,01)WINDOW,VEH, DOOR FRAME | 3E61012 | 3000511 | DIECI | DIECI | 3E61012 | [5 empty] | https://goldytech.com.ua/ua/p1222839729-3e61012-blokirovka-dverej.html | [10 empty] | CLEANSED | 31162407 Latch | LATCH | DOOR | TYPE | VEHICLE WINDOW FRAME | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217530 | 1217530 | LATCH;DIEC,AWD1026 | LATCH;MNFR:DIECI,PTNO:AWD1026,ADDITIONAL FEATURES EN:BONNET,MATERIAL:METAL,HOOD VEHICLE, REPLACES RUBBER STRAP | LATCH,01)BONNET,MATERIAL:METAL,HOOD VEHICLE, REPLACES RU | AWD1026 | 3000511 | DIECI | DIECI | AWD1026 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162407 Latch | LATCH | NO MODIFIER | TYPE | BONNET,HOOD VEHICLE | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REPLACES RUBBER STRAP | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1211716 | 1211716 | MODEM;ABB,3BSE037760R1 | MODEM;MNFR:ABB,PTNO:3BSE037760R1 | MODEM | 3BSE037760R1 | 3000014 | ABB | ABB | 3BSE037760R1 | [5 empty] | https://new.abb.com/products/3BSE037760R1/3bse037760r1 | [10 empty] | ENRICHED | 43222628 Modems | MODEM | NO MODIFIER | TYPE | MODULEBUS CLUSTER | FREQUENCY BAND |  | POWER SUPPLY |  | DATA TRANSFER RATE |  | NUMBER OF PORTS |  | PORT TYPE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 54 WDX119 HTX96 DP MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | RoHS | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1272836 | 1272836 | OIL BOTTLE 1000ML FULL |  | 01)NHP,01)OILBOTTLE1000ML,OIL,01)BOTTLE,1000ML,FULL | OILBOTTLE1000ML | 3000664 | NHP | NHP | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 12181600 Oils | OIL | NO MODIFIER | TYPE |  | CONTAINER | 1000 ML BOTTLE | GRADE |  | FLASH POINT |  | POUR POINT |  | SPECIFIC GRAVITY |  | VISCOSITY |  | VISCOSITY INDEX |  | MSDS NUMBER |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269759 | 1269759 | PAD,SCOURG;3M,199365,S/B LIGHT,WHT,50PK | PAD,SCOURING;MNFR:3M,PTNO:199365,ADDITIONAL FEATURES EN:S/B LIGHT,WHITE,50PK | 01)CNW (MOUNT ISA) ELECT WHO,01)SYD199365,PAD,SCOURING,01)S/B LIGHT,WHITE,50PK | 199365 | 3000220 | 3M | 3M | 199365 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 47131602 Scouring pads | PAD | SCOURING | TYPE |  | SIZE |  | ABRASIVE TYPE |  | MATERIAL |  | COLOUR | WHITE | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | S/B LIGHT,PACKAGING QUANTITY:50/PK | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1268836 | 1268836 | PAD;3M,1588054,SUPER POLISH,WHT,40 CM | PAD;MNFR:3M,PTNO:1588054,ADDITIONAL FEATURES EN:SUPER POLISH,WHITE,40 CM 4100 | 01)J BLACKWOOD & SONS,01)1588054,PAD,01)SUPER POLISH,WHITE,40 CM | 1588054 | 3000220 | 3M | 3M | 1588054 |  | J BLACKWOOD & SONS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 47121608 Floor machine pads | PAD | BUFFING | TYPE | SUPER POLISH | DIAMETER | 40 CM | MATERIAL |  | THICKNESS |  | SPEED RATING |  | COLOR | WHITE | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4100 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269630 | 1269630 | PAD;3M,471075,SCRUB N STRIP,DOODLEBUG | PAD;MNFR:3M,PTNO:471075,ADDITIONAL FEATURES EN:SCRUB N STRIP,DOODLEBUG BROWN 117X254 20PK | 01)ATOM SUPPLY,01)471075,PAD,01)SCRUB N STRIP,DOODLEBUG B | 471075 | 3000220 | 3M | 3M | 471075 |  | ATOM SUPPLY |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SCRUB N STRIP,DOODLEBUG BROWN 117X254 20PK | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1268544 | 1268544 | PAD;3M,88891860,BCKNG,75 MM X 1/4 IN,MED | PAD;MNFR:3M,PTNO:88891860,ADDITIONAL FEATURES EN:BACKING,75 MM X 1/4 IN,MEDIUM ROLOC,BP73115 | 01)ATOM SUPPLY MACKAY,01)88891860,PAD,01)BACKING,75 MM X 1/4 IN,MEDI | 88891860 | 3000220 | 3M | 3M | 88891860 |  | ATOM SUPPLY MACKAY | BP73115 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | PAD | NO MODIFIER | TYPE | BACKING,MEDIUM | SIZE | 75 MMX1/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ROLOC | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1252922 | 1252922 | PAD;DIEC,4C.118157 | PAD;MNFR:DIECI,PTNO:4C.118157,ADDITIONAL FEATURES EN:MATERIAL:RUBBER | PAD,01)MATERIAL:RUBBER | 4C.118157 | 3000511 | DIECI | DIECI | 4C.118157 | [5 empty] | https://parts.titanmachinery.ua/dieci/4C.118157 | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | PAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 30-06-2023 |  | 1252844 | 1252844 | PAD;DIEC,4C.XE0800547 | PAD;MNFR:DIECI,PTNO:4C.XE0800547,ADDITIONAL FEATURES EN:MATERIAL:RUBBER | PAD,01)MATERIAL:RUBBER | 4C.XE0800547 | 3000511 | DIECI | DIECI | 4C.XE0800547 | [5 empty] | https://www.lbr.ru/zapchasti/izolator-4c-xe0800547 | [10 empty] | CLEANSED | 30140000 Insulation | INSULATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217837 | 1217837 | PAD;MILW,49362785,180MM,WOOL CUTTING | PAD;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:49362785,ADDITIONAL FEATURES EN:180MM,WOOL CUTTING | 01)MOUNT ISA MINING SUPPLIES,01)49362785,PAD,01)180MM,WOOL CUTTING | 49362785 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 49362785 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/accessories/polishing-and-sanding/polishing-pads/49362785.html | https://sydneytools.com.au/product/milwaukee-49362785-180mm-7-wool-cutting-pad-to-suit-18v-polisher-m18fap180 | [9 empty] | ENRICHED | 47121608 Floor machine pads | PAD | BUFFING | TYPE | WOOL CUTTING | DIAMETER |  | MATERIAL |  | THICKNESS |  | SPEED RATING |  | COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WIDTH:180 MM | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1267115 | 1267115 | POSITIONER;FISV,DVC2000,HART 5 HC,IEC EX | POSITIONER;MNFR:FISHER CONTROLS,PTNO:DVC2000,ADDITIONAL FEATURES EN:HART 5 HC,IEC EX IA,4-20MA POS TXN,2 LIMIT SWITCHES,20-49PSIG RELAY | 01)PACIFIC CONTROLS PTY LIMI,01)DVC-3787-4386441,POSITIONER,01)HART 5 HC,IEC EX IA,4-20MA | DVC2000 | 3000274 | FISHER CONTROLS | FISHER CONTROLS | DVC2000 |  | PACIFIC CONTROLS PTY LIMI | DVC-3787-4386441 |  |  | https://www.emerson.com/documents/automation/instruction-manual-fieldvue-dvc2000-digital-valve-controller-en-135208.pdf | [10 empty] | ENRICHED | 40141616 Valve parts or accessories | POSITIONER | VALVE | TYPE | I/P | VALVE TYPE |  | ACTUATION TYPE | PNEUMATIC | INPUT SIGNAL RANGE | 4 TO 20 MADC | OUTPUT TYPE |  | TEMPERATURE RATING | -40 TO 85 DEG C | CERTIFICATION/STANDARD | ATEX,ANSI/ISA | ADDITIONAL FEATURES | [10 empty] | HART 5 HC,IEC EX IA,4-20MA POS TXN,2 LIMIT SWITCHES,20-49PSIG RELAY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1323897 | 1323897 | POSITIONER;SIE,6DR5020-0NG00-0AA0 | POSITIONER;MNFR:SIEMENS,PTNO:6DR5020-0NG00-0AA0 | POSITIONER | 6DR5020-0NG00-0AA0 | 3000032 | SIEMENS | SIEMENS | 6DR5020-0NG00-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/uk/Catalog/Product/6DR5020-0NG00-0AA0 | https://www.nexinstrument.com/6dr5020-0ng00-0aa0 | [9 empty] | ENRICHED | 23153000 Holding and positioning and guiding systems and devices | POSITIONER | NO MODIFIER | TYPE | ELECTROPNEUMATIC | POWER SUPPLY |  | PRESSURE RATING |  | END CONNECTION | M20X1.5 / 1/4 IN BSPP | MATERIAL |  | SPEED RATING |  | TEMPERATURE RATING |  | INDICATION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1214311 | 1214311 | RECTIFIER;SIE,PS-100S9-11/13T | RECTIFIER;MNFR:SIEMENS,PTNO:PS-100S9-11/13T | RECTIFIER | PS-100S9-11/13T | 3000032 | SIEMENS | SIEMENS | PS-100S9-11/13T | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32121701 Rectifiers | RECTIFIER | NO MODIFIER | TYPE |  | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1214352 | 1214352 | RECTIFIER;SIE,SS14C19ACB380/340-4.6 | RECTIFIER;MNFR:SIEMENS,PTNO:SS14C19ACB380/340-4.6 | RECTIFIER | SS14C19ACB380/340-4.6 | 3000032 | SIEMENS | SIEMENS | SS14C19ACB380/340-4.6 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32121701 Rectifiers | RECTIFIER | NO MODIFIER | TYPE |  | MAX PEAK REVERSE VOLTAGE |  | MAX DC FORWARD CURRENT |  | MAX RMS BRIDGE INPUT VOLTAGE |  | DC REVERSE VOLTAGE |  | FORWARD VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1266778 | 1266778 | REEL,CORD/CBL;COND,3057247,SPRING AS,T/S | REEL,CORD/CABLE;MNFR:CONDUCTIX,PTNO:3057247,ADDITIONAL FEATURES EN:SPRING AS,T/S EXEL3 REELER | 01)CONDUCTIX WAMPFLER PTY LT,01)3057247,REEL,CORD/CABLE,01)SPRING AS,T/S EXEL3 REELER | 3057247 | 3000255 | CONDUCTIX | CONDUCTIX | 3057247 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26121635 Cable reels | REEL | CORD/CABLE | TYPE | SPRING AS | CONDUCTOR SIZE |  | CORD/CABLE LENGTH |  | ELECTRICAL RATING |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | T/S EXEL3 REELER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269875 | 1269875 | REEL,HSE;LINC,01-089035HKD,1.5 IN X 15M | REEL,HOSE;MNFR:LINCOLN,PTNO:01-089035HKD,ADDITIONAL FEATURES EN:1.5 IN X 15M SPRING DRIVEN COMPLETE WITH SAE 100RI RATED HOSE KIT, MAX WORKING PRESSURE OF 34 BAR 500 PSI | 01)ISADRAULICS,01)01-089035HKD,REEL,HOSE,01)1.5 IN X 15M SPRING DRIVEN,02) MAX WORKING PRESSURE OF 34 | 01-089035HKD | 3000550 | LINCOLN | LINCOLN | 01-089035HKD | [5 empty] | https://www.jsgindustrial.com/pdfs/LincolnHosereelFlyer.pdf | [10 empty] | ENRICHED | 40142022 Hose reel | REEL | HOSE | TYPE | SPRING DRIVEN | HOSE LENGTH | 15 M | HOSE SIZE | 1-1/2 IN | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE 100RI | ADDITIONAL FEATURES | COMPLETE W/ RATED HOSE KIT,MAX WORKING PRESSURE:34 BAR(500 PSI) | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273758 | 1273758 | REEL,HSE;PRKH,EMI-GFMR-MRTP-6-20M,TWIN P | REEL,HOSE;MNFR:PARKER HANNIFIN,PTNO:EMI-GFMR-MRTP-6-20M,ADDITIONAL FEATURES EN:TWIN PEDESTAL,20MTRS | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-GFMR-MRTP-6-20M,REEL,HOSE,01)TWIN PEDESTAL,20MTRS | EMI-GFMR-MRTP-6-20M | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-GFMR-MRTP-6-20M | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40142022 Hose reel | REEL | HOSE | TYPE | TWIN PEDESTAL | HOSE LENGTH | 20 M | HOSE SIZE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269637 | 1269637 | REEL;COND,SR40.3PA.18GA090.182514RXP SP2 | REEL;MNFR:CONDUCTIX,PTNO:SR40.3PA.18GA090.182514RXP SP200,ADDITIONAL FEATURES EN:WINDING DIRECTION 2,SPRING,FLANGE MOUNTED SR40,C/W 18G2.5 RXG CABLE | 01)CONDUCTIX WAMPFLER PTY LT,01)SR40.3PA.18GA090.182514RXP,REEL,01)WINDING DIRECTION 2,02)SPRING,FLANGE MOUNTED SR40 | SR40.3PA.18GA090.182514RXP SP200 | 3000255 | CONDUCTIX | CONDUCTIX | SR40.3PA.18GA090.182514RXP SP200 | [5 empty] | https://evox.com.tr/wp-content/uploads/2022/06/E-SR-Spring_Cable_Reels_SR.pdf | [10 empty] | ENRICHED | 26121635 Cable reels | REEL | CORD/CABLE | TYPE | SPRING | CONDUCTOR SIZE |  | CORD/CABLE LENGTH | 4 M | ELECTRICAL RATING | 690/600 VAC/DC,13 A | MATERIAL | PUR OUTER SHEALTH | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WINDING DIRECTION 2,SPRING,FLANGE MOUNTED SR40,C/W 18G2.5 RXG CABLE | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1271569 | 1271569 | REFRACTORY;VESU,A11154,ALBOND LIQUID | REFRACTORY;MNFR:VESUVIUS,PTNO:A11154,ADDITIONAL FEATURES EN:ALBOND LIQUID | 01)VESUVIUS AUSTRALIA PTY LT,01)A11154,REFRACTORY,01)ALBOND LIQUID | A11154 | 3000361 | VESUVIUS | VESUVIUS | A11154 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31370000 Refractories | REFRACTORY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ALBOND LIQUID | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1271570 | 1271570 | REFRACTORY;VESU,A43316,SLIPCOTE 7008 | REFRACTORY;MNFR:VESUVIUS,PTNO:A43316,ADDITIONAL FEATURES EN:SLIPCOTE 7008 | 01)VESUVIUS AUSTRALIA PTY LT,01)A43316,REFRACTORY,01)SLIPCOTE 7008 | A43316 | 3000361 | VESUVIUS | VESUVIUS | A43316 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31370000 Refractories | REFRACTORY | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SLIPCOTE 7008 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1276392 | 1276392 | REFRACTORY;VESU,B12753,STAINLESS STEEL F | REFRACTORY;MNFR:VESUVIUS,PTNO:B12753,ADDITIONAL FEATURES EN:STAINLESS STEEL FIBRES 446 GRADE X 25MM L PACKED IN 1KG BAGS |  | B12753 | 3000361 | VESUVIUS | VESUVIUS | B12753 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31370000 Refractories | REFRACTORY | NO MODIFIER | TYPE |  | SIZE | 25 MM LG | MATERIAL | STAINLESS STEEL FIBRES GRADE 446 | TEMPERATURE RATING |  | WEIGHT | 1 KG BAGS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok_NM TAKEN AS PER WEBSOURCE | 24-06-2023 | 30-06-2023 |  | 1244502 | 1244502 | SEAL;ABB,3BHB045872R0001 | SEAL;MNFR:ABB,PTNO:3BHB045872R0001 | SEAL | 3BHB045872R0001 | 3000014 | ABB | ABB | 3BHB045872R0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2651997.html | [10 empty] | CLEANSED | 31410000 Seals | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1217121 | 1217121 | SEAL;SKF,1943834-TAC528,MADE TO ORDER | SEAL;MNFR:SKF,PTNO:1943834-TAC528,ADDITIONAL FEATURES EN:MADE TO ORDER | 01)APPLIED INDUSTRIAL TEC MT I,01)1943834-TAC528,SEAL,01)MADE TO ORDER | 1943834-TAC528 | 3000348 | SKF | SKF | 1943834-TAC528 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/us/products/mounted-bearings/bearing-housings/housing_accessories/productid-TK%20528 | [9 empty] | MADE TO ORDER | ENRICHED | 31411704 V ring seal | SEAL | V-RING | TYPE | TACONITE | INSIDE DIAMETER | 125 MM | OUTSIDE DIAMETER | 224 MM | THICKNESS | 56 MM | MATERIAL | STEEL WITH NITRILE RUBBER | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1268470 | 1268470 | SEAL;SKF,TAC16/SN-VWP.AU,2 PACK | SEAL;MNFR:SKF,PTNO:TAC16/SN-VWP.AU,ADDITIONAL FEATURES EN:2 PACK | 01)APPLIED INDUSTRIAL TECHNO M,01)TAC16/SN-VWP.AU,SEAL,01)2 PACK | TAC16/SN-VWP.AU | 3000348 | SKF | SKF | TAC16/SN-VWP.AU |  | APPLIED INDUSTRIAL TECHNO |  |  |  | http://www.bearing.net.au/wp-content/uploads/2016/10/SKF-Australia-Housings-Components.pdf | [10 empty] | ENRICHED | 31410000 Seals | SEAL | RING | TYPE | TACONITE | INSIDE DIAMETER | 70 MM | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | SEAL DESIGN |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING QUANTITY:2 PACK | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1271467 | 1271467 | SEAL;SKF,TAC34.SDVD,TKV 34 | SEAL;MNFR:SKF,PTNO:TAC34.SDVD,ADDITIONAL FEATURES EN:TKV 34 | 01)APPLIED INDUSTRIAL TECHNO,01)TAC34.SDVD,SEAL,01)TKV 34 | TAC34.SDVD | 3000348 | SKF | SKF | TAC34.SDVD |  | APPLIED INDUSTRIAL TECHNO | TKV 34 |  |  | https://appliedau.com.au/product-details/bearings/housings-and-accessories/split-housing-seals/taconite-seals/tkv-34/a1531991-d7c0-11ea-9e6c-567e73c68856 | [10 empty] | ENRICHED | 31411704 V ring seal | SEAL | V-RING | TYPE | TACONITE | INSIDE DIAMETER | 150 MM | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269594 | 1269594 | SEAL;SKF,V-100A,100 MM,VA R V | SEAL;MNFR:SKF,PTNO:V-100A,ADDITIONAL FEATURES EN:100 MM,VA R V | 01)APPLIED INDUSTRIAL TECHNO M,01)V-100A,SEAL,01)100 MM,VA R V | V-100A | 3000348 | SKF | SKF | V-100A |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/ph/products/industrial-seals/power-transmission-seals/v-ring-seals/productid-100%20VA%20V | https://www.wychbearings.co.uk/v100a_v-ring_seal.html | [9 empty] | ENRICHED | 31411704 V ring seal | SEAL | V-RING | TYPE |  | INSIDE DIAMETER | 98 MM | OUTSIDE DIAMETER | 105 MM | THICKNESS | 11 MM | MATERIAL | FKM | PRESSURE RATING |  | TEMPERATURE RATING | -20 TO 150 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269595 | 1269595 | SEAL;SKF,V-130A,130 MM,VA R | SEAL;MNFR:SKF,PTNO:V-130A,ADDITIONAL FEATURES EN:130 MM,VA R | 01)APPLIED INDUSTRIAL TECHNO M,01)V-130A,SEAL,01)130 MM,VA R | V-130A | 3000348 | SKF | SKF | V-130A |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/us/products/industrial-seals/power-transmission-seals/v-ring-seals/productid-130%20VA%20V | [10 empty] | ENRICHED | 31411704 V ring seal | SEAL | V-RING | TYPE |  | INSIDE DIAMETER | 125 MM | OUTSIDE DIAMETER | 135 MM | THICKNESS | 12.8 MM | MATERIAL | FKM | PRESSURE RATING |  | TEMPERATURE RATING | -20 TO 150 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1274418 | 1274418 | SEAL;TORR,TSNG512,SPLT,OPEN,F/SNG HSNG | SEAL;MNFR:TIMKEN BEARING,PTNO:TSNG512,ADDITIONAL FEATURES EN:SPLIT,OPEN,F/SNG HSNG |  | TSNG512 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | TSNG512 | [5 empty] | https://cad.timken.com/item/mounted-snt-plummer-block-spherical-roller-bearing/snt-fsnt-taper-bore-plummer-block-mounted-bearings/snt-512-610-22212k-tsng512 | https://www.abf.store/s/en/bearings/TSNG512-TIMKEN/1144684 | [9 empty] | ENRICHED | 31171500 Bearings | SEAL | BEARING | TYPE | SPLIT,OPEN,DOUBLE LIP | INSIDE DIAMETER | 55 MM | OUTSIDE DIAMETER | 82.5 MM | WIDTH | 4.8 MM | MATERIAL | NBR | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR SNG HOUSING | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1270943 | 1270943 | SUBPLATE;PRKH,SPD23BA910,4 WAY,VLV,CETOP | SUBPLATE;MNFR:PARKER HANNIFIN,PTNO:SPD23BA910,ADDITIONAL FEATURES EN:4 WAY,VALVE,CETOP3,1STN SIDE PORTED | 01)REFPRO PTY LTD,01)SPD23BA910,SUBPLATE,01)4 WAY,VALVE,CETOP3,1STN SID | SPD23BA910 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | SPD23BA910 | [5 empty] | https://www.sp-spareparts.com/en/p/spd23ba910-parker | [5 empty] | 4-WAY VALVE |  | CETOP3 |  |  | ENRICHED | 30241504 Base plate | SUBPLATE | NO MODIFIER | TYPE | SIDE | PORT SIZE | 3/8 IN | CONNECTION TYPE | BSPP | NUMBER OF PORTS |  | MATERIAL |  | OVERALL SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1ST N SIDE PORTED | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1270944 | 1270944 | SUBPLATE;PRKH,SPD36B920,4 WAY,VLV,NG10 | SUBPLATE;MNFR:PARKER HANNIFIN,PTNO:SPD36B920,ADDITIONAL FEATURES EN:4 WAY,VALVE,NG10 | 01)REFPRO PTY LTD,01)SPD36B920,SUBPLATE,01)4 WAY,VALVE,NG10 | SPD36B920 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | SPD36B920 | [5 empty] | https://www.sp-spareparts.com/en/p/spd36b920-parker | [5 empty] | 4-WAY VALVE |  | NG10 |  |  | ENRICHED | 30241504 Base plate | SUBPLATE | NO MODIFIER | TYPE | REAR | PORT SIZE | 3/8 IN | CONNECTION TYPE | BSPP | NUMBER OF PORTS |  | MATERIAL |  | OVERALL SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1276420 | 1276420 | TANK;ENDH,FRMR50-12NH1/0,LEVELLERS | TANK;MNFR:ENDRESS & HAUSER,PTNO:FRMR50-12NH1/0,ADDITIONAL FEATURES EN:LEVELLERS | 01)ENDRESS AND HAUSER AUSTRA,01)FRMR50-12NH1/0,TANK,01)LEVELLERS | FRMR50-12NH1/0 | 3000269 | ENDRESS & HAUSER | ENDRESS AND HAUSER AUSTRALIA | FRMR50-12NH1/0 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 24111800 Tanks and cylinders and their accessories | TANK | NO MODIFIER | TYPE | LEVELLERS | CAPACITY |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LEVELLERS | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1274627 | 1274627 | THREADER;MILW,M18FPT2-0C,PIPE | THREADER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FPT2-0C,ADDITIONAL FEATURES EN:PIPE | 01)MOUNT ISA MINING SUPPLIES,01)M18FPT2-0C,THREADER,01)PIPE | M18FPT2-0C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FPT2-0C | [5 empty] | https://toolforce.ie/milwaukee-m18-fuel-pipe-treader-2-with-one-key-m18fpt2-0c/ | [10 empty] | CLEANSED | 27112800 Tool attachments and accessories | THREADER | NO MODIFIER | TYPE | FUEL PIPE | THREAD DESIGNATOR |  | DIE TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1220249 | 1220249 | TOOTH,BCKT;CASJ,85827110,SHK | TOOTH,BUCKET;MNFR:CASE J I CO,PTNO:85827110,ADDITIONAL FEATURES EN:SHANK | 01)QMAC MACHINERY PTY LTD,01)85827110,TOOTH,BUCKET,01)SHANK | 85827110 | 3000248 | CASE J I CO | CASE J I CO | 85827110 | [5 empty] | https://tractorparts.eu/de/cnh-industrial/-617617cnh-industrial-bucket-tooth-shank-85827110.html | [10 empty] | CLEANSED | 22101722 Bucket tooth | TOOTH | BUCKET | TYPE | SHANK | LENGTH |  | POINT WIDTH |  | HEIGHT |  | MOUNTING TYPE |  | MATERIAL |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1324364 | 1324364 | WHEEL;ABB,3ASX002669D6525 | WHEEL;MNFR:ABB,PTNO:3ASX002669D6525 | WHEEL | 3ASX002669D6525 | 3000014 | ABB | ABB | 3ASX002669D6525 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25171900 Wheels and wheel trims | WHEEL | NO MODIFIER | TYPE |  | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1333530 | 1333530 | WHEEL;DIEC,BVV1110 | WHEEL;MNFR:DIECI,PTNO:BVV1110,ADDITIONAL FEATURES EN:STEERING,KNOB | WHEEL,01)STEERING,KNOB | BVV1110 | 3000511 | DIECI | DIECI | BVV1110 | [5 empty] | https://www.lbr.ru/zapchasti/koleso-rulevoe-bvv1110 | [10 empty] | CLEANSED | 25174211 Steering wheels | STEERING WHEEL | NO MODIFIER | TYPE | KNOB | DIAMETER |  | HUB SIZE |  | MATERIAL |  | GRIP MATERIAL |  | SPOKE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1274621 | 1274621 | WHEEL;GARD,100012632,SUPRT | WHEEL;MNFR:GARDNER DENVER,PTNO:100012632,ADDITIONAL FEATURES EN:SUPPORT | 01)GARDNER DENVER INDUSTRIES,01)100012632,WHEEL,01)SUPPORT | 100012632 | 3000280 | GARDNER DENVER | GARDNER DENVER | 100012632 | [5 empty] | https://compressedairpartscompany.com/100012632gardnerdenveroemsupportwheel.aspx | [10 empty] | CLEANSED | 25171900 Wheels and wheel trims | WHEEL | NO MODIFIER | TYPE | SUPPORT | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1324532 | 1324532 | WHEEL;SIE,560877 | WHEEL;MNFR:SIEMENS,PTNO:560877 | WHEEL | 560877 | 3000032 | SIEMENS | SIEMENS | 560877 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25171900 Wheels and wheel trims | WHEEL | NO MODIFIER | TYPE |  | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1324533 | 1324533 | WHEEL;SIE,695442 | WHEEL;MNFR:SIEMENS,PTNO:695442 | WHEEL | 695442 | 3000032 | SIEMENS | SIEMENS | 695442 | [5 empty] | https://www.louisvilleswitching.com/ottawa-yard-truck-parts-695351-0703235-louisville-switching | [10 empty] | CLEANSED | 25171900 Wheels and wheel trims | WHEEL | NO MODIFIER | TYPE | STUD HUB | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1269188 | 1269188 | WHEEL;SWAG,MS-TCW-308,TUBE CUTTER | WHEEL;MNFR:SWAGELOK LTD,PTNO:MS-TCW-308,ADDITIONAL FEATURES EN:TUBE CUTTER | 01)CNW (MOUNT ISA) ELECT WHO,01)SWAMS-TCW-308,WHEEL,01)TUBE CUTTER | MS-TCW-308 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | MS-TCW-308 | [5 empty] | https://products.swagelok.com/en/c/cutting-wheel/p/MS-TCW-308 | [10 empty] | CLEANSED | 23151901 Cutters | CUTTER | WHEEL | TYPE | TUBE | DIAMETER |  | THICKNESS |  | MATERIAL |  | ARBOR SIZE |  | SIZE |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1273823 | 1273823 | WHEEL;TENN,1255932,ASSY,DRV | WHEEL;MNFR:TENNANT,PTNO:1255932,ADDITIONAL FEATURES EN:ASSEMBLY,DRIVE | 01)TENNANT (2501800),01)1255932,WHEEL,01)ASSEMBLY,DRIVE | 1255932 | 3000358 | TENNANT | TENNANT | 1255932 | [5 empty] | https://www.southeasternequipment.net/1255932-WHEEL-ASSY-DRIVE-p/tn1255932.htm | [10 empty] | CLEANSED | 25171900 Wheels and wheel trims | WHEEL | NO MODIFIER | TYPE | DRIVE | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NEN | ok | 24-06-2023 | 30-06-2023 |  | 1275243 | 1275243 | WHEEL;TENN,90108545,VR,PYU,300X100 RED | WHEEL;MNFR:TENNANT,PTNO:90108545,ADDITIONAL FEATURES EN:VR,PYU,300X100 RED | 01)TENNANT (2501800),01)90108545,WHEEL,01)VR,PYU,300X100 RED | 90108545 | 3000358 | TENNANT | TENNANT | 90108545 |  | VR |  |  |  | https://www.floormachinepartsusa.com/tn9008545 | [10 empty] | CLEANSED | 25171900 Wheels and wheel trims | WHEEL | NO MODIFIER | TYPE |  | DIAMETER | 300 MM | WIDTH | 100 MM | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PYU,COLOUR:RED | [57 empty] | Production Completed