## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1267651 | 1267651 | ANTENNA,RADIO;ECAM,FIN-DIG-07050,DIGICOM | ANTENNA,RADIO;MNFR:ECAM,PTNO:FIN-DIG-07050,ADDITIONAL FEATURES EN:DIGICOM SHF CONVEYANCE UNIT RIGHT H/D,P49 | 01)ECAM (PTY) LTD,01)FIN-DIG-07050,ANTENNA,RADIO,01)DIGICOM SHF CONVEYANCE UNIT | FIN-DIG-07050 | 3000424 | ECAM | ECAM (PTY) LTD | FIN-DIG-07050 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43221706 Radio antennas | ANTENNA | RADIO | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIGICOM SHF CONVEYANCE UNIT RIGHT H/D,P49 | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1267652 | 1267652 | ANTENNA,RADIO;ECAM,FIN-DIG-07710,DIGICOM | ANTENNA,RADIO;MNFR:ECAM,PTNO:FIN-DIG-07710,ADDITIONAL FEATURES EN:DIGICOM SHF CONVEYANCE EXAM UNIT RIGHT,P49 | 01)ECAM (PTY) LTD,01)FIN-DIG-07710,ANTENNA,RADIO,01)DIGICOM SHF CONVEYANCE EXAM | FIN-DIG-07710 | 3000424 | ECAM | ECAM (PTY) LTD | FIN-DIG-07710 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43221706 Radio antennas | ANTENNA | RADIO | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIGICOM SHF CONVEYANCE EXAM UNIT RIGHT,P49 | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1267653 | 1267653 | ANTENNA,RADIO;ECAM,FIN-DIG-10020,DIGICOM | ANTENNA,RADIO;MNFR:ECAM,PTNO:FIN-DIG-10020,ADDITIONAL FEATURES EN:DIGICOM COMPLETE RIGHT CIRCULAR POLARISED | 01)ECAM (PTY) LTD,01)FIN-DIG-10020,ANTENNA,RADIO,01)DIGICOM COMPLETE RIGHT CIRC | FIN-DIG-10020 | 3000424 | ECAM | ECAM (PTY) LTD | FIN-DIG-10020 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43221706 Radio antennas | ANTENNA | RADIO | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIGICOM COMPLETE RIGHT CIRCULAR POLARISED | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1267654 | 1267654 | ANTENNA,RADIO;ECAM,FIN-DIG-15016,DIGICOM | ANTENNA,RADIO;MNFR:ECAM,PTNO:FIN-DIG-15016,ADDITIONAL FEATURES EN:DIGICOM HIGH FREQ RADIO MOD 58 HIGH PW,COMPLETE | 01)ECAM (PTY) LTD,01)FIN-DIG-15016,ANTENNA,RADIO,01)DIGICOM HIGH FREQ RADIO MOD | FIN-DIG-15016 | 3000424 | ECAM | ECAM (PTY) LTD | FIN-DIG-15016 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43221706 Radio antennas | ANTENNA | RADIO | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIGICOM HIGH FREQ RADIO MOD 58 HIGH PW,COMPLETE | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1267565 | 1267565 | ANTENNA;ECAM,FIN-ANT-00012,ROPE,10 M UNI | ANTENNA;MNFR:ECAM,PTNO:FIN-ANT-00012,ADDITIONAL FEATURES EN:ROPE,10 M UNIT SMALL | 01)ECAM (PTY) LTD,01)FIN-ANT-00012,ANTENNA,01)ROPE,10 M UNIT SMALL | FIN-ANT-00012 | 3000424 | ECAM | ECAM (PTY) LTD | FIN-ANT-00012 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43221700 Fixed network equipment and components | ANTENNA | NO MODIFIER | TYPE |  | GAIN |  | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ROPE,10 M UNIT SMALL | [45 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1272978 | 1272978 | ANTENNA;PHNX,2701362,PASSIVE,OMNI DIRECT | ANTENNA;MNFR:PHOENIX CONTACT,PTNO:2701362,ADDITIONAL FEATURES EN:PASSIVE,OMNI DIRECTIONAL,RAD-ISM-2400-ANT-OMNI-2-1-RSMA | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO2701362,ANTENNA,01)PASSIVE,OMNI DIRECTIONAL,RA | 2701362 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 2701362 |  | CNW (MOUNT ISA) ELECT WHO | RAD-ISM-2400-ANT-OMNI-2-1-RSMA |  |  | https://www.phoenixcontact.com/en-us/products/antenna-rad-ism-2400-ant-omni-2-1-rsma-2701362 | https://us.rs-online.com/product/phoenix-contact/2701362/70727343/¦https://eu.mouser.com/ProductDetail/Phoenix-Contact/2701362?qs=9Y9qB%2FCsC3lhxT%2FtxTkfdw%3D%3D | [9 empty] | ENRICHED | 43221700 Fixed network equipment and components | ANTENNA | NO MODIFIER | TYPE | OMNIDIRECTIONAL,PASSIVE | GAIN | 2 DBI | FREQUENCY RATING | 2.4 TO 2.5 GHZ | BANDWIDTH | 2.4 GHZ | POLARIZATION | LINEAR VERTICAL | SHAPE |  | SIZE | 7.8 DIAX82.5 HT MM | CONNECTION TYPE | RSMA (MALE) | MATERIAL | FLUORINATED ETHYLENE PROPYLENE OUTER SHEATH,POLYURETHANE RADOM,POLYCARBONATE PC ANTENNA FOOT | MOUNTING TYPE | WALL | TEMPERATURE RATING | -30 TO 75 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | REACH SVHC,ROHS | ADDITIONAL FEATURES EN | PASSIVE | [45 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1266958 | 1266958 | ANTENNA;SCHN,ZBRA1,RELY,5M CABLE OUTPUT | ANTENNA;MNFR:SCHNEIDER INC,PTNO:ZBRA1,ADDITIONAL FEATURES EN:RELAY,5M CABLE OUTPUT AC DC | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHZBRA1,ANTENNA,01)RELAY,5M CABLE OUTPUT AC DC | ZBRA1 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZBRA1 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.se.com/us/en/product/ZBRA1/harmony-xb4-relay-antenna-ac-dc-5m-cable-output/ | https://eu.mouser.com/ProductDetail/Schneider-Electric/ZBRA1?qs=R106qaAA0LolO%252BI37UcCZA%3D%3D¦https://us.rs-online.com/product/schneider-electric/zbra1/70230602/ | [9 empty] | ENRICHED | 43221700 Fixed network equipment and components | ANTENNA | NO MODIFIER | TYPE | OMNIDIRECTIONAL,PASSIVE,RELAY | GAIN | 0 DBI | FREQUENCY RATING | 2405 MHZ TRANSMITTER,2405 MHZ RECEIVER | BANDWIDTH | 5 MHZ | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE | CABLE | MATERIAL | POLYCARBONATE | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 158 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | BT 2006/95/EC,UL,GOST,CSA,CE,C-TICK | ADDITIONAL FEATURES EN | 5 M CABLE OUTPUT AC DC | [45 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-06-30 |  | 1266959 | 1266959 | ANTENNA;SCHN,ZBRA3,SPS COLD ROOM | ANTENNA;MNFR:SCHNEIDER INC,PTNO:ZBRA3,ADDITIONAL FEATURES EN:SPS COLD ROOM | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHZBRA3,ANTENNA,01)SPS COLD ROOM | ZBRA3 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZBRA3 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.se.com/ca/en/product/ZBRA3/harmony-xb5r-passive-antenna-to-pass-through-a-wall-cable-0-9-m-connector-sma-female/ | https://directwholesale.com.au/products/schneider-electric-zbra3-energy-sensor-sps-cold-room-antenna/ | [9 empty] | ENRICHED | 43221700 Fixed network equipment and components | ANTENNA | NO MODIFIER | TYPE | OMNIDIRECTIONAL,PASSIVE | GAIN | 3 DBI | FREQUENCY RATING |  | BANDWIDTH |  | POLARIZATION |  | SHAPE |  | SIZE |  | CONNECTION TYPE | CABLE | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CE,EN/IEC,UL | ADDITIONAL FEATURES EN | SPS COLD ROOM | [45 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274105 | 1274105 | BALL;WEI,AB150-03U38 | BOLA;MNFR:WEIR,PTNO:AB150-03U38, | BALL | AB150-03U38 | 3000036 | WEIR | WEIR | AB150-03U38 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | BALL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272125 | 1272125 | BODY;HYS,1368830,WATER PUMP | BODY;MNFR:HYSTER,PTNO:1368830,ADDITIONAL FEATURES EN:WATER PUMP | 01)ADAPT-A-LIFT GROUP PTY LT,01)1368830,BODY,01)WATER PUMP | 1368830 | 3000023 | HYSTER | HYSTER | 1368830 |  | ADAPT-A-LIFT GROUP PTY LT |  |  |  | https://intellaparts.com/p/HY-SO-1368830/hyster-1368830-body-water-pump.html | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | BODY | NO MODIFIER | TYPE | WATER PUMP | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1273866 | 1273866 | BREAKER,CIRCT;ABB,1SDA055970R1,SACE,ACB | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA055970R1,ADDITIONAL FEATURES EN:SACE,ACB,E2S 1250,PR121/P-LSIG IN,1250A 3P W MP | 01)ABB AUSTRALIA PTY LTD,01)1SDA055970R1,BREAKER,CIRCUIT,01)SACE,ACB,E2S 1250,PR121/P-L | 1SDA055970R1 | 3000014 | ABB | ABB | 1SDA055970R1 | [5 empty] | https://new.abb.com/products/1SDA055970R1/e2s1250pr121-p-lsigin-1250a3pwmp | https://www.electricautomationnetwork.com/en/abb/e2s-1250-pr121-p-lsig-in1250a-3p-w-mp-abb-e2s1250-1sda055970r1 | [9 empty] | ENRICHED | 39121615 Air circuit breakers | CIRCUIT BREAKER | AIR | TYPE | AUTOMATIC,SACE | CURRENT RATING | 1250 A | VOLTAGE RATING | 690 VAC | FREQUENCY RATING |  | NUMBER OF POLES | 3 | INTERRUPT RATING | 65 KA | TRIP COIL VOLTAGE RATING |  | CLOSING COIL VOLTAGE RATING |  | SPRING CHARGING TYPE |  | SPRING CHARGING VOLTAGE |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE | 12 KV | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 324 WDX461 HTX396.5 DP MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | E2S 1250,PR121/P-LSIG IN | [35 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1265798 | 1265798 | BREAKER,CIRCT;ABB,1SDA064213R1+TMAX T4V2 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:1SDA064213R1+TMAX T4V250/250A | BREAKER,CIRCUIT | 1SDA064213R1+TMAX T4V250/250A | 3000014 | ABB | ABB | 1SDA064213R1+TMAX T4V250/250A | [5 empty] | https://new.abb.com/products/1SDA064213R1/t4v250-pr222ds-p-lsi-in250-3p-ff-1150vac | [10 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE | AUTOMATIC | CURRENT RATING | 250 A | VOLTAGE RATING | 1150 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 6 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE | FIXED | SIZE | 105 WDX205 HTX103.5 DP MM | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274676 | 1274676 | BREAKER,CIRCT;ABB,2CDS254001R0325,MINI,4 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:2CDS254001R0325,ADDITIONAL FEATURES EN:MINI,4P,TYPE:S204-B32,RATED VOLTAGE:230/400VAC,CHARACTERISTICS: B | 01)MARCON AGENCIES PTY LTD,01)2CDS254001R0325,BREAKER,CIRCUIT,01)MINI,4P,02)TYPE:S204-B32,03)RATED VOLTAGE:230/400VAC,CH | 2CDS254001R0325 | 3000014 | ABB | ABB | 2CDS254001R0325 |  | MARCON AGENCIES PTY LTD | S204-B32 |  |  | https://new.abb.com/products/2CDS254001R0325/s204-b32 | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING | 440 VAC,12 VAC/DC | NUMBER OF POLES | 4 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | B-CURVE | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 70 WDX88 HTX69 DP MM | CERTIFICATION/STANDARD | EN,IEC,UL | ADDITIONAL FEATURES | [47 empty] | RATED VOLTAGE:230/400VAC,CHARACTERISTICS: B | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274677 | 1274677 | BREAKER,CIRCT;ABB,2CDS254001R0405,MINI,4 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:2CDS254001R0405,ADDITIONAL FEATURES EN:MINI,4P,TYPE:S204-B40,CHARACTERISTICS:B | 01)MARCON AGENCIES PTY LTD,01)2CDS254001R0405,BREAKER,CIRCUIT,01)MINI,4P,02)TYPE:S204-B40,03)CHARACTERISTICS:B | 2CDS254001R0405 | 3000014 | ABB | ABB | 2CDS254001R0405 |  | MARCON AGENCIES PTY LTD | S204-B40 |  |  | https://new.abb.com/products/2CDS254001R0405/s204-b40 | https://www.electricautomationnetwork.com/en/abb/miniature-circuit-breaker-s200-4p-b-40-a-abb-s204-b40-2cds254001r0405 | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 40 A | VOLTAGE RATING | 440 VAC,12 VAC/DC | NUMBER OF POLES | 4 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | B-CURVE | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 70 WDX88 HTX69 DP MM | CERTIFICATION/STANDARD | EN,IEC,UL | ADDITIONAL FEATURES | [47 empty] | CHARACTERISTICS:B | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274678 | 1274678 | BREAKER,CIRCT;ABB,2CDS254001R0635,MINI,4 | BREAKER,CIRCUIT;MNFR:ABB,PTNO:2CDS254001R0635,ADDITIONAL FEATURES EN:MINI,4P,TYPE:S204-B63,CHARACTERISTICS:B | 01)MARCON AGENCIES PTY LTD,01)2CDS254001R0635,BREAKER,CIRCUIT,01)MINI,4P,02)TYPE:S204-B63,03)CHARACTERISTICS:B | 2CDS254001R0635 | 3000014 | ABB | ABB | 2CDS254001R0635 |  | MARCON AGENCIES PTY LTD | S204-B63 |  |  | https://new.abb.com/products/2CDS254001R0635/s204-b63 | https://www.tme.eu/en/details/s204-b63/circuit-breakers/abb/2cds254001r0635/ | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 63 A | VOLTAGE RATING | 440 VAC,12 VAC/DC | NUMBER OF POLES | 4 | INTERRUPT RATING | 10 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | B-CURVE | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIZE | 70 WDX88 HTX69 DP MM | CERTIFICATION/STANDARD | EN,IEC,UL | ADDITIONAL FEATURES | [47 empty] | CHARACTERISTICS:B | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274645 | 1274645 | BREAKER,CIRCT;NHP,DSRCM32303PN | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DSRCM32303PN | 01)REXEL AUSTRALIA,01)TERDSRCM32303PN,BREAKER,CIRCUIT | DSRCM32303PN | 3000664 | NHP | NHP | DSRCM32303PN |  | REXEL AUSTRALIA | TERDSRCM32303PN |  |  | https://www.tradezone.com.au/media/custom/upload/File-1455251301.pdf | https://nhp.com.au/product/DSRCM32303PNA | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | RCD | CURRENT RATING | 32 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 125 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | DIN,IEC,UL | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272322 | 1272322 | BREAKER,CIRCT;NHP,DSRCM631001PN,RCD,63A | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DSRCM631001PN,ADDITIONAL FEATURES EN:RCD,63A,100MA,1P+N,DIN SAFE,CLIP ON |  | DSRCM631001PN | 3000664 | NHP | NHP | DSRCM631001PN | [5 empty] | https://nhp.com.au/product/DSRCM631001PN | https://www.schnap.com.au/nhp-electrical-engineering-products/power-distribution-and-protection/circuit-breakers/mcb/dsrcm631001pn-mcbs-and-rcds-din-t.html | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | RCD CLIP ON | CURRENT RATING | 63 A | VOLTAGE RATING | 240 VC | NUMBER OF POLES | 1 | INTERRUPT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 36 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | DIN,IEC,UL | ADDITIONAL FEATURES | RATED LEAKAGE CURRENT : 100 MA,SERIES: DIN SAFE | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274646 | 1274646 | BREAKER,CIRCT;NHP,DSRCM631003PN | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DSRCM631003PN | 01)REXEL AUSTRALIA,01)TERDSRCM631003PN,BREAKER,CIRCUIT | DSRCM631003PN | 3000664 | NHP | NHP | DSRCM631003PN |  | REXEL AUSTRALIA | TERDSRCM631003PN |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-418/DSRCM631003PN | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | RCD CLIP ON | CURRENT RATING | 63 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 54 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | DIN,IEC,UL | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274647 | 1274647 | BREAKER,CIRCT;NHP,DSRCM63303PN | BREAKER,CIRCUIT;MNFR:NHP,PTNO:DSRCM63303PN | 01)REXEL AUSTRALIA,01)TERDSRCM63303PN,BREAKER,CIRCUIT | DSRCM63303PN | 3000664 | NHP | NHP | DSRCM63303PN |  |  | TERDSRCM63303PN |  |  | https://nhp.com.au/product/dsrcm63303pn | [10 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | RCD CLIP ON | CURRENT RATING | 63 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE | 35 MM DIN RAIL | TERMINAL TYPE |  | SIZE | 54 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | DIN,IEC,UL | ADDITIONAL FEATURES | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok_check | 2023-06-24 | 2023-06-30 |  | 1267666 | 1267666 | COLLAR;ECAM,PUS-PMT-00090,CONTACT BLOCK | COLLAR;MNFR:ECAM,PTNO:PUS-PMT-00090,ADDITIONAL FEATURES EN:CONTACT BLOCK 1XN/O ZB4BZ101 TELE | 01)ECAM (PTY) LTD,01)PUS-PMT-00090,COLLAR,01)CONTACT BLOCK 1XN/O ZB4BZ10 | PUS-PMT-00090 | 3000424 | ECAM | ECAM | PUS-PMT-00090 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163210 Retaining collars | COLLAR | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CONTACT BLOCK 1XN/O ZB4BZ101 TELE | [57 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1215939 | 1215939 | CONNECTOR;CUM,2888894 | CONNECTOR;MNFR:CUMMINS,PTNO:2888894 | CONNECTOR | 2888894 | 3000018 | CUMMINS | CUMMINS | 2888894 | [5 empty] | https://s1partscenter.com/brands/cummins/connectors/2888894 | https://www.finditparts.com/products/8831986/cummins-2888894 | [9 empty] | ENRICHED | 40174900 Pipe unions | UNION | PIPE | TYPE |  | NOMINAL SIZE |  | END CONNECTION | MALE | SCHEDULE/WALL THICKNESS |  | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TEMPERATURE RATING |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1264774 | 1264774 | CONNECTOR;CUM,3164187 | CONNECTOR;MNFR:CUMMINS,PTNO:3164187 | CONNECTOR | 3164187 | 3000018 | CUMMINS | CUMMINS | 3164187 | [5 empty] | https://www.finditparts.com/products/2028991/cummins-3164187 | https://s1partscenter.com/brands/cummins/electrical/3164187 | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | ELECTRICAL | TYPE | MULTI-PURPOSE WIRING HARNESS,REPAIR | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1271487 | 1271487 | CONNECTOR;CUM,396982200 | CONNECTOR;MNFR:CUMMINS,PTNO:396982200 | CONNECTOR | 396982200 | 3000018 | CUMMINS | CUMMINS | 396982200 | [5 empty] | http://www.dersadiesel.com/parca.php?marka_no=2&sayfa=442&yeni_dil=ing | https://www.buyfilteronline.com/hu/cummins-396982200-2783585/ | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | ADAPTER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1264773 | 1264773 | CONNECTOR;CUM,5299750 | CONNECTOR;MNFR:CUMMINS,PTNO:5299750 | CONNECTOR | 5299750 | 3000018 | CUMMINS | CUMMINS | 5299750 | [5 empty] | https://www.finditparts.com/products/8864237/cummins-5299750 | https://enginepartssuperstore.com/Category/5299750/Cummins-Connector,Elc-Repair/ | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | ELECTRICAL | TYPE | REPAIR | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | ok_check | 2023-06-24 | 2023-06-30 |  | 1269076 | 1269076 | CONNECTOR;DRAG,R33925,CORRUGATED HOSE BR | CONNECTOR;MNFR:DRAEGER,PTNO:R33925,ADDITIONAL FEATURES EN:CORRUGATED HOSE BREATHING | 01)ALLIANCE SAFETY EQUIPMENT,01)R33925,CONNECTOR,01)CORRUGATED HOSE BREATHING | R33925 | 3000423 | DRAEGER | DRAEGER | R33925 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/DRAEGER-R33925.html | https://www.internationalsafety.com/skus/draeger-r33925-corrugated-hose-breathing-connection | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | CORRUGATED HOSE BREATHING | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1267649 | 1267649 | CONNECTOR;ECAM,CON-PMT-00301,PANEL MOUNT | CONNECTOR;MNFR:ECAM,PTNO:CON-PMT-00301,ADDITIONAL FEATURES EN:PANEL MOUNT RECEPTACLE 10 PIN MALE | 01)ECAM (PTY) LTD,01)CON-PMT-00301,CONNECTOR,01)PANEL MOUNT RECEPTACLE 10 P | CON-PMT-00301 | 3000424 | ECAM | ECAM | CON-PMT-00301 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | PANEL MOUNT RECEPTACLE | SIZE |  | CONNECTION TYPE | 10 PIN MALE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272304 | 1272304 | CONNECTOR;MAN,704565 | CONNECTOR;MNFR:MANITOU,PTNO:704565 |  | 704565 | 3000007 | MANITOU | MANITOU | 704565 | [5 empty] | https://buyanypart.co.uk/parts/manitou-connector-efbmn-704565 | https://www.cogentsourcing.com/nsn/manufacturer/manitou-bf/ | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | ELECTRICAL | TYPE | PLUG | CONDUCTOR SIZE |  | ELECTRICAL RATING |  | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1275591 | 1275591 | CONNECTOR;WEI,960.010.613 | CONECTOR;MNFR:WEIR,PTNO:960.010.613, | CONNECTOR | 960.010.613 | 3000036 | WEIR | WEIR | 960.010.613 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1265125 | 1265125 | COOLANT;CUM,4383933 | COOLANT;MNFR:CUMMINS,PTNO:4383933 | COOLANT | 4383933 | 3000018 | CUMMINS | CUMMINS | 4383933 | [5 empty] | https://www.woodlineparts.com/products/pai-050750-cummins-4383933-coolant-level-sensor-1-4-18-3-pin-usa | https://southernindustrial.store/product/cummins-coolant-level-switch-sensor-4383933/ | [9 empty] | CLEANSED | 41111938 Level sensors or transmitters | SENSOR | LEVEL | TYPE | COOLANT | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE | 1/4 IN-18 NPT | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | PRESSURE RATING |  | SIZE | 3.55 LG IN | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO | ADDITIONAL FEATURES | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1248066 | 1248066 | CORE;CUM,CORECHARGE | CORE;MNFR:CUMMINS,PTNO:CORECHARGE | CORE | CORECHARGE | 3000018 | CUMMINS | CUMMINS | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121700 Electrical hardware and supplies | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CORECHARGE | [61 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1248065 | 1248065 | CORE;CUM,NONRET | CORE;MNFR:CUMMINS,PTNO:NONRET | CORE | NONRET | 3000018 | CUMMINS | CUMMINS |  |  | NONRET | [14 empty] | CLEANSED | 39121700 Electrical hardware and supplies | CORE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274169 | 1274169 | DAMPER;MAN,240923 | DAMPER;MNFR:MANITOU,PTNO:240923 | 01)JUNGHEINRICH AUSTRALIA PT,01)240923,DAMPER | 240923 | 3000007 | MANITOU | MANITOU | 240923 |  | JUNGHEINRICH AUSTRALIA |  |  |  | https://www.farmyland.com.ua/en/amortizator-240923/ | https://shop.astra-group.ua/en/08-650-2409-23.html | [9 empty] | CLEANSED | 26101765 Vibration dampers | DAMPER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1330913 | 1330913 | DEFLECTOR;ABB,HSBA432089P0001 | DEFLECTOR;MNFR:ABB,PTNO:HSBA432089P0001 | DEFLECTOR | HSBA432089P0001 | 3000014 | ABB | ABB | HSBA432089P0001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | DEFLECTOR | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1325349 | 1325349 | DIODE;ABB,3BHB006457R0001 | DIODE;MNFR:ABB,PTNO:3BHB006457R0001 | DIODE | 3BHB006457R0001 | 3000014 | ABB | ABB | 3BHB006457R0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2618906.html | https://eltra-trade.com/products/abb-3bhb006457r0001 | [9 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1325348 | 1325348 | DIODE;ABB,3BHE020725R0001 | DIODE;MNFR:ABB,PTNO:3BHE020725R0001 | DIODE | 3BHE020725R0001 | 3000014 | ABB | ABB | 3BHE020725R0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/158362/2652190.html | https://motors.bonnew.com/3bhe020725r0001.html | [9 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1325338 | 1325338 | DIODE;ABB,3BHL000986P3001 | DIODE;MNFR:ABB,PTNO:3BHL000986P3001 | DIODE | 3BHL000986P3001 | 3000014 | ABB | ABB | 3BHL000986P3001 | [5 empty] | https://www.unitecd.com/e-catalog/request-information/?lingua=GB&x_artnr=102916 | https://quad-instruments.com/product/84984459%2B3BHL000986P3001 | [9 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1325263 | 1325263 | DIODE;ABB,RK741112-AA | DIODE;MNFR:ABB,PTNO:RK741112-AA | DIODE | RK741112-AA | 3000014 | ABB | ABB | RK741112-AA | [5 empty] | https://new.abb.com/products/RK741112-BA/rtxe | [10 empty] | ENRICHED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE | 500 V | FORWARD CURRENT | 0.8 A | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL | 3 LEAD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1325264 | 1325264 | DIODE;ABB,RK741114-AA | DIODE;MNFR:ABB,PTNO:RK741114-AA | DIODE | RK741114-AA | 3000014 | ABB | ABB | RK741114-AA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1325292 | 1325292 | DIODE;ABB,YT296000-AZ | DIODE;MNFR:ABB,PTNO:YT296000-AZ | DIODE | YT296000-AZ | 3000014 | ABB | ABB | YT296000-AZ | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1323056 | 1323056 | DIODE;SIE,P6060 | DIODE;MNFR:SIEMENS,PTNO:P6060 | DIODE | P6060 | 3000032 | SIEMENS | SIEMENS | P6060 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1323525 | 1323525 | DIODE;SIE,SSIC-0880 | DIODE;MNFR:SIEMENS,PTNO:SSIC-0880 | DIODE | SSIC-0880 | 3000032 | SIEMENS | SIEMENS | SSIC-0880 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111500 Diodes | DIODE | NO MODIFIER | TYPE |  | FORWARD VOLTAGE |  | FORWARD CURRENT |  | REVERSE VOLTAGE |  | REVERSE CURRENT |  | BREAKDOWN VOLTAGE |  | POWER DISSIPATION |  | TEMPERATURE RATING |  | ROHS COMPLIANCE |  | CASE MATERIAL |  | TOLERANCE |  | SIZE |  | TERMINAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1269075 | 1269075 | DISC;DRAG,R33833,VLV,COMPLT,5 PK | DISC;MNFR:DRAEGER,PTNO:R33833,ADDITIONAL FEATURES EN:VALVE,COMPLETE,5 PK | 01)ALLIANCE SAFETY EQUIPMENT,01)R33833,DISC,01)VALVE,COMPLETE,5 PK | R33833 | 3000423 | DRAEGER | DRAEGER | R33833 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/DRAEGER-R33833.html | https://www.isssafety.com/products/drager-spares-valve-disc-complete | [9 empty] | CLEANSED | 40141616 Valve parts or accessories | DISC | VALVE | VALVE TYPE |  | VALVE SIZE |  | DISC MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING QUANTITY: 5 PK,COMPLETE | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266277 | 1266277 | DISC;HILT,247181,GRTG,X-FCM-R 25/30 | DISC;MNFR:HILTI,PTNO:247181,ADDITIONAL FEATURES EN:GRATING,X-FCM-R 25/30 | 01)HILTI (AUST) PTY LTD,01)247181,DISC,01)GRATING,X-FCM-R 25/30 | 247181 | 3000289 | HILTI | HILTI | 247181 | [5 empty] | https://www.oglaend-system.com/getfile.php/1371262-1633483534/Produkter/Dokumenter%20%28public%29/X-FCM-DFTM-2018-product-page-Technical-information-ASSET-DOC-2597845.pdf | https://picclick.com/HIlti-247181-Grating-disc-X-FCM-R-25-30-direct-fastening-362890795722.html | [9 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | DISC | NO MODIFIER | TYPE | GRATING | SIZE | 23 LGX25 TO 30 HT MM | MATERIAL | STAINLESS STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | X-FCM-R 25/30 | [59 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266272 | 1266272 | DRILL;HILT,2123719,CORDLS,SF BT 22-A | DRILL;MNFR:HILTI,PTNO:2123719,ADDITIONAL FEATURES EN:CORDLESS,SF BT 22-A | 01)HILTI (AUST) PTY LTD,01)2123719,DRILL,01)CORDLESS,SF BT 22-A | 2123719 | 3000289 | HILTI | HILTI | 2123719 | [5 empty] | https://www.hilti.ae/c/CLS_CORDLESS_TOOLS_7123/CLS_CORDLESS_DRILL_SCREW_7123/CLS_CORDLESS_METAL_SCREW_7123/r4850109?itemCode=2123719 | https://www.hilti.com.sg/c/CLS_CORDLESS_TOOLS_7123/CLS_CORDLESS_DRILL_SCREW_7123/CLS_CORDLESS_METAL_SCREW_7123/r4850109?itemCode=2123719 | [9 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE | CORDLESS | CHUCK CAPACITY |  | CHUCK TYPE |  | OVERALL SIZE | 91 MM WD | POWER SUPPLY | 21.6 V | SPEED RATING | 4000 RPM | TORQUE RATING | 3 NM | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BT 22-A | [51 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1270539 | 1270539 | DRILL;HILT,3564652,CORDLS,TE 6-A36-AVR | DRILL;MNFR:HILTI,PTNO:3564652,ADDITIONAL FEATURES EN:CORDLESS,TE 6-A36-AVR | 01)HILTI (AUST) PTY LTD,01)3564652,DRILL,01)CORDLESS,TE 6-A36-AVR | 3564652 | 3000289 | HILTI | HILTI | 3564652 | [5 empty] | https://www.hilti.ae/c/CLS_CORDLESS_TOOLS_7123/CLS_CORDLESS_DRILL_SCREW_7123/CLS_CORDLESS_METAL_SCREW_7123/r4850109?itemCode=2123719 | [10 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE | CORDLESS | CHUCK CAPACITY |  | CHUCK TYPE |  | OVERALL SIZE |  | POWER SUPPLY |  | SPEED RATING | 1050 RPM | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TE 6-A36-AVR | [51 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 | NM CHANGE | 1333696 | 1333696 | ENGINE,COMB;CUM,4995445RX | ENGINE,COMBUSTION;MNFR:CUMMINS,PTNO:4995445RX | ENGINE,COMBUSTION | 4995445RX | 3000018 | CUMMINS | CUMMINS | 4995445RX | [5 empty] | https://sleequipment.com/cummins-genuine-part-4995445rx-module-electronic-control.html | https://s1partscenter.com/brands/cummins/electrical/4995445rx | [9 empty] | CLEANSED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | CONTROL | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1268779 | 1268779 | ENGINE,COMB;CUM,QSB 6.7 T4 FINAL | ENGINE,COMBUSTION;MNFR:CUMMINS,PTNO:QSB 6.7 T4 FINAL | 01)CUMMINS SOUTH PACIFIC PTY,01)QSB 6.7 T4 FINAL,ENGINE,COMBUSTION | QSB 6.7 T4 FINAL | 3000018 | CUMMINS | CUMMINS | QSB 6.7 T4 FINAL | [5 empty] | https://www.cummins.com/engines/qsb67-tier-4-finalstage-iv | https://www.cummins.com/engines/tier-4-final | [9 empty] | CLEANSED | 26101500 Engines | ENGINE | COMBUSTION | TYPE |  | COMPRESSION RATIO |  | DESIGN POWER RATING |  | IGNITION SYSTEM |  | NUMBER OF STROKES |  | SPEED RATING |  | ENGINE-ASPIRATION TYPE |  | STARTING SYSTEM |  | AIR INTAKE FILTRATION TYPE |  | CYLINDER CONFIGURATION |  | FUEL TANK CAPACITY |  | NUMBER OF CYLINDERS |  | COMBUSTION CYCLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1333695 | 1333695 | ENGINE,COMB;CUM,SB-QSK19-63077 | ENGINE,COMBUSTION;MNFR:CUMMINS,PTNO:SB-QSK19-63077 | ENGINE,COMBUSTION | SB-QSK19-63077 | 3000018 | CUMMINS | CUMMINS | SB-QSK19-63077 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101500 Engines | ENGINE | COMBUSTION | TYPE |  | COMPRESSION RATIO |  | DESIGN POWER RATING |  | IGNITION SYSTEM |  | NUMBER OF STROKES |  | SPEED RATING |  | ENGINE-ASPIRATION TYPE |  | STARTING SYSTEM |  | AIR INTAKE FILTRATION TYPE |  | CYLINDER CONFIGURATION |  | FUEL TANK CAPACITY |  | NUMBER OF CYLINDERS |  | COMBUSTION CYCLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1268586 | 1268586 | EVAPORATOR;HINO,S885011060,SUB ASSY | EVAPORATOR;MNFR:HINO MOTORS,PTNO:S885011060,ADDITIONAL FEATURES EN:SUB ASSY | 01)HONEYCOMBES SALES & SERVI,01)S885011060,EVAPORATOR,01)SUB ASSY | S885011060 | 3000513 | HINO MOTORS | HINO MOTORS | S885011060 | [5 empty] | http://ashop.net.au/p/8958357/acon1305-air-con-conditioner-evaporator-coil-88501-1060-s8850-11060-s885011060-447600-8080-denso-047600-2270-hino-fd8-fd8j-gd8-gd8j-gt8-gt8j-ft8-ft8j-ranger-pro-2008--.html | [10 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | EVAPORATOR | NO MODIFIER | TYPE |  | CAPACITY |  | FLOW RATING |  | NUMBER OF STAGES |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUB ASSY | [55 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266750 | 1266750 | INTERLOCK,ELEC;PWNS,POWINSLMCA,ACB,LOCAL | INTERLOCK,ELECTRICAL;MNFR:POWINS,PTNO:POWINSLMCA,ADDITIONAL FEATURES EN:ACB,LOCAL MANUAL CONTROL | 01)POWINS PTY LTD,01)POWINSLMCA,INTERLOCK,ELECTRICAL,01)ACB,LOCAL MANUAL CONTROL | POWINSLMCA | 3000439 | POWINS | POWINS | POWINSLMCA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | INTERLOCK | ELECTRICAL | TYPE | LOCAL MANUAL CONTROL | INSULATION VOLTAGE |  | IMPULSE WITHSTAND VOLTAGE |  | SIZE |  | CONTACT CONFIGURATION |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACB | [51 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266751 | 1266751 | INTERLOCK,ELEC;PWNS,POWINSLMCF,MCCB,LOCA | INTERLOCK,ELECTRICAL;MNFR:POWINS,PTNO:POWINSLMCF,ADDITIONAL FEATURES EN:MCCB,LOCAL MANUAL CONTROL | 01)POWINS PTY LTD,01)POWINSLMCF,INTERLOCK,ELECTRICAL,01)MCCB,LOCAL MANUAL CONTROL | POWINSLMCF | 3000439 | POWINS | POWINS | POWINSLMCF | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | INTERLOCK | ELECTRICAL | TYPE | LOCAL MANUAL CONTROL | INSULATION VOLTAGE |  | IMPULSE WITHSTAND VOLTAGE |  | SIZE |  | CONTACT CONFIGURATION |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MCCB | [51 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272886 | 1272886 | LOAD CELL;THFI,AY-000009,SUMMING/SWITCHI | LOAD CELL;MNFR:THERMO FISHER,PTNO:AY-000009,ADDITIONAL FEATURES EN:SUMMING/SWITCHING CARD,PCBA,4 WAY+SRO SS J/BOX PCBA,FIT INTO SS316,IP66,ENCLOSURE WITH DOOR | 01)SRO TECHNOLOGY PTY LTD,01)AY-000009,LOAD CELL,01)SUMMING/SWITCHING CARD,PCBA,02)FIT INTO SS316,IP66,ENCLOSU | AY-000009 | 3000467 | THERMO FISHER | THERMO FISHER | AY-000009 |  | SRO TECHNOLOGY PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41112108 Loadcells | LOAD CELL | NO MODIFIER | TYPE |  | CAPACITY |  | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUMMING/SWITCHING CARD,PCBA,4 WAY+SRO SS J/BOX PCBA,FIT INTO SS316,IP66,ENCLOSURE WITH DOOR | [47 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272884 | 1272884 | LOAD CELL;THFI,PT-000308,S TYPE,500KG,SS | LOAD CELL;MNFR:THERMO FISHER,PTNO:PT-000308,ADDITIONAL FEATURES EN:S TYPE,500KG,SS | 01)SRO TECHNOLOGY PTY LTD,01)PT-000308,LOAD CELL,01)S TYPE,500KG,SS | PT-000308 | 3000467 | THERMO FISHER | THERMO FISHER | PT-000308 |  | SRO TECHNOLOGY PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41112108 Loadcells | LOAD CELL | NO MODIFIER | TYPE | S | CAPACITY | 500 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272885 | 1272885 | LOAD CELL;THFI,PT-000387,S TYP,1000KG,SS | LOAD CELL;MNFR:THERMO FISHER,PTNO:PT-000387,ADDITIONAL FEATURES EN:S TYP,1000KG,SS | 01)SRO TECHNOLOGY PTY LTD,01)PT-000387,LOAD CELL,01)S TYP,1000KG,SS | PT-000387 | 3000467 | THERMO FISHER | THERMO FISHER | PT-000387 |  | SRO TECHNOLOGY PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41112108 Loadcells | LOAD CELL | NO MODIFIER | TYPE | S | CAPACITY | 1000 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272883 | 1272883 | LOAD CELL;THFI,PT-001185,S TYPE,250KG,SS | LOAD CELL;MNFR:THERMO FISHER,PTNO:PT-001185,ADDITIONAL FEATURES EN:S TYPE,250KG,SS | 01)SRO TECHNOLOGY PTY LTD,01)PT-001185,LOAD CELL,01)S TYPE,250KG,SS | PT-001185 | 3000467 | THERMO FISHER | THERMO FISHER | PT-001185 |  | SRO TECHNOLOGY PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41112108 Loadcells | LOAD CELL | NO MODIFIER | TYPE | S | CAPACITY | 250 KG | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1269016 | 1269016 | LOCK,DR;MAN,551583 | LOCK,DOOR;MNFR:MANITOU,PTNO:551583 | 01)JUNGHEINRICH AUSTRALIA PT,01)551583,LOCK,DOOR | 551583 | 3000007 | MANITOU | MANITOU | 551583 |  | JUNGHEINRICH AUSTRALIA |  |  |  | https://www.mawsley.com/shop/manitou-parts/door-parts/ma551583-lock | https://www.mani-store.co.uk/product/mid-door-lock/ | [9 empty] | CLEANSED | 46171500 Locks and security hardware and accessories | LOCK | DOOR | TYPE |  | LOCKING MECHANISM |  | MATERIAL |  | KEY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1267960 | 1267960 | LOCK,SAFTY;AB,800TN314,ATTCH,800T/H 40MM | LOCK,SAFETY;MNFR:ALLEN BRADLEY,PTNO:800TN314,ADDITIONAL FEATURES EN:ATTACH,800T/H 40MM | 01)SHERRIFF ELECTRICAL SUPPL,01)800TN314,LOCK,SAFETY,01)ATTACH,800T/H 40MM | 800TN314 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800TN314 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.mc-mc.com/Product/allen-bradley-800t-n314?option=ALBR800TN314 | https://www.rockwellautomation.com/en-us/products/details.800T-N314.html | [9 empty] | ENRICHED | 46171500 Locks and security hardware and accessories | LOCK | SAFETY | TYPE |  | SIZE | 40 MM | LOCKING MECHANISM | PUSH PULL | MATERIAL |  | KEY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ATTACH,800T/H | [57 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1273864 | 1273864 | MANIFOLD;MER,9241400409,EXHST | MANIFOLD;MNFR:MERCEDES,PTNO:9241400409,ADDITIONAL FEATURES EN:EXHAUST | 01)PENSKE POWER SYSTEMS,01)9241400409,MANIFOLD,01)EXHAUST | 9241400409 | 3000008 | MERCEDES | MERCEDES | 9241400409 | [5 empty] | https://www.catcar.info/mercedes/?lang=en&l=Y2xhc3M9PU18fGNvdW50cnk9PVB8fGFnZ3R5cGU9PU18fGFnZ3R5cGUxPT1NfHxzdD09NzB8fHN0cz09eyIxMCI6IkFzc29ydG1lbnQgY2xhc3MiLCIyMSI6IlBvd2VyU3lzdGVtczpFbmdpbmUtUG93ZXIgVHJhaW4iLCI1MCI6IjkwNC45ODYgICAgIiwiNjAiOiIxNCBJTlRBS0UgQU5EIEVYSEFVU1QgTUFOSUZPTERTIiwiNzAiOiIwMzAgRVhIQVVTVCBNQU5JRk9MRCJ9fHxjYXRhbG9nPT0wNlQgICB8fGNhdGFsb2cxPT0wNlQgICB8fHR5cGU9PTkwNHx8dHlwZTE9PTkwNHx8c3VibTE9PTk4Nnx8c3VibTExPT05ODZ8fG1vZGVsPT05MDQuOTg2ICAgIHx8bW9kZWwxPT05MDQuOTg2ICAgIHx8ZGV0YWlsZ3JwbnVtPT0xNHx8c3ViZ3JwPT0wMzB8fHBhZ2U3MD09LTE%3D | [10 empty] | CLEANSED | 40141761 Piping manifold | MANIFOLD | NO MODIFIER | TYPE | EXHAUST | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272387 | 1272387 | POUCH;DRAG,8318755,LTHR,X-AM 1/2/5X00 | POUCH;MNFR:DRAEGER,PTNO:8318755,ADDITIONAL FEATURES EN:LEATHER,X-AM 1/2/5X00 |  | 8318755 | 3000423 | DRAEGER | DRAEGER | 8318755 | [5 empty] | https://www.thesafetyequipmentstore.com/DRAEGER-8318755.html | https://www.wssupplystore.com/products/drager-leather-bag-x-am-1-2-5000 | [9 empty] | ENRICHED | 24121502 Packaging pouches or bags | POUCH | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL | LEATHER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LEATHER,X-AM 1/2/5X00 | [61 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274130 | 1274130 | PRIMER;WEI,41237IZZ0050EAEA | PINTURA BASE;MNFR:WEIR,PTNO:41237IZZ0050EAEA, | PRIMER | 41237IZZ0050EAEA | 3000036 | WEIR | WEIR | 41237IZZ0050EAEA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31211509 Enamel primers | PRIMER | NO MODIFIER | TYPE |  | CONTAINER |  | COVERAGE AREA |  | DRYING TIME |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BASE | [55 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274131 | 1274131 | PRIMER;WEI,41243IZZ0002EAEA | PINTURA BASE;MNFR:WEIR,PTNO:41243IZZ0002EAEA, | PRIMER | 41243IZZ0002EAEA | 3000036 | WEIR | WEIR | 41243IZZ0002EAEA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31211509 Enamel primers | PRIMER | NO MODIFIER | TYPE |  | CONTAINER |  | COVERAGE AREA |  | DRYING TIME |  | COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BASE | [55 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1267648 | 1267648 | RECEIVER,HND SET;ECAM,AUD-REC-00010,SILV | RECEIVER,HAND SET;MNFR:ECAM,PTNO:AUD-REC-00010,ADDITIONAL FEATURES EN:SILVER INSERT CAPSULE | 01)ECAM (PTY) LTD,01)AUD-REC-00010,RECEIVER,HAND SET,01)SILVER INSERT CAPSULE | AUD-REC-00010 | 3000424 | ECAM | ECAM | AUD-REC-00010 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | RECEIVER | HAND SET | TYPE |  | FREQUENCY RATING |  | NUMBER OF CHANNELS |  | OPERATING RANGE |  | CONNECTION TYPE | SILVER INSERT CAPSULE | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1269712 | 1269712 | RECEIVER,HND SET;ECAM,FIN-UNI00561,FIST | RECEIVER,HAND SET;MNFR:ECAM,PTNO:FIN-UNI00561,ADDITIONAL FEATURES EN:FIST MIC C/W 6PIN MALE CONNECTOR | 01)ECAM (PTY) LTD,01)FIN-UNI-00561,RECEIVER,HAND SET,01)FIST MIC C/W 6PIN MALE CONN | FIN-UNI00561 | 3000424 | ECAM | ECAM | FIN-UNI00561 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | RECEIVER | HAND SET | TYPE |  | FREQUENCY RATING |  | NUMBER OF CHANNELS |  | OPERATING RANGE |  | CONNECTION TYPE | 6 PIN MALE | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FIST MIC | [53 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1272636 | 1272636 | RELAY,PROTEC;ABB,1SFA664002R5001,ARC GUA | RELAY,PROTECTIVE;MNFR:ABB,PTNO:1SFA664002R5001,ADDITIONAL FEATURES EN:ARC GUARD CURRENT SENSING UNIT CSU-2LV | 01)ABB AUSTRALIA PTY LTD,01)1SFA664002R5001,RELAY,PROTECTIVE,01)ARC GUARD CURRENT SENSING U | 1SFA664002R5001 | 3000014 | ABB | ABB | 1SFA664002R5001 | [5 empty] | https://new.abb.com/products/1SFA664002R5001/csu-2lv | https://www.omnical.co/products/abb-components/1sfa664002r5001/4020488?locale=US | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | CURRENT MONITORING | CONTACT RATING |  | CURRENT RATING |  | VOLTAGE RATING | 24 TO 240 VAC,24 TO 250 VDC | SETTING RANGE |  | TERMINAL TYPE | SCREW | CONTACT CONFIGURATION | SPDT | NUMBER OF POLES |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TRIP CLASS |  | DISPLAY TYPE |  | MOUNTING TYPE | WALL/DIN | CONTACT MATERIAL |  | SIZE | 155.5 WDX141.1 HTX63.8 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | ARC GUARD CURRENT SENSING UNIT CSU-2LV | [37 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1217107 | 1217107 | RELAY,PROTEC;SCHN,P127BA1Z112GBO,24-240V | RELAY,PROTECTIVE;MNFR:SCHNEIDER INC,PTNO:P127BA1Z112GBO,ADDITIONAL FEATURES EN:24-240VDC,12 I/PUT-8 O/PUT | 01)SCHNEIDER ELECTRIC (AUS),01)P127BA1Z112GBO,RELAY,PROTECTIVE,01)24-240VDC,12 I/PUT-8 O/PUT | P127BA1Z112GBO | 3000344 | SCHNEIDER INC | SCHNEIDER INC | P127BA1Z112GBO | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | 12 INPUT 8 OUTPUT | CONTACT RATING |  | CURRENT RATING |  | VOLTAGE RATING | 24 TO 240 VDC | SETTING RANGE |  | TERMINAL TYPE |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TRIP CLASS |  | DISPLAY TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [38 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1274239 | 1274239 | RELAY,PROTEC;WILT,KRIES 2520456,IKI-35 2 | RELAY,PROTECTIVE;MNFR:WILSON TRANSFORMER,PTNO:KRIES 2520456,ADDITIONAL FEATURES EN:IKI-35_24V,TRIPPING SIGNAL 24V/0.1WS | 01)WILSON TRANSFORMER COMPAN,01)KRIES 2520456,RELAY,PROTECTIVE,01)IKI-35_24V,TRIPPING SIGNAL | KRIES 2520456 | 3000469 | WILSON TRANSFORMER | KRIES | IKI-35_24V |  | WILSON TRANSFORMER | 2520456 |  |  | https://www.kries.com/en/products/iki-line/protection-relays/1545/iki-35-24v | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | COMPACT OVERCURRENT | CONTACT RATING |  | CURRENT RATING |  | VOLTAGE RATING | 24 TO 230 VAC/DC | SETTING RANGE | 10 TO 250 A,100 TO 400 A | TERMINAL TYPE |  | CONTACT CONFIGURATION | 2NO 2NC | NUMBER OF POLES |  | NUMBER OF PHASE |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | DISPLAY TYPE | LCD | MOUNTING TYPE | PANEL | CONTACT MATERIAL |  | SIZE | 96 WDX48 HTX80 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI,IEC | ADDITIONAL FEATURES EN | TRIPPING SIGNAL: 24 V/0.1 WS | [37 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1217623 | 1217623 | RELAY,SAFTY;ABB,RT9,24VDC | RELAY,SAFETY;MNFR:ABB,PTNO:RT9,ADDITIONAL FEATURES EN:24VDC | 01)SHERRIFF ELECTRICAL SUPPL,01)RT9,RELAY,SAFETY,01)24VDC | RT9 | 3000014 | ABB | ABB | RT9 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://library.e.abb.com/public/17805a7d02f81ed085257de8007f379e/9AKK106354A2195_RT9.pdf | https://new.abb.com/products/2TLA010029R0000/rt9-24dc | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE |  | CONTACT VOLTAGE RATING | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | 35 MM DIN RAIL | MATERIAL | AG+AU FLASH CONTACT | FREQUENCY RATING |  | SIZE | 22.5 WDX84 HTX120 DP MM | ENCLOSURE | IP40,20 | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CE,EN | ADDITIONAL FEATURES EN | [40 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1217624 | 1217624 | RELAY,SAFTY;ABB,SSR20,SENTRY,24VDC,3NO/1 | RELAY,SAFETY;MNFR:ABB,PTNO:SSR20,ADDITIONAL FEATURES EN:SENTRY,24VDC,3NO/1NC,AUX | 01)SHERRIFF ELECTRICAL SUPPL,01)SSR20,RELAY,SAFETY,01)SENTRY,24VDC,3NO/1NC,AUX | SSR20 | 3000014 | ABB | ABB | SSR20 |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://new.abb.com/products/2TLA010051R0000/sentry-ssr20 | https://library.e.abb.com/public/40db371623aa4013bc9927ac5834ac5c/Sentry%20SSR20%20Product%20Manual%20(EN)%20revG%202TLC010065M0201.pdf | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE |  | CONTACT VOLTAGE RATING | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3NO 1 NC | SIL RATING | 3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING |  | SIZE | 22.5 WDX120 HTX120 DP MM | ENCLOSURE | IP20 | TEMPERATURE RATING | -25 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL | ADDITIONAL FEATURES EN | SENTRY | [39 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1267116 | 1267116 | RELAY,SAFTY;NHP,440CCR3022BBB,GARDMASTR | RELAY,SAFETY;MNFR:NHP,PTNO:440CCR3022BBB,ADDITIONAL FEATURES EN:GARDMASTR,CONFIGURABLE | 01)NHP ELECTRICAL ENGINEERIN,01)440CCR3022BBB,RELAY,SAFETY,01)GARDMASTR,CONFIGURABLE | 440CCR3022BBB | 3000664 | NHP | NHP | 440CCR3022BBB | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/440CCR3022BBB-117071-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | CONFIGURABLE | COIL VOLTAGE |  | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | SIL RATING | 3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE | 100 WDX90 HTX80 DP MM | ENCLOSURE | IP20 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | C-TICK,CE,EN | ADDITIONAL FEATURES EN | GARDMASTR | [39 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1264804 | 1264804 | RELAY,SSR;ABB,CMPSS.41 | RELAY,SOLID STATE;MNFR:ABB,PTNO:CMPSS.41 | RELAY,SOLID STATE | CMPSS.41 | 3000014 | ABB | ABB | CMPSS.41 | [5 empty] | https://new.abb.com/products/1SVR730884R3300/cm-mps-41s | [10 empty] | ENRICHED | 39122333 Solid state relay | RELAY | SOLID STATE | TYPE | THREE-PHASE MONITORING | CURRENT RATING |  | VOLTAGE RATING | 400 VAC | CONTACT VOLTAGE RATING |  | CONTACT CONFIGURATION |  | NUMBER OF PHASE | 3 | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | CONTACT MATERIAL |  | SIZE | 22.5 WDX85.6 HTXDP 103.7 MM | ENCLOSURE |  | TEMPERATURE RATING | -25 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA,IEC/EN,UL | ADDITIONAL FEATURES EN | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1268037 | 1268037 | RELAY,SSR;PHNX,533-0025,DEK-OV-24DC/24DC | RELAY,SOLID STATE;MNFR:PHOENIX CONTACT,PTNO:533-0025,ADDITIONAL FEATURES EN:DEK-OV-24DC/24DC/3 | 01)RS COMPONENTS PTY LTD,01)533-0025,RELAY,SOLID STATE,01)DEK-OV-24DC/24DC/3 | 533-0025 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 533-0025 |  | RS COMPONENTS PTY LTD | DEK-OV-24DC/24DC/3 |  |  | https://ly.rsdelivers.com/product/phoenix-contact/2941374/phoenix-contact-dek-ov-24dc/24dc/3-series-solid-state-relay-din-rail-mount/5330025 | https://ly.rsdelivers.com/product/phoenix-contact/2941374/phoenix-contact-dek-ov-24dc/24dc/3-series-solid-state-relay-din-rail-mount/5330025 | [9 empty] | ENRICHED | 39122333 Solid state relay | RELAY | SOLID STATE | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | CONTACT VOLTAGE RATING |  | CONTACT CONFIGURATION |  | NUMBER OF PHASE |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | CONTACT MATERIAL |  | SIZE | 80 LGX56 DP MM | ENCLOSURE |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1267323 | 1267323 | RELAY;AB, A-B700CF220D,CTRL | RELAY;MNFR:ALLEN BRADLEY,PTNO: A-B700CF220D,ADDITIONAL FEATURES EN:CONTROL | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B700CF220D,RELAY,01)CONTROL | A-B700CF220D | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF220D |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.stateelectric.com/products/allen-bradley-700-cf220d/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING | 110/120 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES | 4 | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1267324 | 1267324 | RELAY;AB, A-B700CF310EA,CTRL | RELAY;MNFR:ALLEN BRADLEY,PTNO: A-B700CF310EA,ADDITIONAL FEATURES EN:CONTROL | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B700CF310EA,RELAY,01)CONTROL | A-B700CF310EA | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF310EA |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1270320 | 1270320 | RELAY;AB,700-HA33Z36-3-4,36VAC COIL,3PDT | RELAY;MNFR:ALLEN BRADLEY,PTNO:700-HA33Z36-3-4,ADDITIONAL FEATURES EN:36VAC COIL,3PDT 10A,NON-LATCHING | 01)HAYMANS ELECTRICAL,01)700-HA33Z36-3-4,RELAY,01)36VAC COIL,3PDT 10A,NON-LAT | 700-HA33Z36-3-4 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 700-HA33Z36-3-4 | [5 empty] | https://www.powerpro.ng/products/allen-bradley-700-ha33z36-3-4-plug-in-relays-11pin-36vdc-3-c-o-stand | https://www.routeco.com/en-gb/shop/control-gear-switchgear/plug-in-relays/700-ha33z36-3-4 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | PLUG IN,NON-LATCHING | COIL RATING | 36 VDC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 36.5 WDX54.1 HTX32.8 DP MM | ENCLOSURE | IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1219989 | 1219989 | RELAY;AB,A-B1769OW8I,8-POINT,DIGITAL OUT | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B1769OW8I,ADDITIONAL FEATURES EN:8-POINT,DIGITAL OUTPUT,RELAY ISOLATED MODULE | 01)CNW (TOWNSVILLE) ELECT SU,01)A-B1769OW8I,RELAY,01)8-POINT,DIGITAL OUTPUT,RELA | A-B1769OW8I | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B1769OW8I |  | CNW (TOWNSVILLE) ELECT SU |  |  |  | https://www.horizonsolutions.com/product/A-B1769OW8I | https://www.stateelectric.com/products/allen-bradley-1769-ow8i/ | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING | 36 VDC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | SIZE | 36.5 WDX54.1 HTX32.8 DP MM | ENCLOSURE | IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1276411 | 1276411 | RELAY;AB,A-B700CF220EJ,CTRL,2N/O,2N/C,24 | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700CF220EJ,ADDITIONAL FEATURES EN:CONTROL,2N/O,2N/C,24VDC,DC,COIL,R62 HOIST |  | A-B700CF220EJ | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF220EJ | [5 empty] | https://www.stateelectric.com/products/allen-bradley-700-cf220ej/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING | 24 VDC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES | 4 | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1276410 | 1276410 | RELAY;AB,A-B700CF310D,CTRL,110VAC,3N/O | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700CF310D,ADDITIONAL FEATURES EN:CONTROL,110VAC,3N/O, 1N/C, R62 HOIST |  | A-B700CF310D | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF310D | [5 empty] | https://www.horizonsolutions.com/product/A-B700CF310D | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING | 110/120 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266503 | 1266503 | RELAY;AB,A-B700CF310ED | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700CF310ED | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B700CF310ED,RELAY | A-B700CF310ED | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF310ED |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rockwellautomation.com/en-ie/products/details.700-CF310D.html | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | INDUSTRIAL | COIL RATING | 110/120 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1276428 | 1276428 | RELAY;AB,A-B700CF310T,CTRL,3NO,1NC,240VA | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700CF310T,ADDITIONAL FEATURES EN:CONTROL,3NO,1NC,240VAC,R62 HOIST,COIL |  | A-B700CF310T | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF310T | [5 empty] | https://www.horizonsolutions.com/product/A-B700CF310T | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING | 240/277 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,KC | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266504 | 1266504 | RELAY;AB,A-B700CF310VA | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700CF310VA | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B700CF310VA,RELAY | A-B700CF310VA | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF310VA |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.horizonsolutions.com/product/A-B700CF310VA | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING | 230 TO 240 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | C-TICK | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266505 | 1266505 | RELAY;AB,A-B700CF400EJ | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700CF400EJ | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B700CF400EJ,RELAY | A-B700CF400EJ | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700CF400EJ |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.horizonsolutions.com/product/A-B700CF400EJ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | INDUSTRIAL | COIL RATING | 24 VAC/DC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [48 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1266479 | 1266479 | RELAY;AB,A-B700HPSXZ24,SAFETY CONTROL | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700HPSXZ24,ADDITIONAL FEATURES EN:SAFETY CONTROL | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B700HPSXZ24,RELAY,01)SAFETY CONTROL | A-B700HPSXZ24 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700HPSXZ24 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rockwellautomation.com/en-us/products/details.700-HPSXZ24.html | https://www.rockwellautomation.com/en-us/products/details.700-HPSXZ24.html | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES | 2 | CONTACT CONFIGURATION |  | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL | SILVER NICKEL + GOLD PLATING CONTACT | FREQUENCY RATING |  | SIZE |  | ENCLOSURE | IP20 | TEMPERATURE RATING | -40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1323764 | 1323764 | SEPARATOR;CUM,FS19594 | SEPARATOR;MNFR:CUMMINS,PTNO:FS19594 | SEPARATOR | FS19594 | 3000018 | CUMMINS | CUMMINS | FS19594 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sKvwQAE/fleetguard-fuelwater-separator-fs19594 | https://distributionparts.com/products/fs19594-fleetguard-fuel-filter-water-separator | [9 empty] | ENRICHED | 40161700 Separators | SEPARATOR | NO MODIFIER | TYPE | FUEL/WATER | SIZE |  | MATERIAL |  | CAPACITY |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1265635 | 1265635 | SEPARATOR;MER,A0004771302 | SEPARATOR;MNFR:MERCEDES,PTNO:A0004771302 | SEPARATOR | A0004771302 | 3000008 | MERCEDES | MERCEDES | A0004771302 | [5 empty] | https://www.fuelfilter-crossreference.com/convert/MERCEDES-BENZ/A0004771302 | https://fluitek.com/mercedes-benz-a0004771302.html | [9 empty] | ENRICHED | 40161700 Separators | SEPARATOR | NO MODIFIER | TYPE | FUEL | SIZE |  | MATERIAL |  | CAPACITY |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production COMPLETED
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-06-30 |  | 1219560 | 1219560 | STRAINER;MAN,52550828,PRINCIPAL CIRCUIT | STRAINER;MNFR:MANITOU,PTNO:52550828,ADDITIONAL FEATURES EN:PRINCIPAL CIRCUIT | 01)JUNGHEINRICH AUSTRALIA PT,01)52550828,STRAINER,01)PRINCIPAL CIRCUIT | 52550828 | 3000007 | MANITOU | MANITOU | 52550828 |  | JUNGHEINRICH AUSTRALIA |  |  |  | https://www.manualslib.com/manual/2100285/Manitou-Mc-18-2-D-K-St5-S1.html?page=81 | [10 empty] | ENRICHED | 40142500 Traps and strainers | STRAINER | NO MODIFIER | TYPE | SUCTION | MESH SIZE |  | PRESSURE CLASS/RATING |  | END CONNECTION |  | MESH MATERIAL |  | BODY MATERIAL |  | DRAIN SIZE |  | OVERALL SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRINCIPAL CIRCUIT | [49 empty] | Production COMPLETED