## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1269959 | 1269959 | ISOLATOR;NHP,A250F3160TM,TBP MCCB,250 FR | ISOLATOR;MNFR:NHP,PTNO:A250F3160TM,ADDITIONAL FEATURES EN:TBP MCCB,250 FRAME | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPA250F3160TM,ISOLATOR,01)TBP MCCB,250 FRAME | A250F3160TM | 3000664 | NHP | NHP | A250F3160TM |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Product/A250F3160TM | [10 empty] | Enriched | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 160 A | VOLTAGE RATING | 690 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 84 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 105 WDX165 HTX95 DP MM | CERTIFICATION/STANDARD | CE,DEKRA | ADDITIONAL FEATURES | SERIES:TBP MCCB,FRAME SIZE:250 AF | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1273100 | 1273100 | ISOLATOR;NHP,ISO325PY,POLES:3,25A,RED/YE | ISOLATOR;MNFR:NHP,PTNO:ISO325PY,ADDITIONAL FEATURES EN:POLES:3,25A,RED/YELLOW,MATERIAL:POLYCARBONATE |  | ISO325PY | 3000664 | NHP | NHP | ISO325PY | [5 empty] | https://www.nhp.com.au/product/iso325pys | [10 empty] | Enriched | 39122233 Disconnect switch | SWITCH | DISCONNECT | TYPE |  | VOLTAGE RATING | 690 VAC | CURRENT RATING | 25 A | NUMBER OF POLES | 3 | LOAD BREAKING CAPACITY |  | CONTACT CONFIGURATION |  | ENCLOSURE | IP65 | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | POWER RATING |  | FREQUENCY RATING | 50/60 HZ | MATERIAL | POLYCARBONATE | SIZE | 100 WDX140 HTX81 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:RED/YELLOW | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1274783 | 1274783 | ISOLATOR;NHP,RL24I,REMLIVE CHECK,VOLT:24 | ISOLATOR;MNFR:NHP,PTNO:RL24I,ADDITIONAL FEATURES EN:REMLIVE CHECK,VOLT:24-690V AC,4-1000V DC,5-CORE CABLE 1.5M | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPRL24I,ISOLATOR,01)REMLIVE CHECK,02)VOLT:24-690V AC,4-1000V DC,03)5-CORE CABLE 1.5M | RL24I | 3000664 | NHP | NHP | RL24I |  | CNW (TOWNSVILLE) ELECTRICAL |  |  |  | https://www.nhp.com.au/product/rl24i | https://www.nhp.com.au/-/media/Project/NHP/Sites/Shared/Brochures/Signalling-Devices/NREMLIVEF.pdf | [9 empty] | Enriched | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE | POSITIVE ISOLATION | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL | POLYCARBONATE | SIZE | 100 WDX122 HTX22.5 DP MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,C-TICK | ADDITIONAL FEATURES | BRAND:REMLIVE CHECK,VOLTAGE RATING:24-690 VAC,4-1000 VDC,CABLE TYPE:5 CORE,CABLE LENGTH:1.5 M | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1269960 | 1269960 | ISOLATOR;NHP,T2HP25LR6BNP,TBP HP HANDLE | ISOLATOR;MNFR:NHP,PTNO:T2HP25LR6BNP,ADDITIONAL FEATURES EN:TBP HP HANDLE W/EXTENSION | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT2HP25LR6BNP,ISOLATOR,01)TBP HP HANDLE W/EXTENSION | T2HP25LR6BNP | 3000664 | NHP | NHP | T2HP25LR6BNP |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://nhp.com.au/product/T2HP25LR6BNP | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/T2HP25LR6BNP-229684-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | Enriched | 27112100 Holding and clamping tools | HANDLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,DEKRA | ADDITIONAL FEATURES | SERIES:TBP HP,C/W EXTENSION | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273425 | 1273425 | PLATE;MILW,636134001,ASSY,U JAW SIDE,FOR | PLATE;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:636134001,ADDITIONAL FEATURES EN:ASSEMBLY,U JAW SIDE,FOR CRIMPER TOOL,MODEL:M18HCCT-0C |  | 636134001 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 636134001 | [5 empty] | Url Not Found | [5 empty] | CRIMPER TOOL |  | M18HCCT-0C |  |  | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | U JAW SIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1267966 | 1267966 | PLATE;NHP,D7ALM,CPLG,METALFITS 3 CONTACT | PLATE;MNFR:NHP,PTNO:D7ALM,ADDITIONAL FEATURES EN:COUPLING,METALFITS 3 CONTACT BLOCKS ACROSS | 01)NHP ELECTRICAL ENGINEERIN,01)D7ALM,PLATE,01)COUPLING,METALFITS 3 CONTAC | D7ALM | 3000664 | NHP | NHP ELECTRICAL ENGINEERING | D7ALM | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-797/NHP_AU_Catalog-812/NHP_AU_Catalog-877/D7ALM | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Motor-Control/Push-Button-Accessories/ADAPTOR-COUPLING-PLATE-METAL-3-ACROSS/p/NHPD7ALMK87 | [9 empty] | Enriched | 30102200 Plate | PLATE | NO MODIFIER | TYPE | COUPLING | SIZE | 22.5 DIA MM | MATERIAL | CHROMATED ZINC,STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UR,CSA,CCC,CE | ADDITIONAL FEATURES EN | METAL FITS 3 CONTACT BLOCKS ACROSS | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273578 | 1273578 | PLATE;NHP,MP10080,MNTG,METAL TO SUIT CAB | PLATE;MNFR:NHP,PTNO:MP10080,ADDITIONAL FEATURES EN:MOUNTING,METAL TO SUIT CAB1008030 | 01)SHERRIFF ELECTRICAL SUPPL,01)MP10080,PLATE,01)MOUNTING,METAL TO SUIT CAB1 | MP10080 | 3000664 | NHP | NHP | MP10080 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/MP10080 | [10 empty] | Enriched | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | METAL TO SUIT CAB1008030 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273573 | 1273573 | PLATE;NHP,MP3020,MNTG,STL,SUIT CAB 30201 | PLATE;MNFR:NHP,PTNO:MP3020,ADDITIONAL FEATURES EN:MOUNTING,STEEL,SUIT CAB 302017 | 01)SHERRIFF ELECTRICAL SUPPL,01)MP3020,PLATE,01)MOUNTING,STEEL,SUIT CAB 302 | MP3020 | 3000664 | NHP | NHP | MP3020 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/MP3020 | [10 empty] | Cleansed | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SUIT CAB 302017 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273574 | 1273574 | PLATE;NHP,MP4030,MNTG,METAL TO SUIT CAB4 | PLATE;MNFR:NHP,PTNO:MP4030,ADDITIONAL FEATURES EN:MOUNTING,METAL TO SUIT CAB403017 | 01)SHERRIFF ELECTRICAL SUPPL,01)MP4030,PLATE,01)MOUNTING,METAL TO SUIT CAB4 | MP4030 | 3000664 | NHP | NHP | MP4030 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://nhpnz.co.nz/product/mp4030 | [10 empty] | Enriched | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | METAL TO SUIT CAB403017 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273575 | 1273575 | PLATE;NHP,MP5040,MNTG,STEEL SUIT | PLATE;MNFR:NHP,PTNO:MP5040,ADDITIONAL FEATURES EN:MOUNTING,STEEL SUIT | 01)SHERRIFF ELECTRICAL SUPPL,01)MP5040,PLATE,01)MOUNTING,STEEL SUIT | MP5040 | 3000664 | NHP | NHP | MP5040 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://nhpnz.co.nz/product/mp5040 | [9 empty] | SUIT | Cleansed | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273576 | 1273576 | PLATE;NHP,MP6040,MNTG,STEEL SUIT | PLATE;MNFR:NHP,PTNO:MP6040,ADDITIONAL FEATURES EN:MOUNTING,STEEL SUIT | 01)SHERRIFF ELECTRICAL SUPPL,01)MP6040,PLATE,01)MOUNTING,STEEL SUIT | MP6040 | 3000664 | NHP | NHP | MP6040 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/MP6040 | [9 empty] | SUIT | Cleansed | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273577 | 1273577 | PLATE;NHP,MP7050,MNTG,STEEL SUIT | PLATE;MNFR:NHP,PTNO:MP7050,ADDITIONAL FEATURES EN:MOUNTING,STEEL SUIT | 01)SHERRIFF ELECTRICAL SUPPL,01)MP7050,PLATE,01)MOUNTING,STEEL SUIT | MP7050 | 3000664 | NHP | NHP | MP7050 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://nhpnz.co.nz/product/mp7050 | [9 empty] | SUIT | Cleansed | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273579 | 1273579 | PLATE;NHP,MP8060,MNTG,METAL TO SUIT CAB8 | PLATE;MNFR:NHP,PTNO:MP8060,ADDITIONAL FEATURES EN:MOUNTING,METAL TO SUIT CAB806030 | 01)SHERRIFF ELECTRICAL SUPPL,01)MP8060,PLATE,01)MOUNTING,METAL TO SUIT CAB8 | MP8060 | 3000664 | NHP | NHP | MP8060 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://prod-cm.nhpnz.co.nz/product/mp8060 | [10 empty] | Enriched | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | METAL TO SUIT CAB806030 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219247 | 1219247 | PLATE;PHM,2-R23279D2 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:2-R23279D2 | PLATE | 2-R23279D2 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | 2-R23279D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219236 | 1219236 | PLATE;PHM,3-R23279D2 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:3-R23279D2 | PLATE | 3-R23279D2 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | 3-R23279D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219235 | 1219235 | PLATE;PHM,5-R23279D2 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:5-R23279D2 | PLATE | 5-R23279D2 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | 5-R23279D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219241 | 1219241 | PLATE;PHM,R67207Y7 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:R67207Y7 | PLATE | R67207Y7 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | R67207Y7 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219242 | 1219242 | PLATE;PHM,R67207Y8 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:R67207Y8 | PLATE | R67207Y8 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | R67207Y8 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219234 | 1219234 | PLATE;PHM,R67907Y50 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:R67907Y50 | PLATE | R67907Y50 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | R67907Y50 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219238 | 1219238 | PLATE;PHM,R67907Y51 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:R67907Y51 | PLATE | R67907Y51 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | R67907Y51 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219239 | 1219239 | PLATE;PHM,R67907Y52 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:R67907Y52 | PLATE | R67907Y52 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | R67907Y52 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219237 | 1219237 | PLATE;PHM,R67907Y53 | PLATE;MNFR:P AND H MINING EQUIPMENT,PTNO:R67907Y53 | PLATE | R67907Y53 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | R67907Y53 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1269041 | 1269041 | PLATE;PRKH,EMI-PK2-ACCS-R02H,RIMP 2,SPCR | PLATE;MNFR:PARKER HANNIFIN,PTNO:EMI-PK2-ACCS-R02H,ADDITIONAL FEATURES EN:RIMP 2,SPACER | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-PK2-ACCS-R02H,PLATE,01)RIMP 2,SPACER | EMI-PK2-ACCS-R02H | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-PK2-ACCS-R02H |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | SPACER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RIMP 2 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1220364 | 1220364 | PLATE;PRKH,SPD34B920,BAS | PLATE;MNFR:PARKER HANNIFIN,PTNO:SPD34B920,ADDITIONAL FEATURES EN:BASE | 01)REFPRO PTY LTD,01)SPD34B920,PLATE,01)BASE | SPD34B920 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | SPD34B920 | [5 empty] | https://www.sp-spareparts.com/en/p/spd34b920-parker | [10 empty] | Enriched | 31162307 Mounting plates | PLATE | MOUNTING | TYPE | BASE | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1274932 | 1274932 | PLATE;RITL,4593000,MOUNTING CENTER | PLATE;MNFR:RITTAL,PTNO:4593000,ADDITIONAL FEATURES EN:MOUNTING CENTER | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT4593000,PLATE,01)MOUNTING CENTER | 4593000 | 3000653 | RITTAL | RITTAL | 4593000 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/in-en/products/PG0900ZUBEHOER1/PG0917ZUBEHOER1/PG1311ZUBEHOER1/PGR3376ZUBEHOER1/PRO13997?variantId=4593000 | https://www.airlinehyd.com/product/RITTAL-4593000/2108488 | [9 empty] | Enriched | 40141700 Hardware and fittings | ATTACHMENT | NO MODIFIER | TYPE | MOUNTING PLATE,CENTER | SIZE |  | MATERIAL | SHEET STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274931 | 1274931 | PLATE;RITL,8614200,TS,400WX2000HXD,STEEL | PLATE;MNFR:RITTAL,PTNO:8614200,ADDITIONAL FEATURES EN:TS,400WX2000HXD,STEEL ZP | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT8614200,PLATE,01)TS,400WX2000HXD,STEEL ZP | 8614200 | 3000653 | RITTAL | RITTAL | 8614200 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rittal.com/ca-en/products/PG0900ZUBEHOER1/PG0917ZUBEHOER1/PG1311ZUBEHOER1/PRO14058?variantId=8614200 | [10 empty] | Enriched | 31162307 Mounting plates | PLATE | MOUNTING | TYPE |  | SIZE | 400 WD MMX2 HT M | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | COLOUR |  | MOUNTING METHOD |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE TYPE:TS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1323523 | 1323523 | PLATE;SIE,210-019 | PLATE;MNFR:SIEMENS,PTNO:210-019 | PLATE | 210-019 | 3000032 | SIEMENS | SIEMENS | 210-019 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1334714 | 1334714 | PLATE;SIE,2BY2100-0AA76 | PLATE;MNFR:SIEMENS,PTNO:2BY2100-0AA76 | PLATE | 2BY2100-0AA76 | 3000032 | SIEMENS | SIEMENS | 2BY2100-0AA76 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1334713 | 1334713 | PLATE;SIE,2BY2110-0AA76 | PLATE;MNFR:SIEMENS,PTNO:2BY2110-0AA76 | PLATE | 2BY2110-0AA76 | 3000032 | SIEMENS | SIEMENS | 2BY2110-0AA76 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1214029 | 1214029 | PLATE;SIE,3TX6 406-0A | PLATE;MNFR:SIEMENS,PTNO:3TX6 406-0A | PLATE | 3TX6 406-0A | 3000032 | SIEMENS | SIEMENS | 3TX6 406-0A | [5 empty] | https://5.imimg.com/data5/SELLER/Doc/2021/8/OH/MZ/CO/55314865/siemens-3th30-contactor.pdf | [10 empty] | Enriched | 30102200 Plate | PLATE | NO MODIFIER | TYPE | ADAPTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274129 | 1274129 | PLATE;WEI,018.577.001 | PLACA;MNFR:WEIR,PTNO:018.577.001, | PLATE | 018.577.001 | 3000036 | WEIR | WEIR | 018.577.001 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1242344 | 1242344 | PLATE;WEI,F6081E62 | RETAINER PLATE FOR BP1 PUMP. MANUFACTURER: VULCO, PART NUMBER: F6081E62 |  | F6081E62 | 3000036 | WEIR | WEIR | F6081E62 | [5 empty] | Url Not Found | [5 empty] | PUMP |  | BP1 |  |  | Cleansed | 30102200 Plate | PLATE | NO MODIFIER | TYPE | RETAINER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:VULCO | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1220391 | 1220391 | RESISTOR;ABB,3BHB000606P0002 | RESISTOR;MNFR:ABB,PTNO:3BHB000606P0002 | RESISTOR | 3BHB000606P0002 | 3000014 | ABB | ABB | 3BHB000606P0002 | [5 empty] | https://www.justpartsunlimited.com/manufacturer/abb-inc/page-16/ | https://www.aviationaxis.com/cage-codes/a023g/ | [9 empty] | Enriched | 32121603 Variable resistors or varistors | VARISTOR | NO MODIFIER | TYPE | SUPPRESSOR | VOLTAGE RATING |  | CLAMPING VOLTAGE |  | CLAMPING CURRENT |  | POWER DISSIPATION |  | CAPACITANCE |  | SIZE |  | TERMINAL TYPE |  | ROHS COMPLIANCE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1323984 | 1323984 | RESISTOR;ABB,3BHB002295P0010 | RESISTOR;MNFR:ABB,PTNO:3BHB002295P0010 | RESISTOR | 3BHB002295P0010 | 3000014 | ABB | ABB | 3BHB002295P0010 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2618029.html | https://www.unitecd.com/e-catalog/description-articles/?start=23720&descrizione&hcode=1227&prm=ric_costruttore&costruttore=abb | [9 empty] | Enriched | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING | 105 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1258510 | 1258510 | RESISTOR;ABB,3BHB010662R0120 | RESISTOR;MNFR:ABB,PTNO:3BHB010662R0120 | RESISTOR | 3BHB010662R0120 | 3000014 | ABB | ABB | 3BHB010662R0120 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2651067.html | https://www.techenergo.net/3bhb010662r0120.html | [9 empty] | Enriched | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE | 12 KOHM | POWER RATING | 1 KW | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1258511 | 1258511 | RESISTOR;ABB,3BHB010662R0500 | RESISTOR;MNFR:ABB,PTNO:3BHB010662R0500 | RESISTOR | 3BHB010662R0500 | 3000014 | ABB | ABB | 3BHB010662R0500 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2651070.html | https://motors.bonnew.com/3bhb010662r0500.html | [9 empty] | Enriched | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE | 50 KOHM | POWER RATING | 1 KW | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1323981 | 1323981 | RESISTOR;ABB,3BHB016790R0001 | RESISTOR;MNFR:ABB,PTNO:3BHB016790R0001 | RESISTOR | 3BHB016790R0001 | 3000014 | ABB | ABB | 3BHB016790R0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2651340.html | [10 empty] | Enriched | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE | 3.33 MOHM | POWER RATING | 3.9 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1323980 | 1323980 | RESISTOR;ABB,3BHL000986P1002 | RESISTOR;MNFR:ABB,PTNO:3BHL000986P1002 | RESISTOR | 3BHL000986P1002 | 3000014 | ABB | ABB | 3BHL000986P1002 | [5 empty] | https://motors.bonnew.com/3bhl000986p1002.html | https://www.quad-industry.com/catalog/abbcatalog/140376/2456407.html | [9 empty] | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1211648 | 1211648 | RESISTOR;ABB,60-784-97 | RESISTOR;MNFR:ABB,PTNO:60-784-97 | RESISTOR | 60-784-97 | 3000014 | ABB | ABB | 60-784-97 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1211649 | 1211649 | RESISTOR;ABB,60-785-39 | RESISTOR;MNFR:ABB,PTNO:60-785-39 | RESISTOR | 60-785-39 | 3000014 | ABB | ABB | 60-785-39 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1323987 | 1323987 | RESISTOR;ABB,68759200 | RESISTOR;MNFR:ABB,PTNO:68759200 | RESISTOR | 68759200 | 3000014 | ABB | ABB | 68759200 | [5 empty] | https://www.electricautomationnetwork.com/en/abb/safur-80-f-500-68759200-abb-braking-resistor-for-acs800-acs850-acs880-ip00 | https://www.relkocz.com/dt/abb/68759200-braking-resistor-safur-80-f-500-ip00/68759200-braking-resistor-safur-80-f-500-ip00.html | [9 empty] | Enriched | 32121600 Resistors | RESISTOR | BRAKING | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 356 LGX661 WDX480 HT MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1324052 | 1324052 | RESISTOR;ABB,GHV 250 1903 R0002 | RESISTOR;MNFR:ABB,PTNO:GHV 250 1903 R0002 | RESISTOR | GHV 250 1903 R0002 | 3000014 | ABB | ABB | GHV 250 1903 R0002 | [5 empty] | https://docs.rs-online.com/a6b8/0900766b80347b4e.pdf | https://files.valinonline.com/userfiles/ct/documents/abb-low-voltage/abb-mini-contactors.pdf | [9 empty] | Enriched | 39121610 Surge suppressers | SUPPRESSOR | SURGE | TYPE |  | MAX AC VOLTAGE |  | SUPPRESSION VOLTAGE |  | SURGE CURRENT PER PHASE |  | SURGE ENERGY PER PHASE |  | MAX DC VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | CIRCUIT CONFIGURATION |  | RESPONSE TIME |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | URL FOR REFERENCE, SERIES MATCH | 1324051 | 1324051 | RESISTOR;ABB,GHV 250 1903 R0022 | RESISTOR;MNFR:ABB,PTNO:GHV 250 1903 R0022 | RESISTOR | GHV 250 1903 R0022 | 3000014 | ABB | ABB | GHV 250 1903 R0022 | [5 empty] | https://docs.rs-online.com/a6b8/0900766b80347b4e.pdf | [10 empty] | Enriched | 39121610 Surge suppressers | SUPPRESSOR | SURGE | TYPE |  | MAX AC VOLTAGE |  | SUPPRESSION VOLTAGE |  | SURGE CURRENT PER PHASE |  | SURGE ENERGY PER PHASE |  | MAX DC VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | CIRCUIT CONFIGURATION |  | RESPONSE TIME |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1271227 | 1271227 | RESISTOR;ABB,HIES208441R0003 | RESISTOR;MNFR:ABB,PTNO:HIES208441R0003 | RESISTOR | HIES208441R0003 | 3000014 | ABB | ABB | HIES208441R0003 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/140323/2455989.html | https://katalog.vaeprosys.cz/en/product/hies208441r0003 | [9 empty] | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1241336 | 1241336 | RESISTOR;ABB,HIES308461R0001,WATERCOOLED | RESISTOR;MNFR:ABB,PTNO:HIES308461R0001,ADDITIONAL FEATURES EN:WATERCOOLED,12 OHM | RESISTOR,01)WATERCOOLED,12 OHM,01)WATERCOOLED,12 OHM | HIES308461R0001 | 3000014 | ABB | ABB | HIES308461R0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/140324/2455991.html | [10 empty] | Enriched | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE | WATERCOOLED | RESISTANCE | 12 OHM | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1220390 | 1220390 | RESISTOR;ABB,HUCD430225P0007 | RESISTOR;MNFR:ABB,PTNO:HUCD430225P0007 | RESISTOR | HUCD430225P0007 | 3000014 | ABB | ABB | HUCD430225P0007 | [5 empty] | https://motors.bonnew.com/hucd430225p0007.html | https://www.quad-industry.com/catalog/abbcatalog/97486/ | [9 empty] | Enriched | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING | 25 W | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1214350 | 1214350 | RESISTOR;SIE,3-MELB-0-171/5A;ITEM R4 (DW | RESISTOR;MNFR:SIEMENS,PTNO:3-MELB-0-171/5A;ITEM R4 (DWG) | RESISTOR | 3-MELB-0-171/5A;ITEM R4 (DWG) | 3000032 | SIEMENS | SIEMENS | 3-MELB-0-171/5A | [5 empty] | Url Not Found |  | R4 | [7 empty] | DWG | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1214317 | 1214317 | RESISTOR;SIE,GWS-50-10K | RESISTOR;MNFR:SIEMENS,PTNO:GWS-50-10K | RESISTOR | GWS-50-10K | 3000032 | SIEMENS | SIEMENS | GWS-50-10K | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1214332 | 1214332 | RESISTOR;SIE,N150/600/A | RESISTOR;MNFR:SIEMENS,PTNO:N150/600/A | RESISTOR | N150/600/A | 3000032 | SIEMENS | SIEMENS | N150/600/A | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1214333 | 1214333 | RESISTOR;SIE,N60/400A | RESISTOR;MNFR:SIEMENS,PTNO:N60/400A | RESISTOR | N60/400A | 3000032 | SIEMENS | SIEMENS | N60/400A | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32121600 Resistors | RESISTOR | NO MODIFIER | TYPE |  | RESISTANCE |  | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1252936 | 1252936 | ROD,TIE;DIEC,5H.2122462204 | ROD,TIE;MNFR:DIECI,PTNO:5H.2122462204,ADDITIONAL FEATURES EN:ARTICULATED | ROD,TIE,01)ARTICULATED | 5H.2122462204 | 3000511 | DIECI | DIECI | 5H.2122462204 | [5 empty] | https://supply.parts/request/view?id=67992 | [10 empty] | Cleansed | 25174205 Tie Rods | ROD | TIE | TYPE | ARTICULATED | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1252907 | 1252907 | ROD,TIE;DIEC,5H.2122462214 | ROD,TIE;MNFR:DIECI,PTNO:5H.2122462214,ADDITIONAL FEATURES EN:ARTICULATED, REAR | ROD,TIE,01)ARTICULATED, REAR | 5H.2122462214 | 3000511 | DIECI | DIECI | 5H.2122462214 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-5H.2122462214 | https://gear24.ru/%D0%BC%D0%BE%D1%81%D1%82%D1%8B-%D1%82%D1%80%D0%B0%D0%BD%D1%81%D0%BC%D0%B8%D1%81%D1%81%D0%B8%D0%B8-%D1%80%D0%B5%D0%B4%D1%83%D0%BA%D1%82%D0%BE%D1%80%D1%8B/%D0%B7%D0%B0%D0%BF%D1%87%D0%B0%D1%81%D1%82%D0%B8-%D0%BC%D0%BE%D1%81%D1%82%D0%BE%D0%B2-spicer-%D0%BD%D0%B0-dieci/ | [9 empty] | Cleansed | 25174205 Tie Rods | ROD | TIE | TYPE | ARTICULATED,REAR | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1252935 | 1252935 | ROD,TIE;DIEC,5H.2122462304 | ROD,TIE;MNFR:DIECI,PTNO:5H.2122462304,ADDITIONAL FEATURES EN:ARTICULATED | ROD,TIE,01)ARTICULATED | 5H.2122462304 | 3000511 | DIECI | DIECI | 5H.2122462304 | [5 empty] | https://spwindustrial.com/dieci-5h-2122462304-tie-rod-28493-000-eparts-plus/ | [10 empty] | Cleansed | 25174205 Tie Rods | ROD | TIE | TYPE | ARTICULATED | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1252906 | 1252906 | ROD,TIE;DIEC,5H.2122462314 | ROD,TIE;MNFR:DIECI,PTNO:5H.2122462314,ADDITIONAL FEATURES EN:ARTICULATED, REAR | ROD,TIE,01)ARTICULATED, REAR | 5H.2122462314 | 3000511 | DIECI | DIECI | 5H.2122462314 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-5H.2122462314 | [10 empty] | Cleansed | 25174205 Tie Rods | ROD | TIE | TYPE | ARTICULATED,REAR | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1252824 | 1252824 | ROD,TIE;DIEC,5H.2122462855 | ROD,TIE;MNFR:DIECI,PTNO:5H.2122462855,ADDITIONAL FEATURES EN:ARTICULATED | ROD,TIE,01)ARTICULATED | 5H.2122462855 | 3000511 | DIECI | DIECI | 5H.2122462855 | [5 empty] | https://www.ebacparts.com/pdf/catalogo-aste-sterzo-2018.pdf | [10 empty] | Cleansed | 25174205 Tie Rods | ROD | TIE | TYPE | ARTICULATED | NOMINAL DIAMETER |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273080 | 1273080 | ROD;MAN,794728 | ROD;MNFR:MANITOU,PTNO:794728 | 01)RDO EQUIPMENT PTY LTD,01)794728,ROD | 794728 | 3000007 | MANITOU | MANITOU | 794728 |  | RDO EQUIPMENT PTY LTD |  |  |  | https://sklep.gravit.pl/pret-794728-manitou.html | https://shop.astra-group.ua/en/08-650-7947-28.html | [9 empty] | Cleansed | 30102400 Rod | ROD | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1266620 | 1266620 | ROD;NHP,NHPCELDLR4MS,DOOR LOCKING 4M,CEL | ROD;MNFR:NHP,PTNO:NHPCELDLR4MS,ADDITIONAL FEATURES EN:DOOR LOCKING 4M,CEL PBD | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCELDLR4MS,ROD,01)DOOR LOCKING 4M,CEL PBD | NHPCELDLR4MS | 3000664 | NHP | NHP | CELDLR4MS |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://nhp.com.au/product/CELDLR4MS | https://www.blackwoods.com.au/electrical/switchboards-enclosures/panelboards/nhp-concept-cel-pbd-acc-door-locking-rods-size-4m-suit-cpl-cpr-celdlr4ms/p/01329812 | [9 empty] | Cleansed | 30102400 Rod | ROD | NO MODIFIER | TYPE | DOOR LOCKING | DIAMETER |  | LENGTH | 4 M | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CEL PBD | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1266621 | 1266621 | ROD;NHP,NHPCELDLR6MS,DOOR LOCKING 6M,CEL | ROD;MNFR:NHP,PTNO:NHPCELDLR6MS,ADDITIONAL FEATURES EN:DOOR LOCKING 6M,CEL PBD ACC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCELDLR6MS,ROD,01)DOOR LOCKING 6M,CEL PBD ACC | NHPCELDLR6MS | 3000664 | NHP | NHP | CELDLR6MS |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://nhp.com.au/product/CELDLR6MS | [10 empty] | Cleansed | 30102400 Rod | ROD | NO MODIFIER | TYPE | DOOR LOCKING | DIAMETER |  | LENGTH | 6 M | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CEL PBD ACC | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1269439 | 1269439 | ROD;SKF,SA40ES-2RS,R/H SPHERICAL ENDS | ROD;MNFR:SKF,PTNO:SA40ES-2RS,ADDITIONAL FEATURES EN:R/H SPHERICAL ENDS, WITH LOCKING NUTS AS PER DWG 11849037R04SA 40 ES | 01)APPLIED INDUSTRIAL TECHNO M,01)SA40ES-2RS,ROD,01)R/H SPHERICAL ENDS,02) WITH LOCKING NUTS AS PER | SA40ES-2RS | 3000348 | SKF | SKF | SA 40 ES-2RS |  | APPLIED INDUSTRIAL TECHNO M |  |  |  | https://www.skf.com/ph/products/plain-bearings/spherical-plain-bearings-rod-ends/rod-ends/productid-SA%2040%20ES-2RS | https://docs.rs-online.com/22e9/A700000007406236.pdf | [9 empty] | Enriched | 27121600 Hydraulic cylinders and pistons | ROD END | NO MODIFIER | TYPE | R/H SPHERICAL ENDS | BORE SIZE | 40 MM | CONNECTION TYPE |  | THREAD SIZE | M42X3 | HEAD SIZE |  | SHANK SIZE |  | MATERIAL | STEEL | LOAD RATING | 140 KN STATIC,100 KN DYNAMIC | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W LOCKING NUTS AS PER DWG 11849037R04SA 40 ES | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1269440 | 1269440 | ROD;SKF,SAL40ES-2RS,L/H SPHERICAL ENDS | ROD;MNFR:SKF,PTNO:SAL40ES-2RS,ADDITIONAL FEATURES EN:L/H SPHERICAL ENDS, WITH LOCKING NUTS AS PER DWG 11849037R04SAL 40 E | 01)APPLIED INDUSTRIAL TECHNO M,01)SAL40ES-2RS,ROD,01)L/H SPHERICAL ENDS,02) WITH LOCKING NUTS AS PER | SAL40ES-2RS | 3000348 | SKF | SKF | SAL 40 ES-2RS |  | APPLIED INDUSTRIAL TECHNO M |  |  |  | https://www.skf.com/in/products/plain-bearings/spherical-plain-bearings-rod-ends/rod-ends/productid-SAL%2040%20ES-2RS | [10 empty] | Enriched | 27121600 Hydraulic cylinders and pistons | ROD END | NO MODIFIER | TYPE | L/H SPHERICAL ENDS | BORE SIZE | 40 MM | CONNECTION TYPE |  | THREAD SIZE | M42X3 | HEAD SIZE |  | SHANK SIZE |  | MATERIAL | STEEL | LOAD RATING | 140 KN STATIC,100 KN DYNAMIC | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W LOCKING NUTS AS PER DWG 11849037R04SAL 40 E | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274134 | 1274134 | ROD;WEI,068.577.007 | VARILLA;MNFR:WEIR,PTNO:068.577.007, | ROD | 068.577.007 | 3000036 | WEIR | WEIR | 068.577.007 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102400 Rod | ROD | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274135 | 1274135 | ROD;WEI,862.001.255 | VARILLA;MNFR:WEIR,PTNO:862.001.255, | ROD | 862.001.255 | 3000036 | WEIR | WEIR | 862.001.255 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102400 Rod | ROD | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1274155 | 1274155 | ROD;WEI,933.111.080 | VARILLA;MNFR:WEIR,PTNO:933.111.080, | ROD | 933.111.080 | 3000036 | WEIR | WEIR | 933.111.080 | [5 empty] | https://static.s4bdigital.net/products_pdf_descs/desc_1508769211000_63034.pdf | [10 empty] | Enriched | 31410000 Seals | SEAL | NO MODIFIER | TYPE | ROD | DIMENSIONS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219566 | 1219566 | ROLLER,CONVR;KNDR,K-MISC-CONVEYORPARTS/V | ROLLER,CONVEYOR;MNFR:KINDER,PTNO:K-MISC-CONVEYORPARTS/V63,ADDITIONAL FEATURES EN:V63 CONV VEE RETURN ROLLER - RUBBER LAGGED 152MM DIA ( 133MM TUBE W | 01)KINDER AUSTRALIA PTY LTD,01)K-MISC-CONVEYORPARTS/V63,ROLLER,CONVEYOR,01)V63 CONV VEE RETURN ROLLER | K-MISC-CONVEYORPARTS/V63 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-MISC-CONVEYORPARTS/V63 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | VEE RETURN | DIAMETER | 152 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | RUBBER LAGGED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TUBE WIDTH:133 MM | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1219564 | 1219564 | ROLLER,CONVR;KNDR,K-MISC-CONVEYORPARTS-5 | ROLLER,CONVEYOR;MNFR:KINDER,PTNO:K-MISC-CONVEYORPARTS-5:2,ADDITIONAL FEATURES EN:5:2 CONV ROLLER - RUBBER LAGGED RETURN - 1200BW 152DIA 6305BRG X 30 | 01)KINDER AUSTRALIA PTY LTD,01)K-MISC-CONVEYORPARTS-5:2,ROLLER,CONVEYOR,01)5:2 CONV ROLLER - RUBBER LA | K-MISC-CONVEYORPARTS-5:2 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-MISC-CONVEYORPARTS-5:2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | RETURN | DIAMETER | 152 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | RUBBER LAGGED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:1.2 M,BEARING TYPE:6305X30 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1271821 | 1271821 | ROLLER,CONVR;KNDR,K-ROL-SRR-900B25,RTRN | ROLLER,CONVEYOR;MNFR:KINDER,PTNO:K-ROL-SRR-900B25,ADDITIONAL FEATURES EN:RETURN,STEEL,900BW,127DIA,6205 BEARING | 01)KINDER AUSTRALIA PTY LTD,01)K-ROL-SRR-900B25,ROLLER,CONVEYOR,01)RETURN,STEEL,900BW,127DIA,6 | K-ROL-SRR-900B25 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-ROL-SRR-900B25 | [5 empty] | http://kinderco.com.au/Kinder%20product%20guide%20260313.pdf | [10 empty] | Enriched | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | RETURN | DIAMETER | 127 MM | FACE WIDTH | 994 MM | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:900 MM,BEARING TYPE:6205 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1271819 | 1271819 | ROLLER,CONVR;KNDR,K-ROL-STR-900B25,STEEL | ROLLER,CONVEYOR;MNFR:KINDER,PTNO:K-ROL-STR-900B25,ADDITIONAL FEATURES EN:STEEL TROUGH,900BW,127DIA,6205 BEARING | 01)KINDER AUSTRALIA PTY LTD,01)K-ROL-STR-900B25,ROLLER,CONVEYOR,01)STEEL TROUGH,900BW,127DIA,6 | K-ROL-STR-900B25 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-ROL-STR-900B25 | [5 empty] | http://kinderco.com.au/Kinder%20product%20guide%20260313.pdf | [10 empty] | Enriched | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | TROUGH | DIAMETER | 127 MM | FACE WIDTH | 331 MM | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:900 MM,BEARING TYPE:6205 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1273017 | 1273017 | ROLLER,CONVR;KNDR,K-ROL-SVR-750B25,STEEL | ROLLER,CONVEYOR;MNFR:KINDER,PTNO:K-ROL-SVR-750B25,ADDITIONAL FEATURES EN:STEEL VEE RETURN - 750BW,127 DIA,6205 BRG | 01)KINDER AUSTRALIA PTY LTD,01)K-ROL-SVR-750B25,ROLLER,CONVEYOR,01)STEEL VEE RETURN - 750BW,12 | K-ROL-SVR-750B25 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-ROL-SVR-750B25 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | VEE RETURN | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:750 MM,BEARING TYPE:6205 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1257761 | 1257761 | ROLLER;DIEC,2D1628310000 | ROLLER;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:JOYSTICK ROLLER,TELEHANDLER | ROLLER,01)JOYSTICK ROLLER,TELEHANDLER | 2D1628310000 | 3000511 | DIECI | DIECI | 2D1628310000 | [5 empty] | Url Not Found | [5 empty] | TELEHANDLER |  | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 31162700 Rolling hardware | ROLLER | NO MODIFIER | TYPE | JOYSTICK | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274559 | 1274559 | ROLLER;KNDR,K-ROL-CTH-109868 | ROLLER;MNFR:KINDER,PTNO:K-ROL-CTH-109868 | 01)KINDER AUSTRALIA PTY LTD,01)K-ROL-CTH-109868,ROLLER | K-ROL-CTH-109868 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-ROL-CTH-109868 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162700 Rolling hardware | ROLLER | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1272524 | 1272524 | ROLLER;KNDR,K-ROL-K8440,STEEL VEE RETURN | ROLLER;MNFR:KINDER,PTNO:K-ROL-K8440,ADDITIONAL FEATURES EN:STEEL VEE RETURN,1200BW,646FACE,6306BRG,152DIA |  | K-ROL-K8440 | 3000432 | KINDER | KINDER | K-ROL-K8440 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | VEE RETURN | DIAMETER | 152 MM | FACE WIDTH | 646 MM | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:1.2 M,BEARING TYPE:6306 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274782 | 1274782 | ROLLER;KNDR,K-ROL-RDRT-1400C30,DISC RETU | ROLLER;MNFR:KINDER,PTNO:K-ROL-RDRT-1400C30,ADDITIONAL FEATURES EN:DISC RETURN,RUBBER,127DIA,FACE:1644,30MM SHAFT,6206ZZBRG | 01)BRITRAC (AUST) PTY LTD,01)K-ROL-RDRT-1400C30,ROLLER,01)DISC RETURN,02)RUBBER,03)127DIA,FACE:1644,30MM SHAFT | K-ROL-RDRT-1400C30 | 3000432 | KINDER | KINDER | K-ROL-RDRT-1400C30 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | DISC RETURN | DIAMETER | 127 MM | FACE WIDTH | 1.644 M | SHAFT DIAMETER | 30 MM | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | RUBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BEARING TYPE:6206ZZ | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1272531 | 1272531 | ROLLER;KNDR,K-ROL-RLTR-1200N25,1200BW,15 | ROLLER;MNFR:KINDER,PTNO:K-ROL-RLTR-1200N25,ADDITIONAL FEATURES EN:1200BW,152DIA,RUBBER LAGGED TROUGH,6305BRG,Ã˜139.8 TUBE C/W 6.1MM PLAIN 60-65A LAGGING |  | K-ROL-RLTR-1200N25 | 3000432 | KINDER | KINDER | K-ROL-RLTR-1200N25 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | TROUGH | DIAMETER | 152 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | RUBBER LAGGED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:1.2 M,BEARING TYPE:6305,Ã˜139.8 TUBE C/W 6.1 MM PLAIN 60-65A LAGGING | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | URL FOR REFERENCE, SERIES MATCH | 1274004 | 1274004 | ROLLER;KNDR,K-ROL-SG-K5550,SIDE GUIDE,SS | ROLLER;MNFR:KINDER,PTNO:K-ROL-SG-K5550,ADDITIONAL FEATURES EN:SIDE GUIDE,SS, 60DIA 125FACE SS | 01)KINDER AUSTRALIA PTY LTD,01)K-ROL-SG-K5550,ROLLER,01)SIDE GUIDE,SS, 60DIA 125FAC | K-ROL-SG-K5550 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-ROL-SG-K5550 | [5 empty] | http://kinderco.com.au/Kinder%20product%20guide%20260313.pdf | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | SIDE GUIDE | DIAMETER | 60 MM | FACE WIDTH | 125 MM | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | URL FOR REFERENCE, SERIES MATCH | 1274005 | 1274005 | ROLLER;KNDR,K-ROL-SG-K5623,SIDE GUIDE,SS | ROLLER;MNFR:KINDER,PTNO:K-ROL-SG-K5623,ADDITIONAL FEATURES EN:SIDE GUIDE,SS,70/100DIA 125FACE,SS | 01)KINDER AUSTRALIA PTY LTD,01)K-ROL-SG-K5623,ROLLER,01)SIDE GUIDE,SS,70/100DIA 125 | K-ROL-SG-K5623 | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-ROL-SG-K5623 | [5 empty] | http://kinderco.com.au/Kinder%20product%20guide%20260313.pdf | [10 empty] | Cleansed | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | SIDE GUIDE | DIAMETER | 70/100 MM | FACE WIDTH | 125 MM | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1272529 | 1272529 | ROLLER;KNDR,K-ROL-SRR-1200N25,1200BW,152 | ROLLER;MNFR:KINDER,PTNO:K-ROL-SRR-1200N25,ADDITIONAL FEATURES EN:1200BW,152DIA,STEEL RETURN,6305BRG |  | K-ROL-SRR-1200N25 | 3000432 | KINDER | KINDER | K-ROL-SRR-1200N25 | [5 empty] | http://kinderco.com.au/Kinder%20product%20guide%20260313.pdf | [10 empty] | Enriched | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | RETURN | DIAMETER | 152 MM | FACE WIDTH | 1.294 M | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:1.2 M,BEARING TYPE:6305ZZ | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274639 | 1274639 | ROLLER;KNDR,K-ROL-SRR-1400D30,RTRN,STL,1 | ROLLER;MNFR:KINDER,PTNO:K-ROL-SRR-1400D30,ADDITIONAL FEATURES EN:RETURN,STEEL,127 DIA,FACE:1544,30 MM SHAFT,6306ZZBRG | 01)BRITRAC (AUST) PTY LTD,01)K-ROL-SRR-1400D30,ROLLER,01)RETURN,02)STEEL,03)127 DIA,FACE:1544,30 MM SHA | K-ROL-SRR-1400D30 | 3000432 | KINDER | KINDER | K-ROL-SRR-1400D30 | [5 empty] | http://kinderco.com.au/Kinder%20product%20guide%20260313.pdf | [10 empty] | Enriched | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | RETURN | DIAMETER | 127 MM | FACE WIDTH | 1.544 M | SHAFT DIAMETER | 30 MM | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:1.4 M,BEARING TYPE:6306ZZ | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1272523 | 1272523 | ROLLER;KNDR,K-ROL-STR-1200N25,1200BW,152 | ROLLER;MNFR:KINDER,PTNO:K-ROL-STR-1200N25,ADDITIONAL FEATURES EN:1200BW,152DIA,6305BRG,STEEL TROUGH |  | K-ROL-STR-1200N25 | 3000432 | KINDER | KINDER | K-ROL-STR-1200N25 | [5 empty] | http://kinderco.com.au/Kinder%20product%20guide%20260313.pdf | [10 empty] | Enriched | 24101701 Conveyor roller | ROLLER | CONVEYOR | TYPE | TROUGH | DIAMETER | 152 MM | FACE WIDTH | 436 MM | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B/W:1.2 M,BEARING TYPE:6305 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1324072 | 1324072 | ROLLER;SIE,C72301-A3-C248 | ROLLER;MNFR:SIEMENS,PTNO:C72301-A3-C248 | ROLLER | C72301-A3-C248 | 3000032 | SIEMENS | SIEMENS | C72301-A3-C248 | [5 empty] | https://iaadt021.jdzj.com/supplyinfo-2-2-3890548.html | [10 empty] | Cleansed | 31162700 Rolling hardware | ROLLER | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1274820 | 1274820 | ROLLER;TENN,1056068,RNR,TR,DEBRIS,11L | ROLLER;MNFR:TENNANT,PTNO:1056068,ADDITIONAL FEATURES EN:RUNNER,TRAY,DEBRIS,11L | 01)TENNANT,01)1056068,ROLLER,01)RUNNER,TRAY,DEBRIS,11L | 1056068 | 3000358 | TENNANT | TENNANT | 1056068 | [5 empty] | https://www.tennantco.com/content/dam/tennant/tennantco/products/machines/scrubber%20riders/T16/operator-parts-manual/9008148.pdf | https://www.southeasternequipment.net/1056068-TRAY-DEBRIS-11-0L-p/tn1056068.htm | [9 empty] | Enriched | 30162300 Cabinet accessories | TRAY | NO MODIFIER | TYPE | RUNNER,DEBRIS | CAPACITY | 11 L | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274136 | 1274136 | ROLLER;WEI,942.900.087 | RODILLO;MNFR:WEIR,PTNO:942.900.087, | ROLLER | 942.900.087 | 3000036 | WEIR | WEIR | 942.900.087 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162700 Rolling hardware | ROLLER | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274137 | 1274137 | ROLLER;WEI,942.900.108 | RODILLO;MNFR:WEIR,PTNO:942.900.108, | ROLLER | 942.900.108 | 3000036 | WEIR | WEIR | 942.900.108 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162700 Rolling hardware | ROLLER | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 03-07-2023 |  | 1274138 | 1274138 | ROLLER;WEI,942.900.117 | RODILLO;MNFR:WEIR,PTNO:942.900.117, | ROLLER | 942.900.117 | 3000036 | WEIR | WEIR | 942.900.117 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162700 Rolling hardware | ROLLER | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed