## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1335511 | 1335511 | CHASSIS;ABB,1SDA059677R1 | CHASSIS;MNFR:ABB,PTNO:1SDA059677R1 | CHASSIS | 1SDA059677R1 | 3000014 | ABB | ABB | 1SDA059677R1 | [5 empty] | https://new.abb.com/products/1SDA059677R1/e6wfp3pvr-vrnew | [10 empty] | CLEANSED | 23153400 Assembly machines | CHASSIS | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1326247 | 1326247 | CHASSIS;ABB,57310255-AV | CHASSIS;MNFR:ABB,PTNO:57310255-AV | CHASSIS | 57310255-AV | 3000014 | ABB | ABB | 57310255-AV | [5 empty] | https://new.abb.com/products/57310255-AV/57310255-av | [10 empty] | ENRICHED | 30103600 Structural products | FRAME | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 | Processed based on Websource, Conflict w.r.t Input | 1215562 | 1215562 | FILTER,FLUD;HYDA,0660 D 010 BH4HC / -QDP | FILTER,FLUID;MNFR:HYDAC,PTNO:0660 D 010 BH4HC / -QDP,ADDITIONAL FEATURES EN:BLOB SHWING PUMP OIL FILTER # 0660 D 010 BH4HC / - QDP | 01)ISADRAULICS,01)0660 D 010 BH4HC / - QDP,FILTER,FLUID,01)BLOB SHWING PUMP OIL FILTER | 0660 D 010 BH4HC / -QDP | 3000292 | HYDAC | HYDAC | 0660 D 010 BH4HC/-QDP |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en-in/1253106 | [10 empty] | ENRICHED | 40161807 Filter element | FILTER | ELEMENT | TYPE | FLUID | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BLOB SHWING PUMP OIL FILTER | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1215160 | 1215160 | FILTER;3M,3M2138,GP2/GP3 | FILTER;MNFR:3M,PTNO:3M2138,ADDITIONAL FEATURES EN:GP2/GP3 | 01)BOC LIMITED,01)3M2138,FILTER,01)GP2/GP3 | 3M2138 | 3000220 | 3M | 3M | 3M2138 |  | BOC LIMITED |  |  |  | https://www.3m.com.au/3M/en_AU/p/d/v000075452/ | [10 empty] | CLEANSED | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GP2/GP3 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1215161 | 1215161 | FILTER;3M,3M5925BOX,P2,PRTCLTE,BX10 PR | FILTER;MNFR:3M,PTNO:3M5925BOX,ADDITIONAL FEATURES EN:P2,PARTICULATE,BX10 PR | 01)BOC LIMITED,01)3M5925BOX,FILTER,01)P2,PARTICULATE,BX10 PR | 3M5925BOX | 3000220 | 3M | 3M | 3M5925BOX |  | BOC LIMITED |  |  |  | https://www.boc.com.au/shop/en/au/3m-5925-p2-particulate-filters---box-of-10-pairs-3m5925box | [10 empty] | ENRICHED | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING | P2 | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 1716 | ADDITIONAL FEATURES | PARTICULATE,PACKAGE QUANTITY:10 BOX OF PAIR | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1215162 | 1215162 | FILTER;3M,3M6059B,CRTG,A1B1E1K1,MULTI GA | FILTER;MNFR:3M,PTNO:3M6059B,ADDITIONAL FEATURES EN:CARTRIDGE,A1B1E1K1,MULTI GAS | 01)BOC LIMITED,01)3M6059B,FILTER,01)CARTRIDGE,A1B1E1K1,MULTI GA | 3M6059B | 3000220 | 3M | 3M | 3M6059B |  | BOC LIMITED | A1B1E1K1 |  |  | https://www.boc.com.au/shop/en/au/filter-multi-gas-abek1formhf-%281ea-pr%29-3m6059b | [10 empty] | ENRICHED | 40161500 Filters | FILTER | CARTRIDGE | TYPE | MULTI GAS | FILTER RATING |  | SIZE |  | FLOW RATING |  | SERVICE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | AS/NZS 1716 | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1270920 | 1270920 | FILTER;3M,3MD3135P3,PRTCLTE,P3 | FILTER;MNFR:3M,PTNO:3MD3135P3,ADDITIONAL FEATURES EN:PARTICULATE,P3 | 01)BUNZL AUSTRALIA,01)3MD3135P3,FILTER,01)PARTICULATE,P3 | 3MD3135P3 | 3000220 | 3M | 3M | 3MD3135P3 |  | BUNZL AUSTRALIA |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING | P3 | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PARTICULATE | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 | Processed based on Websource, Conflict w.r.t Input | 1271580 | 1271580 | FILTER;3M,837242,GAS,SPEEDGLAS,A1B1E1 | FILTER;MNFR:3M,PTNO:837242,ADDITIONAL FEATURES EN:GAS,SPEEDGLAS,A1B1E1 | 01)WELDERS PRO SHOP,01)837242,FILTER,01)GAS,SPEEDGLAS,A1B1E1 | 837242 | 3000220 | 3M | 3M | 837242 |  | WELDERS PRO SHOP | A1B1E1 |  |  | https://www.boc.com.au/shop/en/au/3m-6057b-filter | [10 empty] | ENRICHED | 40161500 Filters | FILTER | CARTRIDGE | TYPE | GAS | FILTER RATING | ABE1 | SIZE |  | FLOW RATING |  | SERVICE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SPEEDGLAS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1274597 | 1274597 | FILTER;3M,AWS836010,PRE,PK5,ADFLO | FILTER;MNFR:3M,PTNO:AWS836010,ADDITIONAL FEATURES EN:PRE,PK5,ADFLO | 01)BOC LIMITED,01)AWS836010,FILTER,01)PRE,PK5,ADFLO | AWS836010 | 3000220 | 3M | 3M | AWS836010 |  | BOC LIMITED |  |  |  | https://www.boc.com.au/shop/en/au/adflo-prefilter-x5-aws836010 | [10 empty] | CLEANSED | 40161500 Filters | FILTER | NO MODIFIER | TYPE | PRE | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ADFLO,SPEEDGLAS,PK5 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1276257 | 1276257 | FILTER;3M,AWS837010,PRTICLE,P SL,ADFLO | FILTER;MNFR:3M,PTNO:AWS837010,ADDITIONAL FEATURES EN:PARTICLE,P SL,ADFLO | 01)BOC LIMITED,01)AWS837010,FILTER,01)PARTICLE,P SL,ADFLO | AWS837010 | 3000220 | 3M | 3M | AWS837010 |  | BOC LIMITED |  |  |  | https://www.boc.com.au/shop/en/au/adflo-particle-filter-aws837010 | [10 empty] | CLEANSED | 40161500 Filters | FILTER | NO MODIFIER | TYPE | PARTICLE | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ADFLO,P SL | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1215247 | 1215247 | FILTER;3M,AWS837242,GAS,A1B1E1,ADFLO | FILTER;MNFR:3M,PTNO:AWS837242,ADDITIONAL FEATURES EN:GAS,A1B1E1,ADFLO | 01)BOC LIMITED,01)AWS837242,FILTER,01)GAS,A1B1E1,ADFLO | AWS837242 | 3000220 | 3M | 3M | AWS837242 |  | BOC LIMITED | A1B1E1 |  |  | https://www.boc.com.au/shop/en/au/adflo-gas-filter-a1b1e1-aws837242 | [10 empty] | ENRICHED | 40161514 Gas pipeline filters | FILTER | GAS | TYPE |  | USAGE DESIGN |  | CONNECTION TYPE |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ADFLO | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 | Processed based on Websource, Conflict w.r.t Input | 1269462 | 1269462 | FILTER;3M,UU009289347,MULTI GAS AND PART | FILTER;MNFR:3M,PTNO:UU009289347,ADDITIONAL FEATURES EN:MULTI GAS AND PART,D8094 A1B1E1K1P3 | 01)ALLIANCE SAFETY EQUIPMENT,01)UU009289347,FILTER,01)MULTI GAS AND PART,D8094 A1 | UU009289347 | 3000220 | 3M | 3M | UU009289347 |  | ALLIANCE SAFETY EQUIPMENT | D8094 |  | A1B1E1K1P3 | https://www.3m.com.au/3M/en_AU/p/d/v100837647/ | [10 empty] | ENRICHED | 40161500 Filters | FILTER | CARTRIDGE | TYPE | MULTI GAS | FILTER RATING |  | SIZE | 121 LGX93 WDX34 HT MM | FLOW RATING |  | SERVICE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1258342 | 1258342 | FILTER;ABB,0404790 | FILTER;MNFR:ABB,PTNO:0404790 | FILTER | 404790 | 3000014 | ABB | ABB | 0404790 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1324784 | 1324784 | FILTER;ABB,0404791 | FILTER;MNFR:ABB,PTNO:0404791 | FILTER | 404791 | 3000014 | ABB | ABB | 0404791 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1258355 | 1258355 | FILTER;ABB,404790 | FILTER;MNFR:ABB,PTNO:404790 | FILTER | 404790 | 3000014 | ABB | ABB | 404790 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161500 Filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1272641 | 1272641 | FILTER;ABB,58982806,DU/DT FILTER,NOCH007 | FILTER;MNFR:ABB,PTNO:58982806,ADDITIONAL FEATURES EN:DU/DT FILTER,NOCH0070-60, IP00 | 01)ABB AUSTRALIA PTY LTD,01)58982806,FILTER,01)DU/DT FILTER,NOCH0070-60, I | 58982806 | 3000014 | ABB | ABB AUSTRALIA PTY LTD | 58982806 |  |  | NOCH0070-60 |  |  | https://new.abb.com/products/58982806/58982806 | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE | DU/DT | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:IP00 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1322555 | 1322555 | FILTER;ABB,58982831 | FILTER;MNFR:ABB,PTNO:58982831 | FILTER | 58982831 | 3000014 | ABB | ABB | 58982831 | [5 empty] | https://new.abb.com/products/58982831/58982831 | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1272640 | 1272640 | FILTER;ABB,68490308,DU/DT FILTER,FOCH026 | FILTER;MNFR:ABB,PTNO:68490308,ADDITIONAL FEATURES EN:DU/DT FILTER,FOCH0260-70, IP00 | 01)ABB AUSTRALIA PTY LTD,01)68490308,FILTER,01)DU/DT FILTER,FOCH0260-70, I | 68490308 | 3000014 | ABB | ABB | 68490308 |  |  | FOCH0260-70 |  |  | https://new.abb.com/products/68490308/68490308 | [10 empty] | ENRICHED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE | DU/DT | FILTER RATING |  | PORT SIZE |  | SIZE | 470 LGX400 WDX390 HT MM | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:IP00 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1322215 | 1322215 | FILTER;ABB,68550505 | FILTER;MNFR:ABB,PTNO:68550505 | FILTER | 68550505 | 3000014 | ABB | ABB | 68550505 | [5 empty] | https://new.abb.com/products/68550505/68550505 | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1322621 | 1322621 | FILTER;ABB,NOCH0070-62 | FILTER;MNFR:ABB,PTNO:NOCH0070-62 | FILTER | NOCH0070-62 | 3000014 | ABB | ABB | NOCH0070-62 | [5 empty] | https://new.abb.com/products/61445455/61445455 | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE | DU/DT | FILTER RATING |  | PORT SIZE |  | SIZE | 0.11 LGX0.11 WDX0.11 HT MM | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1269580 | 1269580 | FILTER;DONA,17557810225,SWTCH,MINDER | FILTER;MNFR:DONALDSON COMPANY INC,PTNO:17557810225,ADDITIONAL FEATURES EN:SWITCH,MINDER | 01)NATIONWIDE MINING CORP PT,01)NMC17557810225,FILTER,01)SWITCH,MINDER | 17557810225 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | 17557810225 |  | NATIONWIDE MINING CORP PT |  |  |  | https://www.fleetpride.com/parts/lubrication-filtration/air-filters/filter-service-parts/donaldson-filter-service-parts-17557810225?cclcl=en_US | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE | SWITCH | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:MINDER | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1220131 | 1220131 | FILTER;DONA,H002223,PRE CLEANER | FILTER;MNFR:DONALDSON COMPANY INC,PTNO:H002223,ADDITIONAL FEATURES EN:PRE CLEANER | 01)JACON TECHNOLOGIES,01)H002223,FILTER,01)PRE CLEANER | H002223 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | H002223 |  | JACON TECHNOLOGIES |  |  |  | https://shop.donaldson.com/store/en-in/product/H002223/12530?_requestid=5575104 | [10 empty] | ENRICHED | 47131800 Cleaning and disinfecting solutions | CLEANER | NO MODIFIER | TYPE | PRE,FILTER | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1270939 | 1270939 | FILTER;HYDA,DF240-010,PRESS | FILTER;MNFR:HYDAC,PTNO:DF240-010,ADDITIONAL FEATURES EN:PRESSURE | 01)ISADRAULICS,01)DF240-010,FILTER,01)PRESSURE | DF240-010 | 3000292 | HYDAC | HYDAC | DF240-010 |  | ISADRAULICS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE | PRESSURE | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1217809 | 1217809 | FILTER;HYDA,HDU15/25PV-B2VY,FNE,INSR,1XB | FILTER;MNFR:HYDAC,PTNO:HDU15/25PV-B2VY,ADDITIONAL FEATURES EN:FINE,INSERT,1XB15/25,PUMP FLOW 45 L/HR | 01)IQ OIL AUSTRALIA PTY LTD,01)HDU15/25PV-B2VY,FILTER,01)FINE,INSERT,1XB15/25,PUMP F | HDU15/25PV-B2VY | 3000292 | HYDAC | HYDAC | HDU15/25PV-B2VY |  | IQ OIL AUSTRALIA PTY LTD |  |  |  | http://cc-jensen.com/index.php?m=p&pid=124 | [5 empty] | PUMP FLOW 45 L/HR,1XB15/25 |  |  |  |  | CLEANSED | 40161500 Filters | FILTER | FLUID | TYPE | FINE,INSERT | MEDIUM |  | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1270940 | 1270940 | FILTER;HYDA,RFM500-020,RETURN FILTRATION | FILTER;MNFR:HYDAC,PTNO:RFM500-020,ADDITIONAL FEATURES EN:RETURN FILTRATION | 01)ISADRAULICS,01)RFM500-020,FILTER,01)RETURN FILTRATION | RFM500-020 | 3000292 | HYDAC | HYDAC | RFM500-020 |  | ISADRAULICS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE | RETURN FILTRATION | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1269384 | 1269384 | FILTER;MILW,16073001037,SUIT B/PACK VAC | FILTER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:16073001037,ADDITIONAL FEATURES EN:SUIT B/PACK VAC | 01)MOUNT ISA MINING SUPPLIES,01)16073001037,FILTER,01)SUIT B/PACK VAC | 16073001037 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 16073001037 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.atom.com.au/hepa-filter-to-suit-m18fbpv-514006 | [10 empty] | CLEANSED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SUIT B/PACK VAC | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1268772 | 1268772 | FILTER;NORG,F68G-NNN-AR3,WATER TRAP,OLYM | FILTER;MNFR:NORGREN CO C A,PTNO:F68G-NNN-AR3,ADDITIONAL FEATURES EN:WATER TRAP,OLYMPIAN,MODUL 4MY | 01)ISADRAULICS,01)F68G-NNN-AR3,FILTER,01)WATER TRAP,OLYMPIAN,MODUL 4 | F68G-NNN-AR3 | 3000325 | NORGREN CO C A | NORGREN CO C A | F68G-NNN-AR3 |  | ISADRAULICS |  |  |  | https://www.norgren.com/en/products/f68g-nnn-ar3 | [10 empty] | ENRICHED | 40161807 Filter element | FILTER | ELEMENT | TYPE | WATER TRAP | MEDIUM | COMPRESSED AIR | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL | ALUMINIUM | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OLYMPIAN,MODUL 4 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1268773 | 1268773 | FILTER;NORG,L68C-NNP-ERN,AIR LUBRICATOR | FILTER;MNFR:NORGREN CO C A,PTNO:L68C-NNP-ERN,ADDITIONAL FEATURES EN:AIR LUBRICATOR,OIL FOG,OLYMPIAN | 01)ISADRAULICS,01)L68C-NNP-ERN,FILTER,01)AIR LUBRICATOR,OIL FOG,OLYM | L68C-NNP-ERN | 3000325 | NORGREN CO C A | NORGREN CO C A | L68C-NNP-ERN |  | ISADRAULICS |  |  |  | https://www.norgren.com/en/products/l68c-nnp-ern | [10 empty] | ENRICHED | 27131600 Air fittings and connectors | LUBRICATOR | NO MODIFIER | TYPE | AIR,OIL FOG | CAPACITY |  | PORT SIZE |  | FLOW RATING |  | OPERATING PRESSURE | 17 BAR | OPERATING TEMPERATURE | -20 TO 80 DEG C | HOUSING MATERIAL | ALUMINIUM | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OLYMPIAN | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1271555 | 1271555 | FILTER;PRKH,932694Q,ELEM,RF2/IL2-2-10Q | FILTER;MNFR:PARKER HANNIFIN,PTNO:932694Q,ADDITIONAL FEATURES EN:ELEMENT,RF2/IL2-2-10Q | 01)ISADRAULICS,01)932694Q,FILTER,01)ELEMENT,RF2/IL2-2-10Q | 932694Q | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 932694Q |  | ISADRAULICS | RF2/IL2-2-10Q |  |  | https://www.radwell.co.uk/es-ES/Buy/PARKER/HANNIFIN/932694Q | [10 empty] | ENRICHED | 40161807 Filter element | FILTER | ELEMENT | TYPE |  | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1274703 | 1274703 | FILTER;PRKH,MXR9550,MAXIFLOW | FILTER;MNFR:PARKER HANNIFIN,PTNO:MXR9550,ADDITIONAL FEATURES EN:MAXIFLOW | 01)PRO-DRAULICS,01)MXR9550,FILTER,01)MAXIFLOW | MXR9550 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | MXR9550 |  | PRO-DRAULICS |  |  |  | https://ph.parker.com/us/en/product/replacement-elements-maxiflow-series/mxr9550 | [10 empty] | ENRICHED | 40161807 Filter element | FILTER | ELEMENT | TYPE |  | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:MAXIFLOW | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1273111 | 1273111 | FILTER;RITL,3243100,FAN,550MÂ³/H,230VAC 5 | FILTER;MNFR:RITTAL,PTNO:3243100,ADDITIONAL FEATURES EN:FAN,550MÂ³/H,230VAC 50HZ,323X323MM | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT3243100,FILTER,01)FAN,550M³/H,230VAC 50HZ,323 | 3243100 | 3000653 | RITTAL | RITTAL | 3243100 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://uk.rs-online.com/web/p/filter-fans/7569812 | [10 empty] | ENRICHED | 40101604 Fans | FAN | ELECTRICAL | TYPE | FILTER | BLADE DIAMETER |  | FLOW RATING | 550 M3/HR | SPEED RATING |  | NUMBER OF BLADES |  | ELECTRICAL RATING | 230 VAC,50 HZ | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE | IP54 | OVERALL SIZE | 323X323 MM | CONNECTION LOCATION |  | DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1273112 | 1273112 | FILTER;RITL,3243110,FAN,550MÂ³/H,110VAC 5 | FILTER;MNFR:RITTAL,PTNO:3243110,ADDITIONAL FEATURES EN:FAN,550MÂ³/H,110VAC 50HZ,323X323MM | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT3243110,FILTER,01)FAN,550M³/H,110VAC 50HZ,323 | 3243110 | 3000653 | RITTAL | RITTAL | 3243110 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://uk.rs-online.com/web/p/filter-fans/7569821?redirect-relevancy-data=7365617263685F636173636164655F6F726465723D31267365617263685F696E746572666163655F6E616D653D4931384E525353746F636B4E756D626572267365617263685F6D617463685F6D6F64653D6D61746368616C6C267365617263685F7061747465726E5F6D6174636865643D5E2828282872737C5253295B205D3F293F285C647B337D5B5C2D5C735D3F5C647B332C347D5B705061415D3F29297C283235285C647B387D7C5C647B317D5C2D5C647B377D29292924267365617263685F747970653D52535F53544F434B5F4E554D424552267365617263685F77696C645F63617264696E675F6D6F64653D4E4F4E45267365617263685F6B6579776F72643D33323433313130267365617263685F6B6579776F72645F6170703D3332343331313026 | [10 empty] | ENRICHED | 40101604 Fans | FAN | ELECTRICAL | TYPE | FILTER | BLADE DIAMETER |  | FLOW RATING | 550 M3/HR | SPEED RATING |  | NUMBER OF BLADES |  | ELECTRICAL RATING | 110 VAC,50 HZ | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE | IP54 | OVERALL SIZE | 323X323 MM | CONNECTION LOCATION |  | DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1272739 | 1272739 | FILTER;RITL,3243200,OUT,323X323X118.5 MM | FILTER;MNFR:RITTAL,PTNO:3243200,ADDITIONAL FEATURES EN:OUTLET,323X323X118.5 MM | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT3243200,FILTER,01)OUTLET,323X323X118.5 MM | 3243200 | 3000653 | RITTAL | RITTAL | 3243200 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://uk.rs-online.com/web/p/fan-filters/7569862?redirect-relevancy-data=7365617263685F636173636164655F6F726465723D31267365617263685F696E746572666163655F6E616D653D4931384E525353746F636B4E756D626572267365617263685F6D617463685F6D6F64653D6D61746368616C6C267365617263685F7061747465726E5F6D6174636865643D5E2828282872737C5253295B205D3F293F285C647B337D5B5C2D5C735D3F5C647B332C347D5B705061415D3F29297C283235285C647B387D7C5C647B317D5C2D5C647B377D29292924267365617263685F747970653D52535F53544F434B5F4E554D424552267365617263685F77696C645F63617264696E675F6D6F64653D4E4F4E45267365617263685F6B6579776F72643D33323433323030267365617263685F6B6579776F72645F6170703D3332343332303026 | [10 empty] | ENRICHED | 40161516 Inline filters | FILTER | NO MODIFIER | TYPE | OUTLET | FILTER RATING |  | PORT SIZE |  | SIZE | 323X323X118.5 MM | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1273110 | 1273110 | FILTER;RITL,3244100,FAN,700/H,230V,50/60 | FILTER;MNFR:RITTAL,PTNO:3244100,ADDITIONAL FEATURES EN:FAN,700/H,230V,50/60HZ | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT3244100,FILTER,01)FAN,700/H,230V,50/60HZ | 3244100 | 3000653 | RITTAL | RITTAL | 3244100 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://uk.rs-online.com/web/p/filter-fans/7569828?redirect-relevancy-data=7365617263685F636173636164655F6F726465723D31267365617263685F696E746572666163655F6E616D653D4931384E525353746F636B4E756D626572267365617263685F6D617463685F6D6F64653D6D61746368616C6C267365617263685F7061747465726E5F6D6174636865643D5E2828282872737C5253295B205D3F293F285C647B337D5B5C2D5C735D3F5C647B332C347D5B705061415D3F29297C283235285C647B387D7C5C647B317D5C2D5C647B377D29292924267365617263685F747970653D52535F53544F434B5F4E554D424552267365617263685F77696C645F63617264696E675F6D6F64653D4E4F4E45267365617263685F6B6579776F72643D33323434313030267365617263685F6B6579776F72645F6170703D3332343431303026 | [10 empty] | ENRICHED | 40101604 Fans | FAN | ELECTRICAL | TYPE | FILTER | BLADE DIAMETER |  | FLOW RATING | 587 M3/HR | SPEED RATING |  | NUMBER OF BLADES |  | ELECTRICAL RATING | 230 VAC,50 HZ | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE | IP54 | OVERALL SIZE | 323X323 MM | CONNECTION LOCATION |  | DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1211205 | 1211205 | FILTER;STAU,SF-6702-MG,SCREW-ON | FILTER;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:SF-6702-MG,ADDITIONAL FEATURES EN:SCREW-ON | 01)AIRDUSTRIAL SERVICES PTY,01)SF-6702-MG,FILTER,01)SCREW-ON | SF-6702-MG | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | SF-6702-MG |  | AIRDUSTRIAL SERVICES PTY |  |  |  | https://www.radwell.co.uk/es-ES/Buy/STAUFF/STAUFF/SF-6702-MG | [10 empty] | ENRICHED | 40161515 Hydraulic filters | FILTER | HYDRAULIC | TYPE |  | FILTER RATING |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | END CONNECTION | SCREW-ON | FLOW RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1211865 | 1211865 | FLANGE;ABB,LQLZ-63-84-1-1-2-1-1-1 | FLANGE;MNFR:ABB,PTNO:LQLZ-63-84-1-1-2-1-1-1 | 01)ABB,01)LQLZ-63-84-1-1-2-1-1-1,01)ABB AUSTRALIA PTY LTD,01)LQLZ-63-84-1-1-2-1-1-1,FLANGE | LQLZ-63-84-1-1-2-1-1-1 | 3000014 | ABB | ABB | LQLZ-63-84-1-1-2-1-1-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1269057 | 1269057 | FLANGE;MILW,614467002,BCKNG | FLANGE;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:614467002,ADDITIONAL FEATURES EN:BACKING | 01)TOOL 'N' TACKLE,01)614467002,FLANGE,01)BACKING | 614467002 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 614467002 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | FLANGE | NO MODIFIER | TYPE | BACKING | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:TOOL 'N' TACKLE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1274930 | 1274930 | FLANGE;RITL,4380000,23X73X1895MM,PUNCHED | FLANGE;MNFR:RITTAL,PTNO:4380000,ADDITIONAL FEATURES EN:23X73X1895MM,PUNCHED SECTION | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT4380000,FLANGE,01)23X73X1895MM,PUNCHED SECTIO | 4380000 | 3000653 | RITTAL | RITTAL | 4380000 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rexelusa.com/p/287562/rittal/system-chassis-1895w/639889180758/4380000 | [10 empty] | ENRICHED | 23153400 Assembly machines | CHASSIS | NO MODIFIER | TYPE | PUNCHED SECTION | SIZE | 23X73 MMX1.895 M | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1273337 | 1273337 | FLANGE;SICK,5338775,MODEL:BEF-CFSN12-FTS | FLANGE;MNFR:SICK,PTNO:5338775,ADDITIONAL FEATURES EN:MODEL:BEF-CFSN12-FTS1 |  | 5338775 | 3000448 | SICK | SICK | 5338775 |  |  | BEF-CFSN12-FTS1 |  |  | https://www.sick.com/ag/en/bef-cfsn12-fts1/p/p600847 | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1275939 | 1275939 | HEATER,IMERS;FUCH,FLA-6221000,RESRVR,ASS | HEATER,IMMERSION;MNFR:FUCHS LUBRICANTS,PTNO:FLA-6221000,ADDITIONAL FEATURES EN:RESERVOIR,ASSEMBLY | 01)FUCHS LUBRICANTS (A'SIA),01)FLA-6221000,HEATER,IMMERSION,01)RESERVOIR,ASSEMBLY | FLA-6221000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS (A'SIA) | FLA-6221000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101815 Immersion heaters | HEATER | IMMERSION | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RESERVOIR,ASSEMBLY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1220482 | 1220482 | HEATER;FUCH,FLA-6217300,KIT | HEATER;MNFR:FUCHS LUBRICANTS,PTNO:FLA-6217300,ADDITIONAL FEATURES EN:KIT | 01)FUCHS LUBRICANTS (A'SIA),01)FLA-6217300,HEATER,01)KIT | FLA-6217300 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS (A'SIA) | FLA-6217300 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101800 Heating equipment and parts and accessories | HEATER | NO MODIFIER | TYPE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KIT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1215244 | 1215244 | RESPIRATOR;3M,AWS547726,PAPR,ADFLO,9100X | RESPIRATOR;MNFR:3M,PTNO:AWS547726,ADDITIONAL FEATURES EN:PAPR,ADFLO,9100XX | 01)BOC LIMITED,01)AWS547726,RESPIRATOR,01)PAPR,ADFLO,9100XX | AWS547726 | 3000220 | 3M | 3M | AWS547726 |  | BOC LIMITED | 9100XX |  |  | https://www.boc.com.au/shop/en/au/3m-speedglas-9100xxi-fx-air-welding-helmet-aws547726-p | [10 empty] | CLEANSED | 46182002 Respirators | RESPIRATOR | NO MODIFIER | TYPE |  | SIZE DESIGNATION |  | FILTER CLASS |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ADFLO,PAPR | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1269461 | 1269461 | RESPIRATOR;3M,UU009261507,SML,H/FACE | RESPIRATOR;MNFR:3M,PTNO:UU009261507,ADDITIONAL FEATURES EN:SMALL,H/FACE REUSABLE HF-801SD | 01)ALLIANCE SAFETY EQUIPMENT,01)UU009261507,RESPIRATOR,01)SMALL,H/FACE REUSABLE HF | UU009261507 | 3000220 | 3M | 3M | UU009261507 |  | ALLIANCE SAFETY EQUIPMENT | HF-801SD |  |  | https://www.boc.com.au/shop/en/au/3m-speedglas-9100xxi-fx-air-welding-helmet-aws547726-p | [10 empty] | CLEANSED | 46182002 Respirators | RESPIRATOR | NO MODIFIER | TYPE | SMALL,H/FACE REUSABLE | SIZE DESIGNATION |  | FILTER CLASS |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 1337.1 | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1269463 | 1269463 | RESPIRATOR;3M,UU009620970,LRG,H/FACE | RESPIRATOR;MNFR:3M,PTNO:UU009620970,ADDITIONAL FEATURES EN:LARGE,H/FACE HF-803SD REUSABLE | 01)ALLIANCE SAFETY EQUIPMENT,01)UU009620970,RESPIRATOR,01)LARGE,H/FACE HF-803SD RE | UU009620970 | 3000220 | 3M | 3M | UU009620970 |  | ALLIANCE SAFETY EQUIPMENT | HF-803SD |  |  | https://www.3m.com.au/3M/en_AU/p/d/v100837631/ | [10 empty] | CLEANSED | 46182002 Respirators | RESPIRATOR | NO MODIFIER | TYPE | LARGE,H/FACE REUSABLE | SIZE DESIGNATION | 125 WDX142 HT MM | FILTER CLASS |  | MATERIAL | SILICONE/NYLON | COLOUR | DARK GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1269464 | 1269464 | RESPIRATOR;3M,UU009622216,MED,H/FACE | RESPIRATOR;MNFR:3M,PTNO:UU009622216,ADDITIONAL FEATURES EN:MEDIUM,H/FACE HF-802SD REUSABLE | 01)ALLIANCE SAFETY EQUIPMENT,01)UU009622216,RESPIRATOR,01)MEDIUM,H/FACE HF-802SD R | UU009622216 | 3000220 | 3M | 3M | UU009622216 |  | ALLIANCE SAFETY EQUIPMENT | HF-802SD |  |  | https://www.3m.com.au/3M/en_AU/p/d/v100837630/ | [10 empty] | CLEANSED | 46182002 Respirators | RESPIRATOR | NO MODIFIER | TYPE | MEDIUM,H/FACE REUSABLE | SIZE DESIGNATION | 125 WDX138 HT MM | FILTER CLASS |  | MATERIAL | SILICONE/NYLON | COLOUR | DARK GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1215159 | 1215159 | RETAINER;3M,3M501,FLTR | RETAINER;MNFR:3M,PTNO:3M501,ADDITIONAL FEATURES EN:FILTER | 01)BOC LIMITED,01)3M501,RETAINER,01)FILTER | 3M501 | 3000220 | 3M | 3M | 3M501 |  | BOC LIMITED |  |  |  | https://iepplstore.com/product/3m-501-prefilter-retainer/ | [10 empty] | ENRICHED | 31163200 Retaining hardware | RETAINER | NO MODIFIER | TYPE | PREFILTER | SIZE | 5.8 LGX4.5 WDX4 HT IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1218849 | 1218849 | RETAINER;EPM,33521-00 | RETAINER;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:33521-00 |  | 33521-00 | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 33521-00 | [5 empty] | https://www.emerson.com/en-us/catalog/rosemount-sku-33521-00 | [10 empty] | CLEANSED | 31163200 Retaining hardware | RETAINER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-06-30 |  | 1269060 | 1269060 | RETAINER;MILW,659703001,BRG | RETAINER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:659703001,ADDITIONAL FEATURES EN:BEARING | 01)TOOL 'N' TACKLE,01)659703001,RETAINER,01)BEARING | 659703001 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 659703001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163200 Retaining hardware | RETAINER | NO MODIFIER | TYPE | BEARING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:TOOL 'N' TACKLE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1219245 | 1219245 | RETAINER;PHM,18P8638D17 | RETAINER;MNFR:P AND H MINING EQUIPMENT,PTNO:18P8638D17 | RETAINER | 18P8638D17 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | 18P8638D17 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163200 Retaining hardware | RETAINER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | OK | 2023-06-24 | 2023-07-03 |  | 1219240 | 1219240 | RETAINER;PHM,18P8638D6 | RETAINER;MNFR:P AND H MINING EQUIPMENT,PTNO:18P8638D6 | RETAINER | 18P8638D6 | 3000009 | P & H MINING EQUIPMENT | P AND H MINING EQUIPMENT | 18P8638D6 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163200 Retaining hardware | RETAINER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed