## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1274103 | 1274103 | ADHESIVE;WEI,41236IZZ0004EAEA | ADHESIVO;MNFR:WEIR,PTNO:41236IZZ0004EAEA, | ADHESIVE | 41236IZZ0004EAEA | 3000036 | WEIR | WEIR | 41236IZZ0004EAEA | [5 empty] | NF | [10 empty] | CLEANSED | 31201600 Adhesives | ADHESIVE | NO MODIFIER | TYPE |  | CURE TIME |  | CONTAINER |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1274104 | 1274104 | ADHESIVE;WEI,41239IZZ0160EAEA | ADHESIVO;MNFR:WEIR,PTNO:41239IZZ0160EAEA, | ADHESIVE | 41239IZZ0160EAEA | 3000036 | WEIR | WEIR | 41239IZZ0160EAEA | [5 empty] | NF | [10 empty] | CLEANSED | 31201600 Adhesives | ADHESIVE | NO MODIFIER | TYPE |  | CURE TIME |  | CONTAINER |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1219579 | 1219579 | BAR,BRKR;MILW,48229011,1/2" DR,380MM | BAR,BREAKER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229011,ADDITIONAL FEATURES EN:1/2" DR,380MM | 01)MOUNT ISA MINING SUPPLIES,01)48229011,BAR,BREAKER,01)1/2" DR,380MM | 48229011 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229011 |  | MOUNT ISA MINING SUPPLIES | 48229011 |  |  | https://www.milwaukeetool.com.au/hand-tools/mechanics-tools/breaker-bars/48229011.html | [10 empty] | ENRICHED | 27111700 Wrenches and drivers | BAR | BREAKER | TYPE | RATCHETING | TORQUE RATING |  | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | MATERIAL | ALLOY STEEL | LENGTH | 380 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HEAD TYPE:180 DEG SWIVEL | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1211706 | 1211706 | BAR,BRKR;MILW,48229013,1/2" DR,609MM | BAR,BREAKER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229013,ADDITIONAL FEATURES EN:1/2" DR,609MM | 01)MOUNT ISA MINING SUPPLIES,01)48229013,BAR,BREAKER,01)1/2" DR,609MM | 48229013 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229013 |  | MOUNT ISA MINING SUPPLIES | 48229013 |  |  | https://www.milwaukeetool.com.au/hand-tools/mechanics-tools/breaker-bars/48229013.html | [10 empty] | ENRICHED | 27111700 Wrenches and drivers | BAR | BREAKER | TYPE | RATCHETING | TORQUE RATING |  | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | MATERIAL | ALLOY STEEL | LENGTH | 609 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HEAD TYPE:180 DEG SWIVEL | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1269814 | 1269814 | BAR,SQ;COND,027400-4,2X30X30MM X 4M,SS | BAR,SQUARE;MNFR:CONDUCTIX,PTNO:027400-4,ADDITIONAL FEATURES EN:2X30X30MM X 4M,SS | 01)CONDUCTIX WAMPFLER PTY LT,01)027400-4,BAR,SQUARE,01)2X30X30MM X 4M,SS | 027400-4 | 3000255 | CONDUCTIX | CONDUCTIX WAMPFLER PTY LTD | 027400-4 | [5 empty] | https://www.conductix.us/sites/default/files/downloads/Catalog_-_Festoon_270_Series_Square_Rail.pdf | [10 empty] | CLEANSED | 30103101 Steel rail | RAIL | NO MODIFIER | TYPE | SQUARE | SIZE | 4000 LGX30 WDX30 HT MM | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1269808 | 1269808 | BAR,SQ;COND,99420,30MM TRACK | BAR,SQUARE;MNFR:CONDUCTIX,PTNO:99420,ADDITIONAL FEATURES EN:30MM TRACK | 01)CONDUCTIX WAMPFLER PTY LT,01)99420,BAR,SQUARE,01)30MM TRACK | 99420 | 3000255 | CONDUCTIX | CONDUCTIX WAMPFLER PTY LTD | 99420 | [5 empty] | https://www.cxwaconnect.com.au/index.php?route=product/product&path=66_20&product_id=364&sort=pd.name&order=ASC | [10 empty] | ENRICHED | 23153000 Holding and positioning and guiding systems and devices | TRACK | NO MODIFIER | TYPE | SQUARE | WIDTH | 30 MM | THICKNESS |  | LENGTH | 4000 MM | MATERIAL |  | FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1327448 | 1327448 | BAR;ABB,3BHB017014R0001 | BAR;MNFR:ABB,PTNO:3BHB017014R0001 | BAR | 3BHB017014R0001 | 3000014 | ABB | ABB | 3BHB017014R0001 | [5 empty] | NF | [10 empty] | CLEANSED | 30260000 Structural materials | BAR | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 |  | 1269512 | 1269512 | BAR;BRAK,BG98,GROUSER,PROFILE 98,3 M | BAR;MNFR:BRADKEN,PTNO:BG98,ADDITIONAL FEATURES EN:GROUSER,PROFILE 98,3 M | 01)BRADKEN MINING,01)BG98,BAR,01)GROUSER,PROFILE 98,3 M | BG98 | 3000420 | BRADKEN | BRADKEN MINING | BG98 | [5 empty] | NF | [10 empty] | CLEANSED | 22101500 Earth moving machinery | BAR | GROUSER | TYPE |  | TRACK SHOE WIDTH |  | TOP THICKNESS |  | GROUSER HEIGHT |  | OVERALL HEIGHT |  | PROFILE SIZE | 98.3 M | MATERIAL |  | MATERIAL SPECIFICATION |  | HARDNESS |  | ATTACHMENT TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1271018 | 1271018 | CHUCK,DRIL;MILW,673410005,KYLSS,13MM,M18 | CHUCK,DRILL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:673410005,ADDITIONAL FEATURES EN:KEYLESS,13MM,M18FPD2-0 | 01)MOUNT ISA MINING SUPPLIES,01)673410005,CHUCK,DRILL,01)KEYLESS,13MM,M18FPD2-0 | 673410005 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FPD2-0 |  | MOUNT ISA MINING SUPPLIES | 673410005 |  |  | https://www.milwaukeetool.com.au/power-tools/drills/hammer-drills/M18FPD2-0.html | [10 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE | HAMMER,CORDLESS,KEYLESS | CHUCK CAPACITY | 13 MM | CHUCK TYPE | RATCHETING | OVERALL SIZE | 175 MM LG | POWER SUPPLY | 18 V | SPEED RATING | 0 TO 550/0 TO 2000 RPM | TORQUE RATING | 135 NM | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED,DUPLICATE_1 | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1269914 | 1269914 | CRIMPER;MILW,M18HCCT0C,18V,6T,FORCELOGIC | CRIMPER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18HCCT0C,ADDITIONAL FEATURES EN:18V,6T,FORCELOGIC | 01)TOTAL TOOLS TOWNSVILLE,01)M18HCCT0C,CRIMPER,01)18V,6T,FORCELOGIC | M18HCCT0C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18HCCT-0C |  | TOTAL TOOLS | M18HCCT0C |  |  | https://www.milwaukeetool.com.au/power-tools/electrical/crimpers/M18HCCT-0C.html | [10 empty] | ENRICHED | 27112700 Power tools | CRIMPER | HYDRAULIC | TYPE | CORDLESS | OUTPUT FORCE | 6 TON | WIRE SIZE RANGE |  | INLET SIZE |  | PRESSURE RATING |  | MATERIAL |  | HARDNESS |  | FINISH |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRADE NAME:FORCELOGIC,VOLTAGE:18 V | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED,DUPLICATE_1 | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1211675 | 1211675 | CRIMPER;MILW,MIWM18HCCT-0C | CRIMPER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MIWM18HCCT-0C |  | MIWM18HCCT-0C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18HCCT-0C | [5 empty] | https://www.milwaukeetool.com.au/power-tools/electrical/crimpers/M18HCCT-0C.html | [10 empty] | ENRICHED | 27112700 Power tools | CRIMPER | HYDRAULIC | TYPE | CORDLESS | OUTPUT FORCE | 6 TON | WIRE SIZE RANGE |  | INLET SIZE |  | PRESSURE RATING |  | MATERIAL |  | HARDNESS |  | FINISH |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRADE NAME:FORCELOGIC,VOLTAGE:18 V | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NEED CLARITY | 2023-06-24 | 2023-07-03 |  | 1274115 | 1274115 | FLOAT;WEI,M252926 | FLOTADOR;MNFR:WEIR,PTNO:M252926, | FLOAT | M252926 | 3000036 | WEIR | WEIR | M252926 | [5 empty] | NF | [10 empty] | CLEANSED | 39122219 Level or float switch | FLOAT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1273546 | 1273546 | GLASSES,SAFTY;MILW,48732920,PERFORMANCE | GLASSES,SAFETY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48732920,ADDITIONAL FEATURES EN:PERFORMANCE CLEAR |  | 48732920 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48732920 | [5 empty] | https://www.milwaukeetool.com.au/safety/eye-protection/safety-glasses/48732920.html | [10 empty] | CLEANSED | 30171707 Safety glass | GLASSES | SAFETY | TYPE | PERFORMANCE | LENS MATERIAL |  | FRAME MATERIAL |  | LENS COLOUR | CLEAR | FRAME COLOUR |  | TEMPLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1273547 | 1273547 | GLASSES,SAFTY;MILW,48732940,HIGH PERFORM | GLASSES,SAFETY;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48732940,ADDITIONAL FEATURES EN:HIGH PERFORMANCE CLEAR |  | 48732940 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48732940 | [5 empty] | https://www.milwaukeetool.com.au/safety/eye-protection/safety-glasses/48732940.html | [10 empty] | CLEANSED | 30171707 Safety glass | GLASSES | SAFETY | TYPE | HIGH PERFORMANCE | LENS MATERIAL |  | FRAME MATERIAL |  | LENS COLOUR | CLEAR | FRAME COLOUR |  | TEMPLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1274462 | 1274462 | GLASSES;MILW,MIW48732905,TINTED SAFETY | GLASSES;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MIW48732905,ADDITIONAL FEATURES EN:TINTED SAFETY |  | MIW48732905 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48732905 | [5 empty] | https://www.milwaukeetool.com.au/safety/eye-protection/safety-glasses/48732905.html | [10 empty] | CLEANSED | 30171707 Safety glass | GLASSES | SAFETY | TYPE | TINTED | LENS MATERIAL |  | FRAME MATERIAL |  | LENS COLOUR |  | FRAME COLOUR |  | TEMPLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1244821 | 1244821 | IMPELLER;WEI,B1127A05 | IMPULSOR;MNFR:WEIR,PTNO:B1127A05,CARACTERISTICAS ADICIONALES ES: WARMAN 1.5/1 B-AH,MNFR 01:VULCO | IMPULSOR | B1127A05 | 3000036 | WEIR | WEIR | B1127A05 | [5 empty] | https://buyaircraftparts.com/cage-code/0GMB6 | https://nationalstocknumber.org/cage-code/0GMB6/fsc/4320/ | [9 empty] | ENRICHED | 40151730 Pump impeller | IMPELLER | PUMP | TYPE | AXIAL FAN | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL |  | PUMP TYPE | 1.5/1 B-AH | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:WARMAN,VULCO | [52 empty] | CARACTERISTICAS ADICIONALES ES: WARMAN 1.5/1 B-AH,MNFR 01:VULCO | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1275264 | 1275264 | IMPELLER;WEI,C2147U38 | IMPULSOR;MNFR:WEIR,PTNO:C2147U38, | IMPELLER | C2147U38 | 3000036 | WEIR | WEIR | C2147U38 | [5 empty] | https://www.slurrypumpsupply.com/polyurethane-slurry-pump-parts/polyurethane-slurry-pump-impellers.html | [10 empty] | ENRICHED | 40151730 Pump impeller | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL | Polyurethane | PUMP TYPE | 3/2 CAH | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1274119 | 1274119 | IMPELLER;WEI,E4058A52 | IMPULSOR;MNFR:WEIR,PTNO:E4058A52, | IMPELLER | E4058A52 | 3000036 | WEIR | WEIR | E4058A52 | [5 empty] | NF | [10 empty] | CLEANSED | 40101603 Impellers | IMPELLER | NO MODIFIER | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | NUMBER OF BLADES |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED,NEED CLARITY | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1241088 | 1241088 | IMPELLER;WEI,E4147-R55,0330-PPS-0017 033 | IMPELLER;MNFR:WEIR,PTNO:E4147-R55,ADDITIONAL FEATURES EN:0330-PPS-0017 0330-PPS-0018,RUBBER,6-4E | IMPELLER,01)0330-PPS-0017 0330-PPS-0018,RUBBER,6-4E,01)0330-PPS-0017 0330-PPS-0018,RUBBER,6-4E | E4147-R55 | 3000036 | WEIR | WEIR | E4147-R55 | [5 empty] | https://weirafricastore.com/impeller-rubber-6-4e/ | [10 empty] | ENRICHED | 40151730 Pump impeller | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL | RUBBER | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 0330-PPS-0017,0330-PPS-0018,6-4E | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1274120 | 1274120 | IMPELLER;WEI,F6145WRT1A05 | IMPULSOR;MNFR:WEIR,PTNO:F6145WRT1A05, | IMPELLER | F6145WRT1A05 | 3000036 | WEIR | WEIR | F6145WRT1A05 | [5 empty] | https://weirafricastore.com/impeller-4-vcg-1/ | [10 empty] | CLEANSED | 40151730 Pump impeller | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL |  | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1276183 | 1276183 | MODULE,COMM;AB,1734-AENT |  |  | 1734-AENT | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1734-AENT | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.1734-AENT.html | https://www.dosupply.com/automation/allen-bradley-plc/point-i-o-1734/1734-AENT | [9 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | ETHERNET ADAPTER | INPUT RATING | 24 VDC,6 A | NUMBER OF PORTS | 1 | INTERFACE TYPE | RJ45 | DATA TRANSFER RATE | 10/100 MBPS | TRANSMISSION PROTOCOL |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 30X2-5/32X5-1/4 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1266494 | 1266494 | MODULE,COMM;AB,A-B1756HIST2G,CNTLLOGIX,2 | MODULE,COMMUNICATION;MNFR:ALLEN BRADLEY,PTNO:A-B1756HIST2G,ADDITIONAL FEATURES EN:CNTLLOGIX,2G | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B1756HIST2G,MODULE,COMMUNICATION,01)CNTLLOGIX,2G | A-B1756HIST2G | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756HIST2G |  | CNW ELECTRICAL | 1756HIST2G |  |  | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/1756-td002_-en-e.pdf | https://www.dosupply.com/automation/allen-bradley-plc/controllogix/1756-HIST2G | [9 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | COMPUTE | INPUT RATING | 5.1 VDC,1.4 A | NUMBER OF PORTS | 1 | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 60 DEG C | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CUL,CE,RCM,KC,EAC,UKCA | ADDITIONAL FEATURES EN | BRAND:CONTROLLOGIX,2G | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1266474 | 1266474 | MODULE,COMM;AB,A-B1756N2,CHASSIS S/FILL | MODULE,COMMUNICATION;MNFR:ALLEN BRADLEY,PTNO:A-B1756N2,ADDITIONAL FEATURES EN:CHASSIS S/FILL | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B1756N2,MODULE,COMMUNICATION,01)CHASSIS S/FILL | A-B1756N2 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756N2 |  | CNW ELECTRICAL | 1756N2 |  |  | https://www.rockwellautomation.com/en-ro/products/details.1756-N2.html | https://www.revereelectric.com/4202704/Product/Allen-Bradley-1756-N2 | [9 empty] | ENRICHED |  | COVER | NO MODIFIER | TYPE | EMPTY FILLER SLOT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR CHASSIS | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1266496 | 1266496 | MODULE,COMM;AB,A-B1783ETAP,ETAP DLR 3COP | MODULE,COMMUNICATION;MNFR:ALLEN BRADLEY,PTNO:A-B1783ETAP,ADDITIONAL FEATURES EN:ETAP DLR 3COPPER-FE | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B1783ETAP,MODULE,COMMUNICATION,01)ETAP DLR 3COPPER-FE | A-B1783ETAP | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1783ETAP |  | CNW ELECTRICAL | 1783ETAP |  |  | https://www.rockwellautomation.com/en-pr/products/details.1783-ETAP.html | https://www.mc-mc.com/Product/allen-bradley-1783-etap?option=ALBR1783ETAP | [9 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | ETHERNET/IP TAP | INPUT RATING | 24 VDC,125 MA | NUMBER OF PORTS | 3 | INTERFACE TYPE | RJ45 | DATA TRANSFER RATE | 3 TO 10/100 MBPS | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | CONNECTION TYPE |  | SIZE | 132 MM HT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC | ADDITIONAL FEATURES EN | COPPER INTERFACE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1214949 | 1214949 | MODULE,ELECTR;AB,20750ENC1,PF750 ENCODER | MODULE,ELECTRONIC;MNFR:ALLEN BRADLEY,PTNO:20750ENC1,ADDITIONAL FEATURES EN:PF750 ENCODER INCREMENTAL | 01)NHP ELECTRICAL ENGINEERIN,01)20750ENC1,MODULE,ELECTRONIC,01)PF750 ENCODER INCREMENTAL | 20750ENC1 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 20-750-ENC-1 |  | NHP ELECTRICAL ENGINEERING | 20-750-ENC-1 |  |  | https://www.rockwellautomation.com/en-us/products/details.20-750-ENC-1.html | https://www.dosupply.com/automation/allen-bradley-drives/powerflex-755/20-750-ENC-1 | [9 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | SINGLE INCREMENTAL ENCODER INPUT | INPUT RATING | 5 TO 15 VDC,250 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:POWERFLEX 750 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1216278 | 1216278 | MODULE,ELECTR;AB,AB1734EP24DC,EXT MODULE | MODULE,ELECTRONIC;MNFR:ALLEN BRADLEY,PTNO:AB1734EP24DC,ADDITIONAL FEATURES EN:EXT MODULE,POINT | 01)COBAR POWERHOUSE,01)AB1734EP24DC,MODULE,ELECTRONIC,01)EXT MODULE,POINT | AB1734EP24DC | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1734-EP24DC |  | COBAR POWERHOUSE | 1734-EP24DC |  |  | https://www.rockwellautomation.com/en-us/products/details.1734-EP24DC.html | https://literature.rockwellautomation.com/idc/groups/literature/documents/in/1734-in058_-en-p.pdf | [9 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | EXPANSION POWER | INPUT RATING | 24 VDC,400 MA | OUTPUT RATING | 19.2 TO 28.8 V,1.3 A | CONNECTION TYPE |  | SIZE | 25.4 WDX76.2 HTX133.4 DP MM | MOUNTING TYPE | DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UK,CE,RCM,EX,KC,EAC,IECEX,CCC | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1325787 | 1325787 | MODULE,ELECTR;RXSP,INDICA, 14 RELAY,ASEA | MODULE,ELECTRONIC;TYPE:RXSP,ADDITIONAL FEATURES EN:INDICA, 14 RELAY,MNFR:ABB,PTNO:RK275401-AN,MNFR:01)ASEA,PTNO:01)RK275 401AN | EN_01)RXSP,01)INDICA, 14 RELAY,01)ASEA,01)RK275 401AN,MODULE | RK275401-AN | 3000014 | ABB | ABB | RK275401-AN |  | ASEA | RK275401-AN |  |  | https://new.abb.com/products/RK275401-AN/rk275401-an | [10 empty] | ENRICHED |  | INDICATOR | NO MODIFIER | TYPE | POLARIZED,RXSP | MEASURING RANGE | 110 TO 150 VDC | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 14 RELAY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1253565 | 1253565 | MODULE,ELECTRONIC;ABB,3BSC610068R1 | MODULE,ELECTRONIC;MNFR:ABB,PTNO:3BSC610068R1 | MODULE,ELECTRONIC | 3BSC610068R1 | 3000014 | ABB | ABB | 3BSC610068R1 | [5 empty] | https://new.abb.com/products/3BSC610068R1/3bsc610068r1 | [10 empty] | ENRICHED |  | POWER SUPPLY | NO MODIFIER | TYPE |  | INPUT RATING | 24 VDC,10 A | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | NUMBER OF OUTPUTS |  | POWER RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNTING:DIN RAIL | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1275721 | 1275721 | MODULE;AB,2711PRP8D,LGC,PVP6,512MB,DC | MODULE;MNFR:ALLEN BRADLEY,PTNO:2711PRP8D,ADDITIONAL FEATURES EN:LOGIC,PVP6,512MB,DC | 01)LAWRENCE & HANSON PTY. LT,01)2711PRP8D,MODULE,01)LOGIC,PVP6,512MB,DC | 2711PRP8D | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 2711P-RP8D |  | LAWRENCE & HANSON PTY LTD | 2711P-RP8D |  |  | https://www.rockwellautomation.com/en-us/products/details.2711P-RP8D.html | https://www.dosupply.com/automation/allen-bradley/logic-modules/2711P-RP8D | [9 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | LOGIC | INPUT RATING | 24 VDC | NUMBER OF PORTS | 2 | INTERFACE TYPE | ETHERNET PORT,SERIAL PORT,TWO USB PORTS,COMPACTFLASH CARD SLOT | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL | ETHERNET | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 55 DEG C | CONNECTION TYPE | 19-PIN SUB-D | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:PANELVIEW PLUS 6,MEMORY:512 MB | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 |  | 1275985 | 1275985 | MODULE;ABB,1SFA899300R1006 | MODULE;MNFR:ABB,PTNO:1SFA899300R1006 |  | 1SFA899300R1006 | 3000014 | ABB | ABB | 1SFA899300R1006 | [5 empty] | https://new.abb.com/products/1SFA899300R1006/ab-ethernet-ip-2 | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | ANYBUS | INPUT RATING |  | NUMBER OF PORTS | 2 | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE | DIRECT | TEMPERATURE RATING | -25 TO 60 DEG C | CONNECTION TYPE |  | SIZE | 50 WDX22 HTX52 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP20 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1323487 | 1323487 | MODULE;ABB,29 46 159 | MODULE;MNFR:ABB,PTNO:29 46 159 | MODULE | 29 46 159 | 3000014 | ABB | ABB | 29 46 159 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1330205 | 1330205 | MODULE;ABB,3ADT220090R0006 | MODULE;MNFR:ABB,PTNO:3ADT220090R0006 | MODULE | 3ADT220090R0006 | 3000014 | ABB | ABB | 3ADT220090R0006 | [5 empty] | https://new.abb.com/products/3ADT220090R0006/3adt220090r0006 | [10 empty] | CLEANSED |  | CARD | INTERFACE | TYPE | MEASUREMENT | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1258175 | 1258175 | MODULE;ABB,3ADT220129R1001 | MODULE;MNFR:ABB,PTNO:3ADT220129R1001 | MODULE | 3ADT220129R1001 | 3000014 | ABB | ABB | 3ADT220129R1001 | [5 empty] | https://new.abb.com/products/3ADT220129R1001/3adt220129r1001 | [10 empty] | CLEANSED |  | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1258173 | 1258173 | MODULE;ABB,3ADT313900R1501 | MODULE;MNFR:ABB,PTNO:3ADT313900R1501 | MODULE | 3ADT313900R1501 | 3000014 | ABB | ABB | 3ADT313900R1501 | [5 empty] | https://new.abb.com/products/3ADT313900R1501/3adt313900r1501 | [10 empty] | ENRICHED |  | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1220396 | 1220396 | MODULE;ABB,3ASM 210 G180 | MODULE;MNFR:ABB,PTNO:3ASM 210 G180 | MODULE | 3ASM 210 G180 | 3000014 | ABB | ABB | 3ASM 210 G180 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1241335 | 1241335 | MODULE;ABB,3BHB020720R0002,IGCT | MODULE;MNFR:ABB,PTNO:3BHB020720R0002,ADDITIONAL FEATURES EN:IGCT | MODULE,01)IGCT,01)IGCT | 3BHB020720R0002 | 3000014 | ABB | ABB | 3BHB020720R0002 | [5 empty] | https://new.abb.com/products/3BHB020720R0002/3bhb020720r0002 | https://www.unitec-international.com/e-catalog/request-information/?lingua=D&x_artnr=174053 | [9 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | INTEGRATED GATE-COMMUTATED THYRISTORS | INPUT RATING | 4500 V | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 91 MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1325795 | 1325795 | MODULE;ABB,3BHL000511P0003 | MODULE;MNFR:ABB,PTNO:3BHL000511P0003 | MODULE | 3BHL000511P0003 | 3000014 | ABB | ABB | 3BHL000511P0003 | [5 empty] | https://new.abb.com/products/3BHL000511P0003/3bhl000511p0003 | [10 empty] | ENRICHED |  | INTERFACE | NO MODIFIER | TYPE | PULSE ENCODER | POWER SUPPLY |  | NUMBER OF PORTS |  | PORT DATA |  | SPEED RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1220388 | 1220388 | MODULE;ABB,3BHL001089P0001 | MODULE;MNFR:ABB,PTNO:3BHL001089P0001 | MODULE | 3BHL001089P0001 | 3000014 | ABB | ABB | 3BHL001089P0001 | [5 empty] | https://www-quad--industry-com.translate.goog/catalog/abbcatalog/138536/2424836.html?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED |  | METER | CONDUCTIVITY | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | POWER SUPPLY |  | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1325609 | 1325609 | MODULE;ABB,3BSE 008 514 R1 | MODULE;MNFR:ABB,PTNO:3BSE 008 514 R1 | MODULE | 3BSE 008 514 R1 | 3000014 | ABB | ABB | 3BSE008514R1 | [5 empty] | https://new.abb.com/products/3BSE008514R1/3bse008514r1 | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | 8 CHANNEL DIGITAL OUTPUT RELAY | INPUT RATING |  | OUTPUT RATING | 24 TO 230 VAC/DC,3 A | CONNECTION TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED,PART NUMBER UPDATED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input,Part Number Updated as per Websource | 1323616 | 1323616 | MODULE;ABB,3BSE 013 231 | MODULE;MNFR:ABB,PTNO:3BSE 013 231 | MODULE | 3BSE 013 231 | 3000014 | ABB | ABB | 3BSE013231R1 | [5 empty] | https://new.abb.com/products/3BSE013231R1/3bse013231r1 | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | COMPACT TERMINATION UNIT | INPUT RATING | 250 V | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 64 LGX58.5 WDX170 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1271225 | 1271225 | MODULE;ABB,3BSE 013 234 R1 | MODULE;MNFR:ABB,PTNO:3BSE 013 234 R1 | MODULE | 3BSE 013 234 R1 | 3000014 | ABB | ABB | 3BSE013234R1 | [5 empty] | https://new.abb.com/products/3BSE013234R1/3bse013234r1 | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | EXTENDED TERMINATION UNIT | INPUT RATING | 50 V | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 64 LGX110 WDX120.5 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1214211 | 1214211 | MODULE;ABB,5615 452-B | MODULE;MNFR:ABB,PTNO:5615 452-B | MODULE | 5615 452-B | 3000014 | ABB | ABB | 5615 452-B | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1325291 | 1325291 | MODULE;ABB,5615 452-E | MODULE;MNFR:ABB,PTNO:5615 452-E | MODULE | 5615 452-E | 3000014 | ABB | ABB | 5615 452-E | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1335725 | 1335725 | MODULE;ABB,5615 453-B | MODULE;MNFR:ABB,PTNO:5615 453-B | MODULE | 5615 453-B | 3000014 | ABB | ABB | 5615 453-B | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1325301 | 1325301 | MODULE;ABB,5615 453-C | MODULE;MNFR:ABB,PTNO:5615 453-C | MODULE | 5615 453-C | 3000014 | ABB | ABB | 5615 453-C | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1325304 | 1325304 | MODULE;ABB,5615 459-AB | MODULE;MNFR:ABB,PTNO:5615 459-AB | MODULE | 5615 459-AB | 3000014 | ABB | ABB | 5615 459-AB | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1325294 | 1325294 | MODULE;ABB,5615 575-B | MODULE;MNFR:ABB,PTNO:5615 575-B | MODULE | 5615 575-B | 3000014 | ABB | ABB | 5615 575-B | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335647 | 1335647 | MODULE;CUM,4921776 | MODULE;MNFR:CUMMINS,PTNO:4921776 | MODULE | 4921776 | 3000018 | CUMMINS | CUMMINS | 4921776 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sF8bQAE/cummins-modulecentinel-control-4921776rx | https://goecm.com/products/cummins-isb-ecm-4921776 | [9 empty] | ENRICHED |  | MODULE | CONTROL | TYPE | ENGINE | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1267048 | 1267048 | MODULE;DRAG,8321890,X-DOCK,XAM 2500/5000 | MODULE;MNFR:DRAEGER,PTNO:8321890,ADDITIONAL FEATURES EN:X-DOCK,XAM 2500/5000 | 01)ALLIANCE SAFETY EQUIPMENT,01)8321890,MODULE,01)X-DOCK,XAM 2500/5000 | 8321890 | 3000423 | DRAEGER | DRAEGER | 8321890 |  | ALLIANCE SAFETY EQUIPMENT | 8321890 |  |  | https://draeger-mo.com/en/artnr/8321890/drager-x-dock-module-x-am-1-2-5 | [10 empty] | CLEANSED |  | MODULE | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:X-DOCK,XAM 2500/5000 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1267049 | 1267049 | MODULE;DRAG,8321901,X-DOCK 6600,6 X GAS | MODULE;MNFR:DRAEGER,PTNO:8321901,ADDITIONAL FEATURES EN:X-DOCK 6600,6 X GAS INLETS UP TO 10 INSTRUMENT MODELS | 01)ALLIANCE SAFETY EQUIPMENT,01)8321901,MODULE,01)X-DOCK 6600,6 X GAS INLETS | 8321901 | 3000423 | DRAEGER | DRAEGER | 8321901 |  | ALLIANCE SAFETY EQUIPMENT | 8321901 |  |  | https://draeger-mo.com/en/artnr/8321901/drager-x-dock-6600-master-6-test-gas-connections-can-be-expanded-to-10-modules | [10 empty] | CLEANSED |  | MODULE | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:X-DOCK 6600,6 X GAS INLETS UP TO 10 INSTRUMENT MODELS | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1272974 | 1272974 | MODULE;PHNX,2901535,EXTSN,I/O,RADIOLINE | MODULE;MNFR:PHOENIX CONTACT,PTNO:2901535,ADDITIONAL FEATURES EN:EXTENSION,I/O,RADIOLINE,RAD-DI4-IFS | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO2901535,MODULE,01)EXTENSION,I/O,RADIOLINE,RAD | 2901535 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 2901535 |  | CNW ELECTRICAL | 2901535 |  | RAD-DI4-IFS | https://www.phoenixcontact.com/en-in/products/extension-module-rad-di4-ifs-2901535 | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | RADIOLINE 4 DIGITAL INPUT EXTENSION | INPUT RATING | 0 TO 250 VAC/DC,1 MA,<=2 HZ | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE | 17.5 WDX113 HTX114.5 DP MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,ATEX,IECEX,UL,CCC | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1272975 | 1272975 | MODULE;PHNX,2901536,EXTSN,I/O,RADIOLINE | MODULE;MNFR:PHOENIX CONTACT,PTNO:2901536,ADDITIONAL FEATURES EN:EXTENSION,I/O,RADIOLINE,RAD-DOR4-IFS | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO2901536,MODULE,01)EXTENSION,I/O,RADIOLINE,RAD | 2901536 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 2901536 |  | CNW ELECTRICAL | 2901536 |  | RAD-DOR4-IFS | https://www.phoenixcontact.com/en-in/products/extension-module-rad-dor4-ifs-2901536 | https://www.mouser.in/ProductDetail/Phoenix-Contact/2901536?qs=uWLracRcF9mY5DHFdh3v8Q%3D%3D | [9 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | RADIOLINE 4 DIGITAL RELAY OUTPUT EXTENSION | INPUT RATING | 19.2 TO 30.5 V,55 MA | OUTPUT RATING | 250 VAC/DC,5 A | CONNECTION TYPE | SCREW | SIZE | 17.5 WDX113 HTX114.5 DP MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,ATEX,IECEX,UL,CCC | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1272973 | 1272973 | MODULE;PHNX,2901541,WIRELSS,2.4GHZ,RADIO | MODULE;MNFR:PHOENIX CONTACT,PTNO:2901541,ADDITIONAL FEATURES EN:WIRELESS,2.4GHZ,RADIOLINE,RAD-2400-IFS | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO2901541,MODULE,01)WIRELESS,2.4GHZ,RADIOLINE,R | 2901541 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 2901541 |  | CNW ELECTRICAL | 2901541 |  | RAD-2400-IFS | https://www.phoenixcontact.com/en-in/products/wireless-module-rad-2400-ifs-2901541 | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | RADIOLINE 1RF LINK RELAY OUTPUT WIRELESS | INPUT RATING | 30 VAC/DC,60 VDC,500 MA,300 MA | NUMBER OF PORTS | 8 | INTERFACE TYPE | RS-232/RS-485 | DATA TRANSFER RATE | 16 KBPS,250 KBPS | TRANSMISSION PROTOCOL | MODBUS | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -40 TO 70 DEG C | CONNECTION TYPE | SCREW | SIZE | 17.5 WDX116 HTX114.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RANGE:2.4002 TO 2.4785 GHZ | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335633 | 1335633 | MODULE;SIE,6SR0960-0AM72-0AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR0960-0AM72-0AD0 | MODULE | 6SR0960-0AM72-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0AM72-0AD0 | [5 empty] | https://www.automation-berlin.com/en/siemens-6SR0960-0AM72-0AD0.html | [10 empty] | ENRICHED |  | MODULE | CONTROL | TYPE | CELL | VOLTAGE RATING | 630/690/750 V | CURRENT RATING |  | OUTPUT TYPE |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS |  | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335642 | 1335642 | MODULE;SIE,6SR0960-0CB02-0AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR0960-0CB02-0AD0 | MODULE | 6SR0960-0CB02-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0CB02-0AD0 | [5 empty] | https://www.automation-berlin.com/en/siemens-6SR0960-0CB02-0AD0.html | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | INPUT/OUTPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335641 | 1335641 | MODULE;SIE,6SR0960-0CB03-0AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR0960-0CB03-0AD0 | MODULE | 6SR0960-0CB03-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0CB03-0AD0 | [5 empty] | https://www.kempstoncontrols.co.uk/6SR0960-0CB03-0AD0/Siemens/sku/473356 | [10 empty] | CLEANSED |  | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335636 | 1335636 | MODULE;SIE,6SR0960-0CB07-2AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR0960-0CB07-2AD0 | MODULE | 6SR0960-0CB07-2AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0CB07-2AD0 | [5 empty] | https://mall.industry.siemens.com/mall/en/cn/Catalog/Product/6SR0960-0CB07-2AD0 | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | INPUT/OUTPUT BREAKOUT | INPUT RATING | 24 VDC | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335638 | 1335638 | MODULE;SIE,6SR0960-0CB14-0AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR0960-0CB14-0AD0 | MODULE | 6SR0960-0CB14-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0CB14-0AD0 | [5 empty] | https://www.radwell.co.uk/Buy/SIEMENS/SIEMENS/6SR0960-0CB14-0AD0%20/?redirect=true | [10 empty] | CLEANSED |  | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1335637 | 1335637 | MODULE;SIE,6SR0960-0CB15-0AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR0960-0CB15-0AD0 | MODULE | 6SR0960-0CB15-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0CB15-0AD0 | [5 empty] | https://mall.industry.siemens.com/mall/en/no/Catalog/Product/6SR0960-0CB15-0AD0 | [10 empty] | ENRICHED |  | MODULE | NO MODIFIER | TYPE | MULTI-LANGUAGE KEYBOARD | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335630 | 1335630 | MODULE;SIE,6SR0960-0EM00-0AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR0960-0EM00-0AD0 | MODULE | 6SR0960-0EM00-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR0960-0EM00-0AD0 | [5 empty] | https://www-automation--berlin-com.translate.goog/ru/siemens-6SR0960-0EM00-0AD0.html?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | BYPASS CONTACTOR | INPUT RATING | 400 A | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 |  | 1213904 | 1213904 | MODULE;YOKG,7926590000,CMMNCTN | MODULE;MNFR:YOKOGAWA,PTNO:7926590000,ADDITIONAL FEATURES EN:COMMUNICATION | 01)YOKOGAWA AUSTRALIA PTY LT,01)7926590000,MODULE,01)COMMUNICATION | 7926590000 | 3000446 | YOKOGAWA | YOKOGAWA | 7926590000 | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 |  | 1213903 | 1213903 | MODULE;YOKG,7940025605,CMMNCTN | MODULE;MNFR:YOKOGAWA,PTNO:7940025605,ADDITIONAL FEATURES EN:COMMUNICATION | 01)YOKOGAWA AUSTRALIA PTY LT,01)7940025605,MODULE,01)COMMUNICATION | 7940025605 | 3000446 | YOKOGAWA | YOKOGAWA | 7940025605 | [5 empty] | NF | [10 empty] | CLEANSED |  | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1274126 | 1274126 | PACKING;WEI,MFCF0048Z000D | PAQUETE;MNFR:WEIR,PTNO:MFCF0048Z000D, | PACKING | MFCF0048Z000D | 3000036 | WEIR | WEIR | MFCF0048Z000D | [5 empty] | NF | [10 empty] | CLEANSED | 31181701 Packings | PACKING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1275797 | 1275797 | PROCESSOR,DGTL SGNL;FUCH,FLA-6212000,MIC | PROCESSOR,DIGITAL SIGNAL;MNFR:FUCHS LUBRICANTS,PTNO:FLA-6212000,ADDITIONAL FEATURES EN:MICROLOGIX 1400 | 01)FUCHS LUBRICANTS (A'SIA),01)FLA-6212000,PROCESSOR,DIGITAL SIGNAL,01)MICROLOGIX 1400 | FLA-6212000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | FLA-6212000 | [5 empty] | NF | [10 empty] | C |  | PROCESSOR | DIGITAL SIGNAL | TYPE |  | DATA BUS WIDTH |  | RAM SIZE |  | PROGRAM MEMORY SIZE |  | POWER SUPPLY |  | NUMBER OF CHANNELS |  | INSTRUCTION SET ARCHITECTURE |  | PACKAGE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:MICROLOGIX 1400 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1252813 | 1252813 | ROCKER;DIEC,BCL5102/0D2 | ROCKER;MNFR:DIECI,PTNO:BCL5102/0D2,ADDITIONAL FEATURES EN:FRONT | ROCKER,01)FRONT | BCL5102/0D2 | 3000511 | DIECI | DIECI | BCL5102/0D2 | [5 empty] | NF | [10 empty] | CLEANSED |  | ROCKER | NO MODIFIER | TYPE | FRONT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1269683 | 1269683 | SAW,HND;STLY,20-074,500 MM | SAW,HAND;MNFR:STANLEY,PTNO:20-074,ADDITIONAL FEATURES EN:500 MM | 01)TOTAL TOOLS TOWNSVILLE,01)68038 20-074,SAW,HAND,01)500 MM | 20-074 | 3000451 | STANLEY | STANLEY | 20-074 |  | TOTAL TOOLS TOWNSVILLE | 68038 20-074 |  |  | https://www.stanleytools.com.au/product/20-074/stanley-wood-saws-500mm | https://www.tools.com/stanley-20-074-general-purpose-handsaw-500mm-x-7tpi-8p.html | [9 empty] | ENRICHED |  | SAW | HAND | TYPE | GENERAL PURPOSE,WOOD | BLADE LENGTH | 500 MM | TEETH PER INCH | 7 | BLADE MATERIAL |  | COATING/FINISH |  | BLADE WIDTH |  | BLADE THICKNESS |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1217733 | 1217733 | SAW,PWR;MILW,M18FSX-0,SUPER SAWZALL RECI | SAW,POWER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FSX-0,ADDITIONAL FEATURES EN:SUPER SAWZALL RECIP,TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)M18FSX-0,SAW,POWER,01)SUPER SAWZALL RECIP,TOOL ON | M18FSX-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FSX-0 |  | MOUNT ISA MINING SUPPLIES | M18FSX-0 |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/reciprocating-saws/M18FSX-0.html | https://www.tools.com/milwaukee-18v-brushless-sawzall-reciprocating-saw-tool-only-m18fsx-0.html | [9 empty] | ENRICHED |  | SAW | POWER | TYPE | RECIPROCATING | SIZE | 546 MM LG | SPEED RATING |  | ELECTRICAL RATING | 18 V | NUMBER OF TEETH |  | BLADE MATERIAL |  | BLADE SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRADE NAME:SUPER SAWZALL,STROKES PER MINUTE:0 TO 3000 SPM,TOOL ONLY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1269340 | 1269340 | SAW;MILW,M18CCS55-0,CRCLR,M18 | SAW;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18CCS55-0,ADDITIONAL FEATURES EN:CIRCULAR,M18 | 01)MOUNT ISA MINING SUPPLIES,01)M18CCS55-0,SAW,01)CIRCULAR,M18 | M18CCS55-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18CCS55-0 |  | MOUNT ISA MINING SUPPLIES | M18CCS55-0 |  |  | https://www.milwaukeetool.com.au/power-tools/carpentry/circular-saws/M18CCS55-0.html | [10 empty] | ENRICHED |  | SAW | POWER | TYPE | CIRCULAR,CORDLESS | SIZE | 343 LGX55 DP MM | SPEED RATING | 5000 RPM | ELECTRICAL RATING | 18 V | NUMBER OF TEETH |  | BLADE MATERIAL |  | BLADE SIZE | 165 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PLATFORM:M18 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1272512 | 1272512 | SAW;MILW,M18CHS355-0,ABRASIVE CHOP(TOOL1 | SAW;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18CHS355-0,ADDITIONAL FEATURES EN:ABRASIVE CHOP(TOOL ONLY),18V,355MM (14IN),PLATFORM:M18 FUEL,METAL CUTOFF,BARE,125MMCAP | 01)CNW (MOUNT ISA) ELECT WHO,01)MILM18CHS355-0,SAW,01)PLATFORM:M18 FUEL,02)18V,355MM (14IN),02)ABRASIVE CHOP(TOOL ONLY),03)METAL CUTOFF,BARE,125MMCAP | M18CHS355-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18CHS355-0 |  | CNW ELECTRICAL | MILM18CHS355-0 |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/metal-saws/M18CHS355-0.html | [10 empty] | ENRICHED |  | SAW | POWER | TYPE | ABRASIVE CHOP | SIZE |  | SPEED RATING | 4000 RPM | ELECTRICAL RATING | 18 V | NUMBER OF TEETH |  | BLADE MATERIAL |  | BLADE SIZE | 355 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PLATFORM:M18 FUEL,CUTTING CAPACITY:125 MM,METAL CUTOFF,BARE,TOOL ONLY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1219601 | 1219601 | SAW;MILW,M18COS-0,CUT-OFF | SAW;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18COS-0,ADDITIONAL FEATURES EN:CUT-OFF | 01)TOOL 'N' TACKLE,01)M18COS-0,SAW,01)CUT-OFF | M18COS-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18COS-0 |  | TOOL 'N' TACKLE | M18COS-0 |  |  | NF | [10 empty] | CLEANSED |  | SAW | NO MODIFIER | TYPE | CUT-OFF | SIZE |  | CUTTING DEPTH |  | ARBOR SHANK SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1269849 | 1269849 | SAW;MILW,M18COS230-0,DEMO WITH ONEKEY | SAW;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18COS230-0,ADDITIONAL FEATURES EN:DEMO WITH ONEKEY | 01)MOUNT ISA MINING SUPPLIES,01)M18COS230-0,SAW,01)DEMO WITH ONEKEY | M18COS230-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18COS230-0 |  | MOUNT ISA MINING SUPPLIES | M18COS230-0 |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/metal-saws/M18COS230-0.html | [10 empty] | ENRICHED |  | SAW | POWER | TYPE | CUT-OFF | SIZE | 642.6 MM LG | SPEED RATING | 6600 RPM | ELECTRICAL RATING | 18 V | NUMBER OF TEETH |  | BLADE MATERIAL |  | BLADE SIZE | 230 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEMO,C/W ONE KEY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1269341 | 1269341 | SAW;MILW,M18CSX2-0,RECPTNG,M18 | SAW;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18CSX2-0,ADDITIONAL FEATURES EN:RECIPROCATING,M18 | 01)MOUNT ISA MINING SUPPLIES,01)M18CSX2-0,SAW,01)RECIPROCATING,M18 | M18CSX2-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18CSX2-0 |  | MOUNT ISA MINING SUPPLIES | M18CSX2-0 |  |  | https://www.milwaukeetool.com.au/power-tools/metal-working/reciprocating-saws/M18CSX2-0.html | [10 empty] | ENRICHED |  | SAW | POWER | TYPE | CORDLESS RECIPROCATING | SIZE | 434 MM LG | SPEED RATING |  | ELECTRICAL RATING | 18 V | NUMBER OF TEETH | 8/12 TPI | BLADE MATERIAL |  | BLADE SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SPM:0 TO 3000,STROKE LENGTH:32 MM,PLATFORM:M18 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1272510 | 1272510 | SAW;MILW,M18FMS1840,PLATFORM:M18FUEL,18V | SAW;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FMS1840,ADDITIONAL FEATURES EN:PLATFORM:M18FUEL,18V,TOOL ONLY,184MM,DUAL BEVEL SLIDING MITRE,CORDLESS | 01)CNW (MOUNT ISA) ELECT WHO,01)MILM18FMS1840,SAW,01)PLATFORM:M18FUEL,02)18V,TOOL ONLY,02)DUAL BEVEL SLIDING MITRE,CO,03)184MM | M18FMS1840 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FMS184-0 |  | CNW ELECTRICAL | M18FMS184-0 |  |  | https://www.milwaukeetool.com.au/power-tools/carpentry/mitre-saws/M18FMS184-0.html | [10 empty] | ENRICHED |  | SAW | POWER | TYPE | CORDLESS,DUAL BEVEL SLIDING MITRE | SIZE |  | SPEED RATING | 5000 RPM | ELECTRICAL RATING | 18 V | NUMBER OF TEETH |  | BLADE MATERIAL |  | BLADE SIZE | 184 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CUTTING CAPACITY:92 MM,PLATFORM:M18 FUEL,TOOL ONLY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1271142 | 1271142 | SAW;MILW,MXFCOS350-0,355MM,CUT OFF,TOOL | SAW;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MXFCOS350-0,ADDITIONAL FEATURES EN:355MM,CUT OFF,TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)MXFCOS350-0,SAW,01)355MM,CUT OFF,TOOL ONLY | MXFCOS350-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | MXFCOS350-0 |  | MOUNT ISA MINING SUPPLIES | MXFCOS350-0 |  |  | https://www.milwaukeetool.com.au/mx-fuel/equipment/concrete/MXFCOS350-0.html | [10 empty] | ENRICHED |  | SAW | POWER | TYPE | CUT-OFF | SIZE | 806 MM LG | SPEED RATING | 5370 RPM | ELECTRICAL RATING |  | NUMBER OF TEETH |  | BLADE MATERIAL |  | BLADE SIZE | 355 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CUTTING CAPACITY:127 MM,TOOL ONLY | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1218100 | 1218100 | STRIP,WTHR;ALIM,9093 792 010 | STRIP,WEATHER;MNFR:ALIMAK,PTNO:9093 792 010 |  | 9093 792 010 | 3000412 | ALIMAK | ALIMAK | 9093 792 010 | [5 empty] | NF | [10 empty] | CLEANSED | 30141501 Weather stripping | STRIP | WEATHER | TYPE |  | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1333430 | 1333430 | SWITCH,JYSTCK;DIEC,KPLLI0000060 | SWITCH,JOYSTICK;MNFR:DIECI,PTNO:KPLLI0000060,ADDITIONAL FEATURES EN:WITH INTEGRATED FNR | SWITCH,JOYSTICK,01)WITH INTEGRATED FNR | KPLLI0000060 | 3000511 | DIECI | DIECI | KPLLI0000060 | [5 empty] | NF | [10 empty] | CLEANSED |  | SWITCH | JOYSTICK | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | FREQUENCY RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W INTEGRATED FNR | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1333667 | 1333667 | SWITCH;DIEC,4M.0680101 | SWITCH;MNFR:DIECI,PTNO:4M.0680101,ADDITIONAL FEATURES EN:AC | SWITCH,01)AC | 4M.0680101 | 3000511 | DIECI | DIECI | 4M.0680101 | [5 empty] | https://shehab.sa/en/OZRene | [10 empty] | CLEANSED |  | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AC | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1274148 | 1274148 | SWITCH;WEI,MF05B007678 | CORTACORRIENTE;MNFR:WEIR,PTNO:MF05B007678, | SWITCH | MF05B007678 | 3000036 | WEIR | WEIR | MF05B007678 | [5 empty] | NF | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1218312 | 1218312 | TROLLEY;ALIM,9005 439 000S | TROLLEY;MNFR:ALIMAK,PTNO:9005 439 000S |  | 9005 439 000S | 3000412 | ALIMAK | ALIMAK | 9005 439 000S | [5 empty] | NF | [10 empty] | CLEANSED | 24101706 Trolleys or accessories | TROLLEY | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL |  | NUMBER OF WHEELS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-03 |  | 1274149 | 1274149 | TRUNNION;WEI,NO :8 -2300C60725 | MUÃƒâ€˜ON;MNFR:WEIR,PTNO:NO :8 -2300C60725, | TRUNNION | NO :8 -2300C60725 | 3000036 | WEIR | WEIR | 8-2300C60725 | [5 empty] | NF | [10 empty] | CLEANSED | 26111520 Trunnions | TRUNNION | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed