## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1276391 | 1276391 | ANALYZER,COND;EPM,1056-03-21-38-AN,ROSEM | ANALYZER,CONDUCTIVITY;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:1056-03-21-38-AN,ADDITIONAL FEATURES EN:ROSEMOUNT 1056 DUAL CHANNEL CONDUCTIVITY TRANSMITTER |  | 1056-03-21-38-AN | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 1056-03-21-38-AN | [5 empty] | https://www.astisensor.com/51-1056.pdf | [10 empty] | CLEANSED |  | ANALYZER | CONDUCTIVITY | TYPE |  | MEASURING RANGE |  | OUTPUT TYPE | 4 TO 20 MA ANALOG | POWER SUPPLY | 115/230 VAC,50/60 HZ | DISPLAY TYPE |  | INTERFACE TYPE |  | ENCLOSURE TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ROSEMOUNT 1056 DUAL CHANNEL CONDUCTIVITY TRANSMITTER | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1248668 | 1248668 | ANALYZER,GAS;ABB,392911-06 | ANALYZER,GAS;MNFR:ABB,PTNO:392911-06 | ANALYZER,GAS | 392911-06 | 3000014 | ABB | ABB | 392911-06 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41113100 Gas analyzers and monitors | ANALYZER | GAS | TYPE |  | MEASURING RANGE |  | POWER SUPPLY |  | ACCURACY |  | DISPLAY TYPE |  | RESOLUTION |  | ENCLOSURE TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1275216 | 1275216 | ANALYZER,GAS;DRAG,3501264 | ANALYZER,GAS;MNFR:DRAEGER,PTNO:3501264 | 01)ALLIANCE SAFETY EQUIPMENT,01)3501264,ANALYZER,GAS | 3501264 | 3000423 | DRAEGER | DRAEGER | 3501264 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.alliancesafety.com.au/product/xam-5000-ex-o2-co-h2s-gas-detector/3501264-dot-z | [10 empty] | CLEANSED | 46171613 Gas detectors | DETECTOR | GAS | TYPE |  | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1275217 | 1275217 | ANALYZER,GAS;DRAG,8320088 | ANALYZER,GAS;MNFR:DRAEGER,PTNO:8320088 | 01)ALLIANCE SAFETY EQUIPMENT,01)8320088,ANALYZER,GAS | 8320088 | 3000423 | DRAEGER | DRAEGER | 8320088 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/xam-5000-basic/8320088?favs=range-dr%C3%A4ger | [10 empty] | CLEANSED | 41113100 Gas analyzers and monitors | DETECTOR | GAS | TYPE |  | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1211025 | 1211025 | ANALYZER;FLUK,FLUBT521-OB | ANALYZER;MNFR:FLUKE,PTNO:FLUBT521-OB |  | FLUBT521-OB | 3000278 | FLUKE | FLUKE | FLUBT521-OB | [5 empty] | https://www.fluke.com/en-in/product/electrical-testing/battery-analyzers/fluke-500# | [10 empty] | ENRICHED | 41113600 Electrical measuring and testing equipment and accessories | ANALYZER | NO MODIFIER | TYPE | BATTERY | MEASURING RANGE | 3/30/300/3000 MOHM (RESISTENCE),600 VAC,6 TO 1000 VDC (VOLTAGE),600/6000 MV (AC VOLTAGE RIPPLE),400 A (CURRENT),500 HZ (FREQUENCY),0 TO 60 DEG C (TEMPERATURE) | ACCURACY | 1/0.8 PCT (RESISTENCE),2 PCT (VAC),0.09 PCT (VDC),3 PCT (AC VOLTAGE RIPPLE),3.5 PCT (CURRENT),0.5 PCT (FREQUENCY),2 PCT (TEMPERATURE) | OUTPUT TYPE |  | POWER SUPPLY |  | DISPLAY TYPE |  | INTERFACE TYPE | USB MINI | ENCLOSURE TYPE |  | SIZE | 4 WDX9 HTX2 DP IN | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272687 | 1272687 | CALIBRATOR;FLUK,725,MULTFN,TSTR,PRCS | CALIBRATOR;MNFR:FLUKE,PTNO:725,ADDITIONAL FEATURES EN:MULTIFUNCTION,TESTER,PROCESS | 01)CNW (MOUNT ISA) ELECT WHO,01)FLU725,CALIBRATOR,01)MULTIFUNCTION,TESTER,PROCES | 725 | 3000278 | FLUKE | FLUKE | 725 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.fluke.com/en-in/product/calibration-tools/multifunction-calibrators/fluke-725 | [10 empty] | ENRICHED | 41110000 Measuring and observing and testing instruments | CALIBRATOR | NO MODIFIER | TYPE |  | MEASUREMENT TYPE | MULTIFUNCTION PROCESS | MEASURING RANGE | 30 V/100 MV/-10 TO 75 MV (VOLTAGE DC),24 MA (CURRENT),0.0 TO 400/401 TO 1500/1500 TO 3200 OHM (RESISTANCY),2 TO 1000 CPM/1 TO 1100 HZ/1 TO 10 KHZ (FREQUENCY) | ACCURACY | 0.02 PCT/0.025 PCT (VOLTAGE DC),0.02 PCT (CURRENT),0.1/0.5/1 OHM (RESISTANCE), 0.05 PCT (FREQUENCY) | DISPLAY TYPE |  | RESOLUTION |  | VOLTAGE RATING | 24 V | CURRENT RATING | 22 MA | SIZE | 130X236X61 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272688 | 1272688 | CALIBRATOR;FLUK,754,DOCUMENTING PROCESS | CALIBRATOR;MNFR:FLUKE,PTNO:754,ADDITIONAL FEATURES EN:DOCUMENTING PROCESS,LUKE 754 | 01)CNW (MOUNT ISA) ELECT WHO,01)FLU754,CALIBRATOR,01)DOCUMENTING PROCESS,02)LUKE 754 | 754 | 3000278 | FLUKE | FLUKE | 754 |  | CNW (MOUNT ISA) ELECT WHO | [14 empty] | ENRICHED | 41110000 Measuring and observing and testing instruments | CALIBRATOR | NO MODIFIER | TYPE |  | MEASUREMENT TYPE | DOCUMENTING PROCESS | MEASURING RANGE | 100 MV/3/30/300 V (VOLTAGE DC),3/30/300 V (VOLTAGE AC),30/110 MA,10/100 OHM,1/10 KOHM,1 TO 110 HZ,110.1 TO 110 HZ,110.1 TO 1100 HZ,1.101 TO 11 KHZ,11.01 TO 50 KHZ (FREQUENCY) | ACCURACY | 0.03 MV/0.03/0.07 PCT (VOLTAGE DC),1 PCT (VOLTAGE AC),0.015 PCT (CURRENT),0.07/0.15 PCT (RESISTANCY),0.05/0.5 HZ,0.005/0.05 KHZ (FREQUENCY) | DISPLAY TYPE |  | RESOLUTION | 0.001/0.01/0.1 V (VOLTAGE AC),0.01/0.1 HZ,0.001/0.01 KHZ (FREQUENCY) | VOLTAGE RATING | 50 VDC | CURRENT RATING | 25 MA | SIZE | 136X245X63 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1258150 | 1258150 | CALIPER;ABB,1001034A-0030-0240 | CALIPER;MNFR:ABB,PTNO:1001034A-0030-0240 | CALIPER | 1001034A-0030-0240 | 3000014 | ABB | ABB | 1001034A-0030-0240 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111621 Calipers | CALIPER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1274332 | 1274332 | CHAMBER,REFUGE;MNRC,MS-CD2-06-ELVP-36 | CHAMBER,REFUGE;MNFR:MINEARC,PTNO:MS-CD2-06-ELVP-36 |  | MS-CD2-06-ELVP-36 | 3000435 | MINEARC | MINEARC | MS-CD2-06-ELVP-36 | [5 empty] | https://minearc.com/wp-content/uploads/2020/12/Portable-Mine-Refuge-Chamber-MineSAFE-Compact-Design-Brochure.pdf | [10 empty] | ENRICHED | 23153100 Industrial Machinery Components And Accessories | CHAMBER | NO MODIFIER | TYPE | REFUGE | CAPACITY |  | SIZE | 2 LGX2 WDX2 HT M | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1269015 | 1269015 | CHAMBER;MAN,551577,STRIKE | CHAMBER;MNFR:MANITOU,PTNO:551577,ADDITIONAL FEATURES EN:STRIKE | 01)JUNGHEINRICH AUSTRALIA PT,01)551577,CHAMBER,01)STRIKE | 551577 | 3000007 | MANITOU | MANITOU | 551577 |  | JUNGHEINRICH AUSTRALIA |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial Machinery Components And Accessories | CHAMBER | NO MODIFIER | TYPE | STRIKE | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | PARTILLY MATCH | 1272927 | 1272927 | CHAMBER;MNRC,MS-CD2-06-ELV-36,MINESAFE | CHAMBER;MNFR:MINEARC,PTNO:MS-CD2-06-ELV-36,ADDITIONAL FEATURES EN:MINESAFE, 6 PERSON COMPACT DESIGN ERB AS PER GFM SPECÂ MINESAFE | 01)MINEARC SYSTEMS PTY.LTD,01)MS-CD2-06-ELV-36,CHAMBER,01)MINESAFE,02) 6 PERSON COMPACT DESIGN ER | MS-CD2-06-ELV-36 | 3000435 | MINEARC | MINEARC SYSTEMS PTY.LTD | MS-CD2-06-ELV-36 | [5 empty] | https://minearc.com/wp-content/uploads/2020/12/Portable-Mine-Refuge-Chamber-MineSAFE-Compact-Design-Brochure.pdf | [10 empty] | CLEANSED | 23153100 Industrial Machinery Components And Accessories | CHAMBER | NO MODIFIER | TYPE | REFUGE | CAPACITY |  | SIZE |  | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NO OF PERSON:6,COMPACT DESIGN ERB AS PER GFM SPECIFICATION MINESAFE | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272926 | 1272926 | CHAMBER;MNRC,MS-SD2-12-SIV-36,MINESAFE | CHAMBER;MNFR:MINEARC,PTNO:MS-SD2-12-SIV-36,ADDITIONAL FEATURES EN:MINESAFE, 12 PERSON STANDARD DESIGN ERB AS PER GFM SPECÂ | 01)MINEARC SYSTEMS PTY.LTD,01)MS-SD2-12-SIV-36,CHAMBER,01)MINESAFE,02) 12 PERSON STANDARD DESIGN | MS-SD2-12-SIV-36 | 3000435 | MINEARC | MINEARC SYSTEMS PTY.LTD | MS-SD2-12-SIV-36 | [5 empty] | https://minearc.com/wp-content/uploads/2018/09/180904-MA101-BRO-MineSAFE-SD-AUS-ENG-V6-WEB.pdf | [10 empty] | ENRICHED | 23153100 Industrial Machinery Components And Accessories | CHAMBER | NO MODIFIER | TYPE | REFUGE | CAPACITY |  | SIZE | 189 LGX89 WDX87 HT IN | NUMBER OF INLET |  | NUMBER OF OUTLETS |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NO OF PERSON:12,STANDARD DESIGN ERB AS PER GFM SPECIFICATION | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1264662 | 1264662 | CHUTE;ABB,FPTN410067R0002 | CHUTE;MNFR:ABB,PTNO:FPTN410067R0002 | CHUTE | FPTN410067R0002 | 3000014 | ABB | ABB | FPTN410067R0002 | [5 empty] | https://library.e.abb.com/public/4c3c3fd6da4c4522a65b833f085d703c/1SFC001013C0202-Rev%20October_2015_Spare%20parts.pdf | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | CHUTE | NO MODIFIER | TYPE | DE-ION ARC | SIZE |  | MATERIAL |  | COATING/FINISH |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1333405 | 1333405 | COLUMN;DIEC,BHF4152 | COLUMN;MNFR:DIECI,PTNO:BHF4152,ADDITIONAL FEATURES EN:COMPLETE, C/W STALK | COLUMN,01)COMPLETE, C/W STALK | BHF4152 | 3000511 | DIECI | DIECI | BHF4152 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30103600 Structural products | COLUMN | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE,C/W STALK | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1333643 | 1333643 | COLUMN;DIEC,BHF4153 | COLUMN;MNFR:DIECI,PTNO:BHF4153,ADDITIONAL FEATURES EN:COMPLETE, C/W STALK | COLUMN,01)COMPLETE, C/W STALK | BHF4153 | 3000511 | DIECI | DIECI | BHF4153 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30103600 Structural products | COLUMN | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE,C/W STALK | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272518 | 1272518 | CPU;SIE,RSC8624461,PLC,M:SIMATIC S7-1200 | CPU;MNFR:SIEMENS,PTNO:RSC8624461,ADDITIONAL FEATURES EN:PLC,M:SIMATIC S7-1200,NO OF DIGITAL INPUT:8,2 SWITCH AS ANALOGUE INPUT,NO OF DIGITAL OUTPUT:6,RELAY OUTPUT |  | RSC8624461 | 3000032 | SIEMENS | RS COMPONENETS | 8624461 |  | SIEMENS | [14 empty] | ENRICHED | 43201503 Central processing unit CPU processors | CPU | NO MODIFIER | TYPE | PLC | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 1 MB | POWER SUPPLY | 85 TO 264 VAC | SIZE | 100 LGX90 WDX75 DP MM | MOUNTING TYPE | DIN RAIL,WALL | ENCLOSURE |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:SIMATIC S7-1200,NUMBER OF DIGITAL INPUT:8,SWITCH ANALOGE INPUT:2,NUMBER OF DIGITAL OUTPUT:6,RELAY OUTPUT | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1269088 | 1269088 | DIAPHRAGM;DRAG,R56204,SPEECH,COMPLT,FPS5 | DIAPHRAGM;MNFR:DRAEGER,PTNO:R56204,ADDITIONAL FEATURES EN:SPEECH,COMPLETE,FPS 7000,5 PK | 01)ALLIANCE SAFETY EQUIPMENT,01)R56204,DIAPHRAGM,01)SPEECH,COMPLETE,FPS 7000,5 | R56204 | 3000423 | DRAEGER | DRAEGER | R56204 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/draeger-r56204-1043739.html | [10 empty] | CLEANSED | 40141737 Diaphragms | DIAPHRAGM | NO MODIFIER | TYPE | SPEECH | SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGE QUANTITY:5 PK,FOR FPS 7000,COMPLETE | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1323665 | 1323665 | DIAPHRAGM;SIE,210-315 | DIAPHRAGM;MNFR:SIEMENS,PTNO:210-315 | DIAPHRAGM | 210-315 | 3000032 | SIEMENS | SIEMENS | 210-315 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141737 Diaphragms | DIAPHRAGM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1323664 | 1323664 | DIAPHRAGM;SIE,210-324 | DIAPHRAGM;MNFR:SIEMENS,PTNO:210-324 | DIAPHRAGM | 210-324 | 3000032 | SIEMENS | SIEMENS | 210-324 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141737 Diaphragms | DIAPHRAGM | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1270050 | 1270050 | DISPENSER;HILT,2005641,HDM 500 BOX | DISPENSER;MNFR:HILTI,PTNO:2005641,ADDITIONAL FEATURES EN:HDM 500 BOX | 01)HILTI (AUST) PTY LTD,01)2005641,DISPENSER,01)HDM 500 BOX | 2005641 | 3000289 | HILTI | HILTI | 2005641 | [5 empty] | https://www.hilti.ae/c/CLS_FIRESTOP_PROTECTION_7131/CLS_ACC_FIRESTOP_FIRE_PROTECTION_7131/CLS_DISPENSERS_7131/r39378 | [10 empty] | ENRICHED | 27112900 Dispensing tools | DISPENSER | NO MODIFIER | TYPE | HDM ADHESIVE | CAPACITY |  | OVERALL SIZE |  | OPERATION TYPE | MANUAL | MOUNTING TYPE |  | BODY MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:HDM 500 BOX | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1242582 | 1242582 | FLASHER;HYS,1566411,HYS,2003859 | FLASHER;MNFR:HYSTER,PTNO:1566411,MNFR 1:HYSTER,PTNO 1:2003859,ADDITIONAL FEATURES EN:H16.00XM-6 ABYDFHJ019E02208M | 01)HYSTER,01)2003859,FLASHER,01)H16.00XM-6,02)ABYDFHJ019E02208M,01)H16.00XM-6,02)ABYDFHJ019E02208M | 1566411 | 3000023 | HYSTER | HYSTER | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | KIT | NO MODIFIER | TYPE |  | CONTENTS | FLASHER P/N 2003859,M6X16 MM HT P/N 1566411 | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ABYDFHJ019E02208M | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1219759 | 1219759 | FOOTREST;CASJ,85826387 | FOOTREST;MNFR:CASE J I CO,PTNO:85826387 | 01)MAK DIESEL & EARTHMOVING,01)85826387,FOOTREST | 85826387 | 3000248 | CASE J I CO | CASE J I CO | 85826387 |  | MAK DIESEL & EARTHMOVING |  |  |  | https://www.mycnhistore.com/es/es/casece/cn/footrest/p/85826387 | [10 empty] | CLEANSED | 46182205 Foot rests | FOOTREST | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1333596 | 1333596 | FOOTREST;DIEC,BSH9025 | FOOTREST;MNFR:DIECI,PTNO:BSH9025,ADDITIONAL FEATURES EN:MAT | FOOTREST,01)MAT | BSH9025 | 3000511 | DIECI | DIECI | BSH9025 | [5 empty] | https://grassfield.com.ua/en/node/1058 | [10 empty] | CLEANSED | 46182205 Foot rests | FOOTREST | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MAT | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1265116 | 1265116 | FUEL;CUM,4076441RX | FUEL;MNFR:CUMMINS,PTNO:4076441RX | FUEL | 4076441RX | 3000018 | CUMMINS | CUMMINS | 4076441RX | [5 empty] | https://dalessuperstore.com/i-23916535-cummins-injection-pump-caps-4076441rx-1998-2002-cummins-isc-isl.html | [10 empty] | ENRICHED | 40151533 Hydraulic pumps | PUMP | HYDRAULIC | TYPE | FUEL INJECTOR | HEAD RANGE |  | POWER RATING |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | IMPELLER MATERIAL |  | CASE MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1324578 | 1324578 | FUEL;CUM,FF63009 | FUEL;MNFR:CUMMINS,PTNO:FF63009 | FUEL | FF63009 | 3000018 | CUMMINS | CUMMINS | FF63009 | [5 empty] | https://cms.fleetguard.com/en_NA/literature/fuel-filter-transition-flyer-ff63009-ff63054nn/mb10589-new | https://www.gciron.com/FF63009_Fuel_Filter_Fleetguard_p/ff63009.htm | [9 empty] | CLEANSED | 40161513 Fuel filters | FILTER | FUEL | TYPE |  | FILTER RATING |  | PORT SIZE |  | SIZE |  | ELEMENT MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | HOUSING MATERIAL |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1266041 | 1266041 | FUEL;CUM,FS19841 | FUEL;MNFR:CUMMINS,PTNO:FS19841 | FUEL | FS19841 | 3000018 | CUMMINS | CUMMINS | FS19841 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sN6NQAU/fleetguard-fuelwater-separator-fs19841 | [10 empty] | ENRICHED | 40161700 Separators | SEPARATOR | WATER | TYPE | FUEL | FLOW RATING |  | CAPACITY |  | FILTRATION SIZE | 116.2 ODX313 HT MM | MATERIAL |  | PORT CONNECTION | 1-1/4-12 IN UNS-2B | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1214437 | 1214437 | FUEL;MILW,MXFPS-0,PWRSPLY | FUEL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MXFPS-0,ADDITIONAL FEATURES EN:POWER SUPPLY | 01)MOUNT ISA MINING SUPPLIES,01)MXFPS-0,FUEL,01)POWER SUPPLY | MXFPS-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | MXFPS-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/mx-fuel/equipment/MXFPS-0.html | [10 empty] | CLEANSED | 39121004 Power supply units | POWER SUPPLY | NO MODIFIER | TYPE |  | INPUT RATING |  | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | NUMBER OF OUTPUTS |  | POWER RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:MX FUEL | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1252991 | 1252991 | GRILL,GARD;DIEC,BCD8220/0G | GRILL,GUARD;MNFR:DIECI,PTNO:BCD8220/0G,ADDITIONAL FEATURES EN:INTAKE NET | GRILL,GUARD,01)INTAKE NET | BCD8220/0G | 3000511 | DIECI | DIECI | BCD8220/0G | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | GRILL | GUARD | TYPE |  | SIZE |  | MATERIAL |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTAKE NET | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1253008 | 1253008 | GRILL;DIEC,ASM0000029/0G | GRILL;MNFR:DIECI,PTNO:ASM0000029/0G,ADDITIONAL FEATURES EN:PROTECTIVE | GRILL,01)PROTECTIVE | ASM0000029/0G | 3000511 | DIECI | DIECI | ASM0000029/0G | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | GRILL | NO MODIFIER | TYPE | PROTECTIVE | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PROTECTIVE | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | URL for Reference only | 1333594 | 1333594 | GROMMET;DIEC,BSC0022 | GROMMET;MNFR:DIECI,PTNO:BSC0022,ADDITIONAL FEATURES EN:THROUGH | GROMMET,01)THROUGH | BSC0022 | 3000511 | DIECI | DIECI | BSC0022 | [5 empty] | https://www.scribd.com/document/401024985/Dieci-1901784-Parts-Catalogue | [10 empty] | CLEANSED | 31162401 Grommets | GROMMET | NO MODIFIER | TYPE | THROUGH | INSIDE DIAMETER |  | GROOVE DIAMETER |  | GROOVE WIDTH |  | MATERIAL |  | OUTSIDE DIAMETER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THROUGH | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1269133 | 1269133 | GROMMET;DOSN,XD700150 | GROMMET;MNFR:DOOSAN CORPORATION,PTNO:XD700150 | 01)CROWN LIFT TRUCKS,01)XD700150,GROMMET | XD700150 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | XD700150 |  | CROWN LIFT TRUCKS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31162401 Grommets | GROMMET | NO MODIFIER | TYPE |  | INSIDE DIAMETER |  | GROOVE DIAMETER |  | GROOVE WIDTH |  | MATERIAL |  | OUTSIDE DIAMETER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1258720 | 1258720 | GROUT;HILT,MUYCMTPH21710009 | GROUT;MNFR:HILTI,PTNO:MUYCMTPH21710009 | 01)MOUNT ISA MINING SUPPLIES,01)MUYCMTPH21710009,GROUT | MUYCMTPH21710009 | 3000289 | HILTI | HILTI | MUYCMTPH21710009 |  | MOUNT ISA MINING SUPPLIES | [14 empty] | CLEANSED | 30111506 Grout | GROUT | NO MODIFIER | TYPE |  | FORM |  | CONTAINER |  | COLOUR |  | MSDS/CAS NUMBER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272344 | 1272344 | HINGE,DR;MAN,185361 | HINGE,DOOR;MNFR:MANITOU,PTNO:185361 |  | 185361 | 3000007 | MANITOU | MANITOU | 185361 | [5 empty] | https://omegaparts.net/product/436694/ | [10 empty] | CLEANSED | 31162403 Hinges | HINGE | DOOR | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1274098 | 1274098 | HINGE;MAN,184828 | HINGE;MNFR:MANITOU,PTNO:184828 | 01)JUNGHEINRICH AUSTRALIA PT,01)184828,HINGE | 184828 | 3000007 | MANITOU | MANITOU | 184828 |  | JUNGHEINRICH |  |  |  | https://www.whitesfarmsupply.com/buy-parts/MANITOU-Part-185328-HINGE-3597067/ | [10 empty] | CLEANSED | 31162403 Hinges | HINGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1273777 | 1273777 | HINGE;MAN,185328,ITEM 27 | HINGE;MNFR:MANITOU,PTNO:185328,ADDITIONAL FEATURES EN:ITEM 27 | 01)JUNGHEINRICH,01)185328,HINGE,01)ITEM 27 | 185328 | 3000007 | MANITOU | MANITOU | 185328 |  | JUNGHEINRICH |  |  |  | https://www.whitesfarmsupply.com/parts-by-brand/manitou/HINGE |  | 27 | [8 empty] | CLEANSED | 31162403 Hinges | HINGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ITEM 27 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1273776 | 1273776 | HINGE;MAN,747071,ITEM 50 | HINGE;MNFR:MANITOU,PTNO:747071,ADDITIONAL FEATURES EN:ITEM 50 | 01)JUNGHEINRICH,01)747071,HINGE,01)ITEM 50 | 747071 | 3000007 | MANITOU | MANITOU | 747071 |  | JUNGHEINRICH |  |  |  | https://shop.astra-group.ua/en/08-650-7470-71.html |  | 50 | [8 empty] | CLEANSED | 31162403 Hinges | HINGE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ITEM 50 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1215521 | 1215521 | HUB,CPLG;REXN,E60M T/L,OMEGA,SERIES 3020 | HUB,COUPLING;MNFR:REXNORD,PTNO:E60M T/L,ADDITIONAL FEATURES EN:OMEGA,SERIES 3020 | 01)STATEWIDE BEARINGS,01)E60M T/L,HUB,COUPLING,01)OMEGA,SERIES 3020 | E60M T/L | 3000337 | REXNORD | REXNORD | E 60 M TL/3020 |  | STATEWIDE BEARINGS |  |  |  | https://www.rexnord.com/products/couplings/elastomeric-coupling-parts-and-kits/hubs/omega-hubs/7300835m1 | [10 empty] | ENRICHED | 31163012 Coupling half | HUB | COUPLING | TYPE |  | BORE DIAMETER |  | HUB DIAMETER | 8-3/4 IN | LENGTH | 2 IN | MATERIAL |  | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:OMEGA,SERIES:3020 | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1265838 | 1265838 | INJECTOR;CUM,4062569PX | INJECTOR;MNFR:CUMMINS,PTNO:4062569PX | INJECTOR | 4062569PX | 3000018 | CUMMINS | CUMMINS | 4062569PX | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sOmAQAU/cummins-injectorhdhpi-4062569px | https://www.finditparts.com/products/3817403/cummins-4062569px | [9 empty] | CLEANSED | 26101740 Fuel injectors | INJECTOR | FUEL | TYPE |  | PRESSURE RATING |  | INLET SIZE |  | ORIFICE DIAMETER |  | MATERIAL |  | FLOW RATING |  | FUEL TYPE |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1335657 | 1335657 | INJECTOR;CUM,5263262NX | INJECTOR;MNFR:CUMMINS,PTNO:5263262NX | INJECTOR | 5263262NX | 3000018 | CUMMINS | CUMMINS | 5263262NX | [5 empty] | https://s1partscenter.com/brands/cummins/injector/5263262nx | [10 empty] | CLEANSED | 26101740 Fuel injectors | INJECTOR | FUEL | TYPE |  | PRESSURE RATING |  | INLET SIZE |  | ORIFICE DIAMETER |  | MATERIAL |  | FLOW RATING |  | FUEL TYPE |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1210863 | 1210863 | INJECTOR;CUM,5263262PX | INJECTOR;MNFR:CUMMINS,PTNO:5263262PX | 01)CUMMINS SOUTH PACIFIC PTY,01)5263262PX,INJECTOR | 5263262PX | 3000018 | CUMMINS | CUMMINS | 5263262PX | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sHkVQAU/cummins-injector-5263262px | [10 empty] | CLEANSED | 26101740 Fuel injectors | INJECTOR | FUEL | TYPE |  | PRESSURE RATING |  | INLET SIZE |  | ORIFICE DIAMETER |  | MATERIAL |  | FLOW RATING |  | FUEL TYPE |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1217483 | 1217483 | INJECTOR;CUM,5289266 | INJECTOR;MNFR:CUMMINS,PTNO:5289266 | INJECTOR | 5289266 | 3000018 | CUMMINS | CUMMINS | 5289266 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sMHbQAM/cummins-injector-5289266 | [10 empty] | CLEANSED | 26101740 Fuel injectors | INJECTOR | FUEL | TYPE |  | PRESSURE RATING |  | INLET SIZE |  | ORIFICE DIAMETER |  | MATERIAL |  | FLOW RATING |  | FUEL TYPE |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1268627 | 1268627 | INJECTOR;LINC,01-085881,SL-6 STD,REPLCMN | INJECTOR;MNFR:LINCOLN,PTNO:01-085881,ADDITIONAL FEATURES EN:SL-6 STD,REPLACEMENT | 01)ISADRAULICS,01)01-085881,INJECTOR,01)SL-6 STD,REPLACEMENT | 01-085881 | 3000550 | LINCOLN | LINCOLN | 01-085881 |  | ISADRAULICS |  |  |  | https://appliedau.com.au/product-details/process-equipment/process-pumps/grease-oil-pumps-accessories/01-085881/ee22615c-c9f3-11eb-b509-29511a9085e7 | [10 empty] | CLEANSED | 26101740 Fuel injectors | INJECTOR | FUEL | TYPE |  | PRESSURE RATING |  | INLET SIZE |  | ORIFICE DIAMETER |  | MATERIAL |  | FLOW RATING |  | FUEL TYPE |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1269236 | 1269236 | JOINT;MAN,243C4-10211 | JOINT;MNFR:MANITOU,PTNO:243C4-10211 | 01)JUNGHEINRICH AUSTRALIA PT,01)243C4-10211,JOINT | 243C4-10211 | 3000007 | MANITOU | MANITOU | 243C4-10211 |  | JUNGHEINRICH AUSTRALIA |  |  |  | https://www.motofork.com/products/joint-universal-4 | [10 empty] | CLEANSED | 25173810 Universal joints | JOINT | UNIVERSAL | TYPE |  | BORE DIAMETER |  | HUB SIZE |  | OVERALL LENGTH |  | NUMBER OF JOINTS |  | MATERIAL |  | SPEED RATING |  | TORQUE RATING |  | CENTER SPACING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1275313 | 1275313 | JOINT;MAN,550694 | JOINT;MNFR:MANITOU,PTNO:550694 | JOINT | 550694 | 3000007 | MANITOU | MANITOU | 550694 | [5 empty] | https://www.stokker.com/universal-joint-825x625x27-manitou-550694-tvh-parts-c-261%2F550694-tvh | [10 empty] | CLEANSED | 25173810 Universal joints | JOINT | UNIVERSAL | TYPE |  | BORE DIAMETER |  | HUB SIZE |  | OVERALL LENGTH |  | NUMBER OF JOINTS |  | MATERIAL |  | SPEED RATING |  | TORQUE RATING |  | CENTER SPACING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 | Processed based on Websource, Conflict w.r.t Input | 1220208 | 1220208 | JOINT;MAN,562500,KNEE | JOINT;MNFR:MANITOU,PTNO:562500,ADDITIONAL FEATURES EN:KNEE | 01)JUNGHEINRICH AUSTRALIA PT,01)562500,JOINT,01)KNEE | 562500 | 3000007 | MANITOU | MANITOU | 562500 |  | JUNGHEINRICH AUSTRALIA |  |  |  | http://agrotrac.lv/veikals/en/product_group/index/44--manitou/16-transmission/6450-front-axle-4wd/6454-inlet-case/735823-bearing-68-40-h-18-mm | [10 empty] | ENRICHED | 31171500 Bearings | BEARING | NO MODIFIER | TYPE |  | INSIDE DIAMETER | 40 MM | OUTSIDE DIAMETER | 60 MM | OVERALL WIDTH | 18 MM | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1211121 | 1211121 | JOINT;SIE,13851515,DRAWING NO: 17856915 | JOINT;MNFR:SIEMENS,PTNO:13851515,ADDITIONAL FEATURES EN:DRAWING NO: 17856915, POSITION NO: 5 (INLET GUIDE VANE UNIT CPL. 59 | 01)SIEMENS ENERGY PTY LTD,01)13851515,JOINT,01)DRAWING NO: 17856915, POSIT | 13851515 | 3000032 | SIEMENS | SIEMENS | 13851515 | [5 empty] | URL NOT FOUND |  |  | 17856915 |  | POS 5 | [5 empty] | CLEANSED | 40141700 Hardware and fittings | JOINT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INLET GUIDE VANE UNIT CPL 59 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1242361 | 1242361 | JOINT;WEI,B1132LS01 | JOINT;TYPE:RING,DISCHARGE,MNFR:VULCO,PTNO:B1132LS01 | EN_01)RING,DISCHARGE,ES_01)RING,DESCARGA,01)SLURRY PUMP,01)WARMAN,01)1.5/1B-AH | B1132LS01 | 3000036 | WEIR | WEIR GROUP | B1132LS01 | [5 empty] | https://www.radwell.co.uk/en-GB/Buy/WEIR%20GROUP/WEIR%20GROUP/B1132LS01 | [5 empty] | SLURRY PUMP | WARMAN | 1.5/1B-AH |  |  | CLEANSED | 40151700 Pump parts and accessories | RING | NO MODIFIER | TYPE | DISCHARGE,JOINT | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1273457 | 1273457 | JOINT,UNIVSL;MILW,49666727,SHOCKWAVE,IMP | JOINT,UNIVERSAL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:49666727,ADDITIONAL FEATURES EN:SHOCKWAVE,IMPACT SOCKET,DRIVE SIZE:1/2 IN | 01)MOUNT ISA MINING SUPPLIES,01)49666727,JOINT,UNIVERSAL,01)SHOCKWAVE,IMPACT SOCKET,02)DRIVE SIZE:1/2 IN | 49666727 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 49666727 | [5 empty] | https://www.milwaukeetool.com.au/accessories/impact-sockets/impact-socket-accessories/49666727.html | [5 empty] | MOUNT ISA MINING SUPPLIES |  |  |  |  | CLEANSED | 25173810 Universal joints | JOINT | UNIVERSAL | TYPE | IMPACT SOCKET | BORE DIAMETER |  | HUB SIZE |  | OVERALL LENGTH |  | NUMBER OF JOINTS |  | MATERIAL |  | SPEED RATING |  | TORQUE RATING |  | CENTER SPACING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRADEMARK:SHOCKWAVE,DRIVE SIZE:1/2 IN | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1273456 | 1273456 | JOINT,UNIVSL;MILW,49666730,SHOCKWAVE,IMP | JOINT,UNIVERSAL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:49666730,ADDITIONAL FEATURES EN:SHOCKWAVE,IMPACT SOCKET,DRIVE SIZE:3/4 IN | 01)MOUNT ISA MINING SUPPLIES,01)49666730,JOINT,UNIVERSAL,01)SHOCKWAVE,IMPACT SOCKET,02)DRIVE SIZE:3/4 IN | 49666730 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 49666730 | [11 empty] | MOUNT ISA MINING SUPPLIES |  |  |  |  | CLEANSED | 25173810 Universal joints | JOINT | UNIVERSAL | TYPE | IMPACT SOCKET | BORE DIAMETER |  | HUB SIZE |  | OVERALL LENGTH |  | NUMBER OF JOINTS |  | MATERIAL |  | SPEED RATING |  | TORQUE RATING |  | CENTER SPACING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRADEMARK:SHOCKWAVE,DRIVE SIZE:3/4 IN | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272953 | 1272953 | LANYARD;3M,AE529ADJ/8R,2M,ADJUSTABLE ROP | LANYARD;MNFR:3M,PTNO:AE529ADJ/8R,ADDITIONAL FEATURES EN:2M,ADJUSTABLE ROPERED,SHOCK ABSORBING,SINGLE TAIL,RED,W/STAINLESS STEEL TRIPLE ACTION KARABINERS | 01)J BLACKWOOD & SONS,01)AE529ADJ/8R,LANYARD,01)2M,ADJUSTABLE ROPERED,02)SHOCK ABSORBING,SINGLE TAIL,03)W/STAINLESS STEEL TRIPLE AC | AE529ADJ/8R | 3000220 | 3M | 3M | AE529ADJ/8R |  | BLACKWOOD & SONS |  |  |  | https://www.3m.com.au/3M/en_AU/p/d/v101266419/ | [10 empty] | CLEANSED | 46182302 Fall protection lanyard | LANYARD | NO MODIFIER | TYPE | SHOCK ABSORBING | LOAD CAPACITY |  | END TYPE |  | MATERIAL |  | SIZE |  | WORK LENGTH |  | EXTENDED FALL LENGTH |  | NUMBER OF LEGS |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ADJUSTABLE ROPERED SIZE:2 M,TAIL COLOR:RED,C/W STAINLESS STEEL TRIPLE ACTION KARABINERS,SINGLE TAIL | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1269446 | 1269446 | LANYARD;3M,Z60163634E,EZ-STOP,T/LEG 1.6M | LANYARD;MNFR:3M,PTNO:Z60163634E,ADDITIONAL FEATURES EN:EZ-STOP,T/LEG 1.6M | 01)ALLIANCE SAFETY EQUIPMENT,01)Z60163634E,LANYARD,01)EZ-STOP,T/LEG 1.6M | Z60163634E | 3000220 | 3M | 3M | Z60163634E |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://alliancesafety.com.au/product/dbisala-ezstop-lanyard-webbing-twin-leg-16m-elasticated-with-steel-double-action-snap-hook-steel-double-action-scaffold-hook/z60163634e?favs=range-3M | [10 empty] | CLEANSED | 46182302 Fall protection lanyard | LANYARD | NO MODIFIER | TYPE | SHOCK ABSORBING | LOAD CAPACITY |  | END TYPE |  | MATERIAL | ELASTIC (TAIL) | SIZE | 1.6 M (TAIL) | WORK LENGTH |  | EXTENDED FALL LENGTH |  | NUMBER OF LEGS |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRANDMARK:EZ-STOP,TWIN LEG | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1269447 | 1269447 | LANYARD;3M,Z90163634E,EZ-STOP,S/LEG 1.6M | LANYARD;MNFR:3M,PTNO:Z90163634E,ADDITIONAL FEATURES EN:EZ-STOP,S/LEG 1.6M | 01)ALLIANCE SAFETY EQUIPMENT,01)Z90163634E,LANYARD,01)EZ-STOP,S/LEG 1.6M | Z90163634E | 3000220 | 3M | 3M | Z90163634E |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.alliancesafety.com.au/product/dbisala-ezstop-lanyard-webbing-single-leg-16m-elasticated-with-steel-double-action-snap-hook-steel-double-action-scaffold-hook/z90163634e?search=Z90163634E | [10 empty] | CLEANSED | 46182302 Fall protection lanyard | LANYARD | NO MODIFIER | TYPE | SHOCK ABSORBING | LOAD CAPACITY |  | END TYPE |  | MATERIAL | ELASTIC (TAIL) | SIZE | 1.6 M (TAIL) | WORK LENGTH |  | EXTENDED FALL LENGTH |  | NUMBER OF LEGS |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRANDMARK:EZ-STOP,SMALL LEG | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1273691 | 1273691 | MACHINE;RIDG,984562,SCREWING,1233 1/2 IN | MACHINE;MNFR:RIDGID TOOLS,PTNO:984562,ADDITIONAL FEATURES EN:SCREWING,1233 1/2 INCH TO 3 | 01)RIDGID TOOLS,01)00984562,01)J BLACKWOOD & SONS,01)00984562,MACHINE,01)SCREWING,1233 1/2 INCH TO 3 | 984562 | 3000339 | RIDGID TOOLS | RIDGID TOOLS | 1233 |  | BLACKWOOD & SONS | 00984562 |  |  | https://www.blackwoods.com.au/power-tools/machinery-workshop/threading-machine/machine-screwing-ridgid-1233-1-2-to-3/p/00984562 | [10 empty] | CLEANSED | 22100000 Heavy construction machinery and equipment | MACHINE | NO MODIFIER | TYPE | SCREWING | ELECTRICAL RATING |  | SIZE | 1/2 TO 3 IN | MATERIAL |  | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272473 | 1272473 | MACHINE,WLDG;LINC,K3533-1,FLECTEX 650X | MACHINE,WELDING;MNFR:LINCOLN,PTNO:K3533-1,ADDITIONAL FEATURES EN:FLECTEX 650X |  | K3533-1 | 3000550 | LINCOLN | LINCOLN | K3533-1 | [5 empty] | https://www.lincolnelectric.com/en/products/le-na-flextec650x?sku=K3533-1 | [10 empty] | ENRICHED | 23271400 Welding machinery | MACHINE | WELDING | TYPE |  | POWER RATING |  | CURRENT RATING | 61/50/40 A,57/47/38 A (INPUT),10 TO 815 A (OUTPUT) | NUMBER OF PHASE | 3 | ELECTRODE TYPE |  | COOLING METHOD |  | DEGREE OF PROTECTION | IP23 | SIZE | 410 WDX554 HTX745 DP MM | INSULATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODEL:FLECTEX 650X | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1274626 | 1274626 | MIXER;MILW,M18FPM-0 | MIXER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FPM-0 | 01)MOUNT ISA MINING SUPPLIES,01)M18FPM-0,MIXER | M18FPM-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FPM-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/speciality-tools/mixers/M18FPM-0.html | [10 empty] | ENRICHED | K | MIXER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | SPEED RATING |  | MIXING CAPACITY |  | MIXING RATE |  | MATERIAL |  | SIZE |  | BLADE TYPE |  | NUMBER OF BLADES |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1213690 | 1213690 | PISTON;SIE,06.002/ITEM 15 | PISTON;MNFR:SIEMENS,PTNO:06.002/ITEM 15 | PISTON | 06.002/ITEM 15 | 3000032 | SIEMENS | SIEMENS | 06.002/ITEM 15 | [5 empty] | NOT FOUND |  | 15 | [8 empty] | CLEANSED |  | PISTON | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | GROOVE WIDTH |  | GROOVE DEPTH |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1213689 | 1213689 | PISTON;SIE,06.006/ITEM 13 | PISTON;MNFR:SIEMENS,PTNO:06.006/ITEM 13 | PISTON | 06.006/ITEM 13 | 3000032 | SIEMENS | SIEMENS | 06.006/ITEM 13 | [5 empty] | NOT FOUND |  | 13 | [8 empty] | CLEANSED |  | PISTON | NO MODIFIER | TYPE |  | DIAMETER |  | LENGTH |  | GROOVE WIDTH |  | GROOVE DEPTH |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1335626 | 1335626 | POLE;SIE,5SN3-301 | POLE;MNFR:SIEMENS,PTNO:5SN3-301 | POLE | 5SN3-301 | 3000032 | SIEMENS | SIEMENS | 5SN3-301 | [5 empty] | https://spwindustrial.com/ite-siemens-5sn3301-5sn3301/ | [10 empty] | CLEANSED |  | POLE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HEIGHT |  | NUMBER OF ARMS |  | BASE TYPE |  | COATING/FINISH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1269886 | 1269886 | POLISHER,PWR;MILW,M12BPS-0 | POLISHER,PWR;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12BPS-0 |  | M12BPS-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12BPS-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/automotive/polishers/M12BPS-0.html | [10 empty] | ENRICHED | K | POLISHER | POWER | TYPE |  | PAD SIZE |  | SPINDLE SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1217834 | 1217834 | POLISHER,PWR;MILW,M18FAP180-0,180MM,TOOL | POLISHER,POWER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FAP180-0,ADDITIONAL FEATURES EN:180MM,TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)M18FAP180-0,POLISHER,POWER,01)180MM,TOOL ONLY | M18FAP180-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FAP180-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/automotive/polishers/M18FAP180-0.html | [10 empty] | ENRICHED | K | POLISHER | POWER | TYPE |  | PAD SIZE |  | SPINDLE SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 180MM,TOOL ONLY | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1332937 | 1332937 | PROFILE;DIEC,BSH8952 | PROFILE;MNFR:DIECI,PTNO:BSH8952,ADDITIONAL FEATURES EN:SIZE:1 M,MATERIAL:PVC | PROFILE,01)SIZE:1 M,MATERIAL:PVC | BSH8952 | 3000511 | DIECI | DIECI | BSH8952 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | PROFILE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:1 M | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1333639 | 1333639 | PROFILE;DIEC,BSH8954 | PROFILE;MNFR:DIECI,PTNO:BSH8954,ADDITIONAL FEATURES EN:MATERIAL:PVC | PROFILE,01)MATERIAL:PVC | BSH8954 | 3000511 | DIECI | DIECI | BSH8954 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | PROFILE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:PVC | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1333638 | 1333638 | PROFILE;DIEC,BSH9122 | PROFILE;MNFR:DIECI,PTNO:BSH9122,ADDITIONAL FEATURES EN:MATERIAL:PVC | PROFILE,01)MATERIAL:PVC | BSH9122 | 3000511 | DIECI | DIECI | BSH9122 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | PROFILE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:PVC | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1218815 | 1218815 | REPEATER;YOKG,ANT10U-415 | REPEATER;MNFR:YOKOGAWA,PTNO:ANT10U-415 |  | ANT10U-415 | 3000446 | YOKOGAWA | YOKOGAWA | ANT10U-415 | [5 empty] | http://web-material3.yokogawa.com/GS33J60F50-01EN.pdf | [10 empty] | ENRICHED |  | REPEATER | NO MODIFIER | TYPE |  | POWER SUPPLY |  | BAUD RANGE |  | GAIN |  | INTERFACE TYPE |  | DEGREE OF PROTECTION |  | HOUSING MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1218883 | 1218883 | REPEATER;YOKG,ANT401-50 | REPEATER;MNFR:YOKOGAWA,PTNO:ANT401-50 |  | ANT401-50 | 3000446 | YOKOGAWA | YOKOGAWA | ANT401-50 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F51-50E.pdf | [10 empty] | ENRICHED |  | REPEATER | NO MODIFIER | TYPE |  | POWER SUPPLY |  | BAUD RANGE |  | GAIN |  | INTERFACE TYPE |  | DEGREE OF PROTECTION |  | HOUSING MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1216449 | 1216449 | ROTAMETER;YOKG,RAMC01-T4SS-61S1-T90NNN/K | ROTAMETER;MNFR:YOKOGAWA,PTNO:RAMC01-T4SS-61S1-T90NNN/K3/IE1,ADDITIONAL FEATURES EN:VARIABLE AREA,FLOWMETER | 01)YOKOGAWA AUSTRALIA PTY LT,01)RAMC01-T4SS-61S1-T90NNN/K3/,ROTAMETER,01)VARIABLE AREA,FLOWMETER | RAMC01-T4SS-61S1-T90NNN/K3/IE1 | 3000446 | YOKOGAWA | YOKOGAWA | RAMC01-T4SS-61S1-T90NNN/K3/IE1 | [5 empty] | https://web-material3.yokogawa.com/RAMC_IM_E_ed14_pub09032017.pdf | [10 empty] | ENRICHED |  | ROTAMETER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | PRESSURE RATING |  | TEMPERATURE RATING |  | TUBE MATERIAL |  | FLOAT MATERIAL |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VARIABLE AREA,FLOWMETER | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1214343 | 1214343 | SLIDE;SIE,210-221 | SLIDE;MNFR:SIEMENS,PTNO:210-221 | SLIDE | 210-221 | 3000032 | SIEMENS | SIEMENS | 210-221 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | SLIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1214320 | 1214320 | SLIDE;SIE,210-337 | SLIDE;MNFR:SIEMENS,PTNO:210-337 | SLIDE | 210-337 | 3000032 | SIEMENS | SIEMENS | 210-337 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | SLIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1219747 | 1219747 | STRUT;CASJ,5183854,GAS | STRUT;MNFR:CASE J I CO,PTNO:5183854,ADDITIONAL FEATURES EN:GAS | 01)MAK DIESEL & EARTHMOVING,01)5183854,STRUT,01)GAS | 5183854 | 3000248 | CASE J I CO | CASE J I CO | 5183854 | [5 empty] | https://www.ersatzteile-landmaschinen.com/en/gas-strut-cnh-5183854.html | [10 empty] | CLEANSED |  | STRUT | NO MODIFIER | TYPE |  | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HOLE/SLOT SIZE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAS | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1333378 | 1333378 | SUSPENSION;DIEC,6S.MOL550 | SUSPENSION;MNFR:DIECI,PTNO:6S.MOL550,ADDITIONAL FEATURES EN:PNEUMATIC | SUSPENSION,01)PNEUMATIC | 6S.MOL550 | 3000511 | DIECI | DIECI | 6S.MOL550 | [5 empty] | https://goldytech.com.ua/ua/p1067844621-6smol550-gofra-sidinnya.html | [10 empty] | CLEANSED |  | SUSPENSION | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PNEUMATIC | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1272804 | 1272804 | TAPE,MEASUR;MILW,48220208,8M,WIDE BLADE | TAPE,MEASURING;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48220208,ADDITIONAL FEATURES EN:8M,WIDE BLADE | 01)MOUNT ISA MINING SUPPLIES P,01)48220208,TAPE,MEASURING,01)8M,WIDE BLADE | 48220208 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48220208 | [5 empty] | https://www.milwaukeetool.com.au/hand-tools/measuring/tape-measures/48220208.html | [10 empty] | ENRICHED | K | TAPE | MEASURING | TYPE |  | LENGTH |  | MEASURING UNIT |  | GRADUATION |  | COLOUR |  | MATERIAL |  | CASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 8 M,WIDE BLADE | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1211480 | 1211480 | TAPE,MEASUR;MILW,48225211 | TAPE,MEASUR;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48225211 |  | 48225211 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48225211 | [5 empty] | https://www.milwaukeetool.com.au/hand-tools/measuring/long-tapes/48225211.html | [10 empty] | ENRICHED | K | TAPE | MEASURING | TYPE |  | LENGTH |  | MEASURING UNIT |  | GRADUATION |  | COLOUR |  | MATERIAL |  | CASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1219580 | 1219580 | TAPE,MEASUR;MILW,M18FPFT30-0,30 M | TAPE,MEASURING;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FPFT30-0,ADDITIONAL FEATURES EN:30 M | 01)MOUNT ISA MINING SUPPLIES,01)M18FPFT30-0,TAPE,MEASURING,01)30 M | M18FPFT30-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FPFT30-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/electrical/cable-feeding/M18FPFT30-0.html | [10 empty] | ENRICHED | K | TAPE | MEASURING | TYPE |  | LENGTH |  | MEASURING UNIT |  | GRADUATION |  | COLOUR |  | MATERIAL |  | CASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 30 M | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1325241 | 1325241 | THERMOMETER;ABB,0403511 | THERMOMETER;MNFR:ABB,PTNO:0403511 | THERMOMETER | 403511 | 3000014 | ABB | ABB | 403511 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41112200 Temperature and heat measuring instruments | THERMOMETER | NO MODIFIER | TYPE |  | RANGE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1268181 | 1268181 | THERMOMETER;SIE,9LD9100-0AF77-0AA0,RES | THERMOMETER;MNFR:SIEMENS,PTNO:9LD9100-0AF77-0AA0,ADDITIONAL FEATURES EN:RESISTANCE, SN70133-1PT100/B-100X6 SLD_20220507SS01 | 01)SIEMENS LTD.,01)9LD9100-0AF77-0AA0,THERMOMETER,01)RESISTANCE, SN70133-1PT100/ | 9LD9100-0AF77-0AA0 | 3000032 | SIEMENS | SIEMENS | 9LD9100-0AF77-0AA0 | [5 empty] | https://simatic-market.ru/sale-stock/9LD9100-0AF77-0AA0/ | [10 empty] | CLEANSED |  | THERMOMETER | NO MODIFIER | TYPE |  | RANGE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RESISTANCE,SN70133-1PT100/B-100X6 SLD_20220507SS01 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1243319 | 1243319 | THERMOSTAT;CUM,3076489 | THERMOSTAT;MNFR:CUMMINS,PTNO:3076489 | 01)ENGINES,01)CUMMINS,01)QSK19,01)732263,THERMOSTAT | 3076489 | 3000018 | CUMMINS | CUMMINS | 3076489 |  |  | 732263 |  |  | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sIcuQAE/cummins-thermostat-3076489 | [5 empty] | ENGINE |  | QSK19 |  |  | CLEANSED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE |  | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1329435 | 1329435 | THERMOSTAT;CUM,3913028 | THERMOSTAT;MNFR:CUMMINS,PTNO:3913028 | THERMOSTAT | 3913028 | 3000018 | CUMMINS | CUMMINS | 3913028 | [5 empty] | https://klmperformance.com/products/cummins-3913028 | [10 empty] | CLEANSED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE |  | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1335654 | 1335654 | THERMOSTAT;CUM,3967195 | THERMOSTAT;MNFR:CUMMINS,PTNO:3967195 | THERMOSTAT | 3967195 | 3000018 | CUMMINS | CUMMINS | 3967195 | [5 empty] | https://www.foxwooddiesel.com/3967195-cummins-isb-thermostat-bseries-3946116-3943200-3935811-3954194-529742 | [10 empty] | CLEANSED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE |  | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1323613 | 1323613 | THERMOSTAT;CUM,5292708 | THERMOSTAT;MNFR:CUMMINS,PTNO:5292708 | THERMOSTAT | 5292708 | 3000018 | CUMMINS | CUMMINS | 5292708 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sLZzQAM/cummins-thermostat-5292708 | [10 empty] | CLEANSED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE |  | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | ok | 2023-06-24 | 2023-07-03 |  | 1321539 | 1321539 | VARISTOR;SIE,VARISTOR MODULE | VARISTOR;MNFR:SIEMENS,PTNO:VARISTOR MODULE | VARISTOR | VARISTOR MODULE | 3000032 | SIEMENS | SIEMENS | [6 empty] | not found | [10 empty] | CLEANSED | 32121603 Variable resistors or varistors | VARISTOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CLAMPING VOLTAGE |  | CLAMPING CURRENT |  | POWER DISSIPATION |  | CAPACITANCE |  | SIZE |  | TERMINAL TYPE |  | ROHS COMPLIANCE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODULE | [47 empty] | Production Completed