## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1272896 | 1272896 | REDUCER,CONDT;SCHN,264/5SMGY,50X40 MM | REDUCER,CONDUIT;MNFR:SCHNEIDER INC,PTNO:264/5SMGY,ADDITIONAL FEATURES EN:50X40 MM | 01)CNW (MOUNT ISA) ELECT WHO,01)CLI264/5SMGY,REDUCER,CONDUIT,01)50X40 MM | 264/5SMGY | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 264/5SMGY |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://directwholesale.com.au/products/clipsal-264-5smgy-reducer-pvc-screwed-50mm-40mm-grey/ | https://www.jrt.com.au/ajt/category/Cable-Management/Rigid-Conduit/Reducing-sleeve-for-installation-tubes/CONDUIT-SCREWED-REDUCER-50-40MM/CLI264-5SMGY/p/10080218 | [9 empty] | ENRICHED | 39131700 Wire Raceways Conduit and Busways | REDUCER | CONDUIT | TYPE | SCREWED | SIZE | 50 WDX50 LGXHT 32 MM | END CONNECTION | THREADED | LENGTH | 50 MM | MATERIAL | PVC | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273409 | 1273409 | REDUCER;MILW,49666722,DRIVE SIZE:3/8 IN | REDUCER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:49666722,ADDITIONAL FEATURES EN:DRIVE SIZE:3/8 IN,OUTPUT SIZE:1/4 IN,DRIVE IMPACT SOCKET |  | 49666722 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 49666722 | [5 empty] | https://www.milwaukeetool.com.au/accessories/impact-sockets/impact-socket-accessories/49666722.html | [10 empty] | ENRICHED | 40141700 Hardware and fittings | REDUCER | NO MODIFIER | TYPE | IMPACT SOCKET | NOMINAL SIZE | 3/8X1/4 IN | END CONNECTION | DRIVE TO DRIVE | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [55 empty] | OUTPUT SIZE:1/4 IN,DRIVE IMPACT SOCKET | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273408 | 1273408 | REDUCER;MILW,49666725,DRIVE SIZE:1/2 IN | REDUCER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:49666725,ADDITIONAL FEATURES EN:DRIVE SIZE:1/2 IN,OUTPUT SIZE:3/8 IN,DRIVE IMPACT SOCKET |  | 49666725 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 49666725 | [5 empty] | https://www.milwaukeetool.com.au/accessories/impact-sockets/impact-socket-accessories/49666725.html | https://www.tools.com/milwaukee-shockwave-1-2-drive-to-3-8-drive-impact-socket-reducer-49666725.html | [9 empty] | ENRICHED | 40141700 Hardware and fittings | REDUCER | NO MODIFIER | TYPE | IMPACT SOCKET | NOMINAL SIZE | 1/2X3/8 IN | END CONNECTION | DRIVE TO DRIVE | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [55 empty] | OUTPUT SIZE:3/8 IN,DRIVE IMPACT SOCKET | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1213916 | 1213916 | REDUCER;SIE,4311338-080 | REDUCER;MNFR:SIEMENS,PTNO:4311338-080 | REDUCER | 4311338-080 | 3000032 | SIEMENS | SIEMENS | 4311338-080 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | REDUCER | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1272328 | 1272328 | RELAY;AB,A-B700SCF530EJC,SAFETY CTRL,24V | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700SCF530EJC,ADDITIONAL FEATURES EN:SAFETY CTRL,24VDC,5NO,3NC,COIL,R62 HOIST |  | A-B700SCF530EJC | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700SCF530EJC | [5 empty] | https://www.revereelectric.com/4624292/Product/Allen-Bradley-700S-CF530EJC | https://www.revereelectric.com/4624292/Product/Allen-Bradley-700S-CF530EJC¦https://files.kempstoncontrols.com/files/f7aa4e156bddc6ab8313767ad1911104/700S-CF530EJC.pdf | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | INDUSTRIAL,CONTROL | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES | 8 | CONTACT CONFIGURATION | 3NO 1 NC | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | FIXED FRONT | MATERIAL |  | FREQUENCY RATING |  | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULCUS,CE,CCC,UL,EN/IEC | ADDITIONAL FEATURES | FOR R62 HOIST | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1257775 | 1257775 | RELAY;AB,A-B700SCF620DC,SAFETY CTRL,110V | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700SCF620DC,ADDITIONAL FEATURES EN:SAFETY CTRL,110VAC,6NO,2NC,COIL,R62 HOIST |  | A-B700SCF620DC | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700SCF620DC | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.700S-CF620DC.html | https://www.mc-mc.com/Product/allen-bradley-700s-cf620dc | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | INDUSTRIAL,CONTROL | COIL VOLTAGE | 120 VAC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3NO 1 NC | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL/SCREW | MATERIAL |  | FREQUENCY RATING | 60 HZ | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR R62 HOIST | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1269710 | 1269710 | RELAY;AB,A-B700SCF620EJC,SAFETY CONTROL | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B700SCF620EJC,ADDITIONAL FEATURES EN:SAFETY CONTROL | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B700SCF620EJC,RELAY,01)SAFETY CONTROL | A-B700SCF620EJC | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700SCF620EJC |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rockwellautomation.com/en-us/products/details.700S-CF620EJC.html | https://www.rexelusa.com/p/58488/allen-bradley/relay-safety-control-8p-6no-2nc-contacts-20a-24vdc/662074923816/700s-cf620ejc | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | INDUSTRIAL,CONTROL | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES | 8 | CONTACT CONFIGURATION | 3NO 1 NC | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL/SCREW | MATERIAL |  | FREQUENCY RATING |  | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1266508 | 1266508 | RELAY;AB,A-B770CF220EJ | RELAY;MNFR:ALLEN BRADLEY,PTNO:A-B770CF220EJ | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B770CF220EJ,RELAY | A-B770CF220EJ | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B770CF220EJ |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1265062 | 1265062 | RELAY;ABB,176-0033 | RELAY;MNFR:ABB,PTNO:176-0033 | RELAY | 176-0033 | 3000014 | ABB | ABB | 2TLA010050R0000 |  |  | 176-0033 |  |  | https://int.rsdelivers.com/product/abb-jokab/2tla010050r0000-sentry-ssr10-24vdc/abb-jokab-3-channel-safety-switch-safety-relay-24v/1760033 | https://new.abb.com/products/2TLA010050R0000/sentry-ssr10 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | 3-CHANNEL,SWITCH | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3NO 1 NC | SIL RATING | 3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING |  | SIZE | 22.5 WDX120 HTX120 DP MM | ENCLOSURE | IP20 | TEMPERATURE RATING | -25 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,IEC,ROHS | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1265061 | 1265061 | RELAY;ABB,1760034 | RELAY;MNFR:ABB,PTNO:1760034 | RELAY | 1760034 | 3000014 | ABB | ABB | 2TLA010041R0600 |  |  | 1760034 |  |  | https://new.abb.com/products/2TLA010041R0600/sentry-bsr23 | https://export.rsdelivers.com/product/abb-jokab/2tla010041r0600-sentry-bsr23-24vdc/abb-jokab-safety-switch-safety-relay-24v-dc-5/1760034 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | SWITCH,EXPANSION | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION | 4NO 1 NC | SIL RATING | 3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING |  | SIZE | 22.5 WDX120 HTX120 DP MM | ENCLOSURE | IP20 | TEMPERATURE RATING | -25 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,IEC,ROHS | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1324053 | 1324053 | RELAY;ABB,1SVR 405 622 R100 | RELAY;MNFR:ABB,PTNO:1SVR 405 622 R100 | RELAY | 1SVR 405 622 R100 | 3000014 | ABB | ABB | 1SVR 405 622 R100 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1275581 | 1275581 | RELAY;ABB,1SVR405622R8100 | RELAY;MNFR:ABB,PTNO:1SVR405622R8100 | RELAY | 1SVR405622R8100 | 3000014 | ABB | ABB | 1SVR405622R8100 | [5 empty] | https://new.abb.com/products/1SVR405622R8100/cr-u110dc3l | https://us.rs-online.com/product/abb/1svr405622r8100/71153216/ | [9 empty] | ENRICHED | 39122324 Power relay | RELAY | POWER | TYPE | PLUGGABLE INTERFACE | COIL VOLTAGE | 250 VAC,110 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3CO | CONTACT VOLTAGE RATING | 250 VAC | CONTACT CURRENT RATING | 10 A | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | SNAP-ON | FREQUENCY RATING |  | SIZE | 35 WDX54.4 HTX35 DP MM | TERMINAL TYPE | PIN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA,IEC/EN,UL | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1323976 | 1323976 | RELAY;ABB,1SVR430830R0400 | RELAY;MNFR:ABB,PTNO:1SVR430830R0400 | RELAY | 1SVR430830R0400 | 3000014 | ABB | ABB | 1SVR430830R0400 | [5 empty] | https://us.rs-online.com/product/abb/1svr430830r0400/70094558/ | https://www.controllerservice.com/index.jsp?path=product&part=68794&ds=mfr&process=search&qdx=0&ID=%2CABB%2CABB.Products%2Cmfr-1TS | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING | 24 TO 240 VAC/DC | CONTACT RATING |  | CONTACT CONFIGURATION | 2NO 2NC,SPDT | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,GL,UL | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1323975 | 1323975 | RELAY;ABB,1SVR500020R1100 | RELAY;MNFR:ABB,PTNO:1SVR500020R1100 | RELAY | 1SVR500020R1100 | 3000014 | ABB | ABB | 1SVR500020R1100 | [5 empty] | https://new.abb.com/products/1SVR500020R1100/ct-mfd-21 | https://us.rs-online.com/product/abb/1svr500020r1100/70094055/ | [9 empty] | ENRICHED | 39122329 Time relay | RELAY | TIME | TYPE | MULTIFUNCTION ELECTRONIC | TIMING RANGE | 0.05 SEC TO 100 HR | COIL VOLTAGE | 12 TO 240 VAC/DC | CONTACT RATING |  | VOLTAGE RATING | 300 VAC | CONTACT CONFIGURATION | 2CO,SPDT | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | CONTACT MATERIAL |  | SIZE | 17.5 WDX80 HTX63 DP MM | ENCLOSURE | IP50,IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA,IEC/EN,UL | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1326208 | 1326208 | RELAY;ABB,1SVR630794R3300 | RELAY;MNFR:ABB,PTNO:1SVR630794R3300 | RELAY | 1SVR630794R3300 | 3000014 | ABB | ABB | 1SVR630794R3300 | [5 empty] | https://new.abb.com/products/1SVR630794R3300/cm-pvs-41 | https://www.kempstoncontrols.com/1SVR630794R3300/ABB/sku/387714 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | THREE-PHASE MONITORING | CONTACT RATING | 250 VAC,4 A | CURRENT RATING |  | VOLTAGE RATING |  | SETTING RANGE |  | TERMINAL TYPE | SCREW | CONTACT CONFIGURATION | 2CO,SPDT | NUMBER OF POLES |  | NUMBER OF PHASE | 3 | FREQUENCY RATING |  | TRIP CLASS |  | DISPLAY TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE | 22.5 WDX78 HTX100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1270198 | 1270198 | RELAY;ABB,1ZSC002083-AAA,OVERPRESSURE | RELAY;MNFR:ABB,PTNO:1ZSC002083-AAA,ADDITIONAL FEATURES EN:OVERPRESSURE | 01)FUNDAMENTALS AUSTRALIA PT,01)1ZSC002083-AAA,RELAY,01)OVERPRESSURE | 1ZSC002083-AAA | 3000014 | ABB | ABB | 1ZSC002083-AAA |  | 01)FUNDAMENTALS AUSTRALIA |  |  |  | https://www.ontrium.com/en/germany/brands/beta/1zsc002083-aaa | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | OVERPRESSURE | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OVERPRESSURE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1323968 | 1323968 | RELAY;ABB,27 77 03 0 | RELAY;MNFR:ABB,PTNO:27 77 03 0 | RELAY | 27 77 03 0 | 3000014 | ABB | ABB | 27 77 03 0 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1323971 | 1323971 | RELAY;ABB,29 11 69 2 | RELAY;MNFR:ABB,PTNO:29 11 69 2 | RELAY | 29 11 69 2 | 3000014 | ABB | ABB | 29 11 69 2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1323985 | 1323985 | RELAY;ABB,2TLA010028R2000 | RELAY;MNFR:ABB,PTNO:2TLA010028R2000 | RELAY | 2TLA010028R2000 | 3000014 | ABB | ABB | 2TLA010028R2000 | [5 empty] | https://new.abb.com/products/2TLA010028R2000/rt7a-1-5s-24dc | https://www.standardelectricsupply.com/ABB-2TLA010028R2000-Safety-Relay | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | UNIVERSAL,INDUSTRIAL | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION | 2NO 1 NC | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE | 45 WDX84 HTX120 DP MM | ENCLOSURE | IP20/IP40 | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1211646 | 1211646 | RELAY;ABB,2TLA010041R0600 | RELAY;MNFR:ABB,PTNO:2TLA010041R0600 | RELAY | 2TLA010041R0600 | 3000014 | ABB | ABB | 2TLA010041R0600 | [5 empty] | https://new.abb.com/products/2TLA010041R0600/sentry-bsr23¦https://rexel-cdn.com/products/download.pdf?i=BF140C37-B829-475E-912B-388B9AF1D561 | https://us.rs-online.com/product/abb-jokab-safety/2tla010041r0600/71038147/¦https://www.rexelusa.com/p/1323569/abb/safety-expansion-relay-sentry-bsr23-24vdc-4no-1nc-no-time-delay/2tla010041r0600 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | EXPANSION | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION | 4NO 1 NC | SIL RATING | 3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING |  | SIZE | 22.5 WDX120 HTX120 DP MM | ENCLOSURE | IP20 | TEMPERATURE RATING | -25 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,CE,CULUS,TUV | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1211659 | 1211659 | RELAY;ABB,2TLA010050R0000 | RELAY;MNFR:ABB,PTNO:2TLA010050R0000 | RELAY | 2TLA010050R0000 | 3000014 | ABB | ABB | 2TLA010050R0000 | [5 empty] | https://new.abb.com/products/2TLA010050R0000/sentry-ssr10 | https://rexel-cdn.com/products/download.pdf?i=BF140C37-B829-475E-912B-388B9AF1D561 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3NO 1NC | SIL RATING | 3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING |  | SIZE | 22.5 WDX120 HTX120 DP MM | ENCLOSURE | IP20 | TEMPERATURE RATING | -25 TO 65 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,CE,CULUS,TUV | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1258186 | 1258186 | RELAY;ABB,3ADV050053P0036 | RELAY;MNFR:ABB,PTNO:3ADV050053P0036 | RELAY | 3ADV050053P0036 | 3000014 | ABB | ABB | 3ADV050053P0036 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1258509 | 1258509 | RELAY;ABB,3BHL000986P4000 | RELAY;MNFR:ABB,PTNO:3BHL000986P4000 | RELAY | 3BHL000986P4000 | 3000014 | ABB | ABB | 3BHL000986P4000 | [5 empty] | https://www.lintechcomponents.com/product/015223529/3BHL000986P4000/S3370 | https://www.techenergo.net/3bhl000986p4000.html | [9 empty] | ENRICHED | 39122315 Electromagnetic relay | RELAY | ELECTROMAGNET | TYPE | HIGHVOLTAGE | CURRENT RATING | 10 A | VOLTAGE RATING | 10 KV | COIL VOLTAGE |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE | 2.23 LGX0.78 WDX0.76 HT IN | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1217633 | 1217633 | RELAY;ABB,CRM024AC2L,CTRL,CR-M 2CO,24ADC | RELAY;MNFR:ABB,PTNO:CRM024AC2L,ADDITIONAL FEATURES EN:CONTROL,CR-M 2CO,24ADC | 01)CRISTAUDO'S INDUSTRIAL EL,01)CRM024AC2L,RELAY,01)CONTROL,CR-M 2CO,24ADC | CRM024AC2L | 3000014 | ABB | ABB | CRM024AC2L |  | CRISTAUDO'S INDUSTRIAL EL |  |  |  | https://new.abb.com/products/1SVR405611R0100/cr-m024ac2l | https://www.santaclarasystems.com/abb/cr-m024ac2l | [9 empty] | ENRICHED | 39122324 Power relay | RELAY | POWER | TYPE | PLUGGABLE INTERFACE,MINIATURE | COIL VOLTAGE | 24 VAC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 2CO,SPDT | CONTACT VOLTAGE RATING | 250 VAC | CONTACT CURRENT RATING | 12 A | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | SNAP-ON | FREQUENCY RATING | 50/60 HZ | SIZE | 21.2 WDXHT 35.6X27.5 DP MM | TERMINAL TYPE | FLAT-PIN CONNECTOR | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA,IEC/EN,UL | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 | NM CHANGE | 1217634 | 1217634 | RELAY;ABB,CRM2SS,CONTROL SOCKET,CR-M 2CO | RELAY;MNFR:ABB,PTNO:CRM2SS,ADDITIONAL FEATURES EN:CONTROL SOCKET,CR-M 2CO,STANDARD | 01)CRISTAUDO'S INDUSTRIAL EL,01)CRM2SS,RELAY,01)CONTROL SOCKET,CR-M 2CO,STA | CRM2SS | 3000014 | ABB | ABB | CRM2SS |  | CRISTAUDO'S INDUSTRIAL EL |  |  |  | https://new.abb.com/products/1SVR405651R1000/cr-m2ss | https://www.electricautomationnetwork.com/en/abb/cr-m2ss-standard-socket-for-2c-o-cr-m-relay-abb-cr-m2ss-1svr405651r1000 | [9 empty] | ENRICHED | 39122335 Relay socket or base | SOCKET | RELAY | TYPE | STANDARD | NUMBER OF PINS |  | VOLTAGE RATING | 250 V | CURRENT RATING | 7 A | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE | 27 WDX42.5 HTX82 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CURUS,CE,UKCA,EAC,ROHA | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 | NM CHANGE | 1217635 | 1217635 | RELAY;ABB,CRMH,HLDR,PLSTC | RELAY;MNFR:ABB,PTNO:CRMH,ADDITIONAL FEATURES EN:HOLDER,PLASTIC | 01)CRISTAUDO'S INDUSTRIAL EL,01)CRMH,RELAY,01)HOLDER,PLASTIC | CRMH | 3000014 | ABB | ABB | CRMH |  | CRISTAUDO'S INDUSTRIAL EL |  |  |  | https://new.abb.com/products/pt/1SVR405659R1000/cr-mh | https://www.idealelectrical.com/aie/category/Power-Distribution/Relays/Accessories-for-switching-relay/RELAY-HOLDER-CRM/ABBCRMH/p/10371203?isPaginationRequest=true | [9 empty] | ENRICHED | 31163200 Retaining hardware | HOLDER | NO MODIFIER | TYPE | MINIATURE RELAY SOCKET | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1217636 | 1217636 | RELAY;ABB,CT-ERD.22,TMR,DELAY ON,24-240V | RELAY;MNFR:ABB,PTNO:CT-ERD.22,ADDITIONAL FEATURES EN:TIMER,DELAY ON,24-240VAC/24-48DC,2C/O | 01)CRISTAUDO'S INDUSTRIAL EL,01)CT-ERD.22,RELAY,01)TIMER,DELAY ON,24-240VAC/24 | CT-ERD.22 | 3000014 | ABB | ABB | CT-ERD.22 |  | CRISTAUDO'S INDUSTRIAL EL |  |  |  | https://new.abb.com/products/1SVR500100R0100/ct-erd-22 | https://www.tme.com/Document/b828bf8ef18a71c218cf0981a619749e/1SVR500100R0100.pdf | [9 empty] | ENRICHED | 39122329 Time relay | RELAY | TIME | TYPE | ELECTRONIC | TIMING RANGE | 0.05 SEC TO 100 HR | COIL VOLTAGE | 24 TO 240 VAC,24 TO 48 VDC | CONTACT RATING | 250 VAC,5 A | VOLTAGE RATING | 300 VAC | CONTACT CONFIGURATION | 2CO,SPDT | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | CONTACT MATERIAL |  | SIZE | 17.5 WDX80 HTX63 DP MM | ENCLOSURE | IP50,IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA,IEC/EN,UL | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1258724 | 1258724 | RELAY;NHP,4652007424VDC,24VDC,8P,8A,2CO | RELAY;MNFR:NHP,PTNO:4652007424VDC,ADDITIONAL FEATURES EN:24VDC,8P,8A,2CO,BRAND:FINDER,RANGE:46,POLES:2 POLE,1 PHASE,MATERIAL: PLASTIC AND MET,IP RATING:IP20,PINS:8PIN,FRE:50-60HZ | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP4652007424VDC,RELAY,01)24VDC,8P,8A,2CO,02)BRAND:FINDER,RANGE:46,POLES,03)IP RATING:IP20,PINS:8PIN,FR | 4652007424VDC | 3000664 | NHP | NHP | 4652007424VDC |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.nhp.com.au/product/4652007424vdc | [10 empty] | ENRICHED | 39122324 Power relay | RELAY | POWER | TYPE | MINIATURE INDUSTRIAL | COIL VOLTAGE | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 2CO | CONTACT VOLTAGE RATING | 440 VAC | CONTACT CURRENT RATING | 8 A | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | PLUG-IN | FREQUENCY RATING | 150 HZ | SIZE | 29 WDX32.8 HTX12.4 DP MM | TERMINAL TYPE |  | MATERIAL | SILVER NICKEL CONTACT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CCC,CSA,EAC,GOST-R,IMQ,C-UR-US,VDE | ADDITIONAL FEATURES | BRAND:FINDER,RANGE:46,IP RATING:IP20,PINS:8PIN | [40 empty] | BRAND:FINDER,RANGE:46,POLES:2 POLE,1 PHASE,MATERIAL: PLASTIC AND MET,IP RATING:IP20,PINS:8PIN,FRE:50-60HZ | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273292 | 1273292 | RELAY;NHP,5532007412VDC,10A,2CO,12VDC,8P | RELAY;MNFR:NHP,PTNO:5532007412VDC,ADDITIONAL FEATURES EN:10A,2CO,12VDC,8PIN,W/PB+LED+FLG F |  | 5532007412VDC | 3000664 | NHP | NHP | 5532007412VDC | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-383/NHP_AU_Catalog-786/NHP_AU_Catalog-774/5532007412VDC | https://melbournebuildingmaterials.com.au/product/nhp-5532007412vdc-miniature-gp-relay-10a-2-c-o-12v-dc-coil-w-pbledmi/ | [9 empty] | ENRICHED | 39122324 Power relay | RELAY | POWER | TYPE | MINIATURE GENERAL PURPOSE | COIL VOLTAGE | 12 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 2CO | CONTACT VOLTAGE RATING | 400 VAC | CONTACT CURRENT RATING | 10 A | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | PLUG-IN | FREQUENCY RATING | 55 HZ | SIZE | 27.7 WDX37.2 HTX20.7 DP MM | TERMINAL TYPE |  | MATERIAL | SILVER NICKEL CONTACT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CCC,CSA,EAC,GOST-R,IMQ,C-UR-US,VDE | ADDITIONAL FEATURES | C/W PB+LED+FLG F | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1214034 | 1214034 | RELAY;SIE,3TA60.03.OAZ | RELAY;MNFR:SIEMENS,PTNO:3TA60.03.OAZ | RELAY | 3TA60.03.OAZ | 3000032 | SIEMENS | SIEMENS | 3TA60.03.OAZ | [5 empty] | url not found | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1214033 | 1214033 | RELAY;SIE,3TA68.02-0AF | RELAY;MNFR:SIEMENS,PTNO:3TA68.02-0AF | RELAY | 3TA68.02-0AF | 3000032 | SIEMENS | SIEMENS | 3TA68.02-0AF | [5 empty] | url not found | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1214026 | 1214026 | RELAY;SIE,3TG22.02-2B | RELAY;MNFR:SIEMENS,PTNO:3TG22.02-2B | RELAY | 3TG22.02-2B | 3000032 | SIEMENS | SIEMENS | 3TG22.02-2B | [5 empty] | url not found | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273086 | 1273086 | SHROUD;ABB,1SFN125701R1000,TRMNL, SCREW | SHROUD;MNFR:ABB,PTNO:1SFN125701R1000,ADDITIONAL FEATURES EN:TERMINAL, SCREW, REF:LT460-AC |  | 1SFN125701R1000 | 3000014 | ABB | ABB | 1SFN125701R1000 | [5 empty] | https://www.electricautomationnetwork.com/en/abb/terminal-shroudslt460-ac-abb-lt460-ac-1sfn125701r1000 | https://new.abb.com/products/1SFN125701R1000/lt460-ac | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | TERMINAL | SIZE | 185.5 WDX126.2 HTX31.5 DP MM | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | TERMINAL TYPE: SCREW,REF:LT460-AC | [56 empty] | REF:LT460-AC | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1264985 | 1264985 | SHROUD;ABB,OTS250G1S3 | SHROUD;MNFR:ABB,PTNO:OTS250G1S3 | SHROUD | OTS250G1S3 | 3000014 | ABB | ABB | OTS250G1S3 | [5 empty] | https://new.abb.com/products/1SCA022731R8310/ots250g1s-3 | https://rspsupply.com/p-119221-abb-ots250g1s3-ots250g1s3-terminal-shroud.aspx | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | TERMINAL | SIZE | 35 WDX35.5 HTX70 DP MM | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1265658 | 1265658 | SHROUD;ABB,OTS40T3 | SHROUD;MNFR:ABB,PTNO:OTS40T3 | SHROUD | OTS40T3 | 3000014 | ABB | ABB | OTS40T3 | [5 empty] | https://new.abb.com/products/1SCA105317R1001/ots40t3 | https://us.rs-online.com/product/abb/ots40t3/70094791/ | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | TERMINAL | SIZE | 35 WDX12 HTX40 DP MM | MATERIAL |  | COLOUR |  | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1264984 | 1264984 | SHROUD;ABB,OTS800G1L3 | SHROUD;MNFR:ABB,PTNO:OTS800G1L3 | SHROUD | OTS800G1L3 | 3000014 | ABB | ABB | OTS800G1L3 | [5 empty] | https://new.abb.com/products/1SCA022776R7890/ots800g1l-3 | https://rspsupply.com/p-119277-abb-ots800g1l3-ots800g1l3-terminal-shroud.aspx | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | TERMINAL | SIZE | 65 WDX138.6 HTX110.5 DP MM | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273318 | 1273318 | SHROUD;MERS,MK.1103-01-10B,BELOW,408689 | SHROUD;MNFR:MERSEN,PTNO:MK.1103-01-10B,ADDITIONAL FEATURES EN:BELOW,408689,MAIN CONTACT,DWG:1023511 |  | MK.1103-01-10B | 3000315 | MERSEN | MERSEN | MK.1103-01-10B | [5 empty] | URL NOT FOUND |  |  | 1023511 | [7 empty] | CLEANSED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BELOW,408689,MAIN CONTACT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273319 | 1273319 | SHROUD;MERS,MK.1103-01-13,BELW,405159,PR | SHROUD;MNFR:MERSEN,PTNO:MK.1103-01-13,ADDITIONAL FEATURES EN:BELLOW,405159,PROTECTIVE,DWG:1020963 REV.A |  | MK.1103-01-13 | 3000315 | MERSEN | MERSEN | MK.1103-01-13 | [5 empty] | URL NOT FOUND |  |  | 1020963 REV.A | [7 empty] | CLEANSED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | PROTECTIVE | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BELLOW,405159 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1272741 | 1272741 | SHROUD;NHP,22943005,TRMNL,3P,SUITS SLBM | SHROUD;MNFR:NHP,PTNO:22943005,ADDITIONAL FEATURES EN:TERMINAL,3P,SUITS SLBM 16-40 A | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP22943005,SHROUD,01)TERMINAL,3P,SUITS SLBM 16-4 | 22943005 | 3000664 | NHP | NHP | 22943005 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.socomec.us/datasheet/22943005/ | https://www.rexel.com.au/are/category/Industrial/Switch/Switch-disconnector/TERMINAL-COVER-SHROUD-3P-SIRCO-M-16-40A/NHP22943005/p/10813105 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | TERMINAL COVER | SIZE |  | MATERIAL | PLASTIC | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO OF POLE: 3P,FOR SLBM 16-40 A | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1272735 | 1272735 | SHROUD;NHP,26943021,TRMNL,3P,SLB200-250 | SHROUD;MNFR:NHP,PTNO:26943021,ADDITIONAL FEATURES EN:TERMINAL,3P,SLB200-250,IP20,TOP OR BOTTOM,BRAND:SOCOMEC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP26943021,SHROUD,01)TERMINAL,3P,SLB200-250,IP20 | 26943021 | 3000664 | NHP | NHP | 26943021 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.nhp.com.au/product/26943021 | https://cdn2.idealelectrical.com/medias/sys_Auideal/sheets/sheets/h69/hd7/9106868109342/26943021-pds.pdf | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | TERMINAL | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO OF POLE: 3,FOR SLB200-250,IP RATING: IP20,MOUNTONG: TOP OR BOTTOM | [56 empty] | BRAND:SOCOMEC | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1269968 | 1269968 | SHROUD;NHP,NHP22943009,TRMNL,3P | SHROUD;MNFR:NHP,PTNO:NHP22943009,ADDITIONAL FEATURES EN:TERMINAL,3P | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP22943009,SHROUD,01)TERMINAL,3P | NHP22943009 | 3000664 | NHP | NHP | 22943009 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.socomec.us/datasheet/22943009/ | https://www.nhp.com.au/product/22943005 | [9 empty] | ENRICHED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE | TERMINAL | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES EN | NO OF POLE: 3 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1335625 | 1335625 | SHROUD;SIE,8GB5201W1X7 | SHROUD;MNFR:SIEMENS,PTNO:8GB5201W1X7 | SHROUD | 8GB5201W1X7 | 3000032 | SIEMENS | SIEMENS | 8GB5201W1X7 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | SHROUD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1269635 | 1269635 | SOCK;COND,3624,CABLE ANCHOR,T/S 19-25MM | SOCK;MNFR:CONDUCTIX,PTNO:3624,ADDITIONAL FEATURES EN:CABLE ANCHOR,T/S 19-25MM OD | 01)CONDUCTIX WAMPFLER PTY LT,01)3624,SOCK,01)CABLE ANCHOR,T/S 19-25MM OD | 3624 | 3000255 | CONDUCTIX | CONDUCTIX WAMPFLER PTY LT | 3624 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41114411 Meteorology instrument accessories | SOCK | NO MODIFIER | TYPE |  | SIZE | 19 TO 25 MM OD | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE ANCHOR,T/S | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273267 | 1273267 | SPOOL,PIPE;FLSM,1000647458,DN150,RUBBER | SPOOL,PIPE;MNFR:FLSMIDTH,PTNO:1000647458,ADDITIONAL FEATURES EN:DN150,RUBBER LINED | SPOOL,PIPE,01)DN150,RUBBER LINED | 1000647458 | 3000426 | FLSMIDTH | FLSMIDTH | 1000647458 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 24141706 Spool | SPOOL | PIPE | TYPE |  | NOMINAL SIZE | DN150 | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | COLOUR |  | MATERIAL | RUBBER LINED | MATERIAL SPECIFICATION |  | LENGTH |  | LINER MATERIAL |  | JACKET MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | OK | 2023-06-24 | 2023-07-03 |  | 1273483 | 1273483 | STAPLER;MILW,M12BST-0,CWRN,10MM,M12,TL | STAPLER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12BST-0,ADDITIONAL FEATURES EN:CROWN,10MM,M12,TOOL |  | M12BST-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12BST-0 | [5 empty] | https://www.tools.com/milwaukee-m12-10mm-crown-stapler-m12bst-0.html | [10 empty] | ENRICHED | 44121615 Staplers | STAPLER | NO MODIFIER | TYPE | CROWN | STAPLE CAPACITY | 1500 STAPLES | POWER SOURCE | 12 V | NUMBER OF SHEETS |  | MATERIAL |  | SIZE | 190 MM HT | STRIP |  | POINT TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed