## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1269631 | 1269631 | SET;3M,91520212,PAD HOLDER/HANDLE,DDLBUG | SET;MNFR:3M,PTNO:91520212,ADDITIONAL FEATURES EN:PAD HOLDER/HANDLE,DDLBUG SWIVEL,1.2M POLE 6472 | 01)ATOM SUPPLY,01)91520212,SET,01)PAD HOLDER/HANDLE,DDLBUG SW | 91520212 | 3000220 | 3M | 3M | 91520212 |  | ATOM SUPPLY |  |  |  | https://www.atom.com.au/pad-holder-handle-doodlebug-3m-91520212 | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | PAD HOLDER,HANDLE DOODLEBUG SWIVEL | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | 1.2 M POLE 6472 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1252917 | 1252917 | SET;DIEC,1F.504037873 | SET;MNFR:DIECI,PTNO:1F.504037873,ADDITIONAL FEATURES EN:INJECTION LINE PIPES | SET,01)INJECTION LINE PIPES | 1F.504037873 | 3000511 | DIECI | DIECI | 1F.504037873 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-1F.504037873 | https://goldytech.com.ua/ua/p1222839698-1f504037873-komplekt-palivnih.html | [9 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | INJECTION LINE PIPES | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1273791 | 1273791 | SET;FLUK,468-1063,TEST LEAD,TL165X | SET;MNFR:FLUKE,PTNO:468-1063,ADDITIONAL FEATURES EN:TEST LEAD,TL165X | 01)RS COMPONENTS AU,01)468-1063,SET,01)TEST LEAD,TL165X | 468-1063 | 3000278 | FLUKE | FLUKE | 468-1063 |  | RS COMPONENTS AU | TL165X |  |  | https://in.rsdelivers.com/product/fluke/tl165x/fluke-tl165x-test-lead-set-for-use-with-1650-1650b/4681063 | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | TEST LEAD | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1216421 | 1216421 | SET;FLUK,FLUTL76,MULTIMETER LEAD | SET;MNFR:FLUKE,PTNO:FLUTL76,ADDITIONAL FEATURES EN:MULTIMETER LEAD | 01)HAYMANS ELECTRICAL (PARTS,01)FLUTL76,SET,01)MULTIMETER LEAD | FLUTL76 | 3000278 | FLUKE | FLUKE | FLUTL76 |  | HAYMANS ELECTRICAL |  |  |  | https://www.totaltools.com.au/176469-fluke-2mm-4mm-test-lead-set-flutl76 | https://www.tools.com/fluke-2mm-4mm-test-lead-set-flutl76.html | [9 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | MULTIMETER LEAD | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1268956 | 1268956 | SET;MILW,48229000,SCKT,3/8 IN DR IMP,12 | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229000,ADDITIONAL FEATURES EN:SOCKET,3/8 IN DR IMP,12 PCE | 01)MOUNT ISA MINING SUPPLIES,01)48229000,SET,01)SOCKET,3/8 IN DR IMP,12 PCE | 48229000 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229000 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/sockets-and-wrenches/socket-sets/48229000.html | [9 empty] | IMP | Enriched | 27111703 Socket sets | SET | NO MODIFIER | TYPE | SOCKET | CONTENTS | 1X3/8 IN DRIVE 5/16 IN DEEP WELL SOCKET,1X3/8 IN DRIVE 3/8IN DEEP WELL SOCKET,1X3/8 IN DRIVE 7/16 IN DEEP WELL SOCKET,1X3/8 IN DRIVE 1/2 IN DEEP WELL SOCKET,1X3/8 IN DRIVE 9/16 IN DEEP WELL SOCKET,1X3/8 IN DRIVE 5/8 IN DEEP WELL SOCKET,1X3/8 IN DRIVE 11/16 IN DEEP WELL SOCKET,1X3/8 IN DRIVE ROTO RATCHET,1X3/8 IN DRIVE 6 IN EXTENSION,1X3/8 IN TO 1/4 IN DRIVE ADAPTER,1X3/8 IN TO HEX ADAPTER,1XCARRYING CASE | NUMBER OF ITEMS | 12 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | DRIVE SIZE:3/8 IN | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1268957 | 1268957 | SET;MILW,48229001,SCKT,3/8 IN DR MET,12 | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229001,ADDITIONAL FEATURES EN:SOCKET,3/8 IN DR MET,12 PCE | 01)MOUNT ISA MINING SUPPLIES,01)48229001,SET,01)SOCKET,3/8 IN DR MET,12 PCE | 48229001 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229001 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/sockets-and-wrenches/socket-sets/48229001.html | [10 empty] | Enriched | 27111703 Socket sets | SET | NO MODIFIER | TYPE | SOCKET | CONTENTS | 1X3/8 IN DRIVE 10 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 12 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 13 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 14 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 15 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 17 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 18 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 19 MM DEEP WELL SOCKET,1X3/8 IN DRIVE 6 IN EXTENSION,1X3/8 IN TO 1/4 IN DRIVE ADAPTER,1X3/8 IN TO HEX ADAPTER,1X3/8 IN DRIVE ROTO RATCHET,1XCARRYING CASE | NUMBER OF ITEMS | 12 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | DRIVE SIZE:3/8 IN,SYSTEM OF MEASUREMENT:METRIC | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1269327 | 1269327 | SET;MILW,48229214,4PC,PRY BAR | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229214,ADDITIONAL FEATURES EN:4PC,PRY BAR | 01)ASHDOWN ENTERPRISES,01)48229214,SET,01)4PC,PRY BAR | 48229214 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229214 |  | ASHDOWN ENTERPRISES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/mechanics-tools/picks-and-pry-bars/48229214.html | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | PRY BAR | CONTENTS |  | NUMBER OF ITEMS | 4 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1214512 | 1214512 | SET;MILW,48229218,8 PIECE HOOK & PICK | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229218,ADDITIONAL FEATURES EN:8 PIECE HOOK & PICK | 01)MOUNT ISA MINING SUPPLIES,01)48229218,SET,01)8 PIECE HOOK & PICK | 48229218 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229218 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/mechanics-tools/picks-and-pry-bars/48229218.html | [10 empty] | Enriched | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | TRI-LOBE GRIP,HOOK AND HOSE PICK | CONTENTS |  | NUMBER OF ITEMS | 8 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1268797 | 1268797 | SET;MILW,48324081,SCDR,29PCE IMPACT DRIV | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48324081,ADDITIONAL FEATURES EN:SCREWDRIVER,29PCE IMPACT DRIVER | 01)HAYMANS ELECTRICAL,01)MIW48324081,SET,01)SCREWDRIVER,29PCE IMPACT DR | 48324081 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48324081 |  | HAYMANS ELECTRICAL |  |  |  | https://www.milwaukeetool.com.au/accessories/fastening/shockwave-sets/48324081.html | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | IMPACT SCREW DRIVER | CONTENTS |  | NUMBER OF ITEMS | 29 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1273698 | 1273698 | SET;MILW,49221132,BLD,FOR WOOD AND METAL | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:49221132,ADDITIONAL FEATURES EN:BLADE,FOR WOOD AND METAL | 01)TOTAL TOOLS TOWNSVILLE,01)49221132,SET,01)BLADE,FOR WOOD AND METAL | 49221132 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 49221132 |  | TOTAL TOOLS TOWNSVILLE |  |  |  | https://www.milwaukeetool.com.au/accessories/cutting-blades/reciprocating-saw-blades/49221132.html | [10 empty] | Enriched | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | BLADE | CONTENTS |  | NUMBER OF ITEMS | 32 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | F/WOOD AND METAL | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1270628 | 1270628 | SET;MILW,4932430001,SDS PLUS,CHSL,3 PCE | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:4932430001,ADDITIONAL FEATURES EN:SDS PLUS,CHISEL,3 PCE | 01)MOUNT ISA MINING SUPPLIES,01)4932430001,SET,01)SDS PLUS,CHISEL,3 PCE | 4932430001 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 4932430001 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/accessories/concrete-drilling/chisels/4932430001.html | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | CHISEL | CONTENTS |  | NUMBER OF ITEMS | 3 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | SHANK:SDS PLUS | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1268743 | 1268743 | SET;MILW,4932471193,HAMMER DRILL BIT,8PC | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:4932471193,ADDITIONAL FEATURES EN:HAMMER DRILL BIT,8PCE,4 - 10 MM | 01)HAYMANS ELECTRICAL,01)MIW4932471193,SET,01)HAMMER DRILL BIT,8PCE,4 - 1 | 4932471193 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 4932471193 |  | HAYMANS ELECTRICAL |  |  |  | https://www.milwaukeetool.com.au/accessories/drilling/hammer-drill-bits/4932471193.html | [10 empty] | Cleansed | 27112845 Drill bit set | SET | NO MODIFIER | TYPE | HAMMER DRILL BIT | CONTENTS |  | NUMBER OF ITEMS | 8 | MATERIAL |  | SIZE RANGE | 4 TO 10 MM | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1211794 | 1211794 | SET;MILW,49664563 | SET;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:49664563 |  | 49664563 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 49664563 | [5 empty] | https://www.milwaukeetool.com.au/accessories/fastening/nut-drivers/49664563.html | [10 empty] | Enriched | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | INSERT NUT DRIVER | CONTENTS |  | NUMBER OF ITEMS | 5 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1325814 | 1325814 | SET;PIN/BUFFER,16,NBR | SET;TYPE:PIN/BUFFER,NUMBER OF ITEMS:16,MATERIAL:NBR,ADDITIONAL FEATURES EN:ASSY, K04 VUGGER, 80 SHORE,MNFR:SIEMENS,PTNO:2LC0132- 0WC00-0AA0-Z | EN_01)PIN/BUFFER,EN_01)NBR,01)ASSY, K04 VUGGER, 80 SHORE,PIN | 2LC0132-0WC00-0AA0-Z | 3000032 | SIEMENS | SIEMENS | 2LC0132- 0WC00-0AA0-Z | [5 empty] | Url Not Found | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | PIN/BUFFER | CONTENTS |  | NUMBER OF ITEMS | 16 | MATERIAL | NBR | SIZE RANGE |  | ADDITIONAL FEATURES EN | ASSYEMBLY,K04 VUGGER,SHORE:80 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1324436 | 1324436 | SET;SEAL,SMSR20C FLOW VALVE RE,REXROTH | SET;TYPE:SEAL,ADDITIONAL FEATURES EN:SMSR20C FLOW VALVE RE,MNFR:ABB,PTNO:04905 041 09,MNFR:01)REXROTH,PTNO:01)S-MSR 20 | EN_01)SEAL,01)SMSR20C FLOW VALVE RE,01)REXROTH,01)S-MSR 20,SEAL | 04905 041 09 | 3000014 | ABB | REXROTH | S-MSR 20 |  | ABB | 04905 041 09 |  |  | Url Not Found | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | F/FLOW VALVE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1267005 | 1267005 | SET;SIE,2512106_H001,IKI-35 | SET;MNFR:SIEMENS,PTNO:2512106_H001,ADDITIONAL FEATURES EN:IKI-35 | 01)SIEMENS LTD,01)2512106_H001,SET,01)IKI-35 | 2512106_H001 | 3000032 | SIEMENS | SIEMENS | 2512106_H001 | [5 empty] | https://www.kries.com/media/pdf/DS-EN_2512106_H001_IKI-LUM_D92_cabletie.pdf | [10 empty] | Cleansed | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | IKI-35 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1244642 | 1244642 | SET;SKF,TMAS 340,SHIM,SS,MM,125 X125 X | SET;MNFR:SKF,PTNO:TMAS 340,TYPE:SHIM,MATERIAL:STAINLESS STEEL,SIZE RANGE:100 X 100 X 0.05 TO 2,MM,125 X125 X,0.05 TO 2 MM, ADDITIONAL FEATURES EN:TMAS COMPOUND | EN_01)SHIM,ES_01)CALCE,340,EN_01)STAINLESS STEEL,ES_01)ACERO INOXIDABLE,EN_01)100 X 100 X 0.05 TO 2,EN_02)MM,125 X125 X,EN_03)0.05 TO 2 MM,ES_01)100 X 100 X 0.05 TO 2,ES_02)MM,125 X125 X,ES_03)0.05 TO 2 MM,01)TMAS COMPOUND,01)TMAS COMPOUND | TMAS 340 | 3000348 | SKF | SKF | TMAS 340 | [5 empty] | https://www.skf.com/binaries/pub12/Images/0901d196802eec47-14391EN_TMAS_tcm_12-148419.pdf | https://in.rsdelivers.com/product/skf/tmas-340/skf-shim-kit-stainless-steel/7324791 | [9 empty] | Enriched | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | SHIM | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL | STAINLESS STEEL | SIZE RANGE |  | ADDITIONAL FEATURES EN | TMAS COMPOUND | WIDTH:100 MM,125 MM,LENGTH:100 MM,125 MM,THICKNESS:0.05 MM,0.1 MM,0.2 MM,0.25 MM,0.4 MM,0.5 MM,0.7 MM,1 MM,2 MM | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1211693 | 1211693 | SHEET,GSKT;WEI,40706LAAB030MMEA,3MM LINA | SHEET,GASKET;MNFR:WEIR,PTNO:40706LAAB030MMEA,ADDITIONAL FEATURES EN:3MM LINAGARD BROMO BUTYL | 01)WEIR MINERALS AUSTRALIA L,01)40706LAAB030MMEA,SHEET,GASKET,01)3MM LINAGARD BROMO BUTYL | 40706LAAB030MMEA | 3000036 | WEIR | WEIR MINERALS AUSTRALIA LTD | 40706LAAB030MMEA | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31400000 Gaskets | SHEET | GASKET | TYPE |  | LENGTH |  | WIDTH |  | THICKNESS | 3 MM | MATERIAL | BROMO BUTYL | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:LINAGARD | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333647 | 1333647 | SHEET,MTLC;DIEC,CAR0000268/0D2 | SHEET,METALLIC;MNFR:DIECI,PTNO:CAR0000268/0D2,ADDITIONAL FEATURES EN:CLOSING,MATERIAL:METAL | SHEET,METALLIC,01)CLOSING,MATERIAL:METAL | CAR0000268/0D2 | 3000511 | DIECI | DIECI | CAR0000268/0D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | CLOSING | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333512 | 1333512 | SHEET,MTLC;DIEC,CAR0001925/0G | SHEET,METALLIC;MNFR:DIECI,PTNO:CAR0001925/0G,ADDITIONAL FEATURES EN:PROTECTIVE | SHEET,METALLIC,01)PROTECTIVE | CAR0001925/0G | 3000511 | DIECI | DIECI | CAR0001925/0G | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | PROTECTIVE | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333640 | 1333640 | SHEET,MTLC;DIEC,CAR0002656-0D2 | SHEET,METALLIC;MNFR:DIECI,PTNO:CAR0002656-0D2,ADDITIONAL FEATURES EN:PROTECTION,MATERIAL:METAL | SHEET,METALLIC,01)PROTECTION,MATERIAL:METAL | CAR0002656-0D2 | 3000511 | DIECI | DIECI | CAR0002656-0D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | PROTECTION | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333626 | 1333626 | SHEET,MTLC;DIEC,CAR0002657-0D3 | SHEET,METALLIC;MNFR:DIECI,PTNO:CAR0002657-0D3,ADDITIONAL FEATURES EN:PROTECTION,MATERIAL:METAL | SHEET,METALLIC,01)PROTECTION,MATERIAL:METAL | CAR0002657-0D3 | 3000511 | DIECI | DIECI | CAR0002657-0D3 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | PROTECTION | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333454 | 1333454 | SHEET,MTLC;DIEC,CAR0003254/0D2 | SHEET,METALLIC;MNFR:DIECI,PTNO:CAR0003254/0D2,ADDITIONAL FEATURES EN:AIR RECYCLING | SHEET,METALLIC,01)AIR RECYCLING | CAR0003254/0D2 | 3000511 | DIECI | DIECI | CAR0003254/0D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | AIR RECYCLING | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333528 | 1333528 | SHEET,MTLC;DIEC,CAR0004038-0C | SHEET,METALLIC;MNFR:DIECI,PTNO:CAR0004038-0C,ADDITIONAL FEATURES EN:CLOSING,MATERIAL:METAL | SHEET,METALLIC,01)CLOSING,MATERIAL:METAL | CAR0004038-0C | 3000511 | DIECI | DIECI | CAR0004038-0C | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | CLOSING | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333551 | 1333551 | SHEET,MTLC;DIEC,CARLA0002380-0D2 | SHEET,METALLIC;MNFR:DIECI,PTNO:CARLA0002380-0D2,ADDITIONAL FEATURES EN:CLOSING,MATERIAL:METAL | SHEET,METALLIC,01)CLOSING,MATERIAL:METAL | CARLA0002380-0D2 | 3000511 | DIECI | DIECI | CARLA0002380-0D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | CLOSING | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333279 | 1333279 | SHEET,MTLC;DIEC,CVC4802/CL | SHEET,METALLIC;MNFR:DIECI,PTNO:CVC4802/CL,ADDITIONAL FEATURES EN:PROTECTIVE | SHEET,METALLIC,01)PROTECTIVE | CVC4802/CL | 3000511 | DIECI | DIECI | CVC4802-CL | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-CVC4802-CL | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | PROTECTIVE | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333278 | 1333278 | SHEET,MTLC;DIEC,CVC5217/0D | SHEET,METALLIC;MNFR:DIECI,PTNO:CVC5217/0D,ADDITIONAL FEATURES EN:PROTECTIVE | SHEET,METALLIC,01)PROTECTIVE | CVC5217/0D | 3000511 | DIECI | DIECI | CVC5217/0D | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | PROTECTIVE | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333280 | 1333280 | SHEET,MTLC;DIEC,CVC5380/0D | SHEET,METALLIC;MNFR:DIECI,PTNO:CVC5380/0D,ADDITIONAL FEATURES EN:PROTECTION,MATERIAL:METAL | SHEET,METALLIC,01)PROTECTION,MATERIAL:METAL | CVC5380/0D | 3000511 | DIECI | DIECI | CVC5380/0D | [5 empty] | https://www.lbr.ru/zapchasti/zasita-kpp-cvc5380-0d | [10 empty] | Enriched | 30260000 Structural materials | SHEET | METALLIC | TYPE | GEARBOX PROTECTION | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL | METAL | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333277 | 1333277 | SHEET,MTLC;DIEC,CVC6220/0G | SHEET,METALLIC;MNFR:DIECI,PTNO:CVC6220/0G,ADDITIONAL FEATURES EN:PROTECTIVE | SHEET,METALLIC,01)PROTECTIVE | CVC6220/0G | 3000511 | DIECI | DIECI | CVC6220-0G | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-CVC6220-0G | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | PROTECTIVE | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333276 | 1333276 | SHEET,MTLC;DIEC,CVC6221/0G | SHEET,METALLIC;MNFR:DIECI,PTNO:CVC6221/0G,ADDITIONAL FEATURES EN:PROTECTIVE | SHEET,METALLIC,01)PROTECTIVE | CVC6221/0G | 3000511 | DIECI | DIECI | CVC6221-0G | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-CVC6221-0G | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE | PROTECTIVE | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1333529 | 1333529 | SHEET,MTLC;DIEC,CVC7726 | SHEET,METALLIC;MNFR:DIECI,PTNO:CVC7726,ADDITIONAL FEATURES EN:AIR RECYCLING | SHEET,METALLIC,01)AIR RECYCLING | CVC7726 | 3000511 | DIECI | DIECI | CVC7726 | [5 empty] | https://goldytech.com.ua/ua/p1067845955-cvc7726-stalnij-korpus.html | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | AIR RECYCLING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333508 | 1333508 | SHEET,MTLC;DIEC,CVC7762/0D2 | SHEET,METALLIC;MNFR:DIECI,PTNO:CVC7762/0D2,ADDITIONAL FEATURES EN:EVAPORATOR, UPPER | SHEET,METALLIC,01)EVAPORATOR, UPPER | CVC7762/0D2 | 3000511 | DIECI | DIECI | CVC7762/0D2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | METALLIC | TYPE |  | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EVAPORATOR,UPPER | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1274142 | 1274142 | SHEET,NON-MTLC;WEI,823.090.165 | LAMINA NO METALICA;MNFR:WEIR,PTNO:823.090.165, | SHEET,NON-METALLIC | 823.090.165 | 3000036 | WEIR | WEIR | 823.090.165 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | NON-METALLIC | TYPE |  | MATERIAL |  | WIDTH |  | LENGTH |  | THICKNESS |  | COLOUR |  | MATERIAL TRANSPARENCY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1274143 | 1274143 | SHEET,NON-MTLC;WEI,823.090.170 | LAMINA NO METALICA;MNFR:WEIR,PTNO:823.090.170, | SHEET,NON-METALLIC | 823.090.170 | 3000036 | WEIR | WEIR | 823.090.170 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30260000 Structural materials | SHEET | NON-METALLIC | TYPE |  | MATERIAL |  | WIDTH |  | LENGTH |  | THICKNESS |  | COLOUR |  | MATERIAL TRANSPARENCY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333566 | 1333566 | SHEET;DIEC,BSH9158 | SHEET;MNFR:DIECI,PTNO:BSH9158,ADDITIONAL FEATURES EN:MATERIAL:RUBBER | SHEET,01)MATERIAL:RUBBER | BSH9158 | 3000511 | DIECI | DIECI | BSH9158 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30266402 Rubber sheet | SHEET | NON-METALLIC | TYPE |  | MATERIAL | RUBBER | WIDTH |  | LENGTH |  | THICKNESS |  | COLOUR |  | MATERIAL TRANSPARENCY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1333603 | 1333603 | SHEET;DIEC,RIV0000014 | SHEET;MNFR:DIECI,PTNO:RIV0000014,ADDITIONAL FEATURES EN:MATERIAL:RUBBER | SHEET,01)MATERIAL:RUBBER | RIV0000014 | 3000511 | DIECI | DIECI | RIV0000014 | [5 empty] | https://goldytech.com.ua/ua/p1067845996-riv0000014-zazisna-plita.html | [10 empty] | Enriched | 30102216 Rubber plate | PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1270819 | 1270819 | SLEEVE,ADPTR;SKF,H206,SHFT | SLEEVE,ADAPTOR;MNFR:SKF,PTNO:H206,ADDITIONAL FEATURES EN:SHAFT | 01)APPLIED INDUSTRIAL TECHNO,01)H206,SLEEVE,ADAPTOR,01)SHAFT | H206 | 3000348 | SKF | SKF | H 206 |  | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://www.skf.com/in/products/rolling-bearings/accessories/adapter-sleeves/productid-H%20206 | [10 empty] | Enriched | 31163218 Bearing adapter sleeve | SLEEVE | ADAPTOR | TYPE | SHAFT | SHAFT SIZE | 25 MM | LENGTH | 27 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1272786 | 1272786 | SLEEVE,ADPTR;SKF,H315E,65MM | SLEEVE,ADAPTOR;MNFR:SKF,PTNO:H315E,ADDITIONAL FEATURES EN:65MM | 01)CONSOLIDATED BEARING CO (,01)H315ESKF,SLEEVE,ADAPTOR,01)65MM | H315E | 3000348 | SKF | SKF | H 315 E |  | CONSOLIDATED BEARING CO |  |  |  | https://www.skf.com/us/products/rolling-bearings/accessories/adapter-sleeves/productid-H%20315%20E | [10 empty] | Enriched | 31163218 Bearing adapter sleeve | SLEEVE | ADAPTOR | TYPE |  | SHAFT SIZE | 65 MM | LENGTH | 55 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1268687 | 1268687 | SLEEVE,ADPTR;SKF,H316/PC | SLEEVE,ADAPTOR;MNFR:SKF,PTNO:H316/PC | 01)APPLIED INDUSTRIAL TECHNO M,01)H316/PC,SLEEVE,ADAPTOR | H316/PC | 3000348 | SKF | SKF | H 316/PC |  | APPLIED INDUSTRIAL TECHNO M |  |  |  | https://www.emarketplace.in.skf.com/sleeves/h-316pc | [10 empty] | Enriched | 31163218 Bearing adapter sleeve | SLEEVE | ADAPTOR | TYPE |  | SHAFT SIZE | 70 MM | LENGTH | 59 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1274416 | 1274416 | SLEEVE,ADPTR;TORR,H312,SUIT METRIC SHAFT | SLEEVE,ADAPTOR;MNFR:TIMKEN BEARING,PTNO:H312,ADDITIONAL FEATURES EN:SUIT METRIC SHAFT |  | H312 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | H312 | [5 empty] | https://www.acorn-ind.co.uk/p/timken/adapter-and-withdrawal-sleeves/h312-timken/ | https://cad.timken.com/item/ller-bearing-metric-and-inch-accessories-1/metric-h-adapter-sleeve/h312 | [9 empty] | Enriched | 31163218 Bearing adapter sleeve | SLEEVE | ADAPTOR | TYPE | SUIT METRIC SHAFT | SHAFT SIZE | 55 MM | LENGTH | 47 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1333369 | 1333369 | SLEEVE,CBL;DIEC,4C.0A025215 | SLEEVE,CABLE;MNFR:DIECI,PTNO:4C.0A025215,ADDITIONAL FEATURES EN:BRAID, ELECTRICAL | SLEEVE,CABLE,01)BRAID, ELECTRICAL | 4C.0A025215 | 3000511 | DIECI | DIECI | 4C.0A025215 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121404 Electrical sleeves | SLEEVE | CABLE | TYPE | BRAIDED,ELECTRICAL | CONDUCTOR SIZE |  | CABLE SIZE |  | SLEEVE DIAMETER |  | SLEEVE LENGTH |  | MATERIAL |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1333575 | 1333575 | SLEEVE,CBL;DIEC,BEQ9101 | SLEEVE,CABLE;MNFR:DIECI,PTNO:BEQ9101,ADDITIONAL FEATURES EN:BRAID, ELECTRICAL | SLEEVE,CABLE,01)BRAID, ELECTRICAL | BEQ9101 | 3000511 | DIECI | DIECI | BEQ9101 | [5 empty] | https://www.lbr.ru/zapchasti/sina-elektriceskaa-beq9101 | [10 empty] | Enriched | 39121117 Buss bar | BUS BAR | NO MODIFIER | TYPE | ELECTRICAL | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAID | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1242370 | 1242370 | SLEEVE,SHFT;WEI,FAM076C21 | SLEEVE,SHAFT;ADDITIONAL FEATURES EN:0330-PPS-0025,0330-PPS-0026,MNFR:VULCO,PTNO:FAM076C21 | 01)0330-PPS-0025,0330-PPS-0026,01)0330-PPS-0025,0330-PPS-0026 | FAM076C21 | 3000036 | WEIR | VULCO | FAM076C21 |  | WEIR | 0330-PPS-0025 |  | 0330-PPS-0026 | https://www.tobee.store/products/slurry-pump-stainless-steel-shaft-sleeve-eam076c21.html | https://www.pinterest.com/pin/slurry-pump--870883646667018586/ | [9 empty] | Cleansed | 31163200 Retaining hardware | SLEEVE | SHAFT | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1268998 | 1268998 | SLEEVE;ASWP,C134800000,RDTR,D.45 L420 | SLEEVE;MNFR:AUSWEEP,PTNO:C134800000,ADDITIONAL FEATURES EN:RADIATOR,D.45 L420 | 01)SWEEPERS N SCRUBBERS,01)C134800000,SLEEVE,01)RADIATOR,D.45 L420 | C134800000 | 3000416 | AUSWEEP | AUSWEEP | C134800000 | [5 empty] | Url Not Found | [5 empty] | SWEEPERS N SCRUBBERS |  |  |  |  | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | RADIATOR | SIZE | 45 DIAX420 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1268999 | 1268999 | SLEEVE;ASWP,C135100000,RDTR,D.50 L550 | SLEEVE;MNFR:AUSWEEP,PTNO:C135100000,ADDITIONAL FEATURES EN:RADIATOR,D.50 L550 | 01)SWEEPERS N SCRUBBERS,01)C135100000,SLEEVE,01)RADIATOR,D.50 L550 | C135100000 | 3000416 | AUSWEEP | AUSWEEP | C135100000 | [5 empty] | https://shop.tecno-ricambi.it/it/dulevo-5000/5366-200170423--manicotgomma-radiatdulevo-5000.html | [5 empty] | SWEEPERS N SCRUBBERS |  |  |  |  | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | RADIATOR | SIZE | 50 DIAX550 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1258277 | 1258277 | SLEEVE;CUM,3801748 | SLEEVE;MNFR:CUMMINS,PTNO:3801748 | SLEEVE | 3801748 | 3000018 | CUMMINS | CUMMINS | 3801748 | [5 empty] | https://engine.en.made-in-china.com/product/LBTQZwzMMFWb/China-Nta855-N14-Vta28-Cylinder-Sleeve-3801826-3050922-3801748-3801701-3055099.html | [10 empty] | Enriched | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,TS16949,ISO 9001,CE | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1252848 | 1252848 | SLEEVE;DIEC,4M.007009 | SLEEVE;MNFR:DIECI,PTNO:4M.007009,ADDITIONAL FEATURES EN:SIZE:LG 180 MM,WATER | SLEEVE,01)SIZE:LG 180 MM,WATER | 4M.007009 | 3000511 | DIECI | DIECI | 4M.007009 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | WATER | SIZE | 180 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1272805 | 1272805 | SLEEVE;PRKH,EMI-PM-S-71MM-ID,50MTRS ROLL | SLEEVE;MNFR:PARKER HANNIFIN,PTNO:EMI-PM-S-71MM-ID,ADDITIONAL FEATURES EN:50MTRS ROLL,ENZED PROTECTIVE BLACK,P/M | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-PM-S-71MM-ID,SLEEVE,01)50MTRS ROLL,02)ENZED PROTECTIVE BLACK,P/M | EMI-PM-S-71MM-ID | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-PM-S-71MM |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | PROTECTIVE | SIZE | 71 IDMM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ROLLER SIZE:50 M,COLOUR:BLACK,P/M | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1272806 | 1272806 | SLEEVE;PRKH,EMI-PM-S-93MM-ID,50MTRS ROLL | SLEEVE;MNFR:PARKER HANNIFIN,PTNO:EMI-PM-S-93MM-ID,ADDITIONAL FEATURES EN:50MTRS ROLL,ENZED PROTECTIVE BLACK,P/M | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-PM-S-93MM-ID,SLEEVE,01)50MTRS ROLL,02)ENZED PROTECTIVE BLACK,P/M | EMI-PM-S-93MM-ID | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-PM-S-93MM |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | PROTECTIVE | SIZE | 93 IDMM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ROLLER SIZE:50 M,COLOUR:BLACK,P/M | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1254353 | 1254353 | SLEEVE;PRKH,P-DMSS-11-PK,11.3M,HSE | SLEEVE;MNFR:PARKER HANNIFIN,PTNO:P-DMSS-11-PK,ADDITIONAL FEATURES EN:11.3M,HOSE | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DMSS-11-PK,SLEEVE,01)11.3M,HOSE | P-DMSS-11-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DMSS-11-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) | ENZ-DMSS-11-PK |  |  | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | HOSE | SIZE | 11.3 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1258241 | 1258241 | SLEEVE;SIE,06.006/ITEM 15 | SLEEVE;MNFR:SIEMENS,PTNO:06.006/ITEM 15 | SLEEVE | 06.006/ITEM 15 | 3000032 | SIEMENS | SIEMENS | 06.006 | [5 empty] | Url Not Found |  | 15 | [8 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1270931 | 1270931 | SLEEVE;SIE,13856515,FLNG,DRAWING NO: 178 | SLEEVE;MNFR:SIEMENS,PTNO:13856515,ADDITIONAL FEATURES EN:FLANGE,DRAWING NO: 17852115, POSITION NO: 3 (INLET GUIDE VANE UNIT | 01)SIEMENS ENERGY PTY LTD,01)13856515,SLEEVE,01)FLANGE,DRAWING NO: 17852115 | 13856515 | 3000032 | SIEMENS | SIEMENS ENERGY PTY LTD | 13856515 | [5 empty] | Url Not Found |  |  | 17852115 |  | 3 | [5 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | FLANGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/INLET GUIDE VANE UNIT | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1211120 | 1211120 | SLEEVE;SIE,17855315,COLAR,595, DRAWING N | SLEEVE;MNFR:SIEMENS,PTNO:17855315,ADDITIONAL FEATURES EN:COLLAR,595, DRAWING NO: 17856915, POSITION NO: 3 (INLET GUIDE VANE | 01)SIEMENS ENERGY PTY LTD,01)17855315,SLEEVE,01)COLLAR,595, DRAWING NO: 178 | 17855315 | 3000032 | SIEMENS | SIEMENS ENERGY PTY LTD | 17855315 |  |  | 595 |  |  | Url Not Found |  |  | 17856915 |  | 3 | [5 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE | COLLAR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/INLET GUIDE VANE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1334711 | 1334711 | SLEEVE;SIE,2BY1500-1BA76 | SLEEVE;MNFR:SIEMENS,PTNO:2BY1500-1BA76 | SLEEVE | 2BY1500-1BA76 | 3000032 | SIEMENS | SIEMENS | 2BY1500-1BA76 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1274144 | 1274144 | SLEEVE;WEI,942.410.668 | MANGUITO;MNFR:WEIR,PTNO:942.410.668, | SLEEVE | 942.410.668 | 3000036 | WEIR | WEIR | 942.410.668 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1264666 | 1264666 | SPACER;ABB,DA2B | SPACER;MNFR:ABB,PTNO:DA2B | SPACER | DA2B | 3000014 | ABB | ABB | DA 2B | [5 empty] | https://new.abb.com/products/2TLA020053R0300/da-2b-distance-ring | [10 empty] | Enriched | 31162800 Miscellaneous hardware | RING | NO MODIFIER | TYPE |  | DIMENSIONS | 3 LGX3 WDX70 HT MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1219461 | 1219461 | SPACER;CASJ,85801324 | SPACER;MNFR:CASE J I CO,PTNO:85801324 | 01)MAK DIESEL & EARTHMOVING,01)85801324,SPACER | 85801324 | 3000248 | CASE J I CO | CASE J I CO | 85801324 |  | MAK DIESEL & EARTHMOVING |  |  |  | https://spare.avspart.com/spare/new.holland/85801324/ | [10 empty] | Enriched | 31162800 Miscellaneous hardware | SPACER | NO MODIFIER | TYPE |  | SIZE | 21 IDX30 ODX50 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1264974 | 1264974 | SPACER;CUM,3046286 | SPACER;MNFR:CUMMINS,PTNO:3046286 | SPACER | 3046286 | 3000018 | CUMMINS | CUMMINS | 3046286 | [5 empty] | https://s1partscenter.com/brands/cummins/spacer/mounting-spacer/3046286 | [10 empty] | Enriched | 31162800 Miscellaneous hardware | SPACER | NO MODIFIER | TYPE | MOUNTING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1253065 | 1253065 | SPACER;DIEC,3E1606269 | SPACER;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:DOOR LATCH SPACER,TELEHANDLER,PTNO 01:3E1606269 | SPACER,01)DOOR LATCH SPACER,TELEHANDLER | 3E1606269 | 3000511 | DIECI | DIECI | 3E1606269 | [5 empty] | https://www.lbr.ru/zapchasti/plastina-regulirovocnaa-3e-1606269 | [5 empty] | TELEHANDLER |  | ZEUS 33.1/SAMSON 70.10 |  |  | Enriched | 30102200 Plate | PLATE | NO MODIFIER | TYPE | DOOR LATCH SPACER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1333376 | 1333376 | SPACER;DIEC,7S.302783AA | SPACER;MNFR:DIECI,PTNO:7S.302783AA,ADDITIONAL FEATURES EN:MATERIAL:RUBBER | SPACER,01)MATERIAL:RUBBER | 7S.302783AA | 3000511 | DIECI | DIECI | 7S.302783AA | [5 empty] | https://goldytech.com.ua/ua/p1067844632-7s302783aa-shajba-diyechi.html | [10 empty] | Enriched | 31161800 Washers | WASHER | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | SIZE |  | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1335850 | 1335850 | SPACER;SCHN,SL422-483 | SPACER;MNFR:SCHNEIDER INC,PTNO:SL422-483 |  | SL422-483 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SL422-483 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SPACER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1268686 | 1268686 | SPACER;SKF,FRB12.5/140,RNG | SPACER;MNFR:SKF,PTNO:FRB12.5/140,ADDITIONAL FEATURES EN:RING | 01)APPLIED INDUSTRIAL TECHNO M,01)FRB12.5/140,SPACER,01)RING | FRB12.5/140 | 3000348 | SKF | SKF | FRB 12.5/140 |  | APPLIED INDUSTRIAL TECHNO M |  |  |  | https://www.skf.com/in/products/mounted-bearings/bearing-housings/housing_accessories/productid-FRB%2012.5%2F140 | https://www.acorn-ind.co.uk/p/skf/locating-rings/frb12.5/140-skf/ | [9 empty] | Enriched | 31162800 Miscellaneous hardware | RING | NO MODIFIER | TYPE | LOCATING | DIMENSIONS | 129 IDX140 ODX12.5 WD MM | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1248333 | 1248333 | STARTER,AUTO;CUM,438000-0060 | STARTER,AUTOMOTIVE;MNFR:CUMMINS,PTNO:438000-0060 | STARTER,AUTOMOTIVE | 438000-0060 | 3000018 | CUMMINS | CUMMINS | 438000-0060 | [5 empty] | https://smithcoelectric.com/products/438000-0060-new-oe-denso-plgr-starter-for-cummins-24v-10t-cw | https://www.ascautoelectric.com/Category/438000-0060/NEW-DENSO-STARTER-24V-4-8KW-FOR-CUMMINS-KALMAR/Alternative#2 | [9 empty] | Enriched | 26101700 Engine components and accessories | STARTER | AUTOMOTIVE | TYPE |  | POWER RATING | 4.8 KW | VOLTAGE RATING | 24 V | CURRENT RATING |  | TORQUE |  | TERMINAL TYPE |  | DISPLACEMENT |  | TEMPERATURE RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1248332 | 1248332 | STARTER,AUTO;CUM,DXS4008 | STARTER,AUTOMOTIVE;MNFR:CUMMINS,PTNO:DXS4008 | STARTER,AUTOMOTIVE | DXS4008 | 3000018 | CUMMINS | CUMMINS | DXS4008 | [5 empty] | https://www.sparespro.com.au/oex-starter-motor-suit-cummins-24v-10th-cw | https://www.sparesbox.com.au/part/oex-starter-motor-24v-10th-cw-denso-style-dxs4008 | [9 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE |  | VOLTAGE RATING | 24 V | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AUTOMOTIVE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1252903 | 1252903 | STARTER,AUTO;DIEC,1F.504031929 | STARTER,AUTOMOTIVE;MNFR:DIECI,PTNO:1F.504031929,ADDITIONAL FEATURES EN:MOTOR | STARTER,AUTOMOTIVE,01)MOTOR | 1F.504031929 | 3000511 | DIECI | DIECI | 1F.504031929 | [5 empty] | https://www.lbr.ru/zapchasti/starter-1f-504031929 | https://partnersfarming.com/catalogue/teleskopichni_navantazhuvachi/dieci/elektrika4/dieci-2181.html | [9 empty] | Cleansed | 26101700 Engine components and accessories | STARTER | AUTOMOTIVE | TYPE | MOTOR | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | TORQUE |  | TERMINAL TYPE |  | DISPLACEMENT |  | TEMPERATURE RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1252816 | 1252816 | STARTER,AUTO;DIEC,1F.5801577137 | STARTER,AUTOMOTIVE;MNFR:DIECI,PTNO:1F.5801577137,ADDITIONAL FEATURES EN:MOTOR | STARTER,AUTOMOTIVE,01)MOTOR | 1F.5801577137 | 3000511 | DIECI | DIECI | 1F.5801577137 | [5 empty] | https://sfagriparts.com/products/nh84151331-starter-motor?variant=34854457901100 | https://alternativaagricola.es/bpc/8270-motor-de-arranque-con-reductor-12v-42-kw.html | [9 empty] | Cleansed | 39121521 Motor starter controls | STARTER | MOTOR | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AUTOMOTIVE | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1217512 | 1217512 | STARTER,AUTO;DIEC,1F504031929 | STARTER,AUTOMOTIVE;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:12 VDC | STARTER,AUTOMOTIVE,01)12 VDC | 1F504031929 | 3000511 | DIECI | DIECI | 1F.504031929 | [5 empty] | https://www.lbr.ru/zapchasti/starter-1f-504031929 | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 26101700 Engine components and accessories | STARTER | AUTOMOTIVE | TYPE | MOTOR | POWER RATING |  | VOLTAGE RATING | 12 VDC | CURRENT RATING |  | TORQUE |  | TERMINAL TYPE |  | DISPLACEMENT |  | TEMPERATURE RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1274583 | 1274583 | STARTER;AB,ALB150-F361NBD,480V,361A,SIZE | STARTER;MNFR:ALLEN BRADLEY,PTNO:ALB150-F361NBD,ADDITIONAL FEATURES EN:480V,361A,SIZE:290X276.5X600 MM,OT:5 TO 50 DEG C, 3 POLE,WT: 45.8KG | 01)HAYMANS ELECTRICAL,01)ALB150-F361NBD,STARTER,01)480V,361A,02)SIZE:290X276.5X600 MM,03)OT:5 TO 50 DEG C, 3 POLE,04)WT:45.8KG | ALB150-F361NBD | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 150-F361NBD |  | HAYMANS ELECTRICAL |  |  |  | https://www.rockwellautomation.com/en-us/products/details.150-F361NBD.html | [10 empty] | Enriched | 39121500 Electrical controls and accessories | CONTROLLER | ELECTRICAL | TYPE | MOTOR | FUNCTION | SINGLE DIRECTION | INPUT RATING | 200-480 VAC,316 A,3 P | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -5 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,EAC | ADDITIONAL FEATURES | SIZE:290 WDX600 HTX276.5 DP MM,WEIGHT:45.8 KG | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1258189 | 1258189 | STARTER;ABB,1SAM350000R1008 | STARTER;MNFR:ABB,PTNO:1SAM350000R1008 | STARTER | 1SAM350000R1008 | 3000014 | ABB | ABB | 1SAM350000R1008 | [5 empty] | https://new.abb.com/products/1SAM350000R1008/ms132-4-0 | [10 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | MANUAL | VOLTAGE RATING | 690/250 VAC/DC | CURRENT RATING | 4 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE | IP10,IP20 | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | IEC/EN 60947-1,IEC/EN 60947-2,IEC/EN 60947-4-1,UL 60947-1,UL 60947-4-1 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1273085 | 1273085 | STARTER;ABB,1SFA898117R7000,SOFT, 590A | STARTER;MNFR:ABB,PTNO:1SFA898117R7000,ADDITIONAL FEATURES EN:SOFT, 590A, REF:PSTX570-600-70 |  | 1SFA898117R7000 | 3000014 | ABB | ABB | 1SFA898117R7000 | [5 empty] | https://new.abb.com/products/1SFA898117R7000/pstx570-600-70 | [10 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | SOFT | VOLTAGE RATING | 208 TO 600 VAC | CURRENT RATING | 570 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE | IP00 | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF:PSTX570-600-70 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1274839 | 1274839 | STARTER;ABB,DRAF16-14P,MOT | STARTER;MNFR:ABB,PTNO:DRAF16-14P,ADDITIONAL FEATURES EN:MOTOR | 01)MM ELECTRICAL MERCHANDISI,01)ABBDRAF16-14P,STARTER,01)MOTOR | DRAF16-14P | 3000014 | ABB | ABB | DRAF16-14P |  | MM ELECTRICAL MERCHANDISING |  |  |  | https://new.abb.com/products/1SBK174037R1400/draf16-14p-250-500v50-60hz | [10 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | Contactor | VOLTAGE RATING | 690 VAC | CURRENT RATING | 30 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT | 1NO | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1215348 | 1215348 | STARTER;ABB,MS11616 | STARTER;MNFR:ABB,PTNO:MS11616 | STARTER | MS11616 | 3000014 | ABB | ABB | MS116-16 | [5 empty] | https://new.abb.com/products/1SAM250000R1011/ms116-16 | [10 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | MANUAL | VOLTAGE RATING | 690 VAC | CURRENT RATING | 16 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | IEC/EN 60947-1,IEC/EN 60947-2,IEC/EN 60947-4-1,UL 60947-1,UL 60947-4-1 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1275144 | 1275144 | STARTER;ABB,PSTX210-600-70 | STARTER;MNFR:ABB,PTNO:PSTX210-600-70 |  | PSTX210-600-70 | 3000014 | ABB | ABB | PSTX210-600-70 | [5 empty] | https://new.abb.com/products/1SFA898112R7000/pstx210-600-70 | [10 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | SOFT | VOLTAGE RATING | 208 TO 600 VAC | CURRENT RATING | 210 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE | IP00 | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1274859 | 1274859 | STARTER;ABB,PSTX840-600-70 | STARTER;MNFR:ABB,PTNO:PSTX840-600-70 |  | PSTX840-600-70 | 3000014 | ABB | ABB | PSTX840-600-70 | [5 empty] | https://new.abb.com/products/1SFA898119R7000/pstx840-600-70 | [10 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | SOFT | VOLTAGE RATING | 208 TO 600 VAC | CURRENT RATING | 840 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE | IP00 | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1335646 | 1335646 | STARTER;CUM,3957593 | STARTER;MNFR:CUMMINS,PTNO:3957593 | STARTER | 3957593 | 3000018 | CUMMINS | CUMMINS | 3957593 | [5 empty] | https://www.jyhydiesel.com/portfolio-items/motor-starter-3957593/ | https://www.dfjauto.com/oe-number/cummins-3957593/ | [9 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE |  | VOLTAGE RATING | 24 V | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1217505 | 1217505 | STARTER;CUM,4996709 | STARTER;MNFR:CUMMINS,PTNO:4996709 | STARTER | 4996709 | 3000018 | CUMMINS | CUMMINS | 4996709 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sEY7QAM/cummins-starting-motor-4996709 | https://s1partscenter.com/brands/cummins/other/4996709 | [9 empty] | Cleansed | 39121521 Motor starter controls | STARTER | MOTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1272079 | 1272079 | STARTER;MACK,2132-1990483,MOT | STARTER;MNFR:MACK TRUCKS,PTNO:2132-1990483,ADDITIONAL FEATURES EN:MOTOR | 01)WESTERN TRUCK GROUP PTY L,01)2132-1990483,STARTER,01)MOTOR | 2132-1990483 | 3000659 | MACK TRUCKS | MACK TRUCKS | 2132-1990483 | [5 empty] | https://www.finditparts.com/products/2606497/mack-2132-1990483 | https://mpparts.com/part/mack-2132-1990483-starter-21321990483 | [9 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE |  | VOLTAGE RATING | 12 V | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1273087 | 1273087 | STARTER;NHP,PCS030600V024,SOFT,600V,30A | STARTER;MNFR:NHP,PTNO:PCS030600V024,ADDITIONAL FEATURES EN:SOFT,600V,30A,24V,AC/DC CONTROL |  | PCS030600V024 | 3000664 | NHP | NHP | PCS-030-600V-024 | [5 empty] | https://www.northeastparts.com/products/sprecher-schuh-pcs-030-600v-024 | [10 empty] | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | SOFT | VOLTAGE RATING | 600 VAC | CURRENT RATING | 30 A | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 |  | 1272611 | 1272611 | STARTER;SCHN,ATS01N206QN,SOFT,380-415 V | STARTER;MNFR:SCHNEIDER INC,PTNO:ATS01N206QN,ADDITIONAL FEATURES EN:SOFT,380-415 V,6 A,3 PHASE,POWER RATING:1.5 - 3 KW, F/ASYNCHRONOUS MOTOR,SOFT,NORTH PASTE SILO BLOWER | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHATS01N206QN,STARTER,01)SOFT,380-415 V,6 A,3 PHASE,02)POWER RATING:1.5 - 3 KW,03)F/ASYNCHRONOUS MOTOR,04)SOFT,NORTH PASTE SILO BLOWE | ATS01N206QN | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ATS01N206QN |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.se.com/in/en/product/ATS01N206QN/soft-starter-for-asynchronous-motor-altistart-01-ats01-6a-380-415v-1-5-3kw/ | [5 empty] | NORTH PASTE SILO BLOWER,ASYNCHRONOUS MOTOR |  |  |  |  | Enriched | 39121521 Motor starter controls | STARTER | MOTOR | TYPE | SOFT | VOLTAGE RATING | 380 TO 415 VAC | CURRENT RATING | 6 A | NUMBER OF PHASE | 3 | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE | IP20 | MOUNTING TYPE | DIN RAIL | CERTIFICATION/STANDARD | UL,CSA,GOST,C-TICK,CCC | ADDITIONAL FEATURES | POWER RATING:1.5-3 KW | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV | OK | 24-06-2023 | 04-07-2023 | URL FOR REFERENCE, SERIES MATCH | 1321753 | 1321753 | STARTER;SIE,3TW42 10-1QU00 | STARTER;MNFR:SIEMENS,PTNO:3TW42 10-1QU00 | STARTER | 3TW42 10-1QU00 | 3000032 | SIEMENS | SIEMENS | 3TW42 10-1QU00 | [5 empty] | http://www.kgrp.in/pdfs/simens/3TW42-DOL-Starter.pdf | [10 empty] | Cleansed | 26101700 Engine components and accessories | STARTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed