## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1324007 | 1324007 | ANNUNCIATOR;SIE,DC-43 | ANNUNCIATOR;MNFR:SIEMENS,PTNO:DC-43 | ANNUNCIATOR | DC-43 | 3000032 | SIEMENS | SIEMENS | DC-43 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39120000 Electrical equipment and components and supplies | ANNUNCIATOR | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | WINDOW DETAILS |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 | Partial Match | 1335371 | 1335371 | BEARING UNIT;FIXED,ID 60 MM,POP RELEASE | BEARING UNIT;TYPE:FIXED,INSIDE DIAMETER:60 MM,BEARING TYPE:POP RELEASE,MNFR:DODGE,PTNO:071006,MNFR:01)SKF,PTNO:01)SYT60F | FIXED,60 MM,POP RELEASE,01)SKF,01)SYT60F,BEARING | 71006 | 3000019 | DODGE | SKF | SYT60F |  | DODGE | 71006 |  |  | https://www.purvisindustries.com/ASSETS/DOCUMENTS/ITEMS/EN/SKF_SYR1_11_16H_Brochure.pdf | [10 empty] | Enriched | 31171511 Pillow block bearings | BEARING | PILLOW BLOCK | TYPE | FIXED | INSIDE DIAMETER | 60 MM | CENTER HEIGHT | 80 MM | NUMBER OF BOLTS | 2 | MOUNTING HOLE/SLOT SIZE | 16 DIAX30 HT MM | BLOCK SIZE | 275 LGX80 WDX150 HT MM | BEARING TYPE | POP RELEASE | MATERIAL |  | SHAFT ATTACHMENT |  | DYNAMIC LOAD RATING | 156 KN | STATIC LOAD RATING | 166 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1335370 | 1335370 | BEARING UNIT;FLOATING,ID 60 MM,6,SKF | BEARING UNIT;TYPE:FLOATING,INSIDE DIAMETER:60 MM,BEARING TYPE:POP RELEASE,ADDITIONAL FEATURES EN:6,MNFR:DODGE,PTNO:071023,MNFR:01) SKF,PTNO:01)SYT60L | FLOATING,60 MM,POP RELEASE,01)6,01)SKF,01)SYT60L,BEARING | 71023 | 3000019 | DODGE | SKF | SYT60L |  | DODGE | 71023 |  |  | https://www.purvisindustries.com/ASSETS/DOCUMENTS/ITEMS/EN/SKF_SYR1_11_16H_Brochure.pdf | [10 empty] | Enriched | 31171511 Pillow block bearings | BEARING | PILLOW BLOCK | TYPE | FLOATING | INSIDE DIAMETER | 60 MM | CENTER HEIGHT | 80 MM | NUMBER OF BOLTS | 2 | MOUNTING HOLE/SLOT SIZE | 16 DIAX30 HT MM | BLOCK SIZE | 275 LGX80 WDX150 HT MM | BEARING TYPE | POP RELEASE | MATERIAL |  | SHAFT ATTACHMENT |  | DYNAMIC LOAD RATING | 156 KN | STATIC LOAD RATING | 166 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1269360 | 1269360 | BEARING,ASSY;FAGB,FSSND516TACNâˆ’A,SNUBBER | BEARING,ASSEMBLY;MNFR:FAG BEARINGS,PTNO:FSSND516TACNâˆ’A,ADDITIONAL FEATURES EN:SNUBBER 5:2 | 01)STATEWIDE BEARINGS,01)FSSND516TACN−A,BEARING,ASSEMBLY,01)SNUBBER 5:2 | FSSND516TACNâˆ’A | 3000271 | FAG BEARINGS | FAG BEARINGS | FSSND516TACN |  | STATEWIDE BEARINGS |  |  |  | URL Not Found | [10 empty] | Cleansed | 31171500 Bearings | BEARING | ASSEMBLY | TYPE |  | STYLE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | HOUSING MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SNUBBER 5:2 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1270655 | 1270655 | BEARING,CAMFLR;SKF,KR35PP | BEARING,CAM FOLLOWER;MNFR:SKF,PTNO:KR35PP | 01)APPLIED INDUSTRIAL TECHNO,01)KR35PP,BEARING,CAM FOLLOWER | KR35PP | 3000348 | SKF | SKF | KR35PP |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/id/products/rolling-bearings/track-rollers/cam-followers/productid-KR%2035%20PP | [10 empty] | Enriched | 31171530 Cam follower bearing | BEARING | CAM FOLLOWER | TYPE |  | ROLLER DIAMETER | 35 MM | ROLLER WIDTH | 18 MM | THREAD LENGTH |  | INSIDE DIAMETER |  | BEARING TYPE | NEEDLE ROLLER | MATERIAL | BEARING STEEL | STUD DIAMETER | 16 MM | STUD LENGTH |  | STATIC LOAD RATING | 12.9 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DYNAMIC LOAD RATING:8.58 KN,LIMITING SPEED:3800 RPM,STYLE:DOUBLE SEALED | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1270825 | 1270825 | BEARING,CAMFLR;SKF,KR62PPX | BEARING,CAM FOLLOWER;MNFR:SKF,PTNO:KR62PPX | 01)APPLIED INDUSTRIAL TECHNO,01)KR62PPX,BEARING,CAM FOLLOWER | KR62PPX | 3000348 | SKF | SKF | KR62PPX |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/us/products/rolling-bearings/track-rollers/cam-followers/productid-KR%2062%20PPX | [10 empty] | Enriched | 31171530 Cam follower bearing | BEARING | CAM FOLLOWER | TYPE |  | ROLLER DIAMETER | 62 MM | ROLLER WIDTH | 29 MM | THREAD LENGTH |  | INSIDE DIAMETER |  | BEARING TYPE | NEEDLE ROLLER | MATERIAL | BEARING STEEL | STUD DIAMETER | 24 MM | STUD LENGTH |  | STATIC LOAD RATING | 44 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DYNAMIC LOAD RATING:24.2 KN,LIMITING SPEED:2200 RPM,STYLE:DOUBLE SEALED | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1273216 | 1273216 | BEARING,PLMRBLK;TORR,TSNG517 | BEARING,PLUMMER BLOCK;MNFR:TIMKEN BEARING,PTNO:TSNG517 | 01)TIMKEN BEARING,01)TSNG517,01)APPLIED INDUSTRIAL TECHNO,BEARING,PLUMMER BLOCK | TSNG517 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | TSNG517 | [5 empty] | https://cad.timken.com/item/mounted-snt-plummer-block-spherical-roller-bearing/snt-fsnt-taper-bore-plummer-block-mounted-bearings/snt-517-22217k-tsng517 | [10 empty] | Enriched | 31171544 Plummer block bearing | BEARING | PLUMMER BLOCK | TYPE | TAPERED BORE | INSIDE DIAMETER | 75 MM | CENTER HEIGHT | 95 MM | NUMBER OF BOLTS | 2 | MOUNTING HOLE/SLOT SIZE | 22 LGX28 WD MM | BLOCK SIZE | 320 LGX90 WDX183 HT MM | BEARING TYPE | ROLLER | MATERIAL | CAST IRON | SHAFT ATTACHMENT |  | DYNAMIC LOAD RATING | 297 KN | STATIC LOAD RATING | 320 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1325391 | 1325391 | COOLER;ABB,LOC3-011-4-D-A-0-00-000-0-00- | COOLER;MNFR:ABB,PTNO:LOC3-011-4-D-A-0-00-000-0-00-0 | COOLER | LOC3-011-4-D-A-0-00-000-0-00-0 | 3000014 | ABB | ABB | LOC3-011-4-D-A-0-00-000-0-00-0 | [5 empty] | https://www.hkhydraulic.com/loc3-011-4-d-a-0-00-000-0-0-0-0 | https://www.parker.com/content/dam/Parker-com/Literature/Accumulator---Cooler-Division---Europe/Cooler-Literature/LOC_Cooling-System--EMDC.-HY10-6003.UK.pdf | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | COOLER | AIR | TYPE |  | COOLING RANGE |  | CAPACITY |  | FLOW RATING | 20 LPM | END CONNECTION | G1 IN | COOLANT |  | COOLING AREA |  | MATERIAL | ALUMNUM,STEEL AND PLASTIC | SIZE | 626 LGX540 WDX470 HT MM | DRIVE TYPE |  | INPUT RATING | 480 VAC,60 HZ | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OPERATING PRESSURE:10 BAR,PUMP DISPLACEMENRT:15 CC/REV,THREAD SIZE:G1-1/2 IN | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1269086 | 1269086 | COOLER;DRAG,R34710,ICE,PSS BG4 PLUS | COOLER;MNFR:DRAEGER,PTNO:R34710,ADDITIONAL FEATURES EN:ICE,PSS BG4 PLUS | 01)ALLIANCE SAFETY EQUIPMENT,01)R34710,COOLER,01)ICE,PSS BG4 PLUS | R34710 | 3000423 | DRAEGER | DRAEGER | R34710 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.wssupplystore.com/products/drager-locking-cooler | https://www.isssafety.com/products/drager-spares-cooler-bg4 | [9 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | COOLER | NO MODIFIER | TYPE | ICE | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR PSS BG4 PLUS | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1325818 | 1325818 | COOLER;HYDRAULIC,FLUD,INDUSTRIAL:PR | COOLER;TYPE:HYDRAULIC,ADDITIONAL FEATURES EN:FLUID,INDUSTRIAL:PR,MNFR:ABB,PTNO:3695-050-A,MNFR:01)MIMPNO,PTNO:01)13CU | 01)MIMPNO,01)13CU,COOLER,HYDRAULIC,01)FLUID,INDUSTRIAL:PR | 3695-050-A | 3000014 | ABB | ABB | 3695-050-A |  |  | 13CU |  |  | URL Not Found | [10 empty] | Enriched | 40101700 Cooling equipment and parts and accessories | COOLER | NO MODIFIER | TYPE | FLUID,HYDRAULIC | CAPACITY |  | COOLING AREA |  | SIZE |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INDUSTRIAL:PR,MIMPNO | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1219762 | 1219762 | DRIVER;MILW,48324024,SHOCKWAVE IMPACT DR | DRIVER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48324024,ADDITIONAL FEATURES EN:SHOCKWAVE IMPACT DRIVER BIT SET 50 PIECE | 01)MOUNT ISA MINING SUPPLIES,01)48324024,DRIVER,01)SHOCKWAVE IMPACT DRIVER BIT | 48324024 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48324024 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/accessories/fastening/shockwave-sets/48324024.html | https://www.tradetools.com/milwaukee-50-piece-shockwave-impact-bit-set-48324024 | [9 empty] | Enriched | 27000000 Tools and General Machinery | SET | NO MODIFIER | TYPE | IMPACT DRIVER | CONTENTS | 1 X 1/4 IN RED MAGNETIC NUT DRIVE,1X 5/16 IN YELLOW MAGNETIC NUT DRIVE,1 X 3/8 IN SOCKET ADAPTOR,7 X 25MM PHILLIPS BITS-PH1,PH2 (3),PR2 & PH3 (2),4 X 50MM PHILLIPS BITS-PH2 (3) & PH3,5 X 25 MM SQUARE BITS-SQ1,SQ2 (3) & SQ3,4 X 50 MM SQUARE BIT-SQ2 (3) & SQ3,6 X 25 MM TORX BITS-T15,T20 (2),T25 (2) & T30,6 X 50 MM TORX BITS-T15,T20 (2),T25 (2) & T30,4 X 25 MM SLOTTED BITS-#4, #6 &#8,1 X 50 MM SLOTTED BITS-#8,3 X 25 MM HEX BIT-1/8, 5/32,3/16 & 1/4 IN,1 X PH2/SL#10 DOUBLE ENDED BIT,1 X PH2/T25 DOUBLE ENDED BIT | NUMBER OF ITEMS | 50 | MATERIAL | STEEL | SIZE RANGE |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1272164 | 1272164 | PLC;AB,2080LC2020QWB,MICRO820,24VAC/DC,D | PLC;MNFR:ALLEN BRADLEY,PTNO:2080LC2020QWB,ADDITIONAL FEATURES EN:MICRO820,24VAC/DC,DISPLAY:INTEGRATED LCD,IP20,12 DIGITAL INPUT | 01)NHP ELECTRICAL ENGINEERIN,01)2080LC2020QWB,PLC,01)MICRO820,24VAC/DC,02)DISPLAY:INTEGRATED LCD,IP20,03)12 DIGITAL INPUT | 2080LC2020QWB | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 2080LC2020QWB |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.rockwellautomation.com/en-tr/products/details.2080-LC20-20QWB.html | https://uk.rs-online.com/web/p/plcs-programmable-logic-controllers/8937761 | [9 empty] | Enriched | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE | ANALOGUE | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING | 24 VAC/DC | NUMBER OF INPUTS | 12 DIGITAL,4 ANALOGUE | NUMBER OF OUTPUTS | 7 DIGITAL,1 ANALOGUE | MEMORY |  | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529,CE,CULUS | ADDITIONAL FEATURES | SERIES:MICRO820,COMMUNICATION PORT TYPE:RJ45,RS232,RS485,DISPLAY:INTEGRATED LCD,ENCLOSURE RATING:IP20 | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 | Partial Match | 1272163 | 1272163 | PLC;AB,2080LC2020QWBR,A-B MICRO820,W/RTB | PLC;MNFR:ALLEN BRADLEY,PTNO:2080LC2020QWBR,ADDITIONAL FEATURES EN:A-B MICRO820,W/RTB,DISPLAY:INTEGRATED LCD,IP20,12 DIGITAL INPUT- 24V DC/AC | 01)NHP ELECTRICAL ENGINEERIN,01)2080LC2020QWBR,PLC,01)A-B MICRO820,W/RTB,02)DISPLAY:INTEGRATED LCD,IP20,03)12 DIGITAL INPUT-24V DC/AC | 2080LC2020QWBR | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 2080LC2020QWBR |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.rockwellautomation.com/en-tr/products/details.2080-LC20-20QWB.html | https://uk.rs-online.com/web/p/plcs-programmable-logic-controllers/8937761 | [9 empty] | Enriched | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE | ANALOGUE | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING | 24 VAC/DC | NUMBER OF INPUTS | 12 DIGITAL,4 ANALOGUE | NUMBER OF OUTPUTS | 7 DIGITAL,1 ANALOGUE | MEMORY |  | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529,CE,CULUS | ADDITIONAL FEATURES | SERIES:MICRO820,COMMUNICATION PORT TYPE:RJ45,RS232,RS485,DISPLAY:INTEGRATED LCD,ENCLOSURE RATING:IP20,C/W REMOVABLE TERMINAL BLOCK | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 | NM Changed | 1218335 | 1218335 | PLC;AB,2711PT12W22D9P,12 IN TOUCH SCREEN | PLC;MNFR:ALLEN BRADLEY,PTNO:2711PT12W22D9P,ADDITIONAL FEATURES EN:12 IN TOUCH SCREEN,COLOUR,ROCKWELL PANEL VIEW,24VDC | 01)CNW (MOUNT ISA) ELECT WHO,01)2711PT12W22D9P,PLC,01)12 IN TOUCH SCREEN,COLOUR,R | 2711PT12W22D9P | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 2711PT12W22D9P | ROCKWELL AUTOMATION | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rockwellautomation.com/en-pl/products/details.2711P-T12W22D9P.html | https://www.dosupply.com/automation/allen-bradley/panelview-plus-7/2711P-T12W22D9P ¦ https://commerce-production-mcrey-89b2dcb2.s3.us-east-1.amazonaws.com/userfiles/productdocuments/ALBR2711PT12W22D9P/SPEC_47784636_SpecificationSheet.pdf | [9 empty] | Enriched | 32151900 Automation control connectivity devices | DISPLAY | OPERATOR INTERFACE | TYPE | PANELVIEW PLUS 7 | DISPLAY TYPE | COLOR ACTIVE-MATRIX TFT | DISPLAY SIZE | 12-3/32 IN WIDE SCREEN | RESOLUTION | 1280 X 800 PIXEL | ELECTRICAL RATING | 24 VDC | INTERFACE TYPE | HUMAN-MODULE | MEMORY | 512 MB | MOUNTING TYPE | FLUSH | ENCLOSURE | IP66 | SIZE | 340 WDX246 HTX69.6 DP MM | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 | NM Changed | 1211915 | 1211915 | PLC;GARD,100013548 | PLC;MNFR:GARDNER DENVER,PTNO:100013548 |  | 100013548 | 3000280 | GARDNER DENVER | GARDNER DENVER | 100013548 | [5 empty] | https://www.aliexpress.us/item/3256801767800121.html?gatewayAdapt=gloMsite2usaPcglo2usa4itemAdapt | [10 empty] | Enriched | 26131802 Compressor control panels | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1272947 | 1272947 | PLC;NHP,1756L74,5574 PROCESSOR,16MB,CONT | PLC;MNFR:NHP,PTNO:1756L74,ADDITIONAL FEATURES EN:5574 PROCESSOR,16MB,CONTROLLOGIX | 01)NHP ELECTRICAL ENGINEERIN,01)1756L74,PLC,01)5574 PROCESSOR,16MB,02)CONTROLLOGIX | 1756L74 | 3000664 | NHP | NHP | 1756L74 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217584/NHP_AU_Catalog-373/NHP_AU_Catalog-673/NHP_AU_Catalog-675/1756L74 | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1756L74-13397-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | Enriched | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY | 16 MB | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,KC (KCC),C-TICK | ADDITIONAL FEATURES | PROCESSOR:5574,SERIES:CONTROLLOGIX,TEMPERATURE RATING:0 TO 60 DEG C | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 | MPN Updated | 1248571 | 1248571 | PLC;SIE,SIE6ED1055-1FB00-OBA2 | PLC;MNFR:SIEMENS,PTNO:SIE6ED1055-1FB00-OBA2 | PLC | SIE6ED1055-1FB00-OBA2 | 3000032 | SIEMENS | SIEMENS | 6ED1055-1FB00-0BA2 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=6ED1055-1FB00-0BA2 | https://www.tme.com/in/en/details/6ed1055-1fb00-0ba2/programmable-relays-accessories/siemens/ ¦ https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ED1055-1FB00-0BA2%26language%3Den | [9 empty] | Enriched | 32151900 Automation control connectivity devices | MODULE | INPUT/OUTPUT | TYPE | EXPANSION | VOLTAGE RATING |  | CURRENT RATING | 5 A | INTERFACE TYPE | ETHERNET | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE | 35 MM DIN RAIL | SIZE | 35.5 WDX90 HTX58 DP MM | ENCLOSURE TYPE | IP20 | TEMPERATURE RATING | 0 TO 55 DEG C | CERTIFICATION/STANDARD | CE,CSA,UL,FM,IEC | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1274679 | 1274679 | TRIP,SHNT;ABB,2CDS200909R0001,12TO60VAC/ | TRIP,SHUNT;MNFR:ABB,PTNO:2CDS200909R0001,ADDITIONAL FEATURES EN:12TO60VAC/DC,TYPE:S2C-A1 | 01)MARCON AGENCIES PTY LTD,01)2CDS200909R0001,TRIP,SHUNT,01)12TO60VAC/DC,02)TYPE:S2C-A1 | 2CDS200909R0001 | 3000014 | ABB | ABB | 2CDS200909R0001 |  | MARCON AGENCIES PTY LTD |  |  |  | https://new.abb.com/products/2CDS200909R0001/s2c-a1 | https://micronovaimpex.com/product/s2c-a1-shunt-trip/ | [9 empty] | Enriched | 39121600 Circuit protection devices and accessories | TRIP | SHUNT | TYPE | S2C-A1 | OPERATING VOLTAGE | 12 TO 60 VAC/DC | SIZE | 88 WDX69 HTX17.5 DP MM | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA 22.2 NO.235,UL 1077 | ADDITIONAL FEATURES | TRIP SETTING:C-CURVE,MODEL NO:S2C-A1 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1272903 | 1272903 | TRIP,SHNT;EATO,SNT1RP03K,24V DC,COIL | TRIP,SHUNT;MNFR:EATON CORPORATION,PTNO:SNT1RP03K,ADDITIONAL FEATURES EN:24V DC,COIL | 01)CRISTAUDO'S INDUSTRIAL EL,01)SNT1RP03K,TRIP,SHUNT,01)24V DC,COIL | SNT1RP03K | 3000267 | EATON CORPORATION | EATON CORPORATION | SNT1RP03K |  | CRISTAUDO'S INDUSTRIAL EL |  |  |  | https://www.mescoelectricalsupply.com/Eaton-Cutler-Hammer-SNT1RP03K-Eaton-Cutler-Hammer-SNT1RP03K-Shunt-Trip-12-24-Volt-AC-DC-For-Series-C-HMCP-Molded-Case-Circuit-Breaker/p3039294 | https://www.canadabreakers.ca/products/snt1rp03k | [9 empty] | Enriched | 39121600 Circuit protection devices and accessories | TRIP | SHUNT | TYPE |  | OPERATING VOLTAGE | 12 TO 24 VAC/DC | SIZE | 3-13/64 WDX2-23/32 HTX5-1/2 DP IN | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA | ADDITIONAL FEATURES | COIL | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | NGB | ok | 2023-06-24 | 2023-07-04 |  | 1267259 | 1267259 | TRIP,SHNT;NHP,KT7AA24VDC | TRIP,SHUNT;MNFR:NHP,PTNO:KT7AA24VDC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPKT7AA24VDC,TRIP,SHUNT | KT7AA24VDC | 3000664 | NHP | NHP | KT7AA24VDC |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://nhp.com.au/product/kt7aa24vdc | [10 empty] | Enriched | 39121600 Circuit protection devices and accessories | TRIP | SHUNT | TYPE |  | OPERATING VOLTAGE | 24 VDC | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNTING TYPE:SIDE/LEFT | [57 empty] | Production Completed