## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1269749 | 1269749 | BAND,SWT;3M,04364587,SPEEDGLAS | BAND,SWEAT;MNFR:3M,PTNO:04364587,ADDITIONAL FEATURES EN:SPEEDGLAS | 01)J BLACKWOOD & SONS,01)04364587,BAND,SWEAT,01)SPEEDGLAS | 4364587 | 3000220 | 3M | 3M | 04364587 |  | J BLACKWOOD & SONS | 04364587 |  |  | https://www.blackwoods.com.au/respiratory-protection/respirators-powered-supplied-air/respirators-powered-air-and-airline/sweat-band-lightning-l905-l115-pkt-10/p/04364587 | [10 empty] | ENRICHED | 53102506 Sweat bands | BAND | SWEAT | TYPE |  | SIZE |  | MATERIAL |  | COLOUR | ORANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRADE NAME:SPEEDGLAS | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1325851 | 1325851 | CELL;ABB,5693.6229-DE | CELL;MNFR:ABB,PTNO:5693.6229-DE | CELL | 5693.6229-DE | 3000014 | ABB | ABB | 5693.6229-DE | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/24832/938437.html | [10 empty] | ENRICHED | 41112108 Loadcells | LOAD CELL | NO MODIFIER | TYPE |  | CAPACITY | 25 TON | OUTPUT RATING |  | ACCURACY |  | POWER SUPPLY |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1218844 | 1218844 | CELL;EPM,24091-00:S | CELL;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:24091-00:S |  | 24091-00:S | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 24091-00 | [5 empty] | https://www.emerson.com/en-us/catalog/rosemount-sku-24091-00 | [10 empty] | ENRICHED | 41115600 Electrochemical measuring instruments and accessories | CELL | NO MODIFIER | TYPE | LOW FLOW | CONSTANT |  | SIZE | 1/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1335627 | 1335627 | CELL;SIE,LDZ10500494.260 | CELL;MNFR:SIEMENS,PTNO:LDZ10500494.260 | CELL | LDZ10500494.260 | 3000032 | SIEMENS | SIEMENS | LDZ10500494.260 | [5 empty] | https://www.robiconperfectharmony.com/A5E03753289-A1A10000494-260-LDZ10500494-260-Siemens-Robicon-Power-CELL-260A-750V-PG6427528 | [10 empty] | ENRICHED | 41115600 Electrochemical measuring instruments and accessories | CELL | NO MODIFIER | TYPE | POWER | CONSTANT |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ELECTRICAL RATING:750 V,260 A | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1323340 | 1323340 | CELL;SIE,LDZ11500614.00 | CELL;MNFR:SIEMENS,PTNO:LDZ11500614.00 | CELL | LDZ11500614.00 | 3000032 | SIEMENS | SIEMENS | LDZ11500614.00 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41115600 Electrochemical measuring instruments and accessories | CELL | NO MODIFIER | TYPE |  | CONSTANT |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1273874 | 1273874 | DISINFECTANT;3M,AT010648684,TRIGENE SOLU | DISINFECTANT;MNFR:3M,PTNO:AT010648684,ADDITIONAL FEATURES EN:TRIGENE SOLUTION CONCENTRATE - CLEAR - 5L | 01)FIRST BREATH INDUSTRIES M,01)AT0 10648684,DISINFECTANT,01)TRIGENE SOLUTION CONCENTRAT | AT010648684 | 3000220 | 3M | 3M | AT010648684 |  | FIRST BREATH INDUSTRIES M | AT010648684 |  |  | https://www.blackwoods.com.au/hygiene-cleaning/cleaning-chemicals/glass-cleaner-3m/3m-2008248ea-at010648684-trigene-solution-concentrate-clear-5l/p/00806620 | [10 empty] | ENRICHED | 47131800 Cleaning and disinfecting solutions | DISINFECTANT | NO MODIFIER | TYPE | SOLUTION CONCENTRATE | CONTAINER | 5 L | FORM | LIQUID | FRAGRANCE |  | COLOUR | CLEAR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:TRIGENE | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1270899 | 1270899 | HOOK;3M,70007781860,RESQ,SCAFF | HOOK;MNFR:3M,PTNO:70007781860,SIZE:RESCUE,MATERIAL:SCAFF | EN_01)RESCUE,EN_01)SCAFF,01)3M,01)70007781860,01)ALLIANCE SAFETY EQUIPMENT,01)70007781860 | 70007781860 | 3000220 | 3M | 3M | 70007781860 |  | ALLIANCE SAFETY EQUIPMENT | 70007781860 |  |  | https://nzsafetyblackwoods.co.nz/en/3m-protecta-scaffold-rescue-hook-aj527-60mm-opening-each-422300 | [10 empty] | ENRICHED | 31162600 Hooks | HOOK | NO MODIFIER | TYPE | SCAFFOLD RESCUE | LOAD RATING |  | SIZE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1244725 | 1244725 | Modul Extend.Termin Unit 3BSE013235R0001 | Module Extended Termination Unit MTU TU831V1 2*8 3BSE013235R0001 |  | 3BSE013235R0001 | 3000014 | ABB | ABB | 3BSE013235R0001 | [5 empty] | https://new.abb.com/products/3BSE013235R0001/3bse013235r0001 | https://euroinverters-com-ua.translate.goog/3bse013235r0001-tu831v1-modul-klemniy.html?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [9 empty] | CLEANSED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | EXTENDED TERMINATION UNIT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODEL:TU831V1 2X8 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1219980 | 1219980 | MODULE,COMM;EPM,TREXLHPKLWS3-TU,TREX DEV | MODULE,COMMUNICATION;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:TREXLHPKLWS3-TU,ADDITIONAL FEATURES EN:TREX DEVICE COMMUNICATOR, DEVICE COMMUNICATOR PLUS COMMUNICATION MO,HART, (LI-ION), IS, WIRELESS,STANDARD SUPPORT (3 YEARS),TREX:BASE TREX PLATFORM,L COMMUNICATION MODULE:: (L)DEVICE COMMUNICATOR PLUS COMMUNICATION,H APPLICATIONS:: (H) HART APPLICATION,P POWER MODULE TYPE:: (P) RECHARGEABLE LI- ION POWER MODULE,KL PRODUCT CERTIFICATIONS:: (KL) ATEX,CSA (US/CANADA) AND IECEX INTRINSICALLY SAFE (INCLUDES FISCO AS APP,W RADIO OPTIONS:: (W) WIRELESS,S3 SUPPORT:: (S3) STANDARD SUPPORT (3 YEARS) | 01)PMD PROCESS CONTROLS,01)TREXLHPKLWS3-TU,MODULE,COMMUNICATION,01)TREX DEVICE COMMUNICATOR, D,02)HART, (LI-ION), IS, WIRELES,03)TREX:BASE TREX PLATFORM,04)L COMMUNICATION MODULE:: (L,05)H APPLICATIONS:: (H) HART A,06)P POWER MODULE TYPE:: (P) R,07)KL PRODUCT CERTIFICATIONS::,08)CSA (US/CANADA) AND IECEX I,09)W RADIO OPTIONS:: (W) WIREL,10)S3 SUPPORT:: (S3) STANDARD | TREXLHPKLWS3-TU | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | TREXLHPKLWS3-TU | [5 empty] | https://www.emerson.com/documents/automation/product-data-sheet-ams-trex-device-communicator-ams-en-us-171662.pdf | https://www.transcat.com/emerson-trexlhpklws3-device-communicator-plus | [9 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | DEVICE COMMUNICATOR PLUS | INPUT RATING | 100 TO 240 VAC,50/60 HZ | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL | HART | MOUNTING TYPE |  | TEMPERATURE RATING | -20 TO 55 DEG C | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,IECEX | ADDITIONAL FEATURES EN | BATTERY TYPE:RECHARGEABLE LI- ION,IS,BASE TREX PLATFORM,INTRINSICALLY SAFE (INCLUDES FISCO AS APP,W RADIO OPTIONS WIRELESS,S3 STANDARD SUPPORT (3 YEARS) | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1273421 | 1273421 | MODULE,ELECTR;NHP,CEP71ERR,REMT,RESET | MODULE,ELECTRONIC;MNFR:NHP,PTNO:CEP71ERR,ADDITIONAL FEATURES EN:REMOTE,RESET, FOR CEP7-1 ADVANCED |  | CEP71ERR | 3000664 | NHP | NHP | CEP7-1ERR | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CEP71ERR-228490-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | CLEANSED |  | MODULE | ELECTRONIC | TYPE | REMOTE RESET | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CEP7-1 ADVANCED | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1266678 | 1266678 | MODULE,ELECTR;PHNX,PHO2901533,RADIOLINE | MODULE,ELECTRONIC;MNFR:PHOENIX CONTACT,PTNO:PHO2901533,ADDITIONAL FEATURES EN:RADIOLINE I/O EXT RAD-DAIO6-IFS | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO2901533,MODULE,ELECTRONIC,01)RADIOLINE I/O EXT RAD-DAIO6 | PHO2901533 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 2901533 |  | CNW ELECTRICAL | 2901533 |  | RAD-DAIO6-IFS | https://www.phoenixcontact.com/en-in/products/extension-module-rad-daio6-ifs-2901533 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 2 DIGITAL INPUT OUTPUT EXTENSION | INPUT RATING | 12 VDC,0 TO 20 MA,4 TO 20 MA ANALOG,0 TO 250 VAC/DC DIGITAL | OUTPUT RATING | 250 VAC/DC,2 A RELAY,0 TO 10 V,0 TO 20 MA,4 TO 20 MA ANALOG | CONNECTION TYPE | SCREW | SIZE | 17.5 WDX113 HTX114.5 DP MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,ATEX,IECEX,UL,CCC | ADDITIONAL FEATURES EN | FOR RADIOLINE | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1269947 | 1269947 | MODULE,MEM;LENV,4X70S69154,32GB DDR4 RAM | MODULE,MEMORY;MNFR:LENOVO,PTNO:4X70S69154,ADDITIONAL FEATURES EN:32GB DDR4 RAM | 01)LENOVO (AUSTRALIA & NEW Z,01)4X70S69154,MODULE,MEMORY,01)32GB DDR4 RAM | 4X70S69154 | 3000491 | LENOVO | LENOVO | 4X70S69154 | [5 empty] | https://www.lenovo.com/gb/en/p/accessories-and-software/memory-and-storage/memory-and-storage-memory/4x70s69154?orgRef=https%253A%252F%252Fwww.google.com%252F | [10 empty] | ENRICHED | 43201402 Memory module cards | MODULE | MEMORY | TYPE | DDR4 RAM | MEMORY | 32 GB | DATA TRANSFER RATE | 2666 MHZ | MEMORY TYPE |  | INTERFACE TYPE |  | INPUT RATING |  | CONNECTION TYPE | SODIMM | SIZE | 67.75 WDX3.8 HTX30.12 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1269948 | 1269948 | MODULE,MEM;LENV,4X71A11993,32GB DDR4 RAM | MODULE,MEMORY;MNFR:LENOVO,PTNO:4X71A11993,ADDITIONAL FEATURES EN:32GB DDR4 RAM | 01)LENOVO (AUSTRALIA & NEW Z,01)4X71A11993,MODULE,MEMORY,01)32GB DDR4 RAM | 4X71A11993 | 3000491 | LENOVO | LENOVO | 4X71A11993 | [5 empty] | https://www.lenovo.com/us/en/p/accessories-and-software/memory-and-storage/memory-and-storage-memory/4x71a11993?orgRef=https%253A%252F%252Fwww.google.com%252F | [10 empty] | ENRICHED | 43201402 Memory module cards | MODULE | MEMORY | TYPE | DDR4 RAM | MEMORY | 32 GB | DATA TRANSFER RATE | 3200 MHZ | MEMORY TYPE |  | INTERFACE TYPE |  | INPUT RATING |  | CONNECTION TYPE | SODIMM | SIZE | 67.75 WDX3.8 HTX30.12 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1220279 | 1220279 | MODULE,PWR;NHP,CEP71EGJ,GROUND FAULT/JAM | MODULE,POWER;MNFR:NHP,PTNO:CEP71EGJ,ADDITIONAL FEATURES EN:GROUND FAULT/JAM PROTECTION | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCEP71EGJ,MODULE,POWER,01)GROUND FAULT/JAM PROTECTION | CEP71EGJ | 3000664 | NHP | NHP | CEP71EGJ |  | CNW ELECTRICAL | CEP71EGJ |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CEP71EGJ-228488-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | CLEANSED |  | MODULE | ELECTRONIC | TYPE | GROUND FAULT/JAM PROTECTION,UNIVERSAL | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1211697 | 1211697 | MODULE,PWR;SCHN,WSUVTPM40KH-P,NANNA,40KV | MODULE,POWER;MNFR:SCHNEIDER INC,PTNO:WSUVTPM40KH-P,ADDITIONAL FEATURES EN:NANNA,40KVA 400V,PARALLEL OPERATION | 01)SCHNEIDER ELECTRIC (AUS),01)WSUVTPM40KH-P,MODULE,POWER,01)NANNA,40KVA 400V,PARALLEL O | WSUVTPM40KH-P | 3000344 | SCHNEIDER INC | SCHNEIDER INC | WSUVTPM40KH-P | [5 empty] | https://download.datasheets.com/pdfs2/2021/11/30/4/42/8/678369/sce_/manual/554847331997629_attachment.pdf | https://www.de.shi.com/Product/37579560/APC-Smart-UPS-VT-AIS-Spare-Power-Module | [9 empty] | ENRICHED |  | MODULE | POWER | TYPE |  | INPUT RATING | 400 VAC | OUTPUT RATING |  | POWER RATING | 40000 VA | SWITCH TYPE |  | CONNECTION TYPE |  | TEMPERATURE RATING | 0 TO 40 DEG C | SIZE | 58.4 WDX41.9 HTX72.4 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,UL | ADDITIONAL FEATURES EN | NANNA,PARALLEL OPERATION | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1215525 | 1215525 | MODULE,PWR;SCHN,XPSAC5121 | MODULE,POWER;MNFR:SCHNEIDER INC,PTNO:XPSAC5121 | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHXPSAC5121,MODULE,POWER | XPSAC5121 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XPSAC5121 |  | CNW ELECTRICAL | XPSAC5121 |  |  | https://www.se.com/in/en/product/XPSAC5121/module-xpsac-emergency-stop-24-v-ac-dc/ | https://in.element14.com/schneider-electric/xpsac5121/relay-safety-3pst-no-24vdc-1-5a/dp/4275913 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE | 24 V | CONTACT VOLTAGE RATING | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | SIL RATING | CL3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING | 50/60 HZ | SIZE |  | ENCLOSURE | IP40,IP20 | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,TÜV,EN/IEC 60947-5-1,EN/ISO 13850,EN 60204-1,EN 1088/ISO 14119 | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1266932 | 1266932 | MODULE;AB,800FN3G,LED,GRN,24VDC,LATCH MT | MODULE;MNFR:ALLEN BRADLEY,PTNO:800FN3G,ADDITIONAL FEATURES EN:LED,GRN,24VDC,LATCH MT | 01)NHP ELECTRICAL ENGINEERIN,01)800FN3G,MODULE,01)LED,GRN,24VDC,LATCH MT | 800FN3G | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FN3G |  | NHP ELECTRICAL ENGINEERING | 800FN3G |  |  | https://www.rockwellautomation.com/en-us/products/details.800F-N3G.html | https://www.rexelusa.com/p/74220/allen-bradley/lamp-module-integrated-led-green-24v-ac-dc-front-latch-mount/662468119917/800f-n3g | [9 empty] | ENRICHED | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | INTEGRATED LED | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 24 VAC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UR,CSA,CCC,CE | ADDITIONAL FEATURES | MOUNTING TYPE:LATCH | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1266933 | 1266933 | MODULE;AB,800FN3R,LED,RED,24VDC,LATCH MT | MODULE;MNFR:ALLEN BRADLEY,PTNO:800FN3R,ADDITIONAL FEATURES EN:LED,RED,24VDC,LATCH MT | 01)NHP ELECTRICAL ENGINEERIN,01)800FN3R,MODULE,01)LED,RED,24VDC,LATCH MT | 800FN3R | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FN3R |  | NHP ELECTRICAL ENGINEERING | 800FN3R |  |  | https://www.rockwellautomation.com/en-us/products/details.800F-N3R.html | https://www.rexelusa.com/p/74212/allen-bradley/lamp-module-integrated-led-red-24v-ac-dc-front-latch-mount/662468119924/800f-n3r | [9 empty] | ENRICHED | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | INTEGRATED LED | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 24 VAC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UR,CSA,CCC,CE | ADDITIONAL FEATURES | MOUNTING TYPE:LATCH | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1266934 | 1266934 | MODULE;AB,800FN3W,LED,WHT,24VDC,LATCH MT | MODULE;MNFR:ALLEN BRADLEY,PTNO:800FN3W,ADDITIONAL FEATURES EN:LED,WHT,24VDC,LATCH MT | 01)NHP ELECTRICAL ENGINEERIN,01)800FN3W,MODULE,01)LED,WHT,24VDC,LATCH MT | 800FN3W | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FN3W |  | NHP ELECTRICAL ENGINEERING | 800FN3W |  |  | https://www.rockwellautomation.com/en-us/products/details.800F-N3W.html | https://www.rexelusa.com/p/74204/allen-bradley/lamp-module-integrated-led-white-24v-ac-dc-front-latch-mount/662468119931/800f-n3w | [9 empty] | ENRICHED | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | INTEGRATED LED | LAMP WATTAGE |  | LENS COLOUR | WHITE | VOLTAGE RATING | 24 VAC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UR,CSA,CCC,CE | ADDITIONAL FEATURES | MOUNTING TYPE:LATCH | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1219990 | 1219990 | MODULE;AB,A-B1769IQ32T,32-POINT,24 V,DC | MODULE;MNFR:ALLEN BRADLEY,PTNO:A-B1769IQ32T,ADDITIONAL FEATURES EN:32-POINT,24 V,DC DIGITAL INPUT TERMINATED MODULE | 01)CNW (TOWNSVILLE) ELECT SU,01)A-B1769IQ32T,MODULE,01)32-POINT,24 V,DC DIGITAL IN | A-B1769IQ32T | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1769-IQ32T |  | CNW ELECTRICAL | 1769-IQ32T |  |  | https://www.rockwellautomation.com/en-pl/products/details.1769-IQ32T.html | https://www.dosupply.com/automation/allen-bradley-plc/compactlogix-1769/1769-IQ32T | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 32 POINT DC DIGITAL INPUT TERMINATED | INPUT RATING | 10 TO 32 VDC | OUTPUT RATING |  | CONNECTION TYPE | 40-PIN FEMALE | SIZE |  | MOUNTING TYPE | DIN RAIL,PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER SUPPLY:24 VDC | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1219991 | 1219991 | MODULE;AB,A-B1769OB32,32-POINT,24 V,DC D | MODULE;MNFR:ALLEN BRADLEY,PTNO:A-B1769OB32,ADDITIONAL FEATURES EN:32-POINT,24 V,DC DIGITAL OUTPUT MODULE | 01)CNW (TOWNSVILLE) ELECT SU,01)A-B1769OB32,MODULE,01)32-POINT,24 V,DC DIGITAL OU | A-B1769OB32 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1769-OB32 |  | CNW ELECTRICAL | 1769-OB32 |  |  | https://www.rockwellautomation.com/en-pl/products/details.1769-OB32.html | https://www.dosupply.com/automation/allen-bradley-plc/compactlogix-1769/1769-OB32 | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 32 POINT DC DIGITAL OUTPUT | INPUT RATING |  | OUTPUT RATING | 20.4 TO 36.4 VDC,0.5 A | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE | DIN RAIL,PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER SUPPLY:24 VDC | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1257769 | 1257769 | MODULE;ABB,3BSE 066 490 R1 | MODULE;MNFR:ABB,PTNO:3BSE 066 490 R1 | MODULE | 3BSE 066 490 R1 | 3000014 | ABB | ABB | 3BSE066490R1 | [5 empty] | https://new.abb.com/products/3BSE066490R1/3bse066490r1 | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | CENTRAL UNIT | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 155 LGX130 WDX200 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEMORY:16 MB | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1242952 | 1242952 | MODULE;ABB,3BSE008508R1,DGTL INP,DI810 | MODULE;MNFR:ABB,PTNO:3BSE008508R1,ADDITIONAL FEATURES EN:DIGITAL INPUT,DI810,24V,16CH | MODULE,01)DIGITAL,02)INPUT,DI810,24V,16CH,01)ENTREE,02)NUMERIQUE,DI810,24V,16CH | 3BSE008508R1 | 3000014 | ABB | ABB | 3BSE008508R1 | [5 empty] | https://new.abb.com/products/3BSE008508R1/3bse008508r1 | https://www.nexinstrument.com/3bse008508r1 | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 16 CHANNEL DIGITAL ISOLATED INPUT | INPUT RATING | 24 V | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DESIGNATION:DI810,ENTRY,NUMERIC | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1271237 | 1271237 | MODULE;ABB,3BSE008544R0001 | MODULE;MNFR:ABB,PTNO:3BSE008544R0001 | MODULE | 3BSE008544R0001 | 3000014 | ABB | ABB | 3BSE008544R0001 | [5 empty] | https://new.abb.com/products/3BSE008544R0001/3bse008544r0001 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | ANALOG INPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1271238 | 1271238 | MODULE;ABB,3BSE008546R0001 | MODULE;MNFR:ABB,PTNO:3BSE008546R0001 | MODULE | 3BSE008546R0001 | 3000014 | ABB | ABB | 3BSE008546R0001 | [5 empty] | https://new.abb.com/products/3BSE008546R0001/3bse008546r0001 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | ANALOG OUTPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1220430 | 1220430 | MODULE;ABB,3BSE013228R1 | MODULE;MNFR:ABB,PTNO:3BSE013228R1 | MODULE | 3BSE013228R1 | 3000014 | ABB | ABB | 3BSE013228R1 | [5 empty] | https://new.abb.com/products/3BSE013228R1/3bse013228r1 | [10 empty] | ENRICHED |  | COUNTER | NO MODIFIER | TYPE | 2 CHANNEL BI-DIRECTIONAL PULSE | COUNTING RANGE |  | DISPLAY TYPE |  | POWER SUPPLY | 24 VDC | MATERIAL |  | RESET TYPE |  | TEMPERATURE RATING |  | SIZE | 102 LGX45 WDX119 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325607 | 1325607 | MODULE;ABB,3BSE013233R1 | MODULE;MNFR:ABB,PTNO:3BSE013233R1 | MODULE | 3BSE013233R1 | 3000014 | ABB | ABB | 3BSE013233R1 | [5 empty] | https://new.abb.com/products/3BSE013233R1/3bse013233r1 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | COMPACT TERMINATION UNIT | INPUT RATING | 50 V | OUTPUT RATING |  | CONNECTION TYPE | SNAP-IN | SIZE | 64 LGX58.5WDX170 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1211533 | 1211533 | MODULE;ABB,3BSE018173R1 | MODULE;MNFR:ABB,PTNO:3BSE018173R1 | MODULE | 3BSE018173R1 | 3000014 | ABB | ABB | 3BSE018173R1 | [5 empty] | https://new.abb.com/products/3BSE018173R1/3bse018173r1 | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | SAFETY CPU | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 127.5 LGX59 WDX185 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325605 | 1325605 | MODULE;ABB,3BSE022462R1 | MODULE;MNFR:ABB,PTNO:3BSE022462R1 | MODULE | 3BSE022462R1 | 3000014 | ABB | ABB | 3BSE022462R1 | [5 empty] | https://new.abb.com/products/3BSE022462R1/3bse022462r1 | https://www.nexinstrument.com/3bse022462r1 | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | REDUNDANT,SINGLE INPUT/OUTPUT | INPUT RATING | 24 VDC | NUMBER OF PORTS |  | INTERFACE TYPE | PROFIBUS | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING | 55 DEG C | CONNECTION TYPE | DSUB9,RJ45 | SIZE | 47 LGX124 WDX186 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1335364 | 1335364 | MODULE;ABB,3BSE023675R1 | MODULE;MNFR:ABB,PTNO:3BSE023675R1 | MODULE | 3BSE023675R1 | 3000014 | ABB | ABB | 3BSE023675R1 | [5 empty] | https://new.abb.com/products/3BSE023675R1/3bse023675r1 | https://www.nexinstrument.com/3BSE023675R1 | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | 8 CHANNEL ANALOG INPUT | INPUT RATING | 0 TO 5 V,0 TO 20 MA | NUMBER OF PORTS |  | INTERFACE TYPE | HART | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1241353 | 1241353 | MODULE;ABB,3BSE038415R1,AO810 V2 | MODULE;MNFR:ABB,PTNO:3BSE038415R1,ADDITIONAL FEATURES EN:AO810 V2 ANALOGUE OUTPUT 8 CHANNELS | MODULE,01)AO810 V2 ANALOGUE,02)OUTPUT 8 CHANNELS,01)AO810 V2 SORTIE,02)ANALOGIQUE 8 CANAUX | 3BSE038415R1 | 3000014 | ABB | ABB | 3BSE038415R1 | [5 empty] | https://new.abb.com/products/3BSE038415R1/3bse038415r1 | https://www.nexinstrument.com/3BSE038415R1 | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 8 CHANNEL ANALOG OUTPUT | INPUT RATING |  | OUTPUT RATING | 0 TO 20 MA | CONNECTION TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DESIGNATION:AO810 V2 SORTIE | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1258585 | 1258585 | MODULE;ABB,3BSE040662R1 | MODULE;MNFR:ABB,PTNO:3BSE040662R1 | MODULE | 3BSE040662R1 | 3000014 | ABB | ABB | 3BSE040662R1 | [5 empty] | https://new.abb.com/products/3BSE040662R1/3bse040662r1 | https://www.nexinstrument.com/3BSE040662R1 | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 8 CHANNEL RTD ANALOG INPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 102 LGX45 WDX119 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1211647 | 1211647 | MODULE;ABB,40 364 44 | MODULE;MNFR:ABB,PTNO:40 364 44 | MODULE | 40 364 44 | 3000014 | ABB | ABB | 40 364 44 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325223 | 1325223 | MODULE;ABB,57310001-KD | MODULE;MNFR:ABB,PTNO:57310001-KD | MODULE | 57310001-KD | 3000014 | ABB | ABB | 57310001-KD | [5 empty] | https://new.abb.com/products/57310001-KD/57310001-kd | https://www.nriparts.com/products/abb-57310001-kd-dsbc-172-controls/161984 | [9 empty] | ENRICHED |  | BOARD | PRINTED CIRCUIT | TYPE | BUS SUPERVISION | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE | 324 LGX234 WDX22.5 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1271271 | 1271271 | MODULE;ABB,662608-03 | MODULE;MNFR:ABB,PTNO:662608-03 | MODULE | 662608-03 | 3000014 | ABB | ABB | 662608-03 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1325280 | 1325280 | MODULE;ABB,865-028394-10000-10000 | MODULE;MNFR:ABB,PTNO:865-028394-10000-10000 | MODULE | 865-028394-10000-10000 | 3000014 | ABB | ABB | 865-028394-10000-10000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NEED CLARITY | 2023-06-24 | 2023-07-04 |  | 1330069 | 1330069 | MODULE;ABB,ADM MODULE | MODULE;MNFR:ABB,PTNO:ADM MODULE | MODULE | ADM MODULE | 3000014 | ABB | ABB | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE | ANALOG DIGITAL | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1272990 | 1272990 | MODULE;ABB,AI581-S,ANALOG INPUT,SAFTY,24 | MODULE;MNFR:ABB,PTNO:AI581-S,ADDITIONAL FEATURES EN:ANALOG INPUT,SAFETY,24VDC,4SAI,4 SIL2/SIL3,4-20MA,14BIT | 01)ABB AUSTRALIA PTY LTD,01)AI581-S,MODULE,01)ANALOG INPUT,SAFETY,24VDC,4 | AI581-S | 3000014 | ABB | ABB | AI581-S | [5 empty] | https://new.abb.com/products/1SAP282000R0001/ai581-s | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 4 SIL2/SIL3,4 SAFETY ANALOG INPUT | INPUT RATING | 4 TO 20 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 62 LGX67.5 WDX76 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER SUPPLY:24 VDC,14 BIT | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1272991 | 1272991 | MODULE;ABB,AO523,ANALOG OUTPUT,8 AO: U | MODULE;MNFR:ABB,PTNO:AO523,ADDITIONAL FEATURES EN:ANALOG OUTPUT,8 AO: U, I. 8 AO: U | 01)ABB AUSTRALIA PTY LTD,01)AO523,MODULE,01)ANALOG OUTPUT,8 AO: U, I. 8 | AO523 | 3000014 | ABB | ABB | AO523 | [5 empty] | https://new.abb.com/products/1SAP250200R0001/ao523 | https://library.e.abb.com/public/3839e2781d694fdb894774501a978314/3ADR010034,%2010,%20%20en_US,%20AO523_Data_Sheet.pdf | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 16 ANALOG OUTPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 62 LGX67.5 WDX76 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [55 empty] | 8 AO: U,I. 8 AO: U | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1216481 | 1216481 | MODULE;ABB,B91023005 | MODULE;MNFR:ABB,PTNO:B91023005 | MODULE | B91023005 | 3000014 | ABB | ABB | B91023005 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1272985 | 1272985 | MODULE;ABB,CM579-PNIO,CMMNCTN,PROFINET I | MODULE;MNFR:ABB,PTNO:CM579-PNIO,ADDITIONAL FEATURES EN:COMMUNICATION,PROFINET IO RT CONTROLLER | 01)ABB AUSTRALIA PTY LTD,01)CM579-PNIO,MODULE,01)COMMUNICATION,PROFINET IO R | CM579-PNIO | 3000014 | ABB | ABB | CM579-PNIO | [5 empty] | https://new.abb.com/products/1SAP170901R0101/cm579-pnio | https://search.abb.com/library/Download.aspx?DocumentID=3ADR010019&LanguageCode=en&DocumentPartId=&Action=Launch | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS | 2 | INTERFACE TYPE |  | DATA TRANSFER RATE | 100 MBPS | TRANSMISSION PROTOCOL | PROFINET IO RT | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C HORIZONTAL,0 TO 40 DEG C VERTICAL | CONNECTION TYPE | RJ45 | SIZE | 123.5 LGX84.5 WDX135 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1272984 | 1272984 | MODULE;ABB,CM589-PNIO,CMMNCTN,PROFINET I | MODULE;MNFR:ABB,PTNO:CM589-PNIO,ADDITIONAL FEATURES EN:COMMUNICATION,PROFINET IO RT DEVICE | 01)ABB AUSTRALIA PTY LTD,01)CM589-PNIO,MODULE,01)COMMUNICATION,PROFINET IO R | CM589-PNIO | 3000014 | ABB | ABB | CM589-PNIO | [5 empty] | https://new.abb.com/products/1SAP172900R0011/cm589-pnio | https://search.abb.com/library/Download.aspx?DocumentID=3ADR010022&LanguageCode=en&DocumentPartId=&Action=Launch | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS | 2 | INTERFACE TYPE |  | DATA TRANSFER RATE | 100 MBPS | TRANSMISSION PROTOCOL | PROFINET IO RT | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C HORIZONTAL,0 TO 40 DEG C VERTICAL | CONNECTION TYPE | RJ45 | SIZE | 123.5 LGX84.5 WDX135 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1323493 | 1323493 | MODULE;ABB,DC522 | MODULE;MNFR:ABB,PTNO:DC522 | MODULE | DC522 | 3000014 | ABB | ABB | DC522 | [5 empty] | https://new.abb.com/products/1SAP240600R0001/dc522 | https://search.abb.com/library/Download.aspx?DocumentID=3ADR010042&LanguageCode=en&DocumentPartId=&Action=Launch | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 16 DIGITAL INPUT/OUTPUT | INPUT RATING | 24 VDC,10 A | OUTPUT RATING | 24 V,8 A | CONNECTION TYPE |  | SIZE | 67.5 LGX84.5 WDX135 HT MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1272988 | 1272988 | MODULE;ABB,DI581-S,1-WIRE,8 PULSE OUTPUT | MODULE;MNFR:ABB,PTNO:DI581-S,ADDITIONAL FEATURES EN:1-WIRE,8 PULSE OUTPUT,DIGITAL INPUT,SAFETY,24VDC,16SDI, 16SDI SIL2/ 8SDI SIL3 | 01)ABB AUSTRALIA PTY LTD,01)DI581-S,MODULE,01)1-WIRE,8 PULSE OUTPUT,02)DIGITAL INPUT,SAFETY,24VDC | DI581-S | 3000014 | ABB | ABB | DI581-S | [5 empty] | https://new.abb.com/products/1SAP284000R0001/di581-s | https://search.abb.com/library/Download.aspx?DocumentID=3ADR010085&LanguageCode=en&DocumentPartId=&Action=Launch | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 16 SAFETY DIGITAL INPUT | INPUT RATING | 0 TO 30 VDC,7 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 67.5 LGX84.5 WDX135 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP20,FUNCTION:16SDI, 16SDI SIL2/ 8SDI SIL3,1-WIRE,8 PULSE OUTPUT | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1272989 | 1272989 | MODULE;ABB,DX581-S,DIGITAL I/O,24VDC,0.5 | MODULE;MNFR:ABB,PTNO:DX581-S,ADDITIONAL FEATURES EN:DIGITAL I/O,24VDC,0.5A,8 SDI SIL2 / 4SDI SIL3,8 SDO SIL2/3,4 PULSE OUTPUTS | 01)ABB AUSTRALIA PTY LTD,01)DX581-S,MODULE,01)DIGITAL I/O,24VDC,0.5A,8 SD,02)4 PULSE OUTPUTS | DX581-S | 3000014 | ABB | ABB | DX581-S | [5 empty] | https://new.abb.com/products/1SAP284100R0001/dx581-s | https://search.abb.com/library/Download.aspx?DocumentID=3ADR010086&LanguageCode=en&DocumentPartId=&Action=Launch | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 8 SAFETY DIGITAL INPUT/OUTPIT | INPUT RATING | 0 TO 30 VDC,7 MA | OUTPUT RATING | 20.4 TO 28.8 VDC,0.5 A | CONNECTION TYPE |  | SIZE | 62 LGX67.5 WDX76 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP20,FUNCTION:8 SDI SIL2/4SDI SIL3,8 SDO SIL2/3,4 PULSE OUTPUTS | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1214456 | 1214456 | MODULE;ABB,FPR3323101R1012 | MODULE;MNFR:ABB,PTNO:FPR3323101R1012 | MODULE | FPR3323101R1012 | 3000014 | ABB | ABB | FPR3323101R1012 | [5 empty] | https://www.classicautomation.com/Part/fpr3323101r1012 | [10 empty] | ENRICHED |  | COUNTER | NO MODIFIER | TYPE | HIGH SPEED | COUNTING RANGE |  | DISPLAY TYPE |  | POWER SUPPLY | 24 VDC | MATERIAL |  | RESET TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1214455 | 1214455 | MODULE;ABB,GJR5251400R0101 | MODULE;MNFR:ABB,PTNO:GJR5251400R0101 | MODULE | GJR5251400R0101 | 3000014 | ABB | ABB | GJR5251400R0101 | [5 empty] | https://www.classicautomation.com/Part/gjr5251400r0101 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 16 INPUT/8 TRANSISTOR OUTPUT | INPUT RATING | 24 VDC | OUTPUT RATING | 24 VDC,250 MA | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1325611 | 1325611 | MODULE;ABB,ISA 270 000 0001 | MODULE;MNFR:ABB,PTNO:ISA 270 000 0001 | MODULE | ISA 270 000 0001 | 3000014 | ABB | ABB | ISA 270 000 0001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED,PART NUMBER UPDATED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325614 | 1325614 | MODULE;ABB,ISAP 212 200 R0001 | MODULE;MNFR:ABB,PTNO:ISAP 212 200 R0001 | MODULE | ISAP 212 200 R0001 | 3000014 | ABB | ABB | 1SAP 212 200 R0001 | [5 empty] | https://library.e.abb.com/public/7091931945cbbd1fc1257c210040dd84/2CDC120142C0204.pdf | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | INPUT/OUTPUT | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER SUPPLY:24 VDC | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED,PART NUMBER UPDATED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325613 | 1325613 | MODULE;ABB,ISAP 240 100 R0001 | MODULE;MNFR:ABB,PTNO:ISAP 240 100 R0001 | MODULE | ISAP 240 100 R0001 | 3000014 | ABB | ABB | 1SAP 240 100 R0001 | [5 empty] | https://library.e.abb.com/public/7091931945cbbd1fc1257c210040dd84/2CDC120142C0204.pdf | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 16 DIGITAL INPUT/OUTPUT | INPUT RATING | 24 VDC | OUTPUT RATING | 24 VDC,0.5 A | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED,PART NUMBER UPDATED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325612 | 1325612 | MODULE;ABB,ISAP 250 000 R0001 | MODULE;MNFR:ABB,PTNO:ISAP 250 000 R0001 | MODULE | ISAP 250 000 R0001 | 3000014 | ABB | ABB | 1SAP 250 000 R0001 | [5 empty] | https://library.e.abb.com/public/7091931945cbbd1fc1257c210040dd84/2CDC120142C0204.pdf | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 8 ANALOG INPUT/OUTPUT | INPUT RATING |  | OUTPUT RATING | +/- 10 V,0/4 TO 20 MA | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325287 | 1325287 | MODULE;ABB,RK211074-AN | MODULE;MNFR:ABB,PTNO:RK211074-AN | MODULE | RK211074-AN | 3000014 | ABB | ABB | RK211074-AN | [5 empty] | https://new.abb.com/products/RK211074-AN/rxma-1 | https://5.imimg.com/data5/GF/GL/DW/SELLER-7297578/abb-make-rxmb-1-relay.pdf | [9 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 TO 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 5NO 2NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325297 | 1325297 | MODULE;ABB,RK211188-AN | MODULE;MNFR:ABB,PTNO:RK211188-AN | MODULE | RK211188-AN | 3000014 | ABB | ABB | RK211188-AN | [5 empty] | https://new.abb.com/products/RK211188-AN/rxma-2 | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 TO 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 15NO | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325288 | 1325288 | MODULE;ABB,RK214002-AD | MODULE;MNFR:ABB,PTNO:RK214002-AD | MODULE | RK214002-AD | 3000014 | ABB | ABB | RK214002-AD | [5 empty] | https://new.abb.com/products/RK214002-AD/rxmm-1 | https://5.imimg.com/data5/GF/GL/DW/SELLER-7297578/abb-make-rxmb-1-relay.pdf | [9 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 24 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 4NO 4NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325786 | 1325786 | MODULE;ABB,RK214004-AN | MODULE;MNFR:ABB,PTNO:RK214004-AN | MODULE | RK214004-AN | 3000014 | ABB | ABB | RK214004-AN | [5 empty] | https://new.abb.com/products/RK214004-AN/rxmm-1 | https://5.imimg.com/data5/GF/GL/DW/SELLER-7297578/abb-make-rxmb-1-relay.pdf | [9 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 TO 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 4NO 2NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325298 | 1325298 | MODULE;ABB,RK214005-AN | MODULE;MNFR:ABB,PTNO:RK214005-AN | MODULE | RK214005-AN | 3000014 | ABB | ABB | RK214005-AN | [5 empty] | https://new.abb.com/products/RK214005-AN/rxmm-1 | https://5.imimg.com/data5/GF/GL/DW/SELLER-7297578/abb-make-rxmb-1-relay.pdf | [9 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 TO 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 2NO 4NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325295 | 1325295 | MODULE;ABB,RK223068-AN | MODULE;MNFR:ABB,PTNO:RK223068-AN | MODULE | RK223068-AN | 3000014 | ABB | ABB | RK223068-AN | [5 empty] | https://new.abb.com/products/RK223068-AN/rxmh-2 | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 6NO 2 NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325299 | 1325299 | MODULE;ABB,RK241103-AH | MODULE;MNFR:ABB,PTNO:RK241103-AH | MODULE | RK241103-AH | 3000014 | ABB | ABB | RK241103-AH | [5 empty] | https://www.lilianportugal.com.br/resource_public/uploads/phpwj7UNH.pdf | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325286 | 1325286 | MODULE;ABB,RK431003-DE | MODULE;MNFR:ABB,PTNO:RK431003-DE | MODULE | RK431003-DE | 3000014 | ABB | ABB | RK431003-DE | [5 empty] | https://new.abb.com/products/RK431003-DE/rk431003-de | https://www-quad--industry-com.translate.goog/catalog/abbcatalog/23516/930671.html?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | UNDER VOLTAGE | CONTACT RATING |  | CURRENT RATING |  | VOLTAGE RATING | 38 V | SETTING RANGE |  | TERMINAL TYPE |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | NUMBER OF PHASE |  | FREQUENCY RATING | 60 HZ | TRIP CLASS |  | DISPLAY TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325290 | 1325290 | MODULE;ABB,RXEEB 1 | MODULE;MNFR:ABB,PTNO:RXEEB 1 | MODULE | RXEEB 1 | 3000014 | ABB | ABB | RXEEB 1 | [5 empty] | https://new.abb.com/products/RK427102-AD/rxeeb-1 | https://library.e.abb.com/public/bf73968fd8d63b51c1256fce0012b068/RK42-15E_en_RXEEB_1_Instantaneous_static_d.c._overvoltage_relay.pdf | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | OVERVOLTAGE | CURRENT RATING | 100 MA | VOLTAGE RATING | 24/48 VDC | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325289 | 1325289 | MODULE;ABB,RXMA 1 | MODULE;MNFR:ABB,PTNO:RXMA 1 | MODULE | RXMA 1 | 3000014 | ABB | ABB | RXMA 1 | [5 empty] | https://new.abb.com/products/RK211063-AN/rxma-1 | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 TO 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 6NO | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325293 | 1325293 | MODULE;ABB,RXMA 2 | MODULE;MNFR:ABB,PTNO:RXMA 2 | MODULE | RXMA 2 | 3000014 | ABB | ABB | RXMA 2 | [5 empty] | https://new.abb.com/products/RK211188-AN/rxma-2 | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 TO 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 15NO | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325296 | 1325296 | MODULE;ABB,RXMH 2 | MODULE;MNFR:ABB,PTNO:RXMH 2 | MODULE | RXMH 2 | 3000014 | ABB | ABB | RXMH 2 | [5 empty] | https://new.abb.com/products/RK223067-AP/rxmh-2 | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 8NO | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325300 | 1325300 | MODULE;ABB,RXMM 1 | MODULE;MNFR:ABB,PTNO:RXMM 1 | MODULE | RXMM 1 | 3000014 | ABB | ABB | RXMM 1 | [5 empty] | https://new.abb.com/products/RK214002-AN/rxmm-1 | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 110 TO 125 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 4NO 4NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1325303 | 1325303 | MODULE;ABB,RXMT 1-24 | MODULE;MNFR:ABB,PTNO:RXMT 1-24 | MODULE | RXMT 1-24 | 3000014 | ABB | ABB | RXMT 1 | [5 empty] | https://new.abb.com/products/RK241112-AD/rxmt-1 | [10 empty] | ENRICHED | 39122307 Auxiliary relay | RELAY | NO MODIFIER | TYPE | AUXILLARY | COIL RATING | 24 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1272986 | 1272986 | MODULE;ABB,SM560-S-FD-1,SAFETY PROCESSOR | MODULE;MNFR:ABB,PTNO:SM560-S-FD-1,ADDITIONAL FEATURES EN:SAFETY PROCESSOR,SIL 3,PROFISAFE | 01)ABB AUSTRALIA PTY LTD,01)SM560-S-FD-1,MODULE,01)SAFETY PROCESSOR,SIL 3,PROF | SM560-S-FD-1 | 3000014 | ABB | ABB | SM560-S-FD-1 | [5 empty] | https://new.abb.com/products/1SAP286000R0001/sm560-s-fd-1 | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | SAFETY PROCESSOR | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE | INDUSTRIAL ETHERNET | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL | RS-232,RS-422,RS-485 | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 62 LGX28 WDX135 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR PROFISAFE,SIL 3 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1323494 | 1323494 | MODULE;ABB,TA524 | MODULE;MNFR:ABB,PTNO:TA524 | MODULE | TA524 | 3000014 | ABB | ABB | TA524 | [5 empty] | https://new.abb.com/products/1SAP180600R0001/ta524 | [10 empty] | ENRICHED | 32151703 Programmable Logic Controller Accessories | COVER | NO MODIFIER | TYPE | TERMINAL BASE SLOT | SIZE | 62 LGX28 WDX135 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1258573 | 1258573 | MODULE;ABB,TU847 | MODULE;MNFR:ABB,PTNO:TU847 | MODULE | TU847 | 3000014 | ABB | ABB | TU847 | [5 empty] | https://new.abb.com/products/3BSE022462R1/3bse022462r1 | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 47 LGX124 WDX186 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1273478 | 1273478 | MODULE;NHP,20COMMER,DUAL-PORT ETHERNET/I | MODULE;MNFR:NHP,PTNO:20COMMER,ADDITIONAL FEATURES EN:DUAL-PORT ETHERNET/IP COMMUNICATION,PF 7 |  | 20COMMER | 3000664 | NHP | NHP | 20COMMER | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/20COMMER-116469-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS | 2 | INTERFACE TYPE | ETHERNET/IP | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE | INTERNAL | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:POWERFLEX 7 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1273212 | 1273212 | MODULE;SCHN,XPSAFL5130,SAFTY,24V,E/STOP | MODULE;MNFR:SCHNEIDER INC,PTNO:XPSAFL5130,ADDITIONAL FEATURES EN:SAFETY,24V,E/STOP SLB 3S | 01)CNW (TOWNSVILLE) ELECT SU,01)SCHXPSAFL5130,MODULE,01)SAFETY,24V,E/STOP SLB 3S | XPSAFL5130 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XPSAFL5130 |  | CNW ELECTRICAL | XPSAFL5130 |  |  | https://www.se.com/in/en/product/XPSAFL5130/module-xpsaf-emergency-stop-24-v-ac-dc/ | https://www.mouser.in/ProductDetail/Schneider-Electric/XPSAFL5130?qs=9gWuwXgt3viwKi483pgyyQ%3D%3D | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | EMERGGENCY STOP | COIL VOLTAGE | 24 VAC | CONTACT VOLTAGE RATING | 24 VAC/DC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 2NC | SIL RATING | CL3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING | 50/60 HZ | SIZE |  | ENCLOSURE | IP40,IP20 | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | TUV,UL,CSA,EN/ISO 13850,EN/IEC 60947-5-1,EN/IEC 61496-1 (TYPE 4),EN 60204-1,EN 1088/ISO 14119 | ADDITIONAL FEATURES | SLB 3S | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1273213 | 1273213 | MODULE;SCHN,XPSUAF13AP,24 VAC/DC,SAFTY | MODULE;MNFR:SCHNEIDER INC,PTNO:XPSUAF13AP,ADDITIONAL FEATURES EN:24 VAC/DC,SAFETY | 01)CNW (TOWNSVILLE) ELECT SU,01)SCHXPSUAF13AP SAFETY,MODULE,01)24 VAC/DC,SAFETY | XPSUAF13AP | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XPSUAF13AP |  | CNW ELECTRICAL | XPSUAF13AP |  |  | https://www.se.com/us/en/product/XPSUAF13AP/safety-module-harmony-safety-automation-cat-4-potential-free-nc-nc-no-nc-pnp-pnp-24v-ac-dc-screw/ | https://www.grainger.com/product/SCHNEIDER-ELECTRIC-Force-DIN-Rail-Relay-Mounting-787DL2 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE |  | CONTACT VOLTAGE RATING | 250 VAC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3NO | SIL RATING | CL3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING | 50/60 HZ | SIZE | 57/64 WDX3-15/16 HTX4-23/32 DP IN | ENCLOSURE | IP54,IP40,IP20 | TEMPERATURE RATING | -13 TO 185 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | IO,IEC,TUV,CULUS | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1213898 | 1213898 | MODULE;YOKG,AAI143-H50/A4S00,ANALOG INPU | MODULE;MNFR:YOKOGAWA,PTNO:AAI143-H50/A4S00,ADDITIONAL FEATURES EN:ANALOG INPUT,WITH HART COMMUNICATION, WITH NO EXPL. PROTECT, BASIC | 01)YOKOGAWA AUSTRALIA PTY LT,01)AAI143-H50/A4S00,MODULE,01)ANALOG INPUT,WITH HART COMM | AAI143-H50/A4S00 | 3000446 | YOKOGAWA | YOKOGAWA | AAI143-H50/A4S00 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F60-50E.pdf | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | 16 CHANNEL ISOLATED ANALOG INPUT | INPUT RATING | 4 TO 20 MA | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL | HART | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE | PRESSURE CLAMP TERMINAL | SIZE | 32.8 WDX130 HTX107.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W NO EXPLOSION PROTECTION,BASIC | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1218884 | 1218884 | MODULE;YOKG,AAI143-H50/K4A00 | MODULE;MNFR:YOKOGAWA,PTNO:AAI143-H50/K4A00 |  | AAI143-H50/K4A00 | 3000446 | YOKOGAWA | YOKOGAWA | AAI143-H50/K4A00 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F60-50E.pdf | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | 16 CHANNEL ISOLATED ANALOG INPUT | INPUT RATING | 4 TO 20 MA | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL | HART | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 32.8 WDX130 HTX107.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1213900 | 1213900 | MODULE;YOKG,AAI543-H50/A4S00,ANALOG INPU | MODULE;MNFR:YOKOGAWA,PTNO:AAI543-H50/A4S00,ADDITIONAL FEATURES EN:ANALOG INPUT | 01)YOKOGAWA AUSTRALIA PTY LT,01)AAI543-H50/A4S00,MODULE,01)ANALOG INPUT | AAI543-H50/A4S00 | 3000446 | YOKOGAWA | YOKOGAWA | AAI543-H50/A4S00 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F60-50E.pdf | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | 16 CHANNEL ISOLATED ANALOG OUTPUT | INPUT RATING | 4 TO 20 MA | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL | HART | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE | PRESSURE CLAMP TERMINAL | SIZE | 32.8 WDX130 HTX107.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1218819 | 1218819 | MODULE;YOKG,AAI543-H50/K4A00 | MODULE;MNFR:YOKOGAWA,PTNO:AAI543-H50/K4A00 |  | AAI543-H50/K4A00 | 3000446 | YOKOGAWA | YOKOGAWA | AAI543-H50/K4A00 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F60-50E.pdf | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | 16 CHANNEL ISOLATED ANALOG OUTPUT | INPUT RATING | 4 TO 20 MA | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL | HART | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 32.8 WDX130 HTX107.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1218818 | 1218818 | MODULE;YOKG,AAV141-S50/K4A00 | MODULE;MNFR:YOKOGAWA,PTNO:AAV141-S50/K4A00 |  | AAV141-S50/K4A00 | 3000446 | YOKOGAWA | YOKOGAWA | AAV141-S50/K4A00 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F60-50E.pdf | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | 16 NON-ISOLATED ANALOG INPUT | INPUT RATING | 1 TO 5 VDC,350 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 32.8 WDX130 HTX107.5 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1213901 | 1213901 | MODULE;YOKG,ADV161-P50,DIGITAL INPUT | MODULE;MNFR:YOKOGAWA,PTNO:ADV161-P50,ADDITIONAL FEATURES EN:DIGITAL INPUT | 01)YOKOGAWA AUSTRALIA PTY LT,01)ADV161-P50,MODULE,01)DIGITAL INPUT | ADV161-P50 | 3000446 | YOKOGAWA | YOKOGAWA | ADV161-P50 | [5 empty] | https://web-material3.yokogawa.com/GS33J60F70-01EN_005.pdf | http://www.tek-international.com/tek-international_Product_2017211437_Yokogawa.Digital.Input.Module.ADV161-P50.html | [9 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | 64 DIGITAL INPUT | INPUT RATING | 24 VDC,2.5 MA | OUTPUT RATING |  | CONNECTION TYPE | MIL CONNECTOR CABLE | SIZE | 32.8 WDX130 HTX107.5 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1213902 | 1213902 | MODULE;YOKG,ALR121-S50,CMMNCTN | MODULE;MNFR:YOKOGAWA,PTNO:ALR121-S50,ADDITIONAL FEATURES EN:COMMUNICATION | 01)YOKOGAWA AUSTRALIA PTY LT,01)ALR121-S50,MODULE,01)COMMUNICATION | ALR121-S50 | 3000446 | YOKOGAWA | YOKOGAWA | ALR121-S50 | [5 empty] | https://web-material3.yokogawa.com/GS32Q06K50-31E.pdf | [10 empty] | ENRICHED |  | MODULE | COMMUNICATION | TYPE | SERIAL,STANDARD | INPUT RATING |  | NUMBER OF PORTS | 2 | INTERFACE TYPE | RS-422/RS-485 | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 32.8 WDX130 HTX142.9 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1269748 | 1269748 | VISOR;3M,00666272,PLTE,SPEEDGLAS 9100FX | VISOR;MNFR:3M,PTNO:00666272,ADDITIONAL FEATURES EN:PLATE,SPEEDGLAS 9100FX,5PK | 01)J BLACKWOOD & SONS,01)00666272,VISOR,01)PLATE,SPEEDGLAS 9100FX,5PK | 666272 | 3000220 | 3M | 3M | 00666272 |  | J BLACKWOOD & SONS | 00666272 |  |  | https://www.blackwoods.com.au/welding-gas/welding-safety/welding-helmet-spare-parts/plate-visor-9100-fx-speedglas-5/p/00666272 | [10 empty] | ENRICHED | 46181803 Eye shields | VISOR | SAFETY | TYPE | WELDING HELMET | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PLATE,TRADE NAME:SPEEDGLAS,SERIES:9100FX,PACKAGE QUANTITY:5/PK | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-04 |  | 1215245 | 1215245 | VISOR;3M,AWS613000,GRNDG,ANTI-FOG,G5-01 | VISOR;MNFR:3M,PTNO:AWS613000,ADDITIONAL FEATURES EN:GRINDING,ANTI-FOG,G5-01 | 01)BOC LIMITED,01)AWS613000,VISOR,01)GRINDING,ANTI-FOG,G5-01 | AWS613000 | 3000220 | 3M | 3M | 613000 |  | BOC LIMITED | 613000 |  |  | https://www.blackwoods.com.au/welding-gas/welding-safety/welding-helmet-spare-parts/3m-speedglas-613000-g5-01-welding-helmet-antifog-hard-coat-grinding-visor-pack-of-5/p/00884956 | [10 empty] | ENRICHED | 46181803 Eye shields | VISOR | SAFETY | TYPE | WELDING HELMET,ANTI-FOG,HARD COAT GRINDING | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODEL:G5-01 | [59 empty] | Production Completed