## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1330302 | 1330302 | CABLE;ABB,FEP-CABLE | CABLE;MNFR:ABB,PTNO:FEP-CABLE | CABLE | FEP-CABLE | 3000014 | ABB | ABB | FEP-CABLE | [5 empty] | Url Not Found | [10 empty] | Cleansed | 26120000 Electrical wire and cable and harness | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | processed based on Websource, Conflict w.r.t Input | 1330066 | 1330066 | CABLE;ABB,LD800DN | CABLE;MNFR:ABB,PTNO:LD800DN | CABLE | LD800DN | 3000014 | ABB | ABB | LD800DN | ABB |  |  |  |  | https://new.abb.com/products/EXC3BSC690164R1/exc3bsc690164r1 | [10 empty] | Enriched | 32151900 Automation control connectivity devices | MODULE | COMMUNICATION | TYPE | ETHERNET/IP TO DEVICENET | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1211242 | 1211242 | CABLE;ABB,M12C.201 | CABLE;MNFR:ABB,PTNO:M12C.201 | CABLE | M12C.201 | 3000014 | ABB | ABB | M12C.201 | ABB |  |  |  |  | https://new.abb.com/products/2TLA020056R1400/m12-c201 | [10 empty] | Enriched | 26120000 Electrical wire and cable and harness | CABLE | NO MODIFIER | TYPE | SHIELDED | NUMBER OF CONDUCTORS | 5 | CONDUCTOR SIZE | 0.34 MM2 | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH | 20 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1325260 | 1325260 | CABLE;ABB,QIXM 301/QHMV 307 | CABLE;MNFR:ABB,PTNO:QIXM 301/QHMV 307 | CABLE | QIXM 301/QHMV 307 | 3000014 | ABB | ABB | QIXM 301/QHMV 307 | ABB |  |  |  |  | https://new.abb.com/products/YM316004-A/ym316004-a | [10 empty] | Cleansed | 26120000 Electrical wire and cable and harness | CABLE | NO MODIFIER | TYPE |  | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | TEMPERATURE RATING |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1323492 | 1323492 | CABLE;ABB,TK681 | CABLE;MNFR:ABB,PTNO:TK681 | CABLE | TK681 | 3000014 | ABB | ABB | TK681 | ABB |  |  |  |  | https://new.abb.com/products/1SAP500981R0001/tk681 | [10 empty] | Enriched | 26121666 Communication cable assembly | CABLE | COMMUNICATION | TYPE | RS232 | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH | 3 M | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1273480 | 1273480 | CABLE;NHP,20HIMC3S,SMC-FLEX REM MOUNT,IP | CABLE;MNFR:NHP,PTNO:20HIMC3S,ADDITIONAL FEATURES EN:SMC-FLEX REM MOUNT,IP66 DISPLAY & PROGRAMMER INCL 3M |  | 20HIMC3S | 3000664 | NHP | NHP | 20HIMC3S | NHP |  |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-729/NHP_AU_Catalog-1142/20HIMC3S | [10 empty] | Enriched | 43201500 System boards processors interfaces or modules | MODULE | INTERFACE | TYPE | HUMAN | INTERFACE TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | WIRE RANGE |  | STRIPPING LENGTH |  | NUMBER OF POLES |  | NUMBER OF CHANNELS |  | COIL VOLTAGE RATING |  | CONNECTION TYPE |  | SIZE |  | ENCLOSURE TYPE | IP66 | MOUNTING TYPE | REMOTE | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SMC-FLEX,C/W DISPLAY AND PROGRAMMER,3 M CABLE | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1276331 | 1276331 | CABLE;NHP,CONB14NFS5,CONCTN,PVC,M12,4P,F | CABLE;MNFR:NHP,PTNO:CONB14NFS5,ADDITIONAL FEATURES EN:CONNECTION,PVC,M12,4P,FEMALE,5M | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCONB14NFS5,CABLE,01)CONNECTION,PVC,M12,4P,FEMAL | CONB14NFS5 | 3000664 | NHP | NHP | CONB14NFS5 | CARLO GAVAZZI | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.electricautomationnetwork.com/en/carlo-gavazzi/conb14nf-s5-conb14nfs5-carlo-gavazzi-system-connection-cable-connection-m12-wire-4-wire-function-female | [10 empty] | Enriched | 26120000 Electrical wire and cable and harness | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL | PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 5 M | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:M12 FEMALE,4P | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272241 | 1272241 | CABLE;SCHN,CLI2D4P6IPV3BBU,DATA,LAN,BLU | CABLE;MNFR:SCHNEIDER INC,PTNO:CLI2D4P6IPV3BBU,ADDITIONAL FEATURES EN:DATA,LAN,BLUE,CAT 6 - 305M |  | CLI2D4P6IPV3BBU | 3000344 | SCHNEIDER INC | SCHNEIDER INC | CLI2D4P6IPV3BBU | CLIPSAL |  |  |  |  | https://www.rexel.com.au/are/category/Cable/Data-Cable/Data-and-communication-cable-%28copper%29/CABLE-DATA-LAN-CAT-6---305M/CLI2D4P6IPV3BBU/p/10080310 | [10 empty] | Enriched | 26121666 Communication cable assembly | CABLE | COMMUNICATION | TYPE | CAT 6,DATA,LAN | IMPEDANCE |  | DIAMETER | 0.546 MM | CONDUCTOR SIZE | 23 AWG | CORE STRANDS | 8 | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL | PE | LENGTH | 305 M | VOLTAGE RATING |  | TEMPERATURE RATING | 75 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61034-2,IEC 60754-2 | ADDITIONAL FEATURES | COLOUR:BLUE | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1275285 | 1275285 | FUSE;BUSS,12OBCNA3.15,LNK,3.15A,AC,12KV | FUSE;MNFR:BUSSMANN MFG DIV OF MCGRAW EDISON,PTNO:12OBCNA3.15,ADDITIONAL FEATURES EN:LINK,3.15A,AC,12KV,45KA,BACKUP BS IEC | 01)HAYMANS ELECTRICAL (PARTS,01)BUS12OBCNA3.15,FUSE,01)LINK,3.15A,AC,12KV,45KA,02)BACKUP BS IEC | 12OBCNA3.15 | 3000243 | BUSSMANN MFG DIV OF MCGRA | BUSSMANN MFG DIV OF MCGRAW EDISON | 12OBCNA3.15 | EATON | HAYMANS ELECTRICAL |  |  |  | https://www.eaton.com/au/en-gb/skuPage.12OBCNA3%3A%3A15.html | [10 empty] | Enriched | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE | AUXILIARY,LINK | CURRENT RATING | 3.15 A | VOLTAGE RATING | 12 KVAC | SIZE | 25.4 DIAX195 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS,IEC | ADDITIONAL FEATURES | INTERRUPT RATING:45 KA,BACKUP | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1215009 | 1215009 | KIT;3M,3M6251,SPRAYIN0,RESPTR,A1P2 | KIT;MNFR:3M,PTNO:3M6251,ADDITIONAL FEATURES EN:SPRAYIN0,RESPIRATOR,A1P2 | 01)BOC LIMITED,01)3M6251,KIT,01)SPRAYIN0,RESPIRATOR,A1P2 | 3M6251 | 3000220 | 3M | 3M | 6251 | 3M | 3M | A1P2 | BOC LIMITED |  | https://www.3mnz.co.nz/3M/en_NZ/p/d/v101146555/ | [10 empty] | Enriched | 46182005 Mask or respirators filters or accessories | KIT | NO MODIFIER | TYPE | SPRAYING RESPIRATOR | CONTENTS | 1 X HALF FACE RESPIRATOR 6000 SERIES MEDIUM,1 X PAIR OF ORGANIC VAPOUR CARTRIDGES 6051,A1,1 X PAIR OF PARTICULATE FILTERS 5925,P2,1 X PAIR OF FILTER RETAINERS 501,2 X RESPIRATOR CLEANING WIPES 504,1 X RESPIRATORY PROTECTION GUIDE,1 X HANDY STORAGE CONTAINER | NUMBER OF ITEMS | 8 | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 1716:2012 | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1269357 | 1269357 | KIT;3M,70007937322,RESQ | KIT;MNFR:3M,PTNO:70007937322,ADDITIONAL FEATURES EN:RESCUE | 01)ALLIANCE SAFETY EQUIPMENT,01)70007937322,KIT,01)RESCUE | 70007937322 | 3000220 | 3M | 3M | 70007937322 | 3M | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.3m.com.au/3M/en_AU/p/d/v100849011/ | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | RESCUE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1270898 | 1270898 | KIT;3M,70007938387,RESQ,40M,W/POLE | KIT;MNFR:3M,PTNO:70007938387,TYPE:RESCUE,ADDITIONAL FEATURES EN:40M,W/POLE | 01)3M,01)70007938387,01)ALLIANCE SAFETY EQUIPMENT,01)70007938387,EN_01)RESCUE,01)40M,W/POLE | 70007938387 | 3000220 | 3M | 3M | 70007938387 | 3M | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.3m.com.au/3M/en_AU/p/d/v100849013/ | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE | RESCUE | CONTENTS | 40 M POLE | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272346 | 1272346 | KIT;AB,20750FLNG4F6,FLANGE MOUNT,FRAME 6 | KIT;MNFR:ALLEN BRADLEY,PTNO:20750FLNG4F6,ADDITIONAL FEATURES EN:FLANGE MOUNT,FRAME 6,PF750,IP20 FRONT IP66 BACK |  | 20750FLNG4F6 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 20750FLNG4F6 | ALLEN BRADLEY | ALLEN BRADLEY | PF750 |  |  | https://www.cbtcompany.com/20750flng4f6-ab | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS | FLANGE ADAPTOR/MOUNT,FRAME 6,IP20 FRONT AND IP66 BACK | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272843 | 1272843 | KIT;BRAD,4050509,LABEL PRINTER,PORTBL,BL | KIT;MNFR:BRADY W H CO,PTNO:4050509,ADDITIONAL FEATURES EN:LABEL PRINTER,PORTABLE,BLUETOOTH,PTNO:M211-KIT | 01)ELEMENT14 PTY LTD,01)4050509,KIT,01)LABEL PRINTER,02)PORTABLE,BLUETOOTH,03)PTNO:M211-KIT | 4050509 | 3000240 | BRADY W H CO | BRADY W H CO | M211-KIT | BRADY W H CO | BRADY W H CO | 4050509 | ELEMENT14 PTY LTD |  | https://www.bradyindia.co.in/label-printers/portable/m211-portable-bluetooth-label-printer-accessory-kit-pid-m211-kit | [10 empty] | Enriched | 44103125 Printer maintenance kit | KIT | NO MODIFIER | TYPE | ACCESSORY | CONTENTS | 1 X PORTABLE BLUETOOTH LABEL PRINTER P/N M211,1 X LABEL CARTRIDGE P/N M21-750-499,1 X QUICK START GUIDE,1 X AC ADAPTER,1 X BELT CLIP,1 X POWER BRICK,1 X HARD CASE AND MAGNET | NUMBER OF ITEMS | 7 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272958 | 1272958 | KIT;BRAD,880943,M:M211,PRNTR,LBL,HARD CA | KIT;MNFR:BRADY W H CO,PTNO:880943,ADDITIONAL FEATURES EN:M:M211,PRINTER,LABEL,HARD CASE,POWER PACK | 01)CNW (MOUNT ISA) ELECT WHO,01)BRA880943,KIT,01)M:M211,02)PRINTER,LABEL,03)HARD CASE,04)POWER PACK | 880943 | 3000240 | BRADY W H CO | BRADY W H CO | 880943 | BRADY W H CO | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.bradyid.com.au/m211-printer-hard-case-power-pack-kit.html | [10 empty] | Enriched | 44103125 Printer maintenance kit | KIT | NO MODIFIER | TYPE |  | CONTENTS | 1 X M211 LABEL PRINTER,1 X HARD CASE,1 X POWER PACK | NUMBER OF ITEMS | 3 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1267801 | 1267801 | KIT;CROU,65AHPLLE5LK2,COMPLETE | KIT;MNFR:CROUSEHINDS COMPANY,PTNO:65AHPLLE5LK2,ADDITIONAL FEATURES EN:COMPLETE PVML-5-PLLE4-C2-5L-V65AH | 01)CNW (MOUNT ISA) ELECT WHO,01)CROV65AHPLLE5LK2,KIT,01)COMPLETE PVML-5-PL | 65AHPLLE5LK2 | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | 65AHPLLE5LK2 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE,FOR PVML-5-PLLE4-C2-5L-V65AH | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1267800 | 1267800 | KIT;CROU,MHK-RIG,MNTG,HANDRAIL | KIT;MNFR:CROUSEHINDS COMPANY,PTNO:MHK-RIG,ADDITIONAL FEATURES EN:MOUNTING,HANDRAIL | 01)CNW (MOUNT ISA) ELECT WHO,01)CROMHK-RIG,KIT,01)MOUNTING,HANDRAIL | MHK-RIG | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | MHK-RIG | EATON | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.eaton.com/us/en-us/skuPage.MHK-RIG.html | [10 empty] | Cleansed | 31162313 Mounting kits | KIT | NO MODIFIER | TYPE | MOUNTING,HANDRAIL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1267802 | 1267802 | KIT;CROU,V65AHPLLE5LK2EM,COMPLETE | KIT;MNFR:CROUSEHINDS COMPANY,PTNO:V65AHPLLE5LK2EM,ADDITIONAL FEATURES EN:COMPLETE PVML-5-PLLE4-C2-5-EM-V65AH | 01)CNW (MOUNT ISA) ELECT WHO,01)CROV65AHPLLE5LK2EM,KIT,01)COMPLETE PVML-5-PL | V65AHPLLE5LK2EM | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | V65AHPLLE5LK2EM |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE,FOR PVML-5-PLLE4-C2-5-EM-V65AH | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1267803 | 1267803 | KIT;CROU,V65AHPVMK1,COMPLETE | KIT;MNFR:CROUSEHINDS COMPANY,PTNO:V65AHPVMK1,ADDITIONAL FEATURES EN:COMPLETE PVML-5-PM5-T1-V65AH | 01)CNW (MOUNT ISA) ELECT WHO,01)CROV65AHPVMK1,KIT,01)COMPLETE PVML-5- | V65AHPVMK1 | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | V65AHPVMK1 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE,FOR PVML-5-PM5-T1-V65AH | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1267804 | 1267804 | KIT;CROU,V65AKPVMK1EM,COMPLETE | KIT;MNFR:CROUSEHINDS COMPANY,PTNO:V65AKPVMK1EM,ADDITIONAL FEATURES EN:COMPLETE PVML-5-PM5-T1-V65AH | 01)CNW (MOUNT ISA) ELECT WHO,01)CROV65AKPVMK1EM,KIT,01)COMPLETE PVML-5- | V65AKPVMK1EM | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | V65AKPVMK1EM |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE,FOR PVML-5-PM5-T1-V65AH | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1266785 | 1266785 | KIT;NHP,CEL3160MK,PBD ISOLATOR SWITCH,TB | KIT;MNFR:NHP,PTNO:CEL3160MK,ADDITIONAL FEATURES EN:PBD ISOLATOR SWITCH,TBP 160A 3P | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCEL3160MK,KIT,01)PBD ISOLATOR SWITCH,TBP 160 | CEL3160MK | 3000664 | NHP | NHP | CEL3160MK | NHP | NHP | TBP 160A 3P | CNW (MOUNT ISA) ELECT WHO |  | https://nhp.com.au/product/CEL3160MK | [10 empty] | Enriched | 39122200 Electrical switches and accessories | KIT | NO MODIFIER | TYPE | PBD ISOLATOR SWITCH | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1274457 | 1274457 | KIT;NHP,SCO1253PSTD,MANUAL CHANGEOVER SW | KIT;MNFR:NHP,PTNO:SCO1253PSTD,ADDITIONAL FEATURES EN:MANUAL CHANGEOVER SWITCH,125 A,HANDLE AND SHAFT,STANDARD ON-OFF-ON |  | SCO1253PSTD | 3000664 | NHP | NHP | SCO1253PSTD | NHP |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/SCO1253PSTD-139481-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39122200 Electrical switches and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS | STANDARD ON-OFF-ON MANUAL CHANGEOVER SWITCH,125 A,HANDLE AND SHAFT | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272734 | 1272734 | KIT;NHP,SLB2503P,HNDL,EXTRNL,F/SWITCH,LO | KIT;MNFR:NHP,PTNO:SLB2503P,ADDITIONAL FEATURES EN:HANDLE,EXTERNAL,F/SWITCH,LOAD BREAK,SLB,3P,250A,BRAND:SOCOMEC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPSLB2503P,KIT,01)HANDLE,EXTERNAL,F/SWITCH,LO | SLB2503P | 3000664 | NHP | NHP | SLB2503P | NHP | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/SLB2503P-10484-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 39122200 Electrical switches and accessories | KIT | NO MODIFIER | TYPE | EXTERNAL HANDLE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SOCOMEC,FOR SWITCH,LOAD BREAK,3 P,250 A | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1271370 | 1271370 | KIT;SCHN,REF-OP-210215-10546257 | KIT;MNFR:SCHNEIDER INC,PTNO:REF-OP-210215-10546257 |  | REF-OP-210215-10546257 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | REF-OP-210215-10546257 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1273209 | 1273209 | LIGHT,INDCTG;SCHN,ZBVB5,24VAC/DC,ORNG | LIGHT,INDICATING;MNFR:SCHNEIDER INC,PTNO:ZBVB5,ADDITIONAL FEATURES EN:24VAC/DC,ORANGE, MODULE LED STEADY | 01)CNW (TOWNSVILLE) ELECT SU,01)SCHZBVB5,LIGHT,INDICATING,01)24VAC/DC,ORANGE,02) MODULE LED STEADY | ZBVB5 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZBVB5 | SCHNEIDER INC |  |  |  |  | https://us.rs-online.com/product/schneider-electric/zbvb5/70008928/ | https://in.element14.com/schneider-electric/zbvb5/led-light-blk-yel-24v/dp/2058823 | [9 empty] | Enriched | 39101803 Lamp base | HOLDER | LAMP | TYPE | INDICATING,MODULE,STEADY | LAMP TYPE | LED | POWER RATING |  | VOLTAGE RATING | 24 VAC/DC | LAMP BASE |  | HOLDER MATERIAL |  | SIZE | 22 MM | MOUNTING TYPE |  | TERMINAL TYPE | SCREW CLAMP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:ORANGE | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1220140 | 1220140 | LIGHT;AB,A-B856TBPL1,STK,INLINE PIEZO SO | LIGHT;MNFR:ALLEN BRADLEY,PTNO:A-B856TBPL1,ADDITIONAL FEATURES EN:STACK,INLINE PIEZO SOUNDER 24V AC/DC 102DB | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B856TBPL1,LIGHT,01)STACK,INLINE PIEZO SOUNDER | A-B856TBPL1 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 856T-BPL1 | ALLEN BRADLEY | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rockwellautomation.com/en-se/products/details.856T-BPL1.html | [10 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | STACK,INLINE | LAMP WATTAGE |  | POWER SUPPLY | 24 VAC/DC | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W PIEZO SOUNDER 102 DB | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272311 | 1272311 | LIGHT;EATO,21BA9SL110W,LED BULB,110V,WHT | LIGHT;MNFR:EATON CORPORATION,PTNO:21BA9SL110W,ADDITIONAL FEATURES EN:LED BULB,110V,WHITE,AC/DC,BRIGHT,SINGLE CHIP |  | 21BA9SL110W | 3000267 | EATON CORPORATION | EATON CORPORATION | 21BA9SL110W | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39101628 Light emitting diode LED lamp | LAMP | LED | TYPE | SINGLE CHIP | WATTAGE | 110 W | VOLTAGE RATING | 110 VAC/DC | BASE TYPE | BA9SL | SHAPE DESIGNATION |  | COLOUR | BRIGHT WHITE | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272312 | 1272312 | LIGHT;EATO,22LED120WH,LED BULB,120V,WHT | LIGHT;MNFR:EATON CORPORATION,PTNO:22LED120WH,ADDITIONAL FEATURES EN:LED BULB,120V,WHITE,SUPER BRIGHT |  | 22LED120WH | 3000267 | EATON CORPORATION | EATON CORPORATION | 22LED120WH | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39101628 Light emitting diode LED lamp | LAMP | LED | TYPE |  | WATTAGE |  | VOLTAGE RATING | 120 V | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | SUPER BRIGHT WHITE | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1260077 | 1260077 | LIGHT;EATO,EAT21BA9SL110V | LIGHT;MNFR:EATON CORPORATION,PTNO:EAT21BA9SL110V |  | EAT21BA9SL110V | 3000267 | EATON CORPORATION | EATON CORPORATION | EAT21BA9SL110V | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE |  | LAMP WATTAGE |  | POWER SUPPLY | 110 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1258719 | 1258719 | LIGHT;HYS,2101681,3T FORKLIFT,SWITCH/IND | LIGHT;MNFR:HYSTER,PTNO:2101681,ADDITIONAL FEATURES EN:3T FORKLIFT,SWITCH/INDICATOR | 01)ADAPT-A-LIFT GROUP PTY LT,01)2101681,LIGHT,01)3T FORKLIFT,SWITCH/INDICATO | 2101681 | 3000023 | HYSTER | HYSTER | 2101681 | HYSTER | ADAPT-A-LIFT GROUP PTY LT |  |  |  | https://sd652bdd95dd972a2.jimcontent.com/download/version/1650965058/module/11675881572/name/Hyster%20D475%20D466%20Forklift%20Trucks%20Optional%20Parts%20Manual%20PDF.pdf | https://www.orangeparts.com/hyster-2101681-switch/ | [9 empty] | Enriched | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | INDICATOR LIGHT | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 3 TON FORKLIFT | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1258718 | 1258718 | LIGHT;HYS,4626002,3T FORKLIFT REAR TAIL | LIGHT;MNFR:HYSTER,PTNO:4626002,ADDITIONAL FEATURES EN:3T FORKLIFT REAR TAIL | 01)ADAPT-A-LIFT GROUP PTY LT,01)4626002,LIGHT,01)3T FORKLIFT REAR TAIL | 4626002 | 3000023 | HYSTER | HYSTER | 4626002 | HYSTER | ADAPT-A-LIFT GROUP PTY LT |  |  |  | https://shop.moderngroup.com/4626002-hyster-aftermarket-lamp-assembly-rear/ | [10 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LAMP | NO MODIFIER | TYPE | REAR TAIL | WATTAGE |  | VOLTAGE RATING |  | SHAPE DESIGNATION |  | BASE TYPE |  | LAMP LIFE |  | COLOUR |  | SIZE |  | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 3 TON FORKLIFT | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1273878 | 1273878 | LIGHT;MILW,FL-LED,MAGNETIC FLOOD | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:FL-LED,ADDITIONAL FEATURES EN:MAGNETIC FLOOD | 01)MOUNT ISA MINING SUPPLIES,01)FL-LED,LIGHT,01)MAGNETIC FLOOD | FL-LED | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | FL-LED | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/workshop-lighting/FL-LED.html | https://sydneytools.com.au/product/milwaukee-flled-300-lumen-magnetic-flood-light | [9 empty] | Enriched | 39111611 Flood light | LIGHT | FLOOD | TYPE | MAGNETIC | LAMP WATTAGE |  | VOLTAGE RATING |  | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION | IP54 | BALLAST TYPE |  | LAMP LIFE | 5 HR | INTENSITY | 300 LM | SIZE | 13.69 LGX1.65 WD CM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1274455 | 1274455 | LIGHT;MILW,IPL-LED,PEN,LED,IP67,100 LMS | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:IPL-LED,ADDITIONAL FEATURES EN:PEN,LED,IP67,100 LMS |  | IPL-LED | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | IPL-LED | MILWAUKEE ELECTRIC TOOL |  |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/personal-lighting/IPL-LED.html | https://sydneytools.com.au/product/milwaukee-ipl-led-penlight | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | LED,PEN,CORDLESS | LAMP WATTAGE |  | POWER SUPPLY | 4 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP67,INTENSITY:100 LM | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1274456 | 1274456 | LIGHT;MILW,L4HLVIS301,USB RECHARGEABLEBE | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:L4HLVIS301,ADDITIONAL FEATURES EN:USB RECHARGEABLEBEACON HARD HAT LIGHT KIT - 3.0AH |  | L4HLVIS301 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | L4HLVIS301 | MILWAUKEE ELECTRIC TOOL |  |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/personal-lighting/L4HLVIS301.html | https://sydneytools.com.au/product/milwaukee-l4hlvis301-4v-30ah-redlithium-usb-rechargeable-beacon-hard-hat-led-headlamp-kit | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | KIT | NO MODIFIER | TYPE | LIGHT | CONTENTS | 1 X L4 HLVIS USB RECHARGEABLE BEACON HARD HAT LIGHT,1 X REDLITHIUM USB 3 AH BATTERY P/N L4B3,1 X 36 CM HEAVY DUTY CORD,2 X HARD HAT CLIPS | NUMBER OF ITEMS | 5 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1220278 | 1220278 | LIGHT;MILW,L4PWL301,USB TORCH | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:L4PWL301,ADDITIONAL FEATURES EN:USB TORCH | 01)J BLACKWOOD & SONS,01)2924582,LIGHT,01)USB TORCH | L4PWL301 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | L4PWL301 | MILWAUKEE ELECTRIC TOOL | J BLACKWOOD & SONS |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/personal-lighting/L4PWL301.html | https://sydneytools.com.au/product/milwaukee-l4pwl301-4v-30ah-redlithium-usb-pivoting-work-light-kit | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | KIT | NO MODIFIER | TYPE | LIGHT | CONTENTS | 1 X L4 PWL USB RECHARGEABLE PIVOTING WORK LIGHT/TORCH,1 X REDLITHIUM USB 3 AH BATTERY P/N L4B3,1 X 36 CM HEAVY DUTY CORD | NUMBER OF ITEMS | 3 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1273877 | 1273877 | LIGHT;MILW,M12AL-0,CORDLS,12V,LED,HIGH M | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12AL-0,ADDITIONAL FEATURES EN:CORDLESS,12V,LED,HIGH MODE:1000 LUMENS,LOW MODE:200 LUMENS | 01)MOUNT ISA MINING SUPPLIES,01)M12AL-0,LIGHT,01)CORDLESS,12V,LED,02)HIGH MODE:1000 LUMENS,LOW M | M12AL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12AL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M12AL-0.html | https://sydneytools.com.au/product/milwaukee-m12al-0-12v-li-ion-cordless-led-high-performance-area-light-skin-only-15430 | [9 empty] | Enriched | 39111611 Flood light | LIGHT | FLOOD | TYPE | LED,CORDLESS,HIGH PERFORMANCE AREA | LAMP WATTAGE |  | VOLTAGE RATING | 12 V | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION | IP54 | BALLAST TYPE |  | LAMP LIFE | 3.5 HR,15 HR | INTENSITY | 1000 LM HIGH MODE,200 LM LOW MODE | SIZE | 180 LGX140 WDX140 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1220251 | 1220251 | LIGHT;MILW,M12PAL-0,TL,PIVOTING AREA | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12PAL-0,ADDITIONAL FEATURES EN:TOOL,PIVOTING AREA | 01)MOUNT ISA MINING SUPPLIES,01)M12PAL-0,LIGHT,01)TOOL,PIVOTING AREA | M12PAL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12PAL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M12PAL-0.html | https://www.powertoolmate.co.uk/electrical-lighting/lighting/milwaukee-m12-m12pal-0-rover-pivot-area-light-body-only-m12b6-6-0ah-battery.htm | [9 empty] | Enriched | 39111611 Flood light | LIGHT | FLOOD | TYPE | PIVOTING AREA | LAMP WATTAGE |  | VOLTAGE RATING | 12 V | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION | IP54 | BALLAST TYPE |  | LAMP LIFE | 24 HR | INTENSITY | 250/700 LM | SIZE | 91 LGX64 WDX134 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOOL ONLY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1271036 | 1271036 | LIGHT;MILW,M12UCL-0,C/LESS,LED,U/CARRIAG | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12UCL-0,ADDITIONAL FEATURES EN:C/LESS,LED,U/CARRIAGE | 01)MOUNT ISA MINING SUPPLIES,01)M12UCL-0,LIGHT,01)C/LESS,LED,U/CARRIAGE | M12UCL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12UCL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/workshop-lighting/M12UCL0.html | https://sydneytools.com.au/product/milwaukee-m12ucl0-1200-lumen-12v-liion-led-undercarriage-light-skin-only | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | LED,CORDLESS,UNDERCARRIAGE | LAMP WATTAGE |  | POWER SUPPLY | 12 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE | MAGNETIC BASE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272663 | 1272663 | LIGHT;MILW,M18DSAL-0,DL,POWER TOWER,M18 | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18DSAL-0,ADDITIONAL FEATURES EN:DUAL,POWER TOWER,M18,TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)M18DSAL-0,LIGHT,01)DUAL,POWER TOWER,02)M18,TOOL ONLY | M18DSAL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18DSAL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M18DSAL-0.html | https://sydneytools.com.au/product/milwaukee-m18dsal-0-18v-li-ion-cordless-dual-power-tower-led-light-skin-only | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | LED,CORDLESS,DUAL POWER TOWER | LAMP WATTAGE |  | POWER SUPPLY | 18 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W M18 BATTERY,TOOL ONLY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Part Number Updated as per Websource | 1217734 | 1217734 | LIGHT;MILW,M18H0AL-0,LED,HP,AREA LIGHT,4 | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18H0AL-0,ADDITIONAL FEATURES EN:LED,HP,AREA LIGHT,4000 LUMENS,TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)M18H0AL-0,LIGHT,01)LED,HP,AREA LIGHT,4000 LUME | M18H0AL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18HOAL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M18HOAL-0.html | https://www.bigredpowertools.co.uk/milwaukee-m18hoal-0 | [9 empty] | Enriched | 39111611 Flood light | LIGHT | FLOOD | TYPE | LED,HIGH PERFORMANCE AREA | LAMP WATTAGE |  | VOLTAGE RATING | 18/240 V | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE | 12 HR | INTENSITY | 400 LM | SIZE | 246 LGX218 WDX250 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOOL ONLY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1219603 | 1219603 | LIGHT;MILW,M18HOAL-0,LED AREA LIGHT | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18HOAL-0,ADDITIONAL FEATURES EN:LED AREA LIGHT | 01)TOOL 'N' TACKLE,01)M18HOAL-0,LIGHT,01)LED AREA LIGHT | M18HOAL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18HOAL-0 | MILWAUKEE ELECTRIC TOOL | TOOL 'N' TACKLE |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M18HOAL-0.html | https://www.bigredpowertools.co.uk/milwaukee-m18hoal-0 | [9 empty] | Enriched | 39111611 Flood light | LIGHT | FLOOD | TYPE | LED,HIGH PERFORMANCE AREA | LAMP WATTAGE |  | VOLTAGE RATING | 18/240 V | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE | 12 HR | INTENSITY | 400 LM | SIZE | 246 LGX218 WDX250 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOOL ONLY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1268385 | 1268385 | LIGHT;MILW,M18ONERSAL-0,LED,M18 R/STAND | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18ONERSAL-0,ADDITIONAL FEATURES EN:LED,M18 R/STAND | 01)MOUNT ISA MINING SUPPLIES,01)M18ONERSAL-0,LIGHT,01)LED,M18 R/STAND | M18ONERSAL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18ONERSAL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M18ONERSAL-0.html | https://sydneytools.com.au/product/milwaukee-m18onersal-0-18v-li-ion-cordless-one-key-led-remote-stand-light-skin-only | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | LED,CORDLESS,ONE-KEY REMOTE STAND | LAMP WATTAGE |  | POWER SUPPLY | 18 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W M18 BATTERY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1217735 | 1217735 | LIGHT;MILW,M18TAL-0,COMPCT,SITE LIGHT,W/ | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18TAL-0,ADDITIONAL FEATURES EN:COMPACT,SITE LIGHT,W/FLOOD MODE,TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)M18TAL-0,LIGHT,01)COMPACT,SITE LIGHT,W/FLOOD | M18TAL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18TAL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/lighting/job-site-lighting/M18TAL-0.html | https://sydneytools.com.au/product/milwaukee-m18tal-0-18v-li-ion-cordless-radius-compact-jobsite-light-with-flood-mode-skin-only | [9 empty] | Enriched | 39111611 Flood light | LIGHT | FLOOD | TYPE | COMPACT,SITE,MODE | LAMP WATTAGE |  | VOLTAGE RATING | 18 V | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE | 7 HR | INTENSITY | 2200 LM | SIZE | 238 LGX238 WDX290 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOOL ONLY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1254468 | 1254468 | LIGHT;MILW,M18URSL0,UTILITY REMOTE SPOT | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18URSL0,ADDITIONAL FEATURES EN:UTILITY REMOTE SPOT,WITH ONE-KEY,TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)M18URSL0,LIGHT,01)UTILITY REMOTE SPOT,WITH ON,02)TOOL ONLY | M18URSL0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18URSL0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.co.nz/power-tools/lighting/job-site-lighting/M18URSL0.html | https://sydneytools.com.au/product/milwaukee-m18ursl0-18v-liion-cordless-onekey-utility-remote-spot-light-skin-only | [9 empty] | Enriched | 39111611 Flood light | LIGHT | FLOOD | TYPE | UTILITY REMOTE SPOT,ONE-KEY | LAMP WATTAGE |  | VOLTAGE RATING | 12/18 VDC | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION | IP54 | BALLAST TYPE |  | LAMP LIFE | 3.5 HR | INTENSITY | 4400 LM | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TOOL ONLY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1211878 | 1211878 | LIGHT;MILW,MXFTL-0,TWR,MX FUEL | LIGHT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:MXFTL-0,ADDITIONAL FEATURES EN:TOWER,MX FUEL | 01)MOUNT ISA MINING SUPPLIES,01)MXFTL-0,LIGHT,01)TOWER,MX FUEL | MXFTL-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | MXFTL-0 | MILWAUKEE ELECTRIC TOOL | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/mx-fuel/equipment/MXFTL-0.html | https://th.misumi-ec.com/en/vona2/detail/223304085456/?HissuCode=MXFTL-0 | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | CORDLESS,TOWER | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:MX FUEL | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1215716 | 1215716 | LIGHT;MNRC,LIGHTGLOBE,FLURO,8W,24V,300MM | LIGHT;MNFR:MINEARC,PTNO:LIGHTGLOBE,ADDITIONAL FEATURES EN:FLURO,8W,24V,300MM | 01)MINEARC SYSTEMS PTY.LTD,01)LIGHTGLOBE,LIGHT,01)FLURO,8W,24V,300MM | LIGHTGLOBE | 3000435 | MINEARC | MINEARC | LIGHTGLOBE |  | MINEARC SYSTEMS PTY.LTD |  |  |  | Url Not Found | [10 empty] | Cleansed | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | GLOBE,FLUORESCENT | LAMP WATTAGE | 8 W | POWER SUPPLY | 24 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:300 MM | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1270781 | 1270781 | LIGHT;NHP,D7PP0PN3W,PLT,22.5,AMBR,LED,24 | LIGHT;MNFR:NHP,PTNO:D7PP0PN3W,ADDITIONAL FEATURES EN:PILOT,22.5,AMBR,LED,24VAC/DC | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPD7PP0PN3W,LIGHT,01)PILOT,22.5,AMBR,LED,24VAC/D | D7PP0PN3W | 3000664 | NHP | NHP | D7PP0PN3W | NHP | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-797/NHP_AU_Catalog-812/NHP_AU_Catalog-877/D7PP0PN3W | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT,LED | LAMP WATTAGE | 1 W | LENS COLOUR | AMBR | VOLTAGE RATING | 24 VAC/DC | SIZE | 22.5 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,CE,UL,UR | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1270782 | 1270782 | LIGHT;NHP,D7PP4PN3R,PLT,COMP,PLAS,RED,LE | LIGHT;MNFR:NHP,PTNO:D7PP4PN3R,ADDITIONAL FEATURES EN:PILOT,COMP,PLAS,RED,LED,24VAC/DC | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPD7PP4PN3R,LIGHT,01)PILOT,COMP,PLAS,RED,LED,24V | D7PP4PN3R | 3000664 | NHP | NHP | D7PP4PN3R | NHP | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.nhp.com.au/product/d7pp4pn3r | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT,LED | LAMP WATTAGE | 1 W | LENS COLOUR | RED | VOLTAGE RATING | 24 VAC/DC | SIZE | 22.5 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,CE,UL,UR | ADDITIONAL FEATURES | MATERIAL:PLASTIC,COMPLETE | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Partially Match | 1270783 | 1270783 | LIGHT;NHP,D7PP7PN3G,PLT,COMP,PLAS,GRN,LE | LIGHT;MNFR:NHP,PTNO:D7PP7PN3G,ADDITIONAL FEATURES EN:PILOT,COMP,PLAS,GRN,LED,24VAC/DC | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPD7PP7PN3G,LIGHT,01)PILOT,COMP,PLAS,GRN,LED,24V | D7PP7PN3G | 3000664 | NHP | NHP | D7PP7PN3G | NHP | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://nhp.com.au/product/d7pp3pn7g | [10 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT,LED | LAMP WATTAGE | 1 W | LENS COLOUR | GREEN | VOLTAGE RATING | 24 VAC/DC | SIZE | 22.5 MM | LAMP BASE |  | DEGREE OF PROTECTION | IP65,IP66,IP69K | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,CE,UL,UR | ADDITIONAL FEATURES | MATERIAL:PLASTIC,COMPLETE | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1270784 | 1270784 | LIGHT;NHP,D7PP7PN3W,PLT,COMP,PLAS,WHT,LE | LIGHT;MNFR:NHP,PTNO:D7PP7PN3W,ADDITIONAL FEATURES EN:PILOT,COMP,PLAS,WHT,LED,24VAC/DC | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPD7PP7PN3W,LIGHT,01)PILOT,COMP,PLAS,WHT,LED,24V | D7PP7PN3W | 3000664 | NHP | NHP | D7PP7PN3W | NHP | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.tradezone.com.au/product/nhp-22-5mm-led-indicator-pilot-light-plastic-white-24v-ac-dc-21124.html | https://www.blackwoods.com.au/electrical/automation-control/pushbuttons-pilot-lights/sprecher-schuh-pilot-light-22-5mm-plastic-24v-ac-dc-clear-d7pp7pn3w/p/00659298 | [9 empty] | Enriched | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | PILOT,LED | LAMP WATTAGE |  | LENS COLOUR | WHITE | VOLTAGE RATING | 24 VAC/DC | SIZE | 22.5 MM | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:PLASTIC,COMPLETE | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272168 | 1272168 | LIGHT;SCHN,PIEOBL600,OBL,MINI LED BATTEN | LIGHT;MNFR:SCHNEIDER INC,PTNO:PIEOBL600,ADDITIONAL FEATURES EN:OBL,MINI LED BATTEN,KUNZ | 01)SHERRIFF ELECTRICAL SUPPL,01)PIEOBL600,LIGHT,01)OBL,MINI LED BATTEN,02)KUNZ | PIEOBL600 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | PIEOBL600 | PIERLITE | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.jrt.com.au/ajt/category/Light-Fittings/Batten/Batten-luminaire/BATTEN-LED-15W-COLOUR-LUMEN-SELECT-MINI/PIEOBL600/p/14277064 | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Lighting/Batten/OBL-MINI-LED-BATTEN/p/PIEOBL600O23 | [9 empty] | Enriched | 39110000 Lighting Fixtures and Accessories | LIGHT | NO MODIFIER | TYPE | MINI LED BATTEN | LAMP WATTAGE | 10 TO 15 W | POWER SUPPLY | 240 V | COLOUR | WHITE | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE | SURFACE | MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 62031,IEC/PAS 62722 AND IEC/PAS 62717 | ADDITIONAL FEATURES | BRAND:KUNZ,SERIES:OBL | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | PRocessed based on Websource, Conflict w.r.t Input | 1219466 | 1219466 | SENSOR,CUR;SCHN,ZCKD59 | SENSOR,CURRENT;MNFR:SCHNEIDER INC,PTNO:ZCKD59 | 01)RS COMPONENTS PTY LTD,01)ZCKD59,SENSOR,CURRENT | ZCKD59 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZCKD59 | SCHNEIDER INC | RS COMPONENTS PTY LTD |  |  |  | https://tesensors.com/in/en/product/reference/ZCKD59 | https://www.cstechnoelectric.com/zckd59-schneider-electric-limit-switch-head-20930-p.asp | [9 empty] | Enriched | 39122200 Electrical switches and accessories | HEAD | NO MODIFIER | TYPE | LIMIT SWITCH | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | FOR CURRENT SENSOR | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1267558 | 1267558 | SENSOR,FLW;YOKG,AXG100-WG000CS2AL210B | SENSOR,FLOW;MNFR:YOKOGAWA,PTNO:AXG100-WG000CS2AL210B,ADDITIONAL FEATURES EN: )MAGNETIC FLOW METER AXG100 TABLE E FLANGE REMOTE SENSOR TYPE AXG | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG100-WG000CS2AL210B,SENSOR,FLOW,01) )MAGNETIC FLOW METER AXG1 | AXG100-WG000CS2AL210B | 3000446 | YOKOGAWA | YOKOGAWA | AXG100-WG000CS2AL210B | YOKOGAWA | YOKOGAWA AUSTRALIA PTY LT |  |  |  | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [10 empty] | Enriched | 41112501 Flowmeters | FLOWMETER | NO MODIFIER | TYPE | MAGNETIC,FLANGE REMOTE SENSOR | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE | IP66,IP67 | POWER SUPPLY | 100 TO 240 VAC,50/60 HZ | TEMPERATURE RATING | -40 TO 60 DEG C | MATERIAL | STAINLESS STEEL 304 | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE | BRACKET | CERTIFICATION/STANDARD | EN 61326-1 | ADDITIONAL FEATURES | TABLE E | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272482 | 1272482 | SENSOR,PH;YOKG,PH8EFP-03-TN-TT1-N-E*A,KC | SENSOR,PH;MNFR:YOKOGAWA,PTNO:PH8EFP-03-TN-TT1-N-E*A,ADDITIONAL FEATURES EN:KCL FILLING,CABLE AND KCL TUBE LENGTH:3 M,SOLUTION GROUND MATERIAL:TITANIUM,KCL RESERVE TANK:F/GENERAL (250ML SOLUTION)W/50A PIPE MOUNTING BRAC,TYPE:GENERAL,MEASURING SYSTEM:FOR FLXA402/PH202/FLXA202/FLXA21,STYLE CODE:STYLE A |  | PH8EFP-03-TN-TT1-N-E*A | 3000446 | YOKOGAWA | YOKOGAWA | PH8EFP-03-TN-TT1-N-E*A | YOKOGAWA |  |  |  |  | https://web-material3.yokogawa.com/IM12B07J01-01E.pdf | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | PH | TYPE | GENERAL,KCL FILLING | SENSING RANGE | 0 TO 14 PH | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | MATERIAL | TITANIUM | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI/ISA-60079-11 (2014) | ADDITIONAL FEATURES | CABLE AND KCL TUBE LENGTH:3 M,SOLUTION GROUND,KCL RESERVE TANK:FOR GENERAL (250 ML SOLUTION) C/W 50 A PIPE MOUNTING BRAC,TYPE:GENERAL,MEASURING SYSTEM:FOR FLXA402/PH202/FLXA202/FLXA21,STYLE CODE:STYLE A | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1273034 | 1273034 | SENSOR,POSN;HYS,2076661,THROTTLE/INCHING | SENSOR,POSITION;MNFR:HYSTER,PTNO:2076661,ADDITIONAL FEATURES EN:THROTTLE/INCHING 3PIN | 01)ADAPT-A-LIFT GROUP PTY LT,01)2076661,SENSOR,POSITION,01)THROTTLE/INCHING 3PIN | 2076661 | 3000023 | HYSTER | HYSTER | 2076661 | HYSTER | ADAPT-A-LIFT GROUP PTY LT |  |  |  | https://shop.moderngroup.com/2076661-hyster-aftermarket-sensor-throttl/ | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | POSITION | TYPE | THROTTLE/INCHING | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PIN:3 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1272900 | 1272900 | SENSOR,PRES;PERK,F622-333,OIL,SWITCH SEN | SENSOR,PRESSURE;MNFR:PERKINS ENGINES,PTNO:F622-333,ADDITIONAL FEATURES EN:OIL,SWITCH SENDER | 01)MITECH,01)F622-333,SENSOR,PRESSURE,01)OIL,SWITCH SENDER | F622-333 | 3000590 | PERKINS ENGINES | PERKINS ENGINES | F622-333 | PERKINS ENGINES | MITECH |  |  |  | https://www.blackwoods.com.au/valves-flow-control/switches-pressure/pressure-switches-general-purposeindustrial/oil-pressure-switch-f622-333/p/00048675 | https://www.acepowerparts.com/oil-pressure-sensor-perkins-622-333/ | [9 empty] | Enriched | 41111927 Pressure sensors | SENSOR | PRESSURE | TYPE | OIL,SWITCH SENDER | MEASURING RANGE | 0 TO 10 BAR | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY | 12 TO 24 V | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1253909 | 1253909 | SENSOR,PROXY;AB,889RF3ECA2,CABLE FEM STR | SENSOR,PROXIMITY;MNFR:ALLEN BRADLEY,PTNO:889RF3ECA2,ADDITIONAL FEATURES EN:CABLE FEM STRAIGHT M12-3PIN 2M | 01)NHP ELECTRICAL ENGINEERIN,01)889RF3ECA2,SENSOR,PROXIMITY,01)CABLE FEM STRAIGHT M12-3PIN | 889RF3ECA2 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 889RF3ECA2 | ALLEN BRADLEY | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.cbtcompany.com/889rf3eca2-ab | [10 empty] | Enriched | 31152100 Cords | CORD | NO MODIFIER | TYPE |  | CONSTRUCTION |  | DIAMETER |  | LENGTH | 2 M | MATERIAL |  | COLOUR | BLACK | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:M12 FEMALE STRAIGHT,NUMBER OF PIN:3,FOR PROXIMITY SENSOR | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1220477 | 1220477 | SENSOR,PROXY;FUCH,3666000 | SENSOR,PROXIMITY;MNFR:FUCHS LUBRICANTS,PTNO:3666000 | 01)FUCHS LUBRICANTS (A'SIA),01)3666000,SENSOR,PROXIMITY | 3666000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | 3666000 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE |  | SENSING RANGE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | CABLE LENGTH |  | ENCLOSURE |  | MATERIAL |  | SWITCHING FREQUENCY |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1275796 | 1275796 | SENSOR,PROXY;FUCH,FLA-6228020 | SENSOR,PROXIMITY;MNFR:FUCHS LUBRICANTS,PTNO:FLA-6228020 | 01)FUCHS LUBRICANTS (A'SIA),01)FLA-6228020,SENSOR,PROXIMITY | FLA-6228020 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | FLA-6228020 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE |  | SENSING RANGE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | CABLE LENGTH |  | ENCLOSURE |  | MATERIAL |  | SWITCHING FREQUENCY |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1273290 | 1273290 | SENSOR,PROXY;NHP,RFRC10SW915,10 MM,IP67 | SENSOR,PROXIMITY;MNFR:NHP,PTNO:RFRC10SW915,ADDITIONAL FEATURES EN:10 MM,IP67,BATTERY POWERED,STEUTE,WIRELESS MAGNETIC | 01)NHP ELECTRICAL ENGINEERIN,01)RFRC10SW915,01)NHP ELECTRICAL ENGINEERIN,01)RFRC10SW915,SENSOR,PROXIMITY,01)10 MM,IP67,BATTERY POWERED,02)STEUTE,WIRELESS MAGNETIC | RFRC10SW915 | 3000664 | NHP | NHP ELECTRICAL ENGINEERIN | RFRC10SW915 | NHP | STEUTE |  |  |  | https://nhpnz.co.nz/product/rfrc10sw915 | [10 empty] | Enriched | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | BATTERY POWERED,WIRELESS MAGNETIC | SENSING RANGE | 10 MM | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | CABLE LENGTH |  | ENCLOSURE | IP67 | MATERIAL | THERMOPLASTIC | SWITCHING FREQUENCY | 915 MHZ | MOUNTING TYPE |  | SIZE | 40 WDX39 HTX20 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60529,EN 60947-5-1,EN 61000-6-2,IEC 60529 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1273291 | 1273291 | SENSOR,PROXY;NHP,RFRC30SW915KST,30MM,IP6 | SENSOR,PROXIMITY;MNFR:NHP,PTNO:RFRC30SW915KST,ADDITIONAL FEATURES EN:30MM,IP67,BATTERY POWERED,STEUTE WIRELESS MAGNETIC | 01)NHP ELECTRICAL ENGINEERIN,01)RFRC30SW915KST,01)NHP ELECTRICAL ENGINEERIN,01)RFRC30SW915KST,SENSOR,PROXIMITY,01)30MM,IP67,BATTERY POWERED,02)STEUTE WIRELESS MAGNETIC | RFRC30SW915KST | 3000664 | NHP | NHP ELECTRICAL ENGINEERIN | RFRC30SW915KST | NHP | STEUTE |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/RFRC30SW915KST-203558-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | BATTERY POWERED,WIRELESS MAGNETIC | SENSING RANGE | 30 MM | OUTPUT TYPE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | CABLE LENGTH |  | ENCLOSURE | IP67 | MATERIAL | THERMOPLASTIC | SWITCHING FREQUENCY | 915 MHZ | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1269000 | 1269000 | SENSOR,SPD;ASWP,E632600000 | SENSOR,SPEED;MNFR:AUSWEEP,PTNO:E632600000 | 01)SWEEPERS N SCRUBBERS,01)E632600000,SENSOR,SPEED | E632600000 | 3000416 | AUSWEEP | AUSWEEP | E632600000 |  | SWEEPERS N SCRUBBERS |  |  |  | Url Not Found | [10 empty] | Cleansed | 41111921 Speed sensors | SENSOR | SPEED | TYPE |  | MEASURING RANGE |  | ACCURACY |  | POWER SUPPLY |  | CONNECTION TYPE |  | FREQUENCY RANGE |  | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1218165 | 1218165 | SENSOR,VIBRT;SKF,CMSS-2200,XDCR,ACCL,LO | SENSOR,VIBRATION;MNFR:SKF,PTNO:CMSS-2200,ADDITIONAL FEATURES EN:XDCR,ACCL,LO PF | 01)SKF,01)CMSS-2200,01)APPLIED INDUSTRIAL TECHNO,01)CMSS-2200,SENSOR,VIBRATION,01)XDCR,ACCL,LO PF | CMSS-2200 | 3000348 | SKF | SKF | CMSS-2200 | SKF | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/ph/productinfo/productid-CMSS%202200 | [10 empty] | Enriched | 41113639 Accelerometers | ACCELEROMETER | NO MODIFIER | TYPE | VIBRATION SENSOR,LOW-PROFILE | MEASURING RANGE |  | ACCURACY |  | SENSITIVITY |  | INPUT RATING |  | OUTPUT TYPE |  | MOUNTING TYPE |  | FREQUENCY RATING |  | BANDWIDTH |  | SIZE | 53 LGX25 WD X40 HT MM | INTERFACE TYPE |  | TEMPERATURE RATING | -50 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | XDCR | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1270614 | 1270614 | SENSOR; THFI,MTSGHT0120MD601A0,G SERIES | SENSOR;MNFR:THERMO FISHER,PTNO:MTSGHT0120MD601A0,ADDITIONAL FEATURES EN:G SERIES,ROD STYLE,LINEAR POSITION | 01)THERMO FISHER SCIENTIFIC,01)MTSGHT0120MD601A0,SENSOR,01)G SERIES,ROD STYLE,LINEAR P | MTSGHT0120MD601A0 | 3000467 | THERMO FISHER | THERMO FISHER | MTSGHT0120MD601A0 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41111900 Indicating and recording instruments | SENSOR | POSITION | TYPE | LINER | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | REPEATABILITY |  | LINEARITY |  | POWER SUPPLY |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:G,STYLE:ROD | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1275218 | 1275218 | SENSOR;DRAG,6810888,XXS NH3 | SENSOR;MNFR:DRAEGER,PTNO:6810888,ADDITIONAL FEATURES EN:XXS NH3 | 01)ALLIANCE SAFETY EQUIPMENT,01)6810888,SENSOR,01)XXS NH3 | 6810888 | 3000423 | DRAEGER | DRAEGER | 6810888 | DRAEGER | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/DRAEGER-6810888.html | [10 empty] | Enriched | 46171613 Gas detectors | DETECTOR | GAS | TYPE | XXS,AMMONIA | DETECTING RANGE | 0 TO 300 PPM | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1275219 | 1275219 | SENSOR;DRAG,6812600,XXS NO2 LC | SENSOR;MNFR:DRAEGER,PTNO:6812600,ADDITIONAL FEATURES EN:XXS NO2 LC | 01)ALLIANCE SAFETY EQUIPMENT,01)6812600,SENSOR,01)XXS NO2 LC | 6812600 | 3000423 | DRAEGER | DRAEGER | 6812600 | DRAEGER | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/DRAEGER-6812600.html | [10 empty] | Enriched | 46171613 Gas detectors | DETECTOR | GAS | TYPE | XXS,NITROGEN DIOXIDE,LC | DETECTING RANGE | 0 TO 50 PPM | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1220142 | 1220142 | SENSOR;DRAG,6813275,XXS O2/CO LC | SENSOR;MNFR:DRAEGER,PTNO:6813275,ADDITIONAL FEATURES EN:XXS O2/CO LC | 01)ALLIANCE SAFETY EQUIPMENT,01)6813275,SENSOR,01)XXS O2/CO LC | 6813275 | 3000423 | DRAEGER | DRAEGER | 6813275 | DRAEGER | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/DRAEGER-6813275.html | [10 empty] | Enriched | 46171613 Gas detectors | DETECTOR | GAS | TYPE | XXS,O2/CO,LC | DETECTING RANGE | 0 TO 2000 PPM | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1266251 | 1266251 | SENSOR;DRAG,6851880,DL,IR-EX/CO2 ES,DET | SENSOR;MNFR:DRAEGER,PTNO:6851880,ADDITIONAL FEATURES EN:DUAL,IR-EX/CO2 ES,DETECTOR,M:X-AM 5600 | 01)ALLIANCE SAFETY EQUIPMENT,01)6851880,SENSOR,01)DUAL,IR-EX/CO2 ES,02)DETECTOR,M:X-AM 5600 | 6851880 | 3000423 | DRAEGER | DRAEGER | 6851880 | DRAEGER | DRAEGER | X-AM 5600 | ALLIANCE SAFETY EQUIPMENT |  | https://www.thesafetyequipmentstore.com/draeger-6851880.html | [10 empty] | Enriched | 46171613 Gas detectors | DETECTOR | GAS | TYPE | IR-EX,CO2,ES | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1270063 | 1270063 | SENSOR;DRAG,D6810885,XXS SO2 | SENSOR;MNFR:DRAEGER,PTNO:D6810885,ADDITIONAL FEATURES EN:XXS SO2 | 01)ALLIANCE SAFETY EQUIPMENT,01)6810885,SENSOR,01)XXS SO2 | D6810885 | 3000423 | DRAEGER | DRAEGER | D6810885 | DRAEGER | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/DRAEGER-6810885.html | [10 empty] | Enriched | 46171613 Gas detectors | DETECTOR | GAS | TYPE | XXS,SULFUR DIOXIDE | DETECTING RANGE | 0 TO 100 PPM | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1218843 | 1218843 | SENSOR;EPM,499ATRDO | SENSOR;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:499ATRDO |  | 499ATRDO | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 499ATRDO | EMERSON PROCESS MANAGEMENT |  |  |  |  | https://www.emerson.com/documents/automation/product-data-sheet-499atrdo-trace-dissolved-oxygen-sensor-rosemount-en-69278.pdf | [10 empty] | Enriched | 41111924 Oxygen sensors | SENSOR | NO MODIFIER | TYPE | OXYGEN | SENSING RANGE | 0.1 PPB TO 20 PPM | CONNECTION TYPE | FNPT | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE | 142.99X25.1X61.41 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1268749 | 1268749 | SENSOR;GM,12612430,ASM-HTD OXY POS 2 | SENSOR;MNFR:GENERAL MOTORS,PTNO:12612430,ADDITIONAL FEATURES EN:ASM-HTD OXY POS 2 | 01)MALOUF AUTO GROUP,01)12612430,SENSOR,01)ASM-HTD OXY POS 2 | 12612430 | 3000390 | GENERAL MOTORS | GENERAL MOTORS | 12612430 | GENERAL MOTORS | MALOUF AUTO GROUP |  |  |  | https://www.gmpartsdirect.com/oem-parts/gm-heated-oxygen-sensor-12612430 |  |  |  |  | POS 2 | [5 empty] | Enriched | 41111924 Oxygen sensors | SENSOR | NO MODIFIER | TYPE | HEATED OXYGEN | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASM-HTD | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1271016 | 1271016 | SENSOR;MAN,925483 | SENSOR;MNFR:MANITOU,PTNO:925483 | 01)JUNGHEINRICH AUSTRALIA PT,01)925483,SENSOR | 925483 | 3000007 | MANITOU | MANITOU | 925483 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | Url Not Found | [10 empty] | Cleansed | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE |  | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Processed based on Websource, Conflict w.r.t Input | 1274068 | 1274068 | SENSOR;NHP,RFM100N | SENSOR;MNFR:NHP,PTNO:RFM100N | SENSOR | RFM100N | 3000664 | NHP | NHP | RFM100N | NHP |  |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/RFM100N-203557-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | Enriched | 41111900 Indicating and recording instruments | ACTUATOR | ELECTRIC | TYPE | WIRELESS,MANETIC SENSOR | TRAVEL |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | END CONNECTION |  | SHAFT DIAMETER |  | TORQUE RATING |  | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1274067 | 1274067 | SENSOR;NHP,RFRCM30SW915NIRO | SENSOR;MNFR:NHP,PTNO:RFRCM30SW915NIRO | SENSOR | RFRCM30SW915NIRO | 3000664 | NHP | NHP | RFRCM30SW915NIRO | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE |  | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Partially Match | 1270308 | 1270308 | SENSOR;PRKH,SNPT2-400-B-$MO-EMA,PRESS | SENSOR;MNFR:PARKER HANNIFIN,PTNO:SNPT2-400-B-$MO-EMA,ADDITIONAL FEATURES EN:PRESSURE | 01)PRO-DRAULICS,01)SNPT2-400-B-$MO-EMA,SENSOR,01)PRESSURE | SNPT2-400-B-$MO-EMA | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | SNPT2-400-B-$MO-EMA | PARKER HANNIFIN | PRO-DRAULICS |  |  |  | https://www.hydradynellc.com/product/snpt2-400-b-4mo-ema/sensonode-blue-pressure-sensor | [10 empty] | Enriched | 41111927 Pressure sensors | SENSOR | PRESSURE | TYPE |  | MEASURING RANGE | 0 TO 5800 PSI | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE | 48 DIAX101 HT MM | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Partially Match | 1270309 | 1270309 | SENSOR;PRKH,SNT2-600-4MO-EMA | SENSOR;MNFR:PARKER HANNIFIN,PTNO:SNT2-600-4MO-EMA | 01)PRO-DRAULICS,01)SNT2-600-4MO-EMA,SENSOR | SNT2-600-4MO-EMA | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | SNT2-600-4MO-EMA | PARKER HANNIFIN | PRO-DRAULICS |  |  |  | https://www.hydradynellc.com/product/snpt2-600-b-4mo-ema/sensonode-blue-pressure-sensor | [10 empty] | Enriched | 41111927 Pressure sensors | SENSOR | PRESSURE | TYPE |  | MEASURING RANGE | 0 TO 8700 PSI | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | SIZE | 48 DIAX101 HT MM | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAE | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Part Number Updated as per Websource | 1274695 | 1274695 | SENSOR;SCHN,2XS108B3PAM8,INDTVE,M8,LEN:4 | SENSOR;MNFR:SCHNEIDER INC,PTNO:2XS108B3PAM8,ADDITIONAL FEATURES EN:INDUCTIVE,M8,LEN:42.5 MM | 01)REXEL AUSTRALIA,01)XS108B3PAM8,SENSOR,01)INDUCTIVE,M8,LEN:42.5 MM | 2XS108B3PAM8 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XS108B3PAM8 | SCHNEIDER INC | REXEL AUSTRALIA |  |  |  | https://www.se.com/in/en/product/XS108B3PAM8/inductive-sensor-xs1-m8-l42mm-brass-sn2mm-12-24vdc-m8/ | [10 empty] | Enriched | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE |  | OUTPUT TYPE | PNP | CONNECTION TYPE | MALE | ELECTRICAL RATING | 12 TO 24 VDC | CABLE LENGTH |  | ENCLOSURE | IP65,IP67 | MATERIAL | METAL | SWITCHING FREQUENCY | 2500 HZ | MOUNTING TYPE | FLUSH | SIZE | 42.5 MM LG | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES | THREAD SIZE:M8 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Part Number Updated as per Websource | 1266623 | 1266623 | SENSOR;SCHN,SCHXS618B4MAL2,M18 24,240V | SENSOR;MNFR:SCHNEIDER INC,PTNO:SCHXS618B4MAL2,ADDITIONAL FEATURES EN:M18 24,240V | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHXS618B4MAL2,SENSOR,01)M18 24,240V | SCHXS618B4MAL2 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XS618B4MAL2 | SCHNEIDER INC | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.se.com/in/en/product/XS618B4MAL2/inductive-sensor-xs6-m18-l60mm-brass-sn12mm-24-240vac-dc-cable-2m/ | [10 empty] | Enriched | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE |  | OUTPUT TYPE | 1NO | CONNECTION TYPE | MALE | ELECTRICAL RATING | 24 TO 240 VAC/DC | CABLE LENGTH | 2 M | ENCLOSURE | IP68,IP69K | MATERIAL | METAL | SWITCHING FREQUENCY | 25 HZ AC,1000 HZ DC | MOUNTING TYPE | NON-FLUSH | SIZE | 18 DIAX60 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068-2-6 | ADDITIONAL FEATURES | THREAD SIZE:M18 | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 | Part Number Updated as per Websource | 1274692 | 1274692 | SENSOR;SCHN,XS108BLPAM8,M8,12-24 V,INDTV | SENSOR;MNFR:SCHNEIDER INC,PTNO:XS108BLPAM8,ADDITIONAL FEATURES EN:M8,12-24 V,INDUCTIVE,CYLINDRICAL | 01)REXEL AUSTRALIA,01)XS108BLPAM8,SENSOR,01)M8,12-24 V,02)INDUCTIVE,CYLINDRICAL | XS108BLPAM8 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XS108B3PAM8 | SCHNEIDER INC | REXEL AUSTRALIA |  |  |  | https://www.se.com/in/en/product/XS108B3PAM8/inductive-sensor-xs1-m8-l42mm-brass-sn2mm-12-24vdc-m8/ | [10 empty] | Enriched | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE |  | OUTPUT TYPE | PNP | CONNECTION TYPE | MALE | ELECTRICAL RATING | 12 TO 24 VDC | CABLE LENGTH |  | ENCLOSURE | IP65,IP67 | MATERIAL | METAL | SWITCHING FREQUENCY | 2500 HZ | MOUNTING TYPE | FLUSH | SIZE | 42.5 MM LG | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES | THREAD SIZE:M8,CYLINDRICAL | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | SMX | OK | 2023-06-24 | 2023-07-04 |  | 1266642 | 1266642 | SENSOR;SKF,CMDT-391-K-SL | SENSOR;MNFR:SKF,PTNO:CMDT-391-K-SL | 01)APPLIED INDUSTRIAL TECHNO M,01)CMDT-391-K-SL,SENSOR | CMDT-391-K-SL | 3000348 | SKF | SKF | CMDT-391-K-SL | SKF | APPLIED INDUSTRIAL TECHNO M |  |  |  | https://www.skf.com/ph/productinfo/productid-CMDT%20391-K-SL | [10 empty] | Enriched | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE | BLUETOOTH-ENABLED,HANDHELD | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE | 45 X 45 X 135 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed