## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1241094 | 1241094 | SPACER;WEI,C117-C23 | SPACER;TYPE:SHAFT,PTNO:C117-C23 | SHAFT | C117-C23 | 3000036 | WEIR | WEIR | C117-C23 | [5 empty] | https://naipump.en.made-in-china.com/product/evkETHXuVQaG/China-C117-C23-Slurry-Pump-Shaft-Spacer-3-2c-Stainless-Steel-.html | [10 empty] | Enriched | 31162800 Miscellaneous hardware | SPACER | NO MODIFIER | TYPE | SHAFT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 9001:2008,CE | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1275342 | 1275342 | SPACER;WEI,E4183MTE02 | SPACER;TYPE:INTAKE FLANGE,PTNO:E4183MTE02,MNFR:01)Weir Minerals Australia Ltd,PTNO:01)E4183MTE02 | INTAKE FLANGE,01)WEIR MINERALS AUSTRALIA LTD,01)E4183MTE02 | E4183MTE02 | 3000036 | WEIR | WEIR MINERALS AUSTRALIA LTD | E4183MTE02 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162800 Miscellaneous hardware | SPACER | NO MODIFIER | TYPE | INTAKE FLANGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1252867 | 1252867 | SPRING,COMPR;DIEC,1F.504065285 | SPRING,COMPRESSION;MNFR:DIECI,PTNO:1F.504065285,ADDITIONAL FEATURES EN:FASTENING | SPRING,COMPRESSION,01)FASTENING | 1F.504065285 | 3000511 | DIECI | DIECI | 1F.504065285 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31161904 Compression springs | SPRING | COMPRESSION | TYPE | FASTENING | OUTSIDE DIAMETER |  | WIRE SIZE |  | FREE LENGTH |  | LOAD CAPACITY |  | MATERIAL |  | MATERIAL SPECIFICATION |  | NUMBER OF COILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1333481 | 1333481 | SPRING,EXTSN;DIEC,BWN2041 | SPRING,EXTENSION;MNFR:DIECI,PTNO:BWN2041,ADDITIONAL FEATURES EN:END RING | SPRING,EXTENSION,01)END RING | BWN2041 | 3000511 | DIECI | DIECI | BWN2041 | [5 empty] | https://bartsparts.com/products/dieci-bwn2041/ | [10 empty] | Cleansed | 31161907 Extension springs | SPRING | EXTENSION | TYPE | END RING | OUTSIDE DIAMETER |  | WIRE SIZE |  | FREE LENGTH |  | LOAD CAPACITY |  | MATERIAL |  | MATERIAL SPECIFICATION |  | NUMBER OF COILS |  | END TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1270560 | 1270560 | SPRING;ASWP,DU.DAK0000034,UPR | SPRING;MNFR:AUSWEEP,PTNO:DU.DAK0000034,ADDITIONAL FEATURES EN:UPPER | 01)AUSTRALIAN SWEEPER CORP P,01)DU.DAK0000034,SPRING,01)UPPER | DU.DAK0000034 | 3000416 | AUSWEEP | AUSWEEP | DU.DAK0000034 |  | AUSTRALIAN SWEEPER CORP PTY LTD |  |  |  | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE | UPPER | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1270561 | 1270561 | SPRING;ASWP,DU.DAK0000035,LWR | SPRING;MNFR:AUSWEEP,PTNO:DU.DAK0000035,ADDITIONAL FEATURES EN:LOWER | 01)AUSTRALIAN SWEEPER CORP P,01)DU.DAK0000035,SPRING,01)LOWER | DU.DAK0000035 | 3000416 | AUSWEEP | AUSWEEP | DU.DAK0000035 |  | AUSTRALIAN SWEEPER CORP PTY LTD |  |  |  | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE | LOWER | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1270562 | 1270562 | SPRING;ASWP,DU.DAK0000052 | SPRING;MNFR:AUSWEEP,PTNO:DU.DAK0000052 | 01)AUSTRALIAN SWEEPER CORP P,01)DU.DAK0000052,SPRING | DU.DAK0000052 | 3000416 | AUSWEEP | AUSWEEP | DU.DAK0000052 |  | AUSTRALIAN SWEEPER CORP PTY LTD |  |  |  | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1321957 | 1321957 | SPRING;CUM,3900276 | SPRING;MNFR:CUMMINS,PTNO:3900276 | SPRING | 3900276 | 3000018 | CUMMINS | CUMMINS | 3900276 | [5 empty] | https://www.heavydutypros.com/cummins-valve-spring-3900276.aspx | https://www.dieselpartsdirect.com/ds3900276 | [9 empty] | Enriched | 31161900 Springs | SPRING | VALVE | TYPE | INTAKE AND EXHAUST | FREE LENGTH |  | LOAD CAPACITY |  | SIZE |  | MATERIAL |  | NUMBER OF COILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1252992 | 1252992 | SPRING;DIEC,6S.ACC550 | SPRING;MNFR:DIECI,PTNO:6S.ACC550,ADDITIONAL FEATURES EN:AIR | SPRING,01)AIR | 6S.ACC550 | 3000511 | DIECI | DIECI | 6S.ACC550 | [5 empty] | https://goldytech.com.ua/ua/p1067844613-6sacc550-pruzhina-diyechi.html | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE | AIR | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273702 | 1273702 | SPRING;EATO,CB-C61844,THRUSTER SUIT EL4N | SPRING;MNFR:EATON CORPORATION,PTNO:CB-C61844,ADDITIONAL FEATURES EN:THRUSTER SUIT EL4NBP | 01)AUSTRALIAN BRAKE CONTROLS,01)CB-C61844,SPRING,01)THRUSTER SUIT EL4NBP | CB-C61844 | 3000267 | EATON CORPORATION | EATON CORPORATION | CB-C61844 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR THRUSTER SUIT EL4NBP | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273703 | 1273703 | SPRING;EATO,CB-C61845,THRUSTER SUIT EL4N | SPRING;MNFR:EATON CORPORATION,PTNO:CB-C61845,ADDITIONAL FEATURES EN:THRUSTER SUIT EL4NBP | 01)AUSTRALIAN BRAKE CONTROLS,01)CB-C61845,SPRING,01)THRUSTER SUIT EL4NBP | CB-C61845 | 3000267 | EATON CORPORATION | EATON CORPORATION | CB-C61845 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR THRUSTER SUIT EL4NBP | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269063 | 1269063 | SPRING;MILW,695673002 | SPRING;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:695673002 | 01)TOOL 'N' TACKLE,01)695673002,SPRING | 695673002 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 695673002 |  | TOOL 'N' TACKLE |  |  |  | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269064 | 1269064 | SPRING;MILW,697549001,DEPTH ADJUSTMENT | SPRING;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:697549001,ADDITIONAL FEATURES EN:DEPTH ADJUSTMENT | 01)TOOL 'N' TACKLE,01)697549001,SPRING,01)DEPTH ADJUSTMENT | 697549001 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 697549001 |  | TOOL 'N' TACKLE |  |  |  | https://www.milwaukeetool.asia/wp-content/uploads/2020/01/EN-M18-FN18GS-MAR20.pdf | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE | DEPTH ADJUSTMENT | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1266231 | 1266231 | SPRING;NHP,55246SS,TENSN,SS,PULL WIRE | SPRING;MNFR:NHP,PTNO:55246SS,ADDITIONAL FEATURES EN:TENSION,SS,PULL WIRE | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP55246SS,SPRING,01)TENSION,SS,PULL WIRE | 55246SS | 3000664 | NHP | NHP | 55246SS |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.blackwoods.com.au/electrical/automation-control/pushbuttons-pilot-lights/nhp-austrol-tension-spring-stainless-steel-55246ss/p/01325426 | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE | TENSION,PULL WIRE | SIZE |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1321971 | 1321971 | SPRING;SIE,161.314-NO.9 | SPRING;MNFR:SIEMENS,PTNO:161.314-NO.9 | SPRING | 161.314-NO.9 | 3000032 | SIEMENS | SIEMENS | 161.314-NO.9 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1258209 | 1258209 | SPRING;SIE,2BY5732-0AX08 | SPRING;MNFR:SIEMENS,PTNO:2BY5732-0AX08 | SPRING | 2BY5732-0AX08 | 3000032 | SIEMENS | SIEMENS | 2BY5732-0AX08 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31161900 Springs | SPRING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1321542 | 1321542 | SPRING;SIE,3AY1511-3E | SPRING;MNFR:SIEMENS,PTNO:3AY1511-3E | SPRING | 3AY1511-3E | 3000032 | SIEMENS | SIEMENS | 3AY1511-3E | [5 empty] | https://mall.industry.siemens.com/mall/en/mx/Catalog/Product/3AY1511-3E | [10 empty] | Cleansed | 31161900 Springs | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1266768 | 1266768 | TERMINAL;NHP,1492J16,SCREW 16 MM | TERMINAL;MNFR:NHP,PTNO:1492J16,ADDITIONAL FEATURES EN:SCREW 16 MM 1 CONDUCTOR 76A GREY | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP1492J16,TERMINAL,01)SCREW 16 MM 1 CONDUC | 1492J16 | 3000664 | NHP | NHP | 1492J16 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217585/NHP_NZ_Catalog-789/NHP_NZ_Catalog-1025/NHP_NZ_Catalog-1031/1492J16 | [10 empty] | Enriched | 39121432 Electrical terminals | TERMINAL | NO MODIFIER | TYPE | SCREW | VOLTAGE RATING | 1000 V | CURRENT RATING | 76 A | WIRE SIZE | 16 MM2 | SIZE | 12 WDX60 HTX56 DP MM | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:GREY,1 CONDUCTOR | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1266769 | 1266769 | TERMINAL;NHP,1492J4,SCREW 4 MM | TERMINAL;MNFR:NHP,PTNO:1492J4,ADDITIONAL FEATURES EN:SCREW 4 MM 1 CONDUCTOR 32A GREY | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP1492J4,TERMINAL,01)SCREW 4 MM 1 CONDU | 1492J4 | 3000664 | NHP | NHP | 1492J4 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217585/NHP_NZ_Catalog-789/NHP_NZ_Catalog-1025/NHP_NZ_Catalog-1031/1492J4 | [10 empty] | Enriched | 39121432 Electrical terminals | TERMINAL | NO MODIFIER | TYPE | SCREW | VOLTAGE RATING | 800 V | CURRENT RATING | 32 A | WIRE SIZE | 4 MM2 | SIZE | 6.1 WDX60 HTX39.5 DP MM | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:GREY,1 CONDUCTOR | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1272209 | 1272209 | TERMINAL;NHP,V7W3,2.5 MM2,GREY | TERMINAL;MNFR:NHP,PTNO:V7W3,ADDITIONAL FEATURES EN:2.5 MM2,GREY | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPV7W3,TERMINAL,01)2.5 MM2,GREY | V7W3 | 3000664 | NHP | NHP | V7W3 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217585/NHP_NZ_Catalog-789/NHP_NZ_Catalog-1025/NHP_NZ_Catalog-1031/V7W3 | [10 empty] | Enriched | 39121432 Electrical terminals | TERMINAL | NO MODIFIER | TYPE | SCREW | VOLTAGE RATING | 800 V | CURRENT RATING | 24 A | WIRE SIZE | 2.5 MM2 | SIZE | 5 WDX45.3 HTX35 DP MM | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UR | ADDITIONAL FEATURES EN | COLOUR:GREY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1219964 | 1219964 | TERMINAL;NHP,V7W6,6 MM2,GREY | TERMINAL;MNFR:NHP,PTNO:V7W6,ADDITIONAL FEATURES EN:6 MM2,GREY | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPV7W6,TERMINAL,01)6 MM2,GREY | V7W6 | 3000664 | NHP | NHP | V7W6 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217585/NHP_NZ_Catalog-789/NHP_NZ_Catalog-1025/NHP_NZ_Catalog-1031/V7W6 | [10 empty] | Enriched | 39121432 Electrical terminals | TERMINAL | NO MODIFIER | TYPE | SCREW | VOLTAGE RATING | 800 V | CURRENT RATING | 41 A | WIRE SIZE | 6 MM2 | SIZE | 7 WDX47.6 HTX41 DP MM | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UR | ADDITIONAL FEATURES EN | COLOUR:GREY | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1272211 | 1272211 | TERMINAL;NHP,V7WFB4,SCRW,5 X 20MM,FU,BLK | TERMINAL;MNFR:NHP,PTNO:V7WFB4,ADDITIONAL FEATURES EN:SCREW,5 X 20MM,FUSE,BLACK,NO INDICATION | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPV7WFB4,TERMINAL,01)SCREW,5 X 20MM,FUSE,BLACK,02)NO INDICATION | V7WFB4 | 3000664 | NHP | NHP | V7WFB4 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217585/NHP_NZ_Catalog-789/NHP_NZ_Catalog-1025/NHP_NZ_Catalog-1031/V7WFB4 | [10 empty] | Enriched | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE | NO INDICATION | CURRENT RATING | 6.3 A | VOLTAGE RATING | 500 V | SIZE | 8 WDX50.7 HTX39.4 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UR | ADDITIONAL FEATURES | TERMINAL TYPE:SCREW,FUSE CARTRIDGE SIZE:5 X 20 MM,COLOUR:BLACK | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1219966 | 1219966 | TERMINAL;NHP,V7WG4,ERTH,32A,FOR 4MM2 CAB | TERMINAL;MNFR:NHP,PTNO:V7WG4,ADDITIONAL FEATURES EN:EARTH,32A,FOR 4MM2 CABLE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPV7WG4,TERMINAL,01)EARTH,32A,FOR 4MM2 CABLE | V7WG4 | 3000664 | NHP | NHP | V7WG4 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217585/NHP_NZ_Catalog-789/NHP_NZ_Catalog-1025/NHP_NZ_Catalog-1031/V7WG4 | https://www.tradezone.com.au/product/nhp-4mm-earth-terminal-green-yellow-11906.html | [9 empty] | Enriched | 39121432 Electrical terminals | TERMINAL | NO MODIFIER | TYPE | EARTH | VOLTAGE RATING |  | CURRENT RATING | 32 A | WIRE SIZE | 4 MM2 | SIZE | 6 WDX48 HTX35 DP MM | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1219967 | 1219967 | TERMINAL;NHP,V7WG6,ERTH,41A,FOR 6MM2 CAB | TERMINAL;MNFR:NHP,PTNO:V7WG6,ADDITIONAL FEATURES EN:EARTH,41A,FOR 6MM2 CABLE,GREEN/YELLOW | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPV7WG6,TERMINAL,01)EARTH,41A,FOR 6MM2 CABLE,GR | V7WG6 | 3000664 | NHP | NHP | V7WG6 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217585/NHP_NZ_Catalog-789/NHP_NZ_Catalog-1025/NHP_NZ_Catalog-1031/V7WG6 | https://www.tradezone.com.au/product/nhp-6mm-earth-terminal-green-yellow-11907.html | [9 empty] | Enriched | 39121432 Electrical terminals | TERMINAL | NO MODIFIER | TYPE | EARTH | VOLTAGE RATING |  | CURRENT RATING | 41 A | WIRE SIZE | 6 MM2 | SIZE | 7 WDX48 HTX41 DP MM | NUMBER OF TERMINALS |  | MOUNTING TYPE |  | TERMINAL MATERIAL |  | INSULATION MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:GREEN/YELLOW | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1220271 | 1220271 | TERMINAL;SCHN,XVBC07,UNT | TERMINAL;MNFR:SCHNEIDER INC,PTNO:XVBC07,ADDITIONAL FEATURES EN:UNIT | 01)RS COMPONENTS PTY LTD,01)XVBC07,TERMINAL,01)UNIT | XVBC07 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XVBC07 |  | RS COMPONENTS PTY LTD |  |  |  | https://www.se.com/us/en/product/XVBC07/base-unit-for-modular-tower-lights-harmony-xvb-plastic-black-70mm-bottom-or-side-cable-entry/ | [10 empty] | Enriched | 31162300 Mounting hardware | BASE | NO MODIFIER | TYPE | UNIT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,EAC,CSA C22-2 NO 14,UL 508,EN/IEC 60947-5-1 | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1258194 | 1258194 | TESTER,VOLT;ABB,3ADV050109P0002 | TESTER,VOLTAGE;MNFR:ABB,PTNO:3ADV050109P0002 | TESTER,VOLTAGE | 3ADV050109P0002 | 3000014 | ABB | ABB | 3ADV050109P0002 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41113600 Electrical measuring and testing equipment and accessories | TESTER | VOLTAGE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | SAFETY RATING |  | TEMPERATURE RATING |  | DETECTOR TIP STYLE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1213804 | 1213804 | TESTER,VOLT;ABB,EQ72 O-150 V | TESTER,VOLTAGE;MNFR:ABB,PTNO:EQ72 O-150 V | TESTER,VOLTAGE | EQ72 O-150 V | 3000014 | ABB | ABB | EQ72 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41113600 Electrical measuring and testing equipment and accessories | TESTER | VOLTAGE | TYPE |  | MEASURING RANGE | 0 TO 150 V | ACCURACY |  | SAFETY RATING |  | TEMPERATURE RATING |  | DETECTOR TIP STYLE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1213800 | 1213800 | TESTER,VOLT;ABB,PQ72 0-40 V | TESTER,VOLTAGE;MNFR:ABB,PTNO:PQ72 0-40 V | TESTER,VOLTAGE | PQ72 0-40 V | 3000014 | ABB | ABB | PQ72 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41113600 Electrical measuring and testing equipment and accessories | TESTER | VOLTAGE | TYPE |  | MEASURING RANGE | 0 TO 40 V | ACCURACY |  | SAFETY RATING |  | TEMPERATURE RATING |  | DETECTOR TIP STYLE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1217807 | 1217807 | TESTER,VOLT;FLUK,FLUL210,PROBE LIGHT & E | TESTER,VOLTAGE;MNFR:FLUKE,PTNO:FLUL210,ADDITIONAL FEATURES EN:PROBE LIGHT & EXTENDERS | 01)HAYMANS ELECTRICAL,01)FLUL210,TESTER,VOLTAGE,01)PROBE LIGHT & EXTENDERS | FLUL210 | 3000278 | FLUKE | FLUKE | L210 |  | HAYMANS ELECTRICAL |  |  |  | https://www.fluke-direct.com/product/fluke_l210_probe_light_kit | https://www.tester.co.uk/fluke-l210-probe-light-and-probe-extender | [9 empty] | Enriched | 20000000 Mining and Well Drilling Machinery and Accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS | PROBE LIGHT,TEST PROBE EXTENDERS | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1219289 | 1219289 | TESTER,VOLT;FLUK,LVD2 | TESTER,VOLTAGE;MNFR:FLUKE,PTNO:LVD2 | 01)RS COMPONENTS PTY LTD,01)LVD2,TESTER,VOLTAGE | LVD2 | 3000278 | FLUKE | FLUKE | LVD2 |  | RS COMPONENTS PTY LTD |  |  |  | https://www.fluke.com/en-in/product/electrical-testing/basic-testers/fluke-lvd2 | [10 empty] | Enriched | 41113600 Electrical measuring and testing equipment and accessories | TESTER | VOLTAGE | TYPE | NON CONTACT | MEASURING RANGE | 90 TO 600 VAC | ACCURACY |  | SAFETY RATING |  | TEMPERATURE RATING | 0 TO 50 DEG C | DETECTOR TIP STYLE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269797 | 1269797 | TESTER;DRAG,3706961,ALCOTEST 6000 | TESTER;MNFR:DRAEGER,PTNO:3706961,ADDITIONAL FEATURES EN:ALCOTEST 6000 12 MONTH CALIBRATION INTERVAL | 01)ALLIANCE SAFETY EQUIPMENT,01)3706961,TESTER,01)ALCOTEST 6000 12 MONT | 3706961 | 3000423 | DRAEGER | DRAEGER | 3706961 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://draeger-mo.com/en/artnr/3706961/drager-alcotest-r-6000---standard | https://www.internationalsafety.com/skus/draeger-3706961-alcotest-6000-standard | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | ALCOHOL | MEASURING RANGE | 0 TO 2.5 MG/L | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE | 60 WDX141 HTX31 DP MM | TEMPERATURE RATING | -5 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | SERIES:ALCOTEST 6000,CALIBRATION INTERVAL:12 MONTH | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269798 | 1269798 | TESTER;DRAG,8323919,SET,X-AM 2500 EX,O2 | TESTER;MNFR:DRAEGER,PTNO:8323919,ADDITIONAL FEATURES EN:SET,X-AM 2500 EX,O2,CO,H2S-LC | 01)ALLIANCE SAFETY EQUIPMENT,01)8323919,TESTER,01)SET,X-AM 2500 EX,O2,CO,H2S- | 8323919 | 3000423 | DRAEGER | DRAEGER | 8323919-XAM 2500 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.firesupplies.ae/product/drager-x-am-2500-multi-gas-detector-ex-o2-h2s-co-or-no2-or-so2/ | https://www.draeger.com/Content/Documents/Content/Draeger%20Safety%20Catalogue%20_SD.pdf | [9 empty] | Enriched | 46171613 Gas detectors | DETECTOR | GAS | TYPE |  | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE | 50 WDX130 HTX40 DP MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEASURABLE GASES:EX,O2,CO,H2S-LC,SET | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269339 | 1269339 | TESTER;DRAG,8326353,PAC 8000 HCN | TESTER;MNFR:DRAEGER,PTNO:8326353,ADDITIONAL FEATURES EN:PAC 8000 HCN | 01)ALLIANCE SAFETY EQUIPMENT,01)8326353,TESTER,01)PAC 8000 HCN | 8326353 | 3000423 | DRAEGER | DRAEGER | 8326353 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://draeger-mo.com/en/artnr/8326353/drager-pac-8000-hcn | https://norrscope.com/product/drager-pac-8000/ | [9 empty] | Enriched | 46171613 Gas detectors | DETECTOR | GAS | TYPE |  | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE | 64 WDX84 HTX20 DP MM | TEMPERATURE RATING | -30 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:PAC 8000 HCN | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1210963 | 1210963 | TESTER;FLUK,1662,MULTFN | TESTER;MNFR:FLUKE,PTNO:1662,ADDITIONAL FEATURES EN:MULTIFUNCTION | 01)CNW (MOUNT ISA) ELECT WHO,01)1662,TESTER,01)MULTIFUNCTION | 1662 | 3000278 | FLUKE | FLUKE | 1662 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.fluke.com/en-in/product/electrical-testing/installation-testers/fluke-1662 | https://nz.rs-online.com/web/p/multifunction-testers/1228555 | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | MULTIFUNCTION | MEASURING RANGE | 310 MS,50 MS | ACCURACY | +/- 5 PCT | ELECTRICAL RATING | 500 V | DISPLAY TYPE |  | SIZE | 100 LGX250 WDX125 HT MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1210964 | 1210964 | TESTER;FLUK,1663/FVF,MULTFN | TESTER;MNFR:FLUKE,PTNO:1663/FVF,ADDITIONAL FEATURES EN:MULTIFUNCTION | 01)CNW (MOUNT ISA) ELECT WHO,01)1663/FVF,TESTER,01)MULTIFUNCTION | 1663/FVF | 3000278 | FLUKE | FLUKE | 1663/FVF |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.fluke.com/en-in/product/electrical-testing/installation-testers/fluke-1663 | https://nz.rs-online.com/web/p/multifunction-testers/1228556 | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | MULTIFUNCTION | MEASURING RANGE | 310 MS,50 MS | ACCURACY | +/- 5 PCT | ELECTRICAL RATING | 500 V | DISPLAY TYPE |  | SIZE | 100 LGX250 WDX125 HT MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1211799 | 1211799 | TESTER;FLUK,1664FC/FVF/AU,MULTFN | TESTER;MNFR:FLUKE,PTNO:1664FC/FVF/AU,ADDITIONAL FEATURES EN:MULTIFUNCTION | 01)CNW (MOUNT ISA) ELECT WHO,01)1664FC/FVF/AU,TESTER,01)MULTIFUNCTION | 1664FC/FVF/AU | 3000278 | FLUKE | FLUKE | 1664FC/FVF/AU |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.fluke.com/en-in/product/electrical-testing/installation-testers/fluke-1664-fc | https://sydneytools.com.au/product/fluke-flk1664-fcfvf-au-1664-fc-installation-multifunction-testers | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | MULTIFUNCTION | MEASURING RANGE | 310 MS,50 MS | ACCURACY | +/- 5 PCT | ELECTRICAL RATING | 500 V | DISPLAY TYPE |  | SIZE | 100 LGX250 WDX125 HT MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1274879 | 1274879 | TESTER;FLUK,PRV240 |  |  | PRV240 | 3000278 | FLUKE | FLUKE | PRV240 | [5 empty] | https://www.fluke.com/en-in/product/electrical-testing/basic-testers/prv240-proving-unit | https://www.fluke-direct.com/pdfs/cache/www.fluke-direct.com/prv240/manual/prv240-manual.pdf | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | PROVING UNIT | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE | 7.4 WDX11.7 HTX2.8 DP CM | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC61010-1,IEC61010-2-030 | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1219962 | 1219962 | TESTER;FLUK,T6-1000 |  |  | T6-1000 | 3000278 | FLUKE | FLUKE | T6-1000 | [5 empty] | https://www.fluke.com/en-in/product/electrical-testing/basic-testers/fluke-t6-1000 | https://www.mouser.in/new/fluke/fluke-t6-1000-pro-electrical-tester/ | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | CURRENT,VOLTAGE | MEASURING RANGE |  | ACCURACY | +/- 3 PCT | ELECTRICAL RATING | 1000 V,200 A | DISPLAY TYPE |  | SIZE | 61.1 WDX259.3 HTX43.8 DP MM | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1217055 | 1217055 | TESTER;FLUK,TS54-A-09-TDR,LCD,SET+TDR,PI | TESTER;MNFR:FLUKE,PTNO:TS54-A-09-TDR,ADDITIONAL FEATURES EN:LCD,SET+TDR,PIERCING PIN | 01)CNW (MOUNT ISA) ELECT WHO,01)TS54-A-09-TDR,TESTER,01)LCD,SET+TDR,PIERCING PIN | TS54-A-09-TDR | 3000278 | FLUKE | FLUKE | TS54-A-09-TDR |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.tequipment.net/FlukeNetworksTS54-A-09-TDR.html | https://www.anixter.com/en_us/products/TS54-A-09-TDR/FLUKE-NETWORKS/Data-Test-Equipment/p/478776 | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | TDR | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE | LCD | SIZE | 107 WDX254 HTX96 DP MM | TEMPERATURE RATING | -30 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET,C/W PIERCING PIN | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273884 | 1273884 | TESTER;KLNT,KLEA-NCVT-3,NON CONTACT,12-1 | TESTER;MNFR:KLEIN TOOLS,PTNO:KLEA-NCVT-3,ADDITIONAL FEATURES EN:NON CONTACT,12-1000V | 01)CNW (MOUNT ISA) ELECT WHO,01)KLEA-NCVT-3,TESTER,01)NON CONTACT,12-1000V | KLEA-NCVT-3 | 3000455 | KLEIN TOOLS | KLEIN TOOLS | KLEA-NCVT-3 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Tools-and-Test-Equipment/Voltage-Tester/NON-CONTACT-VOLTAGE-TESTER-12-1000V-WITH/p/KLEA-NCVT-3M06 | https://www.gordonmacs.com.au/non-contact-voltage-tester-flashlight-a-ncvt-3 | [9 empty] | Enriched | 41113600 Electrical measuring and testing equipment and accessories | TESTER | VOLTAGE | TYPE | NON CONTACT,FLASHLIGHT | MEASURING RANGE | 12 TO 1000 V | ACCURACY |  | SAFETY RATING |  | TEMPERATURE RATING |  | DETECTOR TIP STYLE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1271384 | 1271384 | TESTER;PWNS,POWAMS079257 | TESTER;MNFR:POWINS,PTNO:POWAMS079257 |  | POWAMS079257 | 3000439 | POWINS | POWINS | POWAMS079257 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1330513 | 1330513 | TESTER;SIE,3RK1904-2AB02 | TESTER;MNFR:SIEMENS,PTNO:3RK1904-2AB02 | TESTER | 3RK1904-2AB02 | 3000032 | SIEMENS | SIEMENS | 3RK1904-2AB02 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3RK1904-2AB02%26language%3Den | https://us.rs-online.com/product/siemens/3rk19042ab02/71127989/ | [9 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | INTERFACE ADDRESSING UNIT | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING | 150 MA | DISPLAY TYPE |  | SIZE | 84 WDX195 HTX35 DP MM | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,RCM,UKCA,CE | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1323046 | 1323046 | TESTER;SIE,LDU11 | TESTER;MNFR:SIEMENS,PTNO:LDU11 | TESTER | LDU11 | 3000032 | SIEMENS | SIEMENS | LDU11 | [5 empty] | http://scccombustion.com/ce_approvals/LDU%20Valve%20Proving%20System.pdf | [10 empty] | Enriched | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | LEAKAGE | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE | 103 WDX108.5 HT MM | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1214862 | 1214862 | TESTER;STAU,1810011396,DIGITAL HYD FLOW | TESTER;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1810011396,ADDITIONAL FEATURES EN:DIGITAL HYD FLOW PORTABLE, 400 LPM PRESSURE RANGE 420 | 01)ISADRAULICS,01)1810011396,TESTER,01)DIGITAL HYD FLOW PORTABLE,02) 400 LPM PRESSURE RANGE 420 | 1810011396 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1810011396 |  | ISADRAULICS |  |  |  | https://www.oilsolutions.net.au/products/ft9338-2 | https://miningandhydraulics.com.au/wp-content/uploads/2022/08/mhs_stauff_august_special2022.pdf | [9 empty] | Cleansed | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | DIGITAL,HYDRAULIC,PORTABLE | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLOW RATING:400 LPM,PRESSURE RANGE:420 BAR | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1214861 | 1214861 | TESTER;STAU,1810011469,ANALOGUE HYD FLOW | TESTER;MNFR:STAUFF HYDRAULIC ACCESSORY,PTNO:1810011469,ADDITIONAL FEATURES EN:ANALOGUE HYD FLOW PORTABLE,400 LPM PRESSURE RANGE 420 BAR | 01)ISADRAULICS,01)1810011469,TESTER,01)ANALOGUE HYD FLOW PORTABLE | 1810011469 | 3000351 | STAUFF HYDRAULIC ACCESSOR | STAUFF HYDRAULIC ACCESSORY | 1810011469 |  | ISADRAULICS |  |  |  | https://www.oilsolutions.net.au/products/ft9707-02 | https://stauff.com.au/en/products/1810011469 | [9 empty] | Cleansed | 41110000 Measuring and observing and testing instruments | TESTER | NO MODIFIER | TYPE | ANALOGUE,HYDRAULIC,PORTABLE | MEASURING RANGE |  | ACCURACY |  | ELECTRICAL RATING |  | DISPLAY TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLOW RATING:400 LPM,PRESSURE RANGE:420 BAR | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1258551 | 1258551 | WINDOW,VEH;DIEC,3E1606004V-B | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:LEFT HAND REAR,PTNO 01:3E1606004V-B | WINDOW,01)LEFT HAND REAR | 3E1606004V-B | 3000511 | DIECI | DIECI | 3E.1606004V-B | [5 empty] | https://eszyby.pl/product-pol-6732-szyba-Dieci-Agri-Farmer-boczna-lewa-3E-1606004V-B-4154.html | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 25172300 Vehicle windows and windshields | WINDOW | VEHICULAR | TYPE | LEFT HAND REAR | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1333233 | 1333233 | WINDOW,VEH;DIEC,3E1606006V-A | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:REAR OPENING,PTNO 01:3E1606006V-A | WINDOW,01)REAR OPENING | 3E1606006V-A | 3000511 | DIECI | DIECI | 3E.1606006V-A | [5 empty] | https://www.lbr.ru/zapchasti/steklo-kabiny-zadnee-3e-1606006v-a | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Enriched | 25172300 Vehicle windows and windshields | WINDOW | VEHICULAR | TYPE | REAR OPENING,CABIN | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1333613 | 1333613 | WINDOW,VEH;DIEC,BEQ0220 | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:BEQ0220,ADDITIONAL FEATURES EN:CIRCUIT, ELECTRIC | WINDOW,01)CIRCUIT, ELECTRIC | BEQ0220 | 3000511 | DIECI | DIECI | BEQ0220 | [5 empty] | https://parts.titanmachinery.ua/dieci/BEQ0220 | https://texartel.ru/beq0220-dieci-mekhanizm-steklopod-yemnika-v-sbore | [9 empty] | Enriched | 24101600 Lifting equipment and accessories | LIFTER | NO MODIFIER | TYPE | WINDOW,CIRCUIT,ELECTRIC | CAPACITY |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1333623 | 1333623 | WINDOW,VEH;DIEC,BSC0411 | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:BSC0411,ADDITIONAL FEATURES EN:REAR,FOR UPPER FRAME | GLASS,01)REAR,FOR UPPER FRAME | BSC0411 | 3000511 | DIECI | DIECI | BSC0411 | [5 empty] | https://www.arag-bau.ch/store/heckscheibe-dieci-bsc0411-156551e-14115-t51.html | [10 empty] | Cleansed | 25172300 Vehicle windows and windshields | WINDOW | VEHICULAR | TYPE | REAR | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR UPPER FRAME | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1332936 | 1332936 | WINDOW,VEH;DIEC,BSC0414 | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:BSC0414,ADDITIONAL FEATURES EN:LATERAL, REAR | GLASS,01)LATERAL, REAR | BSC0414 | 3000511 | DIECI | DIECI | BSC0414 | [5 empty] | https://tractorparts.bg/en/side-window-left-flat-tinted-dieci-agri-plus | [10 empty] | Cleansed | 25172300 Vehicle windows and windshields | WINDOW | VEHICULAR | TYPE | LATERAL,REAR | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1333514 | 1333514 | WINDOW,VEH;DIEC,BSC0415 | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:BSC0415,ADDITIONAL FEATURES EN:SLIDE GLASS,FRONT LATERAL | WINDOW,01)SLIDE GLASS,FRONT LATERAL | BSC0415 | 3000511 | DIECI | DIECI | BSC0415 | [5 empty] | https://tractorparts.bg/en/upper-front-door-window-left-flat-tinted-dieci-agri-plus | [10 empty] | Cleansed | 25172300 Vehicle windows and windshields | WINDOW | VEHICULAR | TYPE | SLIDE GLASS,FRONT LATERAL | DIMENSIONS |  | MATERIAL | GLASS | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1333624 | 1333624 | WINDOW,VEH;DIEC,BSC0418 | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:BSC0418,ADDITIONAL FEATURES EN:REAR,FOR LOWER FRAME | GLASS,01)REAR,FOR LOWER FRAME | BSC0418 | 3000511 | DIECI | DIECI | BSC0418 | [5 empty] | https://www.arag-bau.ch/store/heckscheibe-mit-unterem-ausschnitt-dieci-bsc0418-156556h-14753-t51.html | [10 empty] | Cleansed | 25172300 Vehicle windows and windshields | WINDOW | VEHICULAR | TYPE | REAR | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR LOWER FRAME | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1258549 | 1258549 | WINDOW,VEH;DIEC,ZEUS 33.1/SAMSON 70.10 | WINDOW,VEHICLUAR;MNFR:DIECI,PTNO:ZEUS 33.1/SAMSON 70.10,ADDITIONAL FEATURES EN:FIXED DOOR WINDOW,PTNO 01:3E1606008V-A | WINDOW,01)FIXED DOOR WINDOW | 01:3E1606008V-A | 3000511 | DIECI | DIECI | 3E.1606008V-A | [5 empty] | https://tractorparts.bg/en/upper-front-door-window-left-flat-tinted-dieci | [7 empty] | ZEUS 33.1/SAMSON 70.10 |  |  | Cleansed | 25172300 Vehicle windows and windshields | WINDOW | VEHICULAR | TYPE | FIXED DOOR | DIMENSIONS |  | MATERIAL |  | MODEL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1240266 | 1240266 | WINDOW;3M,41001095,MYLAR ROLL,0.05 MM | WINDOW;MNFR:3M,PTNO:41001095,TYPE:MYLAR ROLL,SIZE:0.05 MM,FRAME MATERIAL:PLASTIC | EN_01)MYLAR ROLL,FR_01)ROULEAU MYLAR,EN_01)0.05 MM,FR_01)0.05 MM,PLASTIC,01)OUTOTEC,01)41001095 | 41001095 | 3000220 | 3M | 3M | 41001095 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30171600 Windows | WINDOW | NO MODIFIER | TYPE | ROLL | SIZE | 0.05 MM | MATERIAL | MYLAR | FRAME MATERIAL | PLASTIC | FRAME SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1276050 | 1276050 | WINDOW;DRVT,IFI31715 | WINDOW;MNFR:DRIVETRAIN,PTNO:IFI31715 | 01)DRIVETRAIN,01)IFI31715,WINDOW | IFI31715 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31715 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30171600 Windows | WINDOW | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | FRAME MATERIAL |  | FRAME SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273141 | 1273141 | WRENCH,COMB;MILW,45969324,24MM RATCHETIN | WRENCH,COMBINATION;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:45969324,ADDITIONAL FEATURES EN:24MM RATCHETING | 01)SYDNEY TOOLS PTY LTD,01)45969324,WRENCH,COMBINATION,01)24MM RATCHETING | 45969324 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 45969324 |  | SYDNEY TOOLS PTY LTD |  |  |  | https://www.milwaukeetool.com.au/hand-tools/mechanics-tools/ratcheting-combination-wrenches/45969324.html | [10 empty] | Enriched | 27111713 Combination wrenches | WRENCH | COMBINATION | TYPE | RATCHETING | NOMINAL SIZE | 24 MM | OVERALL LENGTH | 367 MM | OFFSET ANGLE |  | NUMBER OF POINTS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1253857 | 1253857 | WRENCH,COMB;MILW,48229506,7 PCE RATCHET | WRENCH,COMBINATION;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229506,ADDITIONAL FEATURES EN:7 PCE RATCHET SET METRIC | 01)MOUNT ISA MINING SUPPLIES,01)48229506,WRENCH,COMBINATION,01)7 PCE RATCHET SET METRIC | 48229506 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229506 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/sockets-and-wrenches/wrench-sets/48229506.html | [10 empty] | Enriched | 27111729 Wrench set | WRENCH SET | NO MODIFIER | TYPE | RATCHET,METRIC,COMBINATION | SIZE | 304 LG MM | NUMBER OF PIECES | 7 | MATERIAL |  | LENGTH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1215713 | 1215713 | WRENCH,COMB;MILW,48229516,SET,MET,15PC | WRENCH,COMBINATION;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48229516,ADDITIONAL FEATURES EN:SET,MET,15PC | 01)GASWELD DISCOUNT TOOL CEN,01)48229516,WRENCH,COMBINATION,01)SET,MET,15PC | 48229516 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48229516 | [5 empty] | https://www.milwaukeetool.com.au/hand-tools/sockets-and-wrenches/wrench-sets/48229516.html | [10 empty] | Enriched | 27111729 Wrench set | WRENCH SET | NO MODIFIER | TYPE | RATCHET,METRIC,COMBINATION | SIZE | 381 LG MM | NUMBER OF PIECES | 15 | MATERIAL |  | LENGTH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1216332 | 1216332 | WRENCH,IMPAC;MILW,M12FIW38-0,3/8IN,STUBB | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FIW38-0,ADDITIONAL FEATURES EN:3/8IN,STUBBY,W/FRICTION RING (TOOL ONLY) | 01)ASHDOWN ENTERPRISES,01)M12FIW38-0,WRENCH,IMPACT,01)3/8IN,STUBBY,W/FRICTION RIN | M12FIW38-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FIW38-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M12FIW38-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | STUBBY | NOMINAL SIZE | 3/8 IN | TORQUE RATING | 339 NM | SPEED RATING | 1500 TO 2700 RPM | POWER SOURCE | 12 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W FRICTION RING (TOOL ONLY),ASHDOWN ENTERPRISES | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1211940 | 1211940 | WRENCH,IMPAC;MILW,M12FRAIWF12-0 | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FRAIWF12-0 | 01)MOUNT ISA MINING SUPPLIES,01)M12FRAIWF12-0,WRENCH,IMPACT | M12FRAIWF12-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FRAIWF12-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M12FRAIWF12-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | RIGHT ANGLE | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 300 NM | SPEED RATING | 0 TO 3000 RPM | POWER SOURCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1268958 | 1268958 | WRENCH,IMPAC;MILW,M12FRAIWF120,1/2 IN | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FRAIWF120,ADDITIONAL FEATURES EN:1/2 IN RIGHT ANGLE | 01)TOTAL TOOLS TOWNSVILLE,01)M12FRAIWF120,WRENCH,IMPACT,01)1/2 IN RIGHT ANGLE | M12FRAIWF120 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FRAIWF12-0 |  | TOTAL TOOLS TOWNSVILLE |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M12FRAIWF12-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | RIGHT ANGLE | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 300 NM | SPEED RATING | 0 TO 3000 RPM | POWER SOURCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1219468 | 1219468 | WRENCH,IMPAC;MILW,M12FRAIWF38-0 | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FRAIWF38-0 | 01)ATOM SUPPLY,01)M12FRAIWF38-0,WRENCH,IMPACT | M12FRAIWF38-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FRAIWF38-0 |  | ATOM SUPPLY |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M12FRAIWF38-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | RIGHT ANGLE | NOMINAL SIZE | 3/8 IN | TORQUE RATING | 300 NM | SPEED RATING | 0 TO 3000 RPM | POWER SOURCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273243 | 1273243 | WRENCH,IMPAC;MILW,M18FHIWF12-0,1/2 IN HI | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FHIWF12-0,ADDITIONAL FEATURES EN:1/2 IN HIGH TORQUE,M18 FUEL,WITH FRICTION RING |  | M18FHIWF12-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FHIWF12-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M18FHIWF12-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | HIGH TORQUE | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 1897 NM | SPEED RATING | 0 TO 1750 RPM | POWER SOURCE | 18 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:M18,FUEL,C/W FRICTION RING | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273490 | 1273490 | WRENCH,IMPAC;MILW,M18FHIWP12-502C,1/2IN | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FHIWP12-502C,ADDITIONAL FEATURES EN:1/2IN HIGH TORQUE, W/PIN DETENT KIT, BATTERY 2 X 5.0 AH AND RAPID CHARGER, M18 TOOL |  | M18FHIWP12-502C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FHIWP12-502C | [5 empty] | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M18FHIWP12-502C.html | https://sydneytools.com.au/product/milwaukee-m18fhiwp12-502c-18v-5-0ah-li-ion-cordless-fuel-gen-2-1-2-high-torque-impact-wrench-with-pin-detent-combo-kit | [9 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | HIGH TORQUE,RAPID CHARGER | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 1016 NM | SPEED RATING | 0 TO 1800 RPM | POWER SOURCE | 2X5 AH BATTERY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PIN DETENT KIT,BRAND:M18 TOOL | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269155 | 1269155 | WRENCH,IMPAC;MILW,M18FIW2F12-502C,BRSHLS | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FIW2F12-502C,ADDITIONAL FEATURES EN:BRUSHLESS,1/2 IN DR,KIT | 01)TOOL 'N' TACKLE,01)M18FIW2F12-502C,WRENCH,IMPACT,01)BRUSHLESS,1/2 IN DR,KIT | M18FIW2F12-502C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FIW2F12-502C |  | TOOL 'N' TACKLE |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M18FIW2F12-502C.html | https://sydneytools.com.au/product/milwaukee-m18fiw2f12502c-18v-50ah-liion-cordless-fuel-12-compact-impact-wrench-with-friction-ring-combo-kit | [9 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | COMPACT,BRUSHLESS | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 339 NM | SPEED RATING | 0 TO 2400 RPM | POWER SOURCE | 18 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W FRICTION RING KIT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1211784 | 1211784 | WRENCH,IMPAC;MILW,M18FIWP12-502C | WRENCH,IMPAC;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FIWP12-502C |  | M18FIWP12-502C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FIWP12-502C | [5 empty] | https://www.milwaukeetool.com.au/discontinued-products/M18FIWP12-502C.html | https://www.cltoolcentre.com.au/milwaukee-m18fiwp12-502c-18v-cordless-m18-fuel-1-2-pin-detent-impact-wrench-kit.html | [9 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE |  | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 339 NM | SPEED RATING | 0 TO 2400 RPM | POWER SOURCE | 18 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1268953 | 1268953 | WRENCH,IMPAC;MILW,M18FMTIW2F12-502C,1/2 | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FMTIW2F12-502C,ADDITIONAL FEATURES EN:1/2 IN RATTLE GUN MID TORQUE | 01)MOUNT ISA MINING SUPPLIES,01)M18FMTIW2F12-502C,WRENCH,IMPACT,01)1/2 IN RATTLE GUN MID TORQU | M18FMTIW2F12-502C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FMTIW2F12-502C |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M18FMTIW2F12-502C.html | https://sydneytools.com.au/product/milwaukee-m18fmtiw2f12502c-18v-50ah-liion-brushless-cordless-12-midtorque-impact-wrench-with-friction-ring-1pce-combo-kit | [9 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | MID TORQUE,RATTLE GUN | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 746 NM | SPEED RATING | 0 TO 2575 RPM | POWER SOURCE | 18 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269851 | 1269851 | WRENCH,IMPAC;MILW,M18ONEIWF12-0,1/2 IN | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18ONEIWF12-0,ADDITIONAL FEATURES EN:1/2 IN WITH ONE KEY | 01)MOUNT ISA MINING SUPPLIES,01)M18ONEIWF12-0,WRENCH,IMPACT,01)1/2 IN WITH ONE KEY | M18ONEIWF12-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18ONEIWF12-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M18ONEIWF12-0.html | https://www.sgs-engineering.com/m18oneiwf12-0-impact-wrench-1-2-one-key-m18-body-only | [9 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE |  | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 300 NM | SPEED RATING | 0 TO 2500 RPM | POWER SOURCE | 18 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W ONE KEY | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269578 | 1269578 | WRENCH,IMPAC;MILW,M18ONEIWF120,FUEL 1KEY | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18ONEIWF120,ADDITIONAL FEATURES EN:FUEL 1KEY,SKIN | 01)MILWAUKEE ELECTRIC TOOL,01)MPNM18ONEIWF120,01)TOTAL TOOLS TOWNSVILLE,01)MPNM18ONEIWF120,WRENCH,IMPACT,01)FUEL 1KEY,SKIN | M18ONEIWF120 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18ONEIWF12-0 |  | TOTAL TOOLS TOWNSVILLE |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M18ONEIWF12-0.html | https://www.sgs-engineering.com/m18oneiwf12-0-impact-wrench-1-2-one-key-m18-body-only | [9 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE |  | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 300 NM | SPEED RATING | 0 TO 2500 RPM | POWER SOURCE | 18 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:FUEL,ONE-KEY,SKIN | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273245 | 1273245 | WRENCH,PIPE;MILW,48227214,14 IN,AL | WRENCH,PIPE;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48227214,JAW CAPACITY:14 IN,MATERIAL:ALUMINIUM |  | 48227214 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48227214 | [5 empty] | https://www.milwaukeetool.com.au/hand-tools/pipe-tools-and-wrenches/pipe-wrenches/48227214.html | [10 empty] | Enriched | 27111708 Pipe wrenches | WRENCH | PIPE | TYPE |  | JAW CAPACITY | 14 IN | OVERALL LENGTH | 12 IN | MATERIAL | ALUMINIUM | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1272676 | 1272676 | WRENCH,STRP;RIDG,07067800,PIPE,1/4IN,NYL | WRENCH,STRAP;MNFR:RIDGID TOOLS,PTNO:07067800,ADDITIONAL FEATURES EN:PIPE,1/4IN,NYLON,NO.5 WITH 29,MNFR:31360 | 01)J BLACKWOOD & SONS,01)07067800,WRENCH,STRAP,01)PIPE,1/4IN,NYLON,02)NO.5 WITH 29,03)MNFR:31360 | 7067800 | 3000339 | RIDGID TOOLS | RIDGID TOOLS | 07067800 |  | J BLACKWOOD & SONS | 31360 |  |  | https://www.blackwoods.com.au/tools-hand-measuring-precision/spanners-and-wrenches/strap-pipe-wrenches-ridgid/wrench-strap-ridgid-no-5-w-29-1-4-strap/p/07067800 | [10 empty] | Enriched | 27112127 Strap wrenches | WRENCH | STRAP | TYPE |  | CAPACITY | 125 MM | STRAP LENGTH | 750 MM | STRAP WIDTH | 45 MM | HANDLE LENGTH | 450 MM | STRAP MATERIAL | NYLON | HANDLE MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO.5 C/W 29 1/4 IN | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1272876 | 1272876 | WRENCH,TRQ;MILW,FED0155,1/2 IN,M12,1-KEY | WRENCH,TORQUE;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:FED0155,ADDITIONAL FEATURES EN:1/2 IN,M12,1-KEY,POWER | 01)FEDVS,01)FED0155 ,WRENCH,TORQUE,01)1/2 IN,M12,1-KEY,02)POWER | FED0155 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | FED0155 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 27111715 Torque wrenches | WRENCH | TORQUE | TYPE | POWER | TORQUE RANGE |  | DRIVE SIZE | 1/2 IN | OVERALL LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | SCALE RANGE |  | INCREMENT |  | ACCURACY |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:M12,ONE-KEY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1272496 | 1272496 | WRENCH,TRQ;MILW,M12ONEFTR12-0C,DGTL,M 12 | WRENCH,TORQUE;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12ONEFTR12-0C,ADDITIONAL FEATURES EN:DIGITAL,M 12 FUEL,ANVIL SIZE:1/2 IN,W/ONE KEY, TOOL ONLY,ANVIL TYPE:BALL DETENT,RPM:0 - 100,TORQUE RANGE:16 - 203 NM,RATCHING ANGLE:4.5 DEG,DATA STORAGE CAPACITY:28500 ENTRIES, AVAILABLE PRESET:15,LENGTH:587 MM |  | M12ONEFTR12-0C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12ONEFTR12-0C | [5 empty] | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M12ONEFTR12-0C.html | [10 empty] | Cleansed | 27111715 Torque wrenches | WRENCH | TORQUE | TYPE | DIGITAL,BALL DETENT ANVIL | TORQUE RANGE | 16 TO 203 NM | DRIVE SIZE | 1/2 IN | OVERALL LENGTH | 587 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | SCALE RANGE |  | INCREMENT |  | ACCURACY | +/- 2 PCT | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:M12 FUEL,C/W ONE KEY,TOOL ONLY,SPEED:0 TO 100 RPM,RATCHING ANGLE:4.5 DEG,DATA STORAGE CAPACITY:28500 ENTRIES,AVAILABLE PRESET:15 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1275224 | 1275224 | WRENCH;BELIM,88893616,PLASSON 63-125 MM | WRENCH;MNFR:BELIMO,PTNO:88893616,ADDITIONAL FEATURES EN:PLASSON 63-125 MM | 01)ATOM SUPPLY,01)88893616,WRENCH,01)PLASSON 63-125 MM | 88893616 | 3000516 | BELIMO | BELIMO | 88893616 |  | ATOM SUPPLY |  |  |  | https://www.atom.com.au/hook-spanner-plasson-fittings-63-125mm-88893616 | [10 empty] | Cleansed | 27111726 Spanner wrenches | WRENCH | SPANNER | TYPE | PLASSON FITTINGS | HEAD SIZE |  | CAPACITY | 63 TO 125 MM | HEAD THICKNESS |  | PIN SIZE |  | OVERALL LENGTH |  | HOOK SIZE |  | MATERIAL |  | COATING/FINISH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1216334 | 1216334 | WRENCH;MILW,48227508,ADJ,WIDE JAW 200MM/ | WRENCH;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48227508,ADDITIONAL FEATURES EN:ADJUSTABLE,WIDE JAW 200MM/8 IN | 01)MOUNT ISA MINING SUPPLIES,01)48227508,WRENCH,01)ADJUSTABLE,WIDE JAW 200MM/8 | 48227508 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48227508 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/hand-tools/sockets-and-wrenches/adjustable-wrenches/48227508.html | https://www.tme.com/in/en/details/mw-48227508/adjustable-wrenches/milwaukee/48227508/ | [9 empty] | Enriched | 27111707 Adjustable wrenches | WRENCH | ADJUSTABLE | TYPE | WIDE JAW | JAW CAPACITY | 40 MM | OVERALL LENGTH | 8 IN | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269058 | 1269058 | WRENCH;MILW,633047002,SPNR | WRENCH;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:633047002,ADDITIONAL FEATURES EN:SPANNER | 01)TOOL 'N' TACKLE,01)633047002,WRENCH,01)SPANNER | 633047002 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 633047002 |  | TOOL 'N' TACKLE |  |  |  | https://www.tools.com/milwaukee-spanner-wrench-new-hd18ag-m18cag125xpd-6 | https://www.primesupplies.com.au/product/spanner-wrench-tool-to-suit-579-grinders-milwaukee/ | [9 empty] | Cleansed | 27111726 Spanner wrenches | WRENCH | SPANNER | TYPE | TOOL | HEAD SIZE |  | CAPACITY | 63 TO 125 MM | HEAD THICKNESS |  | PIN SIZE |  | OVERALL LENGTH |  | HOOK SIZE |  | MATERIAL |  | COATING/FINISH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1273339 | 1273339 | WRENCH;MILW,M18FMTIWF120,MID TORQUE IMPA | WRENCH;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FMTIWF120,ADDITIONAL FEATURES EN:MID TORQUE IMPACT FRICTION RING 881NM 18 VOLT SKIN ONLY |  | M18FMTIWF120 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FMTIWF12-0 | [5 empty] | https://www.milwaukeetool.com.au/discontinued-products/M18FMTIWF12-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | MID TORQUE,CORDLESS | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 813 NM | SPEED RATING | 0 TO 2400 RPM | POWER SOURCE | 18 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W FRICTION RING,SKIN ONLY | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1269579 | 1269579 | WRENCH;MILW,M18ONEFHIWF1D-0,IMPACT,M18 | WRENCH;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18ONEFHIWF1D-0,ADDITIONAL FEATURES EN:IMPACT,M18 D-HANDLE HIGH TORQUE | 01)MOUNT ISA MINING SUPPLIES,01)M18ONEFHIWF1D-0,WRENCH,01)IMPACT,M18 D-HANDLE HIGH T | M18ONEFHIWF1D-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18ONEFHIWF1D-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M18ONEFHIWF1D-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | HIGH TORQUE,D HANDLE | NOMINAL SIZE | 1 IN | TORQUE RATING | 2711 NM | SPEED RATING | 0 TO 1200 RPM | POWER SOURCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:M18 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1254057 | 1254057 | ZZ - REPLACED BY 1542931 | WRENCH,IMPACT;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12FRAIWF12-0 | 01)ATOM SUPPLY,01)M12FRAIWF12-0,WRENCH,IMPACT | M12FRAIWF12-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12FRAIWF12-0 |  | ATOM SUPPLY |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-wrenches/M12FRAIWF12-0.html | [10 empty] | Enriched | 27112713 Impact wrenches | WRENCH | IMPACT | TYPE | RIGHT ANGLE | NOMINAL SIZE | 1/2 IN | TORQUE RATING | 300 NM | SPEED RATING | 0 TO 3000 RPM | POWER SOURCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ZZ-REPLACED BY 1542931 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | MKV |  | 24-06-2023 | 05-07-2023 |  | 1274566 | 1274566 | ZZ - REPLACED BY 1571688 | LAMP,LED;MNFR:EATON CORPORATION,PTNO:E22LED120WN,TYPE:INDICATOR,VOLTAGE RATING:120 VAC/DC,COLOUR:WHITE,SIZE:WD 0.5 X LG 1 X HT 0. 05 IN ,CERTIFICATION/STANDARD:CSA STD. C22.2 | INDICATOR,120 VAC/DC,WHITE,WD 0.5 X LG 1 X HT 0.05 IN,EN_01)CSA STD. C22.2,FR_01)CSA STD. C22.2 | E22LED120WN | 3000267 | EATON CORPORATION | EATON CORPORATION | E22LED120WN | [5 empty] | https://us.rs-online.com/product/eaton-cutler-hammer/e22led120wn/70057538/ | https://www.newark.com/eaton-cutler-hammer/e22led120wn/standard-led-lamp-white-switch/dp/47K0374 | [9 empty] | Enriched | 39101628 Light emitting diode LED lamp | LAMP | LED | TYPE | INDICATOR | WATTAGE |  | VOLTAGE RATING | 120 VAC/DC | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | WHITE | SIZE | 1 LGX1/2 WDX 3/64 HT IN | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA STD C22.2,UL 508,IEC 337-1 | ADDITIONAL FEATURES EN | ZZ - REPLACED BY 1571688 | [39 empty] | Production Completed