## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1212909 | 1212909 | CONNECTOR,COMM;FR,20 | CONNECTOR,COMMUNICATION;TYPE:FRONT,NUMBER OF PINS:20,ADDITIONAL FEATURES EN:FOR SIGNAL MODULES WITH SCREW CONTACTS,MNFR:SIEMENS, PTNO:6ES7392-1AJ00-0AA0 | EN_01)FRONT,01)FOR SIGNAL MODULES WITH SCR,ADAPTER | 6ES7392-1AJ00-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7392-1AJ00-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7392-1AJ00-0AA0 | https://www.onlinecomponents.com/en/siemens-energy/6es73921aj000aa0-12391662.html?ref=searchads360feed&utm_term=6ES7392-1AJ00-0AA0&gclid=CjwKCAjwqZSlBhBwEiwAfoZUIN9v3l1Lm--6-LXV5YawVACP4aJ78miIWMcTXQ-F2tQW5vkPK_iafBoCxVUQAvD_BwE&gclsrc=aw.ds | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | COMMUNICATION | TYPE | FRONT | CONNECTION TYPE | SCREW TERMINAL | NUMBER OF PINS | 20 | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR SIGNAL MODULES WITH SCREW CONTACTS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1239902 | 1239902 | CONNECTOR,COMM;FR,40 | CONNECTOR,COMMUNICATION;TYPE:FRONT,NUMBER OF PINS:40,ADDITIONAL FEATURES EN:ADAPTER, WITH SCREW CONTACTS,MNFR:SIEMENS,PTNO: 6ES7392-1AM00-0AA0 | EN_01)FRONT,01)ADAPTER, WITH SCREW CONTACT,CONNECTOR,01)FRONTAL 40,02)PINS,WITH SIMATIC,01)SORTIE FAILSAFE 10DO 24,02)VDC AVEC SIMATIC S7-300 | 6ES7392-1AM00-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7392-1AM00-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7392-1AM00-0AA0 | https://docs.rs-online.com/0bec/0900766b813dff84.pdf | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | COMMUNICATION | TYPE | FRONT | CONNECTION TYPE | SCREW TERMINAL | NUMBER OF PINS | 40 | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ADAPTER,C/W SCREW CONTACTS | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1272214 | 1272214 | CONNECTOR,ELEC;COND,08-A150-0012,COLLECT | CONNECTOR,ELECTRICAL;MNFR:CONDUCTIX,PTNO:08-A150-0012,ADDITIONAL FEATURES EN:COLLECTOR FORK,813 - 26228 |  | 08-A150-0012 | 3000255 | CONDUCTIX | CONDUCTIX | 08-A150-0012 |  |  | 813 - 26228 |  |  | https://partners.conductix.us/shop/800-Series-Conductor-Rails/812-Series/Replacement-Parts/~08-A150-0012 | https://www.hoosiercrane.com/812-series-collector-fork-conductix-wampfler-34438 | [9 empty] | CLEANSED | 24101600 Lifting equipment and accessories | FORK | NO MODIFIER | TYPE | COLLECTOR | CAPACITY |  | MATERIAL |  | SIZE |  | HANDLE DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1270613 | 1270613 | CONNECTOR; THFI,MTSD6050P0,D6,50 FT CABL | CONNECTOR;MNFR:THERMO FISHER,PTNO:MTSD6050P0,ADDITIONAL FEATURES EN:D6,50 FT CABLE TO PIGTAILS | 01)THERMO FISHER SCIENTIFIC,01)MTSD6050P0,CONNECTOR,01)D6,50 FT CABLE TO PIGTAILS | MTSD6050P0 | 3000467 | THERMO FISHER | THERMO FISHER SCIENTIFIC | MTSD6050P0 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE | 50 FT | CONNECTION TYPE | PIGTAIL | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | D6 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1269136 | 1269136 | CONNECTOR;GARD,A13309074,ANGUL,AR04X8,CO | CONNECTOR;MNFR:GARDNER DENVER,PTNO:A13309074,ADDITIONAL FEATURES EN:ANGUL,AR04X8,COMPARE | 01)GARDNER DENVER INDUSTRIES,01)A13309074,CONNECTOR,01)ANGUL,AR04X8,COMPARE | A13309074 | 3000280 | GARDNER DENVER | GARDNER DENVER | A13309074 |  | COMPARE | AR04X8 |  |  | https://compressedairpartscompany.com/sitemap.aspx?page=827 | https://www.jjairsystems.co.uk/product/a13309074-angul-connector-ar04x8/ | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | ANGULAR | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANGUL,AR04X8,COMPARE | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1269137 | 1269137 | CONNECTOR;GARD,A13309174,T,AR05 X 8,COMP | CONNECTOR;MNFR:GARDNER DENVER,PTNO:A13309174,ADDITIONAL FEATURES EN:T,AR05 X 8,COMPAIR | 01)GARDNER DENVER INDUSTRIES,01)A13309174,CONNECTOR,01)T,AR05 X 8,COMPAIR | A13309174 | 3000280 | GARDNER DENVER | GARDNER DENVER | A13309174 |  | COMPAIR | AR05 X 8 |  |  | https://compressornow.com/online-store/parts/gardner-denver-oem-t-connector-ar05-x-8-part-a13309174/ | https://www.jjairsystems.co.uk/product/a13309174-t-connector-ar05-x-8/ | [9 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | T | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | T,AR05 X 8,COMPAIR | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1269138 | 1269138 | CONNECTOR;GARD,A13309274,THREAD PIECE AR | CONNECTOR;MNFR:GARDNER DENVER,PTNO:A13309274,ADDITIONAL FEATURES EN:THREAD PIECE AR06X,COMPARE | 01)GARDNER DENVER INDUSTRIES,01)A13309274,CONNECTOR,01)THREAD PIECE AR06X,COMPARE | A13309274 | 3000280 | GARDNER DENVER | GARDNER DENVER | A13309274 |  | COMPARE | AR06X |  |  | https://www.zabatt.com/a13309274-gardner-denver/ | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | THREAD PIECE | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THREAD PIECE AR06X,COMPARE | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1269139 | 1269139 | CONNECTOR;GARD,A93583660,THREAD ELBOW,KL | CONNECTOR;MNFR:GARDNER DENVER,PTNO:A93583660,ADDITIONAL FEATURES EN:THREAD ELBOW,KL 8,COMPARE | 01)GARDNER DENVER INDUSTRIES,01)A93583660,CONNECTOR,01)THREAD ELBOW,KL 8,COMPARE | A93583660 | 3000280 | GARDNER DENVER | GARDNER DENVER | A93583660 |  | COMPARE |  |  |  | https://www.jjairsystems.co.uk/product/elbow-joint-thread-kl-8/ | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE | THREAD ELBOW | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KL 8 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1267118 | 1267118 | CONNECTOR;PHNX,154-8104,CABLE MOUNT CIRC | CONNECTOR;MNFR:PHOENIX CONTACT,PTNO:154-8104,ADDITIONAL FEATURES EN:CABLE MOUNT CIRCULAR,5 CONTACTS,M12 CONNECTOR,SOCKET | 01)RS COMPONENTS PTY LTD,01)154-8104,CONNECTOR,01)CABLE MOUNT CIRCULAR,5 CONT | 154-8104 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 1424649 |  | RS COMPONENTS PTY LTD | 154-8104 |  |  | https://uk.rs-online.com/web/p/industrial-circular-connectors/1548104 | https://mt.rsdelivers.com/product/phoenix-contact/1424649/phoenix-contact-circular-connector-5-contacts-m12/1548104¦https://www.phoenixcontact.com/en-us/products/circular-connector-cable-side-sacc-m12ms-5pl-m-1424649 | [9 empty] | ENRICHED | 39121413 Circular connectors | CONNECTOR | CIRCULAR | TYPE |  | CONNECTION TYPE | M12 | CONDUCTOR SIZE |  | ELECTRICAL RATING | 48/60 V,4 A | NUMBER OF PINS | 5 | SIZE |  | MATERIAL | POLYMER HOUSING,COPPER CONTACT | INSULATION MATERIAL |  | ANGLE |  | STUD/BOLT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273168 | 1273168 | CONNECTOR;SWAG,SS-1010-1-4,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-1010-1-4,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:5/8 IN TUBE X 1/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080424,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:5/8 IN TUBE X 1 | SS-1010-1-4 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-1010-1-4 |  | J BLACKWOOD & SONS | 00080424 |  |  | https://products.swagelok.com/en/c/straights/p/SS-1010-1-4 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 5/8 IN | PIPE SIZE | 1/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-47/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273169 | 1273169 | CONNECTOR;SWAG,SS-1010-1-6,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-1010-1-6,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:5/8 IN TUBE X 3/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080426,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:5/8 IN TUBE X 3 | SS-1010-1-6 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-1010-1-6 |  | J BLACKWOOD & SONS | 00080426 |  |  | https://products.swagelok.com/en/c/straights/p/SS-1010-1-6 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 5/8 IN | PIPE SIZE | 3/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-47/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273182 | 1273182 | CONNECTOR;SWAG,SS-1010-7-6,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-1010-7-6,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:5/8 IN TUBE X 3/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080539,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:5/8 IN TUBE X 3/ | SS-1010-7-6 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-1010-7-6 |  | J BLACKWOOD & SONS | 00080539 |  |  | https://products.swagelok.com/en/c/straights/p/SS-1010-7-6 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 5/8 IN | PIPE SIZE | 3/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-21/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273170 | 1273170 | CONNECTOR;SWAG,SS-1210-1-4,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-1210-1-4,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:3/4 IN TUBE X 1/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080441,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:3/4 IN TUBE X 1 | SS-1210-1-4 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-1210-1-4 |  | J BLACKWOOD & SONS | 00080441 |  |  | https://products.swagelok.com/en/c/straights/p/SS-1210-1-4 | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 3/4 IN | PIPE SIZE | 1/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273171 | 1273171 | CONNECTOR;SWAG,SS-1210-1-6,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-1210-1-6,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:3/4 IN TUBE X 3/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080446,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:3/4 IN TUBE X 3 | SS-1210-1-6 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-1210-1-6 |  | J BLACKWOOD & SONS | 00080446 |  |  | https://products.swagelok.com/en/c/straights/p/SS-1210-1-6 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 3/4 IN | PIPE SIZE | 3/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-51/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269121 | 1269121 | CONNECTOR;SWAG,SS-1610-1-16RT,M,1 IN TUB | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-1610-1-16RT,ADDITIONAL FEATURES EN:MALE,1 IN TUBE X 1 IN BSP | 01)SWAGELOK T/A FLUID SYSTEM,01)SS-1610-1-16RT,CONNECTOR,01)MALE,1 IN TUBE X 1 IN BSP | SS-1610-1-16RT | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-1610-1-16RT | [5 empty] | https://products.swagelok.com/en/c/straights/p/SS-1610-1-16RT | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1 IN | PIPE SIZE | 1 IN | TUBE CONNECTION |  | PIPE CONNECTION | MALE ISO TAPERED THREADED | LENGTH | 2-29/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273173 | 1273173 | CONNECTOR;SWAG,SS-200-1-4,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-200-1-4,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:1/8 IN TUBE X 1/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080497,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:1/8 IN TUBE X | SS-200-1-4 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-200-1-4 |  | J BLACKWOOD & SONS | 00080497 |  |  | https://products.swagelok.com/en/c/straights/p/SS-200-1-4 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/8 IN | PIPE SIZE | 1/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-13/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273174 | 1273174 | CONNECTOR;SWAG,SS-200-1-6,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-200-1-6,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:1/8 IN TUBE X 3/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080504,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:1/8 IN TUBE X | SS-200-1-6 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-200-1-6 |  | J BLACKWOOD & SONS | 00080504 |  |  | https://products.swagelok.com/en/c/straights/p/SS-200-1-6 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/8 IN | PIPE SIZE | 3/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-13/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273175 | 1273175 | CONNECTOR;SWAG,SS-200-1-8,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-200-1-8,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:1/8 IN TUBE X 1/2 IN NPT | 01)J BLACKWOOD & SONS,01)00080507,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:1/8 IN TUBE X | SS-200-1-8 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-200-1-8 |  | J BLACKWOOD & SONS | 00080507 |  |  | https://products.swagelok.com/en/c/straights/p/SS-200-1-8 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/8 IN | PIPE SIZE | 1/2 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-21/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273183 | 1273183 | CONNECTOR;SWAG,SS-200-7-2,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-200-7-2,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:1/8 IN TUBE X 1/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080548,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:1/8 IN TUBE X 1/ | SS-200-7-2 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-200-7-2 |  | J BLACKWOOD & SONS | 00080548 |  |  | https://products.swagelok.com/en/c/straights/p/SS-200-7-2 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/8 IN | PIPE SIZE | 1/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-1/8 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273186 | 1273186 | CONNECTOR;SWAG,SS-200-7-4,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-200-7-4,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:1/8 IN TUBE X 1/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080573,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:1/8 IN TUBE X 1/ | SS-200-7-4 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-200-7-4 |  | J BLACKWOOD & SONS | 00080573 |  |  | https://products.swagelok.com/en/c/straights/p/SS-200-7-4 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/8 IN | PIPE SIZE | 1/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-5/16 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269212 | 1269212 | CONNECTOR;SWAG,SS-28M0-1-16RT,MALE BSPT | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-28M0-1-16RT,ADDITIONAL FEATURES EN:MALE BSPT 28MM TUBE X 1 IN BSP TAP | 01)SWAGELOK T/A FLUID SYSTEM,01)SS-28M0-1-16RT,CONNECTOR,01)MALE BSPT 28MM TUBE X 1 IN | SS-28M0-1-16RT | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-28M0-1-16RT | [5 empty] | https://products.swagelok.com/en/c/straights/p/SS-28M0-1-16RT | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 28 MM | PIPE SIZE | 1 IN | TUBE CONNECTION |  | PIPE CONNECTION | MALE ISO TAPERED THREADED | LENGTH | 72.4 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273184 | 1273184 | CONNECTOR;SWAG,SS-300-7-2,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-300-7-2,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:3/16 IN TUBE X 1/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080551,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:3/16 IN TUBE X 1 | SS-300-7-2 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-300-7-2 |  | J BLACKWOOD & SONS | 00080551 |  |  | https://products.swagelok.com/en/c/straights/p/SS-300-7-2 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 3/16 IN | PIPE SIZE | 1/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-11/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273167 | 1273167 | CONNECTOR;SWAG,SS-400-1-12,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-400-1-12,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:1/4 IN TUBE X 3/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080419,CONNECTOR,01) CONNECTION:1/4 IN TUBE X 3,02)FITTING,MALE,STAINLESS STEE | SS-400-1-12 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-400-1-12 |  | J BLACKWOOD & SONS | 00080419 |  |  | https://products.swagelok.com/en/c/straights/p/SS-400-1-12 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/4 IN | PIPE SIZE | 3/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-13/16 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273185 | 1273185 | CONNECTOR;SWAG,SS-400-7-12,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-400-7-12,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:1/4 IN TUBE X 3/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080553,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:1/4 IN TUBE X 3/ | SS-400-7-12 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-400-7-12 |  | J BLACKWOOD & SONS | 00080553 |  |  | https://products.swagelok.com/en/c/straights/p/SS-400-7-12 | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/4 IN | PIPE SIZE | 3/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273187 | 1273187 | CONNECTOR;SWAG,SS-500-7-4,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-500-7-4,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:5/16 IN TUBE X 1/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080578,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:5/16 IN TUBE X 1 | SS-500-7-4 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-500-7-4 |  | J BLACKWOOD & SONS | 00080578 |  |  | https://products.swagelok.com/en/c/straights/p/SS-500-7-4 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 5/16 IN | PIPE SIZE | 1/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-3/4 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273188 | 1273188 | CONNECTOR;SWAG,SS-600-7-12,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-600-7-12,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:3/8 IN TUBE X 3/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080580,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:3/8 IN TUBE X 3/ | SS-600-7-12 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-600-7-12 |  | J BLACKWOOD & SONS | 00080580 |  |  | https://products.swagelok.com/en/c/straights/p/SS-600-7-12 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 3/8 IN | PIPE SIZE | 3/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-7/8 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273181 | 1273181 | CONNECTOR;SWAG,SS-600-7-2,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-600-7-2,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:3/8 IN TUBE X 1/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080536,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:3/8 IN TUBE X 1/ | SS-600-7-2 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-600-7-2 |  | J BLACKWOOD & SONS | 00080536 |  |  | https://products.swagelok.com/en/c/straights/p/SS-600-7-2 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 3/8 IN | PIPE SIZE | 1/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-19/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273179 | 1273179 | CONNECTOR;SWAG,SS-600-7-8,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-600-7-8,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:3/8 IN TUBE X 1/2 IN NPT | 01)J BLACKWOOD & SONS,01)00080530,CONNECTOR,01)FITTING,FEMALE,STAINLESS ST,02)CONNECTION:3/8 IN TUBE X 1/ | SS-600-7-8 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-600-7-8 |  | J BLACKWOOD & SONS | 00080530 |  |  | https://products.swagelok.com/en/c/straights/p/SS-600-7-8 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 3/8 IN | PIPE SIZE | 1/2 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-47/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273172 | 1273172 | CONNECTOR;SWAG,SS-810-1-2,FTG,M,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-810-1-2,ADDITIONAL FEATURES EN:FITTING,MALE,STAINLESS STEEL 316, CONNECTION:1/2 IN TUBE X 1/8 IN NPT | 01)J BLACKWOOD & SONS,01)00080471,CONNECTOR,01)FITTING,MALE,STAINLESS STEE,02) CONNECTION:1/2 IN TUBE X | SS-810-1-2 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-810-1-2 |  | J BLACKWOOD & SONS | 00080471 |  |  | https://products.swagelok.com/en/c/straights/p/SS-810-1-2 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/8 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-17/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269199 | 1269199 | CONNECTOR;SWAG,SS-810-7-12,FEM,1/2 IN TU | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-810-7-12,ADDITIONAL FEATURES EN:FEMALE,1/2 IN TUBE X 3/4 IN NPT | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-810-7-12,CONNECTOR,01)FEMALE,1/2 IN TUBE X 3/4 IN | SS-810-7-12 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-810-7-12 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/straights/p/SS-810-7-12 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/2 IN | PIPE SIZE | 3/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-29/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273180 | 1273180 | CONNECTOR;SWAG,SS-810-7-4,FTG,FEM,SS316 | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-810-7-4,ADDITIONAL FEATURES EN:FITTING,FEMALE,STAINLESS STEEL 316,CONNECTION:1/2 IN TUBE X 1/4 IN NPT | 01)J BLACKWOOD & SONS,01)00080534,CONNECTOR,01)CONNECTION:1/2 IN TUBE X 1/,02)FITTING,FEMALE,STAINLESS ST | SS-810-7-4 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-810-7-4 |  | J BLACKWOOD & SONS | 00080534 |  |  | https://products.swagelok.com/en/c/straights/p/SS-810-7-4 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-19/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269209 | 1269209 | CONNECTOR;SWAG,SS-QC8-B-8PM,BDY,1/2 IN | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-QC8-B-8PM,ADDITIONAL FEATURES EN:BODY,1/2 IN MNPT END | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-QC8-B-8PM,CONNECTOR,01)BODY,1/2 IN MNPT END | SS-QC8-B-8PM | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-QC8-B-8PM |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/bodies/p/SS-QC8-B-8PM | https://sbindustrialsupply.com/shop/new-swagelok-ss-qc8-b-8pm-quick-connect-ssqc8b8pm/ | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE |  | TUBE SIZE |  | PIPE SIZE | 1/2 IN | TUBE CONNECTION | QUICK CONNECT | PIPE CONNECTION | MNPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BODY | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269210 | 1269210 | CONNECTOR;SWAG,SS-QC8-S-810,STEM,1/2 IN | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SS-QC8-S-810,ADDITIONAL FEATURES EN:STEM,1/2 IN TUBE END | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-QC8-S-810,CONNECTOR,01)STEM,1/2 IN TUBE END | SS-QC8-S-810 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-QC8-S-810 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/stems/p/SS-QC8-S-810 | [10 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | QUICK CONNECT STEM | LENGTH |  | PRESSURE CLASS/RATING | 250 PSIG | MATERIAL | STAINLESS STEEL 316,FLUOROCARBON FKM O-RING | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269193 | 1269193 | CONNECTOR;SWAG,SWASS-810-1-12,M,1/2 IN T | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SWASS-810-1-12,ADDITIONAL FEATURES EN:MALE,1/2 IN TUBE X 3/4 IN NPT | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-810-1-12,CONNECTOR,01)MALE,1/2 IN TUBE X 3/4 IN N | SWASS-810-1-12 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-810-1-12 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/straights/p/SS-810-1-12 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/2 IN | PIPE SIZE | 3/4 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-63/64 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269194 | 1269194 | CONNECTOR;SWAG,SWASS-810-1-8,M,1/2 IN TU | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SWASS-810-1-8,ADDITIONAL FEATURES EN:MALE,1/2 IN TUBE X 1/2 IN NPT | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-810-1-8,CONNECTOR,01)MALE,1/2 IN TUBE X 1/2 IN N | SWASS-810-1-8 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-810-1-8 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/straights/p/SS-810-1-8 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/2 IN | TUBE CONNECTION |  | PIPE CONNECTION | MNPT | LENGTH | 1-15/16 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269200 | 1269200 | CONNECTOR;SWAG,SWASS-810-7-8,FEM,1/2 IN | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SWASS-810-7-8,ADDITIONAL FEATURES EN:FEMALE,1/2 IN TUBE X 1/2 IN NPT | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-810-7-8,CONNECTOR,01)FEMALE,1/2 IN TUBE X 1/2 IN | SWASS-810-7-8 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-810-7-8 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/straights/p/SS-810-7-8 | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/2 IN | TUBE CONNECTION |  | PIPE CONNECTION | FNPT | LENGTH | 1-27/32 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269204 | 1269204 | CONNECTOR;SWAG,SWASS-811-PC,PORT,1/2 IN | CONNECTOR;MNFR:SWAGELOK LTD,PTNO:SWASS-811-PC,ADDITIONAL FEATURES EN:PORT,1/2 IN TUBE | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-811-PC,CONNECTOR,01)PORT,1/2 IN TUBE | SWASS-811-PC | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-811-PC |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/straights/p/SS-811-PC | https://trionics.com/wp-content/uploads/2018/03/SWAGELOK-TUBE-FITTING-CATALOG.pdf | [9 empty] | ENRICHED | 40183109 Tube adapter | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 1/2 IN | PIPE SIZE | 1/2 IN | TUBE CONNECTION |  | PIPE CONNECTION | PORT CONNECTOR | LENGTH | 1-7/16 IN | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1275182 | 1275182 | CONNECTOR;YOKG,A2EE2A-N | CONNECTOR;MNFR:YOKOGAWA,PTNO:A2EE2A-N |  | A2EE2A-N | 3000446 | YOKOGAWA | YOKOGAWA | A2EE2A-N | [5 empty] | https://library.yokogawa.com/document/download/AxkHnJ89/0000029137//EN/ | https://www.volza.com/p/computer-or-adapter/import/import-in-india/coo-indonesia/ | [9 empty] | ENRICHED | 43190000 Communications Devices and Accessories | ADAPTER | COMMUNICATION | TYPE | ESB BUS | CONNECTOR END 1 |  | CONNECTOR END 2 |  | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1275183 | 1275183 | CONNECTOR;YOKG,A2EE2A-T | CONNECTOR;MNFR:YOKOGAWA,PTNO:A2EE2A-T |  | A2EE2A-T | 3000446 | YOKOGAWA | YOKOGAWA | A2EE2A-T | [5 empty] | https://library.yokogawa.com/document/download/AxkHnJ89/0000029137//EN/ | https://www.volza.com/p/computer-or-adapter/import/import-in-india/coo-indonesia/ | [9 empty] | ENRICHED | 43190000 Communications Devices and Accessories | ADAPTER | COMMUNICATION | TYPE | ESB BUS | CONNECTOR END 1 |  | CONNECTOR END 2 |  | INTERFACE TYPE |  | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1213588 | 1213588 | CONNECTOR;YOKG,ATA4S-00 | CONNECTOR;MNFR:YOKOGAWA,PTNO:ATA4S-00 | 01)YOKOGAWA AUSTRALIA PTY LT,01)ATA4S-00,CONNECTOR | ATA4S-00 | 3000446 | YOKOGAWA | YOKOGAWA | ATA4S-00 | [5 empty] | http://www.tek-international.com/tek-international_Product_2015707010_Yokogawa.Pressure.Clamp.Terminal.Block.ATA4S-00.html | https://www.teknihaus.com/ATA4S-00 | [9 empty] | ENRICHED | 39121410 Terminal blocks | BLOCK | TERMINAL | TYPE | PRESSURE CLAMP | CURRENT RATING |  | VOLTAGE RATING |  | WIRE SIZE |  | NUMBER OF CIRCUITS |  | TERMINAL TYPE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214036 | 1214036 | RELAY;SIE,3TH40 22-0AF0 | RELAY;MNFR:SIEMENS,PTNO:3TH40 22-0AF0 | RELAY | 3TH40 22-0AF0 | 3000032 | SIEMENS | SIEMENS | 3TH40 22-0AF0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3TH40220AF0 | https://www.maxodeals.com/mdenglish/siemens-3th4022-0af0-new-nfp | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING | 110/132 VAC | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT | 2NO 2NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214032 | 1214032 | RELAY;SIE,3TH40 22-0AU0 | RELAY;MNFR:SIEMENS,PTNO:3TH40 22-0AU0 | RELAY | 3TH40 22-0AU0 | 3000032 | SIEMENS | SIEMENS | 3TH40 22-0AU0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3TH4022-0AU0 | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | RELAY | LINE VOLTAGE | 240/288 VAC | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT | 2NO 2NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1213807 | 1213807 | RELAY;SIE,3TH40 31-0AF0 | RELAY;MNFR:SIEMENS,PTNO:3TH40 31-0AF0 | RELAY | 3TH40 31-0AF0 | 3000032 | SIEMENS | SIEMENS | 3TH40 31-0AF0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3TH40310AF0 | https://www.electrical.com/Products/Motor-Control-Siemens/3TH4031-0AF0 | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING | 110/132 VAC | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT | 3NO 1NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214031 | 1214031 | RELAY;SIE,3TH40 31-0BB4 | RELAY;MNFR:SIEMENS,PTNO:3TH40 31-0BB4 | RELAY | 3TH40 31-0BB4 | 3000032 | SIEMENS | SIEMENS | 3TH40 31-0BB4 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3TH40310BB4 | https://www.electrical.com/Products/Motor-Control-Siemens/3TH4031-0BB4?cond=S | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT | 3NO 1NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1213805 | 1213805 | RELAY;SIE,3TH40 40-0AF0 | RELAY;MNFR:SIEMENS,PTNO:3TH40 40-0AF0 | RELAY | 3TH40 40-0AF0 | 3000032 | SIEMENS | SIEMENS | 3TH40 40-0AF0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3TH40400AF0 | https://www.electrical.com/Products/Motor-Control-Siemens/3TH4040-0AF0 | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING | 110/132 VAC | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT | 4NO | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276167 | 1276167 | RELAY;SIE,3TH42 53-0AU0 | RELAY;MNFR:SIEMENS,PTNO:3TH42 53-0AU0 | RELAY | 3TH42 53-0AU0 | 3000032 | SIEMENS | SIEMENS | 3TH42 53-0AU0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3TH42530AU0 | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | RELAY | LINE VOLTAGE | 240/288 VAC | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT | 5NO 3NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN 50011 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214030 | 1214030 | RELAY;SIE,3TH42 53-0BB4 | RELAY;MNFR:SIEMENS,PTNO:3TH42 53-0BB4 | RELAY | 3TH42 53-0BB4 | 3000032 | SIEMENS | SIEMENS | 3TH42 53-0BB4 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3TH4253-0BB4 | https://www.tme.com/us/en-us/details/3th4253-0bb4/contactors-main-modules/siemens/ | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | RELAY | LINE VOLTAGE | 400 VAC | CURRENT RATING | 6 A | COIL VOLTAGE | 24 VDC | NUMBER OF POLES | 8 | CONTACT ARRANGEMENT | 5NO 3NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | 35 MM DIN RAIL | ENCLOSURE | IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,CE,DIN EN 50011,EAC,UL,UKCA | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1213806 | 1213806 | RELAY;SIE,3TH42 62-0AF0 | RELAY;MNFR:SIEMENS,PTNO:3TH42 62-0AF0 | RELAY | 3TH42 62-0AF0 | 3000032 | SIEMENS | SIEMENS | 3TH42 62-0AF0 | [5 empty] | https://mall.industry.siemens.com/mall/en/en/Catalog/product?mlfb=3TH4262-0AF0 | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | RELAY | LINE VOLTAGE | 400 VAC | CURRENT RATING | 6 A | COIL VOLTAGE | 110/132 VAC | NUMBER OF POLES |  | CONTACT ARRANGEMENT | 6NO 2NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | 35 MM DIN RAIL | ENCLOSURE | IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,CE,DIN EN 50011,EAC,UL,UKCA | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1264738 | 1264738 | RELAY;SIE,3TH42 80-0BF4 | RELAY;MNFR:SIEMENS,PTNO:3TH42 80-0BF4 | RELAY | 3TH42 80-0BF4 | 3000032 | SIEMENS | SIEMENS | 3TH42 80-0BF4 | [5 empty] | https://mall.industry.siemens.com/mall/en/en/Catalog/product?mlfb=3TH4280-0BF4 | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | RELAY | LINE VOLTAGE | 400 VAC | CURRENT RATING | 6 A | COIL VOLTAGE | 110 VDC | NUMBER OF POLES |  | CONTACT ARRANGEMENT | 8NO | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | 35 MM DIN RAIL | ENCLOSURE | IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,CE,DIN EN 50011,EAC,UL,UKCA | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Partially Match | 1214037 | 1214037 | RELAY;SIE,3TH80.22.OACO | RELAY;MNFR:SIEMENS,PTNO:3TH80.22.OACO | RELAY | 3TH80.22.OACO | 3000032 | SIEMENS | SIEMENS | 3TH80.22.OACO | [5 empty] | https://www.3jindustry.com/products/contactor-3th80-22-0a-22e-coil-120vac-siemens-3th-contactor-1 | https://controlparts.com/products/siemens-relays-3th8022-0a | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | RELAY | LINE VOLTAGE | 600 VAC | CURRENT RATING | 16 A | COIL VOLTAGE | 120 VAC | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT | 2NO 2NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Partially Match | 1214035 | 1214035 | RELAY;SIE,3TH80-13-OA-FO | RELAY;MNFR:SIEMENS,PTNO:3TH80-13-OA-FO | RELAY | 3TH80-13-OA-FO | 3000032 | SIEMENS | SIEMENS | 3TH80-13-OA-FO | [5 empty] | https://industrial-stores.com/files/Siemens%203TH8262-0A%20Contactor%20Relay.pdf | https://www.electrical.com/Products/Motor-Control-Siemens/3TH80%2013-0A?cond=R | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING | 380 VAC/DC | CURRENT RATING | 6 A | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT | 1NO 3NC | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Partially Match | 1214038 | 1214038 | RELAY;SIE,3TH82.44.OACO | RELAY;MNFR:SIEMENS,PTNO:3TH82.44.OACO | RELAY | 3TH82.44.OACO | 3000032 | SIEMENS | SIEMENS | 3TH82.44.OACO | [5 empty] | https://industrial-stores.com/files/Siemens%203TH8262-0A%20Contactor%20Relay.pdf | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING | 380 VAC/DC | CURRENT RATING | 6 A | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT | 4NO 4NC | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1264737 | 1264737 | RELAY;SIE,3TH82.44-0AR0 | RELAY;MNFR:SIEMENS,PTNO:3TH82.44-0AR0 | RELAY | 3TH82.44-0AR0 | 3000032 | SIEMENS | SIEMENS | 3TH82.44-0AR0 | [5 empty] | http://sm-industry.ru/catalog/protection_devices/31828/?IBLOCK_CODE=protection_devices&SECTION_ID=31828&PAGEN_1=24 | https://industrial-stores.com/files/Siemens%203TH8262-0A%20Contactor%20Relay.pdf | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING | 415/500 VAC | CURRENT RATING | 6 A | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT | 4NO 4NC | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN 50011 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Partially Match | 1214040 | 1214040 | RELAY;SIE,3TH83.82.OBF4 | RELAY;MNFR:SIEMENS,PTNO:3TH83.82.OBF4 | RELAY | 3TH83.82.OBF4 | 3000032 | SIEMENS | SIEMENS | 3TH83.82.OBF4 | [5 empty] | https://www.electrical.com/Products/Motor-Control-Siemens/3TH8382-0B?cond=R | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | MAGNETIC | TYPE | RELAY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Partially Match | 1214039 | 1214039 | RELAY;SIE,3TH83.82-0AC0 | RELAY;MNFR:SIEMENS,PTNO:3TH83.82-0AC0 | RELAY | 3TH83.82-0AC0 | 3000032 | SIEMENS | SIEMENS | 3TH83.82-0AC0 | [5 empty] | https://imbrija-promet.hr/download/Novi_stari_kataloski_brojevi_artikala.pdf | https://imbrija-promet.hr/download/Novi_stari_kataloski_brojevi_artikala.pdf | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | RELAY | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES | 8 | CONTACT ARRANGEMENT | 8NO 2NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 50 011,IEC 60947-5-1 | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214346 | 1214346 | RELAY;SIE,3UA2100-0C | RELAY;MNFR:SIEMENS,PTNO:3UA2100-0C | RELAY | 3UA2100-0C | 3000032 | SIEMENS | SIEMENS | 3UA2100-0C | [5 empty] | https://www.happy-parts.de/en/products/siemens-uberlastrelais-3ua2100-0c-600-1000a-gebraucht | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA2100-0C | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING | 600 TO 1000 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276168 | 1276168 | RELAY;SIE,3UA2100-OB | RELAY;MNFR:SIEMENS,PTNO:3UA2100-OB | RELAY | 3UA2100-OB | 3000032 | SIEMENS | SIEMENS | 3UA2100-0B | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA2100-0B | https://www.happy-parts.de/en/products/siemens-uberlastrelais-overload-relay-3ua2100-0b-350-600a-gebraucht | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING | 350 TO 600 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276173 | 1276173 | RELAY;SIE,3UA3200 | RELAY;MNFR:SIEMENS,PTNO:3UA3200 | RELAY | 3UA3200 | 3000032 | SIEMENS | SIEMENS | 3UA3200 | [5 empty] | url not found | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214344 | 1214344 | RELAY;SIE,3UA3200-1D | RELAY;MNFR:SIEMENS,PTNO:3UA3200-1D | RELAY | 3UA3200-1D | 3000032 | SIEMENS | SIEMENS | 3UA3200-1D | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA3200-1D | http://www.sm-industry.ru/catalog/protection_devices/31974/ | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING | 30 TO 60 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION | 1NC | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214345 | 1214345 | RELAY;SIE,3UA-33-00-1G | RELAY;MNFR:SIEMENS,PTNO:3UA-33-00-1G | RELAY | 3UA-33-00-1G | 3000032 | SIEMENS | SIEMENS | 3UA33-00-1G | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA3300-1G | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING | 200 TO 300 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION | 1NC | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE | FRONT CUBICLE | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214500 | 1214500 | RELAY;SIE,3UA50 00-1C | RELAY;MNFR:SIEMENS,PTNO:3UA50 00-1C | RELAY | 3UA50 00-1C | 3000032 | SIEMENS | SIEMENS | 3UA5000-1C | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA5000-1C | https://www.classicautomation.com/Part/3ua5000-1c | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL DELAYED | CURRENT RATING | 1.6 TO 2.5 A | VOLTAGE RATING |  | CONTACT RATING | 1NO 1NC | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214055 | 1214055 | RELAY;SIE,3UA52 00-1J | RELAY;MNFR:SIEMENS,PTNO:3UA52 00-1J | RELAY | 3UA52 00-1J | 3000032 | SIEMENS | SIEMENS | 3UA5200-1J | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA5200-1J | https://vashiisl.com/products/siemens-contactors-and-relays-3ua52001j | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL DELAYED | CURRENT RATING | 6.3 TO 10 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS | CLASS 10 | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214054 | 1214054 | RELAY;SIE,3UA52 00-IG | RELAY;MNFR:SIEMENS,PTNO:3UA52 00-IG | RELAY | 3UA52 00-IG | 3000032 | SIEMENS | SIEMENS | 3UA5200-1G | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA5200-1G | https://www.santaclarasystems.com/siemens/3ua5200-1g | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL DELAYED | CURRENT RATING | 4 TO 6.3 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214053 | 1214053 | RELAY;SIE,3UA52-00-OJ | RELAY;MNFR:SIEMENS,PTNO:3UA52-00-OJ | RELAY | 3UA52-00-OJ | 3000032 | SIEMENS | SIEMENS | 3UA5200-0J | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UA52000J | https://controlparts.com/products/siemens-relays-3ua5200-0j | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL DELAYED | CURRENT RATING | 0.63 TO 1 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 | Series Match | 1214052 | 1214052 | RELAY;SIE,3UA58.00-27 | RELAY;MNFR:SIEMENS,PTNO:3UA58.00-27 | RELAY | 3UA58.00-27 | 3000032 | SIEMENS | SIEMENS | 3UA58.00-27 | [5 empty] | https://controlparts.com/pages/siemens-relays-3ua5800-overload-relays | [10 empty] | CLEANSED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276169 | 1276169 | RELAY;SIE,3UG1302-IC | RELAY;MNFR:SIEMENS,PTNO:3UG1302-IC | RELAY | 3UG1302-IC | 3000032 | SIEMENS | SIEMENS | 3UG1302-IC | [5 empty] | url not found | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276179 | 1276179 | RELAY;SIE,3UG2500-OKA | RELAY;MNFR:SIEMENS,PTNO:3UG2500-OKA | RELAY | 3UG2500-OKA | 3000032 | SIEMENS | SIEMENS | 3UG2500-OKA | [5 empty] | url not found | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1335498 | 1335498 | RELAY;SIE,FABA20010000AE3C | RELAY;MNFR:SIEMENS,PTNO:FABA20010000AE3C | RELAY | FABA20010000AE3C | 3000032 | SIEMENS | SIEMENS | FABA20010000AE3C | [5 empty] | url not found | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1215727 | 1215727 | SEPARATOR,CYCLN;GARD,47700889001 | SEPARATOR,CYCLONE;MNFR:GARDNER DENVER,PTNO:47700889001 |  | 47700889001 | 3000280 | GARDNER DENVER | GARDNER DENVER | 47700889001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161700 Separators | SEPARATOR | CYCLONE | TYPE |  | NOMINAL SIZE |  | CONNECTION TYPE |  | CAPACITY |  | PRESSURE RATING |  | SEPARATION EFFICIENCY |  | BODY MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1258183 | 1258183 | THYRISTOR;ABB,3ADC340083P0001 | THYRISTOR;MNFR:ABB,PTNO:3ADC340083P0001 | THYRISTOR | 3ADC340083P0001 | 3000014 | ABB | ABB | 3ADC340083P0001 | [5 empty] | https://new.abb.com/products/3ADC340083P0001/3adc340083p0001 | http://vantec.com.ua/products/descriptions/silovoy-modul-raznyy-3adc340083p0001-abb-thyristor-module.html | [9 empty] | CLEANSED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | THYRISTOR | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1258178 | 1258178 | THYRISTOR;ABB,3ADC340095P0001 | THYRISTOR;MNFR:ABB,PTNO:3ADC340095P0001 | THYRISTOR | 3ADC340095P0001 | 3000014 | ABB | ABB | 3ADC340095P0001 | [5 empty] | https://new.abb.com/products/3ADC340095P0001/3adc340095p0001 | https://katalog.vaeprosys.cz/en/product/3adc340095p0001 | [9 empty] | CLEANSED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE | THYRISTOR | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1326126 | 1326126 | THYRISTOR;ABB,SSTP33L280D | THYRISTOR;MNFR:ABB,PTNO:SSTP33L280D | THYRISTOR | SSTP33L280D | 3000014 | ABB | ABB | SSTP33L280D | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1326237 | 1326237 | THYRISTOR;ABB,YS150 103-AG | THYRISTOR;MNFR:ABB,PTNO:YS150 103-AG | THYRISTOR | YS150 103-AG | 3000014 | ABB | ABB | YS150 103-AG | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214353 | 1214353 | THYRISTOR;SIE,BST.F35-110 | THYRISTOR;MNFR:SIEMENS,PTNO:BST.F35-110 | THYRISTOR | BST.F35-110 | 3000032 | SIEMENS | SIEMENS | BST.F35-110 | [5 empty] | https://www.automation-berlin.com/en/siemens-6SY9362.html | [10 empty] | CLEANSED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1214086 | 1214086 | THYRISTOR;SIE,BST-L-35-110-4K | THYRISTOR;MNFR:SIEMENS,PTNO:BST-L-35-110-4K | THYRISTOR | BST-L-35-110-4K | 3000032 | SIEMENS | SIEMENS | BST-L-35-110-4K | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276163 | 1276163 | THYRISTOR;SIE,BSTN3590 | THYRISTOR;MNFR:SIEMENS,PTNO:BSTN3590 | THYRISTOR | BSTN3590 | 3000032 | SIEMENS | SIEMENS | BSTN3590 | [5 empty] | https://www.ceipsa.com/datasheet/BSTN3590.pdf | https://www.ceipsa.com/mx/scr-thyristor-de-switcheo-rapido/bstn3590-4523.html | [9 empty] | ENRICHED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE | PHASE CONTROL | PEAK ON-STATE VOLTAGE | 1350 V | RMS CURRENT | 440 A | MAX STATE CURRENT | 6160 A | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276165 | 1276165 | THYRISTOR;SIE,BSTP05100 | THYRISTOR;MNFR:SIEMENS,PTNO:BSTP05100 | THYRISTOR | BSTP05100 | 3000032 | SIEMENS | SIEMENS | BSTP05100 | [5 empty] | https://es.web-bcs.com/scr/thy/ba/BStP05100.php | [10 empty] | CLEANSED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1258258 | 1258258 | THYRISTOR;SIE,TEB-H3TP907 | THYRISTOR;MNFR:SIEMENS,PTNO:TEB-H3TP907 | THYRISTOR | TEB-H3TP907 | 3000032 | SIEMENS | SIEMENS | TEB-H3TP907 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1276180 | 1276180 | THYRISTOR;SIE,TEB-H6TN925-1 | THYRISTOR;MNFR:SIEMENS,PTNO:TEB-H6TN925-1 | THYRISTOR | TEB-H6TN925-1 | 3000032 | SIEMENS | SIEMENS | TEB-H6TN925-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32111702 Thyristors | THYRISTOR | NO MODIFIER | TYPE |  | PEAK ON-STATE VOLTAGE |  | RMS CURRENT |  | MAX STATE CURRENT |  | FORWARD BLOCKING VOLTAGE |  | GATE TRIGGER VOLTAGE |  | GATE TRIGGER CURRENT |  | MOUNTING TYPE |  | PACKAGE TYPE |  | NUMBER OF PINS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | ATS | ok | 2023-06-24 | 2023-07-05 |  | 1254240 | 1254240 | ZZ - REPLACED BY 1503042 | SEPARATOR,CYCLN;MNFR:GARDNER DENVER,PTNO:47700889001 |  | 47700889001 | 3000280 | GARDNER DENVER | GARDNER DENVER | 47700889001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161700 Separators | SEPARATOR | CYCLONE | TYPE |  | NOMINAL SIZE |  | CONNECTION TYPE |  | CAPACITY |  | PRESSURE RATING |  | SEPARATION EFFICIENCY |  | BODY MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ZZ - REPLACED BY 1503042 | [51 empty] | Production Completed