## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1274101 | 1274101 | TAPE;BRAD,142029,B-595 INDOOR/OUTDOOR VI | TAPE;MNFR:BRADY W H CO,PTNO:142029,ADDITIONAL FEATURES EN:B-595 INDOOR/OUTDOOR VINYL,PRINTER COMPATABILITY:BBP31/BBP33,SIZE:57.15MM X 30.48 METERS,WHITE | 01)CNW (MOUNT ISA) ELECT WHO,01)BRA142029,TAPE,01)B-595 INDOOR/OUTDOOR VINYL,02)PRINTER COMPATABILITY:BBP31,03)SIZE:57.15MM X 30.48 METERS | 142029 | 3000240 | BRADY W H CO | BRADY W H CO | 142029 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.bradyid.com/labels/aggressive-adhesive/b30-series-continuous-indoor-outdoor-vinyl-labels-cps-brus-10054?part-number=b30c-2250-595-wt | [5 empty] | PRINTER COMPATABILITY |  | BBP31/BBP33 |  |  | ENRICHED | 31201500 Tape | TAPE | ADHESIVE | TYPE | PERMANENT | WIDTH | 2-1/4 IN (57.15 MM) | LENGTH | 100 FT (30.48 M) | THICKNESS | 0.10 MM | MATERIAL | VINYL | COLOUR | WHITE | LEGEND |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR INDOOR OUTDOOR | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 | PARTIALLY MACTH | 1273903 | 1273903 | TAPE;GATE,B73XGAT,V/BELT,TRI POWER RAW | TAPE;MNFR:GATES CORPORATION,PTNO:B73XGAT,ADDITIONAL FEATURES EN:V/BELT,TRI POWER RAW EDGE | 01)BOSS DISTRIBUTORS,01)B73XGAT,TAPE,01)V/BELT,TRI POWER RAW EDGE | B73XGAT | 3000282 | GATES CORPORATION | GATES CORPORATION | B73XGAT |  | BOSS DISTRIBUTORS |  |  |  | https://mx-en.rs-online.com/product/gates/b73/72226267/ | [10 empty] | CLEANSED | 26111801 V belts | BELT | V | TYPE | RAW EDGE | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:TRI POWER | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1273902 | 1273902 | TAPE;GATE,GVMVBMGAT,GVMVBM V/MV-BELT | TAPE;MNFR:GATES CORPORATION,PTNO:GVMVBMGAT,ADDITIONAL FEATURES EN:GVMVBM V/MV-BELT | 01)BOSS DISTRIBUTORS,01)GVMVBMGAT,TAPE,01)GVMVBM V/MV-BELT | GVMVBMGAT | 3000282 | GATES CORPORATION | GATES CORPORATION | GVMVBMGAT |  | BOSS DISTRIBUTORS |  |  |  | https://partners.conbear.com.au/Product/info/GVMVBMGAT | [10 empty] | ENRICHED | 41114201 Measuring tapes | TAPE | MEASURING | TYPE |  | LENGTH |  | MEASURING UNIT |  | GRADUATION |  | COLOUR |  | MATERIAL |  | CASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR V/MV-BELT | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1259868 | 1259868 | TAPE;STLY,FMHT36148-3,5M,FATMAX | TAPE;MNFR:STANLEY,PTNO:FMHT36148-3,ADDITIONAL FEATURES EN:5M,FATMAX | 01)MOUNT ISA MINING SUPPLIES,01)FMHT36148-3,TAPE,01)5M,FATMAX | FMHT36148-3 | 3000451 | STANLEY | STANLEY | FMHT36148-3 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.tradetools.com/stanley-5mt-fatmax-tape-fmht36148-3 | [10 empty] | ENRICHED | 41114201 Measuring tapes | TAPE | MEASURING | TYPE |  | LENGTH | 5 M | MEASURING UNIT |  | GRADUATION |  | COLOUR |  | MATERIAL | ABS | CASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:FATMAX | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1272505 | 1272505 | THERMOMETER,DGTL;FLUK,FLU561,IR,CONT,HVA | THERMOMETER,DIGITAL;MNFR:FLUKE,PTNO:FLU561,ADDITIONAL FEATURES EN:INFRARED,CONTACT,HVAC,-40 TO 550 DEG C |  | FLU561 | 3000278 | FLUKE | FLUKE | 561 | [5 empty] | https://www.fluke.com/en-in/product/temperature-measurement/ir-thermometers/fluke-561 | https://in.element14.com/fluke/fluke-561/thermometer-infrared-40deg-to/dp/1218793?CMP=KNC-GIN-GEN-DSA-PDP-PAGE_TOP-CITY-TEST-Split-S30&mckv=sPLVruMSr_dc¦pcrid¦590172267509¦pkw¦¦pmt¦¦slid¦¦product¦¦pgrid¦131884804221¦ptaid¦dsa-906758374001¦&gclid=CjwKCAjwzJmlBhBBEiwAEJyLu_Vk_cMS6zpFPujmRO-_Ebxx45YZ5Lw7TnJNPavaUqezWdN5f3g51BoCtwMQAvD_BwE | [9 empty] | ENRICHED | THERMOMETER_DIGITAL | THERMOMETER | DIGITAL | TYPE | HVAC INFRARED,CONTACT | MEASURING RANGE | -40 TO 550 DEG C | ACCURACY | +/-1 PCT | RESOLUTION | 0.1 DEG C | DIAL SIZE |  | SENSOR TYPE |  | POWER SUPPLY | 2 X AA BATTERY | SIZE |  | STORAGE | 0 TO 50 DEG C | SPECTRAL RANGE | 8 TO 14 UM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INFRARED,CONTACT,HVAC,-40 TO 550 DEG C | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1272798 | 1272798 | THERMOSTAT;HYDA,3193287,T 70Â°C,M22X1.5 | THERMOSTAT;MNFR:HYDAC,PTNO:3193287,ADDITIONAL FEATURES EN:T 70Â°C,M22X1.5, NA IP65 DICH | 01)ISADRAULICS,01)3193287,THERMOSTAT,01)T 70°C,M22X1.5,02) NA IP65 DICH | 3193287 | 3000292 | HYDAC | HYDAC | 3193287 |  | ISADRAULICS |  |  |  | https://www.windusthydraulics.co.nz/Portals/0/PDFs/WHS-Web-Catalogue-Coolers.pdf | [10 empty] | ENRICHED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE | NON-ADJUSTABLE | TEMPERATURE RATING | 70 DEG C | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | M22 X 1.5 MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:70 DEG C,ENCLOSUE:IP65 | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1330054 | 1330054 | THERMOSTAT;MER,A0052032675 | THERMOSTAT;MNFR:MERCEDES,PTNO:A0052032675 | THERMOSTAT | A0052032675 | 3000008 | MERCEDES | MERCEDES | A0052032675 | [5 empty] | https://www.cranepartssupply.com/en/mercedes-thermostat-a0052032675 | [10 empty] | CLEANSED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE |  | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1266973 | 1266973 | THERMOSTAT;MER,DE-9042030674,HSG | THERMOSTAT;MNFR:MERCEDES,PTNO:DE-9042030674,ADDITIONAL FEATURES EN:HOUSING | 01)PENSKE POWER SYSTEMS,01)DE-9042030674,THERMOSTAT,01)HOUSING | DE-9042030674 | 3000008 | MERCEDES | MERCEDES | DE-9042030674 |  | PENSKE POWER SYSTEMS |  |  |  | https://www.superdiesel.com.br/tampa-carcaca-termostato-9042030674 |  | PENSKE POWER SYSTEMS | [8 empty] | CLEANSED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE | HOUSING COVER | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HOUSING | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 | SERIES MATCH | 1272740 | 1272740 | THERMOSTAT;NHP,KTS01158000,COMPACT COOLI | THERMOSTAT;MNFR:NHP,PTNO:KTS01158000,ADDITIONAL FEATURES EN:COMPACT COOLING,20-80 DEG | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPKTS01158000,THERMOSTAT,01)COMPACT COOLING,20-80 DEG | KTS01158000 | 3000664 | NHP | NHP | KTS 01158.0-00 | STEGO | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://docs.rs-online.com/1643/A700000006505783.pdf | [10 empty] | ENRICHED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE | SMALL COMPACT COOLING | TEMPERATURE RATING | -20 TO 80 DEG C | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 60 X 33 X 43 MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | RYM | OK | 2023-06-24 | 2023-07-07 |  | 1266677 | 1266677 | TRANSCEIVER;PHNX,PHO2702878,WIRELESS MOD | TRANSCEIVER;MNFR:PHOENIX CONTACT,PTNO:PHO2702878,ADDITIONAL FEATURES EN:WIRELESS MODULE,RAD-900-IFS-AU | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO2702878,TRANSCEIVER,01)WIRELESS MODULE,RAD-900-IFS | PHO2702878 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 2702878 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.phoenixcontact.com/product/pdf/api/v1/MjcwMjg3OA?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Cdrawings%2Cclassifications%2Cenvironmental-compliance-data%2Call-accessories | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | COMMUNICATION | TYPE | WIRELESS | INPUT RATING | 0 TO 250 VAC/DC,0/4 TO 20 MA | NUMBER OF PORTS |  | INTERFACE TYPE | RS 232/485 | DATA TRANSFER RATE | 250 KBPS | TRANSMISSION PROTOCOL | MODBUS | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -40 TO 70 DEG C | CONNECTION TYPE | RSMA FEMALE ANTENNA | SIZE | 35 WDX116 HTX114.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODEL:RAD-900-IFS-AU | [47 empty] | Production Completed