## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1258722 | 1258722 | AMPLIFIER;SIE,AGQ3.1A27,U.V. | AMPLIFIER;MNFR:SIEMENS,PTNO:AGQ3.1A27,ADDITIONAL FEATURES EN:U.V. | 01)FURNACE INDUSTRIES,01)AGQ31A2,AMPLIFIER,01)U.V. | AGQ3.1A27 | 3000032 | SIEMENS | SIEMENS | AGQ3.1A27 |  | FURNACE INDUSTRIE |  |  |  | https://www.apexcontrols.com/product/agq3-1a27-siemens-uv-amplifier/ | [10 empty] | CLEANSED | 32101514 Amplifiers | AMPLIFIER | NO MODIFIER | TYPE | UV | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1257552 | 1257552 | AMPLIFIER;SIE,TEB-1B-22-VS102-1 | AMPLIFIER;MNFR:SIEMENS,PTNO:TEB-1B-22-VS102-1 | AMPLIFIER | TEB-1B-22-VS102-1 | 3000032 | SIEMENS | SIEMENS | TEB-1B-22-VS102-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32101514 Amplifiers | AMPLIFIER | NO MODIFIER | TYPE |  | GAIN |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1258532 | 1258532 | BACKPLANE;ABB,57310256-ER | BACKPLANE;MNFR:ABB,PTNO:57310256-ER | BACKPLANE | 57310256-ER | 3000014 | ABB | ABB | 57310256-ER | [5 empty] | https://new.abb.com/products/57310256-ER/57310256-er | [10 empty] | CLEANSED | 43201610 Backplane or panels or assemblies | BACKPLANE | NO MODIFIER | TYPE |  | NUMBER OF LAYERS |  | NUMBER OF HOLES/SLOTS |  | SIZE |  | BUS STANDARD |  | FORM FACTOR |  | POWER CONNECTOR |  | CPU SLOT |  | OTHER SLOTS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1276474 | 1276474 | BLADDER,ACCUM;HYDA,SB400-20A | BLADDER,ACCUMULATOR;MNFR:HYDAC,PTNO:SB400-20A | 01)ISADRAULICS,01)SB400-20A,BLADDER,ACCUMULATOR | SB400-20A | 3000292 | HYDAC | HYDAC | SB400-20A |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en-in/3115007 | [10 empty] | CLEANSED | 27131510 Accumulator bladders or bags | BLADDER | ACCUMULATOR | TYPE |  | SIZE |  | PRE CHARGE PRESSURE |  | OPERATING PRESSURE |  | CAPACITY |  | SHELL MATERIAL |  | BLADDER MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1276416 | 1276416 | BLADDER;HYDA,236089,ANNODE WHEEL SPARE | BLADDER;MNFR:HYDAC,PTNO:236089,ADDITIONAL FEATURES EN:ANNODE WHEEL SPARE | 01)ISADRAULICS,01)236089,BLADDER,01)ANNODE WHEEL SPARE | 236089 | 3000292 | HYDAC | HYDAC | 236089 |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en-in/236089 | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | BLADDER | NO MODIFIER | TYPE |  | SIZE |  | PRESSURE RATING |  | CAPACITY |  | MATERIAL | NBR | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR ANNODE WHEEL SPARE | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1322677 | 1322677 | BODY;SIE,VGG10.204P | BODY;MNFR:SIEMENS,PTNO:VGG10.204P | BODY | VGG10.204P | 3000032 | SIEMENS | SIEMENS | VGG10.204P | [5 empty] | https://mall.industry.siemens.com/mall/en/nz/Catalog/Product/?mlfb=BPZ%3aVGG10.204P | [10 empty] | ENRICHED | 40141600 Valves | VALVE | GAS | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION |  | PRESSURE RATING | 1200 MBAR | MATERIAL |  | MATERIAL SPECIFICATION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1248652 | 1248652 | CART;ABB,ABB1SDA055010R1 | CART;MNFR:ABB,PTNO:ABB1SDA055010R1 | CART | ABB1SDA055010R1 | 3000014 | ABB | ABB | ABB1SDA055010R1 | [5 empty] | https://new.abb.com/products/1SDA055010R1/kit-f-a3-t5-6pcs | https://plc-trade.com/mpn/1sda055010r1/ | [9 empty] | ENRICHED | 20000000 Mining and Well Drilling Machinery and Accessories | KIT | NO MODIFIER | TYPE |  | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1248653 | 1248653 | CART;ABB,ABB1SDA064213R1 | CART;MNFR:ABB,PTNO:ABB1SDA064213R1 | CART | ABB1SDA064213R1 | 3000014 | ABB | ABB | ABB1SDA064213R1 | [5 empty] | https://new.abb.com/products/1SDA064213R1/t4v250-pr222ds-p-lsi-in250-3p-ff-1150vac | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 1150 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES | 3 | OVERALL SIZE | 103.5 LGX105 WDX205 HT MM | TRIP SETTING |  | TERMINAL TYPE | FIXED | MOUNTING TYPE |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1269839 | 1269839 | CHANNEL;COND,99410,31.8X31.8X1.6X6000MM | CHANNEL;MNFR:CONDUCTIX,PTNO:99410,ADDITIONAL FEATURES EN:31.8X31.8X1.6X6000MM,SQ-TRACK,SS 304 | 01)CONDUCTIX WAMPFLER PTY LT,01)99410,CHANNEL,01)31.8X31.8X1.6X6000MM,SQ-TRA | 99410 | 3000255 | CONDUCTIX | CONDUCTIX | 99410 |  | CONDUCTIX WAMPFLER PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 30101800 Channels | CHANNEL | NO MODIFIER | TYPE |  | SIZE | 31.8X31.8X1.6 MM X6 M | SHANK SIZE |  | MATERIAL | STAINLESS STEEL 304 | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SQ-TRACK | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1268427 | 1268427 | COLLAR;FLOW,E-.93616/1215,THRUST BEARING | COLLAR;MNFR:FLOWSERVE,PTNO:E-.93616/1215,ADDITIONAL FEATURES EN:THRUST BEARING | 01)FLOWSERVE AUSTRALIA,01)E-.93616/1215,COLLAR,01)THRUST BEARING | E-.93616/1215 | 3000277 | FLOWSERVE | FLOWSERVE AUSTRALIA | E-.93616/1215 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163210 Retaining collars | COLLAR | THRUST | TYPE | BEARING | SIZE |  | MATERIAL |  | CONNECTION |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1211645 | 1211645 | INDICATOR,TEMP;ABB,3AFP9873253 | INDICATOR,TEMPERATURE;MNFR:ABB,PTNO:3AFP9873253 | INDICATOR,TEMPERATURE | 3AFP9873253 | 3000014 | ABB | ABB | 3AFP9873253 | [5 empty] | https://new.abb.com/products/3AFP9873253/3afp9873253 | [10 empty] | ENRICHED | 41111900 Indicating and recording instruments | DETECTOR | NO MODIFIER | TYPE | TEMPERATURE | MEASURING RANGE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1323489 | 1323489 | INDICATOR,TEMP;ABB,3BHE007154R0010 | INDICATOR,TEMPERATURE;MNFR:ABB,PTNO:3BHE007154R0010 | INDICATOR,TEMPERATURE | 3BHE007154R0010 | 3000014 | ABB | ABB | 3BHE007154R0010 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/158362/2652110.html | [10 empty] | ENRICHED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE | TEMPERATURE | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1325822 | 1325822 | INDICATOR,TEMP;ABB,3BHL000986P8000 | INDICATOR,TEMPERATURE;MNFR:ABB,PTNO:3BHL000986P8000 | INDICATOR,TEMPERATURE | 3BHL000986P8000 | 3000014 | ABB | ABB | 3BHL000986P8000 | [5 empty] | https://www.saulplc.com/abb/abb-thermostat-kto1140-3bhl000986p8000-module.html | [10 empty] | ENRICHED | 41112209 Thermostats | THERMOSTAT | NO MODIFIER | TYPE | TEMPERATURE | TEMPERATURE RATING |  | ACCURACY |  | SWITCH CONFIGURATION |  | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1325240 | 1325240 | INDICATOR;ABB,0403827 | INDICATOR;MNFR:ABB,PTNO:0403827 | INDICATOR | 403827 | 3000014 | ABB | ABB | 0403827 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1258353 | 1258353 | INDICATOR;ABB,0404795 | INDICATOR;MNFR:ABB,PTNO:0404795 | INDICATOR | 404795 | 3000014 | ABB | ABB | 0404795 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1330067 | 1330067 | INDICATOR;ABB,CVI-DXNQG-3 | INDICATOR;MNFR:ABB,PTNO:CVI-DXNQG-3 | INDICATOR | CVI-DXNQG-3 | 3000014 | ABB | ABB | CVI-DXNQG-3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1330064 | 1330064 | INDICATOR;ABB,SL-B25000-5 | INDICATOR;MNFR:ABB,PTNO:SL-B25000-5 | INDICATOR | SL-B25000-5 | 3000014 | ABB | ABB | SL-B25000-5 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1330063 | 1330063 | INDICATOR;ABB,SL-E25000-5 | INDICATOR;MNFR:ABB,PTNO:SL-E25000-5 | INDICATOR | SL-E25000-5 | 3000014 | ABB | ABB | SL-E25000-5 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1330530 | 1330530 | INDICATOR;ABB,SL-T25000-5 | INDICATOR;MNFR:ABB,PTNO:SL-T25000-5 | INDICATOR | SL-T25000-5 | 3000014 | ABB | ABB | SL-T25000-5 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1266194 | 1266194 | INDICATOR;FLSM,55386 004 6,RAKE POSITION | INDICATOR;MNFR:FLSMIDTH,PTNO:55386 004 6,ADDITIONAL FEATURES EN:RAKE POSITION,LONG RAKE ARM,200 FT THICKENER | 01)FLSMIDTH PTY LTD,01)55386 004 6,INDICATOR,01)RAKE POSITION,LONG RAKE ARM | 55386 004 6 | 3000426 | FLSMIDTH | FLSMIDTH PTY LTD | 55386 004 6 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RAKE POSITION,LONG RAKE ARM,200 FT THICKENER | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1214298 | 1214298 | INDICATOR;SIE,17H447 | INDICATOR;MNFR:SIEMENS,PTNO:17H447 | INDICATOR | 17H447 | 3000032 | SIEMENS | SIEMENS | 17H447 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41111900 Indicating and recording instruments | INDICATOR | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | RESOLUTION |  | DISPLAY TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1323973 | 1323973 | RELAY;ABB,E234 CT-MFD | RELAY;MNFR:ABB,PTNO:E234 CT-MFD | RELAY | E234 CT-MFD | 3000014 | ABB | ABB | E234 CT-MFD | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1334984 | 1334984 | RELAY;ABB,EH631E | RELAY;MNFR:ABB,PTNO:EH631E | RELAY | EH631E | 3000014 | ABB | ABB | EH631E | [5 empty] | https://idealmachinery.com/inventory/contactors-accessories/asea-brown-boveri/43716-eh6-31e | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING | 24 VDC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1334983 | 1334983 | RELAY;ABB,EH640E | RELAY;MNFR:ABB,PTNO:EH640E | RELAY | EH640E | 3000014 | ABB | ABB | EH640E | [5 empty] | https://www.radwell.co.uk/en-GB/Buy/ASEA%20BROWN%20BOVERI/ASEA%20BROWN%20BOVERI/EH6-40E | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | ELECTRICAL | TYPE |  | CONDUCTOR SIZE |  | ELECTRICAL RATING | 660 VAC,25 A,50 TO 60 HZ | NUMBER OF PINS |  | MATERIAL |  | INSULATION MATERIAL |  | STUD/BOLT SIZE |  | WIRE CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1323972 | 1323972 | RELAY;ABB,GJH1213001R0224 | RELAY;MNFR:ABB,PTNO:GJH1213001R0224 | RELAY | GJH1213001R0224 | 3000014 | ABB | ABB | GJH1213001R0224 | [5 empty] | https://new.abb.com/products/GJH1213001R0224/kc6-22z-04 | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | MINI CONTACTOR | COIL RATING |  | CONTACT RATING | 110 TO 125 VDC | CONTACT CONFIGURATION |  | NUMBER OF POLES | 4 | CONTACT MATERIAL | 2NO,2NC | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN-RAIL | SIZE | 46.5 LGX52.5 WDX57.5 HT MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 60947-1,IEC/EN 60947-4-1,IEC/EN 60947-5-1,UL 60947-4-1,UL 60947-1 | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1216479 | 1216479 | RELAY;ABB,IK9173/030 | RELAY;MNFR:ABB,PTNO:IK9173/030 | RELAY | IK9173/030 | 3000014 | ABB | ABB | IK9173/030 | [5 empty] | https://www.dold.com/en/products/relay-modules/monitoring-devices/measuring-relays-monitoring-relays/measuring-relays-for-voltage-monitoring/ik-9173 | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | UNDERVOLTAGE | COIL RATING |  | CONTACT RATING | 220 VAC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 17.5 MM WD | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1211530 | 1211530 | RELAY;ABB,JSBRT11.24D | RELAY;MNFR:ABB,PTNO:JSBRT11.24D | RELAY | JSBRT11.24D | 3000014 | ABB | ABB | JSBRT11.24D | [5 empty] | https://www.electricautomationnetwork.com/PDF/ENGLISH/ABB/ABB2TLA010025R0000.pdf | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE |  | CONTACT VOLTAGE RATING | 24 VAC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 7NO/2NC | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE | 0.100 WDX0.072 HTX0.118 DP M | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1211531 | 1211531 | RELAY;ABB,JSR1T0.24D | RELAY;MNFR:ABB,PTNO:JSR1T0.24D | RELAY | JSR1T0.24D | 3000014 | ABB | ABB | JSR1T0.24D | [5 empty] | https://new.abb.com/products/2TLA010015R0000/jsr1t-0s-24dc | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE |  | CONTACT VOLTAGE RATING | 24 DC | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE | 120 LGX45 WDX74 HT MM | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1276426 | 1276426 | RELAY;ABB,KC631Z011,MINI,23VDC,KC6-31Z | RELAY;MNFR:ABB,PTNO:KC631Z011,ADDITIONAL FEATURES EN:MINI,23VDC,KC6-31Z, M62, SAFETY CIRCUIT | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBKC631Z011,RELAY,01)MINI,23VDC,KC6-31Z,02) M62, SAFETY CIRCUIT | KC631Z011 | 3000014 | ABB | ABB | KC631Z011 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.ipd.com.au/relay-mini-kc6-31z-24v-dc-kc631z01#technical-specfication | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | CIRCUIT | COIL VOLTAGE |  | CONTACT VOLTAGE RATING | 23 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | M62 | [39 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1265059 | 1265059 | RELAY;ABB,MCGG52W1CD0503 | RELAY;MNFR:ABB,PTNO:MCGG52W1CD0503 | RELAY | MCGG52W1CD0503 | 3000014 | ABB | ABB | MCGG52W1CD0503 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1258508 | 1258508 | RELAY;ABB,REA105-AA | RELAY;MNFR:ABB,PTNO:REA105-AA | RELAY | REA105-AA | 3000014 | ABB | ABB | REA105-AA | [5 empty] | https://new.abb.com/products/REA105-AA/rea105-aa | https://library.e.abb.com/public/b1801b4e8c1221f9c1257140003a8aa9/REA105operENd.pdf | [9 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1214384 | 1214384 | RELAY;ABB,RK216237-AN | RELAY;MNFR:ABB,PTNO:RK216237-AN | RELAY | RK216237-AN | 3000014 | ABB | ABB | RK216237-AN | [5 empty] | https://new.abb.com/products/RK216237-AN/rxms-1 | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | AUXILIARY | COIL RATING |  | CONTACT RATING | 110 VDC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1265063 | 1265063 | RELAY;ABB,RLY-CI20-L-01 | RELAY;MNFR:ABB,PTNO:RLY-CI20-L-01 | RELAY | RLY-CI20-L-01 | 3000014 | ABB | ABB | RLY-CI20-L-01 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1214212 | 1214212 | RELAY;ABB,RXKL-1MRK000.066A | RELAY;MNFR:ABB,PTNO:RXKL-1MRK000.066A | RELAY | RXKL-1MRK000.066A | 3000014 | ABB | ABB | RXKL-1MRK000.066A | [5 empty] | https://new.abb.com/products/1MRK000066-CB/rxkl-1 | [10 empty] | ENRICHED | 39122329 Time relay | RELAY | TIME | TYPE |  | TIMING RANGE |  | COIL VOLTAGE |  | CONTACT RATING |  | VOLTAGE RATING | 110 TO 240 VAC | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1213616 | 1213616 | RELAY;ABB,T225DU1.0 | RELAY;MNFR:ABB,PTNO:T225DU1.0 | RELAY | T225DU1.0 | 3000014 | ABB | ABB | T225DU1.0 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1213608 | 1213608 | RELAY;ABB,T24DU25 | RELAY;MNFR:ABB,PTNO:T24DU25 | RELAY | T24DU25 | 3000014 | ABB | ABB | T24DU25 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1213613 | 1213613 | RELAY;ABB,T25DU14 | RELAY;MNFR:ABB,PTNO:T25DU14 | RELAY | T25DU14 | 3000014 | ABB | ABB | T25DU14 | [5 empty] | https://www.mroglobalsolutions.com/products/abb-t25du14-overload-relay-new-in-box | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1213615 | 1213615 | RELAY;ABB,T25DU3+D11 | RELAY;MNFR:ABB,PTNO:T25DU3+D11 | RELAY | T25DU3+D11 | 3000014 | ABB | ABB | T25DU3+D11 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1213614 | 1213614 | RELAY;ABB,T25DU8.5 | RELAY;MNFR:ABB,PTNO:T25DU8.5 | RELAY | T25DU8.5 | 3000014 | ABB | ABB | T25DU8.5 | [5 empty] | https://www.radwell.co.uk/Buy/ASEA%20BROWN%20BOVERI/ASEA%20BROWN%20BOVERI/T25DU8.5/?redirect=true | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 6 TO 8.5 A | VOLTAGE RATING | 500 V MAX | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1214385 | 1214385 | RELAY;ABB,T75DU52 | RELAY;MNFR:ABB,PTNO:T75DU52 | RELAY | T75DU52 | 3000014 | ABB | ABB | T75DU52 | [5 empty] | https://www.radwell.co.uk/en-GB/Buy/ASEA%20BROWN%20BOVERI/ASEA%20BROWN%20BOVERI/T75DU52 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 32 TO 52 A | VOLTAGE RATING | 690 V | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1266146 | 1266146 | RELAY;ABB,TF42-20,THERMAL OVERLOAD,16-20 | RELAY;MNFR:ABB,PTNO:TF42-20,ADDITIONAL FEATURES EN:THERMAL OVERLOAD,16-20A,U4 |  | TF42-20 | 3000014 | ABB | ABB | TF42-20 | [5 empty] | https://www.radwell.co.uk/en-GB/Buy/ASEA%20BROWN%20BOVERI/ASEA%20BROWN%20BOVERI/TF42-20?parentitemid=9003183 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 16 TO 20 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | U4 | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1217646 | 1217646 | RELAY;ABB,UMC100.3AC24L,OVLD,UMC100,1000 | RELAY;MNFR:ABB,PTNO:UMC100.3AC24L,ADDITIONAL FEATURES EN:OVERLOAD,UMC100,1000V,24VAC | 01)CRISTAUDO'S INDUSTRIAL EL,01)UMC100.3AC24L,RELAY,01)OVERLOAD,UMC100,1000V,24VAC | UMC100.3AC24L | 3000014 | ABB | ABB | UMC100.3AC24L |  | CRISTAUDO'S INDUSTRIAL EL |  |  |  | https://www.goelectrical.com.au/abbumc100-2e-3ac24l | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | OVERLOAD | CONTACT RATING |  | CURRENT RATING |  | VOLTAGE RATING | 24 VAC | SETTING RANGE |  | TERMINAL TYPE |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TRIP CLASS |  | DISPLAY TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UMC100,1000 V | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1211895 | 1211895 | RELAY;ABB,UMC100.3-PAN,OVLD,INTFC,LCD PA | RELAY;MNFR:ABB,PTNO:UMC100.3-PAN,ADDITIONAL FEATURES EN:OVERLOAD,INTERFACE,LCD PANEL,W/USB | 01)CRISTAUDO'S INDUSTRIAL EL,01)UMC100.3-PAN,RELAY,01)OVERLOAD,INTERFACE,LCD PANE | UMC100.3-PAN | 3000014 | ABB | ABB | UMC100.3-PAN |  | CRISTAUDO'S INDUSTRIAL EL |  |  |  | https://new.abb.com/low-voltage/products/motor-controllers/umc100-pan/umc100-3-control-panel | [10 empty] | ENRICHED | 39121103 Panelboards | PANEL | CONTROL | TYPE | OVERLOAD,INTERFACE,LCD,RELAY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W USB | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1274476 | 1274476 | RELAY;CGE,369-LO-R-M-0-0-0-E,MULTILIN 36 | RELAY;MNFR:GENERAL ELECTRIC,PTNO:369-LO-R-M-0-0-0-E,ADDITIONAL FEATURES EN:MULTILIN 369,MOTOR PROTECTION |  | 369-LO-R-M-0-0-0-E | 3000245 | GENERAL ELECTRIC | GENERAL ELECTRIC | 369-LO-R-M-0-0-0-E |  | MULTILIN |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | MOTOR | CONTACT RATING |  | CURRENT RATING |  | VOLTAGE RATING |  | SETTING RANGE |  | TERMINAL TYPE |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TRIP CLASS |  | DISPLAY TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1254464 | 1254464 | RELAY;CGE,MVAJ13R1BB0501F,TRIPPING,LOW B | RELAY;MNFR:GENERAL ELECTRIC,PTNO:MVAJ13R1BB0501F,ADDITIONAL FEATURES EN:TRIPPING,LOW BURDEN,HAND RESET,48/54 VAC/DC,5M CONTACTS | 01)CSE-UNISERVE PTY LIMITED,01)MVAJ13R1BB0501F,RELAY,01)TRIPPING,02)LOW BURDEN,HAND RESET,48/54 | MVAJ13R1BB0501F | 3000245 | GENERAL ELECTRIC | GENERAL ELECTRIC | MVAJ13R1BB0501F |  | CSE-UNISERVE PTY LIMITED |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | TRIPPING,LOW BURDEN,HAND RESET | COIL RATING |  | CONTACT RATING | 48 VAC/54 VDC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 5M CONTACTS | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1243994 | 1243994 | RELAY;FALK,2961105 | RELAY;COIL RATING:24 VDC,CONTACT RATING:120 V,MNFR:PHOENIX CONTACT,PTNO:2961105,MNFR 1:FALK,PTNO 1:2961105 | EN_01)24 VDC,FR_01)24 VCC,EN_01)120 V,FR_01)120 V,01)FALK,01)2961105 | 2961105 | 3000272 | FALK | PHOENIX CONTACT | 2961105 |  | FALK | 2961105 |  |  | https://www.phoenixcontact.com/en-in/products/single-relay-rel-mr-24dc21-2961105 | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING | 24 VDC | CONTACT RATING | 120 V | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 5 WDX28 HTX15 DP MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60664,EN 50178,EN 61810-1 | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1275504 | 1275504 | RELAY;HYBRID, AUXILIARY,110-120 V AC,CO | RELAY;HYBRID, AUXILIARY,COIL RATING:110-120 V AC,CONTACT CONFIGURATION:1NO 1NC,ADDITIONAL FEATURES EN:CO,MNFR:SIEMENS,PTNO:3UN21 00-0AF7,MNFR:01)AUSLEC,PTNO:01)SIE3UN2100-0AF7 | EN_01)HYBRID, AUXILIARY,EN_01)110-120 V AC,1NO 1NC,01)CO,01)AUSLEC,01)SIE3UN2100-0AF7,RELAY | 3UN21 00-0AF7 | 3000032 | SIEMENS | SIEMENS | 3UN2100-0AF7 |  | AUSLEC |  |  |  | https://aeliyamarine.net/product/siemens-3un2100-0af7-thermistor-protection-relay/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | PROTECTIVE | TYPE | HYBRID | CONTACT RATING |  | CURRENT RATING |  | VOLTAGE RATING | 110 TO 120 VAC COIL | SETTING RANGE |  | TERMINAL TYPE |  | CONTACT CONFIGURATION | 1NO,1NC | NUMBER OF POLES |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TRIP CLASS |  | DISPLAY TYPE |  | MOUNTING TYPE |  | CONTACT MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1326133 | 1326133 | RELAY;HYBRID,110 VAC | RELAY;TYPE:HYBRID,COIL RATING:110 VAC,ADDITIONAL FEATURES EN:TYPE I-C,EARTH CONTINUITY,MNFR:SIEMENS,PTNO:VTS/II+RC100,MNFR:01)CNW, PTNO:01)BRAA00020 | EN_01)HYBRID,EN_01)110 VAC,01)TYPE I-C,EARTH CONTINUITY,01)CNW,01)BRAA00020,RELAY | VTS/II+RC100 | 3000032 | SIEMENS | SIEMENS | VTS/II+RC100 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE | BRAA00020 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | HYBRID | COIL RATING | 110 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE I-C,EARTH CONTINUITY | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1274346 | 1274346 | RELAY;NHP,46520054110AC 8 PIN | RELAY;ADDITIONAL FEATURES EN:NHP46520054110AC 8 PIN,MNFR:01)CNW,PTNO:01)NHP46520054110VAC | 01)NHP46520054110AC 8 PIN,01)CNW,01)NHP46520054110VAC | 46520054110AC | 3000664 | NHP | NHP | NHP46520054110VAC |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.adelaidebuildingsupplies.com.au/product/nhp-4652005424vac-miniature-industrial-relay-8a-2-c-o-24v-ac-coil-w-pbledmi/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING | 24 VAC | CONTACT RATING | 250 TO 440 V | CONTACT CONFIGURATION | 2CO | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | PLUG-IN | SIZE |  | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA | ADDITIONAL FEATURES EN | 8 PIN | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1268043 | 1268043 | RELAY;NHP,700-HLT1U24,6A 1CO 24V AC/DC | RELAY;MNFR:NHP,PTNO:700-HLT1U24,ADDITIONAL FEATURES EN:6A 1CO 24V AC/DC | 01)CNW (TOWNSVILLE) ELECT SU,01)NHP700-HLT1U24,RELAY,01)6A 1CO 24V AC/DC | 700-HLT1U24 | 3000664 | NHP | NHP | 700-HLT1U24 |  | CNW ELECTRICAL TOWNSVILLE WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-383/NHP_AU_Catalog-786/NHP_AU_Catalog-774/700HLT1U24 | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING | 24 VAC/VDC | CONTACT RATING | 230 V,1.3 A | CONTACT CONFIGURATION | 1CO | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | PLUG-IN | SIZE | 88 WDX76 HTX6.2 DP MM | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | C-UL-US,CE | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1258725 | 1258725 | RELAY;NHP,9702,2 POLE,SUIT 46.52 RELAY,D | RELAY;MNFR:NHP,PTNO:9702,ADDITIONAL FEATURES EN:2 POLE,SUIT 46.52 RELAY, SOCKET,DIN RAIL MOUNT, WITH CLAMP | 01)CNW (MOUNT ISA) ELECT WHO,01)NHP9702,RELAY,01)2 POLE,SUIT 46.52 RELAY,02) SOCKET,DIN RAIL MOUNT, WIT | 9702 | 3000664 | NHP | NHP | 9702 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-383/NHP_AU_Catalog-786/NHP_AU_Catalog-774/9702 | [10 empty] | ENRICHED | 39122335 Relay socket or base | BASE | RELAY | TYPE | SOCKET | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | TERMINAL TYPE |  | SIZE | 29 WDX32.8 HTX12.4 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:2,SUIT 46.52 RELAY,C/W CLAMP | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1266249 | 1266249 | RELAY;NHP,CEP71EFEP,OVERLOAD ELECTRONIC | RELAY;MNFR:NHP,PTNO:CEP71EFEP,ADDITIONAL FEATURES EN:OVERLOAD ELECTRONIC,MODEL:CEP7-1,ADVANCED 5.4 | 01)CNW (MOUNT ISA) ELECT WHO,01)CEP71EFEP,RELAY,01)OVERLOAD ELECTRONIC,02)MODEL:CEP7-1,ADVANCED 5.4 | CEP71EFEP | 3000664 | NHP | NHP | CEP71EFEP |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CEP71EFEP | https://www.learsmith.com.au/als/category/Industrial/Contactor-%26-Overload/Electronic-overload-relay/OVERLOAD-ELECTRONIC-CEP7-1-ADVANCED-5-4-27A-PASS-THRU/NHPCEP71EFEP/p/14298834 | [9 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | ELECTRONIC | CURRENT RATING | 5.4 TO 27 A | VOLTAGE RATING | 1000 VAC | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODEL:CEP7-1,ADVANCED 5.4 | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1273326 | 1273326 | RELAY;NHP,CT8B25,OVERLOAD THERMAL,1.8-2. | RELAY;MNFR:NHP,PTNO:CT8B25,ADDITIONAL FEATURES EN:OVERLOAD THERMAL,1.8-2.5A CA8-5/9/12 |  | CT8B25 | 3000664 | NHP | NHP | CT8B25 |  |  | CA8-5/9/12 |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CT8B25 | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 1.8 TO 2.5 A | VOLTAGE RATING | 690 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 1NO,1NC | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1273977 | 1273977 | RELAY;NHP,NHPCEP71EFAB,CEP7-1,OVLD | RELAY;MNFR:NHP,PTNO:NHPCEP71EFAB,ADDITIONAL FEATURES EN:CEP7-1,OVERLOAD | 01)CNW (MOUNT ISA) ELECT WHO,01)CEP71EFAB,RELAY,01)CEP7-1,OVERLOAD | NHPCEP71EFAB | 3000664 | NHP | NHP | NHPCEP71EFAB |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-697/CEP71EFAB | [10 empty] | ENRICHED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING | 0.1 TO 0.5 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1273978 | 1273978 | RELAY;NHP,NHPCEP71EFPD,CEP7-1,OVLD | RELAY;MNFR:NHP,PTNO:NHPCEP71EFPD,ADDITIONAL FEATURES EN:CEP7-1,OVERLOAD | 01)CNW (MOUNT ISA) ELECT WHO,01)CEP71EFPD,RELAY,01)CEP7-1,OVERLOAD | NHPCEP71EFPD | 3000664 | NHP | NHP | NHPCEP71EFPD |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/-/media/Project/NHP/Sites/Shared/Brochures/Motor-Control-and-Drives/CEP7-to-CEP71-MIGR-001-EN.pdf | [10 empty] | CLEANSED | 39122330 Overload relay | RELAY | OVERLOAD | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1276437 | 1276437 | RELAY;NHP,RFRXSW9154S,24 VAC/DC,915MHZ | RELAY;MNFR:NHP,PTNO:RFRXSW9154S,ADDITIONAL FEATURES EN:24 VAC/DC,915MHZ , 4CH ,+2.5DB,ANTENNA,STEUTE WIRELESS RECEIVER | 01)NHP ELECTRICAL ENGINEERIN,01)RFRXSW9154S,01)NHP ELECTRICAL ENGINEERIN,01)RFRXSW9154S,RELAY,01)24 VAC/DC,915MHZ , 4CH ,+2.,02)STEUTE WIRELESS RECEIVER | RFRXSW9154S | 3000664 | NHP | NHP | RFRXSW9154S | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-798/NHP_AU_Catalog-81158/NHP_AU_Catalog-81160/RFRXSW9154S | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | RECEIVER | NO MODIFIER | TYPE | STEUTE WIRELESS | FREQUENCY RATING | 915 MHZ | NUMBER OF CHANNELS |  | OPERATING RANGE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VOLTAGE RATING:24 VAC/VDC,4CH,+2.5DB,ANTENNA | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1216282 | 1216282 | RELAY;OMRO,6.1911.000,MONITORING,1PH,OVE | RELAY;MNFR:OMRON,PTNO:6.1911.000,ADDITIONAL FEATURES EN:MONITORING,1PH,OVER/UNDERVOLTAGE,SPDT CONTACTS | 01)RS COMPONENTS PTY LTD,01)819-3305,RELAY,01)MONITORING,1PH,OVER/UNDERVO | 6.1911.000 | 3000328 | OMRON | OMRON | 6.1911.000 |  | RS COMPONENTS PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | MONITORING,OVER/UNDERVOLTAGE | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION | SPDT | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF PHASE:1 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1270305 | 1270305 | RELAY;OMRO,819-3292,1 PHASE,K8AK-VW2,100 | RELAY;MNFR:OMRON,PTNO:819-3292,ADDITIONAL FEATURES EN:1 PHASE,K8AK-VW2,100-240VAC | 01)RS COMPONENTS PTY LTD,01)819-3292,RELAY,01)1 PHASE,K8AK-VW2,100-240VAC | 819-3292 | 3000328 | OMRON | OMRON | 819-3292 |  | RS COMPONENTS PTY LTD | K8AK-VW2 |  |  | https://in.rsdelivers.com/product/omron/k8ak-vw2-100-240vac/omron-voltage-monitoring-relay-1-phase-spdt-1-10v/dc/8193292 | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING | 100 TO 240 VAC | CONTACT CONFIGURATION | SPDT | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 22.5 LGX100 WDX95 HT MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF PHASE:1 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1275289 | 1275289 | RELAY;OMRO,MKS3PIN-5 AC110,110 VAC:COIL | RELAY;MNFR:OMRON,PTNO:MKS3PIN-5 AC110,ADDITIONAL FEATURES EN:110 VAC:COIL,10A:CURRENT,3PDT | 01)RS COMPONENTS PTY LTD,01)MKS3PIN-5 AC110,RELAY,01)110 VAC:COIL,10A:CURRENT,3P | MKS3PIN-5 AC110 | 3000328 | OMRON | OMRON | MKS3PIN-5 AC110 |  | RS COMPONENTS PTY LTD |  |  |  | https://industrial.omron.eu/en/products/MKS3PIN-5-110VAC | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING | 110 VAC | CONTACT RATING |  | CONTACT CONFIGURATION | 3PDT | NUMBER OF POLES | 3 | CONTACT MATERIAL | AGSNIN | TERMINAL TYPE | PLUG-IN | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 110 VAC:COIL | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1274836 | 1274836 | RELAY;OMRO,OMRLY2NDC24,COIL | RELAY;MNFR:OMRON,PTNO:OMRLY2NDC24,ADDITIONAL FEATURES EN:COIL | 01)CNW (MOUNT ISA) ELECT WHO,01)OMRLY2NDC24,RELAY,01)COIL | OMRLY2NDC24 | 3000328 | OMRON | OMRON | OMRLY2NDC24 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.ia.omron.com/product/item/6348/ | [10 empty] | ENRICHED | 39122324 Power relay | RELAY | POWER | TYPE | COIL | COIL VOLTAGE | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | DPDT | CONTACT VOLTAGE RATING | 110 VAC | CONTACT CURRENT RATING | 10 A | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | SOCKET | FREQUENCY RATING |  | SIZE |  | TERMINAL TYPE | PLUG-IN | MATERIAL | AG ALLOY CONTACT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1274837 | 1274837 | RELAY;OMRO,OMRPTF08A-E,BAS | RELAY;MNFR:OMRON,PTNO:OMRPTF08A-E,ADDITIONAL FEATURES EN:BASE | 01)CNW (MOUNT ISA) ELECT WHO,01)OMRPTF08A-E,RELAY,01)BASE | OMRPTF08A-E | 3000328 | OMRON | OMRON | OMRPTF08A-E |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.digikey.in/en/products/detail/omron-automation-and-safety/PTF08A-E/126873?utm_adgroup=Relays&utm_source=google&utm_medium=cpc&utm_campaign=Dynamic%20Search_EN_Product&utm_term=&productid=&gclid=Cj0KCQjwnrmlBhDHARIsADJ5b_mJYSXOacYKSJEecZyNkwgQP40bGa_w_kZXUP3NTFAPOLTnjISLk8caAgVJEALw_wcB | [10 empty] | ENRICHED | 39122335 Relay socket or base | SOCKET | RELAY | TYPE | BASE | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1266151 | 1266151 | RELAY;PHNX,2909651,MODL,120VAC/110DC,PLC | RELAY;MNFR:PHOENIX CONTACT,PTNO:2909651,ADDITIONAL FEATURES EN:MODULE,120VAC/110DC,PLC-RSC-120UC/21/MS |  | 2909651 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 2909651 |  |  | PLC-RSC-120UC/21/MS |  |  | https://www.phoenixcontact.com/en-in/products/relay-module-plc-rsc-120uc21ms-2909651 | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | INTERFACE | TYPE | RELAY | INTERFACE TYPE |  | VOLTAGE RATING | 120 VAC/110 VDC | CURRENT RATING | 6 A | WIRE RANGE |  | STRIPPING LENGTH |  | NUMBER OF POLES |  | NUMBER OF CHANNELS |  | COIL VOLTAGE RATING |  | CONNECTION TYPE | SCREW | SIZE | 6.2 WDX80 HTX94 DP MM | ENCLOSURE TYPE | IP20 | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -40 TO 55 DEG C | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1266152 | 1266152 | RELAY;PHNX,PHO2966184,MODL,INPUT24VAC/DC | RELAY;MNFR:PHOENIX CONTACT,PTNO:PHO2966184,ADDITIONAL FEATURES EN:MODULE,INPUT24VAC/DC,PLC-RSC-24UC/21 |  | PHO2966184 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | PHO2966184 |  |  | PLC-RSC-24UC/21 |  |  | https://www.phoenixcontact.com/en-in/products/relay-module-plc-rsc-24uc21-2966184 | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | INTERFACE | TYPE | RELAY | INTERFACE TYPE |  | VOLTAGE RATING | 24 VAC/VDC | CURRENT RATING | 6 A | WIRE RANGE |  | STRIPPING LENGTH |  | NUMBER OF POLES |  | NUMBER OF CHANNELS |  | COIL VOLTAGE RATING |  | CONNECTION TYPE | SCREW | SIZE | 6.2 WDX80 HTX94 DP MM | ENCLOSURE TYPE | IP20 | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -40 TO 60 DEG C | CERTIFICATION/STANDARD | EN 60068-2-60 | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1211803 | 1211803 | RELAY;SCHN,124-0202 | RELAY;MNFR:SCHNEIDER INC,PTNO:124-0202 | 01)RS COMPONENTS PTY LTD,01)124-0202,RELAY | 124-0202 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 124-0202 |  | RS COMPONENTS PTY LTD |  |  |  | https://eg.rsdelivers.com/product/schneider-electric/rsl1gb4bd/schneider-electric-pcb-mount-power-relay-24v-dc-6a/1240202 | [10 empty] | ENRICHED | 39122324 Power relay | RELAY | POWER | TYPE |  | COIL VOLTAGE | 24 VDC | NUMBER OF POLES | 1 | CONTACT CONFIGURATION | SPDT | CONTACT VOLTAGE RATING |  | CONTACT CURRENT RATING |  | MAX SWITCHING VOLTAGE | 277 VDC | MAX SWITCHING CURRENT | 6 A | MOUNTING TYPE | PCB | FREQUENCY RATING |  | SIZE | 28 LGX15 HTX5 DP MM | TERMINAL TYPE | PLUG-IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 | Processed based on Websource, Conflict w.r.t Input | 1211808 | 1211808 | RELAY;SCHN,124-0206 | RELAY;MNFR:SCHNEIDER INC,PTNO:124-0206 | 01)RS COMPONENTS PTY LTD,01)124-0206,RELAY | 124-0206 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 124-0206 |  | RS COMPONENTS PTY LTD |  |  |  | https://eg.rsdelivers.com/product/schneider-electric/rslzra2/schneider-electric-din-rail-relay-socket/1240206 | [10 empty] | ENRICHED | 39122335 Relay socket or base | SOCKET | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1273282 | 1273282 | RELAY;SCHN,CAD50E7,CTRL,5NO,5P,10A,690V | RELAY;MNFR:SCHNEIDER INC,PTNO:CAD50E7,ADDITIONAL FEATURES EN:CONTROL,5NO,5P,10A,690V,48VAC,MODEL-D |  | CAD50E7 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | CAD50E7 | [5 empty] | https://www.se.com/us/en/product/CAD50E7/tesys-deca-control-relay-5-no-690-v-48-v-ac-standard-coil/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING | 48 VAC | CONTACT RATING | 690 V | CONTACT CONFIGURATION | 5NO | NUMBER OF POLES | 5 | CONTACT MATERIAL |  | TERMINAL TYPE | SCREW CLAMP | MOUNTING TYPE | RAIL PLATE | SIZE | 45 WDX77 HTX84 DP MM | ENCLOSURE | IP2X | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC UL CSA,EAC,CE,UKCA | ADDITIONAL FEATURES | MODEL-D | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1266970 | 1266970 | RELAY;SCHN,FX409-143,IZUMI,RH2B,48VDC | RELAY;MNFR:SCHNEIDER INC,PTNO:FX409-143,ADDITIONAL FEATURES EN:IZUMI,RH2B,48VDC | 01)SCHNEIDER ELECTRIC (AUS),01)FX409-143,RELAY,01)IZUMI,RH2B,48VDC | FX409-143 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | FX409-143 |  |  | RH2B |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING | 48 VDC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IZUMI | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1266246 | 1266246 | RELAY;SCHN,P120C00Z112BF0,MICOM P120,SIN | RELAY;MNFR:SCHNEIDER INC,PTNO:P120C00Z112BF0,ADDITIONAL FEATURES EN:MICOM P120,SINGLE PHASE OVERCURRENT | 01)SCHNEIDER ELECTRIC (AUS),01)P120C00Z112BF0,RELAY,01)MICOM P120,02)SINGLE PHASE OVERCURRENT | P120C00Z112BF0 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | P120C00Z112BF0 |  |  | MICOM P120 |  |  | https://www.rexelusa.com/p/782282/square-d/sqd-quote36051020-p120c00z112bf0/quote36051020 | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | SINGLE PHASE OVERCURRENT | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1274341 | 1274341 | RELAY;SCHN,P142218C2M0XXXX | RELAY;MNFR:SCHNEIDER INC,PTNO:P142218C2M0XXXX |  | P142218C2M0XXXX | 3000344 | SCHNEIDER INC | SCHNEIDER INC | P142218C2M0XXXX | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1274342 | 1274342 | RELAY;SCHN,P142918C2M0XXXX | RELAY;MNFR:SCHNEIDER INC,PTNO:P142918C2M0XXXX |  | P142918C2M0XXXX | 3000344 | SCHNEIDER INC | SCHNEIDER INC | P142918C2M0XXXX | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1267054 | 1267054 | RELAY;SCHN,P643212D2M0XXXX,TRANS DIFF PR | RELAY;MNFR:SCHNEIDER INC,PTNO:P643212D2M0XXXX,ADDITIONAL FEATURES EN:TRANS DIFF PROTECTION | 01)SCHNEIDER ELECTRIC (AUS),01)P643212D2M0XXXX,RELAY,01)TRANS DIFF PROTECTION | P643212D2M0XXXX | 3000344 | SCHNEIDER INC | SCHNEIDER INC | P643212D2M0XXXX | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | TRANS DIFF PROTECTION | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRANS DIFF PROTECTION | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1272862 | 1272862 | RELAY;SCHN,RM22TR33,CTRL,3 PHASE VOLTAGE | RELAY;MNFR:SCHNEIDER INC,PTNO:RM22TR33,ADDITIONAL FEATURES EN:CONTROL,3 PHASE VOLTAGE,BRAND:CLIPSAL | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHRM22TR33,RELAY,01)CONTROL,3 PHASE VOLTAGE,02)BRAND:CLIPSAL | RM22TR33 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RM22TR33 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.se.com/in/en/product/RM22TR33/modular-3phase-control-relay-8-a-2-co-380-480-v-ac/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING |  | CONTACT RATING | 380 TO 480 VAC,8 A | CONTACT CONFIGURATION | 2CO | NUMBER OF POLES |  | CONTACT MATERIAL | CADMIUM FREE | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | SIZE | 79.5 LGX25.5 WDX90 HT MM | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | GL,CSA,RCM,CE | ADDITIONAL FEATURES EN | BRAND:CLIPSAL,NUMBER OF PHASE:3 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1272500 | 1272500 | RELAY;SCHN,RXM2AB2ED,MINTR,PLUG IN,2 CO | RELAY;MNFR:SCHNEIDER INC,PTNO:RXM2AB2ED,ADDITIONAL FEATURES EN:MINIATURE,PLUG IN,2 CO,48 VDC COIL,WITH LED,SWITCHING CURRENT:12 A, DPDT,HARMONY,LOCKABLE TEST BUTTON |  | RXM2AB2ED | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RXM2AB2ED | [5 empty] | https://www.se.com/in/en/product/RXM2AB2ED/miniature-plugin-relay-12-a-2-co-led-48-v-dc/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | MINIATURE | COIL RATING | 48 VDC | CONTACT RATING |  | CONTACT CONFIGURATION | 2CO,DPDT | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | PLUG-IN | MOUNTING TYPE |  | SIZE | 82.8 HTX80.35 DP MM | ENCLOSURE | IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA C22.2 No 14,EN/IEC 61810-1,UL 508 | ADDITIONAL FEATURES EN | C/W LED,SWITCHING CURRENT:12 A,HARMONY,LOCKABLE TEST BUTTON | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1273280 | 1273280 | RELAY;SCHN,RXM3AB1E7,MINTR,3CO,10A,48VAC | RELAY;MNFR:SCHNEIDER INC,PTNO:RXM3AB1E7,ADDITIONAL FEATURES EN:MINIATURE,3CO,10A,48VAC,PLUG IN,W/LOCKABLE TEST BUTTON |  | RXM3AB1E7 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RXM3AB1E7 | [5 empty] | https://www.se.com/in/en/download/document/RXM3AB1E7_REACH_DECLARATION/ | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | MINIATURE | COIL RATING |  | CONTACT RATING | 48 VAC,10 A | CONTACT CONFIGURATION | 3CO | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE | PLUG-IN | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W LOCKABLE TEST BUTTON | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1273591 | 1273591 | RELAY;SCHN,SHNP143912A2M0B78L,MICOM P143 | RELAY;MNFR:SCHNEIDER INC,PTNO:SHNP143912A2M0B78L,ADDITIONAL FEATURES EN:MICOM P143 | 01)HAYMANS ELECTRICAL,01)SHNP143912A2M0B78L,RELAY,01)MICOM P143 | SHNP143912A2M0B78L | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SHNP143912A2M0B78L |  | HAYMANS ELECTRICAL | MICOM P143 |  |  | https://www.se.com/ww/en/product/P143---M-M----J/micom-p143feeder-relay80tepanel-mounting-32-inputs-32outputs/ | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING | 24 TO 48 VDC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | PANEL | SIZE | 413.2 WDX177 HTX270 DP MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MICOM P143 | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1267004 | 1267004 | RELAY;SIE,2520456,KRIES IKI-35 TRANSFORM | RELAY;MNFR:SIEMENS,PTNO:2520456,ADDITIONAL FEATURES EN:KRIES IKI-35 TRANSFORMER MONITORING | 01)SIEMENS LTD,01)2520456,RELAY,01)KRIES IKI-35 TRANSFORMER MO | 2520456 | 3000032 | SIEMENS | SIEMENS | 2520456 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KRIES IKI-35 TRANSFORMER MONITORING | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1214314 | 1214314 | RELAY;SIE,8190-3L286 (DWG) | RELAY;MNFR:SIEMENS,PTNO:8190-3L286 (DWG) | RELAY | 8190-3L286 (DWG) | 3000032 | SIEMENS | SIEMENS | 8190-3L286 (DWG) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1214381 | 1214381 | RELAY;SIE,KRPA-11AG-120 | RELAY;MNFR:SIEMENS,PTNO:KRPA-11AG-120 | RELAY | KRPA-11AG-120 | 3000032 | SIEMENS | SIEMENS | KRPA-11AG-120 | [5 empty] | https://www.onlinecomponents.com/en/te-connectivity-pb-brand/krpa11ag120-12108238.html?ref=searchads360feed&utm_term=KRPA-11AG-120&gclid=Cj0KCQjwnrmlBhDHARIsADJ5b_km8F0gvtt534yr2mYe0joRPYy-5x-1QFQjhtfER0amdFzThyARvqsaAo9FEALw_wcB&gclsrc=aw.ds# | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | ELECTROMECHANICAL | COIL RATING | 120 VAC | CONTACT RATING | 10 A | CONTACT CONFIGURATION | DPDT | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | SOCKET | SIZE | 35.71X35.71X50.8 MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1214313 | 1214313 | RELAY;SIE,R1A16 (L15E4) | RELAY;MNFR:SIEMENS,PTNO:R1A16 (L15E4) | RELAY | R1A16 (L15E4) | 3000032 | SIEMENS | SIEMENS | R1A16 (L15E4) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-12 |  | 1214316 | 1214316 | RELAY;SIE,RH29 | RELAY;MNFR:SIEMENS,PTNO:RH29 | RELAY | RH29 | 3000032 | SIEMENS | SIEMENS | RH29 | [5 empty] | https://www.happy-parts.de/en/products/siemens-hilfsrelais-rh29-ms-rls-8-tz2-bv61-220-7pa2820-6eb0-220vdc | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING | 220 VDC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed