## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1276384 | 1276384 | BALL,VLV;EPM,40MM R 182 C/W F89U 006 STC | BALL,VALVE;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:40MM R 182 C/W F89U 006 STC ACTR,ADDITIONAL FEATURES EN:R182 3 PIECE BALL VALVESIZE : 40MMBODY, BALL & STEM : 316,S/S SEAT : TFM 1600 ENHANCED PTFESEAL : VIRGIN PTFEPRESSURE CLASS,: 1440 CWP/PN 100END CONNECTION : SCREWED END BSPT (FEMALE),OPERATOR : F89U 006 8 SPRING, SPRING TO CLOSE SINGLE ACTING,PNEUMATI C ACTUATOR. |  | 40MM R 182 C/W F89U 006 STC ACTR | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141607 Ball valves | VALVE | BALL | TYPE |  | NOMINAL SIZE | 40 MM | END CONNECTION | FBSPT SCREWED | PRESSURE CLASS/RATING | 1440 LB | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | PNEUMATI C ACTUATOR | TRIM | STAINLESS STEEL 316,BALL & STEM,TFM 1600 ENHANCED PTFE SEAL | SOFTGOODS | VIRGIN PTFE STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | R182 C/W F89U 006 STC ACTUATOR,SPRING TO CLOSE SINGLE ACTING | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1266498 | 1266498 | CONNECTOR;AB,A-B2090K2CKD15M,KINETIX | CONNECTOR;MNFR:ALLEN BRADLEY,PTNO:A-B2090K2CKD15M,ADDITIONAL FEATURES EN:KINETIX 300/350/2000 | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B2090K2CKD15M,CONNECTOR,01)KINETIX 300/350/2000 | A-B2090K2CKD15M | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B2090K2CKD15M |  | KINETIX | 300/350/2000 | CNW ELECTRICAL MOUNT ISA WHOLESALE |  | https://www.horizonsolutions.com/product/A-B2090K2CKD15M | [10 empty] | ENRICHED | 20000000 Mining and Well Drilling Machinery and Accessories | KIT | NO MODIFIER | TYPE | CONNECTOR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1216489 | 1216489 | CONNECTOR;ABB,36-740-17 | CONNECTOR;MNFR:ABB,PTNO:36-740-17 | CONNECTOR | 36-740-17 | 3000014 | ABB | ABB | 36-740-17 | [5 empty] | https://www.sunelectronics.gr/index.php?SCREEN=products_detail&ProductID=775986 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | SOCKET | ELECTRICAL | TYPE | SWITCHGEAR CABINET | CONFIGURATION |  | NUMBER OF POLES |  | VOLTAGE RATING | 250 VAC | CURRENT RATING | 10/16 A | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 83 LGX44.5 WDX60 DP MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1335484 | 1335484 | CONNECTOR;ABB,3ADT693554P0004 | CONNECTOR;MNFR:ABB,PTNO:3ADT693554P0004 | CONNECTOR | 3ADT693554P0004 | 3000014 | ABB | ABB | 3ADT693554P0004 | [5 empty] | https://new.abb.com/products/3ADT693554P0004/3adt693554p0004 | [10 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 1 MM | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1211863 | 1211863 | CONNECTOR;ABB,LQLZ-61-84-1-1-1-1-1-1 | CONNECTOR;MNFR:ABB,PTNO:LQLZ-61-84-1-1-1-1-1-1 | 01)ABB,01)LQLZ-61-84-1-1-1-1-1-1,01)ABB AUSTRALIA PTY LTD,01)LQLZ-61-84-1-1-1-1-1-1,CONNECTOR | LQLZ-61-84-1-1-1-1-1-1 | 3000014 | ABB | ABB | LQLZ-61-84-1-1-1-1-1-1 | [5 empty] | URL NOT FOUND | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1273697 | 1273697 | CONNECTOR;EPM,1825503149,1/2 IN BSP PORT | CONNECTOR;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:1825503149,ADDITIONAL FEATURES EN:1/2 IN BSP PORT,SUB BASE ISO 3 SIDE ENTRY,TM: AVENTICS | 01)KEYFLO PACIFIC PTY LTD,01)1825503149,CONNECTOR,01)1/2 IN BSP PORT,SUB BASE IS,02)TM:AVENTICS | 1825503149 | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 1825503149 |  | KEYFLO PACIFIC PTY LTD |  | AVENTICS |  | https://www.emerson.com/cs-cz/catalog/aventics-sku-1825503149-en-gb | [10 empty] | ENRICHED | 30241504 Base plate | BASE PLATE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | FINISH |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:1/2 IN BSP PORT,SUB BASE ISO 3 SIDE ENTRY | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1267119 | 1267119 | CONNECTOR;PHNX,154-8105,CABLE MOUNT CIRC | CONNECTOR;MNFR:PHOENIX CONTACT,PTNO:154-8105,ADDITIONAL FEATURES EN:CABLE MOUNT CIRCULAR,5 CONTACTS,M12 CONNECTOR,SOCKET | 01)RS COMPONENTS PTY LTD,01)154-8105,CONNECTOR,01)CABLE MOUNT CIRCULAR,5 CONT | 154-8105 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 154-8105 |  | RS COMPONENTS PTY LTD |  |  |  | https://ie.rs-online.com/web/p/industrial-circular-connectors/1548105 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE | SOCKET | TRADE SIZE |  | CABLE SIZE | M12 | CONNECTION TYPE | MALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5 CONTACTS,MOUNTING TYPE:CIRCULAR | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1267120 | 1267120 | CONNECTOR;PHNX,154-8106,CABLE MOUNT CIRC | CONNECTOR;MNFR:PHOENIX CONTACT,PTNO:154-8106,ADDITIONAL FEATURES EN:CABLE MOUNT CIRCULAR,5 CONTACTS,M12 CONNECTOR,SOCKET | 01)RS COMPONENTS PTY LTD,01)154-8106,CONNECTOR,01)CABLE MOUNT CIRCULAR,5 CONT | 154-8106 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 154-8106 |  | RS COMPONENTS PTY LTD |  |  |  | https://ie.rs-online.com/web/p/industrial-circular-connectors/1548106?redirect-relevancy-data=7365617263685F636173636164655F6F726465723D31267365617263685F696E746572666163655F6E616D653D4931384E525353746F636B4E756D626572267365617263685F6D617463685F6D6F64653D6D61746368616C6C267365617263685F7061747465726E5F6D6174636865643D5E2828282872737C5253295B205D3F293F285C647B337D5B5C2D5C735D3F5C647B332C347D5B705061415D3F29297C283235285C647B387D7C5C647B317D5C2D5C647B377D29292924267365617263685F747970653D52535F53544F434B5F4E554D424552267365617263685F77696C645F63617264696E675F6D6F64653D4E4F4E45267365617263685F6B6579776F72643D3135342D38313036267365617263685F6B6579776F72645F6170703D3135343831303626 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE | SOCKET | TRADE SIZE |  | CABLE SIZE | M12 | CONNECTION TYPE | FEMALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5 CONTACTS,MOUNTING TYPE:CIRCULAR | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1267121 | 1267121 | CONNECTOR;PHNX,154-8107,CABLE MOUNT CIRC | CONNECTOR;MNFR:PHOENIX CONTACT,PTNO:154-8107,ADDITIONAL FEATURES EN:CABLE MOUNT CIRCULAR,5 CONTACTS,M12 CONNECTOR,PLUG | 01)RS COMPONENTS PTY LTD,01)154-8107,CONNECTOR,01)CABLE MOUNT CIRCULAR,5 CONT | 154-8107 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 154-8107 |  | RS COMPONENTS PTY LTD |  |  |  | https://ie.rs-online.com/web/p/industrial-circular-connectors/1548107?redirect-relevancy-data=7365617263685F636173636164655F6F726465723D31267365617263685F696E746572666163655F6E616D653D4931384E525353746F636B4E756D626572267365617263685F6D617463685F6D6F64653D6D61746368616C6C267365617263685F7061747465726E5F6D6174636865643D5E2828282872737C5253295B205D3F293F285C647B337D5B5C2D5C735D3F5C647B332C347D5B705061415D3F29297C283235285C647B387D7C5C647B317D5C2D5C647B377D29292924267365617263685F747970653D52535F53544F434B5F4E554D424552267365617263685F77696C645F63617264696E675F6D6F64653D4E4F4E45267365617263685F6B6579776F72643D3135342D38313037267365617263685F6B6579776F72645F6170703D3135343831303726 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE | PLUG | TRADE SIZE |  | CABLE SIZE | M12 | CONNECTION TYPE | FEMALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1266685 | 1266685 | CONNECTOR;SCHN,FX115-598,HOOD CABLE | CONNECTOR;MNFR:SCHNEIDER INC,PTNO:FX115-598,ADDITIONAL FEATURES EN:HOOD CABLE UMBILICAL CORD 16L | 01)SCHNEIDER ELECTRIC (AUS),01)FX115-598,CONNECTOR,01)HOOD CABLE UMBILICAL C | FX115-598 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | FX115-598 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HOOD CABLE UMBILICAL CORD 16L | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1273434 | 1273434 | CONNECTOR;SCHN,RMXPC3,CBL,63A,WHT,3P+N | CONNECTOR;MNFR:SCHNEIDER INC,PTNO:RMXPC3,ADDITIONAL FEATURES EN:CABLE,63A,WHITE,3P+N ,RESI MAX,SET OF 4 | 01)SHERRIFF ELECTRICAL SUPPL,01)SCHRMXPC3,CONNECTOR,01)CABLE,63A,WHITE,3P+N ,RESI | RMXPC3 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RMXPC3 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.clipsal.com/products/detail?CatNo=RMXPC3&itemno=RMXPC3&tab-document-1=0 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE |  | TRADE SIZE |  | CABLE SIZE |  | CONNECTION TYPE |  | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL RATING:3P+N,63A,COLOUR:WHITE,RESI MAX,QUANTITY PER SET:SET OF 4 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1274693 | 1274693 | CONNECTOR;SCHN,XZCP0366L2,FEM,8 MM,3 PIN | CONNECTOR;MNFR:SCHNEIDER INC,PTNO:XZCP0366L2,ADDITIONAL FEATURES EN:FEMALE,8 MM,3 PIN,ELBOWED PREWIRED | 01)REXEL AUSTRALIA,01)XZCP0366L2,CONNECTOR,01)FEMALE,8 MM,3 PIN,02)ELBOWED PREWIRED | XZCP0366L2 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XZCP0366L2 |  | REXEL AUSTRALIA |  |  |  | https://tesensors.com/in/en/product/reference/XZCP0366L2 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE | PREWIRED | TRADE SIZE |  | CABLE SIZE | 8 MM | CONNECTION TYPE | ELBOWED FEMALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PIN:3 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1274694 | 1274694 | CONNECTOR;SCHN,XZCP0566L2,PRE-WIRED,M8,3 | CONNECTOR;MNFR:SCHNEIDER INC,PTNO:XZCP0566L2,ADDITIONAL FEATURES EN:PRE-WIRED,M8,3PIN | 01)REXEL AUSTRALIA,01)XZCP0566L2,CONNECTOR,01)PRE-WIRED,M8,3PIN | XZCP0566L2 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XZCP0566L2 |  | REXEL AUSTRALIA |  |  |  | https://tesensors.com/in/en/product/reference/XZCP0566L2 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | CABLE | TYPE | PREWIRED | TRADE SIZE |  | CABLE SIZE | M8 | CONNECTION TYPE | STRAIGHT FEMALE | CONNECTOR MATERIAL |  | CABLE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PIN:3 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214297 | 1214297 | CONNECTOR;SIE,210-204 | CONNECTOR;MNFR:SIEMENS,PTNO:210-204 | CONNECTOR | 210-204 | 3000032 | SIEMENS | SIEMENS | 210-204 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1276125 | 1276125 | CONNECTOR;SIE,3RX800000CB45 | CONNECTOR;MNFR:SIEMENS,PTNO:3RX800000CB45 | CONNECTOR | 3RX800000CB45 | 3000032 | SIEMENS | SIEMENS | 3RX800000CB45 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1264898 | 1264898 | CONNECTOR;SIE,6ES7922-5BF00-0AC0 | CONNECTOR;MNFR:SIEMENS,PTNO:6ES7922-5BF00-0AC0 | CONNECTOR | 6ES7922-5BF00-0AC0 | 3000032 | SIEMENS | SIEMENS | 6ES7922-5BF00-0AC0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES7922-5BF00-0AC0 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214325 | 1214325 | CONNECTOR;SIE,C71334-A10-A2 | CONNECTOR;MNFR:SIEMENS,PTNO:C71334-A10-A2 | CONNECTOR | C71334-A10-A2 | 3000032 | SIEMENS | SIEMENS | C71334-A10-A2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1259849 | 1259849 | DISC;3M,61500176237,127MM,HOOKANDLOOKBAS | DISC;MNFR:3M,PTNO:61500176237,ADDITIONAL FEATURES EN:127MM,HOOKANDLOOKBASE,MAXIMUM SPEED:10000 RPM,COLOUR:BLACK,THREAD SIZE:5/8 INCH | 01)J BLACKWOOD & SONS,01)03810217,DISC,01)127MM,HOOKANDLOOKBASE,02)MAXIMUM SPEED:10000 RPM,COL | 61500176237 | 3000220 | 3M | 3M | 61500176237 |  | J BLACKWOOD & SONS |  |  |  | https://sydneytools.com.au/product/3m-61500176237-127mm-contact-disc-pad-for-hook-and-loop-discs | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | PAD | NO MODIFIER | TYPE | DISC | SIZE | 127 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MAXIMUM SPEED:10000 RPM,COLOUR:BLACK,THREAD SIZE:5/8 IN,FOR HOOK AND LOOKBASE | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1239840 | 1239840 | DRILL,PWR;DEWT,HMR,18 V,2000RPM,90NM | DRILL,POWER;MNFR:DEWALT TOOLSTYPE:HAMMER,POWER SUPPLY:18 V,SPEED RATING:2000RPM,TORQUE RATING:90NM,ADDITIONAL FEATURES EN:2X5.0 AH | EN_01)HAMMER,EN_01)18 V,EN_01)2000RPM,EN_01)90NM,01)2X5.0 AH,01)TOTAL TOOLS TOWNSVILLE,01)186052 |  | 3000263 | DEWALT TOOLS | DEWALT TOOLS | 186052 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112703 Power drills | DRILL | POWER | TYPE | HAMMER | CHUCK CAPACITY |  | CHUCK TYPE |  | OVERALL SIZE |  | POWER SUPPLY | 18 V | SPEED RATING | 2000 RPM | TORQUE RATING | 90 NM | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BATTERY CAPACITY:2X5.0 AH | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1217732 | 1217732 | DRILL,PWR;MILW,M18FMDP-0C,38MM,MAG DRILL | DRILL,POWER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FMDP-0C,ADDITIONAL FEATURES EN:38MM,MAG DRILL,3/4 WELDON HEX,13MM CHUCK,CASE | 01)MOUNT ISA MINING SUPPLIES,01)M18FMDP-0C,DRILL,POWER,01)38MM,MAG DRILL,3/4 WELDON H | M18FMDP-0C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FMDP-0C |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/drills/magnetic-drills/M18FMDP-0C.html | [10 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE | MAGNETIC | CHUCK CAPACITY | 13 MM | CHUCK TYPE |  | OVERALL SIZE | 350 LGX190 WDX394 HT MM | POWER SUPPLY | 18 V | SPEED RATING | 0 TO 400 RPM/0 TO 690 RPM | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 38 MM,3/4 WELDON HEX | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1269373 | 1269373 | DRILL;DEWT,DCD796N-XE,18V XR LI-ION BRUS | DRILL;MNFR:DEWALT TOOLS,PTNO:DCD796N-XE,ADDITIONAL FEATURES EN:18V XR LI-ION BRUSHLESS 2 SPEED HAMMER DRILL/DRIVER - BARE UNIT | 01)MOUNT ISA MINING SUPPLIES,01)DCD796N-XE,DRILL,01)18V XR LI-ION BRUSHLESS 2 S | DCD796N-XE | 3000263 | DEWALT TOOLS | DEWALT TOOLS | DCD796N-XE |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://sydneytools.com.au/product/dewalt-dcd796n-xe-18v-xr-brushless-compact-lithium-ion-skin-only | [10 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE | BRUSHLESS 2 SPEED HAMMER | CHUCK CAPACITY | 1.5 TO 13 MM | CHUCK TYPE |  | OVERALL SIZE |  | POWER SUPPLY | 18 V | SPEED RATING | 0 TO 600 RPM | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | XR LI-ION,BARE UNIT | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1270335 | 1270335 | DRILL;MILW,C18RAD-0,RIGHT ANGLE | DRILL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:C18RAD-0,ADDITIONAL FEATURES EN:RIGHT ANGLE | 01)SYDNEY TOOLS PTY LTD,01)C18RAD-0,DRILL,01)RIGHT ANGLE | C18RAD-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | C18RAD-0 |  | SYDNEY TOOLS PTY LTD |  |  |  | https://www.milwaukeetool.com.au/power-tools/drills/right-angle-drills/C18RAD-0.html | [10 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE | RIGHT ANGLE,CORDLESS | CHUCK CAPACITY |  | CHUCK TYPE |  | OVERALL SIZE |  | POWER SUPPLY | 18 V | SPEED RATING | 0 TO 1500 RPM | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1269361 | 1269361 | DRILL;MILW,M18BH-0,M18,SDS & ROTARY HAMM | DRILL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18BH-0,ADDITIONAL FEATURES EN:M18,SDS & ROTARY HAMMER | 01)TOOL 'N' TACKLE,01)M18BH-0,DRILL,01)M18,SDS & ROTARY HAMMER | M18BH-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18BH-0 |  | TOOL 'N' TACKLE |  |  |  | https://www.milwaukeetool.com.au/power-tools/concrete/rotary-hammers/M18BH-0.html | [10 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE |  | CHUCK CAPACITY |  | CHUCK TYPE |  | OVERALL SIZE | 305 MM LG | POWER SUPPLY | 18 V | SPEED RATING | 0 TO 1300 RPM | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SDS & ROTARY HAMMER,M18 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1212983 | 1212983 | DRILL;MILW,M18CBLID0,IMPACT DRIVER 1/4 | DRILL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18CBLID0,ADDITIONAL FEATURES EN:IMPACT DRIVER 1/4 18V BARE B/LESS 180NM GEN3 | 01)TOTAL TOOLS TOWNSVILLE,01)M18CBLID0,DRILL,01)IMPACT DRIVER 1/4 18V BARE | M18CBLID0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18CBLID0 |  | TOTAL TOOLS TOWNSVILLE |  |  |  | https://www.milwaukeetool.com.au/power-tools/impacts-and-fastening/impact-drivers/M18CBLID-0.html | [10 empty] | ENRICHED | 27112703 Power drills | DRILL | POWER | TYPE | IMPACT DRIVER | CHUCK CAPACITY |  | CHUCK TYPE |  | OVERALL SIZE | 129 MM LG | POWER SUPPLY | 18 V | SPEED RATING | 3400 RPM | TORQUE RATING | 180 NM | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:1/4 IN,BARE B/LESS,GEN3 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1269776 | 1269776 | DRILL;MILW,M18FHM-122C,ROTARY HAMMER,KIT | DRILL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FHM-122C,ADDITIONAL FEATURES EN:ROTARY HAMMER,KIT,FUEL,44MM SDS MAX WITH ONE-KEY | 01)MOUNT ISA MINING SUPPLIES,01)M18FHM-122C,DRILL,01)ROTARY HAMMER,KIT,FUEL,44MM | M18FHM-122C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FHM-122C |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/concrete/rotary-hammers/M18FHM-122C.html | [10 empty] | ENRICHED | 20000000 Mining and Well Drilling Machinery and Accessories | KIT | NO MODIFIER | TYPE | DRILL,ROTARY HAMMER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUEL,44 MM SDS MAX C/W ONE-KEY | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1269003 | 1269003 | DRILL;MILW,M18FHP-0,ROTARTY HAMMER,FUEL | DRILL;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FHP-0,ADDITIONAL FEATURES EN:ROTARTY HAMMER,FUEL 26MM SDS PLUS WITH ONE-KEY | 01)MOUNT ISA MINING SUPPLIES,01)M18FHP-0,DRILL,01)ROTARTY HAMMER,FUEL 26MM SD | M18FHP-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FHP-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/concrete/rotary-hammers/M18FHP-0.html | [10 empty] | ENRICHED | 27112700 Power tools | HAMMER | POWER | TYPE | DRILL,ROTARTY | STROKE |  | BLOWS PER MINUTE |  | DRIVE SIZE |  | INLET SIZE |  | SHANK SIZE |  | END CONNECTION |  | SIZE |  | FLOW RATING |  | ELECTRICAL RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUEL 26 MM SDS PLUS C/W ONE-KEY | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1272834 | 1272834 | ELECTRODE;NHP,ELECTRODEFORM35,M350 | ELECTRODE;MNFR:NHP,PTNO:ELECTRODEFORM35,ADDITIONAL FEATURES EN:M350 | 01)NHP,01)ELECTRODEFORM35,ELECTRODE,01)M350 | ELECTRODEFORM35 | 3000664 | NHP | NHP | M350 | [5 empty] | https://www.weldingoutfitter.com/products/weldmark-m350-350-amp-electrode-holder | [10 empty] | ENRICHED | 23242102 Electrode holder | HOLDER | ELECTRODE | TYPE |  | TRADE SIZE |  | MAX CURRENT RATING | 350 A | CABLE/WIRE SIZE |  | HOLDING MATERIAL |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1219464 | 1219464 | EVAPORATOR;GM,84488244 | EVAPORATOR;MNFR:GENERAL MOTORS,PTNO:84488244 | 01)MALOUF AUTO GROUP,01)84488244,EVAPORATOR | 84488244 | 3000390 | GENERAL MOTORS | GENERAL MOTORS | 84488244 |  | MALOUF AUTO GROUP |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40101700 Cooling equipment and parts and accessories | EVAPORATOR | NO MODIFIER | TYPE |  | CAPACITY |  | FLOW RATING |  | NUMBER OF STAGES |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1335475 | 1335475 | FORK;SIE,2LC9308-8XX00-0AA0-Z499 | FORK;MNFR:SIEMENS,PTNO:2LC9308-8XX00-0AA0-Z499 | FORK | 2LC9308-8XX00-0AA0-Z499 | 3000032 | SIEMENS | SIEMENS | 2LC9308-8XX00-0AA0-Z499 | [5 empty] | https://mall.industry.siemens.com/mall/en/de/Catalog/Product/2LC9308-8XX00-0AA0 | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | FLENDER | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1220361 | 1220361 | GLAND;FLOW,HT14383,FRAME 10 | GLAND;MNFR:FLOWSERVE,PTNO:HT14383,ADDITIONAL FEATURES EN:FRAME 10 | 01)DOWDENS GROUP PTY LTD T/A,01)KLHT14383,GLAND,01)FRAME 10 | HT14383 | 3000277 | FLOWSERVE | FLOWSERVE | HT14383 |  | DOWDENS GROUP PTY LTD T/A |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31181702 Glands | GLAND | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRAME 10 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1334715 | 1334715 | GLAND;SIE,2BY4120-0AA76 | GLAND;MNFR:SIEMENS,PTNO:2BY4120-0AA76 | GLAND | 2BY4120-0AA76 | 3000032 | SIEMENS | SIEMENS | 2BY4120-0AA76 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31181702 Glands | GLAND | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1271577 | 1271577 | HARNESS;3M,536100,HD,FRONT PART,SPEEDGLA | HARNESS;MNFR:3M,PTNO:536100,ADDITIONAL FEATURES EN:HEAD,FRONT PART,SPEEDGLAS 9100 | 01)WELDERS PRO SHOP,01)536100,HARNESS,01)HEAD,FRONT PART,SPEEDGLAS 9 | 536100 | 3000220 | 3M | 3M | 536100 |  | WELDERS PRO SHOP |  |  |  | https://weldinghelmetsonline.com.au/products/head-harness-front-part-speedglas-9100 | [10 empty] | ENRICHED | 46182306 Safety harnesses or belts | HARNESS | SAFETY | TYPE | HEAD,FRONT PART | SIZE |  | MATERIAL |  | CAPACITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SPEEDGLAS 9100 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1271578 | 1271578 | HARNESS;3M,536200,HD,BACK PART,SPEEDGLAS | HARNESS;MNFR:3M,PTNO:536200,ADDITIONAL FEATURES EN:HEAD,BACK PART,SPEEDGLAS 9100 | 01)WELDERS PRO SHOP,01)536200,HARNESS,01)HEAD,BACK PART,SPEEDGLAS 91 | 536200 | 3000220 | 3M | 3M | 536200 |  | WELDERS PRO SHOP |  |  |  | https://www.nationalwelding.com.au/head-harness-back-part-speedglas-9100-536200 | [10 empty] | ENRICHED | 46182306 Safety harnesses or belts | HARNESS | SAFETY | TYPE | HEAD,BACK PART | SIZE |  | MATERIAL |  | CAPACITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:SPEEDGLAS 9100 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1215094 | 1215094 | HARNESS;3M,AWS536000,HD,9100,PIVOT MECHA | HARNESS;MNFR:3M,PTNO:AWS536000,ADDITIONAL FEATURES EN:HEAD,9100,PIVOT MECHANISM | 01)BOC LIMITED,01)AWS536000,HARNESS,01)HEAD,9100,PIVOT MECHANISM | AWS536000 | 3000220 | 3M | 3M | AWS536000 |  | BOC LIMITED |  |  |  | https://www.apexweldingsafety.com.au/head-harness-side-attachments-speedglas-9100-536000 | [10 empty] | ENRICHED | 46182306 Safety harnesses or belts | HARNESS | SAFETY | TYPE | HEAD | SIZE |  | MATERIAL |  | CAPACITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 9100,PIVOT MECHANISM | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1215095 | 1215095 | HARNESS;3M,AWS705015,HD,100 & 9000 | HARNESS;MNFR:3M,PTNO:AWS705015,ADDITIONAL FEATURES EN:HEAD,100 & 9000 | 01)BOC LIMITED,01)AWS705015,HARNESS,01)HEAD,100 & 9000 | AWS705015 | 3000220 | 3M | 3M | AWS705015 |  | BOC LIMITED |  |  |  | https://www.3mindia.in/3M/en_IN/p/dc/v000074076/ | [10 empty] | ENRICHED | 46182306 Safety harnesses or belts | HARNESS | SAFETY | TYPE | HEAD | SIZE |  | MATERIAL |  | CAPACITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 100 & 9000 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214460 | 1214460 | HEAD;ABB,1975-3063 | HEAD;MNFR:ABB,PTNO:1975-3063 | HEAD | 1975-3063 | 3000014 | ABB | ABB | 1975-3063 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | HEAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1264635 | 1264635 | HEAD;ABB,MFE400014111000EH | HEAD;MNFR:ABB,PTNO:MFE400014111000EH | HEAD | MFE400014111000EH | 3000014 | ABB | ABB | MFE400014111000EH | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | HEAD | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1272718 | 1272718 | HEAD;SCHN,ZB4BW313,WHT,HARMONY XB4,22MM | HEAD;MNFR:SCHNEIDER INC,PTNO:ZB4BW313,ADDITIONAL FEATURES EN:WHITE,HARMONY XB4,22MM,METAL,F/ILLUMINATED PUSH BUTTON,UNIVERSAL LED, SPRING RETURN,PLAN LENS | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHZB4BW313,HEAD,01)UNIVERSAL LED,SPRING RETURN,02)WHITE,HARMONY XB4,22MM,META | ZB4BW313 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZB4BW313 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://in.rsdelivers.com/product/schneider-electric/zb4bw313/schneider-electric-harmony-xb4-series-illuminated/3310035?cm_mmc=IN-PPC-DS3A-_-google-_-3_IN_EN_Switches_Push+Button+Switches_Exact-_-Schneider+Electric+-+3310035+-+ZB4BW313-_-zb4bw313&matchtype=e&kwd-10768339107&s_kwcid=AL!14853!3!656030457338!e!!g!!zb4bw313&gclid=CjwKCAjwwb6lBhBJEiwAbuVUSlobbsmTfkUAxrTnjHJybPo5wFL_GlNbvNROIhdzIO7-d3fwjO-FwhoC7moQAvD_BwE&gclsrc=aw.ds | [10 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | UNIVERSAL LED,SPRING RETURN,PLAN LENS,ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | METAL | COLOUR | WHITE | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:HARMONY XB4 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1272708 | 1272708 | HEAD;SCHN,ZB4BW333,GRN,HARMONY XB4,22MM | HEAD;MNFR:SCHNEIDER INC,PTNO:ZB4BW333,ADDITIONAL FEATURES EN:GREEN,HARMONY XB4,22MM,METAL,F/ILLUMINATED PUSH BUTTON,UNIVERSAL LED, SPRING RETURN,PLAN LENS | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHZB4BW333,HEAD,01)GREEN,HARMONY XB4,22MM,META,02)UNIVERSAL LED,SPRING RETURN | ZB4BW333 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZB4BW333 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://in.rsdelivers.com/product/schneider-electric/zb4bw333/schneider-electric-harmony-xb4-series-illuminated/3310057 | [10 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | UNIVERSAL LED,SPRING RETURN,PLAN LENS,ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | METAL | COLOUR | GREEN | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:HARMONY XB4 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1272707 | 1272707 | HEAD;SCHN,ZB4BW343,RED,HARMONY XB4,22MM | HEAD;MNFR:SCHNEIDER INC,PTNO:ZB4BW343,ADDITIONAL FEATURES EN:RED,HARMONY XB4,22MM,METAL,F/ILLUMINATED PUSH BUTTON,UNIVERSAL LED, SPRING RETURN,PLAN LENS | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHZB4BW343,HEAD,01)RED,HARMONY XB4,22MM,METAL,02)UNIVERSAL LED,SPRING RETURN | ZB4BW343 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZB4BW343 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://in.rsdelivers.com/product/schneider-electric/zb4bw343/schneider-electric-harmony-xb4-series-illuminated/3310079 | [10 empty] | ENRICHED | 39122216 Push button switch | SWITCH | PUSHBUTTON | TYPE | UNIVERSAL LED,SPRING RETURN,PLAN LENS,ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 70 DEG C | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL | METAL | COLOUR | RED | SIZE | 22 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:HARMONY XB4 | [41 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1219119 | 1219119 | IDLER;KNDR,K-TRA-TT1200X152X35-SS,SET-TR | IDLER;MNFR:KINDER,PTNO:K-TRA-TT1200X152X35-SS,ADDITIONAL FEATURES EN:SET-TROUGH TRAINING-1200BW 35DEG,SPECIAL SS 304,TROUGH ROLLERS NOT INCLUDED | 01)KINDER AUSTRALIA PTY LTD,01)K-TRA-TT1200X152X35-SS,IDLER,01)SET-TROUGH TRAINING-1200BW,02)SPECIAL SS 304,TROUGH ROLLE | K-TRA-TT1200X152X35-SS | 3000432 | KINDER | KINDER AUSTRALIA PTY LTD | K-TRA-TT1200X152X35-SS | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 24100000 Material handling machinery and equipment | IDLER | NO MODIFIER | TYPE |  | DIAMETER |  | WIDTH |  | LENGTH |  | MATERIAL | STAINLESS STEEL 304 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET-TROUGH TRAINING-1200BW 35DEG,TROUGH ROLLERS NOT INCLUDED | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1269383 | 1269383 | IDLER;THYK,2500047578,D7 TAIL ASSY KIT | IDLER;MNFR:THYSSENKRUPP,PTNO:2500047578,ADDITIONAL FEATURES EN:D7 TAIL ASSY KIT, TAIL IDLER ASSMB FOR D7 | 01)THYSSENKRUPP INDUSTRIAL S,01)2500047578,IDLER,01)D7 TAIL ASSY KIT, TAIL IDLE | 2500047578 | 3000433 | THYSSENKRUPP | THYSSENKRUPP | 2500047578 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 24100000 Material handling machinery and equipment | IDLER | NO MODIFIER | TYPE |  | DIAMETER |  | WIDTH |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | D7 TAIL ASSY KIT,TAIL IDLER ASSMB FOR D7 | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214082 | 1214082 | INSULATOR;SIE,3FA-1-110-7 | INSULATOR;MNFR:SIEMENS,PTNO:3FA-1-110-7 | INSULATOR | 3FA-1-110-7 | 3000032 | SIEMENS | SIEMENS | 3FA-1-110-7 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 30140000 Insulation | INSULATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1323919 | 1323919 | INTERLOCK;SIE,INTERLOCK SOLENOID SET | INTERLOCK;MNFR:SIEMENS,PTNO:INTERLOCK SOLENOID SET | INTERLOCK | INTERLOCK SOLENOID SET | 3000032 | SIEMENS | SIEMENS | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | INTERLOCK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLENOID SET | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1270686 | 1270686 | LEAD,TST;EATO,EAT7222A,MAINS,AU PLUG,414 | LEAD,TEST;MNFR:EATON CORPORATION,PTNO:EAT7222A,ADDITIONAL FEATURES EN:MAINS,AU PLUG,4140 & 6016 | 01)CNW (MOUNT ISA) ELECT WHO,01)EAT7222A,LEAD,TEST,01)MAINS,AU PLUG,4140 & 6016 | EAT7222A | 3000267 | EATON CORPORATION | EATON CORPORATION | EAT7222A |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.idealelectrical.com/aie/category/Tools-%26-Instrumentation/Test-%26-Measurement/Accessories-for-measuring-instrument/7222A%2C-MAINS-TEST-LEAD-%28AU-PLUG%29-FOR-4140-%26-6016/EAT7222A/p/14243118 | [10 empty] | CLEANSED | 60104912 Electric lead wires or cables | LEAD | TEST | TYPE | MAINS,AU PLUG | MATERIAL |  | LENGTH |  | INSULATION MATERIAL |  | SAFETY VOLTAGE RATING |  | CONNECTION TYPE |  | COLOUR |  | TIP LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4140 & 6016 | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1216002 | 1216002 | LEAD,TST;FLUK,BTL10,BATTERY ANALYZER | LEAD,TEST;MNFR:FLUKE,PTNO:BTL10,ADDITIONAL FEATURES EN:BATTERY ANALYZER, SUIT 500 SERIES | 01)HAYMANS ELECTRICAL (PARTS,01)FLUBTL10,LEAD,TEST,01)BATTERY ANALYZER,02) SUIT 500 SERIES | BTL10 | 3000278 | FLUKE | FLUKE | BTL10 | [5 empty] | https://www.fluke-direct.com/product/fluke_btl10_test_probes | [10 empty] | CLEANSED | 60104912 Electric lead wires or cables | LEAD | TEST | TYPE | BATTERY ANALYZER | MATERIAL |  | LENGTH |  | INSULATION MATERIAL |  | SAFETY VOLTAGE RATING |  | CONNECTION TYPE |  | COLOUR |  | TIP LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUIT 500 SERIES | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1267506 | 1267506 | LEAD,TST;FLUK,FLUTL224,SURGRP,INSLTD | LEAD,TEST;MNFR:FLUKE,PTNO:FLUTL224,ADDITIONAL FEATURES EN:SUREGRIP,INSULATED | 01)J BLACKWOOD & SONS,01)FLUTL224,LEAD,TEST,01)SUREGRIP,INSULATED | FLUTL224 | 3000278 | FLUKE | FLUKE | FLUTL224 |  | J BLACKWOOD & SONS |  |  |  | https://www.fluke-direct.com/product/fluke-tl224-suregrip-silicone-insulated-test-leads | [10 empty] | CLEANSED | 60104912 Electric lead wires or cables | LEAD | TEST | TYPE | SUREGRIP,INSULATED | MATERIAL |  | LENGTH |  | INSULATION MATERIAL | SILICONE | SAFETY VOLTAGE RATING |  | CONNECTION TYPE |  | COLOUR |  | TIP LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1219690 | 1219690 | LEAD,TST;FLUK,FLUTL28A,TEST LEAD SET HEA | LEAD,TEST;MNFR:FLUKE,PTNO:FLUTL28A,ADDITIONAL FEATURES EN:TEST LEAD SET HEAVY DUTY | 01)CNW (MOUNT ISA) ELECT WHO,01)FLUTL28A,LEAD,TEST,01)TEST LEAD SET HEAVY DUTY | FLUTL28A | 3000278 | FLUKE | FLUKE | FLUTL28A |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.fluke-direct.com/product/fluke_tl28a_automotive_test_lead_set | [10 empty] | CLEANSED | 60104912 Electric lead wires or cables | LEAD | TEST | TYPE | HEAVY DUTY | MATERIAL |  | LENGTH |  | INSULATION MATERIAL | SILICONE | SAFETY VOLTAGE RATING | 30 V | CONNECTION TYPE |  | COLOUR |  | TIP LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1274238 | 1274238 | LEAD;WILT,KRIES 3503118 S,PLUGGABLE,CONC | LEAD;MNFR:WILSON TRANSFORMER,PTNO:Kries 3503118_S,ADDITIONAL FEATURES EN:PLUGGABLE,CONNECTING,SET OF 3PH,3M LG | 01)WILSON TRANSFORMER COMPAN,01)KRIES 3503118_S,LEAD,01)PLUGGABLE,CONNECTING,SET OF | Kries 3503118_S | 3000469 | WILSON TRANSFORMER | WILSON TRANSFORMER COMPANY | 3503118_S | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 44121902 Lead refills | LEAD | NO MODIFIER | TYPE | PLUGGABLE,CONNECTING | SIZE |  | LENGTH | 3 M | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET OF 3PH,KRIES | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1324033 | 1324033 | MULTIPLEXER;ABB,3BDC700150 | MULTIPLEXER;MNFR:ABB,PTNO:3BDC700150 | MULTIPLEXER | 3BDC700150 | 3000014 | ABB | ABB | 3BDC700150 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43222827 Multiplexer or MUX | MULTIPLEXER | NO MODIFIER | TYPE |  | NUMBER OF CHANNELS |  | DATA TRANSFER RATE |  | PORT TYPE |  | ELECTRICAL RATING |  | FIBRE TYPE |  | DISTANCE |  | CONNECTOR TYPE |  | MOUNTING TYPE |  | SIZE |  | ROHS COMPLIANCE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1269328 | 1269328 | ORGANIZER;MILW,48228430,PACKOUT | ORGANIZER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48228430,ADDITIONAL FEATURES EN:PACKOUT | 01)MOUNT ISA MINING SUPPLIES,01)48228430,ORGANIZER,01)PACKOUT | 48228430 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48228430 | [5 empty] | https://www.milwaukeetool.com.au/storage/packout/organisers/48228430.html | [10 empty] | ENRICHED | 44111500 Organizers and accessories | ORGANIZER | NO MODIFIER | TYPE |  | SIZE | 501 LGX381 WDX117 HT MM | MATERIAL |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:PACKOUT | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1269332 | 1269332 | ORGANIZER;MILW,48228435,PACKOUT COMPACT | ORGANIZER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48228435,ADDITIONAL FEATURES EN:PACKOUT COMPACT,8068091 | 01)REECE PTY LTD,01)48228435,ORGANIZER,01)PACKOUT COMPACT,8068091 | 48228435 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48228435 |  | REECE PTY LTD | 8068091 |  |  | https://www.milwaukeetool.com.au/storage/packout/organisers/48228435.html | [10 empty] | ENRICHED | 44111500 Organizers and accessories | ORGANIZER | NO MODIFIER | TYPE | COMPACT | SIZE | 246 LGX387 WDX117 HT MM | MATERIAL |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:PACKOUT | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1324826 | 1324826 | RECEIVER,HND SET;ABB,FIN-UNI-00080 | RECEIVER,HAND SET;MNFR:ABB,PTNO:FIN-UNI-00080 | RECEIVER,HAND SET | FIN-UNI-00080 | 3000014 | ABB | ABB | FIN-UNI-00080 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 43191500 Personal communication devices | RECEIVER | HAND SET | TYPE |  | FREQUENCY RATING |  | NUMBER OF CHANNELS |  | OPERATING RANGE |  | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1270378 | 1270378 | RECEIVER;HONE,30/925633,DRIR | RECEIVER;MNFR:HONEYWELL,PTNO:30/925633,ADDITIONAL FEATURES EN:DRIER | 01)HONEYWELL PTY LTD,01)30/925633,RECEIVER,01)DRIER | 30/925633 | 3000290 | HONEYWELL | HONEYWELL | 30/925633 |  | HONEYWELL PTY LTD |  |  |  | https://spare.avspart.com/spare/jcb/30925633/ | [10 empty] | CLEANSED | 32101500 Circuit assemblies and radio frequency RF components | RECEIVER | NO MODIFIER | TYPE | DRIER | FREQUENCY RATING |  | NUMBER OF CHANNELS |  | OPERATING RANGE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1272497 | 1272497 | RECEIVER;SCHN,XZBWR2STT24,PRGMBL, RADIO | RECEIVER;MNFR:SCHNEIDER INC,PTNO:XZBWR2STT24,ADDITIONAL FEATURES EN:PROGRAMMABLE, RADIO,OUTPUT COTACT:4 PNP,2 PUSHBUTTONS,6 LED, SUPPLY VOLTAGE:24 VDC,MAX.SWITCHING CURRENT:200 MA,FOR 2 SENSORS-SSO |  | XZBWR2STT24 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XZBWR2STT24 | [5 empty] | https://www.se.com/in/en/product/XZBWR2STT24/programmable-receiver-4-pnp-200-ma-24-v-dc-2-pusbuttons-6-leds/ | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | RECEIVER | NO MODIFIER | TYPE | PROGRAMMABLE,RADIO | FREQUENCY RATING | 50 HZ | NUMBER OF CHANNELS |  | OPERATING RANGE |  | SIZE | 36 WDX108 HTX75 DP MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-5-1,EN/IEC 60947-1 | ADDITIONAL FEATURES EN | OUTPUT COTACT:4 PNP,2 PUSHBUTTONS,6 LED, SUPPLY VOLTAGE:24 VDC,MAX SWITCHING CURRENT:200 MA,FOR 2 SENSORS-SSO | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1276472 | 1276472 | RECEIVER;SCHN,ZBRRC,PRGMBL,XB5R,24 V DC | RECEIVER;MNFR:SCHNEIDER INC,PTNO:ZBRRC,ADDITIONAL FEATURES EN:PROGRAMMABLE,XB5R,24 V DC,CONFIGURABLE,OUTPUT CONTACT:4 PNP,2 BUTTONS, 6 INDICATING LED,MONOSTABLE |  | ZBRRC | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZBRRC | [5 empty] | https://www.se.com/in/en/product/ZBRRC/programmable-receiver-4-pnp-200-ma-24-v-dc-2-pusbuttons-6-leds/ | [10 empty] | ENRICHED | 32101500 Circuit assemblies and radio frequency RF components | RECEIVER | NO MODIFIER | TYPE | PROGRAMMABLE,CONFIGURABLE,MONOSTABLE | FREQUENCY RATING | 50 HZ | NUMBER OF CHANNELS |  | OPERATING RANGE |  | SIZE | 36 WDX108 HTX75 DP MM | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,GOST,CSA,UL | ADDITIONAL FEATURES EN | SUPPLY VOLTAGE:24 VDC,OUTPUT CONTACT:4 PNP,2 BUTTONS,6 INDICATING LED | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1274736 | 1274736 | RECEIVER;SICK,1047984,LGHT,WEU26/3-103A0 | RECEIVER;MNFR:SICK,PTNO:1047984,ADDITIONAL FEATURES EN:LIGHT,WEU26/3-103A00 | 01)SHERRIFF ELECTRICAL SUPPL,01)1047984,RECEIVER,01)LIGHT,WEU26/3-103A00 | 1047984 | 3000448 | SICK | SICK | 1047984 |  | SHERRIFF ELECTRICAL SUPPLY | WEU26/3-103A00 |  |  | https://www.sick.com/us/en/safety-light-beam-sensors/safety-single-beam-sensors/wsuweu26-3/wsu26-3-103a00/p/p155240 | [10 empty] | ENRICHED | 39121528 Photoelectric sensors | SENSOR | PHOTOELECTRIC | TYPE | LIGHT | SENSING RANGE | 70 M | ELECTRICAL RATING | 24 VDC | SENSING TARGET |  | RESPONSE TIME |  | CONNECTION TYPE |  | LIGHT SOURCE |  | DEGREE OF PROTECTION | IP67 | CABLE LENGTH |  | TEMPERATURE RATING | -25 TO 55 DEG C | MATERIAL | ALUMINUM DIE CAST | MOUNTING TYPE |  | SIZE | 50 WDX156 HTX116 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CC,UKCA | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1274735 | 1274735 | RECEIVER;SICK,1047985,LGHT,WEU26/3-103A0 | RECEIVER;MNFR:SICK,PTNO:1047985,ADDITIONAL FEATURES EN:LIGHT,WEU26/3-103A00 | 01)SHERRIFF ELECTRICAL SUPPL,01)1047985,RECEIVER,01)LIGHT,WEU26/3-103A00 | 1047985 | 3000448 | SICK | SICK | 1047985 |  | SHERRIFF ELECTRICAL SUPPLY | WEU26/3-103A00 |  |  | https://www.sick.com/us/en/safety-light-beam-sensors/safety-single-beam-sensors/wsuweu26-3/weu26-3-103a00/p/p155241 | [10 empty] | ENRICHED | 39121528 Photoelectric sensors | SENSOR | PHOTOELECTRIC | TYPE | LIGHT | SENSING RANGE | 20 M | ELECTRICAL RATING | 24 VDC | SENSING TARGET |  | RESPONSE TIME |  | CONNECTION TYPE |  | LIGHT SOURCE |  | DEGREE OF PROTECTION |  | CABLE LENGTH |  | TEMPERATURE RATING | -25 TO 55 DEG C | MATERIAL | ALUMINUM DIE CAST | MOUNTING TYPE |  | SIZE | 50 WDX156 HTX116 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CC,UKCA | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1215776 | 1215776 | RELAY,PROTECTIVE,MOTOR,24V AC,ATEX | RELAY,PROTECTIVE;MNFR:ABB,PTNO:ABBUMC100.3AC24L |  | ABBUMC100.3AC24L | 3000014 | ABB | ABB | ABBUMC100.3AC24L | [5 empty] | https://www.ipd.com.au/motor-prot-relay-24-v-ac-4x-do-6-x-di-ptc-input-63a-ct-umc100-3ac24l | [10 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 24 VAC | CURRENT RATING | 63 A | COIL VOLTAGE |  | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib |  | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1265060 | 1265060 | RELAY;ABB,1791D-8B8P | RELAY;MNFR:ABB,PTNO:1791D-8B8P | RELAY | 1791D-8B8P | 3000014 | ABB | ABB | 1791D-8B8P | [5 empty] | https://www.dosupply.com/automation/allen-bradley-plc/compactblock-i-o-1791d/1791D-8B8P | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE |  | VOLTAGE RATING | 30 V | CURRENT RATING | 11 MA | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE | IP20 | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214085 | 1214085 | RELAY;SIE,V23007-B0037-B110 | RELAY;MNFR:SIEMENS,PTNO:V23007-B0037-B110 | RELAY | V23007-B0037-B110 | 3000032 | SIEMENS | SIEMENS | V23007-B0037-B110 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214194 | 1214194 | RELAY;SIE,V23127-B0002-A101 | RELAY;MNFR:SIEMENS,PTNO:V23127-B0002-A101 | RELAY | V23127-B0002-A101 | 3000032 | SIEMENS | SIEMENS | V23127-B0002-A101 | [5 empty] | https://www.mroglobalsolutions.com/products/schrack-v23127-b0002-a101-relay-new-no-box | [10 empty] | CLEANSED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214195 | 1214195 | RELAY;SIE,V23162-A0726-C404 | RELAY;MNFR:SIEMENS,PTNO:V23162-A0726-C404 | RELAY | V23162-A0726-C404 | 3000032 | SIEMENS | SIEMENS | V23162-A0726-C404 | [5 empty] | https://www.radwell.co.uk/Buy/SIEMENS/SIEMENS/V23162-A0726-C404/?redirect=true | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | SMALL | COIL RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1214084 | 1214084 | RELAY;SIE,V23162-B0517-F104 | RELAY;MNFR:SIEMENS,PTNO:V23162-B0517-F104 | RELAY | V23162-B0517-F104 | 3000032 | SIEMENS | SIEMENS | V23162-B0517-F104 | [5 empty] | https://www.te.com/usa-en/product-CAT-AX41-C8422B.html | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE | SIGNAL | COIL RATING | 110 VAC | CONTACT RATING | 125 VAC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE | 19 LGX24 WDX30 HT MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1211208 | 1211208 | RIBBON,PRNTR;BRAD,R-6010 TLS RESIN,THERM | RIBBON,PRINTER;MNFR:BRADY W H CO,PTNO:R-6010 TLS RESIN,ADDITIONAL FEATURES EN:THERMAL RIBBON,22.9M BLK | 01)ALLIANCE SAFETY EQUIPMENT,01)R-6010 TLS RESIN,RIBBON,PRINTER,01)THERMAL RIBBON,22.9M BLK | R-6010 TLS RESIN | 3000240 | BRADY W H CO | BRADY W H CO | R-6010 TLS RESIN | [5 empty] | https://www.advancedgroup.com.au/R-6010-TLS-RESIN-RIBBON-22-9M-BLK-p/18559.htm | [10 empty] | ENRICHED | 44103112 Printer ribbon | RIBBON | PRINTER | TYPE | THERMAL | COLOUR | BLACK | SIZE | 22.9 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1258515 | 1258515 | ROTOR;ABB,490-3077.801 | ROTOR;MNFR:ABB,PTNO:490-3077.801 | ROTOR | 490-3077.801 | 3000014 | ABB | ABB | 490-3077.801 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | ROTOR | NO MODIFIER | TYPE |  | NUMBER OF SLOTS |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1269053 | 1269053 | ROTOR;MILW,298003066 | ROTOR;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:298003066 | 01)TOOL 'N' TACKLE,01)298003066,ROTOR | 298003066 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 298003066 |  | TOOL 'N' TACKLE |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | ROTOR | NO MODIFIER | TYPE |  | NUMBER OF SLOTS |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1324009 | 1324009 | ROTOR;SIE,2BA-7628-B8;IMPELLER | ROTOR;MNFR:SIEMENS,PTNO:2BA-7628-B8;IMPELLER | ROTOR | 2BA-7628-B8;IMPELLER | 3000032 | SIEMENS | SIEMENS | 2BA-7628-B8 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | ROTOR | NO MODIFIER | TYPE | IMPELLER | NUMBER OF SLOTS |  | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1269275 | 1269275 | SCREEN,FLTR;TENN,6331 | SCREEN,FILTER;MNFR:TENNANT,PTNO:6331 | 01)TENNANT (2501800),01)6331,SCREEN,FILTER | 6331 | 3000358 | TENNANT | TENNANT | 6331 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161800 Filter media | SCREEN | FILTER | TYPE |  | SIZE |  | MATERIAL |  | FILTRATION RATE |  | FLOW RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1266477 | 1266477 | SCREEN;AB,A-B2711PT12C4D8,TOCH,12 IN | SCREEN;MNFR:ALLEN BRADLEY,PTNO:A-B2711PT12C4D8,ADDITIONAL FEATURES EN:TOUCH,12 IN | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B2711PT12C4D8,SCREEN,01)TOUCH,12 IN | A-B2711PT12C4D8 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B2711PT12C4D8 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.horizonsolutions.com/product/A-B2711PT12C4D8 | [10 empty] | CLEANSED | 23152100 Separation machinery and equipment | SCREEN | NO MODIFIER | TYPE | TOUCH | SCREEN SIZE | 12 IN | WIRE SIZE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1270799 | 1270799 | SEALANT;GARL,35350-1500,TAPE,JONT,PTFE,W | SEALANT;MNFR:GARLOCK LTD,PTNO:35350-1500,ADDITIONAL FEATURES EN:TAPE,JOINT,PTFE,WHITE,5MX12.5X4.5MM | 01)BLACKWOODS & SONS,01)35350-1500,SEALANT,01)TAPE,JOINT,PTFE,WHITE,5MX12 | 35350-1500 | 3000281 | GARLOCK LTD | GARLOCK LTD | 35350-1500 |  | BLACKWOODS & SONS |  |  |  | https://www.garlock.com/product/35350-5100 | [10 empty] | ENRICHED | 31201500 Tape | TAPE | NO MODIFIER | TYPE | JOINT SEALANT | SIZE | 75 LG FTX25.40 WDX9.91 THK MM | MATERIAL | PTFE | TEMPERATURE RATING | -268 TO 260 DEG C | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1216336 | 1216336 | STAPLER;MILW,M18FNCS18GS-0,18GA,NARROW C | STAPLER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FNCS18GS-0,ADDITIONAL FEATURES EN:18GA,NARROW CROWN | 01)MOUNT ISA MINING SUPPLIES,01)M18FNCS18GS-0,STAPLER,01)18GA,NARROW CROWN | M18FNCS18GS-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FNCS18GS-0 |  | MOUNT ISA MINING SUPPLIES |  |  |  | https://www.milwaukeetool.com.au/power-tools/nailers/staplers/M18FNCS18GS-0.html | [10 empty] | CLEANSED | 44121615 Staplers | STAPLER | NO MODIFIER | TYPE | NARROW CROWN | STAPLE CAPACITY | 108 | POWER SOURCE | 18 V | NUMBER OF SHEETS |  | MATERIAL |  | SIZE | 279 LGX86 WD MM | STRIP |  | POINT TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 18GA | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1266155 | 1266155 | STOP;ABB,2TLA030054R0300,SAFTY | STOP;MNFR:ABB,PTNO:2TLA030054R0300,ADDITIONAL FEATURES EN:SAFETY |  | 2TLA030054R0300 | 3000014 | ABB | ABB | 2TLA030054R0300 | [5 empty] | https://new.abb.com/products/2TLA030054R0300/inca-1s | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | STOP | NO MODIFIER | TYPE | SAFETY | SIZE | 32.2 LGX80 WDX32.2 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAFETY | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1215341 | 1215341 | STOP;ABB,RT9.24D | STOP;MNFR:ABB,PTNO:RT9.24D | STOP | RT9.24D | 3000014 | ABB | ABB | RT9.24D | [5 empty] | https://new.abb.com/products/2TLA010029R0000/rt9-24dc | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE |  | CONTACT VOLTAGE RATING | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE | 120 LGX22.5 WDX84 HT MM | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1273696 | 1273696 | STOP;SCHN,K178W3B140G,ILUMTD,EMRGNCY,24V | STOP;MNFR:SCHNEIDER INC,PTNO:K178W3B140G,ADDITIONAL FEATURES EN:ILLUMINATED,EMERGENCY,24V RED/WHITE | 01)HAYMANS ELECTRICAL (PARTS,01)TEEXALK178W3B140G,STOP,01)ILLUMINATED,EMERGENCY,24V R | K178W3B140G | 3000344 | SCHNEIDER INC | SCHNEIDER INC | K178W3B140G |  | HAYMANS ELECTRICAL |  |  |  | URL NOT FOUND | [10 empty] | ENRICHED | 39122221 Switch part or accessory | OPERATOR | SWITCH | TYPE | ILLUMINATED,EMERGENCY | COLOUR | RED/WHITE | SIZE |  | MATERIAL |  | NUMBER OF POSITIONS |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS | ADDITIONAL FEATURES | VOLTAGE RATING:24 V | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1220359 | 1220359 | THROWER;FLOW,HT23274,WTR,FR10 | THROWER;MNFR:FLOWSERVE,PTNO:HT23274,ADDITIONAL FEATURES EN:WATER,FR10 | 01)DOWDENS GROUP PTY LTD T/A,01)KLHT23274,THROWER,01)WATER,FR10 | HT23274 | 3000277 | FLOWSERVE | FLOWSERVE | HT23274 |  | DOWDENS GROUP PTY LTD T/A |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31163227 Flinger | THROWER | NO MODIFIER | TYPE | WATER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FR10 | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1325242 | 1325242 | VENTILATOR;ABB,COO-FAN-00100 | VENTILATOR;MNFR:ABB,PTNO:COO-FAN-00100 | VENTILATOR | COO-FAN-00100 | 3000014 | ABB | ABB | COO-FAN-00100 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101500 Ventilation | VENTILATOR | NO MODIFIER | TYPE |  | FLOW RATING |  | SPEED RATING |  | MATERIAL |  | END CONNECTION |  | SIZE |  | ELECTRICAL RATING |  | DRIVE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1254100 | 1254100 | ZZ - REPLACED BY 1531990 | INDICATOR;MNFR:SIEMENS,PTNO:3SU15500AA100AA0 |  | 3SU15500AA100AA0 | 3000032 | SIEMENS | SIEMENS | 3SU15500AA100AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3SU15500AA100AA0 | [10 empty] | ENRICHED | 31163200 Retaining hardware | HOLDER | NO MODIFIER | TYPE |  | SIZE | 30 WDX40 HT MM | MATERIAL | PLASTIC/METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 | Processed based on Websource, Conflict w.r.t Input | 1254101 | 1254101 | ZZ - REPLACED BY 1535533 | INDICATOR;MNFR:SIEMENS,PTNO:3SU10610JD300AA0 |  | 3SU10610JD300AA0 | 3000032 | SIEMENS | SIEMENS | 3SU10610JD300AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3SU10610JD300AA0 | [10 empty] | ENRICHED | 39121534 Indicator or pilot lights | LIGHT | INDICATING | TYPE | ROUND | LAMP WATTAGE |  | LENS COLOUR | YELLOW | VOLTAGE RATING |  | SIZE | 38 WDX38 HT MM | LAMP BASE |  | DEGREE OF PROTECTION | IP66,IP67,IP69 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | kib | OK | 2023-06-24 | 2023-07-13 |  | 1253971 | 1253971 | ZZ - REPLACED BY 1573548 | RELAY;MNFR:ALLEN BRADLEY,PTNO: A-B700SCF620EJC,ADDITIONAL FEATURES EN:SAFETY CONTROL | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B700SCF620EJC,RELAY,01)SAFETY CONTROL | A-B700SCF620EJC | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B700SCF620EJC |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.horizonsolutions.com/product/A-B700SCF620EJC | [10 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE | CONTROL | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3NO,1NC | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed