## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1215901 | 1215901 | BREAKER,EARTH LEAK;ABB,DS27110 | BREAKER,EARTH LEAKAGE;MNFR:ABB,PTNO:DS27110 | BREAKER,EARTH LEAKAGE | DS27110 | 3000014 | ABB | ABB | DS27110 | [5 empty] | https://www.tradezone.com.au/product/abb-10-amp-miniature-circuit-breaker-residual-current-device-mcb-rcd-rcbo-c-curve-1-pole-ac-10ka-30ma-23636.html | https://library.e.abb.com/public/77cade77dfb6793ec1256c3e001ea04c/GHD2707021P3.pdf | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING | 240 V | NUMBER OF POLES | 1 | INTERRUPT RATING | 10 KA | FREQUENCY RATING |  | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1324374 | 1324374 | BREAKER,EARTH LEAK;ABB,FH204AC | BREAKER,EARTH LEAKAGE;MNFR:ABB,PTNO:FH204AC | BREAKER,EARTH LEAKAGE | FH204AC | 3000014 | ABB | ABB | FH204AC | [5 empty] | https://new.abb.com/products/2CSF204006R1400/fh204-ac-40-0-03 | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 230/400 VAC,40 A,50 HZ | INTERRUPT RATING | 1 KA | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 70 WDX69 HTX85 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1211910 | 1211910 | BREAKER,EARTH LEAK;LEAK 30 MA,25 A,10 KA | BREAKER,EARTH LEAKAGE;LEAKAGE CURRENT:30 MA,CURRENT RATING:25 A,INTERRUPT RATING:10 KA,MOUNTING METHOD:DIN RAIL,ADDITIONAL FEATURES EN:4P, SUPPLIED: LESS COVER,MNFR:SIEMENS,PTNO:5SZ3-420+5ST1-311CV4,MNFR:01)CNW,PTNO:01)CLI4RC425/30 | 01)CNW,01)CLI4RC425/30,BREAKER,30 MA,25 A,10 KA,DIN RAIL,01)4P, SUPPLIED: LESS COVER | 5SZ3-420+5ST1-311CV4 | 3000032 | SIEMENS | SIEMENS | 5SZ3-420+5ST1-311CV4 |  | CNW | CLI4RC425/30 |  |  | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Electrical-Distribution/Circuit-Protection/Residual-Current-Devices/RCD-4MOD-4P-25A-30MA-10KA/p/CLI4RC425%3D30I41 | https://awm.mmem.com.au/cli4rc425-2f-30 | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 415 VAC,25 A | INTERRUPT RATING | 6 KA | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 85 LGX72 WDX81 HT MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LEAKAGE CURRENT:30 MA,NO OF POLES:4,SUPPLIED: LESS COVER | [51 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK_NM TAKE AS PER WEBSOURCE | 26-06-2023 | 04-07-2023 |  | 1266757 | 1266757 | BREAKER,EARTH LEAK;NHP,DSRCD46330A,RCCB | BREAKER,EARTH LEAKAGE;MNFR:NHP,PTNO:DSRCD46330A,ADDITIONAL FEATURES EN:RCCB,DIN-SAFE,3P/N,63A,30MA,TYPE A | 01)CNW (MOUNT ISA) ELECT WHO,01)DSRCD46330A,BREAKER,EARTH LEAKAGE,01)RCCB,DIN-SAFE,3P/N,63A,30MA | DSRCD46330A | 3000664 | NHP | NHP | DSRCD46330A |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://nhp.com.au/product/dsrcd46330a | https://media.goelectrical.com.au/Datasheets/NHP/NHP_RCBO_Din-Safe_DSRCD46330A.pdf | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 415 VAC,63 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 72 WDX86 HTX76 DP MM | TEMPERATURE RATING | -25 TO 55 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | SERIES: DIN-SAFE,NO OF POLES:3P/N,RATED LEAKAGE CURRENT:30 MA,SELECTIVITY CLASS:A | [51 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1258141 | 1258141 | BREAKER,EARTH LEAK;RCD,LEAK 30 MA,63 A | BREAKER,EARTH LEAKAGE;TYPE:RCD,LEAKAGE CURRENT:30 MA,VOLTAGE RATING:415 VAC,CURRENT RATING:63 A,MOUNTING METHOD:DIN RAIL, ENCLOSURE:IP40,CERTIFICATION/STANDARD:AS/NZS 61008, AS 3190-1990,ADDITIONAL FEATURES EN:4P,MNFR:SIEMENS,PTNO:5SZ3-460 | BREAKER,EARTH LEAKAGE,RCD,30 MA,415 VAC,63 A,DIN RAIL,IP40,EN_01)AS/NZS 61008, AS 3190-19,01)4P | 5SZ3-460 | 3000032 | SIEMENS | SIEMENS | 5SZ3-460 | [5 empty] | https://www.automation-berlin.com/en/siemens-5SZ3460.html | [10 empty] | CLEANSED | 39121614 Earth leakage circuit breakers | BREAKER | EARTH LEAKAGE | TYPE | RCD | LEAKAGE CURRENT | 30 MA | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 4 | CURRENT RATING | 63 A | INTERRUPT RATING |  | MOUNTING METHOD | DIN RAIL | CURVE |  | DIMENSIONS |  | ENCLOSURE | IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 61008,AS 3190-1990 | ADDITIONAL FEATURES EN | ENCLOSURE:IP40 | [47 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1324319 | 1324319 | BREAKER,EARTH LEAK;SIE,5SZ3 222-3C | BREAKER,EARTH LEAKAGE;MNFR:SIEMENS,PTNO:5SZ3 222-3C | BREAKER,EARTH LEAKAGE | 5SZ3 222-3C | 3000032 | SIEMENS | SIEMENS | 5SZ3 222-3C | [5 empty] | https://www.automation-berlin.com/en/siemens-5SZ3222-3C.html | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 125 TO 220 V,25 A | INTERRUPT RATING |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1265751 | 1265751 | BREAKER,EARTH LEAK;SIE,5SZ3-470 | BREAKER,EARTH LEAKAGE;MNFR:SIEMENS,PTNO:5SZ3-470 | BREAKER,EARTH LEAKAGE | 5SZ3-470 | 3000032 | SIEMENS | SIEMENS | 5SZ3-470 | [5 empty] | https://www.santral.com/santral.net/pdf_B/Siemens/Kataloglar/EnstalasyonKatalog/BETA/BE_04.pdf | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 240/415 VAC,50/60 HZ | INTERRUPT RATING |  | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE |  | TEMPERATURE RATING | -5 TO 45 DEG C | CERTIFICATION/STANDARD | IEC/EN 61008-1 | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1215763 | 1215763 | BREAKER,VACUUM,ABB,VD41250-1212-25 | BREAKER,VACUUM;MNFR:ABB,PTNO:VD41250-1212-25 |  | VD41250-1212-25 | 3000014 | ABB | ABB | VD41250-1212-25 | [5 empty] | https://library.e.abb.com/public/0d671a20edb86433c125766c0038498d/TK%20520_E.pdf | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | VACUUM | TYPE |  | CURRENT RATING | 1250 A | VOLTAGE RATING |  | FREQUENCY RATING | 50/60 HZ | NUMBER OF POLES |  | INTERRUPT RATING | 63 KA | POLE CENTER DISTANCE |  | SOLENOID VOLTAGE RATING |  | SHUNT VOLTAGE RATING |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE | 75 KV | OPERATING SEQUENCES |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 750 WDX677.5 HTX459 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | IEC,ISO | ADDITIONAL FEATURES | [36 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274241 | 1274241 | BREAKER,VACUUM;SCHN,SRVAPEAVRET 0QL0 | BREAKER,VACUUM;MNFR:SCHNEIDER INC,PTNO:SRVAPEAVRET_0QL0 |  | SRVAPEAVRET_0QL0 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SRVAPEAVRET_0QL0 | [5 empty] | https://library.e.abb.com/public/0d671a20edb86433c125766c0038498d/TK%20520_E.pdf | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | VACUUM | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | NUMBER OF POLES |  | INTERRUPT RATING |  | POLE CENTER DISTANCE |  | SOLENOID VOLTAGE RATING |  | SHUNT VOLTAGE RATING |  | NUMBER OF AUX SWITCH |  | IMPULSE WITHSTAND VOLTAGE |  | OPERATING SEQUENCES |  | OPERATING CYCLES |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1258201 | 1258201 | BREAKER;ABB,1SDA061602R0001 | BREAKER;MNFR:ABB,PTNO:1SDA061602R0001 | BREAKER | 1SDA061602R0001 | 3000014 | ABB | ABB | 1SDA061602R0001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1332679 | 1332679 | BREAKER;ABB,1SDA068059R1,XT3N 250 TMD 20 | BREAKER;MNFR:ABB,PTNO:1SDA068059R1,ADDITIONAL FEATURES EN:XT3N 250 TMD 200-2000 3P F F | 01)CNW (MOUNT ISA) ELECT WHO,01)ABB1SDA068059R1,BREAKER,01)XT3N 250 TMD 200-2000 3P F | 1SDA068059R1 | 3000014 | ABB | ABB | 1SDA068059R1 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://new.abb.com/products/1SDA068059R1/xt3n-250-tmd-250-2500-3p-f-f | https://vashiisl.com/products/abb-xt3n-250-tmd-250-2500-3p-f-f-1sda068059r1 | [9 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 690 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 36 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING | 50/60 HZ | TRIP CLASS |  | TRIP SETTING | THERMOMAGNETIC | MOUNTING TYPE |  | TERMINAL TYPE | BOLT | SIZE | 105 WDX150 HTXDP 70 MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | XT3N 250 TMD 200-2000 3P F | [43 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1215378 | 1215378 | BREAKER;ABB,1SWDA050464R1 | BREAKER;MNFR:ABB,PTNO:1SWDA050464R1 | BREAKER | 1SWDA050464R1 | 3000014 | ABB | ABB | 1SWDA050464R1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK_NM TAKE AS PER WEBSOURCE | 26-06-2023 | 04-07-2023 |  | 1324338 | 1324338 | BREAKER;ABB,DSN201C6 | BREAKER;MNFR:ABB,PTNO:DSN201C6 | BREAKER | DSN201C6 | 3000014 | ABB | ABB | DSN201C6 | [5 empty] | https://www.tradezone.com.au/product/abb-6-amp-miniature-circuit-breaker-residual-current-device-mcb-rcd-rcbo-c-curve-1-pole-with-neutral-ac-6ka-30ma-23623.html | https://express.ecsnz.com/downloads/ABB/ABB_NZCAT_63-64.pdf | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 240 V,6 A | INTERRUPT RATING | 6 KA | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1333687 | 1333687 | BREAKER;ABB,EP-CDX6071206R | BREAKER;MNFR:ABB,PTNO:EP-CDX6071206R | BREAKER | EP-CDX6071206R | 3000014 | ABB | ABB | EP-CDX6071206R | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1212929 | 1212929 | BREAKER;ABB,OS160GB12P | BREAKER;MNFR:ABB,PTNO:OS160GB12P | BREAKER | OS160GB12P | 3000014 | ABB | ABB | OS160GB12P | [5 empty] | https://new.abb.com/products/1SCA115637R1001/os160gb12p | https://www.ipd.com.au/abb-fuse-switch-160a-3p-f-oper-ip65-handle-shaft-a2-a4-fuses-centre-mech-os160gb12p | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | FUSE | VOLTAGE RATING | 690 VAC | CURRENT RATING | 160 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE | IP65 | MOUNTING TYPE | BASE | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE | HANDLE SHAFT | POWER RATING | 132 KW | MATERIAL | PLASTIC HANDLE | SIZE | 147 WDX140 HTX115 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [42 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1258296 | 1258296 | BREAKER;ABB,SACE HA1 12.06.12 | BREAKER;MNFR:ABB,PTNO:SACE HA1 12.06.12 | BREAKER | SACE HA1 12.06.12 | 3000014 | ABB | ABB | SACE HA1 12.06.12 | [5 empty] | https://library.e.abb.com/public/b11735d96ac44a50b97d4d45b15d343a/SL_SERVICE_HA-RETROFIT(EN)_1VCP000347-%20EXT.pdf?x-sign=fgNmoNFOix/izjdOPFSXlsfVV5i2qVwMqK/PrHz88GtH7PXZ4N1fi5u2oyz87nh5 | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1258507 | 1258507 | BREAKER;ABB,VMAX/L 12 | BREAKER;MNFR:ABB,PTNO:VMAX/L 12 | BREAKER | VMAX/L 12 | 3000014 | ABB | ABB | VMAX/L 12 | [5 empty] | https://library.e.abb.com/public/ee063510c6a24bdfa1a6883bee0ef759/Vmax_Catalogue_EN_1YHA000089_RevD_2020.4.pdf | https://library.e.abb.com/public/155bf172e65640ed9724a67a7da02530/MA_VMAX(EN)N_1VCD600189.pdf | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 630 VAC | FRAME RATING |  | INTERRUPT RATING | 25 KA | NUMBER OF POLES |  | OVERALL SIZE | 416 WDX531 HTX433 DP MM | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1272840 | 1272840 | BREAKER;DRVT,IFI04987,10 AMP,POTTER | BREAKER;MNFR:DRIVETRAIN,PTNO:IFI04987,ADDITIONAL FEATURES EN:10 AMP,POTTER | 01)DRIVETRAIN AUSTRALIA,01)IFI04987,BREAKER,01)10 AMP,POTTER | IFI04987 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI04987 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 10 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:POTTER | [49 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274811 | 1274811 | BREAKER;NHP,DSRCBT0630A,CKT | BREAKER;MNFR:NHP,PTNO:DSRCBT0630A,ADDITIONAL FEATURES EN:CIRCUIT | 01)HAYMANS ELECTRICAL,01)NHPDSRCBT0630A,BREAKER,01)CIRCUIT | DSRCBT0630A | 3000664 | NHP | NHP | DSRCBT0630A |  | HAYMANS ELECTRICAL |  |  |  | https://www.nhp.com.au/product/dsrcbt0630a | https://www.blackwoods.com.au/electrical/power-protection/rcd-rcbo/nhp-dsrcbt0630a-din-safe-rcbo-3p-n-10ka-06a-c-curve-30ma-type-a-54mm/p/02952428 | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 415 VAC,6 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 53.4 WDX117.5 HTX71.6 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274831 | 1274831 | BREAKER;NHP,DSRCBT10100A | BREAKER;MNFR:NHP,PTNO:DSRCBT10100A | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDSRCBT10100A,BREAKER | DSRCBT10100A | 3000664 | NHP | NHP | DSRCBT10100A |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.blackwoods.com.au/electrical/power-protection/rcd-rcbo/nhp-dsrcbt10100a-din-safe-rcbo-3p-n-10ka-10a-c-curve-100ma-type-a-54mm/p/02952445 | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 10 A | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE |  | SIZE | 54 MM WD | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1257787 | 1257787 | BREAKER;NHP,DSRCBT1030A,CKT | BREAKER;MNFR:NHP,PTNO:DSRCBT1030A,ADDITIONAL FEATURES EN:CIRCUIT | 01)HAYMANS ELECTRICAL,01)NHPDSRCBT1030A,BREAKER,01)CIRCUIT | DSRCBT1030A | 3000664 | NHP | NHP | DSRCBT1030A |  | HAYMANS ELECTRICAL |  |  |  | https://www.nhp.com.au/product/dsrcbt1030a | https://media.goelectrical.com.au/Datasheets/NHP/NHP_DSRCBT1030A.pdf | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 415 VAC,10 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 53.4 WDX117.5 HTX71.6 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274832 | 1274832 | BREAKER;NHP,DSRCBT16100A | BREAKER;MNFR:NHP,PTNO:DSRCBT16100A | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDSRCBT16100A,BREAKER | DSRCBT16100A | 3000664 | NHP | NHP | DSRCBT16100A |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/Product/DSRCBT16100A | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DSRCBT16100A-232805-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 415 VAC,16 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 53.4 WDX117.5 HTX71.6 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274833 | 1274833 | BREAKER;NHP,DSRCBT20100A | BREAKER;MNFR:NHP,PTNO:DSRCBT20100A | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDSRCBT20100A,BREAKER | DSRCBT20100A | 3000664 | NHP | NHP | DSRCBT20100A |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/product/dsrcbt20100a | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DSRCBT20100A-232806-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 400/415 VAC,20 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 53.4 WDX117.5 HTX71.6 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274834 | 1274834 | BREAKER;NHP,DSRCBT40100A | BREAKER;MNFR:NHP,PTNO:DSRCBT40100A | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDSRCBT40100A,BREAKER | DSRCBT40100A | 3000664 | NHP | NHP | DSRCBT40100A |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.blackwoods.com.au/electrical/power-protection/rcd-rcbo/nhp-dsrcbt40100a-din-safe-rcbo-3p-n-10ka-40a-c-curve-100ma-type-a-54mm/p/02952700 | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DSRCBT40100A-232809-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 400/415 VAC,40 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 53.4 WDX117.5 HTX71.6 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274835 | 1274835 | BREAKER;NHP,DSRCBT50100A | BREAKER;MNFR:NHP,PTNO:DSRCBT50100A | 01)SHERRIFF ELECTRICAL SUPPL,01)DSRCBT50100A,BREAKER | DSRCBT50100A | 3000664 | NHP | NHP | DSRCBT50100A |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.nhp.com.au/product/dsrcbt50100a | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DSRCBT50100A-232810-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 400/415 VAC,50 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 53.4 WDX117.5 HTX71.6 DP MM | TEMPERATURE RATING | -5 TO 40 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1267030 | 1267030 | BREAKER;NHP,DSRCD4100100,RCCB 3P/N 100A | BREAKER;MNFR:NHP,PTNO:DSRCD4100100,ADDITIONAL FEATURES EN:RCCB 3P/N 100A DIN-SAFE 100MA TYPE AC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPDSRCD4100100,BREAKER,01)RCCB 3P/N 100A DIN-SAFE 100 | DSRCD4100100 | 3000664 | NHP | NHP | DSRCD4100100 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.blackwoods.com.au/electrical/power-protection/mcb/nhp-dsrcd4100100a-rccb-din-safe-3p-n-100a-100ma-type-a-f204a/p/03122666 | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DSRCD4100100A | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 415 VAC,100 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 72 WDX86 HTX76 DP MM | TEMPERATURE RATING | -25 TO 55 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | SERIES: DIN-SAFE,NO OF POLES:3P/N,SELECTIVITY CLASS:AC | [51 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1267031 | 1267031 | BREAKER;NHP,DSRCD480100,RCCB 3PN 80A DIN | BREAKER;MNFR:NHP,PTNO:DSRCD480100,ADDITIONAL FEATURES EN:RCCB 3PN 80A DINSAFE 100MA TYPE AC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPDSRCD480100,BREAKER,01)RCCB 3PN 80A DINSAFE 100MA | DSRCD480100 | 3000664 | NHP | NHP | DSRCD480100 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.blackwoods.com.au/electrical/power-protection/mcb/nhp-din-t-rccb-din-safe-3p-n-80a-100ma-type-a-82-mm-x-78-mm-x-92-mm-dsrcd480100a/p/00350867 | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DSRCD480100A | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 415 VAC,80 A,50/60 HZ | INTERRUPT RATING | 10 KA | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 72 WDX86 HTX76 DP MM | TEMPERATURE RATING | -25 TO 55 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | SERIES: DIN-SAFE,NO OF POLES:3P/N,RATED LEAKAGE CURRENT:100 MA,SELECTIVITY CLASS:AC | [51 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1266873 | 1266873 | BREAKER;NHP,DSRCM32303PNA,RCD 32A 3P/N | BREAKER;MNFR:NHP,PTNO:DSRCM32303PNA,ADDITIONAL FEATURES EN:RCD 32A 3P/N 30MA | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDSRCM32303PNA,BREAKER,01)RCD 32A 3P/N 30MA | DSRCM32303PNA | 3000664 | NHP | NHP | DSRCM32303PNA |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://www.blackwoods.com.au/electrical/power-protection/rcd-rcbo/nhp-din-t-rcd-clip-on-32a-30ma-3pn-a-dsrcm32303pna/p/01313628 | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DSRCM32303PNA-214342-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | RCD | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 400/415 VAC,32 A,50/60 HZ | INTERRUPT RATING |  | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 36 WDX86 HTX76 DP MM | TEMPERATURE RATING | -5 TO 60 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | NO OF POLES:3P/N,RATED LEAKAGE CURRENT:30 MA | [51 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274915 | 1274915 | BREAKER;NHP,DSRCM63303PA,RCD 63A 3P,30MA | BREAKER;MNFR:NHP,PTNO:DSRCM63303PA,ADDITIONAL FEATURES EN:RCD 63A 3P,30MA | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDSRCM63303PA,BREAKER,01)RCD 63A 3P,30MA | DSRCM63303PA | 3000664 | NHP | NHP | DSRCM63303PA |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-418/DSRCM63303PA | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DSRCM63303PA-218157-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | RCD | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 400/415 VAC,63 A,50/60 HZ | INTERRUPT RATING |  | MATERIAL |  | MOUNTING TYPE | DIN-35 RAIL | SIZE | 54 WDX86 HTX76 DP MM | TEMPERATURE RATING | -5 TO 60 DEG C | CERTIFICATION/STANDARD | UL,CE,IEC,RCM | ADDITIONAL FEATURES | NO OF POLES:3,,RATED LEAKAGE CURRENT:30 MA | [51 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1275315 | 1275315 | BREAKER;NHP,DTCB10H3100C,DIN-T 10H,C CRV | BREAKER;MNFR:NHP,PTNO:DTCB10H3100C,ADDITIONAL FEATURES EN:DIN-T 10H,C CURVE,MCB,100A,3P | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB10H3100C,BREAKER,01)DIN-T 10H,C CURVE,02)MCB,100A,3P | DTCB10H3100C | 3000664 | NHP | NHP | DTCB10H3100C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://shop.cnw.com.au/medias/DTCB10H3100C-212938-datasheet.pdf?context=bWFzdGVyfHJvb3R8ODY3NjIxfGFwcGxpY2F0aW9uL3BkZnxoNDIvaGYwLzk0MzYxNjU1NzA1OTAvRFRDQjEwSDMxMDBDLTIxMjkzOC1kYXRhc2hlZXQucGRmfDA0MWQyMmQwODFkYTNhNTI5MTUwMDlmY2Q3ODQzMTY4YmRmZmJlMjg1NTVjOTMzYzM3YTViZTJkYWNjNzg4ZTg | https://nhp.com.au/product/dtcb10h3100c | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 100 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 16 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIZE | 81 WDX100 HTX90 DP MM | CERTIFICATION/STANDARD | EN,IEC,UL | ADDITIONAL FEATURES | DIN-T 10H | [47 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1275316 | 1275316 | BREAKER;NHP,DTCB10H3125C,C CRV,MCB,125A | BREAKER;MNFR:NHP,PTNO:DTCB10H3125C,ADDITIONAL FEATURES EN:C CURVE,MCB,125A,3P, DIN-T 10H | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB10H3125C,BREAKER,01)C CURVE,MCB,125A,3P,02) DIN-T 10H | DTCB10H3125C | 3000664 | NHP | NHP | DTCB10H3125C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DTCB10H3125C-212939-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | https://nhpnz.co.nz/product/DTCB10H3125C | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 125 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 16 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 81 WDX100 HTX90 DP MM | CERTIFICATION/STANDARD | EN,IEC,UL | ADDITIONAL FEATURES | [48 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1275314 | 1275314 | BREAKER;NHP,DTCB10H380C,MCB,80A,3P,C CRV | BREAKER;MNFR:NHP,PTNO:DTCB10H380C,ADDITIONAL FEATURES EN:MCB,80A,3P,C CURVE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTCB10H380C,BREAKER,01)MCB,80A,3P,C CURVE | DTCB10H380C | 3000664 | NHP | NHP | DTCB10H380C |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DTCB10H380C-212937-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | https://www.blackwoods.com.au/electrical/power-protection/mcb/nhp-dtcb10h380c-mcb-10h-3p-80a-c-curve/p/02844869 | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 80 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 16 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE | 81 WDX100 HTX90 DP MM | CERTIFICATION/STANDARD | EN,IEC,UL | ADDITIONAL FEATURES | [48 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK | 26-06-2023 | 04-07-2023 |  | 1274383 | 1274383 | BREAKER;NHP,DTCBDC202C,DIN-TDC,6KA,2P,2A | BREAKER;MNFR:NHP,PTNO:DTCBDC202C,ADDITIONAL FEATURES EN:DIN-TDC,6KA,2P,2A,C CURVE |  | DTCBDC202C | 3000664 | NHP | NHP | DTCBDC202C | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DTCBDC202C-6683-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | https://www.blackwoods.com.au/electrical/power-protection/mcb/nhp-din-t-dtcbdc202c-miniature-circuit-breaker-415-v-ac-2-pole-2a-6ka-c-curve/p/00353808 | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE |  | CURRENT RATING | 2 A | VOLTAGE RATING | 415 VAC | NUMBER OF POLES | 2 | INTERRUPT RATING | 6 KA | FREQUENCY RATING | 50/60 HZ | TRIP CLASS | C | TRIP SETTING |  | MOUNTING TYPE | DIN-35 RAIL | TERMINAL TYPE |  | SIZE | 36 WDX86 HTX76 DP MM | CERTIFICATION/STANDARD | UL,CE,RCM | ADDITIONAL FEATURES | [48 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK_NM TAKE AS PER WEBSOURCE | 26-06-2023 | 04-07-2023 |  | 1275312 | 1275312 | BREAKER;SCHN,A9Z51440,EV,RCD.ACTI9.4P,40 | BREAKER;MNFR:SCHNEIDER INC,PTNO:A9Z51440,ADDITIONAL FEATURES EN:EV,RCD.ACTI9.4P,40A | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHA9Z51440,BREAKER,01)EV,RCD.ACTI9.4P,40A | A9Z51440 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | A9Z51440 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.se.com/au/en/product/A9Z51440/acti9-iid-residual-current-circuit-breaker-4p-40a-30ma-b-type/ | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 400/415 VAC,40 A,50 HZ | INTERRUPT RATING |  | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 72 WDX88 HTX79 DP MM | TEMPERATURE RATING | -25 TO 60 DEG C | CERTIFICATION/STANDARD | IEC,EN | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK_NM TAKE AS PER WEBSOURCE | 26-06-2023 | 04-07-2023 |  | 1275311 | 1275311 | BREAKER;SCHN,A9Z51463,EV,RCD,ACTI9,4P,63 | BREAKER;MNFR:SCHNEIDER INC,PTNO:A9Z51463,ADDITIONAL FEATURES EN:EV,RCD,ACTI9,4P,63A | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHA9Z51463,BREAKER,01)EV,RCD,ACTI9,4P,63A | A9Z51463 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | A9Z51463 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.se.com/au/en/product/A9Z51463/acti9-iid-residual-current-circuit-breaker-4p-63a-30ma-b-type/ | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE |  | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 400/415 VAC,63 A,50 HZ | INTERRUPT RATING |  | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 72 WDX88 HTX79 DP MM | TEMPERATURE RATING | -25 TO 60 DEG C | CERTIFICATION/STANDARD | IEC,EN | ADDITIONAL FEATURES | [52 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK_NM TAKE AS PER WEBSOURCE | 26-06-2023 | 04-07-2023 |  | 1273432 | 1273432 | BREAKER;SCHN,RCBE206/30S,RCD/MCB,2P,240V | BREAKER;MNFR:SCHNEIDER INC,PTNO:RCBE206/30S,ADDITIONAL FEATURES EN:RCD/MCB,2P,240VAC,1M,6A,4.5KA,30MA,SLIMLINE,BRAND:CLIPSAL | 01)SHERRIFF ELECTRICAL SUPPL,01)CLIRCBE206/30S,BREAKER,01)RCD/MCB,2P,240VAC,1M,6A,4.5 | RCBE206/30S | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RCBE206/30S |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/RCBE206/30S | [10 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 240 VAC,6 A | INTERRUPT RATING | 4.5 KA | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 92.5 X 18 X 71.5 MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | AS/NZS 61009,IEC,ROHS | ADDITIONAL FEATURES | BRAND:CLIPSAL | [51 empty] | PRODUCTION COMPLETED
STP_009 | Data Enrichment | nen | OK_NM TAKE AS PER WEBSOURCE | 26-06-2023 | 04-07-2023 |  | 1273433 | 1273433 | BREAKER;SCHN,RCBE210/30S,RCD/MCB,2P,240V | BREAKER;MNFR:SCHNEIDER INC,PTNO:RCBE210/30S,ADDITIONAL FEATURES EN:RCD/MCB,2P,240VAC,1M,10A,4.5KA,30MA,SLIMLINE,BRAND:CLIPSAL | 01)SHERRIFF ELECTRICAL SUPPL,01)CLIRCBE210/30S,BREAKER,01)RCD/MCB,2P,240VAC,1M,10A,4. | RCBE210/30S | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RCBE210/30S |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/RCBE210/30S | https://www.clipsal.com/products/detail?CatNo=RCBE210/30S&itemno=RCBE210/30S&tab-document-1=0 | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | RESIDUAL CURRENT | TYPE | OVERCURRENT PROTECTION | WIRE SIZE |  | CONTACT CONFIGURATION |  | INPUT RATING | 240 VAC,10 A | INTERRUPT RATING | 4.5 KA | MATERIAL |  | MOUNTING TYPE | DIN RAIL | SIZE | 92.5 X 18 X 71.5 MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | AS/NZS 61009,IEC,ROHS | ADDITIONAL FEATURES | BRAND:CLIPSAL | [51 empty] | PRODUCTION COMPLETED