## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1252881 | 1252881 | BUSHING;DIEC,5H.2772500301 | BUSHING;MNFR:DIECI,PTNO:5H.2772500301,ADDITIONAL FEATURES EN:TRUST | BUSHING,01)TRUST | 5H.2772500301 | 3000511 | DIECI | DIECI | 5H.2772500301 | [5 empty] | https://agroimport.in.ua/en/vantazhivki/dieci/5h-2772500301-bushing-bronze-thrust-dieci-dieci-5h2772500301-2772500301 | [12 empty] | BUSHING | NO MODIFIER | TYPE | THRUST | SIZE |  | MATERIAL | BRONZE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRUST | [61 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1252836 | 1252836 | BUSHING;DIEC,5H.2772500302 | BUSHING;MNFR:DIECI,PTNO:5H.2772500302,ADDITIONAL FEATURES EN:THRUST | BUSHING,01)THRUST | 5H.2772500302 | 3000511 | DIECI | DIECI | 5H.2772500302 | [5 empty] | https://www.malpasdirect.co.uk/b27335-bush.html | [12 empty] | BUSHING | NO MODIFIER | TYPE | THRUST | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THRUST | [61 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213062 | 1213062 | BUSHING;DRVT,IFI00119 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI00119 | 01)DRIVETRAIN AUSTRALIA,01)IFI00119,BUSHING | IFI00119 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI00119 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213063 | 1213063 | BUSHING;DRVT,IFI00122 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI00122 | 01)DRIVETRAIN AUSTRALIA,01)IFI00122,BUSHING | IFI00122 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI00122 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213067 | 1213067 | BUSHING;DRVT,IFI00154 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI00154 | 01)DRIVETRAIN AUSTRALIA,01)IFI00154,BUSHING | IFI00154 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI00154 | [5 empty] | https://machinerypartsonline.com.au/product/carraro-125390-bushing | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1211048 | 1211048 | BUSHING;DRVT,IFI23619 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI23619 | 01)DRIVETRAIN,01)IFI23619,BUSHING | IFI23619 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI23619 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213327 | 1213327 | BUSHING;DRVT,IFI25321 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI25321 | 01)DRIVETRAIN AUSTRALIA,01)IFI25321,BUSHING | IFI25321 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25321 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213331 | 1213331 | BUSHING;DRVT,IFI25455 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI25455 | 01)DRIVETRAIN AUSTRALIA,01)IFI25455,BUSHING | IFI25455 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25455 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1211057 | 1211057 | BUSHING;DRVT,IFI31194 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI31194 | 01)DRIVETRAIN,01)IFI31194,BUSHING | IFI31194 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31194 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1275560 | 1275560 | BUSHING;DRVT,IFI32275 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI32275 | 01)DRIVETRAIN,01)IFI32275,BUSHING | IFI32275 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32275 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213499 | 1213499 | BUSHING;DRVT,IFI33558 | BUSHING;MNFR:DRIVETRAIN,PTNO:IFI33558 |  | IFI33558 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33558 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1242510 | 1242510 | BUSHING;HYS,0192429,TLT CYL | BUSHING;MNFR:HYSTER,PTNO:0192429,ADDITIONAL FEATURES EN:TILT CYLINDER | 01)FORKLIFT,01)S120FT,BUSHING,01)TILT CYLINDER,01)CYLINDRE D'INCLINAISON | 192429 | 3000023 | HYSTER | HYSTER | 0192429 | [5 empty] | https://www.liftpartswarehouse.com/product-p/hy192429.htm | [5 empty] | FORKLIFT |  | S120FT |  |  |  |  | BUSHING | NO MODIFIER | TYPE | TILT CYLINDER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1273071 | 1273071 | BUSHING;HYS,1673898 | BUSHING;MNFR:HYSTER,PTNO:1673898 | 01)ADAPT-A-LIFT GROUP PTY LT,01)1673898,BUSHING | 1673898 | 3000023 | HYSTER | HYSTER | 1673898 |  | ADAPT-A-LIFT GROUP PTY LTD |  |  |  | https://www.orangeparts.com/hyster-1673898-bushing/ | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1214491 | 1214491 | BUSHING;MAN,474062 | BUSHING;MNFR:MANITOU,PTNO:474062 | BUSHING | 474062 | 3000007 | MANITOU | MANITOU | 474062 | [5 empty] | https://remsklad.com/parts/manitou/?page=340 | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1220211 | 1220211 | BUSHING;MAN,744806 | BUSHING;MNFR:MANITOU,PTNO:744806 | 01)JUNGHEINRICH AUSTRALIA PT,01)744806,BUSHING | 744806 | 3000007 | MANITOU | MANITOU | 744806 |  | JUNGHEINRICH AUSTRALIA PTY LTD |  |  |  | https://omegaparts.net/product/470370/ | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1211195 | 1211195 | BUSHING;SCHN,SL496-903 | BUSHING;MNFR:SCHNEIDER INC,PTNO:SL496-903 | 01)SCHNEIDER ELECTRIC (AUS),01)SL496-903,BUSHING | SL496-903 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SL496-903 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270544 | 1270544 | BUSHING;SCHN,SL496-904P | BUSHING;MNFR:SCHNEIDER INC,PTNO:SL496-904P | 01)SCHNEIDER ELECTRIC (AUS),01)SL496-904P,BUSHING | SL496-904P | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SL496-904P | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1214292 | 1214292 | BUSHING;SIE,210-338 | BUSHING;MNFR:SIEMENS,PTNO:210-338 | BUSHING | 210-338 | 3000032 | SIEMENS | SIEMENS | 210-338 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1258587 | 1258587 | BUSHING;SIE,2BY2180-0AA76 | BUSHING;MNFR:SIEMENS,PTNO:2BY2180-0AA76 | BUSHING | 2BY2180-0AA76 | 3000032 | SIEMENS | SIEMENS | 2BY2180-0AA76 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1258202 | 1258202 | BUSHING;SIE,2BY5760-1AA76 | BUSHING;MNFR:SIEMENS,PTNO:2BY5760-1AA76 | BUSHING | 2BY5760-1AA76 | 3000032 | SIEMENS | SIEMENS | 2BY5760-1AA76 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1258203 | 1258203 | BUSHING;SIE,2BY5780-1AA76 | BUSHING;MNFR:SIEMENS,PTNO:2BY5780-1AA76 | BUSHING | 2BY5780-1AA76 | 3000032 | SIEMENS | SIEMENS | 2BY5780-1AA76 | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ASK MFR | 2023-06-27 | 2023-06-28 |  | 1214223 | 1214223 | BUSHING;SIE,DT 10F630 | BUSHING;MNFR:SIEMENS,PTNO:DT 10F630 | BUSHING | DT 10F630 | 3000032 | SIEMENS | SIEMENS | DT 10F630 | [5 empty] | https://www.novacec.com/wp-content/uploads/2021/04/Novacec_Catalogue.pdf | https://njrecgroup.en.made-in-china.com/product/VQBYdLFAHEkg/China-DT-10NF-630-High-voltage-DIN-composite-silicone-Transformerr-bushing.html | [11 empty] | BUSHING | ELECTRICAL | TYPE | HIGH VOLTAGE | SIZE |  | VOLTAGE RATING |  | CURRENT RATING | 630 A | MATERIAL | PORCELAIN | BIL RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1257527 | 1257527 | BUSHING;SIE,R33150A | BUSHING;MNFR:SIEMENS,PTNO:R33150A | BUSHING | R33150A | 3000032 | SIEMENS | SIEMENS | R33150A | [5 empty] | URL NOT FOUND | [12 empty] | BUSHING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213093 | 1213093 | METER,ENERGY;DRVT,IFI01206 | METER,ENERGY;MNFR:DRIVETRAIN,PTNO:IFI01206 | 01)DRIVETRAIN AUSTRALIA,01)IFI01206,METER,ENERGY | IFI01206 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01206 | [5 empty] | URL NOT FOUND | [12 empty] | METER | ENERGY | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONNECTION TYPE |  | WIRE SIZE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | R/P RATIO |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270692 | 1270692 | METER,FLW;YOKG,AXG050-GA000CA1AH214B-2JA | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXG050-GA000CA1AH214B-2JA11/GRL,ADDITIONAL FEATURES EN:MAGNETIC,(50MM/2IN.) | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG050-GA000CA1AH214B-2JA11,METER,FLOW,01)MAGNETIC,(50MM/2IN.) | AXG050-GA000CA1AH214B-2JA11/GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXG050-GA000CA1AH214B-2JA11/GRL | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | 150 LB FLANGE | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 24 VAC/DC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 50 MM/2 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270691 | 1270691 | METER,FLW;YOKG,AXG080-GA000CA1AH214B-2JA | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXG080-GA000CA1AH214B-2JA11/GRL,ADDITIONAL FEATURES EN:MAGNETIC,(80MM/3IN.) | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG080-GA000CA1AH214B-2JA11,METER,FLOW,01)MAGNETIC,(80MM/3IN.) | AXG080-GA000CA1AH214B-2JA11/GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXG080-GA000CA1AH214B-2JA11/GRL | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | 150 LB FLANGE | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 24 VAC/DC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 80 MM/3 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1275746 | 1275746 | METER,FLW;YOKG,AXG100-GA000AA1CE214B-1JA | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXG100-GA000AA1CE214B-1JA11/GRJ,ADDITIONAL FEATURES EN:MAGNETIC,100MM/4IN,DUST RECOVERY | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG100-GA000AA1CE214B-1JA11,METER,FLOW,01)MAGNETIC,100MM/4IN,DUST REC | AXG100-GA000AA1CE214B-1JA11/GRJ | 3000446 | YOKOGAWA | YOKOGAWA | AXG100-GA000AA1CE214B-1JA11/GRJ | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | 150 LB WAFER | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 100 TO 240 VAC/100 TO 120 VDC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 100 MM/4 IN, DUST RECOVERY | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270690 | 1270690 | METER,FLW;YOKG,AXG100-GA000CA1AH214B-2JA | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXG100-GA000CA1AH214B-2JA11/GRL,ADDITIONAL FEATURES EN:MAGNETIC,(100MM/4IN.) | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG100-GA000CA1AH214B-2JA11,METER,FLOW,01)MAGNETIC,(100MM/4IN.) | AXG100-GA000CA1AH214B-2JA11/GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXG100-GA000CA1AH214B-2JA11/GRL | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | 150 LB FLANGE | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 24 VAC/DC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 100 MM/4 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270688 | 1270688 | METER,FLW;YOKG,AXG150-GA000CA1AH214B-2JA | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXG150-GA000CA1AH214B-2JA11/GRL,ADDITIONAL FEATURES EN:MAGNETIC,(150MM/6IN.) | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG150-GA000CA1AH214B-2JA11,METER,FLOW,01)MAGNETIC,(150MM/6IN.) | AXG150-GA000CA1AH214B-2JA11/GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXG150-GA000CA1AH214B-2JA11/GRL | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | 150 LB FLANGE | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 24 VAC/DC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 150 MM/6 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1269624 | 1269624 | METER,FLW;YOKG,AXG150GD000AA1CE214BNNNNN | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXG150GD000AA1CE214BNNNNN/GRJ,ADDITIONAL FEATURES EN:MAGNETIC,150 MM/6 IN | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG150GD000AA1CE214BNNNNN/G,METER,FLOW,01)MAGNETIC,150 MM/6 IN | AXG150GD000AA1CE214BNNNNN/GRJ | 3000446 | YOKOGAWA | YOKOGAWA | AXG150-GD000AA1CE214B-NNNNN/GRJ | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | 150 LB WAFER | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 150 MM/6 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270689 | 1270689 | METER,FLW;YOKG,AXG200-GA000CA1AH214B-2JA | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXG200-GA000CA1AH214B-2JA11/GRL,ADDITIONAL FEATURES EN:MAGNETIC,(200MM/8IN.) | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG200-GA000CA1AH214B-2JA11,METER,FLOW,01)MAGNETIC,(200MM/8IN.) | AXG200-GA000CA1AH214B-2JA11/GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXG200-GA000CA1AH214B-2JA11/GRL | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | 150 LB FLANGE | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 24 VAC/DC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 200 MM/8 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1275701 | 1275701 | METER;YOKG,AXG010GA000AA1AL214B1JA11GRL | METER;MNFR:YOKOGAWA,PTNO:AXG010GA000AA1AL214B1JA11GRL | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG010-GA000AA1AL214B-1JA11,METER | AXG010GA000AA1AL214B1JA11GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXG010-GA000AA1AL214B-1JA11GRL | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | 150 LB WAFER | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 100 TO 240 VAC/100 TO 120 VDC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 10 MM/0.4 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213586 | 1213586 | METER;YOKG,AXG100GA000CS2AH214B2JA11GRL | METER;MNFR:YOKOGAWA,PTNO:AXG100GA000CS2AH214B2JA11GRL | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXG100-GA000CS2AH214B-2JA11,METER | AXG100GA000CS2AH214B2JA11GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXG100-GA000CS2AH214B-2JA11GRL | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | HART 7 | PROCESS CONNECTION | FLANGE | ENCLOSURE | IP66/IP67, NEMA 4X | POWER SUPPLY | 24 VAC/DC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | ISO M20X1.5 Female | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 100 MM/4 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267795 | 1267795 | MOUNT;CROU,LMB-FL40-PC,FLOODLIGHT,BLT ON | MOUNT;MNFR:CROUSEHINDS COMPANY,PTNO:LMB-FL40-PC,ADDITIONAL FEATURES EN:FLOODLIGHT,BLT ON | 01)CNW (MOUNT ISA) ELECT WHO,01)CROLMB-FL40-PC,MOUNT,01)FLOODLIGHT,BLT ON | LMB-FL40-PC | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | LMB-FL40-PC | [5 empty] | https://colonialelectricsupply.com/assets/images/2022/aug/pdfs/Cable_Wire-Management.pdf | https://www.eaton.com/us/en-us/skuPage.LMB-FL40.html | [8 empty] | CNW, ISA | ENRICHED |  | MOUNT | NO MODIFIER | TYPE | FLOODLIGHT, BOLT-ON | OVERALL SIZE | 10 LGX8 WDX4 HT IN | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NEC/CEC | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267796 | 1267796 | MOUNT;CROU,LMB-FR240-PC,CLAMP ON,2 FT | MOUNT;MNFR:CROUSEHINDS COMPANY,PTNO:LMB-FR240-PC,ADDITIONAL FEATURES EN:CLAMP ON,2 FT FLUORESCENT | 01)CNW (MOUNT ISA) ELECT WHO,01)CROLMB-FR240-PC,MOUNT,01)CLAMP ON,2 FT FLUORESCENT | LMB-FR240-PC | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | LMB-FR240-PC | [5 empty] | https://colonialelectricsupply.com/assets/images/2022/aug/pdfs/Cable_Wire-Management.pdf | [9 empty] | CNW, ISA, ELECT WHO | CLEANSED |  | MOUNT | NO MODIFIER | TYPE | FLUORESCENT, CLAMP-ON | OVERALL SIZE | 2 FT LG | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267797 | 1267797 | MOUNT;CROU,LMB-FR440-PC,CLAMP ON,4 FT | MOUNT;MNFR:CROUSEHINDS COMPANY,PTNO:LMB-FR440-PC,ADDITIONAL FEATURES EN:CLAMP ON,4 FT FLUORESCENT | 01)CNW (MOUNT ISA) ELECT WHO,01)CROLMB-FR440-PC,MOUNT,01)CLAMP ON,4 FT FLUORESCENT | LMB-FR440-PC | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | LMB-FR440-PC | [5 empty] | https://colonialelectricsupply.com/assets/images/2022/aug/pdfs/Cable_Wire-Management.pdf | [9 empty] | CNW, ISA, ELECT WHO | CLEANSED |  | MOUNT | NO MODIFIER | TYPE | FLUORESCENT, CLAMP-ON | OVERALL SIZE | 4 FT LG | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267798 | 1267798 | MOUNT;CROU,LMB-FRT40-PC,CROSS ARM,3 FT | MOUNT;MNFR:CROUSEHINDS COMPANY,PTNO:LMB-FRT40-PC,ADDITIONAL FEATURES EN:CROSS ARM,3 FT FLUORESCENT | 01)CNW (MOUNT ISA) ELECT WHO,01)CROLMB-FRT40-PC,MOUNT,01)CROSS ARM,3 FT FLUORESCENT | LMB-FRT40-PC | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | LMB-FRT40-PC | [5 empty] | https://colonialelectricsupply.com/assets/images/2022/aug/pdfs/Cable_Wire-Management.pdf | https://www.eaton.com/us/en-us/skuPage.LMB-FRT40.html | [8 empty] | CNW, ISA, ELECT WHO | ENRICHED |  | MOUNT | NO MODIFIER | TYPE | FLUORESCENT, CLAMP-ON, CROSS ARM | OVERALL SIZE | 3 LG FTX12 WDX8 HT IN | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NEC/CEC | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267799 | 1267799 | MOUNT;CROU,LMB-WP40-PC,VRTCL,MULT,BLT ON | MOUNT;MNFR:CROUSEHINDS COMPANY,PTNO:LMB-WP40-PC,ADDITIONAL FEATURES EN:VERTICAL,MULTI,BLT ON | 01)CNW (MOUNT ISA) ELECT WHO,01)CROLMB-WP40-PC,MOUNT,01)VERTICAL,MULTI,BLT ON | LMB-WP40-PC | 3000260 | CROUSEHINDS COMPANY | CROUSEHINDS COMPANY | LMB-WP40-PC | [5 empty] | https://colonialelectricsupply.com/assets/images/2022/aug/pdfs/Cable_Wire-Management.pdf | https://www.eaton.com/us/en-us/skuPage.LMB-WP40.html | [8 empty] | CNW, ISA, ELECT WHO | ENRICHED |  | MOUNT | NO MODIFIER | TYPE | MULTIPURPOSE, BOLT-ON, VERTICAL | OVERALL SIZE | 8 LGX14 WDX3 HT IN | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NEC/CEC | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213191 | 1213191 | MOUNT;DRVT,IFI12213,LNK,LH | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12213,ADDITIONAL FEATURES EN:LINK,LH | 01)DRIVETRAIN AUSTRALIA,01)IFI12213,MOUNT,01)LINK,LH | IFI12213 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12213 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | LINK, LEFT HAND | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LINK,LH | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213192 | 1213192 | MOUNT;DRVT,IFI12214,LNK,RH | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12214,ADDITIONAL FEATURES EN:LINK,RH | 01)DRIVETRAIN AUSTRALIA,01)IFI12214,MOUNT,01)LINK,RH | IFI12214 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12214 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | LINK, RIGHT HAND | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LINK,RH | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213201 | 1213201 | MOUNT;DRVT,IFI12975,ENGN,LHF | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12975,ADDITIONAL FEATURES EN:ENGINE,LHF | 01)DRIVETRAIN AUSTRALIA,01)IFI12975,MOUNT,01)ENGINE,LHF | IFI12975 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12975 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | ENGINE, LHF | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ENGINE,LHF | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213202 | 1213202 | MOUNT;DRVT,IFI12976,ENGN,RHF | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12976,ADDITIONAL FEATURES EN:ENGINE,RHF | 01)DRIVETRAIN AUSTRALIA,01)IFI12976,MOUNT,01)ENGINE,RHF | IFI12976 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12976 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | ENGINE, RHF | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ENGINE,RHF | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213203 | 1213203 | MOUNT;DRVT,IFI12978,XMSN,LH | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12978,ADDITIONAL FEATURES EN:TRANSMISSION,LH | 01)DRIVETRAIN AUSTRALIA,01)IFI12978,MOUNT,01)TRANSMISSION,LH | IFI12978 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12978 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | TRANSMISSION, LEFT HAND | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRANSMISSION,LH | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213204 | 1213204 | MOUNT;DRVT,IFI12979,XMSN,RH | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12979,ADDITIONAL FEATURES EN:TRANSMISSION,RH | 01)DRIVETRAIN AUSTRALIA,01)IFI12979,MOUNT,01)TRANSMISSION,RH | IFI12979 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12979 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | TRANSMISSION, RIGHT HAND | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRANSMISSION,RH | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213205 | 1213205 | MOUNT;DRVT,IFI12993,ENGN,LHR | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12993,ADDITIONAL FEATURES EN:ENGINE,LHR | 01)DRIVETRAIN AUSTRALIA,01)IFI12993,MOUNT,01)ENGINE,LHR | IFI12993 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12993 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | ENGINE, LHR | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ENGINE,LHR | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213206 | 1213206 | MOUNT;DRVT,IFI12994,ENGN,RHR | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI12994,ADDITIONAL FEATURES EN:ENGINE,RHR | 01)DRIVETRAIN AUSTRALIA,01)IFI12994,MOUNT,01)ENGINE,RHR | IFI12994 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI12994 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | ENGINE, RHR | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ENGINE,RHR | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213220 | 1213220 | MOUNT;DRVT,IFI16080,RDTR,LH | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI16080,ADDITIONAL FEATURES EN:RADIATOR,LH | 01)DRIVETRAIN AUSTRALIA,01)IFI16080,MOUNT,01)RADIATOR,LH | IFI16080 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16080 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | RADIATOR, LEFT HAND | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RADIATOR,LH | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213221 | 1213221 | MOUNT;DRVT,IFI16081,RDTR,RH | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI16081,ADDITIONAL FEATURES EN:RADIATOR,RH | 01)DRIVETRAIN AUSTRALIA,01)IFI16081,MOUNT,01)RADIATOR,RH | IFI16081 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16081 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | RADIATOR, RIGHT HAND | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RADIATOR,RH | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213224 | 1213224 | MOUNT;DRVT,IFI16112,INTK | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI16112,ADDITIONAL FEATURES EN:INTAKE | 01)DRIVETRAIN AUSTRALIA,01)IFI16112,MOUNT,01)INTAKE | IFI16112 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16112 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE | INTAKE | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INTAKE | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213356 | 1213356 | MOUNT;DRVT,IFI27544,RUBR | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI27544,ADDITIONAL FEATURES EN:RUBBER | 01)DRIVETRAIN AUSTRALIA,01)IFI27544,MOUNT,01)RUBBER | IFI27544 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27544 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL | RUBBER | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RUBBER | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213357 | 1213357 | MOUNT;DRVT,IFI27545,RUBR | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI27545,ADDITIONAL FEATURES EN:RUBBER | 01)DRIVETRAIN AUSTRALIA,01)IFI27545,MOUNT,01)RUBBER | IFI27545 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27545 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL | RUBBER | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RUBBER | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213381 | 1213381 | MOUNT;DRVT,IFI29360 | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI29360 |  | IFI29360 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI29360 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213478 | 1213478 | MOUNT;DRVT,IFI32867 | MOUNT;MNFR:DRIVETRAIN,PTNO:IFI32867 |  | IFI32867 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32867 | [5 empty] | URL NOT FOUND | [12 empty] | MOUNT | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268921 | 1268921 | MOUNT;MAN,214A2-12001,RUBR | MOUNT;MNFR:MANITOU,PTNO:214A2-12001,ADDITIONAL FEATURES EN:RUBBER | 01)JUNGHEINRICH AUSTRALIA PT,01)214A2-12001,MOUNT,01)RUBBER | 214A2-12001 | 3000007 | MANITOU | MANITOU | 214A2-12001 | [5 empty] | https://www.motofork.com/products/214a2-12001-tcm-forklift-mount-rubber | [10 empty] | CLEANSED |  | MOUNT | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL | RUBBER | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268931 | 1268931 | MOUNT;MAN,239A2-12021,RUBR | MOUNT;MNFR:MANITOU,PTNO:239A2-12021,ADDITIONAL FEATURES EN:RUBBER | 01)JUNGHEINRICH AUSTRALIA PT,01)239A2-12021,MOUNT,01)RUBBER | 239A2-12021 | 3000007 | MANITOU | MANITOU | 239A2-12021 | [5 empty] | https://www.liftpartswarehouse.com/product-p/tc239a2-12021.htm | [10 empty] | ENRICHED |  | MOUNT | NO MODIFIER | TYPE | RADIATOR | OVERALL SIZE |  | MATERIAL | RUBBER | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1269485 | 1269485 | MOUNT;THGM,24649,CUTTER 800/1000 TANK G2 | MOUNT;MNFR:THERMO GAMMA-METRICS,PTNO:24649,ADDITIONAL FEATURES EN:CUTTER 800/1000 TANK G2 | 01)THERMO GAMMA-METRICS PTY,01)24649,MOUNT,01)CUTTER 800/1000 TANK G2 | 24649 | 3000468 | THERMO GAMMA-METRICS | THERMO GAMMA-METRICS | 24649 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | MOUNT | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CUTTER 800/1000 TANK G2 | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213096 | 1213096 | TRANSMITTER;DRVT,IFI01211 | TRANSMITTER;MNFR:DRIVETRAIN,PTNO:IFI01211 | 01)DRIVETRAIN AUSTRALIA,01)IFI01211,TRANSMITTER | IFI01211 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01211 | [5 empty] | URL NOT FOUND | [12 empty] | TRANSMITTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267095 | 1267095 | TRANSMITTER;YOKG,EJX110A-JFS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JFS4G-924EJ/SU21/K2 | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JFS4G-924EJ/SU21/K2,TRANSMITTER | EJX110A-JFS4G-924EJ/SU21/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JFS4G-924EJ/SU21/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.1 TO 5 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X, IECEx CSA 07.0008 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268088 | 1268088 | TRANSMITTER;YOKG,EJX110A-JFS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JFS4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:DIFFERENTIAL PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JFS4G-924EJ/SU22/K2,TRANSMITTER,01)DIFFERENTIAL PRESSURE | EJX110A-JFS4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JFS4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.1 TO 5 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267096 | 1267096 | TRANSMITTER;YOKG,EJX110A-JHS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JHS4G-924EJ/SU21/K2 | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JHS4G-924EJ/SU21/K2,TRANSMITTER | EJX110A-JHS4G-924EJ/SU21/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JHS4G-924EJ/SU21/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 2.5 TO 500 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X, IECEx CSA 07.0008 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268089 | 1268089 | TRANSMITTER;YOKG,EJX110A-JHS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JHS4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:DIFFERENTIAL PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JHS4G-924EJ/SU22/K2,TRANSMITTER,01)DIFFERENTIAL PRESSURE | EJX110A-JHS4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JHS4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 2.5 TO 500 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268090 | 1268090 | TRANSMITTER;YOKG,EJX110A-JLH4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JLH4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:DIFFERENTIAL PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JLH4G-924EJ/SU22/K2,TRANSMITTER,01)DIFFERENTIAL PRESSURE | EJX110A-JLH4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JLH4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.1 TO 10 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267097 | 1267097 | TRANSMITTER;YOKG,EJX110A-JMS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JMS4G-924EJ/SU21/K2 | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JMS4G-924EJ/SU21/K2,TRANSMITTER | EJX110A-JMS4G-924EJ/SU21/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JMS4G-924EJ/SU21/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.5 TO 100 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X, IECEx CSA 07.0008 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268091 | 1268091 | TRANSMITTER;YOKG,EJX110A-JMS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JMS4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:DIFFERENTIAL PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JMS4G-924EJ/SU22/K2,TRANSMITTER,01)DIFFERENTIAL PRESSURE | EJX110A-JMS4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JMS4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.5 TO 100 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267098 | 1267098 | TRANSMITTER;YOKG,EJX110A-JVS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JVS4G-924EJ/SU21/K2 | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JVS4G-924EJ/SU21/K2,TRANSMITTER | EJX110A-JVS4G-924EJ/SU21/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JVS4G-924EJ/SU21/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.07 TO 14 MPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X, IECEx CSA 07.0008 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268092 | 1268092 | TRANSMITTER;YOKG,EJX110A-JVS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX110A-JVS4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:DIFFERENTIAL PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JVS4G-924EJ/SU22/K2,TRANSMITTER,01)DIFFERENTIAL PRESSURE | EJX110A-JVS4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JVS4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.07 TO 14 MPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | STAINLESSS STEEL | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268093 | 1268093 | TRANSMITTER;YOKG,EJX430A-JAS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX430A-JAS4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:GAUGE PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX430A-JAS4G-924EJ/SU22/K2,TRANSMITTER,01)GAUGE PRESSURE | EJX430A-JAS4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX430A-JAS4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25E01-01EN.pdf | [12 empty] | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE | 0.0175 to 3.5 Mpa | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | COMMUNICATION PROTOCOL | HART 5/HART 7 | HOUSING MATERIAL | STAINLESS STEEL | ENCLOSURE | IP66/IP67, NEMA 4X | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1267099 | 1267099 | TRANSMITTER;YOKG,EJX430A-JBS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX430A-JBS4G-924EJ/SU21/K2 | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX430A-JBS4G-924EJ/SU21/K2,TRANSMITTER | EJX430A-JBS4G-924EJ/SU21/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX430A-JBS4G-924EJ/SU21/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25E01-01EN.pdf | [12 empty] | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE | 0.08 to 16 Mpa | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | COMMUNICATION PROTOCOL | HART 5/HART 7 | HOUSING MATERIAL | STAINLESS STEEL | ENCLOSURE | IP66/IP67, NEMA 4X | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X, IECEx CSA 07.0008 | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268094 | 1268094 | TRANSMITTER;YOKG,EJX430A-JBS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX430A-JBS4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:GAUGE PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX430A-JBS4G-924EJ/SU22/K2,TRANSMITTER,01)GAUGE PRESSURE | EJX430A-JBS4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX430A-JBS4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25E01-01EN.pdf | [12 empty] | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE | 0.08 to 16 Mpa | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | COMMUNICATION PROTOCOL | HART 5/HART 7 | HOUSING MATERIAL | STAINLESS STEEL | ENCLOSURE | IP66/IP67, NEMA 4X | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1268095 | 1268095 | TRANSMITTER;YOKG,EJX430A-JHS4G-924EJ/SU2 | TRANSMITTER;MNFR:YOKOGAWA,PTNO:EJX430A-JHS4G-924EJ/SU22/K2,ADDITIONAL FEATURES EN:GAUGE PRESSURE | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX430A-JHS4G-924EJ/SU22/K2,TRANSMITTER,01)GAUGE PRESSURE | EJX430A-JHS4G-924EJ/SU22/K2 | 3000446 | YOKOGAWA | YOKOGAWA | EJX430A-JHS4G-924EJ/SU22/K2 | [5 empty] | https://web-material3.yokogawa.com/GS01C25E01-01EN.pdf | [12 empty] | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE | 2.5 to 500 kPa | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | COMMUNICATION PROTOCOL | HART 5/HART 7 | HOUSING MATERIAL | STAINLESS STEEL | ENCLOSURE | IP66/IP67, NEMA 4X | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1218801 | 1218801 | XMITTER,FLW;YOKG,AXG050 | XMITTER,FLW;MNFR:YOKOGAWA,PTNO:AXG050 |  | AXG050 | 3000446 | YOKOGAWA | YOKOGAWA | AXG050 | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 50 MM/2 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1218925 | 1218925 | XMITTER,FLW;YOKG,AXG080 | XMITTER,FLW;MNFR:YOKOGAWA,PTNO:AXG080 |  | AXG080 | 3000446 | YOKOGAWA | YOKOGAWA | AXG080 | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 80 MM/3 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1218924 | 1218924 | XMITTER,FLW;YOKG,AXG100 | XMITTER,FLW;MNFR:YOKOGAWA,PTNO:AXG100 |  | AXG100 | 3000446 | YOKOGAWA | YOKOGAWA | AXG100 | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 100 MM/4 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1218922 | 1218922 | XMITTER,FLW;YOKG,AXG150 | XMITTER,FLW;MNFR:YOKOGAWA,PTNO:AXG150 |  | AXG150 | 3000446 | YOKOGAWA | YOKOGAWA | AXG150 | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 150 MM/6 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1218923 | 1218923 | XMITTER,FLW;YOKG,AXG200 | XMITTER,FLW;MNFR:YOKOGAWA,PTNO:AXG200 |  | AXG200 | 3000446 | YOKOGAWA | YOKOGAWA | AXG200 | [5 empty] | https://www.insatech.com/media/yazbbui4/gs_e_yokogawa-axg-specifikationer_gs01e22a01-01en.pdf | [12 empty] | METER | FLOW | TYPE | MAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1, EN61010-2-030, CAN/CSA-C22.2 | ADDITIONAL FEATURES | SIZE: 200 MM/8 IN | [43 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213098 | 1213098 | XMITTER,LVL;DRVT,IFI01213,FUEL | TRANSMITTER,LEVEL;MNFR:DRIVETRAIN,PTNO:IFI01213,ADDITIONAL FEATURES EN:FUEL | 01)DRIVETRAIN AUSTRALIA,01)IFI01213,TRANSMITTER,LEVEL,01)FUEL | IFI01213 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI01213 | [5 empty] | URL NOT FOUND | [12 empty] | TRANSMITTER | LEVEL | TYPE | FUEL | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | MATERIAL |  | TEMPERATURE RATING |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1213481 | 1213481 | XMITTER,LVL;DRVT,IFI33013,FUEL | TRANSMITTER,LEVEL;MNFR:DRIVETRAIN,PTNO:IFI33013,ADDITIONAL FEATURES EN:FUEL |  | IFI33013 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33013 | [5 empty] | URL NOT FOUND | [12 empty] | TRANSMITTER | LEVEL | TYPE | FUEL | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | MATERIAL |  | TEMPERATURE RATING |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270615 | 1270615 | XMTR,DIF PRES;YOKG,EJX110A-JFS4G-914EB/S | TRANSMITTER,DIFFERENTIAL PRESSURE;MNFR:YOKOGAWA,PTNO:EJX110A-JFS4G-914EB/SU21/X2/M11,ADDITIONAL FEATURES EN:PRESSURE,0.1 TO 5 KPA,1 TO 50 MBAR | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JFS4G-914EB/SU21/X2,TRANSMITTER,DIFFERENTIAL PRESS,01)PRESSURE,0.1 TO 5 KPA,1 TO | EJX110A-JFS4G-914EB/SU21/X2/M11 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JFS4G-914EB/SU21/X2/M11 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.1 TO 5 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | CAST ALUMINUM ALLOY | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X, IECEx CSA 07.0008 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1270616 | 1270616 | XMTR,DIF PRES;YOKG,EJX110A-JMS4G-914EB/S | TRANSMITTER,DIFFERENTIAL PRESSURE;MNFR:YOKOGAWA,PTNO:EJX110A-JMS4G-914EB/SU21/X2/M11,ADDITIONAL FEATURES EN:PRESSURE,0.5 TO 100 KPA, 5 TO 1000 MBAR | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJX110A-JMS4G-914EB/SU21/X2,TRANSMITTER,DIFFERENTIAL PRESS,01)PRESSURE,0.5 TO 100 KPA,5 T | EJX110A-JMS4G-914EB/SU21/X2/M11 | 3000446 | YOKOGAWA | YOKOGAWA | EJX110A-JMS4G-914EB/SU21/X2/M11 | [5 empty] | https://web-material3.yokogawa.com/GS01C25B01-01EN.pdf | [12 empty] | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | 0.5 TO 100 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2 IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | CAST ALUMINUM ALLOY | ENCLOSURE | IP66/67, NEMA 4X | SIZE |  | CERTIFICATION/STANDARD | IECEx DEK 11.0081X, IECEx DEK 13.0061X, IECEx CSA 07.0008 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | OK | 2023-06-27 | 2023-06-28 |  | 1254105 | 1254105 | ZZ - REPLACED BY 1465889 | MOUNT;MNFR:WEIR,PTNO:D260BE02 |  | D260BE02 | 3000036 | WEIR | WEIR | D260BE02 |  |  | 1465889 |  |  | URL NOT FOUND | [10 empty] | CLEANSED |  | MOUNT | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL |  | NUMBER OF HOLES/SLOTS |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed