## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1322969 | 1322969 | CONTROLLER;SIE,23V4 E532-372/8190-31S104 | CONTROLLER;MNFR:SIEMENS,PTNO:23V4 E532-372/8190-31S104 | CONTROLLER | 23V4 E532-372/8190-31S104 | 3000032 | SIEMENS | SIEMENS | 23V4 E532-372/8190-31S104 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1257556 | 1257556 | CONTROLLER;SIE,E532-372/8190-31S108 | CONTROLLER;MNFR:SIEMENS,PTNO:E532-372/8190-31S108 | CONTROLLER | E532-372/8190-31S108 | 3000032 | SIEMENS | SIEMENS | E532-372/8190-31S108 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1220135 | 1220135 | MOUNT;AB,A-B856TB24P10C,PRE-ASSMBLED 24V | MOUNT;MNFR:ALLEN BRADLEY,PTNO:A-B856TB24P10C,ADDITIONAL FEATURES EN:PRE-ASSMBLED 24V AC/DC | 01)CNW (MOUNT ISA) ELECT WHO,01)A-B856TB24P10C,MOUNT,01)PRE-ASSMBLED 24V AC/DC | A-B856TB24P10C | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 856T-B24P10C | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.856T-B24P10C.html | [9 empty] | CNW, ISA, ELECT WHO | ENRICHED |  | BASE | MOUNTING | TYPE | STACK LIGHT | SIZE | 70 MM | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VOLTAGE: 24 VAC/DC, PREASSEMBLED | [57 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1335485 | 1335485 | MOUNT;ABB,3ADT786226R0001 | MOUNT;MNFR:ABB,PTNO:3ADT786226R0001 | MOUNT | 3ADT786226R0001 | 3000014 | ABB | ABB | 3ADT786226R0001 | [5 empty] | https://new.abb.com/products/3ADT786226R0001/3adt786226r0001 | [10 empty] | ENRICHED |  | KIT | NO MODIFIER | TYPE | DOOR MOUNTING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1330709 | 1330709 | MOUNT;ABB,ACS880-01-0169A-3 | MOUNT;MNFR:ABB,PTNO:ACS880-01-0169A-3 | MOUNT | ACS880-01-0169A-3 | 3000014 | ABB | ABB | ACS880-01-0169A-3 | [5 empty] | https://asb-drives.eu/equipment/freq/abb/acs880/10485/ | https://new.abb.com/products/3AUA0000108027/acs880-01-169a-3 | [9 empty] | ENRICHED |  | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 90 KW | INPUT VOLTAGE | 380 TO 415 V | NUMBER OF PHASE | 3 PH | OUTPUT CURRENT RATING | 169 A | OUTPUT FREQUENCY RATING | 0 TO 500 HZ | DEGREE OF PROTECTION | IP21 | TERMINAL TYPE |  | MOUNTING TYPE | WALL | SIZE | 284 WDX880 HTX365 DP MM | TEMPERATURE RATING | -15 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1331159 | 1331159 | MOUNT;SIE,6ED1052-1HB08-OBAO | MOUNT;MNFR:SIEMENS,PTNO:6ED1052-1HB08-OBAO | MOUNT | 6ED1052-1HB08-OBAO | 3000032 | SIEMENS | SIEMENS | 6ED1052-1HB08-0BA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ED1052-1HB08-0BA0 | [10 empty] | ENRICHED |  | MODULE | CONTROL | TYPE | LOGIC | VOLTAGE RATING | 24VAC/DC | CURRENT RATING |  | OUTPUT TYPE | 24 V RELAY | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | NUMBER OF PROCESSOR |  | NUMBER OF CHANNELS | 8 DIGITAL INPUT/4 DIGITAL OUTPUT | MOUNTING TYPE |  | ENCLOSURE TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1331163 | 1331163 | MOUNT;SIE,6ED1055-1HB00-OBA2 | MOUNT;MNFR:SIEMENS,PTNO:6ED1055-1HB00-OBA2 | MOUNT | 6ED1055-1HB00-OBA2 | 3000032 | SIEMENS | SIEMENS | 6ED1055-1HB00-OBA2 | [5 empty] | https://docs.rs-online.com/447c/0900766b8131f2b0.pdf | [10 empty] | ENRICHED |  | MODULE | ELECTRONIC | TYPE | EXPANSION | INPUT RATING | 12 VAC/DC,5.5 MA/5 VAC/DC, 1.1 MA | OUTPUT RATING | 5 A | CONNECTION TYPE |  | SIZE | 35.5 WDX90 HT MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA, FM, UL | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1331161 | 1331161 | MOUNT;SIE,6ED1058-OBA08-OYA1 | MOUNT;MNFR:SIEMENS,PTNO:6ED1058-OBA08-OYA1 | MOUNT | 6ED1058-OBA08-OYA1 | 3000032 | SIEMENS | SIEMENS | 6ED1058-OBA08-OYA1 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ED1058-0BA08-0YA1 | [10 empty] | ENRICHED |  | SOFTWARE | NO MODIFIER | TYPE |  | SOFTWARE TITLE | LOGO! SOFT Comfort | VERSION | V8 | LICENSE TYPE | SINGLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333322 | 1333322 | PIPE,MTLC;DIEC,BLT2058 | PIPE,METALLIC;MNFR:DIECI,PTNO:BLT2058,ADDITIONAL FEATURES EN:COATING/FINISH:BONDERIZED | PIPE,METALLIC,01)COATING/FINISH:BONDERIZED | BLT2058 | 3000511 | DIECI | DIECI | BLT2058 | [5 empty] | https://www.lbr.ru/zapchasti/trubka-gidravliceskaa-blt2058 | [10 empty] | CLEANSED |  | TUBE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COATING/FINISH:BONDERIZED | [55 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333320 | 1333320 | PIPE,MTLC;DIEC,BLT2333 | PIPE,METALLIC;MNFR:DIECI,PTNO:BLT2333,ADDITIONAL FEATURES EN:COATING/FINISH:BONDERIZED | PIPE,METALLIC,01)COATING/FINISH:BONDERIZED | BLT2333 | 3000511 | DIECI | DIECI | BLT2333 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | METALLIC | TYPE |  | NOMINAL SIZE |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | BONDERIZED | MANUFACTURING PROCESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333319 | 1333319 | PIPE,MTLC;DIEC,BLT3193 | PIPE,METALLIC;MNFR:DIECI,PTNO:BLT3193,ADDITIONAL FEATURES EN:COATING/FINISH:BONDERIZED | PIPE,METALLIC,01)COATING/FINISH:BONDERIZED | BLT3193 | 3000511 | DIECI | DIECI | BLT3193 | [5 empty] | https://www.lbr.ru/zapchasti/rukav-gidravliceskij-blt3193 | [10 empty] | CLEANSED |  | HOSE | HYDRAULIC | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | PRESSURE RATING |  | MATERIAL |  | REINFORCEMENT MATERIAL |  | TEMPERATURE RATING |  | BEND RADIUS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COATING/FINISH:BONDERIZED | [47 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1332955 | 1332955 | PIPE,MTLC;DIEC,BLT3333 | PIPE,METALLIC;MNFR:DIECI,PTNO:BLT3333,ADDITIONAL FEATURES EN:COATING/FINISH:BONDERIZED | PIPE,METALLIC,01)COATING/FINISH:BONDERIZED | BLT3333 | 3000511 | DIECI | DIECI | BLT3333 | [5 empty] | https://www.wbparts.com/commercial-rfq/BLT3333.html | [10 empty] | CLEANSED |  | BOLT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | COATING/FINISH:BONDERIZED | [58 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333521 | 1333521 | PIPE,MTLC;DIEC,PAA0505 | PIPE,METALLIC;MNFR:DIECI,PTNO:PAA0505,ADDITIONAL FEATURES EN:MATERIAL:ALUMINUM | PIPE,METALLIC,01)MATERIAL:ALUMINUM | PAA0505 | 3000511 | DIECI | DIECI | PAA0505 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | METALLIC | TYPE |  | NOMINAL SIZE |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | ALUMINUM | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333379 | 1333379 | PIPE;DIEC,3E.31364 | PIPE;MNFR:DIECI,PTNO:3E.31364,ADDITIONAL FEATURES EN:WINDOW WASHER | PIPE,01)WINDOW WASHER | 3E.31364 | 3000511 | DIECI | DIECI | 3E.31364 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | WINDOW WASHER | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1252888 | 1252888 | PIPE;DIEC,3E.31364-3 | PIPE;MNFR:DIECI,PTNO:3E.31364-3,ADDITIONAL FEATURES EN:WINDOW WASHER | PIPE,01)WINDOW WASHER | 3E.31364-3 | 3000511 | DIECI | DIECI | 3E.31364-3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | WINDOW WASHER | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333531 | 1333531 | PIPE;DIEC,BEQ0127 | PIPE;MNFR:DIECI,PTNO:BEQ0127,ADDITIONAL FEATURES EN:WINDOW WASHER | PIPE,01)WINDOW WASHER | BEQ0127 | 3000511 | DIECI | DIECI | BEQ0127 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | WINDOW WASHER | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333590 | 1333590 | PIPE;DIEC,BEQ0127/2 | PIPE;MNFR:DIECI,PTNO:BEQ0127/2,ADDITIONAL FEATURES EN:WINDOW WASHER | PIPE,01)WINDOW WASHER | BEQ0127/2 | 3000511 | DIECI | DIECI | BEQ0127/2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | WINDOW WASHER | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333407 | 1333407 | PIPE;DIEC,BEQ0127/5 | PIPE;MNFR:DIECI,PTNO:BEQ0127/5,ADDITIONAL FEATURES EN:WINDOW WASHER | PIPE,01)WINDOW WASHER | BEQ0127/5 | 3000511 | DIECI | DIECI | BEQ0127/5 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | WINDOW WASHER | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1333597 | 1333597 | PIPE;DIEC,BWM1370 | PIPE;MNFR:DIECI,PTNO:BWM1370,ADDITIONAL FEATURES EN:EXHAUST | PIPE,01)EXHAUST | BWM1370 | 3000511 | DIECI | DIECI | BWM1370 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | EXHAUST | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213123 | 1213123 | PIPE;DRVT,IFI02642 | PIPE;MNFR:DRIVETRAIN,PTNO:IFI02642 | 01)DRIVETRAIN AUSTRALIA,01)IFI02642,PIPE | IFI02642 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02642 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213207 | 1213207 | PIPE;DRVT,IFI13012,EXHST | PIPE;MNFR:DRIVETRAIN,PTNO:IFI13012,ADDITIONAL FEATURES EN:EXHAUST | 01)DRIVETRAIN AUSTRALIA,01)IFI13012,PIPE,01)EXHAUST | IFI13012 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI13012 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | EXHAUST | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213218 | 1213218 | PIPE;DRVT,IFI16068,INLT,CAC | PIPE;MNFR:DRIVETRAIN,PTNO:IFI16068,ADDITIONAL FEATURES EN:INLET,CAC | 01)DRIVETRAIN AUSTRALIA,01)IFI16068,PIPE,01)INLET,CAC | IFI16068 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16068 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | INLET,CAC | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213219 | 1213219 | PIPE;DRVT,IFI16069,OUT,CAC | PIPE;MNFR:DRIVETRAIN,PTNO:IFI16069,ADDITIONAL FEATURES EN:OUTLET,CAC | 01)DRIVETRAIN AUSTRALIA,01)IFI16069,PIPE,01)OUTLET,CAC | IFI16069 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16069 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | OUTLET,CAC | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213225 | 1213225 | PIPE;DRVT,IFI16115,INTK | PIPE;MNFR:DRIVETRAIN,PTNO:IFI16115,ADDITIONAL FEATURES EN:INTAKE | 01)DRIVETRAIN AUSTRALIA,01)IFI16115,PIPE,01)INTAKE | IFI16115 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16115 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | INTAKE | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213226 | 1213226 | PIPE;DRVT,IFI16116,INTK | PIPE;MNFR:DRIVETRAIN,PTNO:IFI16116,ADDITIONAL FEATURES EN:INTAKE | 01)DRIVETRAIN AUSTRALIA,01)IFI16116,PIPE,01)INTAKE | IFI16116 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16116 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | INTAKE | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213227 | 1213227 | PIPE;DRVT,IFI16356,INLT,TEE | PIPE;MNFR:DRIVETRAIN,PTNO:IFI16356,ADDITIONAL FEATURES EN:INLET,TEE | 01)DRIVETRAIN AUSTRALIA,01)IFI16356,PIPE,01)INLET,TEE | IFI16356 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16356 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | INLET,TEE | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213228 | 1213228 | PIPE;DRVT,IFI16357,OUT,TEE | PIPE;MNFR:DRIVETRAIN,PTNO:IFI16357,ADDITIONAL FEATURES EN:OUTLET,TEE | 01)DRIVETRAIN AUSTRALIA,01)IFI16357,PIPE,01)OUTLET,TEE | IFI16357 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI16357 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | OUTLET,TEE | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213268 | 1213268 | PIPE;DRVT,IFI24133,ELB | PIPE;MNFR:DRIVETRAIN,PTNO:IFI24133,ADDITIONAL FEATURES EN:ELBOW | 01)DRIVETRAIN AUSTRALIA,01)IFI24133,PIPE,01)ELBOW | IFI24133 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24133 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | ELBOW | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213274 | 1213274 | PIPE;DRVT,IFI24534,OUT | PIPE;MNFR:DRIVETRAIN,PTNO:IFI24534,ADDITIONAL FEATURES EN:OUTLET | 01)DRIVETRAIN AUSTRALIA,01)IFI24534,PIPE,01)OUTLET | IFI24534 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24534 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | OUTLET | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1213486 | 1213486 | PIPE;DRVT,IFI33167,EXHST | PIPE;MNFR:DRIVETRAIN,PTNO:IFI33167,ADDITIONAL FEATURES EN:EXHAUST |  | IFI33167 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33167 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PIPE | NO MODIFIER | TYPE | EXHAUST | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1335480 | 1335480 | TRANSFORMER;ABB,3ADT745047P0001 | TRANSFORMER;MNFR:ABB,PTNO:3ADT745047P0001 | TRANSFORMER | 3ADT745047P0001 | 3000014 | ABB | ABB | 3ADT745047P0001 | [5 empty] | https://files.valinonline.com/userfiles/documents/abb-dcs800-service-manual.pdf | https://new.abb.com/products/3ADT745047P0001/3adt745047p0001 | [9 empty] | ENRICHED |  | TRANSFORMER | NO MODIFIER | TYPE | HIGH VOLTAGE | VOLTAGE RATING | 500 TO 1200 VAC | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1258197 | 1258197 | TRANSFORMER;ABB,3ADT745050P0001 | TRANSFORMER;MNFR:ABB,PTNO:3ADT745050P0001 | TRANSFORMER | 3ADT745050P0001 | 3000014 | ABB | ABB | 3ADT745050P0001 | [5 empty] | https://new.abb.com/products/3ADT745050P0001/3adt745050p0001 | https://www.electricautomationnetwork.com/en/abb/t2-ei-150-3adt745050p0001-abb-auxiliary-transformer-t2-ei-150-for-electronic-supply-input-380690v-ac- | [9 empty] | ENRICHED |  | TRANSFORMER | NO MODIFIER | TYPE | AUXILIARY | VOLTAGE RATING | 380 TO 690 VAC INPUT/115 TO 230 V OUTPUT | NUMBER OF PHASE | 1 PH | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1323983 | 1323983 | TRANSFORMER;ABB,3BHB010944R0001 | TRANSFORMER;MNFR:ABB,PTNO:3BHB010944R0001 | TRANSFORMER | 3BHB010944R0001 | 3000014 | ABB | ABB | 3BHB010944R0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2651089.html | https://euroinverters.com.ua/3bhb010944r0001-dt2500va-transformator-vlasnih-potreb.html | [9 empty] | ENRICHED |  | TRANSFORMER | NO MODIFIER | TYPE | AUXILIARY | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1323982 | 1323982 | TRANSFORMER;ABB,3BHB015646R0001 | TRANSFORMER;MNFR:ABB,PTNO:3BHB015646R0001 | TRANSFORMER | 3BHB015646R0001 | 3000014 | ABB | ABB | 3BHB015646R0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/157208/2651255.html | [10 empty] | ENRICHED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 110 TO 500 V | NUMBER OF PHASE | 1 PH | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1323979 | 1323979 | TRANSFORMER;ABB,3BHL000986P2102 | TRANSFORMER;MNFR:ABB,PTNO:3BHL000986P2102 | TRANSFORMER | 3BHL000986P2102 | 3000014 | ABB | ABB | 3BHL000986P2102 | [5 empty] | https://www.techenergo.net/3bhl000986p2102.html | [10 empty] | ENRICHED |  | TRANSFORMER | NO MODIFIER | TYPE | CHARGING | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1323978 | 1323978 | TRANSFORMER;ABB,3BHL001049P0002 | TRANSFORMER;MNFR:ABB,PTNO:3BHL001049P0002 | TRANSFORMER | 3BHL001049P0002 | 3000014 | ABB | ABB | 3BHL001049P0002 | [5 empty] | http://new.sdzbcg.com/info_show.asp?id=845676 | https://www.zauba.com/import-9-3-transformer/hs-code-85043100-hs-code.html | [9 empty] | ENRICHED |  | TRANSFORMER | NO MODIFIER | TYPE | SYNCHRON | VOLTAGE RATING | 110/9 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1258182 | 1258182 | TRANSFORMER;ABB,3BSE004939R1012 | TRANSFORMER;MNFR:ABB,PTNO:3BSE004939R1012 | TRANSFORMER | 3BSE004939R1012 | 3000014 | ABB | ABB | 3BSE004939R1012 | [5 empty] | https://new.abb.com/products/3BSE004939R1012/3bse004939r1012 | [10 empty] | ENRICHED |  | BOARD | PRINTED CIRCUIT | TYPE | PULSE TRANSFORMER | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1258164 | 1258164 | TRANSFORMER;ABB,433-7-4430/433-7-4431 | TRANSFORMER;MNFR:ABB,PTNO:433-7-4430/433-7-4431 | TRANSFORMER | 433-7-4430/433-7-4431 | 3000014 | ABB | ABB | 433-7-4430 |  | ABB | 433-7-4431 |  |  | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1258196 | 1258196 | TRANSFORMER;ABB,DCA0013216P0001 | TRANSFORMER;MNFR:ABB,PTNO:DCA0013216P0001 | TRANSFORMER | DCA0013216P0001 | 3000014 | ABB | ABB | DCA0013216P0001 | [5 empty] | https://www.quad-industry.com/catalog/abbcatalog/102014/849084.html | [10 empty] | ENRICHED |  | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING |  | CURRENT RATING | 20 TO 1200 A DC | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1326234 | 1326234 | TRANSFORMER;ABB,SHPC42 | TRANSFORMER;MNFR:ABB,PTNO:SHPC42 | TRANSFORMER | SHPC42 | 3000014 | ABB | ABB | SHPC42 | [5 empty] | https://new.abb.com/products/4783335-V/4783335-v | [10 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | PN RETAINED, ASK | 2023-06-27 | 2023-06-29 |  | 1214359 | 1214359 | TRANSFORMER;SIE,3-MELB-0-171/5A(DWG) | TRANSFORMER;MNFR:SIEMENS,PTNO:3-MELB-0-171/5A(DWG) | TRANSFORMER | 3-MELB-0-171/5A(DWG) | 3000032 | SIEMENS | SIEMENS | 3-MELB-0-171/5A(DWG) | [5 empty] | URL NOT FOUND |  |  | 3-MELB-0-171/5A | [7 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | PN RETAINED, ASK | 2023-06-27 | 2023-06-29 |  | 1214360 | 1214360 | TRANSFORMER;SIE,3-MELB-0-171/5A;ITEM M4 | TRANSFORMER;MNFR:SIEMENS,PTNO:3-MELB-0-171/5A;ITEM M4 (DWG) | TRANSFORMER | 3-MELB-0-171/5A;ITEM M4 (DWG) | 3000032 | SIEMENS | SIEMENS | 3-MELB-0-171/5A;ITEM M4 (DWG) | [5 empty] | URL NOT FOUND |  | M4 | 3-MELB-0-171/5A | [7 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | PN RETAINED, ASK | 2023-06-27 | 2023-06-29 |  | 1214358 | 1214358 | TRANSFORMER;SIE,3-MELB-0-171/5A;ITEM M6 | TRANSFORMER;MNFR:SIEMENS,PTNO:3-MELB-0-171/5A;ITEM M6 (DWG) | TRANSFORMER | 3-MELB-0-171/5A;ITEM M6 (DWG) | 3000032 | SIEMENS | SIEMENS | 3-MELB-0-171/5A;ITEM M6 (DWG) | [5 empty] | URL NOT FOUND |  | M6 | 3-MELB-0-171/5A | [7 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | PN RETAINED, ASK | 2023-06-27 | 2023-06-29 |  | 1214361 | 1214361 | TRANSFORMER;SIE,3-MELB-0-195/6C;ITEM M4 | TRANSFORMER;MNFR:SIEMENS,PTNO:3-MELB-0-195/6C;ITEM M4 (DWG) | TRANSFORMER | 3-MELB-0-195/6C;ITEM M4 (DWG) | 3000032 | SIEMENS | SIEMENS | 3-MELB-0-195/6C;ITEM M4 (DWG) | [5 empty] | URL NOT FOUND |  | M4 | 3-MELB-0-195/6C | [7 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | PN RETAINED, ASK | 2023-06-27 | 2023-06-29 |  | 1258305 | 1258305 | TRANSFORMER;SIE,3-MGLB-0-195/6B;ITEM 5 ( | TRANSFORMER;MNFR:SIEMENS,PTNO:3-MGLB-0-195/6B;ITEM 5 (DWG) | TRANSFORMER | 3-MGLB-0-195/6B;ITEM 5 (DWG) | 3000032 | SIEMENS | SIEMENS | 3-MGLB-0-195/6B;ITEM 5 (DWG) | [5 empty] | URL NOT FOUND |  | 5 | 3-MGLB-0-195/6B | [7 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1265057 | 1265057 | TRANSFORMER;SIE,ERGON | TRANSFORMER;MNFR:SIEMENS,PTNO:ERGON | TRANSFORMER | ERGON | 3000032 | SIEMENS | SIEMENS |  |  | ERGON |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1220416 | 1220416 | TRANSMITTER;ABB,0404656 | TRANSMITTER;MNFR:ABB,PTNO:0404656 | TRANSMITTER | 404656 | 3000014 | ABB | ABB | 0404656 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSMITTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1323515 | 1323515 | TRANSMITTER;ABB,3200B0100S05BR00 | TRANSMITTER;MNFR:ABB,PTNO:3200B0100S05BR00 | TRANSMITTER | 3200B0100S05BR00 | 3000014 | ABB | GEMS SENSORS | 3200B0100S05BR00 |  | ABB | 3200B0100S05BR00 |  |  | https://in.rsdelivers.com/product/gems-sensors/3200b0100s05br00/gems-sensors-3200-series-pressure-sensor-0bar-min/1365078 | [10 empty] | ENRICHED |  | SENSOR | PRESSURE | TYPE | RELATIVE | MEASURING RANGE | 0 TO 100 BAR | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA ANALOG | CONNECTION TYPE | 1/4IN BSPP | POWER SUPPLY | 8 TO 30 VDC | TEMPERATURE RATING | -40 TO 125 DEG C | MATERIAL | STAINLESS STEEL | SIZE |  | ENCLOSURE | IP65/IP67 | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1330068 | 1330068 | TRANSMITTER;ABB,3BHL001090P0004 | TRANSMITTER;MNFR:ABB,PTNO:3BHL001090P0004 | TRANSMITTER | 3BHL001090P0004 | 3000014 | ABB | ABB | 3BHL001090P0004 | [5 empty] | https://new.abb.com/products/3BHL001090P0004/3bhl001090p0004 | [10 empty] | CLEANSED |  | TRANSMITTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | SERIES MATCH, SOURCED BASED ON FEP311, Processed based on Websource, Conflict w.r.t Input | 1274255 | 1274255 | TRANSMITTER;ABB,AU MP FEP311 C | TRANSMITTER;MNFR:ABB,PTNO:AU_MP_FEP311_C | TRANSMITTER | AU_MP_FEP311_C | 3000014 | ABB | ABB | AU_MP_FEP311_C | [5 empty] | https://library.e.abb.com/public/5996486236d6463ab3375fb48033fd17/DS_FEP300_EN_K.pdf | [10 empty] | ENRICHED |  | FLOWMETER | NO MODIFIER | TYPE | ELECTROMAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | FLANGE | ENCLOSURE | IP65/IP67 | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1258180 | 1258180 | TRANSMITTER;ABB,DCF1066659P0001 | TRANSMITTER;MNFR:ABB,PTNO:DCF1066659P0001 | TRANSMITTER | DCF1066659P0001 | 3000014 | ABB | ABB | DCF1066659P0001 | [5 empty] | https://files.valinonline.com/userfiles/documents/abb-dcs800-service-manual.pdf | https://new.abb.com/products/DCF1066659P0001/dcf1066659p0001 | [9 empty] | ENRICHED |  | SENSOR | FLOW | TYPE | AIR | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | POWER SUPPLY |  | ENCLOSURE |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1323048 | 1323048 | TRANSMITTER;ABB,FEH3210501S1W1Y0A1A1A1 | TRANSMITTER;MNFR:ABB,PTNO:FEH3210501S1W1Y0A1A1A1 | TRANSMITTER | FEH3210501S1W1Y0A1A1A1 | 3000014 | ABB | ABB | FEH3210501S1W1Y0A1A1A1 | [5 empty] | https://library.e.abb.com/public/7d96be1309bb4b49ae912fec929bdc1a/DS_FEH300_EN_I.pdf | [10 empty] | ENRICHED |  | FLOWMETER | NO MODIFIER | TYPE | ELECTROMAGNETIC | MEASURING RANGE | 1.2 TO 120 M3/HR | ACCURACY | 0.2 PCT | OUTPUT TYPE |  | PROCESS CONNECTION | WAFER | ENCLOSURE | IP67, NEMA 4X | POWER SUPPLY |  | TEMPERATURE RATING | -20 TO 60 DEG C | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE: 2 IN | [45 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1323169 | 1323169 | TRANSMITTER;ABB,FEM315.050.E.1 | TRANSMITTER;MNFR:ABB,PTNO:FEM315.050.E.1 | TRANSMITTER | FEM315.050.E.1 | 3000014 | ABB | ABB | FEM315.050.E.1 | [5 empty] | https://library.e.abb.com/public/c2eee638246e49519b5a9c51ee2c8a0d/DS_FEM300_B-EN_06-2013.pdf | [10 empty] | ENRICHED |  | FLOWMETER | NO MODIFIER | TYPE | ELECTROMAGNETIC | MEASURING RANGE | 1.2 TO 120 M3/HR | ACCURACY | 0.4 PCT | OUTPUT TYPE |  | PROCESS CONNECTION | WAFER | ENCLOSURE | IP65/IP67 | POWER SUPPLY |  | TEMPERATURE RATING | -20 TO 62 DEG C | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | FM | ADDITIONAL FEATURES | SIZE: 2 IN | [45 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1325228 | 1325228 | TRANSMITTER;ABB,FEM315.100.E.1 | TRANSMITTER;MNFR:ABB,PTNO:FEM315.100.E.1 | TRANSMITTER | FEM315.100.E.1 | 3000014 | ABB | ABB | FEM315.100.E.1 | [5 empty] | https://library.e.abb.com/public/c2eee638246e49519b5a9c51ee2c8a0d/DS_FEM300_B-EN_06-2013.pdf | [10 empty] | ENRICHED |  | FLOWMETER | NO MODIFIER | TYPE | ELECTROMAGNETIC | MEASURING RANGE | 4.8 TO 480 M3/HR | ACCURACY | 0.4 PCT | OUTPUT TYPE |  | PROCESS CONNECTION | WAFER | ENCLOSURE | IP65/IP67 | POWER SUPPLY |  | TEMPERATURE RATING | -20 TO 62 DEG C | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD | FM | ADDITIONAL FEATURES | SIZE: 4 IN | [45 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1325150 | 1325150 | TRANSMITTER;ABB,FEM-IW-100 | TRANSMITTER;MNFR:ABB,PTNO:FEM-IW-100 | TRANSMITTER | FEM-IW-100 | 3000014 | ABB | ABB | FEM-IW-100 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSMITTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1323456 | 1323456 | TRANSMITTER;ABB,FEP321 | TRANSMITTER;MNFR:ABB,PTNO:FEP321 | TRANSMITTER | FEP321 | 3000014 | ABB | ABB | FEP321 | [5 empty] | https://library.e.abb.com/public/5996486236d6463ab3375fb48033fd17/DS_FEP300_EN_K.pdf | [10 empty] | ENRICHED |  | FLOWMETER | NO MODIFIER | TYPE | ELECTROMAGNETIC | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | FLANGE | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | SERIES MATCH | 1273084 | 1273084 | TRANSMITTER;ENDH,PMC51,BED PRESSURE | TRANSMITTER;MNFR:ENDRESS & HAUSER,PTNO:PMC51,ADDITIONAL FEATURES EN:BED PRESSURE | 01)ENDRESS AND HAUSER AUSTRA,01)PMC51-3TL54/125,TRANSMITTER,01)BED PRESSURE | PMC51 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | PMC51-3TL54/125 | [5 empty] | https://www.amsequipment.com/wp-content/uploads/2018/04/Cerabar-M-PMC51-PMP51-PMP55.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | PRESSURE | TYPE | PROCESS | PRESSURE RANGE |  | OUTPUT RATING |  | POWER SUPPLY | 11.5 TO 45 VDC | CONNECTION TYPE |  | MOUNTING TYPE |  | ACCURACY |  | MATERIAL |  | TEMPERATURE RATING |  | ENCLOSURE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BED | [47 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1274640 | 1274640 | TRANSMITTER;EPM,3051TG2A2B21AB4Q4,INLINE | TRANSMITTER;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:3051TG2A2B21AB4Q4,ADDITIONAL FEATURES EN:INLINE PRESSURE | 01)EMERSON PROCESS MANAGEMEN,01)3051TG2A2B21AB4Q6,TRANSMITTER,01)INLINE PRESSURE | 3051TG2A2B21AB4Q4 | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 3051TG2A2B21AB4Q4 | [5 empty] | https://www.emerson.com/documents/automation/product-data-sheet-rosemount-3051-pressure-transmitter-en-73134.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | GAUGE PRESSURE | TYPE | INLINE | MEASURING RANGE | -14.7 TO 150 PSI | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA | SUPPLY VOLTAGE |  | CONNECTION TYPE | 1/2IN FNPT | MOUNTING TYPE | PIPE/PANEL | DISPLAY TYPE |  | COMMUNICATION PROTOCOL | HART | HOUSING MATERIAL | ALUMINIUM | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1269494 | 1269494 | TRANSMITTER;HONE,XNX-AMAI-NNNNN,XNX,4-20 | TRANSMITTER;MNFR:HONEYWELL,PTNO:XNX-AMAI-NNNNN,ADDITIONAL FEATURES EN:XNX,4-20 MA OUTPUT HART | 01)ALLIANCE SAFETY EQUIPMENT,01)XNX-AMAI-NNNNN,TRANSMITTER,01)XNX,4-20 MA OUTPUT HART | XNX-AMAI-NNNNN | 3000290 | HONEYWELL | HONEYWELL | XNX-AMAI-NNNNN |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://prod-edam.honeywell.com/content/dam/honeywell-edam/sps/his/en-us/products/gas-and-flame-detection/documents/xnx-data-sheet-2015.pdf?download=false | [10 empty] | ENRICHED |  | TRANSMITTER | NO MODIFIER | TYPE | UNIVERSAL | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA HART | INPUT RATING |  | SUPPLY VOLTAGE | 24 V | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL | ALUMINIUM | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX/IEC | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1330055 | 1330055 | TRANSMITTER;MER,0071530828 | TRANSMITTER;MNFR:MERCEDES,PTNO:0071530828 | TRANSMITTER | 71530828 | 3000008 | MERCEDES | MERCEDES | 0071530828 | [5 empty] | https://www.cojaliparts.com/en/reference/2260262/plan/ | https://www.hamofa.com/en/mercedes-oil-pressure-sensor-0071530828-new.html | [9 empty] | ENRICHED |  | SENSOR | PRESSURE | TYPE |  | MEASURING RANGE | 0 TO 7 BAR | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING | -40 TO 80 DEG C | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1325250 | 1325250 | TRANSMITTER;PRESS,0-200 BAR,MA,HAENNI | TRANSMITTER;TYPE:PRESSURE,MEASURING RANGE:0-200 BAR,ADDITIONAL FEATURES EN:MA,MNFR:ABB,PTNO:5693 470-A,MNFR:01)HAENNI,PTNO:01) EDR240/411-211/200BAR | EN_01)PRESSURE,EN_01)0-200 BAR,01)MA,01)HAENNI,01)EDR240/411-211/200BAR,TRANSMITTER | 5693 470-A | 3000014 | ABB | ABB | 5693 470-A |  | HAENNI | EDR240/411-211/200BAR |  |  | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSMITTER | PRESSURE | TYPE |  | PRESSURE RANGE | 0 TO 200 BAR | OUTPUT RATING |  | POWER SUPPLY |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ACCURACY |  | MATERIAL |  | TEMPERATURE RATING |  | ENCLOSURE |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1214222 | 1214222 | TRANSMITTER;SIE,E532-372/8190-30S102 | TRANSMITTER;MNFR:SIEMENS,PTNO:E532-372/8190-30S102 | TRANSMITTER | E532-372/8190-30S102 | 3000032 | SIEMENS | SIEMENS | E532-372/8190-30S102 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSMITTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 | Processed based on Websource, Conflict w.r.t Input | 1276174 | 1276174 | TRANSMITTER;SIE,V23401-B2020-G301 | TRANSMITTER;MNFR:SIEMENS,PTNO:V23401-B2020-G301 | TRANSMITTER | V23401-B2020-G301 | 3000032 | SIEMENS | SIEMENS | V23401-B2020-G301 | [5 empty] | https://www.komplett-konzept.de/siemens-v23401-b2020-g301-drehmelder-elektronikbauteil-neu-lagerware_18167_19847 | [10 empty] | ENRICHED |  | RESOLVER | NO MODIFIER | TYPE | ELECTRONIC | RATING |  | RESOLUTION |  | FREQUENCY |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1275220 | 1275220 | XFORMER,CUR;SIE,2502107,IKI-GSU D60 314 | TRANSFORMER,CURRENT;MNFR:SIEMENS,PTNO:2502107,ADDITIONAL FEATURES EN:IKI-GSU D60 314 BALANCE CORE | 01)SIEMENS LTD,01)2502107,TRANSFORMER,CURRENT,01)IKI-GSU D60 314 BALANCE COR | 2502107 | 3000032 | SIEMENS | Kries-Energietechnik GmbH & Co. KG | 2502107 |  | Kries-Energietechnik GmbH & Co. KG | IKI-GSU D60 314 | SIEMENS | 2502107 | https://www.kries.com/en/products/iki-line/accessories-iki-line/cts/1561/iki-gsu-d60-314-diwi | [10 empty] | ENRICHED |  | TRANSFORMER | CURRENT | TYPE | BALANCED CORE | RATIO | 2000:1 | VOLTAGE RATING |  | CURRENT RATING |  | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE | IP54 | SIZE | 60X314 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1216604 | 1216604 | XFORMER,CUR;SIE,CTPRYM NO1 | XFORMER,CUR;MNFR:SIEMENS,PTNO:CTPRYM NO1 |  | CTPRYM NO1 | 3000032 | SIEMENS | SIEMENS | CTPRYM NO1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING |  | CURRENT RATING |  | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1216605 | 1216605 | XFORMER,CUR;SIE,CTUJUM NO1 | XFORMER,CUR;MNFR:SIEMENS,PTNO:CTUJUM NO1 |  | CTUJUM NO1 | 3000032 | SIEMENS | SIEMENS | CTUJUM NO1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING |  | CURRENT RATING |  | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1274237 | 1274237 | XFORMER,CUR;WILT,KRIES 2512106 H001,SETI | TRANSFORMER,CURRENT;MNFR:WILSON TRANSFORMER,PTNO:Kries 2512106_H001,ADDITIONAL FEATURES EN:SET OF 3PH,IKI-LUM,92MM,DIRECTIONAL | 01)WILSON TRANSFORMER COMPAN,01)KRIES 2512106_H001,TRANSFORMER,CURRENT,01)SET OF 3PH,IKI-LUM,92MM,DIR | Kries 2512106_H001 | 3000469 | WILSON TRANSFORMER | Kries-Energietechnik GmbH & Co. KG | 2512106_H001 |  | Kries-Energietechnik GmbH & Co. KG | IKI-LUM d92 | WILSON TRANSFORMER |  | https://www.kries.com/en/products/iki-line/accessories-iki-line/iki-lum-d92-variants/1570/iki-lum-d92 | [10 empty] | ENRICHED |  | TRANSFORMER | CURRENT | TYPE | DIRECTIONAL, SPLIT-CORE | RATIO | 2000:1 | VOLTAGE RATING | 3 KV | CURRENT RATING | 650 A | ACCURACY |  | BURDEN POWER | 0.2 VA AT 600 A | NUMBER OF PHASE |  | FREQUENCY RATING | 50/60 HZ | MOUNTING TYPE |  | ENCLOSURE | IP54 | SIZE | 92 MM ID | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1264946 | 1264946 | XFORMER,DISTR;SIE,2461432 | TRANSFORMER,DISTRIBUTION;MNFR:SIEMENS,PTNO:2461432 | TRANSFORMER,DISTRIBUTION | 2461432 | 3000032 | SIEMENS | SIEMENS | 2461432 | [5 empty] | https://www.ergon.com.au/__data/assets/pdf_file/0013/61303/UGC_Manual_Issue_16_ASSEMBLIES.pdf | [10 empty] | ENRICHED |  | TRANSFORMER | DISTRIBUTION | TYPE | SUBSTATION | RATIO |  | PRIMARY VOLTAGE | 11 KV | SECONDARY VOLTAGE |  | CURRENT RATING |  | ACCURACY |  | APPARENT POWER | 315 KVA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE | PAD | ENCLOSURE |  | SIZE |  | NUMBER OF TAPS |  | COOLING TYPE |  | VECTOR GROUP |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [38 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1264945 | 1264945 | XFORMER,DISTR;SIE,2461440 | TRANSFORMER,DISTRIBUTION;MNFR:SIEMENS,PTNO:2461440 | TRANSFORMER,DISTRIBUTION | 2461440 | 3000032 | SIEMENS | SIEMENS | 2461440 | [5 empty] | https://www.ergon.com.au/__data/assets/pdf_file/0013/61303/UGC_Manual_Issue_16_ASSEMBLIES.pdf | [10 empty] | ENRICHED |  | TRANSFORMER | DISTRIBUTION | TYPE | SUBSTATION | RATIO |  | PRIMARY VOLTAGE | 11 KV | SECONDARY VOLTAGE |  | CURRENT RATING |  | ACCURACY |  | APPARENT POWER | 500 KVA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE | PAD | ENCLOSURE |  | SIZE |  | NUMBER OF TAPS |  | COOLING TYPE |  | VECTOR GROUP |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [38 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1264944 | 1264944 | XFORMER,DISTR;SIE,2461457 | TRANSFORMER,DISTRIBUTION;MNFR:SIEMENS,PTNO:2461457 | TRANSFORMER,DISTRIBUTION | 2461457 | 3000032 | SIEMENS | SIEMENS | 2461457 | [5 empty] | https://www.ergon.com.au/__data/assets/pdf_file/0013/61303/UGC_Manual_Issue_16_ASSEMBLIES.pdf | [10 empty] | ENRICHED |  | TRANSFORMER | DISTRIBUTION | TYPE | SUBSTATION | RATIO |  | PRIMARY VOLTAGE | 11 KV | SECONDARY VOLTAGE |  | CURRENT RATING |  | ACCURACY |  | APPARENT POWER | 750 KVA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE | PAD | ENCLOSURE |  | SIZE |  | NUMBER OF TAPS |  | COOLING TYPE |  | VECTOR GROUP |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [38 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1264943 | 1264943 | XFORMER,DISTR;SIE,2461465 | TRANSFORMER,DISTRIBUTION;MNFR:SIEMENS,PTNO:2461465 | TRANSFORMER,DISTRIBUTION | 2461465 | 3000032 | SIEMENS | SIEMENS | 2461465 | [5 empty] | https://www.ergon.com.au/__data/assets/pdf_file/0013/61303/UGC_Manual_Issue_16_ASSEMBLIES.pdf | [10 empty] | ENRICHED |  | TRANSFORMER | DISTRIBUTION | TYPE | SUBSTATION | RATIO |  | PRIMARY VOLTAGE | 11 KV | SECONDARY VOLTAGE |  | CURRENT RATING |  | ACCURACY |  | APPARENT POWER | 1000 KVA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE | PAD | ENCLOSURE |  | SIZE |  | NUMBER OF TAPS |  | COOLING TYPE |  | VECTOR GROUP |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [38 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1264942 | 1264942 | XFORMER,DISTR;SIE,2461473 | TRANSFORMER,DISTRIBUTION;MNFR:SIEMENS,PTNO:2461473 | TRANSFORMER,DISTRIBUTION | 2461473 | 3000032 | SIEMENS | SIEMENS | 2461473 | [5 empty] | https://www.ergon.com.au/__data/assets/pdf_file/0013/61303/UGC_Manual_Issue_16_ASSEMBLIES.pdf | [10 empty] | ENRICHED |  | TRANSFORMER | DISTRIBUTION | TYPE | SUBSTATION | RATIO |  | PRIMARY VOLTAGE | 11 KV | SECONDARY VOLTAGE |  | CURRENT RATING |  | ACCURACY |  | APPARENT POWER | 1500 KVA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE | PAD | ENCLOSURE |  | SIZE |  | NUMBER OF TAPS |  | COOLING TYPE |  | VECTOR GROUP |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [38 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1215715 | 1215715 | XFORMER,DISTR;WILT,A675 | TRANSFORMER,DISTRIBUTION;MNFR:WILSON TRANSFORMER,PTNO:A675 | TRANSFORMER,DISTRIBUTION | A675 | 3000469 | WILSON TRANSFORMER | WILSON TRANSFORMER | A675 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | TRANSFORMER | DISTRIBUTION | TYPE |  | RATIO |  | PRIMARY VOLTAGE |  | SECONDARY VOLTAGE |  | CURRENT RATING |  | ACCURACY |  | APPARENT POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | NUMBER OF TAPS |  | COOLING TYPE |  | VECTOR GROUP |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [38 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1272681 | 1272681 | XMITTER,GAGE PRES;ENDH,PMP11-1960/0 | TRANSMITTER,GAUGE PRESSURE;MNFR:ENDRESS & HAUSER,PTNO:PMP11-1960/0 | 01)SHERRIFF ELECTRICAL SUPPL,01)ENDPMP11-1960/0,TRANSMITTER,GAUGE PRESSURE | PMP11-1960/0 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | PMP11-1960/0 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://portal.endress.com/wa001/dla/5001041/2232/000/04/TI01133PEN_0517.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | COMMUNICATION PROTOCOL |  | HOUSING MATERIAL | STAINLESS STEEL 316L | ENCLOSURE | IP65 | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1272682 | 1272682 | XMITTER,GAGE PRES;ENDH,PMP11-2RJ4/0 | TRANSMITTER,GAUGE PRESSURE;MNFR:ENDRESS & HAUSER,PTNO:PMP11-2RJ4/0 | 01)SHERRIFF ELECTRICAL SUPPL,01)ENDPMP11-1960/0,TRANSMITTER,GAUGE PRESSURE | PMP11-2RJ4/0 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | PMP11-2RJ4/0 | [5 empty] | https://portal.endress.com/wa001/dla/5001041/2232/000/04/TI01133PEN_0517.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | COMMUNICATION PROTOCOL |  | HOUSING MATERIAL | STAINLESS STEEL 316L | ENCLOSURE | IP65 | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1273494 | 1273494 | XMITTER,LVL;ENDH,FMU30-AAHEABGHF,PROSONI | TRANSMITTER,LEVEL;MNFR:ENDRESS & HAUSER,PTNO:FMU30-AAHEABGHF,ADDITIONAL FEATURES EN:PROSONIC,T-FMU30 |  | FMU30-AAHEABGHF | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | FMU30-AAHEABGHF | [5 empty] | https://media.automation24.com/datasheet/en/TI00440FEN_1514.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | LEVEL | TYPE | ULTRASONIC | MEASURING RANGE | 8 m liquid/3.5 m solid | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA | SUPPLY VOLTAGE | 14 TO 35 V | CONNECTION TYPE | 2IN BSPP | MOUNTING TYPE |  | MATERIAL | PBT-FR | TEMPERATURE RATING | -20 TO 60 DEG C | ENCLOSURE | IP66/IP68 | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES: PROSONIC T | [45 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1270307 | 1270307 | XMITTER,LVL;ENDH,FMU90-R11CA232AA1A | TRANSMITTER,LEVEL;MNFR:ENDRESS & HAUSER,PTNO:FMU90-R11CA232AA1A | 01)PMD PROCESS CONTROLS,01)PROSONIC FMU90-R11CA232AA1A,TRANSMITTER,LEVEL | FMU90-R11CA232AA1A | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | FMU90-R11CA232AA1A | [5 empty] | https://portal.endress.com/dla/5000501/5873/000/06/BA00292FEN_1312.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | LEVEL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 0/4 TO 20 MA HART | SUPPLY VOLTAGE | 90 TO 253 VAC | CONNECTION TYPE |  | MOUNTING TYPE | FIELD | MATERIAL | POLYCARBONATE | TEMPERATURE RATING | -40 TO 60 DEG C | ENCLOSURE | IP66, NEMA 4X | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES: PROSONIC S | [45 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1211856 | 1211856 | XMITTER,TEMP;YOKG,YTA50-A/KS2,HD MOUNT,S | TRANSMITTER,TEMPERATURE;MNFR:YOKOGAWA,PTNO:YTA50-A/KS2,ADDITIONAL FEATURES EN:HD MOUNT,SPECS,PT100,3 WIRE,BURNOUT HIGH,RESPONSE TIME 1 | 01)YOKOGAWA AUSTRALIA PTY LT,01)YTA50-A/KS2,TRANSMITTER,TEMPERATURE,01)HD MOUNT,SPECS,PT100,3 WIRE | YTA50-A/KS2 | 3000446 | YOKOGAWA | YOKOGAWA | YTA50-A/KS2 | [5 empty] | https://web-material3.yokogawa.com/GS01C50C01-00EN.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | TEMPERATURE | TYPE | HEAD MOUNT | MEASURING RANGE | -200 to 850 DEG C | ACCURACY | +/-0.1 DEG C | INPUT TYPE | 3-WIRE PT100 RTD | OUTPUT TYPE | 2-WIRE 4 TO 20 MA DC | CONNECTION TYPE |  | MATERIAL | POLYCARBONATE | SUPPLY VOLTAGE | 7 TO 35 VDC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | KEMA 06 ATEX0191 X | ADDITIONAL FEATURES EN | BURNOUT HIGH,RESPONSE TIME 1 | [49 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1270480 | 1270480 | XMITTER,TEMP;YOKG,YTA70P-JA/V2S,PANEL MO | TRANSMITTER,TEMPERATURE;MNFR:YOKOGAWA,PTNO:YTA70P-JA/V2S,ADDITIONAL FEATURES EN:PANEL MOUNT,SPECS,PT100,3 WIRE | 01)YOKOGAWA AUSTRALIA PTY LT,01)YTA70P-JA/V2S,TRANSMITTER,TEMPERATURE,01)PANEL MOUNT,SPECS,PT100,3 W | YTA70P-JA/V2S | 3000446 | YOKOGAWA | YOKOGAWA | YTA70P-JA/V2S | [5 empty] | https://web-material3.yokogawa.com/GS01C50C05-01EN.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | TEMPERATURE | TYPE | PANEL MOUNT | MEASURING RANGE | -200 to 850 DEG C | ACCURACY | +/-0.1 DEG C | INPUT TYPE | 3-WIRE PT100 RTD | OUTPUT TYPE | 4 TO 20 MA DIGITAL HART 7 PROTOCOL | CONNECTION TYPE |  | MATERIAL | POLYCARBONATE | SUPPLY VOLTAGE | 7 TO 35 VDC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DEKRA 14ATEX0106 X, IECEx DEK 14.0058X, CAN/CSA-C22.2 No.0-10 | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | SFU | ok | 2023-06-27 | 2023-06-29 |  | 1269819 | 1269819 | XMTR,DIF PRES;YOKG,EJA110E-JMS4G919EB | TRANSMITTER,DIFFERENTIAL PRESSURE;MNFR:YOKOGAWA,PTNO:EJA110E-JMS4G919EB | 01)YOKOGAWA AUSTRALIA PTY LT,01)EJA110E-JMS4G-919EB,TRANSMITTER,DIFFERENTIAL PRESS | EJA110E-JMS4G919EB | 3000446 | YOKOGAWA | YOKOGAWA | EJA110E-JMS4G919EB | [5 empty] | https://web-material3.yokogawa.com/GS01C31B01-01EN.pdf | [10 empty] | ENRICHED |  | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE | -100 TO 100 KPA | ACCURACY |  | OUTPUT TYPE | 4 TO 20 MA DIGITAL HART 5/HART 7 PROTOCOL | SUPPLY VOLTAGE | 10.5 TO 42 VDC | CONNECTION TYPE | 1/2IN FNPT | MOUNTING TYPE | PIPE | DISPLAY TYPE | DIGITAL INDICATOR | HOUSING MATERIAL | CAST ALUMINUM ALLOY | ENCLOSURE | IP66/IP67 NEMA 4X | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed