## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1213569 | 1213569 | CONTROLLER,COMM;YOKG,AAI143-H53/K4A00 | CONTROLLER,COMMUNICATION;MNFR:YOKOGAWA,PTNO:AAI143-H53/K4A00 | 01)YOKOGAWA AUSTRALIA PTY LT,01)AAI143-H53/K4A00,CONTROLLER,COMMUNICATION | AAI143-H53/K4A00 | 3000446 | YOKOGAWA | YOKOGAWA | AAI143-H53/K4A00 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F60-50E.pdf | [10 empty] | ENRICHED |  | CONTROLLER | COMMUNICATION | TYPE |  | DATA TRANSFER RATE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF PORTS |  | ELECTRICAL RATING |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1213570 | 1213570 | CONTROLLER,COMM;YOKG,AAI543-H53/K4A00 | CONTROLLER,COMMUNICATION;MNFR:YOKOGAWA,PTNO:AAI543-H53/K4A00 | 01)YOKOGAWA AUSTRALIA PTY LT,01)AAI543-H53/K4A00,CONTROLLER,COMMUNICATION | AAI543-H53/K4A00 | 3000446 | YOKOGAWA | YOKOGAWA | AAI543-H53/K4A00 | [5 empty] | https://web-material3.yokogawa.com/GS33J60A20-01EN.pdf | [10 empty] | ENRICHED |  | CONTROLLER | COMMUNICATION | TYPE |  | DATA TRANSFER RATE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF PORTS |  | ELECTRICAL RATING |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1213571 | 1213571 | CONTROLLER,COMM;YOKG,AAI841-H50 | CONTROLLER,COMMUNICATION;MNFR:YOKOGAWA,PTNO:AAI841-H50 | 01)YOKOGAWA AUSTRALIA PTY LT,01)AAI841-H50,CONTROLLER,COMMUNICATION | AAI841-H50 | 3000446 | YOKOGAWA | YOKOGAWA | AAI841-H50 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F60-50E.pdf | [10 empty] | ENRICHED |  | CONTROLLER | COMMUNICATION | TYPE |  | DATA TRANSFER RATE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF PORTS |  | ELECTRICAL RATING |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1220269 | 1220269 | CONTROLLER,ELEC;AB,1492CM1771LD005,CONVE | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1492CM1771LD005,ADDITIONAL FEATURES EN:CONVERSION MODULE 177IIVN TO 1756IV32 | 01)NHP ELECTRICAL ENGINEERIN,01)1492CM1771LD005,CONTROLLER,ELECTRICAL,01)CONVERSION MODULE 177IIVN T | 1492CM1771LD005 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1492-CM1771-LD005 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://configurator.rockwellautomation.com/api/Doc/1492-CM1771-LD005.pdf | [10 empty] | ENRICHED | 39121000 Power conditioning equipment | MODULE | CONVERTER | TYPE | FIELD WIRE | POWER RATING |  | INPUT RATING | 30 VDC | OUTPUT RATING |  | MATERIAL |  | ENCLOSURE TYPE | IP20 | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 85 DEG C | SIZE | 38.1 WDX300 HTX111.25 DP MM | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 177IIVN TO 1756IV32 | [51 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1270337 | 1270337 | CONTROLLER,ELEC;AB,1492CONCAB005S3,PREWI | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1492CONCAB005S3,ADDITIONAL FEATURES EN:PREWIRED OUTPUT CONVERSION CABLE 1771-1756 | 01)NHP ELECTRICAL ENGINEERIN,01)1492CONCAB005S3,CONTROLLER,ELECTRICAL,01)PREWIRED OUTPUT CONVERSION | 1492CONCAB005S3 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1492-CONCAB005S3 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://literature.rockwellautomation.com/idc/groups/literature/documents/sg/1492-sg121_-en-p.pdf | https://www.rexelusa.com/p/95013/allen-bradley/connection-cable-1771-oan-to-1756-oa16-module-05m-164/612598662005/1492-concab005s3 | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | ELECTRICAL | TYPE | CONVERSION CONNECTION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 0.5 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1332922 | 1332922 | CONTROLLER,ELEC;AB,1492CONCAB005Z,PREWIR | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1492CONCAB005Z,ADDITIONAL FEATURES EN:PREWIRED INPUT CONVERSION CABLE 1771-1756 | 01)NHP ELECTRICAL ENGINEERIN,01)1492CONCAB005Z,CONTROLLER,ELECTRICAL,01)PREWIRED INPUT CONVERSION C | 1492CONCAB005Z | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1492-CONCAB005Z |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://literature.rockwellautomation.com/idc/groups/literature/documents/sg/1492-sg121_-en-p.pdf | https://www.rexelusa.com/p/95015/allen-bradley/connection-cable-pre-wired-for-1771-to-1756-module-05m/612598662081/1492-concab005z | [9 empty] | ENRICHED | 26121600 Electrical cable and accessories | CABLE | ELECTRICAL | TYPE | CONVERSION CONNECTION | VOLTAGE RATING |  | CURRENT RATING |  | CONDUCTOR SIZE |  | NUMBER OF CONDUCTORS |  | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH | 0.5 M | JACKET COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1270336 | 1270336 | CONTROLLER,ELEC;AB,1492MUA3A10A13,CONTRO | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1492MUA3A10A13,ADDITIONAL FEATURES EN:CONTROLLOGIX CONVERSION CHASSIS | 01)NHP ELECTRICAL ENGINEERIN,01)1492MUA3A10A13,CONTROLLER,ELECTRICAL,01)CONTROLLOGIX CONVERSION CHA | 1492MUA3A10A13 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1492MUA3A10A13 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1492MUA3A10A13-234318-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | CLEANSED | 32151704 Programmable Logic Controller Chassis | CHASSIS | PLC | TYPE | MOUNTING | SIZE |  | NUMBER OF SLOTS |  | TEMPERATURE RATING | 0 TO 60 DEG C | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1220270 | 1220270 | CONTROLLER,ELEC;AB,1756EN2T,CONTROLLOGIX | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1756EN2T,ADDITIONAL FEATURES EN:CONTROLLOGIX ENET MODULE | 01)NHP ELECTRICAL ENGINEERIN,01)1756EN2T,CONTROLLER,ELECTRICAL,01)CONTROLLOGIX ENET MODULE | 1756EN2T | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756-EN2T |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/1756-td003_-en-e.pdf | [10 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS | 1 | INTERFACE TYPE | ETHERNET/IP | DATA TRANSFER RATE | 10/100 mpbs | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 85 DEG C | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1275676 | 1275676 | CONTROLLER,ELEC;AB,1756IV32,CONTROLLOGIX | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1756IV32,ADDITIONAL FEATURES EN:CONTROLLOGIX 32DI SOURCING MODULE DC | 01)NHP ELECTRICAL ENGINEERIN,01)1756IV32,CONTROLLER,ELECTRICAL,01)CONTROLLOGIX 32DI SOURCING | 1756IV32 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756-IV32 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/1756-td002_-en-e.pdf | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | INPUT/OUTPUT | TYPE | DIGITAL | VOLTAGE RATING | 24 VDC | CURRENT RATING | 2 MA | INTERFACE TYPE |  | I/O POINTS | 32 | RELATIVE HUMIDITY | 5 TO 95 PCT | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING | 0 TO 60 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1275675 | 1275675 | CONTROLLER,ELEC;AB,1756OV16E,CONTROLOGIX | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1756OV16E,ADDITIONAL FEATURES EN:CONTROLOGIX 16DO , 10-30VDC MODULE | 01)NHP ELECTRICAL ENGINEERIN,01)1756OV16E,CONTROLLER,ELECTRICAL,01)CONTROLOGIX 16DO , 10-30VDC | 1756OV16E | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756-OV16E |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/1756-td002_-en-e.pdf | [10 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | INPUT/OUTPUT | TYPE | DIGITAL | VOLTAGE RATING | 12/24 VDC | CURRENT RATING | 2 MA | INTERFACE TYPE |  | I/O POINTS | 16 | RELATIVE HUMIDITY | 5 TO 95 PCT | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING | 0 TO 60 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1275624 | 1275624 | CONTROLLER,ELEC;AB,1756PA75,CONTROLLOGIX | CONTROLLER,ELECTRICAL;MNFR:ALLEN BRADLEY,PTNO:1756PA75,ADDITIONAL FEATURES EN:CONTROLLOGIX AC POWER SUPPLY 13 AMP | 01)NHP ELECTRICAL ENGINEERIN,01)1756PA75,CONTROLLER,ELECTRICAL,01)CONTROLLOGIX AC POWER SUPPL | 1756PA75 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1756-PA75 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.rockwellautomation.com/en-us/products/details.1756-PA75.html | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/1756-td005_-en-e.pdf | [9 empty] | ENRICHED | 39121004 Power supply units | POWER SUPPLY | NO MODIFIER | TYPE |  | INPUT RATING | 120/240 VAC,47 TO 63 HZ | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | NUMBER OF OUTPUTS |  | POWER RATING | 100 W | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1253847 | 1253847 | CONTROLLER;AB,1769-L16ER-BB1B,C/LOGIX | CONTROLLER;MNFR:ALLEN BRADLEY,PTNO:1769-L16ER-BB1B,ADDITIONAL FEATURES EN:C/LOGIX 5370 | 01)COLTERLEC,01)1769-L16ER-BB1B,CONTROLLER,01)C/LOGIX 5370 | 1769-L16ER-BB1B | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1769-L16ER-BB1B |  | COLTERLEC | [14 empty] | ENRICHED | 39121500 Electrical controls and accessories | CONTROLLER | ELECTRICAL | TYPE |  | FUNCTION |  | INPUT RATING | 24 VDC | OUTPUT RATING | 24 VDC | NUMBER OF INPUTS | 16 | NUMBER OF OUTPUTS | 16 | INTERFACE TYPE | RJ45 | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:COMPACTLOGIX 5370 | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1211532 | 1211532 | CONTROLLER;ABB,3BSE031151R1 | CONTROLLER;MNFR:ABB,PTNO:3BSE031151R1 | CONTROLLER | 3BSE031151R1 | 3000014 | ABB | ABB | 3BSE031151R1 | [5 empty] | https://new.abb.com/products/3BSE031151R1/3bse031151r1 | https://pnap.ir/wp-content/uploads/product_pdf/abb/controlers/product-pm865k01-classic.pdf | [9 empty] | ENRICHED | 43201503 Central processing unit CPU processors | CPU | NO MODIFIER | TYPE |  | PROCESSOR | MPC862P | CLOCK SPEED |  | MEMORY | 32 MB | POWER SUPPLY | 24 VDC | SIZE | 119 WDXHT 186X135 DP MM | MOUNTING TYPE |  | ENCLOSURE | IP20 | TEMPERATURE RATING | 5 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1326439 | 1326439 | CONTROLLER;ABB,3BSE078268R1 | CONTROLLER;MNFR:ABB,PTNO:3BSE078268R1 | CONTROLLER | 3BSE078268R1 | 3000014 | ABB | ABB | 3BSE078268R1 | [5 empty] | https://new.abb.com/products/3BSE078268R1/3bse078268r1 | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | CONTROLLER | ELECTRICAL | TYPE |  | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1335493 | 1335493 | CONTROLLER;ABB,ACS800-04-0400-5+E208+E21 | CONTROLLER;MNFR:ABB,PTNO:ACS800-04-0400-5+E208+E210+J40 | CONTROLLER | ACS800-04-0400-5+E208+E210+J40 | 3000014 | ABB | ABB | ACS800-04-0400-5+E208+E210+J40 | [5 empty] | https://library.e.abb.com/public/54e00e8756ba65b7c1257c9100489b9b/EN_ACS800_04_R7_R8_HW_G_A4.pdf | https://files.valinonline.com/userfiles/documents/abb-acs800-04-modules.pdf | [9 empty] | ENRICHED | 39121500 Electrical controls and accessories | MODULE | NO MODIFIER | TYPE | DRIVE | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1323009 | 1323009 | CONTROLLER;ABB,ACS880-01-027A-5 | CONTROLLER;MNFR:ABB,PTNO:ACS880-01-027A-5 | CONTROLLER | ACS880-01-027A-5 | 3000014 | ABB | ABB | ACS880-01-027A-5 | [5 empty] | https://new.abb.com/products/3AUA0000090436/acs880-01-027a-5 | https://www.ppetech.co.za/wp-content/uploads/2018/11/3AUA0000090436-acs880-01-027a-5-pcont-max15kw-icont-max26a-1.pdf | [9 empty] | ENRICHED | 39121007 Frequency converters | CONVERTER | FREQUENCY | TYPE |  | INPUT VOLTAGE | 380 TO 500 VAC | INPUT FREQUENCY |  | OUTPUT FREQUENCY RATING |  | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE | WALL | NOISE LEVEL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1326438 | 1326438 | CONTROLLER;ABB,ADAM.OI5 | CONTROLLER;MNFR:ABB,PTNO:ADAM.OI5 | CONTROLLER | ADAM.OI5 | 3000014 | ABB | ABB | ADAM.OI5 | [5 empty] | https://www.ipd.com.au/adam-ossd-info-m12-5-contact-5x0-34-2tla020051r5400-adam-oi5 | [10 empty] | ENRICHED | 41111900 Indicating and recording instruments | SENSOR | NO MODIFIER | TYPE | SAFETY | SENSING RANGE |  | CONNECTION TYPE | M12 X 5 MM FEMALE | ELECTRICAL RATING | 24 VDC | ENCLOSURE | IP69K | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1266790 | 1266790 | CONTROLLER;ABB,CM10/000S0E0/STD,UNIVSL | CONTROLLER;MNFR:ABB,PTNO:CM10/000S0E0/STD,ADDITIONAL FEATURES EN:UNIVERSAL, 1/8 DIN 2 X ANI 1X ANO 1 X RELAY | 01)PMD PROCESS CONTROLS,01)CM10/000S0E0/STD,CONTROLLER,01)UNIVERSAL, 1/8 DIN 2 X ANI | CM10/000S0E0/STD | 3000014 | ABB | ABB | CM10/000S0E0/STD | [5 empty] | https://library.e.abb.com/public/a55bda25f41bf64ec1257b59004fd251/DS_CM10-EN_K.pdf | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | CONTROLLER | ELECTRICAL | TYPE | UNIVERSAL PROCESS | FUNCTION |  | INPUT RATING | 100 TO 240 VAC | OUTPUT RATING |  | NUMBER OF INPUTS | 2 ANALOG | NUMBER OF OUTPUTS | 1 ANALOG | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1 X RELAY BASIC,1/8 IN DIN | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1273862 | 1273862 | CONTROLLER;ABB,CM30/2S0S0E0/STD,90-264VA | CONTROLLER;MNFR:ABB,PTNO:CM30/2S0S0E0/STD,ADDITIONAL FEATURES EN:90-264VAC,CONTROLMASTER UNIVERSAL PROCESS,1/4 IN DIN,I/O: BASIC+OPTION BOARD 1(2 ANALOG INPUTS,2 ANALOG OUTPUT,2 DIGITAL I/O AND 4 RELAYS) | 01)PMD PROCESS CONTROLS,01)CM30/2S0S0E0/STD,CONTROLLER,01)2 DIGITAL I/O AND 4 RELAYS),01)90-264VAC,CONTROLMASTER UNI,03)I/O:BASIC+OPTION BOARD 1(2 | CM30/2S0S0E0/STD | 3000014 | ABB | ABB | CM30/2S0S0E0/STD | [5 empty] | https://library.e.abb.com/public/94642fbd535d4da0b347a66bb7dabcf2/DS_CM30-EN_W.pdf | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | CONTROLLER | ELECTRICAL | TYPE | UNIVERSAL PROCESS | FUNCTION |  | INPUT RATING | 90 TO 264 VAC | OUTPUT RATING |  | NUMBER OF INPUTS | 2 ANALOG | NUMBER OF OUTPUTS | 2 ANALOG | INTERFACE TYPE | RJ45 | MOUNTING TYPE | PANEL | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONTROLMASTER, 1/4 IN DIN,4 RELAYS,BASIC+OPTION BOARD 1 | [48 empty] | I/O: BASIC+OPTION BOARD 1(2 ANALOG INPUTS,2 ANALOG OUTPUT,2 DIGITAL I/O AND 4 RELAYS) | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1322962 | 1322962 | CONTROLLER;ABB,GJR5250500R0262 | CONTROLLER;MNFR:ABB,PTNO:GJR5250500R0262 | CONTROLLER | GJR5250500R0262 | 3000014 | ABB | ABB | GJR5250500R0262 | [5 empty] | https://www.classicautomation.com/Part/gjr5250500r0262 | [10 empty] | ENRICHED | 43201503 Central processing unit CPU processors | CPU | NO MODIFIER | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY |  | POWER SUPPLY | 24 VDC/0.5 A | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1257685 | 1257685 | CONTROLLER;ABB,ISAP140 100 R0170 | CONTROLLER;MNFR:ABB,PTNO:ISAP140 100 R0170 | CONTROLLER | ISAP140 100 R0170 | 3000014 | ABB | ABB | 1SAP 140 100 R0170 | [5 empty] | https://docs.rs-online.com/5b6a/0900766b80b1569d.pdf | [10 empty] | ENRICHED | 43201503 Central processing unit CPU processors | CPU | NO MODIFIER | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 6147 KB SDRAM | POWER SUPPLY | 24 VDC | SIZE |  | MOUNTING TYPE | TERMINAL BLOCK | ENCLOSURE |  | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 | Processed based on Websource, Conflict w.r.t Input | 1322961 | 1322961 | CONTROLLER;ABB,PM573 | CONTROLLER;MNFR:ABB,PTNO:PM573 | CONTROLLER | PM573 | 3000014 | ABB | ABB | PM573 | [5 empty] | https://www.nexinstrument.com/assets/images/pdf/PM573-ETH.pdf | [10 empty] | ENRICHED | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE | EXTENSION | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING | 24 VDC | NUMBER OF INPUTS | 160 ANALOG,320 DIGITAL | NUMBER OF OUTPUTS | 160 ANALOG,240 DIGITAL | MEMORY | 512 KB | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1218881 | 1218881 | CONTROLLER;YOKG,AFV30D-A41152 | CONTROLLER;MNFR:YOKOGAWA,PTNO:AFV30D-A41152 |  | AFV30D-A41152 | 3000446 | YOKOGAWA | YOKOGAWA | AFV30D-A41152 | [5 empty] | https://web-material3.yokogawa.com/GS33J60E10-01EN.pdf | [10 empty] | ENRICHED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1218814 | 1218814 | CONTROLLER;YOKG,ANB11D-215/BU2B | CONTROLLER;MNFR:YOKOGAWA,PTNO:ANB11D-215/BU2B |  | ANB11D-215/BU2B | 3000446 | YOKOGAWA | YOKOGAWA | ANB11D-215/BU2B | [5 empty] | https://web-material3.yokogawa.com/GS33J60F30-01EN.pdf | [10 empty] | ENRICHED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1218049 | 1218049 | CONTROLLER;YOKG,ANT421-50,ANT421-50, OPT | CONTROLLER;MNFR:YOKOGAWA,PTNO:ANT421-50,ADDITIONAL FEATURES EN:ANT421-50, OPTICAL ESB BUS REPEATER, NO,CONNECTOR UNIT | 01)YOKOGAWA AUSTRALIA PTY LT,01)ANT421-50,CONTROLLER,01)ANT421-50, OPTICAL ESB BUS,02)CONNECTOR UNIT | ANT421-50 | 3000446 | YOKOGAWA | YOKOGAWA | ANT421-50 | [5 empty] | https://web-material3.yokogawa.com/GS33J60F55-01EN.pdf | [10 empty] | ENRICHED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANT421-50,OPTICAL ESB BUS REPEATER,NO,CONNECTOR UNIT | [47 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1218050 | 1218050 | CONTROLLER;YOKG,ANT522-50,ANT522-50, OPT | CONTROLLER;MNFR:YOKOGAWA,PTNO:ANT522-50,ADDITIONAL FEATURES EN:ANT522-50, OPTICAL ESB BUS REPEATER SLAV,E, NO CONNECTOR UNIT | 01)YOKOGAWA AUSTRALIA PTY LT,01)ANT522-50,CONTROLLER,01)ANT522-50, OPTICAL ESB BUS,02)E, NO CONNECTOR UNIT | ANT522-50 | 3000446 | YOKOGAWA | YOKOGAWA | ANT522-50 | [5 empty] | https://web-material3.yokogawa.com/GS33J60F55-01EN.pdf | [10 empty] | ENRICHED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANT522-50,OPTICAL ESB BUS REPEATER SLAV,E,NO CONNECTOR UNIT | [47 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1211192 | 1211192 | CONTROLLER;YOKG,VP6F1700-E11C12 | CONTROLLER;MNFR:YOKOGAWA,PTNO:VP6F1700-E11C12 | 01)YOKOGAWA AUSTRALIA PTY LT,01)VP6F1700-E11C12,CONTROLLER | VP6F1700-E11C12 | 3000446 | YOKOGAWA | YOKOGAWA | VP6F1700-E11C12 | [5 empty] | https://web-material3.yokogawa.com/GS33J15C10-01EN.pdf | [10 empty] | ENRICHED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1275185 | 1275185 | CONTROLLER;YOKG,VP6F1700-V11C01 | CONTROLLER;MNFR:YOKOGAWA,PTNO:VP6F1700-V11C01 |  | VP6F1700-V11C01 | 3000446 | YOKOGAWA | YOKOGAWA | VP6F1700-V11C01 | [5 empty] | https://web-material3.yokogawa.com/GS33J15C10-01EN.pdf | [10 empty] | ENRICHED |  | CONTROLLER | NO MODIFIER | TYPE |  | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1258338 | 1258338 | COUPLING;ABB,0403772 | COUPLING;MNFR:ABB,PTNO:0403772 | COUPLING | 403772 | 3000014 | ABB | ABB | 0403772 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1258350 | 1258350 | COUPLING;ABB,0414183 | COUPLING;MNFR:ABB,PTNO:0414183 | COUPLING | 414183 | 3000014 | ABB | ABB | 0414183 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1220116 | 1220116 | COUPLING;ENGAGING | COUPLING;TYPE:ENGAGING,ADDITIONAL FEATURES EN:BORED TO SIZE, KEYWAY/SET SCREW TO DIN 6885/1,MNFR:SIEMENS,PTNO:ZWSE 415 | EN_01)ENGAGING,01)BORED TO SIZE, KEYWAY/SET S,COUPLING | ZWSE 415 | 3000032 | SIEMENS | SIEMENS | ZWSE 415 | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/?mlfb=2LC03012BM..0AA0 | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | ENGAGING | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BORED TO SIZE,KEYWAY DIN 6885/1/SET SCREW | [57 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1258470 | 1258470 | COUPLING;SIE,2LC0132-0AA99-0AA0-Z | COUPLING;MNFR:SIEMENS,PTNO:2LC0132-0AA99-0AA0-Z | COUPLING | 2LC0132-0AA99-0AA0-Z | 3000032 | SIEMENS | SIEMENS | 2LC0132-0AA99-0AA0-Z | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1324315 | 1324315 | COUPLING;SIE,2LC01320XB900AA0Z+L2EB34D98 | COUPLING;MNFR:SIEMENS,PTNO:2LC01320XB900AA0Z+L2EB34D98D99 | COUPLING | 2LC01320XB900AA0Z+L2EB34D98D99 | 3000032 | SIEMENS | SIEMENS | 2LC01320XB900AA0Z+L2EB34D98D99 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1324316 | 1324316 | COUPLING;SIE,2LC01320XB900AA0Z+L2FB34D98 | COUPLING;MNFR:SIEMENS,PTNO:2LC01320XB900AA0Z+L2FB34D98D99 | COUPLING | 2LC01320XB900AA0Z+L2FB34D98D99 | 3000032 | SIEMENS | SIEMENS | 2LC01320XB900AA0Z+L2FB34D98D99 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1324814 | 1324814 | COUPLING;SIE,2LC0300-5XA90-0AA0-Z | COUPLING;MNFR:SIEMENS,PTNO:2LC0300-5XA90-0AA0-Z | COUPLING | 2LC0300-5XA90-0AA0-Z | 3000032 | SIEMENS | SIEMENS | 2LC0300-5XA90-0AA0-Z | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1219180 | 1219180 | COUPLING;SIE,2LC0301-8AB22-0AA0-Z | COUPLING;MNFR:SIEMENS,PTNO:2LC0301-8AB22-0AA0-Z | COUPLING | 2LC0301-8AB22-0AA0-Z | 3000032 | SIEMENS | SIEMENS | 2LC0301-8AB22-0AA0-Z | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1335472 | 1335472 | COUPLING;SIE,FAR 516 6 X SPC | COUPLING;MNFR:SIEMENS,PTNO:FAR 516 6 X SPC | COUPLING | FAR 516 6 X SPC | 3000032 | SIEMENS | SIEMENS | FAR 516 6 X SPC | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/?mlfb=2LC09005AF.10AA0 | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1273673 | 1273673 | METER,ELEC TST;FLUK,378-FC,1000A,CLMP | METER,ELECTRICAL TEST;MNFR:FLUKE,PTNO:378-FC,ADDITIONAL FEATURES EN:1000A,CLAMP | 01)SYDNEY TOOLS PTY LTD,01)FLUKE-378 FC,METER,ELECTRICAL TEST,01)1000A,CLAMP | 378-FC | 3000278 | FLUKE | FLUKE | 378-FC | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | ELECTRICAL TEST | TYPE |  | AC CURRENT RANGE |  | DC CURRENT RANGE |  | AC VOLTAGE RANGE |  | DC VOLTAGE RANGE |  | FREQUENCY RANGE |  | RESISTANCE RANGE |  | ACCURACY |  | DISPLAY TYPE |  | BATTERY TYPE |  | JAW OPENING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1000A,CLAMP | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1211019 | 1211019 | METER,ELEC TST;FLUK,FLUKE-438-II | METER,ELEC TST;MNFR:FLUKE,PTNO:FLUKE-438-II |  | FLUKE-438-II | 3000278 | FLUKE | FLUKE | FLUKE-438-II | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | ELECTRICAL TEST | TYPE |  | AC CURRENT RANGE |  | DC CURRENT RANGE |  | AC VOLTAGE RANGE |  | DC VOLTAGE RANGE |  | FREQUENCY RANGE |  | RESISTANCE RANGE |  | ACCURACY |  | DISPLAY TYPE |  | BATTERY TYPE |  | JAW OPENING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1270798 | 1270798 | METER,ELEC;FLUK,179/EDA2,MULT,ACCESSORY | METER,ELECTRICAL;MNFR:FLUKE,PTNO:179/EDA2,ADDITIONAL FEATURES EN:MULTI,ACCESSORY KIT | 01)BLACKWOODS,01)179/EDA2,METER,ELECTRICAL,01)MULTI,ACCESSORY KIT | 179/EDA2 | 3000278 | FLUKE | FLUKE | 179/EDA2 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | ELECTRICAL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MULTI,ACCESSORY KIT | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1273761 | 1273761 | METER,ELEC;FLUK,FLU179,1000V ,TRUE RMS | METER,ELECTRICAL;MNFR:FLUKE,PTNO:FLU179,ADDITIONAL FEATURES EN:1000V ,TRUE RMS | 01)BLACKWOODS,01)01280498,METER,ELECTRICAL,01)1000V ,TRUE RMS | FLU179 | 3000278 | FLUKE | FLUKE | FLU179 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | ELECTRICAL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1000V,TRUE RMS | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1219767 | 1219767 | METER,ELEC;FLUK,FLU773,CLAMP METER MILLI | METER,ELECTRICAL;MNFR:FLUKE,PTNO:FLU773,ADDITIONAL FEATURES EN:CLAMP METER MILLI-AMP PROCESS | 01)CNW (MOUNT ISA) ELECT WHO,01)FLU773,METER,ELECTRICAL,01)CLAMP METER MILLI-AMP PROCE | FLU773 | 3000278 | FLUKE | FLUKE | FLU773 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | ELECTRICAL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CLAMP METER MILLI-AMP PROCESS | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1273351 | 1273351 | METER,FLW;ABB,FEH632DN50FET632,DN50,IP67 | METER,FLOW;MNFR:ABB,PTNO:FEH632DN50FET632,ADDITIONAL FEATURES EN:DN50,IP67,WAFER MOUNT |  | FEH632DN50FET632 | 3000014 | ABB | ABB | FEH632DN50FET632 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN50,IP67,WAFER MOUNT | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1267078 | 1267078 | METER,FLW;ABB,FEP631,PROCESSMASTER,MGNTC | METER,FLOW;MNFR:ABB,PTNO:FEP631,ADDITIONAL FEATURES EN:PROCESSMASTER,MAGNETIC,INTEGRAL MOUNT | 01)ABB AUSTRALIA PTY LTD,01)FEP631,METER,FLOW,01)PROCESSMASTER,MAGNETIC,INTE | FEP631 | 3000014 | ABB | ABB | FEP631 | [5 empty] | https://www.futuristicclimatecontrols.in/products/electromagnetic-flow-meter | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROCESSMASTER,MAGNETIC,INTEGRAL MOUNT | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1332692 | 1332692 | METER,FLW;YOKG,AXR100G-J1AL1L-BA21-41B | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXR100G-J1AL1L-BA21-41B,ADDITIONAL FEATURES EN: TWO-WIRE MAGNETIC 100MM/4I | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXR100G-J1AL1L-BA21-41B,METER,FLOW,01) TWO-WIRE MAGNETIC 100MM/4I | AXR100G-J1AL1L-BA21-41B | 3000446 | YOKOGAWA | YOKOGAWA | AXR100G-J1AL1L-BA21-41B | [5 empty] | https://web-material3.yokogawa.com/GS01E30D01-01EN.pdf | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TWO-WIRE MAGNETIC 100MM/4I | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1267050 | 1267050 | METER,FLW;YOKG,AXR150G-J1AL1L-AD21-41B | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXR150G-J1AL1L-AD21-41B,ADDITIONAL FEATURES EN: TWO-WIRE MAGNETIC 150MM/6I | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXR150G-J1AL1L-AD21-41B,METER,FLOW,01) TWO-WIRE MAGNETIC 150MM/6I | AXR150G-J1AL1L-AD21-41B | 3000446 | YOKOGAWA | YOKOGAWA | AXR150G-J1AL1L-AD21-41B | [5 empty] | https://web-material3.yokogawa.com/GS01E30D01-01EN.pdf | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TWO-WIRE MAGNETIC 150MM/6I | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1276403 | 1276403 | METER,FLW;YOKG,AXW200-GA000AA1DH224B-1JA | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXW200-GA000AA1DH224B-1JA11/GRL,ADDITIONAL FEATURES EN:MAGNETIC,200 MM |  | AXW200-GA000AA1DH224B-1JA11/GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXW200-GA000AA1DH224B-1JA11/GRL | [5 empty] | https://web-material3.yokogawa.com/SD01E24D02-01EN.pdf | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MAGNETIC,200 MM | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1268075 | 1268075 | METER,FLW;YOKG,AXW250-GEOOOCA1UZ214B-NNN | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXW250-GEOOOCA1UZ214B-NNNNN/GRL/Z,ADDITIONAL FEATURES EN:MAGNETIC,250MM | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXW250-GEOOOCA1UZ214B-NNNNN,METER,FLOW,01)MAGNETIC,250MM | AXW250-GEOOOCA1UZ214B-NNNNN/GRL/Z | 3000446 | YOKOGAWA | YOKOGAWA | AXW250-GEOOOCA1UZ214B-NNNNN/GRL/Z | [5 empty] | https://web-material3.yokogawa.com/SD01E24D02-01EN.pdf | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MAGNETIC,250MM | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1272780 | 1272780 | METER,FLW;YOKG,AXW500G-BNFL1N-CA1N-4NB/G | METER,FLOW;MNFR:YOKOGAWA,PTNO:AXW500G-BNFL1N-CA1N-4NB/GR1,ADDITIONAL FEATURES EN:DN500 | 01)KEYFLO PACIFIC PTY LTD,01)AXW500G-BNFL1N-CA1N-4NB/GR1,METER,FLOW,01)DN500 | AXW500G-BNFL1N-CA1N-4NB/GR1 | 3000446 | YOKOGAWA | YOKOGAWA | AXW500G-BNFL1N-CA1N-4NB/GR1 | [5 empty] | https://web-material3.yokogawa.com/SD01E24D02-01EN.pdf | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN500 | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1322065 | 1322065 | METER;ABB,303B1065S(10A6131FB2B1X00AAE) | METER;MNFR:ABB,PTNO:303B1065S(10A6131FB2B1X00AAE) | METER | 303B1065S(10A6131FB2B1X00AAE) | 3000014 | ABB | ABB | 303B1065S |  | ABB | 10A6131FB2B1X00AAE |  |  | NOT FOUND | [10 empty] | CLEANSED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1258195 | 1258195 | METER;ABB,3ADV050114P0001 | METER;MNFR:ABB,PTNO:3ADV050114P0001 | METER | 3ADV050114P0001 | 3000014 | ABB | ABB | 3ADV050114P0001 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1215547 | 1215547 | METER;ABB,ABBFEP631,FLW,INTEGRAL MOUNT | METER;MNFR:ABB,PTNO:ABBFEP631,ADDITIONAL FEATURES EN:FLOW,INTEGRAL MOUNT | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBFEP631,METER,01)FLOW,INTEGRAL MOUNT | ABBFEP631 | 3000014 | ABB | ABB | FEP631 | [5 empty] | https://www.futuristicclimatecontrols.in/products/electromagnetic-flow-meter | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLOW,INTEGRAL MOUNT | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1271653 | 1271653 | METER;ABB,LSE 16-911.190 | METER;MNFR:ABB,PTNO:LSE 16-911.190 | METER | LSE 16-911.190 | 3000014 | ABB | ABB | LSE 16-911.190 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1273316 | 1273316 | METER;FLUK,971,TEMPERATURE HUMIDITY,NTC | METER;MNFR:FLUKE,PTNO:971,ADDITIONAL FEATURES EN:TEMPERATURE HUMIDITY,NTC,RANGE:-20 TO 60 DEG C |  | 971 | 3000278 | FLUKE | FLUKE | 971 | [5 empty] | https://www.fluke.com/en-in/product/building-infrastructure/indoor-air-quality-testing/fluke-971 | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TEMPERATURE HUMIDITY,NTC | [48 empty] | RANGE:-20 TO 60 DEG C | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1260011 | 1260011 | METER;FLUK,FLU1577 | METER;MNFR:FLUKE,PTNO:FLU1577 |  | FLU1577 | 3000278 | FLUKE | FLUKE | 1577 | [5 empty] | https://dam-assets.fluke.com/s3fs-public/2442164_B_w.pdf | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1267107 | 1267107 | METER;FLUK,FLU368FC,LEAKAGE CURRENT CLMP | METER;MNFR:FLUKE,PTNO:FLU368FC,ADDITIONAL FEATURES EN:LEAKAGE CURRENT CLMP | 01)CNW (MOUNT ISA) ELECT WHO,01)FLU368FC,METER,01)LEAKAGE CURRENT CLMP | FLU368FC | 3000278 | FLUKE | FLUKE | 368FC | [5 empty] | https://dam-assets.fluke.com/s3fs-public/368fc___qreng0000.pdf | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LEAKAGE CURRENT CLMP | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1266997 | 1266997 | METER;FLUK,FLUBT521,ANALYSER BATTERY 0TO | METER;MNFR:FLUKE,PTNO:FLUBT521,ADDITIONAL FEATURES EN:ANALYSER BATTERY 0TO 60DEG C LCD BT521 | 01)CNW (MOUNT ISA) ELECT WHO,01)FLUBT521,METER,01)ANALYSER BATTERY 0TO 60DEG | FLUBT521 | 3000278 | FLUKE | FLUKE | BT521 | [5 empty] | https://dam-assets.fluke.com/s3fs-public/bt521___qreng0000.pdf | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANALYSER BATTERY 0TO 60DEG C LCD BT521 | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1269840 | 1269840 | MOTOR,AC;ABB,3GBA102520-ASD,4P,2.2KW,3PH | MOTOR,AC;MNFR:ABB,PTNO:3GBA102520-ASD,ADDITIONAL FEATURES EN:4P,2.2KW,3PH,100LB,FT | 01)HAYMANS ELECTRICAL (SERVI,01)ABB3GBA102520-ASD,MOTOR,AC,01)4P,2.2KW,3PH,100LB,FT | 3GBA102520-ASD | 3000014 | ABB | ABB | 3GBA102520-ASD | [5 empty] | https://new.abb.com/products/3GBA102520-ASD/3gba102520-asd | [10 empty] | ENRICHED |  | MOTOR | AC | TYPE |  | FRAME SIZE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4P,2.2KW,3PH,100LB,FT | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1248108 | 1248108 | MOTOR;ABB,1YHB00000001458 | MOTOR;MNFR:ABB,PTNO:1YHB00000001458 | MOTOR | 1YHB00000001458 | 3000014 | ABB | ABB | 1YHB00000001458 | [5 empty] | https://new.abb.com/products/1YHB00000001458/1yhb00000001458 | [10 empty] | ENRICHED | 39121500 Switches & controls & relays | UNIT | CONTROL | TYPE | MOTOR DRIVE | SIZE |  | ELECTRICAL RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1248648 | 1248648 | MOTOR;ABB,250KWD355S4P | MOTOR;MNFR:ABB,PTNO:250KWD355S4P | MOTOR | 250KWD355S4P | 3000014 | ABB | ABB | 250KWD355S4P | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1248264 | 1248264 | MOTOR;ABB,3GAA092520-BGE | MOTOR;MNFR:ABB,PTNO:3GAA092520-BGE | MOTOR | 3GAA092520-BGE | 3000014 | ABB | ABB | 3GAA092520-BGE | [5 empty] | https://new.abb.com/products/el/3GAA092520-BGE/3gaa092520-bge | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | [9 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | SQUIRREL CAGE | FRAME SIZE | 90 | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION | IP55 | ENCLOSURE |  | MOUNTING TYPE | FLANGE | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE | S1 | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1324805 | 1324805 | MOTOR;ABB,3GAA111442-AHE | MOTOR;MNFR:ABB,PTNO:3GAA111442-AHE | MOTOR | 3GAA111442-AHE | 3000014 | ABB | ABB | 3GAA111442-AHE | [5 empty] | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | https://new.abb.com/products/3GAA111442-AHE/3gaa111442-ahe | [9 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | SQUIRREL CAGE | FRAME SIZE | 112 | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 2 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE | FOOT | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1220397 | 1220397 | MOTOR;ABB,3GAA111442-HHE | MOTOR;MNFR:ABB,PTNO:3GAA111442-HHE | MOTOR | 3GAA111442-HHE | 3000014 | ABB | ABB | 3GAA111442-HHE | [5 empty] | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE | 112 | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 2 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE | FLANGE,FOOT | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1335610 | 1335610 | MOTOR;ABB,3GAA112001-BSA | MOTOR;MNFR:ABB,PTNO:3GAA112001-BSA | MOTOR | 3GAA112001-BSA | 3000014 | ABB | ABB | 3GAA112001-BSA | [5 empty] | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | https://motors.bonnew.com/abb-3gaa112001-bsa.html#additional | [9 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE | 112 | POWER RATING | 4 KW | VOLTAGE RATING | 690 VAC | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL | ALUMINUM | DEGREE OF PROTECTION | IP55 | ENCLOSURE | TEFC | MOUNTING TYPE | FLANGE | SERVICE FACTOR |  | INSULATION CLASS | F | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1220100 | 1220100 | MOTOR;ABB,3GAA162002-HAD | MOTOR;MNFR:ABB,PTNO:3GAA162002-HAD | MOTOR | 3GAA162002-HAD | 3000014 | ABB | ABB | 3GAA162002-HAD | [5 empty] | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE | 160 | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE | FLANGE,FOOT | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1324806 | 1324806 | MOTOR;ABB,3GAA252031-HDG | MOTOR;MNFR:ABB,PTNO:3GAA252031-HDG | MOTOR | 3GAA252031-HDG | 3000014 | ABB | ABB | 3GAA252031-HDG | [5 empty] | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE | 250 | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE | FLANGE,FOOT | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1215543 | 1215543 | MOTOR;ABB,3GAA252230-ADG,90KW,4P,1000V | MOTOR;MNFR:ABB,PTNO:3GAA252230-ADG,ADDITIONAL FEATURES EN:90KW,4P,1000V, B35 FOOT & FLANGE 250SMC FRAME | 01)QUICKPRO ELECTRICAL PTY L,01)3GAA252230-ADG,MOTOR,01)90KW,4P,1000V,02) B35 FOOT & FLANGE 250SMC F | 3GAA252230-ADG | 3000014 | ABB | ABB | 3GAA252230-ADG |  | QUICKPRO ELECTRICAL PTY |  |  |  | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE | 250 | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE | FOOT | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1220387 | 1220387 | MOTOR;ABB,AMZ1600QQ16 | MOTOR;MNFR:ABB,PTNO:AMZ1600QQ16 | MOTOR | AMZ1600QQ16 | 3000014 | ABB | ABB | AMZ1600QQ16 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1324178 | 1324178 | MOTOR;ABB,M2VA71C/4 | MOTOR;MNFR:ABB,PTNO:M2VA71C/4 | MOTOR | M2VA71C/4 | 3000014 | ABB | ABB | M2VA71C/4 | [5 empty] | https://sbindustrialsupply.com/shop/new-abb-m2va71c-4-motor-m2va71c4-71c40077/ | [10 empty] | ENRICHED |  | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-07 |  | 1211642 | 1211642 | MOTOR;ABB,M2VA71C4HO | MOTOR;MNFR:ABB,PTNO:M2VA71C4HO | MOTOR | M2VA71C4HO | 3000014 | ABB | ABB | M2VA71C4HO | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed