## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254338 | 1254338 | ADAPTER;PRKH,P-DM20PF-PK,1/4 IN,FMALE,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM20PF-PK,ADDITIONAL FEATURES EN:1/4 IN,FMALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM20PF-PK,ADAPTER,01)1/4 IN,FMALE,PK | P-DM20PF-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM20PF-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 1/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:FEMALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1276311 | 1276311 | ADAPTER;PRKH,P-DM20PH-PK,1/4 IN,M,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM20PH-PK,ADDITIONAL FEATURES EN:1/4 IN,MALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM20PH-PK,ADAPTER,01)1/4 IN,MALE,PK | P-DM20PH-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM20PH-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 1/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:MALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254422 | 1254422 | ADAPTER;PRKH,P-DM20PM-PK,1/4 IN,M,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM20PM-PK,ADDITIONAL FEATURES EN:1/4 IN,MALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM20PM-PK,ADAPTER,01)1/4 IN,MALE,PK | P-DM20PM-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM20PM-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 1/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:MALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254426 | 1254426 | ADAPTER;PRKH,P-DM20SH-PK,1/4 HSE | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM20SH-PK,ADDITIONAL FEATURES EN:1/4 HSE | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM20SH-PK,ADAPTER,01)1/4 HSE | P-DM20SH-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM20SH-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141734 Hose fitting | ADAPTER | HOSE | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254339 | 1254339 | ADAPTER;PRKH,P-DM30PF-PK,3/8 IN,FMALE,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM30PF-PK,ADDITIONAL FEATURES EN:3/8 IN,FMALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM30PF-PK,ADAPTER,01)3/8 IN,FMALE,PK | P-DM30PF-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM30PF-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 3/8 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:FEMALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1275674 | 1275674 | ADAPTER;PRKH,P-DM30PH-PK,3/8 IN,M,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM30PH-PK,ADDITIONAL FEATURES EN:3/8 IN,MALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM30PH-PK,ADAPTER,01)3/8 IN,MALE,PK | P-DM30PH-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM30PH-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 3/8 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:MALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254423 | 1254423 | ADAPTER;PRKH,P-DM30PM-PK,3/8 IN MALE,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM30PM-PK,ADDITIONAL FEATURES EN:3/8 IN MALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM30PM-PK,ADAPTER,01)3/8 IN MALE,PK | P-DM30PM-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM30PM-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 3/8 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:MALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254427 | 1254427 | ADAPTER;PRKH,P-DM30SH-PK,3/8 HSE | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM30SH-PK,ADDITIONAL FEATURES EN:3/8 HSE | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM30SH-PK,ADAPTER,01)3/8 HSE | P-DM30SH-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM30SH-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141734 Hose fitting | ADAPTER | HOSE | TYPE |  | NOMINAL SIZE | 3/8 IN | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254424 | 1254424 | ADAPTER;PRKH,P-DM40PF-PK,1/2 IN,FMALE,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM40PF-PK,ADDITIONAL FEATURES EN:1/2 IN,FMALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM40PF-PK,ADAPTER,01)1/2 IN,FMALE,PK | P-DM40PF-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM40PF-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 1/2 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:FEMALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254425 | 1254425 | ADAPTER;PRKH,P-DM40PH-PK,1/2 IN,M,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM40PH-PK,ADDITIONAL FEATURES EN:1/2 IN,MALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM40PH-PK,ADAPTER,01)1/2 IN,MALE,PK | P-DM40PH-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM40PH-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 1/2 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:MALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254337 | 1254337 | ADAPTER;PRKH,P-DM40PM-PK,1/2 IN,M,PK | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM40PM-PK,ADDITIONAL FEATURES EN:1/2 IN,MALE,PK | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM40PM-PK,ADAPTER,01)1/2 IN,MALE,PK | P-DM40PM-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM40PM-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40170000 Pipe piping and pipe fittings | ADAPTER | NO MODIFIER | TYPE |  | SIZE | 1/2 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | END CONNECTION:MALE,PK | [61 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1254428 | 1254428 | ADAPTER;PRKH,P-DM40SH-PK,1/2 HSE | ADAPTER;MNFR:PARKER HANNIFIN,PTNO:P-DM40SH-PK,ADDITIONAL FEATURES EN:1/2 HSE | 01)ENZED MOUNT ISA(RKM INVES,01)ENZ-DM40SH-PK,ADAPTER,01)1/2 HSE | P-DM40SH-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | P-DM40SH-PK |  | ENZED MOUNT ISA(RKM INVESTMENT) |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141734 Hose fitting | ADAPTER | HOSE | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269567 | 1269567 | TIRE;BRST,11003827,PNEU,215/70R16C 108T | TIRE;MNFR:BRIDGESTONE,PTNO:11003827,ADDITIONAL FEATURES EN:PNEUMATIC,215/70R16C 108T BS R710 ECO | 01)BRIDGESTONE AUSTRALIA LTD,01)11003827,TIRE,01)PNEUMATIC,215/70R16C 108T B | 11003827 | 3000421 | BRIDGESTONE AUSTRALIA LTD | BRIDGESTONE | 11003827 |  |  | BS R710 ECO |  |  | https://www.bridgestone.com.au/product/11003827 | [10 empty] | CLEANSED | 25172500 Tires and tire tubes | TIRE | NO MODIFIER | TYPE | PNEUMATIC | SIZE | 215/70R16C | MATERIAL |  | LOAD CAPACITY | 108 TON | NUMBER OF PLYS |  | TREAD TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269568 | 1269568 | TIRE;BRST,11004648,PNEU,245/70R16LT 118P | TIRE;MNFR:BRIDGESTONE,PTNO:11004648,ADDITIONAL FEATURES EN:PNEUMATIC,245/70R16LT 118P BS D673 OWT | 01)BRIDGESTONE AUSTRALIA LTD,01)11004648,TIRE,01)PNEUMATIC,245/70R16LT 118P | 11004648 | 3000421 | BRIDGESTONE AUSTRALIA LTD | BRIDGESTONE | 11004648 |  |  | BS D673 OWT |  |  | https://www.dowlingmccarthytyres.com.au/tyres/brands/bridgestone/bridgestone-dueler-mt-673?productcodefront=11004648 | [10 empty] | CLEANSED | 25172500 Tires and tire tubes | TIRE | NO MODIFIER | TYPE | PNEUMATIC | SIZE | 245/70R16LT 118P | MATERIAL |  | LOAD CAPACITY |  | NUMBER OF PLYS |  | TREAD TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269569 | 1269569 | TIRE;BRST,11006117,PNEU,195R15C 106/104S | TIRE;MNFR:BRIDGESTONE,PTNO:11006117,ADDITIONAL FEATURES EN:PNEUMATIC,195R15C 106/104S 8 BS R623 | 01)BRIDGESTONE AUSTRALIA LTD,01)11006117,TIRE,01)PNEUMATIC,195R15C 106/104S | 11006117 | 3000421 | BRIDGESTONE AUSTRALIA LTD | BRIDGESTONE | 11006117 | [5 empty] | https://www.magwheel.com.au/tyres-melbourne/details/bridgestone/3131/r623?productcode=11006117 | [10 empty] | CLEANSED | 25172500 Tires and tire tubes | TIRE | NO MODIFIER | TYPE | PNEUMATIC | SIZE | 195R15C 106/104S 8 | MATERIAL |  | LOAD CAPACITY |  | NUMBER OF PLYS |  | TREAD TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1273509 | 1273509 | TIRE;TENN,1060626,SOLID,300MM X100MM,URE | TIRE;MNFR:TENNANT,PTNO:1060626,ADDITIONAL FEATURES EN:SOLID,300MM X100MM,URE |  | 1060626 | 3000358 | TENNANT | TENNANT | 1060626 | [5 empty] | https://www.tennantco.com/en_us/1/parts/product.tire-assy-solid-300mm-x-100mm-ure.1060626.html | [10 empty] | ENRICHED | 25172500 Tires and tire tubes | TIRE | NO MODIFIER | TYPE | SOLID | SIZE | 300X100 MM | MATERIAL |  | LOAD CAPACITY |  | NUMBER OF PLYS |  | TREAD TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | URE | [55 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217184 | 1217184 | VALVE,BAL;DRVT,4A-MB6LPFA-SSP,1/4 IN NB | VALVE,BALL;MNFR:DRIVETRAIN,PTNO:4A-MB6LPFA-SSP,ADDITIONAL FEATURES EN:1/4 IN NB,0-3000PSI,SET@1000PSI,SCREWED,NPT FLANGES,SS316 BODY,C/W | 01)DRIVETRAIN AUSTRALIA,01)4A-MB6LPFA-SSP,VALVE,BALL,01)1/4 IN NB,0-3000PSI,SET@100 | 4A-MB6LPFA-SSP | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 4A-MB6LPFA-SSP | [5 empty] | https://valinonline.com/products/4a-mb6lpfa-ssp | [10 empty] | ENRICHED | 40141607 Ball valves | VALVE | BALL | TYPE | MINIATURE | NOMINAL SIZE | 1/4 IN NB | END CONNECTION | NPT FLANGES,SCREWED | PRESSURE CLASS/RATING | 0 TO 3000 PSIG SET | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION | 2-WAY | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING | 300 DEG F | END TO END DISTANCE |  | OPERATED | DIRECTIONAL HANDLE ACTUATION | TRIM | PFA SEAT | SOFTGOODS | PFA PACKING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217180 | 1217180 | VALVE,BAL;DRVT,8F-SWB8L-RT-T-SS,60 SERIE | VALVE,BALL;MNFR:DRIVETRAIN,PTNO:8F-SWB8L-RT-T-SS,ADDITIONAL FEATURES EN:60 SERIES,1/2 IN FEMALE NPT,THDX 1/2 IN FEMALE,NPT THD, SS316 | 01)DRIVETRAIN AUSTRALIA,01)8F-SWB8L-RT-T-SS,VALVE,BALL,01)60 SERIES,1/2 IN FEMALE NPT | 8F-SWB8L-RT-T-SS | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 8F-SWB8L-RT-T-SS | [5 empty] | https://valinonline.com/products/8f-swb8l-rt-t-ss | [10 empty] | ENRICHED | 40141607 Ball valves | VALVE | BALL | TYPE | SWING-OUT | NOMINAL SIZE | 1/2 IN | END CONNECTION | FNPT | PRESSURE CLASS/RATING | 2500 PSIG | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION | 2-WAY | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING | 350 DEG F | END TO END DISTANCE |  | OPERATED | MANUALLY | TRIM | REINFORCED PTFE | SOFTGOODS | PTFE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 60 SERIES | [41 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217149 | 1217149 | VALVE,BAL;DRVT,CBV35-T16L,1IN,3 WAY VALV | VALVE,BALL;MNFR:DRIVETRAIN,PTNO:CBV35-T16L,ADDITIONAL FEATURES EN:1IN,3 WAY VALVE,BRASS | 01)DRIVETRAIN AUSTRALIA,01)CBV35-T16L,VALVE,BALL,01)1IN,3 WAY VALVE,BRASS | CBV35-T16L | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | CBV35-T16L | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141607 Ball valves | VALVE | BALL | TYPE |  | NOMINAL SIZE | 1 IN | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | BRASS | CONFIGURATION | 3-WAY | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217147 | 1217147 | VALVE,BAL;DRVT,KH1/2X,1/2IN, HIGH PRESSU | VALVE,BALL;MNFR:DRIVETRAIN,PTNO:KH1/2X,ADDITIONAL FEATURES EN:1/2IN, HIGH PRESSURE, 2 WAY,STEEL,SPBV-08 | 01)DRIVETRAIN AUSTRALIA,01)KH1/2X,VALVE,BALL,01)1/2IN, HIGH PRESSURE, 2 WAY | KH1/2X | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | KH1/2X |  |  | SPBV-08 |  |  | https://www.hkhydraulic.com/kh1-2x | [10 empty] | CLEANSED | 40141607 Ball valves | VALVE | BALL | TYPE | HIGH PRESSURE | NOMINAL SIZE | 1/2 IN | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STEEL | CONFIGURATION | 2-WAY | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217151 | 1217151 | VALVE,BAL;DRVT,KH3/2-1/2X,1/2IN,HGH PRES | VALVE,BALL;MNFR:DRIVETRAIN,PTNO:KH3/2-1/2X,ADDITIONAL FEATURES EN:1/2IN,HIGH PRESSURE,3WAY,L PORT,STEEL | 01)DRIVETRAIN AUSTRALIA,01)KH3/2-1/2X,VALVE,BALL,01)1/2IN,HIGH PRESSURE,3WAY,L | KH3/2-1/2X | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | KH3/2-1/2X | [5 empty] | https://www.hydradynellc.com/product/kh3-2-1-2x/kh-3-way-compact-bspp-ball-valve-steel | [10 empty] | ENRICHED | 40141607 Ball valves | VALVE | BALL | TYPE | HIGH PRESSURE | NOMINAL SIZE | 1/2 IN | END CONNECTION | FBSPP | PRESSURE CLASS/RATING |  | BODY MATERIAL | STEEL | CONFIGURATION | 3-WAY | PORT TYPE | L | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE | 82 MM | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 1179-1 | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217152 | 1217152 | VALVE,BAL;DRVT,KH3/4X,3/4IN,HGH PRESS,2S | VALVE,BALL;MNFR:DRIVETRAIN,PTNO:KH3/4X,ADDITIONAL FEATURES EN:3/4IN,HIGH PRESSURE,2 WAY,STEEL | 01)DRIVETRAIN AUSTRALIA,01)KH3/4X,VALVE,BALL,01)3/4IN,HIGH PRESSURE,2 WAY,S | KH3/4X | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | KH3/4X | [5 empty] | https://www.hydradynellc.com/product/kh3-4x/kh-r-npt-two-way-ball-valve?q=KH3%2f4X | [10 empty] | ENRICHED | 40141607 Ball valves | VALVE | BALL | TYPE | HIGH PRESSURE | NOMINAL SIZE | 3/4 IN-14 TPI | END CONNECTION | BSPP | PRESSURE CLASS/RATING |  | BODY MATERIAL | STEEL | CONFIGURATION | 2-WAY | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE | 93 MM | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269653 | 1269653 | VALVE,BAL;EPM,2344805,DN50 ACID,EB11 KTM | VALVE,BALL;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:2344805,ADDITIONAL FEATURES EN:DN50 ACID,EB11 KTM FLANGED ANSI 150 SS,COMPLETE WITH LEVER | 01)EMERSON AUTOMATION SOLUTI,01)2344805,VALVE,BALL,01)DN50 ACID,EB11 KTM FLANGED,02)COMPLETE WITH LEVER | 2344805 | 3000268 | EMERSON PROCESS MANAGEMENT | EMERSON PROCESS MANAGEMENT | 2344805 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141607 Ball valves | VALVE | BALL | TYPE |  | NOMINAL SIZE | DN50 | END CONNECTION | EB11 KTM FLANGED | PRESSURE CLASS/RATING | 150 LB | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED | LEVER | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI | ADDITIONAL FEATURES EN | ACID | [41 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 | PARTIAL MATCH PART NUMBER | 1269741 | 1269741 | VALVE,BAL;HYDA,701592,3/4 IN 3WY H/PRESS | VALVE,BALL;MNFR:HYDAC,PTNO:701592,ADDITIONAL FEATURES EN:3/4 IN 3WY H/PRESS 500BAR KHB3K-G3/4-L-1114-01X | 01)ISADRAULICS,01)701592,VALVE,BALL,01)3/4 IN 3WY H/PRESS 500BAR K | 701592 | 3000292 | HYDAC | HYDAC | KHB3K-G3/4-L-1114-01X |  | ISADRAULICS | 701592 |  |  | https://www.hydac.com/shop/en/856704 | [10 empty] | ENRICHED | 40141607 Ball valves | VALVE | BALL | TYPE | HIGH PRESSURE | NOMINAL SIZE | 3/4 IN | END CONNECTION | FBSPP | PRESSURE CLASS/RATING | 500 BAR | BODY MATERIAL | STEEL | CONFIGURATION | 2-WAY | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3/4 IN 3WY H/PRESS 500BAR KHB3K-G3/4-L-1114-01X | [41 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217182 | 1217182 | VALVE,BLEED;DRVT,8M-BV8-SS-T,HYD SYSTEM | VALVE,BLEED;MNFR:DRIVETRAIN,PTNO:8M-BV8-SS-T,ADDITIONAL FEATURES EN:HYD SYSTEM,1/2 IN MALE NPT,TAPER THD X3/16 IN ,TUBE STUB,SS316 | 01)DRIVETRAIN AUSTRALIA,01)8M-BV8-SS-T,VALVE,BLEED,01)HYD SYSTEM,1/2 IN MALE NPT | 8M-BV8-SS-T | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | 8M-BV8-SS-T | [5 empty] | https://www.zoro.com/parker-bleed-npt-12in-needle-valve-8m-bv8-ss-t/i/G507145744/ | [10 empty] | ENRICHED | 40141658 Block and bleed valve | VALVE | BLEED | TYPE | NEEDLE | NOMINAL SIZE | 1/2X3/8 IN | END CONNECTION | MNPT TAPER X TUBE STUB | CONFIGURATION |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | OPERATED |  | TRIM |  | SOFTGOODS |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HYDRAULIC SYSTEM | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1215559 | 1215559 | VALVE,BUTRFLY;EPM,11109043&11277507,DN80 | VALVE,BUTTERFLY;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:11109043&11277507,ADDITIONAL FEATURES EN:DN80,KEYSTONE GRW,MODEL:80 GRW D12E AE,DI BODY,316SS DISC,EPDM SEAT,WAFER TABLE-E,C/W F89U 009 SPRING TO CLOSE ACTUATOR | 01)KEYFLO PACIFIC PTY LTD,01)11109043 & 11277507,VALVE,BUTTERFLY,01)DN80,KEYSTONE GRW,02)MODEL:80 GRW D12E AE,03)DI BODY,316SS DISC,EPDM SEA,04)C/W F89U 009 SPRING TO CLOS | 11109043&11277507 | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 11109043 |  |  | 11277507 |  | 80 GRW D12E AE | https://www.blackwoods.com.au/valves-flow-control/valves-flow-control-miscellaneous/valves-and-flow-control-miscellaneous/dixon-11109043-butterfly-valve-keystone-bare-shaft-80mm/p/01741841 | https://www.mjwilsongroup.co.uk/dynamic/pdfs/Keystone-GR-Butterfly-Valve-Pentair.pdf | [9 empty] | ENRICHED | 40141600 Valves | VALVE | BUTTERFLY | TYPE |  | NOMINAL SIZE | DN80 | END CONNECTION |  | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | DUCTILE IRON | PRESSURE CLASS/RATING | 16 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING | -42 TO 160 DEG C | OPERATED |  | TRIM | STAINLESS STEEL 316 DISC/SHAFT,EPDM SEAT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | KIWA,ABS,WRAS,ACS,NSF/ANSI STD 61. | ADDITIONAL FEATURES EN | KEYSTONE GRW,WAFER TABLE-E,C/W F89U 009 SPRING TO CLOSE ACTUATOR | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1271702 | 1271702 | VALVE,CTRL;CLRK,11011657,BEVL,G/BOX ACTU | VALVE,CONTROL;MNFR:CLARKSON VALVE CO,PTNO:11011657,ADDITIONAL FEATURES EN:BEVEL,G/BOX ACTUATOR | 01)KEYFLO PACIFIC PTY LTD,01)11011657,VALVE,CONTROL,01)BEVEL,G/BOX ACTUATOR | 11011657 | 3000253 | CLARKSON VALVE CO | CLARKSON VALVE CO | 11011657 |  | KEYFLO PACIFIC PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141609 Control valves | VALVE | CONTROL | TYPE | BEVEL | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR G/BOX ACTUATOR | [35 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1271701 | 1271701 | VALVE,CTRL;CLRK,2044871,BEVL,G/BOX ACTUA | VALVE,CONTROL;MNFR:CLARKSON VALVE CO,PTNO:2044871,ADDITIONAL FEATURES EN:BEVEL,G/BOX ACTUATOR | 01)KEYFLO PACIFIC PTY LTD,01)2044871,VALVE,CONTROL,01)BEVEL,G/BOX ACTUATOR | 2044871 | 3000253 | CLARKSON VALVE CO | CLARKSON VALVE CO | 2044871 |  | KEYFLO PACIFIC PTY LTD |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141609 Control valves | VALVE | CONTROL | TYPE | BEVEL | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR G/BOX ACTUATOR | [35 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1217181 | 1217181 | VALVE,CTRL;DRVT,V2-517SDT,FLW,5P SERIES | VALVE,CONTROL;MNFR:DRIVETRAIN,PTNO:V2-517SDT,ADDITIONAL FEATURES EN:FLOW,5P SERIES,RISING PLUG,1/2 IN MALE NPT,TAPER THREAD X 1/2 IN FE | 01)DRIVETRAIN AUSTRALIA,01)V2-517SDT,VALVE,CONTROL,01)FLOW,5P SERIES,RISING PLUG | V2-517SDT | 3000461 | DRIVETRAIN | DRIVETRAIN | V2-517SDT | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141609 Control valves | VALVE | CONTROL | TYPE | FLOW | NOMINAL SIZE |  | END CONNECTION | 1/2 IN MNPT TAPER X 1/2 IN FEMALE | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:5P,RISING PLUG | [35 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1324796 | 1324796 | VALVE,CTRL;FLW,16 L/MIN,1-10 RA,MECMAN | VALVE,CONTROL;TYPE:FLOW,FLOW RATING:16 L/MIN,ADDITIONAL FEATURES EN:1-10 RA,MNFR:ABB,PTNO:627 340 070,MNFR:01)MECMAN,PTNO:01) MICRO 20C-16H | EN_01)FLOW,16 L/MIN,01)1-10 RA,01)MECMAN,01)MICRO 20C-16H,VALVE | 627 340 070 | 3000014 | ABB | MECMAN | MICRO 20C-16H |  | ABB | 627340070 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141609 Control valves | VALVE | CONTROL | TYPE | FLOW | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING | 16 L/MIN | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1-10 RAN | [35 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1324797 | 1324797 | VALVE,CTRL;FLW,4 L/MIN,1-10 RAN,MECMAN | VALVE,CONTROL;TYPE:FLOW,FLOW RATING:4 L/MIN,ADDITIONAL FEATURES EN:1-10 RAN,MNFR:ABB,PTNO:627 220 070,MNFR:01)MECMAN,PTNO:01) MICRO 20C-4.0H | EN_01)FLOW,4 L/MIN,01)1-10 RAN,01)MECMAN,01)MICRO 20C-4.0H,VALVE | 627 220 070 | 3000014 | ABB | MECMAN | MICRO 20C-4.0H |  | ABB | 627220070 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141609 Control valves | VALVE | CONTROL | TYPE | FLOW | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING | 4 L/MIN | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1-10 RAN | [35 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1210687 | 1210687 | VALVE,CTRL;HYDA,IBT45 | VALVE,CTRL;MNFR:HYDAC,PTNO:IBT45 |  | IBT45 | 3000292 | HYDAC | HYDAC | IBT45 | [5 empty] | https://paro.nl/library/components/hydac/ibt45 | [10 empty] | CLEANSED | 40141609 Control valves | VALVE | CONTROL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [36 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 | Processed based on Websource, Conflict w.r.t Input | 1269777 | 1269777 | VALVE,CTRL;PRKH,4M4A-B6LJ2-VSS-72C,12VDC | VALVE,CONTROL;MNFR:PARKER HANNIFIN,PTNO:4M4A-B6LJ2-VSS-72C,ADDITIONAL FEATURES EN:12VDC | 01)ISADRAULICS,01)4M4A-B6LJ2-VSS-72C,VALVE,CONTROL,01)12VDC | 4M4A-B6LJ2-VSS-72C | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4M4A-B6LJ2-VSS-72C |  | ISADRAULICS |  |  |  | http://www.increaseinc.cn/nh/ennh/list/parkerh.htm | [10 empty] | ENRICHED | 40141607 Ball valves | VALVE | BALL | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 12 VDC | [41 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 | Processed based on Websource, Conflict w.r.t Input | 1269778 | 1269778 | VALVE,CTRL;PRKH,4M4A-B6LJ2-V-SS-72D,1/4 | VALVE,CONTROL;MNFR:PARKER HANNIFIN,PTNO:4M4A-B6LJ2-V-SS-72D,ADDITIONAL FEATURES EN:1/4 IN 24VDC | 01)ISADRAULICS,01)4M4A-B6LJ2-V-SS-72D,VALVE,CONTROL,01)1/4 IN 24VDC | 4M4A-B6LJ2-V-SS-72D | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | 4M4A-B6LJ2-V-SS-72D | [5 empty] | https://valinonline.com/products/4m4a-b6lj2-v-ss-72d | [10 empty] | ENRICHED | 40141607 Ball valves | VALVE | BALL | TYPE |  | NOMINAL SIZE | 1/4 IN | END CONNECTION | MNPT | PRESSURE CLASS/RATING | 6000 PSIG | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION | 2-WAY | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING | 350 DEG F | END TO END DISTANCE |  | OPERATED | ELECTRIC ACTUATOR | TRIM | PCTFE | SOFTGOODS | FLUOROCARBON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 12 VDC | [41 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 | Processed based on Websource, Conflict w.r.t Input | 1270941 | 1270941 | VALVE,CTRL;PRKH,D1VW001CNYPH,DIRCTNL,PAR | VALVE,CONTROL;MNFR:PARKER HANNIFIN,PTNO:D1VW001CNYPH,ADDITIONAL FEATURES EN:DIRECTIONAL,PARKER,3000PSI | 01)REFPRO PTY LTD,01)D1VW001CNYPH,VALVE,CONTROL,01)DIRECTIONAL,PARKER,3000PSI | D1VW001CNYPH | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | D1VW001CNYPH | [5 empty] | https://ph.parker.com/in/en/product/directional-control-valve-d1vw/d1vw001cnyph | [10 empty] | ENRICHED | 40141600 Valves | VALVE | SPOOL | TYPE | DIRECTIONAL | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING | 5000 PSI | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | SOLENOID | BODY MATERIAL | DUCTILE IRON | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL RATING:110/120 VAC,50/60 HZ | [51 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 | Processed based on Websource, Conflict w.r.t Input | 1270942 | 1270942 | VALVE,CTRL;PRKH,D3W001CNYP,DIRCTNL | VALVE,CONTROL;MNFR:PARKER HANNIFIN,PTNO:D3W001CNYP,ADDITIONAL FEATURES EN:DIRECTIONAL | 01)REFPRO PTY LTD,01)D3W001CNYP,VALVE,CONTROL,01)DIRECTIONAL | D3W001CNYP | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | D3W001CNYP | [5 empty] | https://www.hydradynellc.com/product/d3w001cnyp/d3w001cnyp-industrial-hydraulic-valves | [10 empty] | ENRICHED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | DIRECTIONAL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 | Processed based on Websource, Conflict w.r.t Input | 1269541 | 1269541 | VALVE,CTRL;PRKH,DX3-621-BN,IS03 5/2 SOLE | VALVE,CONTROL;MNFR:PARKER HANNIFIN,PTNO:DX3-621-BN,ADDITIONAL FEATURES EN:IS03 5/2 SOLENOID SPRING NON-LOCK/O/RIDE/NO COIL | 01)ISADRAULICS,01)DX3-621-BN,VALVE,CONTROL,01)IS03 5/2 SOLENOID SPRING NO | DX3-621-BN | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | DX3-621-BN |  | ISADRAULICS |  |  |  | https://www.parker.com/Literature/Pneumatics%20Division%20Europe/PDE-Documents/Valves/Parker_Pneumatic_DX_ISOMAX_Global_ISO_Valves_PDE2568TCUK.pdf | [10 empty] | ENRICHED | 40141600 Valves | VALVE | SPOOL | TYPE |  | NOMINAL SIZE | 3 TO 71 MM | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION | 5/2 WAY | PRESSURE CLASS/RATING |  | DESIGN PRESSURE RANGE |  | ACTUATION TYPE | SOLENOID SPRING NON-LOCK/O/RIDE/NO COIL | BODY MATERIAL |  | CERTIFICATION/STANDARD | IS03 | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269081 | 1269081 | VALVE,DRN;DRAG,R34340,BG 4 EP | VALVE,DRAIN;MNFR:DRAEGER,PTNO:R34340,ADDITIONAL FEATURES EN:BG 4 EP | 01)ALLIANCE SAFETY EQUIPMENT,01)R34340,VALVE,DRAIN,01)BG 4 EP | R34340 | 3000423 | DRAEGER | DRAEGER | R34340 |  |  | BG 4 EP |  |  | https://www.wssupplystore.com/products/drager-drain-valve-bg4-ep | [10 empty] | CLEANSED | 40141600 Valves | VALVE | DRAIN | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | BODY MATERIAL |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1268587 | 1268587 | VALVE,EXPNSN;HINO,S885151070 | VALVE,EXPANSION;MNFR:HINO MOTORS,PTNO:S885151070 | 01)HONEYCOMBES SALES & SERVI,01)S885151070,VALVE,EXPANSION | S885151070 | 3000513 | HINO MOTORS | HINO MOTORS | S885151070 |  | HONEYCOMBES SALES & SERVICE |  |  |  | https://www.truckac.com/expansion-valve-block-type-hino-s885151070-t7171.html | [10 empty] | CLEANSED | 40141612 Expansion valves | VALVE | EXPANSION | TYPE |  | CONNECTION SIZE |  | END CONNECTION |  | TEMPERATURE RANGE |  | CONFIGURATION |  | CAPILLARY LENGTH |  | FLOW RATING |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | CAPACITY |  | TRIM |  | REFRIGERANT TYPE |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1270377 | 1270377 | VALVE,EXPNSN;HONE,265/00278 | VALVE,EXPANSION;MNFR:HONEYWELL,PTNO:265/00278 | 01)HONEYWELL PTY LTD,01)265/00278,VALVE,EXPANSION | 265/00278 | 3000290 | HONEYWELL | HONEYWELL PTY LTD | 265/00278 | [5 empty] | https://www.interpart.com/jcb-parts/cab-body/air-con-heating/valve-expansion/265-00278 | [10 empty] | CLEANSED | 40141612 Expansion valves | VALVE | EXPANSION | TYPE |  | CONNECTION SIZE |  | END CONNECTION |  | TEMPERATURE RANGE |  | CONFIGURATION |  | CAPILLARY LENGTH |  | FLOW RATING |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | CAPACITY |  | TRIM |  | REFRIGERANT TYPE |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1274198 | 1274198 | VALVE,FLOAT;25MM NB;OUTO,3061642 | FLOAT,VALVE: 25MM NB; MFR:OUTOKUMPU,PTNO:3061642 |  | 3061642 | 3000329 | OUTOKUMPU EQUIPMENT (OUTO | OUTOKUMPU | 3061642 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141610 Float valves | VALVE | FLOAT | TYPE |  | NOMINAL SIZE | 25 MM NB | END CONNECTION |  | BODY MATERIAL |  | DISCHARGE RATING |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOAT MATERIAL |  | TRIM |  | FLOAT DIAMETER |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269410 | 1269410 | VALVE,GTE;FLSM,TG16-EBAA-004,16 IN 400MM | VALVE,GATE;MNFR:FLSMIDTH,PTNO:TG16-EBAA-004,ADDITIONAL FEATURES EN:16 IN 400MM TG NEXT GEN SERIES TECHNEQUIP KNIFEGATE | 01)FLSMIDTH PTY LTD,01)TG16-EBAA-004,VALVE,GATE,01)16 IN 400MM TG NEXT GEN SER | TG16-EBAA-004 | 3000426 | FLSMIDTH | FLSMIDTH PTY LTD | TG16-EBAA-004 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141613 Gate valves | VALVE | GATE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 400 MM TG NEXT GEN SERIES TECHNEQUIP KNIFEGATE | [39 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1271203 | 1271203 | VALVE,METRNG;BREX,R901023841,ORBITAL,LAG | VALVE,METERING;MNFR:BOSCH REXROTH,PTNO:R901023841,ADDITIONAL FEATURES EN:ORBITAL,LAGC 125-15/LD240-175M0 | 01)ISADRAULICS,01)LAGC 125-15/LD240-175M01,VALVE,METERING,01)ORBITAL,LAGC 125-15/LD240-1 | R901023841 | 3000419 | BOSCH REXROTH | BOSCH REXROTH | R901023841 |  |  | LAGC 125-15/LD240-175M0 |  |  | https://www.powerpartspro.com/hydraulics/hydraulic-pumps/rexroth?start=62000 | [10 empty] | CLEANSED | 40141600 Valves | VALVE | METERING | TYPE | ORBITAL | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | FLOW COEFFICIENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1275801 | 1275801 | VALVE,METRNG;FUCH,FLA-6228010 | VALVE,METERING;MNFR:FUCHS LUBRICANTS,PTNO:FLA-6228010 | 01)FUCHS LUBRICANTS (A'SIA),01)FLA-6228010,VALVE,METERING | FLA-6228010 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS (A'SIA) | FLA-6228010 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141600 Valves | VALVE | METERING | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | FLOW COEFFICIENT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213084 | 1213084 | VALVE,NDL;DRVT,IFI00777 | VALVE,NEEDLE;MNFR:DRIVETRAIN,PTNO:IFI00777 | 01)DRIVETRAIN AUSTRALIA,01)IFI00777,VALVE,NEEDLE | IFI00777 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI00777 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141602 Needle valves | VALVE | NEEDLE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269742 | 1269742 | VALVE,NDL;HYDA,705026,3/8IN,DV-10-01.4/0 | VALVE,NEEDLE;MNFR:HYDAC,PTNO:705026,ADDITIONAL FEATURES EN:3/8IN,DV-10-01.4/0 | 01)ISADRAULICS,01)705026,VALVE,NEEDLE,01)3/8IN,DV-10-01.4/0 | 705026 | 3000292 | HYDAC | HYDAC | 705026 |  | ISADRAULICS | DV-10-01.4/0 |  |  | https://store.livhaven.com/705026-hydac-hydraulic-needle-valve | [10 empty] | ENRICHED | 40141602 Needle valves | VALVE | NEEDLE | TYPE | HYDRAULIC | NOMINAL SIZE | 3/8 IN | END CONNECTION | BSPP | PORT TYPE |  | END TO END DISTANCE | 28 MM | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | CARBON STEEL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | KNOB | TRIM |  | SOFTGOODS | FLUOROELASTOMER | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 3854 | ADDITIONAL FEATURES EN | [42 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269206 | 1269206 | VALVE,PLG;SWAG,SS-8P6T4-BK,1/2 IN FNPT | VALVE,PLUG;MNFR:SWAGELOK LTD,PTNO:SS-8P6T4-BK,ADDITIONAL FEATURES EN:1/2 IN FNPT BLK HANDLE | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-8P6T4-BK,VALVE,PLUG,01)1/2 IN FNPT BLK HANDLE | SS-8P6T4-BK | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-8P6T4-BK |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://products.swagelok.com/en/c/2-way-straight-pattern/p/SS-8P6T4-BK | [10 empty] | ENRICHED | 40141600 Valves | VALVE | PLUG | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | FNPT | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | BONNET JOINT |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BLACK HANDLE | [39 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269207 | 1269207 | VALVE,PLG;SWAG,SS-8P6T-BK,1/2IN TUBE END | VALVE,PLUG;MNFR:SWAGELOK LTD,PTNO:SS-8P6T-BK,ADDITIONAL FEATURES EN:1/2IN TUBE ENDS,BLK | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-8P6T-BK,VALVE,PLUG,01)1/2IN TUBE ENDS,BLK | SS-8P6T-BK | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-8P6T-BK |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://products.swagelok.com/en/c/2-way-straight-pattern/p/SS-8P6T-BK | [10 empty] | ENRICHED | 40141600 Valves | VALVE | PLUG | TYPE |  | NOMINAL SIZE | 1/2 IN | END CONNECTION | TUBE FITTING | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL 316 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | BONNET JOINT |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BLACK HANDLE | [39 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1271034 | 1271034 | VALVE,POPT;BREX,M-3SED6CK13/350CW110RN9K | VALVE,POPPET;MNFR:BOSCH REXROTH,PTNO:M-3SED6CK13/350CW110RN9K4L | 01)ISADRAULICS,01)M-3SED6CK13/350CW110RN9K4L,VALVE,POPPET | M-3SED6CK13/350CW110RN9K4L | 3000419 | BOSCH REXROTH | BOSCH REXROTH | M-3SED6CK13/350CW110RN9K4L |  | ISADRAULICS |  |  |  | https://docs.rs-online.com/1721/0900766b80033847.pdf | [10 empty] | ENRICHED | 40141641 Poppet valve | VALVE | POPPET | TYPE |  | NOMINAL SIZE | 6 IN | PORT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269084 | 1269084 | VALVE,RELF;DRAG,R34535,COMPLT,LP-WARNING | VALVE,RELIEF;MNFR:DRAEGER,PTNO:R34535,ADDITIONAL FEATURES EN:COMPLETE,LP-WARNING PSS BG4 | 01)ALLIANCE SAFETY EQUIPMENT,01)R34535,VALVE,RELIEF,01)COMPLETE,LP-WARNING PSS BG4 | R34535 | 3000423 | DRAEGER | DRAEGER | R34535 |  | ALLIANCE SAFETY EQUIPMENT |  |  |  | https://www.thesafetyequipmentstore.com/DRAEGER-R34535.html | [10 empty] | CLEANSED | 40141606 Relief valves | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W LP-WARNING PSS BG4 | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213464 | 1213464 | VALVE,RELF;DRVT,IFI32076 | VALVE,RELIEF;MNFR:DRIVETRAIN,PTNO:IFI32076 |  | IFI32076 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32076 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141606 Relief valves | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213465 | 1213465 | VALVE,RELF;DRVT,IFI32077 | VALVE,RELIEF;MNFR:DRIVETRAIN,PTNO:IFI32077 |  | IFI32077 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI32077 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141606 Relief valves | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1272784 | 1272784 | VALVE,RELF;FISV,1805-975-11291,3/4IN NPT | VALVE,RELIEF;MNFR:FISHER CONTROLS,PTNO:1805-975-11291,ADDITIONAL FEATURES EN:3/4IN NPT,1805 WITH 10 TO 60 PSI (69 TO 410KPAG) SPRING,OLD P/N:1805-35 | 01)PACIFIC CONTROLS,01)1805-975-11291,VALVE,RELIEF,01)3/4IN NPT,1805 WITH 10 TO 6,02)OLD P/N:1805-35 | 1805-975-11291 | 3000274 | FISHER CONTROLS | FISHER CONTROLS | 1805-975-11291 |  | PACIFIC CONTROLS | 1805-35 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141606 Relief valves | VALVE | RELIEF | TYPE |  | NOMINAL SIZE | 3/4 IN | END CONNECTION | NPT | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING | 10 TO 60 PSI (69 TO 410 KPAG) | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1805,SPRING | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1257797 | 1257797 | VALVE,RELF;LINC,VMA3600196,AIR VANTAGE | VALVE,RELIEF;MNFR:LINCOLN,PTNO:VMA3600196,ADDITIONAL FEATURES EN:AIR VANTAGE | 01)GLOBAL WELDING SUPPLIES (,01)LINVMA3600196,VALVE,RELIEF,01)AIR VANTAGE | VMA3600196 | 3000550 | LINCOLN | LINCOLN | VMA3600196 |  | GLOBAL WELDING SUPPLIES |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141606 Relief valves | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AIR VANTAGE | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213133 | 1213133 | VALVE,SHTL;DRVT,IFI02956 | VALVE,SHUTTLE;MNFR:DRIVETRAIN,PTNO:IFI02956 | 01)DRIVETRAIN AUSTRALIA,01)IFI02956,VALVE,SHUTTLE | IFI02956 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI02956 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141600 Valves | VALVE | SHUTTLE | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1272508 | 1272508 | VALVE,SOL;ASWP,EU.680429 | VALVE,SOLENOID;MNFR:AUSWEEP,PTNO:EU.680429 |  | EU.680429 | 3000416 | AUSWEEP | AUSWEEP | EU.680429 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1276475 | 1276475 | VALVE,SOL;BREX,4WE6J53/AG24NK4,24VDC,4 P | VALVE,SOLENOID;MNFR:BOSCH REXROTH,PTNO:4WE6J53/AG24NK4,ADDITIONAL FEATURES EN:24VDC,4 PORT,SIZE 6,DIRECTIONAL,WET TYPE MAGNET, MANUAL PIN,315BAR MAX | 01)AUSDRAULICS,01)4WE6J53/AG24NK4,VALVE,SOLENOID,01)24VDC,4 PORT,SIZE 6,DIRECTI,02)WET TYPE MAGNET,MANUAL PIN | 4WE6J53/AG24NK4 | 3000419 | BOSCH REXROTH | BOSCH REXROTH | 4WE6J53/AG24NK4 |  | AUSDRAULICS |  |  |  | http://zanchen-parts.com/views.asp?hw_id=1042 | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | DIRECTIONAL,WET TYPE MAGNET,MANUAL PIN | NOMINAL SIZE | 6 IN | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC | FLOW RATING |  | PRESSURE CLASS/RATING | 315 BAR MAX | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4 PORT | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1333660 | 1333660 | VALVE,SOL;DIEC,33.11/70.11 | VALVE,SOLENOID;MNFR:DIECI,PTNO:33.11/70.11,ADDITIONAL FEATURES EN:12V,BOOM FUNCTION SOLENOID VALVE,FORKLIFT | VALVE,SOLENOID,01)12V,BOOM FUNCTION SOLENOID VALVE,FORKLIFT | 33.11/70.11 | 3000511 | DIECI | DIECI | 33.11/70.11 | [5 empty] | URL NOT FOUND | [5 empty] | FORKLIFT |  |  |  |  | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | BOOM FUNCTION | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 12 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1333646 | 1333646 | VALVE,SOL;DIEC,BHE1437 | VALVE,SOLENOID;MNFR:DIECI,PTNO:BHE1437,ADDITIONAL FEATURES EN:NEG, PARKING BRAKE | VALVE,SOLENOID,01)NEG, PARKING BRAKE | BHE1437 | 3000511 | DIECI | DIECI | BHE1437 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | PARKING BRAKE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEG | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213372 | 1213372 | VALVE,SOL;DRVT,IFI28368 | VALVE,SOLENOID;MNFR:DRIVETRAIN,PTNO:IFI28368 |  | IFI28368 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI28368 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213487 | 1213487 | VALVE,SOL;DRVT,IFI33182 | VALVE,SOLENOID;MNFR:DRIVETRAIN,PTNO:IFI33182 |  | IFI33182 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33182 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213488 | 1213488 | VALVE,SOL;DRVT,IFI33183,CLTCH | VALVE,SOLENOID;MNFR:DRIVETRAIN,PTNO:IFI33183,ADDITIONAL FEATURES EN:CLUTCH |  | IFI33183 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33183 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | CLUTCH | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213489 | 1213489 | VALVE,SOL;DRVT,IFI33184 | VALVE,SOLENOID;MNFR:DRIVETRAIN,PTNO:IFI33184 |  | IFI33184 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33184 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1266181 | 1266181 | VALVE,SOL;EPM,5428200370,3/2,110/50,CNOM | VALVE,SOLENOID;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:5428200370,ADDITIONAL FEATURES EN:3/2,110/50,CNOMO PILOT,AVENTICS,SECTION SWITCH DCV,IMPULSE MANUAL OPERATOR |  | 5428200370 | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 5428200370 |  | AVENTICS |  |  |  | https://www.valves-direct.com/product/aventics-5428200370-3-2-directional-valve-pilot-valve-110vac-cnomo/ | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 3/2-WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 110 VAC | FLOW RATING |  | PRESSURE CLASS/RATING | 16 BAR | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING | -10 TO 50 DEG C | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CNOMO PILOT,SECTION SWITCH DCV,OPERATED:IMPULSE MANUAL OPERATOR | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1275820 | 1275820 | VALVE,SOL;FUCH,3667000,3 PORT,AIR,24V | VALVE,SOLENOID;MNFR:FUCHS LUBRICANTS,PTNO:3667000,ADDITIONAL FEATURES EN:3 PORT,AIR,24V | 01)FUCHS LUBRICANTS (A'SIA),01)3667000,VALVE,SOLENOID,01)3 PORT,AIR,24V | 3667000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | 3667000 | [5 empty] | https://www.onlineskyline.com/GBC-Part-Number-3667000-SOLENOID-VALVE-ASSM-NICKER | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | AIR | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3 PORT | [43 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1275798 | 1275798 | VALVE,SOL;FUCH,FLA-6119000,DUAL LINE,LUB | VALVE,SOLENOID;MNFR:FUCHS LUBRICANTS,PTNO:FLA-6119000,ADDITIONAL FEATURES EN:DUAL LINE,LUBRICANT SHUTOFF,24V | 01)FUCHS LUBRICANTS (A'SIA),01)FLA-6119000,VALVE,SOLENOID,01)DUAL LINE,LUBRICANT SHUTOFF | FLA-6119000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | FLA-6119000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | DUAL LINE,LUBRICANT SHUTOFF | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1272935 | 1272935 | VALVE,SOL;MAN,705274 | VALVE,SOLENOID;MNFR:MANITOU,PTNO:705274 | 01)JUNGHEINRICH AUSTRALIA PT,01)705274,VALVE,SOLENOID | 705274 | 3000007 | MANITOU | MANITOU | 705274 |  | JUNGHEINRICH AUSTRALIA PTD |  |  |  | https://www.farmyland.com.ua/en/solenoid-705274/ | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING |  | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1324793 | 1324793 | VALVE,SOL;PROPORTIONAL RELIEF,24 V | VALVE,SOLENOID;TYPE:PROPORTIONAL RELIEF,ELECTRICAL RATING:24 V,MNFR:ABB,PTNO:6523 134 D,MNFR:01)MECMAN,PTNO:01)DPR 118.2 24VDC | EN_01)PROPORTIONAL RELIEF,EN_01)24 V,01)MECMAN,01)DPR 118.2 24VDC,VALVE | 6523 134 D | 3000014 | ABB | MECMAN | DPR 118.2 24VDC |  | ABB | 6523 134 D |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141605 Solenoid valves | VALVE | SOLENOID | TYPE | PROPORTIONAL RELIEF | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 V | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1324853 | 1324853 | VALVE;SIE,2BY6701-0BX08 | VALVE;MNFR:SIEMENS,PTNO:2BY6701-0BX08 | VALVE | 2BY6701-0BX08 | 3000032 | SIEMENS | SIEMENS | 2BY6701-0BX08 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141600 Valves | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1250529 | 1250529 | VALVE;SIE,C/VFX31-40 | VALVE;MNFR:SIEMENS,PTNO:C/VFX31-40 | VALVE | C/VFX31-40 | 3000032 | SIEMENS | SIEMENS | C/VFX31-40 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141600 Valves | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1214342 | 1214342 | VALVE;SIE,GV13-S13/2 | VALVE;MNFR:SIEMENS,PTNO:GV13-S13/2 | VALVE | GV13-S13/2 | 3000032 | SIEMENS | SIEMENS | GV13-S13/2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141600 Valves | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1214341 | 1214341 | VALVE;SIE,J2221.0 | VALVE;MNFR:SIEMENS,PTNO:J2221.0 | VALVE | J2221.0 | 3000032 | SIEMENS | SIEMENS | J2221.0 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141600 Valves | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1335643 | 1335643 | VALVE;SIE,VXG41.25 | VALVE;MNFR:SIEMENS,PTNO:VXG41.25 | VALVE | VXG41.25 | 3000032 | SIEMENS | SIEMENS | VXG41.25 | [5 empty] | https://hit.sbt.siemens.com/RWD/app.aspx?RC=DK&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3aVXG41.25 | [10 empty] | ENRICHED | 40141600 Valves | VALVE | NO MODIFIER | TYPE |  | NOMINAL SIZE | DN25 | END CONNECTION | 1-1/2 IN BSPP | CONFIGURATION |  | PRESSURE CLASS/RATING | PN 16 | BODY MATERIAL | RED BRASS | DESIGN PRESSURE |  | TEMPERATURE RATING | -25 TO 150 DEG C | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1269321 | 1269321 | VALVE;TECO,6620617,BANK | VALVE;MNFR:TECO,PTNO:6620617,ADDITIONAL FEATURES EN:BANK | 01)FINLAY SCREENING & CRUSHI,01)6620617,VALVE,01)BANK | 6620617 | 3000444 | TECO | TECO | 6620617 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141600 Valves | VALVE | NO MODIFIER | TYPE | BANK | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1274567 | 1274567 | VALVE;WEI,HF1105Z0003,2IN,NPT,FFV,M,800L | VALVE;MNFR:WEIR,PTNO:HF1105Z0003,ADDITIONAL FEATURES EN:2IN,NPT,FFV,MALE,800LPM | 01)FFV HF1105Z0003,01)J BLACKWOOD & SONS,01)3080319,VALVE,01)2IN,NPT,01)FFV,MALE,800LPM | HF1105Z0003 | 3000036 | WEIR | WEIR | HF1105Z0003 |  | J BLACKWOOD & SONS |  |  |  | https://www.petroind.com/products/hydrau-flo-blue-filling-valve | [10 empty] | CLEANSED | 40141600 Valves | VALVE | NO MODIFIER | TYPE | FREE FLAP | NOMINAL SIZE | 2 IN | END CONNECTION | MNPT | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLOW RATING:800 L/MIN | [45 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213281 | 1213281 | WASHER,SEAL;DRVT,IFI24911 | WASHER,SEALING;MNFR:DRIVETRAIN,PTNO:IFI24911 | 01)DRIVETRAIN AUSTRALIA,01)IFI24911,WASHER,SEALING | IFI24911 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI24911 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161818 Seal washers | WASHER | SEALING | TYPE |  | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213283 | 1213283 | WASHER,SEAL;DRVT,IFI24914 | WASHER,SEALING;MNFR:DRIVETRAIN,PTNO:IFI24914 | 01)DRIVETRAIN AUSTRALIA,01)IFI24914,WASHER,SEALING | IFI24914 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI24914 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161818 Seal washers | WASHER | SEALING | TYPE |  | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213287 | 1213287 | WASHER,SEAL;DRVT,IFI24931 | WASHER,SEALING;MNFR:DRIVETRAIN,PTNO:IFI24931 | 01)DRIVETRAIN AUSTRALIA,01)IFI24931,WASHER,SEALING | IFI24931 | 3000461 | DRIVETRAIN | DRIVETRAIN AUSTRALIA | IFI24931 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161818 Seal washers | WASHER | SEALING | TYPE |  | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213404 | 1213404 | WASHER,THRST;DRVT,IFI31305 | WASHER,THRUST;MNFR:DRIVETRAIN,PTNO:IFI31305 |  | IFI31305 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31305 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161814 Thrust washers | WASHER | THRUST | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | LOAD RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | kib | OK | 2023-06-27 | 2023-07-08 |  | 1213411 | 1213411 | WASHER,THRST;DRVT,IFI31331 | WASHER,THRUST;MNFR:DRIVETRAIN,PTNO:IFI31331 |  | IFI31331 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31331 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31161814 Thrust washers | WASHER | THRUST | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | LOAD RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed