## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1210749 | 1210749 | CONTROLLER,FLW;YOKG,F9802NA | CONTROLLER,FLW;MNFR:YOKOGAWA,PTNO:F9802NA |  | F9802NA | 3000446 | YOKOGAWA | YOKOGAWA | F9802NA | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | CONTROLLER | FLOW | TYPE |  | FLOW RATING |  | ACCURACY |  | OUTPUT SIGNAL |  | POWER SUPPLY |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | PROCESS CONNECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1218824 | 1218824 | CONTROLLER,INTFC;YOKG,7940125904 | CONTROLLER,INTFC;MNFR:YOKOGAWA,PTNO:7940125904 |  | 7940125904 | 3000446 | YOKOGAWA | YOKOGAWA | 7940125904 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | CONTROLLER | INTERFACE | TYPE |  | DATA TRANSFER RATE |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | INDICATION TYPE |  | HOUSING MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1218823 | 1218823 | CONTROLLER,INTFC;YOKG,7940126017 | CONTROLLER,INTFC;MNFR:YOKOGAWA,PTNO:7940126017 |  | 7940126017 | 3000446 | YOKOGAWA | YOKOGAWA | 7940126017 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | CONTROLLER | INTERFACE | TYPE |  | DATA TRANSFER RATE |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | INDICATION TYPE |  | HOUSING MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1269878 | 1269878 | COUPLING,SHFT HLF;REXN,10421372,OMEGA,30 | COUPLING,SHAFT HALF;MNFR:REXNORD,PTNO:10421372,ADDITIONAL FEATURES EN:OMEGA,30 HUB MET T/LOCK 2012 | 01)CONSOLIDATED BEARING CO (,01)10421372,COUPLING,SHAFT HALF,01)OMEGA,30 HUB MET T/LOCK 201 | 10421372 | 3000337 | REXNORD | REXNORD | 10421372 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:OMEGA,TAPER LOCK NUMBER:2012,30 HUB MET | [45 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1274340 | 1274340 | COUPLING,SHFT HLF;REXN,E30MHUB070MM | COUPLING,SHAFT HALF;MNFR:REXNORD,PTNO:99999999,ADDITIONAL FEATURES EN:OMEGA MACHINED,SUIT 70MM K7 BORE AND 20X12 KEY | 01)CONSOLIDATED BEARING CO (,01)E30MHUB070MM,COUPLING,SHAFT HALF,01)OMEGA MACHINED,SUIT 70MM K7 | CUSTOM | 3000337 | REXNORD | REXNORD | 99999999 |  | OMEGA MACHINED |  |  |  | https://www.consumerspipe.com/buy/product/coupling/451563 | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE | 20 X 12 MM | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 70 MM K7 BORE HUB | [45 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 | Processed based on Websource, Conflict w.r.t Input | 1252882 | 1252882 | COUPLING;DIEC,5H.2772500201 | COUPLING;MNFR:DIECI,PTNO:5H.2772500201,ADDITIONAL FEATURES EN:BUSHING | COUPLING,01)BUSHING | 5H.2772500201 | 3000511 | DIECI | DIECI | 5H.2772500201 | [5 empty] | https://imwparts.pl/en/czesci-zamienne-eng/dieci/ | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | SLEEVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 | URL FOR REFERENCE ONLY | 1275256 | 1275256 | COUPLING;DOD,10933771,E30M-ELEMENT,RAPTO | COUPLING;MNFR:DODGE,PTNO:10933771,ADDITIONAL FEATURES EN:E30M-ELEMENT,RAPTOR | 01)COOPER FLUID SYSTEMS,01)10933771,COUPLING,01)E30M-ELEMENT,RAPTOR | 10933771 | 3000019 | DODGE | DODGE | 10933771 |  | COOPER FLUID SYSTEMS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | ELEMENT | COUPLING | TYPE |  | COUPLING SIZE | E30M | MATERIAL |  | SPEED RATING |  | TORQUE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COUPLING TYPE:E30M,SERIES:RAPTOR | [57 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1217316 | 1217316 | COUPLING;DRVT,15S26-8-8,HOSE: AIR CONDIT | COUPLING;MNFR:DRIVETRAIN,PTNO:15S26-8-8,ADDITIONAL FEATURES EN:HOSE: AIR CONDITIONER HOSE COU00 | 01)DRIVETRAIN AUSTRALIA,01)15S26-8-8,COUPLING,01)HOSE: AIR CONDITIONER HOSE | 15S26-8-8 | 3000461 | DRIVETRAIN | DRIVETRAIN | 15S26-8-8 | PARKER |  |  |  |  | https://ph.parker.com/us/en/product/26-series-fittings/15s26-8-8 | [5 empty] | AIR CONDITIONER |  |  |  |  | ENRICHED | 40141734 Hose fitting | ADAPTER | TUBE TO HOSE | TYPE | HYDRAULIC | TUBE SIZE | 1/2 IN | HOSE SIZE | 1/2 IN | TUBE CONNECTION | 3/4 IN-16 TPI FEMALE SWIVEL | HOSE CONNECTION | CRIMP | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COU00 | [45 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1216675 | 1216675 | COUPLING;FLSM,1313P00068 | COUPLING;MNFR:FLSMIDTH,PTNO:1313P00068 |  | 1313P00068 | 3000426 | FLSMIDTH | FLSMIDTH | 1313P00068 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1332710 | 1332710 | COUPLING;GARD,100005644,ROTEX,L75 | COUPLING;MNFR:GARDNER DENVER,PTNO:100005644,ADDITIONAL FEATURES EN:ROTEX,L75 | 01)GARDNER DENVER INDUSTRIES,01)100005644,COUPLING,01)ROTEX,L75 | 100005644 | 3000280 | GARDNER DENVER | GARDNER DENVER | 100005644 | [5 empty] | https://best-aire.com/product/100005644-coupling-rotex-55-st-st-l55-75-gardner-denver/ | https://www.tradeindia.com/products/jaw-coupling-3595307.html | [9 empty] | CLEANSED | 31163000 Couplings | COUPLING | JAW | TYPE |  | BORE SIZE |  | OUTSIDE DIAMETER |  | OVERALL LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | BORE LENGTH |  | SPIDER MATERIAL |  | NUMBER OF JAWS |  | KEYWAY SIZE |  | ANGULAR MISALIGNMENT |  | PARALLEL MISALIGNMENT |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:ROTEX L75 | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1269877 | 1269877 | COUPLING;REXN,10166406,OMEGA,SZ 30 ELEMT | COUPLING;MNFR:REXNORD,PTNO:10166406,ADDITIONAL FEATURES EN:OMEGA,SZ 30 ELEMT MET | 01)CONSOLIDATED BEARING CO (,01)10166406,COUPLING,01)OMEGA,SZ 30 ELEMT MET | 10166406 | 3000337 | REXNORD | REXNORD | 10166406 |  | CONSOLIDATED BEARING CO |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | ELEMENT | COUPLING | TYPE |  | COUPLING SIZE | 30 | MATERIAL |  | SPEED RATING |  | TORQUE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:OMEGA | [57 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1215522 | 1215522 | COUPLING;REXN,E60M ELEMENT,ETMR,OMEGA | COUPLING;MNFR:REXNORD,PTNO:E60M ELEMENT,ADDITIONAL FEATURES EN:ELASTOMER,OMEGA | 01)STATEWIDE BEARINGS,01)E60M ELEMENT,COUPLING,01)ELASTOMER,OMEGA | E60M ELEMENT | 3000337 | REXNORD | REXNORD |  |  | STATEWIDE BEARINGS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | ELEMENT | COUPLING | TYPE |  | COUPLING SIZE | E60M | MATERIAL | ELASTOMER | SPEED RATING |  | TORQUE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:OMEGA | [57 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1269818 | 1269818 | COUPLING;REXN,ES70M ELEMENT,OMEGA SPACER | COUPLING;MNFR:REXNORD,PTNO:ES70M ELEMENT,ADDITIONAL FEATURES EN:OMEGA SPACER ELEMENT | 01)STATEWIDE BEARINGS,01)ES70M ELEMENT,COUPLING,01)OMEGA SPACER ELEMENT | ES70M ELEMENT | 3000337 | REXNORD | REXNORD |  |  | STATEWIDE BEARINGS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31163000 Couplings | ELEMENT | COUPLING | TYPE | SPACER | COUPLING SIZE | ES70M | MATERIAL |  | SPEED RATING |  | TORQUE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:OMEGA | [57 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1273539 | 1273539 | COUPLING;REXN,XTSR71,SPCR,DSC,W/ADAPTER | COUPLING;MNFR:REXNORD,PTNO:XTSR71,ADDITIONAL FEATURES EN:SPACER,DISC,W/ADAPTER,BALANCED TO AGMA CLASS 9/MACHINED PER DWG A13993 |  | XTSR71 | 3000337 | REXNORD | REXNORD | XTSR71 | [5 empty] | https://www.rexnord.com/products/couplings/disc-couplings/thomas-xtsr/xtsr71?page=1&pageSize=8&sort=1 |  |  | A13993 | [7 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | DISC,SPACER | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W ADAPTER,BALANCED TO AGMA CLASS 9/MACHINED | [57 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276408 | 1276408 | COUPLING;SEW,ROTEX-AFN-SB SPEZIAL-90,CLA | COUPLING;MNFR:SEW EURODRIVE,PTNO:ROTEX-AFN-SB SPEZIAL-90,ADDITIONAL FEATURES EN:CLAW |  | ROTEX-AFN-SB SPEZIAL-90 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | AFN-SB SPEZIAL-90 | [5 empty] | https://www.roth-ing.de/fileadmin/user_upload/Datenblaetter/ENG/coupling/Rotex-AFN-SB.pdf | [10 empty] | ENRICHED | 31163011 Jaw coupling | COUPLING | JAW | TYPE |  | BORE SIZE | 105 MM | OUTSIDE DIAMETER | 200 MM | OVERALL LENGTH | 454 MM | TORQUE RATING | 7200 NM | SPEED RATING | 3000 RPM | HUB MATERIAL |  | BORE LENGTH |  | SPIDER MATERIAL |  | NUMBER OF JAWS |  | KEYWAY SIZE |  | ANGULAR MISALIGNMENT |  | PARALLEL MISALIGNMENT |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:ROTEX | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1217112 | 1217112 | COUPLING;SWAG,SS-4-HCG-RT,HEX,1/4 FBSP | COUPLING;MNFR:SWAGELOK LTD,PTNO:SS-4-HCG-RT,ADDITIONAL FEATURES EN:HEX,1/4 FBSP | 01)SWAGELOK T/A FLUID SYSTEM,01)SS-4-HCG-RT,COUPLING,01)HEX,1/4 FBSP | SS-4-HCG-RT | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-4-HCG-RT | [5 empty] | https://products.swagelok.com.cn/en/c/straights/p/SS-4-HCG-RT | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | HEX | NOMINAL SIZE | 1/4 IN | END CONNECTION | FBSP | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1273799 | 1273799 | METER,FLW;ENDH,5H3B04,PROLINE PROMAG H 3 | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:5H3B04,ADDITIONAL FEATURES EN:PROLINE PROMAG H 300 ELECTROMAGNETIC | 01)PMD PROCESS CONTROLS,01)5H3B04-AAIBAAA0,METER,FLOW,01)PROLINE PROMAG H 300 ELECTR | 5H3B04 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 5H3B04 | [5 empty] | https://shop.egm-llc.com/products/endress-hauser-promag-h-300-series-5-32-electromagnetic-flow-tube-w-integrated-touch-control-display-part-5h3b04-csibahafad00000aa1 | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROLINE PROMAG H 300 ELECTROMAGNETIC | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276477 | 1276477 | METER,FLW;ENDH,5P5B15-AAIBAA,DN15(1/2IN) | METER,FLOW;MNFR:ENDRESS <(>&<)> HAUSER,PTNO:5P5B15-AAIBAA,ADDITIONAL FEATURES EN:DN15(1/2IN),MODEL:5P5B15,PROMAG P300,APPROVAL; TRANSMITTER+SENSOR:NON-HAZARDOUS AREA,I POWER SUPPLY:100- 230VAC/24VDC,OUTPUT;INPUT 1:4-20MA HART,OUTPUT;INPUT 2:W/O,OUTPUT;INPUT 3: W/O,DISPLAY;OPERATION:REMOTE DISPLAY 4-LINE ILLUM,10M/30FT CABLE;TOUCH CONTROL,HOUSING:ALU COATED,ELECTRICAL CONNECTION: GLAND M20, LINER: PTFE,PROCESS CONNECTION:CL.150,STAINL. STEEL,FLANGE ASME B16.5,CALIBRATION FLOW: 0.5% | 01)PMD PROCESS CONTROLS,01)5P3B40-AAIBAA,METER,FLOW,01)DN15(1/2IN),MODEL:5P5B15,02)PROMAG P300,APPROVAL,03)I POWER SUPPLY:100-230VAC/2,04)OUTPUT,05)OUTPUT,06)DISPLAY,07)10M/30FT CABLE,08)ELECTRICAL CONNECTION: GLAN,09)PROCESS CONNECTION:CL.150,S,10)CALIBRATION FLOW: 0.5%,I,INPUT 1:4-20MA HART,INPUT 2:W/O,OUTPUT,OPERATION:REMOTE DI,TOUCH CONTRO,TRANSM | 5P5B15-AAIBAA | 3000269 | ENDRESS & HAUSER | ENDRESS <(>&<)> HAUSER | 5P5B15-AAIBAA | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-p500-5p5b?t.tabId=product-configure | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | CL.150,STAINL. STEEL,FLANGE ASME B16.5 | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | GLAND M20 | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN15(1/2IN) | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276482 | 1276482 | METER,FLW;ENDH,5P5B1F-AAIBAA,DN150(6 IN) | METER,FLOW;MNFR:ENDRESS <(>&<)> HAUSER,PTNO:5P5B1F-AAIBAA,ADDITIONAL FEATURES EN:DN150(6 IN),MODEL:5P5B1F,PROMAG P300,APPROVAL; TRANSMITTER+SENSOR:NON-HAZARDOUS AREA,I POWER SUPPLY:100- 230VAC/24VDC,OUTPUT;INPUT 1:4-20MA HART,OUTPUT;INPUT 2:W/O,OUTPUT;INPUT 3: W/O,DISPLAY;OPERATION:REMOTE DISPLAY 4-LINE ILLUM,10M/30FT CABLE;TOUCH CONTROL,HOUSING:ALU COATED,ELECTRICAL CONNECTION: GLAND M20, LINER: PTFE,PROCESS CONNECTION:CL.150,STAINL. STEEL,FLANGE ASME B16.5,CALIBRATION FLOW: 0.5% | 01)PMD PROCESS CONTROLS,01)5P3B1F-AAIBAA,METER,FLOW,01)DN150(6 IN),MODEL:5P5B1F,02)PROMAG P300,APPROVAL,03)I POWER SUPPLY:100-230VAC/2,04)OUTPUT,05)OUTPUT,06)DISPLAY,07)10M/30FT CABLE,08)ELECTRICAL CONNECTION: GLAN,09)PROCESS CONNECTION:CL.150,S,10)CALIBRATION FLOW: 0.5%,I,INPUT 1:4-20MA HART,INPUT 2:W/O,OUTPUT,OPERATION:REMOTE DI,TOUCH CONTRO,TRANSM | 5P5B1F-AAIBAA | 3000269 | ENDRESS & HAUSER | ENDRESS <(>&<)> HAUSER | 5P5B1F-AAIBAA | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-p500-5p5b?t.tabId=product-configure | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | CL.150,STAINL. STEEL,FLANGE ASME B16.5 | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | GLAND M20 | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN150(6 IN) | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276481 | 1276481 | METER,FLW;ENDH,5P5B1H-AAIBAA,DN100(4 IN) | METER,FLOW;MNFR:ENDRESS <(>&<)> HAUSER,PTNO:5P5B1H-AAIBAA,ADDITIONAL FEATURES EN:DN100(4 IN),MODEL:5P5B1H,PROMAG P300,APPROVAL; TRANSMITTER+SENSOR:NON-HAZARDOUS AREA,I POWER SUPPLY:100- 230VAC/24VDC,OUTPUT;INPUT 1:4-20MA HART,OUTPUT;INPUT 2:W/O,OUTPUT;INPUT 3: W/O,DISPLAY;OPERATION:REMOTE DISPLAY 4-LINE ILLUM,10M/30FT CABLE;TOUCH CONTROL,HOUSING:ALU COATED,ELECTRICAL CONNECTION: GLAND M20, LINER: PTFE | 01)PMD PROCESS CONTROLS,01)5P3B1H-AAIBAA,METER,FLOW,01)DN100(4 IN),MODEL:5P5B1H,02)PROMAG P300,APPROVAL,03)I POWER SUPPLY:100-230VAC/2,04)OUTPUT,05)OUTPUT,06)DISPLAY,07)10M/30FT CABLE,08)ELECTRICAL CONNECTION: GLAN,I,INPUT 1:4-20MA HART,INPUT 2:W/O,OUTPUT,OPERATION:REMOTE DI,TOUCH CONTRO,TRANSM | 5P5B1H-AAIBAA | 3000269 | ENDRESS & HAUSER | ENDRESS <(>&<)> HAUSER | 5P5B1H-AAIBAA | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-p500-5p5b?t.tabId=product-configure | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | GLAND M20 | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN100(4 IN) | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276478 | 1276478 | METER,FLW;ENDH,5P5B25-AAIBAA,DN 25(1 IN) | METER,FLOW;MNFR:ENDRESS <(>&<)> HAUSER,PTNO:5P5B25-AAIBAA,ADDITIONAL FEATURES EN:DN 25(1 IN),MODEL:5P5B25,PROMAG P300,APPROVAL; TRANSMITTER+SENSOR:NON-HAZARDOUS AREA,I POWER SUPPLY:100- 230VAC/24VDC,OUTPUT;INPUT 1:4-20MA HART,OUTPUT;INPUT 2:W/O,OUTPUT;INPUT 3: W/O,DISPLAY;OPERATION:REMOTE DISPLAY 4-LINE ILLUM,10M/30FT CABLE;TOUCH CONTROL,HOUSING:ALU COATED,ELECTRICAL CONNECTION: GLAND M20, LINER: PTFE,PROCESS CONNECTION:CL.150,STAINL. STEEL,FLANGE ASME B16.5,CALIBRATION FLOW: 0.5% | 01)PMD PROCESS CONTROLS,01)5P3B25-AAIBAA,METER,FLOW,01)DN 25(1 IN),MODEL:5P5B25,02)PROMAG P300,APPROVAL,03)I POWER SUPPLY:100-230VAC/2,04)OUTPUT,05)OUTPUT,06)DISPLAY,07)10M/30FT CABLE,08)ELECTRICAL CONNECTION: GLAN,09)PROCESS CONNECTION:CL.150,S,10)CALIBRATION FLOW: 0.5%,I,INPUT 1:4-20MA HART,INPUT 2:W/O,OUTPUT,OPERATION:REMOTE DI,TOUCH CONTRO,TRANSM | 5P5B25-AAIBAA | 3000269 | ENDRESS & HAUSER | ENDRESS <(>&<)> HAUSER | 5P5B25-AAIBAA | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-p500-5p5b?t.tabId=product-configure | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | CL.150,STAINL. STEEL,FLANGE ASME B16.5 | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | GLAND M20 | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN 25(1 IN) | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276479 | 1276479 | METER,FLW;ENDH,5P5B40-AAIBAA,DN40(1.1/2I | METER,FLOW;MNFR:ENDRESS <(>&<)> HAUSER,PTNO:5P5B40-AAIBAA,ADDITIONAL FEATURES EN:DN40(1.1/2IN),MODEL:5P5B40,PROMAG P300,APPROVAL; TRANSMITTER+SENSOR:NON-HAZARDOUS AREA,I POWER SUPPLY:100- 230VAC/24VDC,OUTPUT;INPUT 1:4-20MA HART,OUTPUT;INPUT 2:W/O,OUTPUT;INPUT 3: W/O,DISPLAY;OPERATION:REMOTE DISPLAY 4-LINE ILLUM,10M/30FT CABLE;TOUCH CONTROL,HOUSING:ALU COATED,ELECTRICAL CONNECTION: GLAND M20, LINER: PTFE,PROCESS CONNECTION:CL.150,STAINL. STEEL,FLANGE ASME B16.5,CALIBRATION FLOW: 0.5% | 01)PMD PROCESS CONTROLS,01)5P3B40-AAIBAA,METER,FLOW,01)DN40(1.1/2IN),MODEL:5P5B40,02)PROMAG P300,APPROVAL,03)I POWER SUPPLY:100-230VAC/2,04)OUTPUT,05)OUTPUT,06)DISPLAY,07)10M/30FT CABLE,08)ELECTRICAL CONNECTION: GLAN,09)PROCESS CONNECTION:CL.150,S,10)CALIBRATION FLOW: 0.5%,I,INPUT 1:4-20MA HART,INPUT 2:W/O,OUTPUT,OPERATION:REMOTE DI,TOUCH CONTRO,TRANSM | 5P5B40-AAIBAA | 3000269 | ENDRESS & HAUSER | ENDRESS <(>&<)> HAUSER | 5P5B40-AAIBAA | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-p500-5p5b?t.tabId=product-configure | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | CL.150,STAINL. STEEL,FLANGE ASME B16.5 | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | GLAND M20 | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN40(1.1/2IN) | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276480 | 1276480 | METER,FLW;ENDH,5P5B50-AAIBAA(2 IN) | METER,FLOW;MNFR:ENDRESS <(>&<)> HAUSER,PTNO:5P5B50-AAIBAA,ADDITIONAL FEATURES EN:DN50(2 IN),MODEL:5P5B50,PROMAG P300,APPROVAL; TRANSMITTER+SENSOR:NON- HAZARDOUS AREA,I POWER SUPPLY:100-230VAC/24VDC,OUTPUT;INPUT 1:4-20MA HART,OUTPUT;INPUT 2:W/O,OUTPUT;INPUT 3: W/O,DISPLAY;OPERATION:REMOTE DISPLAY 4-LINE ILLUM,10M/30FT CABLE;TOUCH CONTROL,HOUSING:ALU COATED,ELECTRICAL CONNECTION: GLAND M20, LINER: PTFE,PROCESS CONNECTION:CL.150,STAINL. STEEL,FLANGE ASME B16.5,CALIBRATION FLOW: 0.5% | 01)PMD PROCESS CONTROLS,01)5P3B50-AAIBAA,METER,FLOW,01)DN50(2 IN),MODEL:5P5B50,02)PROMAG P300,APPROVAL,03)I POWER SUPPLY:100-230VAC/2,04)OUTPUT,05)OUTPUT,06)DISPLAY,07)10M/30FT CABLE,08)ELECTRICAL CONNECTION: GLAN,09)PROCESS CONNECTION:CL.150,S,10)CALIBRATION FLOW: 0.5%,I,INPUT 1:4-20MA HART,INPUT 2:W/O,OUTPUT,OPERATION:REMOTE DI,TOUCH CONTRO,TRANSM | 5P5B50-AAIBAA | 3000269 | ENDRESS & HAUSER | ENDRESS <(>&<)> HAUSER | 5P5B50-AAIBAA | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-p500-5p5b?t.tabId=product-configure | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION | CL.150,STAINL. STEEL,FLANGE ASME B16.5 | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION | GLAND M20 | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN50(2 IN) | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276434 | 1276434 | METER,FLW;ENDH,815B80-3344/0,DN 80,3 IN | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:815B80-3344/0,ADDITIONAL FEATURES EN:DN 80,3 IN,PROMASS I 500 | 01)ENDRESS AND HAUSER AUSTRA,01)815B80-3344/0,METER,FLOW,01)DN 80,3 IN,02)PROMASS I 500 | 815B80-3344/0 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 815B80-3344/0 | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-p500-5p5b?t.tabId=product-configure | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DN 80,3 IN,PROMASS I 500 | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1274349 | 1274349 | METER,FLW;ENDH,9W4BA2-3VH0,ULTSNC | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:9W4BA2-3VH0,ADDITIONAL FEATURES EN:ULTRASONIC | 01)CNW (MOUNT ISA) ELECT WHO,01)END9W4BA2-3VH0/0,METER,FLOW,01)ULTRASONIC | 9W4BA2-3VH0 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 9W4BA2-3VH0 | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/ultrasonic-flow-meter-prosonic-flow-w400-9w4b?t.tabId=product-overview | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ULTRASONIC | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1272616 | 1272616 | METER,FLW;ENDH,9W4BA2-3W39/0,ULTSNC,CLAM | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:9W4BA2-3W39/0,ADDITIONAL FEATURES EN:ULTRASONIC,CLAMP ON,FOR 2 TO 6 IN PIPE,MEASURING RANGE:0- 15 M/S,TEMPERATURE RANGE:-40 TO 130 DEG C,HOUSING:WALL MOUNTED,MATERIAL:POLYCORBONATE,ALSI10MG COATED,ENCLOSURE:IP66,IP67,IP68,TYPE 4X,PROLINE PROSONIC FLOW W 400,END9W4BA2-AALHFNBACAAAACA1 | 01)CNW (MOUNT ISA) ELECT WHO,01)END9W4BA2-3W39/0,METER,FLOW,01)ULTRASONIC,CLAMP ON,FOR 2 T,02)MEASURING RANGE:0-15 M/S,TE,03)HOUSING:WALL MOUNTED,MATERI,04)ENCLOSURE:IP66,IP67,IP68,TY,05)PROLINE PROSONIC FLOW W 400,06)END9W4BA2-AALHFNBACAAAACA1 | 9W4BA2-3W39/0 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 9W4BA2-3W39/0 | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/ultrasonic-flow-meter-prosonic-flow-w400-9w4b?t.tabId=product-overview | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE | 0- 15 M/S | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE | IP66,IP67,IP68,TYPE 4X,PROLINE PROSONIC FLOW W 400,END9W4BA2-AALHFNBACAAAACA1 | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL | POLYCORBONATE,ALSI10MG COATED | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ULTRASONIC,CLAMP ON,FOR 2 TO 6 IN PIPE | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1272617 | 1272617 | METER,FLW;ENDH,9W4BA2-3W44/1,ULTSNC,CLAM | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:9W4BA2-3W44/1,ADDITIONAL FEATURES EN:ULTRASONIC,CLAMP ON,FOR 8 TO 24 IN PIPE,MEASURING RANGE: 0-15 M/S,TEMPERATURE RANGE:-40 TO 130 DEG C,HOUSING:WALL MOUNTED,MATERIAL:POLYCORBONATE,ALSI10MG COATED,ENCLOSURE:IP66,IP67,IP68, TYPE 4X,PROLINE PROSONIC FLOW W 400,END9W4BA2-AALHFNBACAAAAEA1 | 01)CNW (MOUNT ISA) ELECT WHO,01)END9W4BA2-3W44/1,METER,FLOW,01)ULTRASONIC,CLAMP ON,FOR 8 T,02)MEASURING RANGE:0-15 M/S,TE,03)HOUSING:WALL MOUNTED,MATERI,04)ENCLOSURE:IP66,IP67,IP68,TY,05)PROLINE PROSONIC FLOW W 400,06)END9W4BA2-AALHFNBACAAAAEA1 | 9W4BA2-3W44/1 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | 9W4BA2-3W44/1 | [5 empty] | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/ultrasonic-flow-meter-prosonic-flow-w400-9w4b?t.tabId=product-overview | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE | 0-15 M/S | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE | IP66,IP67,IP68,TYPE 4X,PROLINE PROSONIC FLOW W 400,END9W4BA2-AALHFNBACAAAAEA1 | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL | POLYCORBONATE,ALSI10MG COATED | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ULTRASONIC,CLAMP ON,FOR 8 TO 24 IN PIPE | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1270796 | 1270796 | METER,FLW;ENDH,DMA15-AAAAA1,MGNTC,PICOMA | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:DMA15-AAAAA1,ADDITIONAL FEATURES EN:MAGNETIC,PICOMAG,DN15 | 01)ENDRESS AND HAUSER AUSTRA,01)DMA15-AAAAA1,METER,FLOW,01)MAGNETIC,PICOMAG,DN15 | DMA15-AAAAA1 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | DMA15-AAAAA1 | [5 empty] | https://us.rs-online.com/product/endress-hauser/dma15-aaaaa1/72810612/ | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MAGNETIC,PICOMAG,DN15 | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1272409 | 1272409 | METER,FLW;ENDH,DMA20-AAAAA1,ELECMAG,DN20 | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:DMA20-AAAAA1,ADDITIONAL FEATURES EN:ELECTROMAGNETIC,DN20,MEASURING RANGE: 0 - 750 L/MIN, PRESSURE RATING: 16 BAR,HOUSING MATERIAL: 1.4404/316L,POLYCARBONATE,DEGREE OF PROTECTION: IP65/IP67,POWER SUPPLY: 18-30 V DC,OUTPUT CURRENT: 4 - 20 MA,PICOMAG,DMA20-1009/0 |  | DMA20-AAAAA1 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | DMA20-AAAAA1 | [5 empty] | https://www.in.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-picomag-dma?t.tabId=product-overview | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE | 0 - 750 L/MIN | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY | 18-30 V DC | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING | 16 BAR | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ELECTROMAGNETIC,DN20 | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1272999 | 1272999 | METER,FLW;ENDH,DMA25-AAAAA1,PICOMAG,1 IN | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:DMA25-AAAAA1,ADDITIONAL FEATURES EN:PICOMAG,1 IN,ELECTROMAGNETIC,CONFIGURABLE OUTPUT, STAINLESS STEEL,ALTERNATE PN:DMA25-1009/0 | 01)PACIFIC RIM TECH SERVICES,01)DMA25-1009/0 (DMA25-AAAAA1),METER,FLOW,01)PICOMAG,1 IN,ELECTROMAGNETI,02)ALTERNATE PN:DMA25-1009/0 | DMA25-AAAAA1 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | DMA25-AAAAA1 | [5 empty] | https://www.in.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-picomag-dma?t.tabId=product-overview | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PICOMAG,1 IN,ELECTROMAGNETIC,CONFIGURABLE OUTPUT,STAINLESS STEEL | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1273000 | 1273000 | METER,FLW;ENDH,DMA50-AAAAA1,PICOMAG,2 IN | METER,FLOW;MNFR:ENDRESS & HAUSER,PTNO:DMA50-AAAAA1,ADDITIONAL FEATURES EN:PICOMAG,2 IN,ELECTROMAGNETIC,CONFIGURABLE OUTPUT, STAINLESS STEEL,ALTERNATE PN:DMA50-1014/0 | 01)PACIFIC RIM TECH SERVICES,01)DMA50-1014/0 (DMA50-AAAAA1),METER,FLOW,01)PICOMAG,2 IN,ELECTROMAGNETI,02)ALTERNATE PN:DMA50-1014/0 | DMA50-AAAAA1 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | DMA50-AAAAA1 | [5 empty] | https://www.in.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-picomag-dma?t.tabId=product-overview | [10 empty] | ENRICHED |  | METER | FLOW | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | ENCLOSURE |  | POWER SUPPLY |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PICOMAG,2 IN,ELECTROMAGNETIC,CONFIGURABLE OUTPUT,STAINLESS STEEL | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1219952 | 1219952 | METER,HR;LINC,9SS17475-8,DIGITAL SNAP IN | METER,HOUR;MNFR:LINCOLN,PTNO:9SS17475-8,ADDITIONAL FEATURES EN:DIGITAL SNAP IN | 01)WELDERS PRO SHOP,01)9SS17475-8,METER,HOUR,01)DIGITAL SNAP IN | 9SS17475-8 | 3000550 | LINCOLN | LINCOLN | 9SS17475-8 | [5 empty] | https://bwparts.com/lincoln-oem-ranger-hour-meter-9ss17475-8.html | [10 empty] | ENRICHED |  | METER | HOUR | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | INPUT RATING |  | START TIME |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIGITAL SNAP IN | [45 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1220283 | 1220283 | METER,HR;NHP,RQ4801080VDC,RUN,10-80VDC | METER,HOUR;MNFR:NHP,PTNO:RQ4801080VDC,ADDITIONAL FEATURES EN:RUN,10-80VDC 48MM2 | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPRQ4801080VDC,METER,HOUR,01)RUN,10-80VDC 48MM2 | RQ4801080VDC | 3000664 | NHP | NHP | RQ4801080VDC | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217584/NHP_AU_Catalog-773/NHP_AU_Catalog-800/NHP_AU_Catalog-806/RQ4801080VDC | [10 empty] | ENRICHED |  | METER | HOUR | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | INPUT RATING |  | START TIME |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RUN,10-80VDC 48MM2 | [45 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1220284 | 1220284 | METER,HR;NHP,RQ72024V,RUN,24VAC | METER,HOUR;MNFR:NHP,PTNO:RQ72024V,ADDITIONAL FEATURES EN:RUN,24VAC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPRQ72024V,METER,HOUR,01)RUN,24VAC | RQ72024V | 3000664 | NHP | NHP | RQ72024V | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217584/NHP_AU_Catalog-773/NHP_AU_Catalog-800/NHP_AU_Catalog-806/RQ72024V | [10 empty] | ENRICHED |  | METER | HOUR | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | INPUT RATING |  | START TIME |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RUN,24VAC | [45 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1324843 | 1324843 | METER,HR;TIME TOTALIZING,RUN COUNTER,CNW | METER,HOUR;TYPE:TIME TOTALIZING,ADDITIONAL FEATURES EN:RUN COUNTER,MNFR:SIEMENS,PTNO:7KT5557-0,MNFR:01)CNW,PTNO:01)SIE7KT5501 | TIME TOTALIZING,01)RUN COUNTER,01)CNW,01)SIE7KT5501,METER | 7KT5557-0 | 3000032 | SIEMENS | CNW | SIE7KT5501 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | HOUR | TYPE | TIME TOTALIZING | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | INPUT RATING |  | START TIME |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RUN COUNTER | [45 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1273048 | 1273048 | METER;ENDH,RIA46,FIELD,W/CONTROL UNIT,IN |  | 01)ENDRESS & HAUSER,01)RIA46,01)PMD PROCESS CONTROLS,01)RIA46,FIELD METER,01)W/CONTROL UNIT,INPUT/OUTPUT,02)HOUSING:FIELD PLASTIC,GLASS | RIA46 | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | RIA46 | [5 empty] | https://www.endress.com/en/field-instruments-overview/system-components-recorder-data-manager/field-meter-RIA46 | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1269333 | 1269333 | METER;FLUK,FLUKE 805 FC,VIB | METER;MNFR:FLUKE,PTNO:FLUKE 805 FC,ADDITIONAL FEATURES EN:VIBRATION | 01)RS COMPONENTS PTY LTD,01)FLUKE 805 FC,METER,01)VIBRATION | FLUKE 805 FC | 3000278 | FLUKE | FLUKE | 805 FC | [5 empty] | https://www.fluke.com/en/product/mechanical-maintenance/vibration-analysis/fluke-805-fc | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VIBRATION | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1274066 | 1274066 | METER;HILT,FED0153,PD-E LASER | METER;MNFR:HILTI,PTNO:FED0153,ADDITIONAL FEATURES EN:PD-E LASER | 01)FEDVS,01)FED0153,METER,01)PD-E LASER | FED0153 | 3000289 | HILTI | HILTI | FED0153 | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PD-E LASER | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1272905 | 1272905 | METER;SCHN,230DRAQTPL,BOX,DINRAIL,SW/BD | METER;MNFR:SCHNEIDER INC,PTNO:230DRAQTPL,ADDITIONAL FEATURES EN:BOX,DINRAIL,SW/BD TEMP S MI | 01)CNW (MOUNT ISA) ELECT WHO,01)CLI230DRAQTPL,METER,01)BOX,DINRAIL,SW/BD TEMP S MI | 230DRAQTPL | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 230DRAQTPL | [5 empty] | https://www.clipsal.com/products/detail?CatNo=230DRAQTPL&itemno=230DRAQTPL | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BOX,DINRAIL,SW/BD TEMP S MI | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1272309 | 1272309 | METER;SCHN,METSEPM5110,15TH HARMONIC,1DO | METER;MNFR:SCHNEIDER INC,PTNO:METSEPM5110,ADDITIONAL FEATURES EN:15TH HARMONIC,1DO,ACCURACY CLASS: 0.5S,1 DIGITAL OUTPUT,MODBUS,33 ALARMS,POWERLOGIC PM5000 |  | METSEPM5110 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | METSEPM5110 | [5 empty] | https://in.element14.com/schneider-electric/metsepm5110/power-meter-3-ph-100-415vac-panel/dp/2835421 | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 15TH HARMONIC,1DO | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1272310 | 1272310 | METER;SCHN,METSEPM5310,31ST HARMONIC,2IO | METER;MNFR:SCHNEIDER INC,PTNO:METSEPM5310,ADDITIONAL FEATURES EN:31ST HARMONIC,2IO,ACCURACY CLASS: 0.5S,2 DIGITAL INPUT,2 DIGITAL OUTPUT,MODBUS,35 ALARMS,4 TARIFFS,128 X 128 PIXELS,POWERLOGIC PM5000 |  | METSEPM5310 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | METSEPM5310 | [5 empty] | https://in.element14.com/schneider-electric/metsepm5110/power-meter-3-ph-100-415vac-panel/dp/2835421 | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 31ST HARMONIC,2IO | [49 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1214302 | 1214302 | METER;SIE,D144NS;0-2800FT | METER;MNFR:SIEMENS,PTNO:D144NS;0-2800FT | METER | D144NS;0-2800FT | 3000032 | SIEMENS | SIEMENS | D144NS;0-2800FT | [5 empty] | NOT FOUND | [10 empty] | CLEANSED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1213582 | 1213582 | METER;YOKG,AXW025GA000AA1UH214B1JA11GRL | METER;MNFR:YOKOGAWA,PTNO:AXW025GA000AA1UH214B1JA11GRL | 01)YOKOGAWA AUSTRALIA PTY LT,01)AXW025-GA000AA1UH214B-1JA11,METER | AXW025GA000AA1UH214B1JA11GRL | 3000446 | YOKOGAWA | YOKOGAWA | AXW025GA000AA1UH214B1JA11GRL | [5 empty] | https://web-material3.yokogawa.com/IM01E24A01-01EN.pdf | [10 empty] | ENRICHED |  | METER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1215867 | 1215867 | MOTOR,AC;3KW,6P,440 V,D132S,HORIZ FLGE | MOTOR,AC;TYPE:HORIZONTAL,FRAME SIZE:D132S,POWER RATING:3 KW,VOLTAGE RATING:440 V,NUMBER OF POLES:6,SPEED RATING:950 R/MIN,NUMBER OF PHASE:3,DEGREE OF PROTECTION:IP66,ENCLOSURE:TEFC,MOUNTING TYPE:FLANGE IM3001,INSULATION CLASS:H,ADDITIONAL FEATURES EN:STD BALL BEARINGS, C/W 60 NM, IP55, LENZE, B RISE,MNFR:01)TECO,PTNO:01)B18854 REV B | EN_01)HORIZONTAL,D132S,3 KW,440 V,950 R/MIN,IP66,TEFC,FLANGE IM3001,H,01)STD BALL BEARINGS, C/W 60 N,01)TECO,01)B18854 REV B | B18854 REV B | 3000444 | TECO | TECO | B18854 REV B |  | LENZE |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | HORIZONTAL | FRAME SIZE | D132S | POWER RATING | 3 KW | VOLTAGE RATING | 440 VAC | CURRENT RATING |  | NUMBER OF POLES | 6 | SPEED RATING | 950 RPM | FREQUENCY RATING |  | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION | IP66 | ENCLOSURE | TEFC | MOUNTING TYPE | FLANGE IM3001 | SERVICE FACTOR |  | INSULATION CLASS | CLASS H | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W STANDARD BALL BEARINGS 60 NM,IP55,B RISE | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 | SERIES MATCH | 1269491 | 1269491 | MOTOR,AC;SEW,DRN180MV/BE30/FG,18.5KW | MOTOR,AC;MNFR:SEW EURODRIVE,PTNO:DRN180MV/BE30/FG,ADDITIONAL FEATURES EN:18.5KW | 01)SEW EURODRIVE PTY LTD,01)DRN180MV/BE30/FG,MOTOR,AC,01)18.5KW | DRN180MV/BE30/FG | 3000442 | SEW EURODRIVE | SEW EURODRIVE | DRN180MV/BE30/FG | [5 empty] | https://download.sew-eurodrive.com/download/pdf/21284997.pdf | [10 empty] | CLEANSED | 26101100 Electric alternating current AC motors | GEARMOTOR | AC | TYPE |  | POWER RATING | 18.5 KW | OUTPUT SPEED RATING |  | VOLTAGE RATING |  | NEMA/IEC SIZE |  | TORQUE RATING |  | SPEED RATIO |  | SERVICE FACTOR |  | CURRENT RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 | SERIES MATCH | 1269642 | 1269642 | MOTOR,AC;SEW,DRN80M4/BE1HR/FG,0.75KW | MOTOR,AC;MNFR:SEW EURODRIVE,PTNO:DRN80M4/BE1HR/FG,ADDITIONAL FEATURES EN:0.75KW | 01)SEW EURODRIVE PTY LTD,01)DRN80M4/BE1HR/FG,MOTOR,AC,01)0.75KW | DRN80M4/BE1HR/FG | 3000442 | SEW EURODRIVE | SEW EURODRIVE | DRN80M4/BE1HR/FG | [5 empty] | https://download.sew-eurodrive.com/download/pdf/21284997.pdf | [10 empty] | CLEANSED | 26101100 Electric alternating current AC motors | GEARMOTOR | AC | TYPE |  | POWER RATING | 0.75 KW | OUTPUT SPEED RATING |  | VOLTAGE RATING |  | NEMA/IEC SIZE |  | TORQUE RATING |  | SPEED RATIO |  | SERVICE FACTOR |  | CURRENT RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | MOUNTING TYPE |  | DEGREE OF PROTECTION |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 | CONFLICT VOLTAGE RATING IN I/P AND WEBSOURCE Processed based on Websource | 1269434 | 1269434 | MOTOR,AC;TECO,014/0022DD2S,22KW,1000V,2P | MOTOR,AC;MNFR:TECO,PTNO:014/0022DD2S,ADDITIONAL FEATURES EN:22KW,1000V,2P,1.5 M EXT LEADS | 01)TECO AUSTRALIA PTY LTD,01)014/0022DD2S,MOTOR,AC,01)22KW,1000V,2P,1.5 M EXT LEA | 014/0022DD2S | 3000444 | TECO | TECO | 014/0022DD2S | [5 empty] | https://mm.mmem.com.au/teo014-2f-0022dd2s | [10 empty] | ENRICHED | 26101114 Induction motor AC | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE | D180MA | POWER RATING | 22 KW | VOLTAGE RATING | 380/415 VAC | CURRENT RATING | 37.4 A | NUMBER OF POLES | 2 | SPEED RATING | 2950 RPM | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE |  | MOUNTING TYPE | FLANGE | SERVICE FACTOR | 1/1.5 | INSULATION CLASS | CLASS F | DUTY CYCLE | S1 | AMBIENT TEMPERATURE | 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EXTENSION LEADS SIZE:1.5 M | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1274963 | 1274963 | MOTOR,AC;TECO,024/0018DF2S/MIM440V | MOTOR,AC;MNFR:TECO,PTNO:024/0018DF2S/MIM440V |  | 024/0018DF2S/MIM440V | 3000444 | TECO | TECO | 024/0018DF2S/MIM440V | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE |  | POWER RATING |  | VOLTAGE RATING | 440 VAC | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1213032 | 1213032 | MOTOR,AC;TECO,30kW 4P IC416 D200L TECO M | MOTOR,AC;MNFR:TECO,PTNO:30kW 4P IC416 D200L TECO MIM4/1/1,ADDITIONAL FEATURES EN:4 POLE,30KW | 01)TECO AUSTRALIA PTY LTD,01)30KW 4P IC416 D200L TECO MI,MOTOR,AC,01)4 POLE,30KW | 30kW 4P IC416 D200L TECO MIM4/1/1 | 3000444 | TECO | TECO | MIM4/1/1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE | D200L | POWER RATING | 30 KW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FORCE COOLING:IC416 | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1269542 | 1269542 | MOTOR,AC;TECO,AEMB MAX-E3,37KW 6P | MOTOR,AC;MNFR:TECO,PTNO:AEMB MAX-E3,ADDITIONAL FEATURES EN:37KW 6P | 01)TECO AUSTRALIA PTY LTD,01)AEMB MAX-E3,MOTOR,AC,01)37KW 6P | AEMB MAX-E3 | 3000444 | TECO | TECO | MAXE3 | [5 empty] | https://www.skmsltd.com/assets/products/max-e3-premium/TECO-MAXe3-catalogue-082016.pdf | https://www.teco.com.au/Electric-Motors/Low-Voltage-Motors/Teco-Low-Voltage-3-Phase-Induction-Motors/MAX-E3-PSD-Totally-Enclosed-Fan-Cooled-Cast-Iron-F | [9 empty] | ENRICHED | 26101114 Induction motor AC | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING |  | FREQUENCY RATING | 50/60 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE | TEFC | MOUNTING TYPE |  | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE |  | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AEMB | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1269511 | 1269511 | MOTOR,AC;TECO,TEO14/0011DD2S,11KW,2P,FLG | MOTOR,AC;MNFR:TECO,PTNO:TEO14/0011DD2S,ADDITIONAL FEATURES EN:11KW,2P,FLG MNT,380âˆ’415V,50HZD160Mâˆ’42 | 01)REXEL AUSTRALIA,01)TEO14/0011DD2S,MOTOR,AC,01)11KW,2P,FLG MNT,380−415V,50 | TEO14/0011DD2S | 3000444 | TECO | TECO | TEO14/0011DD2S |  | REXEL AUSTRALIA |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 11KW,2P,FLG MNT,380âˆ’415V,50HZD160Mâˆ’42 | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1275823 | 1275823 | MOTOR,AC;WEG,M194 ALE2W21,1000V 4 KW COO | MOTOR,AC;MNFR:WEG,PTNO:M194 ALE2W21,ADDITIONAL FEATURES EN:1000V 4 KW COOLING FAN MOTOR FOR L250 COMP(CW 2 X VIBRATION TRANSDU | 01)QUICKPRO ELECTRICAL PTY L,01)M194 ALE2W21,MOTOR,AC,01)1000V 4 KW COOLING FAN MOTO | M194 ALE2W21 | 3000040 | WEG | WEG | M194 ALE2W21 |  | QUICKPRO ELECTRICAL PTY |  |  |  | https://www.westvicindustrial.com.au/shop/weg-m194ale2w21/ | [5 empty] | COMPRESSOR |  | L250 |  |  | ENRICHED | 26101108 Compressor motor AC | MOTOR | AC | TYPE | COOLING FAN | FRAME SIZE | 112M | POWER RATING | 4 KW | VOLTAGE RATING | 1000 VAC | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL | ALUMINUM | DEGREE OF PROTECTION | IP55 | ENCLOSURE |  | MOUNTING TYPE | FLANGE | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 2 X VIBRATION TRANSDUCER | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1267329 | 1267329 | MOTOR;AB, A-BTLYA220PBJ62AA,SRVO | MOTOR;MNFR:ALLEN BRADLEY,PTNO: A-BTLYA220PBJ62AA,ADDITIONAL FEATURES EN:SERVO | 01)CNW (MOUNT ISA) ELECT WHO,01) A-BTLYA220PBJ62AA,MOTOR,01)SERVO | A-BTLYA220PBJ62AA | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | TLY-A220P-BJ62AA |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rockwellautomation.com/en-us/products/details.TLY-A220P-BJ62AA.html | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | SERVO | TYPE |  | FRAME SIZE | 70 MM | POWER RATING |  | VOLTAGE RATING | 230 VAC | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING | 5000 RPM | TORQUE RATING |  | DEGREE OF PROTECTION | IP65 | ENCLOSURE | NEMA 23 | MOUNTING TYPE |  | SHAFT SIZE |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED SENSOR TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1324373 | 1324373 | MOTOR;ABB,M3AA280SMA4 | MOTOR;MNFR:ABB,PTNO:M3AA280SMA4 | MOTOR | M3AA280SMA4 | 3000014 | ABB | ABB | M3AA 280 SMA4 | [5 empty] | https://library.e.abb.com/public/367c91cdc1dee017c1257b130057111e/Catalogue%20GenPurpMotors_GB_12_2004%20RevA.pdf | https://www.electricautomationnetwork.com/en/abb/m3aa-280-sma-4-3gaa282210-adg-abb-aluminium-motor-for-process-performance-75kw-400-690v-ie2-4p-mounting-b | [9 empty] | ENRICHED | 26101112 General purpose motor AC | MOTOR | AC | TYPE | GENERAL PURPOSE | FRAME SIZE |  | POWER RATING | 75 KW | VOLTAGE RATING | 400/690 VAC | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | ALUMINIUM | DEGREE OF PROTECTION | IP55 | ENCLOSURE |  | MOUNTING TYPE | FOOT | SERVICE FACTOR |  | INSULATION CLASS | ICLF | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1258307 | 1258307 | MOTOR;ABB,MK1100048-S | MOTOR;MNFR:ABB,PTNO:MK1100048-S | MOTOR | MK1100048-S | 3000014 | ABB | ABB | MK1100048-S | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1324342 | 1324342 | MOTOR;ABB,SLH80-4B | MOTOR;MNFR:ABB,PTNO:SLH80-4B | MOTOR | SLH80-4B | 3000014 | ABB | ABB | SLH80-4B | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1248486 | 1248486 | MOTOR;CUM,3957592 | MOTOR;MNFR:CUMMINS,PTNO:3957592 | MOTOR | 3957592 | 3000018 | CUMMINS | CUMMINS | 3957592 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sCt2QAE/cummins-starting-motor-3957592 | [10 empty] | ENRICHED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE | STARTER | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1333621 | 1333621 | MOTOR;DIEC,BEQ0235 | MOTOR;MNFR:DIECI,PTNO:BEQ0235,ADDITIONAL FEATURES EN:WIPER | MOTOR,01)WIPER | BEQ0235 | 3000511 | DIECI | DIECI | BEQ0235 | [5 empty] | https://parts.titanmachinery.ua/dieci/BEQ0235 | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE | WIPER | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1273039 | 1273039 | MOTOR;HINO,S871041090,BLOWR | MOTOR;MNFR:HINO MOTORS,PTNO:S871041090,ADDITIONAL FEATURES EN:BLOWER | 01)HONEYCOMBES SALES & SERVI,01)S871041090,MOTOR,01)BLOWER | S871041090 | 3000513 | HINO MOTORS | HINO MOTORS | S871041090 |  | HONEYCOMBES SALES & SERVI |  |  |  | https://burjauto.com/oem/s871041090-hino-motor-sub-assy-blowe/260596506?lang=en | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE | BLOWER | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1243579 | 1243579 | MOTOR;HYS,1493344,WIPER,TOP | MOTOR;MNFR:HYSTER,PTNO:1493344,ADDITIONAL FEATURES EN:WIPER,TOP | 01)H16.00XM-6,MOTOR,01)WIPER,TOP,01)ESSUIE-GLACE,SUPERIEUR | 1493344 | 3000023 | HYSTER | HYSTER | 1493344 | [5 empty] | https://www.orangeparts.com/hyster-1493344-wiper-motor/ | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE | TOP WIPER | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M6 X 16 MM | [53 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1216422 | 1216422 | MOTOR;MAN,748014,START | MOTOR;MNFR:MANITOU,PTNO:748014,ADDITIONAL FEATURES EN:STARTER | 01)JUNGHEINRICH AUSTRALIA PT,01)748014,MOTOR,01)STARTER | 748014 | 3000007 | MANITOU | MANITOU | 748014 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://midtnequipment.com/content/manitou-parts-manuals/VerticalMastedForkliftPartsManuals/MSIandMHSeriesSemi-IndustrialVerticalMastedForkliftPartsManuals/MSI30D-MH25-4-254496.pdf | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE | STARTER | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STARTER | [53 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1332933 | 1332933 | MOTOR;SEW,DRN80M4/FG/TF,.75KW,4P,FLANGE | MOTOR;MNFR:SEW EURODRIVE,PTNO:DRN80M4/FG/TF,ADDITIONAL FEATURES EN:.75KW,4P,FLANGE MNT | 01)QUICKPRO ELECTRICAL PTY L,01)DRN80M4/FG/TF,MOTOR,01).75KW,4P,FLANGE MNT | DRN80M4/FG/TF | 3000442 | SEW EURODRIVE | SEW EURODRIVE | DRN80M4/FG/TF |  | QUICKPRO ELECTRICAL PTY |  |  |  | https://download.sew-eurodrive.com/download/pdf/24833231.pdf | https://www.radwell.co.uk/en-GB/Buy/SEW%20EURODRIVE/SEW%20EURODRIVE/DRN80M4-DIV-FG-DIV-TF-DIV-Z-DIV-C | [9 empty] | ENRICHED | 26101100 Electric alternating current AC motors | GEARMOTOR | AC | TYPE | ENERGY EFFCIENT | POWER RATING | 0.75 KW | OUTPUT SPEED RATING | 1800 RPM | VOLTAGE RATING |  | NEMA/IEC SIZE |  | TORQUE RATING |  | SPEED RATIO |  | SERVICE FACTOR |  | CURRENT RATING |  | FREQUENCY RATING | 60 HZ | NUMBER OF PHASE |  | MOUNTING TYPE | FLANGE | DEGREE OF PROTECTION |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLE:4 | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1214950 | 1214950 | MOTOR;SEW,DRN90L4/BE2/FG,1.5 KW 3 PH AC | MOTOR;MNFR:SEW EURODRIVE,PTNO:DRN90L4/BE2/FG,ADDITIONAL FEATURES EN:1.5 KW 3 PH AC SL CHUTE PLUG | 01)SEW EURODRIVE PTY LTD,01)DRN90L4/BE2/FG,MOTOR,01)1.5 KW 3 PH AC SL CHUTE PLU | DRN90L4/BE2/FG | 3000442 | SEW EURODRIVE | SEW EURODRIVE | DRN90L4/BE2/FG | [5 empty] | https://download.sew-eurodrive.com/download/pdf/24833231.pdf | https://rodavigo.net/datos/articulos/589/motor-asincrono-drn90l4-be2-fg-sew-eurodrive.pdf | [9 empty] | ENRICHED | 26101100 Electric alternating current AC motors | GEARMOTOR | AC | TYPE | ENERGY EFFCIENT | POWER RATING | 1.5 KW | OUTPUT SPEED RATING | 1767 RPM | VOLTAGE RATING | 220 TO 230 VAC,254 TO 266 VAC | NEMA/IEC SIZE |  | TORQUE RATING | 20 NM | SPEED RATIO |  | SERVICE FACTOR |  | CURRENT RATING | 6/3.45 A | FREQUENCY RATING | 50/60 HZ | NUMBER OF PHASE | 3 | MOUNTING TYPE |  | DEGREE OF PROTECTION | IP55 | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SL CHUTE PLUG | [43 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1258359 | 1258359 | MOTOR;SIE,109351337 | MOTOR;MNFR:SIEMENS,PTNO:109351337 | MOTOR | 109351337 | 3000032 | SIEMENS | SIEMENS | 109351337 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1321708 | 1321708 | MOTOR;SIE,1GB.224-OAG20 | MOTOR;MNFR:SIEMENS,PTNO:1GB.224-OAG20 | MOTOR | 1GB.224-OAG20 | 3000032 | SIEMENS | SIEMENS | 1GB.224-OAG20 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1321709 | 1321709 | MOTOR;SIE,1GF2-204-5LJ2G-2 | MOTOR;MNFR:SIEMENS,PTNO:1GF2-204-5LJ2G-2 | MOTOR | 1GF2-204-5LJ2G-2 | 3000032 | SIEMENS | SIEMENS | 1GF2-204-5LJ2G-2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1324804 | 1324804 | MOTOR;SIE,1LE10011CA190JB4-Z | MOTOR;MNFR:SIEMENS,PTNO:1LE10011CA190JB4-Z | MOTOR | 1LE10011CA190JB4-Z | 3000032 | SIEMENS | SIEMENS | 1LE10011CA190JB4-Z | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1322554 | 1322554 | MOTOR;SIE,1LE10031CB090AA4-Z | MOTOR;MNFR:SIEMENS,PTNO:1LE10031CB090AA4-Z | MOTOR | 1LE10031CB090AA4-Z | 3000032 | SIEMENS | SIEMENS | 1LE10031CB090AA4-Z | [5 empty] | https://mall.industry.siemens.com/spice/docuservice/docuservice?configid=14&docu.mlfb=1LE10031CB090AA4+M1Y&docu.inittype=MLFB&docu.generationtype=VIEW&docu.viewid=PDF&region=US&language=en&docu.language.locale1=en&docu.language.locale2=en | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | SQUIRREL CAGE | FRAME SIZE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | ALUMINIUM | DEGREE OF PROTECTION | IP55 | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | INSULATION CLASS | CLASS F | DUTY CYCLE | S1 | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1248569 | 1248569 | MOTOR;SIE,1LE23212AA104AA3 | MOTOR;MNFR:SIEMENS,PTNO:1LE23212AA104AA3 | MOTOR | 1LE23212AA104AA3 | 3000032 | SIEMENS | SIEMENS | 1LE23212AA104AA3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1324333 | 1324333 | MOTOR;SIE,ANGA-112MB-04C | MOTOR;MNFR:SIEMENS,PTNO:ANGA-112MB-04C | MOTOR | ANGA-112MB-04C | 3000032 | SIEMENS | SIEMENS | ANGA-112MB-04C | [5 empty] | https://mall.industry.siemens.com/mall/en/se/Catalog/Product/?mlfb=LDX%3AL29001140102 | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | SQUIRREL CAGE | FRAME SIZE |  | POWER RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1248527 | 1248527 | MOTOR;SIE,NMA:A5E00231173 | MOTOR;MNFR:SIEMENS,PTNO:NMA:A5E00231173 | MOTOR | NMA:A5E00231173 | 3000032 | SIEMENS | SIEMENS | NMA:A5E00231173 | [5 empty] | https://www.i-a.by/katalog-produkcii/cifrovoe-proizvodstvo-zapasnye-chasti-i-snyatye-s-proizvodstva-produkty-dc-ac-4303 | [10 empty] | CLEANSED | 26100000 Power sources | MOTOR | NO MODIFIER | TYPE |  | POWER RATING |  | SPEED RATING |  | CONSTRUCTION MATERIAL |  | ENCLOSURE |  | MOUNTING TYPE |  | SERVICE FACTOR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1276439 | 1276439 | MOTOR;TECO,013/0005DD6S-IM3001-MIM,440V | MOTOR;MNFR:TECO,PTNO:013/0005DD6S-IM3001-MIM,ADDITIONAL FEATURES EN:440V,5.5KW,6P,132M,FLANGE, MAX E3,3 PHASE,INDUCTION | 01)TECO AUSTRALIA PTY LTD,01)013/0005DD6S-IM3001-MIM,MOTOR,01)440V,5.5KW,6P,132M,FLANGE,02)3 PHASE,INDUCTION | 013/0005DD6S-IM3001-MIM | 3000444 | TECO | TECO | 013/0005DD6S-IM3001-MIM | [5 empty] | https://awm.mmem.com.au/teo013-2f-0005dd6s | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE | D132M | POWER RATING | 5.5 KW | VOLTAGE RATING | 415 VAC | CURRENT RATING | 11.5 A | NUMBER OF POLES | 6 | SPEED RATING | 970 RPM | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE |  | MOUNTING TYPE | FLANGE | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE | S1 | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 | PARTIALLY MATCH | 1269761 | 1269761 | MOTOR;TECO,BI10922,023/0003DF4S FT/FLG | MOTOR;MNFR:TECO,PTNO:BI10922,ADDITIONAL FEATURES EN:023/0003DF4S FT/FLG | 01)ISADRAULICS,01)BI10922,MOTOR,01)023/0003DF4S FT/FLG | BI10922 | 3000444 | TECO | TECO | 023/0003DF4S FT/FLG |  | ISADRAULICS | BI10922 |  |  | https://www.goelectrical.com.au/teo023-2f-0003df4 | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE | D100L | POWER RATING | 3 KW | VOLTAGE RATING | 415 VAC | CURRENT RATING | 5.98 A | NUMBER OF POLES | 4 | SPEED RATING | 1450 RPM | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE |  | MOUNTING TYPE | FLANGE | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE | S1 | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1217743 | 1217743 | MOTOR;TECO,EBSEM-11SE8TE3-B3Q66T,11KW,8P | MOTOR;MNFR:TECO,PTNO:EBSEM-11SE8TE3-B3Q66T,ADDITIONAL FEATURES EN:11KW,8P,B3,TEFC,TECO/MAXE3 | 01)EBS-RAY PUMPS PTY LTD,01)EBSEM-11SE8TE3-B3Q66T,MOTOR,01)11KW,8P,B3,TEFC,TECO/MAXE3 | EBSEM-11SE8TE3-B3Q66T | 3000444 | TECO | TECO | MAXE3 |  | EBS-RAY PUMPS PTY LTD | EBSEM-11SE8TE3-B3Q66T |  |  | https://www.teco.com.au/Electric-Motors/Low-Voltage-Motors/Teco-Low-Voltage-3-Phase-Induction-Motors/MAX-E3-PSD-Totally-Enclosed-Fan-Cooled-Cast-Iron-F | [10 empty] | ENRICHED | 26101114 Induction motor AC | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE |  | POWER RATING | 11 KW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 8 | SPEED RATING |  | FREQUENCY RATING | 50/60 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE | TEFC | MOUNTING TYPE | B3 | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE |  | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1217744 | 1217744 | MOTOR;TECO,EBSEM-4SE4TE3-B5Q66,4KW,4P,B5 | MOTOR;MNFR:TECO,PTNO:EBSEM-4SE4TE3-B5Q66,ADDITIONAL FEATURES EN:4KW,4P,B5,TEFC,TECO/MAXE3 380-415/3/50,D112M-28,TEFC,IP66 | 01)EBS-RAY PUMPS PTY LTD,01)EBSEM-4SE4TE3-B5Q66,MOTOR,01)4KW,4P,B5,TEFC,TECO/MAXE3 3 | EBSEM-4SE4TE3-B5Q66 | 3000444 | TECO | TECO | MAXE3.3 |  | EBS-RAY PUMPS PTY LTD | EBSEM-4SE4TE3-B5Q66 |  |  | https://www.teco.com.au/Electric-Motors/Low-Voltage-Motors/Teco-Low-Voltage-3-Phase-Induction-Motors/MAX-E3-PSD-Totally-Enclosed-Fan-Cooled-Cast-Iron-F | [10 empty] | ENRICHED | 26101114 Induction motor AC | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE |  | POWER RATING | 4 KW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING | 50/60 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE | TEFC | MOUNTING TYPE | B5 | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE |  | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1217745 | 1217745 | MOTOR;TECO,EBSEM-4SE6TE3-B3Q66,4KW,6P,B3 | MOTOR;MNFR:TECO,PTNO:EBSEM-4SE6TE3-B3Q66,ADDITIONAL FEATURES EN:4KW,6P,B3,TEFC,TECO/MAXE3 380-415/3/50,D132M-38,TEFC,IP66 | 01)EBS-RAY PUMPS PTY LTD,01)EBSEM-4SE6TE3-B3Q66,MOTOR,01)4KW,6P,B3,TEFC,TECO/MAXE3 3 | EBSEM-4SE6TE3-B3Q66 | 3000444 | TECO | TECO | MAXE3.3 |  | EBS-RAY PUMPS PTY LTD | EBSEM-4SE6TE3-B3Q66 |  |  | https://www.teco.com.au/Electric-Motors/Low-Voltage-Motors/Teco-Low-Voltage-3-Phase-Induction-Motors/MAX-E3-PSD-Totally-Enclosed-Fan-Cooled-Cast-Iron-F | [10 empty] | ENRICHED | 26101114 Induction motor AC | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE |  | POWER RATING | 4 KW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 6 | SPEED RATING |  | FREQUENCY RATING | 50/60 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE | TEFC | MOUNTING TYPE | B3 | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE |  | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1274208 | 1274208 | MOTOR;TECO,EBSEM-5.5SE8TE3-B3Q66,4KW,8P | MOTOR;MNFR:TECO,PTNO:EBSEM-5.5SE8TE3-B3Q66Â ,ADDITIONAL FEATURES EN:4KW,8P,B3,TEFC,TECO/MAXE3 380-415/3/50,D160M-42,TEFC,IP66 | 01)EBS-RAY PUMPS PTY LTD,01)EBSEM-5.5SE8TE3-B3Q66 ,MOTOR,01)4KW,8P,B3,TEFC,TECO/MAXE3 3 | EBSEM-5.5SE8TE3-B3Q66Â | 3000444 | TECO | TECO | MAXE3.3 |  | EBS-RAY PUMPS PTY LTD | EBSEM-5.5SE8TE3-B3Q66Â |  |  | https://www.teco.com.au/Electric-Motors/Low-Voltage-Motors/Teco-Low-Voltage-3-Phase-Induction-Motors/MAX-E3-PSD-Totally-Enclosed-Fan-Cooled-Cast-Iron-F | [10 empty] | ENRICHED | 26101114 Induction motor AC | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE |  | POWER RATING | 4 KW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 8 | SPEED RATING |  | FREQUENCY RATING | 50/60 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE | TEFC | MOUNTING TYPE | B3 | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE |  | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1217746 | 1217746 | MOTOR;TECO,EBSEM-7.5SE4TE3-B5Q66T,7.5KW | MOTOR;MNFR:TECO,PTNO:EBSEM-7.5SE4TE3-B5Q66T,ADDITIONAL FEATURES EN:7.5KW,4P,B5,TEFC,TECO/MAXE3 380-415/3/50,D132M-38,TEFC,IP66 | 01)EBS-RAY PUMPS PTY LTD,01)EBSEM-7.5SE4TE3-B5Q66T,MOTOR,01)7.5KW,4P,B5,TEFC,TECO/MAXE3 | EBSEM-7.5SE4TE3-B5Q66T | 3000444 | TECO | TECO | MAXE3 |  | EBS-RAY PUMPS PTY LTD | EBSEM-7.5SE4TE3-B5Q66T |  |  | https://www.teco.com.au/Electric-Motors/Low-Voltage-Motors/Teco-Low-Voltage-3-Phase-Induction-Motors/MAX-E3-PSD-Totally-Enclosed-Fan-Cooled-Cast-Iron-F | https://www.skmsltd.com/assets/products/max-e3-premium/TECO-MAXe3-catalogue-082016.pdf | [9 empty] | ENRICHED | 26101114 Induction motor AC | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE |  | POWER RATING | 7.5 KW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 4 | SPEED RATING |  | FREQUENCY RATING | 50/60 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE | TEFC | MOUNTING TYPE | B5 | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE |  | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 | URL FOR REFERENCE ONLY | 1217845 | 1217845 | MOTOR;TECO,TEFC IC0411,TECO 12/0.75F4S. | MOTOR;MNFR:TECO,PTNO:TEFC IC0411,ADDITIONAL FEATURES EN:TECO 12/0.75F4S. 1000V / 3PH / 50HZ. | 01)CNW (MOUNT ISA) ELECT WHO,01)TEFC IC0411,MOTOR,01)TECO 12/0.75F4S. 1000V / 3P | TEFC IC0411 | 3000444 | TECO | TECO |  |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | http://nicaudindustrials.com/wp-content/uploads/2020/04/TECO-Brochure1.pdf | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE |  | FRAME SIZE |  | POWER RATING |  | VOLTAGE RATING | 1000 VAC | CURRENT RATING |  | NUMBER OF POLES |  | SPEED RATING |  | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL |  | DEGREE OF PROTECTION |  | ENCLOSURE | TEFC IC0411 | MOUNTING TYPE |  | SERVICE FACTOR |  | INSULATION CLASS |  | DUTY CYCLE |  | AMBIENT TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 12/0.75F4S | [33 empty] | Production Completed
STP_009 | Data Enrichment | rym | OK | 2023-06-27 | 2023-07-08 |  | 1269359 | 1269359 | MOTOR;TECO,TEO003/0007D4S,7.5 KW,4P,IP66 | MOTOR;MNFR:TECO,PTNO:TEO003/0007D4S,ADDITIONAL FEATURES EN:7.5 KW,4P,IP66,D132M,FT,415V | 01)REXEL AUSTRALIA,01)TEO003/0007D4S,MOTOR,01)7.5 KW,4P,IP66,D132M,FT,415 | TEO003/0007D4S | 3000444 | TECO | TECO | TEO003/0007D4S |  | REXEL AUSTRALIA |  |  |  | https://www.goelectrical.com.au/teo003-2f-0007d4s | [10 empty] | ENRICHED | 26101100 Electric alternating current AC motors | MOTOR | AC | TYPE | SQUIRREL CAGE INDUCTION | FRAME SIZE | D132M | POWER RATING | 7.5 KW | VOLTAGE RATING | 415 VAC | CURRENT RATING | 13.4 A | NUMBER OF POLES | 4 | SPEED RATING | 1465 RPM | FREQUENCY RATING | 50 HZ | NUMBER OF PHASE | 3 | CONSTRUCTION MATERIAL | CAST IRON | DEGREE OF PROTECTION | IP66 | ENCLOSURE |  | MOUNTING TYPE | FOOT | SERVICE FACTOR | 1.15 | INSULATION CLASS | CLASS F | DUTY CYCLE | S1 | AMBIENT TEMPERATURE | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed