## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1271046 | 1271046 | CONTACT,AUX;AB,A-B100FA04,4NC | CONTACT,AUXILIARY;MNFR:ALLEN BRADLEY,PTNO:A-B100FA04,ADDITIONAL FEATURES EN:4NC | 01)CNW,01)A-B100FA04,CONTACT,AUXILIARY,01)4NC | A-B100FA04 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B100FA04 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rockwellautomation.com/en-us/products/details.100-FA04.html | https://www.stateelectric.com/products/allen-bradley-100-fa04/ | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 4NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1271047 | 1271047 | CONTACT,AUX;AB,A-B100FA22,2-N/O,2-N/C | CONTACT,AUXILIARY;MNFR:ALLEN BRADLEY,PTNO:A-B100FA22,ADDITIONAL FEATURES EN:2-N/O,2-N/C | 01)CNW,01)A-B100FA22,CONTACT,AUXILIARY,01)2-N/O,2-N/C | A-B100FA22 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B100FA22 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rockwellautomation.com/en-us/products/details.100-FA22.html | https://www.stateelectric.com/products/allen-bradley-100-fa22/ | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO 2NC | VOLTAGE RATING | 600 VAC | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CE,CUL,GOST,KC | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1271048 | 1271048 | CONTACT,AUX;AB,A-B100FA31,3-N/O,1-N/C | CONTACT,AUXILIARY;MNFR:ALLEN BRADLEY,PTNO:A-B100FA31,ADDITIONAL FEATURES EN:3-N/O,1-N/C | 01)CNW,01)A-B100FA31,CONTACT,AUXILIARY,01)3-N/O,1-N/C | A-B100FA31 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B100FA31 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rockwellautomation.com/en-us/products/details.100-FA31.html | https://www.horizonsolutions.com/product/a-b100fa31 | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 3NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1266475 | 1266475 | CONTACT,AUX;AB,A-B189AL20,LEFT MOUNT | CONTACT,AUXILIARY;MNFR:ALLEN BRADLEY,PTNO:A-B189AL20,ADDITIONAL FEATURES EN:LEFT MOUNT | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B189AL20,CONTACT,AUXILIARY,01)LEFT MOUNT | A-B189AL20 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B189AL20 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.rockwellautomation.com/en-us/products/details.189-AL20.html | https://eecoonline.com/allen-bradley-189-al20-mcb-accessory-auxiliar | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | LEFT | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1264769 | 1264769 | CONTACT,AUX;ABB,1VCF309499S0032 | CONTACT,AUXILIARY;MNFR:ABB,PTNO:1VCF309499S0032 | CONTACT,AUXILIARY | 1VCF309499S0032 | 3000014 | ABB | ABB | 1VCF309499S0032 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1241472 | 1241472 | CONTACT,AUX;ABB,3BHL000629P1005,1NO-1NC | CONTACT,AUXILIARY;MNFR:ABB,PTNO:3BHL000629P1005,ADDITIONAL FEATURES EN:1NO-1NC,FAZ-XHIN11 | CONTACT,AUXILIARY,01)1NO-1NC,FAZ-XHIN11,01)1NO-1NC,FAZ-XHIN11 | 3BHL000629P1005 | 3000014 | ABB | ABB | 3BHL000629P1005 |  | ABB | FAZ-XHIN11 |  |  | https://www.quad-industry.com/catalog/abbcatalog/138536/2798120.html | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1276436 | 1276436 | CONTACT,AUX;ABB,CA611K,1NO/1NC,K6,M62,F/ | CONTACT,AUXILIARY;MNFR:ABB,PTNO:CA611K,ADDITIONAL FEATURES EN:1NO/1NC,K6,M62,F/RELAY,M:KC-31Z | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBCA611K,CONTACT,AUXILIARY,01)1NO/1NC,K6,M62,F/RELAY,M:KC | CA611K | 3000014 | ABB | ABB | CA611K |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://new.abb.com/products/GJL1201317R0001/ca6-11k | https://www.electricautomationnetwork.com/en/abb/ca6-11k-auxiliary-contact-abb-ca6-11k-gjl1201317r0001 | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 690 VAC,250 VDC | CURRENT RATING | 6 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 60947-1,IEC/EN 60947-4-1,IEC/EN 60947-5-1,UL 60947-1,UL 60947-4-1 | ADDITIONAL FEATURES EN | FOR K6,M62,RELAY,M:KC-31Z | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214207 | 1214207 | CONTACT,AUX;ABB,S2CH6R,1C/O,U62 SA1 | CONTACT,AUXILIARY;MNFR:ABB,PTNO:S2CH6R,ADDITIONAL FEATURES EN:1C/O,U62 SA1 | 01)CNW (MOUNT ISA) ELECT WHO,01)ABBS2CH6R,CONTACT,AUXILIARY,01)1C/O,U62 SA1 | S2CH6R | 3000014 | ABB | ABB | S2CH6R |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://new.abb.com/products/2CDS200912R0001/s2c-h6r | https://us.rs-online.com/product/abb/s2c-h6r/70094676/ | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA CLASS 3215-30,CSA CLASS 3215-90,GB/T 14048.5,IEC/EN 60947-5-1,UL 1077 | ADDITIONAL FEATURES EN | U62 SA1 | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1218104 | 1218104 | CONTACT,AUX;ALIM,3002 192 463 | CONTACT,AUXILIARY;MNFR:ALIMAK,PTNO:3002 192 463 |  | 3002 192 463 | 3000412 | ALIMAK | ALIMAK | 3002 192 463 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1247906 | 1247906 | CONTACT,AUX;BLOK,1NO 1NC,600 VAC,10 A | CONTACT,AUXILIARY;TYPE:BLOCK,CONTACT CONFIGURATION:1NO 1NC,VOLTAGE RATING:600 VAC,CURRENT RATING:10 A,TERMINAL TYPE:SCREW, MOUNTING TYPE:FRONT,ADDITIONAL FEATURES EN:ASSY, 60MM DEPTH,22MM DIA PUSHBUTTON,MNFR:SIEMENS,PTNO:3SB.1400-0A,MNFR:01)AUSLEC,PTNO: 01)SIE3SB1400-0A | EN_01)BLOCK,1NO 1NC,600 VAC,EN_01)10 A,SCREW,FRONT,01)ASSY, 60MM DEPTH,22MM DIA P,01)AUSLEC,01)SIE3SB1400-0A,CONTACT | 3SB.1400-0A | 3000032 | SIEMENS | SIEMENS | 3SB.1400-0A |  | AUSLEC |  |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3SB1400-0A | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SB1400-0A%26language%3Den | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | AUXILIARY | CONTACT CONFIGURATION | 1NO 1NC | CURRENT RATING | 10 A | VOLTAGE RATING | 600 VAC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT PLATE | MATERIAL |  | SIZE | 45 WDX47 HTX10 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CCC,UL,EAC,ROHS | ADDITIONAL FEATURES | PUSHBUTTON DIAMETER:22 MM,ASSEMBLY | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1273617 | 1273617 | CONTACT,AUX;NHP,CA7PA02,2 NC | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CA7PA02,ADDITIONAL FEATURES EN:2 NC | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCA7PA02,CONTACT,AUXILIARY,01)2 NC | CA7PA02 | 3000664 | NHP | NHP | CA7PA02 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PA02 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2 NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:2 | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1273618 | 1273618 | CONTACT,AUX;NHP,CA7PAL11,1 NO/NC,EM/LB | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CA7PAL11,ADDITIONAL FEATURES EN:1 NO/NC,EM/LB | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCA7PAL11,CONTACT,AUXILIARY,01)1 NO/NC,EM/LB | CA7PAL11 | 3000664 | NHP | NHP | CA7PAL11 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PAL11 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NOEM 1NCLB | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | SIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:2 | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1270105 | 1270105 | CONTACT,AUX;NHP,CA7PV02,2N/C,T/MOUNT,CA7 | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CA7PV02,ADDITIONAL FEATURES EN:2N/C,T/MOUNT,CA7 | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCA7PV02,CONTACT,AUXILIARY,01)2N/C,T/MOUNT,CA7 | CA7PV02 | 3000664 | NHP | NHP | CA7PV02 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PV02 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:2,FOR CA7 CONTACTOR | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1270106 | 1270106 | CONTACT,AUX;NHP,CA7PV20,2N/O,T/MOUNT,CA7 | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CA7PV20,ADDITIONAL FEATURES EN:2N/O,T/MOUNT,CA7 | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCA7PV20,CONTACT,AUXILIARY,01)2N/O,T/MOUNT,CA7 | CA7PV20 | 3000664 | NHP | NHP | CA7PV20 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PV20 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:2,FOR CA7 CONTACTOR | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1268249 | 1268249 | CONTACT,AUX;NHP,CA7PV22,2N/O-2N/C T/MNT | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CA7PV22,ADDITIONAL FEATURES EN:2N/O-2N/C T/MNT CA7 | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCA7PV22,CONTACT,AUXILIARY,01)2N/O-2N/C T/MNT CA7 | CA7PV22 | 3000664 | NHP | NHP | CA7PV22 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PV22 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO 2NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:4,FOR CA7 CONTACTOR | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1273616 | 1273616 | CONTACT,AUX;NHP,CA7PVS11,1 NO/NC,TOP MNT | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CA7PVS11,ADDITIONAL FEATURES EN:1 NO/NC,TOP MNT | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPCA7PVS11,CONTACT,AUXILIARY,01)1 NO/NC,TOP MNT | CA7PVS11 | 3000664 | NHP | NHP | CA7PVS11 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CA7PVS11 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:2 | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1270107 | 1270107 | CONTACT,AUX;NHP,CS7PV02,2N/C,T/MOUNT,CS7 | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CS7PV02,ADDITIONAL FEATURES EN:2N/C,T/MOUNT,CS7 | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCS7PV02,CONTACT,AUXILIARY,01)2N/C,T/MOUNT,CS7 | CS7PV02 | 3000664 | NHP | NHP | CS7PV02 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CS7PV02 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:2,FOR CS7 CONTACTOR | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1270108 | 1270108 | CONTACT,AUX;NHP,CS7PV04,4N/C,T/MOUNT,CS7 | CONTACT,AUXILIARY;MNFR:NHP,PTNO:CS7PV04,ADDITIONAL FEATURES EN:4N/C,T/MOUNT,CS7 | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCS7PV04,CONTACT,AUXILIARY,01)4N/C,T/MOUNT,CS7 | CS7PV04 | 3000664 | NHP | NHP | CS7PV04 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CS7PV04 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 4NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:4,FOR CA7 CONTACTOR | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1220280 | 1220280 | CONTACT,AUX;NHP,DTAUXAL,DIN-T 0.5MOD SIL | CONTACT,AUXILIARY;MNFR:NHP,PTNO:DTAUXAL,ADDITIONAL FEATURES EN:DIN-T 0.5MOD SILV | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPDTAUXAL,CONTACT,AUXILIARY,01)DIN-T 0.5MOD SILV | DTAUXAL | 3000664 | NHP | NHP | DTAUXAL |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/DTAUXAL | https://media.goelectrical.com.au/Datasheets/Terasaki/Terasaki_DIN-T_Auxiliary.pdf | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING | 5 A AT 240 V,1 A AT 60 V | MATERIAL | SILVER CONTACT | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IECEX | ADDITIONAL FEATURES EN | SERIES:DIN-T,0.5MOD | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1267038 | 1267038 | CONTACT,AUX;NHP,KT7PE120,2N/O FRNT MOUNT | CONTACT,AUXILIARY;MNFR:NHP,PTNO:KT7PE120,ADDITIONAL FEATURES EN:2N/O FRNT MOUNT | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPKT7PE120,CONTACT,AUXILIARY,01)2N/O FRNT MOUNT | KT7PE120 | 3000664 | NHP | NHP | KT7PE120 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.blackwoods.com.au/electrical/automation-control/plc-controllers/sprecher-schuh-kt7pe120-auxiliary-contact-2no-front-mount/p/00993297 | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | NM Changed | 1218336 | 1218336 | CONTACT,AUX;NHP,NHPCZA730,OFF DELAY,S&S | CONTACT,AUXILIARY;MNFR:NHP,PTNO:NHPCZA730,ADDITIONAL FEATURES EN:OFF DELAY,S&S TIMER PNEUMATIC 0.3-30SEC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCZA730,CONTACT,AUXILIARY,01)OFF DELAY,S&S TIMER PNEUMAT | NHPCZA730 | 3000664 | NHP | NHP | CZA730 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CZA730 | https://www.blackwoods.com.au/electrical/motor-motor-control/contactors-overloads/sprecher-schuh-nhp-timer-pneumatic-off-delay-30-seconds-top-mount-ts-ca7-cza730/p/00332048 | [9 empty] | Enriched | 39121523 Timer controls | TIMER | PNEUMATIC | TYPE | OFF DELAY,FIXED | PRESSURE RATING |  | TIMING RANGE | 30 MS TO 30 S | NUMBER OF PORTS |  | PROCESS CONNECTION |  | TEMPERATURE RATING |  | OPERATING MODE |  | ACCURACY |  | SIZE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND NAME:SPRECHER + SCHUH | [47 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | NM Changed | 1218337 | 1218337 | CONTACT,AUX;NHP,NHPCZE730,ON DELAY,S&S | CONTACT,AUXILIARY;MNFR:NHP,PTNO:NHPCZE730,ADDITIONAL FEATURES EN:ON DELAY,S&S TIMER PNEUMATIC 0.3-30SEC | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPCZE730,CONTACT,AUXILIARY,01)ON DELAY,S&S TIMER PNEUMAT | NHPCZE730 | 3000664 | NHP | NHP | CZE730 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217586/NHP_AU_Catalog-361/NHP_AU_Catalog-362/NHP_AU_Catalog-371/CZE730 | https://www.blackwoods.com.au/electrical/motor-motor-control/contactors-overloads/sprecher-schuh-nhp-timer-pneumatic-on-delay-30-seconds-top-mount-ts-ca7-cze730/p/00331878 | [9 empty] | Enriched | 39121523 Timer controls | TIMER | PNEUMATIC | TYPE | ON DELAY,FIXED | PRESSURE RATING |  | TIMING RANGE | 30 MS TO 30 S | NUMBER OF PORTS |  | PROCESS CONNECTION |  | TEMPERATURE RATING |  | OPERATING MODE |  | ACCURACY |  | SIZE |  | MOUNTING TYPE | TOP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND NAME:SPRECHER + SCHUH | [47 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1272614 | 1272614 | CONTACT,AUX;SCHN,LUFN02,ULTRA,TESYS,2NC | CONTACT,AUXILIARY;MNFR:SCHNEIDER INC,PTNO:LUFN02,ADDITIONAL FEATURES EN:ULTRA,TESYS,2NC | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHLUFN02,CONTACT,AUXILIARY,01)ULTRA,TESYS,2NC | LUFN02 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | LUFN02 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.se.com/us/en/product/LUFN02/auxiliary-contacts-tesys-ultra-2nc-250vac-dc-power-pole-status-screw-terminal/ | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NC | VOLTAGE RATING | 250 VAC/DC | CURRENT RATING | 5 A THERMAL,5 MA SWITCHING | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,IEC 60947-5-1,UL | ADDITIONAL FEATURES EN | RANGE:TESYS ULTRA | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1272613 | 1272613 | CONTACT,AUX;SCHN,LUFN11,TESYS,1NO,1NC,UL | CONTACT,AUXILIARY;MNFR:SCHNEIDER INC,PTNO:LUFN11,ADDITIONAL FEATURES EN:TESYS,1NO,1NC,ULTRA | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHLUFN11,CONTACT,AUXILIARY,01)TESYS,1NO,1NC,02)ULTRA | LUFN11 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | LUFN11 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.se.com/us/en/product/LUFN11/auxiliary-contact-module-tesys-ultra1-no-and-1-nc/ | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 250 VAC/DC | CURRENT RATING | 5 A THERMAL,5 MA SWITCHING | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,IEC 60947-5-1,UL | ADDITIONAL FEATURES EN | RANGE:TESYS ULTRA | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1272612 | 1272612 | CONTACT,AUX;SCHN,LUFN20,ULTRA,TESYS,2NO | CONTACT,AUXILIARY;MNFR:SCHNEIDER INC,PTNO:LUFN20,ADDITIONAL FEATURES EN:ULTRA,TESYS,2NO | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHLUFN20,CONTACT,AUXILIARY,01)ULTRA,TESYS,2NO | LUFN20 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | LUFN20 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.se.com/us/en/product/LUFN20/auxiliary-contact-module-tesys-ultra-2-no/ | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING | 250 VAC/DC | CURRENT RATING | 5 A THERMAL,5 MA SWITCHING | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,IEC 60947-5-1,UL | ADDITIONAL FEATURES EN | RANGE:TESYS ULTRA | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1217627 | 1217627 | CONTACT;AB,800FX01S,BLOK,SCRW,NO LATCH,1 | CONTACT;MNFR:ALLEN BRADLEY,PTNO:800FX01S,ADDITIONAL FEATURES EN:BLOCK,SCREW,NO LATCH,1NC | 01)SHERRIFF ELECTRICAL SUPPL,01)800FX01S,CONTACT,01)BLOCK,SCREW,NO LATCH,1NC | 800FX01S | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800FX01S |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.rockwellautomation.com/en-us/products/details.800F-X01S.html | https://www.mc-mc.com/Product/allen-bradley-800f-x01s?option=ALBR800FX01S | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | SELF-MONITORING | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 10 A | VOLTAGE RATING | 600 V | TERMINAL TYPE | SCREW | MOUNTING TYPE | LATCH | MATERIAL | PLASTIC LATCH | SIZE | 22.5 MM MOUNTING HOLE | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,UR,CSA,CCC,CE | ADDITIONAL FEATURES | OPERATING TEMPERATURE:-25 DEG C,W/O LATCH | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | NM Changed | 1214420 | 1214420 | CONTACT;ABB,10521 | CONTACT;MNFR:ABB,PTNO:10521 | CONTACT | 10521 | 3000014 | ABB | ABB | 10521 | [5 empty] | https://new.abb.com/products/10521/m105210000 | [10 empty] | Enriched | 39121304 Electrical box covers | COVER | BOX | TYPE | COMPARTMENT | SHAPE |  | NUMBER OF GANGS |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:GRAY | [55 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | NM Changed | 1214421 | 1214421 | CONTACT;ABB,10526 | CONTACT;MNFR:ABB,PTNO:10526 | CONTACT | 10526 | 3000014 | ABB | ABB | 10526 | [5 empty] | https://new.abb.com/products/10526/m105260000 | [10 empty] | Enriched | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1321621 | 1321621 | CONTACT;ABB,1SAM201901R1001 | CONTACT;MNFR:ABB,PTNO:1SAM201901R1001 | CONTACT | 1SAM201901R1001 | 3000014 | ABB | ABB | 1SAM201901R1001 |  | ABB | HKF1-11 |  |  | https://new.abb.com/products/1SAM201901R1001/hkf1-11 | https://in.rsdelivers.com/product/abb/1sam201901r1001-hkf1-11/abb-auxiliary-contact-2-contact-1nc-1no-front/4450415 | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 250 VAC/DC | CURRENT RATING | 3 A AT 24 VAC,1 A AT 24 VDC | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 60 DEG C | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1321944 | 1321944 | CONTACT;ABB,1SBN010010R1001 | CONTACT;MNFR:ABB,PTNO:1SBN010010R1001 | CONTACT | 1SBN010010R1001 | 3000014 | ABB | ABB | 1SBN010010R1001 | [5 empty] | https://new.abb.com/products/1SBN010010R1001/ca5-01 | https://in.rsdelivers.com/product/abb/1sbn010010r1001/abb-auxiliary-contact-block-1-contact-1nc-front/4458021 | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | AUXILIARY | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 6 A | VOLTAGE RATING | 24 TO 690 VAC,24 TO 250 VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE | 11 WDX47 HTX32.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC,UL,CSA | ADDITIONAL FEATURES | NUMBER OF POLE:1 | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1324370 | 1324370 | CONTACT;ABB,1SBN010110R1001 | CONTACT;MNFR:ABB,PTNO:1SBN010110R1001 | CONTACT | 1SBN010110R1001 | 3000014 | ABB | ABB | 1SBN010110R1001 | [5 empty] | https://new.abb.com/products/1SBN010110R1001/ca4-01 | https://uk.rs-online.com/web/p/auxiliary-contacts/7116329 | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | AUXILIARY | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 6 A | VOLTAGE RATING | 24 TO 690 VAC,24 TO 600 VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE | 9.9 WDX43 HTX39.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC,UL,CSA | ADDITIONAL FEATURES | NUMBER OF POLE:1 | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1324369 | 1324369 | CONTACT;ABB,1SBN010110R1010 | CONTACT;MNFR:ABB,PTNO:1SBN010110R1010 | CONTACT | 1SBN010110R1010 | 3000014 | ABB | ABB | 1SBN010110R1010 | [5 empty] | https://new.abb.com/products/1SBN010110R1010/ca4-10 | https://uk.rs-online.com/web/p/auxiliary-contacts/7116317 | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | AUXILIARY | CONTACT CONFIGURATION | 1NO | CURRENT RATING | 6 A | VOLTAGE RATING | 24 TO 500 VAC,24 TO 600 VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE | 9.9 WDX43 HTX39.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC,UL,CSA | ADDITIONAL FEATURES | NUMBER OF POLE:1 | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | MFR Updated | 1248654 | 1248654 | CONTACT;ABB,5286221 | CONTACT;MNFR:ABB,PTNO:5286221 | CONTACT | 5286221 | 3000014 | ABB | ABB | 1SFA611610R2010 MCB-01B |  |  | 5286221 |  |  | https://new.abb.com/products/1SFA611610R2010/mcb-01b | [10 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | NON-ILLUMINATED | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 6 A AT 230 VAC,5 A AT 24 VDC | VOLTAGE RATING | 690 V | TERMINAL TYPE | SCREW | MOUNTING TYPE | REAR | MATERIAL |  | SIZE | 0.01 WDX0.044 HTX0.028 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 70 DEG C | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1324605 | 1324605 | CONTACT;ABB,GJL 120 1330 R0005 | CONTACT;MNFR:ABB,PTNO:GJL 120 1330 R0005 | CONTACT | GJL 120 1330 R0005 | 3000014 | ABB | ABB | GJL1201330R0005 | [5 empty] | https://new.abb.com/products/GJL1201330R0005/caf6-20k | https://ph.rs-online.com/web/p/auxiliary-contacts/2320028 | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO | VOLTAGE RATING | 690 VAC,250 VDC | CURRENT RATING | 6 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP20 | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1324606 | 1324606 | CONTACT;ABB,GJL 120 1330 R0009 | CONTACT;MNFR:ABB,PTNO:GJL 120 1330 R0009 | CONTACT | GJL 120 1330 R0009 | 3000014 | ABB | ABB | GJL1201330R0009 | [5 empty] | https://new.abb.com/products/GJL1201330R0009/caf6-02k | https://ph.rs-online.com/web/p/auxiliary-contacts/2371558?gb=s | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NC | VOLTAGE RATING | 690 VAC,250 VDC | CURRENT RATING | 6 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP20 | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1321935 | 1321935 | CONTACT;ABB,GJL1201330R0001 | CONTACT;MNFR:ABB,PTNO:GJL1201330R0001 | CONTACT | GJL1201330R0001 | 3000014 | ABB | ABB | GJL1201330R0001 | [5 empty] | https://new.abb.com/products/GJL1201330R0001/caf6-11k | https://ph.rs-online.com/web/p/auxiliary-contacts/2534720?gb=s | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING | 690 VAC,250 VDC | CURRENT RATING | 6 A | MATERIAL |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP20 | [53 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1322012 | 1322012 | CONTACT;ABB,ISBN 010 10 R1010 | CONTACT;MNFR:ABB,PTNO:ISBN 010 10 R1010 | CONTACT | ISBN 010 10 R1010 | 3000014 | ABB | ABB | ISBN01010R1010 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | MPN Updated | 1322013 | 1322013 | CONTACT;ABB,ISBN 010 110 R1001 | CONTACT;MNFR:ABB,PTNO:ISBN 010 110 R1001 | CONTACT | ISBN 010 110 R1001 | 3000014 | ABB | ABB | 1SBN010110R1001 | [5 empty] | https://new.abb.com/products/1SBN010110R1001/ca4-01 | https://uk.rs-online.com/web/p/auxiliary-contacts/7116329?redirect-relevancy-data=7365617263685F636173636164655F6F726465723D31267365617263685F696E746572666163655F6E616D653D4931384E53656172636847656E65726963267365617263685F6D617463685F6D6F64653D6D61746368616C6C7061727469616C267365617263685F7061747465726E5F6D6174636865643D5E5B5C707B4C7D5C707B4E647D2D2C2F255C2E5D2B24267365617263685F747970653D4B4559574F52445F53494E474C455F414C5048415F4E554D45524943267365617263685F7370656C6C5F636F72726563745F6170706C6965643D59267365617263685F77696C645F63617264696E675F6D6F64653D4E4F4E45267365617263685F6B6579776F72643D3153424E3031303131305231303031267365617263685F6B6579776F72645F6170703D3153424E303130313130523130303126 | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | AUXILIARY | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 6 A | VOLTAGE RATING | 24 TO 690 VAC,24 TO 600 VDC | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE | 9.9 WDX43 HTX39.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC,UL,CSA | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1324328 | 1324328 | CONTACT;ABB,MCB10 | CONTACT;MNFR:ABB,PTNO:MCB10 | CONTACT | MCB10 | 3000014 | ABB | ABB | MCB10 | [5 empty] | https://new.abb.com/products/1SFA611610R1001/mcb-10 | https://www.standardelectricsupply.com/ABB-MCB-10-Contact-Block | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | MODULAR,NON-ILLUMINATED | CONTACT CONFIGURATION |  | CURRENT RATING | 6 A AT 230 VAC,5 A AT 24 VDC | VOLTAGE RATING | 690 V | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT | MATERIAL | SILVER TIPPED CONTACT | SIZE | 0.01 WDX0.044 HTX0.028 DP M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP20 | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1248646 | 1248646 | CONTACT;ABB,NEM1759 | CONTACT;MNFR:ABB,PTNO:NEM1759 | CONTACT | NEM1759 | 3000014 | ABB | ABB | NEM1759 | [5 empty] | https://www.kempstoncontrols.co.uk/FPTN410389R0005/ABB/sku/392990? | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214406 | 1214406 | CONTACT;ABB,NEM1813 | CONTACT;MNFR:ABB,PTNO:NEM1813 | CONTACT | NEM1813 | 3000014 | ABB | ABB | NEM1813 | [5 empty] | https://www.kempstoncontrols.co.uk/FPTN410391R0001/ABB/sku/136478 | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1211095 | 1211095 | CONTACT;ABB,OA1G10 | CONTACT;MNFR:ABB,PTNO:OA1G10 | 01)CNW (MOUNT ISA) ELECT WHO,01)OA1G10,CONTACT | OA1G10 | 3000014 | ABB | ABB | OA1G10 | [5 empty] | https://new.abb.com/products/1SCA022353R4970/oa1g10 | https://houseofelectrical.com/oa1g10-safety-disconnect-auxiliary-contacts | [9 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO | VOLTAGE RATING | 600 VAC | CURRENT RATING | 16 A | MATERIAL |  | TERMINAL TYPE | CLAMP | MOUNTING TYPE | SNAP ON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1248517 | 1248517 | CONTACT;CUM,CSP05407 | CONTACT;MNFR:CUMMINS,PTNO:CSP05407 | CONTACT | CSP05407 | 3000018 | CUMMINS | CUMMINS | CSP05407 | [5 empty] | https://cdn.ironpla.net/inspection/Cummins%20Rebuild%20Documentation_11334856.pdf | [10 empty] | Cleansed | 47131800 Cleaning and disinfecting solutions | CLEANER | NO MODIFIER | TYPE | CONTACT,FLAMMABLE | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1333563 | 1333563 | CONTACT;DIEC,KPLLI0000029 | CONTACT;MNFR:DIECI,PTNO:KPLLI0000029,ADDITIONAL FEATURES EN:ELECTRIC | CONTACT,01)ELECTRIC | KPLLI0000029 | 3000511 | DIECI | DIECI | KPLLI0000029 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1270327 | 1270327 | CONTACT;SCHN,SCHZBE101,BLOK,1NO,3A | CONTACT;MNFR:SCHNEIDER INC,PTNO:SCHZBE101,ADDITIONAL FEATURES EN:BLOCK,1NO,3A | 01)CNW (TOWNSVILLE) ELECT SU,01)SCHZBE101,CONTACT,01)BLOCK,1NO,3A | SCHZBE101 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SCHZBE101 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.se.com/in/en/product/ZBE101/single-contact-block-silver-alloy-screw-clamp-terminal-1-no/ | https://in.element14.com/schneider-electric/zbe101/contact-block-1no-screw/dp/3052990 | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | SINGLE | CONTACT CONFIGURATION | 1NO | CURRENT RATING | 3 A | VOLTAGE RATING | 240 VAC,600 V | TERMINAL TYPE | SCREW CLAMP | MOUNTING TYPE | FRONT | MATERIAL | SILVER ALLOY CONTACT | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA C22.2 NO 14,EN/IEC 60947-5-1,UL 508,EN/IEC 60947-1,JIS C8201-5-1,EN/IEC 60947-5-4,JIS C8201-1 | ADDITIONAL FEATURES | ENCLOSURE RATING:IP20,NUMBER OF POLE:1 | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1270328 | 1270328 | CONTACT;SCHN,SCHZBE102,BLOK,1NC,3A | CONTACT;MNFR:SCHNEIDER INC,PTNO:SCHZBE102,ADDITIONAL FEATURES EN:BLOCK,1NC,3A | 01)CNW (TOWNSVILLE) ELECT SU,01)SCHZBE102,CONTACT,01)BLOCK,1NC,3A | SCHZBE102 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | SCHZBE102 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://www.se.com/us/en/product/ZBE102/harmony-22mm-push-button-add-on-contact-block-1-nc-screw-clamp-terminal/ | https://in.element14.com/schneider-electric/zbe102/contact-block-1nc-screw/dp/3053003 | [9 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE | SINGLE | CONTACT CONFIGURATION | 1NC | CURRENT RATING | 3 A | VOLTAGE RATING | 240 VAC,600 V | TERMINAL TYPE | SCREW CLAMP | MOUNTING TYPE | FRONT | MATERIAL | SILVER ALLOY CONTACT | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60947-5-1,CSA C22.2 No 14,JIS C8201-5-1,EN/IEC 60947-1,UL 508,EN/IEC 60947-5-4,JIS C8201-1 | ADDITIONAL FEATURES | ENCLOSURE RATING:IP20,NUMBER OF POLE:1 | [51 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1247904 | 1247904 | CONTACT;SIE,3PY9.100-1 | CONTACT;MNFR:SIEMENS,PTNO:3PY9.100-1 | CONTACT | 3PY9.100-1 | 3000032 | SIEMENS | SIEMENS | 3PY9.100-1 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3PY9100-1 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | STATIONARY | TYPE | FIXED | ELECTRICAL RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214049 | 1214049 | CONTACT;SIE,3PY9.100-2 | CONTACT;MNFR:SIEMENS,PTNO:3PY9.100-2 | CONTACT | 3PY9.100-2 | 3000032 | SIEMENS | SIEMENS | 3PY9.100-2 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3PY9100-2 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | MOVEABLE | TYPE |  | ELECTRICAL RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | NM Changed | 1214199 | 1214199 | CONTACT;SIE,3SA1-000 | CONTACT;MNFR:SIEMENS,PTNO:3SA1-000 | CONTACT | 3SA1-000 | 3000032 | SIEMENS | SIEMENS | 3SA1-000 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SA1000 | [10 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE | BASE | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | NM Changed | 1214200 | 1214200 | CONTACT;SIE,3SA1-001 | CONTACT;MNFR:SIEMENS,PTNO:3SA1-001 | CONTACT | 3SA1-001 | 3000032 | SIEMENS | SIEMENS | 3SA1-001 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SA1001 | [10 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 2NO | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE | BASE | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 | NM Changed | 1213004 | 1213004 | CONTACT;SIE,3SB-1400-OG | CONTACT;MNFR:SIEMENS,PTNO:3SB-1400-OG | CONTACT | 3SB-1400-OG | 3000032 | SIEMENS | SIEMENS | 3SB1400-0G | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3SB1400-0G | [10 empty] | Enriched | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 2NO | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE | FRONT PLATE | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214043 | 1214043 | CONTACT;SIE,3TY1.210-0A | CONTACT;MNFR:SIEMENS,PTNO:3TY1.210-0A | CONTACT | 3TY1.210-0A | 3000032 | SIEMENS | SIEMENS | 3TY1.210-0A | [5 empty] | https://mall.industry.siemens.com/mall/en/tr/Catalog/Product/3TY12100A | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE | MAIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214044 | 1214044 | CONTACT;SIE,3TY1.211-0A | CONTACT;MNFR:SIEMENS,PTNO:3TY1.211-0A | CONTACT | 3TY1.211-0A | 3000032 | SIEMENS | SIEMENS | 3TY1.211-0A | [5 empty] | https://mall.industry.siemens.com/mall/en/TR/Catalog/Product/?mlfb=3TY1211-0A&SiepCountryCode=TR | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214045 | 1214045 | CONTACT;SIE,3TY1.211-0C | CONTACT;MNFR:SIEMENS,PTNO:3TY1.211-0C | CONTACT | 3TY1.211-0C | 3000032 | SIEMENS | SIEMENS | 3TY1.211-0C | [5 empty] | https://mall.industry.siemens.com/mall/en/TR/Catalog/Product/?mlfb=3TY1211-0C&SiepCountryCode=TR | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | AUXILIARY | TYPE |  | CONTACT CONFIGURATION | 2NO 2NC | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214046 | 1214046 | CONTACT;SIE,3TY1.220-0A | CONTACT;MNFR:SIEMENS,PTNO:3TY1.220-0A | CONTACT | 3TY1.220-0A | 3000032 | SIEMENS | SIEMENS | 3TY1.220-0A | [5 empty] | https://mall.industry.siemens.com/mall/en/TR/Catalog/Product/?mlfb=3TY1220-0A&SiepCountryCode=TR | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE | MAIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1247905 | 1247905 | CONTACT;SIE,3TY1.300-0A | CONTACT;MNFR:SIEMENS,PTNO:3TY1.300-0A | CONTACT | 3TY1.300-0A | 3000032 | SIEMENS | SIEMENS | 3TY1.300-0A | [5 empty] | https://mall.industry.siemens.com/mall/en/TR/Catalog/Product/?mlfb=3TY1300-0A&SiepCountryCode=TR | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE | MAIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214025 | 1214025 | CONTACT;SIE,3TY1.301.0G | CONTACT;MNFR:SIEMENS,PTNO:3TY1.301.0G | CONTACT | 3TY1.301.0G | 3000032 | SIEMENS | SIEMENS | 3TY1.301.0G | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214048 | 1214048 | CONTACT;SIE,3TY2.220-0A | CONTACT;MNFR:SIEMENS,PTNO:3TY2.220-0A | CONTACT | 3TY2.220-0A | 3000032 | SIEMENS | SIEMENS | 3TY2.220-0A | [5 empty] | https://mall.industry.siemens.com/mall/en/TR/Catalog/Product/?mlfb=3TY2220-0A&SiepCountryCode=TR | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE | MAIN | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1214047 | 1214047 | CONTACT;SIE,3TY6.320-0B | CONTACT;MNFR:SIEMENS,PTNO:3TY6.320-0B | CONTACT | 3TY6.320-0B | 3000032 | SIEMENS | SIEMENS | 3TY6.320-0B | [5 empty] | https://findcomponents.net/3TY63200B | [10 empty] | Cleansed | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE |  | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 | Data Enrichment | NGB | ok | 03-07-2023 | 2023-07-04 |  | 1257549 | 1257549 | CONTACT;SIE,3WY7112 | CONTACT;MNFR:SIEMENS,PTNO:3WY7112 | CONTACT | 3WY7112 | 3000032 | SIEMENS | SIEMENS | 3WY7112 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3WY7112 | [10 empty] | Enriched | 39121522 Electrical contacts | CONTACT | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | SIZE |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | MATERIAL |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed