## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1269533 | 1269533 | PROCESSOR;AB,1769L30ER,1MB,5370-L3,COMPA | PROCESSOR;MNFR:ALLEN BRADLEY,PTNO:1769L30ER,ADDITIONAL FEATURES EN:1MB,5370-L3,COMPACTLOGIX | 01)COBAR POWERHOUSE,01)AB1769L30ER,PROCESSOR,01)1MB,5370-L3,COMPACTLOGIX | 1769L30ER | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 1769L30ER | [5 empty] | https://horizonpfm.com/allen-bradley-1769-l30er-compactlogix-enet-controller-1-mb/1769-l30er/ | https://www.plchardware.com/Products/RA-1769-L30ER.aspx | [9 empty] | ENRICHED | 41113700 Electronic and communication measuring and testing instruments | CONTROLLER | COMMUNICATION | TYPE | ETHERNET | DATA TRANSFER RATE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF PORTS |  | ELECTRICAL RATING |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEMORY:1 MB,BRAND:CONTROLLOGIX,5370-L3 | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1271053 | 1271053 | PROCESSOR;AB,A-B1492AIFM83,IFM,ANLG,8AI/ | PROCESSOR;MNFR:ALLEN BRADLEY,PTNO:A-B1492AIFM83,ADDITIONAL FEATURES EN:IFM,ANALOG,8AI/AO,3PIN | 01)CNW,01)A-B1492AIFM83,PROCESSOR,01)IFM,ANALOG,8AI/AO,3PIN | A-B1492AIFM83 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B1492AIFM83 | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.1492-AIFM8-3.html | https://configurator.rockwellautomation.com/api/Product/1492-AIFM8-3/cutsheet | [9 empty] | ENRICHED | 32151900 Automation control connectivity devices | MODULE | INTERFACE | TYPE | ANALOG | INTERFACE TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | WIRE RANGE |  | STRIPPING LENGTH |  | NUMBER OF POLES |  | NUMBER OF CHANNELS | 8 | COIL VOLTAGE RATING |  | CONNECTION TYPE |  | SIZE |  | ENCLOSURE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | IFM,NO OF PINS:3 | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1267319 | 1267319 | PROCESSOR;AB,A-B1756L72,CONTROLLOGIX,4MB | PROCESSOR;MNFR:ALLEN BRADLEY,PTNO:A-B1756L72,ADDITIONAL FEATURES EN:CONTROLLOGIX,4MB | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B1756L72,PROCESSOR,01)CONTROLLOGIX,4MB | A-B1756L72 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B1756L72 | [5 empty] | https://www.horizonsolutions.com/product/A-B1756L72 | [10 empty] | ENRICHED | 41113700 Electronic and communication measuring and testing instruments | CONTROLLER | COMMUNICATION | TYPE | USB | DATA TRANSFER RATE |  | INTERFACE TYPE |  | DISPLAY TYPE |  | NUMBER OF PORTS |  | ELECTRICAL RATING |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CONTROLLOGIX,MEMMORY:4 MB | [53 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1266473 | 1266473 | PROCESSOR;AB,A-B1756L72S,GUARDLOGIX,4MB | PROCESSOR;MNFR:ALLEN BRADLEY,PTNO:A-B1756L72S,ADDITIONAL FEATURES EN:GUARDLOGIX,4MB | 01)CNW (MOUNT ISA) ELECT WHO,01) A-B1756L72S,PROCESSOR,01)GUARDLOGIX,4MB | A-B1756L72S | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B1756L72S | [5 empty] | https://www.horizonsolutions.com/product/A-B1756L72S | https://www.rockwellautomation.com/en-ca/products/details.1756-L72S.html | [9 empty] | ENRICHED | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MEMORY | 4 MB | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,IECEX SCHEME,ATEX | ADDITIONAL FEATURES | BRAND:GUARDLOGIX | [49 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1219987 | 1219987 | PROCESSOR;AB,A-B1769L24ERQBFC1B,750KB DI | PROCESSOR;MNFR:ALLEN BRADLEY,PTNO:A-B1769L24ERQBFC1B,ADDITIONAL FEATURES EN:750KB DIGITAL,I/O ANALOG I/O CONTROLLER | 01)CNW (TOWNSVILLE) ELECT SU,01)A-B1769L24ERQBFC1B,PROCESSOR,01)750KB DIGITAL,I/O ANALOG I/ | A-B1769L24ERQBFC1B | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B1769L24ERQBFC1B | [5 empty] | https://www.mc-mc.com/Product/allen-bradley-1769-l24er-qbfc1b?option=ALBR1769L24ERQBFC1B | https://www.dosupply.com/automation/allen-bradley-plc/compactlogix-1769/1769-L24ER-QBFC1B | [9 empty] | ENRICHED | 32151700 Programmable Logic Controllers | PLC | NO MODIFIER | TYPE |  | MODULE TYPE |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | ELECTRICAL RATING | 24 VDC | NUMBER OF INPUTS | 16 DC,4 ANALOG | NUMBER OF OUTPUTS | 16 DC,2 ANALOG | MEMORY | 750 KB | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | I/O ANALOG I/O CONTROLLER | [49 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1258176 | 1258176 | PROCESSOR;ABB,3ADT200005R0001 | PROCESSOR;MNFR:ABB,PTNO:3ADT200005R0001 | PROCESSOR | 3ADT200005R0001 | 3000014 | ABB | ABB | 3ADT200005R0001 | [5 empty] | https://new.abb.com/products/3ADT200005R0001/3adt200005r0001 | https://www.industrialservomotor.com/sale-11636550-abb-communication-circuit-board-sdcs-dsl-4-3adt200005r0001-for-dcs800-series-dc-drives.html | [9 empty] | CLEANSED | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1335531 | 1335531 | PROCESSOR;ABB,3BSE018161R1 | PROCESSOR;MNFR:ABB,PTNO:3BSE018161R1 | PROCESSOR | 3BSE018161R1 | 3000014 | ABB | ABB | 3BSE018161R1 | [5 empty] | https://new.abb.com/products/3BSE018161R1/3bse018161r1 | [10 empty] | CLEANSED | 32101600 Integrated circuits | PROCESSOR | NO MODIFIER | TYPE |  | MEMORY |  | PROCESSOR SPEED |  | INTERFACE TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1326246 | 1326246 | PROCESSOR;ABB,57310001-ML | PROCESSOR;MNFR:ABB,PTNO:57310001-ML | PROCESSOR | 57310001-ML | 3000014 | ABB | ABB | 57310001-ML | [5 empty] | https://new.abb.com/products/EXC57310001-ML/exc57310001-ml | https://www.rms-dcs.com/abb-dspc-172-57310001-ml-processor-board-product/ | [9 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE | 16X16X12 CM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273972 | 1273972 | PROCESSOR;NHP,1756L72,CONTROLLOGIX 5572 | PROCESSOR;MNFR:NHP,PTNO:1756L72,ADDITIONAL FEATURES EN:CONTROLLOGIX 5572,4MB | 01)NHP ELECTRICAL ENGINEERIN,01)1756L72,PROCESSOR,01)CONTROLLOGIX 5572,4MB | 1756L72 | 3000664 | NHP | NHP | 1756L72 | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217584/NHP_AU_Catalog-373/NHP_AU_Catalog-673/NHP_AU_Catalog-675/1756L72 | https://www.rockwellautomation.com/en-us/products/details.1756-L72.html | [9 empty] | ENRICHED | 32101600 Integrated circuits | PROCESSOR | NO MODIFIER | TYPE |  | MEMORY | 4 MB | PROCESSOR SPEED |  | INTERFACE TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,KC(KCC),C-TICK,CCC | ADDITIONAL FEATURES EN | BRAND:CONTROLLOGIX 5572 | [51 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273955 | 1273955 | PROCESSOR;NHP,1769L36ERM,COMPACTLOGIX 53 | PROCESSOR;MNFR:NHP,PTNO:1769L36ERM,ADDITIONAL FEATURES EN:COMPACTLOGIX 5370-L3 3MB | 01)NHP ELECTRICAL ENGINEERIN,01)1769L36ERM,PROCESSOR,01)COMPACTLOGIX 5370-L3 3MB | 1769L36ERM | 3000664 | NHP | NHP | 1769L36ERM | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217584/NHP_AU_Catalog-373/NHP_AU_Catalog-673/NHP_AU_Catalog-674/1769L36ERM | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1769L36ERMS-163208-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 32101600 Integrated circuits | PROCESSOR | NO MODIFIER | TYPE |  | MEMORY | 3 MB CONTROLLER,1.5 MB SAFETY | PROCESSOR SPEED |  | INTERFACE TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:COMPACTLOGIX 5370-L3 | [51 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1212914 | 1212914 | PROCESSOR;SIE,6AG1315-2EH14-2AY0 | PROCESSOR;MNFR:SIEMENS,PTNO:6AG1315-2EH14-2AY0 | PROCESSOR | 6AG1315-2EH14-2AY0 | 3000032 | SIEMENS | SIEMENS | 6AG1315-2EH14-2AY0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6AG1315-2EH14-2AY0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6AG1315-2EH14-2AY0%26language%3Den | [9 empty] | ENRICHED | 43201503 Central processing unit CPU processors | CPU | NO MODIFIER | TYPE |  | PROCESSOR |  | CLOCK SPEED |  | MEMORY | 384 KB | POWER SUPPLY |  | SIZE | 40 WDX125 HTX130 DP MM | MOUNTING TYPE |  | ENCLOSURE |  | TEMPERATURE RATING | -25 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1271049 | 1271049 | PROTECTOR,CIRCT;AB,A-B100SC09D14BC,MOT,0 | PROTECTOR,CIRCUIT;MNFR:ALLEN BRADLEY,PTNO:A-B100SC09D14BC,ADDITIONAL FEATURES EN:MOTOR,0.4-0.63A | 01)CNW,01)A-B100SC09D14BC,PROTECTOR,CIRCUIT,01)MOTOR,0.4-0.63A | A-B100SC09D14BC | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B100SC09D14BC | [5 empty] | https://www.reynoldsonline.com/Product/allen-bradley-100s-c09d14bc?option=ALBR100SC09D14BC | https://www.revereelectric.com/4622539/Product/Allen-Bradley-100S-C09D14BC | [9 empty] | ENRICHED | 39121529 Contactors | CONTACTOR | ELECTRICAL | TYPE | SAFETY,MOTOR | LINE VOLTAGE | 690 VAC | CURRENT RATING | 9 A | COIL VOLTAGE | 110/120 V | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT | 1NO 4NC | POWER RATING | 4 KW | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1271050 | 1271050 | PROTECTOR,CIRCT;AB,A-B140MC2EA63,MOT,0.4 | PROTECTOR,CIRCUIT;MNFR:ALLEN BRADLEY,PTNO:A-B140MC2EA63,ADDITIONAL FEATURES EN:MOTOR,0.4-0.63A | 01)CNW,01)A-B140MC2EA63,PROTECTOR,CIRCUIT,01)MOTOR,0.4-0.63A | A-B140MC2EA63 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | A-B140MC2EA63 | [5 empty] | URL NOT FOUND | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | CIRCUIT BREAKER | MOTOR PROTECTION | TYPE |  | CURRENT RATING | 0.4 TO 0.63 A | VOLTAGE RATING | 415 V | NUMBER OF POLES |  | INTERRUPT RATING | 100 KA | POWER RATING | 0.12 TO 0.18 KW | FREQUENCY RATING |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1329550 | 1329550 | PROTECTOR,SURG;ABB,72635754 | PROTECTOR,SURGE;MNFR:ABB,PTNO:72635754 | PROTECTOR,SURGE | 72635754 | 3000014 | ABB | ABB | 72635754 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121600 Circuit protection devices and accessories | PROTECTOR | SURGE | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | FREQUENCY RATING |  | CORD LENGTH |  | NUMBER OF OUTLETS |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1215346 | 1215346 | PROTECTOR;ABB,1SDA051247R1 | PROTECTOR;MNFR:ABB,PTNO:1SDA051247R1 | PROTECTOR | 1SDA051247R1 | 3000014 | ABB | ABB | 1SDA051247R1 | [5 empty] | https://www.electricautomationnetwork.com/PDF/ENGLISH/ABB/ABB1SDA051247R1.pdf | https://us.rs-online.com/product/abb/1sda051247r1/70416198/ | [9 empty] | ENRICHED | 39121616 Molded case circuit breakers | CIRCUIT BREAKER | MOLDED CASE | TYPE |  | CURRENT RATING | 250 A | VOLTAGE RATING | 690 VAC | NUMBER OF POLES | 3 | INTERRUPT RATING | 3.75 KA | FRAME TYPE |  | CONTACT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING | THERMOMAGNETIC | MOUNTING TYPE |  | TERMINAL TYPE | FIXED | SIZE | 105 WDX150 HTX70 DP MM | CERTIFICATION/STANDARD | IEC 60947 | ADDITIONAL FEATURES | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1335477 | 1335477 | PROTECTOR;ABB,DCF1127119R0001 | PROTECTOR;MNFR:ABB,PTNO:DCF1127119R0001 | PROTECTOR | DCF1127119R0001 | 3000014 | ABB | ABB | DCF1127119R0001 | [5 empty] | https://www.electricautomationnetwork.com/en/abb/dcf506-0520-51-dcf1127119r0001-abb-overvoltage-protection-for-field-supply-or-4q-non-motoric-load-for-dcs800 | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | PROTECTOR | NO MODIFIER | TYPE | OVERVOLTAGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1219467 | 1219467 | SHEAR,PWR;MILW,M18BMS-0,SGL CUT,18G,C/LE | SHEAR,POWER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18BMS-0,ADDITIONAL FEATURES EN:SGL CUT,18G,C/LESS,M18 | 01)TOOL 'N' TACKLE,01)M18BMS-0,SHEAR,POWER,01)SGL CUT,18G,C/LESS,M18 | M18BMS-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18BMS-0 | [5 empty] | https://www.milwaukeetool.com.au/power-tools/metal-working/nibblers-and-shears/M18BMS-0.html | https://sydneytools.com.au/product/milwaukee-m18bms-0-18v-cordless-18g-single-cut-shear | [9 empty] | ENRICHED | 27112723 Power shears | SHEAR | POWER | TYPE | CORDLESS | TIP SHAPE |  | CUTTING LENGTH |  | CUTTING CAPACITY | 1.2 MM STEEL,0.95 MM STAINLESS STEEL | LENGTH | 419 MM | ELECTRICAL RATING | 18 V | CUTTING SPEED | 8.5 M/MIN | BLADE MATERIAL |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1248656 | 1248656 | SHUNT;ABB,1SDA054864R1 | SHUNT;MNFR:ABB,PTNO:1SDA054864R1 | SHUNT | 1SDA054864R1 | 3000014 | ABB | ABB | 1SDA054864R1 | [5 empty] | https://shop.in.abb.com/1sda054864r1/sor-t4-t5-t6-48-60-vac-dc.html | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | SHUNT | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 48/60 VAC/DC | POWER RATING |  | MATERIAL |  | SIZE |  | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES EN | [54 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1248657 | 1248657 | SHUNT;ABB,ABB1SDA054863R1 | SHUNT;MNFR:ABB,PTNO:ABB1SDA054863R1 | SHUNT | ABB1SDA054863R1 | 3000014 | ABB | ABB | ABB1SDA054863R1 | [5 empty] | https://tle.mmem.com.au/abb1sda054863r1 | https://www.aperza.com/en/d/m/ABB/1SDA054863R1/653463.html | [9 empty] | ENRICHED | 39121500 Electrical controls and accessories | TRIP | SHUNT | TYPE |  | OPERATING VOLTAGE | 24/30 VAC/DC | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1268630 | 1268630 | SWITCH,FLOT;LINC,01-278448,400 LB | SWITCH,FLOAT;MNFR:LINCOLN,PTNO:01-278448,ADDITIONAL FEATURES EN:400 LB | 01)ISADRAULICS,01)01-278448,SWITCH,FLOAT,01)400 LB | 01-278448 | 3000550 | LINCOLN | LINCOLN | 01-278448 |  | ISADRAULICS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122219 Level or float switch | SWITCH | FLOAT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CABLE LENGTH |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | FREQUENCY RATING |  | ACTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE RATING:400 LB | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1217025 | 1217025 | SWITCH,FLW;HONE,S6040A1003,AIR | SWITCH,FLOW;MNFR:HONEYWELL,PTNO:S6040A1003,ADDITIONAL FEATURES EN:AIR |  | S6040A1003 | 3000290 | HONEYWELL | HONEYWELL | S6040A1003 | [5 empty] | https://www.nexinstrument.com/S6040A1003 | https://www.novreczky.eu/honeywell/pdf/s6040_s6050.pdf | [9 empty] | ENRICHED | 39122223 Flow switch | SWITCH | FLOW | TYPE | AIR | FLOW RATING |  | PRESSURE RATING | 0.25 BAR | PROCESS CONNECTION |  | TEMPERATURE RATING | 85 DEG C | ENCLOSURE | IP65 | CONTACT CONFIGURATION |  | VOLTAGE RATING | 250 VAC | CURRENT RATING | 15 A | POWER RATING |  | FREQUENCY RATING |  | MOUNTING TYPE | VERTICAL | ACTION | SPDT | MATERIAL |  | MEDIA |  | SIZE | 108X70X72 MM HOUSING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [36 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1272658 | 1272658 | SWITCH,FT;NHP,ES60GF1NO1NC,ACCESSRY,SPAR | SWITCH,FOOT;MNFR:NHP,PTNO:ES60GF1NO1NC,ADDITIONAL FEATURES EN:ACCESSORY,SPARE,GF SERIES S | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPES60GF1NO1NC,SWITCH,FOOT,01)ACCESSORY,SPARE,GF SERIES S | ES60GF1NO1NC | 3000664 | NHP | NHP | ES60GF1NO1NC |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-797/NHP_AU_Catalog-812/NHP_AU_Catalog-873/ES60GF1NO1NC | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/ES60GF1NO1NC-7081-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 39122222 Foot switch | SWITCH | FOOT | TYPE | OFFSET ROLLER ACTUATOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PEDALS |  | CONTACT CONFIGURATION | 1NO 1NC | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | FREQUENCY RATING |  | ACTION |  | MATERIAL |  | TERMINAL TYPE |  | OPERATING FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACCESSORY,SPARE,GF SERIES S | [37 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1218341 | 1218341 | SWITCH,MICR;HONE,V3L139,SPDT 11A S/ROLLR | SWITCH,MICRO;MNFR:HONEYWELL,PTNO:V3L139,ADDITIONAL FEATURES EN:SPDT 11A S/ROLLR | 01)REXEL AUSTRALIA,01)V3L139,SWITCH,MICRO,01)SPDT 11A S/ROLLR | V3L139 | 3000290 | HONEYWELL | HONEYWELL | V3L139 |  | REXEL AUSTRALIA |  |  |  | https://www.mouser.com/ProductDetail/Honeywell/V3L-139?qs=0x4sLrpp94IYzxoZ836j%2Fg%3D%3D | [10 empty] | ENRICHED | 39122243 Micro switch | SWITCH | MICRO | TYPE | SNAP ACTION | VOLTAGE RATING | 277/250 VAC/VDC | CURRENT RATING | 11 A | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE | CHASSIS | ACTION | SPDT | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACTUATOR STYLE:SHORT ROLLER | [43 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1218342 | 1218342 | SWITCH,MICR;HONE,V3Lâˆ’3003âˆ’D8,SPDT 15A LV | SWITCH,MICRO;MNFR:HONEYWELL,PTNO:V3Lâˆ’3003âˆ’D8,ADDITIONAL FEATURES EN:SPDT 15A LVR SHORT ROLLER | 01)REXEL AUSTRALIA,01)V3L−3003−D8,SWITCH,MICRO,01)SPDT 15A LVR SHORT ROLLER | V3Lâˆ’3003âˆ’D8 | 3000290 | HONEYWELL | HONEYWELL | V3L−3003−D8 |  | REXEL AUSTRALIA |  |  |  | https://www.mouser.in/ProductDetail/Honeywell/V3L-3003-D8?qs=JT4vHv%252B%252Bx3SeLlsrpxt8dA%3D%3D | [10 empty] | ENRICHED | 39122243 Micro switch | SWITCH | MICRO | TYPE | SNAP ACTION | VOLTAGE RATING | 250 VAC/VDC | CURRENT RATING | 15.1 A | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE | CHASSIS | ACTION | SPDT | FREQUENCY RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ACTUATOR STYLE:LEVER SHORT ROLLER | [43 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273002 | 1273002 | SWITCH,PRES;DANF,3409024,KP6W,HP,CO2 | SWITCH,PRESSURE;MNFR:DANFOSS FLUID POWER (SAUERDANFOSS),PTNO:3409024,ADDITIONAL FEATURES EN:KP6W,HP,CO2 | 01)ACTROL PARTS PTY LTD,01)3409024,SWITCH,PRESSURE,01)KP6W,HP,CO2 | 3409024 | 3000508 | DANFOSS FLUID POWER (SAUE | DANFOSS FLUID POWER (SAUERDANFOSS) | KP6W |  | ACTROL PARTS PTY LTD | 3409024 |  |  | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Switches/Pressure-switches/Pressure-switch%2C-KP6W/p/060-519066 | https://combicool.fi/kp6w-co2-060-519066-pressostaatti/DAPRE131732 | [9 empty] | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 4 TO 10 BAR | PROCESS CONNECTION | 1/4 IN FLARE | CONTACT CONFIGURATION |  | ENCLOSURE | IP44 | TEMPERATURE RATING | -25 TO 65 DEG C | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION | SPDT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,DNV,EAC,GL,ROHS | ADDITIONAL FEATURES EN | HP,CO2 | [43 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1272153 | 1272153 | SWITCH,PRES;DWYR,1640-0,FLOATING NULL CO | SWITCH,PRESSURE;MNFR:DWYER INSTRUMENTS,PTNO:1640-0,ADDITIONAL FEATURES EN:FLOATING NULL CONTACT,MODEL 1640 | 01)PACIFIC RIM TECH SERVICES,01)1640-0,SWITCH,PRESSURE,01)FLOATING NULL CONTACT,02)MODEL 1640 | 1640-0 | 3000570 | DWYER INSTRUMENTS | DWYER INSTRUMENTS | 1640-0 |  | PACIFIC RIM TECH SERVICES |  |  |  | https://www.itm.com/product/dwyer-1640-0-differential-pressure-switch-01-0-2-w-c-with-spdt-switch | [7 empty] | 1640 |  |  | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE | FLOATING NULL CONTACT | MEASURING RANGE | 10 TO 25 PSIG | PROCESS CONNECTION | 1/8 IN FNPT | CONTACT CONFIGURATION | 1NO 1NC | ENCLOSURE |  | TEMPERATURE RATING | -34.4 TO 43.3 DEG C | MOUNTING TYPE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING | 2.5 A | ACTION | SPDT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1274609 | 1274609 | SWITCH,PRES;PALF,UV097B | SWITCH,PRESSURE;MNFR:PALFINGER,PTNO:UV097B | 01)PALFINGER AUSTRALIA,01)UV097B,SWITCH,PRESSURE | UV097B | 3000660 | PALFINGER | PALFINGER AUSTRALIA | UV097B | [5 empty] | https://shop.lowcostspares.com/palfinger-165/uv097b-pressure-switch-palfinger-epsilon-crane | [10 empty] | CLEANSED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1270296 | 1270296 | SWITCH,PRES;PRKH,SCPD-250-14-25 | SWITCH,PRESSURE;MNFR:PARKER HANNIFIN,PTNO:SCPD-250-14-25 | 01)PARKER HANNIFIN (AUSTRALI,01)SCPD-250-14-25,SWITCH,PRESSURE | SCPD-250-14-25 | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | SCPD-250-14-25 | [5 empty] | https://ph.parker.com/us/en/product/pressure-controller-scpsd/scpsd-250-14-25 | [10 empty] | ENRICHED | 41112411 Pressure controllers | CONTROLLER | PRESSURE | TYPE |  | PRESSURE RANGE | 0 TO 250 BAR | ACCURACY |  | OUTPUT SIGNAL | 0 TO 20 MA | POWER SUPPLY |  | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE | 1/4 IN BSPP INNER THREAD | MATERIAL | PAINTED ZINC DIE CAST | ENCLOSURE |  | SIZE | 39.5 MM WD | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1267667 | 1267667 | SWITCH,PUSH;ECAM,PUS-PMT-00170,BUTTON | SWITCH,PUSH;MNFR:ECAM,PTNO:PUS-PMT-00170,ADDITIONAL FEATURES EN:BUTTON WITH DUST COVER BLACK TELE | 01)ECAM (PTY) LTD,01)PUS-PMT-00170,SWITCH,PUSH,01)BUTTON WITH DUST COVER BL | PUS-PMT-00170 | 3000424 | ECAM | ECAM (PTY) LTD | PUS-PMT-00170 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122216 Push button switch | SWITCH | PUSH | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BUTTON C/W DUST COVER BLACK TELE | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1267669 | 1267669 | SWITCH,PUSH;ECAM,PUS-PMT-00220,BUTTON | SWITCH,PUSH;MNFR:ECAM,PTNO:PUS-PMT-00220,ADDITIONAL FEATURES EN:BUTTON E-STOP LATCH TWIST | 01)ECAM (PTY) LTD,01)PUS-PMT-00220,SWITCH,PUSH,01)BUTTON E-STOP LATCH TWIST | PUS-PMT-00220 | 3000424 | ECAM | ECAM (PTY) LTD | PUS-PMT-00220 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122216 Push button switch | SWITCH | PUSH | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BUTTON E-STOP LATCH TWIST | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1324822 | 1324822 | SWITCH,RTRY;TMRT,3-305334 ITEM Q1,LOAD B | SWITCH,ROTARY;MNFR:TAMROTOR,PTNO:3-305334 ITEM Q1,TYPE:LOAD BREAK,CURRENT RATING:630 A,NUMBER OF POLES:3P,POWER RATING:315 KW, MNFR:01)CNW,PTNO:01)STROETL630K3 | EN_01)LOAD BREAK,630 A,315 KW,01)CNW,01)STROETL630K3,01)TMRT,3-305334 ITEM Q1 | 3-305334 ITEM Q1 | 3000443 | TAMROTOR | TAMROTOR | STROETL630K3 |  | CNW | 3-305334 ITEM Q1 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122217 Rotary switch | SWITCH | ROTARY | TYPE | LOAD BREAK | VOLTAGE RATING |  | CURRENT RATING | 630 A | NUMBER OF POLES | 3 | NUMBER OF POSITIONS |  | ENCLOSURE |  | ANGLE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING | 315 KW | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [40 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1266950 | 1266950 | SWITCH,SELECT;AB,800TH2,2P MAINTAINED | SWITCH,SELECTOR;MNFR:ALLEN BRADLEY,PTNO:800TH2,ADDITIONAL FEATURES EN:2P MAINTAINED | 01)NHP ELECTRICAL ENGINEERIN,01)800TH2,SWITCH,SELECTOR,01)2P MAINTAINED | 800TH2 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800TH2 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.rockwellautomation.com/en-us/products/details.800T-H2.html | [10 empty] | ENRICHED | 39122217 Rotary switch | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES | 2 | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE | 30 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MAINTAINED | [37 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273232 | 1273232 | SWITCH,TEMP;HYDA,ETS 3228-5-100-000,1.2A | SWITCH,TEMPERATURE;MNFR:HYDAC,PTNO:ETS 3228-5-100-000,ADDITIONAL FEATURES EN:1.2A,G1/2,W/SENSOR,DIN 3852,-25 TO 100 DEG C | 01)ISADRAULICS,01)909621,SWITCH,TEMPERATURE,01)-25 TO 100 DEG C,01)1.2A,G1/2,W/SENSOR,DIN 3852 | ETS 3228-5-100-000 | 3000292 | HYDAC | HYDAC | ETS 3228-5-100-000 |  | ISADRAULICS |  |  |  | https://www.hydac.com/shop/en-in/909621 | https://hydropneuparts.com/en/electronic-temperature-switch/215251-ets-3228-5-100-000-electronic-temperature-switch.html | [9 empty] | CLEANSED | 39122229 Temperature switch | SWITCH | TEMPERATURE | TYPE |  | TEMPERATURE RATING | -25 TO 100 DEG C | SENSOR TYPE |  | PROCESS CONNECTION | 1/2 IN BSPP | CONTACT CONFIGURATION |  | ENCLOSURE |  | VOLTAGE RATING |  | CURRENT RATING | 1.2 A | CAPILLARY LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | POWER RATING |  | ACTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 3852 | ADDITIONAL FEATURES EN | C/W SENSOR | [39 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273725 | 1273725 | SWITCH;DEM,87520033,SET,GEARED LIMIT DGS | SWITCH;MNFR:DEMAG,PTNO:87520033,ADDITIONAL FEATURES EN:SET,GEARED LIMIT DGS 3 -142 - DH | 01)ACE MATERIALS HANDLING P/,01)87520033,SWITCH,01)SET,GEARED LIMIT DGS 3 -142 | 87520033 | 3000026 | DEMAG | DEMAG | 87520033 |  | ACE MATERIALS HANDLING | DGS 3-142 |  |  | https://cranemotorparts.com/demag-parts-database/87520033/ | https://shop.mhe-demag.com/sin/en/GEARED-LIMIT-SWITCH-SET/p?p=8Dg6FZMW%2B6O9O4cOd17ZNA%3D%3D_87520033 | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SET | NO MODIFIER | TYPE | GEARED LIMIT SWITCH | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES | SET,GEARED LIMIT DGS 3 -142 - DH | [61 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1267082 | 1267082 | SWITCH;EATO,054100029,RCD TESTER,PLSTC,Y | SWITCH;MNFR:EATON CORPORATION,PTNO:054100029,ADDITIONAL FEATURES EN:RCD TESTER,PLASTIC,YELLOW,WHITE OR RED INTEGRAL,LED,MARKED EMERGENCY STOP,24 V AC/DC | 01)CNW (MOUNT ISA) ELECT WHO,01)EAT054100029,SWITCH,01)RCD TESTER,PLASTIC,YELLOW,W,02)LED,MARKED EMERGENCY STOP,2 | 54100029 | 3000267 | EATON CORPORATION | EATON CORPORATION | 054100029 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 VAC/DC | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL | PLASTIC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RCD TESTER,COLOR:YELLOW,WHITE OR RED INTEGRAL,LED,MARKED EMERGENCY STOP | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1266462 | 1266462 | SWITCH;EATO,E34KFB2,2 POS KEY REMOVABLE | SWITCH;MNFR:EATON CORPORATION,PTNO:E34KFB2,ADDITIONAL FEATURES EN:2 POS KEY REMOVABLE | 01)CNW (MOUNT ISA) ELECT WHO,01)E34KFB2,SWITCH,01)2 POS KEY REMOVABLE | E34KFB2 | 3000267 | EATON CORPORATION | EATON CORPORATION | E34KFB2 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.eaton.com/us/en-us/skuPage.E34KFB2.resources.html | https://www.carltonbates.com/Sensors-Switches-and-Relays/Switches-and-Indicating-Lights/Industrial-Operators/Selector-Switch-Operators-Non-Illuminated/EATON/Operator-Selector-Switch-Die-Cast-2-Positions-30-5mm-With-key/E34KFB2/p/78211390630-1?signalId=G_1497054&signalPage=41&signalPosition=1287&queryId=XpZikVQTtX | [9 empty] | ENRICHED | 39122221 Switch part or accessory | OPERATOR | SWITCH | TYPE |  | COLOUR |  | SIZE | 2-13/32 LGX2-3/32 WDX3-13/64 HT IN | MATERIAL |  | NUMBER OF POSITIONS | 2 | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,FDA,UL,CSA | ADDITIONAL FEATURES | [13 empty] | ADDITIONAL FEATURES EN | C/W KEY REMOVABLE | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1267083 | 1267083 | SWITCH;EATO,EAT072970000A,AU MAINS TEST | SWITCH;MNFR:EATON CORPORATION,PTNO:EAT072970000A,ADDITIONAL FEATURES EN:AU MAINS TEST LEAD - 5410 | 01)CNW (MOUNT ISA) ELECT WHO,01)EAT072970000A,SWITCH,01)AU MAINS TEST LEAD - 5410 | EAT072970000A | 3000267 | EATON CORPORATION | EATON CORPORATION | EAT072970000A |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AU MAINS TEST LEAD - 5410 | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1220466 | 1220466 | SWITCH;ENDH,FTL51B-5J0C,LVL | SWITCH;MNFR:ENDRESS & HAUSER,PTNO:FTL51B-5J0C,ADDITIONAL FEATURES EN:LEVEL | 01)PMD PROCESS CONTROLS,01)FTL51B-5J0C,SWITCH,01)LEVEL | FTL51B-5J0C | 3000269 | ENDRESS & HAUSER | ENDRESS & HAUSER | FTL51B-5J0C |  | PMD PROCESS CONTROLS |  |  |  | https://www.in.endress.com/en/field-instruments-overview/level-measurement/Liquiphant-FTL51B?t.tabId=product-overview | https://bdih-prod-assetcentralapi-assetcentral-rest-srv.cfapps.eu10.hana.ondemand.com/files/DLA/005056A500261EEC97B22DA3257E6A54/TI01661FEN_0121-00.pdf | [9 empty] | ENRICHED | 39122219 Level or float switch | SWITCH | LEVEL | TYPE |  | MEASURING RANGE | 6 M | PROCESS CONNECTION |  | PRESSURE RATING | 100 BAR | OUTPUT SIGNAL | 4 TO 20 MA | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL | STAINLESS STEEL 316L | TEMPERATURE RATING | -60 TO 70 DEG C | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,CRN,ABS,LR,BV,DNV GL | ADDITIONAL FEATURES | [40 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273074 | 1273074 | SWITCH;FISC,PR05611SP | SWITCH;MNFR:FISHER SCIENTIFIC,PTNO:PR05611SP | 01)OTB PRODUCTS PTY LTD,01)PR05611SP,SWITCH | PR05611SP | 3000275 | FISHER SCIENTIFIC | FISHER SCIENTIFIC | PR05611SP |  | OTB PRODUCTS PTY LTD |  |  |  | https://www.qsource.com/itemdetail/PR05611SP-G140 | https://shop.gentexcorp.com/content/PureFlo_ESM_Parts_Accessories.pdf | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | EXTERNAL | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1220476 | 1220476 | SWITCH;FUCH,3564000,AIR PRESSURE | SWITCH;MNFR:FUCHS LUBRICANTS,PTNO:3564000,ADDITIONAL FEATURES EN:AIR PRESSURE | 01)FUCHS LUBRICANTS (A'SIA),01)3564000,SWITCH,01)AIR PRESSURE | 3564000 | 3000427 | FUCHS LUBRICANTS | FUCHS LUBRICANTS | 3564000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE | AIR | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1274815 | 1274815 | SWITCH;HONE,DG150U-330-150MB AG5484,PRES | SWITCH;MNFR:HONEYWELL,PTNO:DG150U-330-150MB AG5484,ADDITIONAL FEATURES EN:PRESSURE | 01)REXEL AUSTRALIA,01)SYSKR20012#,SWITCH,01)PRESSURE | DG150U-330-150MB AG5484 | 3000290 | HONEYWELL | HONEYWELL | DG150U-330-150MB AG5484 |  | REXEL AUSTRALIA |  |  |  | https://www.systemcontrol.com.au/p/commercial-industrial-gas/pressure-switches/gas-pressure-switches/kr20012 | https://www.systemcontrol.com.au/amfile/file/download/file/55198/product/124186/ | [9 empty] | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 30 TO 150 MBAR | PROCESS CONNECTION | 1/2 IN NPT | CONTACT CONFIGURATION |  | ENCLOSURE | IP54/IP65 | TEMPERATURE RATING | -20 TO 80 DEG C | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1268632 | 1268632 | SWITCH;MAN,746248,MT-X1030,FAN SPEED | SWITCH;MNFR:MANITOU,PTNO:746248,ADDITIONAL FEATURES EN:MT-X1030,FAN SPEED | 01)JUNGHEINRICH AUSTRALIA PT,01)746248,SWITCH,01)MT-X1030,FAN SPEED | 746248 | 3000007 | MANITOU | MANITOU | 746248 |  | JUNGHEINRICH AUSTRALIA PT |  |  |  | https://www.mawsley.com/shop/manitou-parts/electricity/ma746248-heater-switch | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | HEATER | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MT-X1030,FAN SPEED | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273225 | 1273225 | SWITCH;NHP,ISOSW340PG,40A,3P,500V,ISLR | SWITCH;MNFR:NHP,PTNO:ISOSW340PG,ADDITIONAL FEATURES EN:40A,3P,500V,ISOLATOR | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPISOSW340PG,SWITCH,01)40A,3P,500V,ISOLATOR | ISOSW340PG | 3000664 | NHP | NHP | ISOSW340PG |  | SHERRIFF ELECTRICAL SUPPL |  |  |  | https://media.goelectrical.com.au/Datasheets/NHP/NHP_ISOSW340PG.pdf | https://www.blackwoods.com.au/electrical/wiring-accessories/industrial-extension-sockets/nhp-iso-surface-switch-3p-40a-500v-ac-grey-63mm-base-isosw340pg/p/00782667 | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | SURFACE,ISOLATOR | VOLTAGE RATING | 500 V | CURRENT RATING | 40 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE | IP66 | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3112:2004, AS/NZS 3123:2005 | ADDITIONAL FEATURES EN | NO OF POLES:3 | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273208 | 1273208 | SWITCH;NHP,LE2123501,CAM,1P,12A,C/O,BDY | SWITCH;MNFR:NHP,PTNO:LE2123501,ADDITIONAL FEATURES EN:CAM,1P,12A,C/O,BODY,PANEL MOUNT | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPLE2123501,SWITCH,01)CAM,1P,12A,C/O,BODY,02)PANEL MOUNT | LE2123501 | 3000664 | NHP | NHP | LE2123501 |  | CNW (TOWNSVILLE) ELECT SU |  |  |  | https://www.jrt.com.au/ajt/category/Industrial/Switch/Selector-switch%2C-complete/SWITCH-CAM-1P-C-O-WITH-OFF-12A/NHPLE2123501/p/10866481 | https://cdn2.jrt.com.au/medias/sys_Aujohnrturk/sheets/sheets/h3a/hc0/8982161784862/LE2123501-pds.pdf | [9 empty] | ENRICHED | 39122217 Rotary switch | SWITCH | ROTARY | TYPE | CAM | VOLTAGE RATING | 690 VAC | CURRENT RATING | 12 A | NUMBER OF POLES | 1 | NUMBER OF POSITIONS |  | ENCLOSURE | IP20 | ANGLE | 60 DEG | MOUNTING TYPE | PANEL | TEMPERATURE RATING | -25 TO 60 DEG C | POWER RATING | 7.5 KW | ACTION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE | 40 WDX42 HTX44 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UL,IEC | ADDITIONAL FEATURES | C/O,BODY | [39 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1275305 | 1275305 | SWITCH;NHP,SSFBS633P | SWITCH;MNFR:NHP,PTNO:SSFBS633P | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPSSFBS633P,SWITCH | SSFBS633P | 3000664 | NHP | NHP | SSFBS633P |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://media.mmem.com.au/Datasheets/Socomec/Socomec_SSFBS633P.pdf | https://www.nhp.com.au/product/ssfbs633p | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | FUSE | VOLTAGE RATING | 400 VAC | CURRENT RATING | 63 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING | 30 KW | MATERIAL |  | SIZE | 136 WDX132 HTX118 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC,AS/NZS | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1272714 | 1272714 | SWITCH;NHP,T2AL00B1STA,ALM,F/B MODEL,1NO | SWITCH;MNFR:NHP,PTNO:T2AL00B1STA,ADDITIONAL FEATURES EN:ALARM,F/B MODEL,1NO,HEAVY DUTY,BRAND:TBP | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT2AL00B1STA,SWITCH,01)ALARM,F/B MODEL,1NO,HEAVY D | T2AL00B1STA | 3000664 | NHP | NHP | T2AL00B1STA |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://nhp.com.au/product/T2AL00B1STA | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | ALARM,HEAVY DUTY | VOLTAGE RATING | 240 VAC | CURRENT RATING | 4 A | CONTACT CONFIGURATION | 1 NO | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | 24.5 WDX161 HTX60 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-5-1 | ADDITIONAL FEATURES EN | BRAND:TBP,F/B MODEL | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1274460 | 1274460 | SWITCH;OMRO,61F-GP-N2 110VAC,CONDUCTIVE1 | SWITCH;MNFR:OMRON,PTNO:61F-GP-N2 110VAC,ADDITIONAL FEATURES EN:CONDUCTIVE LEVEL,110 VAC |  | 61F-GP-N2 110VAC | 3000328 | OMRON | OMRON | 61F-GP-N2 110VAC | [5 empty] | https://www.mouser.com/ProductDetail/Omron-Automation-and-Safety/61F-GP-N2-110VAC?qs=PRxrzylab1hNmMJBqFF%2FEA%3D%3D | https://www.tme.com/in/en/details/61f-gp-n2-110ac/monitoring-relays/omron/61f-gp-n2-110vac/ | [9 empty] | ENRICHED | 41111900 Indicating and recording instruments | CONTROLLER | LEVEL | TYPE | CONDUCTIVE | POWER SUPPLY | 110 VAC | POWER RATING |  | OUTPUT TYPE |  | SIZE | 38X49.4X84 MM | ENCLOSURE |  | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [54 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK_NM TAKEN AS PER WEBSITE | 05-07-2023 | 05-07-2023 |  | 1272774 | 1272774 | SWITCH;PERK,P1240-400SER,WATER TEMP 110C | SWITCH;MNFR:PERKINS ENGINES,PTNO:P1240-400SER,ADDITIONAL FEATURES EN:WATER TEMP 110C N/C | 01)ALLIGHT PTY LTD,01)P1240-400SER,SWITCH,01)WATER TEMP 110C N/C | P1240-400SER | 3000590 | PERKINS ENGINES | PERKINS ENGINES | P1240-400SER |  | ALLIGHT PTY LTD |  |  |  | https://www.noordeman.com.au/product/p1240-400ser-perkins-switch-water-temp-sender/ | https://www.parts4engines.com/perkins-400-series-water-temperature-switch/ | [9 empty] | ENRICHED | 26101700 Engine components and accessories | SENDER | TEMPERATURE | TYPE | WATER | MEASURING RANGE | 100 DEG C | RESISTANCE RANGE |  | POWER SUPPLY |  | MATERIAL |  | SIZE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1266214 | 1266214 | SWITCH;PRKH,FMUS4FBMG02L,ELECTRICAL CLOG | SWITCH;MNFR:PARKER HANNIFIN,PTNO:FMUS4FBMG02L,ADDITIONAL FEATURES EN:ELECTRICAL CLOGGING 1/8IN BSP | 01)ISADRAULICS,01)FMUS4FBMG02L,SWITCH,01)ELECTRICAL CLOGGING 1/8IN | FMUS4FBMG02L | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | FMUS4FBMG02L |  | ISADRAULICS |  |  |  | https://fluidlineservices.com.au/wp-content/uploads/2018/02/FLS-Parker-Catalogue.pdf | https://www.parker.com/literature/Hydraulic%20Filter%20Division%20Europe/fdhb200uk.pdf | [9 empty] | ENRICHED | 41111900 Indicating and recording instruments | INDICATOR | CLOGGING | TYPE | ELECTRICAL | VACUUM RANGE |  | PRESSURE RATING |  | CONNECTION TYPE | 1/8 IN BSP | MATERIAL |  | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1272099 | 1272099 | SWITCH;SCHN,MX9MS3100,ISLR,3P,100A,415V | SWITCH;MNFR:SCHNEIDER INC,PTNO:MX9MS3100,ADDITIONAL FEATURES EN:ISOLATOR,3P,100A,415V,CONTROL TYPE:TOGGLE,MOUNTING TYPE:DIN RAIL, BRAND:CLIPSAL | 01)CNW (MOUNT ISA) ELECT WHO,01)CLIMX9MS3100,SWITCH,01)ISOLATOR,3P,100A,415V,02)CONTROL TYPE:TOGGLE,MOUNTIN,03)BRAND:CLIPSAL | MX9MS3100 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | MX9MS3100 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.clipsal.com/products/detail?CatNo=MX9MS3100&itemno=MX9MS3100 | [10 empty] | ENRICHED | 39122211 Toggle switch | SWITCH | TOGGLE | TYPE | ISOLATOR | VOLTAGE RATING | 415 V | CURRENT RATING | 100 A | NUMBER OF POLES | 3 | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | TERMINAL TYPE |  | ENCLOSURE | IP20 | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -25 TO 70 DEG C | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE | 54 WDX85 HTX75 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC,ROHS | ADDITIONAL FEATURES | BRAND:CLIPSAL | [39 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1273875 | 1273875 | SWITCH;SCHN,T2AX00M3STA,TERASAKI AUXILIA | SWITCH;MNFR:SCHNEIDER INC,PTNO:T2AX00M3STA,ADDITIONAL FEATURES EN:TERASAKI AUXILIARY,BRAND:NHP,TYPE-T2,CONTACT CONFIGURATION:1CO, COLOR:GREY,MOUNT:RIGHT SIDE,DIM:161(H)X24.5(W)X60(D),CURRENT:2A | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPT2AX00M3STA,SWITCH,01)TERASAKI AUXILIARY,BRAND:NH,02)TYPE-T2,CONTACT CONFIGURATI,03)DIM:161(H)X24.5(W)X60(D),CU | T2AX00M3STA | 3000344 | SCHNEIDER INC | SCHNEIDER INC | T2AX00M3STA |  | TERASAKI |  | CNW (MOUNT ISA) ELECT WHO |  | https://www.blackwoods.com.au/electrical/switches-powerpoints/industrial-switches/nhp-t2-auxiliary-switch-1c-o-t2ax00m3sta/p/00231799 | https://media.mmem.com.au/Datasheets/Terasaki/Terasaki_T2AX00M3STA.pdf | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | AUXILIARY | VOLTAGE RATING | 240 VAC | CURRENT RATING | 2 A | CONTACT CONFIGURATION | 1CO | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | RIGHT SIDE | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | 24.5 WDX161 HTX60 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61058-1 | ADDITIONAL FEATURES EN | BRAND:NHP,TYPE-T2,COLOR:GREY | [41 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1321544 | 1321544 | SWITCH;SIE,3AX4206-0A | SWITCH;MNFR:SIEMENS,PTNO:3AX4206-0A | SWITCH | 3AX4206-0A | 3000032 | SIEMENS | SIEMENS | 3AX4206-0A | [5 empty] | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/3AX42060A | https://www.automation-berlin.com/en/siemens-3AX4206-0A.html | [9 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | POSITION | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1246510 | 1246510 | SWITCH;SIE,6KC-3102-0A | SWITCH;MNFR:SIEMENS,PTNO:6KC-3102-0A | SWITCH | 6KC-3102-0A | 3000032 | SIEMENS | SIEMENS | 6KC-3102-0A | [5 empty] | https://parts-6.obsoletepartfinder.com/switches-skus-6-6KC3100-OA0-3-1-5BAR_6L-4601-007-00-729518.html | https://simatix.ru/product/6KC31020A/ | [9 empty] | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 1.5 TO 4 BAR | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1214331 | 1214331 | SWITCH;SIE,6KC3-102-0A 1.5-4AT | SWITCH;MNFR:SIEMENS,PTNO:6KC3-102-0A 1.5-4AT | SWITCH | 6KC3-102-0A 1.5-4AT | 3000032 | SIEMENS | SIEMENS | 6KC3-102-0A 1.5-4AT | [5 empty] | https://platinum-international.store/platinum-international/pressure-switches/siemens-6kc3-102-0a-pressure-switch/ | https://www.ontrium.com/get.aspx?id=2062295 | [9 empty] | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 1 TO 4.5 BAR | PROCESS CONNECTION | 1/2 IN BSPP | CONTACT CONFIGURATION | 1NO 1NC | ENCLOSURE |  | TEMPERATURE RATING | 100 DEG C | MOUNTING TYPE | VERTICAL | VOLTAGE RATING | 250 VAC | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1214201 | 1214201 | SWITCH;SIE,6KC-3104-0CZ | SWITCH;MNFR:SIEMENS,PTNO:6KC-3104-0CZ | SWITCH | 6KC-3104-0CZ | 3000032 | SIEMENS | SIEMENS | 6KC-3104-0CZ | [5 empty] | https://www.ontrium.com/get.aspx?id=2062295 | [10 empty] | ENRICHED | 39122210 Pressure switch | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 5.5 TO 8 BAR | PROCESS CONNECTION | 1/2 IN BSPP | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING | 100 DEG C | MOUNTING TYPE | VERTICAL | VOLTAGE RATING | 500 VAC | CURRENT RATING | 10 A | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1321541 | 1321541 | SWITCH;SIE,AUXILIARY SWITCH | SWITCH;MNFR:SIEMENS,PTNO:AUXILIARY SWITCH | SWITCH | AUXILIARY SWITCH | 3000032 | SIEMENS | SIEMENS | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | AUXILIARY | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1257551 | 1257551 | SWITCH;SIE,DC24315-A0010-A002 | SWITCH;MNFR:SIEMENS,PTNO:DC24315-A0010-A002 | SWITCH | DC24315-A0010-A002 | 3000032 | SIEMENS | SIEMENS | DC24315-A0010-A002 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1257554 | 1257554 | SWITCH;SIE,J1901.05 | SWITCH;MNFR:SIEMENS,PTNO:J1901.05 | SWITCH | J1901.05 | 3000032 | SIEMENS | SIEMENS | J1901.05 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1214330 | 1214330 | SWITCH;SIE,JM343 | SWITCH;MNFR:SIEMENS,PTNO:JM343 | SWITCH | JM343 | 3000032 | SIEMENS | SIEMENS | JM343 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1214329 | 1214329 | SWITCH;SIE,JM741V | SWITCH;MNFR:SIEMENS,PTNO:JM741V | SWITCH | JM741V | 3000032 | SIEMENS | SIEMENS | JM741V | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1214218 | 1214218 | SWITCH;SIE,N4300-3 | SWITCH;MNFR:SIEMENS,PTNO:N4300-3 | SWITCH | N4300-3 | 3000032 | SIEMENS | SIEMENS | N4300-3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1258524 | 1258524 | SWITCH;SIE,S25315-A39-B2 | SWITCH;MNFR:SIEMENS,PTNO:S25315-A39-B2 | SWITCH | S25315-A39-B2 | 3000032 | SIEMENS | SIEMENS | S25315-A39-B2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1216603 | 1216603 | SWITCH;SIE,TCVT 145,GEAR | SWITCH;MNFR:SIEMENS,PTNO:TCVT 145,ADDITIONAL FEATURES EN:GEAR |  | TCVT 145 | 3000032 | SIEMENS | SIEMENS | TCVT 145 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | GEAR | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1214326 | 1214326 | SWITCH;SIE,V24584-Z4-A2 | SWITCH;MNFR:SIEMENS,PTNO:V24584-Z4-A2 | SWITCH | V24584-Z4-A2 | 3000032 | SIEMENS | SIEMENS | V24584-Z4-A2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [42 empty] | PRODUCTION COMPLETED
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 05-07-2023 |  | 1253943 | 1253943 | ZZ - REPLACED BY 1357293 | SPEAKER;MNFR:ECAM,PTNO:AUD-SPK-00020,ADDITIONAL FEATURES EN:8E,5W,SZ 75 MM | 01)ECAM (PTY) LTD,01)AUD-SPK-00020,SPEAKER,01)8E,5W,SZ 75 MM | AUD-SPK-00020 | 3000424 | ECAM | ECAM | AUD-SPK-00020 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 52161512 Loudspeakers | SPEAKER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | POWER RATING | 5 W | IMPEDANCE |  | RESISTANCE RANGE |  | SIZE | 75 MM | MOUNTING TYPE |  | COMPATIBILITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 8E | [51 empty] | PRODUCTION COMPLETED