## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1271372 | 1271372 | ADHESIVE;HILT,2132024 | ADHESIVE;MNFR:HILTI,PTNO:2132024 |  | 2132024 | 3000289 | HILTI | HILTI | 2132024 | [5 empty] | https://www.hilti.in/c/CLS_FASTENER_7135/CLS_CHEMICAL_ANCHORS_7135/r4077113?CHD_CONTENT_PER_CAN_CARTRIDGE_ANC=0.5%20l&combo_content=95313db305d056412e5505369cb9ba4a&itemCode=2132024 | [10 empty] | ENRICHED | 31201601 Chemical adhesives | ADHESIVE | NO MODIFIER | TYPE | ANCHOR | CURE TIME |  | CONTAINER |  | COLOUR |  | TEMPERATURE RATING | -40 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1273497 | 1273497 | ADHESIVE;LOCT,40124-25,SUPER GLUE,CLR,25 | ADHESIVE;MNFR:LOCTITE,PTNO:40124-25,ADDITIONAL FEATURES EN:SUPER GLUE,CLEAR,25ML |  | 40124-25 | 3000306 | LOCTITE | LOCTITE | 40124-25 | [5 empty] | https://www.henkel-adhesives.com/in/en/product/instant-adhesives/loctite_4010.html ¦ https://datasheets.tdx.henkel.com/LOCTITE-401-en_US.pdf | https://www.konnectfasteningsystems.com.au/40124-25-loctite-prism-401-instant-adhesive-med-viscosity-fast-curing-25ml.html | [9 empty] | ENRICHED | 31201619 Instant adhesive | ADHESIVE | NO MODIFIER | TYPE | INSTANT,FAST CURING | CURE TIME | 5 SEC | CONTAINER | 25 ML | COLOUR | CLEAR | TEMPERATURE RATING | -40 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUPER GLUE,FORM:LIQUID | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1216571 | 1216571 | ADHESIVE;VESU,A12337 | ADHESIVE;MNFR:VESUVIUS,PTNO:A12337 |  | A12337 | 3000361 | VESUVIUS | VESUVIUS | A12337 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31201600 Adhesives | ADHESIVE | NO MODIFIER | TYPE |  | CURE TIME |  | CONTAINER |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1276178 | 1276178 | BALLAST;SIE,S11-918-SN2 | BALLAST;MNFR:SIEMENS,PTNO:S11-918-SN2 | BALLAST | S11-918-SN2 | 3000032 | SIEMENS | SIEMENS | S11-918-SN2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39111801 Lamp ballasts | BALLAST | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | LAMP WATTAGE |  | LAMP TYPE |  | NUMBER OF LAMPS |  | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1269211 | 1269211 | BAND;DONA,P778810,MNTG,PLSTC | BAND;MNFR:DONALDSON COMPANY INC,PTNO:P778810,ADDITIONAL FEATURES EN:MOUNTING,PLASTIC | 01)NATIONWIDE MINING CORP PT,01)NMC-P778810,BAND,01)MOUNTING,PLASTIC | P778810 | 3000264 | DONALDSON COMPANY INC | DONALDSON COMPANY INC | P778810 |  | NATIONWIDE MINING CORP PT | P778810 |  |  | https://shop.donaldson.com/store/en-in/product/P778810/22035?_requestid=7505272 | [10 empty] | ENRICHED | 31162400 Miscellaneous fasteners | BAND | NO MODIFIER | TYPE | MOUNTING | SIZE | 172 IDX51 WD MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1268680 | 1268680 | BLOWER;DEWT,DCV100âˆ’XE,80M/S 18V,V/SPD | BLOWER;MNFR:DEWALT TOOLS,PTNO:DCV100âˆ’XE,ADDITIONAL FEATURES EN:80M/S 18V,V/SPD BARE | 01)TOTAL TOOLS TOWNSVILLE,01)DCV100−XE,BLOWER,01)80M/S 18V,V/SPD BARE | DCV100âˆ’XE | 3000263 | DEWALT TOOLS | DEWALT TOOLS | DCV100-XE |  | TOTAL TOOLS TOWNSVILLE | DCV100-XE |  |  | https://www.tools.com/dewalt-18v-blower-tool-only-dcv100-xe~1939929.html | [10 empty] | ENRICHED | 27112701 Power blowers | BLOWER | AIR | TYPE | COMPACT,LIGHT WEIGHT | INLET SIZE |  | OUTLET SIZE |  | FLOW CAPACITY | 2.8 M3/MIN | DRIVE DETAILS |  | DISCHARGE TYPE |  | ROTOR SIZE |  | NUMBER OF STAGES |  | MATERIAL |  | ELECTRICAL RATING | 18 V | POWER RATING | 265 W | SPEED RATING | 18000 RPM | PRESSURE RATING |  | OVERALL SIZE | 508 MM LG | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AIR SPEED:18 M/S,V/SPD BARE | [37 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1257682 | 1257682 | BLOWER;SIE,2CT5404-CBA | BLOWER;MNFR:SIEMENS,PTNO:2CT5404-CBA | BLOWER | 2CT5404-CBA | 3000032 | SIEMENS | SIEMENS | 2CT5404-CBA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40101601 Blowers | BLOWER | NO MODIFIER | TYPE |  | FLOW CAPACITY |  | POWER RATING |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING |  | MATERIAL |  | OVERALL SIZE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1272296 | 1272296 | BOTTLE,SMPL; THFI,LBS30002,CONTNR,70 ML | BOTTLE,SAMPLE;MNFR:THERMO FISHER,PTNO:LBS30002,ADDITIONAL FEATURES EN:CONTAINER,70 ML,SCREWTOP,POLYPROPYLENE,45MM DIA X 57MM HIGH, PINK CAP,500/BOX |  | LBS30002 | 3000467 | THERMO FISHER | THERMO FISHER | LBS30002 | [5 empty] | https://manualzz.com/doc/9895302/container-70ml | [10 empty] | CLEANSED | 41104100 Specimen collection and transport containers and supplies | BOTTLE | SAMPLE | TYPE | SCREWTOP | CAPACITY | 70 ML | MATERIAL | POLYPROPYLENE | SIZE | 45 DIAX57 HT MM | MOUTH |  | LID TYPE | CAP | COLOUR | PINK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGE QUANTITY:500/BOX | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1272297 | 1272297 | BOTTLE,SMPL; THFI,LBS30002N,CONTNR,70 ML | BOTTLE,SAMPLE;MNFR:THERMO FISHER,PTNO:LBS30002N,ADDITIONAL FEATURES EN:CONTAINER,70 ML,POLYPROPYLENE,NATURAL CAP,500/BOX |  | LBS30002N | 3000467 | THERMO FISHER | THERMO FISHER | LBS30002N | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41104100 Specimen collection and transport containers and supplies | BOTTLE | SAMPLE | TYPE |  | CAPACITY | 70 ML | MATERIAL | POLYPROPYLENE | SIZE |  | MOUTH |  | LID TYPE | CAP | COLOUR | NATURAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGE QUANTITY:500/BOX | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1216000 | 1216000 | CHEMICAL;NHP,BS4ELECTROLYTE,BORAX 1225G | CHEMICAL;MNFR:NHP,PTNO:BS4ELECTROLYTE,ADDITIONAL FEATURES EN:BORAX 1225G | 01)NHP,01)BS4ELECTROLYTE,BEVERAGE,01)BORAX 1225G | BS4ELECTROLYTE | 3000664 | NHP | NHP | BS4ELECTROLYTE | [5 empty] | https://www.schnap.com.au/nhp-electrical-engineering-products/motor-control-and-drives/motor-starting-and-protection/assembled-motor-starters/bs4electrolyte-s-and-s-starters-and-soft-starters.html | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | STARTER | MOTOR | TYPE | LIQUID RESISTANCE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CHEMICAL NAME:BORAX,PACKAGING WEIGHT:1225 G | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1272835 | 1272835 | CHEMICAL;NHP,CS3ELECTROLYTE,5KG,SODIUM C | CHEMICAL;MNFR:NHP,PTNO:CS3ELECTROLYTE,ADDITIONAL FEATURES EN:5KG,SODIUM CARBONATE | 01)NHP,01)CS3ELECTROLYTE,CHEMICAL,01)5KG,SODIUM CARBONATE | CS3ELECTROLYTE | 3000664 | NHP | NHP | CS3ELECTROLYTE | [5 empty] | https://www.schnap.com.au/nhp-electrical-engineering-products/motor-control-and-drives/motor-starting-and-protection/assembled-motor-starters/cs3electrolyte-liquid-resistance-starters.html | [10 empty] | ENRICHED | 39121500 Electrical controls and accessories | STARTER | MOTOR | TYPE | LIQUID RESISTANCE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | NEMA/IEC SIZE |  | COIL VOLTAGE RATING |  | OVERLOAD RELAY TYPE |  | CONTACT CONFIGURATION |  | AUXILIARY CONTACT |  | ENCLOSURE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CHEMICAL NAME:SODIUM CARBONATE,PACKAGING WEIGHT:5 KG | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | CONFLICT IN GIVEN INPUT DESCRIPTION | 2023-06-24 | 2023-07-05 |  | 1270559 | 1270559 | COUPLER;ASWP,DU.DAK0000029,RH,BRAKE SHOE | COUPLER;MNFR:AUSWEEP,PTNO:DU.DAK0000029,ADDITIONAL FEATURES EN:RH,BRAKE SHOES,COUPLE | 01)AUSTRALIAN SWEEPER CORP P,01)DU.DAK0000029,COUPLER,01)RH,BRAKE SHOES,COUPLE | DU.DAK0000029 | 3000416 | AUSWEEP | AUSTRALIAN SWEEPER CORP | DU.DAK0000029 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25171712 Drum brake shoes | SHOE | BRAKE | TYPE | RH | SIZE |  | MATERIAL |  | LINER MATERIAL |  | MOUNTING TYPE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1266206 | 1266206 | COUPLER;COND,23410,TRK,SSV4A | COUPLER;MNFR:CONDUCTIX,PTNO:23410,ADDITIONAL FEATURES EN:TRACK,SSV4A |  | 23410 | 3000255 | CONDUCTIX | CONDUCTIX | 023410 | [5 empty] | https://partners.conductix.us/shop/Cable-Festoon-Systems/C-Track-Standard-Duty/Track-and-Mounting-Hardware/Track-Joints--Clips--End-Caps/~023410 | [10 empty] | ENRICHED | 31162300 Mounting hardware | JOINT | NO MODIFIER | TYPE | C-TRACK | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1269805 | 1269805 | COUPLER;COND,27210,270 TRACK,GAL | COUPLER;MNFR:CONDUCTIX,PTNO:27210,ADDITIONAL FEATURES EN:270 TRACK,GAL | 01)CONDUCTIX WAMPFLER PTY LT,01)27210,COUPLER,01)270 TRACK,GAL | 27210 | 3000255 | CONDUCTIX | CONDUCTIX | 027210 | [5 empty] | https://partners.conductix.us/shop/Cable-Festoon-Systems/Festoon-Other-Items/~027210 | [10 empty] | CLEANSED | 25121700 Railroad support equipment and systems | COUPLER | NO MODIFIER | TYPE | TRACK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 270,GAL | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED,Partially Match | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1275707 | 1275707 | COUPLER;PRKH,PD-DM-3010-3-PK,M,3/8,EXTRE | COUPLER;MNFR:PARKER HANNIFIN,PTNO:PD-DM-3010-3-PK,ADDITIONAL FEATURES EN:MALE,3/8,EXTREME PRESSURE | 01)ENZED MOUNT ISA(RKM INVES,01)ENZD-DM-3010-3-PK,COUPLER,01)MALE,3/8,EXTREME PRESSURE | PD-DM-3010-3-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | PD-DM-3010-3-PK |  | ENZED MOUNT ISA(RKM INVES) | ENZD-DM-3010-3-PK |  |  | https://ph.parker.com/us/en/product/high-pressure-thread-to-connect-quick-couplings-3000-series/3010-3 | [10 empty] | ENRICHED | 31163003 Metallic couplings | COUPLING | QUICK CONNECT | TYPE | EXTREME PRESSURE | NOMINAL SIZE | 3/8 IN-18 | END CONNECTION | FNPT | MATERIAL | STEEL | LENGTH |  | PRESSURE RATING | 10000 PSI | TEMPERATURE RATING | -22 TO 230 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COUPLING HALF:MALE NIPPLE | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED,Partially Match | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1276308 | 1276308 | COUPLER;PRKH,PD-DM-3050-3-PK,FEM,3/8,EXT | COUPLER;MNFR:PARKER HANNIFIN,PTNO:PD-DM-3050-3-PK,ADDITIONAL FEATURES EN:FEMALE,3/8,EXTREME PRESSURE | 01)ENZED MOUNT ISA(RKM INVES,01)ENZD-DM-3050-3-PK,COUPLER,01)FEMALE,3/8,EXTREME PRESSURE | PD-DM-3050-3-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | PD-DM-3050-3-PK |  | ENZED MOUNT ISA(RKM INVES) | ENZD-DM-3050-3-PK |  |  | https://ph.parker.com/in/en/product/high-pressure-thread-to-connect-quick-couplings-3000-series/3050-3 | [10 empty] | ENRICHED | 31163003 Metallic couplings | COUPLING | QUICK CONNECT | TYPE | EXTREME PRESSURE | NOMINAL SIZE | 3/8 IN-18 | END CONNECTION | MNPT | MATERIAL | STEEL | LENGTH |  | PRESSURE RATING | 10000 PSI | TEMPERATURE RATING | -22 TO 230 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1266957 | 1266957 | FIXTURE;SCHN,ZB4BZ009,COLAR,ZB4 MTL CONT | FIXTURE;MNFR:SCHNEIDER INC,PTNO:ZB4BZ009,ADDITIONAL FEATURES EN:COLLAR,ZB4 MTL CONTACT OR LIGHT | 01)CNW (MOUNT ISA) ELECT WHO,01)SCHZB4BZ009,FIXTURE,01)COLLAR,ZB4 MTL CONTACT OR L | ZB4BZ009 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | ZB4BZ009 |  | CNW ELECTRICAL | ZB4BZ009 |  |  | https://www.se.com/in/en/product/ZB4BZ009/body-fixing-collar-for-electrical-block-metal/ | https://in.element14.com/schneider-electric/zb4bz009/mounting-collar-22mm-xb4/dp/3730219 | [9 empty] | ENRICHED | 39121900 Electrical safety devices and accessories | COLLAR | NO MODIFIER | TYPE | BODY/FIXING,MOUNTING | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ZB4 METAL CONTACT OR LIGHT | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1216632 | 1216632 | GEAR,HELICL;SEW,MC2PLHT04 | GEAR,HELICL;MNFR:SEW EURODRIVE,PTNO:MC2PLHT04 |  | MC2PLHT04 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | MC2PLHT04 | [5 empty] | https://download.sew-eurodrive.com/download/pdf/11237910_G10.pdf | [10 empty] | CLEANSED | 31171714 Helical gears | GEAR | HELICAL | TYPE |  | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH |  | MATERIAL |  | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | FACE WIDTH |  | HUB LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1268841 | 1268841 | GEAR,RK & PINON;SEW,MN1,0 Z22 L18 D12 | GEAR,RACK AND PINION;MNFR:SEW EURODRIVE,PTNO:MN1,0 Z22 L18 D12 | 01)SEW EURODRIVE PTY LTD,01)MN1,0 Z22 L18 D12,GEAR,RACK AND PINION | MN1,0 Z22 L18 D12 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | MN1,0 Z22 L18 D12 | [5 empty] | https://www.kc-co.com/spare-part/sew-eurodrive/mn10-z22-l18-d12/ | [10 empty] | CLEANSED | 31171710 Pinion gears | GEAR | RACK AND PINION | TYPE |  | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH |  | MATERIAL |  | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1243940 | 1243940 | GLOVES,WLDG;TLDY,BLU-04735065,L,KEVLAR | GLOVES,WELDING;MNFR:TELEDYNE TECHNOLOGIES,PTNO:BLU-04735065,SIZE:L,MATERIAL:CALF LEATHER,LINER MATERIAL:KEVLAR,ADDITIONAL FEATURES EN:FOR GTAW SEWING | L,CALF LEATHER,KEVLAR,01)FOR GTAW SEWING,01)POUR COUTURE GTAW,01)AIR LIQUIDE CANADA,01)BLU-04735065 | BLU-04735065 | 3000357 | TELEDYNE TECHNOLOGIES | TELEDYNE TECHNOLOGIES | BLU-04735065 |  | AIR LIQUIDE CANADA | BLU-04735065 |  |  | https://www.transcanadasafety.ca/brand-air-liquide/blu-04735065-blueshield-gloves-welding-tiggers/sku-V5709-a0288345 | [10 empty] | ENRICHED | 46181540 Welder gloves | GLOVES | WELDING | TYPE |  | SIZE | LARGE | OVERALL LENGTH |  | MATERIAL | COW HIDE LEATHER | CUFF TYPE |  | LINER MATERIAL | KEVLAR | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR GTAW SEWING | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1273300 | 1273300 | GRIP,WIRE;NGK,SD-L-GRIPL/W,DIA:2.6-15MM | GRIP,WIRE;MNFR:NGK,PTNO:SD-L-GRIPL/W,ADDITIONAL FEATURES EN:DIA:2.6-15MM,WORK LOAD: 10KN,EYE WIDTH: 26MM,WITH SAFTY LATCH AND SPRING LOCK,SUITABLE FOR STEEL ROD/WIRE,BARE CU,CATENARY WIRE |  | SD-L-GRIPL/W | 3000437 | NGK | NGK | SD-L-GRIPL/W | [5 empty] | http://www.ngk-nagaki.com/product5.html | https://www.tengroup.com.au/products/SD-L-GRIPL%2FW | [9 empty] | CLEANSED | 23153025 Mechanical gripper | GRIP | WIRE | TYPE |  | NOMINAL SIZE |  | WIRE RANGE | 2.6 TO 15 MM | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL |  | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WORK LOAD:10 KN,EYE WIDTH:26 MM,C/W SAFTY LATCH AND SPRING LOCK,FOR STEEL ROD/WIRE,BARE CU,CATENARY WIRE | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1259870 | 1259870 | GRIP;MILW,48223410,JAW DURABLE,LOCK CURV | GRIP;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48223410,ADDITIONAL FEATURES EN:JAW DURABLE,LOCK CURVED,254MM | 01)MOUNT ISA MINING SUPPLIES,01)48223410,GRIP,01)JAW DURABLE,LOCK CURVED,254 | 48223410 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48223410 |  | MOUNT ISA MINING SUPPLIES | 48223410 |  |  | https://www.milwaukeetool.com.au/hand-tools/pliers/locking-pliers/48223410.html | [10 empty] | ENRICHED | 27112115 Locking pliers | PLIERS | NO MODIFIER | TYPE | LOCKING,DURABLE | CAPACITY | 50 MM | JAW LENGTH | 28 MM | JAW WIDTH |  | JAW TYPE | CURVED | OVERALL LENGTH | 254 MM | MATERIAL |  | COATING/FINISH |  | HANDLE TYPE |  | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1217730 | 1217730 | GUN,CLKG;MILW,C18PCG600A-201B,ADH,600ML | GUN,CAULKING;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:C18PCG600A-201B,ADDITIONAL FEATURES EN:ADHESIVE,600ML,ALUMINIUM,2.0AH,REDLITHIUM KIT | 01)MOUNT ISA MINING SUPPLIES,01)C18PCG600A-201B,GUN,CAULKING,01)ADHESIVE,600ML,ALUMINIUM,2. | C18PCG600A-201B | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | C18PCG600A-201B |  | MOUNT ISA MINING SUPPLIES | C18PCG600A-201B |  |  | https://www.milwaukeetool.com.au/power-tools/speciality-tools/caulking-guns/C18PCG600A-201B.html | [10 empty] | ENRICHED | 27112700 Power tools | KIT | NO MODIFIER | TYPE | CORDLESS CAULK GUN | CONTENTS | M18 CORDLESS 600 ML ALUMINIUM BARREL CAULK AND ADHESIVE GUN,M18 REDLITHIUM-ION 2.0 AH COMPACT BATTERY,M12 AND M18 RAPID CHARGER | NUMBER OF ITEMS | 3 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1217731 | 1217731 | GUN,CLKG;MILW,M12PCG310-201B,310ML,1 X 2 | GUN,CAULKING;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12PCG310-201B,ADDITIONAL FEATURES EN:310ML,1 X 2.0AH BATTERY,CHARGER,CONTRACTOR BAG | 01)MOUNT ISA MINING SUPPLIES,01)M12PCG310-201B,GUN,CAULKING,01)310ML,1 X 2.0AH BATTERY,CHA | M12PCG310-201B | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12PCG310-201B |  | MOUNT ISA MINING SUPPLIES | M12PCG310-201B |  |  | https://www.milwaukeetool.com.au/power-tools/speciality-tools/caulking-guns/M12PCG310-201B.html | [10 empty] | ENRICHED | 27112700 Power tools | KIT | NO MODIFIER | TYPE | CAULK AND ADHESIVE GUN | CONTENTS | M12 310 ML CAULKING GUN (TOOL ONLY),M12 REDLITHIUM-ION 2.0 AH COMPACT BATTERY,M12 LITHIUM-ION BATTERY CHARGER | NUMBER OF ITEMS | 3 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1272661 | 1272661 | GUN,GRS;MILW,M12GG-0,12V,CORDLS,400ML | GUN,GREASE;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12GG-0,ADDITIONAL FEATURES EN:12V,CORDLESS,400ML, TOOL ONLY | 01)MOUNT ISA MINING SUPPLIES,01)M12GG-0,GUN,GREASE,01)12V,CORDLESS,400ML,02) TOOL ONLY | M12GG-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12GG-0 |  | MOUNT ISA MINING SUPPLIES | M12GG-0 |  |  | https://www.milwaukeetool.com.au/power-tools/automotive/grease-guns/M12GG-0.html | [10 empty] | ENRICHED | 27112730 Power grease gun | GUN | GREASE | TYPE | CORDLESS | CAPACITY | 400 ML | PRESSURE RATING | 8000 PSI | SPOUT/HOSE MATERIAL |  | SPOUT/HOSE LENGTH | 914 MM | END CONNECTION |  | BARREL MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:12 V,TOOL ONLY | [53 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1270795 | 1270795 | GUN,HT;DEWT,DCE530N-XJ,18V,XR,DEWALT | GUN,HEAT;MNFR:DEWALT TOOLS,PTNO:DCE530N-XJ,ADDITIONAL FEATURES EN:18V,XR,DEWALT | 01)ATOM SUPPLY,01)DCE530N-XJ,GUN,HEAT,01)18V,XR,DEWALT | DCE530N-XJ | 3000263 | DEWALT TOOLS | DEWALT TOOLS | DCE530N-XJ |  | ATOM SUPPLY | DCE530N-XJ |  |  | https://in.rsdelivers.com/product/dewalt/dce530n-xj/dewalt-dce530n-530c-max-cordless-heat-gun/1891306 | [10 empty] | ENRICHED | 27112717 Heat guns | GUN | HEAT | TYPE | CORDLESS | TEMPERATURE RATING | 530 DEG C | HEATING ELEMENT |  | VOLTAGE RATING | 18 V | POWER RATING |  | CURRENT RATING |  | OVERALL SIZE |  | CORD LENGTH |  | HOUSING MATERIAL |  | HANDLE TYPE |  | AIR FLOW RATING | 190 LPM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | XR | [45 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1274008 | 1274008 | GUN;LINC,33441,CONNECT SUITS,FLEXFEED | GUN;MNFR:LINCOLN,PTNO:33441,ADDITIONAL FEATURES EN:CONNECT SUITS,FLEXFEED | 01)GLOBAL WELDING SUPPLIES (,01)LINK33441,GUN,01)CONNECT SUITS,FLEXFEED | 33441 | 3000550 | LINCOLN | LINCOLN | 33441 |  | GLOBAL WELDING SUPPLIES | 33441 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | GUN | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL | FLEXFEED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECT SUITS | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1275191 | 1275191 | HELICAL BEVEL GEAR UNIT;C/W MOTOR | GEARED REDUCER: HELICAL BEVEL GEAR UNIT;34.23:1 RATIO; 70 X 140MM SOLID OUTPUT SHAFT; 440V/7.5 KW /8P/160M FRAME MOTOR; EXCLUDES COUPLING MFR: SEW, PTNO: K97 AM160 D160L.TECO.MIM.SPEC8 |  | K97 AM160 D160L.TECO.MIM.SPEC8 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | K97 AM160 D160L | [5 empty] | https://download.sew-eurodrive.com/download/pdf/25803530.pdf | [6 empty] | TECO |  |  |  | CLEANSED | 31171714 Helical gears | GEAR | HELICAL | TYPE | BEVEL | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH |  | MATERIAL |  | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | FACE WIDTH |  | HUB LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GEAR RATIO:34.23:1,SHAFT SIZE:70X140 MM,SHAFT TYPE:SOLID,ELECTRICAL RATING:440V,7.5 KW,8 P,MOTOR FRAME:160M,EXCLUDES COUPLING | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1220385 | 1220385 | HELICAL GEAR;SEW,RF97AM132S/MAEHBXZ4/C | GEARCASE-MOTOR: RF97HELICAL GEAR; 22.37:INFINITE RATIO; 1455/65RPM; AM132S/M ADAPTOR; 5.5KW, 415 MFR: SEW PTNO:RF97 AM132S/M TECO AEHBXZ4/C V TECO EX'DE MOTOR; PREVOIUS SEW S/N 20. 0120528201.0001.12 |  | RF97 AM132S/M TECO AEHBXZ4/C | 3000442 | SEW EURODRIVE | SEW EURODRIVE | RF97 AM132S/M | [5 empty] | https://download.sew-eurodrive.com/download/pdf/19327617.pdf | [5 empty] | GEAR CASE MOTOR | TECO | AEHBXZ4/C | 20. 0120528201.0001.12 |  | CLEANSED | 31171714 Helical gears | GEAR | HELICAL | TYPE |  | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH |  | MATERIAL |  | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | FACE WIDTH |  | HUB LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INFINITE RATIO:22.37,SPEED RATING:1455/65 RPM,ADAPTOR,POWER RATING:5.5 KW | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1272495 | 1272495 | HOOK;SCHN,56SHL,SSPNSN,STL,IP66,32-50 A | HOOK;MNFR:SCHNEIDER INC,PTNO:56SHL,ADDITIONAL FEATURES EN:SUSPENSION,STEEL,IP66,32-50 A,HEIGHT:140 MM,WIDTH:88 MM,DIAMETER:3.15 MM, PENDANT OUTLET KIT,56 SERIES,BRAND:CLIPSAL |  | 56SHL | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 56SHL | [5 empty] | https://www.clipsal.com/products/detail?CatNo=56SHL&itemno=56SHL&tab-document-1=0 | [10 empty] | ENRICHED | 31162600 Hooks | HOOK | NO MODIFIER | TYPE | SUSPENSION | LOAD RATING |  | SIZE | 3.15 DIAX88 WDX140 HT MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | BRAND:CLIPSAL,DEGREE OF PROTECTION:IP66,32 TO 50 A,PENDANT OUTLET KIT,SERIES:56 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1274725 | 1274725 | HOOK;SHMR,HB1500,1500 MM,BAR CUCN,HANDLE | HOOK;MNFR:SCHMIDER,PTNO:HB1500,ADDITIONAL FEATURES EN:1500 MM,BAR CUCN,HANDLE:MILD STEEL,ALUMINIUM BODY,HARDENED 90 DEGREE CHISEL | 01)SCHMIDER ENGINEERING GROU,01)HB1500,HOOK,01)1500 MM,BAR CUCN,02)HANDLE:MILD STEEL,03)ALUMINIUM BODY,HARDENED 90 | HB1500 | 3000440 | SCHMIDER | SCHMIDER ENGINEERING GROUP | HB1500 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162600 Hooks | HOOK | NO MODIFIER | TYPE |  | LOAD RATING |  | SIZE | 1500 MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BAR CUCN,HANDLE MATERIAL:MILD STEEL,CHISEL:HARDENED 90 DEG | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1266965 | 1266965 | KNOB,SWTCH;NHP,LFS2A4001,STD,48X48MM | KNOB,SWITCH;MNFR:NHP,PTNO:LFS2A4001,ADDITIONAL FEATURES EN:STANDARD,48X48MM | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPLFS2A4001,KNOB,SWITCH,01)STANDARD,48X48MM | LFS2A4001 | 3000664 | NHP | NHP | LFS2A4001 |  | CNW ELECTRICAL | LFS2A4001 |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/LFS2A4001-8403-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | KNOB | SWITCH | TYPE | STANDARD | COLOUR |  | SIZE | 48 WDX48 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNTING TYPE:SCREW | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273883 | 1273883 | KNOB;EATO,EATT341M,DIMMER,T SERIES PUSHM | KNOB;MNFR:EATON CORPORATION,PTNO:EATT341M,ADDITIONAL FEATURES EN:DIMMER,T SERIES PUSH BUTTON,METAL | 01)CNW (MOUNT ISA) ELECT WHO,01)EATT341M,KNOB,01)DIMMER,T SERIES PUSH BUTTON | EATT341M | 3000267 | EATON CORPORATION | EATON CORPORATION | T341M |  | CNW ELECTRICAL | T341M |  |  | https://colterlec.com.au/wp-content/uploads/2020/06/Eaton-30.5mm-Push-Button-T-Series-E-34.pdf | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | KNOB | SWITCH | TYPE |  | COLOUR |  | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR DIMMER T SERIES PUSHBUTTON | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1324425 | 1324425 | KNOB;SIE,3SX8-001.0AA | KNOB;MNFR:SIEMENS,PTNO:3SX8-001.0AA | KNOB | 3SX8-001.0AA | 3000032 | SIEMENS | SIEMENS | 3SX8-001.0AA | [5 empty] | https://simatix-ru.translate.goog/product/3SX80010AA/?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | ENRICHED | 31162801 Handles or knobs | KNOB | NO MODIFIER | TYPE | ACTUATOR | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1276010 | 1276010 | LID;CUM,SP1400 | LID;MNFR:CUMMINS,PTNO:SP1400 | LID | SP1400 | 3000018 | CUMMINS | CUMMINS | SP1400 | [5 empty] | https://enginepartssuperstore.com/Category/SP1400/CUMMINS-FLEETGUARD-Air-Filter-&-Housing-Assembly-COVER,AIRCL/ | https://inlinefilters.co.uk/wp-content/uploads/_imported/FFG/FFG-SP1400.pdf | [9 empty] | ENRICHED | 40161526 Filter retainers or accessories | COVER | NO MODIFIER | TYPE | AIR FILTER | SIZE | 130 LGX200 WDX439.01 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1267250 | 1267250 | MODULE,PWR;SIE,6SL3210-1PE28-8AL0,37KW | MODULE,POWER;MNFR:SIEMENS,PTNO:6SL3210-1PE28-8AL0,ADDITIONAL FEATURES EN:37KW 75A IP20 PM240-2 VSD | 01)PACIFIC RIM TECH SERVICES,01)6SL3210-1PE28-8AL0,MODULE,POWER,01)37KW 75A IP20 PM240-2 VSD | 6SL3210-1PE28-8AL0 | 3000032 | SIEMENS | SIEMENS | 6SL3210-1PE28-8AL0 |  | PACIFIC RIM TECH SERVICES | 6SL3210-1PE28-8AL0 |  |  | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6SL32101PE288AL0 | https://mall.industry.siemens.com/mall/Document/GetDocumentBasedOnCode?code=aHR0cHM6Ly9tYWxsLmluZHVzdHJ5LnNpZW1lbnMuY29tL3NwaWNlL2RvY3VzZXJ2aWNlL2RvY3VzZXJ2aWNlP2NvbmZpZ2lkPTE0JmRvY3UubWxmYj02U0wzMjEwMVBFMjg4QUwwJmRvY3UuaW5pdHR5cGU9TUxGQiZkb2N1LmdlbmVyYXRpb250eXBlPVZJRVcmZG9jdS52aWV3aWQ9UERGJnJlZ2lvbj1VUyZsYW5ndWFnZT1lbiZkb2N1Lmxhbmd1YWdlLmxvY2FsZTE9ZW4mZG9jdS5sYW5ndWFnZS5sb2NhbGUyPWVu | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | POWER | TYPE |  | INPUT RATING | 380 TO 480 V,86 A,3 PH,47 TO 63 HZ | OUTPUT RATING | 400 V,150 A,3 PH | POWER RATING | 37 KW | SWITCH TYPE |  | CONNECTION TYPE | SCREW | TEMPERATURE RATING | -20 TO 40 DEG C | SIZE | 275 WDX551 HTX237 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATED CURRENT:75 A,DEGREE OF PROTECTION:IP20,MODEL:PM240-2 VSD | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1212917 | 1212917 | MODULE,PWR;SMART LINE,510-650 VDC,500 KW | MODULE,POWER;TYPE:SMART LINE,INPUT RATING:380-480 V AC 50/60 HZ,OUTPUT RATING:510-650 VDC,POWER RATING:500 KW,ADDITIONAL FEATURES EN:SINAMICS S120,3-PHASE, AC, 1050, CHASSIS UNIT IP00 INT AIR COOLING,INCL.DRIVE CLIQ CABLE,MNFR:SIEMENS,PTNO:6SL3330-6TE41-1AA3 | MODULE,EN_01)SMART LINE,EN_01)380-480 V AC 50/60 HZ,510-650 VDC,500 KW,01)SINAMICS S120,3-PHASE, AC,02)INCL.DRIVE CLIQ CABLE | 6SL3330-6TE41-1AA3 | 3000032 | SIEMENS | SIEMENS | 6SL3330-6TE41-1AA3 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6SL3330-6TE41-1AA3 | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | POWER | TYPE | SMART LINE | INPUT RATING | 380 TO 480 VAC,3 PH,50/60 HZ | OUTPUT RATING | 510 TO 650 VDC,1050 A | POWER RATING | 500 KW | SWITCH TYPE |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:SINAMICS S120,AC,CHASSIS UNIT IP00 INTERNAL AIR COOLING,INCLUDES DRIVE CLIQ CABLE | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1211482 | 1211482 | MODULE;FLUK,750P27 | MODULE;MNFR:FLUKE,PTNO:750P27 |  | 750P27 | 3000278 | FLUKE | FLUKE | 750P27 | [5 empty] | https://www.fluke.com/en-in/product/calibration-tools/pressure-calibrators/fluke-750p | https://in.rsdelivers.com/product/fluke/750p27/750p27-pressure-module-for-use-with-725-726-750/8035981 | [9 empty] | ENRICHED | 41112414 Pressure calibrator | CALIBRATOR | PRESSURE | TYPE | GAUGE | MEASURING RANGE | 0 TO 300 PSI | ACCURACY | +/-0.0175 PCT | DISPLAY TYPE | DIGITAL | VOLTAGE RATING |  | CURRENT RATING |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1272554 | 1272554 | MODULE;FLUK,T3000FC,TEMP,FC WIRELESS,K T | MODULE;MNFR:FLUKE,PTNO:T3000FC,ADDITIONAL FEATURES EN:TEMPERATURE,FC WIRELESS,K TYPE | 01)CNW (MOUNT ISA) ELECT WHO,01)FLUFLK-T3000FC,MODULE,01)TEMPERATURE,FC WIRELESS,K T | T3000FC | 3000278 | FLUKE | FLUKE | T3000FC |  | CNW ELECTRICAL | T3000FC |  |  | https://www.fluke.com/en/product/temperature-measurement/contact-thermometers/fluke-t3000-fc | https://www.fluke-direct.com/product/fluke-t3000-fc-wireless-k-type-temperature-module | [9 empty] | ENRICHED | 41113646 Temperature calibrator or simulator | CALIBRATOR | TEMPERATURE | TYPE | WIRELESS,K,MINI | MEASURING RANGE | -200 TO 1372 DEG C | ACCURACY | +/-0.5 PCT + 0.5 DEG C | DISPLAY TYPE |  | RESOLUTION | 0.1 DEG C | VOLTAGE RATING |  | INTERFACE TYPE |  | CURRENT RATING |  | MATERIAL |  | SIZE | 6-1/2 LGX2-1/2 WDX1-13/32 HT IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,CE,FCC:T68-FBLE IC:6627A-FBLE,IEC 61010-1,CAT I | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED,PART NUMBER UPDATED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1274878 | 1274878 | MODULE;SCHN,SC2XPSAF5130 |  |  | SC2XPSAF5130 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XPSAF5130 | [5 empty] | https://www.se.com/in/en/product/XPSAF5130/module-xpsaf-emergency-stop-24-v-ac-dc/ | https://www.mouser.in/ProductDetail/Schneider-Electric/XPSAF5130?qs=9gWuwXgt3vg0GByMuE6Rzw%3D%3D | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | SAFETY | TYPE |  | COIL VOLTAGE | 24 VAC | CONTACT VOLTAGE RATING | 24 VAC/DC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3 PST | SIL RATING | 3 | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | FREQUENCY RATING | 50/60 HZ | SIZE |  | ENCLOSURE | IP20,IP40 | TEMPERATURE RATING | -25 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,TUV,CSA,EN/IEC 60947-5-1,EN/ISO 13850,EN 60204-1,EN 1088/ISO 14119 | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1323526 | 1323526 | MODULE;SIE,23V5E32 372/8190-315105 | MODULE;MNFR:SIEMENS,PTNO:23V5E32 372/8190-315105 | MODULE | 23V5E32 372/8190-315105 | 3000032 | SIEMENS | SIEMENS | 23V5E32 372/8190-315105 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1330514 | 1330514 | MODULE;SIE,6ED1052-1FB08-0BA0 | MODULE;MNFR:SIEMENS,PTNO:6ED1052-1FB08-0BA0 | MODULE | 6ED1052-1FB08-0BA0 | 3000032 | SIEMENS | SIEMENS | 6ED1052-1FB08-0BA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ED1052-1FB08-0BA0 | https://docs.rs-online.com/300a/0900766b8164240b.pdf | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | LOGIC,ETHERNET | INPUT RATING | 115 TO 230 VDC | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 71.5 WDX90 HTX60 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UL,FM,IEC,VDE | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1272401 | 1272401 | MODULE;SIE,6ED1052-1FB08-0BA1,W/DISPLAY | MODULE;MNFR:SIEMENS,PTNO:6ED1052-1FB08-0BA1,ADDITIONAL FEATURES EN:W/DISPLAY,230RCE,BASIC,8DI/4DO,115-230VAC |  | 6ED1052-1FB08-0BA1 | 3000032 | SIEMENS | SIEMENS | 6ED1052-1FB08-0BA1 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ED1052-1FB08-0BA1 | https://docs.rs-online.com/cca9/A700000007202398.pdf | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | LOGIC,ETHERNET,8 DIGITAL INPUT,4 DIGITAL OUTPUT | INPUT RATING | 115 TO 230 VAC | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -20 TO 55 DEG C | CONNECTION TYPE |  | SIZE | 71.5 WDX90 HTX60 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UL,FM,IEC,VDE | ADDITIONAL FEATURES | MODEL:230RCE,C/W DISPLAY,BASIC, | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED ¦ ATTRIBUTE SET IN TAXONOMY MISSED IN HORIZONTAL | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1218542 | 1218542 | MODULE;SIE,6ES7412-2EK07-0AB0 | MODULE;MNFR:SIEMENS,PTNO:6ES7412-2EK07-0AB0 |  | 6ES7412-2EK07-0AB0 | 3000032 | SIEMENS | SIEMENS | 6ES7412-2EK07-0AB0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ES7412-2EK07-0AB0%26language%3Den | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES7412-2EK07-0AB0 | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | PROCESSOR | TYPE | CENTRAL PROCESSING UNIT | NUMBER OF PROCESSOR |  | PROCESSOR CORE CLOCK |  | MEMORY CLOCK | 8 IN 1 BYTE | POWER RATING |  | CONNECTION TYPE |  | INTERFACE TYPE | MPI/DP,ETHERNET/PROFINET | SIZE | 25 WDX290 DPX219 DP MM | ENCLOSURE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 60 DEG C | CERTIFICATION/STANDARD | CE,CSA,UL,CULUS,FM,C-TICK,KC,EAC,ATEX | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1218541 | 1218541 | MODULE;SIE,6ES7422-1BL00-0AA0 | MODULE;MNFR:SIEMENS,PTNO:6ES7422-1BL00-0AA0 |  | 6ES7422-1BL00-0AA0 | 3000032 | SIEMENS | SIEMENS | 6ES7422-1BL00-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7422-1BL00-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ES7422-1BL00-0AA0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 32 ISOLATED DIGITAL OUTPUT | INPUT RATING | 30/200 MA | OUTPUT RATING | 24 VDC,0.5 A | CONNECTION TYPE |  | SIZE | 25 WDX290 HTX210 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1218539 | 1218539 | MODULE;SIE,6ES7431-7QH00-0AB0 | MODULE;MNFR:SIEMENS,PTNO:6ES7431-7QH00-0AB0 |  | 6ES7431-7QH00-0AB0 | 3000032 | SIEMENS | SIEMENS | 6ES7431-7QH00-0AB0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7431-7QH00-0AB0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ES7431-7QH00-0AB0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 16 ISOLATED ANALOG INPUT | INPUT RATING | 18 V,40 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | 25 WDX290 HTX210 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1218540 | 1218540 | MODULE;SIE,6ES7432-1HF00-0AB0 | MODULE;MNFR:SIEMENS,PTNO:6ES7432-1HF00-0AB0 |  | 6ES7432-1HF00-0AB0 | 3000032 | SIEMENS | SIEMENS | 6ES7432-1HF00-0AB0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7432-1HF00-0AB0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ES7432-1HF00-0AB0%26language%3Den | [9 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 8 ISOLATED ANALOG OUTPUT | INPUT RATING | 200 TO 400 MA | OUTPUT RATING | 19 V,30 MA | CONNECTION TYPE |  | SIZE | 25 WDX290 HTX210 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1329339 | 1329339 | MODULE;SIE,6ES7522-1BL01-0AB0 | MODULE;MNFR:SIEMENS,PTNO:6ES7522-1BL01-0AB0 | MODULE | 6ES7522-1BL01-0AB0 | 3000032 | SIEMENS | SIEMENS | 6ES7522-1BL01-0AB0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6ES7522-1BL01-0AB0%26language%3Den | [10 empty] | ENRICHED | 39121552 Electrical control modules | MODULE | ELECTRONIC | TYPE | 32 CHANNEL DIGITAL OUTPUT | INPUT RATING | 60 MA | OUTPUT RATING | 24 VDC | CONNECTION TYPE | SCREW,PUSH-IN | SIZE | 35 WDX147 HTX129 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-30 TO 60 DEG C | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1275465 | 1275465 | MODULE;SIE,6SE7090-OXX84 | MODULE;MNFR:SIEMENS,PTNO:6SE7090-OXX84 | MODULE | 6SE7090-OXX84 | 3000032 | SIEMENS | SIEMENS | 6SE7090-OXX84 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1242374 | 1242374 | MODULE;SIE,6SL3055-0AA00-5CA2,SMC30,SNSR | MODULE;MNFR:SIEMENS,PTNO:6SL3055-0AA00-5CA2,PTNO 1:SMC30,ADDITIONAL FEATURES EN:SENSOR | 01)SMC30,MODULE,01)SENSOR,01)SENSOR | 6SL3055-0AA00-5CA2 | 3000032 | SIEMENS | SIEMENS | 6SL3055-0AA00-5CA2 |  |  | SMC30 |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6SL3055-0AA00-5CA2 | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | SENSOR | TYPE |  | SENSING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY |  | CONNECTION TYPE |  | SIZE | 30 MM WD | SENSOR MATERIAL |  | ENCLOSURE TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1267251 | 1267251 | MODULE;SIE,6SL3244-0BB13-1FA0,CTRL UNIT | MODULE;MNFR:SIEMENS,PTNO:6SL3244-0BB13-1FA0,ADDITIONAL FEATURES EN:CTRL UNIT,6DI,3DQ,2AI,2AQ | 01)PACIFIC RIM TECH SERVICES,01)6SL3244-0BB13-1FA0,MODULE,01)CTRL UNIT,6DI,3DQ,2AI,2AQ | 6SL3244-0BB13-1FA0 | 3000032 | SIEMENS | SIEMENS | 6SL3244-0BB13-1FA0 |  | PACIFIC RIM TECH SERVICES | 6SL3244-0BB13-1FA0 |  |  | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6SL3244-0BB13-1FA0 | https://mall.industry.siemens.com/mall/Document/GetDocumentBasedOnCode?code=aHR0cHM6Ly9tYWxsLmluZHVzdHJ5LnNpZW1lbnMuY29tL3NwaWNlL2RvY3VzZXJ2aWNlL2RvY3VzZXJ2aWNlP2NvbmZpZ2lkPTE0JmRvY3UubWxmYj02U0wzMjQ0LTBCQjEzLTFGQTAmZG9jdS5pbml0dHlwZT1NTEZCJmRvY3UuZ2VuZXJhdGlvbnR5cGU9VklFVyZkb2N1LnZpZXdpZD1QREYmcmVnaW9uPVdXJmxhbmd1YWdlPWVuJmRvY3UubGFuZ3VhZ2UubG9jYWxlMT1lbiZkb2N1Lmxhbmd1YWdlLmxvY2FsZTI9ZW4= | [9 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | E,CONTROL UNIT | INPUT RATING | 24 VDC,0.5 A | NUMBER OF PORTS |  | INTERFACE TYPE | PROFINET,ETHERNET I/P | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING | -10 TO 55 DEG C | CONNECTION TYPE |  | SIZE | 73 WDX199 HTX46 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,CUL,RCM,SEMI F47 | ADDITIONAL FEATURES | 6DI,3DQ,2AI,2AQ | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1335640 | 1335640 | MODULE;SIE,6SR3960-0CD02-0AD0 | MODULE;MNFR:SIEMENS,PTNO:6SR3960-0CD02-0AD0 | MODULE | 6SR3960-0CD02-0AD0 | 3000032 | SIEMENS | SIEMENS | 6SR3960-0CD02-0AD0 | [5 empty] | https://mall.industry.siemens.com/mall/en/cn/Catalog/Product/6SR3960-0CD02-0AD0 | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1323527 | 1323527 | MODULE;SIE,C71459-A16-A1 | MODULE;MNFR:SIEMENS,PTNO:C71459-A16-A1 | MODULE | C71459-A16-A1 | 3000032 | SIEMENS | SIEMENS | C71459-A16-A1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32150000 Automation control devices and components and accessories | MODULE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1275067 | 1275067 | MODULE;YOKG,ANT502-50 | MODULE;MNFR:YOKOGAWA,PTNO:ANT502-50 |  | ANT502-50 | 3000446 | YOKOGAWA | YOKOGAWA | ANT502-50 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F51-50E.pdf | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | OPTICAL ESB BUS REPEATER SLAVE | INPUT RATING | 0.5 A | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 32.8 LGX155.9 WDX130 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1218882 | 1218882 | MODULE;YOKG,EC402-50 | MODULE;MNFR:YOKOGAWA,PTNO:EC402-50 |  | EC402-50 | 3000446 | YOKOGAWA | YOKOGAWA | EC402-50 | [5 empty] | https://web-material3.yokogawa.com/GS33J60E51-01EN_003.pdf | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | ESB BUS COUPLER | INPUT RATING | 0.5 A | NUMBER OF PORTS | 2 | INTERFACE TYPE | ESB BUS MASTER | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 32.8 LGX129.5 WDX130 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,PART NUMBER UPDATED | 2023-06-24 | 2023-07-05 |  | 1219602 | 1219602 | NAIL GUN;MILW,M18FN18GS-0,FINISHING NAIL | NAIL GUN;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18FN18GS-0,ADDITIONAL FEATURES EN:FINISHING NAILER | 01)TOOL 'N' TACKLE,01)M18FN18GS-0,NAIL GUN,01)FINISHING NAILER | M18FN18GS-0 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18FN18GS-0C |  | TOOL 'N' TACKLE | M18FN18GS-0C |  |  | https://www.milwaukeetool.com.au/power-tools/nailers/finishing-nailers/M18FN18GS-0C.html | [10 empty] | ENRICHED | 27112716 Power nail guns | NAIL GUN | NO MODIFIER | TYPE | BRAD FINISHING | NAIL SIZE | 1.2 DIAX16 TO 54 LG MM | NAIL CAPACITY | 110 | ELECTRICAL RATING |  | OVERALL SIZE | 298 MM LG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1214304 | 1214304 | NOZZLE;SIE,210-285 | NOZZLE;MNFR:SIEMENS,PTNO:210-285 | NOZZLE | 210-285 | 3000032 | SIEMENS | SIEMENS | 210-285 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141731 Nozzles | NOZZLE | NO MODIFIER | TYPE |  | ORIFICE SIZE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1217018 | 1217018 | PACKING;GARL,41602-4036,SIZE:8 M X 14 MM | PACKING;MNFR:GARLOCK LTD,PTNO:41602-4036,ADDITIONAL FEATURES EN:SIZE:8 M X 14 MM,MATERIAL:GRAPHITE | 01)J BLACKWOOD & SONS,01)08921110,PACKING,01)SIZE:8 M X 14 MM,02)MATERIAL:GRAPHITE | 41602-4036 | 3000281 | GARLOCK LTD | GARLOCK LTD | 41602-4036 |  | J BLACKWOOD & SONS | 41602-4036 |  |  | https://www.blackwoods.com.au/gasket-material-packing-fluid-sealing/gland-packings/general-service-packmaster-2-graphite-lubricated/packing-packmaster-2-8-0m-coil-14-0mm/p/08921110 | https://nzsafetyblackwoods.co.nz/en/garlock-packmaster-pm2-8m-x-14mm-each--08921110 | [9 empty] | ENRICHED | 31181700 Packings and glands | GLAND | PACKING | TYPE |  | SIZE | 8 LG MX14 WD MM | MATERIAL | GRAPHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BROWN | [61 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1270935 | 1270935 | PACKING;LINC,01-034337 | PACKING;MNFR:LINCOLN,PTNO:01-034337 | 01)ISADRAULICS,01)01-034337,PACKING | 01-034337 | 3000550 | LINCOLN | LINCOLN | 01-034337 |  | ISADRAULICS | 01-034337 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31181701 Packings | PACKING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1274176 | 1274176 | PACKING;MAN,239727 | PACKING;MNFR:MANITOU,PTNO:239727 | 01)JUNGHEINRICH AUSTRALIA PT,01)239727,PACKING | 239727 | 3000007 | MANITOU | MANITOU | 239727 |  | JUNGHEINRICH AUSTRALIA PT | 239727 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31181701 Packings | PACKING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1219761 | 1219761 | PEDAL;CASJ,87737031 | PEDAL;MNFR:CASE J I CO,PTNO:87737031 | 01)MAK DIESEL & EARTHMOVING,01)87737031,PEDAL | 87737031 | 3000248 | CASE J I CO | CASE J I CO | 87737031 |  | MAK DIESEL & EARTHMOVING | 87737031 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 25174407 Pedals | PEDAL | NO MODIFIER | TYPE |  | OVERALL SIZE |  | MATERIAL |  | MOUNTING TYPE |  | MOUNTING SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1211809 | 1211809 | PEN;MILW,48224255 | PEN;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:48224255 | 01)BLACKWOODS,01)48224255,PEN | 48224255 | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | 48224255 |  | BLACKWOODS | 48224255 |  |  | https://www.milwaukeetool.com.au/hand-tools/pipe-tools-and-wrenches/pipe-cutters/48224255.html | [10 empty] | ENRICHED | 23241611 Reamer | REAMER | NO MODIFIER | TYPE | PEN | NOMINAL DIAMETER | 10 MM | FLUTE TYPE |  | FLUTE LENGTH |  | SHANK TYPE |  | SHANK SIZE |  | MATERIAL |  | NUMBER OF FLUTES |  | OVERALL LENGTH | 140 MM | DIRECTION OF CUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273552 | 1273552 | PULLER;ENER,00166553,MECH,3 JAW 8T,LGM30 | PULLER;MNFR:ENERPAC,PTNO:00166553,ADDITIONAL FEATURES EN:MECHANICAL,3 JAW 8T,LGM308 |  | 166553 | 3000270 | ENERPAC | ENERPAC | 00166553 |  |  | LGM308 |  |  | https://www.blackwoods.com.au/pipe-tube-fittings/pullers-spreaders-nut-splitters/bearing-puller/enerpac-puller-mechanical-3-jaw-8ton-lgm308/p/00166553 | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | PULLER | JAW | TYPE | MECHANICAL | NUMBER OF JAWS | 3 | JAW REACH |  | JAW OPENING |  | JAW MATERIAL |  | JAW WIDTH |  | JAW THICKNESS |  | LOAD RATING | 8 TON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLACK,YELLOW | [51 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1269971 | 1269971 | RADIO;MILW,M12-18JSSP,WIRELESS JOBSITE S | RADIO;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M12-18JSSP,ADDITIONAL FEATURES EN:WIRELESS JOBSITE SPEAKER | 01)BOSS,01)M12-18JSSP,RADIO,01)WIRELESS JOBSITE SPEAKER | M12-18JSSP | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M12-18JSSP |  | BOSS | M12-18JSSP |  |  | https://www.milwaukeetool.eu/en-eu/m12-m18-bluetooth-speaker/m12-18-jssp/ | [10 empty] | ENRICHED | 52161512 Loudspeakers | SPEAKER | NO MODIFIER | TYPE | BLUETOOTH WIRELESS JOBSITE | VOLTAGE RATING |  | POWER RATING |  | IMPEDANCE |  | RESISTANCE RANGE | UP TO 30 M | SIZE |  | MOUNTING TYPE |  | COMPATIBILITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1270611 | 1270611 | RADIO;SCHN,TBURQR4LHE00E2L00,QR4,SER-ETH | RADIO;MNFR:SCHNEIDER INC,PTNO:TBURQR4LHE00E2L00,ADDITIONAL FEATURES EN:QR4,SER-ETH,400-450MHZ,ETSI RED,AES,TRIO,GEN 2 | 01)SCHNEIDER ELECTRIC (AUS),01)TBURQR4LHE00E2L00,RADIO,01)QR4,SER-ETH,400-450MHZ,ETSI | TBURQR4LHE00E2L00 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | TBURQR4LHE00E2L00 |  |  | QR4 SER-ETH |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 52161511 Radios | RADIO | NO MODIFIER | TYPE |  | FREQUENCY RANGE | 400 TO 450 MHZ | NUMBER OF CHANNELS |  | IMPEDANCE |  | POWER SUPPLY |  | FREQUENCY OFFSET |  | RESPONSE TIME |  | DISPLAY SIZE |  | CONNECTION TYPE |  | DISPLAY TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ETSI RED,AES,TRIO,GEN 2 | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1269113 | 1269113 | SCRUBBER,CLEAN;TENN,MV-T16-0036,T16 RIDE | SCRUBBER,CLEANING;MNFR:TENNANT,PTNO:MV-T16-0036,ADDITIONAL FEATURES EN:T16 RIDE ON | 01)TENNANT (2501800),01)MV-T16-0036,SCRUBBER,CLEANING,01)T16 RIDE ON | MV-T16-0036 | 3000358 | TENNANT | TENNANT | MV-T16-0036 |  |  | 2501800 |  |  | https://www.capitalequipment.com.au/shop/rnt-mv-t16-0036-hire-tennant-t16-battery-ride-on-scrubber-12446 | [10 empty] | ENRICHED | 22101619 Scrubbing machines | SCRUBBER | CLEANING | TYPE | RIDE-ON | SOLUTION TANK CAPACITY | 190 L | RECOVERY TANK CAPACITY | 225 L | HOUSING MATERIAL |  | BRUSH TYPE | DISK | HANDLE TYPE |  | DRIVE DETAILS | BATTERY | SCRUB PATH | 910 MM | SOUND INTENSITY |  | PRESSURE RATING |  | CORD LENGTH |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1273538 | 1273538 | SCRUBBER;TENN,LPTB03238,M:T291,BT50 WB | SCRUBBER;MNFR:TENNANT,PTNO:LPTB03238,ADDITIONAL FEATURES EN:M:T291,BT50 WB |  | LPTB03238 | 3000358 | TENNANT | TENNANT | LPTB03238 | [5 empty] | https://www.capitalequipment.com.au/shop/lptb03238-t291-battery-walk-behind-scrubber-dryer-12884#attr=1536,1534,1541,1542,1535,1539,1538,1540,1537 | [10 empty] | ENRICHED | 22101619 Scrubbing machines | SCRUBBER | CLEANING | TYPE | WALK BEHIND DRYER | SOLUTION TANK CAPACITY | 50 L | RECOVERY TANK CAPACITY | 50 L | HOUSING MATERIAL |  | BRUSH TYPE | DISK | HANDLE TYPE |  | DRIVE DETAILS | BATTERY | SCRUB PATH | 500 MM | SOUND INTENSITY |  | PRESSURE RATING |  | CORD LENGTH |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODEL:T291 BT50-WB | [43 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1210998 | 1210998 | SCRUBBER;TENN,MV-T600E-0026 | SCRUBBER;MNFR:TENNANT,PTNO:MV-T600E-0026 | 01)TENNANT (2501800),01)MV-T600E-0026,SCRUBBER | MV-T600E-0026 | 3000358 | TENNANT | TENNANT | MV-T600E-0026 |  |  | 2501800 |  |  | https://www.tennantco.com/en_us/1/machines/scrubbers/product.t600e.walk-behind-floor-scrubber.M-T600E.html | [10 empty] | ENRICHED | 22101619 Scrubbing machines | SCRUBBER | CLEANING | TYPE | WALK BEHIND FLOOR | SOLUTION TANK CAPACITY | 121 L | RECOVERY TANK CAPACITY | 140 L | HOUSING MATERIAL |  | BRUSH TYPE |  | HANDLE TYPE |  | DRIVE DETAILS | BATTERY | SCRUB PATH |  | SOUND INTENSITY |  | PRESSURE RATING |  | CORD LENGTH |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1272710 | 1272710 | STRIP,TERM;PHNX,1004348,MKR,KLM-A | STRIP,TERMINAL;MNFR:PHOENIX CONTACT,PTNO:1004348,ADDITIONAL FEATURES EN:MARKER,KLM-A | 01)CNW (MOUNT ISA) ELECT WHO,01)PHO1004348,STRIP,TERMINAL,01)MARKER,KLM-A | 1004348 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | 1004348 |  | CNW ELECTRICAL | 1004348 |  |  | https://www.phoenixcontact.com/en-in/products/marker-carriers-klm-a-1004348 | [10 empty] | ENRICHED | 39121407 Terminal strips | STRIP | MARKING | TYPE | TERMINAL | SIZE | 46 LGX9.5 WDX19 HT MM | MATERIAL | ABS | LEGEND |  | COLOUR | TRANSPARENT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MODEL:KLM-A | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1275252 | 1275252 | STRIP;FLSM,FELT1/4X7/16X197 | STRIP;MNFR:FLSMIDTH,PTNO:FELT1/4X7/16X197 | 01)FLSMIDTH PTY LTD,01)FELT1/4X7/16X197,STRIP | FELT1/4X7/16X197 | 3000426 | FLSMIDTH | FLSMIDTH | FELT1/4X7/16X197 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | STRIP | NO MODIFIER | TYPE |  | SIZE | 197 LGX1/4 WDX7/16 THK IN | MATERIAL | FELT | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1275253 | 1275253 | STRIP;FLSM,FELT1/4X9/16X197 | STRIP;MNFR:FLSMIDTH,PTNO:FELT1/4X9/16X197 | 01)FLSMIDTH PTY LTD,01)FELT1/4X9/16X197,STRIP | FELT1/4X9/16X197 | 3000426 | FLSMIDTH | FLSMIDTH | FELT1/4X9/16X197 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | STRIP | NO MODIFIER | TYPE |  | SIZE | 197 LGX1/4 WDX9/16 THK IN | MATERIAL | FELT | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1266890 | 1266890 | STRIP;NHP,DTPF12,POL FILR,12P 216X24X9MM | STRIP;MNFR:NHP,PTNO:DTPF12,ADDITIONAL FEATURES EN:POL FILR,12P 216X24X9MM | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPDTPF12,STRIP,01)POL FILR,12P 216X24X9MM | DTPF12 | 3000664 | NHP | NHP | DTPF12 |  | SHERRIFF ELECTRICAL SUPPLY | DTPF12 |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/DTPF12-228059-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39120000 Electrical equipment and components and supplies | STRIP | NO MODIFIER | TYPE | POLE FILLER | SIZE | 216X24X9 MM SEGMENTS | MATERIAL |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF POLE:12 | [55 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1274452 | 1274452 | STRIP;SCHN,CLI593/15,15A,12 TERMINAL,CON | STRIP;MNFR:SCHNEIDER INC,PTNO:CLI593/15,ADDITIONAL FEATURES EN:15A,12 TERMINAL,CONNECTOR |  | CLI593/15 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | CLI593/15 | [5 empty] | https://www.clipsal.com/products/detail?CatNo=593/15&itemno=593/15 | https://www.jrt.com.au/ajt/category/Wiring-Accessories/Terminal-Block/Single--and-multi-pole-terminal-strip/TERMINAL-STRIP-CONNECTOR-15-WAY/CLI593-15/p/10081669 | [9 empty] | ENRICHED | 39121407 Terminal strips | STRIP | TERMINAL | TYPE | CONNECTOR | VOLTAGE RATING | 500 VAC | CURRENT RATING | 15 A | NUMBER OF CIRCUITS |  | WIRE SIZE |  | MATERIAL |  | COLOUR | BLACK | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLES:12 | [49 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1271851 | 1271851 | STRIPPER;MILW,M18BCS-0C | STRIPPER;MNFR:MILWAUKEE ELECTRIC TOOL,PTNO:M18BCS-0C | 01)MOUNT ISA MINING SUPPLIES,01)M18BCS-0C,STRIPPER | M18BCS-0C | 3000317 | MILWAUKEE ELECTRIC TOOL | MILWAUKEE ELECTRIC TOOL | M18BCS-0C |  | MOUNT ISA MINING SUPPLIES | M18BCS-0C |  |  | https://www.milwaukeetool.com.au/power-tools/electrical/cutters/M18BCS-0C.html | [10 empty] | ENRICHED | 27111510 Stripping tools | STRIPPER | NO MODIFIER | TYPE | CORDLESS CABLE | CAPACITY | 76 MM | SIZE | 143 MM LG | BLADE DETAILS |  | HANDLE DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,NM CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1211419 | 1211419 | SWITCH;SIE,3SU1500-0AA10-0AA0 | SWITCH;MNFR:SIEMENS,PTNO:3SU1500-0AA10-0AA0 | SWITCH | 3SU1500-0AA10-0AA0 | 3000032 | SIEMENS | SIEMENS | 3SU1500-0AA10-0AA0 | [5 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3SU1500-0AA10-0AA0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3SU1500-0AA10-0AA0%26language%3Den ¦ https://in.element14.com/siemens/3su1500-0aa10-0aa0/holder-3-way-module/dp/2695729 | [9 empty] | ENRICHED | 32131023 Electrical or electronic device holder | HOLDER | NO MODIFIER | TYPE | 3-WAY MODULE | SIZE | 30 WDX40 HT MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL,EAC,CE,UKCA | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1269372 | 1269372 | TORCH,CUTNG/WLDG;LINC,W000278399-2 | TORCH,CUTTING/WELDING;MNFR:LINCOLN,PTNO:W000278399-2 | 01)GLOBAL WELDING SUPPLIES (,01)W000278399-2,TORCH,CUTTING/WELDING | W000278399-2 | 3000550 | LINCOLN | LINCOLN | W000278399-2 |  | GLOBAL WELDING SUPPLIES | W000278399-2 |  |  | https://www.lincolnelectric.com/en-ZA/Products/le-emear-protig30?sku=W000278399-2 | [10 empty] | ENRICHED | 23271821 Welder torch | TORCH | CUTTING/WELDING | TYPE |  | FLOW RATING |  | FUEL CAPACITY |  | TIP SIZE |  | TIP TYPE |  | FUEL TYPE |  | SIZE | 8 M LG | HANDLE TYPE | SOFT GRIP | BODY MATERIAL |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HEAD TYPE:RIGID | [47 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1272645 | 1272645 | VISOR;HONE,1011629AN,SHADE 5 | VISOR;MNFR:HONEYWELL,PTNO:1011629AN,ADDITIONAL FEATURES EN:SHADE 5 | 01)J BLACKWOOD & SONS,01)06515801,VISOR,01)SHADE 5 | 1011629AN | 3000290 | HONEYWELL | HONEYWELL | 1011629AN |  | J BLACKWOOD & SONS | 1011629AN |  |  | https://www.blackwoods.com.au/head-face-protection/faceshield-visors/bionic-face-shields-visors/visor-replacement-bionic-shade-5-1011629/p/06515801 | [10 empty] | ENRICHED | 46181803 Eye shields | VISOR | NO MODIFIER | TYPE |  | MATERIAL | POLYCARBONATE | COLOUR | BLACK | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHADE 5 | [59 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1269091 | 1269091 | WIPER;DRAG,R56887,COMPLT | WIPER;MNFR:DRAEGER,PTNO:R56887,ADDITIONAL FEATURES EN:COMPLETE | 01)ALLIANCE SAFETY EQUIPMENT,01)R56887,WIPER,01)COMPLETE | R56887 | 3000423 | DRAEGER | DRAEGER | R56887 |  | ALLIANCE SAFETY EQUIPMENT | R56887 |  |  | https://www.wssupplystore.com/products/drager-wiper-compl | https://kleinschmidtgmbh-com.translate.goog/scheibenwischer-vollst?_x_tr_sl=de&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [9 empty] | ENRICHED | 25171500 Windshield wipers | WIPER | NO MODIFIER | TYPE | WINDSCREEN | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | [57 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK,MODIFIER CHANGED | 2023-06-24 | 2023-07-05 | Processed based on Websource, Conflict w.r.t Input | 1254098 | 1254098 | ZZ - REPLACED BY 1538900 | MODULE;MNFR:YOKOGAWA,PTNO:EC402-50 |  | EC402-50 | 3000446 | YOKOGAWA | YOKOGAWA | EC402-50 | [5 empty] | https://web-material3.yokogawa.com/GS33J60E51-01EN_003.pdf | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | ESB BUS COUPLER | INPUT RATING | 0.5 A | NUMBER OF PORTS | 2 | INTERFACE TYPE | ESB BUS MASTER | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 32.8 LGX129.5 WDX130 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot2 | Data Enrichment | VNE | OK | 2023-06-24 | 2023-07-05 |  | 1254099 | 1254099 | ZZ - REPLACED BY 1538901 | MODULE;MNFR:YOKOGAWA,PTNO:ANT401-50 |  | ANT401-50 | 3000446 | YOKOGAWA | YOKOGAWA | ANT401-50 | [5 empty] | https://web-material3.yokogawa.com/GS33K50F51-50E.pdf | [10 empty] | ENRICHED | 32150000 Automation control devices and components and accessories | MODULE | COMMUNICATION | TYPE | OPTICAL ESB BUS REPEATER MASTER | INPUT RATING | 0.5 A | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 32.8 LGX142.5 WDX130 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed