## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1271051 | 1271051 | PROTECTOR,CIRCT;AB,A-B100MC2EB16,MOT,1.0 | PROTECTOR,CIRCUIT;MNFR:ALLEN BRADLEY,PTNO:A-B100MC2EB16,ADDITIONAL FEATURES EN:MOTOR,1.0-1.6A | 01)CNW,01)A-B100MC2EB16,PROTECTOR,CIRCUIT,01)MOTOR,1.0-1.6A | A-B100MC2EB16 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 100MC2EB16 |  | CNW |  |  |  | https://www.radwell.co.uk/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/100M-C2E-B16/?redirect=true | https://www.industrialmaterials.net/allen_bradley/100m-c2e-b16 | [9 empty] | ENRICHED | 39121601 Circuit breakers | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING | 1 TO 1.6 A | VOLTAGE RATING |  | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1216606 | 1216606 | PROTECTOR,SURG;SIE,3EL2 120-2PM31-8ZA1-Z | PROTECTOR,SURG;MNFR:SIEMENS,PTNO:3EL2 120-2PM31-8ZA1-Z P5J D51 |  | 3EL2 120-2PM31-8ZA1-Z P5J D51 | 3000032 | SIEMENS | SIEMENS | 3EL2 120-2PM31-8ZA1-Z P5J D51 | [5 empty] | https://assets.siemens-energy.com/siemens/assets/api/uuid:7189e2ed-e019-4da1-9b8c-250df8c67f9b/station-intermediate-class-us.pdf | [10 empty] | ENRICHED | 39121610 Surge suppressers | ARRESTER | SURGE | TYPE |  | NUMBER OF POLES |  | CLASS |  | SHORT CIRCUIT CURRENT RATING |  | DISCHARGE CURRENT |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | IP RATING |  | MATERIAL | SILICONE RUBBER | SIZE |  | TEMPERATURE RATING | –55 TO 50 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1214056 | 1214056 | PROTECTOR;SIE,3UN.6002 | PROTECTOR;MNFR:SIEMENS,PTNO:3UN.6002 | PROTECTOR | 3UN.6002 | 3000032 | SIEMENS | SIEMENS | 3UN6002 | [5 empty] | https://www.radwell.co.uk/Buy/SIEMENS/FURNAS%20ELECTRIC%20CO/3UN6-002/?redirect=true | https://maraindustrial.com/cart/electrical/relays/siemens-3un6-002-relay-3un6002-used.html | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING | 110/115 VAC | CONTACT CONFIGURATION | 1NO 1NC | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [48 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1214057 | 1214057 | PROTECTOR;SIE,3UN8.002 | PROTECTOR;MNFR:SIEMENS,PTNO:3UN8.002 | PROTECTOR | 3UN8.002 | 3000032 | SIEMENS | SIEMENS | 3UN8002 | [5 empty] | https://www.kempstoncontrols.co.uk/3UN8002/Siemens/sku/37805 | https://www.santaclarasystems.com/en-gb/siemens/3un8002 | [9 empty] | ENRICHED | 39122300 Electrical relays and accessories | RELAY | NO MODIFIER | TYPE |  | COIL RATING |  | CONTACT RATING | 110/115 VAC | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [48 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1214058 | 1214058 | PROTECTOR;SIE,3UN8-005 | PROTECTOR;MNFR:SIEMENS,PTNO:3UN8-005 | PROTECTOR | 3UN8-005 | 3000032 | SIEMENS | SIEMENS | 3UN8-005 | [5 empty] | https://www.quad-industry.com/catalog/siemens/93223/2049075.html | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | TRIP UNIT | NO MODIFIER | TYPE |  | TRIP RATING |  | ELECTRICAL RATING | 240 V | MOUNTING TYPE |  | APPLICATION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1323337 | 1323337 | PROTECTOR;SIE,VAMP 120 | PROTECTOR;MNFR:SIEMENS,PTNO:VAMP 120 | PROTECTOR | VAMP 120 | 3000032 | SIEMENS | SIEMENS | VAMP 120 | [5 empty] | https://m.vamp.fi/dmsdocument/29 | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | PROTECTOR | NO MODIFIER | TYPE | ARC FLASH PROTECTION UNIT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1274888 | 1274888 | PROTECTOR;SWAG,SS-MD-12,VNT,3/4 IN MNPT | PROTECTOR;MNFR:SWAGELOK LTD,PTNO:SS-MD-12,ADDITIONAL FEATURES EN:VENT,3/4 IN MNPT END | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-MD-12,PROTECTOR,01)VENT,3/4 IN MNPT END | SS-MD-12 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-MD-12 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/straights/p/SS-MD-12 | [10 empty] | ENRICHED | 40171700 Pipe adapters | ADAPTER | PIPE | TYPE | MUD DAUBER,VENT | NOMINAL SIZE | 3/4 IN | END CONNECTION | MNPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1274889 | 1274889 | PROTECTOR;SWAG,SS-MD-8,VNT,1/2 IN MNPT | PROTECTOR;MNFR:SWAGELOK LTD,PTNO:SS-MD-8,ADDITIONAL FEATURES EN:VENT,1/2 IN MNPT END | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-MD-8,PROTECTOR,01)VENT,1/2 IN MNPT END | SS-MD-8 | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-MD-8 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://products.swagelok.com/en/c/straights/p/SS-MD-8 | [10 empty] | ENRICHED | 40171700 Pipe adapters | ADAPTER | PIPE | TYPE | MUD DAUBER,VENT | NOMINAL SIZE | 1/2 IN | END CONNECTION | MNPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1275284 | 1275284 | STRING;SCHN,GVSBTH4,BATRY,SMART MODULAR | STRING;MNFR:SCHNEIDER INC,PTNO:GVSBTH4,ADDITIONAL FEATURES EN:BATTERY,SMART MODULAR | 01)SCHNEIDER ELECTRIC IT AUS,01)GVSBTH4,STRING,01)BATTERY,SMART MODULAR,01)GALAXY VS 9AH,HIGH CAPACITY | GVSBTH4 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | GVSBTH4 | [5 empty] | https://www.se.com/us/en/product/GVSBTH4/galaxy-vs-smart-modular-battery-string-high-capacity-9ah/ | [10 empty] | ENRICHED | 31151507 String or twine | STRING | NO MODIFIER | TYPE | BATTERY,SMART MODULAR | DIAMETER |  | LENGTH | 76 CM | BREAKING STRENGTH |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GALAXY VS 9AH,HIGH CAPACITY | [53 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1275283 | 1275283 | STRING;SCHN,GVSBTH4LL,BATRY,GALAXY VS 9A | STRING;MNFR:SCHNEIDER INC,PTNO:GVSBTH4LL,ADDITIONAL FEATURES EN:BATTERY,GALAXY VS 9AH,MODULAR,LONG-LIFE,HIGH CAPACITY | 01)SCHNEIDER ELECTRIC IT AUS,01)GVSBTH4LL,STRING,01)BATTERY,GALAXY VS 9AH,02)MODULAR,LONG-LIFE,HIGH CAPA | GVSBTH4LL | 3000344 | SCHNEIDER INC | SCHNEIDER INC | GVSBTH4LL | [5 empty] | https://www.se.com/us/en/product/GVSBTH4LL/galaxy-vs-smart-modular-battery-string-high-capacity-9ah-long-life/ | [10 empty] | ENRICHED | 31151507 String or twine | STRING | NO MODIFIER | TYPE | BATTERY,SMART MODULAR | DIAMETER |  | LENGTH | 76 CM | BREAKING STRENGTH |  | CAPACITY |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GALAXY VS 9AH,LONG-LIFE,HIGH CAPACITY | [53 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1246590 | 1246590 | SWITCH;ABB,OESA32-G1+OZXK8 | SWITCH;MNFR:ABB,PTNO:OESA32-G1+OZXK8 | SWITCH | OESA32-G1+OZXK8 | 3000014 | ABB | ABB | OESA32-G1+OZXK8 | [5 empty] | https://library.e.abb.com/public/afdf8197ea80f50bc1256c55002693fc/OESA%202A%20GB%2099-03.pdf | https://www.controllerservice.com/index.jsp?path=product&part=2184 | [9 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | FUSE | NO MODIFIER | TYPE |  | CURRENT RATING | 32 A | VOLTAGE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [58 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1274785 | 1274785 | SWITCH;DANF,130B1125,DV GENERAL PURPOSE | SWITCH;MNFR:DANFOSS FLUID POWER (SAUERDANFOSS),PTNO:130B1125,ADDITIONAL FEATURES EN:DV GENERAL PURPOSE I/O OPTION MCB 101 | 01)PACIFIC RIM TECH SERVICES,01)130B1125,SWITCH,01)DV GENERAL PURPOSE I/O OPTI | 130B1125 | 3000508 | DANFOSS FLUID POWER (SAUE | DANFOSS FLUID POWER (SAUERDANFOSS) | 130B1125 |  | PACIFIC RIM TECH SERVICES |  |  |  | https://store.danfoss.com/no/en/Drives/Low-Voltage-Drives/Accessories-for-Low-Voltage-Drives/Accessories-FC-103/VLT%C2%AE-General-Purpose-I-O-MCB-101%2Cunctd/p/130B1125 | https://www.cse-distributors.co.uk/products/danfoss-130b1125-mcb-101-danfoss-general-purpose-io-uncoated.html | [9 empty] | ENRICHED | 39121603 Miniature circuit breakers | CIRCUIT BREAKER | MINIATURE | TYPE | GENERAL PURPOSE I/O | CURRENT RATING |  | VOLTAGE RATING | 24 V | NUMBER OF POLES |  | INTERRUPT RATING |  | FREQUENCY RATING |  | TRIP CLASS |  | TRIP SETTING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | SIZE |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | [48 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1272255 | 1272255 | SWITCH;NHP,ISOC315PG,OUT,W/SOCKET,3PIN,1 | SWITCH;MNFR:NHP,PTNO:ISOC315PG,ADDITIONAL FEATURES EN:OUTLET,W/SOCKET,3PIN,1P,15A,250V,GREY |  | ISOC315PG | 3000664 | NHP | NHP | ISOC315PG | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/ISOC315PG-7760-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | https://perthbuildingmaterials.com.au/product/nhp-isoc315pg-ip66-3-flat-pin-outlet-switch-socket-1-pole-15a-250v-grey/ | [9 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | SOCKET | ELECTRICAL | TYPE | SWITCH OUTLET | CONFIGURATION |  | NUMBER OF POLES | 1 | VOLTAGE RATING | 250 V | CURRENT RATING | 15 A | CONNECTION TYPE | 3 PIN | MOUNTING TYPE | SURFACE | SIZE |  | MATERIAL | POLYCARBONATE | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO | ADDITIONAL FEATURES | [48 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 |  | 1269497 | 1269497 | SWITCH;NHP,NHPSCOM633P,SIRCO M C/OVER 3P | SWITCH;MNFR:NHP,PTNO:NHPSCOM633P,ADDITIONAL FEATURES EN:SIRCO M C/OVER 3P I0II 63A EX | 01)CNW (MOUNT ISA) ELECT WHO,01)NHPSCOM633P,SWITCH,01)SIRCO M C/OVER 3P I0II 63A | NHPSCOM633P | 3000664 | NHP | NHP | SCOM633P |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/SCOM633P-21270-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | SWITCH | NO MODIFIER | TYPE | CHANGEOVER | VOLTAGE RATING | 400 VAC | CURRENT RATING | 63 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE | IP65 | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-3 | ADDITIONAL FEATURES EN | SIRCO M C/OVER I0II EX,NO OF POLES:3 | [41 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1273331 | 1273331 | SWITCH;PHNX,PHO2938743,PRIMARY,MINI-PS-1 | SWITCH;MNFR:PHOENIX CONTACT,PTNO:PHO2938743,ADDITIONAL FEATURES EN:PRIMARY,MINI-PS-100-240AC/2X15DC/1 |  | PHO2938743 | 3000652 | PHOENIX CONTACT | PHOENIX CONTACT | PHO2938743 | [5 empty] | https://www.mouser.in/ProductDetail/Phoenix-Contact/2938743?qs=DAHzmYU9cu3sGhaLd0dUdQ%3D%3D | [10 empty] | ENRICHED | 39121011 Uninterruptible power supply UPS | POWER SUPPLY | UNINTERRUPTIBLE | TYPE | PRIMARY,INDUSTRIAL | POWER RATING | 15 W OUTPUT | INPUT RATING | 100 TO 240 VAC | OUTPUT RATING | 15 VDC,1 A | BATTERY DETAILS |  | CONNECTION TYPE |  | BACKUP TIME |  | OVERALL SIZE | LG 107X45 WDX99 HT MM | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MINI-PS-100-240AC/2X15DC/1 | [47 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1214328 | 1214328 | SWITCH;SIE,3SA1010 + 3SA1168 | SWITCH;MNFR:SIEMENS,PTNO:3SA1010 + 3SA1168 | SWITCH | 3SA1010 + 3SA1168 | 3000032 | SIEMENS | SIEMENS | 3SA1010 + 3SA1168 | [5 empty] | https://www.radwell.co.uk/Buy/SIEMENS/SIEMENS/3SA1010/?redirect=true | https://aerospace-electrical.com/misc-electronic-components/electrical-contact/3sa1020 | [9 empty] | ENRICHED | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION | 1NO 1NC | CURRENT RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MOUNTING TYPE | PLATE | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1214351 | 1214351 | SWITCH;SIE,3SA1020/3SA1100 | SWITCH;MNFR:SIEMENS,PTNO:3SA1020/3SA1100 | SWITCH | 3SA1020/3SA1100 | 3000032 | SIEMENS | SIEMENS | 3SA1020/3SA1100 | [5 empty] | https://www.radwell.co.uk/Buy/SIEMENS/SIEMENS/3SA1020/?redirect=true | https://aerospace-electrical.com/misc-electronic-components/electrical-contact/3sa1020 | [9 empty] | ENRICHED | 39121522 Electrical contacts | BLOCK | CONTACT | TYPE |  | CONTACT CONFIGURATION |  | CURRENT RATING | 10 TO 20 A | VOLTAGE RATING | 500 V | TERMINAL TYPE |  | MOUNTING TYPE | PLATE | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production completed
STP_009 - Lot2 | Data Enrichment | NEN | OK | 05-07-2023 | 18-07-2023 | NM taken based on websource | 1274891 | 1274891 | SWITCH;SIE,3SB18.02-4AZ.PRD | SWITCH;MNFR:SIEMENS,PTNO:3SB18.02-4AZ.PRD | SWITCH | 3SB18.02-4AZ.PRD | 3000032 | SIEMENS | SIEMENS | 3SB18.02-4AZ.PRD | [5 empty] | https://pdf4pro.com/cdn/3sb1-enclosed-pushbutton-units-and-indicator-15f854.pdf | [10 empty] | CLEANSED | 39122221 Switch part or accessory | OPERATOR | SWITCH | TYPE | PUSHBUTTON | COLOUR |  | SIZE |  | MATERIAL |  | NUMBER OF POSITIONS |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production completed