## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Multiple Item While Sourcing, Check | 1252918 | 1252918 | HOLDER,LMP;DIEC,4C.770006 | HOLDER,LAMP;MNFR:DIECI,PTNO:4C.770006,ADDITIONAL FEATURES EN:INDICATOR LIGHT | HOLDER,LAMP,01)INDICATOR LIGHT | 4C.770006 | 3000511 | DIECI | DIECI | 4C.770006 | [5 empty] | https://www.lbr.ru/zapchasti/lampocka-4c-770006 | https://www.epartsplus.com/oem-equipment-parts?id=DIECI ¦ https://partnersfarming.com/catalogue/dieci-0.html/?p=23 | [9 empty] | Cleansed | 39111803 Lamp sockets | HOLDER | LAMP | TYPE | INDICATOR LIGHT | LAMP TYPE |  | POWER RATING |  | VOLTAGE RATING |  | LAMP BASE |  | HOLDER MATERIAL |  | SIZE |  | MOUNTING TYPE |  | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1255812 | 1255812 | HOUSING,BRGUNT;FLNG,2,STEEL CAST | HOUSING,BEARING UNIT;TYPE:FLANGE,BOLT MOUNTINGS:2,MATERIAL:STEEL CAST,ADDITIONAL FEATURES EN:FOR 30MM SHAFT, C/W BEARING,MNFR: DODGE,PTNO:SC.1-1/8",MNFR:01)APPINDUS,PTNO:01)FYTB1-1/8TF | EN_01)FLANGE,EN_01)2,STEEL CAST,01)FOR 30MM SHAFT, C/W BEARING,01)APPINDUS,01)FYTB1-1/8TF,HOUSING | SC.1-1/8" | 3000019 | DODGE | SKF | FYTB 1.1/8 TF |  | APPINDUS | SC.1-1/8" | DODGE |  | https://www.skf.com/sg/products/mounted-bearings/ball-bearing-units/flanged-ball-bearing-units/productid-FYTB%201.1%2F8%20TF | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | FLANGE | BORE | 28.575 MM | BLOCK SIZE | 83 LGX32.5 WDX141.5 HT MM | BOLT MOUNTINGS | 2 | BOLT DIAMETER | 10 MM | SHAPE | OVAL | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 30 MM SHAFT,C/W BEARING | [51 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1258136 | 1258136 | HOUSING,BRGUNT;PLMRBLK,SKF,SD3152 | HOUSING,BEARING;SPLIT PLUMMER BLOCK,HEAVY DUTY, MODIFIED TO 180MM BEARING SEAT WIDTH, C/W TS 52 LABYRINTH SEALS TO SUIT 9.00 INCH SHAFT, USE WITH 23152KC3 BEARINGS; SKF BRAND ONLY MFR:SKF, PTNO:SD3152 POSSIBLY REPLACED WITH SNL3152 | 9 IN,01)FAN, SPECIAL,01)NSK,01)SD3152TSEB,MODIFIED | SD3152 | 3000348 | SKF | SKF | SD3152 | [5 empty] | http://www.findbearing.com/product/bearing-housing/sd3100/sd3152-bearing-housing/ | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMER BLOCK,HEAVY DUTY | BORE | 240 MM | BLOCK SIZE | 320 LGX515 WD MM | BOLT MOUNTINGS |  | BOLT DIAMETER |  | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | USE C/W 23152KC3 BEARINGS,POSSIBLY REPLACED C/W SNL3152,MODIFIED TO 180 MM BEARING SEAT WIDTH,C/W TS 52 LABYRINTH SEALS TO SUIT 9 IN SHAFT | [51 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1276119 | 1276119 | HOUSING,BRGUNT;PLMRBLK,SKF,SNL3134 | HOUSING,BEARING:SHAFT RANGE:115 TO 150MM, NO SEALS,HD,SPLIT PLUMMER BLOCK, MOUNT:4 BOLT, GREY CI;28MM TO 34MM SLOTTED MOUNT BOLT HOLES, 100 X 430 CENTRES, 69.5KG,USE WITH TS34 LAB SEALS OR TNF34 TACONITE SEALS | EN_01)PLUMMER BLOCK,EN_01)430 MM,M24,CAST IRON GREY,01)SKF,01)SNL3134 | SNL3134 | 3000348 | SKF | SKF | SNL 3134 | [5 empty] | https://www.skf.com/in/productinfo/productid-SNL%203134 | https://shop.slsbearings.com/sg/skf-snl-3134-plummer-block-housing.html | [9 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMER BLOCK,HEAVY DUTY,NO SEALS | BORE |  | BLOCK SIZE |  | BOLT MOUNTINGS | 4 | BOLT DIAMETER | 24 MM | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SHAFT RANGE:115 TO 150 MM,SLOTTED MOUNT BOLT HOLES:28 TO 34 MM,CENTRES:100X430 MM,WEIGHT:69.5 KG,USE C/W TS34 LAB SEALS OR TNF34 TACONITE SEALS | [51 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1269597 | 1269597 | HOUSING,BRGUNT;SKF,B/U019,MODIFIED NON-D | HOUSING,BEARING UNIT;MNFR:SKF,PTNO:B/U019,ADDITIONAL FEATURES EN:MODIFIED NON-DRIVE END | 01)APPLIED INDUSTRIAL TECHNO M,01)B/U019,HOUSING,BEARING UNIT,01)MODIFIED NON-DRIVE END | B/U019 | 3000348 | SKF | SKF | B/U019 |  | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | URL Not Found | [10 empty] | Cleansed | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | MODIFIED NON DRIVE END | BORE |  | BLOCK SIZE |  | BOLT MOUNTINGS |  | BOLT DIAMETER |  | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1272327 | 1272327 | HOUSING,BRGUNT;SKF,FSNL530,SPLIT PLUMMER | HOUSING,BEARING UNIT;MNFR:SKF,PTNO:FSNL530,ADDITIONAL FEATURES EN:SPLIT PLUMMER,CAST IRON,4 BOLT MOUNTING |  | FSNL530 | 3000348 | SKF | SKF | FSNL 530 | [5 empty] | https://www.skf.com/tr/productinfo/productid-FSNL%20530 | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMER | BORE | 192.5 MM | BLOCK SIZE | 530 LGX220 WDX323 HT MM | BOLT MOUNTINGS | 4 | BOLT DIAMETER | 24 MM | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1270070 | 1270070 | HOUSING,BRGUNT;SKF,FSNLD520-617NM | HOUSING,BEARING UNIT;MNFR:01)SKF,PTNO:01)FSNLD520-617NM | 01)SKF,01)FSNLD520-617NM | FSNLD520-617NM | 3000348 | SKF | SKF | FSNLD 520-617 | [5 empty] | https://www.skf.com/in/products/mounted-bearings/bearing-housings/split-pillow-block-housings-snl-2-3-5-6-series/productid-FSNLD%20520-617 | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMER BLOCK | BORE | 137.5 MM | BLOCK SIZE | 380 LGX160 WDX218 HT MM | BOLT MOUNTINGS | 4 | BOLT DIAMETER | 16 MM | SHAPE |  | MATERIAL | SPHEROIDAL GRAPHITE CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1272979 | 1272979 | HOUSING,BRGUNT;SKF,SNL 218 | HOUSING,BEARING UNIT;MNFR:SKF,PTNO:SNL 218 | 01)APPLIED INDUSTRIAL TECHNO,01)SNL 218,HOUSING,BEARING UNIT | SNL 218 | 3000348 | SKF | SKF | SNL 218 |  | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://www.skf.com/in/products/mounted-bearings/bearing-housings/split-pillow-block-housings-snl-2-3-5-6-series/productid-SNL%20218 | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMER BLOCK | BORE | 120 MM | BLOCK SIZE | 345 LGX143 WDX192 HT MM | BOLT MOUNTINGS | 2 | BOLT DIAMETER | 20 MM | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1269518 | 1269518 | HOUSING,BRGUNT;SKF,SY511M,SY511M PILLOW | HOUSING,BEARING UNIT;MNFR:SKF,PTNO:SY511M,ADDITIONAL FEATURES EN:SY511M PILLOW BLOCK HOUSING FOR 100MM OD INSERT BEARINGS 60MM BASE | 01)APPLIED INDUSTRIAL TECHNO M,01)SY511M,HOUSING,BEARING UNIT,01)SY511M PILLOW BLOCK HOUSING | SY511M | 3000348 | SKF | SKF | SY 511 M |  | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://www.skf.com/in/products/mounted-bearings/ball-bearing-units/pillow-block-ball-bearing-units/productid-SY%20511%20M | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | PILLOW BLOCK | BORE |  | BLOCK SIZE | 219 LGX60 WDX126 HT MM | BOLT MOUNTINGS | 2 | BOLT DIAMETER | 16 MM | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 100 OD MM INSERT BEARINGS | [51 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1217469 | 1217469 | HOUSING,FLTR;DIEC,BHC3012 | HOUSING,FILTER;MNFR:DIECI,PTNO:BHC3012,ADDITIONAL FEATURES EN:HYDRAULIC,SIZE:OD 128 X LG 236 MM | HOUSING,FILTER,01)HYDRAULIC,SIZE:OD 128 X LG 236 MM | BHC3012 | 3000511 | DIECI | DIECI | BHC3012 | [5 empty] | https://www.yantralive.com/product/dieci-bhc3012-hydraulic-spin-on-p171620/ | https://www.michelecaroli.com/info.php?oempartnumber=BHC3012&donaldson=P171620#modal-one | [9 empty] | Enriched | 40161515 Hydraulic filters | FILTER | FLUID | TYPE | SPIN ON | MEDIUM | HYDRAULIC | CONNECTION METHOD |  | MICRON |  | DIMENSIONS | 128 ODX236 LG MM | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1275926 | 1275926 | HOUSING,FLTR;HYDA,B6-QPD,B6-QPD;DF160TEX | HOUSING,FILTER;MNFR:HYDAC,PTNO:B6-QPD,ADDITIONAL FEATURES EN:B6-QPD;DF160TEXXA1.1 | 01)ISADRAULICS,01)B6-QPD,HOUSING,FILTER,01)B6-QPD,DF160TEXXA1.1 | B6-QPD | 3000292 | HYDAC | HYDAC | DF160TEXXA1.1 |  | ISADRAULICS | B6-QPD |  |  | https://hydro-funk.com/en/categories/hydraulik-druckfilter/hydac-df160texxa1-1-druckfilter | https://www.motion.com/products/sku/00969652 | [9 empty] | Enriched | 40161525 Housings for filters | HOUSING | FILTER | TYPE |  | SIZE | 249 LG MM | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI,ISO,NFPA T2.6.1 | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1275146 | 1275146 | HOUSING;ABB,3ADT754019R0001 | HOUSING;MNFR:ABB,PTNO:3ADT754019R0001 | HOUSING | 3ADT754019R0001 | 3000014 | ABB | ABB | 3ADT754019R0001 | [5 empty] | https://new.abb.com/products/3ADT754019R0001/3adt754019r0001 | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252951 | 1252951 | HOUSING;DIEC,1F.504079269 | HOUSING;MNFR:DIECI,PTNO:1F.504079269,ADDITIONAL FEATURES EN:THERMOSTAT | HOUSING,01)THERMOSTAT | 1F.504079269 | 3000511 | DIECI | DIECI | 1F.504079269 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | THERMOSTAT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1253011 | 1253011 | HOUSING;DIEC,1P.ILMCH006L13 | HOUSING;MNFR:DIECI,PTNO:1P.ILMCH006L13,ADDITIONAL FEATURES EN:MOVABLE | HOUSING,01)MOVABLE | 1P.ILMCH006L13 | 3000511 | DIECI | DIECI | 1P.ILMCH006L13 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | MOVABLE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333380 | 1333380 | HOUSING;DIEC,1P.ILMCHP06LS2 | HOUSING;MNFR:DIECI,PTNO:1P.ILMCHP06LS2,ADDITIONAL FEATURES EN:WALL | HOUSING,01)WALL | 1P.ILMCHP06LS2 | 3000511 | DIECI | DIECI | 1P.ILMCHP06LS2 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | WALL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252993 | 1252993 | HOUSING;DIEC,ASM0000916-0D2 | HOUSING;MNFR:DIECI,PTNO:ASM0000916-0D2,ADDITIONAL FEATURES EN:LATERAL,ENGINE COMPARTMENT | HOUSING,01)LATERAL,ENGINE COMPARTMENT | ASM0000916-0D2 | 3000511 | DIECI | DIECI | ASM0000916-0D2 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | LATERAL,ENGINE COMPARTMENT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252898 | 1252898 | HOUSING;DIEC,BCN9785/0D | HOUSING;MNFR:DIECI,PTNO:BCN9785/0D,ADDITIONAL FEATURES EN:PROTECTION | HOUSING,01)PROTECTION | BCN9785/0D | 3000511 | DIECI | DIECI | BCN9785/0D | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333611 | 1333611 | HOUSING;DIEC,BEQ2002 | HOUSING;MNFR:DIECI,PTNO:BEQ2002,ADDITIONAL FEATURES EN:WIPER MOTOR | HOUSING,01)WIPER MOTOR | BEQ2002 | 3000511 | DIECI | DIECI | BEQ2002 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | WIPER MOTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1332945 | 1332945 | HOUSING;DIEC,BSM3084 | HOUSING;MNFR:DIECI,PTNO:BSM3084,ADDITIONAL FEATURES EN:FRONT | HOUSING,01)FRONT | BSM3084 | 3000511 | DIECI | DIECI | BSM3084 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-BSM3084 | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | FRONT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333281 | 1333281 | HOUSING;DIEC,CAR0004210-0D2 | HOUSING;MNFR:DIECI,PTNO:CAR0004210-0D2,ADDITIONAL FEATURES EN:PROTECTION | HOUSING,01)PROTECTION | CAR0004210-0D2 | 3000511 | DIECI | DIECI | CAR0004210-0D2 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1332938 | 1332938 | HOUSING;DIEC,CVC4444 | HOUSING;MNFR:DIECI,PTNO:CVC4444,ADDITIONAL FEATURES EN:PROTECTION | HOUSING,01)PROTECTION | CVC4444 | 3000511 | DIECI | DIECI | CVC4444 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333553 | 1333553 | HOUSING;DIEC,CVC4851/0D | HOUSING;MNFR:DIECI,PTNO:CVC4851/0D,ADDITIONAL FEATURES EN:PROTECTION | HOUSING,01)PROTECTION | CVC4851/0D | 3000511 | DIECI | DIECI | CVC4851/0D | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333604 | 1333604 | HOUSING;DIEC,CVC5553/0D | HOUSING;MNFR:DIECI,PTNO:CVC5553/0D,ADDITIONAL FEATURES EN:REAR | HOUSING,01)REAR | CVC5553/0D | 3000511 | DIECI | DIECI | CVC5553/0D | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | REAR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333439 | 1333439 | HOUSING;DIEC,CVC5654/0D | HOUSING;MNFR:DIECI,PTNO:CVC5654/0D,ADDITIONAL FEATURES EN:PROTECTION | HOUSING,01)PROTECTION | CVC5654/0D | 3000511 | DIECI | DIECI | CVC5654/0D | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | PROTECTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1274495 | 1274495 | HOUSING;GARD,1058591,CYL,PR1000 | HOUSING;MNFR:GARDNER DENVER,PTNO:1058591,ADDITIONAL FEATURES EN:CYLINDER,PR1000 | 01)SWANSTON TASMANIA PTY LTD,01)1058591,HOUSING,01)CYLINDER,PR1000 | 1058591 | 3000280 | GARDNER DENVER | GARDNER DENVER | 1058591 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CYLINDER,PR1000 | [61 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1270921 | 1270921 | HOUSING;MAN,289046,COMPLT,DRVG | HOUSING;MNFR:MANITOU,PTNO:289046,ADDITIONAL FEATURES EN:COMPLETE,DRIVING | 01)JUNGHEINRICH AUSTRALIA PT,01)289046,HOUSING,01)COMPLETE,DRIVING | 289046 | 3000007 | MANITOU | MANITOU | 289046 |  | JUNGHEINRICH AUSTRALIA PTY |  |  |  | https://agrocat.ru/catalog/manitou/?page=45 | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | DRIVING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | [61 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1332210 | 1332210 | HOUSING;MER,KB1807.MDA | HOUSING;MNFR:MERCEDES,PTNO:KB1807.MDA | HOUSING | KB1807.MDA | 3000008 | MERCEDES | MERCEDES | KB1807.MDA | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1266689 | 1266689 | HOUSING;SCHN,FX116-179,SCKT,UMBILICAL | HOUSING;MNFR:SCHNEIDER INC,PTNO:FX116-179,ADDITIONAL FEATURES EN:SOCKET,UMBILICAL CORD 16L | 01)SCHNEIDER ELECTRIC (AUS),01)FX116-179,HOUSING,01)SOCKET,UMBILICAL CORD 16L | FX116-179 | 3000344 | SCHNEIDER INC | SCHNEIDER ELECTRIC (AUS) | FX116-179 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE | SOCKET | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR UMBILICAL CORD 16L | [61 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1216618 | 1216618 | HOUSING;SEW,417683279200 | HOUSING;MNFR:SEW EURODRIVE,PTNO:417683279200 |  | 417683279200 | 3000442 | SEW EURODRIVE | SEW EURODRIVE | 417683279200 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1326117 | 1326117 | HOUSING;SIE,2BY5145-1AX08 | HOUSING;MNFR:SIEMENS,PTNO:2BY5145-1AX08 | HOUSING | 2BY5145-1AX08 | 3000032 | SIEMENS | SIEMENS | 2BY5145-1AX08 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 31261500 Housings and cabinets | HOUSING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Partial Match | 1274413 | 1274413 | HOUSING;TORR,SNT512,SPLIT PLUMMER BLOCK | HOUSING;MNFR:TIMKEN BEARING,PTNO:SNT512,ADDITIONAL FEATURES EN:SPLIT PLUMMER BLOCK,CAST IRON |  | SNT512 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | SNT512 | [5 empty] | https://www.acorn-ind.co.uk/p/timken/split-plummer-block-housings/snt512-610-timken/ | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMER BLOCK | BORE | 110 MM | BLOCK SIZE | 115 WD MM | BOLT MOUNTINGS |  | BOLT DIAMETER |  | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1266237 | 1266237 | HOUSING;TORR,SNT517TACMA,BRGUNT;STEEL | HOUSING;MNFR:TIMKEN BEARING,PTNO:SNT517TACMA,ADDITIONAL FEATURES EN:BRGUNT;STEEL | 01)CONSOLIDATED BEARING CO (,01)SNT517TACMA,HOUSING,01)BRGUNT,STEEL | SNT517TACMA | 3000360 | TIMKEN BEARING | TIMKEN BEARING | SNT 517 |  | CONSOLIDATED BEARING CO |  |  |  | https://cad.timken.com/item/mounted-snt-plummer-block-spherical-roller-bearing/snt-fsnt-taper-bore-plummer-block-mounted-bearings/snt-517-22217k-tsng517 | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE |  | BORE | 75 MM | BLOCK SIZE | 320 LGX183 HT MM | BOLT MOUNTINGS | 2 | BOLT DIAMETER |  | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TACMA,BRGUNT | [51 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1266235 | 1266235 | HOUSING;TORR,SNT530TACMA,BRGUNT;135MM,CL | HOUSING;MNFR:TIMKEN BEARING,PTNO:SNT530TACMA,ADDITIONAL FEATURES EN:BRGUNT;135MM,CLOSED ONE STL | 01)CONSOLIDATED BEARING CO (,01)SNT530TACMA,HOUSING,01)BRGUNT,135MM,CLOSED ONE STL | SNT530TACMA | 3000360 | TIMKEN BEARING | TIMKEN BEARING | SNT 530 |  | CONSOLIDATED BEARING CO |  |  |  | https://cad.timken.com/item/mounted-snt-plummer-block-spherical-roller-bearing/snt-fsnt-taper-bore-plummer-block-mounted-bearings/snt-530-22230k-ta530 | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE |  | BORE | 135 MM | BLOCK SIZE | 530 LGX323 HT MM | BOLT MOUNTINGS | 2 | BOLT DIAMETER |  | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SEAL TYPE:TACONITE,BRGUNT,CLOSED ONE | [51 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1266232 | 1266232 | HOUSING;TORR,SNTD3134TACA,BRGUNT;PLUMMER | HOUSING;MNFR:TIMKEN BEARING,PTNO:SNTD3134TACA,ADDITIONAL FEATURES EN:BRGUNT;PLUMMER BLOCK MSTL | 01)CONSOLIDATED BEARING CO (,01)SNTD3134TACA,HOUSING,01)BRGUNT,PLUMMER BLOCK MSTL | SNTD3134TACA | 3000360 | TIMKEN BEARING | TIMKEN BEARING | SNTD 3134 |  | CONSOLIDATED BEARING CO |  |  |  | https://cad.timken.com/item/mounted-snt-plummer-block-spherical-roller-bearing/sntd-3000-and-3100-series-tap-b-plummer-block-moun/snt-3134-23134k-lo34 | [10 empty] | Enriched | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | PLUMMER BLOCK | BORE | 150 MM | BLOCK SIZE | 510 LGX333 HT MM | BOLT MOUNTINGS | 4 | BOLT DIAMETER |  | SHAPE |  | MATERIAL | DUCTILE IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TACA,BRGUNT | [51 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1215775 | 1215775 | PANEL,CONTROL,LCD WITH USB,UMC100.3 | PANEL,CONTROL;MNFR:ABB,PTNO:ABBUMC100-PAN |  | ABBUMC100-PAN | 3000014 | ABB | ABB | UMC100-PAN | [5 empty] | https://new.abb.com/products/1SAJ590000R0103/umc100-pan | [10 empty] | Enriched | 39121103 Panelboards | PANEL | CONTROL | TYPE | LCD | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 50 WDX67 HTX17 DP MM | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION | IP52 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CAN/CSA C22.2 No.60947-1,CAN/CSA C22.2 No.60947-4-1,IEC/EN 61000-6-2,IEC/EN 61000-6-4,UL 60947-1,UL 60947-4-1A | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1252949 | 1252949 | PANEL,CTRL;DIEC,4C.01171181 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.01171181,ADDITIONAL FEATURES EN:FUSE BOARD, ELECTRICAL | PANEL,CONTROL,01)FUSE BOARD, ELECTRICAL | 4C.01171181 | 3000511 | DIECI | DIECI | 4C.01171181 | [5 empty] | https://goldytech.com.ua/ua/p763879773-4c01171181-plata-zapobizhnikiv.html | [10 empty] | Enriched | 39121600 Circuit protection devices and accessories | BOARD | NO MODIFIER | TYPE | FUSE,ELECTRICAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252981 | 1252981 | PANEL,CTRL;DIEC,4C.05500036 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.05500036,ADDITIONAL FEATURES EN:INSTRUMENT | PANEL,CONTROL,01)INSTRUMENT | 4C.05500036 | 3000511 | DIECI | DIECI | 4C.05500036 | [5 empty] | https://www.lbr.ru/zapchasti/panel-priborov-4c-05500036 | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252832 | 1252832 | PANEL,CTRL;DIEC,4C.0A026135 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.0A026135,ADDITIONAL FEATURES EN:INSTRUMENT LINE, LH | PANEL,CONTROL,01)INSTRUMENT LINE, LH | 4C.0A026135 | 3000511 | DIECI | DIECI | 4C.0A026135 | [5 empty] | https://www.ezemtiekimas.lt/lt/ISPARDAVIMAS/DIECI/4C-05500036-Skydelis-p2251c202c204.html?tag=&sort=p.price&order=DESC&page=1&limit=100 | https://www.lbr.ru/zapchasti/panel-priborov-4c-05500036 | [9 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT LINE,LEFT HAND | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252864 | 1252864 | PANEL,CTRL;DIEC,4C.0A051274 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.0A051274,ADDITIONAL FEATURES EN:LEFT INSTRUMENT SYSTEM | PANEL,CONTROL,01)LEFT INSTRUMENT SYSTEM | 4C.0A051274 | 3000511 | DIECI | DIECI | 4C.0A051274 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | LEFT INSTRUMENT SYSTEM | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252948 | 1252948 | PANEL,CTRL;DIEC,4C.0A051276 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.0A051276,ADDITIONAL FEATURES EN:INSTRUMENT SYSTEM,RIGHT | PANEL,CONTROL,01)INSTRUMENT SYSTEM,RIGHT | 4C.0A051276 | 3000511 | DIECI | DIECI | 4C.0A051276 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT SYSTEM,RIGHT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1252999 | 1252999 | PANEL,CTRL;DIEC,4C.1C021129 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.1C021129,ADDITIONAL FEATURES EN:INSTRUMENT,RIGHT | PANEL,CONTROL,01)INSTRUMENT,RIGHT | 4C.1C021129 | 3000511 | DIECI | DIECI | 4C.1C021129 | [5 empty] | https://prom.ua/ua/p1067843721-4c1c021129-krishka-diyechi.html | https://goldytech.com.ua/ua/p1067843721-4c1c021129-krishka-diyechi.html | [9 empty] | Cleansed | 23153100 Industrial machinery components and accessories | COVER | NO MODIFIER | TYPE | INSTRUMENT,RIGHT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252998 | 1252998 | PANEL,CTRL;DIEC,4C.1C021227 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.1C021227,ADDITIONAL FEATURES EN:INSTRUMENT,RIGHT | PANEL,CONTROL,01)INSTRUMENT,RIGHT | 4C.1C021227 | 3000511 | DIECI | DIECI | 4C.1C021227 | [5 empty] | https://goldytech.com.ua/ua/p1067843724-4c1c021227-panel-diyechi.html | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT,RIGHT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252866 | 1252866 | PANEL,CTRL;DIEC,4C.2107213 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C.2107213,ADDITIONAL FEATURES EN:INSTRUMENT,RIGHT | PANEL,CONTROL,01)INSTRUMENT,RIGHT | 4C.2107213 | 3000511 | DIECI | DIECI | 4C.2107213 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT,RIGHT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252982 | 1252982 | PANEL,CTRL;DIEC,4C-05550002 | PANEL,CONTROL;MNFR:DIECI,PTNO:4C-05550002,ADDITIONAL FEATURES EN:INSTRUMENT | PANEL,CONTROL,01)INSTRUMENT | 4C-05550002 | 3000511 | DIECI | DIECI | 4C-05550002 | [5 empty] | https://www.agrozet.cz/e-shop/deska-pristrojova-2-d101016.html | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252814 | 1252814 | PANEL,CTRL;DIEC,BEF4252 | PANEL,CONTROL;MNFR:DIECI,PTNO:BEF4252,ADDITIONAL FEATURES EN:PROPORTIONAL | PANEL,CONTROL,01)PROPORTIONAL | BEF4252 | 3000511 | DIECI | DIECI | BEF4252 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | PROPORTIONAL | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333645 | 1333645 | PANEL,CTRL;DIEC,BSM3070 | PANEL,CONTROL;MNFR:DIECI,PTNO:BSM3070,ADDITIONAL FEATURES EN:INSTRUMENT LOWER,MATERIAL:PLASTIC | PANEL,CONTROL,01)INSTRUMENT LOWER,MATERIAL:PLASTIC | BSM3070 | 3000511 | DIECI | DIECI | BSM3070 | [5 empty] | https://goldytech.com.ua/ua/p1067845796-bsm3070-panel-priboriv.html | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT LOWER | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL | PLASTIC | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333614 | 1333614 | PANEL,CTRL;DIEC,CVC7757/0D2 | PANEL,CONTROL;MNFR:DIECI,PTNO:CVC7757/0D2,ADDITIONAL FEATURES EN:INSTRUMENT | PANEL,CONTROL,01)INSTRUMENT | CVC7757/0D2 | 3000511 | DIECI | DIECI | CVC7757/0D2 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333415 | 1333415 | PANEL,CTRL;DIEC,CVC7758/0D2 | PANEL,CONTROL;MNFR:DIECI,PTNO:CVC7758/0D2,ADDITIONAL FEATURES EN:INSTRUMENT | PANEL,CONTROL,01)INSTRUMENT | CVC7758/0D2 | 3000511 | DIECI | DIECI | CVC7758/0D2 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333285 | 1333285 | PANEL,CTRL;DIEC,CVC7935/0G | PANEL,CONTROL;MNFR:DIECI,PTNO:CVC7935/0G,ADDITIONAL FEATURES EN:INSTRUMENT | PANEL,CONTROL,01)INSTRUMENT | CVC7935/0G | 3000511 | DIECI | DIECI | CVC7935/0G | [5 empty] | https://www.lbr.ru/zapchasti/panel-cvc7935-0g | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333404 | 1333404 | PANEL,CTRL;DIEC,RIV0000119 | PANEL,CONTROL;MNFR:DIECI,PTNO:RIV0000119,ADDITIONAL FEATURES EN:INSTRUMENT LOWER,MATERIAL:PLASTIC | PANEL,CONTROL,01)INSTRUMENT LOWER,MATERIAL:PLASTIC | RIV0000119 | 3000511 | DIECI | DIECI | RIV0000119 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE | INSTRUMENT LOWER | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL | PLASTIC | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333346 | 1333346 | PANEL,ELEC;DIEC,4C.0A028149 | PANEL,ELECTRICAL;MNFR:DIECI,PTNO:4C.0A028149,ADDITIONAL FEATURES EN:INSTRUMENT LINE,RH | PANEL,ELECTRICAL,01)INSTRUMENT LINE,RH | 4C.0A028149 | 3000511 | DIECI | DIECI | 4C.0A028149 | [5 empty] | https://inter-tehnika.ru/product/ZVNG_liniya-pravogo-pribornogo-shchitka | [10 empty] | Cleansed | 39121103 Panelboards | PANEL | ELECTRICAL | TYPE | INSTRUMENT LINE,RIGHT HAND | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | ENCLOSURE |  | SIZE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1218317 | 1218317 | PANEL;AB,2711PT15C22D9P,PANEL VEIW,PLUS1 | PANEL;MNFR:ALLEN BRADLEY,PTNO:2711PT15C22D9P,ADDITIONAL FEATURES EN:PANEL VEIW,PLUS 7,15IN,TOUCH DLR,24VDC | 01)NHP ELECTRICAL ENGINEERIN,01)2711PT15C22D9P,PANEL,01)PANEL VEIW,PLUS 7,15IN,TOUC | 2711PT15C22D9P | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 2711PT15C22D9P |  | NHP ELECTRICAL ENGINEERING |  |  |  | https://nhp.com.au/product/2711pt15c22d9p | [10 empty] | Enriched | 39121103 Panelboards | PANEL | ELECTRICAL | TYPE | VEIW,TOUCH DLR | VOLTAGE RATING | 18 TO 30 VDC | CURRENT RATING |  | NUMBER OF PHASE |  | ENCLOSURE |  | SIZE | 353 WDX318 HTX69.6 DP MM | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:PLUS 7,DISPLAY SIZE:15 IN | [53 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1321946 | 1321946 | PANEL;ABB,1SAP530100R0001 | PANEL;MNFR:ABB,PTNO:1SAP530100R0001 | PANEL | 1SAP530100R0001 | 3000014 | ABB | ABB | 1SAP530100R0001 | [5 empty] | https://new.abb.com/products/1SAP530100R0001/cp630 | [10 empty] | Enriched | 39121103 Panelboards | PANEL | CONTROL | TYPE | TOUCH SCREEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 187 WDX147 HTX51 DP MM | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION | IP66,IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60529 | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1324604 | 1324604 | PANEL;ABB,1SBP260181R1001 | PANEL;MNFR:ABB,PTNO:1SBP260181R1001 | PANEL | 1SBP260181R1001 | 3000014 | ABB | ABB | 1SBP260181R1001 | [5 empty] | https://new.abb.com/products/1SBP260181R1001/cp410m | [10 empty] | Enriched | 39121103 Panelboards | PANEL | CONTROL | TYPE | LCD | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1324607 | 1324607 | PANEL;ABB,3BSE 042 238 R2 | PANEL;MNFR:ABB,PTNO:3BSE 042 238 R2 | PANEL | 3BSE 042 238 R2 | 3000014 | ABB | ABB | 3BSE042238R2 | [5 empty] | https://www.aotewell.com/abb/abb-hmi/pp846a-abb-panel-800-operator-panel-3bse042238r2.html | [10 empty] | Enriched | 39121103 Panelboards | PANEL | CONTROL | TYPE | OPERATOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1216480 | 1216480 | PANEL;ABB,3BSE-042-237-R1 | PANEL;MNFR:ABB,PTNO:3BSE-042-237-R1 | PANEL | 3BSE-042-237-R1 | 3000014 | ABB | ABB | 3BSE-042-237-R1 | [5 empty] | https://www.nexinstrument.com/3BSE042237R1 | [10 empty] | Enriched | 39121103 Panelboards | PANEL | CONTROL | TYPE | OPERATOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1272635 | 1272635 | PANEL;ABB,3BSE092980R1,STD,TOCH,15 IN,PP | PANEL;MNFR:ABB,PTNO:3BSE092980R1,ADDITIONAL FEATURES EN:STANDARD,TOUCH,15 IN,PP886 | 01)ABB AUSTRALIA PTY LTD,01)3BSE092980R1,PANEL,01)STANDARD,TOUCH,15 IN,02)PP886 | 3BSE092980R1 | 3000014 | ABB | ABB AUSTRALIA PTY LTD | 3BSE092980R1 | [5 empty] | https://new.abb.com/products/3BSE069297R1/3bse069297r1 | [10 empty] | Enriched | 39121103 Panelboards | PANEL | CONTROL | TYPE | STANDARD,TOUCH | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 286 WDX410 HTX83 DP MM | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SCREEN SIZE:15.4 IN,SERIES:PP886 | [49 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1321841 | 1321841 | PANEL;ABB,ACS-CP-A | PANEL;MNFR:ABB,PTNO:ACS-CP-A | PANEL | ACS-CP-A | 3000014 | ABB | ABB | ACS-CP-A | [5 empty] | https://new.abb.com/products/64691473/64691473 | https://in.element14.com/abb/acs-cp-a/assistant-control-panel-motor/dp/2628049 | [9 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1220380 | 1220380 | PANEL;ABB,CDP312 | PANEL;MNFR:ABB,PTNO:CDP312 | PANEL | CDP312 | 3000014 | ABB | ABB | CDP312 | [5 empty] | https://new.abb.com/products/3ADT220071R0004/3adt220071r0004 | https://www.nexinstrument.com/3BHL000220P0001 | [9 empty] | Cleansed | 39121103 Panelboards | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1248667 | 1248667 | PANEL;ABB,KPB1LE1-I8121462-R | PANEL;MNFR:ABB,PTNO:KPB1LE1-I8121462-R | PANEL | KPB1LE1-I8121462-R | 3000014 | ABB | ABB | KPB1LE1-I8121462-R | [5 empty] | https://www.radwell.co.uk/en-GB/Buy/MICROSYSTEMS%20ENG/MICROSYSTEMS%20ENG/KPB1LE1-I8121462-R | https://in.rsdelivers.com/product/microsyst/kpb1le1-i8121462-r/microsyst-mipan-led-digital-panel-multi-function-x/7116014 | [9 empty] | Enriched | 39121100 Distribution and control centers and accessories | METER | ELECTRICAL | TYPE |  | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE | LED | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE | 60 DP MM | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252904 | 1252904 | PANEL;DIEC,BCW3061 | PANEL;MNFR:DIECI,PTNO:BCW3061,ADDITIONAL FEATURES EN:REAR | PANEL,01)REAR | BCW3061 | 3000511 | DIECI | DIECI | BCW3061 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | REAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1252851 | 1252851 | PANEL;DIEC,BCW3072 | PANEL;MNFR:DIECI,PTNO:BCW3072,ADDITIONAL FEATURES EN:REAR | PANEL,01)REAR | BCW3072 | 3000511 | DIECI | DIECI | BCW3072 | [5 empty] | https://grassfield.com.ua/en/catalog/zapchastini-28 | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | REAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333607 | 1333607 | PANEL;DIEC,BSM3069 | PANEL;MNFR:DIECI,PTNO:BSM3069,ADDITIONAL FEATURES EN:INSTRUMENT COVERING,MATERIAL:PLASTIC | PANEL,01)INSTRUMENT COVERING,MATERIAL:PLASTIC | BSM3069 | 3000511 | DIECI | DIECI | BSM3069 | [5 empty] | https://goldytech.com.ua/ua/p1067845795-bsm3069-panel-priboriv.html | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | INSTRUMENT COVERING | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL | PLASTIC | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333460 | 1333460 | PANEL;DIEC,BSM3088 | PANEL;MNFR:DIECI,PTNO:BSM3088,ADDITIONAL FEATURES EN:CLOSING, DOOR | PANEL,01)CLOSING, DOOR | BSM3088 | 3000511 | DIECI | DIECI | BSM3088 | [5 empty] | https://goldytech.com.ua/ua/p1067845814-bsm3088-panel-zahisna.html | [10 empty] | Enriched | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | PROTECTIVE,CLOSING,DOOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333289 | 1333289 | PANEL;DIEC,BSM3101 | PANEL;MNFR:DIECI,PTNO:BSM3101,ADDITIONAL FEATURES EN:SOUNDPROOF | PANEL,01)SOUNDPROOF | BSM3101 | 3000511 | DIECI | DIECI | BSM3101 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | SOUNDPROOF | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333288 | 1333288 | PANEL;DIEC,BSM3102 | PANEL;MNFR:DIECI,PTNO:BSM3102,ADDITIONAL FEATURES EN:SOUNDPROOF | PANEL,01)SOUNDPROOF | BSM3102 | 3000511 | DIECI | DIECI | BSM3102 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | SOUNDPROOF | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333642 | 1333642 | PANEL;DIEC,CAR0000459/0D2 | PANEL;MNFR:DIECI,PTNO:CAR0000459/0D2,ADDITIONAL FEATURES EN:FRONT | PANEL,01)FRONT | CAR0000459/0D2 | 3000511 | DIECI | DIECI | CAR0000459/0D2 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | FRONT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1273476 | 1273476 | PANEL;NHP,MANB0026196,BORD,CUSTOM LOAD C | PANEL;MNFR:NHP,PTNO:MANB0026196,ADDITIONAL FEATURES EN:BOARD,CUSTOM LOAD CENTRE |  | MANB0026196 | 3000664 | NHP | NHP | MANB0026196 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | BOARD,CUSTOM LOAD CENTRE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1266775 | 1266775 | PANEL;RITL,8175235,SIDE,800 X 1200 MM,TS | PANEL;MNFR:RITTAL,PTNO:8175235,ADDITIONAL FEATURES EN:SIDE,800 X 1200 MM,TS IT,RAL7035 | 01)CNW (MOUNT ISA) ELECT WHO,01)8175235,PANEL,01)SIDE,800 X 1200 MM,TS IT,RA | 8175235 | 3000653 | RITTAL | RITTAL | 8175235 |  | CNW ELECTRICAL TOWNSVILLE WHOLESALE |  |  |  | https://www.rittal.com/in-en/products/PG0900ZUBEHOER1/PG0905ZUBEHOER1/PG0971ZUBEHOER1/PRO11917?variantId=8175235 | [10 empty] | Enriched | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | SIDE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1.2 HT MX800 DP MM | MATERIAL | SHEET STEEL | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION | IP55 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:RAL 7035,TO FIT TS IT | [49 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1266776 | 1266776 | PANEL;RITL,8176235,SIDE,1200 X 1000 MM | PANEL;MNFR:RITTAL,PTNO:8176235,ADDITIONAL FEATURES EN:SIDE,1200 X 1000 MM TS IT RAL7035 | 01)CNW (MOUNT ISA) ELECT WHO,01)8176235,PANEL,01)SIDE,1200 X 1000 MM TS IT | 8176235 | 3000653 | RITTAL | RITTAL | 8176235 |  | CNW ELECTRICAL TOWNSVILLE WHOLESALE |  |  |  | https://www.rittal.com/com-en/products/PG0900ZUBEHOER1/PG0905ZUBEHOER1/PG0971ZUBEHOER1/PRO11917?variantId=8176235 | [10 empty] | Enriched | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE | SIDE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1.2 HTX1 DP M | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION | IP55 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:RAL 7035,TO FIT TS IT | [49 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1274854 | 1274854 | PANEL;SIE,6AV2124-0QC13-0AX0,15 IN,SIMAT | PANEL;MNFR:SIEMENS,PTNO:6AV2124-0QC13-0AX0,ADDITIONAL FEATURES EN:15 IN,SIMATIC HMI TP1500 COMFORT | 01)APS INDUSTRIALS PTY LTD,01)6AV2124-0QC13-0AX0,PANEL,01)15 IN,01)SIMATIC HMI TP1500 COMFORT | 6AV2124-0QC13-0AX0 | 3000032 | SIEMENS | SIEMENS | 6AV2124-0QC13-0AX0 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6AV2124-0QC13-0AX0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6AV2124-0QC13-0AX0%26language%3Den | [9 empty] | Enriched | 32151900 Automation control connectivity devices | DISPLAY | OPERATOR INTERFACE | TYPE | TOUCH OPERATION,COMFORT PANEL | DISPLAY TYPE | TFT | DISPLAY SIZE | 15.4 IN | RESOLUTION | 1280X800 PIXEL | ELECTRICAL RATING | 24 VDC,1.3 A | INTERFACE TYPE | PROFINET | MEMORY | 12 MB | MOUNTING TYPE | VERTICAL | ENCLOSURE | IP20,IP66 | SIZE | 415 WDX310 HTX77 DP MM | TEMPERATURE RATING | -30 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CULUS,KC | ADDITIONAL FEATURES | SERIES:SIMATIC HMI TP1500 | [45 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1271795 | 1271795 | PANEL;SIE,6SL3255-0AA00-4CA1 | PANEL;MNFR:SIEMENS,PTNO:6SL3255-0AA00-4CA1 | PANEL | 6SL3255-0AA00-4CA1 | 3000032 | SIEMENS | SIEMENS | 6SL3255-0AA00-4CA1 | [5 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6SL3255-0AA00-4CA1 | [10 empty] | Enriched | 39121103 Panelboards | PANEL | CONTROL | TYPE | OPERATOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 70 WDX106.85 HTX19.60 DP MM | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION | IP55 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CULUS,EAC,KCC,RCM | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1214349 | 1214349 | PANEL;SIE,ARB-PF9E59 | PANEL;MNFR:SIEMENS,PTNO:ARB-PF9E59 | PANEL | ARB-PF9E59 | 3000032 | SIEMENS | SIEMENS | ARB-PF9E59 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121100 Distribution and control centers and accessories | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [50 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333496 | 1333496 | SUPPORT;DIEC,CAR0002433/CL | SUPPORT;MNFR:DIECI,PTNO:CAR0002433/CL,ADDITIONAL FEATURES EN:METAL SHEET | SUPPORT,01)METAL SHEET | CAR0002433/CL | 3000511 | DIECI | DIECI | CAR0002433/CL | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | SHEET METAL | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333610 | 1333610 | SUPPORT;DIEC,CAR0002653/0D2 | SUPPORT;MNFR:DIECI,PTNO:CAR0002653/0D2,ADDITIONAL FEATURES EN:METAL SHEET | SUPPORT,01)METAL SHEET | CAR0002653/0D2 | 3000511 | DIECI | DIECI | CAR0002653/0D2 | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | SHEET METAL | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333527 | 1333527 | SUPPORT;DIEC,CAR0003131-CF | SUPPORT;MNFR:DIECI,PTNO:CAR0003131-CF,ADDITIONAL FEATURES EN:DISTRIBUTOR | SUPPORT,01)DISTRIBUTOR | CAR0003131-CF | 3000511 | DIECI | DIECI | CAR0003131-CF | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE | DISTRIBUTOR | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333495 | 1333495 | SUPPORT;DIEC,CAR0003911-CL | SUPPORT;MNFR:DIECI,PTNO:CAR0003911-CL,ADDITIONAL FEATURES EN:METAL SHEET | SUPPORT,01)METAL SHEET | CAR0003911-CL | 3000511 | DIECI | DIECI | CAR0003911-CL | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | SHEET METAL | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333444 | 1333444 | SUPPORT;DIEC,CARLA0000014-CL | SUPPORT;MNFR:DIECI,PTNO:CARLA0000014-CL,ADDITIONAL FEATURES EN:METAL SHEET | SUPPORT,01)METAL SHEET | CARLA0000014-CL | 3000511 | DIECI | DIECI | CARLA0000014-CL | [5 empty] | URL Not Found | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | SHEET METAL | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333627 | 1333627 | SUPPORT;DIEC,CVC3966/CL | SUPPORT;MNFR:DIECI,PTNO:CVC3966/CL,ADDITIONAL FEATURES EN:METAL SHEET | SUPPORT,01)METAL SHEET | CVC3966/CL | 3000511 | DIECI | DIECI | CVC3966/CL | [5 empty] | https://pdfcoffee.com/dieci-icarus-4017-sn-1792010-parts-pdf-free.html | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | SHEET METAL | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | MKV | OK | 06-07-2023 | 11-07-2023 |  | 1333477 | 1333477 | SUPPORT;DIEC,CVC4684 | SUPPORT;MNFR:DIECI,PTNO:CVC4684,ADDITIONAL FEATURES EN:PLATE | SUPPORT,01)PLATE | CVC4684 | 3000511 | DIECI | DIECI | CVC4684 | [5 empty] | https://ndetal.com/catalog/zapasnye-chasti/dieci/DIECI-CVC4684 | [10 empty] | Cleansed | 23153000 Holding and positioning and guiding systems and devices | SUPPORT | NO MODIFIER | TYPE | PLATE | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed