## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213362 | 1213362 | BELT,SEAT;DRVT,IFI27573 | BELT,SEAT;MNFR:DRIVETRAIN,PTNO:IFI27573 | 01)DRIVETRAIN AUSTRALIA,01)IFI27573,BELT,SEAT | IFI27573 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI27573 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 25172104 Seatbelts | BELT | SEAT | TYPE |  | SIZE |  | FASTEN TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1275645 | 1275645 | BELT;DRVT,IFI25464 | BELT;MNFR:DRIVETRAIN,PTNO:IFI25464 | 01)DRIVETRAIN,01)IFI25464,BELT | IFI25464 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25464 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26111800 Drive components | BELT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1275641 | 1275641 | BELT;DRVT,IFI31202 | BELT;MNFR:DRIVETRAIN,PTNO:IFI31202 | 01)DRIVETRAIN,01)IFI31202,BELT | IFI31202 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31202 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 26111800 Drive components | BELT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213277 | 1213277 | CAP,DST AND MOSTRE SEAL;DRVT,IFI24759 | CAP,DUST AND MOISTURE SEAL;MNFR:DRIVETRAIN,PTNO:IFI24759 | 01)DRIVETRAIN AUSTRALIA,01)IFI24759,CAP,DUST AND MOISTURE SEAL | IFI24759 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI24759 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | DUST AND MOISTURE SEAL | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1332935 | 1332935 | CAP,FILR OPENNG;DIEC,BHG3027 | CAP,FILLER OPENING;MNFR:DIECI,PTNO:BHG3027,ADDITIONAL FEATURES EN:FUEL TANK | CAP,FILLER OPENING,01)FUEL TANK | BHG3027 | 3000511 | DIECI | DIECI | BHG3027 | [5 empty] | https://buyanypart.co.uk/parts/filler-cap-bhg3027-bta1 | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | FILLER OPENING | TYPE | FUEL TANK | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FUEL TANK | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333482 | 1333482 | CAP,FILR OPENNG;DIEC,BHG3028 | CAP,FILLER OPENING;MNFR:DIECI,PTNO:BHG3028,ADDITIONAL FEATURES EN:PLUG | CAP,FILLER OPENING,01)PLUG | BHG3028 | 3000511 | DIECI | DIECI | BHG3028 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | FILLER OPENING | TYPE | PLUG | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUG | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213316 | 1213316 | CAP,FILR OPENNG;DRVT,IFI25067 | CAP,FILLER OPENING;MNFR:DRIVETRAIN,PTNO:IFI25067 | 01)DRIVETRAIN AUSTRALIA,01)IFI25067,CAP,FILLER OPENING | IFI25067 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25067 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1252858 | 1252858 | CAP;DIEC,BEN1022 | CAP;MNFR:DIECI,PTNO:BEN1022,ADDITIONAL FEATURES EN:SNAP | CAP,01)SNAP | BEN1022 | 3000511 | DIECI | DIECI | BEN1022 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | SNAP | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SNAP | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333474 | 1333474 | CAP;DIEC,BHA0853 | CAP;MNFR:DIECI,PTNO:BHA0853,ADDITIONAL FEATURES EN:COLOUR:BLUE | CAP,01)COLOUR:BLUE | BHA0853 | 3000511 | DIECI | DIECI | BHA0853 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLUE | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333473 | 1333473 | CAP;DIEC,BHA0856 | CAP;MNFR:DIECI,PTNO:BHA0856,ADDITIONAL FEATURES EN:COLOUR:BLUE | CAP,01)COLOUR:BLUE | BHA0856 | 3000511 | DIECI | DIECI | BHA0856 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLUE | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333485 | 1333485 | CAP;DIEC,BHA086 | CAP;MNFR:DIECI,PTNO:BHA086,ADDITIONAL FEATURES EN:COLOUR:RED | CAP,01)COLOUR:RED | BHA086 | 3000511 | DIECI | DIECI | BHA086 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:RED | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333478 | 1333478 | CAP;DIEC,BHA0861 | CAP;MNFR:DIECI,PTNO:BHA0861,ADDITIONAL FEATURES EN:COLOUR:RED | CAP,01)COLOUR:RED | BHA0861 | 3000511 | DIECI | DIECI | BHA0861 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:RED | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333429 | 1333429 | CAP;DIEC,BHA0863 | CAP;MNFR:DIECI,PTNO:BHA0863,ADDITIONAL FEATURES EN:COLOUR:RED | CAP,01)COLOUR:RED | BHA0863 | 3000511 | DIECI | DIECI | BHA0863 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:RED | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333309 | 1333309 | CAP;DIEC,BHC3057 | CAP;MNFR:DIECI,PTNO:BHC3057,ADDITIONAL FEATURES EN:FILTER | CAP,01)FILTER | BHC3057 | 3000511 | DIECI | DIECI | BHC3057 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | FILTER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FILTER | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333435 | 1333435 | CAP;DIEC,BHC3061 | CAP;MNFR:DIECI,PTNO:BHC3061,ADDITIONAL FEATURES EN:FILTER | CAP,01)FILTER | BHC3061 | 3000511 | DIECI | DIECI | BHC3061 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | FILTER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FILTER | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333290 | 1333290 | CAP;DIEC,BWM1349 | CAP;MNFR:DIECI,PTNO:BWM1349,ADDITIONAL FEATURES EN:RAIN GUARD | CAP,01)RAIN GUARD | BWM1349 | 3000511 | DIECI | DIECI | BWM1349 | [5 empty] | http://www.ricambiebac.it/pdf/Flli%20Dieci.pdf | [10 empty] | ENRICHED | 40172400 Pipe caps | CAP | PIPE | TYPE | EXHAUST,RAIN GUARD | NOMINAL SIZE |  | END CONNECTION |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213376 | 1213376 | CAP;DRVT,IFI28648,OVFLW | CAP;MNFR:DRIVETRAIN,PTNO:IFI28648,ADDITIONAL FEATURES EN:OVERFLOW |  | IFI28648 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI28648 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | OVERFLOW | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213491 | 1213491 | CAP;DRVT,IFI33245,WINDSHIELD WASHER | CAP;MNFR:DRIVETRAIN,PTNO:IFI33245,ADDITIONAL FEATURES EN:WINDSHIELD WASHER |  | IFI33245 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI33245 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | WINDSHIELD WASHER | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1274345 | 1274345 | ENCLOSURE;CORN,OSE-HD0-WT-2-L,UNIVERSALS | ENCLOSURE;MNFR:CORNING INC,PTNO:OSE-HD0-WT-2-L,ADDITIONAL FEATURES EN:UNIVERSAL OPTICAL SPLICE, HIGH DENSITY,SIZE: HT 45 X WD 22 X DT 13 IN | ENCLOSURE,UNIVERSAL | OSE-HD0-WT-2-L | 3000256 | CORNING INC | CORNING INC | OSE-HD0-WT-2-L | [5 empty] | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | CLEANSED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | UNIVERSAL OPTICAL SPLICE | NEMA RATING |  | SIZE | 22 WDX45 HTX13 DP IN | MATERIAL |  | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HIGH DENSITY | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1271914 | 1271914 | ENCLOSURE;CORN,OSE-LD0-WT-2-L,UNIVERSALS | ENCLOSURE;MNFR:CORNING INC,PTNO:OSE-LD0-WT-2-L,ADDITIONAL FEATURES EN:UNIVERSAL OPTICAL SPLICE, LOW DENSITY,SIZE: HT 32 X WD 22 X DT 10 IN |  | OSE-LD0-WT-2-L | 3000256 | CORNING INC | CORNING INC | OSE-LD0-WT-2-L | [5 empty] | https://www.corning.com/catalog/coc/documents/product-family-specifications/0142_NAFTA_AEN.pdf | [10 empty] | CLEANSED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | UNIVERSAL OPTICAL SPLICE | NEMA RATING |  | SIZE | 22 WDX32 HTX10 DP IN | MATERIAL |  | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOW DENSITY | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1217754 | 1217754 | ENCLOSURE;CUTH,M22-I2,2 HOLE,STOP/START | ENCLOSURE;MNFR:CUTLERHAMMER,PTNO:M22-I2,ADDITIONAL FEATURES EN:2 HOLE,STOP/START | 01)HAYMANS ELECTRICAL (PARTS,01)M22-I2,ENCLOSURE,01)2 HOLE,STOP/START | M22-I2 | 3000261 | CUTLERHAMMER | CUTLER/HAMMER | M22-I2 |  | HAYMANS ELECTRICAL |  |  |  | https://www.eaton.com/us/en-us/skuPage.M22-I2.html | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | STOP/START PUSH BUTTON | NEMA RATING | NEMA 4X | SIZE | 4-3/4 WDX2-3/16 HTX3-1/8 DP MM | MATERIAL |  | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE | SURFACE | COLOUR | WHITE (ENCLOSURE),BLACK (BASE) | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF HOLE:2 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220322 | 1220322 | ENCLOSURE;NHP,E21407SS,VENT 120X120MM,SS | ENCLOSURE;MNFR:NHP,PTNO:E21407SS,ADDITIONAL FEATURES EN:VENT 120X120MM,SS | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPE21407SS,ENCLOSURE,01)VENT 120X120MM,SS | E21407SS | 3000664 | NHP | NHP | E21407SS |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/E21407SS | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VENT 120X120MM | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220323 | 1220323 | ENCLOSURE;NHP,E21410SS,VENT 160X160MM,SS | ENCLOSURE;MNFR:NHP,PTNO:E21410SS,ADDITIONAL FEATURES EN:VENT 160X160MM,SS | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPE21410SS,ENCLOSURE,01)VENT 160X160MM,SS | E21410SS | 3000664 | NHP | NHP | E21410SS |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/E21410SS | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VENT 160X160MM | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220324 | 1220324 | ENCLOSURE;NHP,E21418SS,VENT 220X220MM,SS | ENCLOSURE;MNFR:NHP,PTNO:E21418SS,ADDITIONAL FEATURES EN:VENT 220X220MM,SS | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPE21418SS,ENCLOSURE,01)VENT 220X220MM,SS | E21418SS | 3000664 | NHP | NHP | E21418SS |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/E21418SS | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VENT 220X220MM | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220244 | 1220244 | ENCLOSURE;NHP,MAS0504030R5,STL,IP66 | ENCLOSURE;MNFR:NHP,PTNO:MAS0504030R5,ADDITIONAL FEATURES EN:STEEL,IP66 H500XW400XD300MM | 01)CNW,01)NHPMAS0504030R5,ENCLOSURE,01)STEEL,IP66 H500XW400XD3 | MAS0504030R5 | 3000664 | NHP | NHP | MAS0504030R5 |  | CNW (TOWNSVILLE) ELECT SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/MAS0504030R5 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING | IP66 | SIZE | 400 WDX500 HTX300 DP MM | MATERIAL | SEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DEGREE OF PROTECTION:IP66 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1273581 | 1273581 | ENCLOSURE;NHP,MFCAB,WALL MOUNTING LUGS,S | ENCLOSURE;MNFR:NHP,PTNO:MFCAB,ADDITIONAL FEATURES EN:WALL MOUNTING LUGS,STAINLESS STEEL SUIT | 01)SHERRIFF ELECTRICAL SUPPL,01)MFCAB,ENCLOSURE,01)WALL MOUNTING LUGS,STAINLES | MFCAB | 3000664 | NHP | NHP | MFCAB |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/MFCAB | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WALL MOUNTING LUGS | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1267314 | 1267314 | ENCLOSURE;NHP,NLS0303021,300 X 300 X 210 | ENCLOSURE;MNFR:NHP,PTNO:NLS0303021,ADDITIONAL FEATURES EN:300 X 300 X 210,STEEL | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPNLS0303021,ENCLOSURE,01)300 X 300 X 210,02)STEEL | NLS0303021 | 3000664 | NHP | NHP | NLS0303021 |  | CNW (TOWNSVILLE) ELECT SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/NLS0303021 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE | 300X300X210 MM | MATERIAL | STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1267315 | 1267315 | ENCLOSURE;NHP,NLS0404021,400 X 400 X 210 | ENCLOSURE;MNFR:NHP,PTNO:NLS0404021,ADDITIONAL FEATURES EN:400 X 400 X 210,STEEL | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPNLS0404021,ENCLOSURE,01)400 X 400 X 210,02)STEEL | NLS0404021 | 3000664 | NHP | NHP | NLS0404021 |  | CNW (TOWNSVILLE) ELECT SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/NLS0404021 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE | 400X400X210 MM | MATERIAL | STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1267316 | 1267316 | ENCLOSURE;NHP,NLS0504021,500 X 400 X 210 | ENCLOSURE;MNFR:NHP,PTNO:NLS0504021,ADDITIONAL FEATURES EN:500 X 400 X 210,STEEL | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPNLS0504021,ENCLOSURE,01)500 X 400 X 210,02)STEEL | NLS0504021 | 3000664 | NHP | NHP | NLS0504021 |  | CNW (TOWNSVILLE) ELECT SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/NLS0504021 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE | 500X400X210 MM | MATERIAL | STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1267317 | 1267317 | ENCLOSURE;NHP,NLS0604030,600 X 400 X 300 | ENCLOSURE;MNFR:NHP,PTNO:NLS0604030,ADDITIONAL FEATURES EN:600 X 400 X 300,STEEL | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPNLS0604030,ENCLOSURE,01)600 X 400 X 300,02)STEEL | NLS0604030 | 3000664 | NHP | NHP | NLS0604030 |  | CNW (TOWNSVILLE) ELECT SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/NLS0604030 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE | 600X400X300 MM | MATERIAL | STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1267318 | 1267318 | ENCLOSURE;NHP,NLS0606030,600 X 600 X 300 | ENCLOSURE;MNFR:NHP,PTNO:NLS0606030,ADDITIONAL FEATURES EN:600 X 600 X 300,STEEL | 01)CNW (TOWNSVILLE) ELECT SU,01)NHPNLS0606030,ENCLOSURE,01)600 X 600 X 300,02)STEEL | NLS0606030 | 3000664 | NHP | NHP | NLS0606030 |  | CNW (TOWNSVILLE) ELECT SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/NLS0606030 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE | 600X600X300 MM | MATERIAL | STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220325 | 1220325 | ENCLOSURE;NHP,SRE0302015316,S/ROOF,SS | ENCLOSURE;MNFR:NHP,PTNO:SRE0302015316,ADDITIONAL FEATURES EN:S/ROOF,SS, 300X200X150 | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPSRE0302015316,ENCLOSURE,01)S/ROOF,SS, 300X200X150 | SRE0302015316 | 3000664 | NHP | NHP | SRE0302015316 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/SRE0302015316 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | S/ROOF,SS,300X200X150 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220326 | 1220326 | ENCLOSURE;NHP,SRE0403021316,S/ROOF,SS | ENCLOSURE;MNFR:NHP,PTNO:SRE0403021316,ADDITIONAL FEATURES EN:S/ROOF,SS, 400X300X210 | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPSRE0403021316,ENCLOSURE,01)S/ROOF,SS, 400X300X210 | SRE0403021316 | 3000664 | NHP | NHP | SRE0403021316 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/SRE0403021316 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | S/ROOF,SS,400X300X210 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220327 | 1220327 | ENCLOSURE;NHP,SRE0604026316,S/ROOF,SS | ENCLOSURE;MNFR:NHP,PTNO:SRE0604026316,ADDITIONAL FEATURES EN:S/ROOF,SS, 600X400X260 | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPSRE0604026316,ENCLOSURE,01)S/ROOF,SS, 600X400X260 | SRE0604026316 | 3000664 | NHP | NHP | SRE0604026316 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/SRE0604026316 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | S/ROOF,SS,600X400X260 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1220328 | 1220328 | ENCLOSURE;NHP,SRE0806030316,S/ROOF,SS | ENCLOSURE;MNFR:NHP,PTNO:SRE0806030316,ADDITIONAL FEATURES EN:S/ROOF,SS, 300X200X300 | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPSRE0806030316,ENCLOSURE,01)S/ROOF,SS, 300X200X300 | SRE0806030316 | 3000664 | NHP | NHP | SRE0806030316 |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/SRE0806030316 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL | STAINLESS STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | S/ROOF,SS,300X200X300 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1273580 | 1273580 | ENCLOSURE;NHP,TFCAB,WALL MOUNTING LUGS,P | ENCLOSURE;MNFR:NHP,PTNO:TFCAB,ADDITIONAL FEATURES EN:WALL MOUNTING LUGS,POLYAMIDE,SUIT CAB GR | 01)SHERRIFF ELECTRICAL SUPPL,01)TFCAB,ENCLOSURE,01)WALL MOUNTING LUGS,POLYAMID | TFCAB | 3000664 | NHP | NHP | TFCAB |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-783/NHP_AU_Catalog-891/NHP_AU_Catalog-902/TFCAB | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE |  | MATERIAL |  | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WALL MOUNTING LUGS,POLYAMIDE,SUIT CAB GR | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1273715 | 1273715 | ENCLOSURE;RITL,7721535,WALL MOUNT CABNT | ENCLOSURE;MNFR:RITTAL,PTNO:7721535,ADDITIONAL FEATURES EN:WALL MOUNT CABNT | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT7721535,ENCLOSURE,01)WALL MOUNT CABNT | 7721535 | 3000653 | RITTAL | RITTAL | 7721535 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rittal.com/in-en/products/PG0002SCHRANK1/PG0021SCHRANK1/PG0035SCHRANK1/PRO0047?variantId=7721535 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING |  | SIZE | 600 WD MMX1.01 HT MX673 DP MM | MATERIAL | SHEET STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE | WALL | COLOUR | SLATE GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [54 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1274927 | 1274927 | ENCLOSURE;RITL,8806500,800WX2000HX600D,T | ENCLOSURE;MNFR:RITTAL,PTNO:8806500,ADDITIONAL FEATURES EN:800WX2000HX600D,TS8,RAL7035 | 01)CNW (MOUNT ISA) ELECT WHO,01)RIT8806500,ENCLOSURE,01)800WX2000HX600D,TS8,RAL7035 | 8806500 | 3000653 | RITTAL | RITTAL | 8806.500 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.rittal.com/in-en/products/PG0002SCHRANK1/PG0026SCHRANK1/PG0030SCHRANK1/PRO0033?variantId=8806500 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE |  | NEMA RATING | NEMA1/12 | SIZE | 800 WD MMX2 M HTX600 DP MM | MATERIAL | SHEET STEEL | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR | LIGHT GREY RAL7035 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:TS8 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1272243 | 1272243 | ENCLOSURE;SCHN,4CC9WE,SWBRD,206X178X92MM | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:4CC9WE,ADDITIONAL FEATURES EN:SWBRD,206X178X92MM,WHITE,CLIPSAL,LOADCENTRE,CIRCUIT BREAKER COVER, SURFACE MOUNT,9 POLE,9 MODULE,NO DOOR |  | 4CC9WE | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 4CC9-WE | [5 empty] | https://eref.se.com/au/en/clipsal/product-pdf/4CC9-WE | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | SWITCHBOARD | NEMA RATING |  | SIZE | 178 WDX206 HTX92 DP MM | MATERIAL | PLASTIC | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE | SURFACE | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:CLIPSAL,NUMBER OF POLE:9,NUMBER OF MODULE:9,NO DOOR,LOAD CENTRE,CIRCUIT BREAKER COVER | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1214164 | 1214164 | ENCLOSURE;SCHN,56/32GY,IP66,2A,PER SUIT | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:56/32GY,ADDITIONAL FEATURES EN:IP66,2A,PER SUIT 30 MECH | 01)SHERRIFF ELECTRICAL SUPPL,01)56/32GY,ENCLOSURE,01)IP66,2A,02)PER SUIT 30 MECH | 56/32GY | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 56/32-GY |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/56/32-GY | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | APERTURE | NEMA RATING |  | SIZE | 107 LGX101 WDX77 DP MM | MATERIAL | POLYCARBONATE | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE | SURFACE | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DEGREE OF PROTECTION:IP66,2A,FOR 30 MECH | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1272492 | 1272492 | ENCLOSURE;SCHN,56PEK25GY,PNDNT,OUT, KIT | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:56PEK25GY,ADDITIONAL FEATURES EN:PENDANT,OUTLET, KIT,MATERIAL:PVC,ENCLOSURE RATING:IP66,DEPTH:63 MM,WIDTH:101 MM,COLOUR:GREY,SURFACE MOUNTING,2 GANG,25 MM CONDUIT ENTRY,BRAND:CLIPSAL |  | 56PEK25GY | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 56PEK25-GY | [5 empty] | https://eref.se.com/au/en/clipsal/product-pdf/56PEK25-GY | [10 empty] | ENRICHED |  | ENCLOSURE | NO MODIFIER | TYPE | PENDANT OUTLET | NEMA RATING |  | SIZE |  | MATERIAL | PVC | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE |  | COLOUR | GREY,SURFACE MOUNTING,2 GANG,25 MM CONDUIT ENTRY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PENDANT,OUTLET,KIT | [52 empty] | ENCLOSURE RATING:IP66,DEPTH:63 MM,WIDTH:101 MM,BRAND:CLIPSAL | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1274812 | 1274812 | ENCLOSURE;SCHN,CLI56L2GY,LID | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:CLI56L2GY,ADDITIONAL FEATURES EN:LID | 01)SHERRIFF ELECTRICAL SUPPL,01)CLI56L2GY,ENCLOSURE,01)LID | CLI56L2GY | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 56L2-GY |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/56L2-CG | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | LID | NO MODIFIER | TYPE | ENCLOSURE | SIZE | 95 WDX192 HTX28 DP MM | MATERIAL | ABS | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1272265 | 1272265 | ENCLOSURE;SCHN,XALD01,PC,GREY,1 HOLE,D22 | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:XALD01,ADDITIONAL FEATURES EN:POLYCARBONATE,GREY,1 HOLE,D22MM,CONTROL STATION,HARMONY |  | XALD01 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XALD01 | [5 empty] | https://www.se.com/in/en/product/download-pdf/XALD01 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | EMPTY CONTROL STATION | NEMA RATING | NEMA 13/4X | SIZE |  | MATERIAL | POLYCARBONATE | NUMBER OF KNOCKOUTS | 3 | MOUNTING TYPE | REAR,FRONT | COLOUR | DARK GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF HOLE:1,HOLE DIAMETER:22 MM,SERIES:HARMONY | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1272266 | 1272266 | ENCLOSURE;SCHN,XALD03,PC,GREY,3 HOLE,D22 | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:XALD03,ADDITIONAL FEATURES EN:POLYCARBONATE,GREY,3 HOLE,D22MM,CONTROL STATION,HARMONY |  | XALD03 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XALD03 | [5 empty] | https://www.se.com/in/en/product/download-pdf/XALD03 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | EMPTY CONTROL STATION | NEMA RATING | NEMA 13/4X | SIZE |  | MATERIAL | POLYCARBONATE | NUMBER OF KNOCKOUTS | 4 | MOUNTING TYPE | REAR,FRONT | COLOUR | LIGHT GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF HOLE:3,HOLE DIAMETER:22 MM,SERIES:HARMONY | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1272267 | 1272267 | ENCLOSURE;SCHN,XALD04,PC,GREY,4 HOLE,D22 | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:XALD04,ADDITIONAL FEATURES EN:POLYCARBONATE,GREY,4 HOLE,D22MM,CONTROL STATION |  | XALD04 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XALD04 | [5 empty] | https://www.se.com/in/en/product/download-pdf/XALD04 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | EMPTY CONTROL STATION | NEMA RATING | NEMA 13/4X | SIZE |  | MATERIAL | POLYCARBONATE | NUMBER OF KNOCKOUTS | 4 | MOUNTING TYPE | REAR,FRONT | COLOUR | LIGHT GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF HOLE:4,HOLE DIAMETER:22 MM | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1271064 | 1271064 | ENCLOSURE;SCHN,XAPM1201H29,1 WAY,22MM,EM | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:XAPM1201H29,ADDITIONAL FEATURES EN:1 WAY,22MM,EMPTY,49MM,METAL | 01)CNW,01)SCHXAPM1201H29,ENCLOSURE,01)1 WAY,22MM,EMPTY,49MM,METAL | XAPM1201H29 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XAPM1201H29 |  | CNW |  |  |  | https://www.se.com/in/en/product/download-pdf/XAPM1201H29 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | EMPTY CONTROL STATION | NEMA RATING |  | SIZE | 80 WD X 80 HTX49 DP MM | MATERIAL | ZINC ALLOY | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE | FLUSH | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF WAY:1,HOLE DIAMETER:22 MM | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1271065 | 1271065 | ENCLOSURE;SCHN,XAPM1202H29,2 WAY,22MM,EM | ENCLOSURE;MNFR:SCHNEIDER INC,PTNO:XAPM1202H29,ADDITIONAL FEATURES EN:2 WAY,22MM,EMPTY,49MM,METAL | 01)CNW,01)SCHXAPM1202H29,ENCLOSURE,01)2 WAY,22MM,EMPTY,49MM,METAL | XAPM1202H29 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | XAPM1202H29 |  | CNW |  |  |  | https://www.se.com/uk/en/product/download-pdf/XAPM1202H29 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | ENCLOSURE | NO MODIFIER | TYPE | EMPTY CONTROL STATION | NEMA RATING |  | SIZE | 80 WD X 80 HTX49 DP MM | MATERIAL | ZINC ALLOY | NUMBER OF KNOCKOUTS |  | MOUNTING TYPE | FLUSH | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF WAY:2,HOLE DIAMETER:22 MM | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1252822 | 1252822 | PLUG,ELEC;DIEC,1P.ILMCNM06 | PLUG,ELECTRICAL;MNFR:DIECI,PTNO:1P.ILMCNM06,ADDITIONAL FEATURES EN:6 | PLUG,ELECTRICAL,01)6 | 1P.ILMCNM06 | 3000511 | DIECI | DIECI | 1P.ILMCNM06 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 6 | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1252841 | 1252841 | PLUG,ELEC;DIEC,4C.125402 | PLUG,ELECTRICAL;MNFR:DIECI,PTNO:4C.125402,ADDITIONAL FEATURES EN:BODY | PLUG,ELECTRICAL,01)BODY | 4C.125402 | 3000511 | DIECI | DIECI | 4C.125402 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BODY | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1252891 | 1252891 | PLUG,ELEC;DIEC,4C.XE0800558 | PLUG,ELECTRICAL;MNFR:DIECI,PTNO:4C.XE0800558,ADDITIONAL FEATURES EN:SENSOR | PLUG,ELECTRICAL,01)SENSOR | 4C.XE0800558 | 3000511 | DIECI | DIECI | 4C.XE0800558 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SENSOR | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1252840 | 1252840 | PLUG,ELEC;DIEC,BCN2709 | PLUG,ELECTRICAL;MNFR:DIECI,PTNO:BCN2709,ADDITIONAL FEATURES EN:TOW | PLUG,ELECTRICAL,01)TOW | BCN2709 | 3000511 | DIECI | DIECI | BCN2709 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TOW | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1252919 | 1252919 | PLUG,ELEC;DIEC,BEK6070 | PLUG,ELECTRICAL;MNFR:DIECI,PTNO:BEK6070,ADDITIONAL FEATURES EN:COMPLETE | PLUG,ELECTRICAL,01)COMPLETE | BEK6070 | 3000511 | DIECI | DIECI | BEK6070 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1252830 | 1252830 | PLUG,ELEC;DIEC,BEN1052 | PLUG,ELECTRICAL;MNFR:DIECI,PTNO:BEN1052,ADDITIONAL FEATURES EN:ROTATING LAMP | PLUG,ELECTRICAL,01)ROTATING LAMP | BEN1052 | 3000511 | DIECI | DIECI | BEN1052 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ROTATING LAMP | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1333413 | 1333413 | PLUG,ELEC;DIEC,BHA1761 | PLUG,ELECTRICAL;MNFR:DIECI,PTNO:BHA1761,ADDITIONAL FEATURES EN:RADIO, 4 WAY,FITTING | PLUG,ELECTRICAL,01)RADIO, 4 WAY,FITTING | BHA1761 | 3000511 | DIECI | DIECI | BHA1761 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RADIO,4 WAY,FITTING | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1217123 | 1217123 | PLUG;DRVT,8 PNLO-S,PROTCTV,DUST & MOISTU | PLUG;MNFR:DRIVETRAIN,PTNO:8 PNLO-S,ADDITIONAL FEATURES EN:PROTECTIVE,DUST & MOISTURE SEAL,SIZE 8,THREAD 13/16-18 UNF,2A,STEEL | 01)DRIVETRAIN AUSTRALIA,01)8 PNLO-S,PLUG,01)PROTECTIVE,DUST & MOISTURE | 8 PNLO-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 8 PNLO-S | [16 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROTECTIVE,DUST & MOISTURE SEAL,SIZE 8,THREAD 13/16-18 UNF,2A,STEEL | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213146 | 1213146 | PLUG;DRVT,IFI04003 | PLUG;MNFR:DRIVETRAIN,PTNO:IFI04003 | 01)DRIVETRAIN AUSTRALIA,01)IFI04003,PLUG | IFI04003 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI04003 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213147 | 1213147 | PLUG;DRVT,IFI04004 | PLUG;MNFR:DRIVETRAIN,PTNO:IFI04004 | 01)DRIVETRAIN AUSTRALIA,01)IFI04004,PLUG | IFI04004 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI04004 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213234 | 1213234 | PLUG;DRVT,IFI20491 | PLUG;MNFR:DRIVETRAIN,PTNO:IFI20491 | 01)DRIVETRAIN AUSTRALIA,01)IFI20491,PLUG | IFI20491 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI20491 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213253 | 1213253 | PLUG;DRVT,IFI22940,OUTPT | PLUG;MNFR:DRIVETRAIN,PTNO:IFI22940,ADDITIONAL FEATURES EN:OUTPUT | 01)DRIVETRAIN AUSTRALIA,01)IFI22940,PLUG,01)OUTPUT | IFI22940 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI22940 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE | OUTPUT | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTPUT | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213318 | 1213318 | PLUG;DRVT,IFI25071 | PLUG;MNFR:DRIVETRAIN,PTNO:IFI25071 | 01)DRIVETRAIN AUSTRALIA,01)IFI25071,PLUG | IFI25071 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI25071 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213424 | 1213424 | PLUG;DRVT,IFI31358 | PLUG;MNFR:DRIVETRAIN,PTNO:IFI31358 |  | IFI31358 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31358 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1213431 | 1213431 | PLUG;DRVT,IFI31365 | PLUG;MNFR:DRIVETRAIN,PTNO:IFI31365 |  | IFI31365 | 3000461 | DRIVETRAIN | DRIVETRAIN | IFI31365 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1268453 | 1268453 | RING,LCK;REXN,TLK400-300X375 | RING,LOCK;MNFR:REXNORD,PTNO:TLK400-300X375 | 01)APPLIED INDUSTRIAL TECHNO,01)TLK400-300X375,RING,LOCK | TLK400-300X375 | 3000337 | REXNORD | REXNORD | TLK400-300X375 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.rexnord.com/contentitems/techlibrary/documents/pt2-001m_a4_catalog | [10 empty] | ENRICHED | 31162800 Miscellaneous hardware | RING | LOCK | TYPE | SELF CENTERING | INSIDE DIAMETER | 300 MM | OUTSIDE DIAMETER | 375 MM | WIDTH | 197 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [56 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 | Processed based on Websource, Conflict w.r.t Input | 1268751 | 1268751 | RING,LCK;SKF,A220X285,PHF FX10-220X285 | RING,LOCK;MNFR:SKF,PTNO:A220X285,ADDITIONAL FEATURES EN:PHF FX10-220X285 | 01)APPLIED INDUSTRIAL TECHNO M,01)A220X285,RING,LOCK,01)PHF FX10-220X285 | A220X285 | 3000348 | SKF | SKF | PHF FX10-220X285 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/sg/productinfo/productid-PHF%20FX10-220X285 | [10 empty] | ENRICHED | 31171600 Bushings | BUSHING | NO MODIFIER | TYPE | KEYLESS | SIZE | 220 IDX285 ODX74 WD MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 | Processed based on Websource, Conflict w.r.t Input | 1269018 | 1269018 | RING,LCK;SKF,F050X080,ASSY,PHF FX60 | RING,LOCK;MNFR:SKF,PTNO:F050X080,ADDITIONAL FEATURES EN:ASSY,PHF FX60 | 01)APPLIED INDUSTRIAL TECHNO M,01)F050X080,RING,LOCK,01)ASSY,PHF FX60 | F050X080 | 3000348 | SKF | SKF | PHF FX60 F050X080 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skfptp.com/CategoryDetails?productId=383490&languageId=1 | [10 empty] | ENRICHED | 31171600 Bushings | BUSHING | NO MODIFIER | TYPE | KEYLESS | SIZE | 50 IDX80 ODX72 WD MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [61 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1273508 | 1273508 | RING,RETNG;TENN,1059019,EXTRNL,OD:1.375 | RING,RETAINING;MNFR:TENNANT,PTNO:1059019,ADDITIONAL FEATURES EN:EXTERNAL,OD:1.375 |  | 1059019 | 3000358 | TENNANT | TENNANT | 1059019 | [5 empty] | https://www.tennantco.com/content/dam/tennant/tennantco/products/machines/scrubber%20riders/T12/operator-parts-manual/9009942.pdf | [10 empty] | CLEANSED | 31163202 Retaining rings | RING | RETAINING | TYPE | EXTERNAL | NOMINAL DIAMETER | 1-3/8 IN OD | THICKNESS |  | DESIGNATION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | GROOVE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EXTERNAL | [52 empty] | OD:1.375 | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 | PART NO CHNAGED AS PER WEB SOURCE | 1272981 | 1272981 | RING;SKF,FRB175.5/160,LCTG | RING;MNFR:SKF,PTNO:FRB175.5/160,ADDITIONAL FEATURES EN:LOCATING | 01)APPLIED INDUSTRIAL TECHNO,01)FRB175.5/160,RING,01)LOCATING | FRB175.5/160 | 3000348 | SKF | SKF | FRB 17.5/160 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/id/products/mounted-bearings/bearing-housings/housing_accessories/productid-FRB%2017.5%2F160 | [10 empty] | ENRICHED | 31162800 Miscellaneous hardware | RING | NO MODIFIER | TYPE | LOCATING | DIMENSIONS | 149 IDX160 ODX17.5 WD MM | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1276130 | 1276130 | RING;SKF,FRB8.5/215,SPCR | RING;MNFR:SKF,PTNO:FRB8.5/215,ADDITIONAL FEATURES EN:SPACER | 01)APPLIED INDUSTRIAL TECHNO,01)FRB8.5/215,RING,01)SPACER | FRB8.5/215 | 3000348 | SKF | SKF | FRB 8.5/215 |  | APPLIED INDUSTRIAL TECHNO |  |  |  | https://www.skf.com/au/products/mounted-bearings/bearing-housings/housing_accessories/productid-FRB%208.5%2F215 | [10 empty] | ENRICHED | 31162800 Miscellaneous hardware | SPACER | RING | TYPE | LOCATING | INSIDE DIAMETER | 195 MM | OUTSIDE DIAMETER | 215 MM | THICKNESS | 8.5 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 2023-07-11 |  | 1274417 | 1274417 | RING;TORR,SR110X10,SPCR,WD:10MM,ONE HSNG | RING;MNFR:TIMKEN BEARING,PTNO:SR110X10,ADDITIONAL FEATURES EN:SPACER,WD:10MM,ONE HSNG ONLY |  | SR110X10 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | SR110X10 | [5 empty] | https://shop.slsbearings.com/my/west-malaysia/timken-sr110x10-locating-ring.html | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | SPACER | RING | TYPE | LOCATING | INSIDE DIAMETER |  | OUTSIDE DIAMETER | 110 MM | THICKNESS | 10 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ONE HOUSE ONLY | [54 empty] | WD:10MM,ONE HSNG ONLY | Production Completed