## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | Material | MAKTX_MARA | TEXT_EN | Class_Char_Values | MFRPN | MFRNR | MFRNR DES (Name) | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | DWG | DRAWING VERSION | POS/TAG | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | MULTIPLE MANUFACTURE | 1214401 | 1214401 | BELT,TOTH;POSITIVE DRIVE,70 IN,1/2 IN,1 | BELT,TOOTH;TYPE:POSITIVE DRIVE,CIRCUMFRANCE:70 IN,PITCH:1/2 IN,NUMBER OF TEETH:140,OVERALL WIDTH:1-1/2 IN,MATERIAL:CHLOROPRENE, NUMBER OF TOOTHED SIDES:1,OIL RESISTANT:YES,HEAT RESISTANT:YES,ADDITIONAL FEATURES EN:SYNCHRONOUS TIMING,MNFR:CUMMINS,PTNO: 700H150 | POSITIVE DRIVE,70 IN,1/2 IN,1-1/2 IN,CHLOROPRENE,YES,YES,01)SYNCHRONOUS TIMING,BELT | 700H150 | 3000018 | CUMMINS | CUMMINS | 700H150 | [5 empty] | https://www.biedlers-belts.com/gates-700h150-belt.html | [10 empty] | CLEANSED | 26111802 Geared timing belts | BELT | TIMING | TYPE | SYNCHRONOUS,POSITIVE DRIVE | CIRCUMFRANCE | 70 IN | PITCH | 1/2 IN | NUMBER OF TEETH | 140 | OVERALL WIDTH | 1-1/2 IN | THICKNESS |  | BELT DESIGNATION |  | MATERIAL | CHLOROPRENE | NUMBER OF TOOTHED SIDES | 1 | OIL RESISTANT | YES | HEAT RESISTANT | YES | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1333654 | 1333654 | BELT,V;DIEC,BVI2122 | BELT,V;MNFR:DIECI,PTNO:BVI2122,ADDITIONAL FEATURES EN:AIR CONDITIONING | BELT,V,01)AIR CONDITIONING | BVI2122 | 3000511 | DIECI | DIECI | BVI2122 | [5 empty] | https://toaz.info/docdownloadv2-dieci-icarus-40-17-s-n-1792010-parts-pr_0a51e3e532cdf2215ea486b61d7fbf18 | [10 empty] | CLEANSED |  | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AIR CONDITIONING | [43 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1240291 | 1240291 | BELT,V;MAN,605041 | BELT,V;MNFR:MANITOU,PTNO:605041 | BELT,V | 605041 | 3000007 | MANITOU | MANITOU | 605041 | [16 empty] | CLEANSED |  | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1271710 | 1271710 | BELT,V;TORR,SPA 1000 BL,POWER WEDGE BELT | BELT,V;MNFR:TIMKEN BEARING,PTNO:SPA 1000 BL,ADDITIONAL FEATURES EN:POWER WEDGE BELT | 01)CONSOLIDATED BEARING CO (,01)10657617,BELT,V,01)POWER WEDGE BELT | SPA 1000 BL | 3000360 | TIMKEN BEARING | TIMKEN BEARING | SPA 1000 BL | [16 empty] | CLEANSED |  | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER WEDGE BELT | [43 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1274419 | 1274419 | BELT,V;TORR,SPB3000,SUPER HC,SPB SECTION | BELT,V;MNFR:TIMKEN BEARING,PTNO:SPB3000,ADDITIONAL FEATURES EN:SUPER HC,SPB SECTION |  | SPB3000 | 3000360 | TIMKEN BEARING | TIMKEN BEARING | SPB3000 | [16 empty] | CLEANSED |  | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUPER HC,SPB SECTION | [43 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | MULTIPLE MANUFACTURE | 1275994 | 1275994 | BELT;CUM,11A1015 | BELT;MNFR:CUMMINS,PTNO:11A1015 | BELT | 11A1015 | 3000018 | CUMMINS | CUMMINS | 11A-1015 | [5 empty] | https://www.finerpt.com/site/DefaultSite/filesystem/documents/Finer%20Catalogue%20Files/Belts/Automotive%20Belts/Automotive%20Cogged%20Belts/PIX%20Auto%20Cogged.pdf | [10 empty] | CLEANSED | 26111801 V belts | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1214427 | 1214427 | BELT;CUM,178497 | BELT;MNFR:CUMMINS,PTNO:178497 | BELT | 178497 | 3000018 | CUMMINS | CUMMINS | 178497 | [5 empty] | https://www.sixityauto.com/dayco-24480-v-belt-drive-belt-3081007972.html | [10 empty] | CLEANSED | 26111800 Drive components | BELT | NO MODIFIER | TYPE | DRIVE | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1324237 | 1324237 | BELT;CUM,3034943 | BELT;MNFR:CUMMINS,PTNO:3034943 | BELT | 3034943 | 3000018 | CUMMINS | CUMMINS | 3034943 | [5 empty] | https://offroadbelts.com/product/cummins-engine-3034943-replacement-belt | [10 empty] | CLEANSED | 26111800 Drive components | BELT | NO MODIFIER | TYPE |  | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1240659 | 1240659 | BELT;CUM,3288768 | BELT;MNFR:CUMMINS,PTNO:3288768 | BELT | 3288768 | 3000018 | CUMMINS | CUMMINS | 3288768 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sOeCQAU/cummins-v-ribbed-belt-3288768 | [10 empty] | ENRICHED | 26111801 V belts | BELT | V | TYPE | RIBBED | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1275116 | 1275116 | BELT;CUM,3288790 | BELT;MNFR:CUMMINS,PTNO:3288790 | BELT | 3288790 | 3000018 | CUMMINS | CUMMINS | 3288790 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sPCNQA2/cummins-v-ribbed-belt-3288790 | [10 empty] | ENRICHED | 26111801 V belts | BELT | V | TYPE | RIBBED | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1265477 | 1265477 | BELT;CUM,3289113 | BELT;MNFR:CUMMINS,PTNO:3289113 | BELT | 3289113 | 3000018 | CUMMINS | CUMMINS | 3289113 | [5 empty] | https://www.agrishopusa.com/products/3289113-belt-v-ribbed | [10 empty] | ENRICHED | 26111801 V belts | BELT | V | TYPE | RIBBED | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1324284 | 1324284 | BELT;CUM,3289930 | BELT;MNFR:CUMMINS,PTNO:3289930 | BELT | 3289930 | 3000018 | CUMMINS | CUMMINS | 3289930 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sFWZQA2/cummins-v-ribbed-belt-3289930 | [10 empty] | ENRICHED | 26111801 V belts | BELT | V | TYPE | RIBBED | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1335656 | 1335656 | BELT;CUM,3289941 | BELT;MNFR:CUMMINS,PTNO:3289941 | BELT | 3289941 | 3000018 | CUMMINS | CUMMINS | 3289941 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sFAgQAM/cummins-v-ribbed-belt-3289941 | [10 empty] | ENRICHED | 26111801 V belts | BELT | V | TYPE | RIBBED | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1324159 | 1324159 | BELT;CUM,4983000 | BELT;MNFR:CUMMINS,PTNO:4983000 | BELT | 4983000 | 3000018 | CUMMINS | CUMMINS | 4983000 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sIEoQAM/cummins-v-belt-4983000 | [10 empty] | CLEANSED | 26111801 V belts | BELT | V | TYPE |  | NUMBER OF RIBS |  | BELT SECTION SIZE |  | OUTSIDE LENGTH |  | MATERIAL |  | BELT DESIGNATION |  | REINFORCING CORD MATERIAL |  | TOP WIDTH |  | OVERALL HEIGHT |  | OIL RESISTANT |  | HEAT RESISTANT |  | STATIC CONDUCTIVE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1266144 | 1266144 | BELT;CUM,89481,TENSNR,ENGN | BELT;MNFR:CUMMINS,PTNO:89481,ADDITIONAL FEATURES EN:TENSIONER,ENGINE |  | 89481 | 3000018 | CUMMINS | CUMMINS | 89481 | DAYCO |  |  |  |  | https://www.mddistributorsstore.com/dayco/89481/belt-tensioner | [5 empty] | ENGINE |  |  |  |  | ENRICHED | 26111805 Belt tensioners | TENSIONER | BELT | TYPE | AUTOMATIC | BELT NUMBER |  | FORCE RANGE |  | DIAMETER | 74 MM | MOUNTING HOLE SIZE |  | WIDTH | 33.75 MM | MATERIAL |  | LENGTH |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1218164 | 1218164 | CAP,BRG;SKF,EC34.SDVD,PLMRBLK,END CVR,,E | CAP,BEARING;MNFR:SKF,PTNO:EC34.SDVD,ADDITIONAL FEATURES EN:PLUMMER BLOCK,END COVER,ETV 290/264/4 | 01)SKF,01)EC34.SDVD,01)APPLIED INDUSTRIAL TECHNO,01)EC34.SDVD,CAP,BEARING,01)PLUMMER BLOCK,END COVER,ET | EC34.SDVD | 3000348 | SKF | SKF | EC34.SDVD | [16 empty] | CLEANSED | 31171524 Bearing caps | CAP | BEARING | TYPE | END COVER,PLUMBER BLOCK | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ETV 290/264/4 | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1333587 | 1333587 | CAP,BRTHR;DIEC,BHG3006 | CAP,BREATHER;MNFR:DIECI,PTNO:BHG3006,ADDITIONAL FEATURES EN:VENT PLUG | CAP,BREATHER,01)VENT PLUG | BHG3006 | 3000511 | DIECI | DIECI | BHG3006 | [5 empty] | https://toaz.info/docdownloadv2-dieci-icarus-40-17-s-n-1792010-parts-pr_0a51e3e532cdf2215ea486b61d7fbf18 | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | PLUG | VENT | TYPE | BREATHER | NOMINAL SIZE |  | END CONNECTION |  | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1271484 | 1271484 | CAP,DISTBTR;FLSM,MF1651-1D-MIM-B,CYCLONE | CAP,DISTRIBUTOR;MNFR:FLSMIDTH,PTNO:MF1651-1D-MIM-B,ADDITIONAL FEATURES EN:CYCLONE | 01)FLSMIDTH PTY LTD,01)MF1651-1D-MIM-B,CAP,DISTRIBUTOR,01)CYCLONE | MF1651-1D-MIM-B | 3000426 | FLSMIDTH | FLSMIDTH | MF1651-1D-MIM-B | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | DISTRIBUTOR | TYPE | CYCLONE | SIZE |  | END CONNECTION |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1333606 | 1333606 | CAP,FILR OPENNG;DIEC,BHG2009 | CAP,FILLER OPENING;MNFR:DIECI,PTNO:BHG2009,ADDITIONAL FEATURES EN:OIL LEVEL | CAP,FILLER OPENING,01)OIL LEVEL | BHG2009 | 3000511 | DIECI | DIECI | BHG2009 | [5 empty] | https://www.yumpu.com/en/document/read/39805160/retail-price-parts-list-9-mb-degelman | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | FILLER OPENING | TYPE | OIL LEVEL,OPENING | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [52 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1211801 | 1211801 | CAP;AB,800TN305R | CAP;MNFR:ALLEN BRADLEY,PTNO:800TN305R | 01)CNW (MOUNT ISA) ELECT WHO,01)800TN305R,CAP | 800TN305R | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 800TN305R |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.radwell.co.uk/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/800T-N305R/?redirect=true | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | MUSHROOM | SIZE | 30 MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1253902 | 1253902 | CAP;AB,871AKPU18,DEFLECTING,SENSOR 18 MM | CAP;MNFR:ALLEN BRADLEY,PTNO:871AKPU18,ADDITIONAL FEATURES EN:DEFLECTING,SENSOR 18 MM | 01)NHP ELECTRICAL ENGINEERIN,01)871AKPU18,CAP,01)DEFLECTING,SENSOR 18 MM | 871AKPU18 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 871AKPU18 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/871A-KPU18 | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | DEFLECTING SENSOR END | SIZE | 18 MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DEFLECTING,SENSOR 18 MM | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1253903 | 1253903 | CAP;AB,871AKPU30,DEFLECTING,SENSOR 30 MM | CAP;MNFR:ALLEN BRADLEY,PTNO:871AKPU30,ADDITIONAL FEATURES EN:DEFLECTING,SENSOR 30 MM | 01)NHP ELECTRICAL ENGINEERIN,01)871AKPU30,CAP,01)DEFLECTING,SENSOR 30 MM | 871AKPU30 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 871AKPU30 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/871A-KPU30 | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | DEFLECTING SENSOR END | SIZE | 30 MM | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DEFLECTING,SENSOR 30 MM | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | CONFLICT SENSING RANGE IN I/P AND WEB SOURCE,PROCESS BASED ON WEB SOURCE | 1253904 | 1253904 | CAP;AB,872CA10N18N3,DEFLECTING,SENSOR 30 | CAP;MNFR:ALLEN BRADLEY,PTNO:872CA10N18N3,ADDITIONAL FEATURES EN:DEFLECTING,SENSOR 30 MM | 01)NHP ELECTRICAL ENGINEERIN,01)872CA10N18N3,CAP,01)DEFLECTING,SENSOR 30 MM | 872CA10N18N3 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 872C-A10N18-N3 |  | NHP ELECTRICAL ENGINEERIN |  |  |  | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/prox-td001_-en-p.pdf | [10 empty] | ENRICHED | 41111926 Proximity sensors | SENSOR | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE | 18 MM | OUTPUT TYPE |  | CONNECTION TYPE | CABLE | ELECTRICAL RATING | 20 TO 250 VAC | CABLE LENGTH | 2 M | ENCLOSURE | NMEA 1,2,3,4,12,13,IP67 | MATERIAL | NICKEL PLATED BRASS | SWITCHING FREQUENCY |  | MOUNTING TYPE |  | SIZE | 18 DIAX60 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1216329 | 1216329 | CAP;ASWP,DU.6000046991,RDTR,(D5000) | CAP;MNFR:AUSWEEP,PTNO:DU.6000046991,ADDITIONAL FEATURES EN:RADIATOR,(D5000) | 01)AUSTRALIAN SWEEPER CORP P,01)DU.6000046991,CAP,01)RADIATOR,(D5000) | DU.6000046991 | 3000416 | AUSWEEP | DULEVO | 6000046991 |  | AUSWEEP |  |  |  | https://sweeperland.com/wp-content/uploads/2016/10/Dulevo-5000-Evolution-Parts-Manual.pdf | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | RADIATOR | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:D5000 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1270992 | 1270992 | CAP;CASJ,85803019,FILR | CAP;MNFR:CASE J I CO,PTNO:85803019,ADDITIONAL FEATURES EN:FILLER | 01)MAK DIESEL & EARTHMOVING,01)85803019,CAP,01)FILLER | 85803019 | 3000248 | CASE J I CO | CASE J I CO | 85803019 | [5 empty] | https://www.newhollandrochester.com/shop/85803019/ | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1269813 | 1269813 | CAP;COND,020662-31,END 270-270,PLSTC | CAP;MNFR:CONDUCTIX,PTNO:020662-31,ADDITIONAL FEATURES EN:END 270-270,PLASTIC | 01)CONDUCTIX WAMPFLER PTY LT,01)020662-31,CAP,01)END 270-270,PLASTIC | 020662-31 | 3000255 | CONDUCTIX | CONDUCTIX | 020662-31 | [5 empty] | https://partners.conductix.us/shop/Cable-Festoon-Systems/C-Track-Standard-Duty/Track-and-Mounting-Hardware/Track-Joints--Clips--End-Caps/~020662-31 | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | END | SIZE |  | CONNECTION TYPE |  | MATERIAL | PLASTIC | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 270-270 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1246514 | 1246514 | CAP;CUM,3003718 | CAP;MNFR:CUMMINS,PTNO:3003718 | CAP | 3003718 | 3000018 | CUMMINS | CUMMINS | 3003718 | [5 empty] | https://shop.cummins.com/CSSNAStore/s/product/a2w4N000003sNDeQAM/cummins-filler-cap-3003718 | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | FILLER OPENING | TYPE |  | SIZE |  | CONNECTION TYPE |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1211136 | 1211136 | CAP;CUM,3012472,SCREW CAPTIVE WASHER | CAP;MNFR:CUMMINS,PTNO:3012472,ADDITIONAL FEATURES EN:SCREW CAPTIVE WASHER | 01)CUMMINS SOUTH PACIFIC PTY,01)3012472,CAP,01)SCREW CAPTIVE WASHER | 3012472 | 3000018 | CUMMINS | CUMMINS | 3012472 | [16 empty] | CLEANSED | 31161501 Cap screws | SCREW | CAP | TYPE | CAPTIVE WASHER | THREAD DIAMETER |  | THREAD PITCH |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1333384 | 1333384 | CAP;DIEC,1P.080CPT | CAP;MNFR:DIECI,PTNO:1P.080CPT,ADDITIONAL FEATURES EN:PROTECTION, FLUSH PUSHBUTTON,MATERIAL:SILICONE RUBBER,COLOUR:RED,CERTIFICATION/ STANDARD:IP66 | CAP,01)PROTECTION, FLUSH PUSHBUTTON,MATERIAL:SILICONE | 1P.080CPT | 3000511 | DIECI | DIECI | 1P.080CPT | [5 empty] | https://toaz.info/docdownloadv2-dieci-icarus-40-17-s-n-1792010-parts-pr_0a51e3e532cdf2215ea486b61d7fbf18 | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | PROTECTIVE | TYPE | FLUSH PUSHBUTTON | SIZE |  | NOMINAL SIZE |  | SCHEDULE/WALL THICKNESS |  | END PREPARATION |  | MATERIAL | SILICONE RUBBER | PRESSURE RATING |  | COLOR | RED | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP66 | [53 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1269132 | 1269132 | CAP;DOSN,XD130257,BOTL | CAP;MNFR:DOOSAN CORPORATION,PTNO:XD130257,ADDITIONAL FEATURES EN:BOTTLE | 01)CROWN LIFT TRUCKS,01)XD130257,CAP,01)BOTTLE | XD130257 | 3000600 | DOOSAN CORPORATION | DOOSAN CORPORATION | XD130257 |  | CROWN LIFT TRUCKS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | BOTTLE | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BOTTLE | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217128 | 1217128 | CAP;DRVT,10 FNL-S,SEALING:SIZE 10,THREAD | CAP;MNFR:DRIVETRAIN,PTNO:10 FNL-S,ADDITIONAL FEATURES EN:SEALING:SIZE 10,THREAD 1-14 UNF 2B,STEEL,1-1/8INCH HEX HEAD,ORFS,5/ | 01)DRIVETRAIN AUSTRALIA,01)10 FNL-S,CAP,01)SEALING:SIZE 10,THREAD 1-14 | 10 FNL-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 10 FNL-S | PARKER |  |  |  |  | https://www.hydradynellc.com/images/document/Seal-Lok_O-Ring_Face_Seal_Tube_Fittings_PNLO.pdf | [10 empty] | ENRICHED | 40172400 Pipe caps | CAP | PIPE | TYPE | SEALING | NOMINAL SIZE | 5/8 IN | END CONNECTION | 1 IN-14 TPI UNF-2B (ORFS) | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 6000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEX HEAD SIZE:1-1/8 IN | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217224 | 1217224 | CAP;DRVT,10 FNTX-S,HSE,7/8 IN F.JIC,STL | CAP;MNFR:DRIVETRAIN,PTNO:10 FNTX-S,ADDITIONAL FEATURES EN:HOSE,7/8 IN F.JIC,STEEL,HEX,HYDRAULIC | 01)DRIVETRAIN AUSTRALIA,01)10 FNTX-S,CAP,01)HOSE,7/8 IN F.JIC,STEEL,HEX | 10 FNTX-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 10 FNTX-S | PARKER |  |  |  |  | https://www.parker.com/parkerimages/tfd/cat/pdffiles/C-Triple-Lok/fntx.pdf | [10 empty] | ENRICHED | 40141734 Hose fitting | CAP | HOSE | TYPE | HYDRAULIC | SIZE | 5/8 IN | END CONNECTION | 7/8 IN-14 TPI FEMALE JIC SAE 37 DEG FLARE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 5000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEX GRIP | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217126 | 1217126 | CAP;DRVT,12 FNL-S,SEALING:SIZE 12,THREAD | CAP;MNFR:DRIVETRAIN,PTNO:12 FNL-S,ADDITIONAL FEATURES EN:SEALING:SIZE 12,THREAD 1-3/16-12 UNF-2B,STEEL,1-3/8INCH HEX HEAD,OR | 01)DRIVETRAIN AUSTRALIA,01)12 FNL-S,CAP,01)SEALING:SIZE 12,THREAD 1-3/ | 12 FNL-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 12 FNL-S | PARKER |  |  |  |  | https://www.hydradynellc.com/images/document/Seal-Lok_O-Ring_Face_Seal_Tube_Fittings_PNLO.pdf | [10 empty] | ENRICHED | 40172400 Pipe caps | CAP | PIPE | TYPE | SEALING | NOMINAL SIZE | 3/4 IN | END CONNECTION | 1-3/16 IN-12 TPI UNF-2B (ORFS) | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 6000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEX HEAD SIZE:1-3/8 IN | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217134 | 1217134 | CAP;DRVT,16 FNL-S,SEALING:SIZE 16,THREAD | CAP;MNFR:DRIVETRAIN,PTNO:16 FNL-S,ADDITIONAL FEATURES EN:SEALING:SIZE 16,THREAD 1-7/16-12 UNF-2B,STEEL,1-5/8INCH HEX HEAD,OR | 01)DRIVETRAIN AUSTRALIA,01)16 FNL-S,CAP,01)SEALING:SIZE 16,THREAD 1-7/ | 16 FNL-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 16 FNL-S | PARKER |  |  |  |  | https://www.hydradynellc.com/images/document/Seal-Lok_O-Ring_Face_Seal_Tube_Fittings_PNLO.pdf | [10 empty] | ENRICHED | 40172400 Pipe caps | CAP | PIPE | TYPE | SEALING | NOMINAL SIZE | 1 IN | END CONNECTION | 1-7/16 IN-12 TPI UNF-2B (ORFS) | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 6000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEX HEAD SIZE:1-5/8 IN | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217129 | 1217129 | CAP;DRVT,4 FNL-S,SEALING:SIZE 4,THREAD 9 | CAP;MNFR:DRIVETRAIN,PTNO:4 FNL-S,ADDITIONAL FEATURES EN:SEALING:SIZE 4,THREAD 9/16-18 UNF 2B,STEEL,11/16INCH HEX HEAD,ORFS | 01)DRIVETRAIN AUSTRALIA,01)4 FNL-S,CAP,01)SEALING:SIZE 4,THREAD 9/16- | 4 FNL-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 4 FNL-S | PARKER |  |  |  |  | https://www.hydradynellc.com/images/document/Seal-Lok_O-Ring_Face_Seal_Tube_Fittings_PNLO.pdf | [10 empty] | ENRICHED | 40172400 Pipe caps | CAP | PIPE | TYPE | SEALING | NOMINAL SIZE | 1/4 IN | END CONNECTION | 9/16 IN-18 TPI UNF-2B (ORFS) | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 9200 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEX HEAD SIZE:11/16 IN | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217306 | 1217306 | CAP;DRVT,6 FNTX-S,HOSE: 9/16IN-18 THREAD | CAP;MNFR:DRIVETRAIN,PTNO:6 FNTX-S,ADDITIONAL FEATURES EN:HOSE: 9/16IN-18 THREAD,JIC,SAE 37DEG FLARE, STEEL,HEX GRIP | 01)DRIVETRAIN AUSTRALIA,01)6 FNTX-S,CAP,01)HOSE: 9/16IN-18 THREAD,JIC | 6 FNTX-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 6 FNTX-S | PARKER |  |  |  |  | https://www.parker.com/parkerimages/tfd/cat/pdffiles/C-Triple-Lok/fntx.pdf | [10 empty] | ENRICHED | 40141734 Hose fitting | CAP | HOSE | TYPE |  | SIZE | 3/8 IN | END CONNECTION | 9/16 IN-18 TPI FEMALE JIC SAE 37 DEG FLARE | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 6000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEX GRIP | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217132 | 1217132 | CAP;DRVT,8 FNL-S,SEALING:SIZE 8,THREAD 1 | CAP;MNFR:DRIVETRAIN,PTNO:8 FNL-S,ADDITIONAL FEATURES EN:SEALING:SIZE 8,THREAD 13/16-16 UNF 2B,STEEL,15/16INCH HEX HEAD,ORFS | 01)DRIVETRAIN AUSTRALIA,01)8 FNL-S,CAP,01)SEALING:SIZE 8,THREAD 13/16 | 8 FNL-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 8 FNL-S | PARKER |  |  |  |  | https://www.hydradynellc.com/images/document/Seal-Lok_O-Ring_Face_Seal_Tube_Fittings_PNLO.pdf | [10 empty] | ENRICHED | 40172400 Pipe caps | CAP | PIPE | TYPE | SEALING | NOMINAL SIZE | 1/2 IN | END CONNECTION | 13/16 IN-16 TPI UNF-2B (ORFS) | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING | 9200 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HEX HEAD SIZE:15/16 IN | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1266271 | 1266271 | CAP;HILT,2211436,PROTCTV,X-PC B3-BT | CAP;MNFR:HILTI,PTNO:2211436,ADDITIONAL FEATURES EN:PROTECTIVE,X-PC B3-BT | 01)HILTI (AUST) PTY LTD,01)2211436,CAP,01)PROTECTIVE,X-PC B3-BT | 2211436 | 3000289 | HILTI | HILTI | 2211436 |  | HILTI | X-PC B3-BT |  |  | https://www.hilti.com/c/CLS_DIRECT_FASTENING/CLS_DX_ACCESSORIES/CLS_DX_ACCESSORIES_FASTENER_GUIDES/2211436 | [10 empty] | CLEANSED | 31162800 Miscellaneous Hardware | CAP | PROTECTIVE | TYPE |  | SIZE |  | NOMINAL SIZE |  | SCHEDULE/WALL THICKNESS |  | END PREPARATION |  | MATERIAL |  | PRESSURE RATING |  | COLOR |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1266897 | 1266897 | CAP;NHP,ICLTOC,COMB TEE OFF,STRIP OF 51 | CAP;MNFR:NHP,PTNO:ICLTOC,ADDITIONAL FEATURES EN:COMB TEE OFF,STRIP OF 51 | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPICLTOC,CAP,01)COMB TEE OFF,STRIP OF 51 | ICLTOC | 3000664 | NHP | NHP | ICLTOC | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217587/NHP_AU_Catalog-387/NHP_AU_Catalog-388/NHP_AU_Catalog-418/ICLTOC | [10 empty] | CLEANSED |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMB TEE OFF,STRIP OF 51 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1272809 | 1272809 | CAP;PRKH,EMI-QC-CAP-ISOA100-RD,QUICK CON | CAP;MNFR:PARKER HANNIFIN,PTNO:EMI-QC-CAP-ISOA100-RD,ADDITIONAL FEATURES EN:QUICK CONNECT PVC,RED 1 ISO A | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-QC-CAP-ISOA100-RD,CAP,01)QUICK CONNECT PVC,02)RED 1 ISO A | EMI-QC-CAP-ISOA100-RD | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-QC-CAP-ISOA100-RD | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE | QUICK CONNECTION | MATERIAL | PVC | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO A | ADDITIONAL FEATURES EN | 1 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1272813 | 1272813 | CAP;PRKH,EMI-QC-CAP-ISOA12-RD,QUICK CONN | CAP;MNFR:PARKER HANNIFIN,PTNO:EMI-QC-CAP-ISOA12-RD,ADDITIONAL FEATURES EN:QUICK CONNECT PVC,RED 12 ISO A | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-QC-CAP-ISOA12-RD,CAP,01)QUICK CONNECT PVC,02)RED 12 ISO A | EMI-QC-CAP-ISOA12-RD | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-QC-CAP-ISOA12-RD | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE | QUICK CONNECTION | MATERIAL | PVC | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO A | ADDITIONAL FEATURES EN | 12 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1272811 | 1272811 | CAP;PRKH,EMI-QC-CAP-ISOA14-RD,QUICK CONN | CAP;MNFR:PARKER HANNIFIN,PTNO:EMI-QC-CAP-ISOA14-RD,ADDITIONAL FEATURES EN:QUICK CONNECT PVC,RED,14 ISO A | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-QC-CAP-ISOA14-RD,CAP,01)QUICK CONNECT PVC,02)RED,14 ISO A | EMI-QC-CAP-ISOA14-RD | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-QC-CAP-ISOA14-RD | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE | QUICK CONNECTION | MATERIAL | PVC | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO A | ADDITIONAL FEATURES EN | 14 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1254388 | 1254388 | CAP;PRKH,PD-DM-3009-3-PK,DST,3/8,(3000) | CAP;MNFR:PARKER HANNIFIN,PTNO:PD-DM-3009-3-PK,ADDITIONAL FEATURES EN:DUST,3/8,(3000) | 01)ENZED MOUNT ISA(RKM INVES,01)ENZD-DM-3009-3-PK,CAP,01)DUST,3/8,(3000) | PD-DM-3009-3-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | PD-DM-3009-3-PK | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE | DUST | SIZE | 3/8 IN | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:3000 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1332674 | 1332674 | CAP;SAN,55047384 | CAP;MNFR:MERCEDES,PTNO:55047384 | CAP | 55047384 | 3000008 | MERCEDES | MERCEDES | 55047384 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous Hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1273435 | 1273435 | CAP;SCHN,RMXPE310,END,PLSTC,YEL,RESI MAX | CAP;MNFR:SCHNEIDER INC,PTNO:RMXPE310,ADDITIONAL FEATURES EN:END,PLASTIC,YELLOW,RESI MAX,10/PAC,FOR SLIM COMB 3P+N BUSBAR | 01)SHERRIFF ELECTRICAL SUPPL,01)SCHRMXPE310,CAP,01)END,PLASTIC,YELLOW,RESI MAX,02)10/PAC,FOR SLIM COMB 3P+N B | RMXPE310 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RMXPE310 | [5 empty] | https://www.clipsal.com/products/detail?CatNo=RMXPE310&itemno=RMXPE310 | [10 empty] | ENRICHED |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | END,PLASTIC,YELLOW,RESI MAX,10/PAC,FOR SLIM COMB 3P+N BUSBAR | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1334717 | 1334717 | CAP;SIE,2BY5300-0AA76 | CAP;MNFR:SIEMENS,PTNO:2BY5300-0AA76 | CAP | 2BY5300-0AA76 | 3000032 | SIEMENS | SIEMENS | 2BY5300-0AA76 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1258204 | 1258204 | CAP;SIE,2BY5375-1AX08 | CAP;MNFR:SIEMENS,PTNO:2BY5375-1AX08 | CAP | 2BY5375-1AX08 | 3000032 | SIEMENS | SIEMENS | 2BY5375-1AX08 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1335421 | 1335421 | CAP;SIE,62415 | CAP;MNFR:SIEMENS,PTNO:62415 | CAP | 62415 | 3000032 | SIEMENS | SIEMENS | 62415 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162800 Miscellaneous hardware | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [58 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217120 | 1217120 | CAP;SKF,EC530SMS.AU,END | CAP;MNFR:SKF,PTNO:EC530SMS.AU,ADDITIONAL FEATURES EN:END | 01)APPLIED INDUSTRIAL TEC MT I,01)EC530SMS.AU,CAP,01)END | EC530SMS.AU | 3000348 | SKF | SKF | EC530SMS.AU | [16 empty] | CLEANSED |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | END | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1269190 | 1269190 | CAP;SWAG,SS-1210-C,3/4 IN TUBE | CAP;MNFR:SWAGELOK LTD,PTNO:SS-1210-C,ADDITIONAL FEATURES EN:3/4 IN TUBE | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-1210-C,CAP,01)3/4 IN TUBE | SS-1210-C | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-1210-C | [5 empty] | https://products.swagelok.com/en/c/caps/p/B-1210-C | [10 empty] | ENRICHED |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3/4 IN TUBE | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1269202 | 1269202 | CAP;SWAG,SWASS-810-C,1/2 IN TUBE | CAP;MNFR:SWAGELOK LTD,PTNO:SWASS-810-C,ADDITIONAL FEATURES EN:1/2 IN TUBE | 01)CNW (MOUNT ISA) ELECT WHO,01)SWASS-810-C,CAP,01)1/2 IN TUBE | SWASS-810-C | 3000355 | SWAGELOK LTD | SWAGELOK LTD | SS-810-C | [5 empty] | https://products.swagelok.com/en/c/caps/p/B-810-C | [10 empty] | ENRICHED |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1/2 IN TUBE | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1273510 | 1273510 | CAP;TENN,9011872,VR,HUB,WHL,F/1060626 | CAP;MNFR:TENNANT,PTNO:9011872,ADDITIONAL FEATURES EN:VR,HUB,WHEEL,F/1060626 |  | 9011872 | 3000358 | TENNANT | TENNANT | 9011872 | [5 empty] | https://www.tennantco.com/en_us/1/parts/product.vr-cap-hub-wheel-for-1060626.9011872.html | [10 empty] | ENRICHED |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VR,HUB,WHEEL,F/1060626 | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1266234 | 1266234 | CAP;TORR,EC526TIM,BRG;END,DIA178.6XWD6.5 | CAP;MNFR:TIMKEN BEARING,PTNO:EC526TIM,ADDITIONAL FEATURES EN:BRG;END,DIA178.6XWD6.5MM,STL | 01)CONSOLIDATED BEARING CO (,01)EC526TIM,CAP,01)BRG,END,DIA178.6XWD6.5MM,ST | EC526TIM | 3000360 | TIMKEN BEARING | TIMKEN BEARING | EC526TIM | [16 empty] | ENRICHED |  | CAP | NO MODIFIER | TYPE |  | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRG;END,DIA178.6XWD6.5MM,STL | [57 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1211625 | 1211625 | PLUG,IGN;GM,12622561 | PLUG,IGNITION;MNFR:GENERAL MOTORS,PTNO:12622561 | 01)BELL & MOIR - PARTS ORDER,01)12622561,PLUG,IGNITION | 12622561 | 3000390 | GENERAL MOTORS | GENERAL MOTORS | 12622561 |  | BELL & MOIR |  |  |  | https://multiparts.ee/en/product/General_Motors/12622561/ | [10 empty] | ENRICHED | 40141700 Hardware and fittings | PLUG | IGNITION | TYPE | SPARK,IGNITION | DESIGNATION |  | SPARK GAP |  | TEMPERATURE RATING |  | MATERIAL |  | INSULATOR TIP |  | THREAD SIZE |  | INSERTION LENGTH |  | TERMINAL TYPE |  | THERMAL CONDUCTIVITY |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [46 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | Processed based on Websource, Conflict w.r.t Input | 1269951 | 1269951 | PLUG;AB,2080IQ4OB4 | PLUG;MNFR:ALLEN BRADLEY,PTNO:2080IQ4OB4 | 01)COBAR POWERHOUSE,01)2080IQ4OB4,PLUG | 2080IQ4OB4 | 3000226 | ALLEN BRADLEY | ALLEN BRADLEY | 2080-IQ4OB4 | [5 empty] | https://www.rockwellautomation.com/en-us/products/details.2080-IQ4OB4.html | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/2080IQ4OB4-57960-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [9 empty] | ENRICHED | 43201500 System boards processors interfaces or modules | MODULE | INPUT/OUTPUT | TYPE | COMBINATION | VOLTAGE RATING | 12/24 VDC | CURRENT RATING | 3 MA | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY | 5 TO 95 PCT | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING | -25 TO 65 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1270680 | 1270680 | PLUG;CASJ,E47240,PLG | PLUG;MNFR:CASE J I CO,PTNO:E47240,ADDITIONAL FEATURES EN:PLUG | 01)MAK DIESEL & EARTHMOVING,01)E47240,PLUG,01)PLUG | E47240 | 3000248 | CASE J I CO | CASE J I CO | E47240 |  | MAK DIESEL & EARTHMOVING |  |  |  | https://bartsparts.com/products/case-ih-e47240/ | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUG | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217127 | 1217127 | PLUG;DRVT,10 PNLO-S,PROTCTV,DUST & MOIST | PLUG;MNFR:DRIVETRAIN,PTNO:10 PNLO-S,ADDITIONAL FEATURES EN:PROTECTIVE,DUST & MOISTURE SEAL:SIZE 10,THREAD 1-14 UNF-2A,STEEL,1- | 01)DRIVETRAIN AUSTRALIA,01)10 PNLO-S,PLUG,01)PROTECTIVE,DUST & MOISTURE | 10 PNLO-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 10 PNLO-S | PARKER |  |  |  |  | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalog%20PDFs/O-LOK/O-LOK%20FITTINGS.pdf | [10 empty] | ENRICHED | 40183106 Tube plug | PLUG | TUBE | TYPE | PROTECTIVE | NOMINAL SIZE | 5/8 IN | END CONNECTION | 1 IN-14 TPI UNF-2A (ORFS) | LENGTH | 26 MM | PRESSURE CLASS/RATING | 420 BAR | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DUST & MOISTURE SEAL SIZE:10 MM | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217133 | 1217133 | PLUG;DRVT,12 PNLO-S,PROTCTV,DUST & MOIST | PLUG;MNFR:DRIVETRAIN,PTNO:12 PNLO-S,ADDITIONAL FEATURES EN:PROTECTIVE,DUST & MOISTURE SEAL:SIZE 12,THREAD 1-3/16INCH UNF-2A,ST | 01)DRIVETRAIN AUSTRALIA,01)12 PNLO-S,PLUG,01)PROTECTIVE,DUST & MOISTURE | 12 PNLO-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 12 PNLO-S | PARKER |  |  |  |  | https://www.geeve.com/media/wysiwyg/Downloads/1._Adapters_2018_Compleet.pdf | http://www.parkerstore.jp/phj/catalog/pdf/english_ex/EFCG9_Industrial_Tube_Fittings_Adapters_and_Equipment-Cat_4300_EN/EFCG9_Tube_Fittings_4300_2_Seal-Lok_O-Ring_Face_Seal_Fittings.pdf | [9 empty] | ENRICHED | 40183106 Tube plug | PLUG | TUBE | TYPE | PROTECTIVE | NOMINAL SIZE | 3/4 IN | END CONNECTION | 1-3/16 IN-12 TPI UNF-2A (ORFS) | LENGTH | 1-1/16 IN | PRESSURE CLASS/RATING | 6000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DUST & MOISTURE SEAL SIZE:12 MM | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217130 | 1217130 | PLUG;DRVT,16 PNLO-S,PROTCTV,DUST & MOIST | PLUG;MNFR:DRIVETRAIN,PTNO:16 PNLO-S,ADDITIONAL FEATURES EN:PROTECTIVE,DUST & MOISTURE SEAL:SIZE 16,THREAD 1-7/16-12 UNF-2A,STE | 01)DRIVETRAIN AUSTRALIA,01)16 PNLO-S,PLUG,01)PROTECTIVE,DUST & MOISTURE | 16 PNLO-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 16 PNLO-S | PARKER |  |  |  |  | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalog%20PDFs/O-LOK/O-LOK%20FITTINGS.pdf | [10 empty] | ENRICHED | 40183106 Tube plug | PLUG | TUBE | TYPE | PROTECTIVE | NOMINAL SIZE | 1 IN | END CONNECTION | 1-7/16 IN-12 TPI UNF-2A (ORFS) | LENGTH | 28 MM | PRESSURE CLASS/RATING | 420 BAR | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DUST & MOISTURE SEAL SIZE:16 MM | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217313 | 1217313 | PLUG;DRVT,20 PNTX-S,HOSE: 1 5/8-12 MALE | PLUG;MNFR:DRIVETRAIN,PTNO:20 PNTX-S,ADDITIONAL FEATURES EN:HOSE: 1 5/8-12 MALE,37DEG FLARE,HEX GRIP | 01)DRIVETRAIN AUSTRALIA,01)20 PNTX-S,PLUG,01)HOSE: 1 5/8-12 MALE,37DEG F | 20 PNTX-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 20 PNTX-S | PARKER |  |  |  |  | https://www.parker.com/parkerimages/tfd/cat/pdffiles/C-Triple-Lok/pntx.pdf | [10 empty] | ENRICHED | 40183106 Tube plug | PLUG | TUBE | TYPE | HEX GRIP | NOMINAL SIZE | 1-1/4 IN | END CONNECTION | 1-5/8 IN-12 TPI MALE 37 DEG FLARE | LENGTH | 1-7/16 IN | PRESSURE CLASS/RATING | 4000 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217124 | 1217124 | PLUG;DRVT,4 PNLO-S,PROTCTV,DUST & MOISTU | PLUG;MNFR:DRIVETRAIN,PTNO:4 PNLO-S,ADDITIONAL FEATURES EN:PROTECTIVE,DUST & MOISTURE SEAL:SIZE 4,THREAD 9/16-18 UNF-2A,STEEL | 01)DRIVETRAIN AUSTRALIA,01)4 PNLO-S,PLUG,01)PROTECTIVE,DUST & MOISTURE | 4 PNLO-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 4 PNLO-S | PARKER |  |  |  |  | https://www.parker.com/parkerimages/euro_tfd/cat/english/Katalog%20PDFs/O-LOK/O-LOK%20FITTINGS.pdf | [10 empty] | ENRICHED | 40183106 Tube plug | PLUG | TUBE | TYPE | PROTECTIVE | NOMINAL SIZE | 1/4 IN | END CONNECTION | 9/16 IN-18 TPI UNF-2A (ORFS) | LENGTH | 17 MM | PRESSURE CLASS/RATING | 630 BAR | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DUST & MOISTURE SEAL SIZE:4 MM | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217300 | 1217300 | PLUG;DRVT,4 PNTX-S,HOSE:7/16-20 MALE,37D | PLUG;MNFR:DRIVETRAIN,PTNO:4 PNTX-S,ADDITIONAL FEATURES EN:HOSE:7/16-20 MALE,37DEG FLARE,HEX GRIP | 01)DRIVETRAIN AUSTRALIA,01)4 PNTX-S,PLUG,01)HOSE:7/16-20 MALE,37DEG FLA | 4 PNTX-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 4 PNTX-S | PARKER |  |  |  |  | https://www.parker.com/parkerimages/tfd/cat/pdffiles/C-Triple-Lok/pntx.pdf | [10 empty] | ENRICHED | 40183106 Tube plug | PLUG | TUBE | TYPE | HEX GRIP | NOMINAL SIZE | 1/4 IN | END CONNECTION | 7/16 IN-20 TPI MALE 37 DEG FLARE | LENGTH | 13/16 IN | PRESSURE CLASS/RATING | 7500 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1217131 | 1217131 | PLUG;DRVT,6 PNLO-S,PROTCTV,DUST & MOISTU | PLUG;MNFR:DRIVETRAIN,PTNO:6 PNLO-S,ADDITIONAL FEATURES EN:PROTECTIVE,DUST & MOISTURE SEAL:SIZE 6,THREAD 11/16-16 UNF-2A,STEEL | 01)DRIVETRAIN AUSTRALIA,01)6 PNLO-S,PLUG,01)PROTECTIVE,DUST & MOISTURE | 6 PNLO-S | 3000461 | DRIVETRAIN | DRIVETRAIN | 6 PNLO-S | PARKER |  |  |  |  | http://www.parkerstore.jp/phj/catalog/pdf/english_ex/EFCG9_Industrial_Tube_Fittings_Adapters_and_Equipment-Cat_4300_EN/EFCG9_Tube_Fittings_4300_2_Seal-Lok_O-Ring_Face_Seal_Fittings.pdf | [10 empty] | ENRICHED | 40183106 Tube plug | PLUG | TUBE | TYPE | PROTECTIVE | NOMINAL SIZE | 3/8 IN | END CONNECTION | 11/16 IN-16 TPI UNF-2A (ORFS) | LENGTH | 3/4 IN | PRESSURE CLASS/RATING | 9200 PSI | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DUST & MOISTURE SEAL SIZE:6 MM | [51 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1218850 | 1218850 | PLUG;EPM,33523-00 | PLUG;MNFR:EMERSON PROCESS MANAGEMENT,PTNO:33523-00 |  | 33523-00 | 3000268 | EMERSON PROCESS MANAGEMEN | EMERSON PROCESS MANAGEMENT | 33523-00 | [5 empty] | https://www.emerson.com/en-us/catalog/rosemount-sku-33523-00 | [10 empty] | ENRICHED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE | FILL | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1270938 | 1270938 | PLUG;LINC,01-093075,PRIMING | PLUG;MNFR:LINCOLN,PTNO:01-093075,ADDITIONAL FEATURES EN:PRIMING | 01)ISADRAULICS,01)01-093075,PLUG,01)PRIMING | 01-093075 | 3000550 | LINCOLN | LINCOLN | 01-093075 |  | ISADRAULICS |  |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE | PRIMING | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRIMING | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | PARTIALLY MATCH | 1269791 | 1269791 | PLUG;LINC,IWSPXLAK354,WIRE CONTROL | PLUG;MNFR:LINCOLN,PTNO:IWSPXLAK354,ADDITIONAL FEATURES EN:WIRE CONTROL | 01)GLOBAL WELDING SUPPLIES (,01)IWSPXLAK354,PLUG,01)WIRE CONTROL | IWSPXLAK354 | 3000550 | LINCOLN | LINCOLN | IWSPXLAK354 |  | GLOBAL WELDING SUPPLIES |  |  |  | https://weldfabulous.com/tweco-lak354-control-wire-plug-lincoln-26422450/ | [10 empty] | CLEANSED | 39121402 Electrical plugs | PLUG | ELECTRICAL | TYPE | WIRE CONTROL | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS |  | PIN MATERIAL |  | CONNECTION TYPE |  | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1273222 | 1273222 | PLUG;NHP,ISOPS440P,40A,4PIN,STRGT,M | PLUG;MNFR:NHP,PTNO:ISOPS440P,ADDITIONAL FEATURES EN:40A,4PIN,STRAIGHT,MALE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPISOPS440P,PLUG,01)40A,4PIN,STRAIGHT,MALE | ISOPS440P | 3000664 | NHP | NHP | ISOPS440P | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-796/NHP_AU_Catalog-1019/NHP_AU_Catalog-1020/ISOPS440P | [10 empty] | ENRICHED | 39121402 Electrical plugs | PLUG | ELECTRICAL | TYPE | STRAIGHT | VOLTAGE RATING | 500 VAC | CURRENT RATING | 40 A | NUMBER OF PINS | 4 | PIN MATERIAL |  | CONNECTION TYPE | MALE | SIZE |  | BODY MATERIAL | POLYCARBONATE | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1273221 | 1273221 | PLUG;NHP,ISOPS540P,40A,5PIN,STRGT,M | PLUG;MNFR:NHP,PTNO:ISOPS540P,ADDITIONAL FEATURES EN:40A,5PIN,STRAIGHT,MALE | 01)SHERRIFF ELECTRICAL SUPPL,01)NHPISOPS540P,PLUG,01)40A,5PIN,STRAIGHT,MALE | ISOPS540P | 3000664 | NHP | NHP | ISOPS540P | [5 empty] | https://www.nhp.com.au/Catalogs/NHP_AU_Catalog/NHP_AU_Catalog-Categories/NHP_AU_Catalog-217585/NHP_AU_Catalog-796/NHP_AU_Catalog-1019/NHP_AU_Catalog-1020/ISOPS540P | [10 empty] | ENRICHED | 39121402 Electrical plugs | PLUG | ELECTRICAL | TYPE | STRAIGHT | VOLTAGE RATING | 500 VAC | CURRENT RATING | 40 A | NUMBER OF PINS | 5 | PIN MATERIAL |  | CONNECTION TYPE | MALE | SIZE |  | BODY MATERIAL | POLYCARBONATE | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1272810 | 1272810 | PLUG;PRKH,EMI-QC-PG-ISOA100-RD,QUICK CON | PLUG;MNFR:PARKER HANNIFIN,PTNO:EMI-QC-PG-ISOA100-RD,ADDITIONAL FEATURES EN:QUICK CONNECT PVC,RED,1 ISO A | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-QC-PG-ISOA100-RD,PLUG,01)QUICK CONNECT PVC,02)RED,1 ISO A | EMI-QC-PG-ISOA100-RD | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-QC-PG-ISOA100-RD |  | ENZED MOUNT ISA(RKM INVES |  |  |  | https://www.pearson-hyds.co.uk/ProductGrp/iso-a-couplings | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION | QUICK CONNECTION | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:RED,1 | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1274709 | 1274709 | PLUG;PRKH,EMI-QC-PG-ISOA12-RD,PVC,QCK CO | PLUG;MNFR:PARKER HANNIFIN,PTNO:EMI-QC-PG-ISOA12-RD,ADDITIONAL FEATURES EN:PVC,QUICK CONNECT,RED 12 ISO A | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-QC-PG-ISOA12-RD,PLUG,01)PVC,QUICK CONNECT,RED 12 IS | EMI-QC-PG-ISOA12-RD | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-QC-PG-ISOA12-RD |  | ENZED MOUNT ISA(RKM INVES |  |  |  | https://www.pearson-hyds.co.uk/ProductGrp/iso-a-couplings | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION | QUICK CONNECTION | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:RED,12 | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1272812 | 1272812 | PLUG;PRKH,EMI-QC-PG-ISOA14-RD,QUICK CONN | PLUG;MNFR:PARKER HANNIFIN,PTNO:EMI-QC-PG-ISOA14-RD,ADDITIONAL FEATURES EN:QUICK CONNECT PVC,RED,14 ISO A | 01)ENZED MOUNT ISA(RKM INVES,01)EMI-QC-PG-ISOA14-RD,PLUG,01)QUICK CONNECT PVC,02)RED,14 ISO A | EMI-QC-PG-ISOA14-RD | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | EMI-QC-PG-ISOA14-RD |  | ENZED MOUNT ISA(RKM INVES |  |  |  | https://www.pearson-hyds.co.uk/ProductGrp/iso-a-couplings | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE |  | END CONNECTION | QUICK CONNECTION | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:RED,14 | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | PARTIALLY MATCH | 1254389 | 1254389 | PLUG;PRKH,PD-DM-3005-3-PK,DST,3/8,(3000) | PLUG;MNFR:PARKER HANNIFIN,PTNO:PD-DM-3005-3-PK,ADDITIONAL FEATURES EN:DUST,3/8,(3000) | 01)ENZED MOUNT ISA(RKM INVES,01)ENZD-DM-3005-3-PK,PLUG,01)DUST,3/8,(3000) | PD-DM-3005-3-PK | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | PD-DM-3005-3-PK |  | ENZED MOUNT ISA(RKM INVES |  |  |  | https://ph.parker.com/in/en/product/quick-coupling-dust-caps-and-plugs/3005-3 | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE | DUST | SIZE | 3/8 IN | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:3000 | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | URL FOR REFERENCE ONLY | 1210688 | 1210688 | PLUG;PRKH,VSTI-RD-G1 1/4A-B1-NBR | PLUG;MNFR:PARKER HANNIFIN,PTNO:VSTI-RD-G1 1/4A-B1-NBR |  | VSTI-RD-G1 1/4A-B1-NBR | 3000331 | PARKER HANNIFIN | PARKER HANNIFIN | VSTI-RD-G1 1/4A-B1-NBR | [5 empty] | https://www.parker.com/parkerimages/tfd/cat/pdffiles/G-Pipe-Port/vsti%20r-ed.pdf | [10 empty] | CLEANSED | 40141700 Hardware and fittings | PLUG | NO MODIFIER | TYPE |  | SIZE | 1-1/4 IN | END CONNECTION | BSPP | MATERIAL | NBR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | [60 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1273227 | 1273227 | PLUG;SCHN,56P432EO,32A,4PIN,M,CLIPSAL | PLUG;MNFR:SCHNEIDER INC,PTNO:56P432EO,ADDITIONAL FEATURES EN:32A,4PIN,MALE,CLIPSAL | 01)SHERRIFF ELECTRICAL SUPPL,01)CLI56P432EO,PLUG,01)32A,4PIN,MALE,CLIPSAL | 56P432EO | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 56P432-EO |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/56P432-EO | [10 empty] | ENRICHED | 39121402 Electrical plugs | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING | 500 VAC | CURRENT RATING | 32 A | NUMBER OF PINS | 4 | PIN MATERIAL | BRASS | CONNECTION TYPE | MALE | SIZE | 79 WDXHT HTX168 DP MM | BODY MATERIAL | PLASTIC | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CLIPSAL | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1273226 | 1273226 | PLUG;SCHN,56P532EO,32A,5PIN,M,CLIPSAL | PLUG;MNFR:SCHNEIDER INC,PTNO:56P532EO,ADDITIONAL FEATURES EN:32A,5PIN,MALE,CLIPSAL | 01)SHERRIFF ELECTRICAL SUPPL,01)CLI56P532EO,PLUG,01)32A,5PIN,MALE,CLIPSAL | 56P532EO | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 56P532-EO |  | SHERRIFF ELECTRICAL SUPPLY |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/56P532-EO | [10 empty] | ENRICHED | 39121402 Electrical plugs | PLUG | ELECTRICAL | TYPE |  | VOLTAGE RATING | 500 VAC | CURRENT RATING | 32 A | NUMBER OF PINS | 5 | PIN MATERIAL | BRASS | CONNECTION TYPE | MALE | SIZE | 79 WDXHT HTX168 DP MM | BODY MATERIAL | PLASTIC | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CLIPSAL | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | PART NO AS PER WEB SOURCE | 1273924 | 1273924 | PLUG;SCHN,CLI220S20GRY,CONDUIT END THREA | PLUG;MNFR:SCHNEIDER INC,PTNO:CLI220S20GRY,ADDITIONAL FEATURES EN:CONDUIT END THREADED RIGID 20MM 14MML PVC GREY | 01)HAYMANS ELECTRICAL,01)CLI220S20GRY,PLUG,01)CONDUIT END THREADED RIGID | CLI220S20GRY | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 220S20-GY |  | HAYMANS ELECTRICAL |  |  |  | https://eref.se.com/au/en/middys/product-pdf/220S20-GY | [10 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | PLUG | CONDUIT | TYPE | RIGID | SIZE | 20 DIAX14 LG MM | MATERIAL | PVC | END CONNECTION | THREAD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CLIPSAL,COLOR:GREY | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | PART NO AS PER WEB SOURCE | 1273925 | 1273925 | PLUG;SCHN,CLI220S25gry,CONDUIT END THREA | PLUG;MNFR:SCHNEIDER INC,PTNO:CLI220S25gry,ADDITIONAL FEATURES EN:CONDUIT END THREADED RIGID 25MM 17MML PVC GREY | 01)HAYMANS ELECTRICAL,01)CLI220S25GRY,PLUG,01)CONDUIT END THREADED RIGID | CLI220S25gry | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 220S25-GY |  | HAYMANS ELECTRICAL |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/220S25-GY | [10 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | PLUG | CONDUIT | TYPE | RIGID | SIZE | 25 DIAX17 LG MM | MATERIAL | PVC | END CONNECTION | THREAD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CLIPSAL,COLOR:GREY | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | PART NO AS PER WEB SOURCE | 1257786 | 1257786 | PLUG;SCHN,CLI220S32gry,CONDUIT END THREA | PLUG;MNFR:SCHNEIDER INC,PTNO:CLI220S32gry,ADDITIONAL FEATURES EN:CONDUIT END THREADED RIGID 32MM 20MML PVC GREY | 01)HAYMANS ELECTRICAL,01)CLI220S32GRY,PLUG,01)CONDUIT END THREADED RIGID | CLI220S32gry | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 220S32-GY |  | HAYMANS ELECTRICAL |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/220S32-GY | [10 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | PLUG | CONDUIT | TYPE | RIGID | SIZE | 32 DIAX20 LG MM | MATERIAL | PVC | END CONNECTION | THREAD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CLIPSAL,COLOR:GREY | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | PART NO AS PER WEB SOURCE | 1273926 | 1273926 | PLUG;SCHN,CLI220S40gry,CONDUIT END THREA | PLUG;MNFR:SCHNEIDER INC,PTNO:CLI220S40gry,ADDITIONAL FEATURES EN:CONDUIT END THREADED RIGID 40MM 23.5MML PVC GREY | 01)HAYMANS ELECTRICAL,01)CLI220S40GRY,PLUG,01)CONDUIT END THREADED RIGID | CLI220S40gry | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 220S40-GY |  | HAYMANS ELECTRICAL |  |  |  | https://eref.se.com/au/en/clipsal/product-pdf/220S40-GY | [10 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | PLUG | CONDUIT | TYPE | RIGID | SIZE | 40 DIAX23.5 LG MM | MATERIAL | PVC | END CONNECTION | THREAD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CLIPSAL,COLOR:GREY | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 | PART NO AS PER WEB SOURCE | 1273927 | 1273927 | PLUG;SCHN,CLI220S50gry,CONDUIT END THREA | PLUG;MNFR:SCHNEIDER INC,PTNO:CLI220S50gry,ADDITIONAL FEATURES EN:CONDUIT END THREADED RIGID 50MM 27MML PVC GREY | 01)HAYMANS ELECTRICAL,01)CLI220S50GRY,PLUG,01)CONDUIT END THREADED RIGID | CLI220S50gry | 3000344 | SCHNEIDER INC | SCHNEIDER INC | 220S50-GY |  | HAYMANS ELECTRICAL |  |  |  | https://eref.se.com/au/en/middys/product-pdf/220S50-GY | [10 empty] | CLEANSED | 39131700 Wire Raceways Conduit and Busways | PLUG | CONDUIT | TYPE | RIGID | SIZE | 50 DIAX27 LG MM | MATERIAL | PVC | END CONNECTION | THREAD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:CLIPSAL,COLOR:GREY | [59 empty] | Production Completed
STP_009 | Data Enrichment | RYM | OK | 2023-07-10 | 12-07-2023 |  | 1273496 | 1273496 | PLUG;SCHN,EY56P310,3PIN,10A,EASY 56,250V | PLUG;MNFR:SCHNEIDER INC,PTNO:EY56P310,ADDITIONAL FEATURES EN:3PIN,10A,EASY 56,250V |  | EY56P310 | 3000344 | SCHNEIDER INC | SCHNEIDER INC | EY56P310 | [5 empty] | https://www.se.com/au/en/product/EY56P310/easy56-plug-3-pin-10a-250v/ | [10 empty] | ENRICHED | 39121402 Electrical plugs | PLUG | ELECTRICAL | TYPE | LOW VOLTAGE | VOLTAGE RATING | 250 V | CURRENT RATING | 10 A | NUMBER OF PINS | 3 | PIN MATERIAL | BRASS | CONNECTION TYPE |  | SIZE | 67 WDX67 HTX112.5 DP MM | BODY MATERIAL | POLYCARBONATE | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:EASY 56 | [49 empty] | Production Completed
STP_009 | Data Enrichment | RYM | NM DOUBT | 2023-07-10 | 12-07-2023 |  | 1274849 | 1274849 | PLUG;SICK,2095766,CONNECTORS AND CABLES | PLUG;MNFR:SICK,PTNO:2095766,ADDITIONAL FEATURES EN:CONNECTORS AND CABLES | 01)SICK PTY LTD,01)2095766,PLUG,01)CONNECTORS AND CABLES | 2095766 | 3000448 | SICK | SICK | 2095766 | [5 empty] | https://www.sick.com/il/en/yg2a14-020ub3xleax/p/p559279 | [10 empty] | CLEANSED |  | ADAPTER | PLUG | TYPE |  | INPUT RATING |  | FEMALE END TYPE |  | MALE END TYPE |  | FEMALE END RATING |  | MALE END RATING |  | MATERIAL |  | SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed