## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1288764 | 1288764 | EA | FILTER,AIR;180 AND 90 |  |  | FILTER,AIR;ADDITIONAL FEATURES EN:180 AND 90,MNFR:01)BROKK,PTNO:01)3136 2600 06 | 01)180 AND 90,01)BROKK,01)3136 2600 06 |  |  | BROKK | BROKK | 3136 2600 06 | [5 empty] | https://udrbrokk.ru/easyfiles/45-B.pdf | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 180 AND 90 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276546 | 1276546 | EA | FILTER,AIR;4.0MM LEAD TO 4.7MM FITTING P |  |  | FILTER,AIR;ADDITIONAL FEATURES EN:4.0MM LEAD TO 4.7MM FITTING PIN ADAPTOR,MNFR:01)ADVPIPE,PTNO:01)PA4047 | 01)4.0MM LEAD TO 4.7MM FITTING,01)ADVPIPE,01)PA4047 |  |  | ADVPIPE | ADVPIPE | PA4047 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4 MM LEAD TO 4.7 MM FITTING PIN ADAPTOR | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236297 | 1236297 | EA | FILTER,AIR;ABSOLUTE,SQ 12 X HT 3 IN |  |  | FILTER,AIR;TYPE:ABSOLUTE,SIZE:SQ 12 X HT 3 IN,MNFR:01)LINTERN,PTNO:01)157137 | ABSOLUTE,EN_01)SQ 12 X HT 3 IN,01)LINTERN,01)157137 |  |  | LINTERN | LINTERN | 157137 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ABSOLUTE | FILTER RATING |  | SIZE | 12 LGX12 WDX3 HT IN | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236292 | 1236292 | EA | FILTER,AIR;AIR BREATHER |  |  | FILTER,AIR;TYPE:AIR BREATHER,SIZE:ID 63 X OD 90 X LG 41 MM,MNFR:01)FLSMIDTH,PTNO:01)01.NBF.25-40.3VLBP | AIR BREATHER,EN_01)ID 63 X OD 90 X LG 41 MM,01)FLSMIDTH,01)01.NBF.25-40.3VLBP |  |  | FLSMIDTH | FLSMIDTH | 01.NBF.25-40.3VLBP | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | AIR BREATHER | FILTER RATING |  | SIZE | 63 IDX90 ODX41 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1316231 | 1316231 | EA | FILTER,AIR;AIR CONDITIONER, ELEMENT |  |  | FILTER,AIR;TYPE:AIR CONDITIONER, ELEMENT,FILTER RATING:20 UM,MNFR:01)ISADRAUL,PTNO:01)1.0270 H20XL A00 0 M | AIR CONDITIONER, ELEMENT,20 UM,01)ISADRAUL,01)1.0270 H20XL A00 0 M |  |  | ISADRAUL | ISADRAUL | 1.0270H20XL-A00-0-M | [5 empty] | https://hydro-funk.com/en/categories/hydraulics/bosch-rexroth-1-0270h20xl-a00-0-m-filter-element |  |  | AIR CONDITIONER | [7 empty] | Enriched | 40161807 | ELEMENT | FILTER | TYPE |  | FILTER RATING | 20 UM | SERVICE |  | MATERIAL | GLASFASERMATERIAL,EINWEG | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1347586 | 1347586 | EA | FILTER,AIR;AIR CONDITIONER, ELEMENT |  |  | FILTER,AIR;TYPE:AIR CONDITIONER, ELEMENT,MNFR:01)QLDAIRSY,PTNO:01)QAS1115 | AIR CONDITIONER, ELEMENT,01)QLDAIRSY,01)QAS1115 |  |  | QLDAIRSY | QLDAIRSY | QAS1115 | [5 empty] | Url Not Found |  |  | AIR CONDITIONER | [7 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236291 | 1236291 | EA | FILTER,AIR;AIR CONDITIONER,T20 |  |  | FILTER,AIR;TYPE:AIR CONDITIONER,ADDITIONAL FEATURES EN:T20,MNFR:01)SCANTECH,PTNO:01)5820-00-0047 | AIR CONDITIONER,01)T20,01)SCANTECH,01)5820-00-0047 |  |  | SCANTECH | SCANTECH | 5820-00-0047 | [5 empty] | Url Not Found |  |  | AIR CONDITIONER | [7 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | T20 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1302385 | 1302385 | EA | FILTER,AIR;AIRCON, AREA 9.96M2, SAE FINE |  |  | FILTER,AIR;ADDITIONAL FEATURES EN:AIRCON, AREA 9.96M2, SAE FINE GRADE 99.8, FLOW,MNFR:01)COMPAIR,PTNO:01)ZS1192229 | 01)AIRCON, AREA 9.96M2, SAE FI,01)COMPAIR,01)ZS1192229 |  |  | COMPAIR | COMPAIR | ZS1192229 |  | AIRCON |  |  |  | https://aircompressorpartscn.com/productclass_85/productdetail_1494.shtml | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AREA 9.96M2,SAE FINE GRADE 99.8,FLOW | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1319999 | 1319999 | EA | FILTER,AIR;BREATHER |  |  | FILTER,AIR;TYPE:BREATHER,MNFR:01)RME,PTNO:01)MSA02-HYP001.6E | BREATHER,01)RME,01)MSA02-HYP001.6E |  |  | RME | RME | MSA02-HYP001.6E | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | BREATHER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1236293 | 1236293 | EA | FILTER,AIR;BREATHER, DESICCANT |  |  | FILTER,AIR;TYPE:BREATHER, DESICCANT,MNFR:01)FINLAY,PTNO:01)10-21-3414 | BREATHER, DESICCANT,01)FINLAY,01)10-21-3414 |  |  | FINLAY | FINLAY | 10-21-3414 | [5 empty] | https://www.crusherconsumables.co.uk/product-page/10-21-3414-filter-breather-desiccant-air-breather-terex-finlay | [9 empty] | FILTER | Cleansed | 40142512 | BREATHER | NO MODIFIER | TYPE | DESICCANT AIR | CONNECTION SIZE |  | FILTRATION RATE |  | MATERIAL |  | FILTER MEDIA |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1349728 | 1349728 | EA | FILTER,AIR;C/W OILER, (PARTS LIST A, ITE |  |  | FILTER,AIR;ADDITIONAL FEATURES EN:C/W OILER, (PARTS LIST A, ITEM 9), REPAIRABLE ITEM,MNFR:01)SUPERVAC,PTNO:01)OL13 | 01)C/W OILER, (PARTS LIST A, I,01)SUPERVAC,01)OL13 |  |  | SUPERVAC | SUPERVAC | OL13 | [5 empty] | Url Not Found |  | 9 | [8 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W OILER,PARTS LIST A,REPAIRABLE ITEM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1232517 | 1232517 | EA | FILTER,AIR;CARTRIDGE, ELEMENT, MAIN |  |  | FILTER,AIR;TYPE:CARTRIDGE, ELEMENT, MAIN,SIZE:DIA 83.82 X HT 137.16 MM,ADDITIONAL FEATURES EN:MAIN, 83.82MM LG X 83.82MM W X 137. 16MM H, DIMENSIONS: ID 148 X OD,282 X LG 512 MM, MEDIUM: AIR,MNFR:01)NORMETAP,PTNO:01)100048352 | CARTRIDGE, ELEMENT, MAIN,EN_01)DIA 83.82 X HT 137.16 MM,01)MAIN, 83.82MM LG X 83.82MM,02)282 X LG 512 MM, MEDIUM: AI,01)NORMETAP,01)100048352 |  |  | NORMETAP | NORMETAP | 100048352 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CARTRIDGE,ELEMENT,MAIN | FILTER RATING |  | SIZE | 83.82 LGX83.82 WDX137.16 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIMENSION:148 IDX282 ODX512 LG MM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1354492 | 1354492 | EA | FILTER,AIR;CARTRIDGE, ELEMENT, PRIMARY |  |  | FILTER,AIR;TYPE:CARTRIDGE, ELEMENT, PRIMARY,SIZE:ID 91 X OD 164 X LG 347 MM,MNFR:01)HYSTER,PTNO:01)4068074 | CARTRIDGE, ELEMENT, PRIMARY,EN_01)ID 91 X OD 164 X LG 347,01)HYSTER,01)4068074 |  |  | HYSTER | HYSTER | 4068074 | [5 empty] | https://lifttrucksupplyinc.com/product/hyster-forklift-air-filters-4068074/ | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CARTRIDGE,ELEMENT,PRIMARY | FILTER RATING |  | SIZE | 91 IDX164 ODX347 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236310 | 1236310 | EA | FILTER,AIR;CARTRIDGE, SECURITY |  |  | FILTER,AIR;TYPE:CARTRIDGE, SECURITY,MNFR:01)NILFISK,PTNO:01)ZA8400123 | CARTRIDGE, SECURITY,01)NILFISK,01)ZA8400123 |  |  | NILFISK | NILFISK | ZA8400123 | [5 empty] | https://www.werkzeugwelt24.de/Nilfisk-ALTO-CARTFILT-DWG23200-FILTSURF10SQ-IN-ZA8400123 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | CARTRIDGE,SECURITY | FILTER RATING |  | SIZE | 514 LGX260 WDX254 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1320300 | 1320300 | EA | FILTER,AIR;CARTRIDGE,BRASCHS,5090-1 |  |  | FILTER,AIR;TYPE:CARTRIDGE,SIZE:ID 1-3/4 X OD 3-1/2 X LG 7-3/8 IN,MNFR:01)BRASCHS,PTNO:01)5090-1 | CARTRIDGE,EN_01)ID 1-3/4 X OD 3-1/2 X LG,01)BRASCHS,01)5090-1 |  |  | BRASCHS | BRASCHS | 5090-1 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CARTRIDGE | FILTER RATING |  | SIZE | 1-3/4 IDX3-1/2 ODX7-3/8 LG IN | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1237758 | 1237758 | EA | FILTER,AIR;CARTRIDGE,BRS |  |  | FILTER,AIR;TYPE:CARTRIDGE,MATERIAL:BRASS,MNFR:01)BERENDSN,PTNO:01)5882-98 | CARTRIDGE,EN_01)BRASS,01)BERENDSN,01)5882-98 |  |  | BERENDSN | BERENDSN | 5882-98 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CARTRIDGE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL | BRASS | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276739 | 1276739 | EA | FILTER,AIR;CARTRIDGE,CPF BREATHING |  |  | FILTER,AIR;TYPE:CARTRIDGE,ADDITIONAL FEATURES EN:CPF BREATHING,MNFR:01)BURWELL TECHNOLOGIES,PTNO:01)0703-03547 | CARTRIDGE,01)CPF BREATHING,01)BURWELL TECHNOLOGIES,01)0703-03547 |  |  | BURWELL TECHNOLOGIES | BURWELL TECHNOLOGIES | 0703-03547 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CARTRIDGE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CPF BREATHING | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276842 | 1276842 | EA | FILTER,AIR;CLEANER |  |  | FILTER,AIR;TYPE:CLEANER,MNFR:01)EIMCO,PTNO:01)A2U913242005 SC | CLEANER,01)EIMCO,01)A2U913242005 SC |  |  | EIMCO | EIMCO | A2U913-242005 SC | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CLEANER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276849 | 1276849 | EA | FILTER,AIR;CLEANER |  |  | FILTER,AIR;TYPE:CLEANER,MNFR:01)EIMCO,PTNO:01)A2U913-242005 [SC] | CLEANER,01)EIMCO,01)A2U913-242005 [SC] |  |  | EIMCO | EIMCO | A2U913-242005 SC | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CLEANER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276917 | 1276917 | EA | FILTER,AIR;CLEANER |  |  | FILTER,AIR;TYPE:CLEANER,MNFR:01)HONEYCOMBES SALES AND SERVICE P/L,PTNO:01)OTME423319 | CLEANER,01)HONEYCOMBES SALES & SERVICE,01)OTME423319 |  |  | HONEYCOMBES SALES AND SERVICE P/L | HONEYCOMBES SALES AND SERVICE P/L | OTME423319 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | CLEANER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1229052 | 1229052 | EA | FILTER,AIR;COMPRESSED |  |  | FILTER,AIR;TYPE:COMPRESSED,MNFR:01)COMPAIR,PTNO:01)CE0600NB+ET | COMPRESSED,01)COMPAIR,01)CE0600NB+ET |  |  | COMPAIR | COMPAIR | CE0600NB+ET | [5 empty] | https://filterelementstore.com/comp-air-ce0600nb-filter-replacement/ | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | COMPRESSED,REPLACEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1364921 | 1364921 | EA | FILTER,AIR;DIA 3-11/32 X LG 7.437 IN |  |  | FILTER,AIR;SIZE:DIA 3-11/32 X LG 7.437 IN,MNFR:01)WELDPRO,PTNO:01)PA4934 | EN_01)DIA 3-11/32 X LG 7.437 I,01)WELDPRO,01)PA4934 |  |  | WELDPRO | WELDPRO | PA4934 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 3-11/32 DIAX7-7/16 LG IN | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1234551 | 1234551 | PAC | FILTER,AIR;DUST, INTERNAL |  |  | FILTER,AIR;TYPE:DUST, INTERNAL,ADDITIONAL FEATURES EN:DIGIPID (PACK OF 5)F OR RAE GUARD PID-TEFLON,MNFR:01)BENNIC,PTNO:01)C01- 2034-005 | DUST, INTERNAL,01)DIGIPID (PACK OF 5)F OR RAE,01)BENNIC,01)C01-2034-005 |  |  | BENNIC | BENNIC | C01-2034-005 | [5 empty] | https://www.radwell.co.uk/Buy/HONEYWELL/VULCAIN/C01-2034-005/?redirect=true | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | DUST,INTERNAL | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIGIPID (PACK OF 5)F OR RAE GUARD PID-TEFLON | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276595 | 1276595 | EA | FILTER,AIR;DUST/FUME/MIST |  |  | FILTER,AIR;TYPE:DUST/FUME/MIST,ADDITIONAL FEATURES EN:3M 5925 P2 (10X2)10 SETS OF 2 PER BOX,MNFR:01)J.BLACKWOOD AND SON LIMITED, PTN | DUST/FUME/MIST,01)3M 5925 P2 (10X2)10 SETS OF,01)J.BLACKWOOD & SON LIMITED,01)02030488 |  |  | J.BLACKWOOD AND SON LIMITED | 3M | 5925 P2 |  | BLACKWOOD AND SON LIMITED | 1 | 02030488 |  | https://docs.rs-online.com/c56f/0900766b813665e9.pdf | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | PARTICULATE,GAS/VPOUR | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DUST/FUME/MIST,PACKAGE QUANTITY:10 SETS OF 2/BOX | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1233264 | 1233264 | EA | FILTER,AIR;ELEM, AIR CONDITIONER, CABIN |  |  | FILTER,AIR;TYPE:ELEMENT, AIR CONDITIONER, CABIN,MNFR:01)GM,PTNO:01)52063110 | ELEMENT, AIR CONDITIONER, CABI,01)GM,01)52063110 |  |  | GM | GM | 52063110 | [5 empty] | https://multiparts.ee/en/product/General_Motors/52063110/ |  |  | AIR CONDITIONER | [7 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,INTERIOR | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR CABIN | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1317673 | 1317673 | EA | FILTER,AIR;ELEM, INNER MAT, AIR CONDITIO |  |  | FILTER,AIR;TYPE:ELEMENT, INNER MAT, AIR CONDITIONER,SIZE:WD 148 X LG 381 MM,ADDITIONAL FEATURES EN:FLYSCREEN FRAME,MNFR:01)APG, PTNO:01)ELPHAC01 |  |  |  | APG | APG | ELPHAC01 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,INNER MAT,AIR CONDITIONER | FILTER RATING |  | SIZE | 381 LGX148 WD MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FLYSCREEN FRAME | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1319825 | 1319825 | EA | FILTER,AIR;ELEM, PARTICLE, SO2 NUISANCE |  |  | FILTER,AIR;TYPE:ELEMENT, PARTICLE, SO2 NUISANCE ODOUR,ADDITIONAL FEATURES EN:HIGH EFFICIENCY, P3, RESPIRATOR,MNFR:01)PUREFLOW, PTNO:01)PR01502SP | ELEMENT, PARTICLE, SO2 NUISANC,01)HIGH EFFICIENCY, P3, RESPIR,01)PUREFLOW,01)PR01502SP |  |  | PUREFLOW | PUREFLOW | PR01502SP | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,PARTICLE,SO2 NUISANCE ODOUR | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HIGH EFFICIENCY,P3,RESPIRATOR | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1288712 | 1288712 | EA | FILTER,AIR;ELEMENT |  |  | FILTER,AIR;TYPE:ELEMENT,MNFR:01)CAVA,PTNO:01)4438-02 | ELEMENT,01)CAVA,01)4438-02 |  |  | CAVA | CAVA | 4438-02 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1229511 | 1229511 | EA | FILTER,AIR;ELEMENT |  |  | FILTER,AIR;TYPE:ELEMENT,ADDITIONAL FEATURES EN:DIMENSIONS: DIA 295 X LG 557 MM, MEDIUM: AIR,MNFR:01)COMPAIR,PTNO:01)A11516974 | ELEMENT,01)DIMENSIONS: DIA 295 X LG 55,01)COMPAIR,01)A11516974 |  |  | COMPAIR | COMPAIR | A11516974 | [5 empty] | https://www.industrialairpower.com/a11516974-filter-element.html | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE | 295 DIAX557 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1295186 | 1295186 | EA | FILTER,AIR;ELEMENT |  |  | FILTER,AIR;TYPE:ELEMENT,ADDITIONAL FEATURES EN:DIMENSIONS: WD 183 X LG 281 X HT 60 MM, MEDIUM:,MNFR:01)RYCO,PTNO:01)A1439 | ELEMENT,01)DIMENSIONS: WD 183 X LG 281,01)RYCO,01)A1439 |  |  | RYCO | RYCO | A1439 | [5 empty] | https://rycofilters.com.au/part/a1439 | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE | 281 LGX183 WDX60 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1346262 | 1346262 | EA | FILTER,AIR;ELEMENT, AIR CONDITIONER,MNRC |  |  | FILTER,AIR;TYPE:ELEMENT, AIR CONDITIONER,ADDITIONAL FEATURES EN:MINE PACKS, ABSORBENT HOUSING,MNFR:01)MINEARC,PTNO:01)TDF-25-150 | ELEMENT, AIR CONDITIONER,01)MINE PACKS, ABSORBENT HOUSI,01)MINEARC,01)TDF-25-150 |  |  | MINEARC | MINEARC | TDF-25-150 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,AIR CONDITIONER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MINE PACKS,ABSORBENT HOUSING | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1233581 | 1233581 | EA | FILTER,AIR;ELEMENT, CARDBOARD FRAMED |  |  | FILTER,AIR;TYPE:ELEMENT, CARDBOARD FRAMED,SIZE:SQ 610 X HT 50 MM,MNFR:01)CAPAIR,PTNO:01)AIREPURE 80022424 | ELEMENT, CARDBOARD FRAMED,EN_01)SQ 610 X HT 50 MM,01)CAPAIR,01)AIREPURE 80022424 |  |  | CAPAIR | CAPAIR | 80022424 | [5 empty] | https://www.blackwoods.com.au/electrical/hvac/air-filter/camfil-80022424-filter-airpleat-24x24x2-in/p/03010364 | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,CARDBOARD FRAMED | FILTER RATING |  | SIZE | 610 LGX610 WDXHT 50 MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AIREPURE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276593 | 1276593 | EA | FILTER,AIR;ELEMENT, CLEANER |  |  | FILTER,AIR;TYPE:ELEMENT, CLEANER,MNFR:01)WESTERN TRUCK GROUP PTY LTD,PTNO:01)OTH QME413506 | ELEMENT, CLEANER,01)WESTERN TRUCK GROUP PTY LTD,01)OTH QME413506 |  |  | WESTERN TRUCK GROUP PTY LTD | WESTERN TRUCK GROUP PTY LTD | OTH QME413506 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,CLEANER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1294934 | 1294934 | EA | FILTER,AIR;ELEMENT, HIGH PRESSURE |  |  | FILTER,AIR;TYPE:ELEMENT, HIGH PRESSURE,ADDITIONAL FEATURES EN:DIMENSIONS: ID 25 X OD 56 X LG 170 MM, MEDIUM:,MNFR:01)GENIE,PTNO: 01)60857 | ELEMENT, HIGH PRESSURE,01)DIMENSIONS: ID 25 X OD 56 X,01)GENIE,01)60857 |  |  | GENIE | GENIE | 60857 | [5 empty] | https://www.epartsplus.com/genie-60857-hydraulic-filter-eparts-plus-e.html | [10 empty] | Enriched | 40161515 | FILTER | AIR | TYPE | ELEMENT,HIGH PRESSURE HYDRAULIC | FILTER RATING |  | SIZE | 25 IDX56 ODX170 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1295128 | 1295128 | EA | FILTER,AIR;ELEMENT, INLET |  |  | FILTER,AIR;TYPE:ELEMENT, INLET,ADDITIONAL FEATURES EN:SYNTHETIC, WIRE FRAME, F32,MNFR:01)COMBUSTI,PTNO:01)F32-EC31 | ELEMENT, INLET,01)SYNTHETIC, WIRE FRAME, F32,01)COMBUSTI,01)F32-EC31 |  |  | COMBUSTI | COMBUSTI | F32-EC31 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,INLET | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SYNTHETIC,WIRE FRAME,F32 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1381943 | 1381943 | EA | FILTER,AIR;ELEMENT, INLET |  |  | FILTER,AIR;TYPE:ELEMENT, INLET,ADDITIONAL FEATURES EN:SYNTHETIC, WIRE FRAME,MNFR:01)COMBUSTI,PTNO:01)HP293-EC33 | ELEMENT, INLET,01)SYNTHETIC, WIRE FRAME,01)COMBUSTI,01)HP293-EC33 |  |  | COMBUSTI | COMBUSTI | HP293-EC33 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,INLET | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SYNTHETIC,WIRE FRAME | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1346417 | 1346417 | EA | FILTER,AIR;ELEMENT, INLINE |  |  | FILTER,AIR;TYPE:ELEMENT, INLINE,MNFR:01)COMPAIR,PTNO:01)CE0258B | ELEMENT, INLINE,01)COMPAIR,01)CE0258B |  |  | COMPAIR | COMPAIR | CE0258B | [5 empty] | https://www.eindustrialsolutions.com/aftermarket-compair-ce0258b-coalescing-filter-element | [10 empty] | Enriched | 40161807 | ELEMENT | FILTER | TYPE | INLINE,COALESCING | FILTER RATING |  | SERVICE | AIR | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1229121 | 1229121 | EA | FILTER,AIR;ELEMENT, INLINE,140/250, E |  |  | FILTER,AIR;TYPE:ELEMENT, INLINE,ADDITIONAL FEATURES EN:140/250, E,MNFR:01)COMPAIR,PTNO:01)CE0198C | ELEMENT, INLINE,01)140/250, E,01)COMPAIR,01)CE0198C |  |  | COMPAIR | COMPAIR | CE0198C | [5 empty] | https://filterelementstore.com/comp-air-ce0198c-filter-replacement/ | [10 empty] | Enriched | 40161500 | FILTER | ELEMENT | TYPE | INLINE,REPLACEMENT | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 140/250,E | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1229122 | 1229122 | EA | FILTER,AIR;ELEMENT, INLINE,140/250, E |  |  | FILTER,AIR;TYPE:ELEMENT, INLINE,ADDITIONAL FEATURES EN:140/250, E,MNFR:01)COMPAIR,PTNO:01)CE0198B | ELEMENT, INLINE,01)140/250, E,01)COMPAIR,01)CE0198B |  |  | COMPAIR | COMPAIR | CE0198B | [5 empty] | https://www.eindustrialsolutions.com/aftermarket-compair-ce0198b-coalescing-filter-element | [10 empty] | Enriched | 40161500 | FILTER | ELEMENT | TYPE | INLINE,COALESCING | MEDIUM |  | DIMENSIONS |  | FILTERING RETENTION |  | MATERIAL |  | FLOW RATE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 140/250,E | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1347392 | 1347392 | EA | FILTER,AIR;ELEMENT, INNER,BOSS,AF25523 |  |  | FILTER,AIR;TYPE:ELEMENT, INNER,SIZE:ID 104.5 X OD 150.5 X LG 501 MM,MNFR:01)BOSS,PTNO:01)AF25523 | ELEMENT, INNER,EN_01)ID 104.5 X OD 150.5 X LG,01)BOSS,01)AF25523 |  |  | BOSS | BOSS | AF25523 | [5 empty] | https://www.airfilter-crossreference.com/convert/FLEETGUARD/AF25523 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | ELEMENT,INNER,REPLACEMENT | FILTER RATING |  | SIZE | ID 104.5 X OD 150.5 X LG 501 MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1302309 | 1302309 | EA | FILTER,AIR;ELEMENT, MESH,CAPAIR |  |  | FILTER,AIR;TYPE:ELEMENT, MESH,ADDITIONAL FEATURES EN:GREASE TYPE, 520MM X 570MM X 12MM,MNFR:01)CAPAIR,PTNO:01)MG12-5257 | ELEMENT, MESH,01)GREASE TYPE, 520MM X 570MM,01)CAPAIR,01)MG12-5257 |  |  | CAPAIR | CAPAIR | MG12-5257 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,MESH | FILTER RATING |  | SIZE | 520X570X12 MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEDIUM:GREASE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1354530 | 1354530 | EA | FILTER,AIR;ELEMENT, MID PRESSURE |  |  | FILTER,AIR;TYPE:ELEMENT, MID PRESSURE,ADDITIONAL FEATURES EN:DIMENSIONS: DIA 246 X LG 513 MM, MEDIUM: AIR,MNFR:01)CAVA,PTNO:01) 6755 | ELEMENT, MID PRESSURE,01)DIMENSIONS: DIA 246 X LG 51,01)CAVA,01)6755 |  |  | CAVA | CAVA | 6755 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,MID PRESSURE | FILTER RATING |  | SIZE | 246 DIAXL513 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [51 empty] | MEDIUM: AIR | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1295979 | 1295979 | EA | FILTER,AIR;ELEMENT, PRIMARY,FINLAY |  |  | FILTER,AIR;TYPE:ELEMENT, PRIMARY,MNFR:01)FINLAY,PTNO:01)15.04.5004 | ELEMENT, PRIMARY,01)FINLAY,01)15.04.5004 |  |  | FINLAY | FINLAY | 15.04.5004 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,PRIMARY | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1302172 | 1302172 | EA | FILTER,AIR;ELEMENT, VACUUM,3/4 IN |  |  | FILTER,AIR;TYPE:ELEMENT, VACUUM,PORT SIZE:3/4 IN,ADDITIONAL FEATURES EN:DIMENSIONS:,MNFR:01)MAT_HDLG,PTNO:01)L70217 | ELEMENT, VACUUM,3/4 IN,01)DIMENSIONS:,01)MAT_HDLG,01)L70217 |  |  | MAT_HDLG | MAT_HDLG | L70217 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT,VACUUM | FILTER RATING |  | SIZE |  | PORT SIZE | 3/4 IN | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1359212 | 1359212 | EA | FILTER,AIR;ELEMENT,5 UM,BRONZE SINTERED |  |  | FILTER,AIR;TYPE:ELEMENT,FILTER RATING:5 UM,MATERIAL:BRONZE SINTERED,ADDITIONAL FEATURES EN:FLUID,MNFR:01)GILBERT,PTNO:01)11345-5B | ELEMENT,5 UM,EN_01)BRONZE SINTERED,01)FLUID,01)GILBERT,01)11345-5B |  |  | GILBERT | GILBERT | 11345-5B | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING | 5 UM | SIZE |  | PORT SIZE |  | MATERIAL | BRONZE SINTERED | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEDIUM:FLUID | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276838 | 1276838 | EA | FILTER,AIR;ELEMENT,AS-S 209374363 |  |  | FILTER,AIR;TYPE:ELEMENT,SIZE:ID 90 X OD 107 X LG 385 MM,ADDITIONAL FEATURES EN:AS-S 209374363,MNFR:01)UNKNOWN,PTNO:01)222-9021 | ELEMENT,EN_01)ID 90 X OD 107 X LG 385,01)AS-S 209374363,01)UNKNOWN,01)222-9021 |  |  | UNKNOWN |  | 222-9021 | CAT |  |  |  |  | https://parts.cat.com/en/catcorp/222-9021 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | ELEMENT,STANDARD EFFICIENCY | FILTER RATING |  | SIZE | 90 IDX107 ODX385 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF:AS-S 209374363 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1230033 | 1230033 | EA | FILTER,AIR;ELEMENT,COTTON GAUZE,GM |  |  | FILTER,AIR;TYPE:ELEMENT,SIZE:ID 89 X OD 152 X LG 262 MM,MATERIAL:COTTON GAUZE,MNFR:01)GM,PTNO:01)52046262 | ELEMENT,EN_01)ID 89 X OD 152 X LG 262,EN_01)COTTON GAUZE,01)GM,01)52046262 |  |  | GM | GM | 52046262 | [5 empty] | https://partszone.ae/en/parts/GENERAL%20MOTORS/52046262 | [10 empty] | Cleansed | 40161807 | ELEMENT | FILTER | TYPE |  | FILTER RATING |  | SERVICE | AIR | MATERIAL | COTTON GAUZE | SIZE | 89 IDX152 ODX262 LG MM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1348324 | 1348324 | EA | FILTER,AIR;ELEMENT,PLSTC,ESS,74000010 |  |  | FILTER,AIR;TYPE:ELEMENT,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:TYPE 2 KIT, SOL NOT INCLUDED,MNFR:01)ESS,PTNO:01)74000010 | ELEMENT,EN_01)PLASTIC,01)TYPE 2 KIT, SOL NOT INCLUDE,01)ESS,01)74000010 |  |  | ESS | ESS | 74000010 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TYPE 2 KIT,SOL NOT INCLUDED | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1294896 | 1294896 | EA | FILTER,AIR;ELEMENT,PULFORD,59712/6-00 |  |  | FILTER,AIR;TYPE:ELEMENT,MNFR:01)PULFORD,PTNO:01)59712/6-00 | ELEMENT,01)PULFORD,01)59712/6-00 |  |  | PULFORD | PULFORD | 59712/6-00 | [5 empty] | https://www.compressedairspares.com.au/pulford/air-filter/pid/59712-6 | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1232625 | 1232625 | EA | FILTER,AIR;ELEMENT,QUOTE 450361 |  |  | FILTER,AIR;TYPE:ELEMENT,ADDITIONAL FEATURES EN:QUOTE #450361,MNFR:01)HONEYCOMBES SALES,PTNO:01)ME423319 | ELEMENT,01)QUOTE #450361,01)HONEYCOMBES SALES,01)ME423319 |  |  | HONEYCOMBES SALES | HONEYCOMBES SALES | ME423319 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | QUOTE:450361 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1346104 | 1346104 | EA | FILTER,AIR;ELEMENT,SWANAIR,7312 |  |  | FILTER,AIR;TYPE:ELEMENT,MNFR:01)SWANAIR,PTNO:01)7312 | ELEMENT,01)SWANAIR,01)7312 |  |  | SWANAIR | SWANAIR | 7312 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1302055 | 1302055 | EA | FILTER,AIR;ELEMENT,ULTRA WEB SPUNBOND |  |  | FILTER,AIR;TYPE:ELEMENT,MATERIAL:ULTRA WEB SPUNBOND,ADDITIONAL FEATURES EN:DIMENSIONS: WD 192 X LG 568 X HT 178 MM, MEDIUM,MNFR: 01)PNEUVAY,PTNO:01)P033755 | ELEMENT,EN_01)ULTRA WEB SPUNBOND,01)DIMENSIONS: WD 192 X LG 568,01)PNEUVAY,01)P033755 |  |  | PNEUVAY | PNEUVAY | P033755 | [5 empty] | https://shop.donaldson.com/store/en-in/product/P033755-016-340/gP033755-016-340?_requestid=2624852 | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ELEMENT | FILTER RATING |  | SIZE | 568 LGX192 WDX178 HT MM | PORT SIZE |  | MATERIAL | ULTRA WEB SPUNBOND | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1297650 | 1297650 | EA | FILTER,AIR;ENCLOSURE OUTLET,RITTAL |  |  | FILTER,AIR;TYPE:ENCLOSURE OUTLET,SIZE:SQ 148 X HT 24 MM,MNFR:01)RITTAL,PTNO:01)SK3322.200 | ENCLOSURE OUTLET,EN_01)SQ 148 X HT 24 MM,01)RITTAL,01)SK3322.200 |  |  | RITTAL | RITTAL | SK3322.200 | [5 empty] | https://www.4dcontrols.com/shop/sk3322-200-rittal-fan-outlet-filter-industrial-148-x-48-x-24mm/ | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | ENCLOSURE OUTLET | FILTER RATING |  | SIZE | 148 LGX148 WDX24 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1229051 | 1229051 | EA | FILTER,AIR;FINAL |  |  | FILTER,AIR;TYPE:FINAL,MNFR:01)COMPAIR,PTNO:01)CE0600NC+FT | FINAL,01)COMPAIR,01)CE0600NC+FT |  |  | COMPAIR | COMPAIR | CE0600NC+FT | [5 empty] | https://scsfiltration.com.au/scs/wp-content/uploads/2018/10/SCS-Alternative-Inline-Filter-Elements-Cross-Reference-NP.pdf | [10 empty] | Cleansed | 40161505 | ELEMENT | FILTER | TYPE | FINAL | FILTER RATING |  | SERVICE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236288 | 1236288 | EA | FILTER,AIR;GAUZE C/W RED.BUSH |  |  | FILTER,AIR;ADDITIONAL FEATURES EN:GAUZE C/W RED.BUSH,MNFR:01)WHYTHALL,PTNO:01)C00-449,ITEMS 2AND3 (DWG) | 01)GAUZE C/W RED.BUSH,01)WHYTHALL,01)C00-449,ITEMS 2&3 (DWG) |  |  | WHYTHALL | WHYTHALL | C00-449 | [5 empty] | Url Not Found |  | 2 AND 3 | [8 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAUZE C/W RED.BUSH | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1295908 | 1295908 | EA | FILTER,AIR;HEPA, RETURN |  |  | FILTER,AIR;TYPE:HEPA, RETURN,MNFR:01)TRACSQLD,PTNO:01)TQ4706280H | HEPA, RETURN,01)TRACSQLD,01)TQ4706280H |  |  | TRACSQLD | TRACSQLD | TQ4706280H | [5 empty] | https://www.breathe-safe.com.au/wp-content/uploads/2021/06/INPRESS-TL-MANUAL-KUBOTA-SVL-SN-XXXXXV3.pdf | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | HEPA,RETURN | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1276961 | 1276961 | EA | FILTER,AIR;HEPA,P3 PK 3 |  |  | FILTER,AIR;TYPE:HEPA,ADDITIONAL FEATURES EN:P3 PK 3,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)01994890 | HEPA,01)P3 PK 3,01)J.BLACKWOOD & SON LIMITED,01)01994890 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 01994890 | CLEANSPACE |  |  |  |  | https://www.blackwoods.com.au/respiratory-protection/respirators-powered-supplied-air/prefilters-and-covers-cleanspace-powered-air-purifying-respirator/filter-cleanspace2-paf-0035-hepa-p3-pk-3/p/01994890 | [9 empty] | P3 | Enriched | 46182005 | RESPIRATOR | NO MODIFIER | TYPE | HEPA,POWERED AIR PURIFYING,PRE | SIZE DESIGNATION |  | FILTER CLASS |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGE QUANTITY:3/PK | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1317626 | 1317626 | EA | FILTER,AIR;ID 124 X OD 213 X HT 423 MM |  |  | FILTER,AIR;SIZE:ID 124 X OD 213 X HT 423 MM,ADDITIONAL FEATURES EN:GENERATOR,IME1554,MNFR:01)GENELITE,PTNO:01)KW2140C1 | EN_01)ID 124 X OD 213 X HT 423,01)GENERATOR,IME1554,01)GENELITE,01)KW2140C1 |  |  | GENELITE | GENELITE PTY LTD | KW2140C1 | CUMINS |  |  |  |  | https://www.filterdiscounters.com.au/kw2140c1-air-filter-to-suit-cummins-6bta-chinese-cummins-generator-sets-includes-k19900c1-and-k19950c1/ | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 124 IDX213 ODX423 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GENERATOR,IME1554 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276927 | 1276927 | EA | FILTER,AIR;ID 124 X OD 213 X LG 423 MM |  |  | FILTER,AIR;SIZE:ID 124 X OD 213 X LG 423 MM,ADDITIONAL FEATURES EN:ORANGE VERSION OF KW2140,MNFR:01)GENELITE PTY LTD,PTNO:01) KW2140C1 | EN_01)ID 124 X OD 213 X LG 423,01)ORANGE VERSION OF KW2140,01)GENELITE PTY LTD,01)KW2140C1 |  |  | GENELITE PTY LTD | GENELITE PTY LTD | KW2140C1 | CUMINS |  |  |  |  | https://www.filterdiscounters.com.au/kw2140c1-air-filter-to-suit-cummins-6bta-chinese-cummins-generator-sets-includes-k19900c1-and-k19950c1/ | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 124 IDX213 ODX423 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ORANGE VERSION OF KW2140 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1319736 | 1319736 | EA | FILTER,AIR;ID 60.1 X OD 105.5 X LG 265 M |  |  | FILTER,AIR;SIZE:ID 60.1 X OD 105.5 X LG 265 MM,MNFR:01)GLOBWELD,PTNO:01)LINP821575 | EN_01)ID 60.1 X OD 105.5 X LG,01)GLOBWELD,01)LINP821575 |  |  | GLOBWELD | GLOBWELD | LINP821575 | DONALDSON |  |  |  |  | https://shop.donaldson.com/store/en-in/product/P821575/22362?_requestid=2636926 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 60.1 IDX105.5 ODX265 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1350621 | 1350621 | EA | FILTER,AIR;INLINE, OIL REMOVAL COALESCER |  |  | FILTER,AIR;TYPE:INLINE, OIL REMOVAL COALESCER,MNFR:01)COMPAIR,PTNO:01)CE0258C | INLINE, OIL REMOVAL COALESCER,01)COMPAIR,01)CE0258C |  |  | COMPAIR | COMPAIR | CE0258C | [5 empty] | https://nationalfilters.com.au/product/compair-ce0258c/ | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | INLINE,OIL REMOVAL COALESCER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1302405 | 1302405 | EA | FILTER,AIR;INNER, SAFETY |  |  | FILTER,AIR;TYPE:INNER, SAFETY,MATERIAL:FELT SYNTHETIC NON WOVEN,MNFR:01)GARDDENV,PTNO:01)100005027 | INNER, SAFETY,EN_01)FELT SYNTHETIC NON WOVEN,01)GARDDENV,01)100005027 |  |  | GARDDENV | GARDNER DENVER | 100005027 | [5 empty] | https://www.industrialairpower.com/100005027-safety-cartridge.html | [10 empty] | Cleansed | 40161809 | CARTRIDGE | FILTER | TYPE | INNER,SAFETY | FILTRATION RATE |  | MICRON RATING |  | SIZE |  | SERVICE |  | MATERIAL | FELT SYNTHETIC NON WOVEN | COLOUR |  | FLOW RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276861 | 1276861 | EA | FILTER,AIR;INNER,ISO 5011,ACL |  |  | FILTER,AIR;TYPE:INNER,SIZE:ID 110.6 X OD 126.6 X LG 346.7 MM,CERTIFICATION/STANDARD:ISO 5011,ADDITIONAL FEATURES EN:ACL,MNFR:01)S AN | INNER,EN_01)ID 110.6 X OD 126.6 X LG,EN_01)ISO 5011,01)ACL,01)S & K PYE PTY LTD T/AS SUPE,01)8980714220 |  |  | S AN | S & K PYE PTY LTD | 8980714220 | ISUZU | S AN |  |  |  | https://www.isuzureplacementparts.com/sale-12696028-8980714220-isuzu-4h6h-frr90-fvr34-air-cleaner-filter-8980714210-8-98071421-0-8-98071422-0.html | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | INNER,CLEANER | FILTER RATING |  | SIZE | 110.6 IDX126.6 ODX346.7 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | ACL,T/AS SUPE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1302406 | 1302406 | EA | FILTER,AIR;OUTER |  |  | FILTER,AIR;TYPE:OUTER,MNFR:01)GARDDENV,PTNO:01)100005026 | OUTER,01)GARDDENV,01)100005026 |  |  | GARDDENV | GARDNER DENVER | 100005026 | [5 empty] | https://www.industrialairpower.com/100005026-air-filter-airend-.html | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | OUTER,AIREND | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1358724 | 1358724 | EA | FILTER,AIR;OUTER,66251 |  |  | FILTER,AIR;TYPE:OUTER,SIZE:ID 131 X OD 237 X LG 357 MM,ADDITIONAL FEATURES EN:66251,MNFR:01)S AND K PYE PTY LTD T/AS SUPERIOR,PTNO: | OUTER,EN_01)ID 131 X OD 237 X LG 357,01)66251,01)S & K PYE PTY LTD T/AS SUPE,01)8980714210 |  |  | S AND K PYE PTY LTD T/AS SUPERIOR | S & K PYE PTY LTD | 8980714210 | ISUZU |  |  |  |  | https://www.michelecaroli.com/info.php?oempartnumber=8980714210&donaldson=P821938#modal-one | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | OUTER | FILTER RATING |  | SIZE | 131 IDX237 ODX357 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | T/AS SUPERIOR,66251,01 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1350089 | 1350089 | EA | FILTER,AIR;PARTICULATE,SPEDEL,2681 |  |  | FILTER,AIR;TYPE:PARTICULATE,MNFR:01)SPEDEL,PTNO:01)2681 | PARTICULATE,01)SPEDEL,01)2681 |  |  | SPEDEL | SPEDEL | 2681 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PARTICULATE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1234580 | 1234580 | EA | FILTER,AIR;PNEUMATIC,1/4 IN |  |  | FILTER,AIR;TYPE:PNEUMATIC,PORT SIZE:1/4 IN,MNFR:01)ESS,PTNO:01)02350105 | PNEUMATIC,1/4 IN,01)ESS,01)02350105 |  |  | ESS | ESS | 02350105 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PNEUMATIC | FILTER RATING |  | SIZE |  | PORT SIZE | 1/4 IN | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236592 | 1236592 | EA | FILTER,AIR;POLLEN,BRAVO BT50 |  |  | FILTER,AIR;TYPE:POLLEN,ADDITIONAL FEATURES EN:BRAVO BT50,MNFR:01)MAZDA,PTNO:01)MZ-UCY0-61-P11 | POLLEN,01)BRAVO BT50,01)MAZDA,01)MZ-UCY0-61-P11 |  |  | MAZDA | MAZDA | MZ-UCY0-61-P11 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | POLLEN | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAVO BT50 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1364644 | 1364644 | EA | FILTER,AIR;POLLEN,DMAX / MUX |  |  | FILTER,AIR;TYPE:POLLEN,ADDITIONAL FEATURES EN:DMAX / MUX,MNFR:01)SKPYE,PTNO:01)IZ5876150180 | POLLEN,01)DMAX / MUX,01)SKPYE,01)IZ5876150180 |  |  | SKPYE | SKPYE | IZ5876150180 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | POLLEN | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DMAX / MUX | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1345809 | 1345809 | EA | FILTER,AIR;PRE CLEANER,DIA 5 IN,GETMAN |  |  | FILTER,AIR;TYPE:PRE CLEANER,SIZE:DIA 5 IN,FLOW RATING:20.9 M3/MIN,MNFR:01)GETMAN,PTNO:01)604687 | PRE CLEANER,EN_01)DIA 5 IN,20.9 M3/MIN,01)GETMAN,01)604687 |  |  | GETMAN | GETMAN | 604687 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PRE CLEANER | FILTER RATING |  | SIZE | 5 IN DIA | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING | 20.9 M3/MIN | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276544 | 1276544 | EA | FILTER,AIR;PRE, PARTICLE,STS P3 COMBINED |  |  | FILTER,AIR;TYPE:PRE, PARTICLE,SIZE:DIA 86 X HT 14.5 MM,ADDITIONAL FEATURES EN:STS P3 COMBINED,MNFR:01)ALNCSAFE,PTNO:01)RP3RC | PRE, PARTICLE,EN_01)DIA 86 X HT 14.5 MM,01)STS P3 COMBINED,01)ALNCSAFE,01)RP3RC |  |  | ALNCSAFE | ALNCSAFE | RP3RC | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PRE,PARTICLE | FILTER RATING |  | SIZE | 86 DIAX14.5 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STS P3 COMBINED | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276623 | 1276623 | EA | FILTER,AIR;PRE,ITEM-2 |  |  | FILTER,AIR;TYPE:PRE,ADDITIONAL FEATURES EN:ITEM-2,MNFR:01)WELDERS PRO SHOP,PTNO:01)836010 | PRE,01)ITEM-2,01)WELDERS PRO SHOP,01)836010 |  |  | WELDERS PRO SHOP | WELDERS PRO SHOP | 836010 | [5 empty] | Url Not Found |  | 2 | [8 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PRE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1276684 | 1276684 | EA | FILTER,AIR;PRE,PK 10 |  |  | FILTER,AIR;TYPE:PRE,ADDITIONAL FEATURES EN:PK 10,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)01995043 | PRE,01)PK 10,01)J.BLACKWOOD & SON LIMITED,01)01995043 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 01995043 | CLEANSPACE |  |  |  |  | https://www.blackwoods.com.au/respiratory-protection/respirators-powered-supplied-air/prefilters-and-covers-cleanspace-powered-air-purifying-respirator/prefilter-cleanspace2-paf-0036-pk-10/p/01995043 | [10 empty] | Enriched | 46182005 | FILTER | NO MODIFIER | TYPE | PRE,PROTECTIVE DISPOSABLE | FILTER RATING |  | PORT SIZE |  | SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGE QUANTITY:10/PK | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276678 | 1276678 | EA | FILTER,AIR;PRIMARY |  |  | FILTER,AIR;TYPE:PRIMARY,SIZE:ID 130.9 X OD 237 X LG 277.1 MM,MNFR:01)AP TOWNSVILLE P/L T/A TONY IRELA,PTNO:01)8970622940 | PRIMARY,EN_01)ID 130.9 X OD 237 X LG 2,01)AP TOWNSVILLE P/L T/A TONY,01)8970622940 |  |  | AP TOWNSVILLE P/L T/A TONY IRELA | AP TOWNSVILLE P/L | 8970622940 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE | 130.9 IDX237 ODX277.1 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | T/A TONY IRELA | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1295119 | 1295119 | EA | FILTER,AIR;PRIMARY |  |  | FILTER,AIR;TYPE:PRIMARY,SIZE:ID 3.62 X OD 178 X LG 397 MM,MNFR:01)PENSKE,PTNO:01)DE-P776158 | PRIMARY,EN_01)ID 3.62 X OD 178 X LG 39,01)PENSKE,01)DE-P776158 |  |  | PENSKE | PENSKE | P776158 | DONALDSON |  |  |  |  | https://shop.donaldson.com/store/en-in/product/P776158/21776?_requestid=2655660 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE | 92 IDX178 ODX382.9 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1321123 | 1321123 | EA | FILTER,AIR;PRIMARY, OUTER |  |  | FILTER,AIR;TYPE:PRIMARY, OUTER,MNFR:01)HYSTER,PTNO:01)1688248 | PRIMARY, OUTER,01)HYSTER,01)1688248 |  |  | HYSTER | HYSTER | 1688248 | [5 empty] | https://store.hgmforkliftparts.com/hyster_forklift_parts/HY1688248.aspx | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PRIMARY,OUTER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1295031 | 1295031 | EA | FILTER,AIR;PRIMARY, RADIAL SEAL,BOSS |  |  | FILTER,AIR;TYPE:PRIMARY, RADIAL SEAL,SIZE:ID 148 X OD 282 X LG 510 MM,MNFR:01)BOSS,PTNO:01)AF25437 | PRIMARY, RADIAL SEAL,EN_01)ID 148 X OD 282 X LG 510,01)BOSS,01)AF25437 |  |  | BOSS | BOSS | AF25437 | [5 empty] | https://www.airfilter-crossreference.com/convert/FLEETGUARD/AF25437 | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PRIMARY,RADIAL SEAL | FILTER RATING |  | SIZE | ID 148 X OD 282 X LG 510 MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236306 | 1236306 | EA | FILTER,AIR;PRIMARY, RADIAL SEAL,CLNR |  |  | FILTER,AIR;TYPE:PRIMARY, RADIAL SEAL,SIZE:ID 106 X OD 208 X LG 412 MM,ADDITIONAL FEATURES EN:CLEANER,MNFR:01)ISADIESL,PTNO:01) P785589 | PRIMARY, RADIAL SEAL,EN_01)ID 106 X OD 208 X LG 412,01)CLEANER,01)ISADIESL,01)P785589 |  |  | ISADIESL | ISADIESL | P785589 | DONALDSON |  |  |  |  | https://shop.donaldson.com/store/en-in/product/P785589/36992?_requestid=2658946 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | PRIMARY,RADIAL SEAL,CLEANER | FILTER RATING |  | SIZE | 106 IDX208 ODX412 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011 | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276591 | 1276591 | EA | FILTER,AIR;PRIMARY,ISO 5011, SAE J726 |  |  | FILTER,AIR;TYPE:PRIMARY,SIZE:ID 91 X OD 164.5 X LG 344.5 MM,CERTIFICATION/STANDARD:ISO 5011, SAE J726,MNFR:01)HONEYCOMBES SALES AND | PRIMARY,EN_01)ID 91 X OD 164.5 X LG 34,EN_01)ISO 5011, SAE J726,01)HONEYCOMBES SALES & SERVICE,01)1903669 |  |  | HONEYCOMBES SALES AND | HONEYCOMBES SALES AND SERVICE P/L | 1903669 | [5 empty] | https://ivemax.com/en_GB/p/1903669-Iveco-Daily-air-filter/3480 | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | PRIMARY | FILTER RATING |  | SIZE | 91 IDX164.5 ODX344.5 LG MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 5011,SAE J726 | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1346182 | 1346182 | EA | FILTER,AIR;PURGE LINE |  |  | FILTER,AIR;TYPE:PURGE LINE,MNFR:01)CHAMPCOM,PTNO:01)561013 | PURGE LINE,01)CHAMPCOM,01)561013 |  |  | CHAMPCOM | CHAMPCOM | 561013 | [5 empty] | https://urbanutilities.com.au/-/media/quu/pdfs/suppliers-info/technical-manuals-waste-water/tms812.pdf?la=en&hash=893C53888D970DA8C6F51E38D9AAAD6942BCCBA8 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | PURGE LINE | FILTER RATING |  | SIZE | 1 MM ID | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236304 | 1236304 | EA | FILTER,AIR;PURIFICATION SYSTEM,IME5085 |  |  | FILTER,AIR;TYPE:PURIFICATION SYSTEM,ADDITIONAL FEATURES EN:IME5085,MNFR:01)FORKFORC,PTNO:01)K127260-1 | PURIFICATION SYSTEM,01)IME5085,01)FORKFORC,01)K127260-1 |  |  | FORKFORC | FORKFORC | K127260-1 |  |  | IME5085 |  |  | https://www.vpmachinery.com/product/air-fliter-K127260-1.html |  |  | PURIFICATION SYSTEM | [7 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1296534 | 1296534 | PAC | FILTER,AIR;PURIFYING, RESPIRATOR |  |  | FILTER,AIR;TYPE:PURIFYING, RESPIRATOR,ADDITIONAL FEATURES EN:10 PER PKT,MNFR:01)PROTECTR,PTNO:01)04663052 | PURIFYING, RESPIRATOR,01)10 PER PKT,01)PROTECTR,01)04663052 |  |  | PROTECTR | PROTECTR | 04663052 | 3M |  |  |  |  | https://www.blackwoods.com.au/respiratory-protection/respirators-powered-supplied-air/3m-airstream-system-filters/prefilter-3m-airstream-060-22-00p-10-pk/p/04663052 |  |  | PURIFYING RESPIRATOR | [7 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | PRE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGE QUANTITY:10/PK | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236672 | 1236672 | EA | FILTER,AIR;RECLAIM TUNNEL VENT,GRADE G4 |  |  | FILTER,AIR;TYPE:RECLAIM TUNNEL VENT,SIZE:WD 16 X LG 20 X THK 4 IN,ADDITIONAL FEATURES EN:GRADE G4,MNFR:01)CAMFIL,PTNO:01) 059413004 | RECLAIM TUNNEL VENT,EN_01)WD 16 X LG 20 X THK 4 IN,01)GRADE G4,01)CAMFIL,01)059413004 |  |  | CAMFIL | CAMFIL | 059413004 | [5 empty] | https://www.turtle.com/1332868/Product/camfil-059413-004 | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | RECLAIM TUNNEL VENT | FILTER RATING |  | SIZE | 20 LGX16 WDX4 THK IN | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GRADE G4 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1364319 | 1364319 | EA | FILTER,AIR;REPLACEMENT,GUARDIAN |  |  | FILTER,AIR;TYPE:REPLACEMENT,ADDITIONAL FEATURES EN:GUARDIAN,MNFR:01)HAZELEC,PTNO:01)FMT-1250 | REPLACEMENT,01)GUARDIAN,01)HAZELEC,01)FMT-1250 |  |  | HAZELEC | HAZELEC | FMT-1250 |  | GUARDIAN |  |  |  | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | REPLACEMENT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1319338 | 1319338 | EA | FILTER,AIR;SEPARATOR,MEDIUM: FLUID |  |  | FILTER,AIR;TYPE:SEPARATOR,ADDITIONAL FEATURES EN:MEDIUM: FLUID,MNFR:01)COMPAIR,PTNO:01)A11427474 | SEPARATOR,01)MEDIUM: FLUID,01)COMPAIR,01)A11427474 |  |  | COMPAIR | COMPAIR | A11427474 | [5 empty] | https://www.eindustrialsolutions.com/compair-a11427474-fine-oil-separator-oem | [10 empty] | Enriched | 20142801 | SEPARATOR | NO MODIFIER | TYPE | FINE OIL | SIZE |  | MATERIAL |  | CAPACITY |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEDIUM:FLUID | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1296243 | 1296243 | EA | FILTER,AIR;SINTERED,BRZ |  |  | FILTER,AIR;TYPE:SINTERED,MATERIAL:BRONZE,MNFR:01)ARO,PTNO:01)43016 | SINTERED,EN_01)BRONZE,01)ARO,01)43016 |  |  | ARO | ARO | 43016 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL | SINTERED BRONZE | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 | Processed based on Websource, Conflict w.r.t Input | 1319941 | 1319941 | EA | FILTER,AIR;SPIN ON,MEDIUM: OIL |  |  | FILTER,AIR;TYPE:SPIN ON,ADDITIONAL FEATURES EN:MEDIUM: OIL,MNFR:01)COMPAIR,PTNO:01)98262/219 | SPIN ON,01)MEDIUM: OIL,01)COMPAIR,01)98262/219 |  |  | COMPAIR | COMPAIR | 98262-219 | [5 empty] | https://www.edmac.com/98262-219-comp-air-oil-filter-element-062689.html | [10 empty] | Cleansed | 40161807 | ELEMENT | FILTER | TYPE | SPIN-ON | FILTER RATING |  | SERVICE | OIL | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1364637 | 1364637 | EA | FILTER,AIR;SQUARE LINT,4.8 OZ |  |  | FILTER,AIR;TYPE:SQUARE LINT,SIZE:WD 7.86 X LG 12.4 X THK 1.38 IN,ADDITIONAL FEATURES EN:4.8 OZ,MNFR:01)MAYTAG,PTNO:01)33001808 | SQUARE LINT,EN_01)WD 7.86 X LG 12.4 X THK,01)4.8 OZ,01)MAYTAG,01)33001808 |  |  | MAYTAG | MAYTAG | 33001808 | [5 empty] | https://www.appliancezone.net/replacement-33001808-dryer-lint-filter-for-admiral-maytag-crosley/ | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | SQUARE DRYER LINT,REPLACEMENT | FILTER RATING |  | SIZE | 12-13/32 LGX7-55/64 WDX1-3/8 THK IN | PORT SIZE |  | MATERIAL | PLASTIC | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKET:4.8 OZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1234482 | 1234482 | EA | FILTER,AIR;TANK BREATHER |  |  | FILTER,AIR;TYPE:TANK BREATHER,MATERIAL:POLYAMIDE, RUBBERIZED CORK,MNFR:01)REXROTH,PTNO:01)PI0126MIC | TANK BREATHER,EN_01)POLYAMIDE, RUBBERIZED CO,01)REXROTH,01)PI0126MIC |  |  | REXROTH | REXROTH | PI0126MIC | [5 empty] | https://hydro-funk.com/en/categories/hydraulics/bosch-rexroth-pi0126mic-tank-ventilation-filter | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | TANK VENTILATION BREATHER | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL | POLYAMIDE,RUBBERIZED CORK | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236330 | 1236330 | EA | FILTER,AIR;TWO STAGE,FOAM |  |  | FILTER,AIR;TYPE:TWO STAGE,MATERIAL:FOAM,ADDITIONAL FEATURES EN:CYLINDRICAL, HIGHPERFORMANCE,MNFR:01)UNIFILTR,PTNO:01)KC150300S | TWO STAGE,EN_01)FOAM,01)CYLINDRICAL, HIGHPERFORMANC,01)UNIFILTR,01)KC150300S |  |  | UNIFILTR | UNIFILTR | KC150300S | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | TWO STAGE,CYLINDRICAL,HIGHPERFORMANCE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL | FOAM | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1277031 | 1277031 | EA | FILTER,AIR;UNIT |  |  | FILTER,AIR;TYPE:UNIT,MNFR:01)PARTS,PTNO:01)LINTQ90555,MNFR:02)LINTERN,PTNO:02)LIF-3001 | UNIT,01)PARTS,02)LINTERN,01)LINTQ90555,02)LIF-3001 |  |  | LINTERN | LINTERN | LINTQ90555 |  | LINTERN | LIF-3001 |  |  | Url Not Found | [9 empty] | PARTS | Cleansed | 40161505 | FILTER | AIR | TYPE | UNIT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276809 | 1276809 | EA | FILTER,AIR;V FORMED, FRAMED,MTL |  |  | FILTER,AIR;TYPE:V FORMED, FRAMED,SIZE:WD 35 X LG 765 X HT 650 MM,MATERIAL:METAL,MNFR:01)CAPRICORN AIR CONDITIONING,PTNO:01)V50- 8070 | V FORMED, FRAMED,EN_01)WD 35 X LG 765 X HT 650,EN_01)METAL,01)CAPRICORN AIR CONDITIONING,01)V50-8070 |  |  | CAPRICORN AIR CONDITIONING | CAPRICORN AIR CONDITIONING | V50-8070 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | V-FORM FRAMED | FILTER RATING |  | SIZE | 765 LGX35 WDX650 HT MM | PORT SIZE |  | MATERIAL | METAL | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236307 | 1236307 | EA | FILTER,AIR;VENTILATION |  |  | FILTER,AIR;TYPE:VENTILATION,MNFR:01)AUSCO,PTNO:01)97408 | VENTILATION,01)AUSCO,01)97408 |  |  | AUSCO | AUSCO | 97408 | [5 empty] | https://auscoproducts.com/wp-content/uploads/2021/06/102266-LC_Install1.pdf | [10 empty] | Enriched | 40161505 | FILTER | AIR | TYPE | VENTILATION,INSERT | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276707 | 1276707 | EA | FILTER,AIR;V-FORM METAL FRAMED |  |  | FILTER,AIR;TYPE:V-FORM METAL FRAMED,SIZE:SQ 600 X THK 45 MM,MNFR:01)CAPRICORN AIR CONDITIONING,PTNO:01)V50-6060 | V-FORM METAL FRAMED,EN_01)SQ 600 X THK 45 MM,01)CAPRICORN AIR CONDITIONING,01)V50-6060 |  |  | CAPRICORN AIR CONDITIONING | CAPRICORN AIR CONDITIONING | V50-6060 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE | V-FORM FRAMED | FILTER RATING |  | SIZE | 600 LGX600 WDX45 THK MM | PORT SIZE |  | MATERIAL | METAL | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1276993 | 1276993 | EA | FILTER,AIR;WD 235 X LG 235 X HT 60 MM,03 |  |  | FILTER,AIR;SIZE:WD 235 X LG 235 X HT 60 MM,ADDITIONAL FEATURES EN:03,MNFR:01)ISA-AUTO,PTNO:01)WA1181 | EN_01)WD 235 X LG 235 X HT 60,01)03,01)ISA-AUTO,01)WA1181 |  |  | ISA-AUTO | ISA-AUTO | WA1181 | [5 empty] | https://www.filtersplus.co/product/wa1181/ | [9 empty] | 03 | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 235 LGX235 WDX60 HT MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1236289 | 1236289 | EA | FILTER,AIR;WD 610 X LG 610 X THK 292 MM |  |  | FILTER,AIR;SIZE:WD 610 X LG 610 X THK 292 MM,PRESSURE RATING:100-450 PA,FLOW RATING:944 L/S,ADDITIONAL FEATURES EN:6 PER SET, 381 G DUST CAPACITY,MNFR:01)VOKES,PTNO:01)VPMP95610610300 | EN_01)WD 610 X LG 610 X THK 29,100-450 PA,944 L/S,01)6 PER SET, 381 G DUST CAPAC,01)VOKES,01)VPMP95610610300 |  |  | VOKES | VOKES | VPMP95610610300 | [5 empty] | http://www.aesenvironmental.com.au/pdf/Compact%20P_AES.pdf | [10 empty] | Cleansed | 40161505 | FILTER | AIR | TYPE |  | FILTER RATING |  | SIZE | 610 LGX610 WDX292 THK MM | PORT SIZE |  | MATERIAL |  | PRESSURE RATING | 100 TO 450 PA | FLOW RATING | 944 L/S | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGE QUANTITY:6/SET,381 G DUST CAPACITY | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1300270 | 1300270 | EA | ENCODER;1024 PLS/R,OTIS,GCA633A1 |  |  | ENCODER;PULSES PER REVOLUTION:1024 PLS/R,ADDITIONAL FEATURES EN:TRANSDUCER, MOTIONAL PICKUP, PRIMARY VEL,MNFR:01)OTIS,PTNO:01) GCA633A1 | 1024 PLS/R,01)TRANSDUCER, MOTIONAL PICKUP,01)OTIS,01)GCA633A1 |  |  | OTIS | OTIS | GCA633A1 | [5 empty] | https://shop.encoderhohner.com/en/serie-22h/otis-encoder-gca633a1-182.html | https://www.elevatorshops.com/elevator-door-system-otis/otis-elevator-rotary-encoder-gca633a1-sh38f6-1024s24ek.html | [9 empty] | Enriched | 39121527 | ENCODER | ROTARY | TYPE | ELEVATOR | PULSE PER REVOLUTION | 1024 PLS/R | ACCURACY |  | CONNECTION | RADIAL CABLE | ELECTRICAL RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | SHAFT LOAD |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRANSDUCER,MOTIONAL PICKUP,PRIMARY LEVEL | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1302615 | 1302615 | EA | ENCODER;SHAFT ANGLE TO DIGITAL,2500 IN |  |  | ENCODER;TYPE:SHAFT ANGLE TO DIGITAL,ADDITIONAL FEATURES EN:2500 IN,MNFR:01)LITTON,PTNO:01)G70-T-S-LD-BI-2500-1-4-1-15 | SHAFT ANGLE TO DIGITAL,01)2500 IN,01)LITTON,01)G70-T-S-LD-BI-2500-1-4-1-15 |  |  | LITTON | LITTON | G70-T-S-LD-BI-2500-1-4-1-15 | [5 empty] | http://www.imajteknik.net/uploads/ltn-servotechnik-rotary-encoders-g71-typ-w.pdf | [10 empty] | Enriched | 39121527 | ENCODER | ROTARY | TYPE | INCREMENTAL,SHAFT ANGLE TO DIGITAL | PULSE PER REVOLUTION |  | ACCURACY |  | CONNECTION | RADIAL CONNECTOR | ELECTRICAL RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE | 2500 IN | SHAFT LOAD | 120 N | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1294485 | 1294485 | EA | ENCODER;SHAFT ANGLE TO DIGITAL,WASH CO |  |  | ENCODER;TYPE:SHAFT ANGLE TO DIGITAL,ADDITIONAL FEATURES EN:WASH CO,MNFR:01)HENGSTLR,PTNO:01)RI59-0/1600AQ7ATB-K0 | SHAFT ANGLE TO DIGITAL,01)WASH CO,01)HENGSTLR,01)RI59-0/1600AQ7ATB-K0 |  |  | HENGSTLR | HENGSTLR | RI59-0/1600AQ7ATB-K0 | [5 empty] | https://www.hengstler.de/gfx/file/shop/encoder/RI59/Datasheet_RI59_en.pdf | [10 empty] | Enriched | 39121527 | ENCODER | No Modifier | TYPE | INCREMENTAL,SHAFT ANGLE TO DIGITAL | INPUT RATING | 5 VDC | OUTPUT RATING |  | PULSES PER REVOLUTION | 1600 PLS/R | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE | RADIAL CABLE | OUTPUT CONFIGURATION | RS422,SENSE | SIZE | 58 MM DIA | MATERIAL | STAINLESS STEEL | ENCLOSURE |  | TEMPERATURE RATING | -10 TO 70 DEG C OPERATING,-25 TO 85 DEG C STORAGE | MOUNTING TYPE | SQUARE FLANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN VDE 0160 | ADDITIONAL FEATURES | WASH CO | [41 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RMZ | Completed | 2023-07-21 | 2023-07-26 |  | 1294595 | 1294595 | EA | ENCODER;SHAFT, ANGLE TO DIGITAL |  |  | ENCODER;TYPE:SHAFT, ANGLE TO DIGITAL,ADDITIONAL FEATURES EN:MAIN HOIST MULTI TURN, 24BIT,MNFR:01)CNW,PTNO:01)SICATM60-A4A12X12, MNFR:02)STEGMAHN,PTNO:02)SS1 AG661-09 4096X4096 | SHAFT, ANGLE TO DIGITAL,01)MAIN HOIST MULTI TURN, 24BI,01)CNW,02)STEGMAHN,01)SICATM60-A4A12X12,02)SS1 AG661-09 4096X4096 |  |  | STEGMAHN | SICK | ATM60-A4A12X12 |  | STEGMAHN | SS1 AG661-09 4096X4096 | CNW |  | https://www.sick.com/au/en/encoders/absolute-encoders/atm60/atm60-a4a12x12/p/p289241 | https://docs.rs-online.com/82e2/0900766b81684f12.pdf | [9 empty] | Enriched | 39121527 | ENCODER | No Modifier | TYPE | ABSOLUTE,SHAFT ANGLE TO DIGITAL | INPUT RATING | 10 TO 32 V | OUTPUT RATING |  | PULSES PER REVOLUTION |  | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE | MALE RADIAL CONNECTOR,M23,12-PIN | OUTPUT CONFIGURATION |  | SIZE |  | MATERIAL | DIE CAST ALUMINUM | ENCLOSURE | IP43,IP65,IP67 | TEMPERATURE RATING | -10 TO 85 DEG C OPERATING,-40 TO 100 DEG C STORAGE | MOUNTING TYPE | FLANGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61000-6-2,EN 61000-6-3,EN 60068-2-27,EN 60068-2-6,EN ISO 13849-1 | ADDITIONAL FEATURES | MAIN HOIST MULTI TURN,NUMBER OF BITS:24 | [41 empty] | Production Completed