## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384745 | 1384745 | EA | HANDLE;1 POINT |  |  | HANDLE;TYPE:1 POINT,MNFR:01)RS COMPONENTS PTY LTD,PTNO:01)122-1527 | EN_01)1 POINT,01)RS COMPONENTS PTY LTD,01)122-1527 |  |  | RS COMPONENTS PTY LTD | RS COMPONENTS PTY LTD | 122-1527 | RS COMPONENTS PTY LTD |  |  |  |  | https://in.rsdelivers.com/product/briton/1413lese/briton-emergency-door-opener-1-point-works-with/1221527 | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | EMEGENCY DOOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOCKING SYSTEM:1 POINT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385338 | 1385338 | EA | HANDLE;1/2 IN,BSP |  |  | HANDLE;SIZE:1/2 IN,ADDITIONAL FEATURES EN:BSP,MNFR:01)SWANSTON TASMANIA PTY LTD,PTNO:01)0550180BTS | EN_01)1/2 IN,01)BSP,01)SWANSTON TASMANIA PTY LTD,01)0550180BTS |  |  | SWANSTON TASMANIA PTY LTD | SWANSTON TASMANIA PTY LTD | 0550180BTS | [5 empty] | https://www.kuken.co.jp/en/sysprod/wp-content/uploads/2013/05/KW-45F-Spare-List2.pdf | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE | 1/2 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:BSP | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 | PARTIALLY MATCH | 1385337 | 1385337 | EA | HANDLE;4,POLYEST,BLU |  |  | HANDLE;SIZE:4,MATERIAL:POLYESTER,ADDITIONAL FEATURES EN:BLUE,MNFR:01)XYLEM WATER SOLUTIONS AUS LTD,PTNO:01)11-316A013 | EN_01)4,EN_01)POLYESTER,01)BLUE,01)XYLEM WATER SOLUTIONS AUS L,01)11-316A013 |  |  | XYLEM WATER SOLUTIONS AUS LTD | XYLEM WATER SOLUTIONS AUS LTD | 11-316A013 | Marechal |  |  |  |  | https://www.kempstoncontrols.co.uk/316A013/Marechal/sku/738491 | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | STRAIGHT | SIZE | 13 TO 35 MM | MATERIAL | POLYESTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLUE,4 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385155 | 1385155 | EA | HANDLE;ABB |  |  | HANDLE;ADDITIONAL FEATURES EN:ABB,MNFR:01)CRISTAUDO'S INDUSTRIAL ELECTRICS,PTNO:01)YASDA28 | 01)ABB,01)CRISTAUDO'S INDUSTRIAL ELEC,01)YASDA28 |  |  | CRISTAUDO'S INDUSTRIAL ELECTRICS | ABB | YASDA28 |  | CRISTAUDO'S INDUSTRIAL ELECTRICS |  |  |  | https://new.abb.com/products/1SCA022071R3270/yasda8 | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE | 12 DIAX220 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384769 | 1384769 | EA | HANDLE;ADJUSTABLE OFFSET, EXTRA LONG,CR |  |  | HANDLE;TYPE:ADJUSTABLE OFFSET, EXTRA LONG,SIZE:LG 600 MM,MATERIAL:CHROME,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)B0707-1551 | EN_01)ADJUSTABLE OFFSET, EXTRA,EN_01)LG 600 MM,EN_01)CHROME,01)J.BLACKWOOD & SON LIMITED,01)B0707-1551 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | B0707-1551 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | ADJUSTABLE OFFSET,EXTRA LONG | SIZE | 600 MM LG | MATERIAL | CHROME | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385335 | 1385335 | EA | HANDLE;ANTI VIBRATION,4-1/2 TO 6 IN |  |  | HANDLE;TYPE:ANTI VIBRATION,SIZE:4-1/2 TO 6 IN,ADDITIONAL FEATURES EN:PRICES,MNFR:01)BOSS,PTNO:01)314000970 | EN_01)ANTI VIBRATION,EN_01)4-1/2 TO 6 IN,01)PRICES,01)BOSS,01)314000970 |  |  | BOSS | BOSS | 314000970 | Metabo |  |  |  |  | https://www.ereplacementparts.com/antivibration-handle-p-168551.html | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | ANTI VIBRATION | SIZE | 4-1/2 TO 6 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRICES | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385352 | 1385352 | EA | HANDLE;BENT |  |  | HANDLE;TYPE:BENT,ADDITIONAL FEATURES EN:AS PER ITEM 9, WALVOIL BANK CONTROL VALVE,MNFR:01)FINLAY SCREENING AND CRUSHING,PTNO:01) 066 | EN_01)BENT,01)AS PER ITEM 9, WALVOIL BANK,01)FINLAY SCREENING & CRUSHING,01)06620619 |  |  | FINLAY SCREENING AND CRUSHING | FINLAY SCREENING AND CRUSHING | 066 |  | WALVOIL |  |  |  | https://www.outbushman.com.au/product-page/stihl-genuine-064-066-ms660-3-4-wrap-handle-front-handle-1122-790-3650 |  | 9 | BANK CONTROL VALVE | [7 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | BENT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384972 | 1384972 | EA | HANDLE;BRM,DIA 25 MM X LG 1.35 M |  |  | HANDLE;TYPE:BROOM,SIZE:DIA 25 MM X LG 1.35 M,MATERIAL:HARDWOOD,ADDITIONAL FEATURES EN:60000077 STOCK AS PER WEBSITE,MNFR:01)J. BLACK | EN_01)BROOM,EN_01)DIA 25 MM X LG 1.35 M,EN_01)HARDWOOD,01)60000077 STOCK AS PER WEBSI,01)J.BLACKWOOD & SON LIMITED,01)08238418 |  |  | J. BLACK | J.BLACKWOOD AND SON LIMITED | 08238418 |  |  | 60000077 |  |  | https://www.blackwoods.com.au/hygiene-cleaning/broom-heads-handles/handle-wooden-josco/handle-broom-mop-wood-plain-1350-x-25mm/p/08238418 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | BROOM/MOP | SIZE | 25 DIA MMX1.35 LG M | MATERIAL | HARDWOOD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STOCK AS PER WEBSITE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385095 | 1385095 | EA | HANDLE;BRM,LG 1.2 M,WOD |  |  | HANDLE;TYPE:BROOM,SIZE:LG 1.2 M,MATERIAL:WOOD,ADDITIONAL FEATURES EN:STOCK AS PER WEBSITE,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO: | EN_01)BROOM,EN_01)LG 1.2 M,EN_01)WOOD,01)STOCK AS PER WEBSITE,01)J.BLACKWOOD & SON LIMITED,01)04041622 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 04041622 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | BROOM | SIZE | 1.2 M LG | MATERIAL | WOOD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STOCK AS PER WEBSITE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1286447 | 1286447 | EA | HANDLE;CARRY,ROPE,PUMP2000,9117-050 |  |  | HANDLE;TYPE:CARRY,MATERIAL:ROPE,MNFR:01)PUMP2000,PTNO:01)9117-050 | EN_01)CARRY,EN_01)ROPE,01)PUMP2000,01)9117-050 |  |  | PUMP2000 | PUMP2000 | 9117-050 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | CARRY | SIZE |  | MATERIAL | ROPE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1296728 | 1296728 | EA | HANDLE;CARRY,SIG,64-979-160 |  |  | HANDLE;TYPE:CARRY,MNFR:01)SIG,PTNO:01)64-979-160 | EN_01)CARRY,01)SIG,01)64-979-160 |  |  | SIG | SIG | 64-979-160 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | CARRY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384697 | 1384697 | EA | HANDLE;COIL SPRING,MFD SI |  |  | HANDLE;TYPE:COIL SPRING,ADDITIONAL FEATURES EN:MFD SI,MNFR:01)DOWNUNDER MINING,PTNO:01)9.307.06.004 | EN_01)COIL SPRING,01)MFD SI,01)DOWNUNDER MINING,01)9.307.06.004 |  |  | DOWNUNDER MINING | DOWNUNDER MINING | 9.307.06.004 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | COIL SPRING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MFD SI | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1290198 | 1290198 | EA | HANDLE;CONCENTRATOR SWITCH,ZN,ISAMILL |  |  | HANDLE;TYPE:CONCENTRATOR SWITCH,MATERIAL:ZINC,ADDITIONAL FEATURES EN:ISAMILL,MNFR:01)SCHNEID,PTNO:01)B13173/1 | EN_01)CONCENTRATOR SWITCH,EN_01)ZINC,01)ISAMILL,01)SCHNEID,01)B13173/1 |  |  | SCHNEID | SCHNEID | B13173/1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | CONCENTRATOR SWITCH | SIZE |  | MATERIAL | ZINC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRADEMARK:ISA MILL | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384779 | 1384779 | EA | HANDLE;CONTROL VALVE BANK,AS PER ITEM 2 |  |  | HANDLE;TYPE:CONTROL VALVE BANK,ADDITIONAL FEATURES EN:AS PER ITEM 2,MNFR:01)FINLAY SCREENING AND CRUSHING,PTNO:01)12090362 | EN_01)CONTROL VALVE BANK,01)AS PER ITEM 2,01)FINLAY SCREENING & CRUSHING,01)12090362 |  |  | FINLAY SCREENING AND CRUSHING | FINLAY SCREENING AND CRUSHING | 12090362 | POWERSCREEN |  |  |  |  | https://shop.lonmadi.ru/product/view/00000846171.html |  | 2 | BANK CONTROL VALVE | [7 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384988 | 1384988 | EA | HANDLE;CRANK BALL,DIA 16 X LG 185 MM |  |  | HANDLE;TYPE:CRANK BALL,SIZE:DIA 16 X LG 185 MM,MNFR:01)HAREFORB,PTNO:01)MJ143 | EN_01)CRANK BALL,EN_01)DIA 16 X LG 185 MM,01)HAREFORB,01)MJ143 |  |  | HAREFORB | HARE & FORB | MJ143 | HARE & FORB |  |  |  |  | https://www.machineryhouse.co.nz/mj143 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | BALL CRANK | SIZE | 16 DIAX185 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1234719 | 1234719 | EA | HANDLE;CRK,SS316,MESCO,HD0106-0 |  |  | HANDLE;TYPE:CRANK,MATERIAL:STAINLESS STEEL 316,ADDITIONAL FEATURES EN:TRANSFER DEVICE NO1 (RB180),BOTH LEFT AND RIGHT SIDES,MNFR: 01)MESCO,PTNO:01)HD0106-0 | EN_01)CRANK,EN_01)STAINLESS STEEL 316,01)TRANSFER DEVICE NO1 (RB180),01)MESCO,01)HD0106-0 |  |  | MESCO | MESCO | HD0106-0 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | CRANK | SIZE |  | MATERIAL | STAINLESS STEEL 316 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRANSFER DEVICE NO1 (RB180),BOTH LEFT AND RIGHT SIDES | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385046 | 1385046 | EA | HANDLE;D,WD 96 MM X LG 500 M MM,MED |  |  | HANDLE;TYPE:D,SIZE:WD 96 MM X LG 500 M MM,MATERIAL:STEEL CHROME PLATED,ADDITIONAL FEATURES EN:MEDIUM,MNFR:01)J.BLACKWOOD AND SON LIM | EN_01)D,EN_01)WD 96 MM X LG 500 M MM,EN_01)STEEL CHROME PLATED,01)MEDIUM,01)J.BLACKWOOD & SON LIMITED,01)04299600 |  |  | J.BLACKWOOD AND SON LIM | J.BLACKWOOD AND SON LIMITED | 04299600 | [5 empty] | https://www.blackwoods.com.au/hardware/drawer-and-cabinet-hardware/medium-handles/handle-d-500m-chrome-pltd-medium-96mm/p/04299600 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | D | SIZE | 500 LGX96 WD MM | MATERIAL | STEEL CHROME PLATED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEDIUM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1295053 | 1295053 | EA | HANDLE;DD, MANUAL CONTROL,DEE,KUKEN |  |  | HANDLE;DEAD, MANUAL CONTROL,ADDITIONAL FEATURES EN:DEE,MNFR:01)KUKEN,PTNO:01)442387 | EN_01)DEAD, MANUAL CONTROL,01)DEE,01)KUKEN,01)442387 |  |  | KUKEN | KUKEN | 442387 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | DEAD,MANUAL CONTROL,DEE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1295228 | 1295228 | EA | HANDLE;DEADMANS MANUAL CONTROL,YOKOTA |  |  | HANDLE;TYPE:DEADMANS MANUAL CONTROL,MNFR:01)YOKOTA,PTNO:01)0614-411 | EN_01)DEADMANS MANUAL CONTROL,01)YOKOTA,01)0614-411 |  |  | YOKOTA | YOKOTA | 0614-411 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | DEADMANS MANUAL CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1364351 | 1364351 | EA | HANDLE;DOOR INNER, LH |  |  | HANDLE;TYPE:DOOR INNER, LH,MATERIAL:REDDISH DARK FINISH,MNFR:01)MODMOTOR,PTNO:01)0114DAG01480C | EN_01)DOOR INNER, LH,EN_01)REDDISH DARK FINISH,01)MODMOTOR,01)0114DAG01480C |  |  | MODMOTOR | MODMOTOR | 0114DAG01480C | [5 empty] | http://mahindraparts.blogspot.com/2015/07/mahindra-part-numbers_1.html | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | DOOR INNER,LEFT HAND | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FINISH:REDDISH DARK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1364350 | 1364350 | EA | HANDLE;DOOR INNER, RH |  |  | HANDLE;TYPE:DOOR INNER, RH,MATERIAL:REDDISH DARK FINISH,MNFR:01)MODMOTOR,PTNO:01)0114DAG01470C | EN_01)DOOR INNER, RH,EN_01)REDDISH DARK FINISH,01)MODMOTOR,01)0114DAG01470C |  |  | MODMOTOR | MODMOTOR | 0114DAG01470C | [5 empty] | https://mechdeals.com/product-detail/handle-assy-inner-rh-dark-reddish-59008 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | DOOR INNER,RIGHT HAND | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FINISH:REDDISH DARK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384975 | 1384975 | EA | HANDLE;DOUBLE THROW |  |  | HANDLE;TYPE:DOUBLE THROW,ADDITIONAL FEATURES EN:PST.125FC BK PDL A, HAN I0II TS OT16,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER, PTNO:01)ABBOHB45J6E311 | EN_01)DOUBLE THROW,01)PST.125FC BK PDL A, HAN I0I,01)CNW (MOUNT ISA) ELECT WHOLE,01)ABBOHB45J6E311 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | OHB45J6E311 | ABB |  |  |  |  | https://new.abb.com/products/1SCA022817R2130/ohb45j6e311 | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | DOUBLE THROW,PISTAL | SIZE | 45 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PST.125FC BK PDL A,HAN I0II TS OT16 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384869 | 1384869 | EA | HANDLE;DR |  |  | HANDLE;TYPE:DOOR,ADDITIONAL FEATURES EN:CEL PBD PIE CART - 21C ELECT JUDI / PLUMBY,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO: 01)NHPCELHDSZSC | EN_01)DOOR,01)CEL PBD PIE CART - 21C ELEC,01)CNW (MOUNT ISA) ELECT WHOLE,01)NHPCELHDSZSC |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | NHP | CELHDSZSC | NHP | CNW (MOUNT ISA) ELECT WHOLESALER |  |  |  | https://nhp.com.au/product/celhdszsc | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | DOOR,SWING | SIZE |  | MATERIAL | ZINC DIE CAST/CHROME PLATED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CEL PBD PIE CART - 21C ELECT JUDI / PLUMBY | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1293576 | 1293576 | EA | HANDLE;DR, CONTAINER,SS304,ASM,MESCO |  |  | HANDLE;DOOR, CONTAINER,SIZE:WD 95 X LG 206 X HT 36 MM,MATERIAL:STAINLESS STEEL 304,ADDITIONAL FEATURES EN:ASM,MNFR:01)MESCO,PTNO: 01)FA-1810-3 | EN_01)DOOR, CONTAINER,EN_01)WD 95 X LG 206 X HT 36 M,EN_01)STAINLESS STEEL 304,01)ASM,01)MESCO,01)FA-1810-3 |  |  | MESCO | MESCO | FA-1810-3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE | 206 LGX95 WDX36 HT MM | MATERIAL | STAINLESS STEEL 304 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384843 | 1384843 | EA | HANDLE;ELEC, EXTERNAL, PADLOCHABLE |  |  | HANDLE;TYPE:ELECTRICAL, EXTERNAL, PADLOCHABLE,MATERIAL:GLASS FIBRE,ADDITIONAL FEATURES EN:MNT S2 IP65 BL/BKCNW QUOTE 109209751 ITEM 2,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)NHP142D2911 | EN_01)ELECTRICAL, EXTERNAL, PA,EN_01)GLASS FIBRE,01)MNT S2 IP65 BL/BKCNW QUOTE,01)CNW (MOUNT ISA) ELECT WHOLE,01)NHP142D2911 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | NHP | 142D2911 | NHP | CNW (MOUNT ISA) ELECT WHOLESALER | 109209751 |  |  | https://www.nhp.com.au/product/142d2911 |  | 2 | [8 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | ELECTRICAL,EXTERNAL,PADLOCHABLE | SIZE |  | MATERIAL | GLASS FIBRE,METAL LEVER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNTING TYPE:S2,ENCLOSURE RATING: IP65,COLOR:BLACK/BLUE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385494 | 1385494 | EA | HANDLE;ELEC, EXTERNAL, PADLOCKING |  |  | HANDLE;TYPE:ELECTRICAL, EXTERNAL, PADLOCKING,ADDITIONAL FEATURES EN:MNT S3 IP65 BL/BKCNW, QUOTE 109209751 ITEM 3,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)NHP143D3911 | EN_01)ELECTRICAL, EXTERNAL, PA,01)MNT S3 IP65 BL/BKCNW, QUOTE,01)CNW (MOUNT ISA) ELECT WHOLE,01)NHP143D3911 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | NHP | 143D3911 | NHP | CNW (MOUNT ISA) ELECT WHOLESALER | 109209751 |  |  | https://www.nhp.com.au/product/143d3911 |  | 3 | [8 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | ELECTRICAL,EXTERNAL,PADLOCKING | SIZE |  | MATERIAL | METAL LEVER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNTING TYPE:S3,ENCLOSURE RATING: IP65,COLOR:BLACK/BLUE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1237311 | 1237311 | EA | HANDLE;ENGINEERS HAMMER/BLACKSMITH |  |  | HANDLE;TYPE:ENGINEERS HAMMER/BLACKSMITH,SIZE:LG 400 MM,ADDITIONAL FEATURES EN:31 X 25MM EYE SIZE, MIN ORDER OF 5,MNFR:01)BLKWOODS, PTNO:01)00183192 | EN_01)ENGINEERS HAMMER/BLACKSM,EN_01)LG 400 MM,01)31 X 25MM EYE SIZE, MIN ORD,01)BLKWOODS,01)00183192 |  |  | BLACKWOODS | BLACKWOODS | 00183192 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | ENGINEERS HAMMER/BLACKSMITH | SIZE | 400 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | EYE SIZE:31X25 MM,MIN ORDER OF 5 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385305 | 1385305 | EA | HANDLE;FRME,FOR USE WITH SB SERIES CONRS |  |  | HANDLE;TYPE:FRAME,ADDITIONAL FEATURES EN:FOR USE WITH SB SERIES CONRS,MNFR:01)RS COMPONENTS PTY LTD,PTNO:01)715-3546 | EN_01)FRAME,01)FOR USE WITH SB SERIES CONR,01)RS COMPONENTS PTY LTD,01)715-3546 |  |  | RS COMPONENTS PTY LTD | RS COMPONENTS PTY LTD | 715-3546 | ANDERSON POWER PRODUCTS |  |  |  |  | https://au.rs-online.com/web/p/heavy-duty-power-connector-accessories/7153546 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | FRAME | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR SB SERIES CONNECTOR | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1321817 | 1321817 | EA | HANDLE;HAND BRAKE;HHANDLE, |  |  | HANDLE;TYPE:HAND BRAKE,MNFR:TOYOTA,PTNO:HHANDLE,MNFR:01)BELLMOIR,PTNO:01)HHANDLE | EN_01)HAND BRAKE,01)BELLMOIR,01)HHANDLE,HANDLE | HHANDLE |  | BELLMOIR | BELLMOIR | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | HAND BRAKE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384734 | 1384734 | EA | HANDLE;HAND PIECE |  |  | HANDLE;TYPE:HAND PIECE,ADDITIONAL FEATURES EN:REQUIRED FOR CANDC WORKSHOP,MNFR:01)HARE,PTNO:01)MJ083 | EN_01)HAND PIECE,01)REQUIRED FOR C&C WORKSHOP,01)HARE,01)MJ083 |  |  | HARE | HARE | MJ083 | [5 empty] | https://www.machineryhouse.com.au/mj083 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | HAND PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REQUIRED FOR CANDC WORKSHOP | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1346687 | 1346687 | EA | HANDLE;HMR, ENGINEERS,LG 300 MM,HARDWOOD |  |  | HANDLE;HAMMER, ENGINEERS,SIZE:LG 300 MM,MATERIAL:HARDWOOD,ADDITIONAL FEATURES EN:225G HEAD, 19 X 12 MM OVAL EYE,MNFR:01)BLKWOODS, PTNO:01)07183904 | EN_01)HAMMER, ENGINEERS,EN_01)LG 300 MM,EN_01)HARDWOOD,01)225G HEAD, 19 X 12 MM OVAL,01)BLKWOODS,01)07183904 |  |  | BLACKWOODS | BLKWOODS | 07183904 | [5 empty] | https://www.blackwoods.com.au/p/07183904 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | HAMMER,ENGINEERS | SIZE | 300 MM LG | MATERIAL | HARDWOOD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OVAL EYE SIZE:19X12 MM,225G HEAD | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1289620 | 1289620 | EA | HANDLE;HNDST,S M/FOLD FLT B/PASS ASS |  |  | HANDLE;TYPE:HANDSET,ADDITIONAL FEATURES EN:S M/FOLD FLT B/PASS ASS,MNFR:01)RME,PTNO:01)L15-04-054AA | EN_01)HANDSET,01)S M/FOLD FLT B/PASS ASS,01)RME,01)L15-04-054AA |  |  | RME | RME | L15-04-054AA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | HANDSET | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | S M/FOLD FLT B/PASS ASS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1296757 | 1296757 | EA | HANDLE;HOE-RAKE/BROOM/MOP,TAPERED SHANK |  |  | HANDLE;TYPE:HOE-RAKE/BROOM/MOP,SIZE:WD 29 MM X LG 1.8 M,MATERIAL:HARDWOOD 1ST GRADE,ADDITIONAL FEATURES EN:TAPERED SHANK,MNFR:01) BLKWOODS,PTNO:01)00069513 | EN_01)HOE-RAKE/BROOM/MOP,EN_01)WD 29 MM X LG 1.8 M,EN_01)HARDWOOD 1ST GRADE,01)TAPERED SHANK,01)BLKWOODS,01)00069513 |  |  | BLKWOODS | BLACKWOODS | 00069513 | [5 empty] | https://www.blackwoods.com.au/tools-hand-measuring-precision/garden-tools/rake-handles-hardwood-krugers/handle-rake-hardwood-1st-grade-1800x29mm/p/00069513 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | HOE-RAKE/BROOM/MOP | SIZE | 1.8 LG MX29 WD MM | MATERIAL | HARDWOOD 1ST GRADE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TAPERED SHANK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1289396 | 1289396 | EA | HANDLE;INLINE PREMIUM,C/W BOLT |  |  | HANDLE;TYPE:INLINE PREMIUM,ADDITIONAL FEATURES EN:C/W BOLT,MNFR:01)ESS,PTNO:01)9030037 | EN_01)INLINE PREMIUM,01)C/W BOLT,01)ESS,01)9030037 |  |  | ESS | ESS | 9030037 | ESS |  |  |  |  | https://irp-cdn.multiscreensite.com/38ca115f/files/uploaded/Product%20Catalogue%20AUG%202019.pdf | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | INLINE BLADE CARTRIDGE PREMIUM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W BOLT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1297111 | 1297111 | EA | HANDLE;IP65,TMAX T4, T5 |  |  | HANDLE;HAZARD CLASS:IP65,ADDITIONAL FEATURES EN:TMAX T4, T5,MNFR:01)CIE,PTNO:01)1SDAA99005A1 | IP65,01)TMAX T4, T5,01)CIE,01)1SDAA99005A1 |  |  | CIE | CIE | 1SDAA99005A1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP65,FOR TMAX T4,T5 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1293846 | 1293846 | EA | HANDLE;L RECESS C/W PLATE KA F KEY, AIR |  |  | HANDLE;ADDITIONAL FEATURES EN:L RECESS C/W PLATE KA F KEY, AIR CONDITIONED CA,MNFR:01)JACTECH,PTNO:01)JSDP-9/00158 FS880 | 01)L RECESS C/W PLATE KA F KEY,01)JACTECH,01)JSDP-9/00158 FS880 |  |  | JACTECH | JACTECH | FS880 | UES INTERNATIONAL |  | JSDP-9/00158 |  |  | https://goliathhardware.com.au/wp-content/uploads/2018/03/Handles.pdf |  |  | COMPRESSED AIR CONDITIONER | [7 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | LOCKING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | L RECESS,C/W PLATE KA F KEY | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1348251 | 1348251 | EA | HANDLE;LANDING DOOR |  |  | HANDLE;TYPE:LANDING DOOR,MNFR:01)ALIMAHEK,PTNO:01)9066191-000 | EN_01)LANDING DOOR,01)ALIMAHEK,01)9066191-000 |  |  | ALIMAHEK | ALIMAK | 9066191-000 | ALIMAK |  |  |  |  | https://www.bidnet.com/bneattachments?/649030403.pdf | [10 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | LANDING DOOR | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385189 | 1385189 | EA | HANDLE;LCKG,THE |  |  | HANDLE;TYPE:LOCKING,ADDITIONAL FEATURES EN:THE,MNFR:01)FORKFORCE,PTNO:01)45742-02000 | EN_01)LOCKING,01)THE,01)FORKFORCE,01)45742-02000 |  |  | FORK FORCE AUSTRALIA PTY LTD | FORKFORCE | 45742-02000 | [5 empty] | https://scanlift.no/wp-content/uploads/2022/09/FD25-Mserie-Xinchai-M-M-ICE-2018-2.5Tto4T-PM-CN-EN-06-2020.pdf | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | LOCKING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384749 | 1384749 | EA | HANDLE;LG 150 X DIA 8 MM |  |  | HANDLE;SIZE:LG 150 X DIA 8 MM,ADDITIONAL FEATURES EN:TRIPPLE VALVE BANK,MNFR:01)FINLAY SCREENING AND CRUSHING,PTNO:01)06620617 | EN_01)LG 150 X DIA 8 MM,01)TRIPPLE VALVE BANK,01)FINLAY SCREENING & CRUSHING,01)06620617 |  |  | FINLAY SCREENING AND CRUSHING | FINLAY SCREENING AND CRUSHING | 06620617 | [5 empty] | URL NOT FOUND |  |  | BANK TRIPPLE VALVE | [7 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE | 8 DIAX150 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1294027 | 1294027 | EA | HANDLE;LVR |  |  | HANDLE;TYPE:LEVER,MNFR:01)URYU,PTNO:01)591-014-7 | EN_01)LEVER,01)URYU,01)591-014-7 |  |  | URYU | URYU | 591-014-7 | AIMCO |  |  |  |  | https://www.aimco-global.com/Data/Sites/1/SharedFiles/UplDocs/Breakdowns/UAG-70SBL_70SCL.pdf | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | LEVER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1302377 | 1302377 | EA | HANDLE;LVR,TBE,CLAYGUN,CALCENGI |  |  | HANDLE;TYPE:LEVER,ADDITIONAL FEATURES EN:TBE,CLAYGUN,MNFR:01)CALCENGI,PTNO:01)CENGMI523A | EN_01)LEVER,01)TBE,CLAYGUN,01)CALCENGI,01)CENGMI523A |  |  | CALCENGI | CALCENGI | CENGMI523A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | LEVER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR CLAYGUN,TBE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1349565 | 1349565 | EA | HANDLE;MANUAL BRAKE CONTROL,HORSCRFT |  |  | HANDLE;TYPE:MANUAL BRAKE CONTROL,MNFR:01)HORSCRFT,PTNO:01)H-1-28 | EN_01)MANUAL BRAKE CONTROL,01)HORSCRFT,01)H-1-28 |  |  | HORSCRFT | HORSCRFT | H-1-28 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL BRAKE CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1293699 | 1293699 | EA | HANDLE;MANUAL CONTROL |  |  | HANDLE;TYPE:MANUAL CONTROL,MNFR:01)BLKWOODS,PTNO:01)03045558 | EN_01)MANUAL CONTROL,01)BLKWOODS,01)03045558 |  |  | BLACKWOODS | BLKWOODS | 03045558 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1294694 | 1294694 | EA | HANDLE;MANUAL CONTROL |  |  | HANDLE;TYPE:MANUAL CONTROL,MNFR:01)SECOTITN,PTNO:01)9500-0101 | EN_01)MANUAL CONTROL,01)SECOTITN,01)9500-0101 |  |  | SECOTITN | SECOTITN | 9500-0101 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1350165 | 1350165 | EA | HANDLE;MANUAL CONTROL, BURNER HEAD |  |  | HANDLE;TYPE:MANUAL CONTROL, BURNER HEAD,MNFR:01)TREVBOIL,PTNO:01)1001-232-01 | EN_01)MANUAL CONTROL, BURNER H,01)TREVBOIL,01)1001-232-01 |  |  | TREVBOIL | TREVBOIL | 1001-232-01 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL,BURNER HEAD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1350775 | 1350775 | EA | HANDLE;MANUAL CONTROL, COMPLETE OPERATIN |  |  | HANDLE;,MANUAL CONTROL, COMPLETE OPERATING,MNFR:01)WILLMACK,PTNO:01)WMM-0080 | EN_01)MANUAL CONTROL, COMPLETE,01)WILLMACK,01)WMM-0080 |  |  | WILLMACK | WILLMACK | WMM-0080 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL, COMPLETE OPERATING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1319074 | 1319074 | EA | HANDLE;MANUAL CONTROL, OPERATORS CONTROL |  |  | HANDLE;MANUAL CONTROL, OPERATORS CONTROL,ADDITIONAL FEATURES EN:MOUNTED,MNFR:01)IRWIN,PTNO:01)IMTS12AD1058 |  |  |  | IRWIN | IRWIN | IMTS12AD1058 | [16 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL, OPERATORS CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNTED | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1354901 | 1354901 | EA | HANDLE;MANUAL CONTROL, QUICK HITCH |  |  | HANDLE;,MANUAL CONTROL, QUICK HITCH,MNFR:01)CUTRITE,PTNO:01)3136122806 | EN_01)MANUAL CONTROL, QUICK HI,01)CUTRITE,01)3136122806 |  |  | CUTRITE | CUTRITE | 3136122806 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL,QUICK HITCH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1351921 | 1351921 | EA | HANDLE;MANUAL CONTROL, SECONDARY RELEASE |  |  | HANDLE;TYPE:MANUAL CONTROL, SECONDARY RELEASE,MNFR:01)HOLHITCH,PTNO:01)FW.78 | EN_01)MANUAL CONTROL, SECONDAR,01)HOLHITCH,01)FW.78 |  |  | HOLHITCH | HOLHITCH | FW.78 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SECONDARY RELEASE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1296791 | 1296791 | EA | HANDLE;MANUAL CONTROL, SIG DRILL HOOK |  |  | HANDLE;TYPE:MANUAL CONTROL, SIG DRILL HOOK,MNFR:01)SIG,PTNO:01)64-978-320 | EN_01)MANUAL CONTROL, SIG DRIL,01)SIG,01)64-978-320 |  |  | SIG | SIG | 64-978-320 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL,SIG DRILL HOOK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1351055 | 1351055 | EA | HANDLE;MANUAL CONTROL, SPRAY |  |  | HANDLE;TYPE:MANUAL CONTROL, SPRAY,MNFR:01)FIREFITE,PTNO:01)77-90302 | EN_01)MANUAL CONTROL, SPRAY,01)FIREFITE,01)77-90302 |  |  | FIREFITE | FIREFITE | 77-90302 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL,SPRAY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1349801 | 1349801 | EA | HANDLE;MANUAL CONTROL, TRANSFER,WILLMACK |  |  | HANDLE;,MANUAL CONTROL, TRANSFER,MNFR:01)WILLMACK,PTNO:01)WMM-0078 | EN_01)MANUAL CONTROL, TRANSFER,01)WILLMACK,01)WMM-0078 |  |  | WILLMACK | WILLMACK | WMM-0078 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL, TRANSFER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1352952 | 1352952 | EA | HANDLE;MANUAL CONTROL, WITH BEARING,ASEA |  |  | HANDLE;,MANUAL CONTROL, WITH BEARING,MNFR:01)ASEA,PTNO:01)SK115-0980 | EN_01)MANUAL CONTROL, WITH BEA,01)ASEA,01)SK115-0980 |  |  | ASEA | ASEA | SK1150980 | [5 empty] | https://spectechind.com/abbpartnumber15.html | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W BEARING | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1351719 | 1351719 | EA | HANDLE;MANUAL CONTROL,LG 10 MM |  |  | HANDLE;TYPE:MANUAL CONTROL,SIZE:LG 10 MM,MNFR:01)VERO,PTNO:01)CH/10035/3 | EN_01)MANUAL CONTROL,EN_01)LG 10 MM,01)VERO,01)CH/10035/3 |  |  | VERO | VERO | CH/10035/3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MANUAL CONTROL | SIZE | 10 MM LG | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384713 | 1384713 | EA | HANDLE;MOP,WD 25 MM X LG 1.35 M,AL |  |  | HANDLE;TYPE:MOP,SIZE:WD 25 MM X LG 1.35 M,MATERIAL:ALUMINUM,ADDITIONAL FEATURES EN:BLUE THREAD,MNFR:01)J.BLACKWOOD AND SON LIMITED, | EN_01)MOP,EN_01)WD 25 MM X LG 1.35 M,EN_01)ALUMINUM,01)BLUE THREAD,01)J.BLACKWOOD & SON LIMITED,01)01448815 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 01448815 | [5 empty] | https://www.blackwoods.com.au/hygiene-cleaning/broom-heads-handles/oates-mop-handle-aluminium/handle-alum-mop-blue-thread-1-35mx25mm/p/01448815 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MOP | SIZE | 1.35 LG MX25 WD MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THREAD COLOR:BLUE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384884 | 1384884 | EA | HANDLE;MOP,WD 25 MM X LG 1.35 M,AL |  |  | HANDLE;TYPE:MOP,SIZE:WD 25 MM X LG 1.35 M,MATERIAL:ALUMINUM,ADDITIONAL FEATURES EN:RED THREAD,MNFR:01)J.BLACKWOOD AND SON LIMITED, P | EN_01)MOP,EN_01)WD 25 MM X LG 1.35 M,EN_01)ALUMINUM,01)RED THREAD,01)J.BLACKWOOD & SON LIMITED,01)01448985 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 01448985 | [5 empty] | https://www.blackwoods.com.au/hygiene-cleaning/broom-heads-handles/oates-mop-handle-aluminium/handle-alum-mop-red-thread-1-35mx25mm/p/01448985 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | MOP | SIZE | 1.35 LG MX25 WD MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THREAD COLOR:RED | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1353305 | 1353305 | EA | HANDLE;NFC AND DIN,BLK, IP55, TYPE S02 |  |  | HANDLE;CERTIFICATION/STANDARD:NFC AND DIN,ADDITIONAL FEATURES EN:BLACK, IP55, TYPE S02,MNFR:01)SOCOMEC,PTNO:01)1421 2111 | EN_01)NFC AND DIN,01)BLACK, IP55, TYPE S02,01)SOCOMEC,01)1421 2111 |  |  | SOCOMEC | SOCOMEC | 1421 2111 | SOCOMEC |  |  |  |  | https://in.rsdelivers.com/product/socomec/1421-2111/socomec-handle-for-use-with-fuserbloc-series/5135763 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NFC,DIN | ADDITIONAL FEATURES | MOUNTING TYPE:S02,ENCLOSURE RATING:IP55,COLOR:BLACK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1289579 | 1289579 | EA | HANDLE;NOSE |  |  | HANDLE;TYPE:NOSE,MNFR:01)RME,PTNO:01)L07-03-036BB | EN_01)NOSE,01)RME,01)L07-03-036BB |  |  | RME | RME | L07-03-036BB | [16 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | NOSE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1293715 | 1293715 | EA | HANDLE;OPERTG,REPLACEMENT BLACK |  |  | HANDLE;TYPE:OPERATING,ADDITIONAL FEATURES EN:REPLACEMENT BLACK,MNFR:01)CUTLERHM,PTNO:01)CUT392/1039 | EN_01)OPERATING,01)REPLACEMENT BLACK,01)CUTLERHM,01)CUT392/1039 |  |  | CUTLERHM | CUTLERHM | CUT392/1039 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | OPERATING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLACK,REPLACEMENT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1366240 | 1366240 | EA | HANDLE;OPERTG,REPLACEMENT BLACK |  |  | HANDLE;TYPE:OPERATING,ADDITIONAL FEATURES EN:REPLACEMENT BLACK,MNFR:01)CUTLERHM,PTNO:01)CUT393/1157 | EN_01)OPERATING,01)REPLACEMENT BLACK,01)CUTLERHM,01)CUT393/1157 |  |  | CUTLERHM | CUTLERHM | CUT393/1157 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | OPERATING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLACK,REPLACEMENT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1364352 | 1364352 | EA | HANDLE;OUTER DOOR, GRIPPER |  |  | HANDLE;TYPE:OUTER DOOR, GRIPPER,MNFR:01)MODMOTOR,PTNO:01)0114DAG01410N | EN_01)OUTER DOOR, GRIPPER,01)MODMOTOR,01)0114DAG01410N |  |  | MODMOTOR | MODMOTOR | 0114DAG01410N | [5 empty] | https://narmadamotors.in/product/0114dag01410n-use-0114dag01410v-gripper-door-handle/ | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | OUTER DOOR,GRIPPER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1344657 | 1344657 | EA | HANDLE;POWER SWITCH, ON/OFF |  |  | HANDLE;TYPE:POWER SWITCH, ON/OFF,MNFR:01)RME,PTNO:01)L06-05-321AA-R | EN_01)POWER SWITCH, ON/OFF,01)RME,01)L06-05-321AA-R |  |  | RME | RME | L06-05-321AA-R | [16 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | POWER SWITCH,ON/OFF | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 | PARTIALLY MATCH | 1384936 | 1384936 | EA | HANDLE;PUL,SS,CRH, H01 |  |  | HANDLE;TYPE:PULL,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:CRH, H01,MNFR:01)REECE,PTNO:01)2709137 | EN_01)PULL,EN_01)STAINLESS STEEL,01)CRH, H01,01)REECE,01)2709137 |  |  | REECE | CRH | H01 |  | REECE | 2709137 |  |  | https://www.crh.com.au/h01x-fsg | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | PULL | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384673 | 1384673 | EA | HANDLE;PVG, LONG,BAS |  |  | HANDLE;TYPE:PVG, LONG,ADDITIONAL FEATURES EN:BASE,MNFR:01)RUSSELL MINERAL EQUIPMENT P/L,PTNO:01)32R0011 | EN_01)PVG, LONG,01)BASE,01)RUSSELL MINERAL EQUIPMENT P,01)32R0011 |  |  | RUSSELL MINERAL EQUIPMENT P/L | RUSSELL MINERAL EQUIPMENT P/L | 32R0011 | [5 empty] | URL NOT FOUND |  |  | Proportional Valve Group | [7 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | LONG,BASE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1354512 | 1354512 | EA | HANDLE;ROTARY EXTENSION SWITCH |  |  | HANDLE;TYPE:ROTARY EXTENSION SWITCH,MNFR:01)RME,PTNO:01)10100220 | EN_01)ROTARY EXTENSION SWITCH,01)RME,01)10100220 |  |  | RME | RME | 10100220 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | ROTARY EXTENSION SWITCH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 | PART NO ALTERED AS PER WEB SOURCE | 1381460 | 1381460 | EA | HANDLE;ROTARY EXTENSION SWITCH,IP55,STD |  |  | HANDLE;TYPE:ROTARY EXTENSION SWITCH,HAZARD CLASS:IP55,ADDITIONAL FEATURES EN:STD,MNFR:01)AUSLEC,PTNO:01)MER29338 | EN_01)ROTARY EXTENSION SWITCH,IP55,01)STD,01)AUSLEC,01)MER29338 |  |  | AUSLEC | AUSLEC | 29338 | Schneider Electric |  |  |  |  | https://www.se.com/us/en/product/29338/extended-rotary-handle-compact-ns100-250-black-handle/ | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | STANDARD ROTARY EXTENSION SWITCH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP55 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384888 | 1384888 | EA | HANDLE;SAFETY LANCE,DIA 12 MM,2.80KG |  |  | HANDLE;TYPE:SAFETY LANCE,SIZE:DIA 12 MM,ADDITIONAL FEATURES EN:2.80KG,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)08218657 | EN_01)SAFETY LANCE,EN_01)DIA 12 MM,01)2.80KG,01)J.BLACKWOOD & SON LIMITED,01)08218657 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 08218657 | [5 empty] | https://www.blackwoods.com.au/welding-gas/welding-equipment/thermic-lance-equipment/lance-handle-12mm-2-80kg/p/08218657 | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | SAFETY LANCE | SIZE | 12 MM DIA | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WEIGHT:2.8 KG | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1361093 | 1361093 | EA | HANDLE;SCVNGR,25 MM X 1.5 M,AL,BRM | ASA; | POIGNEE; | HANDLE;TYPE:SCAVENGER,SIZE:25 MM X 1.5 M,MATERIAL:ALUMINIUM,ADDITIONAL FEATURES EN:BROOM,PN:TAL550H,MNFR:JOSCO |  |  |  | JOSCO | JOSCO | TAL550H | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | SCAVENGER | SIZE | 25 MMX1.5 M | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BROOM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1294573 | 1294573 | EA | HANDLE;SEAT VALVE, AIR TIGHT CLOSURE,SS |  |  | HANDLE;SEAT VALVE, AIR TIGHT CLOSURE,SIZE:WD 65 X LG 148 X HT 36 MM,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:ASM WASH,MNFR: 01)SPRAYSYS,PTNO:01)FA1114-3R | EN_01)SEAT VALVE, AIR TIGHT CL,EN_01)WD 65 X LG 148 X HT 36 M,EN_01)STAINLESS STEEL,01)ASM WASH,01)SPRAYSYS,01)FA1114-3R |  |  | SPRAYSYS | SPRAYSYS | FA1114-3R | TAKIGEN |  |  |  |  | https://in.misumi-ec.com/vona2/detail/221004910650/?HissuCode=FA-1114-3R |  |  | SEAT VALVE | [7 empty] | ENRICHED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | AIR TIGHT CLOSURE | SIZE | 148 LGX65 WDX36 HT MM | MATERIAL | STAINLESS STEEL 316 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASM WASH | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385136 | 1385136 | EA | HANDLE;STAR SHAPPED |  |  | HANDLE;TYPE:STAR SHAPPED,MNFR:01)FORKFORCE,PTNO:01)M3036408000 | EN_01)STAR SHAPPED,01)FORKFORCE,01)M3036408000 |  |  | FORK FORCE AUSTRALIA PTY LTD | FORKFORCE | M3036408000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | STAR SHAPPED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385362 | 1385362 | EA | HANDLE;STRGT,NYLON/POLY,NEMA 4X,BLU |  |  | HANDLE;TYPE:STRAIGHT,MATERIAL:NYLON/POLY,CERTIFICATION/STANDARD:NEMA 4X,ADDITIONAL FEATURES EN:BLUE,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)511P0D18 | EN_01)STRAIGHT,EN_01)NYLON/POLY,EN_01)NEMA 4X,01)BLUE,01)CNW (MOUNT ISA) ELECT WHOLE,01)511P0D18 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 511P0D18 | [5 empty] | https://meltric.com/511p0d18.html | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | STRAIGHT | SIZE |  | MATERIAL | NYLON/POLY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NEMA RATING:NEMA 4X,COLOR:BLUE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384764 | 1384764 | EA | HANDLE;SWG, PADLOCKABLE,SS,SERIES NO: NI |  |  | HANDLE;TYPE:SWING, PADLOCKABLE,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:SERIES NO: NI,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)B-RNI060/S | EN_01)SWING, PADLOCKABLE,EN_01)STAINLESS STEEL,01)SERIES NO: NI,01)CNW (MOUNT ISA) ELECT WHOLE,01)B-RNI060/S |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | B-RNI060/S | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE | SWING,PADLOCKABLE | SIZE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES NO:NI | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1353334 | 1353334 | EA | HANDLE;SWITCH ISOLATION, PISTOL,CIE |  |  | HANDLE;SWITCH ISOLATION, PISTOL,SIZE:WD 158 X LG 125 X HT 45 X DP 66 MM,MATERIAL:STAINLESS STEEL METAL FINISH,EC 000229, IEC 60947-1-2007/A1-2010/A2-2014,ADDITIONAL FEATURES EN:L12, IP66,MNFR:01)CIE,PTNO:01)OHM125L12 | EN_01)SWITCH ISOLATION, PISTOL,EN_01)WD 158 X LG 125 X HT 45,EN_01)STAINLESS STEEL METAL FI,EN_01)EC 000229, IEC 60947-1-2,01)L12, IP66,01)CIE,01)OHM125L12 |  |  | CIE | CIE | OHM125L12 | ABB |  |  |  |  | https://new.abb.com/products/1SCA022739R1150/ohm125l12 | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH ISOLATION, PISTOL | SIZE | 125 LGX158 WDX45 HTX66 DP MM | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | EC 000229,IEC 60947-1-2007/A1-2010/A2-2014 | ADDITIONAL FEATURES | ENCLOSURE RATING:IP66,FINISH:METAL,L12 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1290272 | 1290272 | EA | HANDLE;SWTCH, CB, STANDARD,PLSTC,IP65 |  |  | HANDLE;SWITCH, CB, STANDARD,MATERIAL:PLASTIC,HAZARD CLASS:IP65,ADDITIONAL FEATURES EN:BLACK/GREY, EXTENSION SHAFT,MNFR:01) TERASAKI,PTNO:01)T1HP03R6BNA | EN_01)SWITCH, CB, STANDARD,EN_01)PLASTIC,IP65,01)BLACK/GREY, EXTENSION SHAFT,01)TERASAKI,01)T1HP03R6BNA |  |  | TERASAKI | TERASAKI | T1HP03R6BNA | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH,CIRCUIT BREAKER,STANDARD | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLACK/GREY,ENCLOSURE RATING:IP65,EXTENSION SHAFT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 | PART NO ALTERED AS PER WEB SOURCE | 1237915 | 1237915 | EA | HANDLE;SWTCH, DEFEATABLE, PADLOCKABLE |  |  | HANDLE;SWITCH, DEFEATABLE, PADLOCKABLE,SIZE:5 MM,ADDITIONAL FEATURES EN:BLACK, KEYED 45MM LONG SHAFT, INTERLOCK IN ON-POSITION, IP65 RATED,MNFR:01)AUSLEC,PTNO:01)4STROHB45J5 | EN_01)SWITCH, DEFEATABLE, PADL,EN_01)5 MM,01)BLACK, KEYED 45MM LONG SHAF,01)AUSLEC,01)4STROHB45J5 |  |  | AUSLEC | AUSLEC | OHB45J5 | [5 empty] | https://www.radwell.co.uk/Buy/ASEA%20BROWN%20BOVERI/ASEA%20BROWN%20BOVERI/OHB45J5/?redirect=true | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | PISTOL,SWITCH, PADLOCKABLE | SIZE | 45 LGX5 WD MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLACK,ENCLOSURE RATING:IP65,INTERLOCK IN ON-POSITION,DEFEATABLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1290095 | 1290095 | EA | HANDLE;SWTCH, KEYED,DOOR INTERLOCK TYP |  |  | HANDLE;SWITCH, KEYED,ADDITIONAL FEATURES EN:DOOR INTERLOCK TYP,MNFR:01)AUSLEC,PTNO:01)4CUT18001 | EN_01)SWITCH, KEYED,01)DOOR INTERLOCK TYP,01)AUSLEC,01)4CUT18001 |  |  | AUSLEC | AUSLEC | 4CUT18001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH,KEYED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR DOOR INTERLOCK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 | PART NO ALTERED AS PER WEB SOURCE | 1353389 | 1353389 | EA | HANDLE;SWTCH, PADLOCKABLE, DEFEATABLE |  |  | HANDLE;SWITCH, PADLOCKABLE, DEFEATABLE,SIZE:WD 8 X LG 80 MM,ADDITIONAL FEATURES EN:INTERLOCK IN ON-POSITION, IP65 RATED,MNFR:01) AUSLEC,PTNO:01)4STROHB-80J6 | EN_01)SWITCH, PADLOCKABLE, DEF,EN_01)WD 8 X LG 80 MM,01)INTERLOCK IN ON-POSITION, I,01)AUSLEC,01)4STROHB-80J6 |  |  | AUSLEC | AUSLEC | OHB80J6 | ABB |  |  |  |  | https://new.abb.com/products/1SCA022381R0240/ohb80j6 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | PISTOL,SWITCH, PADLOCKABLE | SIZE | 80 LGX8 WD MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP65,INTERLOCK IN ON-POSITION,DEFEATABLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1298551 | 1298551 | EA | HANDLE;SWTCH, PADLOCKABLE, DEFEATABLE |  |  | HANDLE;SWITCH, PADLOCKABLE, DEFEATABLE,SIZE:WD 12 X LG 145 MM,NEMA 1, 3R, 12,ADDITIONAL FEATURES EN:BLACK, INTERLOCK IN ON- POSITION, IP65 RATED,MNFR:01)STROMBG,PTNO:01)YASDB16,MNFR:02)STROMBG,PTNO:02)OHB145N12,MNFR:03)AUSLEC,PTNO:03)STROHB145N12,MNFR: 04)CNW,PTNO:04)4STROHB145J12 | EN_01)SWITCH, PADLOCKABLE, DEF,EN_01)WD 12 X LG 145 MM,EN_01)NEMA 1, 3R, 12,01)BLACK, INTERLOCK IN ON-POSI,01)STROMBG,02)STROMBG,03)AUSLEC,04)CNW,01)YASDB16,02)OHB145N12,03)STROHB145N12,04)4STROHB145J12 |  |  | CNW | CNW | OHB145N12 | ABB | STROMBG | 4STROHB145J12 | AUSLEC |  | https://new.abb.com/products/1SCA022381R2110/ohb145j12 | [10 empty] | ENRICHED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | PISTOL,SWITCH, PADLOCKABLE | SIZE | 145 LGX12 WD MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLACK,ENCLOSURE RATING:IP65,NEMA RATING:NEMA 1,3R,12,INTERLOCK IN ON- POSITION,DEFEATABLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1344486 | 1344486 | EA | HANDLE;SWTCH, PADLOCKABLE,MTL,125-63 |  |  | HANDLE;SWITCH, PADLOCKABLE,MATERIAL:METAL,ADDITIONAL FEATURES EN:125-63,MNFR:01)CLIPSAL,PTNO:01)5H2M | EN_01)SWITCH, PADLOCKABLE,EN_01)METAL,01)125-63,01)CLIPSAL,01)5H2M |  |  | CLIPSAL | CLIPSAL | 5H2M |  |  | 125-63 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH, PADLOCKABLE | SIZE |  | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1298623 | 1298623 | EA | HANDLE;SWTCH, PANEL MOUNTED EXTERNAL OPE |  |  | HANDLE;SWITCH, PANEL MOUNTED EXTERNAL OPERATING,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:BLACK IP65,125A, EXTENSION,MNFR:01) TERASAKI,PTNO:01)T2HP12R6BNC | EN_01)SWITCH, PANEL MOUNTED EX,EN_01)PLASTIC,01)BLACK IP65,125A, EXTENSION,01)TERASAKI,01)T2HP12R6BNC |  |  | TERASAKI | TERASAKI | T2HP12R6BNC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH,PANEL MOUNTED EXTERNAL OPERATING | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLACK,ENCLOSURE RATING:IP65,CURRENT RATING:125 A,extension | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1289880 | 1289880 | EA | HANDLE;SWTCH, POWER CIRCUIT BREAKER,IEC |  |  | HANDLE;TYPE:SWITCH, POWER CIRCUIT BREAKER,SIZE:WD 120 X HT 120 X DP 480 MM,CERTIFICATION/STANDARD:IEC,MNFR:01)MARCON,PTNO:01) 1SDA054929R1 | EN_01)SWITCH, POWER CIRCUIT BR,EN_01)WD 120 X HT 120 X DP 480,EN_01)IEC,01)MARCON,01)1SDA054929R1 |  |  | MARCON | MARCON | 1SDA054929R1 | ABB |  |  |  |  | https://new.abb.com/products/1SDA054929R1/rhe-t4-t5-f-p-stand-returned | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH,POWER CIRCUIT BREAKER | SIZE | 120 WDX120 HTX480 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1351379 | 1351379 | EA | HANDLE;SWTCH, ROD/KNOB ASSEMBLY,CROMPARK |  |  | HANDLE;,SWITCH, ROD/KNOB ASSEMBLY,MNFR:01)CROMPARK,PTNO:01)20668BN | EN_01)SWITCH, ROD/KNOB ASSEMBL,01)CROMPARK,01)20668BN |  |  | CROMPARK | CROMPARK | 20668BN | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH,ROD/KNOB | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1298547 | 1298547 | EA | HANDLE;SWTCH,304.8 MM,MTL |  |  | HANDLE;TYPE:SWITCH,SIZE:304.8 MM,MATERIAL:METAL,MNFR:01)EATON,PTNO:01)WHM3R12 | EN_01)SWITCH,EN_01)304.8 MM,EN_01)METAL,01)EATON,01)WHM3R12 |  |  | EATON | EATON | WHM3R12 | EATON |  |  |  |  | https://www.revereelectric.com/4443744/Product/ | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH,DOOR | SIZE | 304.8 MM | MATERIAL | METAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1299006 | 1299006 | EA | HANDLE;SWTCH,DIA 12 X LG 220 MM,IP65 |  |  | HANDLE;TYPE:SWITCH,SIZE:DIA 12 X LG 220 MM,HAZARD CLASS:IP65,ADDITIONAL FEATURES EN:FRON,MNFR:01)STROMBG,PTNO:01)YASDA8 | EN_01)SWITCH,EN_01)DIA 12 X LG 220 MM,IP65,01)FRON,01)STROMBG,01)YASDA8 |  |  | STROMBG | STROMBG | YASDA8 | ABB |  |  |  |  | https://new.abb.com/products/1SCA022071R3270/yasda8 | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH | SIZE | 12 DIAX220 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP65,FRON | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1290263 | 1290263 | EA | HANDLE;SWTCH,HAYMANS,STROT63E3P |  |  | HANDLE;TYPE:SWITCH,MNFR:01)HAYMANS,PTNO:01)STROT63E3P | EN_01)SWITCH,01)HAYMANS,01)STROT63E3P |  |  | HAYMANS | HAYMANS | STROT63E3P | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1351185 | 1351185 | EA | HANDLE;SWTCH,WECOL,G71044H |  |  | HANDLE;TYPE:SWITCH,MNFR:01)WECOL,PTNO:01)G71044H | EN_01)SWITCH,01)WECOL,01)G71044H |  |  | WECOL | WECOL | G71044H | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122200 Electrical switches and accessories | HANDLE | No Modifier | TYPE | SWITCH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1319761 | 1319761 | EA | HANDLE;T2 MCCB FOR 250A |  |  | HANDLE;ADDITIONAL FEATURES EN:T2 MCCB FOR 250A,MNFR:01)TERISAKI,PTNO:01)T2HS25R5GM | 01)T2 MCCB FOR 250A,01)TERISAKI,01)T2HS25R5GM |  |  | TERISAKI | TERISAKI | T2HS25R5GM | NHP |  |  |  |  | https://prdsccdnstorage.azureedge.net/techdatasheets/T2HS25R5GM-21152-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | ENRICHED | 39121600 Circuit protection devices and accessories | HANDLE | No Modifier | TYPE |  | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | T2,FOR MCCB 250 A | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1384789 | 1384789 | EA | HANDLE;TO SUIT G4023 QUOTATION NUMBER 90 |  |  | HANDLE;ADDITIONAL FEATURES EN:TO SUIT G4023 QUOTATION NUMBER 908121788400,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)B0460B2489 | 01)TO SUIT G4023 QUOTATION NUM,01)J.BLACKWOOD & SON LIMITED,01)B0460B2489 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | B0460B2489 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 27112100 Holding and clamping tools | HANDLE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR G4023 QUOTATION NUMBER 908121788400 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1385022 | 1385022 | EA | HANDLE;WHL,CI,DIN,950315K26A SALES |  |  | HANDLE;TYPE:WHEEL,MATERIAL:CAST IRON,CERTIFICATION/STANDARD:DIN,ADDITIONAL FEATURES EN:950315K26A SALES,MNFR:01)VENDOR LINK PTY LTD,PTNO:01)06271-1315X26 | EN_01)WHEEL,EN_01)CAST IRON,EN_01)DIN,01)950315K26A SALES,01)VENDOR LINK PTY LTD,01)06271-1315X26 |  |  | VENDOR LINK PTY LTD | VENDOR LINK PTY LTD | 06271-1315X26 |  |  | 950315K26A |  |  | https://www.norelem.com/xs_db/DOKUMENT_DB/www/NORELEM/DataSheet/en/06/06271_Datasheet_3514_Handwheels_DIN_950_grey_cast_iron--en.pdf | [10 empty] | ENRICHED | 31171800 Industrial wheels | HANDWHEEL | NO MODIFIER | TYPE |  | BORE SIZE | 54 MM | BORE TYPE |  | WHEEL DIAMETER | 315 MM | HUB DIAMETER |  | HUB LENGTH |  | MATERIAL | CAST IRON | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 950 | ADDITIONAL FEATURES | SALES | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1297215 | 1297215 | EA | HOUSING,BRGUNT;1 IN,IND-CODE,SNA.506-605 |  |  | HOUSING,BEARING UNIT;BORE:1 IN,MNFR:01)IND-CODE,PTNO:01)SNA.506-605 | 1 IN,01)IND-CODE,01)SNA.506-605 |  |  | IND-CODE | IND-CODE | SNA 506-605 | [5 empty] | https://www.mastagroup.com/product/sna-series-plummer-blocks/ | https://www.mastagroup.com/mastapublications/sna.pdf | [9 empty] | ENRICHED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMBER BLOCK | BORE | 1 IN | BLOCK SIZE | 185 LGX87 HT MM | BOLT MOUNTINGS |  | BOLT DIAMETER | 10 MM | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1297213 | 1297213 | EA | HOUSING,BRGUNT;115 MM,TACONI,FAG |  |  | HOUSING,BEARING UNIT;BORE:115 MM,ADDITIONAL FEATURES EN:TACONI,MNFR:01)FAG,PTNO:01)FSN.526.TAC.B | 115 MM,01)TACONI,01)FAG,01)FSN.526.TAC.B |  |  | FAG | FAG | FSN.526.TAC.B | [5 empty] | https://www.mastagroup.com/mastapublications/sn.pdf | [10 empty] | ENRICHED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | PLUMBER BLOCK | BORE | 115 MM | BLOCK SIZE | 445 LGX190 DP MM | BOLT MOUNTINGS |  | BOLT DIAMETER | 24 MM | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W TACONITE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | bearing unit | 2023-07-21 | 2023-07-28 | CONFLICT BLOCK SIZE IN INPUT AND WEBSOURCE,PROCESS BASED ON WEB SOURCE | 1297247 | 1297247 | EA | HOUSING,BRGUNT;4,SQUARE |  |  | HOUSING,BEARING UNIT;BOLT MOUNTINGS:4,SHAPE:SQUARE,ADDITIONAL FEATURES EN:65MM SHAFT, FLANGED UNIT, 197MM SQ, 152MM CENTR,R SLEEVE, UK215-FYH SEALED BEARING,MNFR:01)APPINDUS,PTNO:01)UKF215-FYH+H2315/PC | EN_01)4,SQUARE,01)65MM SHAFT, FLANGED UNIT, 1,02)R SLEEVE, UK215-FYH SEALED,01)APPINDUS,01)UKF215-FYH+H2315/PC |  |  | APPLIED INDUSTRIAL TECHNOLOGIES | FYH | UKF 215+H2315/PC |  | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://medias.schaeffler.dk/en/product/housings/radial-insert-ball-bearing-housing-units/flanged-housings/ukf215-j7/p/403742 | [10 empty] | ENRICHED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | FLANGE | BORE | 65 MM | BLOCK SIZE | 200 LGX200 WD MM | BOLT MOUNTINGS | 4 | BOLT DIAMETER | 19 MM | SHAPE | SQUARE | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BOLT CENTR SIZE:152 MM,C/W R SLEEVE,FOR UK215 SEALED BEARING | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1297659 | 1297659 | EA | HOUSING,BRGUNT;4-1/2 IN,SKF |  |  | HOUSING,BEARING UNIT;BORE:4-1/2 IN,MATERIAL:SPHEROIDAL GRAPHITE IRON,MNFR:01)SKF,PTNO:01)FSSNHD526BTSTE | 4-1/2 IN,SPHEROIDAL GRAPHITE IRON,01)SKF,01)FSSNHD526BTSTE |  |  | SKF | SKF | FSSNH D 526 BTSTE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE |  | BORE | 4-1/2 IN | BLOCK SIZE |  | BOLT MOUNTINGS | 4 | BOLT DIAMETER |  | SHAPE |  | MATERIAL | SPHEROIDAL GRAPHITE IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | bearing unit | 2023-07-21 | 2023-07-28 |  | 1291027 | 1291027 | EA | HOUSING,BRGUNT;BLOK,CBC,T208TBC+UC208 |  |  | HOUSING,BEARING UNIT;ADDITIONAL FEATURES EN:BLOCK,MNFR:01)CBC,PTNO:01)T208TBC+UC208 | 01)BLOCK,01)CBC,01)T208TBC+UC208 |  |  | CBC | CBC | T208TBC+UC208 | [5 empty] | https://agrobearings.com/bearing-housing-t-208-fkl/ | [10 empty] | ENRICHED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | BLOCK | BORE |  | BLOCK SIZE | 145 LGX115 HT MM | BOLT MOUNTINGS |  | BOLT DIAMETER | 29 MM | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1290869 | 1290869 | EA | HOUSING,BRGUNT;BLT DIA 3/4 IN |  |  | HOUSING,BEARING UNIT;BOLT DIAMETER:3/4 IN,MNFR:01)APPINDUS,PTNO:01)PX12-FYH | 3/4 IN,01)APPINDUS,01)PX12-FYH |  |  | APPLIED INDUSTRIAL TECHNOLOGIES | FYH | PX12 |  | APPLIED INDUSTRIAL TECHNOLOGIES |  |  |  | https://www.fyh.co.jp/fyh.co.jp/wp-content/uploads/2022/09/catno3320_FYH_e.pdf | [10 empty] | CLEANSED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE |  | BORE |  | BLOCK SIZE |  | BOLT MOUNTINGS |  | BOLT DIAMETER | 3/4 IN | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1281861 | 1281861 | EA | HOUSING,BRGUNT;CLOSED ONE SIDE |  |  | HOUSING,BEARING UNIT;TYPE:CLOSED ONE SIDE,ADDITIONAL FEATURES EN:TO SUIT TU522-500 TAKE UP FRAME PRICING,MNFR:01)BOSS,PTNO:01) TU522A | EN_01)CLOSED ONE SIDE,01)TO SUIT TU522-500 TAKE UP F,01)BOSS,01)TU522A |  |  | BOSS | BOSS | TU 522A | [5 empty] | http://www.tikon.pl/katalogi/Housing.pdf | [10 empty] | ENRICHED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | CLOSED ONE SIDE | BORE | 100 MM | BLOCK SIZE | 1153 LGX340 HT MM | BOLT MOUNTINGS | 4 | BOLT DIAMETER | M16 | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR TU522-500 TAKE UP FRAME PRICING | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1358411 | 1358411 | EA | HOUSING,BRGUNT;CLSED,115 MM,FAG |  |  | HOUSING,BEARING UNIT;TYPE:CLOSED,BORE:115 MM,MNFR:01)FAG,PTNO:01)FSN.526.ATST | EN_01)CLOSED,115 MM,01)FAG,01)FSN.526.ATST |  |  | FAG | FAG | FSN-526.ATST | [5 empty] | https://www.mastagroup.com/mastapublications/sn.pdf | [10 empty] | ENRICHED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | CLOSED | BORE | 115 MM | BLOCK SIZE | 415 LGX190 HT MM | BOLT MOUNTINGS |  | BOLT DIAMETER | 24 MM | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1281902 | 1281902 | EA | HOUSING,BRGUNT;ESTIMATE 1208 LINE ITEM 3 |  |  | HOUSING,BEARING UNIT;ADDITIONAL FEATURES EN:ESTIMATE 1208 LINE ITEM 3,MNFR:01)ARAN PLANT PTY LTD,PTNO:01)SPM0016A-1 (2) | 01)ESTIMATE 1208 LINE ITEM 3,01)ARAN PLANT PTY LTD,01)SPM0016A-1 (2) |  |  | ARAN PLANT PTY LTD | ARAN PLANT PTY LTD | SPM0016A-1 (2) | [5 empty] | URL NOT FOUND |  | 3 | [8 empty] | CLEANSED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE |  | BORE |  | BLOCK SIZE |  | BOLT MOUNTINGS |  | BOLT DIAMETER |  | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ESTIMATE 1208 LINE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | bearing unit | 2023-07-21 | 2023-07-28 |  | 1229705 | 1229705 | EA | HOUSING,BRGUNT;F, WORM DRIVE,JORD |  |  | HOUSING,BEARING UNIT;ADDITIONAL FEATURES EN:F, WORM DRIVE,MNFR:01)JORD,PTNO:01)MK.A-C4507-003 | 01)F, WORM DRIVE,01)JORD,01)MK.A-C4507-003 |  |  | JORD | JORD | MK.A-C4507-003 | [5 empty] | https://blackforestindustries.com/products/mk1-mk2-mk3-wheel-bearing-kit-rear | [10 empty] | CLEANSED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | WORM DRIVE | BORE |  | BLOCK SIZE |  | BOLT MOUNTINGS |  | BOLT DIAMETER |  | SHAPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | F | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | RYM | ok_taken | 2023-07-21 | 2023-07-28 |  | 1297091 | 1297091 | EA | HOUSING,BRGUNT;FAN PLATFORM WINCH, WI |  |  | HOUSING,BEARING UNIT;ADDITIONAL FEATURES EN:FAN PLATFORM WINCH, WI,MNFR:01)CBC,PTNO:01)P207ECO | 01)FAN PLATFORM WINCH, WI,01)CBC,01)P207ECO |  |  | CBC | CBC | P207ECO | [5 empty] | https://www.westvicindustrial.com.au/shop/p207/ | [10 empty] | ENRICHED | 31171519 Bearing blocks or housings | HOUSING | BEARING UNIT | TYPE | LIGHT PILLOW BLOCK | BORE | 35 MM | BLOCK SIZE |  | BOLT MOUNTINGS |  | BOLT DIAMETER |  | SHAPE |  | MATERIAL | CAST IRON | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR FAN PLATFORM WINCH,WI | [51 empty] | Production Completed