## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1285424 | 1285424 | EA | CARD,COMM;2,NETWORK |  |  | CARD,COMMUNICATION;NUMBER OF PORTS:2,INTERFACE TYPE:NETWORK,ADDITIONAL FEATURES EN:R60 ELECT BUILDING - TENEILLE PROJECTS,MNFR:01) CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)EATON NETWORK CARD | NETWORK,01)R60 ELECT BUILDING - TENEIL,01)CNW (MOUNT ISA) ELECT WHOLE,01)EATON NETWORK CARD |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | EATON |  |  | CNW (MOUNT ISA) ELECT WHOLESALER |  |  |  | URL NOT FOUND | [10 empty] | Cleansed |  | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS | 2 | INTERFACE TYPE | NETWORK | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | R60 ELECT BUILDING - TENEILLE PROJECTS | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1350542 | 1350542 | EA | CARD,COMM;REVERSE PATH VIDEO,AUDIO,DATA |  |  | CARD,COMMUNICATION;ADDITIONAL FEATURES EN:REVERSE PATH VIDEO,AUDIO,DATA RECEIVER, STACKER CCTV SYSTEM,MNFR:01)OSD,PTNO:01)598 | 01)REVERSE PATH VIDEO,AUDIO,DA,01)OSD,01)598 |  |  | OSD | OSD | 598 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CARD | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REVERSE PATH VIDEO,AUDIO,DATA RECEIVER,STACKER CCTV SYSTEM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1278874 | 1278874 | EA | CARD,MEM;FLASH DRIVE, STORE N GO,16 GB |  |  | CARD,MEMORY;TYPE:FLASH DRIVE, STORE N GO,MEMORY:16 GB,CONNECTION TYPE:USB 3.0,ADDITIONAL FEATURES EN:COLOUR: BLUE CARIBBEAN,MNFR: 01)OFFICEMAX *USE #34387*,PTNO:01)2416107 | EN_01)FLASH DRIVE, STORE N GO,EN_01)16 GB,USB 3.0,01)COLOUR: BLUE CARIBBEAN,01)OFFICEMAX *USE #34387*,01)2416107 |  |  | OFFICEMAX *USE #34387* | OFFICEMAX *USE #34387* | 2416107 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CARD | MEMORY | TYPE | FLASH DRIVE,STORE N GO | MEMORY | 16 GB | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE | USB 3.0 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR: BLUE CARIBBEAN | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1278797 | 1278797 | EA | CARD,MEM;MICRO SD,512 GB,LINE 1 |  |  | CARD,MEMORY;TYPE:MICRO SD,SIZE:512 GB,ADDITIONAL FEATURES EN:LINE 1,MNFR:01)HARVEY NORMAN,PTNO:01)314131 | EN_01)MICRO SD,512 GB,01)LINE 1,01)HARVEY NORMAN,01)314131 |  |  | HARVEY NORMAN | HARVEY NORMAN | 314131 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CARD | MEMORY | TYPE | MICRO SD | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE | 512 GB | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LINE 1 | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1286111 | 1286111 | EA | CARD;FM RADIO CHANNEL |  |  | CARD;TYPE:FM RADIO CHANNEL,MNFR:01)STEEJO PRESS,PTNO:01)PRICING AS PER QUOTE #44122 | 01)STEEJO PRESS,01)PRICING AS PER QUOTE #44122,EN_01)FM RADIO CHANNEL |  |  | STEEJO PRESS | STEEJO PRESS | [6 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CARD | NO MODIFIER | TYPE | FM RADIO CHANNEL | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRICING AS PER QUOTE #44122 | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1353618 | 1353618 | EA | COMPRESSOR;250 KW,7.5 BAR,50 HZ,NG |  |  | COMPRESSOR;POWER RATING:250 KW,OUTLET PRESSURE RATING:7.5 BAR,ELECTRICAL RATING:50 HZ,ADDITIONAL FEATURES EN:NG,MNFR:01)GARDDENV, PTNO:01)GA290AL0884M | 250 KW,7.5 BAR,50 HZ,01)NG,01)GARDDENV,01)GA290AL0884M |  |  | GARDDENV | GARDDENV | GA290AL0884M | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING | 250 KW | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING | 7.5 BAR | TANK CAPACITY |  | ELECTRICAL RATING | 50 HZ | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NG | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1283215 | 1283215 | EA | COMPRESSOR;AIR,60 L,2.2 HP,BELT |  |  | COMPRESSOR;TYPE:AIR,TANK CAPACITY:60 L,ELECTRICAL RATING:2.2 HP,DRIVE DETAILS:BELT,MNFR:01)HAYMANS ELECTRICAL,PTNO:01)TOT55894 | AIR,60 L,2.2 HP,BELT,01)HAYMANS ELECTRICAL,01)TOT55894 |  |  | HAYMANS ELECTRICAL | HAYMANS ELECTRICAL | TOT55894 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | COMPRESSOR | NO MODIFIER | TYPE | AIR | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY | 60 L | ELECTRICAL RATING | 2.2 HP | DRIVE DETAILS | BELT | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1366263 | 1366263 | EA | COMPRESSOR;SCROLL,LINTERN,250637 |  |  | COMPRESSOR;TYPE:SCROLL,MNFR:01)LINTERN,PTNO:01)250637 | SCROLL,01)LINTERN,01)250637 |  |  | LINTERN | LINTERN | 250637 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | COMPRESSOR | NO MODIFIER | TYPE | SCROLL | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1289530 | 1289530 | EA | CONTACTOR,ELEC;1NC |  |  | CONTACTOR,ELECTRICAL;CONTACT ARRANGEMENT:1NC,MNFR:01)OUTOKUMP,PTNO:01)585062 | 1NC,01)OUTOKUMP,01)585062 |  |  | OUTOKUMP | OUTOKUMP | 585062 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT | 1NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1353191 | 1353191 | EA | CONTACTOR,ELEC;1NC,CONTACT ASSY |  |  | CONTACTOR,ELECTRICAL;CONTACT ARRANGEMENT:1NC,ADDITIONAL FEATURES EN:CONTACT ASSY,MNFR:01)AUSLEC,PTNO:01)4S-SDE1-01 | 1NC,01)CONTACT ASSY,01)AUSLEC,01)4S-SDE1-01 |  |  | AUSLEC | AUSLEC | 4S-SDE1-01 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT | 1NC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONTACT ASSY | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1350292 | 1350292 | EA | CONTACTOR,ELEC;3.3/6.6 KV,300 A,MINTO |  |  | CONTACTOR,ELECTRICAL;LINE VOLTAGE:3.3/6.6 KV,CURRENT RATING:300 A,ADDITIONAL FEATURES EN:COUPLER PILOT CONNECTION PIN, DIA 3/8 X LG 5-1/2 IN,MNFR:01)MINTO,PTNO:01)3043 | 3.3/6.6 KV,300 A,01)COUPLER PILOT CONNECTION PI,01)MINTO,01)3043 |  |  | MINTO | MINTO | 3043 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 3.3/6.6 KV | CURRENT RATING | 300 A | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COUPLER PILOT CONNECTION PIN,DIA 3/8 X LG 5-1/2 IN | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1351752 | 1351752 | EA | CONTACTOR,ELEC;630 A,FPE,118234/1 |  |  | CONTACTOR,ELECTRICAL;CURRENT RATING:630 A,ADDITIONAL FEATURES EN:RMR10 30/630A, M.O.C.B,MNFR:01)FPE,PTNO:01)118234/1 | 630 A,01)RMR10 30/630A, M.O.C.B,01)FPE,01)118234/1 |  |  | FPE | FPE | 118234/1 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING | 630 A | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RMR10 30/630A,M.O.C.B | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1353186 | 1353186 | EA | CONTACTOR,ELEC;ELEC CONTACT ELEMENT, C/W |  |  | CONTACTOR,ELECTRICAL;ADDITIONAL FEATURES EN:ELEC CONTACT ELEMENT, C/W LAMP SOCKET, 22 MM PUSHBUTTON ACTUATOR,MNFR:01)RAFI,PTNO:01) 1.20113.261 | 01)ELEC CONTACT ELEMENT, C/W L,01)RAFI,01)1.20113.261 |  |  | RAFI | RAFI | 1.20113.261 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELEC CONTACT ELEMENT,C/W LAMP SOCKET,22 MM PUSHBUTTON ACTUATOR | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1351741 | 1351741 | EA | CONTACTOR,ELEC;PANEL ARC TIP ASSEMBLY |  |  | CONTACTOR,ELECTRICAL;TYPE:PANEL ARC TIP ASSEMBLY,ADDITIONAL FEATURES EN:OJN AB7 ACB,MNFR:01)NILSEN,PTNO:01)21364A1 | PANEL ARC TIP ASSEMBLY,01)OJN AB7 ACB,01)NILSEN,01)21364A1 |  |  | NILSEN | NILSEN | 21364A1 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE | PANEL ARC TIP ASSEMBLY | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OJN AB7 ACB | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1381661 | 1381661 | EA | CONTACTOR,ELEC;SHORTING,FUJI,TV90450S1 |  |  | CONTACTOR,ELECTRICAL;TYPE:SHORTING,ADDITIONAL FEATURES EN:CONTACT ASSY, FUJI OVERCURRENT RELAY,MNFR:01)FUJI,PTNO:01)TV90450S1 | SHORTING,01)CONTACT ASSY, FUJI OVERCURR,01)FUJI,01)TV90450S1 |  |  | FUJI | FUJI | TV90450S1 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE | SHORTING | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONTACT ASSY,FUJI OVERCURRENT RELAY | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1352324 | 1352324 | EA | CONTACTOR,ELEC;TIP,600 A,CROMPARK |  |  | CONTACTOR,ELECTRICAL;TYPE:TIP,CURRENT RATING:600 A,ADDITIONAL FEATURES EN:DC TYPE 821-600A,MNFR:01)CROMPARK,PTNO:01)20094BH | TIP,600 A,01)DC TYPE 821-600A,01)CROMPARK,01)20094BH |  |  | CROMPARK | CROMPARK | 20094BH | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | ELECTRICAL | TYPE | TIP | LINE VOLTAGE |  | CURRENT RATING | 600 A | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DC TYPE 821-600A | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1292666 | 1292666 | EA | CONTACTOR,MAG;160 VDC |  |  | CONTACTOR,MAGNETIC;COIL RATING:160 VDC,MNFR:01)CRL,PTNO:01)DA24 | 160 VDC,01)CRL,01)DA24 |  |  | CRL | CRL | DA24 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | MAGNETIC | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING | 160 VDC | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1351841 | 1351841 | EA | CONTACTOR,MAG;C/W FIXED/MOVING CONTACTS |  |  | CONTACTOR,MAGNETIC;ADDITIONAL FEATURES EN:C/W FIXED/MOVING CONTACTS,MNFR:01)BRELAY,PTNO:01)Q51/34-110VAC | 01)C/W FIXED/MOVING CONTACTS,01)BRELAY,01)Q51/34-110VAC |  |  | BRELAY | BRELAY | Q51/34-110VAC | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | MAGNETIC | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W FIXED/MOVING CONTACTS | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1299544 | 1299544 | EA | CONTACTOR,MAG;MPS AVR LATCHED EXC |  |  | CONTACTOR,MAGNETIC;ADDITIONAL FEATURES EN:MPS AVR LATCHED EXC,MNFR:01)GECALSTM,PTNO:01)K2985279/11 | 01)MPS AVR LATCHED EXC,01)GECALSTM,01)K2985279/11 |  |  | GECALSTM | GECALSTM | K2985279/11 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | MAGNETIC | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MPS AVR LATCHED EXC | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1299543 | 1299543 | EA | CONTACTOR,MAG;MPS AVR SHORT CIRCU |  |  | CONTACTOR,MAGNETIC;ADDITIONAL FEATURES EN:MPS AVR SHORT CIRCU,MNFR:01)GECALSTM,PTNO:01)84118/EPXXX | 01)MPS AVR SHORT CIRCU,01)GECALSTM,01)84118/EPXXX |  |  | GECALSTM | GECALSTM | 84118/EPXXX | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | MAGNETIC | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MPS AVR SHORT CIRCU | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1352448 | 1352448 | EA | CONTACTOR,MAG;PILOT |  |  | CONTACTOR,MAGNETIC;TYPE:PILOT,MNFR:01)GEC,PTNO:01)X/2053236/1 | PILOT,01)GEC,01)X/2053236/1 |  |  | GEC | GEC | X/2053236/1 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | MAGNETIC | TYPE | PILOT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1320128 | 1320128 | EA | CONTACTOR,MAG;VACUUM |  |  | CONTACTOR,MAGNETIC;TYPE:VACUUM,ADDITIONAL FEATURES EN:FITTED WITH COIL FF67311,MNFR:01)GEC,PTNO:01)VB3AD400B1 | VACUUM,01)FITTED WITH COIL FF67311,01)GEC,01)VB3AD400B1 |  |  | GEC | GEC | VB3AD400B1 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | MAGNETIC | TYPE | VACUUM | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FITTED WITH COIL FF67311 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1347139 | 1347139 | EA | CONTACTOR,MAG;VACUUM,300 A |  |  | CONTACTOR,MAGNETIC;TYPE:VACUUM,CURRENT RATING:300 A,MNFR:01)NU-LEC,PTNO:01)TOS-899503 | VACUUM,300 A,01)NU-LEC,01)TOS-899503 |  |  | NU-LEC | NU-LEC | TOS-899503 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | MAGNETIC | TYPE | VACUUM | VOLTAGE RATING |  | CURRENT RATING | 300 A | NUMBER OF POLES |  | COIL RATING |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1289443 | 1289443 | EA | CONTACTOR;MAIN |  |  | CONTACTOR;TYPE:MAIN,MNFR:01)EILBECK,PTNO:01)108771 | MAIN,01)EILBECK,01)108771 |  |  | EILBECK | EILBECK | 108771 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | CONTACTOR | NO MODIFIER | TYPE | MAIN | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1282784 | 1282784 | EA | DRIVE,DISK;HARD,250 GB |  |  | DRIVE,DISK;TYPE:HARD,CAPACITY:250 GB,MNFR:01)MINE SITE TECHNOLOGIES PTY LTD,PTNO:01)W-AB60232 | HARD,250 GB,01)MINE SITE TECHNOLOGIES PTY,01)W-AB60232 |  |  | MINE SITE TECHNOLOGIES PTY LTD | MINE SITE TECHNOLOGIES PTY LTD | W-AB60232 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DRIVE | DISK | TYPE | HARD | CAPACITY | 250 GB | INTERFACE TYPE |  | DATA TRANSFER RATE |  | ELECTRICAL RATING |  | DISK ROTATION RATE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1300950 | 1300950 | EA | DRIVE;19,CHARLYNN,6611 |  |  | DRIVE;ADDITIONAL FEATURES EN:19,MNFR:01)CHARLYNN,PTNO:01)6611 | 01)19,01)CHARLYNN,01)6611 |  |  | CHARLYNN | CHARLYNN | 6611 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 19 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1300949 | 1300949 | EA | DRIVE;19,CHARLYNN,6612 |  |  | DRIVE;ADDITIONAL FEATURES EN:19,MNFR:01)CHARLYNN,PTNO:01)6612 | 01)19,01)CHARLYNN,01)6612 |  |  | CHARLYNN | CHARLYNN | 6612 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 19 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1354200 | 1354200 | EA | DRIVE;ASSY, COMPLETE THICKENER HE |  |  | DRIVE;ADDITIONAL FEATURES EN:ASSY, COMPLETE THICKENER HE,MNFR:01)DORROLVR,PTNO:01)141-C6-5055/56 | 01)ASSY, COMPLETE THICKENER HE,01)DORROLVR,01)141-C6-5055/56 |  |  | DORROLVR | DORR OLIVER | 141-C6-5055/56 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSY,COMPLETE THICKENER HE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1318717 | 1318717 | EA | DRIVE;ASSY,BUHLER,1-ABC-8420 |  |  | DRIVE;ADDITIONAL FEATURES EN:ASSY,MNFR:01)BUHLER,PTNO:01)1-ABC-8420 | 01)ASSY,01)BUHLER,01)1-ABC-8420 |  |  | BUHLER | BUHLER | 1-ABC-8420 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSY | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1384088 | 1384088 | EA | DRIVE;MAIN MOTOR |  |  | DRIVE;TYPE:MAIN MOTOR,ADDITIONAL FEATURES EN:REFERENCE NO: 2115040 (2110040),MNFR:01)POPE,PTNO:01)0.25HP 63N4-HEB 1370RPM | MAIN MOTOR,01)REFERENCE NO: 2115040 (2110,01)POPE,01)0.25HP 63N4-HEB 1370RPM |  |  | POPE | POPE | 0.25HP 63N4-HEB 1370RPM | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DRIVE | NO MODIFIER | TYPE | MAIN MOTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REFERENCE NO: 2115040 (2110040) | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1344988 | 1344988 | EA | DRIVE;MECHANISM,SU/FORM EE 750A,GEC |  |  | DRIVE;TYPE:MECHANISM,ADDITIONAL FEATURES EN:SU/FORM EE 750A,MNFR:01)GEC,PTNO:01)P39678-10 | MECHANISM,01)SU/FORM EE 750A,01)GEC,01)P39678-10 |  |  | GEC | GEC | P39678-10 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DRIVE | NO MODIFIER | TYPE | MECHANISM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SU/FORM EE 750A | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1346132 | 1346132 | EA | DUCT;AIR VANE BODY,MS,EVGLUFT |  |  | DUCT;TYPE:AIR VANE BODY,ADDITIONAL FEATURES EN:MS,MNFR:01)EVGLUFT,PTNO:01)62-0000-22-02 | AIR VANE BODY,01)MS,01)EVGLUFT,01)62-0000-22-02 |  |  | EVGLUFT | EVGLUFT | 62-0000-22-02 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR VANE BODY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230872 | 1230872 | EA | DUCT;AIR, BI, VENT BAG |  |  | DUCT;TYPE:AIR, BI, VENT BAG,SIZE:DIA 910 MM X LG 5 M,MNFR:01)DELTAFEX,PTNO:01)05VT-0910-05 | AIR, BI, VENT BAG,DIA 910 MM X LG 5 M,01)DELTAFEX,01)05VT-0910-05 |  |  | DELTAFEX | DELTAFEX | 05VT-0910-05 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,BI,VENT BAG | SIZE | DIA 910 MM X LG 5 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230873 | 1230873 | EA | DUCT;AIR, BI,ID 1.4 X OD 1.045 X LG 10 M |  |  | DUCT;TYPE:AIR, BI,SIZE:ID 1.4 X OD 1.045 X LG 10 M,ADDITIONAL FEATURES EN:ORANGE,K7,MNFR:01)ACMECANV,PTNO:01)VL1045-5-BD | AIR, BI,ID 1.4 X OD 1.045 X LG 10 M,01)ORANGE,K7,01)ACMECANV,01)VL1045-5-BD |  |  | ACMECANV | ACMECANV | VL1045-5-BD | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,BI | SIZE | ID 1.4 X OD 1.045 X LG 10 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ORANGE,K7 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230874 | 1230874 | EA | DUCT;AIR, BI,ID 1.4 X OD 1.045 X LG 10 M |  |  | DUCT;TYPE:AIR, BI,SIZE:ID 1.4 X OD 1.045 X LG 10 M,ADDITIONAL FEATURES EN:ORANGE,K7,MNFR:01)ACMECANV,PTNO:01)VL1045-10-BD | AIR, BI,ID 1.4 X OD 1.045 X LG 10 M,01)ORANGE,K7,01)ACMECANV,01)VL1045-10-BD |  |  | ACMECANV | ACMECANV | VL1045-10-BD | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,BI | SIZE | ID 1.4 X OD 1.045 X LG 10 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ORANGE,K7 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1319253 | 1319253 | EA | DUCT;AIR, BI,ID 1.4 X OD 1.045 X LG 20 M |  |  | DUCT;TYPE:AIR, BI,SIZE:ID 1.4 X OD 1.045 X LG 20 M,ADDITIONAL FEATURES EN:ORANGE,K7,MNFR:01)ACMECANV,PTNO:01)VL1045-20-BD | AIR, BI,ID 1.4 X OD 1.045 X LG 20 M,01)ORANGE,K7,01)ACMECANV,01)VL1045-20-BD |  |  | ACMECANV | ACMECANV | VL1045-20-BD | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,BI | SIZE | ID 1.4 X OD 1.045 X LG 20 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ORANGE,K7 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1235406 | 1235406 | EA | DUCT;AIR, BRANCH PIECE,1.4 M,MTISASUP |  |  | DUCT;TYPE:AIR, BRANCH PIECE,SIZE:1.4 M,ADDITIONAL FEATURES EN:TURBO-DUKT,BRANCH VENT,MNFR:01)MTISASUP,PTNO:01)19-VL-1400-MJ | AIR, BRANCH PIECE,1.4 M,01)TURBO-DUKT,BRANCH VENT,01)MTISASUP,01)19-VL-1400-MJ |  |  | MTISASUP | MTISASUP | 19-VL-1400-MJ | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,BRANCH PIECE | SIZE | 1.4 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TURBO-DUKT,BRANCH VENT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230883 | 1230883 | EA | DUCT;AIR, VENT BAG ADAPTORS,OTTOWAY |  |  | DUCT;TYPE:AIR, VENT BAG ADAPTORS,SIZE:DIA 900 X LG 200 MM,MNFR:01)OTTOWAY,PTNO:01)4MIM5073 | AIR, VENT BAG ADAPTORS,DIA 900 X LG 200 MM,01)OTTOWAY,01)4MIM5073 |  |  | OTTOWAY | OTTOWAY | 4MIM5073 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,VENT BAG ADAPTORS | SIZE | DIA 900 X LG 200 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230884 | 1230884 | EA | DUCT;AIR, VENT BAG ADAPTORS,OTTOWAY |  |  | DUCT;TYPE:AIR, VENT BAG ADAPTORS,SIZE:DIA 610 X LG 200 MM,MNFR:01)OTTOWAY,PTNO:01)4MIM5072 | AIR, VENT BAG ADAPTORS,DIA 610 X LG 200 MM,01)OTTOWAY,01)4MIM5072 |  |  | OTTOWAY | OTTOWAY | 4MIM5072 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,VENT BAG ADAPTORS | SIZE | DIA 610 X LG 200 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1318925 | 1318925 | EA | DUCT;AIR, VENT BAG ADAPTORS,OTTOWAY |  |  | DUCT;TYPE:AIR, VENT BAG ADAPTORS,SIZE:DIA 760 X LG 200 MM,MNFR:01)OTTOWAY,PTNO:01)4MIM5055 | AIR, VENT BAG ADAPTORS,DIA 760 X LG 200 MM,01)OTTOWAY,01)4MIM5055 |  |  | OTTOWAY | OTTOWAY | 4MIM5055 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,VENT BAG ADAPTORS | SIZE | DIA 760 X LG 200 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230875 | 1230875 | EA | DUCT;AIR, VENTILATION BAG, STRAIGHT,MIMS |  |  | DUCT;TYPE:AIR, VENTILATION BAG, STRAIGHT,SIZE:DIA 1.085 X LG 10 M,ADDITIONAL FEATURES EN:SD,300GSM,SINGLE,MNFR:01)MIMS,PTNO:01) VSD1067-10 | AIR, VENTILATION BAG, STRAIGHT,DIA 1.085 X LG 10 M,01)SD,300GSM,SINGLE,01)MIMS,01)VSD1067-10 |  |  | MIMS | MIMS | VSD1067-10 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,VENTILATION BAG,STRAIGHT | SIZE | DIA 1.085 X LG 10 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SD,300GSM,SINGLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1319258 | 1319258 | EA | DUCT;AIR, VENTILATION BAG, STRAIGHT,MIMS |  |  | DUCT;TYPE:AIR, VENTILATION BAG, STRAIGHT,SIZE:DIA 610 MM X LG 5 M,ADDITIONAL FEATURES EN:SD,300GSM,SINGLE,MNFR:01)MIMS,PTNO:01) VSD0610-05 | AIR, VENTILATION BAG, STRAIGHT,DIA 610 MM X LG 5 M,01)SD,300GSM,SINGLE,01)MIMS,01)VSD0610-05 |  |  | MIMS | MIMS | VSD0610-05 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR,VENTILATION BAG,STRAIGHT | SIZE | DIA 610 MM X LG 5 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SD,300GSM,SINGLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230869 | 1230869 | EA | DUCT;AIR,DIA 1.085 X LG 20 M,DELTAFEX |  |  | DUCT;TYPE:AIR,SIZE:DIA 1.085 X LG 20 M,ADDITIONAL FEATURES EN:MATERIAL COLOUR:BLUE,MNFR:01)DELTAFEX,PTNO:01)05VL-1085-20 | AIR,DIA 1.085 X LG 20 M,01)MATERIAL COLOUR:BLUE,01)DELTAFEX,01)05VL-1085-20 |  |  | DELTAFEX | DELTAFEX | 05VL-1085-20 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR | SIZE | DIA 1.085 X LG 20 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL COLOUR:BLUE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230887 | 1230887 | EA | DUCT;AIR,DIA 610 X LG 600 MM,OTTOWAY |  |  | DUCT;TYPE:AIR,SIZE:DIA 610 X LG 600 MM,MNFR:01)OTTOWAY,PTNO:01)4MIM5052B | AIR,DIA 610 X LG 600 MM,01)OTTOWAY,01)4MIM5052B |  |  | OTTOWAY | OTTOWAY | 4MIM5052B | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR | SIZE | DIA 610 X LG 600 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1230885 | 1230885 | EA | DUCT;AIR,LG 600 MM,OTTOWAY,4MIM2350 |  |  | DUCT;TYPE:AIR,SIZE:LG 600 MM,ADDITIONAL FEATURES EN:1400MM INSERTS, VENTILATION SUPPLIES,MNFR:01)OTTOWAY,PTNO:01)4MIM2350 | AIR,LG 600 MM,01)1400MM INSERTS, VENTILATION,01)OTTOWAY,01)4MIM2350 |  |  | OTTOWAY | OTTOWAY | 4MIM2350 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | AIR | SIZE | LG 600 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1400MM INSERTS,VENTILATION SUPPLIES | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1282998 | 1282998 | EA | DUCT;LONG LED |  |  | DUCT;TYPE:LONG LED,MNFR:01)OTBPROD,PTNO:01)PRO1437SC | LONG LED,01)OTBPROD,01)PRO1437SC |  |  | OTBPROD | OTBPROD | PRO1437SC | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | DUCT | NO MODIFIER | TYPE | LONG LED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1385517 | 1385517 | EA | ELBOW,PIPE;NOM 15 MM,FEM,90 DEG,PVC |  |  | ELBOW,PIPE;NOMINAL SIZE:15 MM,END CONNECTION:FEMALE,ANGLE:90 DEG,MATERIAL:PVC,ADDITIONAL FEATURES EN:PRESS #13,MNFR:01)ACTROL PARTS PTY LTD,PTNO:01)1502100 | 01)ACTROL PARTS PTY LTD,01)1502100,15 MM,EN_01)FEMALE,90 DEG,EN_01)PVC,01)PRESS #13 |  |  | ACTROL PARTS PTY LTD | ACTROL PARTS PTY LTD | 1502100 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | ELBOW | PIPE | TYPE | PRESSURE | NOMINAL SIZE | 15 MM | END CONNECTION | FEMALE | PRESSURE RATING |  | ANGLE | 90 DEG | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | SCHEDULE/WALL THICKNESS |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | #13 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1385419 | 1385419 | EA | ELBOW,PIPE;NOM 20 MM,FEM,45 DEG,PVC |  |  | ELBOW,PIPE;NOMINAL SIZE:20 MM,END CONNECTION:FEMALE,ANGLE:45 DEG,MATERIAL:PVC,ADDITIONAL FEATURES EN:PRESS #10,MNFR:01)ACTROL PARTS PTY LTD,PTNO:01)1502005 | 01)ACTROL PARTS PTY LTD,01)1502005,20 MM,EN_01)FEMALE,45 DEG,EN_01)PVC,01)PRESS #10 |  |  | ACTROL PARTS PTY LTD | ACTROL PARTS PTY LTD | 1502005 | [5 empty] | https://www.reece.com.au/product/pvc-pressure-elbow-10-45-degree-20mm-1502005 | [10 empty] | Cleansed |  | ELBOW | PIPE | TYPE | PRESSURE | NOMINAL SIZE | 20 MM | END CONNECTION | FEMALE | PRESSURE RATING |  | ANGLE | 45 DEG | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | SCHEDULE/WALL THICKNESS |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | #10 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1385270 | 1385270 | EA | ELBOW,PIPE;NOM 20 MM,FEM,90 DEG,PVC |  |  | ELBOW,PIPE;NOMINAL SIZE:20 MM,END CONNECTION:FEMALE,ANGLE:90 DEG,MATERIAL:PVC,ADDITIONAL FEATURES EN:PRESS #13,MNFR:01)ACTROL PARTS PTY LTD,PTNO:01)1502105 | 01)ACTROL PARTS PTY LTD,01)1502105,20 MM,EN_01)FEMALE,90 DEG,EN_01)PVC,01)PRESS #13 |  |  | ACTROL PARTS PTY LTD | ACTROL PARTS PTY LTD | 1502105 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | ELBOW | PIPE | TYPE | PRESSURE | NOMINAL SIZE | 20 MM | END CONNECTION | FEMALE | PRESSURE RATING |  | ANGLE | 90 DEG | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | SCHEDULE/WALL THICKNESS |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | #13 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1285848 | 1285848 | EA | GLAND;BEARING, BOTTOM |  |  | GLAND;TYPE:BEARING, BOTTOM,MNFR:01)ULBRICH PRODUCTS PTY LTD,PTNO:01)ABW400-5 | BEARING, BOTTOM,01)ULBRICH PRODUCTS PTY LTD,01)ABW400-5 |  |  | ULBRICH PRODUCTS PTY LTD | ULBRICH PRODUCTS PTY LTD | ABW400-5 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GLAND | NO MODIFIER | TYPE | BEARING,BOTTOM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1296707 | 1296707 | EA | GLAND;BRASS,INTERNAL THREAD |  |  | GLAND;MATERIAL:BRASS,ADDITIONAL FEATURES EN:INTERNAL THREAD,MNFR:01)GD,PTNO:01)CYL-16D | BRASS,01)INTERNAL THREAD,01)GD,01)CYL-16D |  |  | GD | GD | CYL-16D | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GLAND | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INTERNAL THREAD | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1302932 | 1302932 | EA | GLAND;CAST IRON,TKL,72080/6 |  |  | GLAND;MATERIAL:CAST IRON,MNFR:01)TKL,PTNO:01)72080/6 | CAST IRON,01)TKL,01)72080/6 |  |  | TKL | TKL | 72080/6 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GLAND | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1354847 | 1354847 | EA | GLAND;FOLLOWER,ASSY,NETZSCH,839156 |  |  | GLAND;TYPE:FOLLOWER,ADDITIONAL FEATURES EN:ASSY,MNFR:01)NETZSCH,PTNO:01)839156 | FOLLOWER,01)ASSY,01)NETZSCH,01)839156 |  |  | NETZSCH | NETZSCH | 839156 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GLAND | NO MODIFIER | TYPE | FOLLOWER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSY | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1302921 | 1302921 | EA | GLAND;IN HALVES,TKL,SE-422997 |  |  | GLAND;ADDITIONAL FEATURES EN:IN HALVES,MNFR:01)TKL,PTNO:01)SE-422997 | 01)IN HALVES,01)TKL,01)SE-422997 |  |  | TKL | TKL | SE-422997 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GLAND | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | IN HALVES | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1344358 | 1344358 | EA | GLAND;SEQUENCE CYLINDER |  |  | GLAND;TYPE:SEQUENCE CYLINDER,MNFR:01)RME,PTNO:01)L07-02-005AB | SEQUENCE CYLINDER,01)RME,01)L07-02-005AB |  |  | RME | RME | L07-02-005AB | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GLAND | NO MODIFIER | TYPE | SEQUENCE CYLINDER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1293692 | 1293692 | EA | GUIDE;BALL, TUBE,PIECE |  |  | GUIDE;TYPE:BALL, TUBE,ADDITIONAL FEATURES EN:PIECE,MNFR:01)SECOTITN,PTNO:01)9500 0463 | EN_01)BALL, TUBE,01)PIECE,01)SECOTITN,01)9500 0463 |  |  | SECOTITN | SECOTITN | 9500 0463 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | BALL,TUBE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1229032 | 1229032 | EA | GUIDE;BOTTOM STRIP,STAINLESS STEEL 2205 |  |  | GUIDE;TYPE:BOTTOM STRIP,SIZE:WD 70 MM X LG 2.351 M X THK 30 MM,MATERIAL:STAINLESS STEEL 2205,ADDITIONAL FEATURES EN:HBF GATE SECT, MNFR:01)LOUMINCO,PTNO:01)4MIM1739 | EN_01)BOTTOM STRIP,EN_01)WD 70 MM X LG 2.351 M X,STAINLESS STEEL 2205,01)HBF GATE SECT,01)LOUMINCO,01)4MIM1739 |  |  | LOUMINCO | LOUMINCO | 4MIM1739 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | BOTTOM STRIP | SIZE | WD 70 MM X LG 2.351 M X THK 30 MM | MATERIAL | STAINLESS STEEL 2205 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HBF GATE SECT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1345534 | 1345534 | EA | GUIDE;BRKT |  |  | GUIDE;TYPE:BRACKET,MNFR:01)DOWNER,PTNO:01)346-6-1057/3 | EN_01)BRACKET,01)DOWNER,01)346-6-1057/3 |  |  | DOWNER | DOWNER | 346-6-1057/3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | BRACKET | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1242695 | 1242695 | EA | GUIDE;CAPLRY NBULZR AGILENT TECHNOLOGIES |  | GUIDE;TECHNOLOGIES AGILENT DE NEBULISEUR | GUIDE;ADDITIONAL FEATURES EN:CAPILLARY NEBULIZER AGILENT TECHNOLOGIES,FOR MARK 7 SPRAY CHAMBER,HAIRDRYER,ROOM NEBULIS ATION MARK 7,MNFR:AGILENT TECHNOLOGIES CANADA INC.,PTNO:810134400 | 01)CAPILLARY NEBULIZER AGILENT,02)TECHNOLOGIES,FOR MARK 7,03)SPRAY,04)CHAMBER,HAIRDRYER,ROOM,05)NEBULIS ATION MARK 7,01)TECHNOLOGIES AGILENT,02)DE NEBULISEUR,03)CAPILLAIRE,POUR LA,04)MARQUE 7 CHAMBRE,05)DE,06)VAPORISATION,SECHE-CHEVEUX,07)CHAMBRE,08)DE NEBULISATION MARQUE 7 | 810134400 | 1010966 | AGILENT TECHNOLOGIES CANADA INC. | AGILENT TECHNOLOGIES CANADA INC | 810134400 | [5 empty] | https://www.agilent.com/store/undefined/Prod-810134400/810134400 | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAPILLARY NEBULIZER AGILENT TECHNOLOGIES,FOR MARK 7 SPRAY CHAMBER,HAIRDRYER,ROOM NEBULIS ATION MARK 7 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1229504 | 1229504 | EA | GUIDE;CG,MIMDWG,346-6-0360 2 |  |  | GUIDE;TYPE:CAGE,ADDITIONAL FEATURES EN:FRAME, STRUCTURAL, SPLICE PLATES, 12MM PLATE 450X320, WITH 250X48 K,EYWAY AND 200X25 KEY, GFM P49 SHAFT STEELWORK,MNFR:01)MIMDWG,PTNO:01)346-6-0360 2 | EN_01)CAGE,01)FRAME, STRUCTURAL, SPLICE P,02)EYWAY AND 200X25 KEY, GFM P,01)MIMDWG,01)346-6-0360 2 |  |  | MIMDWG | MIMDWG | 346-6-0360 2 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | CAGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FRAME,STRUCTURAL,SPLICE PLATES,12MM PLATE 450X320,WITH 250X48 K,EYWAY AND 200X25 KEY,GFM P49 SHAFT STEELWORK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1353219 | 1353219 | EA | GUIDE;CROSS HEAD BLOCK,235 MM,PIECE |  |  | GUIDE;TYPE:CROSS HEAD BLOCK,SIZE:235 MM,ADDITIONAL FEATURES EN:PIECE,MNFR:01)RAMSEY,PTNO:01)03442/H;MK.42,MNFR:02)RAMSEY,PTNO:02) 1-404015 | EN_01)CROSS HEAD BLOCK,EN_01)235 MM,01)PIECE,01)RAMSEY,02)RAMSEY,01)03442/H,02)1-404015,MK.42 |  |  | RAMSEY | RAMSEY | 03442/H;MK.42 |  | RAMSEY | 1-404015 |  |  | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | CROSS HEAD BLOCK | SIZE | 235 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1276727 | 1276727 | EA | GUIDE;DR,WD 50 MM X LG 3 M X HT 61 MM |  |  | GUIDE;TYPE:DOOR,SIZE:WD 50 MM X LG 3 M X HT 61 MM,MATERIAL:STEEL,ADDITIONAL FEATURES EN:PRICE AS QUOTE NUMBER : 805096912900,MNFR: 01)BLKWOOD,PTNO:01)05296255 | EN_01)DOOR,EN_01)WD 50 MM X LG 3 M X HT 6,STEEL,01)PRICE AS QUOTE NUMBER : 805,01)BLKWOOD,01)05296255 |  |  | BLKWOOD | BLKWOOD | 05296255 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | DOOR | SIZE | WD 50 MM X LG 3 M X HT 61 MM | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRICE AS QUOTE NUMBER : 805096912900 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1348721 | 1348721 | EA | GUIDE;EDGE IDLER |  |  | GUIDE;TYPE:EDGE IDLER,MNFR:01)SCANTECH,PTNO:01)5440-00-0018 | EN_01)EDGE IDLER,01)SCANTECH,01)5440-00-0018 |  |  | SCANTECH | SCANTECH | 5440-00-0018 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | EDGE IDLER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1295442 | 1295442 | EA | GUIDE;EJCTR, LH,PIECE |  |  | GUIDE;TYPE:EJECTOR, LH,ADDITIONAL FEATURES EN:PIECE,MNFR:01)GERSTRAP,PTNO:01)P20048 | EN_01)EJECTOR, LH,01)PIECE,01)GERSTRAP,01)P20048 |  |  | GERSTRAP | GERSTRAP | P20048 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | EJECTOR,LH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1288105 | 1288105 | EA | GUIDE;ELCTRD,MOVING EPM 1 TO 4 |  |  | GUIDE;TYPE:ELECTRODE,ADDITIONAL FEATURES EN:MOVING EPM 1 TO 4,MNFR:01)CSEUNISE,PTNO:01)02DD60033-000 | EN_01)ELECTRODE,01)MOVING EPM 1 TO 4,01)CSEUNISE,01)02DD60033-000 |  |  | CSEUNISE | CSEUNISE | 02DD60033-000 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | ELECTRODE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOVING EPM 1 TO 4 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1229314 | 1229314 | EA | GUIDE;FAN,PIECE |  |  | GUIDE;TYPE:FAN,ADDITIONAL FEATURES EN:PIECE,MNFR:01)DINGLER,PTNO:01)OGA 2041E/39 (DWG),MNFR:02)DINGLER,PTNO:02)4GA 6015- OGA 2041A-39 (DWG) | EN_01)FAN,01)PIECE,01)DINGLER,02)DINGLER,01)OGA 2041E/39 (DWG),02)4GA 6015- OGA 2041A-39 (DWG |  |  | DINGLER | DINGLER | OGA 2041E/39 (DWG) |  | DINGLER | 4GA 6015-OGA 2041A-39 (DWG) | [13 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | FAN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1347039 | 1347039 | PAA | GUIDE;FEED SLIDE |  |  | GUIDE;TYPE:FEED SLIDE,ADDITIONAL FEATURES EN:PIECE, NOTE: TAPE TOGETHER AS PAIRS,MNFR:01)MIMPNO,PTNO:01)SGTH207L | EN_01)FEED SLIDE,01)PIECE, NOTE: TAPE TOGETHER,01)MIMPNO,01)SGTH207L |  |  | MIMPNO | MIMPNO | SGTH207L | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | FEED SLIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [60 empty] | NOTE: TAPE TOGETHER AS PAIRS | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1302652 | 1302652 | EA | GUIDE;FIXED HOLES,TYP,LOUMINCO,4MIM2008 |  |  | GUIDE;ADDITIONAL FEATURES EN:FIXED HOLES,TYP,MNFR:01)LOUMINCO,PTNO:01)4MIM2008 | 01)FIXED HOLES,TYP,01)LOUMINCO,01)4MIM2008 |  |  | LOUMINCO | LOUMINCO | 4MIM2008 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FIXED HOLES,TYP | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1295481 | 1295481 | EA | GUIDE;INSD,PIECE |  |  | GUIDE;TYPE:INSIDE,ADDITIONAL FEATURES EN:PIECE,MNFR:01)KUNZ,PTNO:01)76108 | EN_01)INSIDE,01)PIECE,01)KUNZ,01)76108 |  |  | KUNZ | KUNZ | 76108 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | INSIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1276982 | 1276982 | EA | GUIDE;JCKY |  |  | GUIDE;TYPE:JOCKEY,MNFR:01)BLKWOOD,PTNO:01)03069340 | EN_01)JOCKEY,01)BLKWOOD,01)03069340 |  |  | BLKWOOD | BLKWOOD | 03069340 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | JOCKEY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294586 | 1294586 | EA | GUIDE;LINEAR MOTION,PIECE |  |  | GUIDE;TYPE:LINEAR MOTION,ADDITIONAL FEATURES EN:PIECE,MNFR:01)THK,PTNO:01)SSR20V2UUM+400LM-11+ | EN_01)LINEAR MOTION,01)PIECE,01)THK,01)SSR20V2UUM+400LM-11+ |  |  | THK | THK | SSR20V2UUM+400LM-11+ | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | LINEAR MOTION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294551 | 1294551 | EA | GUIDE;LOWERING,PIECE |  |  | GUIDE;TYPE:LOWERING,ADDITIONAL FEATURES EN:PIECE,MNFR:01)WENMEC,PTNO:01)818385-2 R13,MNFR:02)WENMEC,PTNO:02)818382-3 | EN_01)LOWERING,01)PIECE,01)WENMEC,02)WENMEC,01)818385-2 R13,02)818382-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 818385-2 R13 |  | WENMEC | 818382-3 |  |  | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | LOWERING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1318664 | 1318664 | EA | GUIDE;LWR,600 MM TO 1.05 M,UNT, COMPLETE |  |  | GUIDE;TYPE:LOWER,SIZE:600 MM TO 1.05 M,ADDITIONAL FEATURES EN:UNIT, COMPLETE,MNFR:01)ESS,PTNO:01)79060600L | EN_01)LOWER,EN_01)600 MM TO 1.05 M,01)UNIT, COMPLETE,01)ESS,01)79060600L |  |  | ESS | ESS | 79060600L | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | LOWER | SIZE | 600 MM TO 1.05 M | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UNIT,COMPLETE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1276552 | 1276552 | EA | GUIDE;MOIL |  |  | GUIDE;TYPE:MOIL,ADDITIONAL FEATURES EN:THUNDERBOLT750 SHELL BOLT Ã˜1 3/4"/4,MNFR:01)RME,PTNO:01)10101601 | EN_01)MOIL,01)THUNDERBOLT750 SHELL BOLT Ø,01)RME,01)10101601 |  |  | RME | RME | 10101601 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | MOIL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THUNDERBOLT750 SHELL BOLT Ã˜1 3/4"/4 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1276663 | 1276663 | EA | GUIDE;MOIL |  |  | GUIDE;TYPE:MOIL,ADDITIONAL FEATURES EN:THUNDERBOLT750 SHELL BOLT Ã˜1 3/4"/44-49MM YELLO,MNFR:01)RUSSELL MINERAL EQUIPMENT P/L,PTNO: 01)10101601 | EN_01)MOIL,01)THUNDERBOLT750 SHELL BOLT Ø,01)RUSSELL MINERAL EQUIPMENT P,01)10101601 |  |  | RUSSELL MINERAL EQUIPMENT P/L | RUSSELL MINERAL EQUIPMENT P/L | 10101601 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | MOIL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THUNDERBOLT750 SHELL BOLT Ã˜1 3/4"/44-49MM YELLO | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1354557 | 1354557 | EA | GUIDE;MOVING ELECTRODE |  |  | GUIDE;TYPE:MOVING ELECTRODE,MNFR:01)CSEUNISE,PTNO:01)02HST11PLT | EN_01)MOVING ELECTRODE,01)CSEUNISE,01)02HST11PLT |  |  | CSEUNISE | CSEUNISE | 02HST11PLT | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | MOVING ELECTRODE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1317398 | 1317398 | EA | GUIDE;NOZL, INSULATED,LG 2-3/4 IN,TWS |  |  | GUIDE;NOZZLE, INSULATED,SIZE:LG 2-3/4 IN,ADDITIONAL FEATURES EN:INSULATOR, BUSHING,MNFR:01)TWS,PTNO:01)S-12691-1,MNFR:02)LINCWELD, PTNO:02)KP1965-1 | EN_01)NOZZLE, INSULATED,EN_01)LG 2-3/4 IN,01)INSULATOR, BUSHING,01)TWS,02)LINCWELD,01)S-12691-1,02)KP1965-1 |  |  | LINCWELD | TWS | S-12691-1 |  | LINCWELD | KP1965-1 | [13 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE |  | SIZE | LG 2-3/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INSULATOR,BUSHING | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1365307 | 1365307 | EA | GUIDE;PAD A,PIECE |  |  | GUIDE;TYPE:PAD A,ADDITIONAL FEATURES EN:PIECE,MNFR:01)KUNZ,PTNO:01)81496 | EN_01)PAD A,01)PIECE,01)KUNZ,01)81496 |  |  | KUNZ | KUNZ | 81496 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PAD A | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1295483 | 1295483 | EA | GUIDE;PAD B,PIECE |  |  | GUIDE;TYPE:PAD B,ADDITIONAL FEATURES EN:PIECE,MNFR:01)KUNZ,PTNO:01)81497 | EN_01)PAD B,01)PIECE,01)KUNZ,01)81497 |  |  | KUNZ | KUNZ | 81497 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PAD B | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1365306 | 1365306 | EA | GUIDE;PAD C,PIECE |  |  | GUIDE;TYPE:PAD C,ADDITIONAL FEATURES EN:PIECE,MNFR:01)KUNZ,PTNO:01)81498 | EN_01)PAD C,01)PIECE,01)KUNZ,01)81498 |  |  | KUNZ | KUNZ | 81498 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PAD C | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1295482 | 1295482 | EA | GUIDE;PAD D,PIECE |  |  | GUIDE;TYPE:PAD D,ADDITIONAL FEATURES EN:PIECE,MNFR:01)KUNZ,PTNO:01)81499 | EN_01)PAD D,01)PIECE,01)KUNZ,01)81499 |  |  | KUNZ | KUNZ | 81499 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PAD D | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294481 | 1294481 | EA | GUIDE;PIECE,A,WENMEC,800757-3 |  |  | GUIDE;TYPE:PIECE,ADDITIONAL FEATURES EN:A,MNFR:01)WENMEC,PTNO:01)800757-3 | EN_01)PIECE,01)A,01)WENMEC,01)800757-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 800757-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | A | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294480 | 1294480 | EA | GUIDE;PIECE,A,WENMEC,807989-3 |  |  | GUIDE;TYPE:PIECE,ADDITIONAL FEATURES EN:A,MNFR:01)WENMEC,PTNO:01)807989-3 | EN_01)PIECE,01)A,01)WENMEC,01)807989-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 807989-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | A | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294478 | 1294478 | EA | GUIDE;PIECE,A,WENMEC,807990-3 |  |  | GUIDE;TYPE:PIECE,ADDITIONAL FEATURES EN:A,MNFR:01)WENMEC,PTNO:01)807990-3 | EN_01)PIECE,01)A,01)WENMEC,01)807990-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 807990-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | A | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294516 | 1294516 | EA | GUIDE;PIECE,A,WENMEC,807991-3 |  |  | GUIDE;TYPE:PIECE,ADDITIONAL FEATURES EN:A,MNFR:01)WENMEC,PTNO:01)807991-3 | EN_01)PIECE,01)A,01)WENMEC,01)807991-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 807991-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | A | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294479 | 1294479 | EA | GUIDE;PIECE,A,WENMEC,808014-3 |  |  | GUIDE;TYPE:PIECE,ADDITIONAL FEATURES EN:A,MNFR:01)WENMEC,PTNO:01)808014-3 | EN_01)PIECE,01)A,01)WENMEC,01)808014-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 808014-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | A | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294563 | 1294563 | EA | GUIDE;PIECE,APM HORIZONTAL LUG AND BODY |  |  | GUIDE;TYPE:PIECE,ADDITIONAL FEATURES EN:APM HORIZONTAL LUG AND BODY,MNFR:01)WENMEC,PTNO:01)818904-2 | EN_01)PIECE,01)APM HORIZONTAL LUG AND BODY,01)WENMEC,01)818904-2 |  |  | WENMEC SYSTEMS INC | WENMEC | 818904-2 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | APM HORIZONTAL LUG AND BODY | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294576 | 1294576 | EA | GUIDE;PIECE,TURNTABLE BAND,CSM D,SIGNODE |  |  | GUIDE;TYPE:PIECE,ADDITIONAL FEATURES EN:TURNTABLE BAND,CSM D,MNFR:01)SIGNODE,PTNO:01)HW2001-POS.22 | EN_01)PIECE,01)TURNTABLE BAND,CSM D,01)SIGNODE,01)HW2001-POS.22 |  |  | SIGNODE | SIGNODE | HW2001-POS.22 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TURNTABLE BAND,CSM D | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294557 | 1294557 | EA | GUIDE;PIECE,WENMEC,818390-3 |  |  | GUIDE;TYPE:PIECE,MNFR:01)WENMEC,PTNO:01)818390-3 | EN_01)PIECE,01)WENMEC,01)818390-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 818390-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294556 | 1294556 | EA | GUIDE;PIECE,WENMEC,818392-3 |  |  | GUIDE;TYPE:PIECE,MNFR:01)WENMEC,PTNO:01)818392-3 | EN_01)PIECE,01)WENMEC,01)818392-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 818392-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1294453 | 1294453 | EA | GUIDE;PIECE,WENMEC,818825-3 |  |  | GUIDE;TYPE:PIECE,MNFR:01)WENMEC,PTNO:01)818825-3 | EN_01)PIECE,01)WENMEC,01)818825-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 818825-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1353921 | 1353921 | EA | GUIDE;PIECE,WENMEC,818967-3 |  |  | GUIDE;TYPE:PIECE,MNFR:01)WENMEC,PTNO:01)818967-3 | EN_01)PIECE,01)WENMEC,01)818967-3 |  |  | WENMEC SYSTEMS INC | WENMEC | 818967-3 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1287904 | 1287904 | EA | GUIDE;PLTE, WELDMENT,REFERENCE NO: 500 |  |  | GUIDE;TYPE:PLATE, WELDMENT,ADDITIONAL FEATURES EN:REFERENCE NO: 500,MNFR:01)OUTOKUMP,PTNO:01)41000245 | EN_01)PLATE, WELDMENT,01)REFERENCE NO: 500,01)OUTOKUMP,01)41000245 |  |  | OUTOKUMP | OUTOKUMP | 41000245 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | PLATE,WELDMENT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REFERENCE NO: 500 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1295812 | 1295812 | EA | GUIDE;ROD,BRASS,PIECE |  |  | GUIDE;TYPE:ROD,MATERIAL:BRASS,ADDITIONAL FEATURES EN:PIECE,MNFR:01)BAM,PTNO:01)02 LVSL SLEEVE | EN_01)ROD,BRASS,01)PIECE,01)BAM,01)02 LVSL SLEEVE |  |  | BAM | BAM | 02 LVSL SLEEVE | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | ROD | SIZE |  | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1287895 | 1287895 | EA | GUIDE;ROPE,COMPLT |  |  | GUIDE;TYPE:ROPE,ADDITIONAL FEATURES EN:COMPLETE,MNFR:01)HYDROMEC,PTNO:01)SA554/569 | EN_01)ROPE,01)COMPLETE,01)HYDROMEC,01)SA554/569 |  |  | HYDROMEC | HYDROMEC | SA554/569 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | ROPE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1299326 | 1299326 | EA | GUIDE;SHFT |  |  | GUIDE;TYPE:SHAFT,ADDITIONAL FEATURES EN:PIECE, POLYSTONE 7000SR SPLIT BLOCK,MNFR:01)CONPLAST,PTNO:01)CPE-PLP-0239 | EN_01)SHAFT,01)PIECE, POLYSTONE 7000SR SPL,01)CONPLAST,01)CPE-PLP-0239 |  |  | CONPLAST | CONPLAST | CPE-PLP-0239 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | SHAFT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE,POLYSTONE 7000SR SPLIT BLOCK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1295872 | 1295872 | EA | GUIDE;SHL,1 PA |  |  | GUIDE;TYPE:SHELL,ADDITIONAL FEATURES EN:1 PA,MNFR:01)JACTECH,PTNO:01)JSA-1130006195 | EN_01)SHELL,01)1 PA,01)JACTECH,01)JSA-1130006195 |  |  | JACTECH | JACTECH | JSA-1130006195 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | SHELL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1 PA | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1293773 | 1293773 | EA | GUIDE;SLIPPERS,TOP/BOTTOM |  |  | GUIDE;TYPE:SLIPPERS,TOP/BOTTOM,ADDITIONAL FEATURES EN:LFX MATERIAL, OIL IMPREGNATED, R62 AUXILLARY CA,MNFR:01)CONPLAST,PTNO:01) CPE-PLP-4818 | EN_01)SLIPPERS,TOP/BOTTOM,01)LFX MATERIAL, OIL IMPREGNAT,01)CONPLAST,01)CPE-PLP-4818 |  |  | CONPLAST | CONPLAST | CPE-PLP-4818 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | SLIPPERS,TOP/BOTTOM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LFX MATERIAL,OIL IMPREGNATED,R62 AUXILLARY CA | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1302651 | 1302651 | EA | GUIDE;SLOTTED HOLES,T,LOUMINCO,4MIM2009 |  |  | GUIDE;ADDITIONAL FEATURES EN:SLOTTED HOLES,T,MNFR:01)LOUMINCO,PTNO:01)4MIM2009 | 01)SLOTTED HOLES,T,01)LOUMINCO,01)4MIM2009 |  |  | LOUMINCO | LOUMINCO | 4MIM2009 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SLOTTED HOLES,T | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ |  | 2023-07-21 |  |  | 1350014 | 1350014 | EA | GUIDE;SPCR,PIECE |  |  | GUIDE;TYPE:SPACER,ADDITIONAL FEATURES EN:PIECE,MNFR:01)GILBARCO,PTNO:01)T600-2242 | EN_01)SPACER,01)PIECE,01)GILBARCO,01)T600-2242 |  |  | GILBARCO | GILBARCO | T600-2242 | [16 empty] | Cleansed |  | GUIDE | NO MODIFIER | TYPE | SPACER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIECE | [61 empty] | Production Completed