## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1297107 | 1297107 | EA | ARRESTER,FLM;FLASHBACK,3/8 IN,BEDA-OXY |  |  | ARRESTER,FLAME;TYPE:FLASHBACK,END CONNECTION:3/8 IN,ADDITIONAL FEATURES EN:FURNACE OXYGEN,MNFR:01)BEDA-OXY,PTNO:01)RB-04-05 | FLASHBACK,3/8 IN,01)FURNACE OXYGEN,01)BEDA-OXY,01)RB-04-05 |  |  | BEDA-OXY | BEDA-OXY | RB-04-05 | [5 empty] | Url Not Found |  |  | OXYGEN FURNACE | [7 empty] | Cleansed | 46191506 Flame arrestor | ARRESTER | FLAME | TYPE | FLASHBACK | CONNECTION SIZE |  | END CONNECTION | 3/8 IN | BODY MATERIAL |  | ELEMENT TYPE |  | ELEMENT MATERIAL |  | OVERALL SIZE |  | MOUNTING TYPE |  | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1383094 | 1383094 | EA | ATTACHMENT;ANGLE DRIVE ADAPTOR,1/4 IN |  |  | ATTACHMENT;TYPE:ANGLE DRIVE ADAPTOR,SIZE:1/4 IN,MNFR:01)RS COMPONENTS PTY LTD,PTNO:01)1447962 | ANGLE DRIVE ADAPTOR,1/4 IN,01)RS COMPONENTS PTY LTD,01)1447962 |  |  | RS COMPONENTS PTY LTD | RS COMPONENTS PTY LTD | 1447962 | [5 empty] | https://in.rsdelivers.com/product/rs-pro/rs-pro-angle-adapter/1447962 | [10 empty] | Cleansed | 27112800 Tool attachments and accessories | ADAPTER | DRIVE | TYPE | ANGLE | DRIVE END STYLE |  | DRIVE END SIZE MALE |  | DRIVE END SIZE FEMALE |  | LOCK END STYLE |  | LOCK END SIZE | 1/4 IN | OVERALL LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1215039 | 1215039 | EA | ATTACHMENT;BRS,CTNG,TYPE 40,COMET 3 | ADJUNTO ARCHIVO; | ATTACHEMENT; | ATTACHMENT;MATERIAL:BRASS,ADDITIONAL FEATURES EN:CUTTING,TYPE 40,COMET 3,MNFR:BOC LIMITED,PTNO:304005 | EN_01)BRASS,01)CUTTING,TYPE 40,COMET 3,01)BOC LIMITED,01)304005 | 304005 | 1068135 | BOC LIMITED | BOC LIMITED | 304005 | CIGWELD |  |  |  |  | https://www.cigweld.com.au/product/comet-3-cutting-attachment/ | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | ATTACHMENT | No Modifier | TYPE | CUTTING | SIZE |  | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TYPE 40,COMET 3 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1298128 | 1298128 | EA | AXLE;STRGT,LG 2.961 M,ZAPEX LONG,FLENDER |  |  | AXLE;TYPE:STRAIGHT,SIZE:LG 2.961 M,ADDITIONAL FEATURES EN:ZAPEX LONG,MNFR:01)FLENDER,PTNO:01)ZAPEXZZS-230BO | EN_01)STRAIGHT,LG 2.961 M,01)ZAPEX LONG,01)FLENDER,01)ZAPEXZZS-230BO |  |  | FLENDER | FLENDER | ZAPEXZZS-230BO | [5 empty] | Url Not Found | [10 empty] | Cleansed | 26111512 Axles | AXLE | No Modifier | TYPE | STRAIGHT | SIZE | 2.961 M LG | MATERIAL |  | LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ZAPEX LONG | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1297486 | 1297486 | EA | BONNET,VLV;80 MM,PP |  |  | BONNET,VALVE;VALVE SIZE:80 MM,MATERIAL:PP,ADDITIONAL FEATURES EN:RISING HANDWHEEL ASSY, GREASE RESERVOIR FOR PER, POSITION INDICATOR, ENVIRONMENTALLY SEALED,MNFR:01)ONESTEEL,PTNO:01)HB080H02 | 80 MM,PP,01)RISING HANDWHEEL ASSY, GREA,02) POSITION INDICATOR, ENVIRO,01)ONESTEEL,01)HB080H02 |  |  | ONESTEEL | ONESTEEL | HB080H02 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40141616 Valve parts or accessories | BONNET | VALVE | VALVE TYPE |  | VALVE SIZE | 80 MM | MATERIAL | POLYPROPYLENE | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RISING HANDWHEEL ASSEMBLY,GREASE RESERVOIR FOR PER,POSITION INDICATOR,ENVIRONMENTALLY SEALED | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1301636 | 1301636 | EA | BONNET,VLV;AVTA,DANFOSS,003N0001 |  |  | BONNET,VALVE;VALVE TYPE:AVTA,MNFR:01)DANFOSS,PTNO:01)003N0001 | AVTA,01)DANFOSS,01)003N0001 |  |  | DANFOSS | DANFOSS | 003N0001 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40141616 Valve parts or accessories | BONNET | VALVE | VALVE TYPE |  | VALVE SIZE |  | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AVTA | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1289627 | 1289627 | EA | BONNET,VLV;DIAPHRAGM,100 MM,ASSY, KB100 |  |  | BONNET,VALVE;VALVE TYPE:DIAPHRAGM,VALVE SIZE:100 MM,ADDITIONAL FEATURES EN:ASSY, KB100,MNFR:01)SAUNDERS,PTNO:01)SUIT KB100 SAUNDERS VALVE | DIAPHRAGM,100 MM,01)ASSY, KB100,01)SAUNDERS,01)SUIT KB100 SAUNDERS VALVE |  |  | SAUNDERS | SAUNDERS | [6 empty] | Url Not Found |  |  | VALVE | SAUNDERS | KB100 | [5 empty] | Cleansed | 40141616 Valve parts or accessories | BONNET | VALVE | VALVE TYPE | DIAPHRAGM | VALVE SIZE | 100 MM | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1294617 | 1294617 | EA | BONNET,VLV;DIAPHRAGM,50 MM |  |  | BONNET,VALVE;VALVE TYPE:DIAPHRAGM,VALVE SIZE:50 MM,ADDITIONAL FEATURES EN:TYPE A, FOR 214/300 GRADE, C/W HANDWHEEL,MNFR:01)TYCO, PTNO:01)3505000000LT-050MM | DIAPHRAGM,50 MM,01)TYPE A, FOR 214/300 GRADE,01)TYCO,01)3505000000LT-050MM |  |  | TYCO | TYCO | 3505000000LT-050MM | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40141616 Valve parts or accessories | BONNET | VALVE | VALVE TYPE | DIAPHRAGM | VALVE SIZE | 50 MM | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TYPE A,FOR 214/300 GRADE,C/W HANDWHEEL | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1319766 | 1319766 | EA | BONNET,VLV;PP,150 MM |  |  | BONNET,VALVE;MATERIAL:PP,OVERALL SIZE:150 MM,ADDITIONAL FEATURES EN:RISING HANDWHEEL ASSEMBLY, GREASE RESERVOIR FOR,LOW, POSITION INDICATOR, ENVIRONMENTALLY SEALED,MNFR:01)TUBEMAKR,PTNO:01)VSKB-BON-RHW-150 | PP,150 MM,01)RISING HANDWHEEL ASSEMBLY,02)LOW, POSITION INDICATOR, EN,01)TUBEMAKR,01)VSKB-BON-RHW-150 |  |  | TUBEMAKR | TUBEMAKR | VSKB-BON-RHW-150 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 40141616 Valve parts or accessories | BONNET | VALVE | VALVE TYPE |  | VALVE SIZE |  | MATERIAL | POLYPROPYLENE | OVERALL SIZE | 150 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RISING HANDWHEEL ASSEMBLY,GREASE RESERVOIR FOR LOW POSITION INDICATOR,ENVIRONMENTALLY SEALED | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1281535 | 1281535 | EA | BOOSTER,HYDR;CLUTCH |  |  | BOOSTER,HYDRAULIC;TYPE:CLUTCH,MNFR:01)RGMMAIN,PTNO:01)QME524740 | CLUTCH,01)RGMMAIN,01)QME524740 |  |  | RGMMAIN | RGMMAIN | QME524740 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOOSTER | HYDRAULIC | TYPE | CLUTCH | BOOSTER RATIO |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | INLET CONNECTION SIZE |  | OUTLET CONNECTION SIZE |  | FLOW RATING |  | MATERIAL |  | DRIVE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1364386 | 1364386 | EA | BOOSTER,HYDR;MASTER BRAKE CYLINDER |  |  | BOOSTER,HYDRAULIC;TYPE:MASTER BRAKE CYLINDER,ADDITIONAL FEATURES EN:ASSY,205 AND 230 DIA 26.99 TMC 9.5R,MNFR:01)MAHIND,PTNO:01) 0607 | MASTER BRAKE CYLINDER,01)ASSY,205 & 230 DIA 26.99 TM,01)MAHIND,01)0607AA0461N |  |  | MAHIND | MAHIND | 0607 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOOSTER | HYDRAULIC | TYPE | MASTER BRAKE CYLINDER | BOOSTER RATIO |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | INLET CONNECTION SIZE |  | OUTLET CONNECTION SIZE |  | FLOW RATING |  | MATERIAL |  | DRIVE TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,205 AND 230 DIA 26.99 TMC 9.5R | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1382698 | 1382698 | EA | BOOSTER;BRAKE,GENUINE NEW |  |  | BOOSTER;TYPE:BRAKE,ADDITIONAL FEATURES EN:GENUINE NEW,MNFR:01)ISA AUTO SUPPLIES,PTNO:01)BBTS-018 | BRAKE,01)GENUINE NEW,01)ISA AUTO SUPPLIES,01)BBTS-018 |  |  | ISA AUTO SUPPLIES | ISA AUTO SUPPLIES | BBTS-018 | [5 empty] | https://www.sparesbox.com.au/part/aisin-brake-booster-bbts-018 | [10 empty] | Cleansed | 23153100 Industrial machinery components and accessories | BOOSTER | No Modifier | TYPE | BRAKE | NOMINAL WEIGHT |  | DIAMETER |  | LENGTH |  | SHELL MATERIAL |  | COLOUR |  | DENSITY |  | VELOCITY OF DETONATION |  | DETONATION PRESSURE |  | PACKAGE QUANTITY |  | CASE SIZE |  | MSDS UN NUMBER |  | TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GENUINE NEW | [41 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1278114 | 1278114 | EA | BRACKET,FUS;MNTG, SWITCH |  |  | BRACKET,FUSE;TYPE:MOUNTING, SWITCH,ADDITIONAL FEATURES EN:GALVANISED LV ABC TWIN,MNFR:01)ENERGYQLD,PTNO:01)405920 | MOUNTING, SWITCH,01)GALVANISED LV ABC TWIN,01)ENERGYQLD,01)405920 |  |  | ENERGYQLD | ENERGYQLD | 405920 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 31162500 Brackets and braces | BRACKET | FUSE | TYPE | MOUNTING,SWITCH | DIMENSIONS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COATING/FINISH: GALVANIZED, LV ABC TWIN | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Processed based on Websource, Conflict w.r.t Input | 1293581 | 1293581 | EA | BRACKET,MOUNT;BLOK,DIA 12 MM,MECMAN |  |  | BRACKET,MOUNTING;TYPE:BLOCK,HOLE/SLOT SIZE:DIA 12 MM,MNFR:01)MECMAN,PTNO:01)371-250-012-1 | 01)MECMAN,01)371-250-012-1,EN_01)BLOCK,DIA 12 MM |  |  | MECMAN | MECMAN | 371 250 012 1 | BOSCH REXROTH |  |  |  |  | http://www.bkauto.in/Pdfs/BOSCH-REXROTH/RE17042.PDF | [10 empty] | Enriched | 31162300 Mounting hardware | BLOCK | MOUNTING | TYPE |  | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | COATING/FINISH |  | MOUNTING HOLE/SLOT SIZE | 12 MM | NUMBER OF HOLES/SLOTS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Processed based on Websource, Conflict w.r.t Input | 1293582 | 1293582 | EA | BRACKET,MOUNT;BLOK,DIA 16 MM,MECMAN |  |  | BRACKET,MOUNTING;TYPE:BLOCK,HOLE/SLOT SIZE:DIA 16 MM,MNFR:01)MECMAN,PTNO:01)371-320-012-1 | 01)MECMAN,01)371-320-012-1,EN_01)BLOCK,DIA 16 MM |  |  | MECMAN | MECMAN | 371 320 012 1 | BOSCH REXROTH |  |  |  |  | http://www.bkauto.in/Pdfs/BOSCH-REXROTH/RE17042.PDF | [10 empty] | Enriched | 31162300 Mounting hardware | BLOCK | MOUNTING | TYPE |  | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL |  | COATING/FINISH |  | MOUNTING HOLE/SLOT SIZE | 16 MM | NUMBER OF HOLES/SLOTS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Series Match, Processed based on Websource, Conflict w.r.t Input | 1293463 | 1293463 | EA | BRACKET,MOUNT;BLOK,MECMAN |  |  | BRACKET,MOUNTING;TYPE:BLOCK,MNFR:01)MECMAN,PTNO:01)MTG-AR6-371-40-0002 | 01)MECMAN,01)MTG-AR6-371-40-0002,EN_01)BLOCK |  |  | MECMAN | MECMAN | 371 400 002 | BOSCH REXROTH |  | MTG-AR6-371-40-0002 |  |  | http://www.bkauto.in/Pdfs/BOSCH-REXROTH/RE17042.PDF | [10 empty] | Enriched | 31162412 Clevis | CLEVIS | NO MODIFIER | TYPE | Self-aligning | MATERIAL |  | CLEVIS GAP |  | PIN DIAMETER |  | SHANK TYPE |  | SHANK SIZE |  | LOAD RATING |  | THREAD SIZE |  | THREAD LENGTH |  | LENGTH |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok7 | 2023-07-21 | 2023-08-02 |  | 1345814 | 1345814 | EA | BRACKET,MOUNT;JOI,SMC,Y 30T |  |  | BRACKET,MOUNTING;ADDITIONAL FEATURES EN:JOI,MNFR:01)SMC,PTNO:01)Y 30T | 01)SMC,01)Y 30T,01)JOI |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | Y30T | [5 empty] | https://us.rs-online.com/product/smc-corporation/y30t/70074206/ | [10 empty] | Enriched | 31162500 Brackets and braces | BRACKET | MOUNTING | TYPE | coupler | SIZE |  | MATERIAL |  | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | JOI | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Processed based on Websource, Conflict w.r.t Input | 1353563 | 1353563 | EA | BRACKET,MOUNT;WD 71.5 X LG 82 X DP 19 MM |  |  | BRACKET,MOUNTING;SIZE:WD 71.5 X LG 82 X DP 19 MM,COLOUR:WHITE,ADDITIONAL FEATURES EN:INTERFACE T CONNECTOR,MNFR:01)SMC,PTNO:01) Y300T-A-X260 | 01)SMC,01)Y300T-A-X260,EN_01)WD 71.5 X LG 82 X DP 19,WHITE,01)INTERFACE T CONNECTOR |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | Y300T-A-X260 | [5 empty] | https://www.distrelec.biz/en/spacer-with-bracket-smc-y300t-x260/p/30063417 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | SPACER | NO MODIFIER | TYPE |  | SIZE | 82 LGX71.5 WDX19 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W BRACKET,COLOUR: WHITE,INTERFACE T CONNECTOR | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Processed based on Websource, Conflict w.r.t Input | 1229433 | 1229433 | EA | BRACKET,MOUNT;WD 86.1 X LG 96 X DP 26 MM |  |  | BRACKET,MOUNTING;SIZE:WD 86.1 X LG 96 X DP 26 MM,ADDITIONAL FEATURES EN:INTERFACE T CONNECTOR,MNFR:01)SMC,PTNO:01)Y400T-A-X260 | 01)SMC,01)Y400T-A-X260,EN_01)WD 86.1 X LG 96 X DP 26,01)INTERFACE T CONNECTOR |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | Y400T-A-X260 | [5 empty] | https://www.distrelec.biz/en/spacer-with-bracket-smc-y400t-x260/p/30063421 | [10 empty] | Enriched | 23153100 Industrial machinery components and accessories | SPACER | NO MODIFIER | TYPE |  | SIZE | 96 LGX86.1 WDX26 DP MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W BRACKET,INTERFACE T CONNECTOR | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285320 | 1285320 | EA | CEMENT;BAG 20 KG |  |  | CEMENT;CONTAINER:BAG 20 KG,ADDITIONAL FEATURES EN:84 BAGS PER PALLET, SCM, SUPPLY ON ONE WAY PALL,MNFR:01)ENERGYQLD,PTNO:01) 325402 | BAG 20 KG,01)84 BAGS PER PALLET, SCM, SU,01)ENERGYQLD,01)325402 |  |  | ENERGYQLD | ENERGYQLD | 325402 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30111601 Cement | CEMENT | No Modifier | TYPE |  | GRADE |  | CONTAINER | 20 KG BAG | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGE QUANTITY: 84 BAGS/PALLET,SCM,SUPPLY ON ONE WAY PALL | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1382063 | 1382063 | BAG | CEMENT;CNCRT, PREMIX, DRY,BAG 20 KG |  |  | CEMENT;CONCRETE, PREMIX, DRY,CONTAINER:BAG 20 KG,ADDITIONAL FEATURES EN:RAPID SET, PLUMBING,MNFR:01)REECE,PTNO:01)3300468 | EN_01)CONCRETE, PREMIX, DRY,BAG 20 KG,01)RAPID SET, PLUMBING,01)REECE,01)3300468 |  |  | REECE | REECE | 3300468 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30111601 Cement | CEMENT | No Modifier | TYPE | CONCRETE, PREMIX, DRY | GRADE |  | CONTAINER | 20 KG BAG | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RAPID SET,FOR PLUMBING | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1319361 | 1319361 | M3 | CEMENT;CNCRT, PREMIX, WET,6AM-5PM,BORAL |  |  | CEMENT;CONCRETE, PREMIX, WET,ADDITIONAL FEATURES EN:40 MPA, 20 MM AGGREGATE, ISA MINE ONLY, DAY RATE, DELIVERY MON-FRI,6AM-5PM, MNFR:01)BORAL,PTNO:01)137820 | EN_01)CONCRETE, PREMIX, WET,01)40 MPA, 20 MM AGGREGATE, IS,02)6AM-5PM,01)BORAL,01)137820 |  |  | BORAL | BORAL | 137820 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30111601 Cement | CEMENT | No Modifier | TYPE | CONCRETE, PREMIX, WET | GRADE |  | CONTAINER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 40 MPA,20 MM AGGREGATE,ISA MINE ONLY,DAY RATE,DELIVERY MON-FRI,6AM-5PM | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285532 | 1285532 | EA | CEMENT;CNCRT, PREMIX,BAG 20 KG |  |  | CEMENT;TYPE:CONCRETE, PREMIX,CONTAINER:BAG 20 KG,ADDITIONAL FEATURES EN:60 BAGS PER PALLET, SCM, SUPPLY ON ONE WAY PALL,MNFR:01) ENERGYQLD,PTNO:01)2406598 | EN_01)CONCRETE, PREMIX,BAG 20 KG,01)60 BAGS PER PALLET, SCM, SU,01)ENERGYQLD,01)2406598 |  |  | ENERGYQLD | ENERGYQLD | 2406598 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30111601 Cement | CEMENT | No Modifier | TYPE | CONCRETE,PREMIX | GRADE |  | CONTAINER | 20 KG BAG | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGE QUANTITY: 60 BAGS/PALLET,SCM,SUPPLY ON ONE WAY PALL | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1319353 | 1319353 | BAG | CEMENT;HIGH TEMPERATURE,SHINGAWA |  |  | CEMENT;TYPE:HIGH TEMPERATURE,ADDITIONAL FEATURES EN:INSUL, MORAL BOND 35 D,MNFR:01)SHINGAWA,PTNO:01)SHRIABOND 35 DRY | EN_01)HIGH TEMPERATURE,01)INSUL, MORAL BOND 35 D,01)SHINGAWA,01)SHRIABOND 35 DRY |  |  | SHINGAWA | SHINGAWA | [6 empty] | Url Not Found | [10 empty] | Cleansed | 30111601 Cement | CEMENT | No Modifier | TYPE | HIGH TEMPERATURE | GRADE |  | CONTAINER |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SHRIABOND 35 DRY, INSUL,MORAL BOND 35 D | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285284 | 1285284 | EA | CEMENT;INTERCRETE 4801,BAG 25 KG |  |  | CEMENT;TYPE:INTERCRETE 4801,CONTAINER:BAG 25 KG,ADDITIONAL FEATURES EN:STRUCTURAL PLINTH REPAIRS,MNFR:01)J.BLACKWOOD AND SON LIMITED | EN_01)INTERCRETE 4801,BAG 25 KG,01)STRUCTURAL PLINTH REPAIRS,01)J.BLACKWOOD & SON LIMITED,01)B0418-4581 |  |  | J.BLACKWOOD AND SON LIMITED | INTERCRETE | 4801 |  | J.BLACKWOOD AND SON LIMITED |  |  |  | https://international.brand.akzonobel.com/m/34b442a54a4e8f47/original/Intercrete_4801_eng_A4_20191220.pdf | [10 empty] | Enriched | 30111601 Cement | CEMENT | No Modifier | TYPE |  | GRADE |  | CONTAINER | 25 KG BAG | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STRUCTURAL PLINTH REPAIRS | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1292817 | 1292817 | EA | CHOKE;1.5875 MM |  |  | CHOKE;SIZE:1.5875 MM,ADDITIONAL FEATURES EN:0.0625 IN SUIT IN THE HOLE HAMMER,MNFR:01)NUQUIP,PTNO:01)14112-1 | 01)NUQUIP,01)14112-1,1.5875 MM,01)0.0625 IN SUIT IN THE HOLE |  |  | NUQUIP | NUQUIP | 14112-1 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121012 Chokes | CHOKE | No Modifier | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | SIZE | 1.5875 MM | IMPEDANCE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1/16 IN FOR THE HOLE HAMMER | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Series Match | 1316983 | 1316983 | EA | COVERALL;ARC FLASH SUIT,SZ L,MEN |  |  | COVERALL;TYPE:ARC FLASH SUIT,SIZE DESIGNATION:L,MATERIAL:FIBRE SYNTHETIC BLEND,DESIGN:MENS,HAZARD CLASS:40 CAL/CM2, CERTIFICATION/STANDARD:ASTM F1506-02A,ADDITIONAL FEATURES EN:INCLUDES OVERALLS,COAT,HOOD AND BAG,MNFR:01)SALISBUR,PTNO:01) SK40PLTL?LFH40 | 01)SALISBUR,01)SK40PLTL?LFH40,EN_01)ARC FLASH SUIT,L,EN_01)FIBRE SYNTHETIC BLEND,EN_01)MENS,EN_01)40 CAL/CM2,EN_01)ASTM F1506-02A,01)INCLUDES OVERALLS,COAT,HOOD |  |  | SALISBUR | Salisbury | SK40PLTL-LFH40 | [5 empty] | https://sps.honeywell.com/content/dam/honeywell-edam/sps/common/en-us/industries/transportation-and-logistics/railway/documents/sps-his-electrical-safety-salisbury-arc-flash-brochure.pdf | [10 empty] | Cleansed | 53102102 Mens overalls or coveralls | COVERALL | No Modifier | TYPE | ARC FLASH SUIT | SIZE DESIGNATION | L | MATERIAL | FIBRE SYNTHETIC BLEND | DESIGN | MENS | CLOSURE DETAILS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASTM F1506-02A | ADDITIONAL FEATURES | ATPV RATING: 40 CAL/CM2, C/W OVERALLS,COAT,HOOD AND BAG | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Series Match | 1297004 | 1297004 | EA | COVERALL;ARC FLASH SUIT,SZ M,MEN,GRN |  |  | COVERALL;TYPE:ARC FLASH SUIT,SIZE DESIGNATION:M,MATERIAL:ARAMID BLEND,DESIGN:MENS,COLOUR:GREEN,HAZARD CLASS:40 CAL/CM2, CERTIFICATION/STANDARD:NFPA 70E,ADDITIONAL FEATURES EN:INCLUDES OVERALLS,COAT,HOOD AND BAG,MNFR:01)SALISBUR,PTNO:01)SK40PLTM? LFH40 | 01)SALISBUR,01)SK40PLTM?LFH40,EN_01)ARC FLASH SUIT,M,EN_01)ARAMID BLEND,EN_01)MENS,EN_01)GREEN,EN_01)40 CAL/CM2,EN_01)NFPA 70E,01)INCLUDES OVERALLS,COAT,HOOD |  |  | SALISBUR | Salisbury | SK40PLTM-LFH40 | [5 empty] | https://sps.honeywell.com/content/dam/honeywell-edam/sps/common/en-us/industries/transportation-and-logistics/railway/documents/sps-his-electrical-safety-salisbury-arc-flash-brochure.pdf | [10 empty] | Cleansed | 53102102 Mens overalls or coveralls | COVERALL | No Modifier | TYPE | ARC FLASH SUIT | SIZE DESIGNATION | M | MATERIAL | ARAMID BLEND | DESIGN | MENS | CLOSURE DETAILS |  | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD | NFPA 70E | ADDITIONAL FEATURES | ATPV RATING: 40 CAL/CM2, C/W OVERALLS,COAT,HOOD AND BAG | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 | Series Match | 1297003 | 1297003 | EA | COVERALL;ARC FLASH SUIT,SZ XL,40 CAL/CM2 |  |  | COVERALL;TYPE:ARC FLASH SUIT,SIZE DESIGNATION:XL,MATERIAL:40 CAL/CM2,DESIGN:MENS,COLOUR:GREEN,ADDITIONAL FEATURES EN:INCLUDES, COAT,HOOD AND BAG,MNFR:01)SALISBUR,PTNO:01)SK40PLTXL?LFH40 | 01)SALISBUR,01)SK40PLTXL?LFH40,EN_01)ARC FLASH SUIT,XL,EN_01)40 CAL/CM2,EN_01)MENS,EN_01)GREEN,01)INCLUDES,COAT,HOOD AND BAG |  |  | SALISBUR | Salisbury | SK40PLTXL-LFH40 | [5 empty] | https://sps.honeywell.com/content/dam/honeywell-edam/sps/common/en-us/industries/transportation-and-logistics/railway/documents/sps-his-electrical-safety-salisbury-arc-flash-brochure.pdf | [10 empty] | Cleansed | 53102102 Mens overalls or coveralls | COVERALL | No Modifier | TYPE | ARC FLASH SUIT | SIZE DESIGNATION | XL | MATERIAL |  | DESIGN | MENS | CLOSURE DETAILS |  | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ATPV RATING: 40 CAL/CM2, C/W COAT,HOOD AND BAG | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1229231 | 1229231 | PAA | COVERALL;CHEST WADER,10,PVC,BLU |  |  | COVERALL;TYPE:CHEST WADER,SIZE DESIGNATION:10,MATERIAL:PVC,COLOUR:BLUE,ADDITIONAL FEATURES EN:OVERALLS, STEEL TOECAP AND MIDSOLE, MNFR:01)BUNZL,PTNO:01)NN0075192BLF100 | 01)BUNZL,01)NN0075192BLF100,EN_01)CHEST WADER,10,EN_01)PVC,EN_01)BLUE,01)OVERALLS, STEEL TOECAP AND |  |  | BUNZL | BUNZL | NN0075192BLF100 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 53102100 Overalls and coveralls | COVERALL | No Modifier | TYPE | CHEST WADER | SIZE DESIGNATION | 10 | MATERIAL | PVC | DESIGN |  | CLOSURE DETAILS |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W OVERALLS,STEEL TOE CAP AND MIDSOLE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1230643 | 1230643 | PAA | COVERALL;CHEST WADER,12,PVC,BLU |  |  | COVERALL;TYPE:CHEST WADER,SIZE DESIGNATION:12,MATERIAL:PVC,COLOUR:BLUE,ADDITIONAL FEATURES EN:OVERALLS, STEEL TOECAP AND MIDSOLE, STYLE,MNFR:01)BUNZL,PTNO:01)TF804-12 | 01)BUNZL,01)TF804-12,EN_01)CHEST WADER,12,EN_01)PVC,EN_01)BLUE,01)OVERALLS, STEEL TOECAP AND |  |  | BUNZL | BUNZL | TF804-12 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 53102100 Overalls and coveralls | COVERALL | No Modifier | TYPE | CHEST WADER | SIZE DESIGNATION | 12 | MATERIAL | PVC | DESIGN |  | CLOSURE DETAILS |  | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W OVERALLS,STEEL TOE CAP AND MIDSOLE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1229230 | 1229230 | PAA | COVERALL;CHEST WADER,SZ 11,PVC,YEL |  |  | COVERALL;TYPE:CHEST WADER,SIZE DESIGNATION:11,MATERIAL:PVC,DESIGN:BIB AND BRACE WITH GUMBOOTS,COLOUR:YELLOW,ADDITIONAL FEATURES EN:STEEL TOE CAP MIDSOLE,MNFR:01)BLKWOODS,PTNO:01)04238498 | 01)BLKWOODS,01)04238498,EN_01)CHEST WADER,11,EN_01)PVC,EN_01)BIB AND BRACE WITH GUMBO,EN_01)YELLOW,01)STEEL TOE CAP MIDSOLE |  |  | BLACKWOODS | Jem-Ell Sewing | CW321:YE:11 |  | BLACKWOODS | 04238498 |  |  | https://www.blackwoods.com.au/clothing/workwear-outer-jackets-jumpers-wet-weather/pvc-waders/wader-chest-t-cap-m-sole-cwwp0030-ye-11/p/04238498 | [10 empty] | Enriched | 53102100 Overalls and coveralls | COVERALL | No Modifier | TYPE | CHEST WADER | SIZE DESIGNATION | 11 | MATERIAL | PVC | DESIGN |  | CLOSURE DETAILS |  | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W BIB, BRACE, GUMBOOTS, STEEL TOE CAP, MIDSOLE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1229232 | 1229232 | PAA | COVERALL;CHEST WADER,SZ 9,PVC,YEL |  |  | COVERALL;TYPE:CHEST WADER,SIZE DESIGNATION:9,MATERIAL:PVC,DESIGN:BIB AND BRACE WITH GUMBOOTS,COLOUR:YELLOW,ADDITIONAL FEATURES EN: OVERALLS, STEEL TOECAP AND MIDSOLE,STYLE,MNFR:01)BLKWOODS,PTNO:01)04238566 | 01)BLKWOODS,01)04238566,EN_01)CHEST WADER,9,EN_01)PVC,EN_01)BIB AND BRACE WITH GUMBO,EN_01)YELLOW,01)OVERALLS, STEEL TOECAP AND |  |  | BLACKWOODS | Jem-Ell Sewing | CW321:YE:9 |  | BLACKWOODS | 04238566 |  |  | https://www.blackwoods.com.au/clothing/workwear-outer-jackets-jumpers-wet-weather/pvc-waders/wader-chest-t-cap-m-sole-cwwp0030-ye-9/p/04238566 | [10 empty] | Enriched | 53102100 Overalls and coveralls | COVERALL | No Modifier | TYPE | CHEST WADER | SIZE DESIGNATION | 9 | MATERIAL | PVC | DESIGN |  | CLOSURE DETAILS |  | COLOUR | YELLOW | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W BIB, BRACE, GUMBOOTS, OVERALLS,STEEL TOE CAP, MIDSOLE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285596 | 1285596 | EA | COVERALL;COTTON DRILL,MEN |  |  | COVERALL;MATERIAL:COTTON DRILL,DESIGN:MENS,MNFR:01)ATOMSUP,PTNO:01)310908 | 01)ATOMSUP,01)310908,EN_01)COTTON DRILL,EN_01)MENS |  |  | ATOM SUPPLY | ATOMSUP | 310908 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 53102102 Mens overalls or coveralls | COVERALL | No Modifier | TYPE |  | SIZE DESIGNATION |  | MATERIAL | COTTON DRILL | DESIGN | MENS | CLOSURE DETAILS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285319 | 1285319 | EA | COVERALL;FRONT STUD,COV100 |  |  | COVERALL;TYPE:FRONT STUD,ADDITIONAL FEATURES EN:COV100,MNFR:01)ATOM SUPPLY,PTNO:01)414890 | 01)ATOM SUPPLY,01)414890,EN_01)FRONT STUD,01)COV100 |  |  | ATOM SUPPLY | Tuffa | COV100 |  | ATOM SUPPLY | 414890 |  |  | https://www.blackwoods.com.au/clothing/specialised-fr-coveralls/cov100-multitek-flame-resistant-coverall-ppe2/tuffa-coverall-multitek-cov100-orange-navy-87r-cov100-or-na-87r/p/00185168 | [10 empty] | Enriched | 53102100 Overalls and coveralls | COVERALL | No Modifier | TYPE | FRONT STUD | SIZE DESIGNATION | 87R | MATERIAL | Multitek | DESIGN |  | CLOSURE DETAILS |  | COLOUR | Orange/Navy | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285542 | 1285542 | EA | COVERALL;LABOUR,KITTING |  |  | COVERALL;TYPE:LABOUR,ADDITIONAL FEATURES EN:KITTING,MNFR:01)ALFAGO,PTNO:01)LAB-AGA-KIT | 01)ALFAGO,01)LAB-AGA-KIT,EN_01)LABOUR,01)KITTING |  |  | ALFAGO | ALFAGO | LAB-AGA-KIT | [5 empty] | Url Not Found | [10 empty] | Cleansed | 53102100 Overalls and coveralls | COVERALL | No Modifier | TYPE | LABOUR | SIZE DESIGNATION |  | MATERIAL |  | DESIGN |  | CLOSURE DETAILS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KITTING | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285836 | 1285836 | EA | ENGRAVER;TIP,6000STROKES / MINUTE 240V |  |  | ENGRAVER;TYPE:TIP,ADDITIONAL FEATURES EN:6000STROKES / MINUTE 240V,MNFR:01)BOSS,PTNO:01)12660 | TIP,01)6000STROKES / MINUTE 240V,01)BOSS,01)12660 |  |  | BOSS | BOSS | 12660 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 27112718 Engravers | ENGRAVER | ROTARY | TYPE | TIP | STROKES PER MINUTE | 6000 | MATERIAL |  | SIZE |  | ELECTRICAL RATING | 240 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285757 | 1285757 | EA | ENGRAVER,RTRY;PROF,240 V |  |  | ENGRAVER,ROTARY;TYPE:PROFESSIONAL,ELECTRICAL RATING:240 V,MNFR:01)BOSS,PTNO:01)R990 | PROFESSIONAL,240 V,01)BOSS,01)R990 |  |  | BOSS | BOSS | R990 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 27112718 Engravers | ENGRAVER | ROTARY | TYPE | PROFESSIONAL | STROKES PER MINUTE |  | MATERIAL |  | SIZE |  | ELECTRICAL RATING | 240 V | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1285785 | 1285785 | EA | FOIL;ALUMINUM,AS PER REF MOUNT ISA MINES |  |  | FOIL;MATERIAL:ALUMINUM,ADDITIONAL FEATURES EN:AS PER REF MOUNT ISA MINES,MNFR:01)WINC AUSTRALIA PTY LTD,PTNO:01)18829737 | ALUMINUM,01)AS PER REF MOUNT ISA MINES,01)WINC AUSTRALIA PTY LTD,01)18829737 |  |  | WINC AUSTRALIA PTY LTD | WINC AUSTRALIA PTY LTD | 18829737 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30102006 Aluminum foil | FOIL | No Modifier | TYPE |  | SIZE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AS PER REF MOUNT ISA MINES | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK7 | 2023-07-21 | 2023-08-02 |  | 1289971 | 1289971 | EA | JUMPER,ELEC;CABLE, BATTERY,PVC BLACK/RED |  |  | JUMPER,ELECTRICAL;TYPE:CABLE, BATTERY,INSULATION MATERIAL:PVC BLACK/RED,SIZE:LG 3 M,ADDITIONAL FEATURES EN:SIZE 0 AUTO, WITH SY- 175B PLUGS EA ENDUSED AS VEHICLE START LEAD SE,E 503631,MNFR:01)ASHDOWN,PTNO:01)ACX2762 | CABLE, BATTERY,PVC BLACK/RED,EN_01)LG 3 M,01)SIZE 0 AUTO, WITH SY-175B P,02)E 503631,01)ASHDOWN,01)ACX2762 |  |  | ASHDOWN | ASHDOWN | ACX2762 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 39121400 Electrical lugs plugs and connectors | JUMPER | ELECTRICAL | TYPE | CABLE,BATTERY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | INSULATION MATERIAL | PVC BLACK/RED | SIZE | 3 M LG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR: BLACK/RED, SIZE 0 AUTO,C/W SY-175B PLUGS EA ENDUSED AS VEHICLE START LEAD SE,E 503631 | [51 empty] | Production Completed