## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1299565 | 1299565 | EA | BRAKE,ELEC;440 VAC,6 IN,3 PHASE,ELEVANYA |  |  | BRAKE,ELECTRICAL;ELECTRICAL RATING:440 VAC,SIZE:6 IN,ADDITIONAL FEATURES EN:3 PHASE,MNFR:01)ELEVANYA,PTNO:01)0603FAPAF01 | 440 VAC,EN_01)6 IN,01)3 PHASE,01)ELEVANYA,01)0603FAPAF01 |  |  | ELEVANYA | ELEVANYA | 0603FAPAF01 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 25171700 Braking systems and components | BRAKE | ELECTRICAL | TYPE |  | ELECTRICAL RATING | 440 VAC,3 PH | TORQUE RATING |  | SPEED RATING |  | MATERIAL |  | LINER MATERIAL |  | SIZE | 6 IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1283119 | 1283119 | EA | BRAKE;4 IN,WITKRAMR,N4PG4 |  |  | BRAKE;SIZE:4 IN,ADDITIONAL FEATURES EN:ASSY, C/W 440V,50HZ,A, PERIGRIP,MNFR:01)WITKRAMR,PTNO:01)N4PG4 | 4 IN,01)ASSY, C/W 440V,50HZ,A, PERI,01)WITKRAMR,01)N4PG4 |  |  | WITKRAMR | WITKRAMR | N4PG4 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 25171700 Braking systems and components | BRAKE | ELECTRICAL | TYPE |  | ELECTRICAL RATING | 440 VAC,50 HZ | TORQUE RATING |  | SPEED RATING |  | MATERIAL |  | LINER MATERIAL |  | SIZE | 4 IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,C/W A,PERIGRIP | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1232717 | 1232717 | EA | BRAKE;BAND LINING, PUNCHER,JKSBOYL |  |  | BRAKE;ADDITIONAL FEATURES EN:BAND AND LINING, PUNCHER,MNFR:01)JKSBOYL,PTNO:01)3003091 | 01)BAND & LINING, PUNCHER,01)JKSBOYL,01)3003091 |  |  | JKSBOYL | JKSBOYL | 3003091 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 25171700 Braking systems and components | BRAKE | NO MODIFIER | TYPE |  | SHAFT SIZE |  | SIZE |  | INPUT RATING |  | TORQUE RATING |  | POWER RATING |  | ACTUATION TYPE |  | MOUNTING TYPE |  | SPEED RATING |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BAND AND LINING,PUNCHER | [43 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1282903 | 1282903 | EA | BRAKE;LH,COMPLT |  |  | BRAKE;TYPE:LH,ADDITIONAL FEATURES EN:COMPLETE,MNFR:01)EILBECK,PTNO:01)AN 13391 | EN_01)LH,01)COMPLETE,01)EILBECK,01)AN 13391 |  |  | EILBECK | EILBECK | AN 13391 | ABUS |  |  |  |  | https://store.konecranes.com/cpc/no/ENDESKJERM/p?p=XrIXD4zLapO9O4cOd17ZNA%3D%3D_AN-13391 | [10 empty] | ENRICHED | 25171700 Braking systems and components | BRAKE | NO MODIFIER | TYPE | END SCREEN,LEFT HAND | SHAFT SIZE |  | SIZE |  | INPUT RATING |  | TORQUE RATING |  | POWER RATING |  | ACTUATION TYPE |  | MOUNTING TYPE |  | SPEED RATING |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [43 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | URL for Reference only | 1301558 | 1301558 | EA | BRAKE;RTR,ASSY, HOIST KIT, SUIT,ABUS |  |  | BRAKE;TYPE:ROTOR,ADDITIONAL FEATURES EN:ASSY, HOIST KIT, SUIT,MNFR:01)ABUS,PTNO:01)AN13116 | EN_01)ROTOR,01)ASSY, HOIST KIT, SUIT,01)ABUS,01)AN13116 |  |  | ABUS | ABUS | AN13116 | [5 empty] | https://aus-crane.myshopify.com/products/an13116 | [10 empty] | ENRICHED | 25171700 Braking systems and components | BRAKE | NO MODIFIER | TYPE | LINING,ROTOR | SHAFT SIZE |  | SIZE |  | INPUT RATING |  | TORQUE RATING |  | POWER RATING |  | ACTUATION TYPE |  | MOUNTING TYPE |  | SPEED RATING |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,HOIST KIT,SUIT | [43 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | Manufacturer Details (MPN) not available | 1279276 | 1279276 | EA | COUPLING,HSE;NOM 2 IN,POLY |  |  | COUPLING,HOSE;NOMINAL SIZE:2 IN,MATERIAL:POLY,MNFR:01)FILQUIP PTY LTD,PTNO:01)SUNDRYPROD | 01)FILQUIP PTY LTD,01)SUNDRYPROD,2 IN,EN_01)POLY |  |  | FILQUIP PTY LTD | FILQUIP PTY LTD |  |  | SUNDRYPROD |  |  |  | URL Not Found | [10 empty] | CLEANSED | 40141734 Hose fitting | COUPLING | HOSE | TYPE |  | NOMINAL SIZE | 2 IN | LENGTH |  | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | POLY | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1279462 | 1279462 | EA | COUPLING,HSE;NOM 90 MM,ELECTROFUSION |  |  | COUPLING,HOSE;NOMINAL SIZE:90 MM,END CONNECTION:ELECTROFUSION,SCHEDULE/WALL THICKNESS:SDR11,MNFR:01)VINIDEX PTY LTD,PTNO:01)88408 | 01)VINIDEX PTY LTD,01)88408,90 MM,EN_01)ELECTROFUSION,SDR11 |  |  | VINIDEX PTY LTD | VINIDEX PTY LTD | 88408 | [5 empty] | https://www.vinidex.com.au/products/pe-systems/fittings-for-pe-pipe/friatec-electrofusion-fittings/coupler/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | HOSE | NOMINAL SIZE | 90 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | WATER PN 16,GAS PN 10 | MATERIAL | PE100 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SDR11 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1237696 | 1237696 | EA | COUPLING;CASING-NW, DIAMOND DRILL |  |  | COUPLING;ADDITIONAL FEATURES EN:CASING-NW, DIAMOND DRILL,MNFR:01)MINDRILL,PTNO:01)1363 | 01)CASING-NW, DIAMOND DRILL,01)MINDRILL,01)1363 |  |  | MINDRILL | MINDRILL | 1363 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | DIAMOND DRILL | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CASING-NW | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | URL for Reference only | 1253684 | 1253684 | EA | COUPLING;CBL,13 MM,S/S,PLP,D-SCT13,STE13 | ACOPLAMIENTO; | ACCOUPLEMENT; | COUPLING;TYPE:CABLE,SIZE:13 MM,MATERIAL:S/S,ADDITIONAL FEATURES EN:PLP,D-SCT13,STE13 | EN_01)CABLE,EN_01)13 MM,EN_01)S/S,01)PLP,D-SCT13,02)STE13,01)PREFORMED LINE PRODUCTS,01)D-SCT13,01)PREFORMED LINE PRODUCTS,01)D-SCT13 | D-SCT13 | 1068388 | PREFORMED LINE PRODUCTS (AUST),PLP | PREFORMED LINE PRODUCTS (AUST),PLP | D-SCT13 | [5 empty] | https://www.preformed.com/au/images/pdfs/Energy/Substations/PLP_Australia/PLP_Substation_Earth_Rods__Earthing_Accessories.pdf | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | CABLE | SIZE | 13 MM | MATERIAL | STAINLESS STEEL | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STE13 | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | SIZE Conflict w.r.t Input Updated based on Websource | 1253683 | 1253683 | EA | COUPLING;CBL,15 MM,S/S,PLP,D-SCT15,STE14 | ACOPLAMIENTO; | ACCOUPLEMENT; | COUPLING;TYPE:CABLE,SIZE:15 MM,MATERIAL:S/S,ADDITIONAL FEATURES EN:PLP,D-SCT15,STE14 | EN_01)CABLE,EN_01)15 MM,EN_01)S/S,01)PLP,D-SCT15,02)STE14,01)PREFORMED LINE PRODUCTS,01)D-SCT15,01)PREFORMED LINE PRODUCTS,01)D-SCT15 | D-SCT15 | 1068388 | PREFORMED LINE PRODUCTS (AUST),PLP | PREFORMED LINE PRODUCTS (AUST),PLP | D-SCT15 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | CABLE | SIZE | 14 MM | MATERIAL | STAINLESS STEEL | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STE14 | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1237699 | 1237699 | EA | COUPLING;DIAMOND DRILL,EXHST |  |  | COUPLING;TYPE:DIAMOND DRILL,ADDITIONAL FEATURES EN:EXHAUST,MNFR:01)MINDRILL,PTNO:01)112-111 | EN_01)DIAMOND DRILL,01)EXHAUST,01)MINDRILL,01)112-111 |  |  | MINDRILL | MINDRILL | 112-111 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | DIAMOND DRILL | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | EXHAUST | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1277959 | 1277959 | EA | COUPLING;LNK,10 MM |  |  | COUPLING;TYPE:LINK,SIZE:10 MM,MNFR:01)BULLIVANTS PTY LTD,PTNO:01)WCUP-100-BVE-G100 | EN_01)LINK,EN_01)10 MM,01)BULLIVANTS PTY LTD,01)WCUP-100-BVE-G100 |  |  | BULLIVANTS PTY LTD | BULLIVANTS PTY LTD | WCUP-100-BVE-G100 | BLACKWOOD |  | 0413 0702 |  |  | https://www.blackwoods.com.au/pim/documents/04130022_TDS.pdf | [10 empty] | ENRICHED | 31151609 Chain links | LINK | CHAIN | TYPE | COUPLING | CHAIN NUMBER |  | PITCH |  | MATERIAL |  | LOAD RATING |  | LENGTH |  | WIDTH |  | HEIGHT |  | PIN DIAMETER |  | CERTIFICATION/STANDARD | AS 3776:2015 | ADDITIONAL FEATURES | CHAIN SIZE:10 MM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1277621 | 1277621 | EA | COUPLING;LNK,13 MM,G LINKGRABIQ |  |  | COUPLING;TYPE:LINK,SIZE:13 MM,ADDITIONAL FEATURES EN:G LINKGRABIQ,MNFR:01)BULLIVANTS PTY LTD,PTNO:01)WCUP-130-G+ | EN_01)LINK,EN_01)13 MM,01)G LINKGRABIQ,01)BULLIVANTS PTY LTD,01)WCUP-130-G+ |  |  | BULLIVANTS PTY LTD | BULLIVANTS PTY LTD | WCUP-130-G+ | BLACKWOOD |  | 08396681 |  |  | https://www.blackwoods.com.au/lifting-rigging/chain-fittings-grade-100/coupling-links-g-grade-100/link-coupling-grabiq-g100-13-mm-6-7t/p/08396681 | [10 empty] | ENRICHED | 31151609 Chain links | LINK | CHAIN | TYPE | COUPLING | CHAIN NUMBER |  | PITCH |  | MATERIAL |  | LOAD RATING | 6.7 T | LENGTH | 89 MM | WIDTH |  | HEIGHT |  | PIN DIAMETER |  | CERTIFICATION/STANDARD | AS 3776:2015 | ADDITIONAL FEATURES | CHAIN SIZE:13 MM,G,GRABIQ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | Series Match,only Modifier updated from the web source | 1387764 | 1387764 | EA | COUPLING;SEW,FC345/115/140-S |  |  |  |  | FC345/115/140-S | 3000442 | SEW EURODRIVE | SEW EURODRIVE | FC345/115/140-S | [5 empty] | https://download.sew-eurodrive.com/download/pdf/20200145_G12.pdf | [10 empty] | ENRICHED | 31163020 Flange coupling | COUPLING | FLANGE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | Series Match,only Modifier updated from the web source | 1387765 | 1387765 | EA | COUPLING;SEW,FC345/115-S |  |  |  |  | FC345/115-S | 3000442 | SEW EURODRIVE | SEW EURODRIVE | FC345/115-S | [5 empty] | https://download.sew-eurodrive.com/download/pdf/20200145_G12.pdf | [10 empty] | ENRICHED | 31163020 Flange coupling | COUPLING | FLANGE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1387582 | 1387582 | EA | COUPLING;SKF,729831A |  |  |  |  | 729831A | 3000348 | SKF | SKF | 729831A | [5 empty] | https://res.cloudinary.com/iwh/image/upload/q_auto,g_center/assets/1/26/SKF729831_A_Product_data_sheet.pdf | https://www.tequipment.net/SKF/729831-A/General-Accessories/#description | [9 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE | G1/4 IN | END CONNECTION | FEMALE | MATERIAL |  | LENGTH | 58 MM | PRESSURE RATING | 150 MPA | TEMPERATURE RATING | -30 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1278025 | 1278025 | EA | COUPLING;URGENT PLEASE AIR FREIGHT, PHE |  |  | COUPLING;ADDITIONAL FEATURES EN:URGENT PLEASE AIR FREIGHT, PHE FRC180HTB,MNFR:01)APPLIED INDUSTRIAL TECHNOLOGIES,PTNO:01)HRC180H | 01)URGENT PLEASE AIR FREIGHT,01)APPLIED INDUSTRIAL TECHNOLO,01)HRC180H |  |  | APPLIED INDUSTRIAL TECHNOLOGIES | APPLIED INDUSTRIAL TECHNOLOGIES | HRC180H | [5 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/06/HRC-PB-Couplings-241-242.pdf | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE | 16 TO 65 MM | LENGTH | 180 MM | TORQUE RATING | 950 NM | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | URGENT PLEASE AIR FREIGHT,PHE FRC180HTB | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1286265 | 1286265 | EA | COUPLING;VENT FAN,GFM KJ76 V,AIRENG |  |  | COUPLING;TYPE:VENT FAN,ADDITIONAL FEATURES EN:GFM KJ76 V,MNFR:01)AIRENG,PTNO:01)05187-COUPLING | EN_01)VENT FAN,01)GFM KJ76 V,01)AIRENG,01)05187-COUPLING |  |  | AIRENG | AIRENG | 05187 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | NO MODIFIER | TYPE | VENT FAN | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GFM KJ76 V | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1386236 | 1386236 | EA | COUPLING,PIPE;COMPRESSION JOINER |  |  | COUPLING,PIPE;TYPE:COMPRESSION JOINER,NOMINAL SIZE:63 MM,MNFR:01)ADVANCED PIPING SYSTEMS PTY LTD,PTNO:01)COMPJ63 | EN_01)COMPRESSION JOINER,63 MM,01)ADVANCED PIPING SYSTEMS PTY,01)COMPJ63 |  |  | ADVANCED PIPING SYSTEMS PTY LTD | ADVANCED PIPING SYSTEMS PTY LTD | COMPJ63 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | COMPRESSION JOINER | NOMINAL SIZE | 63 MM | END CONNECTION |  | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1385669 | 1385669 | EA | COUPLING,PIPE;NOM 110 MM,ELECTROFUSION |  |  | COUPLING,PIPE;NOMINAL SIZE:110 MM,END CONNECTION:ELECTROFUSION,PRESSURE RATING:WATER PN 16, GAS PN 10,MATERIAL:PE100,ADDITIONAL FEATURES EN:SDR11,MNFR:01)VINIDEX PTY LTD,PTNO:01)88409 | 110 MM,EN_01)ELECTROFUSION,WATER PN 16, GAS PN 10,PE100,01)SDR11,01)VINIDEX PTY LTD,01)88409 |  |  | VINIDEX PTY LTD | VINIDEX PTY LTD | 88409 | [5 empty] | https://www.vinidex.com.au/products/pe-systems/fittings-for-pe-pipe/friatec-electrofusion-fittings/coupler/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 110 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | WATER PN 16,GAS PN 10 | MATERIAL | PE100 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD DIMENSION RATIO:11 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1291574 | 1291574 | EA | COUPLING,PIPE;NOM 525 MM,TEEKAY AXIFLEX |  |  | COUPLING,PIPE;NOMINAL SIZE:525 MM,END CONNECTION:TEEKAY AXIFLEX,PRESSURE RATING:PN 12 BAR,MATERIAL:STAINLESS STEEL 304,ADDITIONAL FEATURES EN:OD 585 MM, 210 MM W, EPDM RUBBER SEAL,MNFR:01)JWALKER,PTNO:01)TKAF0585001E | 525 MM,EN_01)TEEKAY AXIFLEX,PN 12 BAR,STAINLESS STEEL 304,01)OD 585 MM, 210 MM W, EPDM R,01)JWALKER,01)TKAF0585001E |  |  | JWALKER | JWALKER | TKAF0585001E | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 40172607 Stainless steel pipe coupling | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 525 MM | END CONNECTION | TEEKAY AXIFLEX | PRESSURE RATING | PN 12 | MATERIAL | 304 STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SEAL:EPDM RUBBER,SIZE:585 ODX210 WD MM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1291969 | 1291969 | EA | COUPLING,PIPE;NOM 600 MM,TEEKAY AXIFLEX |  |  | COUPLING,PIPE;NOMINAL SIZE:600 MM,END CONNECTION:TEEKAY AXIFLEX,PRESSURE RATING:PN10 BAR,MATERIAL:STAINLESS STEEL 304,ADDITIONAL FEATURES EN:OD 667 MM, 210 MM W, 1, EPDM RUBBER SEAL,MNFR:01)JWALKER,PTNO:01)TKAF0667001E | 600 MM,EN_01)TEEKAY AXIFLEX,PN10 BAR,STAINLESS STEEL 304,01)OD 667 MM, 210 MM W, 1, EPD,01)JWALKER,01)TKAF0667001E |  |  | JWALKER | JWALKER | TKAF0667001E | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 40172607 Stainless steel pipe coupling | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 600 MM | END CONNECTION | TEEKAY AXIFLEX | PRESSURE RATING | PN 10 | MATERIAL | 304 STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SEAL:EPDM RUBBER,SIZE:667 ODX210 WD MM,1 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1386460 | 1386460 | EA | COUPLING,PIPE;NOM 63 MM,ELECTROFUSION |  |  | COUPLING,PIPE;NOMINAL SIZE:63 MM,END CONNECTION:ELECTROFUSION,ADDITIONAL FEATURES EN:SDR11 39.5 VOLT,MNFR:01)ADVPIPE,PTNO:01) 3963S | 63 MM,EN_01)ELECTROFUSION,01)SDR11 39.5 VOLT,01)ADVPIPE,01)3963S |  |  | ADVPIPE | ADVPIPE | 3963S | [5 empty] | https://www.advancedpiping.com.au/products/39-5v-electrofusion-sockets/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | SOCKET | NOMINAL SIZE | 63 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | PN 16 | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD DIMENSION RATIO:11,VOLTAGE:39.5V | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1385812 | 1385812 | EA | COUPLING,PIPE;NOM 63 MM,ELECTROFUSION |  |  | COUPLING,PIPE;NOMINAL SIZE:63 MM,END CONNECTION:ELECTROFUSION,ADDITIONAL FEATURES EN:SDR 11 QUOTE: 948548 PRICE AS PE QUOTE,MNFR: 01)VINIDEX PTY LTD,PTNO:01)88406 | 63 MM,EN_01)ELECTROFUSION,01)SDR 11 QUOTE: 948548 PRICE,01)VINIDEX PTY LTD,01)88406 |  |  | VINIDEX PTY LTD | VINIDEX PTY LTD | 88406 | [5 empty] | https://www.vinidex.com.au/products/pe-systems/fittings-for-pe-pipe/friatec-electrofusion-fittings/coupler/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 63 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | WATER PN 16,GAS PN 10 | MATERIAL | PE100 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | QUOTE: 948548 PRICE AS PE QUOTE,STANDARD DIMENSION RATIO:11 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1292260 | 1292260 | EA | COUPLING,PIPE;NOM NB 110,ELECTROFUSION |  |  | COUPLING,PIPE;NOMINAL SIZE:NB 110,END CONNECTION:ELECTROFUSION,ADDITIONAL FEATURES EN:COMPRISING: 1 OF SF11012-V1 OF BU11001-8, TO BE,S ONE UNIT, CLASS 12,MNFR:01)ONESTEEL,PTNO:01)XFPL-FLA-110-4/XFPL-JPP-110 | NB 110,EN_01)ELECTROFUSION,01)COMPRISING: 1 OF SF11012-V1,02)S ONE UNIT, CLASS 12,01)ONESTEEL,01)XFPL-FLA-110-4/XFPL-JPP-110 |  |  | ONESTEEL | ONESTEEL | XFPL-FLA-110-4/XFPL-JPP-110 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | NB 110 | END CONNECTION | ELECTROFUSION | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPRISING:1 OF SF11012-V1 OF BU11001-8,TO BE,S ONE UNIT,CLASS 12 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1292258 | 1292258 | EA | COUPLING,PIPE;NOM NB 200 |  |  | COUPLING,PIPE;NOMINAL SIZE:NB 200,ADDITIONAL FEATURES EN:GIBAULT, FULLY ASSEMBLED, LESS RUBBER RINGS,MNFR:01)ONESTEEL,PTNO:01)CFU- GSS-200 | NB 200,01)GIBAULT, FULLY ASSEMBLED, L,01)ONESTEEL,01)CFU-GSS-200 |  |  | ONESTEEL | ONESTEEL | CFU- GSS-200 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | NB 200 | END CONNECTION |  | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GIBAULT,FULLY ASSEMBLED,LESS RUBBER RINGS | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1347501 | 1347501 | EA | COUPLING,PIPE;NOM NB 200,ELECTROFUSION |  |  | COUPLING,PIPE;NOMINAL SIZE:NB 200,END CONNECTION:ELECTROFUSION,MATERIAL:PP,ADDITIONAL FEATURES EN:CLASS 12,MNFR:01)ONESTEEL,PTNO: 01)XFPL-JPP-200 | NB 200,EN_01)ELECTROFUSION,PP,01)CLASS 12,01)ONESTEEL,01)XFPL-JPP-200 |  |  | ONESTEEL | ONESTEEL | XFPL-JPP-200 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | NB 200 | END CONNECTION | ELECTROFUSION | PRESSURE RATING |  | MATERIAL | PP | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CLASS 12 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1286345 | 1286345 | EA | COUPLING,PIPE;QUICK RELEASE LEVER |  |  | COUPLING,PIPE;TYPE:QUICK RELEASE LEVER,NOMINAL SIZE:NB 50,END CONNECTION:SHOULDERED END,PRESSURE RATING:2.4 MPA,MATERIAL: STAINLESS STEEL 316,COATING/FINISH:LOCKING PIN ZINC PLATED,ADDITIONAL FEATURES EN:OD 60.3 MM, BUNA-N SEAL,MNFR:01)MINSUP,PTNO:01) 08/048/19/000SS | EN_01)QUICK RELEASE LEVER,NB 50,EN_01)SHOULDERED END,2.4 MPA,STAINLESS STEEL 316,LOCKING PIN ZINC PLATED,01)OD 60.3 MM, BUNA-N SEAL,01)MINSUP,01)08/048/19/000SS |  |  | MINSUP | MINSUP | 08/048/19/000SS | DIXON |  |  |  |  | https://australia.dixonvalve.com/en/products/minsupr-shouldered-quick-release-coupling/0804819000ss | [10 empty] | ENRICHED | 40172607 Stainless steel pipe coupling | COUPLING | PIPE | TYPE | QUICK RELEASE LEVER | NOMINAL SIZE | 50 MM | END CONNECTION | SHOULDERED | PRESSURE RATING | 2.1 MPA | MATERIAL | 316 STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | ZINC PLATED CARBON STEEL (LOCKING PIN) | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SEAL:BUNA-N,SIZE:60.3 MM OD | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1386177 | 1386177 | EA | COUPLING,PIPE;SCKT,NOM 1 IN,11 BSP |  |  | COUPLING,PIPE;TYPE:SOCKET,NOMINAL SIZE:1 IN,END CONNECTION:11 BSP,MNFR:01)ADVANCED PIPING SYSTEMS PTY LTD,PTNO:01)TS25 | EN_01)SOCKET,1 IN,EN_01)11 BSP,01)ADVANCED PIPING SYSTEMS PTY,01)TS25 |  |  | ADVANCED PIPING SYSTEMS PTY LTD | ADVANCED PIPING SYSTEMS PTY LTD | TS25 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | SOCKET | NOMINAL SIZE | 1 IN | END CONNECTION | 11 BSP | PRESSURE RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1385737 | 1385737 | EA | COUPLING,PIPE;SCKT,NOM 160 MM |  |  | COUPLING,PIPE;TYPE:SOCKET,NOMINAL SIZE:160 MM,END CONNECTION:ELECTROFUSION,ADDITIONAL FEATURES EN:SDR11 39.5 VOLT,MNFR:01) ADVANCED PIPING SYSTEMS PTY LTD,PTNO:01)39160S | EN_01)SOCKET,160 MM,EN_01)ELECTROFUSION,01)SDR11 39.5 VOLT,01)ADVANCED PIPING SYSTEMS PTY,01)39160S |  |  | ADVANCED PIPING SYSTEMS PTY LTD | ADVANCED PIPING SYSTEMS PTY LTD | 39160S | [5 empty] | https://www.advancedpiping.com.au/products/39-5v-electrofusion-sockets/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | SOCKET | NOMINAL SIZE | 160 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | PN 16 | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD DIMENSION RATIO:11,VOLTAGE:39.5V | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1385877 | 1385877 | EA | COUPLING,PIPE;SCKT,NOM 200 MM |  |  | COUPLING,PIPE;TYPE:SOCKET,NOMINAL SIZE:200 MM,END CONNECTION:ELECTROFUSION,ADDITIONAL FEATURES EN:SDR11, VOLTAGE RATING: 39.5 V, MNFR:01)ADVPIPE,PTNO:01)39200S | EN_01)SOCKET,200 MM,EN_01)ELECTROFUSION,01)SDR11, VOLTAGE RATING: 39.5,01)ADVPIPE,01)39200S |  |  | ADVPIPE | ADVPIPE | 39200S | [5 empty] | https://www.advancedpiping.com.au/products/39-5v-electrofusion-sockets/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | SOCKET | NOMINAL SIZE | 200 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | PN 16 | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD DIMENSION RATIO:11,VOLTAGE:39.5 V | [50 empty] | VOLTAGE RATING: 39.5 V | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | URL for Reference only | 1291577 | 1291577 | EA | COUPLING,PIPE;SLIP JOINT,NOM 63 MM,PN 16 |  |  | COUPLING,PIPE;TYPE:SLIP JOINT,NOMINAL SIZE:63 MM,PRESSURE RATING:PN 16,MATERIAL:PP,ADDITIONAL FEATURES EN:COMPRESSION,POLY, DOUBLE LIP SEAL,MNFR:01)GFISCHER,PTNO:01)727906311 | EN_01)SLIP JOINT,63 MM,PN 16,PP,01)COMPRESSION,POLY, DOUBLE LI,01)GFISCHER,01)727906311 |  |  | GFISCHER | GFISCHER | 727906311 | [5 empty] | https://www.acpipes.com.au/uploads/pdf/ACP%20Compressed%20Air%20System%20-%20A3%20Brochure%202010.pdf?phpMyAdmin=5a184116c8b3609e898a73f492ffb715 | [10 empty] | CLEANSED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | SLIP JOINT | NOMINAL SIZE | 63 MM | END CONNECTION |  | PRESSURE RATING | PN 16 | MATERIAL | PP | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPRESSION,POLY,DOUBLE LIP SEAL | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1277559 | 1277559 | EA | COUPLING,QCK CONCT;CAMLOCK CUSTOM |  |  | COUPLING,QUICK CONNECT;END CONNECTION:CAMLOCK CUSTOM,MATERIAL:STAINLESS STEEL,MNFR:01)HAYMANS,PTNO:01)RIA2304000CUSTOM | 01)HAYMANS,01)RIA2304000CUSTOM,CAMLOCK CUSTOM,STAINLESS STEEL |  |  | HAYMANS | HAYMANS | RIA2304000 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE |  | END CONNECTION | CAMLOCK CUSTOM | MATERIAL | STAINLESS STEEL | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1302023 | 1302023 | EA | COUPLING,QCK CONCT;FLUID,TRANSMIN |  |  | COUPLING,QUICK CONNECT;TYPE:FLUID,MNFR:01)TRANSMIN,PTNO:01)R503047 | 01)TRANSMIN,01)R503047,FLUID |  |  | TRANSMIN | TRANSMIN | R503047 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | FLUID | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | Series Match | 1292247 | 1292247 | EA | COUPLING,QCK CONCT;HALF, HYDRAULIC,FNPT |  |  | COUPLING,QUICK CONNECT;TYPE:HALF, HYDRAULIC,NOMINAL SIZE:1/2 IN,END CONNECTION:FNPT,MATERIAL:STEEL,PRESSURE RATING:5000 PSI, ADDITIONAL FEATURES EN:QC,MNFR:01)BRUNING,PTNO:01)SM-501 | 01)BRUNING,01)SM-501,HALF, HYDRAULIC,1/2 IN,FNPT,STEEL,5000 PSI,01)QC |  |  | BRUNING | BRUNING | SM-501 | PARKER |  |  |  |  | https://ph.parker.com/ca/en/product/high-pressure-hydrualic-general-purpose-quick-couplings-sm-series/sm-501-8fp | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF,HYDRAULIC | NOMINAL SIZE | 1/2 IN | END CONNECTION | FNPT | MATERIAL | STEEL | LENGTH |  | PRESSURE RATING | 5000 PSI | TEMPERATURE RATING | -40 TO 250 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1232422 | 1232422 | EA | COUPLING,QCK CONCT;HALF, INLINE,27 BSPT |  |  | COUPLING,QUICK CONNECT;TYPE:HALF, INLINE,NOMINAL SIZE:1/8 IN,END CONNECTION:27 BSPT,ADDITIONAL FEATURES EN:PROTECTIVECAP,MNFR:01) BLKWOODS,PTNO:01)00306782 | 01)BLKWOODS,01)00306782,HALF, INLINE,1/8 IN,27 BSPT,01)PROTECTIVECAP |  |  | BLKWOODS | BLKWOODS | 00306782 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF,INLINE | NOMINAL SIZE | 1/8 IN | END CONNECTION | 27 BSPT | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W PROTECTIVE CAP | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | REVIEW END CONNECTION | 2023-07-21 | 8/4/2023 |  | 1292246 | 1292246 | EA | COUPLING,QCK CONCT;HALF,NOM 1/2 IN,FNPT |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:1/2 IN,END CONNECTION:FNPT,MATERIAL:STAINLESS STEEL 316,PRESSURE RATING:2000 PSI, TEMPERATURE RATING:-15 TO 400 DEG F,ADDITIONAL FEATURES EN:QC BARB F.NPSM,MNFR:01)BRUNING,PTNO:01)S-502 | 01)BRUNING,01)S-502,HALF,1/2 IN,FNPT,STAINLESS STEEL 316,2000 PSI,-15 TO 400 DEG F,01)QC BARB F.NPSM |  |  | BRUNING | BRUNING | S-502 | PARKER |  |  |  |  | https://www.asap-amspares.com/rfq/parker-hannifin-corp/s-502/ | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 1/2 IN | END CONNECTION | BARB FNPT X FEMALE NPSM | MATERIAL | 316 STAINLESS STEEL | LENGTH |  | PRESSURE RATING | 2000 PSI | TEMPERATURE RATING | -15 TO 400 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1291570 | 1291570 | EA | COUPLING,QCK CONCT;HALF,NOM 1/2 IN,REXN |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:1/2 IN,END CONNECTION:14FBSPT,ADDITIONAL FEATURES EN:(BARB),VICKERS RUWOLT,MNFR:01) REXNORD,PTNO:01)1028-1102 | 01)REXNORD,01)1028-1102,HALF,1/2 IN,14FBSPT,01)(BARB),VICKERS RUWOLT |  |  | REXNORD | REXNORD | 1028-1102 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 1/2 IN | END CONNECTION | 14 FBSPT X BARB | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VICKERS RUWOLT | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | SERies Match | 1291568 | 1291568 | EA | COUPLING,QCK CONCT;HALF,NOM 1/4 IN |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:1/4 IN,END CONNECTION:BARBED,ADDITIONAL FEATURES EN:DOUBLE END SHUT-OFF TYPE OD HOSE,MNFR:01)IMPEAST,PTNO:01)294-PMB(1/4") | 01)IMPEAST,01)294-PMB(1/4"),HALF,1/4 IN,BARBED,01)DOUBLE END SHUT-OFF TYPE OD |  |  | IMPEAST | IMPEAST | 294-PMB(1/4") | [5 empty] | https://www.dgfg.nl/wp-content/uploads/2018/02/Imperial-Eastman-Kwik-Connect-Inches-specsheet.pdf | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 1/4 IN | END CONNECTION | BARBED | MATERIAL | BRASS | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DOUBLE END SHUT-OFF TYPE OD HOSE | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | SERies Match | 1291569 | 1291569 | EA | COUPLING,QCK CONCT;HALF,NOM 1/4 IN,HOSE |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:1/4 IN,END CONNECTION:HOSE,ADDITIONAL FEATURES EN:BODY DOUBLE END SHUT-OFF TYPE OD, MNFR:01)IMPEAST,PTNO:01)294-PB(1/4") | 01)IMPEAST,01)294-PB(1/4"),HALF,1/4 IN,HOSE,01)BODY DOUBLE END SHUT-OFF TY |  |  | IMPEAST | IMPEAST | 294-PB(1/4") | [5 empty] | https://www.dgfg.nl/wp-content/uploads/2018/02/Imperial-Eastman-Kwik-Connect-Inches-specsheet.pdf | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 1/4 IN | END CONNECTION | HOSE | MATERIAL | BRASS | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BODY DOUBLE END SHUT-OFF TYPE OD | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1347433 | 1347433 | EA | COUPLING,QCK CONCT;HALF,NOM 1/4 IN,STEEL |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:1/4 IN,END CONNECTION:18 FNPT,MATERIAL:STEEL,ADDITIONAL FEATURES EN:PROBE,MNFR:01) PARKER,PTNO:01)60B1-04 | 01)PARKER,01)60B1-04,HALF,1/4 IN,18 FNPT,STEEL,01)PROBE |  |  | PARKER | PARKER | 60B1-04 | PIRTEK |  |  |  |  | https://www.pirtek.com.au/-/media/feature/products/section-f-valves--couplings-rev-l--hyperlink.pdf | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 1/4 IN | END CONNECTION | 18 FNPT | MATERIAL | STEEL | LENGTH | 70.5 MM | PRESSURE RATING |  | TEMPERATURE RATING | -20 TO 110 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7241-B | ADDITIONAL FEATURES | PROBE | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1347745 | 1347745 | EA | COUPLING,QCK CONCT;HALF,NOM 1/4 IN,STEEL |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:1/4 IN,END CONNECTION:18FNPT,MATERIAL:STEEL,ADDITIONAL FEATURES EN:HYDRAULIC,MNFR: 01)TERRATEC,PTNO:01)2685-6-04A | 01)TERRATEC,01)2685-6-04A,HALF,1/4 IN,18FNPT,STEEL,01)HYDRAULIC |  |  | TERRATEC | TERRATEC | 2685-6-04A | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF,HYDRAULIC | NOMINAL SIZE | 1/4 IN | END CONNECTION | 18 FNPT | MATERIAL | STEEL | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1319041 | 1319041 | EA | COUPLING,QCK CONCT;HALF,NOM 150 MM |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:150 MM,END CONNECTION:CAMLOCK X HOSETAIL,MATERIAL:STAINLESS STEEL 316,MNFR:01) POWELL,PTNO:01)156/150SS | 01)POWELL,01)156/150SS,HALF,150 MM,CAMLOCK X HOSETAIL,STAINLESS STEEL 316 |  |  | POWELL | POWELL | 156/150SS | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 150 MM | END CONNECTION | CAMLOCK X HOSETAIL | MATERIAL | 316 STAINLESS STEEL | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1318796 | 1318796 | EA | COUPLING,QCK CONCT;HALF,NOM 150 MM |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:150 MM,END CONNECTION:CAMLOCK FEMALE X HOSETAIL,MATERIAL:STAINLESS STEEL 316,MNFR: 01)POWELL,PTNO:01)154/150SS | 01)POWELL,01)154/150SS,HALF,150 MM,CAMLOCK FEMALE X HOSETAIL,STAINLESS STEEL 316 |  |  | POWELL | POWELL | 154/150SS | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 150 MM | END CONNECTION | CAMLOCK FEMALE X HOSETAIL | MATERIAL | 316 STAINLESS STEEL | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1292072 | 1292072 | EA | COUPLING,QCK CONCT;HALF,NOM 3/4 IN |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:3/4 IN,MNFR:01)LONGYEAR,PTNO:01)3002520 | 01)LONGYEAR,01)3002520,HALF,3/4 IN |  |  | LONGYEAR | LONGYEAR | 3002520 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 3/4 IN | END CONNECTION |  | MATERIAL |  | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1349970 | 1349970 | EA | COUPLING,QCK CONCT;HALF,NOM 3/4 IN,AU |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:3/4 IN,END CONNECTION:14FBSPP,MATERIAL:IRON HARDENED,ADDITIONAL FEATURES EN:GOLD, MNFR:01)MINSUP,PTNO:01)01/51 | 01)MINSUP,01)01/51,HALF,3/4 IN,14FBSPP,IRON HARDENED,01)GOLD |  |  | MINSUP | MINSUP | 01/51 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 3/4 IN | END CONNECTION | 14 FBSPP | MATERIAL | IRON HARDENED | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FINISH:GOLD | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1291784 | 1291784 | EA | COUPLING,QCK CONCT;HALF,NOM 40 MM |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:40 MM,END CONNECTION:CAMLOCK FEMALE X FBSP,MATERIAL:ALUMINUM,MNFR:01)KAMLOK,PTNO:01) 633D-40A | 01)KAMLOK,01)633D-40A,HALF,40 MM,CAMLOCK FEMALE X FBSP,ALUMINUM |  |  | KAMLOK | KAMLOK | 633D-40A | [5 empty] | https://www.opwglobal.com/docs/libraries/sales-literature/chemical-industrial/opw-fluid-transfer-group-europe/brochures/kamlok-autolok-quick-coupler-systems-brochure.pdf?sfvrsn=3c22aac4_6 | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 40 MM | END CONNECTION | CAMLOCK FEMALE X FBSP | MATERIAL | ALUMINUM | LENGTH |  | PRESSURE RATING | 10 BAR | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1291783 | 1291783 | EA | COUPLING,QCK CONCT;HALF,NOM 50 MM |  |  | COUPLING,QUICK CONNECT;TYPE:HALF,NOMINAL SIZE:50 MM,END CONNECTION:CAMLOCK FEMALE X FBSP,MATERIAL:ALUMINUM,MNFR:01)KAMLOK,PTNO:01) 633D-50A | 01)KAMLOK,01)633D-50A,HALF,50 MM,CAMLOCK FEMALE X FBSP,ALUMINUM |  |  | KAMLOK | KAMLOK | 633D-50A | [5 empty] | https://www.opwglobal.com/docs/libraries/sales-literature/chemical-industrial/opw-fluid-transfer-group-europe/brochures/kamlok-autolok-quick-coupler-systems-brochure.pdf?sfvrsn=3c22aac4_6 | [10 empty] | ENRICHED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF | NOMINAL SIZE | 50 MM | END CONNECTION | CAMLOCK FEMALE X FBSP | MATERIAL | ALUMINUM | LENGTH |  | PRESSURE RATING | 10 BAR | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1292066 | 1292066 | EA | COUPLING,QCK CONCT;NIPPLE, HALF,14FNPT |  |  | COUPLING,QUICK CONNECT;TYPE:NIPPLE, HALF,NOMINAL SIZE:3/4 IN,END CONNECTION:14FNPT,MATERIAL:STEEL,PRESSURE RATING:2500 PSI, ADDITIONAL FEATURES EN:BODY,MNFR:01)TERRATEC,PTNO:01)2790-6-12A | 01)TERRATEC,01)2790-6-12A,NIPPLE, HALF,3/4 IN,14FNPT,STEEL,2500 PSI,01)BODY |  |  | TERRATEC | TERRATEC | 2790-6-12A | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163000 Couplings | COUPLING | QUICK CONNECT | TYPE | HALF,NIPPLE | NOMINAL SIZE | 3/4 IN | END CONNECTION | 14 FNPT | MATERIAL | STEEL | LENGTH |  | PRESSURE RATING | 2500 PSI | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BODY | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | Processed based on Websource, Conflict w.r.t Input | 1282996 | 1282996 | EA | COUPLING,SHFT;ETMRIC,4460 NM,2000 R/MIN |  |  | COUPLING,SHAFT;TYPE:ELASTOMERIC,TORQUE RATING:4460 NM,SPEED RATING:2000 R/MIN,HUB MATERIAL:PU,MNFR:01)APPLIED INDUSTRIAL TECHNOLOGIES,PTNO:01)E80M-ELEMENT | EN_01)ELASTOMERIC,4460 NM,2000 R/MIN,EN_01)PU,01)APPLIED INDUSTRIAL TECHNOLO,01)E80M-ELEMENT |  |  | APPLIED INDUSTRIAL TECHNOLOGIES | APPLIED INDUSTRIAL TECHNOLOGIES | E80M-ELEMENT | REXNORD |  |  |  |  | https://www.rexnord.com/products/couplings/elastomeric-coupling-parts-and-kits/elements-flexible/omega-close-coupled-elastomeric-elements/7300060m | [10 empty] | ENRICHED | 31163001 Elastomeric couplings | ELEMENT | COUPLING | TYPE | ELASTOMERIC SHAFT COUPLING | COUPLING SIZE | E80M | MATERIAL | URETHANE | SPEED RATING | 2000 RPM | TORQUE RATING | 4463 NM | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HUB MATERIAL:PU | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1302501 | 1302501 | EA | COUPLING,SHFT;EXCTR, RIGID,HONERT |  |  | COUPLING,SHAFT;,EXCITER, RIGID,MNFR:01)HONERT,PTNO:01)R3C13945 | EN_01)EXCITER, RIGID,01)HONERT,01)R3C13945 |  |  | HONERT | HONERT | R3C13945 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT | TYPE | EXCITER,RIGID | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1302502 | 1302502 | EA | COUPLING,SHFT;MOT, RIGID,YASKAW,HONERT |  |  | COUPLING,SHAFT;MOTOR, RIGID,ADDITIONAL FEATURES EN:YASKAW,MNFR:01)HONERT,PTNO:01)R3C13950 | EN_01)MOTOR, RIGID,01)YASKAW,01)HONERT,01)R3C13950 |  |  | HONERT | HONERT | R3C13950 |  | YASKAW |  |  |  | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT | TYPE | MOTOR,RIGID | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | YASKAW | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1291192 | 1291192 | EA | COUPLING,SHFT;RGD |  |  | COUPLING,SHAFT;TYPE:RIGID,MNFR:01)DEUTZ,PTNO:01)0337-0321 | EN_01)RIGID,01)DEUTZ,01)0337-0321 |  |  | DEUTZ | DEUTZ | 0337-0321 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT | TYPE | RIGID | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1318980 | 1318980 | EA | COUPLING,SHFT;RGD, JOINER |  |  | COUPLING,SHAFT;TYPE:RIGID, JOINER,MNFR:01)UNIDRIVE,PTNO:01)1090SV | EN_01)RIGID, JOINER,01)UNIDRIVE,01)1090SV |  |  | UNIDRIVE | UNIDRIVE | 1090SV | [5 empty] | http://www.sechan.co.kr/index.php?mid=pds&search_target=tag&search_keyword=%EC%84%B8%EC%B0%AC%EC%B9%B4%ED%94%8C%EB%A7%81&l=en&m=0&document_srl=1573&ckattempt=1 | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT | TYPE | GRID,RIGID,JOINER | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1294927 | 1294927 | EA | COUPLING,SHFT;RGD,63 MM,PE 100 BLACK |  |  | COUPLING,SHAFT;TYPE:RIGID,BORE SIZE:63 MM,HUB MATERIAL:PE 100 BLACK,ADDITIONAL FEATURES EN:ELECTRO FUSION,MNFR:01)ADVPOLY,PTNO:01) EFC 63 | EN_01)RIGID,EN_01)63 MM,EN_01)PE 100 BLACK,01)ELECTRO FUSION,01)ADVPOLY,01)EFC 63 |  |  | ADVPOLY | ADVPOLY | EFC 63 | [5 empty] | https://www.fusionqld.com.au/product/electrofusion-coupler/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | RIGID,SHAFT | NOMINAL SIZE | 63 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | WATER PN 16,GAS PN 10 | MATERIAL | PE100 BLACK | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 4129 | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1286176 | 1286176 | EA | COUPLING,SHFT;RGD,90 MM,PE 100 BLACK |  |  | COUPLING,SHAFT;TYPE:RIGID,BORE SIZE:90 MM,HUB MATERIAL:PE 100 BLACK,ADDITIONAL FEATURES EN:ELECTRO FUSION COUPLER,MNFR:01)ADVPOLY, PTNO:01)EFC 90 | EN_01)RIGID,EN_01)90 MM,EN_01)PE 100 BLACK,01)ELECTRO FUSION COUPLER,01)ADVPOLY,01)EFC 90 |  |  | ADVPOLY | ADVPOLY | EFC 90 | [5 empty] | https://www.fusionqld.com.au/product/electrofusion-coupler/ | [10 empty] | ENRICHED | 40172600 Pipe couplings | COUPLING | PIPE | TYPE | RIGID,SHAFT | NOMINAL SIZE | 90 MM | END CONNECTION | ELECTROFUSION | PRESSURE RATING | WATER PN 16,GAS PN 10 | MATERIAL | PE100 BLACK | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 4129 | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1302531 | 1302531 | EA | COUPLING,SHFT;RGD,LIGHTNIN,A29139 |  |  | COUPLING,SHAFT;TYPE:RIGID,MNFR:01)LIGHTNIN,PTNO:01)A29139,MNFR:02)LIGHTNIN,PTNO:02)LIGHTNIN 792Q100 | EN_01)RIGID,01)LIGHTNIN,02)LIGHTNIN,01)A29139,02)LIGHTNIN 792Q100 |  |  | LIGHTNIN | LIGHTNIN | A29139 |  | LIGHTNIN | 792Q100 |  |  | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT | TYPE | RIGID | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1294549 | 1294549 | EA | COUPLING,SHFT FLEX;24/28 DI,ROTEX |  |  | COUPLING,SHAFT FLEXIBLE;ADDITIONAL FEATURES EN:24/28 DI,MNFR:01)ROTEX,PTNO:01)24/28DIA22,22-3/16"/DIA28 | 01)24/28 DI,01)ROTEX,01)24/28DIA22,22-3/16"/DIA28 |  |  | ROTEX | ROTEX | 24/28DIA22,22-3/16"/DIA28 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE | 24/28 MM | LENGTH | 22-3/16 IN | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1288912 | 1288912 | EA | COUPLING,SHFT FLEX;ASSY |  |  | COUPLING,SHAFT FLEXIBLE;ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)LIGHTNIN,PTNO:01)202365PSP | 01)ASSEMBLY,01)LIGHTNIN,01)202365PSP |  |  | LIGHTNIN | LIGHTNIN | 202365PSP | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1302375 | 1302375 | EA | COUPLING,SHFT FLEX;BIPEX |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:BIPEX,ADDITIONAL FEATURES EN:180,BWT,FLANGE F AND FLANGE H2517 TAPERLOCK BUS,MNFR:01)APPINDUS,PTNO: 01)HRC180FH | EN_01)BIPEX,01)180,BWT,FLANGE F AND FLANGE,01)APPINDUS,01)HRC180FH |  |  | APPLIED INDUSTRIAL TECHNOLOGIES | APPLIED INDUSTRIAL TECHNOLOGIES | HRC180FH | [5 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/06/HRC-PB-Couplings-241-242.pdf | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | BIPEX | BORE SIZE | 16 TO 65 MM | LENGTH | 180 MM | TORQUE RATING | 950 NM | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BUSH SIZE:2517,BUSH TYPE:TAPERLOCK,BWT,FLANGE TYPE:F AND H | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | BORE SIZE AND LENGTH Conflict w.r.t Input Updated based on Websource | 1302056 | 1302056 | EA | COUPLING,SHFT FLEX;CONE RING,171 MM,SKF |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:CONE RING,BORE SIZE:171 MM,LENGTH:128 MM,ADDITIONAL FEATURES EN:T/LOCK,6-PIN,(1615 TLB-NOT INCLUDED), MNFR:01)SKF,PTNO:01)MCT048 | EN_01)CONE RING,171 MM,EN_01)128 MM,01)T/LOCK,6-PIN,(1615 TLB-NOT,01)SKF,01)MCT048 |  |  | SKF | SKF | MCT048 | [5 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/06/Pin-Bush-.-Rigid-Couplings-251.pdf | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | CONE RING,TAPERLOCK | BORE SIZE | 42 TO 50 MM | LENGTH | 76 MM | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PINS:6,1615 TLB-NOT INCLUDED | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | URL for Reference only | 1233278 | 1233278 | EA | COUPLING,SHFT FLEX;CV,MODMOTOR |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:CV,MNFR:01)MODMOTOR,PTNO:01)0504AA0020N | EN_01)CV,01)MODMOTOR,01)0504AA0020N |  |  | MODMOTOR | MODMOTOR | 0504AA0020N | [5 empty] | https://www.madein4x4.fr/image/data/Fichiers/PiecesGoaGlxNEF2.6TM4BDCONLINE.pdf | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | CV | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | URL for Reference only | 1233279 | 1233279 | EA | COUPLING,SHFT FLEX;CV,MODMOTOR |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:CV,MNFR:01)MODMOTOR,PTNO:01)0504AA0030N | EN_01)CV,01)MODMOTOR,01)0504AA0030N |  |  | MODMOTOR | MODMOTOR | 0504AA0030N | [5 empty] | https://www.madein4x4.fr/image/data/Fichiers/PiecesGoaGlxNEF2.6TM4BDCONLINE.pdf | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | CV | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | URL for Reference only | 1294597 | 1294597 | EA | COUPLING,SHFT FLEX;D=38/28,H7,KIILAURAT |  |  | COUPLING,SHAFT FLEXIBLE;ADDITIONAL FEATURES EN:D=38/28,H7,KIILAURAT 6885 GG25,MNFR:01)ROTEX,PTNO:01)42-GG-92SH | 01)D=38/28,H7,KIILAURAT 6885 G,01)ROTEX,01)42-GG-92SH |  |  | ROTEX | ROTEX | 42-GG-92SH | [5 empty] | https://www.alas-kuul.ee/en/sidurid/sidurid/rotex-sidurid/rotex-42-sidurid | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE | 38/28 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | H7,KIILAURAT 6885 GG25 | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1348501 | 1348501 | EA | COUPLING,SHFT FLEX;DOUBLE ENGAGEMENT |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:DOUBLE ENGAGEMENT,BORE SIZE:50-148 MM,ADDITIONAL FEATURES EN:PILOT BORED (SET = 2 HALVES),MNFR:01) DBGI,PTNO:01)MGD150 | EN_01)DOUBLE ENGAGEMENT,50-148 MM,01)PILOT BORED (SET = 2 HALVES,01)DBGI,01)MGD150 |  |  | DBGI | DBGI | MGD150 | [5 empty] | https://www.ptlinksales.com.au/cone-ring-gear-power-couplings/ | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | DOUBLE ENGAGEMENT,GEAR | BORE SIZE | 50 TO 148 MM | LENGTH | 277 MM | TORQUE RATING | 28.5 KNM | SPEED RATING | 3000 RPM | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PILOT BORED,SET=2 HALVES | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | Processed based on Websource, Conflict w.r.t Input | 1294499 | 1294499 | EA | COUPLING,SHFT FLEX;FLOTING,MITSUMI |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:FLOATING,MNFR:01)MITSUMI,PTNO:01)FJR14-1.5-9 | EN_01)FLOATING,01)MITSUMI,01)FJR14-1.5-9 |  |  | MITSUMI | MITSUMI | FJR14-1.5-9 | [5 empty] | https://in.misumi-ec.com/pdf/fa/2012/p2_1429_001.pdf | https://in.misumi-ec.com/vona2/detail/110302601140/?HissuCode=FJR14-1.5-12# | [9 empty] | ENRICHED | 31162416 Connecting or coupling pins | JOINT | NO MODIFIER | TYPE | FLOATING | SIZE | 1.5 MM | MATERIAL | S45C STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SHAFT FLEXIBLE COUPLING | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | Processed based on Websource, Conflict w.r.t Input | 1294603 | 1294603 | EA | COUPLING,SHFT FLEX;FLOTING,MITSUMI |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:FLOATING,MNFR:01)MITSUMI,PTNO:01)FJR12-1.25-9 | EN_01)FLOATING,01)MITSUMI,01)FJR12-1.25-9 |  |  | MITSUMI | MITSUMI | FJR12-1.25-9 | [5 empty] | https://in.misumi-ec.com/pdf/fa/2012/p2_1429_001.pdf | [10 empty] | ENRICHED | 31162416 Connecting or coupling pins | JOINT | NO MODIFIER | TYPE | FLOATING | SIZE | 1.25 MM | MATERIAL | S45C STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SHAFT FLEXIBLE COUPLING | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1286256 | 1286256 | EA | COUPLING,SHFT FLEX;GRID |  |  | COUPLING,SHAFT FLEXIBLE;TYPE:GRID,ADDITIONAL FEATURES EN:ELEMENT, SUIT 1150T31,1 PER FAN,KJ76 VENT FANS,MNFR:01)AIRENG,PTNO:01) 05187-COUPLINGELEMENT | EN_01)GRID,01)ELEMENT, SUIT 1150T31,1 PER,01)AIRENG,01)05187-COUPLINGELEMENT |  |  | AIRENG | AIRENG | 05187-COUPLINGELEMENT | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | GRID | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELEMENT,FOR KJ76 VENT FANS,1 PER FAN,SUIT 1150T31 | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1349583 | 1349583 | EA | COUPLING,SHFT FLEX;UNIVSL, 7-IN CENTRE S |  |  | COUPLING,SHAFT FLEXIBLE;ADDITIONAL FEATURES EN:UNIVERSAL, 7-IN CENTRE SECTION7-IN O.D,MNFR:01)SILNTBLC,PTNO:01)UCC-70 | 01)UNIVERSAL, 7-IN CENTRE SECT,01)SILNTBLC,01)UCC-70 |  |  | SILNTBLC | SILNTBLC | UCC-70 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UNIVERSAL,CENTRE SECTION 7 IN OD | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1349584 | 1349584 | EA | COUPLING,SHFT FLEX;UNIVSL, 8-IN CENTRE S |  |  | COUPLING,SHAFT FLEXIBLE;ADDITIONAL FEATURES EN:UNIVERSAL, 8-IN CENTRE SECTION8-IN O.D,MNFR:01)SILNTBLC,PTNO:01)FC-2480 | 01)UNIVERSAL, 8-IN CENTRE SECT,01)SILNTBLC,01)FC-2480 |  |  | SILNTBLC | SILNTBLC | FC-2480 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UNIVERSAL,CENTRE SECTION 8 IN O.D | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1290701 | 1290701 | EA | COUPLING,SHFT HLF;(SIDE OF ENGINE) FOR 3 |  |  | COUPLING,SHAFT HALF;ADDITIONAL FEATURES EN:(SIDE OF ENGINE) FOR 378999,MNFR:01)ALIMAK,PTNO:01)279000 | 01)(SIDE OF ENGINE) FOR 378999,01)ALIMAK,01)279000 |  |  | ALIMAK | ALIMAK | 279000 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | (SIDE OF ENGINE) FOR 378999 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | URL for Reference only | 1290700 | 1290700 | EA | COUPLING,SHFT HLF;(SIDE OF GEAR) FOR 378 |  |  | COUPLING,SHAFT HALF;ADDITIONAL FEATURES EN:(SIDE OF GEAR) FOR 378999,MNFR:01)ALIMAK,PTNO:01)377350 | 01)(SIDE OF GEAR) FOR 378999,01)ALIMAK,01)377350 |  |  | ALIMAK | ALIMAK | 377350 | [5 empty] | https://www.metabo-hpt.com/docs/default-source/metabo-hpt-product-parts-lists/gp18da_bd.pdf?sfvrsn=327af166_0 | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL | CAST IRON | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | (SIDE OF GEAR) FOR 378999 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1237928 | 1237928 | EA | COUPLING,SHFT HLF;19 MM,6 MM |  |  | COUPLING,SHAFT HALF;BORE SIZE:19 MM,KEYWAY SIZE:6 MM,ADDITIONAL FEATURES EN:25-32,LUBE SYSTEM GEARBOX,MNFR:01)LOVEJOY,PTNO:01)L- 095-19MM/6MM | 19 MM,6 MM,01)25-32,LUBE SYSTEM GEARBOX,01)LOVEJOY,01)L-095-19MM/6MM |  |  | LOVEJOY | LOVEJOY | L-095-19MM/6MM | MASTER DRIVE INC |  |  |  |  | https://www.neobits.com/masterdrive_l095_19mm_cast_iron_jaw_coupling_hub_p17644745.html | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | JAW | BORE SIZE | 19 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL | CAST IRON | KEYWAY SIZE | 6X2.8 MM | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 25-32,LUBE SYSTEM GEARBOX | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | BORE SIZE AND KEYWAY SIZE Conflict w.r.t Input Updated based on Websource | 1345115 | 1345115 | EA | COUPLING,SHFT HLF;3/4 IN,4.76 MM |  |  | COUPLING,SHAFT HALF;BORE SIZE:3/4 IN,KEYWAY SIZE:4.76 MM,ADDITIONAL FEATURES EN:25-32,LUBE SYSTEM GEARBOX,MNFR:01)LOVEJOY,PTNO:01) L-095-19MM/6MM-MODIFIED | 3/4 IN,4.76 MM,01)25-32,LUBE SYSTEM GEARBOX,01)LOVEJOY,01)L-095-19MM/6MM-MODIFIED |  |  | LOVEJOY | LOVEJOY | L-095-19MM/6MM | MASTER DRIVE INC |  |  |  |  | https://www.neobits.com/masterdrive_l095_19mm_cast_iron_jaw_coupling_hub_p17644745.html | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | JAW | BORE SIZE | 19 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE | 6X2.8 MM | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 25-32,LUBE SYSTEM GEARBOX,MODIFIED | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1298298 | 1298298 | EA | COUPLING,SHFT HLF;65 MM,HRC 230, KE |  |  | COUPLING,SHAFT HALF;BORE SIZE:65 MM,ADDITIONAL FEATURES EN:HRC 230, KE,MNFR:01)FENNER,PTNO:01)HRC230-H 65MM | 65 MM,01)HRC 230, KE,01)FENNER,01)HRC230-H 65MM |  |  | FENNER | FENNER | HRC230-H 65MM | [5 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/06/HRC-PB-Couplings-241-242.pdf | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | HALF | BORE SIZE | 65 MM | LENGTH | 225 MM | TORQUE RATING | 2000 NM | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KE | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1348861 | 1348861 | EA | COUPLING,SHFT HLF;F FLANGE,90 MM,7.2 KNM |  |  | COUPLING,SHAFT HALF;TYPE:F FLANGE,BORE SIZE:90 MM,TORQUE RATING:7.2 KNM,SPEED RATING:2200 R/MIN,HUB MATERIAL:CAST IRON GREY,MNFR: 01)SKF,PTNO:01)HRC280F | EN_01)F FLANGE,90 MM,7.2 KNM,2200 R/MIN,CAST IRON GREY,01)SKF,01)HRC280F |  |  | SKF | 01)SKF | HRC280F | [5 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/06/HRC-PB-Couplings-241-242.pdf | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | HALF | BORE SIZE | 90 MM | LENGTH | 275 MM | TORQUE RATING | 3150 NM | SPEED RATING | 2200 RPM | HUB MATERIAL | CAST IRON GREY | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1345349 | 1345349 | EA | COUPLING,SHFT HLF;H FLANGE, TAPER BUSH |  |  | COUPLING,SHAFT HALF;H FLANGE, TAPER BUSH,BORE SIZE:75 MM,ADDITIONAL FEATURES EN:WORM SIDE,MNFR:01)FENNER,PTNO:01)HRC230 H | EN_01)H FLANGE, TAPER BUSH,75 MM,01)WORM SIDE,01)FENNER,01)HRC230 H |  |  | FENNER | FENNER | HRC230 H | [5 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/06/HRC-PB-Couplings-241-242.pdf | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | HALF | BORE SIZE | 75 MM | LENGTH | 225 MM | TORQUE RATING | 2000 NM | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BUSH TYPE:TAPER,FLANGE TYPE:H,WORM SIDE | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1297663 | 1297663 | EA | COUPLING,SHFT HLF;MOT,BERENDSN,LC48M10 |  |  | COUPLING,SHAFT HALF;TYPE:MOTOR,MNFR:01)BERENDSN,PTNO:01)LC48M10 | EN_01)MOTOR,01)BERENDSN,01)LC48M10 |  |  | BERENDSN | BERENDSN | LC48M10 | [5 empty] | https://www.thehydraulicwarehouse.com.au/hydraulic-products/european-4-bolt-mount-18-taper/ | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | MOTOR | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL | ALUMINIUM | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1345363 | 1345363 | EA | COUPLING,SHFT HLF;MOTOR HALF, HY,TKL |  |  | COUPLING,SHAFT HALF;ADDITIONAL FEATURES EN:MOTOR HALF, HY,MNFR:01)TKL,PTNO:01)E16220 | 01)MOTOR HALF, HY,01)TKL,01)E16220 |  |  | TKL | TKL | E16220 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | MOTOR HALF | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HY | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1297662 | 1297662 | EA | COUPLING,SHFT HLF;PMP,GP1,BERENDSN |  |  | COUPLING,SHAFT HALF;TYPE:PUMP,ADDITIONAL FEATURES EN:GP1,MNFR:01)BERENDSN,PTNO:01)LC48TB | EN_01)PUMP,01)GP1,01)BERENDSN,01)LC48TB |  |  | BERENDSN | BERENDSN | LC48TB | [5 empty] | https://www.thehydraulicwarehouse.com.au/hydraulic-products/european-4-bolt-mount-18-taper/ | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | PUMP | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL | ALUMINIUM | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GP1 | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1345365 | 1345365 | EA | COUPLING,SHFT HLF;PMP,TKL,E16210 |  |  | COUPLING,SHAFT HALF;TYPE:PUMP,MNFR:01)TKL,PTNO:01)E16210 | EN_01)PUMP,01)TKL,01)E16210 |  |  | TKL | TKL | E16210 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | PUMP | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1297597 | 1297597 | EA | COUPLING,SHFT HLF;RGD, FEMALE |  |  | COUPLING,SHAFT HALF;TYPE:RIGID, FEMALE,ADDITIONAL FEATURES EN:100MM PULLEYSHAFT, KEEPER PLATE AND CONNECTING,MNFR:01)SEW,PTNO:01) RC290/100-F-B14-007-P01 | EN_01)RIGID, FEMALE,01)100MM PULLEYSHAFT, KEEPER P,01)SEW,01)RC290/100-F-B14-007-P01 |  |  | SEW | SEW | RC290/100-F-B14-007-P01 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | RIGID | BORE SIZE | 100 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION TYPE:FEMALE,PULLEY,INCLUDES KEEPER PLATE AND CONNECTING | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1297598 | 1297598 | EA | COUPLING,SHFT HLF;RGD, FEMALE |  |  | COUPLING,SHAFT HALF;TYPE:RIGID, FEMALE,ADDITIONAL FEATURES EN:90MM SHAFT, KEEPER PLATE AND CONNECTING BOLTS,MNFR:01)SEW,PTNO:01) RC290/90-F-B14-007-P02 | EN_01)RIGID, FEMALE,01)90MM SHAFT, KEEPER PLATE AN,01)SEW,01)RC290/90-F-B14-007-P02 |  |  | SEW | SEW | RC290/90-F-B14-007-P02 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | RIGID | BORE SIZE | 90 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION TYPE:FEMALE,INCLUDES KEEPER PLATE AND CONNECTING BOLTS | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1298207 | 1298207 | EA | COUPLING,SHFT HLF;RGD, FEMALE |  |  | COUPLING,SHAFT HALF;TYPE:RIGID, FEMALE,ADDITIONAL FEATURES EN:110MM SHAFT, KEEPER PLATE AND CONNECTING BOLTS,MNFR:01)SEW,PTNO:01) RC290/110-F-BO7331 REV 1 | EN_01)RIGID, FEMALE,01)110MM SHAFT, KEEPER PLATE A,01)SEW,01)RC290/110-F-BO7331 REV 1 |  |  | SEW | SEW | RC290/110-F-BO7331 | [5 empty] | URL Not Found | [7 empty] | REV 1 |  |  | CLEANSED | 31163013 Shaft coupling | COUPLING | SHAFT HALF | TYPE | RIGID | BORE SIZE | 110 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION TYPE:FEMALE,INCLUDES KEEPER PLATE AND CONNECTING BOLTS | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 | TORQUE RATING Conflict w.r.t Input Updated based on Websource | 1348402 | 1348402 | EA | COUPLING,SHFT HLF;TAPERED BORE,75 MM |  |  | COUPLING,SHAFT HALF;TYPE:TAPERED BORE,BORE SIZE:75 MM,TORQUE RATING:2600 NM,SPEED RATING:2000 R/MIN,HUB MATERIAL:CAST IRON,MNFR: 01)FENNER,PTNO:01)HRC230-F | EN_01)TAPERED BORE,75 MM,2600 NM,2000 R/MIN,CAST IRON,01)FENNER,01)HRC230-F |  |  | FENNER | 01)FENNER | HRC230-F | [5 empty] | https://www.statewidebearings.com.au/wp-content/uploads/2018/06/HRC-PB-Couplings-241-242.pdf | [10 empty] | ENRICHED | 31163013 Shaft coupling | COUPLING | SHAFT FLEXIBLE | TYPE | HALF,TAPERED BORE | BORE SIZE | 75 MM | LENGTH | 225 MM | TORQUE RATING | 2000 NM | SPEED RATING | 2000 RPM | HUB MATERIAL | CAST IRON | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1349756 | 1349756 | EA | DISC;PLAIN, SOLID |  |  | DISC;TYPE:PLAIN, SOLID,MNFR:01)PONGRASS,PTNO:01)1B2138 | PLAIN, SOLID,01)PONGRASS,01)1B2138 |  |  | PONGRASS | PONGRASS | 1B2138 | PROFIPOWER |  |  |  |  | https://multiparts.ee/en/product/ProfiPower/1B2138/ | [10 empty] | ENRICHED | 25171715 Disc brake rotors | DISC | BRAKE | TYPE | PLAIN,SOLID | SIZE | 62 LGX73 HTX15.5 THK MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1349757 | 1349757 | EA | DISC;PLAIN, SOLID |  |  | DISC;TYPE:PLAIN, SOLID,MNFR:01)PONGRASS,PTNO:01)1B2127 | PLAIN, SOLID,01)PONGRASS,01)1B2127 |  |  | PONGRASS | PONGRASS | 1B2127 | PROFIPOWER |  |  |  |  | https://multiparts.ee/en/product/ProfiPower/1B2127/ | [10 empty] | ENRICHED | 25171715 Disc brake rotors | DISC | BRAKE | TYPE | PLAIN,SOLID | SIZE | 99 LGX41 HTX13 THK MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1280098 | 1280098 | EA | DISTRIBUTOR;BLOCK,GAS BEETLE |  |  | DISTRIBUTOR;TYPE:BLOCK,ADDITIONAL FEATURES EN:GAS BEETLE,MNFR:01)WELDERS PRO SHOP,PTNO:01)60031846 | BLOCK,01)GAS BEETLE,01)WELDERS PRO SHOP,01)60031846 |  |  | WELDERS PRO SHOP | WELDERS PRO SHOP | 60031846 | [5 empty] | https://www.atom.com.au/gas-distributor-koike-ik-12-474330-474330 | [10 empty] | ENRICHED | 26101700 Engine components and accessories | DISTRIBUTOR | NO MODIFIER | TYPE | BLOCK,GAS | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAS BEETLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1299742 | 1299742 | EA | DISTRIBUTOR;BODY |  |  | DISTRIBUTOR;TYPE:BODY,ADDITIONAL FEATURES EN:C/W LID, UPGRADED TYPE NO 05/09, REPAIRABLE ITE,MNFR:01)KREBS,PTNO:01)MF1651-1A,B- MIM-A | BODY,01)C/W LID, UPGRADED TYPE NO 0,01)KREBS,01)MF1651-1A,B-MIM-A |  |  | KREBS | KREBS | MF1651-1A,B- MIM-A | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 26101700 Engine components and accessories | DISTRIBUTOR | NO MODIFIER | TYPE | BODY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W LID,UPGRADED TYPE NUMBER:05/09,REPAIRABLE ITE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1345643 | 1345643 | EA | DISTRIBUTOR;BODY,BM04, FEED,KREBS |  |  | DISTRIBUTOR;TYPE:BODY,ADDITIONAL FEATURES EN:BM04, FEED,MNFR:01)KREBS,PTNO:01)RF1026-IB-MIM | BODY,01)BM04, FEED,01)KREBS,01)RF1026-IB-MIM |  |  | KREBS | KREBS | RF1026-IB-MIM | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 26101700 Engine components and accessories | DISTRIBUTOR | NO MODIFIER | TYPE | BODY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BM04,FEED | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1346533 | 1346533 | EA | ELEMENT;RESISTANCE, SECURITY,CROMPARK |  |  | ELEMENT;TYPE:RESISTANCE, SECURITY,ADDITIONAL FEATURES EN:FOR MORISON BEARBY 60T O/H CRANE,MNFR:01)CROMPARK,PTNO:01)240/10D + 240/33C-1;TYPE 5 | RESISTANCE, SECURITY,01)FOR MORISON BEARBY 60T O/H,01)CROMPARK,01)240/10D + 240/33C-1,TYPE 5 |  |  | CROMPARK | CROMPARK | 240/10D + 240/33C-1 | [5 empty] | URL Not Found | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | ELEMENT | NO MODIFIER | TYPE | RESISTANCE,SECURITY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR MORISON BEARBY 60T O/H CRANE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1346534 | 1346534 | EA | ELEMENT;RESISTANCE, SECURITY,CROMPARK |  |  | ELEMENT;TYPE:RESISTANCE, SECURITY,ADDITIONAL FEATURES EN:FOR MORISON BEARBY 60T O/H CRANE,MNFR:01)CROMPARK,PTNO:01)240/10D + 240/33C-1; [TYPE 9],MNFR:02)CROMPARK,PTNO:02)WB33684 | RESISTANCE, SECURITY,01)FOR MORISON BEARBY 60T O/H,01)CROMPARK,02)CROMPARK,01)240/10D + 240/33C-1,02)WB33684,[TYPE |  |  | CROMPARK | CROMPARK | 240/10D + 240/33C-1 |  | CROMPARK | WB33684 |  |  | URL Not Found | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | ELEMENT | NO MODIFIER | TYPE | RESISTANCE,SECURITY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR MORISON BEARBY 60T O/H CRANE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZM | OK | 2023-07-21 | 8/4/2023 |  | 1285128 | 1285128 | EA | ELEMENT;SHIFT |  |  | ELEMENT;TYPE:SHIFT,MNFR:01)HAYMANS ELECTRICAL (PARTS),PTNO:01)MET343433700 | SHIFT,01)HAYMANS ELECTRICAL (PARTS),01)MET343433700 |  |  | HAYMANS ELECTRICAL (PARTS) | HAYMANS ELECTRICAL (PARTS) | MET343433700 | METABO |  |  |  |  | https://www.werkzeugwelt24.de/Metabo-Schaltelement-343433700 | [10 empty] | ENRICHED | 23153100 Industrial machinery components and accessories | ELEMENT | NO MODIFIER | TYPE | SHIFT,SWITCHING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed