## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1353677 | 1353677 | EA | ANALYZER;COMPLT,EMAIL,ES-3791,IMPEAST |  |  | ANALYZER;ADDITIONAL FEATURES EN:COMPLETE,MNFR:01)EMAIL,PTNO:01)ES-3791,MNFR:02)IMPEAST,PTNO:02)453-CB | 01)COMPLETE,01)EMAIL,02)IMPEAST,01)ES-3791,02)453-CB |  |  | IMPEAST | EMAIL | ES-3791 |  | IMPEAST | 453-CB |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 41113100 Gas analyzers and monitors | ANALYZER | No Modifier | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY |  | DISPLAY TYPE |  | INTERFACE TYPE |  | ENCLOSURE TYPE |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1233114 | 1233114 | EA | ANALYZER;LCD,HANDHELD, MODEL: 6PFCE | ANALIZADOR;LCD, MODELO: 6PFCE | ANALYSEUR;LCD | ANALYZER;DISPLAY TYPE:LCD,MOUNTING TYPE:HANDHELD,ADDITIONAL FEATURES EN: TYPE: MULTIPARAMETER, SIZE: 196 X 68 X 64 MM, TEMPERATURE RATING: 0 - 55 DEG C, ENCLOSURE TYPE: IP 67 / NEMA 6, POWER SUPPLY: 9 V ALKALINE BATTERY, MEASURING RANGE: +- 999 MV - ORP / 0 - 14 PH / 0 - 71 DEG C, MEASURING RANGE: 0.00 - 9.99 PPM - FREE CHLORINE, MEASURING RANGE: 0 - 9999 US / CM - CONDUCTIVITY, MNFR: MYRON L COMPANY, MODEL: 6PFCE | LCD,HANDHELD,01) TYPE: MULTIPARAMETER, SIZE: 196 X 68 X 64 MM,02) TEMPERATURE RATING: 0 - 55 DEG C,03) ENCLOSURE TYPE: IP 67 / NEMA 6,04) POWER SUPPLY: 9 V ALKALINE BATTERY,05) MEASURING RANGE: +- 999 MV - ORP / 0 - 14 PH,06) MEASURING RANGE: 0.00 - 9.99 PPM - FREE CHLORI,07) MEASURING RANGE: 0 - 9999 US / CM - CONDUCTIVI,08) MODEL: 6PFCE,09) MNFR: MYRON L COMPANY,01) TIPO: MULTIPARAMETRO, TAMAÑO: 196 X 68 X 64 MM,02) VALOR TEMPERATURA: 0 - 55 DEG C,03) TIPO CAJA: IP 67 / NEMA 6,04) FUENTE ALIMENTACION: 9 V BATERIA ALCALINA,05) RANGO MEDICION: +- 999 MV - ORP / 0 - 14 PH /,06) RANGO MEDICION: 0.00 - 9.99 PPM - CLORO LIBRE,07) MNFR: MYRON L COMPANY,08) MODELO: 6PFCE,09) RANGO MEDICION: 0 - 9999 US / CM - CONDUCTIVID |  |  | MYRON L COMPANY | MYRON L COMPANY | [6 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 41113100 Gas analyzers and monitors | ANALYZER | No Modifier | TYPE |  | MEASURING RANGE | 0 - 9999 US / CM | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY |  | DISPLAY TYPE | LCD | INTERFACE TYPE |  | ENCLOSURE TYPE | IP 67,NEMA 6 | SIZE | 196 X 68 X 64 MM | MOUNTING TYPE |  | TEMPERATURE RATING | 0 - 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TYPE: MULTIPARAMETER,HANDHELD,CONDUCTIVITY,9 V ALKALINE BATTERY | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1387397 | 1387397 | EA | ANALYZER;PWNS,STARTCO SE-330-26-00 |  |  |  |  | STARTCO SE-330-26-00 | 3000439 | POWINS | PWNS STARTCO | SE-330-26-00 |  | LITTELFUSE | SE-330-26-00 |  |  | https://www.littelfuse.com/media?resourcetype=datasheets&itemid=009a3677-fb06-43b5-8ca8-6789e72ea7b7&filename=se-330-datasheet-new-rev | [10 empty] | ENRICHED | 39122335 Relay socket or base | RELAY | SAFETY | TYPE | PROTECTION | COIL VOLTAGE |  | CONTACT VOLTAGE RATING |  | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE |  | MATERIAL |  | FREQUENCY RATING |  | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1279125 | 1279125 | EA | ANALYZER;REAL TIME SIGNAL,USB |  |  | ANALYZER;TYPE:REAL TIME SIGNAL,MEASURING RANGE:9 KHZ TO 6.2 GHZ,INTERFACE TYPE:USB,MNFR:01)VICOM AUSTRALIA PTY,PTNO:01)RSA306B | EN_01)REAL TIME SIGNAL,EN_01)9 KHZ TO 6.2 GHZ,USB,01)VICOM AUSTRALIA PTY,01)RSA306B |  |  | VICOM AUSTRALIA PTY | VICOM AUSTRALIA PTY | RSA306B | [5 empty] | https://d347awuzx0kdse.cloudfront.net/vicomaus/product-download/rsa306b_s.pdf?v=e9209def60c3fd65dbff63284d8c95e9dffa5530 | [10 empty] | ENRICHED | 41113600 Electrical measuring and testing equipment and accessories | ANALYZER | No Modifier | TYPE | REAL TIME SIGNAL | MEASURING RANGE | 9 KHZ TO 6.2 GHZ | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY |  | DISPLAY TYPE |  | INTERFACE TYPE | USB | ENCLOSURE TYPE |  | SIZE | 190.5 WDX32 HTX140 DP MM | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1279444 | 1279444 | EA | ANALYZER;SPECTRUM, HANDHELD,DIGITAL |  |  | ANALYZER;TYPE:SPECTRUM, HANDHELD,DISPLAY TYPE:DIGITAL,SIZE:WD 207 X LG 318 X DP 69 MM,ADDITIONAL FEATURES EN:3.0GHZ,MNFR:01)IPD INDUSTRIAL PRODUCTS,PTNO:01)N9340B | EN_01)SPECTRUM, HANDHELD,DIGITAL,WD 207 X LG 318 X DP 69 MM,01)3.0GHZ,01)IPD INDUSTRIAL PRODUCTS,01)N9340B |  |  | IPD INDUSTRIAL PRODUCTS | IPD INDUSTRIAL PRODUCTS | N9340B | [5 empty] | https://www.keysight.com/us/en/assets/7018-01741/technical-overviews/5989-7847.pdf | [10 empty] | ENRICHED | 41113600 Electrical measuring and testing equipment and accessories | ANALYZER | No Modifier | TYPE | SPECTRUM,HANDHELD | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | POWER SUPPLY | 13 W | DISPLAY TYPE | DIGITAL | INTERFACE TYPE |  | ENCLOSURE TYPE |  | SIZE | 318 LGX207 WDX69 DP MM | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3.0GHZ | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1285883 | 1285883 | EA | BASE,MAGNT;WELDERS SQUARE |  |  | BASE,MAGNETIC;TYPE:WELDERS SQUARE,ADDITIONAL FEATURES EN:STANDARD, REQUIRED FOR 20L ELEC WORKSHOP,MNFR:01)BOC LIMITED,PTNO:01) STWMS | WELDERS SQUARE,01)STANDARD, REQUIRED FOR 20L,01)BOC LIMITED,01)STWMS |  |  | BOC LIMITED | BOC LIMITED | [6 empty] | URL NOT FOUND |  |  | 20L ELECTRICAL WORKSHOP | [7 empty] | CLEANSED | 31162300 Mounting hardware | BASE | MAGNETIC | TYPE |  | PULL CAPACITY |  | LENGTH |  | BASE SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | SWITCH TYPE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD,REQUIRED WELDERS SQUARE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1253843 | 1253843 | EA | BASE,MNTG;350 X 550 X 510,PLP,D-UEC11MGE | BASE MTJE; | EMBAS MONTGE; | BASE,MOUNTING;SIZE:350 X 550 X 510,ADDITIONAL FEATURES EN:PLP,D-UEC11MGE | EN_01)350 X 550 X 510,01)PLP,D-UEC11MGE,01)PREFORMED LINE PRODUCTS,01)D-UEC11MGE,01)PREFORMED LINE PRODUCTS,01)D-UEC11MGE | D-UEC11MGE | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | D-UEC11MGE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | MOUNTING | TYPE |  | SIZE | 350 X 550 X 510 MM | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1298156 | 1298156 | EA | BASE,MNTG;ELEC EQUIP,4 POLE, INSULA |  |  | BASE,MOUNTING;TYPE:ELEC EQUIP,ADDITIONAL FEATURES EN:4 POLE, INSULA,MNFR:01)TERASAKI,PTNO:01)DTPC4 | ELECTRIC EQUIPMENT,01)4 POLE, INSULA,01)TERASAKI,01)DTPC4 |  |  | TERASAKI | TERASAKI | DTPC4 |  | NHP | DTPC4 |  |  | https://shop.cnw.com.au/medias/NHPDTPC4.pdf?context=bWFzdGVyfHJvb3R8ODAxNDI4fGFwcGxpY2F0aW9uL3BkZnxoNTYvaDlmLzk0MzYxNjY3NTAyMzgvTkhQRFRQQzQucGRmfDQwZjVkOTdlMTUwNTdmNDhiY2RmNGExYTgzZGQyMmViZTQ3NzBmODFmMjdiNGFiMDY2MjU1NjA0NzRiNjllNzE |  |  | ELECTRICAL EQUIPMENT | [7 empty] | ENRICHED | 31162300 Mounting hardware | BASE | MOUNTING | TYPE |  | SIZE | 88 WDX139 HTX61 DP MM | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NO OF POLES:4,INSULATION | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1298157 | 1298157 | EA | BASE,MNTG;ELEC EQUIP,4 POLE, INSULA |  |  | BASE,MOUNTING;TYPE:ELEC EQUIP,ADDITIONAL FEATURES EN:4 POLE, INSULA,MNFR:01)TERASAKI,PTNO:01)ILC4S | ELECTRIC EQUIPMENT,01)4 POLE, INSULA,01)TERASAKI,01)ILC4S |  |  | TERASAKI | TERASAKI | ILC4S |  | NHP | ILC4S | BLACKWOODS | 01318983 | https://www.nhp.com.au/-/media/Project/NHP/Sites/Shared/Brochures/Power-Distribution-and-Protection/ConceptPanelboards-BR-002-EN.pdf | https://www.blackwoods.com.au/electrical/power-protection/mcb/nhp-din-t-loadcentre-4-way-din-t-surface-ilc4s/p/01318983 |  | ELECTRICAL EQUIPMENT | [7 empty] | ENRICHED | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | LOADCENTRE ENCLOSURE | SIZE | 90 WDX175 HTX100 DP MM | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NO OF POLES:4,INSULATION | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1298158 | 1298158 | EA | BASE,MNTG;ELEC EQUIP,8 POLE, INSULA |  |  | BASE,MOUNTING;TYPE:ELEC EQUIP,ADDITIONAL FEATURES EN:8 POLE, INSULA,MNFR:01)TERASAKI,PTNO:01)ILC8S | ELECTRIC EQUIPMENT,01)8 POLE, INSULA,01)TERASAKI,01)ILC8S |  |  | TERASAKI | TERASAKI | ILC8S |  | NHP | ILC8S | BLACKWOODS | 01319357 | https://www.nhp.com.au/-/media/Project/NHP/Sites/Shared/Brochures/Power-Distribution-and-Protection/ConceptPanelboards-BR-002-EN.pdf |  |  | ELECTRICAL EQUIPMENT | [7 empty] | ENRICHED | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | LOADCENTRE ENCLOSURE | SIZE | 170 WDX175 HTX120 DP MM | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NO OF POLES:8,INSULATION | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1298980 | 1298980 | EA | BASE,MNTG;ELEC EQUIP,DIN RL, SCRE,NALCO |  |  | BASE,MOUNTING;TYPE:ELEC EQUIP,ADDITIONAL FEATURES EN:DIN RAIL, SCRE,MNFR:01)NALCO,PTNO:01)D-MIS-BB8 | ELECTRIC EQUIPMENT,01)DIN RAIL, SCRE,01)NALCO,01)D-MIS-BB8 |  |  | NALCO | NALCO | D-MIS-BB8 | [5 empty] | URL NOT FOUND |  |  | ELECTRICAL EQUIPMENT | [7 empty] | CLEANSED | 31162300 Mounting hardware | BASE | MOUNTING | TYPE |  | SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIN RAIL,SCREW | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278939 | 1278939 | EA | BASE,MNTG;PLUG IN,11 PIN |  |  | BASE,MOUNTING;TYPE:PLUG IN,ADDITIONAL FEATURES EN:11 PIN,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)NHPZPD11 | PLUG IN,01)11 PIN,01)CNW (MOUNT ISA) ELECT WHOLE,01)NHPZPD11 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | NHPZPD11 |  | NHP | ZPD11 |  |  | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Motor-Control/Relay-Base/PLUG-BASE-SOCKET-11PIN-FOR-RELAY-%26-TIMER/p/NHPZPD11K90 | https://shop.cnw.com.au/medias/NHPZPD11.pdf?context=bWFzdGVyfHJvb3R8NTMzMDI2fGFwcGxpY2F0aW9uL3BkZnxoZWUvaDM1Lzk0MzYxNzU4NTk3NDIvTkhQWlBEMTEucGRmfGY4MTRhMzE3ODE3OTdmMDQyYjRjZmI3NmNiOWUxYzI0ZDAwZDU5MjU1YmViMmFkYjgxYjdmMjViNzAyMzM0YTI |  | CARLO GAVAZZI TIMERS & RELAYS | [7 empty] | ENRICHED | 31162300 Mounting hardware | BASE | MOUNTING | TYPE | PLUG-IN | SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NO OF PINS:11 | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1353312 | 1353312 | EA | BASE;ANTENNA SUPPORT,LARGE CUP,RFINDUS |  |  | BASE;TYPE:ANTENNA SUPPORT,ADDITIONAL FEATURES EN:VHF MOBILE 40MM, NO CABLE MOUNTS ON BRACKET OR ROOF, VHF 22MM HOLE,LARGE CUP, MNFR:01)RFINDUS,PTNO:01)MB12 | EN_01)ANTENNA SUPPORT,01)VHF MOBILE 40MM, NO CABLE M,02)LARGE CUP,01)RFINDUS,01)MB12 |  |  | RFINDUS | RFINDUS | MB12 |  | TWIN INDUSTRIES | MB12 |  |  | https://www.mouser.in/ProductDetail/Twin-Industries/MB-12?qs=3q62CFVeiIqHOl%2FUlhCgsg%3D%3D | https://www.mouser.in/datasheet/2/416/Twin_Industries_MB-12-461794.pdf |  | ANALOG DEVICES LOG DETECTORS | [7 empty] | ENRICHED | 32101510 Printed wire boards | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ANTENNA SUPPORT,VHF MOBILE 40MM, NO CABLE MOUNTS ON BRACKET OR ROOF, VHF 22MM HOLE,LARGE CUP | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1293076 | 1293076 | EA | BASE;ANTENNA SUPPORT,REMCONT,2444 |  |  | BASE;TYPE:ANTENNA SUPPORT,ADDITIONAL FEATURES EN:SPLIT SET MOUNT, UNDERGROUND REMOTE CONTROL,MNFR:01)REMCONT,PTNO:01)2444 | EN_01)ANTENNA SUPPORT,01)SPLIT SET MOUNT, UNDERGROUN,01)REMCONT,01)2444 |  |  | REMCONT | REMCONT | 2444 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ANTENNA SUPPORT,SPLIT SET MOUNT,UNDERGROUND REMOTE CONTROL | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1301823 | 1301823 | EA | BASE;BTM, CLOSURE, PRESSURE REDUCING |  |  | BASE;ADDITIONAL FEATURES EN:BOTTOM, CLOSURE, PRESSURE REDUCING,MNFR:01)AINSWRTH,PTNO:01)101-04825 | 01)BOTTOM, CLOSURE, PRESSURE R,01)AINSWRTH,01)101-04825 |  |  | AINSWRTH | AINSWRTH | 101-04825 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BOTTOM,CLOSURE,PRESSURE REDUCING | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278944 | 1278944 | EA | BASE;CONCRETE PRECAST, SCM |  |  | BASE;TYPE:CONCRETE PRECAST,ADDITIONAL FEATURES EN:WEIGHT: 850 KG, ADDITIONAL FOR UNI CULVERT IN P, SCM,MNFR:01)ENERGYQLD,PTNO:01) 104424 | EN_01)CONCRETE PRECAST,01)WEIGHT: 850 KG, ADDITIONAL,02) SCM,01)ENERGYQLD,01)104424 |  |  | ENERGYQLD | ENERGYQLD | 104424 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | CONCRETE PRECAST | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WEIGHT: 850 KG,FOR UNI CULVERT IN P,SCM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278785 | 1278785 | EA | BASE;CONCRETE PRECAST,DIA 650 MM |  |  | BASE;TYPE:CONCRETE PRECAST,SIZE:DIA 650 MM,MNFR:01)ENERGYQLD,PTNO:01)403281 | EN_01)CONCRETE PRECAST,EN_01)DIA 650 MM,01)ENERGYQLD,01)403281 |  |  | ENERGYQLD | ENERGYQLD | 403281 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | CONCRETE PRECAST | SIZE | DIA 650 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278653 | 1278653 | EA | BASE;CULVERT BOX, SUPPORT,CNCRT |  |  | BASE;TYPE:CULVERT BOX, SUPPORT,MATERIAL:CONCRETE,ADDITIONAL FEATURES EN:1.9 TONNE, SCM,MNFR:01)ENERGYQLD,PTNO:01)168535 | EN_01)CULVERT BOX, SUPPORT,EN_01)CONCRETE,01)1.9 TONNE, SCM,01)ENERGYQLD,01)168535 |  |  | ENERGYQLD | ENERGYQLD | 168535 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | CONCRETE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CULVERT BOX, SUPPORT,WEIGHT:1.9 T ,SCM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278784 | 1278784 | EA | BASE;CULVERT BOX, SUPPORT,CNCRT,SCM |  |  | BASE;TYPE:CULVERT BOX, SUPPORT,MATERIAL:CONCRETE,ADDITIONAL FEATURES EN:SCM,MNFR:01)ENERGYQLD,PTNO:01)24344 | EN_01)CULVERT BOX, SUPPORT,EN_01)CONCRETE,01)SCM,01)ENERGYQLD,01)24344 |  |  | ENERGYQLD | ENERGYQLD | 24344 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | CONCRETE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CULVERT BOX, SUPPORT,SCM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278945 | 1278945 | EA | BASE;DISTR,SQ 530 X HT 320 MM |  |  | BASE;TYPE:DISTRIBUTION,SIZE:SQ 530 X HT 320 MM,ADDITIONAL FEATURES EN:PALLETS OF 12, SCM,MNFR:01)ENERGYQLD,PTNO:01)2400888 | EN_01)DISTRIBUTION,EN_01)SQ 530 X HT 320 MM,01)PALLETS OF 12, SCM,01)ENERGYQLD,01)2400888 |  |  | ENERGYQLD | ENERGYQLD | 2400888 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | DISTRIBUTION | SIZE | 530 SQX320 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PALLETS OF 12,SCM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1279011 | 1279011 | EA | BASE;DISTRIBUTION PILLAR URD,PE GREEN |  |  | BASE;TYPE:DISTRIBUTION PILLAR URD,SIZE:DIA 510 X WD 550 X HT 350 MM,MATERIAL:PE GREEN,MNFR:01)ENERGYQLD,PTNO:01)168560 | EN_01)DISTRIBUTION PILLAR URD,EN_01)DIA 510 X WD 550 X HT 35,EN_01)PE GREEN,01)ENERGYQLD,01)168560 |  |  | ENERGYQLD | ENERGYQLD | 168560 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | DISTRIBUTION PILLAR URD | SIZE | DIA 510X550 WDX350 HT MM | MATERIAL | POLYTHENE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:GREEN,PILLAR URD | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1288344 | 1288344 | EA | BASE;FRAME AND BUNG |  |  | BASE;TYPE:FRAME AND BUNG,MNFR:01)MEG,PTNO:01)5-0043-13000 | EN_01)FRAME AND BUNG,01)MEG,01)5-0043-13000 |  |  | MEG | MEG | 5-0043-13000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | FRAME AND BUNG | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1288189 | 1288189 | EA | BASE;FRME |  |  | BASE;TYPE:FRAME,MNFR:01)REXROTH,PTNO:01)6D-22027 | EN_01)FRAME,01)REXROTH,01)6D-22027 |  |  | REXROTH | REXROTH | 6D-22027 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | FRAME | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1288190 | 1288190 | EA | BASE;FRME |  |  | BASE;TYPE:FRAME,MNFR:01)REXROTH,PTNO:01)60-21558 | EN_01)FRAME,01)REXROTH,01)60-21558 |  |  | REXROTH | REXROTH | 60-21558 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | FRAME | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278893 | 1278893 | EA | BASE;LAYOVER CONNECT, MAGNETIC |  |  | BASE;TYPE:LAYOVER CONNECT, MAGNETIC,MNFR:01)BRAMCO,PTNO:01)LAF1 | EN_01)LAYOVER CONNECT, MAGNETI,01)BRAMCO,01)LAF1 |  |  | BRAMCO | BRAMCO | LAF1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LAYOVER CONNECT, MAGNETIC | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1288422 | 1288422 | EA | BASE;LAYSHAFT |  |  | BASE;TYPE:LAYSHAFT,MNFR:01)SCHENCK,PTNO:01)000-181001-01 | EN_01)LAYSHAFT,01)SCHENCK,01)000-181001-01 |  |  | SCHENCK | SCHENCK | 000-181001-01 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | LAYSHAFT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278675 | 1278675 | EA | BASE;LONGSPAN |  |  | BASE;TYPE:LONGSPAN,ADDITIONAL FEATURES EN:UNIT WITH POE IN AND EXTENDED POE OUT,MNFR:01)BGW TECHNOLOGIES,PTNO:01)VERVLS-1P-B | EN_01)LONGSPAN,01)UNIT WITH POE IN AND EXTEND,01)BGW TECHNOLOGIES,01)VERVLS-1P-B |  |  | BGW TECHNOLOGIES | BGW TECHNOLOGIES | VERVLS-1P-B |  | VERCITY | VLS-1P-B |  |  | https://docs.rs-online.com/0dd7/0900766b8165a5a9.pdf | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:LONGSPAN,UNIT WITH POE IN AND EXTENDED POE OUT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1279041 | 1279041 | EA | BASE;PFD BREATHER |  |  | BASE;TYPE:PFD BREATHER,ADDITIONAL FEATURES EN:FOR NEW INSTALL REQUIRED FOR CLEANROOM STOCKS R,MNFR:01)CAVA HYDRAULICS AND AUTO ELECT | EN_01)PFD BREATHER,01)FOR NEW INSTALL REQUIRED FO,01)CAVA HYDRAULICS & AUTO ELEC,01)F1332108 |  |  | CAVA HYDRAULICS AND AUTO ELECT | CAVA HYDRAULICS AND AUTO ELECT | F1332108 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PFD BREATHER,FOR NEW INSTALL REQUIRED FOR CLEANROOM STOCKS R | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1346435 | 1346435 | EA | BASE;PLTE,MACKAY,13-17,ITEM EB6 (DWG) |  |  | BASE;TYPE:PLATE,ADDITIONAL FEATURES EN:SWITCH PIVOT, RAIL TRACK, C/W 2-1/2 IN X 1-3/4 IN X 1/8 IN, WASHER,AND PIVOT PIN, PIN MUST BE SQUARE TO,MNFR:01)MACKAY,PTNO:01)13-17,ITEM EB6 (DWG) | EN_01)PLATE,01)SWITCH PIVOT, RAIL TRACK, C,02)AND PIVOT PIN, PIN MUST BE,01)MACKAY,01)13-17,ITEM EB6 (DWG) |  |  | MACKAY | MACKAY | [6 empty] | URL NOT FOUND |  | 13-17 |  |  |  |  | EB6 |  |  |  | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | PLATE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SWITCH PIVOT,RAIL TRACK,C/W 2-1/2 IN X 1-3/4 IN X 1/8 IN,WASHER,AND PIVOT PIN,PIN MUST BE SQUARE TO | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 | URL for Reference only | 1278963 | 1278963 | EA | BASE;POLE SLIP ADAPTOR ASSEMBLY |  |  | BASE;TYPE:POLE SLIP ADAPTOR ASSEMBLY,SIZE:PCD 500 MM,ADDITIONAL FEATURES EN:FOR UP TO 13 M POLES, C/W 3 X M36X130 MM BOLTS,X M36 NUTS AND SHEAR WASHER,MNFR:01)ENERGYQLD,PTNO:01)2402972 | EN_01)POLE SLIP ADAPTOR ASSEMB,EN_01)PCD 500 MM,01)FOR UP TO 13 M POLES, C/W 3,02)X M36 NUTS AND SHEAR WASHER,01)ENERGYQLD,01)2402972 |  |  | ENERGYQLD | ENERGYQLD | 2402972 | [5 empty] | https://www.ergon.com.au/__data/assets/pdf_file/0010/60985/QPLC_Manual_Issue_12_Assemblies.pdf |  |  | M36 NUTS AND SHEAR WASHER | [7 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | POLE SLIP ADAPTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PITCH:PCD 500 MM,ASSEMBLY FOR UP TO 13 M POLES,C/W 3 X M36X130 MM BOLTS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278966 | 1278966 | EA | BASE;POLE SLIP ADAPTOR ASSEMBLY |  |  | BASE;TYPE:POLE SLIP ADAPTOR ASSEMBLY,SIZE:PCD 350 MM,ADDITIONAL FEATURES EN:FOR UP TO 10 M POLES, C/W 3 X M36 X 130 MM BOLT,3 X M36 NUTS AND SHEAR WASHER,MNFR:01)ENERGYQLD,PTNO:01)924070 | EN_01)POLE SLIP ADAPTOR ASSEMB,EN_01)PCD 350 MM,01)FOR UP TO 10 M POLES, C/W 3,02)3 X M36 NUTS AND SHEAR WASH,01)ENERGYQLD,01)924070 |  |  | ENERGYQLD | ENERGYQLD | 924070 | [5 empty] | URL NOT FOUND |  |  | M36 NUTS AND SHEAR WASHER | [7 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE | POLE SLIP ADAPTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PITCH:PCD 350 MM, FOR UP TO 10 M POLES,C/W 3 X M36 X 130 MM BOLT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1278934 | 1278934 | EA | BASE;PVG HANDLE LONG |  |  | BASE;TYPE:PVG HANDLE LONG,MNFR:01)RME,PTNO:01)32R0011 | EN_01)PVG HANDLE LONG,01)RME,01)32R0011 |  |  | RME | RME | 32R0011 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PVG HANDLE LONG | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 | URL for Reference only | 1278623 | 1278623 | EA | BASE;ROTALOCK |  |  | BASE;TYPE:ROTALOCK,MNFR:01)ANTEC,PTNO:01)RBE | EN_01)ROTALOCK,01)ANTEC,01)RBE |  |  | ANTEC | ANTEC | RBE | [5 empty] | https://antecrefractory.com.au/site/uploads/2021/04/Refractory-Division-Catalogue-2021.pdf | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ROTALOCK | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1386849 | 1386849 | EA | BASE;SKF,TSSNG522,SKF,TSSNG522 | BASE;SKF,TSSNG522, | BASE;SKF,TSSNG522, |  | 01)SKF,TSSNG522 | TSSNG522 | 3000348 | SKF | SKF | TSSNG522 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 31162300 Mounting hardware | BASE | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1298943 | 1298943 | EA | BASE;SWTCH,RECTA,SQUARE-D,9007-B-PLATE |  |  | BASE;TYPE:SWITCH,ADDITIONAL FEATURES EN:RECTA,MNFR:01)SQUARE-D,PTNO:01)9007-B-PLATE | EN_01)SWITCH,01)RECTA,01)SQUARE-D,01)9007-B-PLATE |  |  | SQUARE-D | SQUARE-D | 9007-B-PLATE |  | SCHENIDER | 9007B |  |  | https://www.se.com/us/en/product/9007B/limit-switch-head-9007c-rotary-lever-arm-standard-pretravel-spring-return-clockwise-only-operation-nema-4-and-13/ | [10 empty] | ENRICHED | 39122213 Limit switch | SWITCH | LIMIT | TYPE | ROTARY HEAD | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1288376 | 1288376 | EA | BASE;TRUNNION BEARING,60 IN |  |  | BASE;TYPE:TRUNNION BEARING,SIZE:60 IN,MNFR:01)MARCY,PTNO:01)18220B | EN_01)TRUNNION BEARING,EN_01)60 IN,01)MARCY,01)18220B |  |  | MARCY | MARCY | 18220B | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | BASE | No Modifier | TYPE |  | SIZE | 60 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRUNNION BEARING | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1286453 | 1286453 | EA | BASE,PMP;AIR2000,PUMP2000,38-9117-051 |  |  | BASE,PUMP;ADDITIONAL FEATURES EN:AIR2000,MNFR:01)PUMP2000,PTNO:01)38-9117-051 | 01)AIR2000,01)PUMP2000,01)38-9117-051 |  |  | PUMP2000 |  | 38-9117-051 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | BASE | PUMP | TYPE |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AIR2000,PUMP2000 | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1291956 | 1291956 | EA | BASE,RELY;11,250 V,10 A,DIN RAIL,SCREW |  |  | BASE,RELAY;NUMBER OF PINS:11,VOLTAGE RATING:250 V,CURRENT RATING:10 A,MOUNTING TYPE:DIN RAIL,TERMINAL TYPE:SCREW,ADDITIONAL FEATURES EN:3 C/O,ROUND,SHROUDED,99 SERIES LEDMODULES,60.13,MNFR:01)NHP,PTNO:01)90.21 | 250 V,10 A,DIN RAIL,SCREW,01)3 C/O,ROUND,SHROUDED,99 SER,01)NHP,01)90.21 |  |  | NHP | NHP | 90.21 | [5 empty] | https://www.nhp.com.au/-/media/Project/NHP/Sites/Shared/Brochures/Easy-Selection-Guides/NHPNTUFINDERESG.pdf | [10 empty] | ENRICHED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS | 11 | VOLTAGE RATING | 240 VAC | CURRENT RATING | 10 A | MOUNTING TYPE | DIN RAIL | MATERIAL |  | TERMINAL TYPE | SCREW | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3 C/O,ROUND,SHROUDED,BRAND:99 SERIES LEDMODULES 60.13 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1299586 | 1299586 | EA | BASE,RELY;4 POLE WITH MODULE SOCKET,RME |  |  | BASE,RELAY;ADDITIONAL FEATURES EN:4 POLE WITH MODULE SOCKET,MNFR:01)RME,PTNO:01)10140741 | 01)4 POLE WITH MODULE SOCKET,01)RME,01)10140741 |  |  | RME | RME | 10140741 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4 POLE WITH MODULE SOCKET | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1299589 | 1299589 | EA | BASE,RELY;4 POLE WITH MODULE SOCKET,RME |  |  | BASE,RELAY;ADDITIONAL FEATURES EN:4 POLE WITH MODULE SOCKET,MNFR:01)RME,PTNO:01)10104741 | 01)4 POLE WITH MODULE SOCKET,01)RME,01)10104741 |  |  | RME | RME | 10104741 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4 POLE WITH MODULE SOCKET | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1300253 | 1300253 | EA | BASE,RELY;55.34 SERIES FINDER,NHP,9404 |  |  | BASE,RELAY;ADDITIONAL FEATURES EN:55.34 SERIES FINDER,MNFR:01)NHP,PTNO:01)9404 | 01)55.34 SERIES FINDER,01)NHP,01)9404 |  |  | NHP | NHP | 9404 | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/9404-3478-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | https://www.nhp.com.au/product/9404 | [9 empty] | ENRICHED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING | 1 KVAC | CURRENT RATING |  | MOUNTING TYPE | PLUG-IN | MATERIAL |  | TERMINAL TYPE |  | SIZE | 27 WDX76 HTX86.9 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:55.34 SERIES FINDER | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1300219 | 1300219 | EA | BASE,RELY;8,240 V,OMRO,PTF08A-E |  |  | BASE,RELAY;NUMBER OF PINS:8,VOLTAGE RATING:240 V,MNFR:01)OMRON,PTNO:01)PTF08A-E | 240 VAC,01)OMRON,01)PTF08A-E |  |  | OMRON | OMRON | PTF08A-E | [5 empty] | https://www.mouser.in/datasheet/2/307/omron_ly_dsheet-1189904.pdf | [10 empty] | CLEANSED | 39122335 Relay socket or base | SOCKET | RELAY | TYPE |  | NUMBER OF PINS | 8 | VOLTAGE RATING | 240 VAC | CURRENT RATING |  | TERMINAL TYPE | SCREW | MOUNTING TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1365087 | 1365087 | EA | BASE,RELY;8,DIN FLAT,HAYMANS,FID9402 |  |  | BASE,RELAY;NUMBER OF PINS:8,MOUNTING TYPE:DIN FLAT,MNFR:01)HAYMANS,PTNO:01)FID9402 | DIN FLAT,01)HAYMANS,01)FID9402 |  |  | HAYMANS | HAYMANS | FID9402 | [5 empty] | https://haymans.mmem.com.au/oxenford/fid9402 | [10 empty] | ENRICHED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS | 8 | VOLTAGE RATING | 250 V | CURRENT RATING | 10 A | MOUNTING TYPE | PLUG-IN | MATERIAL |  | TERMINAL TYPE | SCREW | SIZE | 27 WDX76 HTX86.9 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIN FLAT | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1291197 | 1291197 | EA | BASE,RELY;8,DIN RAIL,SCREW,AFC,9402 |  |  | BASE,RELAY;NUMBER OF PINS:8,MOUNTING TYPE:DIN RAIL,TERMINAL TYPE:SCREW,MNFR:01)AFC,PTNO:01)9402 | DIN RAIL,SCREW,01)AFC,01)9402 |  |  | AFC | AFC | 9402 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS | 8 | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | TERMINAL TYPE | SCREW | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1284865 | 1284865 | EA | BASE,RELY;ALARM,14,240 VAC,7 A,FEMALE |  |  | BASE,RELAY;TYPE:ALARM,NUMBER OF PINS:14,VOLTAGE RATING:240 VAC,CURRENT RATING:7 A,TERMINAL TYPE:FEMALE,ADDITIONAL FEATURES EN: W/PB+LED+FLG 4C/O,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)NHP55340054240VAC | ALARM,240 VAC,7 A,FEMALE,01)W/PB+LED+FLG 4C/O,01)CNW (MOUNT ISA) ELECT WHOLE,01)NHP55340054240VAC |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | NHP55340054240VAC |  | NHP | 55.34.0054 240 V AC |  |  | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Motor-Control/Monitoring-Relay/MINI-GEN-PURP-RELAY-4C-O-14PIN-7A-240VAC/p/NHP55340054240VACK90 | https://shop.cnw.com.au/medias/NHP55340054240VAC.pdf?context=bWFzdGVyfHJvb3R8MTQ2NTUzNXxhcHBsaWNhdGlvbi9wZGZ8aDlmL2g2YS85ODQ2MTk0OTYyNDYyL05IUDU1MzQwMDU0MjQwVkFDLnBkZnxhN2YzMzhkNjNlOTY0ZjdhYmRhNTgxMzIwNjE4ZWY1NDYxNDJmZDVjNzA2NjJjOGU3NWQzYzlkNDI0ZDgwZTFl | [9 empty] | ENRICHED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS | 14 | VOLTAGE RATING | 240 VAC | CURRENT RATING | 7 A | MOUNTING TYPE | PLUG-IN | MATERIAL | SLIVER NICKEL | TERMINAL TYPE |  | SIZE | 27.7 WDX37.2 HTX20.7 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, GOST-R, IMQ, C-UL-US,CSA,CCC | ADDITIONAL FEATURES | ALARM,FEMALE,W/PB+LED+FLG,CONFIGURTION:4C/O | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1291435 | 1291435 | EA | BASE,RELY;APM JB1.12, WENM,WENMEC,37835 |  |  | BASE,RELAY;ADDITIONAL FEATURES EN:APM JB1.12, WENM,MNFR:01)WENMEC,PTNO:01)37835 | 01)APM JB1.12, WENM,01)WENMEC,01)37835 |  |  | WENMEC SYSTEMS INC | WENMEC SYSTEMS INC | 37835 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | APM JB1.12,WENM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1299591 | 1299591 | EA | BASE,RELY;JUMPER BAR, 8 WAY, BLUE SUI |  |  | BASE,RELAY;ADDITIONAL FEATURES EN:JUMPER BAR, 8 WAY, BLUE SUI,MNFR:01)RME,PTNO:01)10117205 | 01)JUMPER BAR, 8 WAY, BLUE SUI,01)RME,01)10117205 |  |  | RME | RME | 10117205 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE |  | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | JUMPER BAR,8 WAY,COLOUR:BLUE, SUI | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1285027 | 1285027 | EA | BASE,RELY;LED, BOX,CLAMP W/METAL CLIP |  |  | BASE,RELAY;TYPE:LED, BOX,MOUNTING TYPE:CLAMP W/METAL CLIP,MNFR:01)CNW MOUNT ISA ELECT WHOLESALE,PTNO:01)NHP9604 | LED, BOX,CLAMP W/METAL CLIP,01)CNW MOUNT ISA ELECT WHOLESA,01)NHP9604 |  |  | CNW MOUNT ISA ELECT WHOLESALE | CNW MOUNT ISA ELECT WHOLESALE | NHP9604 | [5 empty] | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Motor-Control/Relay-Base/RELAY-BASE-SOCKET-FOR-56-34-%26-99-01/p/NHP9604K90 | [10 empty] | ENRICHED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS | 14 | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | TERMINAL TYPE | SCREW | SIZE | 43 WDX82.5 HTX48.2 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, GOST-R, IMQ, C-UL-US,CSA,CCC | ADDITIONAL FEATURES | LED, BOX,CLAMP W/METAL CLIP | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1344983 | 1344983 | EA | BASE,RELY;PLUG IN,FRONT OR R, TYPE U |  |  | BASE,RELAY;MOUNTING TYPE:PLUG IN,ADDITIONAL FEATURES EN:FRONT OR R, TYPE U,MNFR:01)AUSLEC,PTNO:01)S-SCS1-U | PLUG IN,01)FRONT OR R, TYPE U,01)AUSLEC,01)S-SCS1-U |  |  | AUSLEC | AUSLEC | S-SCS1-U | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122335 Relay socket or base | BASE | RELAY | TYPE |  | NUMBER OF PINS |  | VOLTAGE RATING |  | CURRENT RATING |  | MOUNTING TYPE | PLUG IN | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FRONT OR R,TYPE U | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1387290 | 1387290 | EA | BASE,RELY;SCHN,RXZE2S111M |  |  |  |  | RXZE2S111M | 3000344 | SCHNEIDER INC | SCHNEIDER INC | RXZE2S111M | [5 empty] | https://docs.rs-online.com/20ec/0900766b815916da.pdf | [10 empty] | ENRICHED | 39122335 Relay socket or base | SOCKET | RELAY | TYPE |  | NUMBER OF PINS | 11 | VOLTAGE RATING | 250 V | CURRENT RATING | 5 A,10 A | TERMINAL TYPE | SCREW | MOUNTING TYPE | DIN RAIL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61984,CSA,UL,Lloyd's | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1302779 | 1302779 | EA | BASE,RELY;SWITCH,11,400 VAC,10 A,PANTRON |  |  | BASE,RELAY;TYPE:SWITCH,NUMBER OF PINS:11,VOLTAGE RATING:400 VAC,CURRENT RATING:10 A,MOUNTING TYPE:DIN RAIL,ADDITIONAL FEATURES EN: IR AMPLIFIER,MNFR:01)PANTRON,PTNO:01)BSF-11 | SWITCH,400 VAC,10 A,DIN RAIL,01)IR AMPLIFIER,01)PANTRON,01)BSF-11 |  |  | PANTRON | PANTRON | BSF-11 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39122335 Relay socket or base | BASE | RELAY | TYPE | SWITCH | NUMBER OF PINS | 11 | VOLTAGE RATING | 400 VAC | CURRENT RATING | 10 A | MOUNTING TYPE | DIN RAIL | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | IR AMPLIFIER | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1382814 | 1382814 | EA | CAGE;BACKPLANE,GEN9 DL580 |  |  | CAGE;TYPE:BACKPLANE,ADDITIONAL FEATURES EN:GEN9 DL580,MNFR:01)DATA 3 GROUP,PTNO:01)739405-B21 | BACKPLANE,01)GEN9 DL580,01)DATA 3 GROUP,01)739405-B21 |  |  | DATA 3 GROUP | DATA 3 GROUP | 739405-B21 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 10131601 Cages or its accessories | CAGE | No Modifier | TYPE | BACKPLANE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GEN9 DL580 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1383063 | 1383063 | EA | CAGE;ROLL |  |  | CAGE;TYPE:ROLL,MNFR:01)WELDPRO,PTNO:01)DGW300 ROLL CAE | ROLL,01)WELDPRO,01)DGW300 ROLL CAE |  |  | WELDPRO | WELDPRO | DGW300 ROLL CAE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 10131601 Cages or its accessories | CAGE | No Modifier | TYPE | ROLL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1382785 | 1382785 | EA | CAGE;ROLL,QUOTE 6237Q |  |  | CAGE;TYPE:ROLL,ADDITIONAL FEATURES EN:QUOTE 6237Q,MNFR:01)WELDERS PRO SHOP,PTNO:01)DGW300 ROLL CAE | ROLL,01)QUOTE 6237Q,01)WELDERS PRO SHOP,01)DGW300 ROLL CAE |  |  | WELDERS PRO SHOP | WELDERS PRO SHOP | DGW300 ROLL CAE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 10131601 Cages or its accessories | CAGE | No Modifier | TYPE | ROLL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | QUOTE 6237Q | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 | URL for Reference only | 1229299 | 1229299 | EA | CLIP;RAILWAY |  |  | CLIP;TYPE:RAILWAY,MNFR:01)GANTRAIL,PTNO:01)30C 9120-15-38-13,MNFR:02)UNION-RT,PTNO:02)9120-15-38-13 | EN_01)RAILWAY,01)GANTRAIL,02)UNION-RT,01)30C 9120-15-38-13,02)9120-15-38-13 |  |  | UNION-RT | GANTRAIL | 30C 9120-15-38-13 |  | UNION-RT | 9120-15-38-13 |  |  | http://www.asecomrails.com/wp-content/uploads/2013/03/Gantrail_9120_15_DS.pdf | [10 empty] | ENRICHED | 31163200 Retaining hardware | CLIP | No Modifier | TYPE | RAILWAY | SIZE | 38X48X30 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-07-21 | 2023-08-07 |  | 1349937 | 1349937 | EA | CLIP,RETNG;SPRING TENSION,RENOLD |  |  | CLIP,RETAINING;TYPE:SPRING TENSION,ADDITIONAL FEATURES EN:1-1/4 IN BS CHAIN (SIMPLE),MNFR:01)RENOLD,PTNO:01)110106- 27 | SPRING TENSION,01)1-1/4 IN BS CHAIN (SIMPLE),01)RENOLD,01)110106- 27 |  |  | RENOLD | RENOLD | 110106- 27 | [5 empty] | https://www.renold.com/upload/renoldswitzerland/roller_chain_-_products_and_sizes.pdf | [10 empty] | ENRICHED | 26111513 Power transmission chains | CHAIN | POWER TRANSMISSION | STYLE |  | LOAD RATING |  | PITCH | 31.75 MM | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | ROLLER DIAMETER | 19.05 MM | ROLLER WIDTH | 19.56 MM | TENSILE STRENGTH | 95 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SPRING TENSION,BS CHAIN (SIMPLE) | [49 empty] | Production Completed