## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1345578 | 1345578 | EA | APRON;PRIMARY CASTING,CRUSHER SUB ASSY |  |  | APRON;TYPE:PRIMARY CASTING,ADDITIONAL FEATURES EN:CRUSHER SUB ASSY,MNFR:01)FINLAY,PTNO:01)31.11.1252 | EN_01)PRIMARY CASTING,01)CRUSHER SUB ASSY,01)FINLAY,01)31.11.1252 |  |  | FINLAY | FINLAY | 31.11.1252 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 46181501 Protective aprons | APRON | No Modifier | TYPE | PRIMARY CASTING | SIZE DESIGNATION |  | WIDTH |  | LENGTH |  | CLOSURE TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR CRUSHER SUB ASSEMBLY | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1280206 | 1280206 | EA | CABINET;FITTERS TOOL |  |  | CABINET;TYPE:FITTERS TOOL,MNFR:01)MOUNT ISA MINING SUPPLIES P/L,PTNO:01)SCMT10159G | EN_01)FITTERS TOOL,01)MOUNT ISA MINING SUPPLIES P,01)SCMT10159G |  |  | MOUNT ISA MINING SUPPLIES P/L | MOUNT ISA MINING SUPPLIES P/L | SCMT10159G | [5 empty] | https://groupspree.com/Product/Sidchrome-262pc-MET-AF-Tool-Kit-Green-SCMT10159G-231460 | [10 empty] | ENRICHED | 20000000 Mining and Well Drilling Machinery and Accessories | KIT | NO MODIFIER | TYPE | FITTERS TOOL | CONTENTS | 1/4 IN DRIVE SOCKETS & ACCESSORIES X 23(4 TO 13 MM,3/16 TO 1/2 IN),3/8 IN DRIVE SOCKETS & ACCESSORIES X 23(8 TO 19 MM,3/8 TO 3/4 IN),1/2 IN DRIVE SOCKETS & ACCESSORIES X 42(8 TO 32 MM,3/8 TO 1-1/4 IN),RING & OPEN END SPANNERS X 30(6 TO24 MM,1/4 TO 1 IN),RING SPANNERS X 13(6X7 TO 18X19,1/4X5/16 TO 13/16X7/8 IN),FLARE NUT SPANNERS X 9(10X11 TO 19X22,3/8X7/16 TO 3/4X7/8 IN),SCREWDRIVERS X 7,21 PIECE T-HANDLE RATCHET SCREWDRIVER SET,HEX KEYS X 25(9XMET,8 X AF,8 X TORX),ADJUSTABLE WRENCHES (200 & 300 MM),PUNCHES X 10(4 X CENTRE,4 X LONG PIN,2 X STARTER DRIFT),HACKSAW,ANTIVIBE BALL PEIN HAMMER 450G,TAPE:8M,TELESCOPIC INSPECTION MIRROR,TELESCOPIC MAGNET,MECHANICS FEELER GAUGE,43 PIECE MECHANICS BIT SET,8 DRAWER HEAVY DUTY TOOL CHEST,7 DRAWER HEAVY DUTY ROLLER CABINET | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1381912 | 1381912 | EA | COVER,ELEC;ACCESS |  |  | COVER,ELECTRICAL;TYPE:ACCESS,MNFR:01)CLIPSAL,PTNO:01)56CB4NGY,MNFR:02)CNW,PTNO:02)56EL4N,MNFR:03)SCHNEID,PTNO:03)CLI56EL4NGY | ACCESS,01)CLIPSAL,02)CNW,03)SCHNEID,01)56CB4NGY,02)56EL4N,03)CLI56EL4NGY |  |  | SCHNEID | CLIPSAL | 56CB4NGY |  | CNW | 56EL4N | SCHNEID | CLI56EL4NGY | https://www.clipsal.com/products/detail?CatNo=56CB4N&itemno=56CB4N-GY&tab-document-1=0#Specifications | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | COVER | ELECTRICAL | TYPE | ACCESS | SHAPE |  | NUMBER OF GANGS |  | SIZE | 95 WDX190 HTX50 DP MM | MATERIAL | ABS | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 3100 | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1353470 | 1353470 | EA | COVER,ELEC;SWITCH,SQ,FLUSH SURROUND |  |  | COVER,ELECTRICAL;TYPE:SWITCH,SHAPE:SQ,ADDITIONAL FEATURES EN:FLUSH SURROUND,MNFR:01)CLIPSAL,PTNO:01)CLI2035VHWE | SWITCH,SQ,01)FLUSH SURROUND,01)CLIPSAL,01)CLI2035VHWE |  |  | CLIPSAL | CLIPSAL | CLI2035VHWE | [5 empty] | https://www.clipsal.com/products/detail?CatNo=2035VH&itemno=2035VH-WE&backto=/search?q=CLI2035VHWE&datasource=products&tab-document-1=0 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | COVER | ELECTRICAL | TYPE | SWITCH,FLUSH SURROUND | SHAPE | SQUARE | NUMBER OF GANGS | 5 | SIZE | 116 LGX76 WDX13 DP MM | MATERIAL | PLASTIC | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1353471 | 1353471 | EA | COVER,ELEC;SWITCH,SQ,FLUSH SURROUND |  |  | COVER,ELECTRICAL;TYPE:SWITCH,SHAPE:SQ,ADDITIONAL FEATURES EN:FLUSH SURROUND,MNFR:01)CLIPSAL,PTNO:01)CLI2036VHWE | SWITCH,SQ,01)FLUSH SURROUND,01)CLIPSAL,01)CLI2036VHWE |  |  | CLIPSAL | CLIPSAL | CLI2036VHWE | [5 empty] | https://www.clipsal.com/products/detail?CatNo=2036VH&itemno=2036VH-WE&backto=/search?q=2036VHWE&datasource=products&tab-document-1=0 | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | COVER | ELECTRICAL | TYPE | SWITCH,FLUSH SURROUND | SHAPE | SQUARE | NUMBER OF GANGS | 6 | SIZE | 116 LGX76 WDX13 DP MM | MATERIAL | PLASTIC | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1382768 | 1382768 | EA | COVER;GAZEBO, ANTI POOLING PRO,SQ 3 M |  |  | COVER;TYPE:GAZEBO, ANTI POOLING PRO,SIZE:SQ 3 M,MATERIAL:CANOPY POLYESTER, FRAME STEEL,MNFR:01)ANZ VISA PURCHASING CARD,PTNO:01) 543255 | 01)ANZ VISA PURCHASING CARD,01)543255,EN_01)GAZEBO, ANTI POOLING PRO,EN_01)SQ 3 M,EN_01)CANOPY POLYESTER, FRAME |  |  | ANZ VISA PURCHASING CARD | ANZ VISA PURCHASING CARD | 543255 | [5 empty] | https://www.bcf.com.au/p/wanderer-anti-pooling-pro-gazebo-3x3m/543255.html | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE | GAZEBO,ANTI POOLING PRO | SIZE | 3 M2 | MATERIAL | CANOPY POLYESTER,STEEL FRAME | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1382635 | 1382635 | EA | COVER;SEAT, FRONT SIDE,PLSTC |  |  | COVER;TYPE:SEAT, FRONT SIDE,MATERIAL:PLASTIC,ADDITIONAL FEATURES EN:REFERENCE NO: NO 1,MNFR:01)MALOUF AUTO GROUP,PTNO:01) UCYS88YD6A54 | 01)MALOUF AUTO GROUP,01)UCYS88YD6A54,EN_01)SEAT, FRONT SIDE,EN_01)PLASTIC,01)REFERENCE NO: NO 1 |  |  | MALOUF AUTO GROUP | MALOUF AUTO GROUP | UCYS88YD6A54 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE | SEAT,FRONT SIDE | SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REFERENCE NO:NO 1 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1383161 | 1383161 | EA | COVER;SHL |  |  | COVER;TYPE:SHELL,MNFR:01)FORKFORCE,PTNO:01)YDS30.001 | 01)FORKFORCE,01)YDS30.001,EN_01)SHELL |  |  | FORK FORCE AUSTRALIA PTY LTD | FORKFORCE | YDS30.001 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE | SHELL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1383372 | 1383372 | EA | COVER;SHL |  |  | COVER;TYPE:SHELL,MNFR:01)FORKFORCE,PTNO:01)11243-83272 | 01)FORKFORCE,01)11243-83272,EN_01)SHELL |  |  | FORK FORCE AUSTRALIA PTY LTD | FORKFORCE | 11243-83272 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE | SHELL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1386854 | 1386854 | EA | COVER;SKF,1942597,SKF,1942597 | CUBIERTA;SKF,1942597, | COUVERCLES;SKF,1942597, |  | 01)SKF,1942597 | 1942597 | 3000348 | SKF | SKF | 1942597 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1383098 | 1383098 | EA | COVER;SPLASH PANEL, DISC BRAKE,AL |  |  | COVER;TYPE:SPLASH PANEL, DISC BRAKE,MATERIAL:ALUMINUM,MNFR:01)EILBECK,PTNO:01)AN 11383 | 01)EILBECK,01)AN 11383,EN_01)SPLASH PANEL, DISC BRAKE,EN_01)ALUMINUM |  |  | EILBECK | EILBECK | AN 11383 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE | SPLASH PANEL,DISC BRAKE | SIZE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1354860 | 1354860 | EA | COVER;SUIT PLATFORM,GETMAN,2509401 |  |  | COVER;ADDITIONAL FEATURES EN:SUIT PLATFORM,MNFR:01)GETMAN,PTNO:01)2509401 | 01)GETMAN,01)2509401,01)SUIT PLATFORM |  |  | GETMAN | GETMAN | 2509401 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR PLATFORM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1382806 | 1382806 | EA | COVER;SUN SHADE PAN |  |  | COVER;TYPE:SUN SHADE PAN,MNFR:01)BGW TECHNOLOGIES,PTNO:01)PANWV-Q7118 | 01)BGW TECHNOLOGIES,01)PANWV-Q7118,EN_01)SUN SHADE PAN |  |  | BGW TECHNOLOGIES | BGW TECHNOLOGIES | PANWV-Q7118 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153100 Industrial machinery components and accessories | COVER | No Modifier | TYPE | SUN SHADE PAN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1383043 | 1383043 | EA | COVER;TERMINAL PROTECTION |  |  | COVER;TYPE:TERMINAL PROTECTION,ADDITIONAL FEATURES EN:TOUCH , T2 FC 3P E/S160250,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01) NHPT2CF253SLNG | 01)CNW (MOUNT ISA) ELECT WHOLE,01)NHPT2CF253SLNG,EN_01)TERMINAL PROTECTION,01)TOUCH , T2 FC 3P E/S160250 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | NHP | NHPT2CF253SLNG |  | CNW (MOUNT ISA) ELECT WHOLESALER |  |  |  | https://www.nhpnz.co.nz/Catalogs/NHP_NZ_Catalog/NHP_NZ_Catalog-Categories/NHP_NZ_Catalog-217587/NHP_NZ_Catalog-387/NHP_NZ_Catalog-388/NHP_NZ_Catalog-420/T2CF253SLNG | [10 empty] | ENRICHED | 39121300 Electrical boxes and enclosures and fittings and accessories | COVER | ELECTRICAL | TYPE | FRONT CONNECT TERMINAL PROTECTION,TOUCH | SHAPE |  | NUMBER OF GANGS |  | SIZE | 55 MM LG | MATERIAL |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | T2,NUMBER OF POLE:3,E/S160250 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1296782 | 1296782 | EA | DETERGENT;QUICK BREAK,LIQUID,1000 L |  |  | DETERGENT;TYPE:QUICK BREAK,FORM:LIQUID,CONTAINER:1000 L,ADDITIONAL FEATURES EN:GEN PURPOSE, IBC, WATER BASED,MNFR:01)APPLIED,PTNO: 01)3120-1000 | EN_01)QUICK BREAK,LIQUID,1000 L,01)GEN PURPOSE, IBC, WATER BAS,01)APPLIED,01)3120-1000 |  |  | APPLIED | APPLIED | 3120-1000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 12161902 Detergent surfactants | DETERGENT | No Modifier | TYPE | QUICK BREAK | FORM | LIQUID | CONTAINER | 1000 L | COLOUR |  | WEIGHT |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GEN PURPOSE,IBC,WATER BASED | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1229815 | 1229815 | EA | ELIMINATOR;WATER MOISTURE,PVC,6 IN,CIP C |  |  | ELIMINATOR;TYPE:WATER MOISTURE,MATERIAL:PVC,SIZE:6 IN,ADDITIONAL FEATURES EN:CIP C,MNFR:01)AQUACOOL,PTNO:01)DC120 6' | EN_01)WATER MOISTURE,PVC,6 IN,01)CIP C,01)AQUACOOL,01)DC120 6' |  |  | AQUACOOL | AQUACOOL | DC120 6' | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161700 Separators | ELIMINATOR | No Modifier | TYPE | WATER MOISTURE | INPUT RATING |  | OUTPUT RATING |  | MATERIAL | PVC | SIZE | 6 IN | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CIP C | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1229814 | 1229814 | EA | ELIMINATOR;WATER MOISTURE,PVC,AQUACOOL |  |  | ELIMINATOR;TYPE:WATER MOISTURE,MATERIAL:PVC,SIZE:WD 1 X LG 4 IN,MNFR:01)AQUACOOL,PTNO:01)DC120 8' X 1 ' WIDE | EN_01)WATER MOISTURE,PVC,WD 1 X LG 4 IN,01)AQUACOOL,01)DC120 8' X 1 ' WIDE |  |  | AQUACOOL | AQUACOOL | DC120 8' X 1 ' WIDE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 40161700 Separators | ELIMINATOR | No Modifier | TYPE | WATER MOISTURE | INPUT RATING |  | OUTPUT RATING |  | MATERIAL | PVC | SIZE | 4 LGX1 WD IN | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1295791 | 1295791 | EA | GRIP,HNDL;RUBR |  |  | GRIP,HANDLE;MATERIAL:RUBBER,MNFR:01)SIG,PTNO:01)64-255-072 [R] | RUBBER,01)SIG,01)64-255-072 |  |  | SIG | SIG | 64-255-072 [R] | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | GRIP | HANDLE | TYPE |  | SIZE |  | MATERIAL | RUBBER | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1276628 | 1276628 | EA | GRIP,HNDL;TOOL HOLDER CHISEL,GRN,MSA |  |  | GRIP,HANDLE;TYPE:TOOL HOLDER CHISEL,SIZE:WD 50 X LG 170 MM,COLOUR:GREEN,ADDITIONAL FEATURES EN:MSA,MNFR:01)ATOM SUPPLY,PTNO:01) 90160325 | TOOL HOLDER CHISEL,WD 50 X LG 170 MM,GREEN,01)MSA,01)ATOM SUPPLY,01)90160325 |  |  | ATOM SUPPLY | ATOM SUPPLY | 90160325 | [5 empty] | https://www.atom.com.au/case-label-kits-17-allegro-90160325 | [10 empty] | ENRICHED | 27112800 Tool attachments and accessories | TOOL | NO MODIFIER | TYPE | HOLDER CHISEL,GRIP,HANDLE | SIZE | 170 LGX50 WD MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:MSA AUSTRALIA,COLOUR:GREEN | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276880 | 1276880 | EA | GRIP;CABLE, JAW COME-ALONG |  |  | GRIP;TYPE:CABLE, JAW COME-ALONG,ADDITIONAL FEATURES EN:SUIT BARE CU, AL AND UNCOATED STEEL WIRE, CABLE R,C/W SAFETY LATCH,MNFR:01) E | CABLE, JAW COME-ALONG,01)SUIT BARE CU, AL & UNCOATED,02)C/W SAFETY LATCH,01)ENERGYQLD,01)2406877 |  |  | E | ENERGYQLD | 2406877 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE,JAW COME-ALONG | NOMINAL SIZE |  | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | BARE CU,AL AND UNCOATED STEEL | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W SAFETY LATCH | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1293718 | 1293718 | EA | GRIP;CORNER,RUBR,90 DEG |  |  | GRIP;TYPE:CORNER,MATERIAL:RUBBER,ADDITIONAL FEATURES EN:90 DEG,MNFR:01)TRELBORG,PTNO:01)14-55-V | CORNER,RUBBER,01)90 DEG,01)TRELBORG,01)14-55-V |  |  | TRELBORG | TRELBORG | 14-55-V | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | GRIP | No Modifier | TYPE | CORNER | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 90 DEG | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276571 | 1276571 | EA | GRIP;HAND |  |  | GRIP;TYPE:HAND,MNFR:01)DOWNUNDER MINING,PTNO:01)307.01.022 | HAND,01)DOWNUNDER MINING,01)307.01.022 |  |  | DOWNUNDER MINING | DOWNUNDER MINING | 307.01.022 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | GRIP | No Modifier | TYPE | HAND | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276582 | 1276582 | EA | GRIP;HAND, OUTER |  |  | GRIP;TYPE:HAND, OUTER,MNFR:01)DOWNUNDER MINING,PTNO:01)307.06.002 | HAND, OUTER,01)DOWNUNDER MINING,01)307.06.002 |  |  | DOWNUNDER MINING | DOWNUNDER MINING | 307.06.002 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | GRIP | No Modifier | TYPE | HAND,OUTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1323754 | 1323754 | EA | GRIP;HNDL;70HANDLE,SQ 19 X LG 180 MM; |  |  | GRIP,HANDLE;TYPE:HAND BRAKE,SIZE:SQ 19 X LG 180 MM,MNFR:TOYOTA,PTNO:70HANDLE,MNFR:01)BELLMOIR,PTNO:01)70HANDLE | HAND BRAKE,SQ 19 X LG 180 MM,01)BELLMOIR,01)70HANDLE,GRIP | 70HANDLE |  | BELLMOIR | BELLMOIR | 70 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | GRIP | No Modifier | TYPE | HAND BRAKE,HANDLE | SIZE | SQ 19 X LG 180 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276962 | 1276962 | EA | GRIP;PROTECTIVE,16 MM,RUBR,YEL |  |  | GRIP;TYPE:PROTECTIVE,SIZE:16 MM,MATERIAL:RUBBER,ADDITIONAL FEATURES EN:YELLOW,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)07899006 | PROTECTIVE,EN_01)16 MM,RUBBER,01)YELLOW,01)J.BLACKWOOD & SON LIMITED,01)07899006 |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 07899006 | [5 empty] | https://www.blackwoods.com.au/tools-hand-measuring-precision/striking-and-prying/protective-grip-suits-mumme-tools/grip-protective-7rpg16-yel-suit-16mm/p/07899006 | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | GRIP | No Modifier | TYPE | PROTECTIVE | SIZE | 16 MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:YELLOW | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1229687 | 1229687 | EA | GRIP,WIRE;CABLE WOVEN,P,TOTEDEN |  |  | GRIP,WIRE;TYPE:CABLE WOVEN,ADDITIONAL FEATURES EN:P,MNFR:01)TOTEDEN,PTNO:01)100402701 | EN_01)CABLE WOVEN,01)P,01)TOTEDEN,01)100402701 |  |  | TOTEDEN | TOTEDEN | 100402701 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE WOVEN | NOMINAL SIZE |  | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL |  | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | P | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1346922 | 1346922 | EA | GRIP,WIRE;CAM, ROUND,1-6 MM |  |  | GRIP,WIRE;TYPE:CAM, ROUND,WIRE RANGE:1-6 MM,ADDITIONAL FEATURES EN:C/W CLEVIS, FIG 8, 9 SECTION,MNFR:01)O-B,PTNO:01)16713 | EN_01)CAM, ROUND,1-6 MM,01)C/W CLEVIS, FIG 8, 9 SECTIO,01)O-B,01)16713 |  |  | O-B | O-B | 16713 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CAM,ROUND | NOMINAL SIZE |  | WIRE RANGE | 1 TO 6 MM | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL |  | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W CLEVIS,FIG 8,9 SECTION | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253176 | 1253176 | EA | GRIP,WIRE;MTL,19/3.75,SC/GZ,PLP,GFG-188 | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:19/3.75,SC/GZ,PLP,GFG-188 | EN_01)METAL,01)19/3.75,SC/GZ,02)PLP,GFG-188,01)PREFORMED LINE PRODUCTS,01)GFG-188,01)PREFORMED LINE PRODUCTS,01)GFG-188 | GFG-188 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-188 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-100/GFG-100.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 18.8 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | BLACK | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 19/3.75,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253676 | 1253676 | EA | GRIP,WIRE;MTL,22.0MM CABLE,PLP,GFG-220 | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:22.0MM CABLE,PLP,GFG-220 | EN_01)METAL,01)22.0MM CABLE,02)PLP,GFG-220,01)PREFORMED LINE PRODUCTS,01)GFG-220,01)PREFORMED LINE PRODUCTS,01)GFG-220 | GFG-220 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-220 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE | NOMINAL SIZE | 22 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | PART NUMBER BASED ON WEB SOURCE | 1253192 | 1253192 | EA | GRIP,WIRE;MTL,3/2.00,SC/GZ,PLP,GFG-043 | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:3/2.00,SC/GZ,PLP,GFG-043 | EN_01)METAL,01)3/2.00,SC/GZ,02)PLP,GFG-043,01)PREFORMED LINE PRODUCTS,01)GFG-043,01)PREFORMED LINE PRODUCTS,01)GFG-043 | GFG-043 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-043-CL | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GDT-055-76/GFG_043_pdf.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 4.25 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | BROWN | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3/2.00,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253677 | 1253677 | EA | GRIP,WIRE;MTL,PLP,FTG-175 | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,FTG-175,FT,30/7/2.50 & 2.59 ACSR | EN_01)METAL,01)PLP,FTG-175,02)FT,30/7/2.50 & 2.59 ACSR,01)PREFORMED LINE PRODUCTS,01)FTG-175,01)PREFORMED LINE PRODUCTS,01)FTG-175 | FTG-175 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | FTG-175 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/FTG-175/FTG-175_pdf.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 17.5 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | BLUE | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FT,30/7/2.50 & 2.59 ACSR | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253194 | 1253194 | EA | GRIP,WIRE;MTL,PLP,FTG-210 | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,FTG-210,FT,30/7/3.00,ACSR | EN_01)METAL,01)PLP,FTG-210,02)FT,30/7/3.00,ACSR,01)PREFORMED LINE PRODUCTS,01)FTG-210,01)PREFORMED LINE PRODUCTS,01)FTG-210 | FTG-210 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | FTG-210 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/FTG-175/FTG-175_pdf.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 21 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | RED | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FT,30/7/3.00,ACSR | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253193 | 1253193 | EA | GRIP,WIRE;MTL,PLP,GFG-025-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-025-CL,1/2.50,SC/GZ,CABLED LOOP | EN_01)METAL,01)PLP,GFG-025-CL,02)1/2.50,SC/GZ,CABLED LOOP,01)PREFORMED LINE PRODUCTS,01)GFG-025-CL,01)PREFORMED LINE PRODUCTS,01)GFG-025-CL | GFG-025-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-025-CL | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-055/GFG-055.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE | 2.5 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | BLUE | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1/2.50,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253191 | 1253191 | EA | GRIP,WIRE;MTL,PLP,GFG-048-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-048-CL,7/1.60,SC/GZ,CABLED LOOP | EN_01)METAL,01)PLP,GFG-048-CL,02)7/1.60,SC/GZ,CABLED LOOP,01)PREFORMED LINE PRODUCTS,01)GFG-048-CL,01)PREFORMED LINE PRODUCTS,01)GFG-048-CL | GFG-048-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-048-CL | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-055/GFG-055.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE | 4.8 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | BLACK | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 7/1.60,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253190 | 1253190 | EA | GRIP,WIRE;MTL,PLP,GFG-055,3/2.75,SC/GZ | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-055,3/2.75,SC/GZ | EN_01)METAL,01)PLP,GFG-055,02)3/2.75,SC/GZ,01)PREFORMED LINE PRODUCTS,01)GFG-055,01)PREFORMED LINE PRODUCTS,01)GFG-055 | GFG-055 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-055 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-055/GFG-055.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 5.5 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | WHITE/GREEN | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3/2.75,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | PART NUMBER BASED ON WEB SOURCE | 1253189 | 1253189 | EA | GRIP,WIRE;MTL,PLP,GFG-060,7/2.00,SC/GZ | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-060,7/2.00,SC/GZ | EN_01)METAL,01)PLP,GFG-060,02)7/2.00,SC/GZ,01)PREFORMED LINE PRODUCTS,01)GFG-060,01)PREFORMED LINE PRODUCTS,01)GFG-060 | GFG-060 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-060-CL | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-055/GFG-055.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 6 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | YELLOW | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 7/2.00,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253188 | 1253188 | EA | GRIP,WIRE;MTL,PLP,GFG-060-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-060-CL,7/2.00,SC/GZ,CABLED LOOP | EN_01)METAL,01)PLP,GFG-060-CL,02)7/2.00,SC/GZ,CABLED LOOP,01)PREFORMED LINE PRODUCTS,01)GFG-060-CL,01)PREFORMED LINE PRODUCTS,01)GFG-060-CL | GFG-060-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-060-CL | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-055/GFG-055.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE | 6 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | YELLOW | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 7/2.00,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253187 | 1253187 | EA | GRIP,WIRE;MTL,PLP,GFG-080-30 | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:5/16IN,SC/GZ,CABLE LOOP,30MM,PLP,GFG-080-30 | EN_01)METAL,01)5/16IN,SC/GZ,CABLE LOOP,30M,02)PLP,GFG-080-30,01)PREFORMED LINE PRODUCTS,01)GFG-080-30,01)PREFORMED LINE PRODUCTS,01)GFG-080-30 | GFG-080-30 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-080-30 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE | 30 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5/16 IN,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253186 | 1253186 | EA | GRIP,WIRE;MTL,PLP,GFG-080-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-080-CL,5/16IN,SC/GZ,CABLE LOOP | EN_01)METAL,01)PLP,GFG-080-CL,02)5/16IN,SC/GZ,CABLE LOOP,01)PREFORMED LINE PRODUCTS,01)GFG-080-CL,01)PREFORMED LINE PRODUCTS,01)GFG-080-CL | GFG-080-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-080-CL | [5 empty] | https://www.repelec.com.au/preformed-deadend-grip-stranding-5-16-code-red-20.html | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE |  | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | RED | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5/16 IN,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253185 | 1253185 | EA | GRIP,WIRE;MTL,PLP,GFG-083-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-083-CL,7/2.75,SC/GZ,CABLED LOOP | EN_01)METAL,01)PLP,GFG-083-CL,02)7/2.75,SC/GZ,CABLED LOOP,01)PREFORMED LINE PRODUCTS,01)GFG-083-CL,01)PREFORMED LINE PRODUCTS,01)GFG-083-CL | GFG-083-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-083-CL | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-083-CL/GFG_083_CL.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE | 8.25 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | WHITE | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 7/2.75,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253184 | 1253184 | EA | GRIP,WIRE;MTL,PLP,GFG-100 | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-100,19/2.00 & 7/3.25,SC/GZ | EN_01)METAL,01)PLP,GFG-100,02)19/2.00 & 7/3.25,SC/GZ,01)PREFORMED LINE PRODUCTS,01)GFG-100,01)PREFORMED LINE PRODUCTS,01)GFG-100 | GFG-100 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-100 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-083-CL/GFG_083_CL.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 9.75 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | ORANGE/YELLOW | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 19/2.00 & 7/3.25,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253183 | 1253183 | EA | GRIP,WIRE;MTL,PLP,GFG-113-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:7/3.75,SC/GZ,CABLED LOOP,LM30722,PLP,GFG-113-CL | EN_01)METAL,01)7/3.75,SC/GZ,CABLED LOOP,LM,02)PLP,GFG-113-CL,01)PREFORMED LINE PRODUCTS,01)GFG-113-CL,01)PREFORMED LINE PRODUCTS,01)GFG-113-CL | GFG-113-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-113-CL |  |  | LM30722 |  |  | https://preformed.com/au/images/pdfs/Resources/GFG-083-CL/GFG_083_CL.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE | 11.25 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | BLACK | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 7/3.75,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253182 | 1253182 | EA | GRIP,WIRE;MTL,PLP,GFG-113-LT-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-113-LT-CL,7/3.75,SC/GZ,LTD TENSION,CABLED L | EN_01)METAL,01)PLP,GFG-113-LT-CL,02)7/3.75,SC/GZ,LTD TENSION,CA,01)PREFORMED LINE PRODUCTS,01)GFG-113-LT-CL,01)PREFORMED LINE PRODUCTS,01)GFG-113-LT-CL | GFG-113-LT-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-113-LT-CL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP | NOMINAL SIZE |  | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 7/3.75,SC/GZ,LTD TENSION | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253181 | 1253181 | EA | GRIP,WIRE;MTL,PLP,GFG-120,7/4.00,SC/GZ | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-120,7/4.00,SC/GZ | EN_01)METAL,01)PLP,GFG-120,02)7/4.00,SC/GZ,01)PREFORMED LINE PRODUCTS,01)GFG-120,01)PREFORMED LINE PRODUCTS,01)GFG-120 | GFG-120 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-120 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-055/GFG-055.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 12 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | BLACK | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 7/4.00,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253180 | 1253180 | EA | GRIP,WIRE;MTL,PLP,GFG-138,19/2.75,SC/GZ | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-138,19/2.75,SC/GZ | EN_01)METAL,01)PLP,GFG-138,02)19/2.75,SC/GZ,01)PREFORMED LINE PRODUCTS,01)GFG-138,01)PREFORMED LINE PRODUCTS,01)GFG-138 | GFG-138 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-138 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-055/GFG-055.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 13.75 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | WHITE | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 19/2.75,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253179 | 1253179 | EA | GRIP,WIRE;MTL,PLP,GFG-160-H | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-160-H,16MM OD,CABLE HARDEX | EN_01)METAL,01)PLP,GFG-160-H,02)16MM OD,CABLE HARDEX,01)PREFORMED LINE PRODUCTS,01)GFG-160-H,01)PREFORMED LINE PRODUCTS,01)GFG-160-H | GFG-160-H | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-160-H | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE HARDEX | NOMINAL SIZE | 16 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253178 | 1253178 | EA | GRIP,WIRE;MTL,PLP,GFG-160-WR-CL | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:16MM OD,WIRE ROPE,CABLED LOOP,PLP,GFG-160-WR-CL | EN_01)METAL,01)16MM OD,WIRE ROPE,CABLED LO,02)PLP,GFG-160-WR-CL,01)PREFORMED LINE PRODUCTS,01)GFG-160-WR-CL,01)PREFORMED LINE PRODUCTS,01)GFG-160-WR-CL | GFG-160-WR-CL | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-160-WR-CL | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-100/GFG-100.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | CABLE LOOP,WIRE ROPE | NOMINAL SIZE | 16 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | WHITE | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253177 | 1253177 | EA | GRIP,WIRE;MTL,PLP,GFG-163,19/3.25,SC/GZ | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,GFG-163,19/3.25,SC/GZ | EN_01)METAL,01)PLP,GFG-163,02)19/3.25,SC/GZ,01)PREFORMED LINE PRODUCTS,01)GFG-163,01)PREFORMED LINE PRODUCTS,01)GFG-163 | GFG-163 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | GFG-163 | [5 empty] | https://preformed.com/au/images/pdfs/Resources/GFG-100/GFG-100.pdf | [10 empty] | ENRICHED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE |  | NOMINAL SIZE | 16.25 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR | ORANGE | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 19/3.25,SC/GZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1253675 | 1253675 | EA | GRIP,WIRE;MTL,PLP,WRG-10,WIREROPE,10MM | CABLE AGARRE; | CBLE LEVAGE; | GRIP,WIRE;MATERIAL:METAL,ADDITIONAL FEATURES EN:PLP,WRG-10,WIRE ROPE,10MM | EN_01)METAL,01)PLP,WRG-10,02)WIRE ROPE,10MM,01)PREFORMED LINE PRODUCTS,01)WRG-10,01)PREFORMED LINE PRODUCTS,01)WRG-10 | WRG-10 | 1068388 | PREFORMED LINE PRODUCTS (AUST) | PREFORMED LINE PRODUCTS (AUST) | WRG-10 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | WIRE ROPE | NOMINAL SIZE | 10 MM | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL | METAL | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1294782 | 1294782 | EA | GRIP,WIRE;WVN,22-33 MM,CABLE PULL |  |  | GRIP,WIRE;TYPE:WOVEN,WIRE RANGE:22-33 MM,ADDITIONAL FEATURES EN:CABLE PULL,MNFR:01)BULIVANT,PTNO:01)WCPS-022-032-D3-LB | EN_01)WOVEN,22-33 MM,01)CABLE PULL,01)BULIVANT,01)WCPS-022-032-D3-LB |  |  | BULIVANT | BULIVANT | WCPS-022-032-D3-LB | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | WOVEN,CABLE PULL | NOMINAL SIZE |  | WIRE RANGE | 22 TO 33 MM | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL |  | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1318004 | 1318004 | EA | GRIP,WIRE;WVN,40-55 MM,MSH LG 800 MM,MM |  |  | GRIP,WIRE;TYPE:WOVEN,WIRE RANGE:40-55 MM,MESH LENGTH:800 MM,ADDITIONAL FEATURES EN:1000KG SWL, 20MM THIMBLES, BREAKING 35KN, DOUBLE EYE, EYELENGTH 500,MM,MNFR:01)ISADRAUL,PTNO:01)D2040 | EN_01)WOVEN,40-55 MM,800 MM,01)1000KG SWL, 20MM THIMBLES,02)MM,01)ISADRAUL,01)D2040 |  |  | ISADRAUL | ISADRAUL | D2040 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | WOVEN,DOUBLE EYE | NOMINAL SIZE |  | WIRE RANGE | 40 TO 55 MM | MESH LENGTH | 800 MM | CONDUCTOR TYPE |  | MATERIAL |  | COLOUR |  | BREAKING STRENGTH | 35 KN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1000 KG SWL,20 MM THIMBLESEYELENGTH:500 MM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1236690 | 1236690 | EA | GRIP,WIRE;WVN,BULIVANT |  |  | GRIP,WIRE;TYPE:WOVEN,ADDITIONAL FEATURES EN:STOCKING 85-100 CABLE PULL A8,MNFR:01)BULIVANT,PTNO:01)WCPS-085-100-A8-LB | EN_01)WOVEN,01)STOCKING 85-100 CABLE PULL,01)BULIVANT,01)WCPS-085-100-A8-LB |  |  | BULIVANT | BULIVANT | WCPS-085-100-A8-LB | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121725 Electrical cable grip | GRIP | WIRE | TYPE | WOVEN | NOMINAL SIZE |  | WIRE RANGE |  | MESH LENGTH |  | CONDUCTOR TYPE |  | MATERIAL |  | COLOUR |  | BREAKING STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STOCKING 85 TO 100 CABLE PULL A8 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1232382 | 1232382 | EA | INSULATOR,ELEC;SLEEVING,PVC |  |  | INSULATOR,ELECTRICAL;TYPE:SLEEVING,MATERIAL:PVC,SIZE:ID 6 X THK 0.7 MM,ADDITIONAL FEATURES EN:COLOUR: BLACK , ROLL = 25 SLEEVES, MNFR:01)ASHDOWN,PTNO:01)ACX1139 | EN_01)SLEEVING,EN_01)PVC,EN_01)ID 6 X THK 0.7 MM,01)COLOUR: BLACK , ROLL = 25 S,01)ASHDOWN,01)ACX1139 |  |  | ASHDOWN | ASHDOWN | ACX1139 | [5 empty] | https://www.sparesbox.com.au/part/oex-pvc-sleeving-6mm-x-25m-acx1139 | [10 empty] | ENRICHED | 39121404 Electrical sleeves | SLEEVE | CABLE | TYPE | ROLL | CONDUCTOR SIZE |  | CABLE SIZE |  | SLEEVE DIAMETER | 6 MM | SLEEVE LENGTH | 25 M | MATERIAL | PVC | TEMPERATURE RATING |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 0.75 MM THK | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1317605 | 1317605 | EA | INSULATOR,ELEC;SLEEVING,PVC |  |  | INSULATOR,ELECTRICAL;TYPE:SLEEVING,MATERIAL:PVC,SIZE:ID 9 MM X LG 25 M/ROLL X THK 0.75 MM,ADDITIONAL FEATURES EN:COLOUR: BLACK, MNFR:01)ASHDOWN,PTNO:01)ACX1140 | EN_01)SLEEVING,EN_01)PVC,EN_01)ID 9 MM X LG 25 M/ROLL X,01)COLOUR: BLACK,01)ASHDOWN,01)ACX1140 |  |  | ASHDOWN | ASHDOWN | ACX1140 | [5 empty] | https://www.4wd247.com/products/oex-pvc-sleeving-9mm-x-25m-acx1140 | [10 empty] | ENRICHED | 39121404 Electrical sleeves | SLEEVE | CABLE | TYPE | ROLL | CONDUCTOR SIZE |  | CABLE SIZE |  | SLEEVE DIAMETER | 9 MM | SLEEVE LENGTH | 25 M | MATERIAL | PVC | TEMPERATURE RATING |  | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 0.75 MM THK | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1353376 | 1353376 | EA | INSULATOR,ELEC;SLEEVING,PVC |  |  | INSULATOR,ELECTRICAL;TYPE:SLEEVING,MATERIAL:PVC,SIZE:ID 16 MM X OD 20.9 MM X LG 10 M/ROLL,ADDITIONAL FEATURES EN:COLOUR: BLACK, ONLY, WIRING HARNESS,MNFR:01)BAXTERS,PTNO:01)ACX1109,MNFR:02)ASHDOWN,PTNO:02)NC16 | EN_01)SLEEVING,EN_01)PVC,EN_01)ID 16 MM X OD 20.9 MM X,01)COLOUR: BLACK, ONLY, WIRING,01)BAXTERS,02)ASHDOWN,01)ACX1109,02)NC16 |  |  | ASHDOWN | BAXTERS | ACX1109 |  | ASHDOWN | NC16 |  |  | https://www.4wd247.com/products/oex-convoluted-split-tubing-16-6mm-x-10m-acx1109 | [10 empty] | ENRICHED | 40180000 Tubes tubing and tube fittings | TUBING | NO MODIFIER | TYPE | SLEEVING | INSIDE DIAMETER | 16 MM | OUTSIDE DIAMETER | 20.9 MM | LENGTH | 10 M/ROLL | MATERIAL | PVC | PRESSURE RATING |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:BLACK,ONLY,WIRING HARNESS | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1280735 | 1280735 | EA | INSULATOR;FOAM TAPE |  |  | INSULATOR;TYPE:FOAM TAPE,ADDITIONAL FEATURES EN:1/8 X 2 X 30 CAT NO 210088,MNFR:01)ACTROL PARTS PTY LTD,PTNO:01)1901062 | EN_01)FOAM TAPE,01)1/8 X 2 X 30 CAT NO 210088,01)ACTROL PARTS PTY LTD,01)1901062 |  |  | ACTROL PARTS PTY LTD | ACTROL PARTS PTY LTD | 1901062 | [5 empty] | https://www.actrol.com.au/product/insulflex-foam-insulation-tape-3mm-thick-x-50mm-1901062 | [10 empty] | ENRICHED | 30141500 Thermal insulation | TAPE | INSULATION | TYPE | FOAM | LENGTH | 9.14 M ROLL | WIDTH | 50 MM | THICKNESS | 3 MM | ADHESIVE TYPE |  | MATERIAL |  | COLOR |  | INSULATION CLASS |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAT NO:210088 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1290190 | 1290190 | EA | INSULATOR;SECT,STEEL GALVANIZED,WAMPFLER |  |  | INSULATOR;TYPE:SECTION,MATERIAL:STEEL GALVANIZED,MNFR:01)WAMPFLER,PTNO:01)081296-1 | EN_01)SECTION,STEEL GALVANIZED,01)WAMPFLER,01)081296-1 |  |  | WAMPFLER | WAMPFLER | 081296-1 | [5 empty] | https://partners.conductix.us/shop/800-Series-Conductor-Rails/800-Other-Items/~081296-1 | [10 empty] | ENRICHED | 30140000 Insulation | INSULATION | NO MODIFIER | TYPE | SECTION | SIZE | 200 MM | THICKNESS |  | MATERIAL | STEEL GALVANIZED | TEMPERATURE RATING |  | DENSITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1346911 | 1346911 | EA | JAW;CHUCK, BQ ROD,SET OF 3,LONGYEAR |  |  | JAW;TYPE:CHUCK, BQ ROD,ADDITIONAL FEATURES EN:SET OF 3,MNFR:01)LONGYEAR,PTNO:01)80568 | 01)LONGYEAR,01)80568,CHUCK, BQ ROD,01)SET OF 3 |  |  | LONGYEAR | LONGYEAR | 80568 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | CHUCK,BQ ROD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SET OF 3 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1237670 | 1237670 | EA | JAW;CHUCK,B ROD,MINDRILL,MD1000-24B |  |  | JAW;TYPE:CHUCK,ADDITIONAL FEATURES EN:B ROD,MNFR:01)MINDRILL,PTNO:01)MD1000-24B | 01)MINDRILL,01)MD1000-24B,CHUCK,01)B ROD |  |  | MINDRILL | MINDRILL | MD1000-24B | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | CHUCK,BQ ROD | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1298488 | 1298488 | EA | JAW;CRUSHER, MIDDLE FIXED,BRAK,BK50643A |  |  | JAW;TYPE:CRUSHER, MIDDLE FIXED,ADDITIONAL FEATURES EN:CAVITY SUBASSY, 84 X 60 DOUBLE TOGGLE,MNFR:01)BRADKEN,PTNO:01)BK50643A | 01)BRADKEN,01)BK50643A,CRUSHER, MIDDLE FIXED,01)CAVITY SUBASSY, 84 X 60 DOU |  |  | BRADKEN | BRADKEN | BK50643A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | CRUSHER,MIDDLE FIXED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAVITY SUBASSEMBLY,84X60 DOUBLE TOGGLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1298486 | 1298486 | EA | JAW;CRUSHER, MIDDLE SWING,BRAK,BK50645A |  |  | JAW;TYPE:CRUSHER, MIDDLE SWING,ADDITIONAL FEATURES EN:CAVITY SUBASSY, 84 X 60 DOUBLE TOGGLE,MNFR:01)BRADKEN,PTNO:01)BK50645A | 01)BRADKEN,01)BK50645A,CRUSHER, MIDDLE SWING,01)CAVITY SUBASSY, 84 X 60 DOU |  |  | BRADKEN | BRADKEN | BK50645A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | CRUSHER,MIDDLE SWING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAVITY SUBASSEMBLY,84X60 DOUBLE TOGGLE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1295166 | 1295166 | EA | JAW;HALF,COPPER,GEMCO,14348 |  |  | JAW;TYPE:HALF,MATERIAL:COPPER,MNFR:01)GEMCO,PTNO:01)14348 | 01)GEMCO,01)14348,HALF,COPPER |  |  | GEMCO | GEMCO | 14348 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | HALF | SIZE |  | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276567 | 1276567 | EA | JAW;HEAVY DUTY DRILL VICE |  |  | JAW;TYPE:HEAVY DUTY DRILL VICE,SIZE:630 X 340 X 160 MM,ADDITIONAL FEATURES EN:JAW WIDTH: 200MM, JAW OPENING: 200MM,MNFR:01)HARE AND | 01)HARE & FORBES,01)V158,HEAVY DUTY DRILL VICE,EN_01)630 X 340 X 160 MM,01)JAW WIDTH: 200MM, JAW OPENI |  |  | HARE AND | HARE AND FORBES | V158 | [5 empty] | https://www.machineryhouse.com.au/v158 | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | HEAVY DUTY DRILL VICE | SIZE | 630X340X160 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | JAW WIDTH:200 MM,JAW OPENING:200 MM | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1318978 | 1318978 | EA | JAW;JAW LINER,FIXED QUARRY TOOTH PROFILE |  |  | JAW;ADDITIONAL FEATURES EN:JAW LINER,FIXED QUARRY TOOTH PROFILE,MNFR:01)FINLAY,PTNO:01)31-10-0205 | 01)FINLAY,01)31-10-0205,01)JAW LINER,FIXED QUARRY TOOT |  |  | FINLAY | FINLAY | 31-10-0205 | [5 empty] | https://www.crusherconsumables.co.uk/product-page/31-10-0205-fixed-jaw-quarry-tooth-6-2t-18-mn-terex-finlay-j-1175 | [10 empty] | ENRICHED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | LINER,FIXED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FIXED QUARRY TOOTH PROFILE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1352879 | 1352879 | EA | JAW;JAW:WELD ON JAW,TF500 CENTRALISER |  |  | JAW;ADDITIONAL FEATURES EN:JAW:WELD ON JAW,TF500 CENTRALISER,MNFR:01)GEOGRAPH,PTNO:01)11477445 | 01)GEOGRAPH,01)11477445,01)JAW:WELD ON JAW,TF500 CENTR |  |  | GEOGRAPH | GEOGRAPH | 11477445 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | WELD ON | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TF500 CENTRALISER | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1237704 | 1237704 | EA | JAW;LOOSE |  |  | JAW;TYPE:LOOSE,MNFR:01)MINDRILL,PTNO:01)4077-6 | 01)MINDRILL,01)4077-6,LOOSE |  |  | MINDRILL | MINDRILL | 4077-6 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | LOOSE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1288051 | 1288051 | EA | JAW;LOWER UPPER, FIXED |  |  | JAW;TYPE:LOWER UPPER, FIXED,MNFR:01)JAQUES,PTNO:01)74189-IT05 -BK50642 | 01)JAQUES,01)74189-IT05 -BK50642,LOWER UPPER, FIXED |  |  | JAQUES | JAQUES | 74189-IT05 -BK50642 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | LOWER UPPER,FIXED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1287785 | 1287785 | EA | JAW;LOWER, UPPER SWING |  |  | JAW;TYPE:LOWER, UPPER SWING,MNFR:01)JAQUES,PTNO:01)74189-IT21 -BK50644 | 01)JAQUES,01)74189-IT21 -BK50644,LOWER, UPPER SWING |  |  | JAQUES | JAQUES | 74189-IT21 -BK50644 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | LOWER,UPPER SWING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276602 | 1276602 | EA | JAW;MAGNETIC SOFT,100 MM |  |  | JAW;TYPE:MAGNETIC SOFT,SIZE:100 MM,ADDITIONAL FEATURES EN:PLASTIC - 22100 - DAWN,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01) 058996 | 01)J.BLACKWOOD & SON LIMITED,01)05899687,MAGNETIC SOFT,EN_01)100 MM,01)PLASTIC - 22100 - DAWN |  |  | J.BLACKWOOD AND SON LIMITED | J.BLACKWOOD AND SON LIMITED | 058996 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | MAGNETIC SOFT | SIZE | 100 MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 22100-DAWN | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1287921 | 1287921 | EA | JAW;MIDDLE FIXED |  |  | JAW;TYPE:MIDDLE FIXED,MNFR:01)JAQUES,PTNO:01)74189-IT06 -BK50642 | 01)JAQUES,01)74189-IT06 -BK50642,MIDDLE FIXED |  |  | JAQUES | JAQUES | 74189-IT06 -BK50642 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | MIDDLE FIXED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1287920 | 1287920 | EA | JAW;MIDDLE SWING |  |  | JAW;TYPE:MIDDLE SWING,MNFR:01)JAQUES,PTNO:01)74189-IT22 -BK50645 | 01)JAQUES,01)74189-IT22 -BK50645,MIDDLE SWING |  |  | JAQUES | JAQUES | 74189-IT22 -BK50645 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | MIDDLE SWING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276600 | 1276600 | EA | JAW;MULTIFUNCTIONAL BENCH VICE,125 MM |  |  | JAW;TYPE:MULTIFUNCTIONAL BENCH VICE,SIZE:125 MM,MATERIAL:CAST IRON,ADDITIONAL FEATURES EN:REFERENCE NO: MPN TM101-125,MNFR:01) MOUNT ISA MINING SUPPLIES P/L,PTNO:01)TM101-125 | 01)MOUNT ISA MINING SUPPLIES P,01)TM101-125,MULTIFUNCTIONAL BENCH VICE,EN_01)125 MM,CAST IRON,01)REFERENCE NO: MPN TM101-125 |  |  | MOUNT ISA MINING SUPPLIES P/L | MOUNT ISA MINING SUPPLIES P/L | TM101-125 | [5 empty] | https://www.heatleys.com.au/itm-multi-purpose-bench-vice-cast-iron-125mm | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | MULTIFUNCTIONAL BENCH VICE | SIZE | 125 MM | MATERIAL | CAST IRON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REFERENCE NO:MPN TM101-125 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1295504 | 1295504 | EA | JAW;PSM LEFT, STACK ASSEMBLY,ITEM 100 |  |  | JAW;TYPE:PSM LEFT, STACK ASSEMBLY,ADDITIONAL FEATURES EN:ITEM 100,MNFR:01)SIGNODE,PTNO:01)17937,MNFR:02)SIGNODE,PTNO:02)568000, MNFR:03)SIGNODE,PTNO:03)E-568000 | 01)SIGNODE,02)SIGNODE,03)SIGNODE,01)17937,02)568000,03)E-568000,PSM LEFT, STACK ASSEMBLY,01)ITEM 100 |  |  | SIGNODE | SIGNODE | 17937 |  | SIGNODE | 568000 | SIGNODE | E-568000 | URL NOT FOUND |  | 100 | [8 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | PSM LEFT,STACK ASSEMBLY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1295503 | 1295503 | EA | JAW;PSM RIGHT, STACK ASSEMBLY,ITEM 101 |  |  | JAW;TYPE:PSM RIGHT, STACK ASSEMBLY,ADDITIONAL FEATURES EN:ITEM 101,MNFR:01)SIGNODE,PTNO:01)E-568001,MNFR:02)SIGNODE,PTNO:02)17938, MNFR:03)SIGNODE,PTNO:03)568001 | 01)SIGNODE,02)SIGNODE,03)SIGNODE,01)E-568001,02)17938,03)568001,PSM RIGHT, STACK ASSEMBLY,01)ITEM 101 |  |  | SIGNODE | SIGNODE | E-568001 |  | SIGNODE | 17938 | SIGNODE | 568001 | URL NOT FOUND |  | 101 | [8 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | PSM RIGHT,STACK ASSEMBLY | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1295511 | 1295511 | EA | JAW;STACK,SIGNODE,K17913 + 567483 |  |  | JAW;TYPE:STACK,ADDITIONAL FEATURES EN:PSM ASSY, M400N-114 STRAPPING HEAD,MNFR:01)SIGNODE,PTNO:01)K17913 + 567483 | 01)SIGNODE,01)K17913 + 567483,STACK,01)PSM ASSY, M400N-114 STRAPPI |  |  | SIGNODE | SIGNODE | K17913 + 567483 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | STACK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PSM ASSEMBLY,M400N-114 STRAPPING HEAD | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1345849 | 1345849 | EA | JAW;SWING HALF, LH,JAQUES,D79A1132L |  |  | JAW;TYPE:SWING HALF, LH,MNFR:01)JAQUES,PTNO:01)D79A1132L | 01)JAQUES,01)D79A1132L,SWING HALF, LH |  |  | JAQUES | JAQUES | D79A1132L | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | SWING HALF,LH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1345850 | 1345850 | EA | JAW;SWING HALF, RH,JAQUES,D79A1132R |  |  | JAW;TYPE:SWING HALF, RH,MNFR:01)JAQUES,PTNO:01)D79A1132R | 01)JAQUES,01)D79A1132R,SWING HALF, RH |  |  | JAQUES | JAQUES | D79A1132R | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | SWING HALF,RH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276808 | 1276808 | EA | JAW;VICE, MAGNETIC,150 MM,ALUMINUM |  |  | JAW;TYPE:VICE, MAGNETIC,SIZE:150 MM,MATERIAL:ALUMINUM,ADDITIONAL FEATURES EN:REQUIRED FOR 20L MAINT CREW,MNFR:01)HARE AND FORBES, PT | 01)HARE & FORBES,01)V0532,VICE, MAGNETIC,EN_01)150 MM,ALUMINUM,01)REQUIRED FOR 20L MAINT CREW |  |  | HARE AND FORBES | HARE AND FORBES,PT | V0532 | [5 empty] | https://www.machineryhouse.com.au/v0532 | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | VICE,MAGNETIC | SIZE | 150 MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REQUIRED FOR 20 L MAINT CREW | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276578 | 1276578 | EA | JAW;VICE, MAGNETIC,150 MM,ALUMINUM,RUBR |  |  | JAW;TYPE:VICE, MAGNETIC,SIZE:150 MM,MATERIAL:ALUMINUM,ADDITIONAL FEATURES EN:RUBBER,MNFR:01)HARE AND FORBES,PTNO:01)V0536 | 01)HARE & FORBES,01)V0536,VICE, MAGNETIC,EN_01)150 MM,ALUMINUM,01)RUBBER |  |  | HARE AND FORBES | HARE AND FORBES | V0536 | [5 empty] | https://www.machineryhouse.com.au/v0536 | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | VICE,MAGNETIC | SIZE | 150 MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RUBBER | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276570 | 1276570 | EA | JAW;VICE,150 MM,ALUMINUM,PRSM |  |  | JAW;TYPE:VICE,SIZE:150 MM,MATERIAL:ALUMINUM,ADDITIONAL FEATURES EN:PRISM,MNFR:01)HARE AND FORBES,PTNO:01)V0539 | 01)HARE & FORBES,01)V0539,VICE,EN_01)150 MM,ALUMINUM,01)PRISM |  |  | HARE AND FORBES | HARE AND FORBES | V0539 | [5 empty] | https://www.machineryhouse.com.au/v0539 | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | VICE,PRISM | SIZE | 150 MM | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276630 | 1276630 | EA | JAW;VICE,150 MM,DAWN |  |  | JAW;TYPE:VICE,SIZE:150 MM,ADDITIONAL FEATURES EN:DAWN,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)65156 | 01)CNW (MOUNT ISA) ELECT WHOLE,01)65156,VICE,EN_01)150 MM,01)DAWN |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 65156 | [5 empty] | https://www.audel.com.au/dawn-65156-vice-jaws-bolts-pair-steel-af-sp-os-qa-150mm-6/ | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | VICE,DAWN | SIZE | 150 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276754 | 1276754 | EA | JAW;VICE,150 MM,DAWN, 2 AXIS SLOT |  |  | JAW;TYPE:VICE,SIZE:150 MM,ADDITIONAL FEATURES EN:DAWN, 2 AXIS SLOT,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)65136 | 01)CNW (MOUNT ISA) ELECT WHOLE,01)65136,VICE,EN_01)150 MM,01)DAWN, 2 AXIS SLOT |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 65136 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | VICE,DAWN | SIZE | 150 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 2 AXIS SLOT | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | KIB | OK | 2023-07-21 | 2023-08-09 |  | 1276565 | 1276565 | EA | JAW;VICE,150 MM,TPU,MULT |  |  | JAW;TYPE:VICE,SIZE:150 MM,MATERIAL:TPU,ADDITIONAL FEATURES EN:MULTI,MNFR:01)HARE AND FORBES,PTNO:01)V0546 | 01)HARE & FORBES,01)V0546,VICE,EN_01)150 MM,TPU,01)MULTI |  |  | HARE AND FORBES | HARE AND FORBES | V0546 | [5 empty] | https://www.machineryhouse.com.au/v0546 | [10 empty] | ENRICHED | 23153000 Holding and positioning and guiding systems and devices | JAW | No Modifier | TYPE | VICE,MULTI | SIZE | 150 MM | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed