## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1278294 | 1278294 | EA | ADAPTER,TUBE-PIPE;STRAIGHT,25 MM,G1 IN |  |  | ADAPTER,TUBE TO PIPE;TYPE:STRAIGHT,TUBE SIZE:25 MM,PIPE SIZE:G1 IN,TUBE CONNECTION:COMPRESSION CAPTIVE SEAL,PIPE CONNECTION:11 BSPP,MATERIAL:STAINLESS STEEL,ADDITIONAL FEATURES EN:MSC,MNFR:01)CAVA,PTNO:01)GEV-25SR1.1WD | STRAIGHT,25 MM,G1 IN,EN_01)COMPRESSION CAPTIVE SEAL,EN_01)11 BSPP,EN_01)STAINLESS STEEL,01)MSC,01)CAVA,01)GEV-25SR1.1WD |  |  | CAVA | CAVA | GEV-25SR1.1WD | [5 empty] | https://hyspecs.blob.core.windows.net/datasheets/Hyspecs%20Metric%20Tube%20Fittings%20Pricelist.pdf | [10 empty] | Enriched | 40141700 Hardware and fittings | ADAPTER | TUBE TO PIPE | TYPE | STRAIGHT | TUBE SIZE | 25 MM | PIPE SIZE | 1 IN-11 TPI | TUBE CONNECTION | COMPRESSION CAPTIVE SEAL | PIPE CONNECTION | MALE STUD COUPLING BSPP | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STAINLESS STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1278503 | 1278503 | EA | ADAPTER,TUBE-PIPE;TEST POINT,3/4 IN,BSPT |  |  | ADAPTER,TUBE TO PIPE;TYPE:TEST POINT,TUBE SIZE:3/4 IN,PIPE SIZE:M16-2,TUBE CONNECTION:JIC FEMALE,PIPE CONNECTION:BSPT,MNFR:01) PIRTEK,PTNO:01)MFJB-12-12-02 | TEST POINT,3/4 IN,M16-2,EN_01)JIC FEMALE,EN_01)BSPT,01)PIRTEK,01)MFJB-12-12-02 |  |  | PIRTEK | PIRTEK | MFJB-12-12-02 | [5 empty] | https://www.pirtekusa.com/wp-content/uploads/2022/02/F-PIRTEK-USA-Accessories-Section.pdf | [10 empty] | Enriched | 40183109 Tube adapter | ADAPTER | TUBE | TYPE |  | NOMINAL SIZE | 1-1/16 IN-12 TPI | END CONNECTION | JIC MALE X JIC FEMALE | LENGTH |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEST CONNECTION:M16X2 MM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1292978 | 1292978 | EA | ANTENNA;2 PIECE,415 MHZ,15 ELEMENT |  |  | ANTENNA;TYPE:2 PIECE,FREQUENCY RATING:415 MHZ,SHAPE:15 ELEMENT,MATERIAL:ALUMINUM,MNFR:01)REMCONT,PTNO:01)4150 | 01)REMCONT,01)4150,EN_01)2 PIECE,415 MHZ,15 ELEMENT,ALUMINUM |  |  | REMCONT | REMCONT | 4150 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 43221700 Fixed network equipment and components | ANTENNA | No Modifier | TYPE | 2-PIECE | GAIN |  | FREQUENCY RATING | 415 MHZ | BANDWIDTH |  | POLARIZATION |  | SHAPE | 15 ELEMENT | SIZE |  | CONNECTION TYPE |  | MATERIAL | ALUMINUM | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1353516 | 1353516 | EA | ANTENNA;3 DBI,2.4 GHZ,DOME,PANEL,REMCONT |  |  | ANTENNA;GAIN:3 DBI,FREQUENCY RATING:2.4 GHZ,SHAPE:DOME,MOUNTING TYPE:PANEL,ADDITIONAL FEATURES EN:GSM, WIRELESS,MNFR:01)REMCONT, PTNO:01)TRA24003P,MNFR:02)WENINTER,PTNO:02)10388 | 01)REMCONT,02)WENINTER,01)TRA24003P,02)10388,3 DBI,2.4 GHZ,DOME,PANEL,01)GSM, WIRELESS |  |  | WENINTER | REMCONT | TRA24003P |  | WENINTER | 10388 |  |  | https://www.tti.com/content/ttiinc/en/apps/part-detail.html?partsNumber=TRA24003P&mfgShortname=TYC&utm=top&gad=1&gclid=Cj0KCQjwz8emBhDrARIsANNJjS6rXuumXHmka4RY0xMxnC9F8wmn6FHPGCxRzUjYyTzN4ssjL-7D_F4aAvsOEALw_wcB | [10 empty] | Enriched | 43221700 Fixed network equipment and components | ANTENNA | No Modifier | TYPE |  | GAIN | 3 DBI | FREQUENCY RATING | 2.4 TO 2.5 GHZ | BANDWIDTH |  | POLARIZATION |  | SHAPE | DOME | SIZE | 36.52 DIAX69.85 LG MM | CONNECTION TYPE | N FEMALE | MATERIAL |  | MOUNTING TYPE | PANEL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GSM,FOR WIRELESS APPLICATIONS | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1353320 | 1353320 | EA | ANTENNA;FLEX, HELICAL,2.1 DBI,171 MHZ |  |  | ANTENNA;TYPE:FLEXIBLE, HELICAL,GAIN:2.1 DBI,FREQUENCY RATING:171 MHZ,BANDWIDTH:VHF,POLARIZATION:VERTICAL,SHAPE:WHIP,SIZE:LG 205 MM,CONNECTION TYPE:THREADED,ADDITIONAL FEATURES EN:5/16 IN TPI, 25W, RUGGED COVERING,MNFR:01)ZCGANTEN,PTNO:01)M99RT-171 | 01)ZCGANTEN,01)M99RT-171,EN_01)FLEXIBLE, HELICAL,2.1 DBI,171 MHZ,VHF,VERTICAL,WHIP,EN_01)LG 205 MM,THREADED,01)5/16 IN TPI, 25W, RUGGED CO |  |  | ZCGANTEN | ZCG SCALAR | M99RT-171 | [5 empty] | https://zcg.com.au/product/vhf-highly-flexible-helical-whip-171-mhz-5-16-brass-female-thread-25w-2-1-dbi-205mm/ | [10 empty] | Enriched | 43221700 Fixed network equipment and components | ANTENNA | No Modifier | TYPE | HIGHLY FLEXIBLE WHIP | GAIN | 2.1 DBI | FREQUENCY RATING | 171 MHZ | BANDWIDTH | VHF | POLARIZATION | VERTICAL | SHAPE | HELICAL | SIZE | 205 MM LG | CONNECTION TYPE | 5/16 IN-26 TPI FEMALE | MATERIAL | BRASS CONNECTION | MOUNTING TYPE | VEHICLE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER RATING:25 W,COVERING TYPE:RUGGED | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1344832 | 1344832 | EA | ANTENNA;STOPE,VHF,-20 TO 60 DEG C |  |  | ANTENNA;TYPE:STOPE,FREQUENCY RATING:VHF,SIZE:WD 130 X LG 900 X HT 75 MM,TEMPERATURE RATING:-20 TO 60 DEG C,MNFR:01)VARIS,PTNO:01) RNG-AN1 | 01)VARIS,01)RNG-AN1,EN_01)STOPE,VHF,EN_01)WD 130 X LG 900 X HT 75,-20 TO 60 DEG C |  |  | VARIS | VARIS | RNG-AN1 | [5 empty] | https://www.dixonelectric.ca/products/13-data-communication/05-networking-hardware/08-wireless-networking/02-antennas-accessories/p-VkFSUk5HQU4x-varis-mine-technology-rng-an1-stope-antenna-vhf-for-smart-com-150-or-smart-com-150is-intrinsically-safe-system | [10 empty] | Cleansed | 43221700 Fixed network equipment and components | ANTENNA | No Modifier | TYPE | STOPE | GAIN |  | FREQUENCY RATING |  | BANDWIDTH | VHF | POLARIZATION |  | SHAPE |  | SIZE | 900 LGX130 WDX75 HT MM | CONNECTION TYPE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1300132 | 1300132 | EA | ANTENNA;UNITY,66-175 MHZ,BND WD VHF,WHIP |  |  | ANTENNA;TYPE:UNITY,FREQUENCY RATING:66-175 MHZ,BANDWIDTH:VHF,SHAPE:WHIP,SIZE:LG 1.277 M,MATERIAL:STAINLESS STEEL 17-7 PH TAPERED, ADDITIONAL FEATURES EN:PRE-CUT TO LENGTH AND LOCTITED,MNFR:01)RICOM,PTNO:01)TSW1 | 01)RICOM,01)TSW1,EN_01)UNITY,66-175 MHZ,VHF,WHIP,EN_01)LG 1.277 M,STAINLESS STEEL 17-7 PH TAPERE,01)PRE-CUT TO LENGTH AND LOCTI |  |  | RICOM | RICOM | TSW1 | [5 empty] | https://spheredrones.com.au/products/tsw1-tapered-s-s-vhf-whip-antenna-mb3-base-required | [10 empty] | Enriched | 43221700 Fixed network equipment and components | ANTENNA | No Modifier | TYPE | WHIP | GAIN |  | FREQUENCY RATING | 66 TO 175 MHZ | BANDWIDTH | VHF | POLARIZATION |  | SHAPE | WHIP | SIZE | LG 1.277 M | CONNECTION TYPE | 5/16 IN-26 TPI | MATERIAL | 17-7 PH TAPERED STAINLESS STEEL WHIP | MOUNTING TYPE | MB3 BASE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UNITY,PRE-CUT TO LENGTH AND LOCTITED | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 | Processed based on Websource, Conflict w.r.t Input | 1215198 | 1215198 | EA | ATOMIZER;BOTL,ANTI SPATTER,EMPTY,TRIG,50 | ATOMIZADOR; | ATOMISEUR; | ATOMIZER;ADDITIONAL FEATURES EN:BOTTLE,ANTI SPATTER,EMPTY,TRIGGER,500ML,MNFR:BOC LIMITED,PTNO:1407/500 | 01)BOTTLE,ANTI SPATTER,EMPTY,T,01)BOC LIMITED,01)1407/500 | 1407/500 | 1068135 | BOC LIMITED | BOC LIMITED | 1407/500 | [5 empty] | https://www.boc.com.au/shop/en/au/empty-spray-bottle-for-boc-weld-guard-anti-spatter-1407-500-p | [10 empty] | Enriched | 24122000 Bottles or vials | BOTTLE | NO MODIFIER | TYPE | ANTI SPATTER,EMPTY,REFILLABLE TRIGGER | CAPACITY | 500 ML | MATERIAL |  | SIZE |  | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1282720 | 1282720 | EA | BUS BAR;COMB,80 A,230 VAC |  |  | BUS BAR;TYPE:COMB,CURRENT RATING:80 A,VOLTAGE RATING:230 VAC,ADDITIONAL FEATURES EN:IDT40, 1P+N, 12 MORS, SERIES NO: ACTI9,MNFR: 01)RS COMPONENTS PTY LTD,PTNO:01)191-9522 | COMB,80 A,230 VAC,01)IDT40, 1P+N, 12 MORS, SERIE,01)RS COMPONENTS PTY LTD,01)191-9522 |  |  | RS COMPONENTS PTY LTD | SCHNEIDER ELECTRIC | A9XPN612 |  | RS COMPONENTS PTY LTD | 191-9522 |  |  | https://www.se.com/fr/fr/product/A9XPN612/acti9-idt40-peigne-1p+n-12-modules-de-18mm-80a/ | https://in.rsdelivers.com/product/schneider-electric/a9xpn612/schneider-electric-acti-9-1-phase-busbar-230v-ac/1919522 | [9 empty] | Enriched | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | COMB | MATERIAL |  | CROSS SECTION |  | LENGTH | 218 MM | INSULATION MATERIAL |  | CURRENT RATING | 80 A | VOLTAGE RATING | 230 VAC | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN/IEC 60439-1 | ADDITIONAL FEATURES | POLE CONFIGURATION:1P+N,NUMBER OF MODULES:12,SIZE:32 HTX27 DP MM,SERIES NO:ACTI9,FOR IDT40 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1298593 | 1298593 | EA | BUS BAR;CONDUCTOR, HI TEMPERATURE,500 A |  |  | BUS BAR;TYPE:CONDUCTOR, HI TEMPERATURE,CURRENT RATING:500 A,MNFR:01)WAMPFLER,PTNO:01)081315-5X22 | CONDUCTOR, HI TEMPERATURE,500 A,01)WAMPFLER,01)081315-5X22 |  |  | WAMPFLER | CONDUCTIX-WAMPFLER | 081315-5X22 | [5 empty] | https://partners.conductix.us/shop/800-Series-Conductor-Rails/800-Other-Items/~081315-5X22 | https://www.conductix.us/sites/default/files/downloads/Catalog_-_Conductor_Rail_813_Series.pdf | [9 empty] | Enriched | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | CONDUCTOR RAIL,HI-TEMPERATURE | MATERIAL | COPPER | CROSS SECTION |  | LENGTH | 5 M | INSULATION MATERIAL | POLYPHENYLENE ETHER | CURRENT RATING | 500 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1348298 | 1348298 | EA | BUS BAR;CONDUCTOR,WAMPFLER |  |  | BUS BAR;TYPE:CONDUCTOR,ADDITIONAL FEATURES EN:CRANE EARTH EXPANSION PIECE, CONVERTER AISLE CRANE,MNFR:01)WAMPFLER,PTNO:01)081362- 5X22662 | CONDUCTOR,01)CRANE EARTH EXPANSION PIECE,01)WAMPFLER,01)081362-5X22662 |  |  | WAMPFLER | CONDUCTIX-WAMPFLER | 081362-5X22662 | [5 empty] | https://www.conductix.us/sites/default/files/downloads/Catalog_-_Conductor_Rail_813_Series.pdf | [10 empty] | Enriched | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | CONDUCTOR,EXPANSION UNIT | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CRANE EARTH EXPANSION PIECE,CONVERTER AISLE CRANE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1299045 | 1299045 | EA | BUS BAR;CONDUCTOR,WAMPFLER,081362-5X2261 |  |  | BUS BAR;TYPE:CONDUCTOR,ADDITIONAL FEATURES EN:CRANE PHASE EXPANSION PIECE, CONVERTER AISLE CRANE,MNFR:01)WAMPFLER,PTNO:01)081362- 5X2261 | CONDUCTOR,01)CRANE PHASE EXPANSION PIECE,01)WAMPFLER,01)081362-5X2261 |  |  | WAMPFLER | CONDUCTIX-WAMPFLER | 081362-5X2261 | [5 empty] | https://partners.conductix.us/shop/800-Series-Conductor-Rails/800-Other-Items/~081362-5X2261 | https://www.conductix.us/sites/default/files/downloads/Catalog_-_Conductor_Rail_813_Series.pdf | [9 empty] | Enriched | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | CONDUCTOR,EXPANSION UNIT | MATERIAL | COPPER,STAINLESS STEEL | CROSS SECTION |  | LENGTH | 5 M | INSULATION MATERIAL | POLYPHENYLENE ETHER | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CRANE PHASE EXPANSION PIECE,CONVERTER AISLE CRANE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1381438 | 1381438 | EA | BUS BAR;EXPANSION JOINT |  |  | BUS BAR;TYPE:EXPANSION JOINT,MNFR:01)WAMPFLER,PTNO:01)0812161-4X2132 | EXPANSION JOINT,01)WAMPFLER,01)0812161-4X2132 |  |  | WAMPFLER | CONDUCTIX-WAMPFLER | 0812161-4X2132 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | EXPANSION JOINT | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1381439 | 1381439 | EA | BUS BAR;EXPANSION JOINT,COPPER |  |  | BUS BAR;TYPE:EXPANSION JOINT,MATERIAL:COPPER,ADDITIONAL FEATURES EN:RAIL CONDUCTOR, PHASE,MNFR:01)WAMPFLER,PTNO:01)081261-4X2131 | EXPANSION JOINT,COPPER,01)RAIL CONDUCTOR, PHASE,01)WAMPFLER,01)081261-4X2131 |  |  | WAMPFLER | CONDUCTIX-WAMPFLER | 081261-4X2131 | [5 empty] | https://partners.conductix.us/shop/800-Series-Conductor-Rails/800-Other-Items/~081261-4X2131 | [10 empty] | Enriched | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | EXPANSION JOINT | MATERIAL | COPPER,STAINLESS STEEL | CROSS SECTION |  | LENGTH | 4 M | INSULATION MATERIAL | PVC | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RAIL CONDUCTOR,PHASE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1381408 | 1381408 | EA | BUS BAR;FLEXIBLE,S,LG 622 MM,RUBR,ERICO |  |  | BUS BAR;TYPE:FLEXIBLE,CROSS SECTION:S,LENGTH:622 MM,INSULATION MATERIAL:RUBBER,ADDITIONAL FEATURES EN:CONDUCTOR, 8 X 50 X 1, FLEXIBAR, WD 56 MM X THK 12 MM, 5 HOLES,MNFR:01)ERICO,PTNO:01)501130 | FLEXIBLE,S,622 MM,RUBBER,01)CONDUCTOR, 8 X 50 X 1, FLEX,01)ERICO,01)501130 |  |  | ERICO | ERICO | 501130 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | FLEXIBLE | MATERIAL |  | CROSS SECTION | S | LENGTH | 622 MM | INSULATION MATERIAL | RUBBER | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONDUCTOR,FLEXIBAR,SIZE:56 WDX12 THK MM,NUMBER OF HOLES:5,SIZE 2:8X50X1 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1232722 | 1232722 | EA | BUS BAR;INTERCONNECT,300 A,TP N 7/8,GEC |  |  | BUS BAR;TYPE:INTERCONNECT,CURRENT RATING:300 A,ADDITIONAL FEATURES EN:TPANDN 7/8,MNFR:01)GEC,PTNO:01)5DB2959-040 | INTERCONNECT,300 A,01)TP&N 7/8,01)GEC,01)5DB2959-040 |  |  | GEC | GEC | 5DB2959-040 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | INTERCONNECT | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 300 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TPANDN 7/8 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1232723 | 1232723 | EA | BUS BAR;INTERCONNECT,300 A,TP N EE |  |  | BUS BAR;TYPE:INTERCONNECT,CURRENT RATING:300 A,ADDITIONAL FEATURES EN:TPANDN EE,MNFR:01)GECIND,PTNO:01)521-8893 | INTERCONNECT,300 A,01)TP&N EE,01)GECIND,01)521-8893 |  |  | GECIND | GECIND | 521-8893 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | INTERCONNECT | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING | 300 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TPANDN EE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1282877 | 1282877 | EA | BUS BAR;LG 80 MM |  |  | BUS BAR;LENGTH:80 MM,ADDITIONAL FEATURES EN:PHASE CONNECTION, 40 X 6MM,MNFR:01)ENERGYQLD,PTNO:01)168575 | 80 MM,01)PHASE CONNECTION, 40 X 6MM,01)ENERGYQLD,01)168575 |  |  | ENERGYQLD | ENERGY QUEENSLAND | 168575 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | PHASE CONNECTION | MATERIAL |  | CROSS SECTION |  | LENGTH | 80 MM | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:40 HTX6 DP MM | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1283091 | 1283091 | EA | BUS BAR;LINK,165 A |  |  | BUS BAR;TYPE:LINK,CURRENT RATING:165 A,ADDITIONAL FEATURES EN:18 HOLE F/WIRING S/MAS PER ITEM 20 HAYMANS 10 A,MNFR:01)HAYMANS ELECTRICAL (PARTS),PTNO:01)ALSEB18 | LINK,165 A,01)18 HOLE F/WIRING S/MAS PER,01)HAYMANS ELECTRICAL (PARTS),01)ALSEB18 |  |  | HAYMANS ELECTRICAL (PARTS) | HAYMANS ELECTRICAL | ALSEB18 | [5 empty] | https://haymans.mmem.com.au/fortitude-valley/alseb18 |  | 20 | [8 empty] | Enriched | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | LINK,EARTH | MATERIAL |  | CROSS SECTION |  | LENGTH | 185 MM | INSULATION MATERIAL |  | CURRENT RATING | 165 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF HOLES:18,BOLT SIZE:M8,MOUNTING TYPE:SURFACE,CONNECTION TYPE:FRONT WIRING,FOR WIRING S/MAS,HAYMANS 10 A | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1344132 | 1344132 | EA | BUS BAR;ROTOR CONNECTION, CENTRE |  |  | BUS BAR;TYPE:ROTOR CONNECTION, CENTRE,MNFR:01)AOIP,PTNO:01)02DE604668-001 | ROTOR CONNECTION, CENTRE,01)AOIP,01)02DE604668-001 |  |  | AOIP | AOIP | 02DE604668-001 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | ROTOR CONNECTION,CENTRE | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1289672 | 1289672 | EA | BUS BAR;ROTOR CONNECTION, LH |  |  | BUS BAR;TYPE:ROTOR CONNECTION, LH,MNFR:01)AOIP,PTNO:01)02DE604678-001 | ROTOR CONNECTION, LH,01)AOIP,01)02DE604678-001 |  |  | AOIP | AOIP | 02DE604678-001 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | ROTOR CONNECTION,LEFT HAND | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1344448 | 1344448 | EA | BUS BAR;ROTOR CONNECTION, RH |  |  | BUS BAR;TYPE:ROTOR CONNECTION, RH,MNFR:01)AOIP,PTNO:01)02DE6004658-001 | ROTOR CONNECTION, RH,01)AOIP,01)02DE6004658-001 |  |  | AOIP | AOIP | 02DE6004658-001 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | ROTOR CONNECTION,RIGHT HAND | MATERIAL |  | CROSS SECTION |  | LENGTH |  | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1290332 | 1290332 | EA | CHASSIS,PLC;ELEC, RAC,8,EQUIP:1771 I/O |  |  | CHASSIS,PLC;ELECTRICAL, RAC,NUMBER OF SLOTS:8,ADDITIONAL FEATURES EN:EQUIP:1771 I/O,MNFR:01)ALENBRAD,PTNO:01)1771-A2B | 01)ALENBRAD,01)1771-A2B,EN_01)ELECTRICAL, RAC,01)EQUIP:1771 I/O |  |  | ALENBRAD | ALLEN-BRADLEY | 1771-A2B | ROCKWELL AUTOMATION |  |  |  |  | https://www.rockwellautomation.com/en-us/products/details.1771-A2B.html | https://www.dosupply.com/automation/allen-bradley-plc/plc-5/1771-A2B | [9 empty] | Enriched | 32151704 Programmable Logic Controller Chassis | CHASSIS | PLC | TYPE | UNIVERSAL INPUT/OUTPUT | SIZE | 315X193X356 MM | NUMBER OF SLOTS | 8 | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE | BACK PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE TYPE:OPNE STYLE,CURRENT RATING:16 A | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1290384 | 1290384 | EA | CHASSIS,PLC;ELECTRONIC EQUIPMENT,4,I/O |  |  | CHASSIS,PLC;TYPE:ELECTRONIC EQUIPMENT,NUMBER OF SLOTS:4,ADDITIONAL FEATURES EN:I/O,MNFR:01)ALENBRAD,PTNO:01)1771-A1B | 01)ALENBRAD,01)1771-A1B,EN_01)ELECTRONIC EQUIPMENT,01)I/O |  |  | ALENBRAD | ALLEN-BRADLEY | 1771-A1B | ROCKWELL AUTOMATION |  |  |  |  | https://www.rockwellautomation.com/en-us/products/details.1771-A1B.html | https://www.dosupply.com/automation/allen-bradley-plc/plc-5/1771-A1B | [9 empty] | Enriched | 32151704 Programmable Logic Controller Chassis | CHASSIS | PLC | TYPE | UNIVERSAL INPUT/OUTPUT | SIZE | 315X193X229 MM | NUMBER OF SLOTS | 4 | TEMPERATURE RATING |  | MATERIAL |  | MOUNTING TYPE | BACK PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE TYPE:OPNE STYLE,CURRENT RATING:16 A | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1277090 | 1277090 | EA | COOLANT;AIR COMPRESSOR, SYNTHETIC,ULTRA |  |  | COOLANT;TYPE:AIR COMPRESSOR, SYNTHETIC,TRADE NAME:ULTRA,CONTAINER SIZE:3.75 L,CONTAINER TYPE:BOTTLE PLASTIC,MNFR:01)MCGHIE ENTERPRISES QLD PTY LTD,PTNO:01)39170410 | AIR COMPRESSOR, SYNTHETIC,ULTRA,3.75 L,BOTTLE PLASTIC,01)MCGHIE ENTERPRISES QLD PTY,01)39170410 |  |  | MCGHIE ENTERPRISES QLD PTY LTD | MCGHIE ENTERPRISES QLD PTY LTD | 39170410 | [5 empty] | https://www.capsshop.com.au/spare-parts/compressor-parts-and-kits-rotary-screw/ingersoll-rand-m-series-rotary-screw-parts/ingersoll-rand-mh37-pe-parts/3-75lt-ultracoolant-decanted-inhouse-4-per-box | [10 empty] | Enriched | 15121500 Lubricating preparations | COOLANT | No Modifier | TYPE | AIR COMPRESSOR,HIGH GRADE SYNTHETIC | TRADE NAME | ULTRACOOLANT | CONTAINER SIZE | 3.75 L | CONTAINER TYPE | PLASTIC BOTTLE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1364151 | 1364151 | EA | COOLANT;PREMIX,1000 L IBC,PN:43411000 |  |  | COOLANT;TYPE:PREMIX,TRADE NAME:MAINTAIN FRICOFIN HDD,CONTAINER TYPE:1000 L IBC,MNFR:01)FUCHS,PTNO:01)43411000 | PREMIX,MAINTAIN FRICOFIN HDD,IBC,01)FUCHS,01)43411000 |  |  | FUCHS | FUCHS | 43411000 | [5 empty] | https://www.cdaets.com.au/product/fuchs-maintain-fricofin-hdd-premix-1000l-ibc-985981 | [10 empty] | Cleansed | 15121500 Lubricating preparations | COOLANT | No Modifier | TYPE | PREMIX | TRADE NAME | MAINTAIN FRICOFIN HDD | CONTAINER SIZE | 1000 L | CONTAINER TYPE | IBC | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1296515 | 1296515 | DR | COOLANT;RCP PLATINUM PREMIX,205 L,DRUM |  |  | COOLANT;TRADE NAME:RCP PLATINUM PREMIX,CONTAINER SIZE:205 L,CONTAINER TYPE:DRUM,ADDITIONAL FEATURES EN:LIQUID COOLING SYSTEM, 7. 5%,MNFR:01)FILTWASH,PTNO:01)RPLPM-D205 | RCP PLATINUM PREMIX,205 L,DRUM,01)LIQUID COOLING SYSTEM, 7.5%,01)FILTWASH,01)RPLPM-D205 |  |  | FILTWASH | FLEETWASH | RPLPM-D205 | PRIXMAX |  |  |  |  | http://www.prixmax.com/assets/Documents/PB-RCP-Platinum-Premix-February-2017.pdf | [10 empty] | Cleansed | 15121500 Lubricating preparations | COOLANT | No Modifier | TYPE |  | TRADE NAME | RCP PLATINUM PREMIX | CONTAINER SIZE | 205 L | CONTAINER TYPE | DRUM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LIQUID COOLING SYSTEM,7.5 PCT | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1296456 | 1296456 | DR | COOLANT;ULTRACOOLANT,20 L,DRUM |  |  | COOLANT;TRADE NAME:ULTRACOOLANT,CONTAINER SIZE:20 L,CONTAINER TYPE:DRUM,ADDITIONAL FEATURES EN:201, CP012, CP013,MNFR:01)CAPS, PTNO:01)38459582 | ULTRACOOLANT,20 L,DRUM,01)201, CP012, CP013,01)CAPS,01)38459582 |  |  | CAPS | CAPS | 38459582 | [5 empty] | https://www.capsshop.com.au/spare-parts/compressor-parts-and-kits-rotary-screw/ingersoll-rand-m-series-rotary-screw-parts/ingersoll-rand-mh45-parts/ultracoolant-20-litre-drum | [10 empty] | Cleansed | 15121500 Lubricating preparations | COOLANT | No Modifier | TYPE |  | TRADE NAME | ULTRACOOLANT | CONTAINER SIZE | 20 L | CONTAINER TYPE | DRUM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 201,CP012,CP013 | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1296595 | 1296595 | EA | DEMISTER;WD 406 X LG 506 MM,SPRAYSYS |  |  | DEMISTER;DIMENSIONS:WD 406 X LG 506 MM,MNFR:01)SPRAYSYS,PTNO:01)ND-93 | 01)SPRAYSYS,01)ND-93,WD 406 X LG 506 MM |  |  | SPRAYSYS | SPRAYSYSTEMS | ND-93 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40161703 Mist eliminators | DEMISTER | No Modifier | TYPE |  | FILTRATION SIZE |  | FLOW RATE |  | MOUNTING METHOD |  | DIMENSIONS | 406 WDX506 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1350863 | 1350863 | EA | DRIVER;ANVL,INGRAND,03058161 |  |  | DRIVER;TYPE:ANVIL,MNFR:01)INGRAND,PTNO:01)03058161 | EN_01)ANVIL,01)INGRAND,01)03058161 |  |  | INGRAND | INGERSOLL RAND | 03058161 | [5 empty] | https://airtoolpro.com/spare-parts/ingersoll-rand-spare-parts/577-730-driver-a-genuine-ingersoll-rand-spare-part/ | [10 empty] | Cleansed | 27110000 Hand tools | DRIVER | No Modifier | TYPE | ANVIL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1280438 | 1280438 | EA | DRIVER;EZY LOCK PNEUMATIC PIN |  |  | DRIVER;TYPE:EZY LOCK PNEUMATIC PIN,MNFR:01)BRIAN INVESTMENTS T/A DAVIES,PTNO:01)DWPS-PPD-RHD | EN_01)EZY LOCK PNEUMATIC PIN,01)BRIAN INVESTMENTS T/A DAVIE,01)DWPS-PPD-RHD |  |  | BRIAN INVESTMENTS T/A DAVIES | BRIAN INVESTMENTS T/A DAVIES | DWPS-PPD-RHD | [5 empty] | URL Not Found | [10 empty] | Cleansed | 27110000 Hand tools | DRIVER | No Modifier | TYPE | EZY LOCK PNEUMATIC PIN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1386839 | 1386839 | EA | DRIVER;SKF,3535X70MM,SKF,3535X70MM | CONDUCTOR;SKF,3535X70MM, | CONTROLEUR;SKF,3535X70MM, |  | 01)SKF,3535X70MM | 3535X70MM | 3000348 | SKF | SKF | 3535X70MM | [5 empty] | URL Not Found | [10 empty] | Cleansed | 27110000 Hand tools | DRIVER | No Modifier | TYPE |  | SIZE | 3535X70 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1359837 | 1359837 | L | FUEL,GASLN;UNLEADED,SHELL |  |  | FUEL,GASOLINE;TYPE:UNLEADED,ADDITIONAL FEATURES EN:BOWSERS, BULK DELIVERIES, SHIP TO 1155349,MNFR:01)SHELL,PTNO:01) UNLEADEDPETROLBULK | UNLEADED,01)BOWSERS, BULK DELIVERIES, S,01)SHELL,01)UNLEADEDPETROLBULK |  |  | SHELL | SHELL | UNLEADEDPETROLBULK | [5 empty] | https://www.shell.in/motorists/shell-fuels/unleaded-from-shell.html | [10 empty] | Cleansed | 15101506 Gasoline or Petrol | FUEL | GASOLINE | TYPE | UNLEADED | PACK SIZE |  | PACK TYPE |  | FLASH POINT |  | POUR POINT |  | DENSITY |  | VISCOSITY |  | APPEARANCE |  | MAX SULPHUR CONTENT |  | COMPOSITION |  | CALORIFIC VALUE |  | MSDS/CAS NUMBER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BOWSERS,BULK DELIVERIES,SHIP TO 1155349 | [43 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-09 |  | 1285736 | 1285736 | EA | FUEL;PRIMER,4HK1 NPR NQR 08 |  |  | FUEL;GRADE:PRIMER,ADDITIONAL FEATURES EN:4HK1 NPR NQR 08,MNFR:01)ANZ VISA PURCHASING CARD,PTNO:01)2A2426 | PRIMER,01)4HK1 NPR NQR 08,01)ANZ VISA PURCHASING CARD,01)2A2426 |  |  | ANZ VISA PURCHASING CARD | ANZ VISA PURCHASING CARD | 2A2426 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 15100000 Fuels | FUEL | No Modifier | TYPE |  | GRADE | PRIMER | CONTAINER |  | SPECIFIC GRAVITY |  | FLASH POINT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4HK1 NPR NQR 08 | [57 empty] | Production Completed