## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1285343 | 1285343 | EA | CARD,COMM;ADPTR,2,ETHERNET,10 GB SFP |  |  | CARD,COMMUNICATION;TYPE:ADAPTER,NUMBER OF PORTS:2,INTERFACE TYPE:ETHERNET,ADDITIONAL FEATURES EN:10 GB SFP,MNFR:01)DATA 3 GROUP, PTNO:01)665249-B21,MNFR:02)HPE,PTNO:02)560SFP | EN_01)ADAPTER,ETHERNET,01)10 GB SFP,01)DATA 3 GROUP,02)HPE,01)665249-B21,02)560SFP |  |  | HPE | HPE | 560SFP |  | DATA 3 GROUP | 665249-B21 |  |  | https://support.hpe.com/hpesc/public/docDisplay?docId=a00036737en_us&docLocale=en_US&page=GUID-57D4F4BD-C03F-4167-98E2-793D3901E8B5.html | https://www.serverbasket.com/shop/hp-ethernet-10gb-2-port-560sfp/ | [9 empty] | Enriched | 43201400 | CARD | COMMUNICATION | TYPE | ADAPTER | INPUT RATING |  | NUMBER OF PORTS | 2 | INTERFACE TYPE | ETHERNET,PCI-E V2.0 | DATA TRANSFER RATE | 10 GB/S | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1360078 | 1360078 | EA | CARD,COMM;INTERNAL RELAY,9,W/TERM CONN | TARJETA COMUNIC;9 | CARTE COMM;9 | CARD,COMMUNICATION;TYPE:INTERNAL RELAY,NUMBER OF PORTS:9,ADDITIONAL FEATURES EN:W/TERM CONN,F/UPS,PN:PSAS400T,MNFR:POWERSHIELD |  |  |  | POWERSHIELD | POWERSHIELD | PSAS400T | [5 empty] | https://powershield.com.au/product/internal-relay-coms-card-with-terminal-connector/ | https://ubiquitistore.com.au/product/powershield-internal-relay-comms-card-with-terminal-connector-psas400t/ | [9 empty] | Enriched | 43201400 | CARD | COMMUNICATION | TYPE | INTERNAL RELAY | INPUT RATING |  | NUMBER OF PORTS | 9 | INTERFACE TYPE |  | DATA TRANSFER RATE |  | SIZE | 168X130X52 MM | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W TERMINAL CONNECTOR,FOR UPS | [50 empty] | PN:PSAS400T | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1360079 | 1360079 | EA | CARD,COMM;MODBUS,RS485 PORT,F/UPS | TARJETA COMUNIC; | CARTE COMM; | CARD,COMMUNICATION;TYPE:MODBUS,ADDITIONAL FEATURES EN:RS485 PORT,F/UPS,PN:PSMBUS,MNFR:POWERSHIELD |  |  |  | POWERSHIELD | POWERSHIELD | PSMBUS | [5 empty] | https://powershield.com.au/product/modbus-card-to-communicate-with-building-management-systems/ | https://dynamix.co.nz/PSMBUS | [9 empty] | Enriched | 43201400 | CARD | COMMUNICATION | TYPE | MODBUS | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE | RS232,RS485 | DATA TRANSFER RATE |  | SIZE |  | CONNECTION TYPE |  | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR UPS | [50 empty] | PN:PSMBUS | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1360511 | 1360511 | EA | CARD,COMM;NETWRK,1,ETHERNET,PCIE X4 | TARJETA COMUNIC;1 | CARTE COMM;1 | CARD,COMMUNICATION;TYPE:NETWORK,NUMBER OF PORTS:1,INTERFACE TYPE:ETHERNET,CONNECTION TYPE:PCIE X4,ADDITIONAL FEATURES EN:MFR: STARTECH,MR PT:ST10000SPEXI,BUS TYPE:PCI EXPRESS,CHIPSET ID:INTEL-X550AT | EN_01)NETWORK,1,ETHERNET,PCIE X4,01)MFR:STARTECH,MR PT:ST10000S,02)BUS TYPE:PCI EXPRESS,CHIPSE,01)RS COMPONENTS PTY LTD,01)197-5497 |  |  | STARTECH | STARTECH | ST10000SPEXI |  | RS COMPONENTS PTY LTD | 197-5497 |  |  | https://www.startech.com/en-eu/networking-io/st10000spexi | [10 empty] | Enriched | 43201400 | CARD | COMMUNICATION | TYPE | NETWORK | INPUT RATING | 12 VDC | NUMBER OF PORTS | 1 | INTERFACE TYPE | ETHERNET,RJ45 | DATA TRANSFER RATE | 10 GB/S | SIZE | 152 LGX68 WDX121 HT MM | CONNECTION TYPE | PCI EXPRESS X4 | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEEE 802.3AN,IEEE 802.3AB,IEEE 802.3U,IEEE 802.1Q,IEEE 802.3X | ADDITIONAL FEATURES | C/W LOW PROFILE BRACKET,QUICK START GUIDE,CHIPSET ID:INTEL-X550AT | [50 empty] | MR PT:ST10000SPEXI,BUS TYPE:PCI EXPRESS,CHIPSET ID:INTEL-X550AT | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1285525 | 1285525 | EA | CARD,COMM;NETWRK,MS SNMP/WEB,ADPTR |  |  | CARD,COMMUNICATION;TYPE:NETWORK,CONNECTION TYPE:MS SNMP/WEB,ADDITIONAL FEATURES EN:ADAPTOR,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)EATNETWORK-MS | EN_01)NETWORK,MS SNMP/WEB,01)ADAPTOR,01)CNW (MOUNT ISA) ELECT WHOLE,01)EATNETWORK-MS |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | EATON | NETWORK-MS |  | CNW (MOUNT ISA) ELECT WHOLESALER |  |  |  | https://www.eaton.com/in/en-us/catalog/backup-power-ups-surge-it-power-distribution/eaton-network-card-ms.specifications.html | [10 empty] | Enriched | 43201400 | CARD | COMMUNICATION | TYPE | NETWORK,ADAPTER | INPUT RATING | 5 TO 12 V,300 MA | NUMBER OF PORTS |  | INTERFACE TYPE | FAST ETHERNET | DATA TRANSFER RATE |  | SIZE | 2.6 WDX5.2 HTX1.7 DP IN | CONNECTION TYPE | MS SNMP/WEB | PROTECTION TYPE/RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1299763 | 1299763 | EA | CARD,INTFC;CKT, ANALOGUE,YOKG,7940032826 |  |  | CARD,INTERFACE;CIRCUIT, ANALOGUE,ADDITIONAL FEATURES EN:ASSEMBLY SUIT AAI841,MNFR:01)YOKOGAWA,PTNO:01)7940032826 | EN_01)CIRCUIT, ANALOGUE,01)ASSEMBLY SUIT AAI841,01)YOKOGAWA,01)7940032826 |  |  | YOKOGAWA | YOKOGAWA | 7940032826 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 43201404 | CARD | INTERFACE | TYPE |  | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,FOR AAI841 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1299762 | 1299762 | EA | CARD,INTFC;CKT, ANALOGUE,YOKG,8824500000 |  |  | CARD,INTERFACE;CIRCUIT, ANALOGUE,ADDITIONAL FEATURES EN:ASSEMBLY SUIT AAI543,MNFR:01)YOKOGAWA,PTNO:01)8824500000 | EN_01)CIRCUIT, ANALOGUE,01)ASSEMBLY SUIT AAI543,01)YOKOGAWA,01)8824500000 |  |  | YOKOGAWA | YOKOGAWA | 8824500000 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 43201404 | CARD | INTERFACE | TYPE |  | POWER SUPPLY |  | DATA TRANSFER RATE |  | POWER DISSIPATION |  | INTERFACE TYPE |  | NUMBER OF PORTS |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,FOR AAI543 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1350674 | 1350674 | EA | CARD,INTFC;I/O BUS,CEGELEC,CE670GBI002 |  |  | CARD,INTERFACE;TYPE:I/O BUS,ADDITIONAL FEATURES EN:C/W 24 V DC POWER SUPPLY,MNFR:01)CEGELEC,PTNO:01)CE670GBI002 | EN_01)I/O BUS,01)C/W 24 V DC POWER SUPPLY,01)CEGELEC,01)CE670GBI002 |  |  | CEGELEC | CEGELEC | CE670GBI002 | [5 empty] | https://www.artisantg.com/TestMeasurement/99518-2/Cegelec-Alspa-CE80-20-Bus-Interface-Unit | [10 empty] | Cleansed | 45111807 | INTERFACE | COMMUNICATION | TYPE | I/O BUS | FUNCTION |  | INPUT RATING |  | CONNECTION TYPE |  | NUMBER OF PORTS |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W 24 VDC POWER SUPPLY | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1297227 | 1297227 | EA | CARD,INTFC;PUNCHER ARC NET,5 V 200 MA,1 |  |  | CARD,INTERFACE;TYPE:PUNCHER ARC NET,POWER SUPPLY:5 V 200 MA,DATA TRANSFER RATE:2.5 MB/S,INTERFACE TYPE:PCI,NUMBER OF PORTS:1,SIZE: WD 64 X LG 95 MM,TEMPERATURE RATING:0-60 DEG C,CONNECTION TYPE:BNC,MNFR:01)RME,PTNO:01)PCX20-CXB PC/AT | EN_01)PUNCHER ARC NET,EN_01)5 V 200 MA,2.5 MB/S,PCI,EN_01)WD 64 X LG 95 MM,0-60 DEG C,BNC,01)RME,01)PCX20-CXB PC/AT |  |  | RME | RME | PCX20-CXB | [5 empty] | https://www.ccontrols.com/pdf/ds/DS-PCX20000B.pdf | https://www.toolex.com/product/br-5a1107-00-090-arcnet-pcx20-cxb-isa-card/ | [9 empty] | Enriched | 43201404 | CARD | INTERFACE | TYPE | PUNCHER | POWER SUPPLY | 5 V,200 MA | DATA TRANSFER RATE | 2.5 MB/S | POWER DISSIPATION |  | INTERFACE TYPE | PCI | NUMBER OF PORTS | 1 | SIZE | 99X109 MM | TEMPERATURE RATING | 0 TO 60 DEG C | CONNECTION TYPE | BNC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS,CFR 47 | ADDITIONAL FEATURES | BRAND:ARCNET,FOR PC/AT | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1351973 | 1351973 | EA | CARD,MEM;INPUT MODULE,128 MB,ASSY,OMRO |  |  | CARD,MEMORY;TYPE:INPUT MODULE,MEMORY:128 MB,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)OMRON,PTNO:01)C4K | EN_01)INPUT MODULE,EN_01)128 MB,01)ASSEMBLY,01)OMRON,01)C4K |  |  | OMRON | OMRON | C4K | [5 empty] | https://plcproducts.com/omron/modules/i_o/c4k | [10 empty] | Cleansed | 39121552 | MODULE | INPUT/OUTPUT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,MEMORY:128 MB | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1298924 | 1298924 | EA | GLAND,CBL;32 MM,DIA 21.9-25.6 MM,ALCO |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:32 MM,CABLE DIAMETER RANGE:21.9-25.6 MM,MNFR:01)ALCO,PTNO:01)UFP4C | 32 MM,21.9-25.6 MM,01)ALCO,01)UFP4C |  |  | ALCO | ALCO | UFP4C | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | 32 MM | CABLE DIAMETER RANGE | 21.9 TO 25.6 MM | MATERIAL |  | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279714 | 1279714 | EA | GLAND,CBL;ARMRD,M63,DIA 63.1-68.25 MM |  |  | GLAND,CABLE;TYPE:ARMOURED,NOMINAL THREAD SIZE:M63,CABLE DIAMETER RANGE:63.1-68.25 MM,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER, PTNO:01)DESCRIPTION CUSTOMER PRODUCT | EN_01)ARMOURED,M63,63.1-68.25 MM,01)CNW (MOUNT ISA) ELECT WHOLE,01)DESCRIPTION CUSTOMER PRODUC |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | [6 empty] | URL NOT FOUND | [9 empty] | DESCRIPTION CUSTOMER PRODUCT | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M63 | CABLE DIAMETER RANGE | 63.1 TO 68.25 MM | MATERIAL |  | DEGREE OF PROTECTION |  | CABLE TYPE | ARMOURED | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1360901 | 1360901 | EA | GLAND,CBL;COMPRSN,16 MM,DIA 5-9 MM,IP68 | PRENSAESTOPAS CABLE;16 MM,DIA ,IP68 | PRESSE ETOUPECBLE;16 MM,DIA ,IP68,ARGENT | GLAND,CABLE;TYPE:COMPRESSION,NOMINAL THREAD SIZE:16 MM,CABLE DIAMETER RANGE:5-9 MM,MATERIAL:BRASS (NICKEL PLATED),DEGREE OF PROTECTION:IP68,COLOUR:SILVER,ADDITIONAL FEATURES EN:UNARMOURED CABLES, WEATHERPROOF,SUPPLIED LESS LOCKNUT,MNFR:GU16,BRAND:CABAC | EN_01)COMPRESSION,16 MM,5-9 MM,EN_01)BRASS (NICKEL PLATED),IP68,SILVER,01)UNARMOURED CABLES, WEATHERP,02)MNFR:GU16,BRAND:CABAC,01)CNW (MOUNT ISA) ELECT WHO,01)CABGU16 |  |  | GU16 | CABAC | GU16 |  | CNW (MOUNT ISA) ELECT WHO |  |  |  | https://www.cabac.com.au/p/cable-wire-management/glands-strain-relief-grommets/metal-glands/gu16 | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE | COMPRESSION | NOMINAL THREAD SIZE | 16 MM | CABLE DIAMETER RANGE | 5 TO 9 MM | MATERIAL | NICKLE PLATED BRASS | DEGREE OF PROTECTION | IP68 | CABLE TYPE | UNARMOURED | LENGTH |  | COLOUR | SILVER | TEMPERATURE RATING | -20 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN VDE 0619,IEC/EN | ADDITIONAL FEATURES | WEATHERPROOF,W/O LOCKNUT | [48 empty] | BRAND:CABAC | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1289892 | 1289892 | EA | GLAND,CBL;CRCLR,M20,DIA 10.6-15 MM |  |  | GLAND,CABLE;TYPE:CIRCULAR,NOMINAL THREAD SIZE:M20,CABLE DIAMETER RANGE:10.6-15 MM,MATERIAL:BRASS NICKEL PLATED,CABLE TYPE: UNARMOURED,TEMPERATURE RATING:-20 TO 80 DEG C,HAZARD CLASS:IP66, 68,CERTIFICATION/STANDARD:AS 1939,ADDITIONAL FEATURES EN:GENERAL PURPOSE,MNFR:01)WATTMSTR,PTNO:01)UW20 | EN_01)CIRCULAR,M20,10.6-15 MM,EN_01)BRASS NICKEL PLATED,EN_01)UNARMOURED,EN_01)-20 TO 80 DEG C,IP66, 68,EN_01)AS 1939,01)GENERAL PURPOSE,01)WATTMSTR,01)UW20 |  |  | WATTMSTR | WATT MASTER | UW20 | ALCO |  |  |  |  | https://www.wattmaster.com.au/product/alcuw20/20mm-unarmoued-weatherproof-cable-gland | https://www.wattmaster.com.au/sites/default/files/2021-06/Alco%20Catalogue_Book%201%20-%20Glands%2C%20Conduit%2C%20Junction%20Boxes19_FC_0.pdf | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE | CIRCULAR | NOMINAL THREAD SIZE | M20X10 | CABLE DIAMETER RANGE | 10 TO 15 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP66,IP68 | CABLE TYPE | UNARMOURED | LENGTH | 32 MM | COLOUR |  | TEMPERATURE RATING | -20 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1939 | ADDITIONAL FEATURES | GENERAL PURPOSE | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1289819 | 1289819 | EA | GLAND,CBL;CRCLR,M20,DIA 6-10.6 MM |  |  | GLAND,CABLE;TYPE:CIRCULAR,NOMINAL THREAD SIZE:M20,CABLE DIAMETER RANGE:6-10.6 MM,MATERIAL:BRASS NICKEL PLATED,CABLE TYPE: UNARMOURED,TEMPERATURE RATING:-20 TO 80 DEG C,HAZARD CLASS:IP66, 68,CERTIFICATION/STANDARD:AS 1939,ADDITIONAL FEATURES EN:GENERAL PURPOSE,MNFR:01)WATTMSTR,PTNO:01)UW20A | EN_01)CIRCULAR,M20,6-10.6 MM,EN_01)BRASS NICKEL PLATED,EN_01)UNARMOURED,EN_01)-20 TO 80 DEG C,IP66, 68,EN_01)AS 1939,01)GENERAL PURPOSE,01)WATTMSTR,01)UW20A |  |  | WATTMSTR | WATT MASTER | UW20A | [5 empty] | https://www.wattmaster.com.au/product/alcuw20a/20mm-unarmoued-weatherproof-cable-gland | https://www.wattmaster.com.au/sites/default/files/2021-06/Alco%20Catalogue_Book%201%20-%20Glands%2C%20Conduit%2C%20Junction%20Boxes19_FC_0.pdf | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE | CIRCULAR | NOMINAL THREAD SIZE | M20X10 | CABLE DIAMETER RANGE | 5 TO 10 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP66,IP68 | CABLE TYPE | UNARMOURED | LENGTH | 32 MM | COLOUR |  | TEMPERATURE RATING | -20 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 1939 | ADDITIONAL FEATURES | GENERAL PURPOSE | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1319013 | 1319013 | EA | GLAND,CBL;DIA 13-18 MM,PG21 VNYLON,RME |  |  | GLAND,CABLE;CABLE DIAMETER RANGE:13-18 MM,ADDITIONAL FEATURES EN:PG21 VNYLON,MNFR:01)RME,PTNO:01)10118568 | 13-18 MM,01)PG21 VNYLON,01)RME,01)10118568 |  |  | RME | RME | 10118568 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | PG21 | CABLE DIAMETER RANGE | 13 TO 18 MM | MATERIAL | NYLON | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1296960 | 1296960 | EA | GLAND,CBL;DIA 4-10 MM,PA,BLACK,BOART |  |  | GLAND,CABLE;CABLE DIAMETER RANGE:4-10 MM,MATERIAL:POLYAMIDE,COLOUR:BLACK,ADDITIONAL FEATURES EN:CONNECTING 7 PIN 24-10 12M ORANGE, MNFR:01)BOART,PTNO:01)5306131 | 4-10 MM,EN_01)POLYAMIDE,BLACK,01)CONNECTING 7 PIN 24-10 12M,01)BOART,01)5306131 |  |  | BOART | BOART | 5306131 | ALTECH CORPORATION |  |  |  |  | https://www.digikey.in/en/products/detail/altech-corporation/5306131/9375152 | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M16X1.5 | CABLE DIAMETER RANGE | 4 TO 8 MM | MATERIAL | POLYAMIDE,NYLON | DEGREE OF PROTECTION | IP68 | CABLE TYPE |  | LENGTH |  | COLOUR | BLACK | TEMPERATURE RATING | -30 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,REACH | ADDITIONAL FEATURES | CONNECTING 7 PIN 24-10 12M ORANGE | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1285710 | 1285710 | EA | GLAND,CBL;DIA 4-8 MM,MTL,PG9,REMCONT |  |  | GLAND,CABLE;CABLE DIAMETER RANGE:4-8 MM,MATERIAL:METAL,ADDITIONAL FEATURES EN:PG9,MNFR:01)REMCONT,PTNO:01)0813 | 4-8 MM,EN_01)METAL,01)PG9,01)REMCONT,01)0813 |  |  | REMCONT | REMCONT | 0813 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | PG9 | CABLE DIAMETER RANGE | 4 TO 8 MM | MATERIAL | METAL | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1352300 | 1352300 | EA | GLAND,CBL;DIA 69.85 MM,BRS,CNW |  |  | GLAND,CABLE;CABLE DIAMETER RANGE:69.85 MM,MATERIAL:BRASS,ADDITIONAL FEATURES EN:95 MM STUD CENTRES, BAKELITE LEAD CONE,MNFR:01) CNW,PTNO:01)CCG054807-M | 69.85 MM,EN_01)BRASS,01)95 MM STUD CENTRES, BAKELIT,01)CNW,01)CCG054807-M |  |  | CNW | CNW (MOUNT ISA) ELECT WHOLESALER | 054807-M | CCG |  |  |  |  | http://www.ccgcablegland.co.za/wp-content/uploads/2020/01/0548LS_ExCorrosionGuard_LeadSeal_GH010622.pdf | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M75X1.5 | CABLE DIAMETER RANGE | 56 TO 78 MM | MATERIAL | NICKLE PLATED BRASS | DEGREE OF PROTECTION | IP66,68 | CABLE TYPE | SWA | LENGTH | 172 MM | COLOUR |  | TEMPERATURE RATING | -60 TO 95 DEG C | HAZARD CLASS | EX DB IIC, EX EB IIC, EX TA IIIC, EX NR IIC | CERTIFICATION/STANDARD | IEC/BS EN,IECEX,ATEX,UKEX,SANS | ADDITIONAL FEATURES | 95 MM STUD CENTRES,BAKELITE LEAD CONE | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1381402 | 1381402 | EA | GLAND,CBL;ELECTRICAL CONNECTOR,PG11,IP68 |  |  | GLAND,CABLE;TYPE:ELECTRICAL CONNECTOR,NOMINAL THREAD SIZE:PG11,CABLE DIAMETER RANGE:5-10 MM,MATERIAL:BRASS NICKEL PLATED, TEMPERATURE RATING:-30 TO 80 DEG C,HAZARD CLASS:IP68,EN 60529, DIN 40430,ADDITIONAL FEATURES EN:TAP HOLE BURNER TOC360FU, TOC332FU,MNFR:01)HYDECOMB,PTNO:01)390-101,PG11 | EN_01)ELECTRICAL CONNECTOR,PG11,5-10 MM,EN_01)BRASS NICKEL PLATED,EN_01)-30 TO 80 DEG C,IP68,EN_01)EN 60529, DIN 40430,01)TAP HOLE BURNER TOC360FU, T,01)HYDECOMB,01)390-101,PG11 |  |  | HYDECOMB |  | 52015720+52003510 | LAPP | HYDECOMB | 390-101 |  |  | https://uk.rs-online.com/web/p/cable-glands/0390101 | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | PG11 | CABLE DIAMETER RANGE | 4 TO 10 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP68 | CABLE TYPE |  | LENGTH |  | COLOUR | METALLIC | TEMPERATURE RATING | -30 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60529,DIN 40430,CE,ROHS | ADDITIONAL FEATURES | ELECTRICAL CONNECTOR,TAP HOLE BURNER TOC360FU,TOC332FU | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1290148 | 1290148 | EA | GLAND,CBL;INSULATING SHROUD,M12,LG 87 MM |  |  | GLAND,CABLE;TYPE:INSULATING SHROUD,NOMINAL THREAD SIZE:M12,CABLE DIAMETER RANGE:14-29 MM,CABLE TYPE:POLYMERIC,LENGTH:87 MM, TEMPERATURE RATING:0-75 DEG C,ADDITIONAL FEATURES EN:SIZE 2LPV,MNFR:01)HAYMANS,PTNO:01)ALCSG2L | EN_01)INSULATING SHROUD,M12,14-29 MM,EN_01)POLYMERIC,87 MM,EN_01)0-75 DEG C,01)SIZE 2LPV,01)HAYMANS,01)ALCSG2L |  |  | HAYMANS | HAYMANS | SG2L | ALCO |  |  |  |  | https://www.wattmaster.com.au/product/alcsg2l/12-35mm-orange-pvc-cable-gland-shrouds | https://www.wattmaster.com.au/sites/default/files/data_sheets/ALCSG.pdf | [9 empty] | Enriched | 26121600 | SHROUD | NO MODIFIER | TYPE |  | SIZE | 38 DIAX87 LG MM | MATERIAL | PVC | COLOUR | ORANGE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE 2LPV,FOR POLYMERIC CABLE,CABLE DIAMETER:12 MM,TEMPERATURE RATING:0 TO 75 DEG C | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1290146 | 1290146 | EA | GLAND,CBL;INSULATING SHROUD,PVC,ORANGE |  |  | GLAND,CABLE;TYPE:INSULATING SHROUD,CABLE DIAMETER RANGE:25.5-48 MM,MATERIAL:PVC,COLOUR:ORANGE,CERTIFICATION/STANDARD:AS 5000.1- 1999,ADDITIONAL FEATURES EN:SIZE 4,MNFR:01)HAYMANS,PTNO:01)ALCSG4 | EN_01)INSULATING SHROUD,25.5-48 MM,EN_01)PVC,ORANGE,EN_01)AS 5000.1-1999,01)SIZE 4,01)HAYMANS,01)ALCSG4 |  |  | HAYMANS | HAYMANS | SG4 | ALCO |  |  |  |  | https://www.wattmaster.com.au/product/alcsg4/20-51mm-orange-pvc-cable-gland-shrouds | https://www.wattmaster.com.au/sites/default/files/data_sheets/ALCSG.pdf | [9 empty] | Enriched | 26121600 | SHROUD | NO MODIFIER | TYPE |  | SIZE | 54 DIAX108 LG MM | MATERIAL | PVC | COLOUR | ORANGE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS 5000.1-1999 | ADDITIONAL FEATURES | SIZE 4,CABLE DIAMETER:20 MM,TEMPERATURE RATING:0 TO 75 DEG C | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279814 | 1279814 | EA | GLAND,CBL;M20,DIA 14.5-21 MM,BRS NI PLTD |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M20,CABLE DIAMETER RANGE:14.5-21 MM,MATERIAL:BRASS NICKEL PLATED,DEGREE OF PROTECTION:IP66, 68, CABLE TYPE:SWA,TEMPERATURE RATING:-20 TO 25 DEG C,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)CCG051201 | M20,14.5-21 MM,EN_01)BRASS NICKEL PLATED,IP66, 68,EN_01)SWA,EN_01)-20 TO 25 DEG C,01)CNW (MOUNT ISA) ELECT WHOLE,01)CCG051201 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 051201 | CCG |  |  |  |  | https://www.ccgcablegland.com/wp-content/uploads/2020/01/0512CW_IN100922.pdf | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Installation/Glands/GLAND-SWA-CW-M20-CABLE-14-5-21-0MM-IP66/p/CCG051201B01 | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M20X1.5 | CABLE DIAMETER RANGE | 14.5 TO 20.5 MM | MATERIAL | NICKEL PLATED BRASS,ALUMINUM | DEGREE OF PROTECTION | IP65,IP66 | CABLE TYPE | SWA | LENGTH | 47 MM | COLOUR |  | TEMPERATURE RATING | -65 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3000,BS 6121-5,IEC 60364-5-54,SANS 0142,CML,MASC | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279770 | 1279770 | EA | GLAND,CBL;M20,DIA 9-13 MM,MTL |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M20,CABLE DIAMETER RANGE:9-13 MM,MATERIAL:METAL,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01) 109212364 | M20,9-13 MM,EN_01)METAL,01)CNW (MOUNT ISA) ELECT WHOLE,01)109212364 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 109212364 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M20 | CABLE DIAMETER RANGE | 9 TO 13 MM | MATERIAL | METAL | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1290147 | 1290147 | EA | GLAND,CBL;M20,NYL,BLACK,IP68,REXELAUS |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M20,MATERIAL:NYLON,COLOUR:BLACK,HAZARD CLASS:IP68,MNFR:01)REXELAUS,PTNO:01)BIZCGP20 | M20,EN_01)NYLON,BLACK,IP68,01)REXELAUS,01)BIZCGP20 |  |  | REXELAUS | REXELAUS | CGP20 | BIZLINE |  |  |  |  | https://www.rexel.com.au/are/category/Cable-Management/Protective-Hose-Accessories/Cable-gland/CABLE-GLAND-NYLON-IP68-HALOGEN-FREE-BLACK-20MM/BIZCGP20NEW/p/14215890 | https://www.bizline.com/en-au/p/13563-pa-6.6-cable-glands | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M20 | CABLE DIAMETER RANGE | 20 MM | MATERIAL | POLYAMIDE 6.6,NYLON | DEGREE OF PROTECTION | IP68 | CABLE TYPE |  | LENGTH |  | COLOUR | BLACK | TEMPERATURE RATING | -20 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279629 | 1279629 | EA | GLAND,CBL;M20-1.5,DIA 0.9-1.25 MM,NICOTE |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M20-1.5,CABLE DIAMETER RANGE:0.9-1.25 MM,MATERIAL:BRASS NICKEL PLATED,DEGREE OF PROTECTION:IP66, 68,LENGTH:40 MM,ADDITIONAL FEATURES EN:NICOTE,MNFR:01)T-BWGN204,PTNO:01)CNW MOUNT ISA ELECT WHOLESALER | M20-1.5,0.9-1.25 MM,EN_01)BRASS NICKEL PLATED,IP66, 68,40 MM,01)NICOTE,01)T-BWGN204,01)CNW MOUNT ISA ELECT WHOLESA |  |  | T-BWGN204 | CNW MOUNT ISA ELECT WHOLESALER | WGN204 | THOMAS & BETTS |  |  |  |  | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Installation/Glands/GLAND-M20-X-1-5-NICOTE-SWA-IP68/p/T-BWGN204B05 | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M20X1.5 | CABLE DIAMETER RANGE | 15.1 TO 17 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP66,68 | CABLE TYPE | SWA WGN | LENGTH | 40 MM | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:NICOTE | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279596 | 1279596 | EA | GLAND,CBL;M25,NYL |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M25,MATERIAL:NYLON,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)1.3100 | M25,EN_01)NYLON,01)CNW (MOUNT ISA) ELECT WHOLE,01)1.3100 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 1.3100 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M25 | CABLE DIAMETER RANGE |  | MATERIAL | NYLON | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1358939 | 1358939 | EA | GLAND,CBL;M32,DIA 20.5-26.5 MM,LG 30 MM |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M32,CABLE DIAMETER RANGE:20.5-26.5 MM,MATERIAL:BRASS NICKEL PLATED,LENGTH:30 MM,TEMPERATURE RATING:-20 TO 125 DEG C,HAZARD CLASS:IP66, 68,CERTIFICATION/STANDARD:SABS/SANS 1213,ADDITIONAL FEATURES EN:WL/NUT,MNFR:01)HAYMANS, PTNO:01)CCG053503 | M32,20.5-26.5 MM,EN_01)BRASS NICKEL PLATED,30 MM,EN_01)-20 TO 125 DEG C,IP66, 68,EN_01)SABS/SANS 1213,01)WL/NUT,01)HAYMANS,01)CCG053503 |  |  | HAYMANS | HAYMANS | 053503 | CCG |  |  |  |  | https://www.ccgcablegland.com/wp-content/uploads/2020/01/0535A2_IN090922.pdf | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Installation/Glands/GLAND-U-ARM-COMP-A2-M32-CBL-20-5-26-5MM/p/CCG053503B01 | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M32X1.5 | CABLE DIAMETER RANGE | 20.5 TO 26.5 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP66,IP68 | CABLE TYPE | UNARMOURED | LENGTH | 30 MM | COLOUR |  | TEMPERATURE RATING | -65 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS/SANS 1213,AS/NZS 3000,IEC/BS EN 62444,CML,MASC,IEC 60529 | ADDITIONAL FEATURES | W/O NUT | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279809 | 1279809 | EA | GLAND,CBL;M50,SWA,-60 TO 200 DEG C |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M50,CABLE TYPE:SWA,TEMPERATURE RATING:-60 TO 200 DEG C,ADDITIONAL FEATURES EN:BW, PIE CART - 21C ELECT - JUDI / GLANDSURGENT,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)CCG050305 | M50,EN_01)SWA,EN_01)-60 TO 200 DEG C,01)BW, PIE CART - 21C ELECT -,01)CNW (MOUNT ISA) ELECT WHOLE,01)CCG050305 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 050305 | CCG |  |  |  |  | https://www.ccgcablegland.com/wp-content/uploads/2020/01/0503BW_IN200622.pdf | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M50X1.5 | CABLE DIAMETER RANGE | 44.5 TO 52.5 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP2X | CABLE TYPE | SWA | LENGTH | 45 MM | COLOUR |  | TEMPERATURE RATING | -65 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3000,BS 6121-5,IEC/BS EN 62444,SANS 62444,CML,MASC | ADDITIONAL FEATURES | BW,PIE CART-21C ELECT-JUDI/GLANDSURGENT | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279746 | 1279746 | EA | GLAND,CBL;M75-1.5,BRS NI PLTD,IP66,ARMRD |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M75-1.5,CABLE DIAMETER RANGE:62/67.5 X 65.5-78 MM,MATERIAL:BRASS NICKEL PLATED,DEGREE OF PROTECTION:IP66,CABLE TYPE:ARMOURED,LENGTH:97 MM,TEMPERATURE RATING:-20 TO 125 DEG C,ADDITIONAL FEATURES EN:CW,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)CCG051207 | M75-1.5,62/67.5 X 65.5-78 MM,EN_01)BRASS NICKEL PLATED,IP66,EN_01)ARMOURED,97 MM,EN_01)-20 TO 125 DEG C,01)CW,01)CNW (MOUNT ISA) ELECT WHOLE,01)CCG051207 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 051207 | CCG |  |  |  |  | https://www.ccgcablegland.com/wp-content/uploads/2020/01/0512CW_IN100922.pdf | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Installation/Glands/GLAND-SWA-CW-M75-CABLE-65-0-78-0MM-IP66/p/CCG051207B01 | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M75X1.5 | CABLE DIAMETER RANGE | 65.5 TO 78 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP65,IP66 | CABLE TYPE | SWA | LENGTH | 97 MM | COLOUR |  | TEMPERATURE RATING | -65 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3000,BS 6121-5,IEC 60364-5-54,SANS 0142,CML,MASC | ADDITIONAL FEATURES | CW | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279684 | 1279684 | EA | GLAND,CBL;M90,DIA 83-91 MM,MTL,ARMRD,W |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:M90,CABLE DIAMETER RANGE:83-91 MM,MATERIAL:METAL,CABLE TYPE:ARMOURED,ADDITIONAL FEATURES EN:W, MNFR:01)HAYMANS,PTNO:01)CCG051209 | M90,83-91 MM,EN_01)METAL,EN_01)ARMOURED,01)W,01)HAYMANS,01)CCG051209 |  |  | HAYMANS | HAYMANS | 051209 | CCG |  |  |  |  | https://www.ccgcablegland.com/wp-content/uploads/2020/01/0512CW_IN100922.pdf | https://shop.cnw.com.au/cnw/en/AUD/All-Categories/Installation/Glands/GLAND-SWA-CW-M20-CABLE-14-5-21-0MM-IP66/p/CCG051201B01 | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M90X2 | CABLE DIAMETER RANGE | 82 TO 91 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP65,IP66 | CABLE TYPE | SWA | LENGTH | 123 MM | COLOUR |  | TEMPERATURE RATING | -65 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3000,BS 6121-5,IEC 60364-5-54,SANS 0142,CML,MASC | ADDITIONAL FEATURES | W | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1290237 | 1290237 | EA | GLAND,CBL;MICRO SWITCH,PLSTC,BLACK |  |  | GLAND,CABLE;TYPE:MICRO SWITCH,MATERIAL:PLASTIC,COLOUR:BLACK,MNFR:01)LIFTSHIF,PTNO:01)135968 | EN_01)MICRO SWITCH,EN_01)PLASTIC,BLACK,01)LIFTSHIF,01)135968 |  |  | LIFTSHIF | LIFTSHIF | 135968 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE | MICRO SWITCH | NOMINAL THREAD SIZE |  | CABLE DIAMETER RANGE |  | MATERIAL | PLASTIC | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR | BLACK | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279917 | 1279917 | EA | GLAND,CBL;MS-SC-M,M16-1.5,BRS NI PLTD |  |  | GLAND,CABLE;TYPE:MS-SC-M,NOMINAL THREAD SIZE:M16-1.5,MATERIAL:BRASS NICKEL PLATED,ADDITIONAL FEATURES EN:PIECART - 21C RIG ELECTS. - UG30 STORE,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)53112620 | EN_01)MS-SC-M,M16-1.5,EN_01)BRASS NICKEL PLATED,01)PIECART - 21C RIG ELECTS. -,01)CNW (MOUNT ISA) ELECT WHOLE,01)53112620 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 53112620 | LAPP |  |  |  |  | https://products.lappgroup.com/online-catalogue/cable-glands/skintop-cable-glands-nickel-plated-brass-metric/emc/skintop-ms-sc-m.html | https://www.tme.com/in/en/details/ms-sc-m16/glands/lapp/53112620/ | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M16X1.5 | CABLE DIAMETER RANGE | 4.5 TO 10 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP68 | CABLE TYPE | SHIELDED | LENGTH |  | COLOUR |  | TEMPERATURE RATING | -30 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,ROHS | ADDITIONAL FEATURES | PIECART-21C RIG ELECTS. - UG30 STORE,SERIES:MS-SC-M | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279898 | 1279898 | EA | GLAND,CBL;MS-SC-M,M20-1.5,BRS NI PLTD |  |  | GLAND,CABLE;TYPE:MS-SC-M,NOMINAL THREAD SIZE:M20-1.5,MATERIAL:BRASS NICKEL PLATED,ADDITIONAL FEATURES EN:PIECART - 21C RIG ELECTS. - UG30 STORE,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)53112630 | EN_01)MS-SC-M,M20-1.5,EN_01)BRASS NICKEL PLATED,01)PIECART - 21C RIG ELECTS. -,01)CNW (MOUNT ISA) ELECT WHOLE,01)53112630 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | 53112630 | LAPP |  |  |  |  | https://products.lappgroup.com/online-catalogue/cable-glands/skintop-cable-glands-nickel-plated-brass-metric/emc/skintop-ms-sc-m.html | https://www.tme.com/in/en/details/ms-sc-m20/glands/lapp/53112630/ | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | M20X1.5 | CABLE DIAMETER RANGE | 7 TO 13 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP68 | CABLE TYPE | SHIELDED | LENGTH |  | COLOUR |  | TEMPERATURE RATING | -30 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,ROHS | ADDITIONAL FEATURES | PIECART-21C RIG ELECTS. - UG30 STORE,SERIES:MS-SC-M | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1365537 | 1365537 | EA | GLAND,CBL;NPR,GILBGRAY,1/235,GILBGRAY |  |  | GLAND,CABLE;MATERIAL:NEOPRENE,ADDITIONAL FEATURES EN:BATTERY COVER, METAL MINES ONLY,MNFR:01)GILBGRAY,PTNO:01)1/235,MNFR:02) GILBGRAY,PTNO:02)1/37 | EN_01)NEOPRENE,01)BATTERY COVER, METAL MINES,01)GILBGRAY,02)GILBGRAY,01)1/235,02)1/37 |  |  | GILBGRAY | GILBGRAY | 1/235 |  | GILBGRAY | 1/37 |  |  | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE |  | CABLE DIAMETER RANGE |  | MATERIAL | NEOPRENE | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BATTERY COVER,METAL MINES ONLY | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1346342 | 1346342 | EA | GLAND,CBL;NUT,DIA 8-13 MM,BRASS/NICKEL |  |  | GLAND,CABLE;TYPE:NUT,CABLE DIAMETER RANGE:8-13 MM,MATERIAL:BRASS/NICKEL,CABLE TYPE:NYLON,TEMPERATURE RATING:-65 TO 165 DEG C, CERTIFICATION/STANDARD:ROHS 242113RP,ADDITIONAL FEATURES EN:PACKING,MNFR:01)ASHDOWN,PTNO:01)ACX1342 | EN_01)NUT,8-13 MM,EN_01)BRASS/NICKEL,EN_01)NYLON,EN_01)-65 TO 165 DEG C,EN_01)ROHS 242113RP,01)PACKING,01)ASHDOWN,01)ACX1342 |  |  | ASHDOWN | ASHDOWN | ACX1342 | OEX |  |  |  |  | https://www.repco.co.nz/globes-batteries-electrical/electrical-accessories/cable-ties-cable-insulation/oex-cable-gland-nylon-20mm-10-pce-acx1342/p/A1204997 | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE | NUT | NOMINAL THREAD SIZE | 15 MM | CABLE DIAMETER RANGE | 10 TO 14 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP68 | CABLE TYPE | NYLON 66 | LENGTH |  | COLOUR |  | TEMPERATURE RATING | -65 TO 165 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,UL,ISO 9001 | ADDITIONAL FEATURES | PACKING,FOR 242113RP | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1292062 | 1292062 | EA | GLAND,CBL;NYL,BCL,SIGMA,967605 |  |  | GLAND,CABLE;MATERIAL:NYLON,ADDITIONAL FEATURES EN:BCL,MNFR:01)SIGMA,PTNO:01)967605 | EN_01)NYLON,01)BCL,01)SIGMA,01)967605 |  |  | SIGMA | SIGMA | 967605 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE |  | CABLE DIAMETER RANGE |  | MATERIAL | NYLON | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BCL | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1358951 | 1358951 | EA | GLAND,CBL;OUTDR,M50,DIA 42.5-52.5 MM,CCG |  |  | GLAND,CABLE;TYPE:OUTDOOR,NOMINAL THREAD SIZE:M50,CABLE DIAMETER RANGE:42.5-52.5 MM,MATERIAL:ALUMINIUM/BRASS NICKEL PLATED,CABLE TYPE:PVC SWA,LENGTH:81 MM,HAZARD CLASS:IP66, 68,ADDITIONAL FEATURES EN:CW CAPTIVE CONE, SIZE 5BS6121,MNFR:01)CCG,PTNO:01)051205 | EN_01)OUTDOOR,M50,42.5-52.5 MM,EN_01)ALUMINIUM/BRASS NICKEL P,EN_01)PVC SWA,81 MM,IP66, 68,01)CW CAPTIVE CONE, SIZE 5BS61,01)CCG,01)051205 |  |  | CCG | CCG | 051205 | [5 empty] | https://www.ccgcablegland.com/wp-content/uploads/2020/01/0512CW_IN100922.pdf | https://shop.cnw.com.au/cnw/en/AUD/AllCategories/Installation/Glands/GLAND-SWA-CW-M50-CABLE-42-5-52-5MM-IP66/p/CCG051205B01 | [9 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE | OUTDOOR | NOMINAL THREAD SIZE | M50X1.5 | CABLE DIAMETER RANGE | 42.5 TO 52.5 MM | MATERIAL | NICKEL PLATED BRASS | DEGREE OF PROTECTION | IP65,IP66 | CABLE TYPE | SWA | LENGTH | 72 MM | COLOUR |  | TEMPERATURE RATING | -65 TO 120 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | AS/NZS 3000,BS 6121-5,IEC 60364-5-54,SANS 0142,CML,MASC | ADDITIONAL FEATURES | CW CAPTIVE CONE,SIZE 5BS6121 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1344708 | 1344708 | EA | GLAND,CBL;PG7 |  |  | GLAND,CABLE;NOMINAL THREAD SIZE:PG7,MNFR:01)RENK,PTNO:01)142151 | PG7,01)RENK,01)142151 |  |  | RENK | RENK | 142151 | [5 empty] | https://www.cpc.ru/Lists/TBRequestsPublishing/Attachments/347/Att%208.pdf | [10 empty] | Cleansed | 39121431 | GLAND | CABLE | TYPE |  | NOMINAL THREAD SIZE | PG7 | CABLE DIAMETER RANGE |  | MATERIAL |  | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1279606 | 1279606 | EA | GLAND,CBL;ROD |  |  | GLAND,CABLE;TYPE:ROD,MNFR:01)ISADRAULICS,PTNO:01)0683920000 | EN_01)ROD,01)ISADRAULICS,01)0683920000 |  |  | ISADRAULICS | ISADRAULICS | 0683920000 | [5 empty] | http://increaseinc.cn/nh/ennh/list/parkerindus.htm | [10 empty] | Enriched | 39121431 | GLAND | CABLE | TYPE | ROD | NOMINAL THREAD SIZE | 5/8 IN | CABLE DIAMETER RANGE |  | MATERIAL |  | DEGREE OF PROTECTION |  | CABLE TYPE |  | LENGTH |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1289936 | 1289936 | EA | GLAND,CBL;SHRD,DIA 29-62 MM,RUBR,ORANGE |  |  | GLAND,CABLE;TYPE:SHROUD,CABLE DIAMETER RANGE:29-62 MM,MATERIAL:RUBBER,COLOUR:ORANGE,MNFR:01)WATTMSTR,PTNO:01)SG5S | EN_01)SHROUD,29-62 MM,EN_01)RUBBER,ORANGE,01)WATTMSTR,01)SG5S |  |  | WATTMSTR | WATT MASTER | SG5S | ALCO |  |  |  |  | https://www.wattmaster.com.au/product/alcsg5s/29-62mm-orange-silicon-cable-gland-shrouds | https://www.wattmaster.com.au/sites/default/files/data_sheets/ALCSG%21S.pdf | [9 empty] | Enriched | 26121600 | SHROUD | NO MODIFIER | TYPE |  | SIZE | 65 DIAX115 LG MM | MATERIAL | SILICON | COLOUR | ORANGE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CABLE DIAMETER:29 MM,TEMPERATURE RATING:-20 TO 260 DEG C | [57 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1302764 | 1302764 | EA | GLAND;C/W DIAPHRAGM/NUT |  |  | GLAND;ADDITIONAL FEATURES EN:C/W DIAPHRAGM/NUT,MNFR:01)FLUIDRVE,PTNO:01)1908565,MNFR:02)FLUIDRVE,PTNO:02)FCU,SIZE 14.5;REF 8AND9 | 01)C/W DIAPHRAGM/NUT,01)FLUIDRVE,02)FLUIDRVE,01)1908565,02)FCU,SIZE 14.5,REF 8&9 |  |  | FLUIDRVE | FLUIDRVE | 1908565 |  | FLUIDRVE | FCU |  |  | URL NOT FOUND | [10 empty] | Cleansed | 31181702 | GLAND | NO MODIFIER | TYPE |  | SIZE | 14.5 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W DIAPHRAGM/NUT,REF:8,9 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1284824 | 1284824 | EA | GLAND,PKNG;COMPRESSION,GRAPHITE |  |  | GLAND,PACKING;TYPE:COMPRESSION,SIZE:LG 1 M X THK 6.5 MM,MATERIAL:GRAPHITE,MNFR:01)GARLOCK,PTNO:01)PM2,MNFR:02)APPLIED INDUSTRIAL TECHNOLOGIES,PTNO:02)41602-0016 | 01)GARLOCK,02)APPLIED INDUSTRIAL TECHNOLO,01)PM2,02)41602-0016,COMPRESSION,LG 1 M X THK 6.5 MM,GRAPHITE |  |  | APPLIED INDUSTRIAL TECHNOLOGIES | APPLIED INDUSTRIAL TECHNOLOGIES | 41602-0016 | GARLOCK | GARLOCK | PM2 |  |  | https://mundays.com.au/gland-packing-graphite-pm2-garlock-6-5mm-1-metre-41602-0016.html | [10 empty] | Enriched | 31181700 | GLAND | PACKING | TYPE | COMPRESSION | SIZE | 1 LG MX6.5 THK MM | MATERIAL | GRAPHITE,SYNTHETIC YARN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:300 PSI,TEMPERATURE RATING:260 DEG C | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1344766 | 1344766 | EA | GLAND,PKNG;FOLLOWER |  |  | GLAND,PACKING;TYPE:FOLLOWER,MNFR:01)XSTRTECH,PTNO:01)1469147 | 01)XSTRTECH,01)1469147,FOLLOWER |  |  | XSTRTECH | XSTRTECH | 1469147 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 31181700 | GLAND | PACKING | TYPE | FOLLOWER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1285111 | 1285111 | EA | GLAND,PKNG;HEAD SEAL |  |  | GLAND,PACKING;TYPE:HEAD SEAL,SIZE:LG 1.9 M X THK 9.5 MM,ADDITIONAL FEATURES EN:SECTION TEADIT 2004, EMAILED QUOTATION REFERS,MNFR: 01)MARLBOROUGH ENGINEERING AUSTRALIA,PTNO:01)XC-PR-002 | 01)MARLBOROUGH ENGINEERING AUS,01)XC-PR-002,HEAD SEAL,LG 1.9 M X THK 9.5 MM,01)SECTION TEADIT 2004, EMAILE |  |  | MARLBOROUGH ENGINEERING AUSTRALIA | MARLBOROUGH ENGINEERING AUSTRALIA | XC-PR-002 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 31181700 | GLAND | PACKING | TYPE | HEAD SEAL | SIZE | 1.9 LG MX9.5 THK MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SECTION TEADIT 2004,EMAILED QUOTATION REFERS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1284959 | 1284959 | EA | GLAND,PKNG;HEAD SEAL,SECTION TEADIT 2004 |  |  | GLAND,PACKING;TYPE:HEAD SEAL,SIZE:LG 1.73 M X THK 9.5 MM,ADDITIONAL FEATURES EN:SECTION TEADIT 2004,MNFR:01)MARLBOROUGH ENGINEERING AUSTRALI,PTNO:01)XC-PR-001 | 01)MARLBOROUGH ENGINEERING AUS,01)XC-PR-001,HEAD SEAL,LG 1.73 M X THK 9.5 MM,01)SECTION TEADIT 2004 |  |  | MARLBOROUGH ENGINEERING AUSTRALI | MARLBOROUGH ENGINEERING AUSTRALIA | XC-PR-001 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 31181700 | GLAND | PACKING | TYPE | HEAD SEAL | SIZE | 1.73 LG MX9.5 THK MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SECTION TEADIT 2004 | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1293605 | 1293605 | EA | GLAND,PKNG;PISTON ROD,CYL 100,PARKHANN |  |  | GLAND,PACKING;TYPE:PISTON ROD,ADDITIONAL FEATURES EN:CYL 100,MNFR:01)PARKHANN,PTNO:01)RG10MMB0701 | 01)PARKHANN,01)RG10MMB0701,PISTON ROD,01)CYL 100 |  |  | PARKHANN | PARKER HANNIFIN | RG10MMB0701 | [5 empty] | https://www.parker.com/content/dam/Parker-com/Literature/Cylinder-Europe/Cylinder-Europe---English-Literature/Product-Literature/HY07-1215UK_MMB_Metric_Roundline_Mill_160_Bar_Hydraulic_Cylinders.pdf |  |  | 100 MM BORE CYLINDER | [7 empty] | Enriched | 31181700 | KIT | NO MODIFIER | TYPE | GLAND SERVICE CARTRIDGE | CONTENTS | (1) STANDARD GLAND,(1) GLAND WIPER SEAL,(1) LIPSEAL,(1) O-RING (GLAND/HEAD),(1) BACKUP WASHER (GLAND/HEAD),(2) WEAR RING | NUMBER OF ITEMS | 7 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1293602 | 1293602 | EA | GLAND,PKNG;PISTON ROD,CYL 200,PARKHANN |  |  | GLAND,PACKING;TYPE:PISTON ROD,ADDITIONAL FEATURES EN:CYL 200,MNFR:01)PARKHANN,PTNO:01)RG20MMB1101 | 01)PARKHANN,01)RG20MMB1101,PISTON ROD,01)CYL 200 |  |  | PARKHANN | PARKER HANNIFIN | RG20MMB1101 | [5 empty] | https://www.parker.com/content/dam/Parker-com/Literature/Cylinder-Europe/Cylinder-Europe---English-Literature/Product-Literature/HY07-1215UK_MMB_Metric_Roundline_Mill_160_Bar_Hydraulic_Cylinders.pdf |  |  | 200 MM BORE CYLINDER | [7 empty] | Enriched | 31181700 | KIT | NO MODIFIER | TYPE | GLAND SERVICE CARTRIDGE | CONTENTS | (1) STANDARD GLAND,(1) GLAND WIPER SEAL,(1) LIPSEAL,(1) O-RING (GLAND/HEAD),(1) BACKUP WASHER (GLAND/HEAD),(2) WEAR RING | NUMBER OF ITEMS | 7 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1293519 | 1293519 | EA | GLAND,PKNG;PISTON ROD,CYL 63M,PARKHANN |  |  | GLAND,PACKING;TYPE:PISTON ROD,ADDITIONAL FEATURES EN:CYL 63M,MNFR:01)PARKHANN,PTNO:01)RG06MMB0361 | 01)PARKHANN,01)RG06MMB0361,PISTON ROD,01)CYL 63M |  |  | PARKHANN | PARKER HANNIFIN | RG06MMB0361 | [5 empty] | https://www.parker.com/content/dam/Parker-com/Literature/Cylinder-Europe/Cylinder-Europe---English-Literature/Product-Literature/HY07-1215UK_MMB_Metric_Roundline_Mill_160_Bar_Hydraulic_Cylinders.pdf |  |  | 63 MM BORE CYLINDER | [7 empty] | Enriched | 31181700 | KIT | NO MODIFIER | TYPE | GLAND SERVICE CARTRIDGE | CONTENTS | (1) STANDARD GLAND,(1) GLAND WIPER SEAL,(1) LIPSEAL,(1) O-RING (GLAND/HEAD),(1) BACKUP WASHER (GLAND/HEAD),(2) WEAR RING | NUMBER OF ITEMS | 7 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1293472 | 1293472 | EA | GLAND,PKNG;PISTON ROD,CYL 80M,PARKHANN |  |  | GLAND,PACKING;TYPE:PISTON ROD,ADDITIONAL FEATURES EN:CYL 80M,MNFR:01)PARKHANN,PTNO:01)RG08MMB0561 | 01)PARKHANN,01)RG08MMB0561,PISTON ROD,01)CYL 80M |  |  | PARKHANN | PARKER HANNIFIN | RG08MMB0561 | [5 empty] | https://www.parker.com/content/dam/Parker-com/Literature/Cylinder-Europe/Cylinder-Europe---English-Literature/Product-Literature/HY07-1215UK_MMB_Metric_Roundline_Mill_160_Bar_Hydraulic_Cylinders.pdf |  |  | 80 MM BORE CYLINDER | [7 empty] | Enriched | 31181700 | KIT | NO MODIFIER | TYPE | GLAND SERVICE CARTRIDGE | CONTENTS | (1) STANDARD GLAND,(1) GLAND WIPER SEAL,(1) LIPSEAL,(1) O-RING (GLAND/HEAD),(1) BACKUP WASHER (GLAND/HEAD),(2) WEAR RING | NUMBER OF ITEMS | 7 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1344839 | 1344839 | EA | GLAND,PKNG;SQ 8 MM X LG 8 M,GRAPHITE K11 |  |  | GLAND,PACKING;SIZE:SQ 8 MM X LG 8 M,MATERIAL:GRAPHITE K11,MNFR:01)KLINGER,PTNO:01)K11 8X8 | 01)KLINGER,01)K11 8X8,SQ 8 MM X LG 8 M,GRAPHITE K11 |  |  | KLINGER | KLINGER | K11 8X8 | [5 empty] | https://www.klinger.co.uk/storage/app/media/Product%20Specifications/Compression%20packings/K11.pdf | [10 empty] | Enriched | 31181700 | GLAND | PACKING | TYPE |  | SIZE | 8 MMX8 MMX8 LG M | MATERIAL | GRAPHITE,ACRYLIC YARN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:100 BAR,TEMPERATURE RATING:-100 TO 300 DEG C | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | BHJ | Completed | 2023-07-21 | 2023-08-09 |  | 1285074 | 1285074 | EA | GLAND,PKNG;SQ 8 MM X LG 8 M,GRAPHITE K11 |  |  | GLAND,PACKING;SIZE:SQ 8 MM X LG 8 M,MATERIAL:GRAPHITE K11,MNFR:01)KLINGER LIMITED,PTNO:01)191K11080 | 01)KLINGER LIMITED,01)191K11080,SQ 8 MM X LG 8 M,GRAPHITE K11 |  |  | KLINGER LIMITED | KLINGER LIMITED | 191K11080 | [5 empty] | URL NOT FOUND | [10 empty] | Cleansed | 31181700 | GLAND | PACKING | TYPE |  | SIZE | 8 MMX8 MMX8 LG M | MATERIAL | GRAPHITE K11 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed