## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1385007 | 1385007 | EA | ADAPTER,DRV;OVERHUNG LOAD, SAE B |  |  | ADAPTER,DRIVE;TYPE:OVERHUNG LOAD, SAE B,MNFR:01)CAVA HYDRAULICS AND AUTO ELECTRICS,PTNO:01)ORB-50 | OVERHUNG LOAD, SAE B,01)CAVA HYDRAULICS & AUTO ELEC,01)ORB-50 |  |  | CAVA HYDRAULICS AND AUTO ELECTRICS | CAVA HYDRAULICS AND AUTO ELECTRICS | ORB-50 | [5 empty] | https://www.crosshydraulics.com.au/wp-content/uploads/2021/08/GB_ORB_ORB50_Catalogue_ORB50.pdf | [10 empty] | Cleansed | 31171500 Bearings | BEARING | ASSEMBLY | TYPE | OUTRIGGER,OVERHUNG LOAD | STYLE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | HOUSING MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1366209 | 1366209 | EA | ADAPTER,HSE-PIPE;STRGT,3/4 IN-16,NO 8 |  |  | ADAPTER,HOSE TO PIPE;TYPE:STRAIGHT,PIPE SIZE:3/4 IN-16,HOSE SIZE:NO 8,PIPE CONNECTION:BULKHEAD,MATERIAL:STEEL,ADDITIONAL FEATURES EN:MALE INSERT O-RING, THD, AUTOMOTIVE AIR CONDITIONER FITTING,MNFR:01)INGRAMS,PTNO:01)STX3001,MNFR:02)DRIVELIN,PTNO:02)STX3001 | 01)INGRAMS,02)DRIVELIN,01)STX3001,02)STX3001,EN_01)STRAIGHT,3/4 IN-16,NO 8,EN_01)BULKHEAD,EN_01)STEEL,01)MALE INSERT O-RING, THD, AU |  |  | DRIVELIN | ASHDOWN-INGRAM | STX3001 |  | DRIVELIN | STX3001 |  |  | https://2fiftycc.com/cruiser/Ashdown-Ingram%20AC%20Catalogue-2013.pdf | [10 empty] | Cleansed | 40141700 Hardware and fittings | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE | 3/4 IN-16 TPI | HOSE SIZE | NO 8 | PIPE CONNECTION | MALE INSERT O-RING | HOSE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AUTOMOTIVE AIR CONDITIONER FITTING | [43 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1279549 | 1279549 | EA | ADAPTER,HSE-PIPE;STRGT,32 MM,CPLG |  |  | ADAPTER,HOSE TO PIPE;TYPE:STRAIGHT,HOSE SIZE:32 MM,HOSE CONNECTION:COUPLING,MNFR:01)ENERGYQLD,PTNO:01)1104732 | 01)ENERGYQLD,01)1104732,EN_01)STRAIGHT,32 MM,EN_01)COUPLING |  |  | ENERGYQLD | ENERGY QUEENSLAND | 1104732 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | ADAPTER | HOSE TO PIPE | TYPE | STRAIGHT | PIPE SIZE |  | HOSE SIZE | 32 MM | PIPE CONNECTION |  | HOSE CONNECTION | COUPLING | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1288640 | 1288640 | EA | ADAPTER,TUBE-PIPE;CUSTOM GREASE,9/16 IN |  |  | ADAPTER,TUBE TO PIPE;TYPE:CUSTOM GREASE,TUBE SIZE:9/16 IN,PIPE SIZE:6 MM,TUBE CONNECTION:JIC,MNFR:01)PIRTEK,PTNO:01)P/NO: 6MM TO 9/16 JIC PIRTEK | CUSTOM GREASE,9/16 IN,6 MM,EN_01)JIC,01)PIRTEK,01)P/NO: 6MM TO 9/16 JIC PIRTE |  |  | PIRTEK ISA FLUID CONNECTIONS PTY LT | PIRTEK | 6MM TO 9/16 JIC | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | ADAPTER | TUBE TO PIPE | TYPE | CUSTOM GREASE | TUBE SIZE | 9/16 IN | PIPE SIZE | 6 MM | TUBE CONNECTION | JIC | PIPE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1283042 | 1283042 | EA | CLOTHING,SAFTY;WORK JEANS |  |  | CLOTHING,SAFETY;TYPE:WORK JEANS,MNFR:01)WORN OUT WEST,PTNO:01)MJ80053071/9R | EN_01)WORK JEANS,01)WORN OUT WEST,01)MJ80053071/9R |  |  | WORN OUT WEST | WORN OUT WEST | MJ80053071/9R | [5 empty] | URL Not Found | [10 empty] | Cleansed | 46181500 Safety apparel | CLOTHING | SAFETY | TYPE | WORK JEANS | SIZE |  | DESIGN |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [58 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1348372 | 1348372 | EA | CONVERTER,FREQ;ELECTRONIC, HART-MODBUS |  |  | CONVERTER,FREQUENCY;TYPE:ELECTRONIC, HART-MODBUS,ADDITIONAL FEATURES EN:TLM TRANMITTER,MNFR:01)BANLAW,PTNO:01)PS0007 | ELECTRONIC, HART-MODBUS,01)TLM TRANMITTER,01)BANLAW,01)PS0007 |  |  | BANLAW | BANLAW | PS0007 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121007 Frequency converters | CONVERTER | FREQUENCY | TYPE | ELECTRONIC,HART-MODBUS | INPUT VOLTAGE |  | INPUT FREQUENCY |  | OUTPUT FREQUENCY RATING |  | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TLM TRANMITTER | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1299571 | 1299571 | EA | CONVERTER,FREQ;STATC,FAN BORE PUMP, B |  |  | CONVERTER,FREQUENCY;ADDITIONAL FEATURES EN:STATIC,FAN BORE PUMP, B,MNFR:01)TOTEDEN,PTNO:01)100417002 | 01)STATIC,FAN BORE PUMP, B,01)TOTEDEN,01)100417002 |  |  | TOTEDEN | TOTEDEN | 100417002 | [5 empty] | URL Not Found |  |  | FAN BORE PUMP | [6 empty] | B | Cleansed | 39121007 Frequency converters | CONVERTER | FREQUENCY | TYPE | STATIC | INPUT VOLTAGE |  | INPUT FREQUENCY |  | OUTPUT FREQUENCY RATING |  | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1299829 | 1299829 | EA | CONVERTER,FREQ;STATIC,4KW,5HP,9.5A INP |  |  | CONVERTER,FREQUENCY;TYPE:STATIC,ADDITIONAL FEATURES EN:4KW,5HP,9.5A INP,MNFR:01)CONTTECH,PTNO:01)UNI-1405 | STATIC,01)4KW,5HP,9.5A INP,01)CONTTECH,01)UNI-1405 |  |  | CONTTECH | CONTTECH | UNI-1405 | [5 empty] | https://nicontrols.com/uk/uni1405-control-techniques.html | [10 empty] | Enriched | 39121006 Power adapters or inverters | INVERTER | NO MODIFIER | TYPE | CLASSIC | INPUT RATING | 380 TO 480 VAC | OUTPUT RATING |  | POWER RATING | 4 KW | SIZE | 95 WDX335 HTX200 DP MM | NUMBER OF OUTLETS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | BATTERY BACK-UP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:9.5 A,HORSE POWER:5 HP | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1344425 | 1344425 | EA | CONVERTER,INTFC;115.2 Kb/S |  |  | CONVERTER,INTERFACE;DATA TRANSFER RATE:115.2 Kb/S,CONNECTION TYPE:RS232 TO RS422,MNFR:01)OUTOKUMP,PTNO:01)537803 | EN_01)115.2 KB/S,RS232 TO RS422,01)OUTOKUMP,01)537803 |  |  | OUTOKUMP | OUTOKUMP | 537803 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 43201544 Interface bus converter or controller | CONVERTER | INTERFACE | TYPE |  | DATA TRANSFER RATE | 115.2 KB/S | INTERFACE TYPE |  | ELECTRICAL RATING |  | ACCURACY |  | CONNECTION TYPE | RS232 TO RS422 | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1344456 | 1344456 | EA | CONVERTER,INTFC;64 Kb/S,2.5 KV,RAIL |  |  | CONVERTER,INTERFACE;DATA TRANSFER RATE:64 Kb/S,ELECTRICAL RATING:2.5 KV,CONNECTION TYPE:RS-232 (V.24) TO RS-422 (V.11),MOUNTING TYPE:RAIL,ADDITIONAL FEATURES EN:P/4K 27612,MNFR:01)OUTOKUMP,PTNO:01)527722 | EN_01)64 KB/S,2.5 KV,RS-232 (V.24) TO RS-422 (V.11),RAIL,01)P/4K 27612,01)OUTOKUMP,01)527722 |  |  | OUTOKUMP | OUTOKUMP | 527722 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 43201544 Interface bus converter or controller | CONVERTER | INTERFACE | TYPE |  | DATA TRANSFER RATE | 64 KB/S | INTERFACE TYPE |  | ELECTRICAL RATING | 2.5 KV | ACCURACY |  | CONNECTION TYPE | RS-232 (V.24) TO RS-422 (V.11) | MOUNTING TYPE | RAIL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | P/4K 27612 | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1285383 | 1285383 | EA | CONVERTER;110 VDC,48 VDC |  |  | CONVERTER;INPUT RATING:110 VDC,OUTPUT RATING:48 VDC,SIZE:352 X 132 X 62 MM,ADDITIONAL FEATURES EN:10A, 500W, PANEL MOUNT, 1 X UNIT,MNFR:01)ENERGYQLD,PTNO:01)2453488 | EN_01)110 VDC,48 VDC,352 X 132 X 62 MM,01)10A, 500W, PANEL MOUNT, 1 X,01)ENERGYQLD,01)2453488 |  |  | ENERGYQLD | ENERGY QUEENSLAND | 2453488 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173900 Electrical components | CONVERTER | No Modifier | TYPE |  | INPUT RATING | 110 VDC | OUTPUT RATING | 48 VDC | SIZE | 352X132X62 MM | MOUNTING TYPE | PANEL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:10 A,POWER RATING:500 W,PACKAGE QUANTITY:1 UNIT | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1364999 | 1364999 | EA | CONVERTER;ASSY:APM MCC1 MCR,PHOENIX |  |  | CONVERTER;ADDITIONAL FEATURES EN:ASSY:APM MCC1 MCR,MNFR:01)PHOENIX,PTNO:01)MCR-S50/U/I-O/DC | 01)ASSY:APM MCC1 MCR,01)PHOENIX,01)MCR-S50/U/I-O/DC |  |  | PHOENIX | PHOENIX | MCR-S50/U/I-O/DC | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173900 Electrical components | CONVERTER | No Modifier | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,APM MCC1 MCR | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1297790 | 1297790 | EA | CONVERTER;DC-DC,24 V DC,5 V DC,PWRSPLY |  |  | CONVERTER;TYPE:DC-DC,INPUT RATING:24 V DC,OUTPUT RATING:5 V DC,ADDITIONAL FEATURES EN:POWER SUPPLY,MNFR:01)CRISP,PTNO:01)6083-40 | DC-DC,EN_01)24 V DC,5 V DC,01)POWER SUPPLY,01)CRISP,01)6083-40 |  |  | CRISP | CRISP | 6083-40 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173900 Electrical components | CONVERTER | No Modifier | TYPE | DC-DC | INPUT RATING | 24 VDC | OUTPUT RATING | 5 VDC | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 | Output Rating Value Conflict Processed based on Websource | 1319820 | 1319820 | EA | CONVERTER;ELECTROPNEUMATIC, RELAY DEVICE |  |  | CONVERTER;TYPE:ELECTROPNEUMATIC, RELAY DEVICE,INPUT RATING:4-20 MA,OUTPUT RATING:0-600 KPA,ADDITIONAL FEATURES EN:CURRENT TO PRESSURE TRANSMITTER,MNFR:01)SMC,PTNO:01)IT601-060-0 | ELECTROPNEUMATIC, RELAY DEVICE,EN_01)4-20 MA,0-600 KPA,01)CURRENT TO PRESSURE TRANSMI,01)SMC,01)IT601-060-0 |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | IT601-060-0 | [5 empty] | https://www.smcpneumatics.com/IT601-060-0.html | https://us.misumi-ec.com/vona2/detail/221301930461/?HissuCode=IT601-060-0 | [9 empty] | Enriched | 25173900 Electrical components | CONVERTER | No Modifier | TYPE | ELECTRO-PNEUMATIC,RELAY DEVICE | INPUT RATING | 4 TO 20 MA DC | OUTPUT RATING | 0.04 TO 0.6 MPA | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT TO PRESSURE TRANSMITTER | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1381638 | 1381638 | EA | CONVERTER;ELECTROPNEUMATIC,4-20 MA |  |  | CONVERTER;TYPE:ELECTROPNEUMATIC,INPUT RATING:4-20 MA,OUTPUT RATING:20-100 KPA,ADDITIONAL FEATURES EN:C/W WALL MTG KIT, CURRENT TO PRESSURE TRANSMITTER,MNFR:01)HONEYWEL,PTNO:01)EP2352-00+43182852-001 | ELECTROPNEUMATIC,EN_01)4-20 MA,20-100 KPA,01)C/W WALL MTG KIT, CURRENT T,01)HONEYWEL,01)EP2352-00+43182852-001 |  |  | HONEYWEL | HONEYWEL | EP2352-00+43182852-001 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173900 Electrical components | CONVERTER | No Modifier | TYPE | ELECTRO-PNEUMATIC | INPUT RATING | 4 TO 20 MA | OUTPUT RATING | 20 TO 100 KPA | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W WALL MOUNTING KIT,CURRENT TO PRESSURE TRANSMITTER | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1386952 | 1386952 | EA | CONVERTER;HELI,WAF150-48S24W-HC |  |  |  | CONVERTER,01)DC-DCINPUT RATING:18-75 VOUTPUT RATING:24 VDC 6,02)N RAILTEMPERATURE RATING:-40 TO 85 DEG C | WAF150-48S24W-HC | 3000572 | HELIOS | HELIOS | WAF150-48S24W-HC | [5 empty] | https://www.heliosps.com.au/wp-content/uploads/wpallimport/files/HPS-DCDCONVERTERS-INDUSTRIAL-WAF(D)150W.pdf | [10 empty] | Enriched | 25173900 Electrical components | CONVERTER | No Modifier | TYPE | DC/DC,SINLGE OUTPUT | INPUT RATING | 18 TO 75 V | OUTPUT RATING | 24 VDC | SIZE | 98 LGX65 WDX17 HT MM | MOUNTING TYPE | CHASSIS | TEMPERATURE RATING | -40 TO 100 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CB,CE,CURUS | ADDITIONAL FEATURES | POWER RATING:150 W,CURRENT RATING:6.3 A,C/W TOP HEATSINK | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1297184 | 1297184 | EA | CONVERTER;MOUTH CUSM, POURING,EDI |  |  | CONVERTER;ADDITIONAL FEATURES EN:MOUTH CUSM, POURING,MNFR:01)EDI,PTNO:01)2897-501-013A | 01)MOUTH CUSM, POURING,01)EDI,01)2897-501-013A |  |  | EDI | EDI | 2897-501-013A | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173900 Electrical components | CONVERTER | No Modifier | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUTH CUSM,POURING | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 | Processed based on Websource, Conflict w.r.t Input | 1298528 | 1298528 | EA | CONVERTER;SSI TO ANALOGUE SIGNAL |  |  | CONVERTER;TYPE:SSI TO ANALOGUE SIGNAL,INPUT RATING:18-30 VDC,OUTPUT RATING:0/4-20 MA,MNFR:01)MKS,PTNO:01)IV251 | SSI TO ANALOGUE SIGNAL,EN_01)18-30 VDC,0/4-20 MA,01)MKS,01)IV251 |  |  | MKS | MKS | IV251 | [5 empty] | https://www.radwell.com/en-US/Buy/MKS%20INSTRUMENTS/MKS%20INSTRUMENTS/IV251/ | [10 empty] | Enriched | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | SSI TO ANALOGUE | POWER SUPPLY | 18 TO 30 VDC | OUTPUT RATING | 24 VDC,0/4 TO 20 MA | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1345796 | 1345796 | EA | CONVERTER;STEM,GETMAN,434101 |  |  | CONVERTER;TYPE:STEM,MNFR:01)GETMAN,PTNO:01)434101 | STEM,01)GETMAN,01)434101 |  |  | GETMAN | GETMAN | 434101 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173900 Electrical components | CONVERTER | No Modifier | TYPE | STEM | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1289763 | 1289763 | EA | CONVERTER;TUYERE ASSEMBLY |  |  | CONVERTER;TYPE:TUYERE ASSEMBLY,ADDITIONAL FEATURES EN:CONTAINING MARK 1, 2, 3, 4, 8, 9, 10, 15, 16,MNFR:01)SPBMETAL,PTNO:01) SPB/10 | TUYERE ASSEMBLY,01)CONTAINING MARK 1, 2, 3, 4,01)SPBMETAL,01)SPB/10 |  |  | SPBMETAL | SPBMETAL | SPB/10 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 25173900 Electrical components | CONVERTER | No Modifier | TYPE |  | INPUT RATING |  | OUTPUT RATING |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TUYERE ASSEMBLY,CONTAINING MARK 1,2,3,4,8,9,10,15,16 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1285494 | 1285494 | EA | CONVERTER;USB TO SERIAL,0-55 DEG C |  |  | CONVERTER;TYPE:USB TO SERIAL,SIZE:WD 41.5 X LG 45 X HT 22 MM,TEMPERATURE RATING:0-55 DEG C,MNFR:01)TOPSTAR COMPUTERS INT,PTNO:01) ADA-STA-ICUSB2321F,MNFR:02)STARTECH,PTNO:02)ADA-STA-ICUSB2321F | USB TO SERIAL,WD 41.5 X LG 45 X HT 22 MM,0-55 DEG C,01)TOPSTAR COMPUTERS INT,02)STARTECH,01)ADA-STA-ICUSB2321F,02)ADA-STA-ICUSB2321F |  |  | STARTECH | TOPSTAR COMPUTERS INT | ADA-STA-ICUSB2321F |  | STARTECH |  |  |  | https://www.startech.com/en-us/cards-adapters/icusb2321f | [10 empty] | Enriched | 43190000 Communications Devices and Accessories | ADAPTER | COMMUNICATION | TYPE | USB TO STRAIGHT-THROUGH RS232 SERIAL | CONNECTOR END 1 | D-SUB,9 PIN | CONNECTOR END 2 | USB 2.0 TYPE-A | INTERFACE TYPE | SERIAL | POWER SUPPLY |  | INPUT RATING |  | OUTPUT RATING |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:45 LGX41.5 WDX22 HT MM,POWER SOURCE:USB-POWERED,C/W CABLE | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1299610 | 1299610 | EA | CONVERTER,SGNL;18-264 VAC/DC |  |  | CONVERTER,SIGNAL;POWER SUPPLY:18-264 VAC/DC,SIZE:WD 45 X HT 100 X DP 112.4 MM,TEMPERATURE RATING:-40 TO 70 DEG C,ADDITIONAL FEATURES EN:DATA: SIGNAL, INSULATOR,MNFR:01)CNW,PTNO:01)WEI8939670000,MNFR:02)WEIDMULL,PTNO:02)8939670000 | 18-264 VAC/DC,EN_01)WD 45 X HT 100 X DP 112.,-40 TO 70 DEG C,01)DATA: SIGNAL, INSULATOR,01)CNW,02)WEIDMULL,01)WEI8939670000,02)8939670000 |  |  | WEIDMULL | WEIDMULLER | 8939670000 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://catalog.weidmueller.com/catalog/Start.do?localeId=en_US&ObjectID=8939670000 | https://www.tme.com/us/en-us/details/8939670000/measuring-conv-and-signal-isolators/weidmuller/was6-tta/ | [9 empty] | Enriched | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE |  | POWER SUPPLY | 18 TO 264 VAC/DC | OUTPUT RATING | 0 TO 10 V,0 TO 20 MA | SIZE | 45 WDX100 HTX112.4 DP MM | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -40 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CULUS,ROHS | ADDITIONAL FEATURES | DATA:SIGNAL,INSULATOR | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1350541 | 1350541 | EA | CONVERTER,SGNL;DATA, CAMERA CONTROL DECO |  |  | CONVERTER,SIGNAL;TYPE:DATA, CAMERA CONTROL DECODER,POWER SUPPLY:240 VAC,OUTPUT RATING:24 VAC,MNFR:01)AUSLEC,PTNO:01)4PAC2036 | DATA, CAMERA CONTROL DECODER,240 VAC,EN_01)24 VAC,01)AUSLEC,01)4PAC2036 |  |  | AUSLEC | AUSLEC | 4PAC2036 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | DATA,CAMERA CONTROL DECODER | POWER SUPPLY | 240 VAC | OUTPUT RATING | 24 VAC | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1229065 | 1229065 | EA | CONVERTER,SGNL;FIBRE OPTIC, STANDALONE |  |  | CONVERTER,SIGNAL;TYPE:FIBRE OPTIC, STANDALONE,ADDITIONAL FEATURES EN:DATA,MNFR:01)ALENBRAD,PTNO:01)1771AF1-B | FIBRE OPTIC, STANDALONE,01)DATA,01)ALENBRAD,01)1771AF1-B |  |  | ALENBRAD | ALLEN-BRADLEY | 1771AF1-B | ROCKWELL AUTOMATION |  |  |  |  | https://www.plchardware.com/Products/RA-1771-AF1-B-UPP.aspx | https://www.dosupply.com/automation/allen-bradley-plc/plc-5/1771-AF1?gclid=Cj0KCQjwldKmBhCCARIsAP-0rfzazJKMSwzNmKjDectBYVjLo_EHTUJKSIiBDU4hPBIyg8fz0rgautMaAr-kEALw_wcB | [9 empty] | Enriched | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | FIBRE OPTIC | POWER SUPPLY | 5 VDC | OUTPUT RATING |  | SIZE | 89X165X51 MM | INTERFACE TYPE |  | NUMBER OF CHANNELS | 2 | CONNECTION TYPE |  | MOUNTING TYPE | STAND-ALONE | TEMPERATURE RATING | -25 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1344739 | 1344739 | EA | CONVERTER,SGNL;P INTERFACE TO ANALOGUE 4 |  |  | CONVERTER,SIGNAL;INTERFACE TYPE:P INTERFACE TO ANALOGUE 4,ADDITIONAL FEATURES EN:CURRENT RATING: 20 MA,MNFR:01)HAYMANS,PTNO:01) BTM-E1-101 | P INTERFACE TO ANALOGUE 4,01)CURRENT RATING: 20 MA,01)HAYMANS,01)BTM-E1-101 |  |  | HAYMANS | HAYMANS | BTM-E1-101 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE |  | POWER SUPPLY |  | OUTPUT RATING |  | SIZE |  | INTERFACE TYPE | P INTERFACE TO ANALOGUE 4 | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:20 MA | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1285003 | 1285003 | EA | CONVERTER,SGNL;REQUIRED FOR 6:2 HEADEND |  |  | CONVERTER,SIGNAL;ADDITIONAL FEATURES EN:REQUIRED FOR 6:2 HEADEND TEMP SWITCH REPAIRS. R,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER, PTNO:01)WEI7940010185 | 01)REQUIRED FOR 6:2 HEADEND TE,01)CNW (MOUNT ISA) ELECT WHOLE,01)WEI7940010185 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | WEIDMULLER | 7940010185 |  | CNW ELECTRICAL MOUNT ISA WHOLESALE |  |  |  | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=7940010185 | https://www.kempstoncontrols.com/7940010185/Weidmuller/sku/837545 | [9 empty] | Enriched | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE |  | POWER SUPPLY |  | OUTPUT RATING | 4 TO 20 MA | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 6:2 HEADEND TEMPERATURE SWITCH REPAIRS | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1346589 | 1346589 | EA | CONVERTER,TRQ;FLUID COUPLING,3-1/2 IN |  |  | CONVERTER,TORQUE;TYPE:FLUID COUPLING,HUB SIZE:3-1/2 IN,ADDITIONAL FEATURES EN:HSW FLEXALING LIMITED END FLOAT,MNFR:01)WEDAG,PTNO: 01)SN-36469 | FLUID COUPLING,3-1/2 IN,01)HSW FLEXALING LIMITED END F,01)WEDAG,01)SN-36469 |  |  | WEDAG | WEDAG | SN-36469 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 26111519 Torque converters | CONVERTER | TORQUE | TYPE | FLUID COUPLING | HUB STYLE |  | VANE ANGLE |  | STALL SPEED |  | BOLT TYPE |  | HUB SIZE | 3-1/2 IN | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HSW FLEXALING LIMITED END FLOAT | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1348558 | 1348558 | EA | CONVERTER,TRQ;FLUID COUPLING,APPINDUS |  |  | CONVERTER,TORQUE;TYPE:FLUID COUPLING,ADDITIONAL FEATURES EN:TRANSFLUID KGR12,MNFR:01)APPINDUS,PTNO:01)KGR12-VERT | FLUID COUPLING,01)TRANSFLUID KGR12,01)APPINDUS,01)KGR12-VERT |  |  | APPLIED INDUSTRIAL TECHNOLOGIES | APPLIED INDUSTRIAL TECHNOLOGIES | KGR12-VERT | [5 empty] | URL Not Found | [10 empty] | Cleansed | 26111519 Torque converters | CONVERTER | TORQUE | TYPE | FLUID COUPLING | HUB STYLE |  | VANE ANGLE |  | STALL SPEED |  | BOLT TYPE |  | HUB SIZE |  | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRANSFLUID KGR12 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1346421 | 1346421 | EA | CONVERTER,TRQ;FLUID COUPLING,C/W BRAKE |  |  | CONVERTER,TORQUE;TYPE:FLUID COUPLING,ADDITIONAL FEATURES EN:C/W BRAKE,MNFR:01)FLUIDRVE,PTNO:01)SFU-550: (TYPE-3 RIM) | FLUID COUPLING,01)C/W BRAKE,01)FLUIDRVE,01)SFU-550: (TYPE-3 RIM) |  |  | FLUIDRVE | FLUIDRVE | SFU-550:(TYPE-3 RIM) | [5 empty] | URL Not Found | [10 empty] | Cleansed | 26111519 Torque converters | CONVERTER | TORQUE | TYPE | FLUID COUPLING | HUB STYLE |  | VANE ANGLE |  | STALL SPEED |  | BOLT TYPE |  | HUB SIZE |  | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W BRAKE | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1295170 | 1295170 | EA | CONVERTER,TRQ;FLUID COUPLING,CUSTOMFP |  |  | CONVERTER,TORQUE;TYPE:FLUID COUPLING,ADDITIONAL FEATURES EN:DRIVE, C/W BT10 FLEX.CPLG,MNFR:01)CUSTOMFP,PTNO:01)KRG-8 | FLUID COUPLING,01)DRIVE, C/W BT10 FLEX.CPLG,01)CUSTOMFP,01)KRG-8 |  |  | CUSTOMFP | CUSTOMFP | KRG-8 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 26111519 Torque converters | CONVERTER | TORQUE | TYPE | FLUID COUPLING | HUB STYLE |  | VANE ANGLE |  | STALL SPEED |  | BOLT TYPE |  | HUB SIZE |  | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DRIVE,C/W BT10 FLEX.COUPLING | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1345911 | 1345911 | EA | CONVERTER,TRQ;FLUID COUPLING,TRANSMIN |  |  | CONVERTER,TORQUE;TYPE:FLUID COUPLING,ADDITIONAL FEATURES EN:TEST HYD POWER UNIT ROCKBREAKER,MNFR:01)TRANSMIN,PTNO:01)R500429 | FLUID COUPLING,01)TEST HYD POWER UNIT ROCKBRE,01)TRANSMIN,01)R500429 |  |  | TRANSMIN | TRANSMIN | R500429 | [5 empty] | URL Not Found |  |  | ROCK BREAKER | [7 empty] | Cleansed | 26111519 Torque converters | CONVERTER | TORQUE | TYPE | FLUID COUPLING | HUB STYLE |  | VANE ANGLE |  | STALL SPEED |  | BOLT TYPE |  | HUB SIZE |  | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEST HYD POWER UNIT | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-10 |  | 1346753 | 1346753 | EA | CONVERTER,TRQ;TRANSFLUID DRIVE COUPLING |  |  | CONVERTER,TORQUE;TYPE:TRANSFLUID DRIVE COUPLING,ADDITIONAL FEATURES EN:C/W4 GROOVE SPC PULLEY, 215 PCD, 55 MM BORE TAPERLOCK BUSH, MNFR:01)CBC,PTNO:01)15KSD | TRANSFLUID DRIVE COUPLING,01)C/W4 GROOVE SPC PULLEY, 215,01)CBC,01)15KSD |  |  | CBC | CBC | 15KSD | [5 empty] | URL Not Found | [10 empty] | Cleansed | 26111519 Torque converters | CONVERTER | TORQUE | TYPE | TRANSFLUID DRIVE COUPLING | HUB STYLE |  | VANE ANGLE |  | STALL SPEED |  | BOLT TYPE |  | HUB SIZE |  | MATERIAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W 4 GROOVE SPC PULLEY,215 MM PCD,55 MM BORE TAPERLOCK BUSH | [49 empty] | Production Completed