## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | Processed based on Websource, Conflict w.r.t Input | 1344654 | 1344654 | EA | ADAPTER;PUMP FLANGE,SAE A2B, Z,CAVA |  |  | ADAPTER;TYPE:PUMP FLANGE,ADDITIONAL FEATURES EN:SAE A2B, Z,MNFR:01)CAVA,PTNO:01)56/03/06033 | EN_01)PUMP FLANGE,01)SAE A2B, Z,01)CAVA,01)56/03/06033 |  |  | CAVA | CAVA | 56/03/06033 | [5 empty] | https://oemdynamics.com.au/wp-content/uploads/2016/04/17-DC220%20Haight%20Pumps.pdf |  |  | PUMP | [7 empty] | Enriched | 40141700 Hardware and fittings | FLANGE | NO MODIFIER | TYPE |  | NOMINAL SIZE |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SAE A2B | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1348879 | 1348879 | EA | ADAPTER,TUBE-PIPE;GAUGE,CAVA,PG63BE-010 |  |  | ADAPTER,TUBE TO PIPE;TYPE:GAUGE,ADDITIONAL FEATURES EN:PINION LUBE SYSTEM, SM01 SAG MILL PINION LUBRICATION SYSTEM,MNFR:01)CAVA, PTNO:01)PG63BE-010 | GAUGE,01)PINION LUBE SYSTEM, SM01 SA,01)CAVA,01)PG63BE-010 |  |  | CAVA | CAVA | PG63BE-010 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 40141700 Hardware and fittings | ADAPTER | TUBE TO PIPE | TYPE | GAUGE | TUBE SIZE |  | PIPE SIZE |  | TUBE CONNECTION |  | PIPE CONNECTION |  | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PINION LUBE SYSTEM,SM01 SAG MILL PINION LUBRICATION SYSTEM | [43 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | Processed based on Websource, Conflict w.r.t Input | 1287016 | 1287016 | EA | BALL;HOPPER GATE RAM |  |  | BALL;TYPE:HOPPER GATE RAM,MNFR:01)SMC,PTNO:01)CS1DN160-380 | 01)SMC,01)CS1DN160-380,EN_01)HOPPER GATE RAM |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | CS1DN160-380 | [5 empty] | https://www.smcpneumatics.com/pdfs/cs1.pdf | [10 empty] | Enriched | 27131701 Pneumatic cylinders | CYLINDER | PNEUMATIC | TYPE | STANDARD | BORE DIAMETER | 160 MM | STROKE | 380 MM | PRESSURE RATING | 0.06 TO 0.97 MPA | PORT SIZE |  | MATERIAL | ALUMINUM ALLOY | ROD END TYPE |  | SHAFT DIAMETER |  | TEMPERATURE RATING | 5 TO 60 DEG C | MOUNTING TYPE | DOUBLE CLEVIS STYLE | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1282878 | 1282878 | EA | BUS BAR;MAIN ISOLATOR,LG 11.5 MM,400 A |  |  | BUS BAR;TYPE:MAIN ISOLATOR,LENGTH:11.5 MM,CURRENT RATING:400 A,CERTIFICATION/STANDARD:ROHS,ADDITIONAL FEATURES EN:FUSE SWITCH, MNFR:01)STROMBG,PTNO:01)OESA400 | MAIN ISOLATOR,11.5 MM,400 A,EN_01)ROHS,01)FUSE SWITCH,01)STROMBG,01)OESA400 |  |  | STROMBG | STROMBG | OESA400 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121117 Buss bar | BUS BAR | No Modifier | TYPE | MAIN ISOLATOR | MATERIAL |  | CROSS SECTION |  | LENGTH | 11.5 MM | INSULATION MATERIAL |  | CURRENT RATING | 400 A | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | FOR FUSE SWITCH | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | Processed based on Websource, Conflict w.r.t Input | 1359436 | 1359436 | EA | CONVERTER,FREQ;VF DRIVE,440 V,FLOR,NHP |  |  | CONVERTER,FREQUENCY;TYPE:VF DRIVE,OUTPUT VOLTAGE RATING:440 V,MOUNTING TYPE:FLOOR,ADDITIONAL FEATURES EN:ELECTRONIC: 30KW, IP20, MNFR:01)NHP,PTNO:01)20G11NC060JA0NNNNN | VF DRIVE,440 V,FLOOR,01)ELECTRONIC: 30KW, IP20,01)NHP,01)20G11NC060JA0NNNNN |  |  | NHP | NHP | 20G11NC060JA0NNNNN | [5 empty] | https://nhp.com.au/product/20g11nc060ja0nnnnn | https://www.routeco.com/en-gb/shop/drives/powerflex-750-series/20g11nc060ja0nnnnn | [9 empty] | Enriched | 39122000 Electrical Variable Speed Drives | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 30 KW | INPUT VOLTAGE | 415 VAC | NUMBER OF PHASE | 3 | OUTPUT CURRENT RATING | 60 A | OUTPUT FREQUENCY RATING | 590 HZ | DEGREE OF PROTECTION | IP20 | TERMINAL TYPE |  | MOUNTING TYPE | FLOOR | SIZE | 222 WDX474 HTX212 DP MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | MFR and MPN Updated as per Websource | 1281187 | 1281187 | EA | CONVERTER,PWR;DC TO DC,48 VDC |  |  | CONVERTER,POWER;TYPE:DC TO DC,POWER SUPPLY:48 VDC,OUTPUT RATING:12 VDC 5 A 96 W,SIZE:WD 8.5 X LG 11.5 X HT 17.5 MM,MNFR:01) ENERGYQLD,PTNO:01)2440303 | DC TO DC,48 VDC,12 VDC 5 A 96 W,WD 8.5 X LG 11.5 X HT 17.5 MM,01)ENERGYQLD,01)2440303 |  |  | ENERGYQLD | RECOM POWER | R-78HB24-0.3L |  | ENERGY QUEENSLAND | 2440303 |  |  | https://my.element14.com/recom-power/r-78hb24-0-3l/dc-dc-converter-24v-0-3a/dp/2440303 | https://www.tme.com/us/en-us/details/r-78hb24-0.3l/dc-dc-converters/recom/ | [9 empty] | Enriched | 39121000 Power conditioning equipment | CONVERTER | POWER | TYPE | DC TO DC | POWER SUPPLY | 36 TO 72 VDC | PT RATING |  | CT RATING |  | NUMBER OF PHASE |  | OUTPUT RATING | 24 VDC,7.2 W | INTERFACE TYPE |  | CONNECTION TYPE |  | SIZE | 11.5 LGX8.5 WDX17.5 HT MM | TEMPERATURE RATING | -40 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1318985 | 1318985 | EA | CONVERTER,SGNL;110 VAC |  |  | CONVERTER,SIGNAL;POWER SUPPLY:110 VAC,MNFR:01)RAMELEC,PTNO:01)7940011895 | 110 VAC,01)RAMELEC,01)7940011895 |  |  | RAMELEC | RAMELEC | 7940011895 | WEIDMULLER |  |  |  |  | https://octopart.com/7940011895-weidmuller-8258113 | https://www.plc-city.com/shop/en/weidmuller-analogue-signal-processing/wei-7940011895.html | [9 empty] | Enriched | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE |  | POWER SUPPLY | 110 VAC,24 VDC | OUTPUT RATING | 4 TO 20 MA | SIZE | 137 LGX96.6 WDX48.8 HT MM | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE | PANEL | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1354490 | 1354490 | EA | CONVERTER,SGNL;DATA, PULSE ANALOGUE |  |  | CONVERTER,SIGNAL;TYPE:DATA, PULSE ANALOGUE,MNFR:01)SAACKE,PTNO:01)135954 | DATA, PULSE ANALOGUE,01)SAACKE,01)135954 |  |  | SAACKE | SAACKE | 135954 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | DATA,PULSE ANALOGUE | POWER SUPPLY |  | OUTPUT RATING |  | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | Processed based on Websource, Conflict w.r.t Input | 1229081 | 1229081 | EA | CONVERTER,SGNL;DATA,IMC MCBASIC TX/F,IMC |  |  | CONVERTER,SIGNAL;TYPE:DATA,ADDITIONAL FEATURES EN:IMC MCBASIC TX/F,MNFR:01)IMC,PTNO:01)55-10127 | DATA,01)IMC MCBASIC TX/F,01)IMC,01)55-10127 |  |  | IMC | IMC | 55-10127 | [5 empty] | https://www.elite.parts/imc_networks/55-10127 | [10 empty] | Enriched | 43201553 Transceivers and media converters | CONVERTER | MEDIA | TYPE | TX/FX 100BT TO 100BFX PRE-CONFIGURED | POWER SUPPLY |  | CABLE/FIBER TYPE |  | TRANSMISSION TYPE |  | CONNECTOR TYPE |  | CABLE/FIBRE DISTANCE |  | DATA BUFFER |  | WAVELENGTH |  | INTERFACE TYPE |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1359613 | 1359613 | EA | CONVERTER,SGNL;DATA,VIP - FOR PROXIMITY |  |  | CONVERTER,SIGNAL;TYPE:DATA,ADDITIONAL FEATURES EN:VIP - FOR PROXIMITY,MNFR:01)MINESITE,PTNO:01)20486 | DATA,01)VIP - FOR PROXIMITY,01)MINESITE,01)20486 |  |  | MINESITE | MINE SITE TECHNOLOGIES PTY LTD | 20486 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | DATA | POWER SUPPLY |  | OUTPUT RATING |  | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VIP-FOR PROXIMITY | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1284712 | 1284712 | EA | CONVERTER,SGNL;FIBRE, SINGLE MODE |  |  | CONVERTER,SIGNAL;TYPE:FIBRE, SINGLE MODE,ADDITIONAL FEATURES EN:TX END PRODUCT-20260,MNFR:01)MINE SITE TECHNOLOGIES PTY LTD,PTNO: 01)P-FCT-000-SM | FIBRE, SINGLE MODE,01)TX END PRODUCT-20260,01)MINE SITE TECHNOLOGIES PTY,01)P-FCT-000-SM |  |  | MINE SITE TECHNOLOGIES PTY LTD | MINE SITE TECHNOLOGIES PTY LTD | P-FCT-000-SM | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | FIBRE,SINGLE MODE | POWER SUPPLY |  | OUTPUT RATING |  | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TX END PRODUCT-20260 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1284920 | 1284920 | EA | CONVERTER,SGNL;FREQUENCY TO VOLTAGE,BNC |  |  | CONVERTER,SIGNAL;TYPE:FREQUENCY TO VOLTAGE,CONNECTION TYPE:BNC,MNFR:01)VENDOR LINK PTY LTD,PTNO:01)AP11-108 | FREQUENCY TO VOLTAGE,EN_01)BNC,01)VENDOR LINK PTY LTD,01)AP11-108 |  |  | VENDOR LINK PTY LTD | VENDOR LINK PTY LTD | AP11-108 | [5 empty] | https://measurement.andonline.com/product/ap11-108-fv-convertor/ | [10 empty] | Enriched | 39121007 Frequency converters | CONVERTER | FREQUENCY TO VOLTAGE | TYPE |  | POWER SUPPLY | 100 VDC | FREQUENCY RANGE | 1 HZ TO 10 KHZ | LINEARITY | +/-0.3 PCT FS | POWER DISSIPATION |  | ACCURACY | +/-0.5 PCT FS | RESPONSE TIME | 20 MS | NUMBER OF PINS |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT IMPEDANCE:100 KOHM | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | Processed based on Websource, Conflict w.r.t Input | 1286624 | 1286624 | EA | CONVERTER,SGNL;INDUSTRIAL,RS-232/485 |  |  | CONVERTER,SIGNAL;TYPE:INDUSTRIAL,INTERFACE TYPE:RS-232/485,ADDITIONAL FEATURES EN:DATA, WITH 2 KV ISOLATION, AHC PANEL,MNFR:01) MOXA,PTNO:01)TCC-100I + RJ45-DB9M | INDUSTRIAL,RS-232/485,01)DATA, WITH 2 KV ISOLATION,01)MOXA,01)TCC-100I + RJ45-DB9M |  |  | MOXA | MOXA | TCC-100I + RJ45-DB9M | [5 empty] | https://www.moxa.com/en/products/industrial-edge-connectivity/serial-converters/serial-to-serial-converters/tcc-100-100i-series/tcc-100i | [10 empty] | Enriched | 43201553 Transceivers and media converters | CONVERTER | MEDIA | TYPE | SERIAL TO SERIAL,RS-232 TO RS-422/485 | POWER SUPPLY | 12 TO 48 VDC,150 MA | CABLE/FIBER TYPE |  | TRANSMISSION TYPE |  | CONNECTOR TYPE | TERMINAL BLOCK | CABLE/FIBRE DISTANCE |  | DATA BUFFER |  | WAVELENGTH |  | INTERFACE TYPE |  | OPERATING TEMPERATURE | 20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC,UL | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1229079 | 1229079 | EA | CONVERTER,SGNL;ISOLATOR/AMPLIFIER,1,SCRW |  |  | CONVERTER,SIGNAL;TYPE:ISOLATOR/AMPLIFIER,OUTPUT RATING:4-20 MA,SIZE:WD 12.5 X HT 119.2 X DP 113.6 MM,NUMBER OF CHANNELS:1, CONNECTION TYPE:SCREW,MOUNTING TYPE:RAIL TS35,TEMPERATURE RATING:-20 TO 70 DEG C,ADDITIONAL FEATURES EN:DATA: ISOLATOR, SPLITTER, LOOP POWERED,MNFR:01)WEIDMULL,PTNO:01)WEI1453210000,MNFR:02)WEIDMULLER,PTNO:02)ACT20P-UI-AO-DO-LP-S | ISOLATOR/AMPLIFIER,EN_01)4-20 MA,EN_01)WD 12.5 X HT 119.2 X DP,EN_01)SCREW,RAIL TS35,-20 TO 70 DEG C,01)DATA: ISOLATOR, SPLITTER, L,01)WEIDMULL,02)WEIDMULLER,01)WEI1453210000,02)ACT20P-UI-AO-DO-LP-S |  |  | WEIDMULLER | WEIDMULLER | 1453210000 |  | WEIDMULLER | ACT20P-UI-AO-DO-LP-S |  |  | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=1453210000 | https://www.digikey.com/en/products/detail/weidm%C3%BCller/1453210000/5998321 | [9 empty] | Enriched | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | ISOLATOR/AMPLIFIER,LOOP POWERED | POWER SUPPLY | 0 TO 250 VAC,300 VDC | OUTPUT RATING | 4 TO 20 MA | SIZE | 12.5 WDX119.2 HTX113.6 DP MM | INTERFACE TYPE |  | NUMBER OF CHANNELS | 1 | CONNECTION TYPE | SCREW | MOUNTING TYPE | DIN RAIL TS35 | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DATA:SPLITTER | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1348520 | 1348520 | EA | CONVERTER,SGNL;MAGNETIC FLOW,4-20 MA |  |  | CONVERTER,SIGNAL;TYPE:MAGNETIC FLOW,POWER SUPPLY:80-264 VAC, 80-130 VDC,OUTPUT RATING:4-20 MA,INTERFACE TYPE:DIGITAL INDICATOR, MOUNTING TYPE:BRACKET,ADDITIONAL FEATURES EN:DATA,MNFR:01)YOKOGAWA,PTNO:01)AE14-DA1A | MAGNETIC FLOW,80-264 VAC, 80-130 VDC,EN_01)4-20 MA,DIGITAL INDICATOR,BRACKET,01)DATA,01)YOKOGAWA,01)AE14-DA1A |  |  | YOKOGAWA | YOKOGAWA | AE14-DA1A | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | MAGNETIC FLOW | POWER SUPPLY | 80 TO 264 VAC,80 TO 130 VDC | OUTPUT RATING | 4 TO 20 MA | SIZE |  | INTERFACE TYPE | DIGITAL INDICATOR | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE | BRACKET | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DATA | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1229038 | 1229038 | EA | CONVERTER,SGNL;SSI TO ANALOGUE,4-20 MA |  |  | CONVERTER,SIGNAL;TYPE:SSI TO ANALOGUE,POWER SUPPLY:115-230 VAC,OUTPUT RATING:4-20 MA,SIZE:WD 96 X HT 48 X DP 116 MM,INTERFACE TYPE:RS232,NUMBER OF CHANNELS:20,TEMPERATURE RATING:-20 TO 60 DEG C,ADDITIONAL FEATURES EN:DATA, DECODER, NJSG-10SS-XSAM/4096 ROTARY ENCOD,MNFR:01)PCA,PTNO:01)IX350/AO/AC | SSI TO ANALOGUE,115-230 VAC,EN_01)4-20 MA,EN_01)WD 96 X HT 48 X DP 116 M,RS232,-20 TO 60 DEG C,01)DATA, DECODER, NJSG-10SS-XS,01)PCA,01)IX350/AO/AC |  |  | PCA | PCA | IX350/AO/AC | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121008 Signal converters | CONVERTER | SIGNAL | TYPE | SSI TO ANALOGUE | POWER SUPPLY | 115 TO 230 VAC | OUTPUT RATING | 4 TO 20 MA | SIZE | 96 WDX48 HTX116 DP MM | INTERFACE TYPE | RS232 | NUMBER OF CHANNELS | 20 | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DATA,DECODER,NJSG-10SS-XSAM/4096 ROTARY ENCODER | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1281586 | 1281586 | EA | CONVERTER,VOLT;85-264 VAC,24 V,1 KW,1 |  |  | CONVERTER,VOLTAGE;INPUT VOLTAGE:85-264 VAC,OUTPUT VOLTAGE RATING:24 V,RATED POWER:1 KW,NUMBER OF OUTPUTS:1,SIZE:WD 149.8 X LG 242. 6 X HT 61 MM,ADDITIONAL FEATURES EN:50A DC,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)SHP1000PS24 | 85-264 VAC,24 V,1 KW,WD 149.8 X LG 242.6 X HT 61 MM,01)50A DC,01)CNW (MOUNT ISA) ELECT WHOLE,01)SHP1000PS24 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW ELECTRICAL MOUNT ISA WHOLESALE | SHP1000PS24 | XP POWER |  |  |  |  | https://www.digikey.com/en/products/detail/xp-power/SHP1000PS24/4488602 | [10 empty] | Enriched | 39121000 Power conditioning equipment | CONVERTER | VOLTAGE | TYPE | AC/DC | INPUT VOLTAGE | 85 TO 264 VAC | OUTPUT VOLTAGE RATING | 24 V | RATED POWER | 1 KW | COIL VOLTAGE |  | NUMBER OF OUTPUTS | 1 | FREQUENCY RATING |  | COIL TYPE |  | DEGREE OF PROTECTION |  | SIZE | 242.6 LGX149.8 WDX61 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:50 A DC | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1281118 | 1281118 | EA | CONVERTER,VOLT;9-36 VDC,12 VDC,30 W |  |  | CONVERTER,VOLTAGE;INPUT VOLTAGE:9-36 VDC,OUTPUT VOLTAGE RATING:12 VDC,RATED POWER:30 W,ADDITIONAL FEATURES EN:DIN RAIL,MNFR:01) CNW MOUNT ISA ELECT WHOLESALER,PTNO:01)PBDRD30-12 | 9-36 VDC,12 VDC,30 W,01)DIN RAIL,01)CNW MOUNT ISA ELECT WHOLESA,01)PBDRD30-12 |  |  | CNW MOUNT ISA ELECT WHOLESALER | CNW ELECTRICAL MOUNT ISA WHOLESALE | PBDRD30-12 | POWERBOX |  |  |  |  | http://www.powerbox.com.au/media/specification_sheet/PBDRD30_Rev.B_18-12-15.pdf | [10 empty] | Enriched | 39121000 Power conditioning equipment | CONVERTER | VOLTAGE | TYPE | DC/DC | INPUT VOLTAGE | 9 TO 36 VDC | OUTPUT VOLTAGE RATING | 12 VDC | RATED POWER | 30 W | COIL VOLTAGE |  | NUMBER OF OUTPUTS |  | FREQUENCY RATING |  | COIL TYPE |  | DEGREE OF PROTECTION | IP20 | SIZE | 91 LGX35 WDX91 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNTING TYPE:DIN RAIL | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1281514 | 1281514 | EA | CONVERTER,VOLT;DC |  |  | CONVERTER,VOLTAGE;TYPE:DC,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)RSC896-2218 (DRD30-12) | DC,01)CNW (MOUNT ISA) ELECT WHOLE,01)RSC896-2218 (DRD30-12) |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CHINFA | DRD30-12 |  | RS COMPONENTS PTY LTD | 896-2218 | CNW ELECTRICAL MOUNT ISA WHOLESALE |  | http://www.chinfa.com/04product/dinrail/dinrail-drd30.html | https://my.rs-online.com/web/p/dc-dc-converters/8962218 | [9 empty] | Enriched | 39121000 Power conditioning equipment | CONVERTER | VOLTAGE | TYPE | DC TO DC | INPUT VOLTAGE | 9 TO 36 VDC | OUTPUT VOLTAGE RATING | 12 VDC | RATED POWER | 30 W | COIL VOLTAGE |  | NUMBER OF OUTPUTS | 1 | FREQUENCY RATING |  | COIL TYPE |  | DEGREE OF PROTECTION | IP20 | SIZE | 91 LGX35 WDXHT 56.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1281332 | 1281332 | EA | CONVERTER,VOLT;DC,UPS, DRD30-12 |  |  | CONVERTER,VOLTAGE;TYPE:DC,ADDITIONAL FEATURES EN:UPS, DRD30-12,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)RSC896-2218 | DC,01)UPS, DRD30-12,01)CNW (MOUNT ISA) ELECT WHOLE,01)RSC896-2218 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CHINFA | DRD30-12 |  | RS COMPONENTS PTY LTD | 896-2218 | CNW ELECTRICAL MOUNT ISA WHOLESALE |  | http://www.chinfa.com/04product/dinrail/dinrail-drd30.html | https://my.rs-online.com/web/p/dc-dc-converters/8962218 | [9 empty] | Enriched | 39121000 Power conditioning equipment | CONVERTER | VOLTAGE | TYPE | DC TO DC | INPUT VOLTAGE | 9 TO 36 VDC | OUTPUT VOLTAGE RATING | 12 VDC | RATED POWER | 30 W | COIL VOLTAGE |  | NUMBER OF OUTPUTS | 1 | FREQUENCY RATING |  | COIL TYPE |  | DEGREE OF PROTECTION | IP20 | SIZE | 91 LGX35 WDXHT 56.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | C/W UPS | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1281300 | 1281300 | EA | CONVERTER,VOLT;DC/DC, FLYBACK,40 VDC |  |  | CONVERTER,VOLTAGE;TYPE:DC/DC, FLYBACK,INPUT VOLTAGE:40 VDC,OUTPUT VOLTAGE RATING:12 VDC,MNFR:01)RS COMPONENTS PTY LTD,PTNO:01) 7614912 | DC/DC, FLYBACK,40 VDC,12 VDC,01)RS COMPONENTS PTY LTD,01)7614912 |  |  | RS COMPONENTS PTY LTD | RS COMPONENTS PTY LTD | 7614912 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121000 Power conditioning equipment | CONVERTER | VOLTAGE | TYPE | DC/DC,FLYBACK | INPUT VOLTAGE | 40 VDC | OUTPUT VOLTAGE RATING | 12 VDC | RATED POWER |  | COIL VOLTAGE |  | NUMBER OF OUTPUTS |  | FREQUENCY RATING |  | COIL TYPE |  | DEGREE OF PROTECTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1281499 | 1281499 | EA | CONVERTER,VOLT;DC-DC,48 VDC,5 VDC,25 W |  |  | CONVERTER,VOLTAGE;TYPE:DC-DC,INPUT VOLTAGE:48 VDC,OUTPUT VOLTAGE RATING:5 VDC,RATED POWER:25 W,FREQUENCY RATING:400 KHZ,SIZE:WD 65 X LG 100 X HT 18 MM,ADDITIONAL FEATURES EN:OUTPUT 5 A, SCREW TERMINAL BLOCK,MNFR:01)ENERGYQLD,PTNO:01)2459741 | DC-DC,48 VDC,5 VDC,25 W,400 KHZ,WD 65 X LG 100 X HT 18 MM,01)OUTPUT 5 A, SCREW TERMINAL,01)ENERGYQLD,01)2459741 |  |  | ENERGYQLD | ENERGY QUEENSLAND | 2459741 | [5 empty] | URL Not Found | [10 empty] | Cleansed | 39121000 Power conditioning equipment | CONVERTER | VOLTAGE | TYPE | DC TO DC | INPUT VOLTAGE | 48 VDC | OUTPUT VOLTAGE RATING | 5 VDC | RATED POWER | 25 W | COIL VOLTAGE |  | NUMBER OF OUTPUTS |  | FREQUENCY RATING | 400 KHZ | COIL TYPE |  | DEGREE OF PROTECTION |  | SIZE | 100 LGX65 WDX18 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OUTPUT:5 A,CONNECTION:SCREW TERMINAL BLOCK | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 |  | 1353684 | 1353684 | EA | HAMMER,PWR;CHPG, PNEUMATIC |  |  | HAMMER,POWER;TYPE:CHIPPING, PNEUMATIC,ADDITIONAL FEATURES EN:DESCALING PISTOL HEAVY DUTY KIT ASSEMBLYCOMPLET,HISELSIN METAL CARRY CASE HOSE AND OILER KITUNIT WEIGHT 5.5KG MARKE,D MOUNT ISA MINE,MNFR:01)JASON,PTNO:01)499,MNFR:02)INGRAND,PTNO:02)180PG-H | EN_01)CHIPPING, PNEUMATIC,01)DESCALING PISTOL HEAVY DUTY,02)HISELSIN METAL CARRY CASE H,03)D MOUNT ISA MINE,01)JASON,02)INGRAND,01)499,02)180PG-H |  |  | INGRAND | JASON | 499 |  | INGERSOLL-RAND | 180PG-H |  |  | URL Not Found | [10 empty] | Cleansed | 27111602 Hammers | KIT | NO MODIFIER | TYPE |  | CONTENTS | PNEUMATIC CHIPPING HAMMER,HEAVY DUTY DESCALING PISTOL ASSEMBLY,HISELSIN METAL CARRY CASE,HOSE AND OILER KIT | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UNIT WEIGHT:5.5 KG | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | Processed based on Websource, Conflict w.r.t Input | 1381485 | 1381485 | EA | INVERTER;PWR, STATIC,REFU |  |  | INVERTER;POWER, STATIC,INPUT RATING:415 VAC 3 PH 50/60 HZ,OUTPUT RATING:0-460 V 99/198 A 3 PH 0-200 HZ,ADDITIONAL FEATURES EN: KUNZ BRIDGE, ,TANKHOUSE,18.5T,NORTH ANODE CRANE,MNFR:01)REFU,PTNO:01)RD52 1-4B-055-L-V1-FW-R | EN_01)POWER, STATIC,415 VAC 3 PH 50/60 HZ,0-460 V 99/198 A 3 PH 0-200 HZ,01)KUNZ BRIDGE, ,TANKHOUSE,18.,01)REFU,01)RD52 1-4B-055-L-V1-FW-R |  |  | REFU | REFU | RD52 1-4B-055-L-V1-FW-R | [5 empty] | https://www.cheapestbuy.de/en/p/rexroth-rd52-1-4b-055-l-v1-fw |  |  | TANKHOUSE 18.5T NORTH ANODE CRANE | [7 empty] | Enriched | 39122000 Electrical Variable Speed Drives | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING |  | INPUT VOLTAGE | 415 VAC | NUMBER OF PHASE | 3 | OUTPUT CURRENT RATING | 99/198 A | OUTPUT FREQUENCY RATING | 0 TO 200 HZ | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT FREQUENCY RATING:50/60 HZ | [45 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | NGB | ok | 2023-07-21 | 2023-08-11 | Processed based on Websource, Conflict w.r.t Input | 1381607 | 1381607 | EA | INVERTER;PWR, STATIC,REFU |  |  | INVERTER;POWER, STATIC,INPUT RATING:415 VAC 3 PH 50/60 HZ,OUTPUT RATING:0-460 V 99/198 A 3 PH 0-200 HZ,ADDITIONAL FEATURES EN: TANKHOUSE 18.5T NORTH ANODE CRANE,MNFR:01)REFU,PTNO:01)RD52 1-4B-055-L-V1-FW | EN_01)POWER, STATIC,415 VAC 3 PH 50/60 HZ,0-460 V 99/198 A 3 PH 0-200 HZ,01)TANKHOUSE 18.5T NORTH ANODE,01)REFU,01)RD52 1-4B-055-L-V1-FW |  |  | REFU | REFU | RD52 1-4B-055-L-V1-FW | [5 empty] | https://www.cheapestbuy.de/en/p/rexroth-rd52-1-4b-055-l-v1-fw | https://www.wakeindustrial.com/buy/bosch-rexroth-indramat/refudrive-rd50-drive-control-series/rd521-4b-055-l-v1-fw |  | TANKHOUSE 18.5T NORTH ANODE CRANE | [7 empty] | Enriched | 39122000 Electrical Variable Speed Drives | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 55 KW | INPUT VOLTAGE | 415 VAC | NUMBER OF PHASE | 3 | OUTPUT CURRENT RATING | 99/198 A | OUTPUT FREQUENCY RATING | 0 TO 200 HZ | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT FREQUENCY RATING:50/60 HZ | [45 empty] | Production Completed