## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1302136 | 1302136 | EA | BOARD,CIRCT;10 WAY, ENVI,BTR,3159-9093 |  |  | BOARD,CIRCUIT;ADDITIONAL FEATURES EN:10 WAY, ENVI,MNFR:01)BTR,PTNO:01)3159-9093 | 01)10 WAY, ENVI,01)BTR,01)3159-9093 |  |  | BTR | BTR | 3159-9093 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 10 WAY,ENVI | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1349368 | 1349368 | EA | BOARD,CIRCT;ALARM ANNUNCIATOR,OMNI |  |  | BOARD,CIRCUIT;TYPE:ALARM ANNUNCIATOR,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)OMNI,PTNO:01)16(MODULE) | ALARM ANNUNCIATOR,01)CARD ASSEMBLY,01)OMNI,01)16(MODULE) |  |  | OMNI | OMNI | [6 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | ALARM ANNUNCIATOR | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,16(MODULE) | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1353213 | 1353213 | EA | BOARD,CIRCT;ANTI PARALLEL CARD,GEC |  |  | BOARD,CIRCUIT;TYPE:ANTI PARALLEL CARD,MNFR:01)GEC,PTNO:01)650-20X-0812-FO3 | ANTI PARALLEL CARD,01)GEC,01)650-20X-0812-FO3 |  |  | GEC | GEC | 650-20X-0812-FO3 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | ANTI PARALLEL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1296108 | 1296108 | EA | BOARD,CIRCT;AUTO GREASER,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:AUTO GREASER,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)LINSTLOU,PTNO:01)236138621 | AUTO GREASER,01)CARD ASSEMBLY,01)LINSTLOU,01)236138621 |  |  | LINSTLOU | LINSTLOU | 236138621 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | AUTO GREASER | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1353208 | 1353208 | EA | BOARD,CIRCT;AUXILIARY CARD,GEC,4698-9 |  |  | BOARD,CIRCUIT;TYPE:AUXILIARY CARD,MNFR:01)GEC,PTNO:01)4698-9 | AUXILIARY CARD,01)GEC,01)4698-9 |  |  | GEC | GEC | 4698-9 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | AUXILIARY CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1289948 | 1289948 | EA | BOARD,CIRCT;BASE AMPLIFIER,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:BASE AMPLIFIER,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)TOYDENKI,PTNO:01)BACH-254 | BASE AMPLIFIER,01)CARD ASSEMBLY,01)TOYDENKI,01)BACH-254 |  |  | TOYDENKI | TOYDENKI | BACH-254 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | BASE AMPLIFIER | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1320020 | 1320020 | EA | BOARD,CIRCT;BASE CARD,ASSY,FUJI |  |  | BOARD,CIRCUIT;TYPE:BASE CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)FUJI,PTNO:01)EP2731C-2 | BASE CARD,01)ASSEMBLY,01)FUJI,01)EP2731C-2 |  |  | FUJI | FUJI | EP2731C-2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | BASE CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1296145 | 1296145 | EA | BOARD,CIRCT;BATTERY CHARGER CONTROL CARD |  |  | BOARD,CIRCUIT;TYPE:BATTERY CHARGER CONTROL CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)SIROCCO,PTNO:01)GNB | BATTERY CHARGER CONTROL CARD,01)ASSEMBLY,01)SIROCCO,01)GNB |  |  | SIROCCO | SIROCCO | [6 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | BATTERY CHARGER CONTROL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,GNB | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1290100 | 1290100 | EA | BOARD,CIRCT;CARD ASSEMBLY,PROMNENT |  |  | BOARD,CIRCUIT;ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)PROMNENT,PTNO:01)81.44.43.8 | 01)CARD ASSEMBLY,01)PROMNENT,01)81.44.43.8 |  |  | PROMNENT | PROMNENT | 81.44.43.8 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351234 | 1351234 | EA | BOARD,CIRCT;CARD, CONTROL,ASSY,ICAL |  |  | BOARD,CIRCUIT;TYPE:CARD, CONTROL,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)ICAL,PTNO:01)52-B-2530 | CARD, CONTROL,01)ASSEMBLY,01)ICAL,01)52-B-2530 |  |  | ICAL | ICAL | 52-B-2530 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CARD,CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1349364 | 1349364 | EA | BOARD,CIRCT;CARD,ASSY, BLOCK (U75/425) |  |  | BOARD,CIRCUIT;TYPE:CARD,ADDITIONAL FEATURES EN:ASSEMBLY, BLOCK (U75/425),MNFR:01)PROMNENT,PTNO:01)818830.2 | CARD,01)ASSEMBLY, BLOCK (U75/425),01)PROMNENT,01)818830.2 |  |  | PROMNENT | PROMNENT | 818830.2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,BLOCK U75/425 | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1349156 | 1349156 | EA | BOARD,CIRCT;CARD,ASSY,OMRO,C28P-CAR-A |  |  | BOARD,CIRCUIT;TYPE:CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)OMRON,PTNO:01)C28P-CAR-A | CARD,01)ASSEMBLY,01)OMRON,01)C28P-CAR-A |  |  | OMRON | OMRON | C28P-CAR-A | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1350808 | 1350808 | EA | BOARD,CIRCT;CARD,ECOTECH,ZOP-E086030 |  |  | BOARD,CIRCUIT;TYPE:CARD,ADDITIONAL FEATURES EN:OPSIS 186,Z STEERING,SO2 ANALYSER,BALLOON FLUE,CUSM,MNFR:01)ECOTECH,PTNO:01)ZOP- E086030 | CARD,01)OPSIS 186,Z STEERING,SO2 AN,01)ECOTECH,01)ZOP-E086030 |  |  | ECOTECH | ECOTECH | ZOP-E086030 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OPSIS 186,Z STEERING,FOR SO2 ANALYSER,BALLOON FLUE,CUSM | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1352465 | 1352465 | EA | BOARD,CIRCT;CELL FUSE,GEC,T008-P001A |  |  | BOARD,CIRCUIT;TYPE:CELL FUSE,MNFR:01)GEC,PTNO:01)T008-P001A | CELL FUSE,01)GEC,01)T008-P001A |  |  | GEC | GEC | T008-P001A | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CELL FUSE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1300263 | 1300263 | EA | BOARD,CIRCT;CIRCUIT BREAKER CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:CIRCUIT BREAKER CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)NU-LEC,PTNO:01)TOS899941 | CIRCUIT BREAKER CARD,01)ASSEMBLY,01)NU-LEC,01)TOS899941 |  |  | NU-LEC | NU-LEC | TOS899941 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CIRCUIT BREAKER CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1363500 | 1363500 | EA | BOARD,CIRCT;CONTROL CARD,KUNZ,984758 |  |  | BOARD,CIRCUIT;TYPE:CONTROL CARD,ADDITIONAL FEATURES EN:F218/140-2AA00 CORSTAT HKM,MNFR:01)KUNZ,PTNO:01)984758 | CONTROL CARD,01)F218/140-2AA00 CORSTAT HKM,01)KUNZ,01)984758 |  |  | KUNZ | KUNZ | 984758 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CONTROL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | F218/140-2AA00 CORSTAT HKM | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351414 | 1351414 | EA | BOARD,CIRCT;CONTROL,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:CONTROL,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)DELAIRCO,PTNO:01)CC.3502-2097 | CONTROL,01)CARD ASSEMBLY,01)DELAIRCO,01)CC.3502-2097 |  |  | DELAIRCO | DELAIRCO | CC.3502-2097 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351118 | 1351118 | EA | BOARD,CIRCT;CONTROL,FENNER,AC |  |  | BOARD,CIRCUIT;TYPE:CONTROL,MNFR:01)FENNER,PTNO:01)AC | CONTROL,01)FENNER,01)AC |  |  | FENNER | FENNER | [6 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AC | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1236312 | 1236312 | EA | BOARD,CIRCT;FAN CONTROL CARD,YOKG |  |  | BOARD,CIRCUIT;TYPE:FAN CONTROL CARD,ADDITIONAL FEATURES EN:LOCATED REAR DOOR BEHIND FILTER,MNFR:01)YOKOGAWA,PTNO:01)S9436BE | FAN CONTROL CARD,01)LOCATED REAR DOOR BEHIND FI,01)YOKOGAWA,01)S9436BE |  |  | YOKOGAWA | YOKOGAWA | S9436BE | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | FAN CONTROL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LOCATED REAR DOOR BEHIND FILTER | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1236313 | 1236313 | EA | BOARD,CIRCT;FAN CONTROL CARD,YOKG |  |  | BOARD,CIRCUIT;TYPE:FAN CONTROL CARD,MNFR:01)YOKOGAWA,PTNO:01)S9498UK | FAN CONTROL CARD,01)YOKOGAWA,01)S9498UK |  |  | YOKOGAWA | YOKOGAWA | S9498UK | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | FAN CONTROL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351415 | 1351415 | EA | BOARD,CIRCT;FIELD SUPPLY,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:FIELD SUPPLY,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)DELAIRCO,PTNO:01)FRA-2097 | FIELD SUPPLY,01)CARD ASSEMBLY,01)DELAIRCO,01)FRA-2097 |  |  | DELAIRCO | DELAIRCO | FRA-2097 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | FIELD SUPPLY | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1364632 | 1364632 | EA | BOARD,CIRCT;FILTER PULSE CON CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:FILTER PULSE CON CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)AMERFILT,PTNO:01)2313328 | FILTER PULSE CON CARD,01)ASSEMBLY,01)AMERFILT,01)2313328 |  |  | AMERFILT | AMERFILT | 2313328 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | FILTER PULSE CON CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1290010 | 1290010 | EA | BOARD,CIRCT;FIRING CARD,ASSY,EMSBY |  |  | BOARD,CIRCUIT;TYPE:FIRING CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)EMSBY,PTNO:01)CA260-BF | FIRING CARD,01)ASSEMBLY,01)EMSBY,01)CA260-BF |  |  | EMSBY | EMSBY | CA260-BF | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | FIRING CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1353214 | 1353214 | EA | BOARD,CIRCT;FIRING CARD,THREE PHASE,GEC |  |  | BOARD,CIRCUIT;TYPE:FIRING CARD,ADDITIONAL FEATURES EN:THREE PHASE,MNFR:01)GEC,PTNO:01)650-20X-0807-FO3 | FIRING CARD,01)THREE PHASE,01)GEC,01)650-20X-0807-FO3 |  |  | GEC | GEC | 650-20X-0807-FO3 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | FIRING CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PHASE: 3 | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1353209 | 1353209 | EA | BOARD,CIRCT;FUNCTION CARD,GEC,4698-12 |  |  | BOARD,CIRCUIT;TYPE:FUNCTION CARD,MNFR:01)GEC,PTNO:01)4698-12 | FUNCTION CARD,01)GEC,01)4698-12 |  |  | GEC | GEC | 4698-12 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | FUNCTION CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351275 | 1351275 | EA | BOARD,CIRCT;HI-LOG 3 TRIGGER,PAKLOG |  |  | BOARD,CIRCUIT;TYPE:HI-LOG 3 TRIGGER,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)PAKLOG,PTNO:01)820-033-02 | HI-LOG 3 TRIGGER,01)CARD ASSEMBLY,01)PAKLOG,01)820-033-02 |  |  | PAKLOG | PAKLOG | 820-033-02 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | HI-LOG 3 TRIGGER | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351274 | 1351274 | EA | BOARD,CIRCT;HI-LOG OP AMP,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:HI-LOG OP AMP,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)PAKLOG,PTNO:01)820-029-04 | HI-LOG OP AMP,01)CARD ASSEMBLY,01)PAKLOG,01)820-029-04 |  |  | PAKLOG | PAKLOG | 820-029-04 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,HI-LOG OP AMP | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1353547 | 1353547 | EA | BOARD,CIRCT;ICCL DISPLAY,AUTOPED |  |  | BOARD,CIRCUIT;TYPE:ICCL DISPLAY,MNFR:01)AUTOPED,PTNO:01)CL-UP-101 | ICCL DISPLAY,01)AUTOPED,01)CL-UP-101 |  |  | AUTOPED | AUTOPED | CL-UP-101 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | ICCL DISPLAY | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1353548 | 1353548 | EA | BOARD,CIRCT;ICCL MAIN,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:ICCL MAIN,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)MINESITE,PTNO:01)20157 | ICCL MAIN,01)CARD ASSEMBLY,01)MINESITE,01)20157 |  |  | MINESITE | MINESITE | 20157 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | ICCL MAIN | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1290014 | 1290014 | EA | BOARD,CIRCT;ISOLATED SIGNAL CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:ISOLATED SIGNAL CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)DELAIRCO,PTNO:01)IIFC6 | ISOLATED SIGNAL CARD,01)ASSEMBLY,01)DELAIRCO,01)IIFC6 |  |  | DELAIRCO | DELAIRCO | IIFC6 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | ISOLATED SIGNAL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1349479 | 1349479 | EA | BOARD,CIRCT;LOADCELL,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:LOADCELL,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)WALTIERN,PTNO:01)U-26517 | LOADCELL,01)CARD ASSEMBLY,01)WALTIERN,01)U-26517 |  |  | WALTIERN | WALTIERN | U-26517 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | LOADCELL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1352169 | 1352169 | EA | BOARD,CIRCT;MA,WORMALD,617 |  |  | BOARD,CIRCUIT;TYPE:MA,MNFR:01)WORMALD,PTNO:01)617 | MA,01)WORMALD,01)617 |  |  | WORMALD | WORMALD | 617 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MA | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1349369 | 1349369 | EA | BOARD,CIRCT;MAIN OXY MIXER,MILTNROY |  |  | BOARD,CIRCUIT;TYPE:MAIN OXY MIXER,MNFR:01)MILTNROY,PTNO:01)2014-337 | MAIN OXY MIXER,01)MILTNROY,01)2014-337 |  |  | MILTNROY | MILTNROY | 2014-337 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | MAIN OXY MIXER | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1296025 | 1296025 | EA | BOARD,CIRCT;MOPS/MOPL DISPLAY CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:MOPS/MOPL DISPLAY CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)YOKOGAWA,PTNO:01)UXL/DP88 A | MOPS/MOPL DISPLAY CARD,01)ASSEMBLY,01)YOKOGAWA,01)UXL/DP88 A |  |  | YOKOGAWA | YOKOGAWA | UXL/DP88 A | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | MOPS/MOPL DISPLAY CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1295808 | 1295808 | EA | BOARD,CIRCT;MOTHER, CABLE BELT,COMMCONT |  |  | BOARD,CIRCUIT;TYPE:MOTHER, CABLE BELT,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)COMMCONT,PTNO:01)783/1002-1SS4 | MOTHER, CABLE BELT,01)CARD ASSEMBLY,01)COMMCONT,01)783/1002-1SS4 |  |  | COMMCONT | COMMCONT | 783/1002-1SS4 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | MOTHER,CABLE BELT | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1346856 | 1346856 | EA | BOARD,CIRCT;MOTHER, PC GEN 3,ASSY |  |  | BOARD,CIRCUIT;TYPE:MOTHER, PC GEN 3,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)SROTECH,PTNO:01)3101-02 | MOTHER, PC GEN 3,01)ASSEMBLY,01)SROTECH,01)3101-02 |  |  | SROTECH | SROTECH | 3101-02 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | MOTHER,PC GEN 3 | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1348165 | 1348165 | EA | BOARD,CIRCT;MSA EXTENDER,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:MSA EXTENDER,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)AMDEL,PTNO:01)23522 | MSA EXTENDER,01)CARD ASSEMBLY,01)AMDEL,01)23522 |  |  | AMDEL | AMDEL | 23522 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | MSA EXTENDER | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1229100 | 1229100 | EA | BOARD,CIRCT;MSA MET SAMPLER HEAD,AMDEL |  |  | BOARD,CIRCUIT;TYPE:MSA MET SAMPLER HEAD,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)AMDEL,PTNO:01)AM054/01 | MSA MET SAMPLER HEAD,01)CARD ASSEMBLY,01)AMDEL,01)AM054/01 |  |  | AMDEL | AMDEL | AM054/01 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | MSA MET SAMPLER HEAD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1288819 | 1288819 | EA | BOARD,CIRCT;POWER SUPPLY |  |  | BOARD,CIRCUIT;TYPE:POWER SUPPLY,ADDITIONAL FEATURES EN:REFERENCE NO: 85530,MNFR:01)CAVA,PTNO:01)01-250401 | POWER SUPPLY,01)REFERENCE NO: 85530,01)CAVA,01)01-250401 |  |  | CAVA | CAVA | 01-250401 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | POWER SUPPLY | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF: 85530 | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351287 | 1351287 | EA | BOARD,CIRCT;PROCESSOR CONTROL UNIT |  |  | BOARD,CIRCUIT;TYPE:PROCESSOR CONTROL UNIT,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)HONEYWEL,PTNO:01)MM-120.CU | PROCESSOR CONTROL UNIT,01)CARD ASSEMBLY,01)HONEYWEL,01)MM-120.CU |  |  | HONEYWEL | HONEYWELL | MM-120.CU | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | PROCESSOR CONTROL UNIT | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1352464 | 1352464 | EA | BOARD,CIRCT;PULSE,T015,GEC,PL.3077589-A1 |  |  | BOARD,CIRCUIT;TYPE:PULSE,ADDITIONAL FEATURES EN:T015,MNFR:01)GEC,PTNO:01)PL.3077589-A1 | PULSE,01)T015,01)GEC,01)PL.3077589-A1 |  |  | GEC | GEC | PL.3077589-A1 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | PULSE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF: T015 | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1350449 | 1350449 | EA | BOARD,CIRCT;PV SERVO,HONEYWEL,233925-004 |  |  | BOARD,CIRCUIT;TYPE:PV SERVO,MNFR:01)HONEYWEL,PTNO:01)233925-004 | PV SERVO,01)HONEYWEL,01)233925-004 |  |  | HONEYWEL | HONEYWELL | 233925-004 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | PV SERVO | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1347569 | 1347569 | EA | BOARD,CIRCT;ROBICON VVVF CELL,EMSBY |  |  | BOARD,CIRCUIT;TYPE:ROBICON VVVF CELL,ADDITIONAL FEATURES EN:3.3 KV VVVF DRIVE SERVICE, MIM CUSM STACK FAN,MNFR:01)EMSBY,PTNO:01) 469430.03VT | ROBICON VVVF CELL,01)3.3 KV VVVF DRIVE SERVICE,01)EMSBY,01)469430.03VT |  |  | EMSBY | EMSBY | 469430.03VT | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | ROBICON VVVF CELL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3.3 KV VVVF DRIVE SERVICE,MIM CUSM STACK FAN | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1302128 | 1302128 | EA | BOARD,CIRCT;SENTRY II SENSOR CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:SENTRY II SENSOR CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)LINSTLOU,PTNO:01)250365 | SENTRY II SENSOR CARD,01)ASSEMBLY,01)LINSTLOU,01)250365 |  |  | LINSTLOU | LINSTLOU | 250365 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | SENTRY II SENSOR CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1320289 | 1320289 | EA | BOARD,CIRCT;SERVO PACK,YASKAWA |  |  | BOARD,CIRCUIT;TYPE:SERVO PACK,MNFR:01)YASKAWA,PTNO:01)CPCR-AR152A2 | SERVO PACK,01)YASKAWA,01)CPCR-AR152A2 |  |  | YASKAWA | YASKAWA | CPCR-AR152A2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | SERVO PACK | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1344480 | 1344480 | EA | BOARD,CIRCT;SHUTDOWN CARD,ASSY, SUIT F |  |  | BOARD,CIRCUIT;TYPE:SHUTDOWN CARD,ADDITIONAL FEATURES EN:ASSEMBLY, SUIT F,MNFR:01)ICAL,PTNO:01)52-B-1419 | SHUTDOWN CARD,01)ASSEMBLY, SUIT F,01)ICAL,01)52-B-1419 |  |  | ICAL | ICAL | 52-B-1419 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | SHUTDOWN CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1298726 | 1298726 | EA | BOARD,CIRCT;SLAVE INVERTER CARD,ASSY, M |  |  | BOARD,CIRCUIT;TYPE:SLAVE INVERTER CARD,ADDITIONAL FEATURES EN:ASSEMBLY, M,MNFR:01)DELAIRCO,PTNO:01)VF5140H-150S | SLAVE INVERTER CARD,01)ASSEMBLY, M,01)DELAIRCO,01)VF5140H-150S |  |  | DELAIRCO | DELAIRCO | VF5140H-150S | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | SLAVE INVERTER CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1351117 | 1351117 | EA | BOARD,CIRCT;SUPPRESSION,FENNER,EC-002 |  |  | BOARD,CIRCUIT;TYPE:SUPPRESSION,MNFR:01)FENNER,PTNO:01)EC-002 | SUPPRESSION,01)FENNER,01)EC-002 |  |  | FENNER | FENNER | EC-002 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | SUPPRESSION | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351282 | 1351282 | EA | BOARD,CIRCT;SYSTEM INTERCONNECT TRACK |  |  | BOARD,CIRCUIT;TYPE:SYSTEM INTERCONNECT TRACK,ADDITIONAL FEATURES EN:110/230 V, 50/60 HZ,MNFR:01)STRUTDUN,PTNO:01)76440 | SYSTEM INTERCONNECT TRACK,01)110/230 V, 50/60 HZ,01)STRUTDUN,01)76440 |  |  | STRUTDUN | STRUTDUN | 76440 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | SYSTEM INTERCONNECT TRACK | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL RATING: 110/230 V, 50/60 HZ | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1298513 | 1298513 | EA | BOARD,CIRCT;T20, REVISION 12,ICAL |  |  | BOARD,CIRCUIT;ADDITIONAL FEATURES EN:T20, REVISION 12,MNFR:01)ICAL,PTNO:01)52-B-2944 | 01)T20, REVISION 12,01)ICAL,01)52-B-2944 |  |  | ICAL | ICAL | 52-B-2944 | [5 empty] | Url Not Found | [7 empty] | REV 12 |  |  | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | T20 | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1359425 | 1359425 | EA | BOARD,CIRCT;TERMINAL CARD,HAYMANS |  |  | BOARD,CIRCUIT;TYPE:TERMINAL CARD,MNFR:01)HAYMANS,PTNO:01)WEL80-PCB-207205 | TERMINAL CARD,01)HAYMANS,01)WEL80-PCB-207205 |  |  | HAYMANS | HAYMANS | WEL80-PCB-207205 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | TERMINAL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1352509 | 1352509 | EA | BOARD,CIRCT;TRANSIDYN,CARD ASSEMBLY,FUJI |  |  | BOARD,CIRCUIT;TYPE:TRANSIDYN,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)FUJI,PTNO:01)U3BA-311 | TRANSIDYN,01)CARD ASSEMBLY,01)FUJI,01)U3BA-311 |  |  | FUJI | FUJI | U3BA-311 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | TRANSIDYN | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1349091 | 1349091 | EA | BOARD,CIRCT;UNISTAT MODULE,CARD ASSEMBLY |  |  | BOARD,CIRCUIT;TYPE:UNISTAT MODULE,ADDITIONAL FEATURES EN:CARD ASSEMBLY,MNFR:01)GEC,PTNO:01)AB10-A802-4672/1 | UNISTAT MODULE,01)CARD ASSEMBLY,01)GEC,01)AB10-A802-4672/1 |  |  | GEC | GEC | AB10-A802-4672/1 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | UNISTAT MODULE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1229097 | 1229097 | EA | BOARD,CIRCT;VCB CONTROL CARD,ASSY,IPOWER |  |  | BOARD,CIRCUIT;TYPE:VCB CONTROL CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)IPOWER,PTNO:01)VK110VCCTCARD | VCB CONTROL CARD,01)ASSEMBLY,01)IPOWER,01)VK110VCCTCARD |  |  | IPOWER | IPOWER | VK110VCCTCARD | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | VCB CONTROL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1351413 | 1351413 | EA | BOARD,CIRCT;VF REGULATOR CARD,DELAIRCO |  |  | BOARD,CIRCUIT;TYPE:VF REGULATOR CARD,MNFR:01)DELAIRCO,PTNO:01)CC3502/1897 | VF REGULATOR CARD,01)DELAIRCO,01)CC3502/1897 |  |  | DELAIRCO | DELAIRCO | CC3502/1897 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | VF REGULATOR CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1302131 | 1302131 | EA | BOARD,CIRCT;VVVF DIGITAL INPUT CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:VVVF DIGITAL INPUT CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)EMSBY,PTNO:01)362871.02T | VVVF DIGITAL INPUT CARD,01)ASSEMBLY,01)EMSBY,01)362871.02T |  |  | EMSBY | EMSBY | 362871.02T | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | VVVF DIGITAL INPUT CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1302132 | 1302132 | EA | BOARD,CIRCT;VVVF FIBRE OPTIC CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:VVVF FIBRE OPTIC CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)EMSBY,PTNO:01)460B80.00T | VVVF FIBRE OPTIC CARD,01)ASSEMBLY,01)EMSBY,01)460B80.00T |  |  | EMSBY | EMSBY | 460B80.00T | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | VVVF FIBRE OPTIC CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1302134 | 1302134 | EA | BOARD,CIRCT;VVVF MICROBOARD CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:VVVF MICROBOARD CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)EMSBY,PTNO:01)468718.00T | VVVF MICROBOARD CARD,01)ASSEMBLY,01)EMSBY,01)468718.00T |  |  | EMSBY | EMSBY | 468718.00T | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | VVVF MICROBOARD CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK3 | 2023-08-03 | 2023-08-08 |  | 1302133 | 1302133 | EA | BOARD,CIRCT;VVVF VECTOR POWER CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:VVVF VECTOR POWER CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)EMSBY,PTNO:01)460T46.01T | VVVF VECTOR POWER CARD,01)ASSEMBLY,01)EMSBY,01)460T46.01T |  |  | EMSBY | EMSBY | 460T46.01T | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | VVVF VECTOR POWER CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok3 | 2023-08-03 | 2023-08-08 |  | 1288768 | 1288768 | EA | BOARD,CIRCT;WATER PUMP POWER CABLE |  |  | BOARD,CIRCUIT;TYPE:WATER PUMP POWER CABLE,MNFR:01)OUTOKUMP,PTNO:01)10314357 | WATER PUMP POWER CABLE,01)OUTOKUMP,01)10314357 |  |  | OUTOKUMP | OUTOKUMP | 10314357 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | CIRCUIT | TYPE | WATER PUMP POWER CABLE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed