## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1279762 | 1279762 | EA | BAR,BRKR;1/2 IN,LG 470 MM |  |  | BAR,BREAKER;DRIVE SIZE:1/2 IN,LENGTH:470 MM,MNFR:01)J.BLACKWOOD AND SON LIMITED,PTNO:01)08526663 | 1/2 IN,470 MM,01)J.BLACKWOOD & SON LIMITED,01)08526663 |  |  | J.BLACKWOOD AND SON LIMITED | Stahlwille | 707908 |  | J.BLACKWOOD AND SON LIMITED | 08526663 |  |  | https://www.blackwoods.com.au/tools-hand-measuring-precision/sockets-ratchets-and-accessories/square-drive-socket-flexible-extension-handle-stahlwille/bar-breaker-1-2-dr-x-470-long-stahlwille/p/08526663 | [10 empty] | Enriched | 30260000 Structural materials | BAR | BREAKER | TYPE |  | TORQUE RATING |  | DRIVE SIZE | 1/2 IN | DRIVE TYPE |  | MATERIAL |  | LENGTH | 470 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1385879 | 1385879 | EA | BAR,GND;EARTH,COPPER |  |  | BAR,GROUND;TYPE:EARTH,MATERIAL:COPPER,ADDITIONAL FEATURES EN:HOLD FOR ANDREW CLIFF SMITH/ELECTPIE CART - 20L,MNFR:01)CNW (MOUNT ISA) ELECT WHOLESALER,PTNO:01)PH-SPC-170425 | EARTH,COPPER,01)HOLD FOR ANDREW CLIFF SMITH,01)CNW (MOUNT ISA) ELECT WHOLE,01)PH-SPC-170425 |  |  | CNW (MOUNT ISA) ELECT WHOLESALER | CNW (MOUNT ISA) ELECT WHOLESALER | PH-SPC-170425 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 30262200 Copper bars | BAR | GROUND | TYPE | EARTH | ELECTRICAL RATING |  | LENGTH |  | WIDTH |  | THICKNESS |  | MATERIAL | COPPER | NUMBER OF TERMINALS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HOLD FOR ANDREW CLIFF SMITH/ELECTPIE CART - 20L | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1283165 | 1283165 | EA | BAR,PRY;LG 900 MM,END WD 25 MM |  |  | BAR,PRY;LENGTH:900 MM,END WIDTH:25 MM,MNFR:01)TOOL 'N' TACKLE,PTNO:01)5PB90025 | 900 MM,25 MM,01)TOOL 'N' TACKLE,01)5PB90025 |  |  | TOOL 'N' TACKLE | TOOL 'N' TACKLE | 5PB90025 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 27112502 Pry bars | BAR | PRY | TYPE |  | LENGTH | 900 MM | END TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | END WIDTH | 25 MM | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1353680 | 1353680 | EA | BAR,PRY;PODGER,LG 375 MM,HEXAGON |  |  | BAR,PRY;TYPE:PODGER,LENGTH:375 MM,END TYPE:HEXAGON,MATERIAL:CARBON MANGANESE STEEL HIGH TENSILE,END WIDTH:16 MM,MNFR:01)BLKWOODS, PTNO:01)03653713 | PODGER,375 MM,HEXAGON,CARBON MANGANESE STEEL HIGH TE,16 MM,01)BLKWOODS,01)03653713 |  |  | BLACKWOODS | Mumme Tools | 5POB37516 |  | BLACKWOODS | 03653713 |  |  | https://www.blackwoods.com.au/tools-hand-measuring-precision/striking-and-prying/hexagon-podge-bar-mumme-tools/bar-podger-375-x-16mm/p/03653713 | [10 empty] | Enriched | 27112502 Pry bars | BAR | PRY | TYPE | PODGER | LENGTH | 375 MM | END TYPE | HEXAGON | MATERIAL | HIGH TENSILE CARBON MANGANESE STEEL | MATERIAL SPECIFICATION |  | END WIDTH | 16 MM | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1318116 | 1318116 | EA | BAR,PRY;PODGER,LG 450 MM,HEXAGON,ATOMSUP |  |  | BAR,PRY;TYPE:PODGER,LENGTH:450 MM,END TYPE:HEXAGON,END WIDTH:19 MM,MNFR:01)ATOMSUP,PTNO:01)2527001 | PODGER,450 MM,HEXAGON,19 MM,01)ATOMSUP,01)2527001 |  |  | ATOM SUPPLY | ATOM SUPPLY | 2527001 | [5 empty] | https://www.atom.com.au/dual-sized-ratchet-head-podger-bar-36-41-x-450mm-2527001 | [10 empty] | Cleansed | 27112502 Pry bars | BAR | PRY | TYPE | PODGER | LENGTH | 450 MM | END TYPE | HEXAGON | MATERIAL |  | MATERIAL SPECIFICATION |  | END WIDTH | 19 MM | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1283267 | 1283267 | EA | BAR,PRY;SCREWDRIVER, CURVED |  |  | BAR,PRY;TYPE:SCREWDRIVER, CURVED,MNFR:01)ATOM SUPPLY,PTNO:01)91760005 | SCREWDRIVER, CURVED,01)ATOM SUPPLY,01)91760005 |  |  | ATOM SUPPLY | ATOM SUPPLY | 91760005 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 27112502 Pry bars | BAR | PRY | TYPE | SCREWDRIVER,CURVED | LENGTH |  | END TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | END WIDTH |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1283255 | 1283255 | EA | BAR,PRY;SPARKPROOF,LG 600 MM |  |  | BAR,PRY;TYPE:SPARKPROOF,LENGTH:600 MM,MATERIAL:BERYLLIUM COPPER,END WIDTH:25 MM,MNFR:01)TOOL 'N' TACKLE,PTNO:01)CB236-1010 | SPARKPROOF,600 MM,BERYLLIUM COPPER,25 MM,01)TOOL 'N' TACKLE,01)CB236-1010 |  |  | TOOL 'N' TACKLE | TOOL 'N' TACKLE | CB236-1010 | [5 empty] | https://www.tetools.com/500-x-15-x-16mm-pinch-bar-round-stk.-copper-beryll | [10 empty] | Cleansed | 27112502 Pry bars | BAR | PRY | TYPE | SPARKPROOF | LENGTH | 600 MM | END TYPE |  | MATERIAL | BERYLLIUM COPPER | MATERIAL SPECIFICATION |  | END WIDTH | 25 MM | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1283315 | 1283315 | EA | BAR,PRY;WRECKING, SPARKPROOF,LG 800 MM |  |  | BAR,PRY;TYPE:WRECKING, SPARKPROOF,LENGTH:800 MM,MATERIAL:BERYLLIUM COPPER,END WIDTH:19 MM,MNFR:01)TOOL N TACKLE,PTNO:01)CB240- 1006 | WRECKING, SPARKPROOF,800 MM,BERYLLIUM COPPER,19 MM,01)TOOL N TACKLE,01)CB240-1006 |  |  | TOOL N TACKLE | TOOL N TACKLE | CB240-1006 | [5 empty] | https://www.australianonlinecarparts.com.au/800-x19-x-round-stock-wrecking-bar-copper-berylliu | [10 empty] | Cleansed | 27112502 Pry bars | BAR | PRY | TYPE | WRECKING,SPARKPROOF | LENGTH | 800 MM | END TYPE |  | MATERIAL | BERYLLIUM COPPER | MATERIAL SPECIFICATION |  | END WIDTH | 19 MM | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [54 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1283331 | 1283331 | EA | BAR,PRY;WRECKING,LG 900 MM,INGCO TRADE |  |  | BAR,PRY;TYPE:WRECKING,LENGTH:900 MM,ADDITIONAL FEATURES EN:INGCO TRADE,MNFR:01)ELLIOTT TIMBER SALES PTY LTD,PTNO:01)6928073713815 | WRECKING,900 MM,01)INGCO TRADE,01)ELLIOTT TIMBER SALES PTY LT,01)6928073713815 |  |  | ELLIOTT TIMBER SALES PTY LTD | ELLIOTT TIMBER SALES PTY LTD | 6928073713815 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 27112502 Pry bars | BAR | PRY | TYPE | WRECKING | LENGTH | 900 MM | END TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | END WIDTH |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INGCO TRADE | [53 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1354685 | 1354685 | EA | BOARD,IP/OP;ANALOGUE INPUT CARD,CSEUNISE |  |  | BOARD,INPUT/OUTPUT;TYPE:ANALOGUE INPUT CARD,ADDITIONAL FEATURES EN:PLC,SUIT, LRS CONTROL PANEL,BM04 LRS ELECTRODE,MNFR:01) CSEUNISE,PTNO:01)021762-IF4 | ANALOGUE INPUT CARD,01)PLC,SUIT, LRS CONTROL PANEL,01)CSEUNISE,01)021762-IF4 |  |  | CSEUNISE | CSEUNISE | 021762-IF4 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | ANALOGUE INPUT CARD | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PLC,SUIT,LRS CONTROL PANEL,BM04 LRS ELECTRODE | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  | Processed based on Websource, Conflict w.r.t Input | 1350623 | 1350623 | EA | BOARD,IP/OP;ANALOGUE OUTPUT CARD,OMRO |  |  | BOARD,INPUT/OUTPUT;TYPE:ANALOGUE OUTPUT CARD,ADDITIONAL FEATURES EN:OMRON ANODE WHEEL PLC,MNFR:01)OMRON,PTNO:01)C500-DA101 | ANALOGUE OUTPUT CARD,01)OMRON ANODE WHEEL PLC,01)OMRON,01)C500-DA101 |  |  | OMRON | OMRON | C500-DA101 | [5 empty] | https://www.digikey.in/en/products/detail/omron-automation-and-safety/C500-DA101/2653504 | [10 empty] | Enriched | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | ANALOG OUTPUT CARD | VOLTAGE RATING |  | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS | 4 | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING | 0 TO 55 DEG C | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  | Processed based on Websource, Conflict w.r.t Input | 1229104 | 1229104 | EA | BOARD,IP/OP;CONTROL OUTPUT RELAY,24 VDC |  |  | BOARD,INPUT/OUTPUT;TYPE:CONTROL OUTPUT RELAY,ELECTRICAL RATING:24 VDC,ADDITIONAL FEATURES EN:984-A130,MNFR:01)MODICON,PTNO:01)AS- BDAP-208 | CONTROL OUTPUT RELAY,EN_01)24 VDC,01)984-A130,01)MODICON,01)AS-BDAP-208 |  |  | MODICON | MODICON | AS-BDAP-208 | Schneider Electric |  |  |  |  | https://www.mroelectric.com/product/AS-BDAP-208 | [10 empty] | Enriched | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | CONTROL OUTPUT RELAY | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | EN 984-A130 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1229035 | 1229035 | EA | BOARD,IP/OP;DIGITAL INDICATOR,4-20 MA |  |  | BOARD,INPUT/OUTPUT;TYPE:DIGITAL INDICATOR,OUTPUT RATING:4-20 MA,MNFR:01)RANGER,PTNO:01)8000-OUTPUT | DIGITAL INDICATOR,4-20 MA,01)RANGER,01)8000-OUTPUT |  |  | RANGER | RANGER | 8000-OUTPUT | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | DIGITAL INDICATOR | ELECTRICAL RATING |  | OUTPUT RATING | 4 TO 20 MA | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  | Processed based on Websource, Conflict w.r.t Input | 1229105 | 1229105 | EA | BOARD,IP/OP;DIGITAL INPUT,24 VDC,MODICON |  |  | BOARD,INPUT/OUTPUT;TYPE:DIGITAL INPUT,ELECTRICAL RATING:24 VDC,ADDITIONAL FEATURES EN:984-A130 CONTROL,MNFR:01)MODICON,PTNO:01)AS- BDEP-216 | DIGITAL INPUT,EN_01)24 VDC,01)984-A130 CONTROL,01)MODICON,01)AS-BDEP-216 |  |  | MODICON | MODICON | AS-BDEP-216 | Schneider Electric |  |  |  |  | https://www.mroelectric.com/product/AS-BDEP-216 | [10 empty] | Enriched | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | DIGITAL INPUT | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | INTERFACE TYPE |  | I/O POINTS |  | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD | EN 984-A130 | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1296219 | 1296219 | EA | BOARD,IP/OP;FMS DEPOT DIGITAL INPUT,BNLW |  |  | BOARD,INPUT/OUTPUT;TYPE:FMS DEPOT DIGITAL INPUT,MNFR:01)BANLAW,PTNO:01)BFTDIGINP | FMS DEPOT DIGITAL INPUT,01)BANLAW,01)BFTDIGINP |  |  | BANLAW | BANLAW | BFTDIGINP | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | FMS DEPOT DIGITAL INPUT | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  | Processed based on Websource, Conflict w.r.t Input | 1350927 | 1350927 | EA | BOARD,IP/OP;INPUT,0-10 V 0-20 MA,OMRO |  |  | BOARD,INPUT/OUTPUT;TYPE:INPUT,ELECTRICAL RATING:0-10 V 0-20 MA,PORT DATA:ANALOGUE TO DIGITAL,MNFR:01)OMRON,PTNO:01)C500-AD101 | INPUT,EN_01)0-10 V 0-20 MA,ANALOGUE TO DIGITAL,01)OMRON,01)C500-AD101 |  |  | OMRON | OMRON | C500-AD101 | [5 empty] | https://www.digikey.com/en/products/detail/omron-automation-and-safety/C500-AD101/2653485 | [10 empty] | Enriched | 39121552 Electrical control modules | MODULE | INPUT/OUTPUT | TYPE | ANALOG INPUT | VOLTAGE RATING | 0 TO 10 V | CURRENT RATING | 0 TO 20 MA | INTERFACE TYPE |  | I/O POINTS | 8 | RELATIVE HUMIDITY |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE TYPE |  | TEMPERATURE RATING |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1229101 | 1229101 | EA | BOARD,IP/OP;MSA DIGITAL INPUT,16,AMDEL |  |  | BOARD,INPUT/OUTPUT;TYPE:MSA DIGITAL INPUT,NUMBER OF CHANNELS:16,ADDITIONAL FEATURES EN:CIRCUIT CARD ASSEMBLY,MNFR:01)AMDEL,PTNO: 01)AM972,MNFR:02)AMDEL,PTNO:02)23961 | MSA DIGITAL INPUT,01)CIRCUIT CARD ASSEMBLY,01)AMDEL,02)AMDEL,01)AM972,02)23961 |  |  | AMDEL | AMDEL | AM972 |  | AMDEL | 23961 |  |  | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | MSA DIGITAL INPUT | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS | 16 | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CIRCUIT CARD ASSEMBLY | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1348200 | 1348200 | EA | BOARD,IP/OP;MSA, RELAY,8,AMDEL,23967 |  |  | BOARD,INPUT/OUTPUT;TYPE:MSA, RELAY,NUMBER OF CHANNELS:8,MNFR:01)AMDEL,PTNO:01)23967,MNFR:02)AMDEL,PTNO:02)AM974 | MSA, RELAY,01)AMDEL,02)AMDEL,01)23967,02)AM974 |  |  | AMDEL | AMDEL | 23967 |  | AMDEL | AM974 |  |  | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | MSA,RELAY | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS | 8 | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1352901 | 1352901 | EA | BOARD,IP/OP;NON ISOLATED CURRENT,4-20 MA |  |  | BOARD,INPUT/OUTPUT;TYPE:NON ISOLATED CURRENT,OUTPUT RATING:4-20 MA,MNFR:01)YOKOGAWA,PTNO:01)MXL/EA9*A | NON ISOLATED CURRENT,4-20 MA,01)YOKOGAWA,01)MXL/EA9*A |  |  | YOKOGAWA | YOKOGAWA | MXL/EA9 A | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | NON ISOLATED CURRENT | ELECTRICAL RATING |  | OUTPUT RATING | 4 TO 20 MA | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1354476 | 1354476 | EA | BOARD,IP/OP;OUTPUT RELAY,8,14052001,ECAM |  |  | BOARD,INPUT/OUTPUT;TYPE:OUTPUT RELAY,NUMBER OF CHANNELS:8,ADDITIONAL FEATURES EN:14052001,MNFR:01)ECAM,PTNO:01)FIN-DIG-17200 | OUTPUT RELAY,01)14052001,01)ECAM,01)FIN-DIG-17200 |  |  | ECAM | ECAM | FIN-DIG-17200 |  |  | 14052001 |  |  | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | OUTPUT RELAY | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS | 8 | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1354684 | 1354684 | EA | BOARD,IP/OP;RELAY OUTPUT CARD,CSEUNISE |  |  | BOARD,INPUT/OUTPUT;TYPE:RELAY OUTPUT CARD,ADDITIONAL FEATURES EN:LRS CONTROL PANEL,BM04 LRS ELECTRODE,MNFR:01)CSEUNISE,PTNO:01) 021762-OW16 | RELAY OUTPUT CARD,01)LRS CONTROL PANEL,BM04 LRS,01)CSEUNISE,01)021762-OW16 |  |  | CSEUNISE | CSEUNISE | 021762-OW16 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | RELAY OUTPUT CARD | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LRS CONTROL PANEL,BM04 LRS ELECTRODE | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1351289 | 1351289 | EA | BOARD,IP/OP;TRIAC OUTPUT,HONEYWEL |  |  | BOARD,INPUT/OUTPUT;TYPE:TRIAC OUTPUT,ADDITIONAL FEATURES EN:UNITV, CIRCUIT CARD ASSEMBLY,MNFR:01)HONEYWEL,PTNO:01)MM---8.S3 | TRIAC OUTPUT,01)UNITV, CIRCUIT CARD ASSEMBL,01)HONEYWEL,01)MM---8.S3 |  |  | HONEYWEL | HONEYWEL | MM-8.S3 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | TRIAC OUTPUT | ELECTRICAL RATING |  | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | UNITV,CIRCUIT CARD ASSEMBLY | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1350965 | 1350965 | EA | BOARD,IP/OP;VVVF DRIVE DIGITAL OUTPUT |  |  | BOARD,INPUT/OUTPUT;TYPE:VVVF DRIVE DIGITAL OUTPUT,ELECTRICAL RATING:3300 V AC 1450 KW 50 HZ,ADDITIONAL FEATURES EN:RUBICON HARMONY 459178.00,MNFR:01)EMSBY,PTNO:01)362871.00T | VVVF DRIVE DIGITAL OUTPUT,EN_01)3300 V AC 1450 KW 50 HZ,01)RUBICON HARMONY 459178.00,01)EMSBY,01)362871.00T |  |  | EMSBY | EMSBY | 362871.00T |  |  | 459178.00 |  |  | Url Not Found | [10 empty] | Cleansed | 32101500 Circuit assemblies and radio frequency RF components | BOARD | INPUT/OUTPUT | TYPE | VVVF DRIVE DIGITAL OUTPUT | ELECTRICAL RATING | 3300 VAC,1450 KW,50 HZ | OUTPUT RATING |  | NUMBER OF CHANNELS |  | PORT DATA |  | DATA TRANSFER RATE |  | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RUBICON HARMONY | [47 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1232593 | 1232593 | EA | BOARD,PRINT CIRCT |  |  | BOARD,PRINTED CIRCUIT;ADDITIONAL FEATURES EN:$20 FREIGHT, FOR HOLEMAKER PRO 35 DRILL REPAIR,MNFR:01)MOUNT ISA MINING SUPPLIES P/L, PTNO:01)SPPRO35062V2 | 01)$20 FREIGHT, FOR HOLEMAKER,01)MOUNT ISA MINING SUPPLIES P,01)SPPRO35062V2 |  |  | MOUNT ISA MINING SUPPLIES P/L | MOUNT ISA MINING SUPPLIES P/L | SPPRO35062V2 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | $20 FREIGHT,FOR HOLEMAKER PRO 35 DRILL REPAIR | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1374053 | 1374053 | EA | BOARD,PRINT CIRCT,ECAM,FIN-DIG-17092 |  |  | BOARD,PRINTED CIRCUIT;TYPE:ANALOG I/O CARD,ADDITIONAL FEATURES EN:4 IN + 4 OUT,16060202 DIGICOM,MNFR:ECAM, PTNO:FIN-DIG-17092 |  |  |  | ECAM | ECAM | FIN-DIG-17092 |  | DIGICOM | 16060202 |  |  | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | ANALOG I/O CARD | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4 IN + 4 OUT | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1237028 | 1237028 | EA | BOARD,PRINT CIRCT,ECAM,FIN-DIG-17250 |  |  | BOARD,PRINTED CIRCUIT;TYPE:TERMINAL TO ETHERNET CARD,ADDITIONAL FEATURES EN:8 WAY,14080502 DIGICOM,MNFR:ECAM,PTNO:FIN-DIG-17250 | EN_01)TERMINAL TO ETHERNET,01)PCB 14080501,01)ECAM,01)FIN-DIG-17250 |  |  | ECAM | ECAM | FIN-DIG-17250 |  | DIGICOM | 14080502 |  |  | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | TERMINAL TO ETHERNET CARD | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 8 WAY | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1237027 | 1237027 | EA | BOARD,PRINT CIRCT,ECAM,FIN-DIG-17305 |  |  | BOARD,PRINTED CIRCUIT;TYPE:INPUT CARD,ADDITIONAL FEATURES EN:8,15070203 DIGICOM,MNFR:ECAM,PTNO:FIN-DIG-17305 | PCB,01)CARD ASSEMBLY, 15070201 16,01)ECAM,01)FIN-DIG-17305 |  |  | ECAM | ECAM | FIN-DIG-17305 |  | DIGICOM | 15070203 |  |  | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | INPUT CARD | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF: 8 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1237029 | 1237029 | EA | BOARD,PRINT CIRCT,ECAM,FIN-DIG-18017 |  |  | BOARD,CIRCUIT;TYPE:INTELLIGENCE SUBASSEMBLY,MNFR:01)ECAM,PTNO:01)FIN-DIG-18017 | INTELLIGENCE SUBASSEMBLY,01)ECAM,01)FIN-DIG-18017 |  |  | ECAM | ECAM | FIN-DIG-18017 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | INTELLIGENCE SUBASSEMBLY | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1284604 | 1284604 | EA | BOARD,PRINT CIRCT;CTRL |  |  | BOARD,PRINTED CIRCUIT;TYPE:CONTROL,ADDITIONAL FEATURES EN:PIE CART - 20L CRUSH AND CONV STORE - ELECHOLD FO,MNFR:01)CNW (MOUNT ISA) | EN_01)CONTROL,01)PIE CART - 20L CRUSH & CONV,01)CNW (MOUNT ISA) ELECT WHOLE,01)PWA038 |  |  | CNW (MOUNT ISA) | CNW (MOUNT ISA) | [6 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | CONTROL | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PIE CART - 20L CRUSH AND CONV STORE - ELECHOLD FO | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1284504 | 1284504 | EA | BOARD,PRINT CIRCT;CTRL |  |  | BOARD,PRINTED CIRCUIT;TYPE:CONTROL,MNFR:01)VENDOR LINK PTY LTD,PTNO:01)TU815 | EN_01)CONTROL,01)VENDOR LINK PTY LTD,01)TU815 |  |  | VENDOR LINK PTY LTD | VENDOR LINK PTY LTD | TU815 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | CONTROL | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1359761 | 1359761 | EA | BOARD,PRINT CIRCT;ELECTRONIC COMPONENTS |  |  | BOARD,PRINTED CIRCUIT;ADDITIONAL FEATURES EN:ELECTRONIC COMPONENTS ASSEMBLY,ELECTRNI,ENC,MEP300 AMCU,MNFR:01)THEGAMME,PTNO:01) 30300 | 01)ELECTRONIC COMPONENTS ASSEM,01)THEGAMME,01)30300 |  |  | THEGAMME | THEGAMME | 30300 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRONIC COMPONENTS ASSEMBLY,ELECTRNI,ENC,MEP300 AMCU | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1344868 | 1344868 | EA | BOARD,PRINT CIRCT;FLEX |  |  | BOARD,PRINTED CIRCUIT;TYPE:FLEXIBLE,MNFR:01)MINESITE,PTNO:01)CL-RD-012 | EN_01)FLEXIBLE,01)MINESITE,01)CL-RD-012 |  |  | MINESITE | MINESITE | CL-RD-012 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | FLEXIBLE | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1292904 | 1292904 | EA | BOARD,PRINT CIRCT;IMPACT,MINESITE |  |  | BOARD,PRINTED CIRCUIT;TYPE:IMPACT,MNFR:01)MINESITE,PTNO:01)WAP4001-H | EN_01)IMPACT,01)MINESITE,01)WAP4001-H |  |  | MINESITE | MINESITE | WAP4001-H | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | IMPACT | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1284254 | 1284254 | EA | BOARD,PRINT CIRCT;MAIN |  |  | BOARD,PRINTED CIRCUIT;TYPE:MAIN,ADDITIONAL FEATURES EN:REF TO QU-1194ATTN GREG WOODS 4744 2018,MNFR:01)SMC REFRIGERATION AIR CONDITIONI,PTNO:01)PCB MAIN | EN_01)MAIN,01)REF TO QU-1194ATTN GREG WOO,01)SMC REFRIGERATION AIR CONDI,01)PCB MAIN |  |  | SMC REFRIGERATION AIR CONDITIONI | SMC REFRIGERATION AIR CONDITIONI | [6 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | MAIN | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF TO QU-1194ATTN GREG WOODS 4744 2018 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1291360 | 1291360 | EA | BOARD,PRINT CIRCT;MAIN CONTROL, POWER SU |  |  | BOARD,PRINTED CIRCUIT;,MAIN CONTROL, POWER SUPPLY,MNFR:01)NORDSON,PTNO:01)183837 | EN_01)MAIN CONTROL, POWER SUPP,01)NORDSON,01)183837 |  |  | NORDSON | NORDSON | 183837 | [5 empty] | https://industrialpartsrus.com/nordson-183837-power-supply-control-board-on-board-transformer/ | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | MAIN CONTROL,POWER SUPPLY | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1316839 | 1316839 | EA | BOARD,PRINT CIRCT;OUC, AIR CONDITIONING |  |  | BOARD,PRINTED CIRCUIT;TYPE:OUC, AIR CONDITIONING,ADDITIONAL FEATURES EN:PANEL,CONTROL,ELEC,MNFR:01)MIRAS,PTNO:01)CONS-201000115 | EN_01)OUC, AIR CONDITIONING,01)PANEL,CONTROL,ELEC,01)MIRAS,01)CONS-201000115 |  |  | MIRAS | MIRAS | CONS-201000115 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | AIR CONDITIONING | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OUC,PANEL,CONTROL,ELEC | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1284561 | 1284561 | EA | BOARD,PRINT CIRCT;OUTDOOR FILTER |  |  | BOARD,PRINTED CIRCUIT;TYPE:OUTDOOR FILTER,MNFR:01)DAVE CLANCY ELECTRICAL,PTNO:01)4009359 | EN_01)OUTDOOR FILTER,01)DAVE CLANCY ELECTRICAL,01)4009359 |  |  | DAVE CLANCY ELECTRICAL | DAVE CLANCY ELECTRICAL | 4009359 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | OUTDOOR FILTER | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1284164 | 1284164 | EA | BOARD,PRINT CIRCT;OUTDR,CTRL |  |  | BOARD,PRINTED CIRCUIT;TYPE:OUTDOOR,ADDITIONAL FEATURES EN:CONTROL,MNFR:01)BNS REFRIGERATION SERVICES P/L,PTNO:01)4010152 | EN_01)OUTDOOR,01)CONTROL,01)BNS REFRIGERATION SERVICES,01)4010152 |  |  | BNS REFRIGERATION SERVICES P/L | BNS REFRIGERATION SERVICES P/L | 4010152 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | OUTDOOR,CONTROL | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1321170 | 1321170 | EA | BOARD,PRINT CIRCT;RIBBON TO 16 WAY TERMI |  |  | BOARD,PRINTED CIRCUIT;ADDITIONAL FEATURES EN:RIBBON TO 16 WAY TERMINAL CONVERTER 08101901,MNFR:01)ECAM,PTNO:01)ICO-PCB-CON-16T | 01)RIBBON TO 16 WAY TERMINAL C,01)ECAM,01)ICO-PCB-CON-16T |  |  | ECAM | ECAM | ICO-PCB-CON-16T | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RIBBON TO 16 WAY TERMINAL CONVERTER 08101901 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | OK5 | 2023-08-03 |  |  | 1345985 | 1345985 | EA | BOARD,PRINT CIRCT;STATIC INVERTER CARD |  |  | BOARD,PRINTED CIRCUIT;TYPE:STATIC INVERTER CARD,MNFR:01)TECNIHYD,PTNO:01)1199528395000 | EN_01)STATIC INVERTER CARD,01)TECNIHYD,01)1199528395000 |  |  | TECNIHYD | TECNIHYD | 1199528395000 | [5 empty] | Url Not Found | [10 empty] | Cleansed | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | STATIC INVERTER CARD | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed