## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1351425 | 1351425 | EA | BOARD,CIRCT;AMPLIFIER CARD,ASSY,REXROTH |  |  | BOARD,CIRCUIT;TYPE:AMPLIFIER CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)REXROTH,PTNO:01)VT-2000S-3X/E | AMPLIFIER CARD,01)ASSEMBLY,01)REXROTH,01)VT-2000S-3X/E |  |  | REXROTH | REXROTH | VT-2000S-3X/E | [5 empty] | https://5.imimg.com/data5/UV/DO/FR/SELLER-1849559/vt-propotional-valve.pdf | [10 empty] | ENRICHED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | AMPLIFIER CARD | FUNCTION | PROPORTIONAL FLOW CONTROL VALVE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1302130 | 1302130 | EA | BOARD,CIRCT;AMPLIFIER CARD,REXROTH |  |  | BOARD,CIRCUIT;TYPE:AMPLIFIER CARD,ADDITIONAL FEATURES EN:ASSEMBLY, 24 V DC, 1A,MNFR:01)REXROTH,PTNO:01)VT3000S3X/R5/E | AMPLIFIER CARD,01)ASSEMBLY, 24 V DC, 1A,01)REXROTH,01)VT3000S3X/R5/E |  |  | REXROTH | REXROTH | VT3000S3X/R5/E | [5 empty] | https://indramat-usa.com/uploads/2018/02/VT-3000-Technical-Data.pdf | [10 empty] | ENRICHED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | AMPLIFIER CARD | FUNCTION | PROPORTIONAL FLOW CONTROL VALVE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,24 V DC,1A | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1320058 | 1320058 | EA | BOARD,CIRCT;AMPLIFIER CARD,REXROTH |  |  | BOARD,CIRCUIT;TYPE:AMPLIFIER CARD,MNFR:01)REXROTH,PTNO:01)VT-VSPA2-50-1*/T1 | AMPLIFIER CARD,01)REXROTH,01)VT-VSPA2-50-1*/T1 |  |  | REXROTH | REXROTH | VT-VSPA2-50-1*/T1 | [5 empty] | https://dc-kr.resource.bosch.com/media/kr/products_9/data_sheet_8/proportional_electronics/re30110_2013-04_vt-vspa2.pdf | [10 empty] | ENRICHED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | AMPLIFIER CARD | FUNCTION | PROPORTIONAL FLOW CONTROL VALVE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1237725 | 1237725 | EA | BOARD,CIRCT;AMPLIFIER,1 A, 24 V DC |  |  | BOARD,CIRCUIT;TYPE:AMPLIFIER,ADDITIONAL FEATURES EN:1 A, 24 V DC,MNFR:01)REXROTH,PTNO:01)VT3000-3X/E2-RMS1 | AMPLIFIER,01)1 A, 24 V DC,01)REXROTH,01)VT3000-3X/E2-RMS1 |  |  | REXROTH | REXROTH | VT3000-3X/E2-RMS1 | [5 empty] | https://indramat-usa.com/uploads/2018/02/VT-3000-Component-Series-3X.pdf | [10 empty] | ENRICHED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | AMPLIFIER | FUNCTION | PROPORTIONAL FLOW CONTROL VALVE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1 A,24 V DC | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1229128 | 1229128 | EA | BOARD,CIRCT;CARD ASSEMBLY, PCB 16090101 |  |  | BOARD,CIRCUIT;ADDITIONAL FEATURES EN:CARD ASSEMBLY, PCB 16090101 AND 16090202, 16W H/C FEM, FOR MANAG.I/O,MNFR:01)ECAM,PTNO:01)FIN- | 01)CARD ASSEMBLY, PCB 16090101,01)ECAM,01)FIN-DIG-17030 |  |  | ECAM | ECAM | FIN-DIG-17030 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,PCB 16090101 AND 16090202,16W H/C FEM,FOR MANAG.I/O | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1289947 | 1289947 | EA | BOARD,CIRCT;CARD, PULSE TRAIN INPUT,ASSY |  |  | BOARD,CIRCUIT;TYPE:CARD, PULSE TRAIN INPUT,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)YOKOGAWA,PTNO:01)EP1.A | CARD, PULSE TRAIN INPUT,01)ASSEMBLY,01)YOKOGAWA,01)EP1.A |  |  | YOKOGAWA | YOKOGAWA | EP1.A | [5 empty] | http://web-material3.yokogawa.com/GS33J60H80-01EN_002.pdf | https://www.4dcontrols.com.au/shop/yokogawa-ep1a-pulse-train-input-card-plc-dcs/ | [9 empty] | ENRICHED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | CARD,PULSE TRAIN INPUT | FUNCTION | SIGNAL CONDITIONER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1319915 | 1319915 | EA | BOARD,CIRCT;CONTROL MODULE,50 HZ,SYNTECH |  |  | BOARD,CIRCUIT;TYPE:CONTROL MODULE,ADDITIONAL FEATURES EN:50 HZ,MNFR:01)SYNTECH,PTNO:01)052B4051 | CONTROL MODULE,01)50 HZ,01)SYNTECH,01)052B4051 |  |  | SYNTECH | SYNTECH | 052B4051 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | CONTROL MODULE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 50 HZ | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1237737 | 1237737 | EA | BOARD,CIRCT;CONTROL, HYDRAULIC DRIVE |  |  | BOARD,CIRCUIT;TYPE:CONTROL, HYDRAULIC DRIVE,ADDITIONAL FEATURES EN:CARD ASSEMBLY, RADIAL STACKER AMP,MNFR:01)REXROTH,PTNO:01) R901057058 | CONTROL, HYDRAULIC DRIVE,01)CARD ASSEMBLY, RADIAL STACK,01)REXROTH,01)R901057058 |  |  | REXROTH | REXROTH | R901057058 | [5 empty] | https://buyrexroth.com/product/R901057058-vt_vrpa1_150_1x_v0_0 | [10 empty] | ENRICHED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | CONTROL,HYDRAULIC DRIVE | FUNCTION | PROPORTIONAL FLOW CONTROL VALVE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,RADIAL STACKER AMP | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1279266 | 1279266 | EA | BOARD,CIRCT;CONTROL, OUTDOOR |  |  | BOARD,CIRCUIT;TYPE:CONTROL, OUTDOOR,MNFR:01)DAVE CLANCY ELECTRICAL,PTNO:01)4010149 | CONTROL, OUTDOOR,01)DAVE CLANCY ELECTRICAL,01)4010149 |  |  | DAVE CLANCY ELECTRICAL | DAVE CLANCY ELECTRICAL | 4010149 | DAIKIN |  |  |  |  | https://www.statewideapp.com.au/daikin-aircon-outdoor-control-pcb-rxs20lvmarxs35lvma-4010149 | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | OUTDOOR CONTROL | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE | 65 WDX170 HTX195 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1295356 | 1295356 | EA | BOARD,CIRCT;CONTROL,DANFOSS,175H4539 |  |  | BOARD,CIRCUIT;TYPE:CONTROL,MNFR:01)DANFOSS,PTNO:01)175H4539 | CONTROL,01)DANFOSS,01)175H4539 |  |  | DANFOSS | DANFOSS | 175H4539 | [5 empty] | https://www.electrical.com/Products/Drivess-Danfoss/175H4539?cond=R | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1296154 | 1296154 | EA | BOARD,CIRCT;CONTROL,REXROTH |  |  | BOARD,CIRCUIT;TYPE:CONTROL,MNFR:01)REXROTH,PTNO:01)VT5010S2X/5E RA377 | CONTROL,01)REXROTH,01)VT5010S2X/5E RA377 |  |  | REXROTH | REXROTH | VT5010S2X/5E RA377 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1279448 | 1279448 | EA | BOARD,CIRCT;CONTROL,TO SUIT FDYQN180LV1 |  |  | BOARD,CIRCUIT;TYPE:CONTROL,ADDITIONAL FEATURES EN:TO SUIT FDYQN180LV1,MNFR:01)CAPRICORN AIR CONDITIONING,PTNO:01)2P278099-3,MNFR: 02)DAIKIN,PTNO:02)2P278099-3 | CONTROL,01)TO SUIT FDYQN180LV1,01)CAPRICORN AIR CONDITIONING,02)DAIKIN,01)2P278099-3,02)2P278099-3 |  |  | DAIKIN | CAPRICORN AIR CONDITIONING | 2P278099-3 |  | DAIKIN | 2P278099-3 |  |  | https://hvacspareparts.com/4021347-DAIKIN/hvac-spare-parts-oem/600918 | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TO SUIT FDYQN180LV1 | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1279290 | 1279290 | EA | BOARD,CIRCT;FORCED OPERATION SWITCH |  |  | BOARD,CIRCUIT;TYPE:FORCED OPERATION SWITCH,MNFR:01)DAVE CLANCY ELECTRICAL,PTNO:01)4007375 | FORCED OPERATION SWITCH,01)DAVE CLANCY ELECTRICAL,01)4007375 |  |  | DAVE CLANCY ELECTRICAL | DAVE CLANCY ELECTRICAL | 4007375 | DAIKIN |  |  |  |  | https://www.stevensequip-hvac.com/buy/product/goodman-manufacturing-dkp4007375/CLENCe7563f75e542585bcd6919aba0394a6b?ID=/OEM-Parts/Mini-Split-Parts/Printed-Circuit-Boards/dept-6MF | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | FORCED OPERATION SWITCH | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1295545 | 1295545 | EA | BOARD,CIRCT;GATE DRIVE CARD,ASSY,DANFOSS |  |  | BOARD,CIRCUIT;TYPE:GATE DRIVE CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)DANFOSS,PTNO:01)175L3401 | GATE DRIVE CARD,01)ASSEMBLY,01)DANFOSS,01)175L3401 |  |  | DANFOSS | DANFOSS | 175L3401 | [5 empty] | https://weixuan88-jdzj-com.translate.goog/supplyinfo-10-2-509830.html?_x_tr_sl=zh-CN&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | GATE DRIVE CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1295691 | 1295691 | EA | BOARD,CIRCT;GATE SELECT PCB,EMSBY,103 |  |  | BOARD,CIRCUIT;TYPE:GATE SELECT PCB,ADDITIONAL FEATURES EN:CARD ASSEMBLY, OD4 600 VFD,MNFR:01)EMSBY,PTNO:01)103 | GATE SELECT PCB,01)CARD ASSEMBLY, OD4 600 VFD,01)EMSBY,01)103 |  |  | EMSBY | EMSBY | 103 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | GATE SELECT PCB | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,OD4 600 VFD | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1353310 | 1353310 | EA | BOARD,CIRCT;ICCL,PRINTED, 50HZ,MINESITE |  |  | BOARD,CIRCUIT;TYPE:ICCL,ADDITIONAL FEATURES EN:PRINTED, 50HZ,MNFR:01)MINESITE,PTNO:01)CL-RX-101A | ICCL,01)PRINTED, 50HZ,01)MINESITE,01)CL-RX-101A |  |  | MINESITE | MINESITE | CL-RX-101A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | ICCL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRINTED,50HZ | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1279491 | 1279491 | EA | BOARD,CIRCT;INDOOR CONTROL |  |  | BOARD,CIRCUIT;TYPE:INDOOR CONTROL,MNFR:01)DAVE CLANCY ELECTRICAL,PTNO:01)4007635 | INDOOR CONTROL,01)DAVE CLANCY ELECTRICAL,01)4007635 |  |  | DAVE CLANCY ELECTRICAL | DAVE CLANCY ELECTRICAL | 4007635 | DAIKIN |  |  |  |  | https://www.statewideapp.com.au/daikin-aircon-id-control-pcb-ftxs35kvma-4007635 | [10 empty] | ENRICHED | 32101502 Printed circuit assemblies PCAs | BOARD | PRINTED CIRCUIT | TYPE | INDOOR CONTROL | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE | 30 WDX190 HTX110 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1279490 | 1279490 | EA | BOARD,CIRCT;INDOOR DISPLAY |  |  | BOARD,CIRCUIT;TYPE:INDOOR DISPLAY,MNFR:01)DAVE CLANCY ELECTRICAL,PTNO:01)1840054 | INDOOR DISPLAY,01)DAVE CLANCY ELECTRICAL,01)1840054 |  |  | DAVE CLANCY ELECTRICAL | DAVE CLANCY ELECTRICAL | 1840054 | [5 empty] | https://www.uri.com/quick-parts/1840054-zid1840054-product | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | INDOOR DISPLAY | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1279489 | 1279489 | EA | BOARD,CIRCT;INDOOR, INFARED |  |  | BOARD,CIRCUIT;TYPE:INDOOR, INFARED,MNFR:01)DAVE CLANCY ELECTRICAL,PTNO:01)1840061 | INDOOR, INFARED,01)DAVE CLANCY ELECTRICAL,01)1840061 |  |  | DAVE CLANCY ELECTRICAL | DAVE CLANCY ELECTRICAL | 1840061 | [5 empty] | https://hvacspareparts.com/1840061-DAIKIN/hvac-spare-parts-oem/499209 | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | INDOOR,INFARED | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1359424 | 1359424 | EA | BOARD,CIRCT;LCD AND PROCESSOR CARD |  |  | BOARD,CIRCUIT;TYPE:LCD AND PROCESSOR CARD,MNFR:01)HAYMANS,PTNO:01)WEL80-PCB-207209REV2 | LCD AND PROCESSOR CARD,01)HAYMANS,01)WEL80-PCB-207209REV2 |  |  | HAYMANS | HAYMANS | WEL80-PCB-207209REV2 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | LCD AND PROCESSOR CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1318774 | 1318774 | EA | BOARD,CIRCT;LPG UV DETECTOR,PRINTED |  |  | BOARD,CIRCUIT;FUNCTION:LPG UV DETECTOR,ADDITIONAL FEATURES EN:PRINTED,MNFR:01)FRANKLIN,PTNO:01)466893210 | EN_01)LPG UV DETECTOR,01)PRINTED,01)FRANKLIN,01)466893210 |  |  | FRANKLIN | FRANKLIN | 466893210 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE |  | FUNCTION | LPG UV DETECTOR | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRINTED | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 | Processed based on Websource, Conflict w.r.t Input | 1302989 | 1302989 | EA | BOARD,CIRCT;MICRO, DIGITAL,CEGELEC |  |  | BOARD,CIRCUIT;TYPE:MICRO, DIGITAL,ADDITIONAL FEATURES EN:ALSPA 80-35 MODEL,MNFR:01)CEGELEC,PTNO:01)IC693CPU352 | MICRO, DIGITAL,01)ALSPA 80-35 MODEL,01)CEGELEC,01)IC693CPU352 |  |  | CEGELEC | CEGELEC | IC693CPU352 | [5 empty] | https://www.pdfsupply.com/automation/ge-fanuc/series-90-30/IC693CPU352 | [10 empty] | ENRICHED | 43201503 Central processing unit CPU processors | CPU | NO MODIFIER | TYPE | SINGLE SLOT | PROCESSOR | 80386EX | CLOCK SPEED | 25 MHZ | MEMORY | 240 KB | POWER SUPPLY |  | SIZE |  | MOUNTING TYPE | BASEPLATE | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR ALSPA 80-35 MODEL | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1318011 | 1318011 | EA | BOARD,CIRCT;MOTHER,FUEL TRACK,BNLW |  |  | BOARD,CIRCUIT;TYPE:MOTHER,FUNCTION:FUEL TRACK,ADDITIONAL FEATURES EN:PRINTED SUB ASSY,MNFR:01)BANLAW,PTNO:01)BFTE113A | MOTHER,EN_01)FUEL TRACK,01)PRINTED SUB ASSY,01)BANLAW,01)BFTE113A |  |  | BANLAW | BANLAW | BFTE113A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | MOTHER | FUNCTION | FUEL TRACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRINTED SUB ASSY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1316196 | 1316196 | EA | BOARD,CIRCT;PCB,CARD ASSEMBLY, 16080901 |  |  | BOARD,CIRCUIT;TYPE:PCB,ADDITIONAL FEATURES EN:CARD ASSEMBLY, 16080901,MNFR:01)ECAM,PTNO:01)FIN-DIG-17010 | PCB,01)CARD ASSEMBLY, 16080901,01)ECAM,01)FIN-DIG-17010 |  |  | ECAM | ECAM | FIN-DIG-17010 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,16080901 | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1229127 | 1229127 | EA | BOARD,CIRCT;PCB,ECAM,FIN-DIG-17096 |  |  | BOARD,CIRCUIT;TYPE:PCB,ADDITIONAL FEATURES EN:CARD ASSEMBLY, 17051901, DIGICOM ANALOG, I/O (2+8),MNFR:01)ECAM,PTNO:01)FIN-DIG- 17096 | PCB,01)CARD ASSEMBLY, 17051901, DI,01)ECAM,01)FIN-DIG-17096 |  |  | ECAM | ECAM | FIN-DIG- 17096 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,17051901,DIGICOM ANALOG,I/O (2+8) | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1229126 | 1229126 | EA | BOARD,CIRCT;PCB,ECAM,FIN-DIG-17270 |  |  | BOARD,CIRCUIT;TYPE:PCB,ADDITIONAL FEATURES EN:CARD ASSEMBLY, 14080405, DIGICOM, UPS, BATT MANAGEMENT LOGIC,MNFR:01)ECAM,PTNO:01) FIN-DIG-17270 | PCB,01)CARD ASSEMBLY, 14080405, DI,01)ECAM,01)FIN-DIG-17270 |  |  | ECAM | ECAM | FIN-DIG-17270 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | PRINTED CIRCUIT | TYPE |  | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARD ASSEMBLY,14080405,DIGICOM,UPS,BATT MANAGEMENT LOGIC | [49 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 | Processed based on Websource, Conflict w.r.t Input | 1299005 | 1299005 | EA | BOARD,CIRCT;PLC HIGH SPEED CARD,ASSY |  |  | BOARD,CIRCUIT;TYPE:PLC HIGH SPEED CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)CEGELEC,PTNO:01)IC693APU300 | PLC HIGH SPEED CARD,01)ASSEMBLY,01)CEGELEC,01)IC693APU300 |  |  | CEGELEC | CEGELEC | IC693APU300 | [5 empty] | https://www.pdfsupply.com/automation/ge-fanuc/series-90-30/IC693APU300 | [10 empty] | ENRICHED | 41111902 Electronic counters | COUNTER | NO MODIFIER | TYPE | PLC HIGH SPEED | COUNTING RANGE | 20 TO 80 KHZ | DISPLAY TYPE | LED | POWER SUPPLY | 1.25 W | MATERIAL | COPPER WIRE | RESET TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [52 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1347938 | 1347938 | EA | BOARD,CIRCT;POWER CONVERSION,ECAM |  |  | BOARD,CIRCUIT;TYPE:POWER CONVERSION,ADDITIONAL FEATURES EN:PCB 09050201, NIPHAN POWER CON, 90 POLYSWITCH, NIPHAN CONNECTOR,MNFR: 01)ECAM,PTNO:01)ICO-PCB-NIP-90 | POWER CONVERSION,01)PCB 09050201, NIPHAN POWER,01)ECAM,01)ICO-PCB-NIP-90 |  |  | ECAM | ECAM | ICO-PCB-NIP-90 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | POWER CONVERSION | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PCB 09050201,NIPHAN POWER CON,90 POLYSWITCH,NIPHAN CONNECTOR | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1381745 | 1381745 | EA | BOARD,CIRCT;RECTIFIER, PC,JOHNSWAY,16057 |  |  | BOARD,CIRCUIT;TYPE:RECTIFIER, PC,ADDITIONAL FEATURES EN:CONTAINS: BOARD, HEAT SINK, FUSE, 2 X BRIDGE,MNFR:01)JOHNSWAY,PTNO:01) 16057 | RECTIFIER, PC,01)CONTAINS: BOARD, HEAT SINK,01)JOHNSWAY,01)16057 |  |  | JOHNSWAY | JOHNS WAY | 16057 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | RECTIFIER,PC | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONTAINS:BOARD,HEAT SINK,FUSE,2 X BRIDGE | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1349088 | 1349088 | EA | BOARD,CIRCT;REED RELAY MODULE,GEC,A770 |  |  | BOARD,CIRCUIT;TYPE:REED RELAY MODULE,MNFR:01)GEC,PTNO:01)A770 | REED RELAY MODULE,01)GEC,01)A770 |  |  | GEC | GEC | A770 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | REED RELAY MODULE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1289010 | 1289010 | EA | BOARD,CIRCT;REPLAY,FOR DIGITAL |  |  | BOARD,CIRCUIT;TYPE:REPLAY,ADDITIONAL FEATURES EN:FOR DIGITAL,MNFR:01)WEIDMULLER,PTNO:01)7940011315 | REPLAY,01)FOR DIGITAL,01)WEIDMULLER,01)7940011315 |  |  | WEIDMULLER | WEIDMULLER | 7940011315 | [5 empty] | https://octopart.com/7940011315-weidmuller-25154856 | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | REPLAY | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR DIGITAL | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1321169 | 1321169 | EA | BOARD,CIRCT;RIBBON TO 16 WAY,ECAM |  |  | BOARD,CIRCUIT;TYPE:RIBBON TO 16 WAY,ADDITIONAL FEATURES EN:PRINTED, SMALL HEAVY CON FEMALE CONVERTER 05020101,MNFR:01)ECAM,PTNO: 01)ICO-PCB-H/C-S-F | RIBBON TO 16 WAY,01)PRINTED, SMALL HEAVY CON FE,01)ECAM,01)ICO-PCB-H/C-S-F |  |  | ECAM | ECAM | ICO-PCB-H/C-S-F | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | RIBBON TO 16 WAY | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRINTED,SMALL HEAVY CON FEMALE CONVERTER 05020101 | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1279411 | 1279411 | EA | BOARD,CIRCT;SO180HR9AN/P015AHR9AE, REFER |  |  | BOARD,CIRCUIT;ADDITIONAL FEATURES EN:SO180HR9AN/P015AHR9AE, REFERENCE NO: (NR-I) SO1,MNFR:01)CONS,PTNO:01)16809 | 01)SO180HR9AN/P015AHR9AE, REFE,01)CONS,01)16809 |  |  | CONS | CONS | 16809 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE |  | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SO180HR9AN/P015AHR9AE | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1229129 | 1229129 | EA | BOARD,CIRCT;SSU SURFACE SPEECH,ECAM |  |  | BOARD,CIRCUIT;FUNCTION:SSU SURFACE SPEECH,ADDITIONAL FEATURES EN:PRINTED, UNIT SPEECH ONLY,MNFR:01)ECAM,PTNO:01)FIN-DIG-04100 | EN_01)SSU SURFACE SPEECH,01)PRINTED, UNIT SPEECH ONLY,01)ECAM,01)FIN-DIG-04100 |  |  | ECAM | ECAM | FIN-DIG-04100 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE |  | FUNCTION | SSU SURFACE SPEECH | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRINTED,UNIT SPEECH ONLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1295368 | 1295368 | EA | BOARD,CIRCT;STARTER CONTROL CARD,DANFOSS |  |  | BOARD,CIRCUIT;TYPE:STARTER CONTROL CARD,MNFR:01)DANFOSS,PTNO:01)191G0278 | STARTER CONTROL CARD,01)DANFOSS,01)191G0278 |  |  | DANFOSS | DANFOSS | 191G0278 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | STARTER CONTROL CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 | Processed based on Websource, Conflict w.r.t Input | 1279171 | 1279171 | EA | BOARD,CIRCT;STRIP, SINGLE SIDED,01-0043 |  |  | BOARD,CIRCUIT;TYPE:STRIP, SINGLE SIDED,ADDITIONAL FEATURES EN:01-0043,MNFR:01)RS COMPONENTS PTY LTD,PTNO:01)434-201 | STRIP, SINGLE SIDED,01)01-0043,01)RS COMPONENTS PTY LTD,01)434-201 |  |  | RS COMPONENTS PTY LTD | RS COMPONENTS PTY LTD | 434-201 |  | VERO TECHNOLOGIES | 01-0043 |  |  | https://in.rsdelivers.com/product/vero-technologies/01-0043/01-0043-single-sided-stripboard-fr-2-45466-x-11938/0434201 | [10 empty] | ENRICHED | 43222802 Circuit switchboard equipment | BOARD | NO MODIFIER | TYPE | STRIP,SINGLE SIDED | SIZE | 454.66 LGX119.38 WDX1.6 MM THK | MATERIAL | SYNTHETIC RESIN BONDED PAPER BASE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 10/8/2023 |  | 1349087 | 1349087 | EA | BOARD,CIRCT;UNISTAT MODULE,REV.H,GEC |  |  | BOARD,CIRCUIT;TYPE:UNISTAT MODULE,ADDITIONAL FEATURES EN:REV.H,MNFR:01)GEC,PTNO:01)AB12-A801-4672/1 | UNISTAT MODULE,01)REV.H,01)GEC,01)AB12-A801-4672/1 |  |  | GEC | GEC | AB12-A801-4672/1 | [5 empty] | URL NOT FOUND | [7 empty] | REV H |  |  | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | UNISTAT MODULE | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [64 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1295355 | 1295355 | EA | BOARD,CIRCT;VSD RELAY CARD,ASSY,DANFOSS |  |  | BOARD,CIRCUIT;TYPE:VSD RELAY CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)DANFOSS,PTNO:01)175H4713 | VSD RELAY CARD,01)ASSEMBLY,01)DANFOSS,01)175H4713 |  |  | DANFOSS | DANFOSS | 175H4713 | [5 empty] | https://www.manualslib.com/manual/1929456/Danfoss-Vlt-Series.html?page=43 | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | VSD RELAY CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1295544 | 1295544 | EA | BOARD,CIRCT;VSD RELAY CARD,ASSY,DANFOSS |  |  | BOARD,CIRCUIT;TYPE:VSD RELAY CARD,ADDITIONAL FEATURES EN:ASSEMBLY,MNFR:01)DANFOSS,PTNO:01)175H4712 | VSD RELAY CARD,01)ASSEMBLY,01)DANFOSS,01)175H4712 |  |  | DANFOSS | DANFOSS | 175H4712 | [5 empty] | https://www.manualslib.com/manual/1929456/Danfoss-Vlt-Series.html?page=43 | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | CIRCUIT | TYPE | VSD RELAY CARD | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY | [63 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | PDC | ok | 8/10/2023 | 11/8/2023 |  | 1382958 | 1382958 | EA | BOARD;A4, SECTION EACH USE 34387 |  |  | BOARD;SIZE:A4,ADDITIONAL FEATURES EN:WD 230 X LG 320 X HT 27 MM, STORAGE LARGE CAPAC, SECTION EACH USE 34387,MNFR:01)OFFICEMAX, PTNO:01)2546949 | 01)OFFICEMAX,01)2546949,EN_01)A4,01)WD 230 X LG 320 X HT 27 MM,02) SECTION EACH USE 34387 |  |  | OFFICEMAX | OFFICEMAX | 2546949 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 32131020 Assembled flexible printed circuit board | BOARD | NO MODIFIER | TYPE |  | SIZE | 320 LGX230 WDX27 HT MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | A4 SIZE,STORAGE LARGE CAPAC,SECTION EACH USE 34387 | [61 empty] | Production Completed