## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1290940 | 1290940 | EA | COIL,COOLNG;A/C, EVAPORATOR,ELEC, 16T |  |  | COIL,COOLING;TYPE:AIR CONDITIONER, EVAPORATOR,ADDITIONAL FEATURES EN:ELECTRICAL, 16T,MNFR:01)ADAPLIFT,PTNO:01)4003090 | AIR CONDITIONER, EVAPORATOR,01)ELECTRICAL, 16T,01)ADAPLIFT,01)4003090 |  |  | ADAPLIFT | ADAPLIFT | 4003090 |  | HYSTER | 4003090 |  |  | https://www.orangeparts.com/hyster-4003090-coil-evaporator/ | [10 empty] | CLEANSED |  | COIL | COOLING | TYPE | AIR CONDITIONER,EVAPORATOR | DIAMETER |  | MEDIUM |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,CAPACITY:16T | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1302585 | 1302585 | EA | COIL,COOLNG;AIR DRIER CONDENSER,COMPAIR |  |  | COIL,COOLING;TYPE:AIR DRIER CONDENSER,MNFR:01)COMPAIR,PTNO:01)A114318 | AIR DRIER CONDENSER,01)COMPAIR,01)A114318 |  |  | COMPAIR | COMPAIR | A114318 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | COOLING | TYPE | AIR DRIER CONDENSER | DIAMETER |  | MEDIUM |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [60 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298921 | 1298921 | EA | COIL,ELEC;100-120 V AC,50HZ,GOYEN |  |  | COIL,ELECTRICAL;VOLTAGE RATING:100-120 V AC,ADDITIONAL FEATURES EN:50HZ,MNFR:01)GOYEN,PTNO:01)G601207-103 | EN_01)100-120 V AC,01)50HZ,01)GOYEN,01)G601207-103 |  |  | GOYEN | GOYEN | G601207-103 | [5 empty] | http://www.gekko-inc.com/store/goyen/64153-goyen-g601207-103.html | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 100-120 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1344586 | 1344586 | EA | COIL,ELEC;110 MM,FUELOPASS AND CHIP |  |  | COIL,ELECTRICAL;SIZE:110 MM,ADDITIONAL FEATURES EN:FUELOPASS AND CHIP,MNFR:01)BANLAW,PTNO:01)BFTC110 | 110 MM,01)FUELOPASS AND CHIP,01)BANLAW,01)BFTC110 |  |  | BANLAW | BANLAW | BFTC110 | [5 empty] | https://www.banlaw.com/wp-content/uploads/2018/06/20180501-Banlaw-Product-End-of-Life-SecureFill-Unit-ID-Rings-TT-Supplied.pdf | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE | 110 MM | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUELOPASS AND CHIP | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1318821 | 1318821 | EA | COIL,ELEC;110 V |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V,ADDITIONAL FEATURES EN:50HZ 4420 WITH ARMATURE,BRACKET AND CLIP,MNFR:01)SMC,PTNO:01)A.01-03 | EN_01)110 V,01)50HZ 4420 WITH ARMATURE,BRA,01)SMC,01)A.01-03 |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | A.01-03 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50HZ, 4420 WITH ARMATURE,BRACKET AND CLIP | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298809 | 1298809 | EA | COIL,ELEC;110 V AC,4WE6 DIRECTIONA |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:4WE6 DIRECTIONA,MNFR:01)REXROTH,PTNO:01)20175 L4000 | EN_01)110 V AC,01)4WE6 DIRECTIONA,01)REXROTH,01)20175 L4000 |  |  | REXROTH | REXROTH | 20175 L4000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 4WE6 DIRECTIONAL | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381398 | 1381398 | EA | COIL,ELEC;110 V AC,50HZ, 10.5W,AUTOSWIT |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:50HZ, 10.5W,MNFR:01)AUTOSWIT,PTNO:01)27-462-1D | EN_01)110 V AC,01)50HZ, 10.5W,01)AUTOSWIT,01)27-462-1D |  |  | AUTOSWIT | AUTOSWIT | 27-462-1D |  | ASCO | 27-462-1D |  |  | https://www.nriparts.com/products/asco-27-462-1d-solenoid-coil-120v-ac-valve-parts-and-accessory/583267?item_id=818942 | [10 empty] | ENRICHED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 120 VAC | POWER RATING | 10.5 W | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1232554 | 1232554 | EA | COIL,ELEC;110 V AC,50HZ, SIZES 3 4 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:50HZ, SIZES 3 AND 4,MNFR:01)CUTLERHM,PTNO:01)006-674-3CP | EN_01)110 V AC,01)50HZ, SIZES 3 & 4,01)CUTLERHM,01)006-674-3CP |  |  | CUTLERHM | CUTLERHM | 006-674-3CP | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,SIZES 3 AND 4 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349162 | 1349162 | EA | COIL,ELEC;110 V AC,50HZ,KLOCKNER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:50HZ,MNFR:01)KLOCKNER,PTNO:01)J-DIL0M-110VAC | EN_01)110 V AC,01)50HZ,01)KLOCKNER,01)J-DIL0M-110VAC |  |  | KLOCKNER | KLOCKNER | J-DIL0M-110VAC | [5 empty] | https://www.3jindustry.com/products/dil0m-110v-50hz-120v-60hz-eaton-corporation-klockner-moeller-dil-contactor | [10 empty] | ENRICHED |  | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349209 | 1349209 | EA | COIL,ELEC;110 V AC,50HZ,KLOCKNER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:50HZ,MNFR:01)KLOCKNER,PTNO:01)J-DIL00M-110VAC | EN_01)110 V AC,01)50HZ,01)KLOCKNER,01)J-DIL00M-110VAC |  |  | KLOCKNER | KLOCKNER | J-DIL00M-110VAC | [5 empty] | https://wellgainelectronics.com/contactors/9917-klockner-moeller-j-dil00m-110v-50-60hz.html | [10 empty] | ENRICHED |  | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351938 | 1351938 | EA | COIL,ELEC;110 V AC,50HZ,KLOCKNER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:50HZ,MNFR:01)KLOCKNER,PTNO:01)J-DIL1M-110VAC | EN_01)110 V AC,01)50HZ,01)KLOCKNER,01)J-DIL1M-110VAC |  |  | KLOCKNER | KLOCKNER | J-DIL1M-110VAC | [5 empty] | https://www.3jindustry.com/products/contactor-dil1m-coil-110-120vac-11s-dilm-klockner-moeller-dil-contacto | [10 empty] | ENRICHED |  | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351939 | 1351939 | EA | COIL,ELEC;110 V AC,50HZ,KLOCKNER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:50HZ,MNFR:01)KLOCKNER,PTNO:01)J-DIL4M-110VAC | EN_01)110 V AC,01)50HZ,01)KLOCKNER,01)J-DIL4M-110VAC |  |  | KLOCKNER | KLOCKNER | J-DIL4M-110VAC | [5 empty] | https://controlparts.com/products/klockner-moeller-dil4m115-22-dc | [10 empty] | ENRICHED |  | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298972 | 1298972 | EA | COIL,ELEC;110 V AC,OIL, 15.4W, 50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:OIL, 15.4W, 50HZ,MNFR:01)AUTOSWIT,PTNO:01)96-817-1D | EN_01)110 V AC,01)OIL, 15.4W, 50HZ,01)AUTOSWIT,01)96-817-1D |  |  | AUTOSWIT | AUTOSWIT | 96-817-1D |  | ASCO | 96-817-1D |  |  | https://www.nriparts.com/products/asco-96-817-1d-valve-parts-and-accessories/566847 | [10 empty] | ENRICHED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 120 VAC | POWER RATING | 15.4 W | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,OIL | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 | URL for Reference only | 1298746 | 1298746 | EA | COIL,ELEC;110 V AC,SHUNT TRIP, XS12 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:SHUNT TRIP, XS12,MNFR:01)TERASAKI,PTNO:01)2H1935BAC | EN_01)110 V AC,01)SHUNT TRIP, XS12,01)TERASAKI,01)2H1935BAC |  |  | TERASAKI | TERASAKI | 2H1935BAC | [5 empty] | http://www.hostgator.co.in/files/writeable/uploads/hostgator142097/file/bch01-10-12.pdf | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | SHUNT TRIP | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | XS12 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298827 | 1298827 | EA | COIL,ELEC;110 V AC,VP4150-103D,SMC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:VP4150-103D,MNFR:01)SMC,PTNO:01)VT-3112-003G | EN_01)110 V AC,01)VP4150-103D,01)SMC,01)VT-3112-003G |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | VT-3112-003G | [5 empty] | https://www.smcpneumatics.com/VT3112-003G.html | https://www.smcpneumatics.com/metric/valves/VP4_50_and_VP4_70_Series_Valves.pdf | [9 empty] | CLEANSED |  | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 110 VAC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF: VP4150-103D | [43 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298800 | 1298800 | EA | COIL,ELEC;110 V AC,WEV42C10 DI,MECMAN |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V AC,ADDITIONAL FEATURES EN:WEV42C10 DI,MNFR:01)MECMAN,PTNO:01)KVM35H322 110VDC | EN_01)110 V AC,01)WEV42C10 DI,01)MECMAN,01)KVM35H322 110VDC |  |  | MECMAN | MECMAN | KVM35H322 110VDC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF:WEV42C10 DI | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298801 | 1298801 | EA | COIL,ELEC;110 V DC,WPES1AG1.4,MECMAN |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V DC,ADDITIONAL FEATURES EN:WPES1AG1.4,MNFR:01)MECMAN,PTNO:01)11284 110VDC | EN_01)110 V DC,01)WPES1AG1.4,01)MECMAN,01)11284 110VDC |  |  | MECMAN | MECMAN | 11284 110VDC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF:WPES1AG1.4 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1348422 | 1348422 | EA | COIL,ELEC;110 V,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)MAXAM,PTNO:01)7047D00290/E | EN_01)110 V,01)50HZ,01)MAXAM,01)7047D00290/E |  |  | MAXAM | MAXAM | 7047D00290/E | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1380802 | 1380802 | EA | COIL,ELEC;110 V,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)PONGRASS,PTNO:01)SS1-3123-4.110V50HZ(COIL) | EN_01)110 V,01)50HZ,01)PONGRASS,01)SS1-3123-4.110V50HZ(COIL) |  |  | PONGRASS | PONGRASS | SS1-3123-4.110V50HZ(COIL) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381383 | 1381383 | EA | COIL,ELEC;110 V,50HZ, Q/05-23 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V,ADDITIONAL FEATURES EN:50HZ, Q/05-23,MNFR:01)BRELAY,PTNO:01)T373-36 | EN_01)110 V,01)50HZ, Q/05-23,01)BRELAY,01)T373-36 |  |  | BRELAY | BRELAY | T373-36 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING: 50 HZ,Q/05-23 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381382 | 1381382 | EA | COIL,ELEC;110 V,50HZ, Q/05-2HP |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 V,ADDITIONAL FEATURES EN:50HZ, Q/05-2HP,MNFR:01)BRELAY,PTNO:01)T373-58 | EN_01)110 V,01)50HZ, Q/05-2HP,01)BRELAY,01)T373-58 |  |  | BRELAY | BRELAY | T373-58 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING: 50 HZ,Q/05-2HP | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349401 | 1349401 | EA | COIL,ELEC;110 VAC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VAC,MNFR:01)COMPAIR,PTNO:01)2EVIDE | EN_01)110 VAC,01)COMPAIR,01)2EVIDE |  |  | COMPAIR | COMPAIR | 2EVIDE | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1354687 | 1354687 | EA | COIL,ELEC;110 VAC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VAC,ADDITIONAL FEATURES EN:SCC, 50HZ, BM04 LRS ELECTRODE,MNFR:01)CSEUNISE,PTNO:01) 02FPL8601550R0064 | EN_01)110 VAC,01)SCC, 50HZ, BM04 LRS ELECTRO,01)CSEUNISE,01)02FPL8601550R0064 |  |  | CSEUNISE | CSEUNISE | 02FPL8601550R0064 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SCC,FREQUENCY RATING: 50 HZ,BM04 LRS ELECTRODE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1237911 | 1237911 | EA | COIL,ELEC;110 VAC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VAC,MNFR:01)CNW,PTNO:01)CMR7110VA,MNFR:02)SPRECHER,PTNO:02)CMR7-110VAC | EN_01)110 VAC,01)CNW,02)SPRECHER,01)CMR7110VA,02)CMR7-110VAC |  |  | SPRECHER | CNW | CMR7110VA |  | SPRECHER | CMR7-110VAC |  |  | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CMR7110VA-61993-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D |  |  | ALL PCS MODELS | [7 empty] | ENRICHED |  | COIL | ELECTRICAL | TYPE | RESET MAGNET | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1350202 | 1350202 | EA | COIL,ELEC;110 VAC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VAC,MNFR:01)TELEMEC,PTNO:01)LX1-FF-110 | EN_01)110 VAC,01)TELEMEC,01)LX1-FF-110 |  |  | TELEMEC | TELEMEC | LX1-FF-110 |  | SCHINDER | LX1-FF-110 |  |  | https://www.se.com/au/en/product/LX1FF110/tesys-f-contactor-coil-lx1ff-110-115-v-ac-50-hz/ | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1380814 | 1380814 | EA | COIL,ELEC;110 VAC 50 HZ,MEDIA FIL,AMIAD |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VAC 50 HZ,ADDITIONAL FEATURES EN:MEDIA FIL,MNFR:01)AMIAD,PTNO:01)D-SCO320-A18 | EN_01)110 VAC 50 HZ,01)MEDIA FIL,01)AMIAD,01)D-SCO320-A18 |  |  | AMIAD | AMIAD | D-SCO320-A18 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEDIA FIL,FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349219 | 1349219 | EA | COIL,ELEC;110 VAC,1NO HOLD IN CONTACT |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VAC,ADDITIONAL FEATURES EN:1NO HOLD IN CONTACT,MNFR:01)TELEMEC,PTNO:01)LX1-FJ110 | EN_01)110 VAC,01)1NO HOLD IN CONTACT,01)TELEMEC,01)LX1-FJ110 |  |  | TELEMEC | TELEMEC | LX1-FJ110 |  | SCHINDER | LX1-FJ110 |  |  | https://www.se.com/us/en/product/LX1FJ110/tesys-f-contactor-coil-lx1fj-110-120-v-ac-40-400-hz/ | [10 empty] | ENRICHED |  | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 1NO HOLD IN CONTACT | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381396 | 1381396 | EA | COIL,ELEC;110 VAC,TRIP SERVICE |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VAC,ADDITIONAL FEATURES EN:TRIP SERVICE,MNFR:01)GECIND,PTNO:01)413-053 | EN_01)110 VAC,01)TRIP SERVICE,01)GECIND,01)413-053 |  |  | GECIND | GECIND | 413-053 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TRIP SERVICE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1380793 | 1380793 | EA | COIL,ELEC;110 VDC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:110 VDC,MNFR:01)FUJI,PTNO:01)SRC3631 | EN_01)110 VDC,01)FUJI,01)SRC3631 |  |  | FUJI | FUJI | SRC3631 | [5 empty] | https://www.rgbautomatyka.pl/media/docs/en/52/SRC3631-5-1%20FUJI%20ELECTRIC%20-%20product%20information.pdf | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 110 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1278705 | 1278705 | EA | COIL,ELEC;12 MM,24 VDC,17 W C/W DIN PLUG |  |  | COIL,ELECTRICAL;SIZE:12 MM,VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:17 W C/W DIN PLUG,MNFR:01)VENDOR LINK PTY LTD,PTNO:01)SC- N12-8 | 12 MM,EN_01)24 VDC,01)17 W C/W DIN PLUG,01)VENDOR LINK PTY LTD,01)SC-N12-8 |  |  | VENDOR LINK PTY LTD | VENDOR LINK PTY LTD | SC- N12-8 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE | 12 MM | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER RATING:17 W, C/W DIN PLUG | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1344585 | 1344585 | EA | COIL,ELEC;120 MM,FUELOPASS AND CHIP |  |  | COIL,ELECTRICAL;SIZE:120 MM,ADDITIONAL FEATURES EN:FUELOPASS AND CHIP,MNFR:01)BANLAW,PTNO:01)BFTC120 | 120 MM,01)FUELOPASS AND CHIP,01)BANLAW,01)BFTC120 |  |  | BANLAW | BANLAW | BFTC120 | [5 empty] | https://www.banlaw.com/wp-content/uploads/2018/06/20180501-Banlaw-Product-End-of-Life-SecureFill-Unit-ID-Rings-TT-Supplied.pdf | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE | 120 MM | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUELOPASS AND CHIP | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1278881 | 1278881 | EA | COIL,ELEC;121 MM,24 VDC,.17 WATTS |  |  | COIL,ELECTRICAL;SIZE:121 MM,VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:17 W: C/W DIN PLUG TO SUIT ES57 ES55-1-1~2-3 B3,.17 WATTS,MNFR:01)VENDOR LINK PTY LTD,PTNO:01)SC-N 12-8 | 121 MM,EN_01)24 VDC,01)17 W: C/W DIN PLUG TO SUIT,02).17 WATTS,01)VENDOR LINK PTY LTD,01)SC-N 12-8 |  |  | VENDOR LINK PTY LTD | VENDOR LINK PTY LTD | SC-N 12-8 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE | 121 MM | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER RATING:17 W, C/W DIN PLUG TO SUIT ES57 ES55-1-1~2-3 B3 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1344584 | 1344584 | EA | COIL,ELEC;145 MM,FUELOPASS AND CHIP |  |  | COIL,ELECTRICAL;SIZE:145 MM,ADDITIONAL FEATURES EN:FUELOPASS AND CHIP,MNFR:01)BANLAW,PTNO:01)BFTC145 | 145 MM,01)FUELOPASS AND CHIP,01)BANLAW,01)BFTC145 |  |  | BANLAW | BANLAW | BFTC145 | [5 empty] | https://www.banlaw.com/wp-content/uploads/2018/06/20180501-Banlaw-Product-End-of-Life-SecureFill-Unit-ID-Rings-TT-Supplied.pdf | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE | 145 MM | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUELOPASS AND CHIP | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1380803 | 1380803 | EA | COIL,ELEC;220 V,50HZ, RCA5-V3, TYPE |  |  | COIL,ELECTRICAL;VOLTAGE RATING:220 V,ADDITIONAL FEATURES EN:50HZ, RCA5-V3, TYPE,MNFR:01)GOYEN,PTNO:01)B-P-220V50HZ,MNFR:02)GOYEN, PTNO:02)60189-105 | EN_01)220 V,01)50HZ, RCA5-V3, TYPE,01)GOYEN,02)GOYEN,01)B-P-220V50HZ,02)60189-105 |  |  | GOYEN | GOYEN | B-P-220V50HZ |  | GOYEN | 60189-105 |  |  | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 220 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,REF:RCA5-V3, | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1380808 | 1380808 | EA | COIL,ELEC;24 VAC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:24 VAC,MNFR:01)CIE,PTNO:01)UVH3LP03K-24VAC | EN_01)24 VAC,01)CIE,01)UVH3LP03K-24VAC |  |  | CIE | CIE | UVH3LP03K-24VAC | [5 empty] | https://www.acdcusa.com/UVH3LP03K-Eaton-KD-Under-Voltage-Release-Trip-Unit-24VAC-Circuit-Breaker_p_59087.html | [10 empty] | CLEANSED |  | CIRCUIT BREAKER | NO MODIFIER | TYPE |  | CURRENT RATING |  | VOLTAGE RATING | 24 VAC | FRAME RATING |  | INTERRUPT RATING |  | NUMBER OF POLES |  | OVERALL SIZE |  | TRIP SETTING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1380809 | 1380809 | EA | COIL,ELEC;24 VAC/DC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:24 VAC/DC,MNFR:01)CIE,PTNO:01)1SDA054880R1 | EN_01)24 VAC/DC,01)CIE,01)1SDA054880R1 |  |  | CIE | CIE | 1SDA054880R1 |  | ABB | 1SDA054880R1 |  |  | https://new.abb.com/products/1SDA054880R1/uvr-t4-t5-t6-24-30-vac-dc | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VAC/DC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1278562 | 1278562 | EA | COIL,ELEC;240 V |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:TO SUIT AV SERIES SOFT SHIFT,MNFR:01)CAVA,PTNO:01)SF4-7DZ-80 | EN_01)240 V,01)TO SUIT AV SERIES SOFT SHIF,01)CAVA,01)SF4-7DZ-80 |  |  | CAVA | CAVA | SF4-7DZ-80 |  | SMC | SF4-7DZ-80 |  |  | https://www.smcpneumatics.com/SF4-7DZ-50.html | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 240 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SUIT AV SERIES SOFT SHIFT | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351214 | 1351214 | EA | COIL,ELEC;240 V |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ, FOR SELENIUM RECTIFIER,MNFR:01)CUTLERHM,PTNO:01)E4033(3.7KV COIL) | EN_01)240 V,01)50HZ, FOR SELENIUM RECTIFIE,01)CUTLERHM,01)E4033(3.7KV COIL) |  |  | CUTLERHM | CUTLERHM | E4033(3.7KV COIL) | [5 empty] | URL NOT FOUND |  |  | SELENIUM RECTIFIER | [7 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1232553 | 1232553 | EA | COIL,ELEC;240 V AC,50HZ, SIZES 3 4 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V AC,ADDITIONAL FEATURES EN:50HZ, SIZES 3 AND 4,MNFR:01)CUTLERHM,PTNO:01)006-674-2CP | EN_01)240 V AC,01)50HZ, SIZES 3 & 4,01)CUTLERHM,01)006-674-2CP |  |  | CUTLERHM | CUTLERHM | 006-674-2CP | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,SIZES 3 AND 4 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298692 | 1298692 | EA | COIL,ELEC;240 V AC,SIZE 1,3-STAR |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V AC,ADDITIONAL FEATURES EN:SIZE 1,3-STAR,MNFR:01)CUTLERHM,PTNO:01)006-274-2CP | EN_01)240 V AC,01)SIZE 1,3-STAR,01)CUTLERHM,01)006-274-2CP |  |  | CUTLERHM | CUTLERHM | 006-274-2CP | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE 1,3-STAR | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351080 | 1351080 | EA | COIL,ELEC;240 V,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)CSEUNISE,PTNO:01)FPL9101550R6063 | EN_01)240 V,01)50HZ,01)CSEUNISE,01)FPL9101550R6063 |  |  | CSEUNISE | CSEUNISE | FPL9101550R6063 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351221 | 1351221 | EA | COIL,ELEC;240 V,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)CYCLFLEX,PTNO:01)HP50-86 | EN_01)240 V,01)50HZ,01)CYCLFLEX,01)HP50-86 |  |  | CYCLFLEX | CYCLFLEX | HP50-86 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1380804 | 1380804 | EA | COIL,ELEC;240 V,50HZ BMC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ BMC,MNFR:01)FESTOPNU,PTNO:01)MSW-240 | EN_01)240 V,01)50HZ BMC,01)FESTOPNU,01)MSW-240 |  |  | FESTOPNU | FESTOPNU | MSW-240 |  | FESTO | 34409 |  |  | https://www.festo.com/za/en/a/download-document/datasheet/34409 | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 240 V | POWER RATING |  | SIZE |  | MATERIAL | COPPER,STEEL | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ BMC | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349243 | 1349243 | EA | COIL,ELEC;240 V,50HZ, TYPE-N, GWN |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ, TYPE-N, GWN,MNFR:01)GOYEN,PTNO:01)2400-3 | EN_01)240 V,01)50HZ, TYPE-N, GWN,01)GOYEN,01)2400-3 |  |  | GOYEN | GOYEN | 2400-3 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50HZ,TYPE-N,GWN | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1348513 | 1348513 | EA | COIL,ELEC;280 A |  |  | COIL,ELECTRICAL;CURRENT RATING:280 A,ADDITIONAL FEATURES EN:ALSPA PLC, DC, 0.12 X MILLIHENRY, TO SPEC , ALS,MNFR:01)CEGELEC,PTNO: 01)TS10228 | 280 A,01)ALSPA PLC, DC, 0.12 X MILLI,01)CEGELEC,01)TS10228 |  |  | CEGELEC | CEGELEC | TS10228 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING | 280 A | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ALSPA PLC,DC,0.12 X MILLIHENRY,TO SPEC,ALS | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351201 | 1351201 | EA | COIL,ELEC;32 V,50HZ, SIZE-2, 3-STAR |  |  | COIL,ELECTRICAL;VOLTAGE RATING:32 V,ADDITIONAL FEATURES EN:50HZ, SIZE-2, 3-STAR,MNFR:01)CUTLERHM,PTNO:01)006-374-10CP | EN_01)32 V,01)50HZ, SIZE-2, 3-STAR,01)CUTLERHM,01)006-374-10CP |  |  | CUTLERHM | CUTLERHM | 006-374-10CP | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 32 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,SIZE-2,3-STAR | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351203 | 1351203 | EA | COIL,ELEC;32 V,50HZ, SIZE-3, 3-STAR |  |  | COIL,ELECTRICAL;VOLTAGE RATING:32 V,ADDITIONAL FEATURES EN:50HZ, SIZE-3, 3-STAR,MNFR:01)CUTLERHM,PTNO:01)006-674-10CP | EN_01)32 V,01)50HZ, SIZE-3, 3-STAR,01)CUTLERHM,01)006-674-10CP |  |  | CUTLERHM | CUTLERHM | 006-674-10CP | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 32 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,SIZE-3,3-STAR | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351213 | 1351213 | EA | COIL,ELEC;440 V,200 A,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:440 V,CURRENT RATING:200 A,ADDITIONAL FEATURES EN:50HZ,MNFR:01)CUTLERHM,PTNO:01)8B132 | EN_01)440 V,200 A,01)50HZ,01)CUTLERHM,01)8B132 |  |  | CUTLERHM | CUTLERHM | 8B132 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 440 V | CURRENT RATING | 200 A | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351429 | 1351429 | EA | COIL,ELEC;440 V,50HZ, OJ300C |  |  | COIL,ELECTRICAL;VOLTAGE RATING:440 V,ADDITIONAL FEATURES EN:50HZ, OJ300C,MNFR:01)FEDNILSN,PTNO:01)206 | EN_01)440 V,01)50HZ, OJ300C,01)FEDNILSN,01)206 |  |  | FEDNILSN | FEDNILSN | 206 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 440 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,REF:OJ300C | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351207 | 1351207 | EA | COIL,ELEC;440 V,50HZ, S-0 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:440 V,ADDITIONAL FEATURES EN:50HZ, S-0,MNFR:01)CUTLERHM,PTNO:01)9-1887-14CP | EN_01)440 V,01)50HZ, S-0,01)CUTLERHM,01)9-1887-14CP |  |  | CUTLERHM | CUTLERHM | 9-1887-14CP | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 440 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ,S-0 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349244 | 1349244 | EA | COIL,ELEC;440 V,50HZ, TYPE-B, BW |  |  | COIL,ELECTRICAL;VOLTAGE RATING:440 V,ADDITIONAL FEATURES EN:50HZ, TYPE-B, BW,MNFR:01)GOYEN,PTNO:01)60189-1 | EN_01)440 V,01)50HZ, TYPE-B, BW,01)GOYEN,01)60189-1 |  |  | GOYEN | GOYEN | 60189-1 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 440 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50HZ,TYPE-B,BW | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349105 | 1349105 | EA | COIL,ELEC;64 VAC,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:64 VAC,ADDITIONAL FEATURES EN:50HZ,MNFR:01)CUTLERHM,PTNO:01)006-674-13 | EN_01)64 VAC,01)50HZ,01)CUTLERHM,01)006-674-13 |  |  | CUTLERHM | CUTLERHM | 006-674-13 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 64 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1344587 | 1344587 | EA | COIL,ELEC;80 MM,FUELOPASS AND CHIP |  |  | COIL,ELECTRICAL;SIZE:80 MM,ADDITIONAL FEATURES EN:FUELOPASS AND CHIP,MNFR:01)BANLAW,PTNO:01)BFTC80 | 80 MM,01)FUELOPASS AND CHIP,01)BANLAW,01)BFTC80 |  |  | BANLAW | BANLAW | BFTC80 | [5 empty] | https://www.banlaw.com/wp-content/uploads/2018/06/20180501-Banlaw-Product-End-of-Life-SecureFill-Unit-ID-Rings-TT-Supplied.pdf | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE | 80 MM | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FUELOPASS AND CHIP | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351391 | 1351391 | EA | COIL,ELEC;AIR CORED,660 V,48 A,50UH 50HZ |  |  | COIL,ELECTRICAL;TYPE:AIR CORED,VOLTAGE RATING:660 V,CURRENT RATING:48 A,ADDITIONAL FEATURES EN:50UH 50HZ,MNFR:01)CADWALDR,PTNO:01) 9700 | AIR CORED,EN_01)660 V,48 A,01)50UH 50HZ,01)CADWALDR,01)9700 |  |  | CADWALDR | CADWALDR | 9700 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | AIR CORED | SIZE |  | VOLTAGE RATING | 660 V | CURRENT RATING | 48 A | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 50UH,FREQUENCY RATING: 50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1298603 | 1298603 | EA | COIL,ELEC;BRAKE,400/440 V |  |  | COIL,ELECTRICAL;TYPE:BRAKE,VOLTAGE RATING:400/440 V,ADDITIONAL FEATURES EN:12INCH PERI GRIP, CIUKM 12.ACP.7,MNFR:01)BWMBROO,PTNO: 01)12PG COIL | BRAKE,EN_01)400/440 V,01)12INCH PERI GRIP, CIUKM 12.,01)BWMBROO,01)12PG COIL |  |  | BWMBROO | BWMBROO | 12PG COIL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | BRAKE | SIZE |  | VOLTAGE RATING | 400,440 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 12INCH PERI GRIP,CIUKM 12.ACP.7 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1319877 | 1319877 | EA | COIL,ELEC;BRAKE,BACK TENSIONER |  |  | COIL,ELECTRICAL;TYPE:BRAKE,ADDITIONAL FEATURES EN:BACK TENSIONER,MNFR:01)ACHARGPL,PTNO:01)1415T/0.45MM | BRAKE,01)BACK TENSIONER,01)ACHARGPL,01)1415T/0.45MM |  |  | ACHARGPL | ACHARGPL | 1415T/0.45MM | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | BRAKE | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BACK TENSIONER | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1319909 | 1319909 | EA | COIL,ELEC;CHOKE,28 VDC |  |  | COIL,ELECTRICAL;TYPE:CHOKE,VOLTAGE RATING:28 VDC,ADDITIONAL FEATURES EN:BRAKE, 6 INCH , 400/440V CIUKM 6.ACP.11,MNFR:01)BWMBROO, PTNO:01)6PG COIL | CHOKE,EN_01)28 VDC,01)BRAKE, 6 INCH , 400/440V CI,01)BWMBROO,01)6PG COIL |  |  | BWMBROO | BWMBROO | 6PG COIL | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | BRAKE,CHOKE | SIZE | 6 IN | VOLTAGE RATING | 28 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 400/440V CIUKM 6.ACP.11 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 | URL for Reference only | 1359464 | 1359464 | EA | COIL,ELEC;CLICK ON,24 VDC |  |  | COIL,ELECTRICAL;TYPE:CLICK ON,VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:MOBILE EQUIPMENT FIRE SUPPRESSION SYSTEM,MNFR:01) AUSMINCO,PTNO:01)69-335-502 | CLICK ON,EN_01)24 VDC,01)MOBILE EQUIPMENT FIRE SUPPR,01)AUSMINCO,01)69-335-502 |  |  | AUSMINCO | AUSMINCO | 69-335-502 | [5 empty] | https://www.aga-parts.com/sandvik/part/69335502_coil-24v-dc-clc/ | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CLICK ON,MOBILE EQUIPMENT FIRE SUPPRESSION SYSTEM | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381395 | 1381395 | EA | COIL,ELEC;CLOSING |  |  | COIL,ELECTRICAL;TYPE:CLOSING,MNFR:01)GECIND,PTNO:01)413-061 | CLOSING,01)GECIND,01)413-061 |  |  | GECIND | GECIND | 413-061 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | CLOSING | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351217 | 1351217 | EA | COIL,ELEC;CLOSING,250 VDC,150 A |  |  | COIL,ELECTRICAL;TYPE:CLOSING,VOLTAGE RATING:250 VDC,CURRENT RATING:150 A,ADDITIONAL FEATURES EN:FOR SECURITY CONTACTOR,MNFR:01) CROMPARK,PTNO:01)25423Q | CLOSING,EN_01)250 VDC,150 A,01)FOR SECURITY CONTACTOR,01)CROMPARK,01)25423Q |  |  | CROMPARK | CROMPARK | 25423Q | [5 empty] | URL NOT FOUND |  |  | SECURITY CONTACTOR | [7 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | CLOSING | SIZE |  | VOLTAGE RATING | 250 VDC | CURRENT RATING | 150 A | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351220 | 1351220 | EA | COIL,ELEC;CLUTCH,110 V,50HZ |  |  | COIL,ELECTRICAL;TYPE:CLUTCH,VOLTAGE RATING:110 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)CYCLFLEX,PTNO:01)HP50-4 | CLUTCH,EN_01)110 V,01)50HZ,01)CYCLFLEX,01)HP50-4 |  |  | CYCLFLEX | CYCLFLEX | HP50-4 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | CLUTCH | SIZE |  | VOLTAGE RATING | 110 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1347514 | 1347514 | EA | COIL,ELEC;HIGH VOLTAGE,440 VAC,W/HELECT |  |  | COIL,ELECTRICAL;TYPE:HIGH VOLTAGE,VOLTAGE RATING:440 VAC,ADDITIONAL FEATURES EN:ASSY STACKS FOR WESTINGHOUSE TRANSFORMER/RECTIFIER TYPE OHT-60/850, AC INPUT: 50HZ (1KVA 92-CELLS),MNFR:01)W/HELECT,PTNO:01)MR-565/114 | HIGH VOLTAGE,EN_01)440 VAC,01)ASSY STACKS FOR WESTINGHOUS,02) AC INPUT: 50HZ (1KVA 92-CE,01)W/HELECT,01)MR-565/114 |  |  | W/HELECT | W/HELECT | MR-565/114 | [5 empty] | URL NOT FOUND |  |  | WESTINGHOUSE TRANSFORMER/RECTIFIER |  | OHT-60/850 | [5 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | HIGH VOLTAGE | SIZE |  | VOLTAGE RATING | 440 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSY STACKS | [54 empty] | AC INPUT: 50HZ (1KVA 92-CELLS) | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1317679 | 1317679 | EA | COIL,ELEC;ID 5/8 IN,24 VDC,1.2 A |  |  | COIL,ELECTRICAL;SIZE:ID 5/8 IN,VOLTAGE RATING:24 VDC,CURRENT RATING:1.2 A,TEMPERATURE RATING:-40 TO 200 DEG C,ADDITIONAL FEATURES EN:SYSTEM 05-163-12,MNFR:01)ENZED,PTNO:01)851020-024VDC | ID 5/8 IN,EN_01)24 VDC,1.2 A,-40 TO 200 DEG C,01)SYSTEM 05-163-12,01)ENZED,01)851020-024VDC |  |  | Enzed Mount Isa(RKM Investments) | ENZED | 851020-024VDC | [5 empty] | https://www.hydradynellc.com/product/851020-024vdc/series-5-8-inch-id | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE | 5/8 ID IN | VOLTAGE RATING | 24 VDC | CURRENT RATING | 1.2 A | TEMPERATURE RATING | -40 TO 200 DEG C | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SYSTEM 05-163-12 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1350985 | 1350985 | EA | COIL,ELEC;MAGNET,415 V |  |  | COIL,ELECTRICAL;TYPE:MAGNET,VOLTAGE RATING:415 V,ADDITIONAL FEATURES EN:60 TURNS, T6 GAUGE,MNFR:01)ICAL,PTNO:01)56-D-123B-60 | MAGNET,EN_01)415 V,01)60 TURNS, T6 GAUGE,01)ICAL,01)56-D-123B-60 |  |  | ICAL | ICAL | 56-D-123B-60 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | MAGNET | SIZE |  | VOLTAGE RATING | 415 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 60 TURNS,T6 GAUGE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1299076 | 1299076 | EA | COIL,ELEC;MAGNET,ICAL,B70432-S |  |  | COIL,ELECTRICAL;TYPE:MAGNET,MNFR:01)ICAL,PTNO:01)B70432-S | MAGNET,01)ICAL,01)B70432-S |  |  | ICAL | ICAL | B70432-S | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | MAGNET | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1299075 | 1299075 | EA | COIL,ELEC;MAGNET,USE 26 TURN TAP,ICAL |  |  | COIL,ELECTRICAL;TYPE:MAGNET,ADDITIONAL FEATURES EN:USE 26 TURN TAP,MNFR:01)ICAL,PTNO:01)56-D-807A | MAGNET,01)USE 26 TURN TAP,01)ICAL,01)56-D-807A |  |  | ICAL | ICAL | 56-D-807A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | MAGNET | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | USE 26 TURN TAP | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381387 | 1381387 | EA | COIL,ELEC;NON E1 |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:NON E1,MNFR:01)CIE,PTNO:01)CA6-115 180 24VAC NON EI | 01)NON E1,01)CIE,01)CA6-115 180 24VAC NON EI |  |  | CIE | CIE | CA6-115 180 24VAC NON EI | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NON E1 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1359740 | 1359740 | EA | COIL,ELEC;SIBS 4 |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:SIBS 4,MNFR:01)ADVABRA,PTNO:01)18-9021 | 01)SIBS 4,01)ADVABRA,01)18-9021 |  |  | ADVABRA | ADVABRA | 18-9021 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIBS 4 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1350226 | 1350226 | EA | COIL,ELEC;SPRING RELEASE,32 VDC |  |  | COIL,ELECTRICAL;TYPE:SPRING RELEASE,VOLTAGE RATING:32 VDC,MNFR:01)GECIND,PTNO:01)413-059 | SPRING RELEASE,EN_01)32 VDC,01)GECIND,01)413-059 |  |  | GECIND | GECIND | 413-059 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | SPRING RELEASE | SIZE |  | VOLTAGE RATING | 32 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1237960 | 1237960 | EA | COIL,ELEC;STD |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:STANDARD,MNFR:01)ICAL,PTNO:01)56-D-1526B | 01)STANDARD,01)ICAL,01)56-D-1526B |  |  | ICAL | ICAL | 56-D-1526B | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | STANDARD | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349113 | 1349113 | EA | COIL,ELEC;VALVE SOLENOID REPAIR, AMERCIC |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:VALVE SOLENOID REPAIR, AMERCICAN AIR FILTER ASC,MNFR:01)AMERFILT,PTNO:01)U111-973222,MNFR: 02)INGRAND,PTNO:02)U111-973222 | 01)VALVE SOLENOID REPAIR, AMER,01)AMERFILT,02)INGRAND,01)U111-973222,02)U111-973222 |  |  | INGRAND | INGRAND | U111-973222 |  |  | U111-973222 |  |  | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VALVE SOLENOID REPAIR,AMERCICAN AIR FILTER ASC | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1365292 | 1365292 | EA | COIL,ELEC;VALVE,VEI, 24,EDI |  |  | COIL,ELECTRICAL;TYPE:VALVE,ADDITIONAL FEATURES EN:VEI, 24,MNFR:01)EDI,PTNO:01)S3H=OD.02.03.01.30.OC | VALVE,01)VEI, 24,01)EDI,01)S3H=OD.02.03.01.30.OC |  |  | EDI | [7 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | ELECTRICAL | TYPE | VALVE | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VEI,24,REF:EDI S3H=OD.02.03.01.30.OC | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1271572 | 1271572 | EA | COIL,HT TRANS;EVAP,DAIKIN,2P401757-1 | BOBINA TRANSF CALOR; | BOBN TRSF THERM; | COIL,HEAT TRANSFER;ADDITIONAL FEATURES EN:EVAP,DAIKIN,2P401757-1,MNFR:DAIKIN AUSTRALIA PTY LTD,PTNO:2P401757-1 | 01)EVAP,DAIKIN,2P401757-1,01)DAIKIN,01)2P401757-1,01)CAPRICORN AIR CONDITIONIN,01)2P401757-1 | 2P401757-1 | 1068216 | DAIKIN AUSTRALIA PTY LTD | DAIKIN AUSTRALIA PTY LTD | 2P401757-1 | [5 empty] | https://www.salinapp.com.au/genuine-plate-finned-coil-heat-exch.as-for-daikin | [10 empty] | CLEANSED |  | COIL | HEAT TRANSFER | TYPE |  | COIL RATING |  | CONNECTION TYPE |  | FLOW RATING |  | TEMPERATURE RATING |  | MATERIAL |  | PRESSURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | EVAPORATOR | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383631 | 1383631 | EA | COIL;BRAKE, CROSS TRAVEL |  |  | COIL;TYPE:BRAKE, CROSS TRAVEL,MNFR:01)EILBECK,PTNO:01)AN 3606 | EN_01)BRAKE, CROSS TRAVEL,01)EILBECK,01)AN 3606 |  |  | EILBECK | EILBECK | AN 3606 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | BRAKE,CROSS TRAVEL | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383632 | 1383632 | EA | COIL;BRAKE, CROSS TRAVEL |  |  | COIL;TYPE:BRAKE, CROSS TRAVEL,MNFR:01)EILBECK,PTNO:01)AN 3121 | EN_01)BRAKE, CROSS TRAVEL,01)EILBECK,01)AN 3121 |  |  | EILBECK | EILBECK | AN 3121 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | BRAKE,CROSS TRAVEL | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1289340 | 1289340 | EA | COIL;BRAKE,COMPLT |  |  | COIL;TYPE:BRAKE,ADDITIONAL FEATURES EN:COMPLETE,MNFR:01)EILBECK,PTNO:01)15451 | EN_01)BRAKE,01)COMPLETE,01)EILBECK,01)15451 |  |  | EILBECK | EILBECK | 15451 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | BRAKE | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 | URL for Reference only | 1383625 | 1383625 | EA | COIL;BRAKE,COMPLT |  |  | COIL;TYPE:BRAKE,ADDITIONAL FEATURES EN:COMPLETE,MNFR:01)EILBECK,PTNO:01)AN 11939 | EN_01)BRAKE,01)COMPLETE,01)EILBECK,01)AN 11939 |  |  | EILBECK | EILBECK | AN 11939 | [5 empty] | https://store.konecranes.com/dcu/en/BRAKE-MAGNET/p?p=udnhW8tbltW9O4cOd17ZNA%3D%3D_AN-11939 | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | BRAKE MAGNET | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 | URL for Reference only | 1383626 | 1383626 | EA | COIL;BRAKE,COMPLT |  |  | COIL;TYPE:BRAKE,ADDITIONAL FEATURES EN:COMPLETE,MNFR:01)EILBECK,PTNO:01)AN 11382 | EN_01)BRAKE,01)COMPLETE,01)EILBECK,01)AN 11382 |  |  | EILBECK | EILBECK | AN 11382 | [5 empty] | https://store.konecranes.com/cpp/en/BRAKE-MAGNET/p?p=Mli2Fg3XRMy9O4cOd17ZNA%3D%3D_AN-11382 | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | BRAKE MAGNET | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1300030 | 1300030 | EA | COIL;CLMP,ICAL,56-E-1499 |  |  | COIL;TYPE:CLAMP,MNFR:01)ICAL,PTNO:01)56-E-1499 | EN_01)CLAMP,01)ICAL,01)56-E-1499 |  |  | ICAL | ICAL | 56-E-1499 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | CLAMP | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383766 | 1383766 | EA | COIL;COND S0/P040-46 LH BL/FINPARTS |  |  | COIL;ADDITIONAL FEATURES EN:COND S0/P040-46 LH BL/FINPARTS,MNFR:01)AHIC (AUSTRALIA) PTY LTD,PTNO:01)0414104SP-BF | 01)COND S0/P040-46 LH BL/FINPA,01)AHIC (AUSTRALIA) PTY LTD,01)0414104SP-BF |  |  | AHIC (AUSTRALIA) PTY LTD | AHIC (AUSTRALIA) PTY LTD | 0414104SP-BF | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE |  | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COND S0/P040-46 LH BL/FINPARTS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383690 | 1383690 | EA | COIL;COND S0/P040-46 RH BL/FIN |  |  | COIL;ADDITIONAL FEATURES EN:COND S0/P040-46 RH BL/FIN,MNFR:01)AHIC (AUSTRALIA) PTY LTD,PTNO:01)0414204SP-BF | 01)COND S0/P040-46 RH BL/FIN,01)AHIC (AUSTRALIA) PTY LTD,01)0414204SP-BF |  |  | AHIC (AUSTRALIA) PTY LTD | AHIC (AUSTRALIA) PTY LTD | 0414204SP-BF | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE |  | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COND S0/P040-46 RH BL/FIN | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383901 | 1383901 | EA | COIL;CONDNSR |  |  | COIL;TYPE:CONDENSER,ADDITIONAL FEATURES EN:3/8 IN, 3 ROW X 1016FH X1370FL,MNFR:01)BOSS,PTNO:01)ACQ22494A | EN_01)CONDENSER,01)3/8 IN, 3 ROW X 1016FH X137,01)BOSS,01)ACQ22494A |  |  | BOSS | BOSS | ACQ22494A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | CONDENSER | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:3/8 IN,3 ROW X 1016FH X1370FL | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383851 | 1383851 | EA | COIL;CONDNSR,2 ROW X 406.4FH X |  |  | COIL;TYPE:CONDENSER,ADDITIONAL FEATURES EN:2 ROW X 406.4FH X,MNFR:01)BOSS,PTNO:01)ACQ23684A | EN_01)CONDENSER,01)2 ROW X 406.4FH X,01)BOSS,01)ACQ23684A |  |  | BOSS | BOSS | ACQ23684A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | CONDENSER | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 2 ROW X 406.4FH | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1302570 | 1302570 | EA | COIL;EVAP,COPPER,COILAUST,EC160528 |  |  | COIL;TYPE:EVAPORATOR,MATERIAL:COPPER,MNFR:01)COILAUST,PTNO:01)EC160528 | EN_01)EVAPORATOR,COPPER,01)COILAUST,01)EC160528 |  |  | COILAUST | COILAUST | EC160528 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | EVAPORATOR | MATERIAL | COPPER | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383639 | 1383639 | EA | COIL;EXPANSION VALVE |  |  | COIL;TYPE:EXPANSION VALVE,MNFR:01)DAIKIN AUSTRALIA PTY LTD,PTNO:01)167946J | EN_01)EXPANSION VALVE,01)DAIKIN AUSTRALIA PTY LTD,01)167946J |  |  | DAIKIN AUSTRALIA PTY LTD | DAIKIN AUSTRALIA PTY LTD | 167946J | [5 empty] | https://b2b.daikin.com.sg/shop/product/167946j-body-motorized-valve-59741#attr= | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | EXPANSION VALVE | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383641 | 1383641 | EA | COIL;EXPANSION VALVE |  |  | COIL;TYPE:EXPANSION VALVE,MNFR:01)DAIKIN AUSTRALIA PTY LTD,PTNO:01)167934J | EN_01)EXPANSION VALVE,01)DAIKIN AUSTRALIA PTY LTD,01)167934J |  |  | DAIKIN AUSTRALIA PTY LTD | DAIKIN AUSTRALIA PTY LTD | 167934J | [5 empty] | https://b2b.daikin.com.sg/shop/product/167934j-coil-motor-operated-valve-rxyq10pay1-59732#attr= | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | EXPANSION VALVE | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1289138 | 1289138 | EA | COIL;LONG TRAVEL BRAKE,COMPLT |  |  | COIL;TYPE:LONG TRAVEL BRAKE,ADDITIONAL FEATURES EN:COMPLETE,MNFR:01)EILBECK,PTNO:01)ABM830053216 | EN_01)LONG TRAVEL BRAKE,01)COMPLETE,01)EILBECK,01)ABM830053216 |  |  | EILBECK | EILBECK | ABM830053216 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | LONG TRAVEL BRAKE | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPLETE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1349236 | 1349236 | EA | COIL;PR,COPPER,DIA ID 6.35 X OD 9.52 MM |  |  | COIL;TYPE:PAIR,MATERIAL:COPPER,DIAMETER:ID 6.35 X OD 9.52 MM,ADDITIONAL FEATURES EN:ELECTRICAL,MNFR:01)HEATAUS,PTNO:01)PCI635952 | EN_01)PAIR,COPPER,ID 6.35 X OD 9.52 MM,01)ELECTRICAL,01)HEATAUS,01)PCI635952 |  |  | HEATAUS | HEATAUS | PCI635952 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | PAIR | MATERIAL | COPPER | DIAMETER | 6.35 IDX9.52 OD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 | URL for Reference only | 1383610 | 1383610 | EA | COIL;VLV,230/50HZ DIN, PARKER |  |  | COIL;TYPE:VALVE,ADDITIONAL FEATURES EN:230/50HZ DIN, PARKER,MNFR:01)HAYMANS,PTNO:01)PAR4818653D | EN_01)VALVE,01)230/50HZ DIN, PARKER,01)HAYMANS,01)PAR4818653D |  |  | HAYMANS | HAYMANS | PAR4818653D |  | PARKER |  |  |  | https://frain-es.translate.goog/tarifa.php?marca=PAR&descri=Parker&_x_tr_sch=http&_x_tr_port=8090&_x_tr_sl=es&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | VALVE | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL RATING:230V,50 HZ, DIN | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1383809 | 1383809 | EA | COIL;VLV,HOT GAS |  |  | COIL;TYPE:VALVE,ADDITIONAL FEATURES EN:HOT GAS,MNFR:01)BNS REFRIGERATION SERVICES P/L,PTNO:01)BRESP-231294 | EN_01)VALVE,01)HOT GAS,01)BNS REFRIGERATION SERVICES,01)BRESP-231294 |  |  | BNS REFRIGERATION SERVICES P/L | BNS REFRIGERATION SERVICES P/L | BRESP-231294 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE | VALVE | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HOT GAS | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 | URL for Reference only | 1383790 | 1383790 | EA | COIL;WATER DUMP VALVE |  |  | COIL;ADDITIONAL FEATURES EN:WATER DUMP VALVE,MNFR:01)HAYMANS ELECTRICAL (PARTS),PTNO:01)3222332244 | 01)WATER DUMP VALVE,01)HAYMANS ELECTRICAL (PARTS),01)3222332244 |  |  | HAYMANS ELECTRICAL (PARTS) | HAYMANS ELECTRICAL (PARTS) | 3222332244 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | No Modifier | TYPE |  | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WATER DUMP VALVE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381757 | 1381757 | EA | COIL,SOL;110 V,ELEC, 50HZ |  |  | COIL,SOLENOID;VOLTAGE RATING:110 V,ADDITIONAL FEATURES EN:ELECTRICAL, 50HZ,MNFR:01)BELLOWS,PTNO:01)K593-023 | 110 V,01)ELECTRICAL, 50HZ,01)BELLOWS,01)K593-023 |  |  | BELLOWS | BELLOWS | K593-023 | [5 empty] | https://texnite.com/products/k593-023-parker | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 110 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1347875 | 1347875 | EA | COIL,SOL;12 VDC,COPPER/DUROPLAST/STEEL |  |  | COIL,SOLENOID;VOLTAGE RATING:12 VDC,MATERIAL:COPPER/DUROPLAST/STEEL,ENCLOSURE:IP65,ADDITIONAL FEATURES EN:TYPE.4526,MNFR:01) FESTOPNU,PTNO:01)MSFG-12V;TYPE 4526 | 12 VDC,EN_01)COPPER/DUROPLAST/STEEL,IP65,01)TYPE.4526,01)FESTOPNU,01)MSFG-12V,TYPE 4526 |  |  | FESTOPNU | FESTOPNU | MSFG-12V |  | FESTO | 4526 |  |  | https://www.festo.com/us/en/a/download-document/datasheet/4526 | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 12 VDC | POWER RATING | 4.1 W | SIZE |  | MATERIAL | COPPER,DUROPLAST,STEEL | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1351079 | 1351079 | EA | COIL,SOL;24 VDC,ELEC, DWR 1350-002 |  |  | COIL,SOLENOID;VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:ELECTRICAL, DWR 1350-002,MNFR:01)CONSEP,PTNO:01)156032 | 24 VDC,01)ELECTRICAL, DWR 1350-002,01)CONSEP,01)156032 |  |  | CONSEP | CONSEP | 156032 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,REF:DWR 1350-002 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1363855 | 1363855 | EA | COIL,SOL;24 VDC,ELEC, SIZE 6 |  |  | COIL,SOLENOID;VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:ELECTRICAL, SIZE 6,MNFR:01)UCHIDA,PTNO:01)WE6-P24 | 24 VDC,01)ELECTRICAL, SIZE 6,01)UCHIDA,01)WE6-P24 |  |  | UCHIDA | UCHIDA | WE6-P24 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,SIZE 6 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1347716 | 1347716 | EA | COIL,SOL;48-110 VAC/DC,ELEC, 50/60HZ |  |  | COIL,SOLENOID;VOLTAGE RATING:48-110 VAC/DC,ADDITIONAL FEATURES EN:ELECTRICAL, 50/60HZ,MNFR:01)CONSEP,PTNO:01)156031 | 48-110 VAC/DC,01)ELECTRICAL, 50/60HZ,01)CONSEP,01)156031 |  |  | CONSEP | CONSEP | 156031 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 48-110 VAC/DC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,FREQUENCY RATING:50-60 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1381665 | 1381665 | EA | COIL,SOL;BRAKE,230 VDC |  |  | COIL,SOLENOID;TYPE:BRAKE,VOLTAGE RATING:230 VDC,ADDITIONAL FEATURES EN:ELECTRICAL, MAIN HOIST, TYPE 131AMPS,MNFR:01)CUTLHAMM,PTNO: 01)82041618120429 | EN_01)BRAKE,230 VDC,01)ELECTRICAL, MAIN HOIST, TYP,01)CUTLHAMM,01)82041618120429 |  |  | CUTLHAMM | CUTLHAMM | 82041618120429 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE | BRAKE | VOLTAGE RATING | 230 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,MAIN HOIST,TYPE 131AMPS | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1352279 | 1352279 | EA | COIL,SOL;ELEC,12 VDC,DELCREMY,1114458 |  |  | COIL,SOLENOID;TYPE:ELECTRICAL,VOLTAGE RATING:12 VDC,MNFR:01)DELCREMY,PTNO:01)1114458 | EN_01)ELECTRICAL,12 VDC,01)DELCREMY,01)1114458 |  |  | DELCREMY | DELCREMY | 1114458 | [5 empty] | https://www.energyparts-shop.com/en/fiche/18254/solswitch-delco-remy-1114458 | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE | ELECTRICAL SWITCH | VOLTAGE RATING | 12 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 |  | 1359427 | 1359427 | EA | COIL,SOL;ELEC,24 V |  |  | COIL,SOLENOID;TYPE:ELECTRICAL,VOLTAGE RATING:24 V,MNFR:01)HAYMANS,PTNO:01)WEL1751ES-24 | EN_01)ELECTRICAL,24 V,01)HAYMANS,01)WEL1751ES-24 |  |  | HAYMANS | HAYMANS | WEL1751ES-24 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE | ELECTRICAL | VOLTAGE RATING | 24 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-08 | URL for Reference only | 1298455 | 1298455 | EA | COIL,SOL;ELEC,24 V DC,CUSTOMFP,7904A24B |  |  | COIL,SOLENOID;TYPE:ELECTRICAL,VOLTAGE RATING:24 V DC,SIZE:WD 63.5 X LG 76.2 X HT 37.9 MM,ADDITIONAL FEATURES EN:WITH EMBEDDED AMPLIFIER,MNFR:01)CUSTOMFP,PTNO:01)7904A24B | EN_01)ELECTRICAL,24 V DC,EN_01)WD 63.5 X LG 76.2 X HT 3,01)WITH EMBEDDED AMPLIFIER,01)CUSTOMFP,01)7904A24B |  |  | CUSTOMFP | CUSTOMFP | 7904A24B | [5 empty] | https://www.sunhydraulics.com/model/7904A24B | [10 empty] | CLEANSED |  | COIL | SOLENOID | TYPE | ELECTRICAL | VOLTAGE RATING | 24 V DC | POWER RATING |  | SIZE | 76.2 LGX63.5 WDX37.9 HT MM | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WITH EMBEDDED AMPLIFIER | [55 empty] | Production Completed