## Sheet1
Project | Activities | Production User | Production Comments | Start Date | End Date | Remarks | Griha ID | MATNR | MEINS | MAKTX_EN | MAKTX_ES | MAKTX_FR | TEXT_EN | Class_Char_Catted | MFRPN | MFRNR | MFRNR DES | MNFR | PTNO | Verified MNFR from web | MNFR 1 | PTNO 1 | MNFR 2 | PTNO 2 | Reference URL | Reference URL1 | Item Number | Equipment Type | Equipment Manufacturer | Equipment Model | Equipment Serial | DWG | DRAWING VERSION | POS/TAG | Unused Text | Enriched/Cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Attribute Name 31 | Attribute Value 31 | Attribute Name 32 | Attribute Value 32 | Attribute Name 33 | Attribute Value 33 | Attribute Name 34 | Attribute Value 34 | Attribute Name 35 | Attribute Value 35 | Attribute Name 36 | Attribute Value 36 | Remaining_Information | Status
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1381379 | 1381379 | EA | COIL,ELEC;125 VDC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:125 VDC,MNFR:01)JOHNSWAY,PTNO:01)VVR-49 | EN_01)125 VDC,01)JOHNSWAY,01)VVR-49 |  |  | JOHNSWAY | JOHNSWAY | VVR-49 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 125 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1380806 | 1380806 | EA | COIL,ELEC;160 VDC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:160 VDC,MNFR:01)JOHNSWAY,PTNO:01)VVR-50 | EN_01)160 VDC,01)JOHNSWAY,01)VVR-50 |  |  | JOHNSWAY | JOHNSWAY | VVR-50 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 160 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1298802 | 1298802 | EA | COIL,ELEC;24 V DC,FOR DPR118.2 PRO |  |  | COIL,ELECTRICAL;VOLTAGE RATING:24 V DC,ADDITIONAL FEATURES EN:FOR DPR118.2 PRO,MNFR:01)MECMAN,PTNO:01)11501 24VDC | EN_01)24 V DC,01)FOR DPR118.2 PRO,01)MECMAN,01)11501 24VDC |  |  | MECMAN | MECMAN | 11501 24VDC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR DPR118.2 PRO | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1298799 | 1298799 | EA | COIL,ELEC;24 V DC,WVPEK110CO D,MECMAN |  |  | COIL,ELECTRICAL;VOLTAGE RATING:24 V DC,ADDITIONAL FEATURES EN:WVPEK110CO D,MNFR:01)MECMAN,PTNO:01)11.2501 24VDC | EN_01)24 V DC,01)WVPEK110CO D,01)MECMAN,01)11.2501 24VDC |  |  | MECMAN | MECMAN | 11.2501 24VDC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WVPEK110CO D | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1381384 | 1381384 | EA | COIL,ELEC;24 VAC,NOTE, AC ONLY |  |  | COIL,ELECTRICAL;VOLTAGE RATING:24 VAC,ADDITIONAL FEATURES EN:NOTE, AC ONLY,MNFR:01)NHP,PTNO:01)CAC6250EI24VA | EN_01)24 VAC,01)NOTE, AC ONLY,01)NHP,01)CAC6250EI24VA |  |  | NHP | NHP | CAC6250EI24VA | [5 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/CAC6250EI24VA-4516-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NOTE,AC ONLY | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1299151 | 1299151 | EA | COIL,ELEC;24 VDC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:INC LED PLUG, BRAKE CONTROL UNIT 3000-0186-801/,MNFR:01)SVENBORG, PTNO:01)2224-0024-802 | EN_01)24 VDC,01)INC LED PLUG, BRAKE CONTROL,01)SVENBORG,01)2224-0024-802 |  |  | SVENBORG | SVENBORG | 2224-0024-802 | [5 empty] | https://www.altra-renewables.com/store/kenersys/k82/hydraulic-parts/coil-24-vdc-ul/c-78/c-1181/p-2614 |  |  | BRAKE CONTROL UNIT | [7 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INC LED PLUG, REF:3000-0186-801 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1349247 | 1349247 | EA | COIL,ELEC;24 VDC,SD1-842-5 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:SD1-842-5,MNFR:01)PONGRASS,PTNO:01)1V3503(24VDC) | EN_01)24 VDC,01)SD1-842-5,01)PONGRASS,01)1V3503(24VDC) |  |  | PONGRASS | PONGRASS | 1V3503(24VDC) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF:SD1-842-5 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351435 | 1351435 | EA | COIL,ELEC;240 V DC,SPRECHER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V DC,ADDITIONAL FEATURES EN:CAV1-60+100 OPERATING WITH SERIES RESISTOR AND SUPPORTS,MNFR:01) SPRECHER,PTNO:01)22.104.340-240VDC | EN_01)240 V DC,01)CAV1-60+100 OPERATING WITH,01)SPRECHER,01)22.104.340-240VDC |  |  | SPRECHER | SPRECHER+SCHUH | 22.104.340-240VDC | [5 empty] | https://www.industrialoversupply.com/product-p/co-ca1-100-120v.htm | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAV1-60+100 OPERATING WITH SERIES RESISTOR AND SUPPORTS | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1352137 | 1352137 | EA | COIL,ELEC;240 V,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)SQUARE-D,PTNO:01)9998/E2959-S1-W36A | EN_01)240 V,01)50HZ,01)SQUARE-D,01)9998/E2959-S1-W36A |  |  | SQUARE-D | SQUARE-D | 9998/E2959-S1-W36A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING: 50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1349248 | 1349248 | EA | COIL,ELEC;240 V,50HZ SD1-428-8 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ SD1-428-8,MNFR:01)PONGRASS,PTNO:01)1V1287A(240V) | EN_01)240 V,01)50HZ SD1-428-8,01)PONGRASS,01)1V1287A(240V) |  |  | PONGRASS | PONGRASS | 1V1287A(240V) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ REF:SD1-428-8 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1350412 | 1350412 | EA | COIL,ELEC;240 V,50HZ, KC3 |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:50HZ, KC3,MNFR:01)SPORLAN,PTNO:01)KC3.240V50HZ | EN_01)240 V,01)50HZ, KC3,01)SPORLAN,01)KC3.240V50HZ |  |  | SPORLAN | SPORLAN | KC3.240V50HZ |  | SPORLAN | KC3-236 |  |  | https://www.nriparts.com/products/sporlan-kc3-236-valve-replacement-parts/117174 | [10 empty] | ENRICHED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 240 VAC | POWER RATING |  | SIZE | 7/8 ID IN | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING: 50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1380810 | 1380810 | EA | COIL,ELEC;240 VDC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:240 VDC,ADDITIONAL FEATURES EN:CP108167, CROMPARK 802-810,MNFR:01)LANDH,PTNO:01)4CRO412-000608 | EN_01)240 VDC,01)CP108167, CROMPARK 802-810,01)L&H,01)4CRO412-000608 |  |  | LANDH | LANDH | 4CRO412-000608 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 240 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | REF:CP108167,CROMPARK 802-810 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351434 | 1351434 | EA | COIL,ELEC;250 V,50HZ |  |  | COIL,ELECTRICAL;VOLTAGE RATING:250 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)SPRECHER,PTNO:01)22.109.206-250V50HZ | EN_01)250 V,01)50HZ,01)SPRECHER,01)22.109.206-250V50HZ |  |  | SPRECHER | SPRECHER+SCHUH | 22.109.206-250V50HZ | [5 empty] | https://www.electrical.com/Products/Motor-Control-Sprecher-Schuh/22.109.206-10 | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 250 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1353114 | 1353114 | EA | COIL,ELEC;250 V,50HZ,SPRECHER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:250 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)SPRECHER,PTNO:01)CA125-COIL-250 | EN_01)250 V,01)50HZ,01)SPRECHER,01)CA125-COIL-250 |  |  | SPRECHER | SPRECHER+SCHUH | CA125-COIL-250 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 250 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1380812 | 1380812 | EA | COIL,ELEC;32 V AC,SPRECHER,CA1-100;32VAC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:32 V AC,MNFR:01)SPRECHER,PTNO:01)CA1-100;32VAC | EN_01)32 V AC,01)SPRECHER,01)CA1-100,32VAC |  |  | SPRECHER | SPRECHER+SCHUH | CA1-100;32VAC | [5 empty] | https://www.radwell.com/en-US/Buy/SPRECHER%20-AND-%20SCHUH/SPRECHER%20-AND-%20SCHUH/CA1-100-220V-DIV-50HZ-254V-DIV-60HZ/ | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 32 VAC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1297809 | 1297809 | EA | COIL,ELEC;32 V DC,CLSG, TRIP C,NU-LEC |  |  | COIL,ELECTRICAL;VOLTAGE RATING:32 V DC,ADDITIONAL FEATURES EN:CLOSING, TRIP C,MNFR:01)NU-LEC,PTNO:01)TOS899924 | EN_01)32 V DC,01)CLOSING, TRIP C,01)NU-LEC,01)TOS899924 |  |  | NU-LEC | NU-LEC | TOS899924 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 32 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CLOSING,TRIP C | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351485 | 1351485 | EA | COIL,ELEC;32 V,50HZ,SPRECHER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:32 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)SPRECHER,PTNO:01)22.109.206-32V50HZ(L/JULIUS) | EN_01)32 V,01)50HZ,01)SPRECHER,01)22.109.206-32V50HZ(L/JULIUS |  |  | SPRECHER | SPRECHER+SCHUH | 22.109.206-32V50HZ(L/JULIUS) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 32 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1298399 | 1298399 | PAA | COIL,ELEC;400 V,FEEDER TO RIC,LOCKERS |  |  | COIL,ELECTRICAL;VOLTAGE RATING:400 V,ADDITIONAL FEATURES EN:FEEDER TO RIC,MNFR:01)LOCKERS,PTNO:01)4DTS,S25047 | EN_01)400 V,01)FEEDER TO RIC,01)LOCKERS,01)4DTS,S25047 |  |  | LOCKERS | LOCKERS | 4DTS |  | LOCKERS | S25047 |  |  | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 400 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FEEDER TO RIC | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351441 | 1351441 | EA | COIL,ELEC;440 V,50HZ,SPRECHER |  |  | COIL,ELECTRICAL;VOLTAGE RATING:440 V,ADDITIONAL FEATURES EN:50HZ,MNFR:01)SPRECHER,PTNO:01)CAC1-250440VAC | EN_01)440 V,01)50HZ,01)SPRECHER,01)CAC1-250440VAC |  |  | SPRECHER | SPRECHER+SCHUH | CAC1-250440VAC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 440 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1299128 | 1299128 | EA | COIL,ELEC;ALSPA PLC, DC, 0.35 X MI,TMC |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:ALSPA PLC, DC, 0.35 X MI,MNFR:01)TMC,PTNO:01)TS10229 | 01)ALSPA PLC, DC, 0.35 X MI,01)TMC,01)TS10229 |  |  | TMC | TMC | TS10229 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ALSPA PLC,DC,0.35 X MI | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1344576 | 1344576 | EA | COIL,ELEC;AND CONNECTOR |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:AND CONNECTOR,MNFR:01)TECNIHYD,PTNO:01)1199540064000 | 01)AND CONNECTOR,01)TECNIHYD,01)1199540064000 |  |  | TECNIHYD | TECNIHYD | 1199540064000 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | AND CONNECTOR | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1381373 | 1381373 | EA | COIL,ELEC;BRAKE |  |  | COIL,ELECTRICAL;TYPE:BRAKE,MNFR:01)JOHNSWAY,PTNO:01)GWW-3125 | BRAKE,01)JOHNSWAY,01)GWW-3125 |  |  | JOHNSWAY | JOHNSWAY | GWW-3125 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | BRAKE | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1380800 | 1380800 | EA | COIL,ELEC;BRAKE,125 VDC |  |  | COIL,ELECTRICAL;TYPE:BRAKE,VOLTAGE RATING:125 VDC,ADDITIONAL FEATURES EN:8250 TURNS, 20-B AND S WIRE, 95 OHM,MNFR:01)JOHNSWAY, PTNO:01)GWW-5125 | BRAKE,EN_01)125 VDC,01)8250 TURNS, 20-B AND S WIRE,01)JOHNSWAY,01)GWW-5125 |  |  | JOHNSWAY | JOHNSWAY | GWW-5125 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | BRAKE | SIZE |  | VOLTAGE RATING | 125 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 8250 TURNS,20-B AND S WIRE,95 OHM | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1381378 | 1381378 | EA | COIL,ELEC;CAM,125 VDC |  |  | COIL,ELECTRICAL;TYPE:CAM,VOLTAGE RATING:125 VDC,MNFR:01)JOHNSWAY,PTNO:01)DCSW-4 | CAM,EN_01)125 VDC,01)JOHNSWAY,01)DCSW-4 |  |  | JOHNSWAY | JOHNSWAY | DCSW-4 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | CAM | SIZE |  | VOLTAGE RATING | 125 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1350680 | 1350680 | EA | COIL,ELEC;CHOKE,160 A,3PH, 55UH |  |  | COIL,ELECTRICAL;TYPE:CHOKE,CURRENT RATING:160 A,ADDITIONAL FEATURES EN:3PH, 55UH,MNFR:01)STARDELT,PTNO:01)3PH-55UH-160A | CHOKE,160 A,01)3PH, 55UH,01)STARDELT,01)3PH-55UH-160A |  |  | STARDELT | STARDELT | 3PH-55UH-160A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | CHOKE | SIZE |  | VOLTAGE RATING |  | CURRENT RATING | 160 A | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NO OF PHASE:3, 55UH | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351311 | 1351311 | EA | COIL,ELEC;CLOSING,240 VDC,3.3KV |  |  | COIL,ELECTRICAL;TYPE:CLOSING,VOLTAGE RATING:240 VDC,ADDITIONAL FEATURES EN:3.3KV,MNFR:01)REYROLLE,PTNO:01)865A857 | CLOSING,EN_01)240 VDC,01)3.3KV,01)REYROLLE,01)865A857 |  |  | REYROLLE | REYROLLE | 865A857 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | CLOSING | SIZE |  | VOLTAGE RATING | 240 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 3.3KV | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351969 | 1351969 | EA | COIL,ELEC;CLOSING,300 A |  |  | COIL,ELECTRICAL;TYPE:CLOSING,CURRENT RATING:300 A,MNFR:01)NU-LEC,PTNO:01)TOS-899506 | CLOSING,300 A,01)NU-LEC,01)TOS-899506 |  |  | NU-LEC | NU-LEC | TOS-899506 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING | 300 A | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CLOSING | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1354236 | 1354236 | EA | COIL,ELEC;F56 ARDT MAGNETIC ASSEMBLY |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:F56 ARDT MAGNETIC ASSEMBLY,MNFR:01)SYNTECH,PTNO:01)056D0123F | 01)F56 ARDT MAGNETIC ASSEMBLY,01)SYNTECH,01)056D0123F |  |  | SYNTECH | SYNTECH | 056D0123F | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | F56 ARDT MAGNETIC ASSEMBLY | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1381375 | 1381375 | EA | COIL,ELEC;MAGNET SWITCH |  |  | COIL,ELECTRICAL;TYPE:MAGNET SWITCH,SIZE:OD 2 X LG 2-15/32 IN,MNFR:01)OTIS,PTNO:01)222CV1 | MAGNET SWITCH,OD 2 X LG 2-15/32 IN,01)OTIS,01)222CV1 |  |  | OTIS | OTIS | 222CV1 | [5 empty] | https://www.electrical.com/Products/Motor-Control-OTIS/222CV1 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | ELECTRICAL | TYPE | MAGNET SWITCH | SIZE | 2 ODX2-15/32 LG IN | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1349373 | 1349373 | EA | COIL,ELEC;MAGNET,DRV |  |  | COIL,ELECTRICAL;TYPE:MAGNET,ADDITIONAL FEATURES EN:DRIVE,MNFR:01)OVAL,PTNO:01)300 | MAGNET,01)DRIVE,01)OVAL,01)300 |  |  | OVAL | OVAL | 300 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | ELECTRICAL | TYPE | MAGNET | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DRIVE | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1349469 | 1349469 | EA | COIL,ELEC;MAIN CONTACTOR |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:MAIN CONTACTOR,MNFR:01)LINCWELD,PTNO:01)S-17 | 01)MAIN CONTACTOR,01)LINCWELD,01)S-17 |  |  | LINCWELD | LINCWELD | S-17 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MAIN CONTACTOR | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1349372 | 1349372 | EA | COIL,ELEC;S/A |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:S/A,MNFR:01)MASEILAN,PTNO:01)950-063233-002-999 | 01)S/A,01)MASEILAN,01)950-063233-002-999 |  |  | MASEILAN | MASEILAN | 950-063233-002-999 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1352143 | 1352143 | EA | COIL,ELEC;SHUNT TRIP,32 VDC,VC9 |  |  | COIL,ELECTRICAL;TYPE:SHUNT TRIP,VOLTAGE RATING:32 VDC,ADDITIONAL FEATURES EN:VC9,MNFR:01)TOYDENKI,PTNO:01)BDE-22029(32VDC) | SHUNT TRIP,EN_01)32 VDC,01)VC9,01)TOYDENKI,01)BDE-22029(32VDC) |  |  | TOYDENKI | TOYDENKI | BDE-22029(32VDC) | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | SHUNT TRIP | SIZE |  | VOLTAGE RATING | 32 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VC9 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1380801 | 1380801 | EA | COIL,ELEC;SMH-A RELAY |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:SMH-A RELAY,MNFR:01)JOHNSWAY,PTNO:01)14622 | 01)SMH-A RELAY,01)JOHNSWAY,01)14622 |  |  | JOHNSWAY | JOHNSWAY | 14622 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SMH-A RELAY | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1352047 | 1352047 | EA | COIL,ELEC;TO SUIT CA5-550 CONTACTOR |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:TO SUIT CA5-550 CONTACTOR,MNFR:01)SPRECHER,PTNO:01)CAC5-550 415VAC | 01)TO SUIT CA5-550 CONTACTOR,01)SPRECHER,01)CAC5-550 415VAC |  |  | SPRECHER | SPRECHER+SCHUH | CAC5-550 415VAC | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TO SUIT CA5-550 CONTACTOR | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351488 | 1351488 | EA | COIL,ELEC;TRIP,32 VDC,CAV1-250 |  |  | COIL,ELECTRICAL;TYPE:TRIP,VOLTAGE RATING:32 VDC,ADDITIONAL FEATURES EN:CAV1-250,MNFR:01)SPRECHER,PTNO:01)CV1-02;COIL-32VDC | TRIP,EN_01)32 VDC,01)CAV1-250,01)SPRECHER,01)CV1-02,COIL-32VDC |  |  | SPRECHER | SPRECHER+SCHUH | CV1-02;COIL-32VDC | [5 empty] | https://www.radwell.com/en-US/Buy/SPRECHER%20-AND-%20SCHUH/SPRECHER%20-AND-%20SCHUH/CV1-02-XXX/ | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | TRIP | SIZE |  | VOLTAGE RATING | 32 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAV1-250 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1352144 | 1352144 | EA | COIL,ELEC;TRIP,32 VDC,VC16-3E3 |  |  | COIL,ELECTRICAL;TYPE:TRIP,VOLTAGE RATING:32 VDC,ADDITIONAL FEATURES EN:VC16-3E3,MNFR:01)TOYDENKI,PTNO:01)BDE-22054 | TRIP,EN_01)32 VDC,01)VC16-3E3,01)TOYDENKI,01)BDE-22054 |  |  | TOYDENKI | TOYDENKI | BDE-22054 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE | TRIP | SIZE |  | VOLTAGE RATING | 32 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VC16-3E3 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1298807 | 1298807 | EA | COIL,ELEC;VCB TRIP/CLOSE, 11,IPOWER |  |  | COIL,ELECTRICAL;ADDITIONAL FEATURES EN:VCB TRIP/CLOSE, 11,MNFR:01)IPOWER,PTNO:01)VK110V | 01)VCB TRIP/CLOSE, 11,01)IPOWER,01)VK110V |  |  | IPOWER | IPOWER | VK110V | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VCB TRIP/CLOSE,11 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1354871 | 1354871 | EA | COIL,ELCTROMAG;415 VAC 50 HZ,36 A |  |  | COIL,ELECTROMAGNET;COIL VOLTAGE:415 VAC 50 HZ,CURRENT RATING:36 A,ADDITIONAL FEATURES EN:ASSEMBLY, 966 KG,MNFR:01)SYNTECH,PTNO:01) 056C0716A | 415 VAC 50 HZ,36 A,01)ASSEMBLY, 966 KG,01)SYNTECH,01)056C0716A |  |  | SYNTECH | SYNTECH | 056C0716A | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | ELECTROMAGNET | TYPE |  | SIZE |  | POWER RATING |  | COIL VOLTAGE | 415 VAC | CURRENT RATING | 36 A | MATERIAL |  | INSULATION CLASS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ASSEMBLY,WEIGHT:966 KG,FREQUENCY RATING: 50 HZ | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1386631 | 1386631 | EA | COIL;ABB,FIN-SSP-13280 |  |  |  | COIL | FIN-SSP-13280 | 3000014 | ABB | ABB | FIN-SSP-13280 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | No Modifier | TYPE |  | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [62 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1289196 | 1289196 | EA | COIL;EVAP,5ROWX381FHX990FL DO NOT USE |  |  | COIL;TYPE:EVAPORATOR,ADDITIONAL FEATURES EN:5ROWX381FHX990FL DO NOT USE,MNFR:01)MIRAS,PTNO:01)CONS-42779 | EN_01)EVAPORATOR,01)5ROWX381FHX990FL DO NOT USE,01)MIRAS,01)CONS-42779 |  |  | MIRAS | MIRAS | CONS-42779 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121500 Electrical controls and accessories | COIL | No Modifier | TYPE | EVAPORATOR | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 5ROWX381FHX990FL DO NOT USE | [61 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1381735 | 1381735 | EA | COIL,RELY;CONTROLLER,ELECTRICAL VVR |  |  | COIL,RELAY;TYPE:CONTROLLER,ADDITIONAL FEATURES EN:ELECTRICAL VVR,MNFR:01)JOHNSWAY,PTNO:01)14959 | CONTROLLER,01)ELECTRICAL VVR,01)JOHNSWAY,01)14959 |  |  | JOHNSWAY | JOHNSWAY | 14959 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | RELAY | TYPE | CONTROLLER | COIL RATING |  | ELECTRICAL RATING |  | CONTACTOR TYPE |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL VVR | [51 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1345135 | 1345135 | EA | COIL,SOL;110 VAC,QM/48,2.5VA,50/60 |  |  | COIL,SOLENOID;VOLTAGE RATING:110 VAC,BODY ZINC DIE CAST, SEAL NITRILE,ADDITIONAL FEATURES EN:QM/48,2.5VA,50/60,MNFR:01)NORGREN, PTNO:01)QM/48/18J/28 110V COIL | 110 VAC,EN_01)BODY ZINC DIE CAST, SEAL,01)QM/48,2.5VA,50/60,01)NORGREN,01)QM/48/18J/28 110V COIL |  |  | NORGREN | NORGREN | QM/48/18J/28 110V COIL |  | RS COMPONENT | 723-545 |  |  | https://in.rsdelivers.com/product/norgren/qm/48/18j/28/norgren-series-qm/48-110-v-ac-solenoid-valve-coil/0723545 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 110 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SERIES:QM/48,2.5VA,FREQUENCY RATING:50-60 HZ | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1300103 | 1300103 | EA | COIL,SOL;110 VAC,SMC,VP7-8-FG-D-9N |  |  | COIL,SOLENOID;VOLTAGE RATING:110 VAC,MNFR:01)SMC,PTNO:01)VP7-8-FG-D-9N | 110 VAC,01)SMC,01)VP7-8-FG-D-9N |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | VP7-8-FG-D-9N | [5 empty] | https://www.smcpneumatics.com/VP7-8-FG-D-9N-X10(AC115V).html | [10 empty] | ENRICHED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 115 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1300211 | 1300211 | EA | COIL,SOL;24 V DC,HYDRAULIC VALVE,REXROTH |  |  | COIL,SOLENOID;VOLTAGE RATING:24 V DC,ADDITIONAL FEATURES EN:HYDRAULIC VALVE,MNFR:01)REXROTH,PTNO:01)G263-4-A-CG24 | 24 V DC,01)HYDRAULIC VALVE,01)REXROTH,01)G263-4-A-CG24 |  |  | REXROTH | REXROTH | G263-4-A-CG24 | [5 empty] | https://www.brandopneumatic.com/hydraulic-solenoid-coil/58325895.html | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | HYDRAULIC VALVE | VOLTAGE RATING | 24 V DC | POWER RATING | 46 W | SIZE |  | MATERIAL |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1284962 | 1284962 | EA | COIL,SOL;24 V,12 W |  |  | COIL,SOLENOID;VOLTAGE RATING:24 V,POWER RATING:12 W,MNFR:01)REECE PTY LTD,PTNO:01)2704806 | 24 V,12 W,01)REECE PTY LTD,01)2704806 |  |  | REECE PTY LTD | REECE PTY LTD | 2704806 | [5 empty] | https://www.reece.com.au/search/?query=2704806 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 V | POWER RATING | 12 W | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1347861 | 1347861 | EA | COIL,SOL;24 V,200A,MACLEAN,1080427 |  |  | COIL,SOLENOID;VOLTAGE RATING:24 V,ADDITIONAL FEATURES EN:200A,MNFR:01)MACLEAN,PTNO:01)1080427 | 24 V,01)200A,01)MACLEAN,01)1080427 |  |  | MACLEAN | MACLEAN | 1080427 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:200 A | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1298912 | 1298912 | EA | COIL,SOL;24 VDC,4 W,IP65,ELEC, HOUSING |  |  | COIL,SOLENOID;VOLTAGE RATING:24 VDC,POWER RATING:4 W,ENCLOSURE:IP65,ADDITIONAL FEATURES EN:ELECTRICAL, HOUSING,MNFR:01)KEYSTONE, PTNO:01)F791,MNFR:02)KEYSTONE,PTNO:02)SF4-5D-50 | 24 VDC,4 W,IP65,01)ELECTRICAL, HOUSING,01)KEYSTONE,02)KEYSTONE,01)F791,02)SF4-5D-50 |  |  | KEYSTONE | KEYSTONE | F791 |  | KEYSTONE | SF4-5D-50 |  |  | http://www.materialsupplieshk.com/keystone-solenoid-valve-black-anodised-aluminum-f791.html | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 24 VDC | POWER RATING | 4 W | SIZE |  | MATERIAL |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,HOUSING | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1284961 | 1284961 | EA | COIL,SOL;240 VAC,10 W,W/O TERM |  |  | COIL,SOLENOID;VOLTAGE RATING:240 VAC,POWER RATING:10 W,ADDITIONAL FEATURES EN:W/O TERM,MNFR:01)REECE PTY LTD,PTNO:01)2704804 | 240 VAC,10 W,01)W/O TERM,01)REECE PTY LTD,01)2704804 |  |  | REECE PTY LTD | REECE PTY LTD | 2704804 | [5 empty] | https://www.reece.com.au/search/?query=2704804 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 240 VAC | POWER RATING | 10 W | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/O TERM | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351954 | 1351954 | EA | COIL,SOL;2WD/4WD,MATBRO,505144 |  |  | COIL,SOLENOID;ADDITIONAL FEATURES EN:2WD/4WD,MNFR:01)MATBRO,PTNO:01)505144 | 01)2WD/4WD,01)MATBRO,01)505144 |  |  | MATBRO | MATBRO | 505144 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 2WD/4WD | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1299723 | 1299723 | EA | COIL,SOL;A/C,12 V,DIA 52 MM,11,SIGMA |  |  | COIL,SOLENOID;TYPE:AIR CONDITIONER,VOLTAGE RATING:12 V,SIZE:DIA 52 MM,ADDITIONAL FEATURES EN:11,MNFR:01)SIGMA,PTNO:01)668135 | EN_01)AIR CONDITIONER,12 VDC,EN_01)DIA 52 MM,01)11,01)SIGMA,01)668135 |  |  | SIGMA | SIGMA | 668135 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | AIR CONDITIONER | VOLTAGE RATING | 12 V | POWER RATING |  | SIZE | DIA 52 MM | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1358625 | 1358625 | EA | COIL,SOL;ELEC,115 VAC,22 W,IP65, 67 |  |  | COIL,SOLENOID;TYPE:ELECTRICAL,VOLTAGE RATING:115 VAC,POWER RATING:22 W,ENCLOSURE:IP65, 67,MNFR:01)HYTECO,PTNO:01)770-211 | EN_01)ELECTRICAL,115 VAC,22 W,IP65, 67,01)HYTECO,01)770-211 |  |  | HYTECO | HYTECO | 770-211 |  | SUN HYDRULICS | 770-211 |  |  | https://www.sunhydraulics.com/model/770211 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | ELECTRICAL | VOLTAGE RATING | 115 VAC | POWER RATING | 22 W | SIZE |  | MATERIAL |  | ENCLOSURE | IP65,67 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1301873 | 1301873 | EA | COIL,SOL;ELEC,TBE, TUBE ASSY/STOPPER,SMC |  |  | COIL,SOLENOID;TYPE:ELECTRICAL,ADDITIONAL FEATURES EN:TBE, TUBE ASSY/STOPPER,MNFR:01)SMC,PTNO:01)VXZ263LZ-2H-KT1 | EN_01)ELECTRICAL,01)TBE, TUBE ASSY/STOPPER,01)SMC,01)VXZ263LZ2H-KT1 |  |  | SMC CORPORATION (AUST) PTY LTD | SMC | VXZ263LZ2H-KT1 | [5 empty] | https://ca01.smcworld.com/catalog/New-products-en/pdf/es70-51a-vxz.pdf | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | ELECTRICAL | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TBE,TUBE ASSY/STOPPER | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1284814 | 1284814 | EA | COIL,SOL;ELECTRIC ACTUATOR,24 VAC,12 W |  |  | COIL,SOLENOID;TYPE:ELECTRIC ACTUATOR,VOLTAGE RATING:24 VAC,POWER RATING:12 W,SIZE:13.5 MM,MNFR:01)DANFOSS,PTNO:01)018F6182 | EN_01)ELECTRIC ACTUATOR,24 VAC,12 W,EN_01)13.5 MM,01)DANFOSS,01)018F6182 |  |  | DANFOSS | DANFOSS | 018F6182 | [5 empty] | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Valves/Valve-Coils/Coils-for-Solenoid-Valves/Solenoid-coil%2C-BE024AS%2C-Supply-voltage-%5BV%5D-AC%3A-24%2C-Multi-pack/p/018F6182 | [10 empty] | ENRICHED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | ELECTRIC ACTUATOR | VOLTAGE RATING | 24 VAC | POWER RATING | 12 W | SIZE | 13.5 MM | MATERIAL |  | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | LLC,CDC,TYSK,CE,EAC,UKCA | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1351944 | 1351944 | EA | COIL,SOL;LIFT DOOR,(ADC) |  |  | COIL,SOLENOID;TYPE:LIFT DOOR,ADDITIONAL FEATURES EN:(ADC),MNFR:01)KRONE,PTNO:01)K379100G05 | EN_01)LIFT DOOR,01)(ADC),01)KRONE,01)K379100G05 |  |  | KRONE | KRONE | K379100G05 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | LIFT DOOR | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | (ADC) | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1237726 | 1237726 | EA | COIL,SOL;PITCH CONTROL,REXROTH,GR70-2N-A |  |  | COIL,SOLENOID;TYPE:PITCH CONTROL,MNFR:01)REXROTH,PTNO:01)GR70-2N-A | EN_01)PITCH CONTROL,01)REXROTH,01)GR70-2N-A |  |  | REXROTH | REXROTH | GR70-2N-A | [5 empty] | https://platinum.bonzit.de/platinum-international/hydraulic-system/hydraulic-valves/directional-control-valves/rexroth-3-lnf-10-pp-2c-g24-v-directional-control-valve/ | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | PITCH CONTROL | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1293275 | 1293275 | EA | COIL,SOL;PLUG AND 2.5 METRE LEAD ASSEMBL |  |  | COIL,SOLENOID;ADDITIONAL FEATURES EN:PLUG AND 2.5 METRE LEAD ASSEMBLY,MNFR:01)RSCOMP,PTNO:01)1584391 | 01)PLUG AND 2.5 METRE LEAD ASS,01)RSCOMP,01)1584391 |  |  | RSCOMP | RS COMPNENT | 1584391 | [5 empty] | https://ph.rs-online.com/web/p/sensor-accessories/1584391?redirect-relevancy-data=7365617263685F6361 | [10 empty] | ENRICHED | 39121400 Electrical lugs plugs and connectors | CONNECTOR | NO MODIFIER | TYPE |  | SIZE | M 14X 15 MM | CONNECTION TYPE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PLUG AND 2.5 METRE LEAD ASSEMBLY | [59 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1348800 | 1348800 | EA | COIL,SOL;PRPTNL,ELEC, 100 SERIES BOOM |  |  | COIL,SOLENOID;TYPE:PROPORTIONAL,ADDITIONAL FEATURES EN:ELECTRICAL, 100 SERIES BOOM,MNFR:01)TRANSMIN,PTNO:01)R600494 | EN_01)PROPORTIONAL,01)ELECTRICAL, 100 SERIES BOOM,01)TRANSMIN,01)R600494 |  |  | TRANSMIN | TRANSMIN | R600494 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PROPORTIONAL,ELECTRICAL,100 SERIES BOOM | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1320172 | 1320172 | EA | COIL,SOL;SPRING:MAIN, C/W FAULT RATING 5 |  |  | COIL,SOLENOID;ADDITIONAL FEATURES EN:SPRING:MAIN, C/W FAULT RATING 500 MVA J18X, RS TYPE MECHANISM, OIL,CIRCUIT BREAKER 11 KV 800 A,MNFR:01)EMAILEED,PTNO:01)1061-F-401 | 01)SPRING:MAIN, C/W FAULT RATI,02)CIRCUIT BREAKER 11 KV 800 A,01)EMAILEED,01)1061-F-401 |  |  | EMAILEED | EMAILEED | 1061-F-401 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 11 KV | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:800 A,SPRING:MAIN,C/W FAULT RATING 500 MVA J18X,RS TYPE MECHANISM,OIL,CIRCUIT BREAKER | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1347870 | 1347870 | EA | COIL,SOL;START,24 V DC,DELCREMY,1115544 |  |  | COIL,SOLENOID;TYPE:STARTER,VOLTAGE RATING:24 V DC,MNFR:01)DELCREMY,PTNO:01)1115544 | EN_01)STARTER,24 V DC,01)DELCREMY,01)1115544 |  |  | DELCREMY | DELCREMY | 1115544 | [5 empty] | https://www.finditparts.com/pdpexp/delco-remy-1115717-635363 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | STARTER,SWITCH | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [56 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1292878 | 1292878 | EA | COIL,SOL;TUYERE PUNCHER,NUMATICS |  |  | COIL,SOLENOID;TYPE:TUYERE PUNCHER,MNFR:01)NUMATICS,PTNO:01)237-614K | EN_01)TUYERE PUNCHER,01)NUMATICS,01)237-614K |  |  | NUMATICS | NUMATICS | 237-614K1 | [5 empty] | https://airoil.com/v6/contents/en-us/p4990.html | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 120 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TUYERE PUNCHER | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1349245 | 1349245 | EA | COIL,SOL;VLV,12 VDC |  |  | COIL,SOLENOID;TYPE:VALVE,VOLTAGE RATING:12 VDC,ADDITIONAL FEATURES EN:ELECTRICAL, 133K-06, PLUG-IN, TYPE-F,MNFR:01)LUCIFER,PTNO: 01)481865C1 | EN_01)VALVE,12 VDC,01)ELECTRICAL, 133K-06, PLUG-I,01)LUCIFER,01)481865C1 |  |  | LUCIFER | LUCIFER | 481865C1 | [5 empty] | https://www.brandopneumatic.com/house-applications-solenoid-coil/60209980.html | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 12 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,133K-06,MOUNTING:PLUG-IN,INSULATION CLASS:F | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1381758 | 1381758 | EA | COIL,SOL;VLV,120 VAC |  |  | COIL,SOLENOID;TYPE:VALVE,VOLTAGE RATING:120 VAC,ADDITIONAL FEATURES EN:ELECTRICAL, 110 50HZ, FAFT-8342,MNFR:01)AUTOSWIT,PTNO:01) 99-257-5D | EN_01)VALVE,120 VAC,01)ELECTRICAL, 110 50HZ, FAFT-,01)AUTOSWIT,01)99-257-5D |  |  | AUTOSWIT | AUTOSWIT | 99-257-5D |  | ASCO | 99-257-5D |  |  | https://www.nriparts.com/products/asco-99-257-5d/344051?item_id=547259 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 120 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL,110,FREQUENCY RATING:50 HZ,REF:FAFT-8342 | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1344794 | 1344794 | EA | COIL,SOL;VLV,120 VAC,6.1-8.1 W |  |  | COIL,SOLENOID;TYPE:VALVE,VOLTAGE RATING:120 VAC,POWER RATING:6.1-8.1 W,ENCLOSURE:WATERTIGHT, NO JUNCTION BOX,MNFR:01)MARCTECH, PTNO:01)117546 238212-032 | EN_01)VALVE,120 VAC,6.1-8.1 W,WATERTIGHT, NO JUNCTION BOX,01)MARCTECH,01)117546 238212-032 |  |  | MARCTECH | MARCTECH | 117546 | ASCO | ASCO | 238212-032 |  |  | https://www.grainger.com/product/ASCO-Solenoid-Valve-Coil-120V-AC-44U347 | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 120 VAC | POWER RATING | 6.1-8.1 W | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | WATERTIGHT, NO JUNCTION BOX | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1298447 | 1298447 | EA | COIL,SOL;VLV,24 VDC,ELEC |  |  | COIL,SOLENOID;TYPE:VALVE,VOLTAGE RATING:24 VDC,ADDITIONAL FEATURES EN:ELECTRICAL,MNFR:01)AMDEL,PTNO:01)50174 | EN_01)VALVE,24 VDC,01)ELECTRICAL,01)AMDEL,01)50174 |  |  | AMDEL | AMDEL | 50174 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL | [55 empty] | Production Completed
STP_009 - Lot4 | Data Enrichment | SZU | OK | 2023-08-07 | 2023-08-09 |  | 1349242 | 1349242 | EA | COIL,SOL;VLV,240 V,ELEC, 50HZ |  |  | COIL,SOLENOID;TYPE:VALVE,VOLTAGE RATING:240 V,ADDITIONAL FEATURES EN:ELECTRICAL, 50HZ,MNFR:01)DANFOSS,PTNO:01)AD-3041 | EN_01)VALVE,240 V,01)ELECTRICAL, 50HZ,01)DANFOSS,01)AD-3041 |  |  | DANFOSS | DANFOSS | AD-3041 | [5 empty] | URL NOT FOUND | [10 empty] | CLEANSED | 39121010 Magnetic coils | COIL | SOLENOID | TYPE | VALVE,ELECTRICAL | VOLTAGE RATING | 240 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 HZ | [55 empty] | Production Completed