## Sheet1
Material | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Item Number | Internal Desc 1 | Internal Desc 2 | Mfr. Name | Mfr. Part Number | Input Supplier Name | Input Supplier Part Number | Reference URL | Reference URL1 | MNFR | PTNO | MNFR 1 | PTNO 1 | Supplier Name | Supplier Part Number | UNSPSC | UNSPSC Desc | Short Description (40 Char) | Long Description | Noun | Modifier | ADDITIONAL | APPLICATION | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Status
28266 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 28266 | ADAPTER ELEC 2TLA020054R1100 |  |  |  | AWM ECHUCA | 2TLA020054R1100 | https://new.abb.com/products/2TLA020054R1100/tina-2b | [5 empty] | AWM ECHUCA | 2TLA020054R1100 | 39122221 | Switch part or accessory |  |  | ADAPTER | ELECTRICAL |  |  | TYPE | DYNLINK | VOLTAGE |  | CURRENT |  | CONNECTION |  | CONDUCTOR | [49 empty] | Production Completed
913921 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 913921 | ADHESIVE ELASTIC SEALENT CLEAR | LOCTITE 1562040 | LOCTITE | 1562040 | MOTION INDUSTRIES | 05338799 | https://www.motionindustries.com/products/sku/05338799 |  | LOCTITE | 1562040 |  |  | MOTION INDUSTRIES | 05338799 | 31201600 | Adhesives |  |  | ADHESIVE | NONE |  |  | TYPE | ACRYLIC ELASTIC SEALANT | TRADE/BRAND NAME | LOCTITE | FORM | PASTE | COLOR | CLEAR | TEMPERATURE RANGE |  | CONTAINER | 300ML CARTRIDGE | [46 empty] | Production Completed
905765 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 905765 | ANALYZER AMI SODITRACE | SWX A-24.611.000 | SWAN ANALYTICAL | A-24.611.000 |  |  | https://swan.ch/GetAttachment.axd?attaName=DenA2461X0X0_AMI_Soditrace |  | SWAN ANALYTICAL | A-24.611.000 |  |  |  |  | 41113300 | Liquid and solid and elemental analyzers |  |  | ANALYZER | NONE |  |  | TYPE | AMI SODITRACE | RANGE | 0.001PPB TO 10PPM | ELECTRICAL RATING | 100 TO 240VAC, 10 TO 36VDC 50/60HZ | DISPLAY | LCD | [50 empty] | Production Completed
909911 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 909911 | STEEL ANGLE 1 X 1 X 3/16 SS |  |  |  | TWIN CITY METALS | ANGLE1X1X3/16SS | URL NOT FOUND | [5 empty] | TWIN CITY METALS |  | 30101505 | Stainless steel angles |  |  | ANGLE | NONE |  |  | TYPE |  | WIDTH | 1IN | THICKNESS | 3/16IN | LENGTH | 1IN | MATERIAL | STAINLESS STEEL | [48 empty] | Production Completed
911089 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 911089 | CARTRIDGE APPLICATOR 98472 | DUAL 50ML LOCTITE 720228 | LOCTITE | 720228 | MOTION INDUSTRIES | 720228 | https://www.hisco.com/Product/720228-30769 | https://www.grainger.com/product/LOCTITE-Applicator-Dual-Cartridge-3NVL4 | LOCTITE | 720228 |  |  | MOTION INDUSTRIES | 720228 | 24122006 | Applicators |  |  | APPLICATOR | NONE |  |  | TYPE | DUAL CARTRIDGE | SIZE | 50ML | MATERIAL | [53 empty] | Production Completed
250356 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 250356 | SPARK ARRESTORS* |  | WALKER | 21581 |  |  | https://www.summitracing.com/parts/wlk-21581 |  | WALKER | 21581 |  |  |  |  | 25173705 | Spark arresters |  |  | ARRESTER | SPARK |  |  | TYPE |  | SIZE |  | CONNECTION |  | MATERIAL | [51 empty] | Production Completed
828579 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 828579 | ASSEMBLY BRAKE STD | STEARNS 108772201 QG | STEARNS | 108772201 QG | MOTION INDUSTRIES | 01123305 | https://www.motionindustries.com/products/sku/01123305;origin=sayt |  | STEARNS | 108772201 QG |  |  | MOTION INDUSTRIES | 01123305 | 25171700 | Braking systems and components |  |  | ASSEMBLY | NONE |  |  | TYPE | BRAKE STD | [56 empty] | Production Completed
33224 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 33224 | BALLAST LRF-EDL-150W INDUCT | BAY INDUCTION LIGHTS |  |  | BAYTRADE NOMINEES | LRF-EDL-150W | https://lightingretrofit.com.au/wp-content/uploads/2020/11/LRF-EDL-Kit-Data-Sheet.pdf | [5 empty] | BAYTRADE NOMINEES | LRF-EDL-150W | 39111801 | Lamp ballasts |  |  | BALLAST | NONE |  |  | TYPE |  | VOLTAGE | 100 TO 300VAC | AMPERAGE | 0.68 TO 1.36A | FREQUENCY RATING | 230KHZ | WATTAGE | 150W | STYLE |  | NUMBER OF LAMPS | 1 | LAMP TYPE | INDUCTION | LAMP WATTAGE | [41 empty] | Production Completed
65866 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 65866 | BALLAST OMS70A |  |  | OMS70A | REXEL AUSTRALIA | ATCOMS70A | https://www.cmpcontrols.com/products/oms-70a-05-k-250-50-065c100-cmp-05_0-560/ |  |  | OMS70A |  |  | REXEL AUSTRALIA | ATCOMS70A | 39111801 | Lamp ballasts |  |  | BALLAST | NONE |  |  | TYPE | LIGHT | VOLTAGE | 90V | AMPERAGE | 1A | FREQUENCY RATING | 50HZ | WATTAGE | 85.3W | STYLE |  | NUMBER OF LAMPS | 1 | LAMP TYPE | METAL HALIDE/SODIUM LAMP | LAMP WATTAGE | 70W | [40 empty] | Production Completed
881555 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 881555 | BALLAST W/ BUILT-IN FUSE AND | END OF LAMP LIFE PROTECTION |  |  | COLUMBIA FOOD MACHINERY | 10000154 | URL NOT FOUND | [5 empty] | COLUMBIA FOOD MACHINERY | 10000154 | 39111801 | Lamp ballasts |  |  | BALLAST | NONE | W/BUILT-IN FUSE AND END OF LAMP LIFE PROTECTION |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING |  | WATTAGE |  | STYLE |  | NUMBER OF LAMPS |  | LAMP TYPE |  | LAMP WATTAGE | [41 empty] | Production Completed
900430 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 900430 | STRAP BLACK POLY STRAPPING | ULINE S-821 | ULINE | S-821 | ULINE SHIPPING SUPPLY SPECIALISTS | S-821 | https://www.uline.com/Product/Detail/S-821/Poly-Strapping/Uline-Poly-Strapping-1-2-x-024-x-7200-Black |  | ULINE | S-821 |  |  | ULINE SHIPPING SUPPLY SPECIALISTS | S-821 | 31162400 | Miscellaneous fasteners |  |  | BAND | STRAPPING |  |  | TYPE |  | WIDTH | 1/2IN | LENGTH | 7.2FT | THICKNESS | 0.024IN | MATERIAL | POLYPROPYLENE | COLOR | BLACK | [46 empty] | Production Completed
34696 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 34696 | BAR MA700012 SMI FLAT |  | SMI | MA700012 | YANGT MACHINERY | MA700012 | URL NOT FOUND |  | SMI | MA700012 |  |  | YANGT MACHINERY | MA700012 | 30260000 | Structural materials |  |  | BAR | FLAT |  |  | WIDTH |  | THICKNESS |  | LENGTH |  | WEIGHT |  | PROCESS |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE |  | STANDARD | [39 empty] | Production Completed
43072 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 43072 | BATTERY 6V 10A/HR |  |  |  | NORCO BATTERIES | PS 6100 | https://www.power-sonic.com/wp-content/uploads/2018/12/PS-6100%20technical%20specifications_US.pdf | [5 empty] | NORCO BATTERIES | PS 6100 | 26111701 | Rechargeable batteries |  |  | BATTERY | DRY CELL, RECHARGEABLE |  |  | TYPE |  | VOLTAGE | 6VDC | AMP HOURS | 11.5AH | SIZE | 51MM WD X 151MM LG X 94MM HT | CONNECTION | QUICK DISCONNECT | STANDARD | [47 empty] | Production Completed
69081 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 69081 | BATTERY 1756-BA1 AB PLC 3V | 1756-BA1 | ALLEN BRADLEY | 1756-BA1 | REXEL INDUSTRIAL AUTOMATION | 1756-BA1 | https://www.battery2batteries.com/1756-ba1-battery-allen-bradley-rockwell-automation-controllogix-plc/ | https://www.dosupply.com/automation/allen-bradley-plc/controllogix/1756-BA1 | ALLEN BRADLEY | 1756-BA1 |  |  | REXEL INDUSTRIAL AUTOMATION | 1756-BA1 | 26111711 | Lithium batteries |  |  | BATTERY | DRY CELL, RECHARGEABLE |  | FOR PLC | TYPE | LITHIUM | VOLTAGE | 3V | AMP HOURS | 1800MAH | SIZE | 0.68IN DIA X 1.38IN HT | CONNECTION |  | STANDARD | [47 empty] | Production Completed
888827 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 888827 | BLOWER 19.4 HP |  |  |  | UNITHERM FOOD SYSTEMS | 38431 | URL NOT FOUND | [5 empty] | UNITHERM FOOD SYSTEMS | 38431 | 40101601 | Blowers |  |  | BLOWER | NONE |  |  | TYPE |  | CAPACITY |  | SIZE |  | VOLTAGE |  | AMPERAGE |  | DRIVER | 19.4HP | [46 empty] | Production Completed
46722 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 46722 | CONTROLLER NO 30013247 KBTC BT | B LANTECH | LANTECH | 30013247 |  |  | https://www.bid-on-equipment.com/electrical-and-electronic/electrical-equipment/boards-controllers-and-modules/359427~lantech-30013247-q-series-power-roller-stretch-motor-control-board-scr3---new.htm |  | LANTECH | 30013247 |  |  |  |  | 32101502 | Printed circuit assemblies PCAs |  |  | BOARD | PRINTED CIRCUIT |  |  | TYPE | DRIVE DC CONTROLLER | FUNCTION |  | ELECTRICAL RATING | 230VAC (INPUT), 0 TO 180VDC (OUTPUT) | [52 empty] | Production Completed
71518 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 71518 | BRUSH PAINT 25MM |  |  |  | BLACKWOOD AND SONS | 04129204 | https://www.blackwoods.com.au/paints-marking-and-spray-equipment/brushes-paint/budget-paint-brushes/brush-paint-ebony-25mm/p/04129204 | [5 empty] | BLACKWOOD AND SONS | 04129204 | 31211904 | Paint brushes |  |  | BRUSH | PAINT |  |  | TYPE |  | BRISTLE SIZE | 25MM | BRISTLE MATERIAL | CHINESE BLACK PIG | SHAPE |  | HANDLE | POLYPROPYLENE | [48 empty] | Production Completed
863255 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 863255 | CABLE ELECTRODE ORP TR5000 | NALCO 060-TR5422.88 | NALCO | 060-TR5422.88 |  |  | https://www.wabs-gmbh.de/wp-content/uploads/2019/01/PDF-Equipment-and-Analytical-Catalogue-EMEA-2017-8MB.pdf |  | NALCO | 060-TR5422.88 |  |  |  |  | 26121600 | Electrical cable and accessories |  |  | CABLE | ELECTRICAL |  | FOR ORP ELECTRODE TR5000 | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR |  | CONDUCTOR SIZE |  | NUMBER OF STRANDS |  | LENGTH |  | CONDUCTOR MATERIAL |  | INSULATION COLOR |  | INSULATION MATERIAL |  | INSULATION SHIELD |  | INSULATION THICKNESS |  | JACKET COLOR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | ARMOR |  | BEDDING |  | STANDARD | [23 empty] | Production Completed
895249 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 895249 | CABLE HEAT 120VOLT 50FT |  |  |  | GRAINGER | 45RK55 | https://www.grainger.com/product/FROSTGUARD-Electric-Heating-Cable-For-45RK55 | [5 empty] | GRAINGER | 45RK55 | 26121601 | Heating cable |  |  | CABLE | ELECTRICAL |  |  | TYPE | HEATING | VOLTAGE | 120VAC | NUMBER OF CONDUCTOR | 2 | CONDUCTOR SIZE |  | NUMBER OF STRANDS |  | LENGTH | 50FT | CONDUCTOR MATERIAL |  | INSULATION COLOR |  | INSULATION MATERIAL |  | INSULATION SHIELD |  | INSULATION THICKNESS |  | JACKET COLOR |  | JACKET MATERIAL | RUBBERIZED POLYMER | METALLIC SHEATH |  | METALLIC SHIELD |  | ARMOR |  | BEDDING |  | STANDARD | CCSA US | [22 empty] | Production Completed
343875 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 343875 | CABLE HONDA 17910-HN5-670 |  | HONDA | 17910-HN5-670 |  |  | https://www.megazip.net/zapchasti-dlya/honda/cable-throttle-17910HN5670?shipper=uae |  | HONDA | 17910-HN5-670 |  |  |  |  | 26101700 | Engine components and accessories |  |  | CABLE | NONE |  |  | TYPE | THROTTLE | SIZE |  | MATERIAL | [53 empty] | Production Completed
894344 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 894344 | CALIPER 6" DIAL | MITUTOYO 505-742 | MITUTOYO | 505-742 | MOTION INDUSTRIES | 6643569 | https://www.mitutoyo.com/products/small-tool-instruments-and-data-management/calipers/dial-calipers/dial-caliper/ |  | MITUTOYO | 505-742 |  |  | MOTION INDUSTRIES | 6643569 | 41111621 | Calipers |  |  | CALIPER | NONE |  |  | TYPE | DIAL | SIZE | 6IN | GRADUATIONS | 0.001IN | JAW DEPTH | 40MM | MATERIAL | [49 empty] | Production Completed
902024 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 902024 | CALIPER 6" DIAL .001 GRAD | BROWN & SHARPE 599-579-5 | BROWN & SHARPE | 599-579-5 | MOTION INDUSTRIES | 05395486 | https://www.grainger.com/product/TESA-BROWN-SHARPE-Inch-Dial-Caliper-0-in-to-5RCH9 |  | BROWN & SHARPE | 599-579-5 |  |  | MOTION INDUSTRIES | 05395486 | 41111621 | Calipers |  |  | CALIPER | NONE |  |  | TYPE | DIAL | SIZE | 6IN | GRADUATIONS | 0.001IN | JAW DEPTH | 1.5IN | MATERIAL | STAINLESS STEEL | [48 empty] | Production Completed
344806 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 344806 | CAP DISTRIBUTOR | NAPA ECHLIN FA134 | NAPA ECHLIN | FA134 |  |  | https://www.napaonline.com/en/p/ECHFA134 |  | NAPA ECHLIN | FA134 |  |  |  |  | 25170000 | Transportation components and systems |  |  | CAP | NONE |  |  | TYPE | DISTRIBUTOR | CONNECTION SIZE/TYPE |  | SIZE |  | MATERIAL | [51 empty] | Production Completed
776339 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 776339 | CAP CAT 7T4966 |  | CATERPILLAR | 7T4966 |  |  | https://parts.cat.com/en/catcorp/7T-4966 |  | CATERPILLAR | 7T4966 |  |  |  |  | 31162800 | Miscellaneous hardware |  |  | CAP | NONE |  |  | TYPE |  | CONNECTION SIZE/TYPE |  | SIZE | 202MM ID X 116MM WD X 325MM LG | MATERIAL | [51 empty] | Production Completed
880398 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 880398 | RADIATOR CAP |  | HYSTER | 1352140 | PAPE MATERIAL HANDLING | 1352140 | https://www.orangeparts.com/hyster-1352140-cap-radiator/ |  | HYSTER | 1352140 |  |  | PAPE MATERIAL HANDLING | 1352140 | 25174003 | Radiator caps |  |  | CAP | NONE |  |  | TYPE | RADIATOR | CONNECTION SIZE/TYPE |  | SIZE |  | MATERIAL | [51 empty] | Production Completed
64152 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 64152 | CAPACITOR CVD-250A5 VAC 10-250 | PF 55VAC CER | SAIREM | CVD-250AS/55 |  |  | https://www.rellpower.com/store/cvd-250as-55.html | https://www.rellpower.com/wp/wp-content/uploads/2016/09/CVD-250AS.pdf | SAIREM | CVD-250AS/55 |  |  |  |  | 32121502 | Variable capacitors or varactors |  |  | CAPACITOR | NONE | CER |  | TYPE | VARIABLE | CAPACITANCE | 250PF | VOLTAGE | 55KV | STYLE |  | TOLERANCE |  | SIZE | 183MM DIA X 302MM HT | CONNECTION | [45 empty] | Production Completed
868493 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 | Conflict in Description, Processed based on websource | 868493 | CABLE CARRIER | LANDTECH P-012162 | LANDTECH | P-012162 |  |  | https://lantech.parts/product/p-012162-chain-carrier-15-3-038-0-i-gus-e-chain/ |  | LANDTECH | P-012162 |  |  |  |  | 26121600 | Electrical cable and accessories |  |  | CARRIER | NONE |  |  | TYPE | CHAIN | SIZE |  | MATERIAL | [53 empty] | Production Completed
890747 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 890747 | ACID NITRIC 2.5L 6/CS | FISHER A200C-212 | FISHER SCIENTIFIC | A200C-212 |  |  | https://www.fishersci.com/shop/products/nitric-acid-certified-acs-plus-fisher-chemical-4/A200C212 |  | FISHER SCIENTIFIC | A200C-212 |  |  |  |  | 12352301 | Inorganic acids |  |  | CHEMICAL | NONE | PACKAGE QUANTITY: 6/CASE |  | TYPE | NITRIC ACID | TRADE/BRAND NAME |  | FORM | LIQUID | CONTAINER | 2.5L BOTTLE | [50 empty] | Production Completed
913779 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 913779 | SET WOOD CHISEL 4PC 1/4-1"CARB | STL BLD DEWALT DWHT16063 | DEWALT | DWHT16063 | MOTION INDUSTRIES | 06746318 | https://www.motionindustries.com/products/sku/06746318 |  | DEWALT | DWHT16063 |  |  | MOTION INDUSTRIES | 06746318 | 27111906 | Wood chisels |  |  | CHISEL SET | NONE | SIZE RANGE: 1/4 TO 1IN |  | TYPE | WOOD | SHAPE |  | MATERIAL | CARBON STEEL | WIDTH |  | LENGTH |  | NUMBER OF PIECES | 4 | CONTAINER | [45 empty] | Production Completed
60953 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 60953 | CIRC BREAKER 19663 SCH&E RCBO | 10A 0.03A 1P+N | SCHNEIDER ELECTRIC | 19663 | ELECTRICAL WHOLESALE SERVICES | 19663 | https://www.se.com/uk/en/product/19663/dpn-earth-leakage-circuit-breaker-dpn-n-vigi-1p-+-n-10a-30ma/ |  | SCHNEIDER ELECTRIC | 19663 |  |  | ELECTRICAL WHOLESALE SERVICES | 19663 | 39121614 | Earth leakage circuit breakers |  |  | CIRCUIT BREAKER | NONE | SENSITIVITY: 30MA |  | TYPE | EARTH LEAKAGE | VOLTAGE | 230VAC | AMPERAGE | 10A | POLE | 1P | PHASE |  | FREQUENCY |  | CONNECTION | TUNNEL | INTERRUPTING CAPACITY | 6KA | MOUNTING | DIN RAIL | [40 empty] | Production Completed
236690 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 236690 | BREAKER CIRCUIT | WESTINGHOUSE GFCB120 | WESTINGHOUSE | GFCB120 |  |  | https://www.eaton.com/us/en-us/skuPage1.GFTCB120.html |  | WESTINGHOUSE | GFCB120 |  |  |  |  | 39121601 | Circuit breakers |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE | GROUND FAULT | VOLTAGE | 120/240V | AMPERAGE | 20A | POLE | 1P | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY | 10KA | MOUNTING | [41 empty] | Production Completed
813962 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 813962 | BREAKER CIRCUIT | ITW MULLER 62003987 | ITW MULLER | 62003987 |  |  | URL NOT FOUND |  | ITW MULLER | 62003987 |  |  |  |  | 39121601 | Circuit breakers |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | POLE |  | PHASE |  | FREQUENCY |  | CONNECTION |  | INTERRUPTING CAPACITY |  | MOUNTING | [41 empty] | Production Completed
889084 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 889084 | BREAKER 60AMP | AMERESCO DIN-60-DC | AMERESCO SOLAR | DIN-60-DC |  |  | https://www.solaris-shop.com/outback-din-60-dc-60a-1-pole-circuit-breaker/ |  | AMERESCO SOLAR | DIN-60-DC |  |  |  |  | 39121601 | Circuit breakers |  |  | CIRCUIT BREAKER | NONE |  |  | TYPE |  | VOLTAGE | 125VDC | AMPERAGE | 60A | POLE | 1P | PHASE |  | FREQUENCY |  | CONNECTION | COMPRESSION TERMINAL | INTERRUPTING CAPACITY |  | MOUNTING | DIN RAIL | [40 empty] | Production Completed
230331 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 230331 | CLAMP SPRING 00-0131-09 ENCON |  | ENCON | 00-0131-09 |  |  | https://encon.elevology.net/~encon2pt0/images/content/esew/IOMS/ShowerEyewash/accessories/IOM_01999932_07-25-1994.pdf |  | ENCON | 00-0131-09 |  |  |  |  | 31162902 | Spring clamps |  |  | CLAMP | NONE |  |  | TYPE | SPRING | CAPACITY |  | SIZE |  | MATERIAL | [51 empty] | Production Completed
29005 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 29005 | CLIP ELEC 564M10J CABLE |  |  | 564M10J | REXEL AUSTRALIA | 564M10J | https://www.clipsal.com/products/detail?CatNo=564M10J&itemno=564M10J | https://eref.se.com/au/en/clipsal/product-pdf/564M10J | CLIPSAL | 564M10J |  |  | REXEL AUSTRALIA | 564M10J | 39121702 | Cable clips |  |  | CLIP | CABLE |  |  | TYPE |  | CABLE SIZE |  | SIZE | 10MM DIA | MATERIAL | PLASTIC | COLOR | WHITE | [48 empty] | Production Completed
890472 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 890472 | CLUTCH HOLDBACK LLH X 3.437 | FORMSPRAG CL41601-202 | FORMSPRAG | CL41601-202 | MOTION INDUSTRIES | 00970454 | https://www.formsprag.com/ecatalog?page=product&cid=3-1-1-llh&id=LLH_750S_3_437 | https://www.turtle.com/2106807/Product/formsprag-clutch-cl41601-202 | FORMSPRAG | CL41601-202 |  |  | MOTION INDUSTRIES | 00970454 | 26111912 | Mechanical clutch |  |  | CLUTCH | NONE |  |  | TYPE | HOLDBACK LONG LIFE | INSIDE DIAMETER | 3.437IN | OUTSIDE DIAMETER | 8IN | LENGTH | 36.38IN | MATERIAL | [49 empty] | Production Completed
80153 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 80153 | TRANSDUCER ELEC MCR-SL-U-UMCR | 3 PHNX MINI | PHOENIX CONTACT | MCR-SL-U-UMCR | REMTRON AUTOMATION | XPC2864684 | https://www.phoenixcontact.com/en-in/products/signal-conditioner-mini-mcr-sl-u-u-2864684 |  | PHOENIX CONTACT | MCR-SL-U-UMCR |  |  | REMTRON AUTOMATION | XPC2864684 | 39121020 | Signal conditioners |  |  | CONDITIONER | NONE |  |  | TYPE | SIGNAL | ELECTRICAL RATING | 19.2 TO 30VDC | CONNECTION | SCREW | MOUNT | DIN RAIL | ENCLOSURE | IP20 | [48 empty] | Production Completed
911763 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 911763 | CONTROL CATERPILLAR 3E0462 |  | CATERPILLAR | 3E0462 | WESTERN STATES EQUIPMENT | 3E0462 | https://parts.cat.com/en/catcorp/3E-0462 |  | CATERPILLAR | 3E0462 |  |  | WESTERN STATES EQUIPMENT | 3E0462 | 39121500 | Electrical controls and accessories |  |  | CONTROL | NONE | SIZE: 56MM WD X 102MM LG X 177MM HT, GROUP |  | TYPE | ENGINE SHUTDOWN | RATING | [55 empty] | Production Completed
892312 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 892312 | CONVERTER CAT 348-7842 |  | CATERPILLAR | 348-7842 |  |  | https://parts.cat.com/en/catcorp/348-7842 |  | CATERPILLAR | 348-7842 |  |  |  |  | 39121000 | Power conditioning equipment |  |  | CONVERTER | NONE |  |  | TYPE | POWER | INPUT RANGE | 18 TO 32V | OUTPUT RANGE | 13.2 TO 14.2V | CONNECTOR TYPE | 6 PIN DT | SIZE | 114.3MM WD X 146.05MM LG X 59.7MM HT | [48 empty] | Production Completed
811832 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 811832 | COOLER AC DELCO 20880895 |  | AC DELCO | 20880895 |  |  | https://www.zoro.com/acdelco-automatic-transmission-oil-cooler-auxiliary-20880895-20880895/i/G7651583/ |  | AC DELCO | 20880895 |  |  |  |  | 40101700 | Cooling equipment and parts and accessories |  |  | COOLER | NONE |  |  | TYPE | AUTOMATIC TRANSMISSION | CAPACITY |  | SIZE |  | RATING |  | MATERIAL | [49 empty] | Production Completed
898524 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 898524 | CORD EXTENSION 100' | COLEMAN 01489 | COLEMAN CABLE | 01489 |  |  | https://www.summitracing.com/parts/ccb-01489 | https://rexel-cdn.com/products/coleman-cable.pdf?i=F9156ACC-A4AF-4544-95B0-306D18ABD878 | COLEMAN CABLE | 01489 |  |  |  |  | 26121536 | Extension cord |  |  | CORD | EXTENSION |  |  | TYPE |  | CONDUCTOR | 41/30BC | VOLTAGE | 125VAC | AMPERAGE | 13A | LENGTH | 100FT | CONNECTION |  | RECEPTACLES |  | COLOR | YELLOW | [42 empty] | Production Completed
781912 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 781912 | CORE CAT 115-4831 |  | CATERPILLAR | 115-4831 |  |  | https://parts.cat.com/en/catcorp/115-4831 |  | CATERPILLAR | 115-4831 |  |  |  |  | 26101700 | Engine components and accessories |  |  | CORE | NONE |  |  | TYPE | OIL COOLER | SIZE | 685.8MM WD X 1092.2MM LG X 215.9MM HT | MATERIAL | [53 empty] | Production Completed
888547 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 888547 | SHEARS CABLE HEAVY DUTY | KLEIN 63016 | KLEIN TOOL | 63016 | MOTION INDUSTRIES | 04304165 | https://www.motionindustries.com/products/sku/04304165;origin=sayt |  | KLEIN TOOL | 63016 |  |  | MOTION INDUSTRIES | 04304165 | 23241616 | Wire or cable cutter |  |  | CUTTER | CABLE/WIRE |  |  | TYPE | AIR CRAFT | CUTTING RANGE | 1/4IN COPPER, 3/16IN AIRCRAFT | LENGTH | 7-1/2IN | [52 empty] | Production Completed
54323 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 54323 | DIE BUTTON M14-2 1-1/2IN DIA | IA 14X2.00MM 05501504 |  |  | BLACKWOOD AND SONS | 05501504 | https://www.blackwoods.com.au/tools-cutting-threading-carbide/threading/threading-button-dies-hexagon-die-nuts-carbon-metric/die-button-c-splt-1-1-2-dia-14-mmx2-00mm/p/05501504 | [5 empty] | BLACKWOOD AND SONS | 05501504 | 23251812 | Industrial threading die |  |  | DIE | THREADING |  |  | TYPE | CIRCULAR SPLIT | CONFIGURATION |  | SIZE | 1-1/2IN DIA | THREAD SIZE | M14 X 2 COARSE | MATERIAL | CARBON STEEL | [48 empty] | Production Completed
874500 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 874500 | DISC BRAKE | CATERPILLAR 198-1137 | CATERPILLAR | 198-1137 |  |  | https://parts.cat.com/en/catcorp/198-1137 |  | CATERPILLAR | 198-1137 |  |  |  |  | 25171708 | Disc brake |  |  | DISC | BRAKE |  |  | TYPE | FRICTION | SIZE | 635.5MM ID X 874.5MM OD X 5.08MM THK | MATERIAL | HARDENED STEEL | [52 empty] | Production Completed
36076 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 36076 | CONTROL-DISPLAY 11018E ISHIDA | 175X225MM | ISHIDA | 11018E | MACQUARIE ELECTRICAL | 11018E | URL NOT FOUND |  | ISHIDA | 11018E |  |  | MACQUARIE ELECTRICAL | 11018E | 43211900 | Computer displays |  |  | DISPLAY | NONE |  |  | TYPE | CONTROL | ELECTRICAL RATING |  | READOUT |  | SIZE | 175MM X 225MM | [50 empty] | Production Completed
882040 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 882040 | REMOVER ROCK | CAT 227-5875 | CATERPILLAR | 227-5875 |  |  | https://parts.cat.com/en/catcorp/227-5875 |  | CATERPILLAR | 227-5875 |  |  |  |  | 31162800 | Miscellaneous hardware |  |  | EJECTOR | NONE |  |  | TYPE | REMOVER ROCK | SIZE | 114MM WD X 1250MM LG X 100MM HT | MATERIAL | STEEL | PROCESS FLUID | [51 empty] | Production Completed
322089 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 322089 | CARTRIDGE SEDEMENT REPLACEMENT | FILTERITE 155001-03 | FILTERITE | 155001-03 |  |  | https://filters.filpro.com/item/a/ametek/155001-03 | https://fluitek.com/ametek-15500103.html | FILTERITE | 155001-03 |  |  |  |  | 40161807 | Filter element |  |  | ELEMENT | FILTER |  |  | TYPE | CARTRIDGE SEDIMENT REPLACEMENT | SIZE | 1IN ID X 2.5IN OD X 9.8IN HT | FILTERING RETENTION |  | MATERIAL | [51 empty] | Production Completed
904752 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 904752 | SENSOR ELEMENT | DREXBROOK 700-1202-014 | DREXELBROOK | 700-1202-014 |  |  | https://www.drexelbrook.com/-/media/ametekdrexelbrook/download_links/datasheet-thepoint-line-powered-level-switch1.pdf?la=en&revision=25dfff4c-0f40-40a1-9c74-8eeda5368932 |  | DREXELBROOK | 700-1202-014 |  |  |  |  | 41111900 | Indicating and recording instruments |  |  | ELEMENT | NONE |  |  | TYPE | SENSOR | SIZE |  | MATERIAL | [53 empty] | Production Completed
878010 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 878010 | EXTINGUISHER FIRE 5 LB ABC | W/HOLDER |  |  | MOTION INDUSTRIES | B500T | https://amerexfireextinguishers.com/products/amerex-5lb-abc-b500t?variant=34994971729 |  | ABC | B500T |  |  | MOTION INDUSTRIES | B500T | 46191601 | Fire extinguishers |  |  | EXTINGUISHER | FIRE | W/HOLDER |  | TYPE | MULTI PURPOSE | CAPACITY | 5LB | RATING | 2A 10BC | [52 empty] | Production Completed
53976 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 53976 | FUSE SWE-00CNB100 MRC BLADE TA | NG 415V 100A | SWE-CHECK | 00C-NB100 | MACQUARIE ELECTRICAL | SWE00CNB100 | https://www.swe-check.com.au/catalog/82.pdf |  | SWE-CHECK | 00C-NB100 |  |  | MACQUARIE ELECTRICAL | SWE00CNB100 | 39121612 | Blade fuses |  |  | FUSE | NONE |  |  | TYPE |  | VOLTAGE | 690VAC | AMPERAGE | 100A | INTERRUPTING CAPACITY | 100KA | CONNECTION | BLADE | CLASS | GG | BODY MATERIAL |  | SIZE | 21MM WD X 79MM LG | [42 empty] | Production Completed
880594 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 880594 | FUSE 100 AMP | CAT 235-1845 | CATERPILLAR | 235-1845 |  |  | https://parts.cat.com/en/catcorp/235-1845 |  | CATERPILLAR | 235-1845 |  |  |  |  | 39121600 | Circuit protection devices and accessories |  |  | FUSE | NONE |  |  | TYPE |  | VOLTAGE | 32V | AMPERAGE | 100A | INTERRUPTING CAPACITY |  | CONNECTION | BOLT-IN | CLASS |  | BODY MATERIAL |  | SIZE | 15.6MM WD X 68MM LG X 9MM HT | [42 empty] | Production Completed
68097 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 68097 | ACETYLENE 040E BOC |  | BOC | 040E | BOC GASES AUSTRALIA | 040E | https://www.boc.com.au/shop/en/au/dissolved-acetylene-e-size-040e |  | BOC | 040E |  |  | BOC GASES AUSTRALIA | 040E | 12142100 | Industrial use gases |  |  | GAS | NONE |  |  | TYPE | ACETYLENE | PURITY |  | MIXTURE |  | SIZE | 3.2CU M | CONTAINER CONNECTION | AS 2473 TYPE 20 | CONTAINER | [47 empty] | Production Completed
895537 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 895537 | GASKET BACKSTOP TD/TDT #36 | DODGE 248220 | DODGE | 248220 | MOTION INDUSTRIES | 01071281 | https://www.motionindustries.com/products/sku/01071281;origin=sayt |  | DODGE | 248220 |  |  | MOTION INDUSTRIES | 01071281 | 31400000 | Gaskets |  |  | GASKET | NONE | TD/TDT #36 |  | TYPE | BACKSTOP COVER | SIZE |  | MATERIAL |  | RATING |  | SHAPE |  | NUMBER OF BOLT HOLES |  | BOLT HOLE SIZE | [45 empty] | Production Completed
270555 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 270555 | GAUGE FEELER | BOSCH 8101401113 | BOSCH PACKAGING | 8101401113 |  |  | URL NOT FOUND |  | BOSCH PACKAGING | 8101401113 |  |  |  |  | 41111617 | Feeler gauges |  |  | GAUGE | FEELER |  |  | TYPE |  | THICKNESS |  | SIZE |  | NUMBER OF LEAVES |  | MATERIAL | [49 empty] | Production Completed
64433 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 64433 | GAUGE PRES 011275-A | 5-A |  |  | PROVISUR TECHNOLOGIES | 011275-A-5-A | URL NOT FOUND | [5 empty] | PROVISUR TECHNOLOGIES | 011275-A-5-A | 41112412 | Pressure gauge |  |  | GAUGE | PRESSURE |  |  | TYPE |  | RANGE |  | DIAL SIZE |  | CONNECTION SIZE/TYPE |  | CASE MATERIAL |  | TUBE MATERIAL |  | CONNECTION MATERIAL |  | CONNECTION LOCATION |  | MOUNT |  | FILLED | [39 empty] | Production Completed
862024 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 862024 | GAUGE 0-1000# 1/2"NPT LM | SWAGLOCK PGI100CPG1000LAP1-H | SWAGELOK | PGI100CPG1000 |  |  | https://www.instrumart.com/assets/WIKA-CPG1000-datasheet.pdf |  | SWAGELOK | PGI100CPG1000 |  |  |  |  | 41112412 | Pressure gauge |  |  | GAUGE | PRESSURE |  |  | TYPE |  | RANGE | 0 TO 70MBAR | DIAL SIZE | 120MM | CONNECTION SIZE/TYPE | 1/4IN MNPT | CASE MATERIAL | STAINLESS STEEL | TUBE MATERIAL |  | CONNECTION MATERIAL | STAINLESS STEEL | CONNECTION LOCATION | LOWER | MOUNT | BACK | FILLED | [39 empty] | Production Completed
877980 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 877980 | GLOVE MICROFLEX ULTRAFORM | NITRILE EXAM MEDIUM 10/CS | FISHER SCIENTIFIC | UF-524-M | MOTION INDUSTRIES | UF-524-M | https://www.fishersci.com/shop/products/ultraform-powder-free-nitrile-gloves/19167303 |  | FISHER SCIENTIFIC | UF-524-M |  |  | MOTION INDUSTRIES | UF-524-M | 46181541 | Chemical resistant gloves |  |  | GLOVES | CHEMICAL RESISTANT | TRADEMARK: MICROFLEX ULTRAFORM, PACKAGE QUANTITY: 10/CASE |  | TYPE | EXAM | SIZE | MEDIUM | LENGTH | 23.1CM | MATERIAL | NITRILE | COLOR | BLUE | CUFF | BEADED | [46 empty] | Production Completed
878034 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 878034 | GLOVE WELDING X-LARGE |  |  |  | MOTION INDUSTRIES | TIL495XL | https://www.airgas.com/product/Safety-Products/Gloves/Welders-Gloves/p/TIL495XL |  |  | TIL495XL |  |  | MOTION INDUSTRIES | TIL495XL | 46181540 | Welder gloves |  |  | GLOVES | NONE |  |  | TYPE | WELDING | SIZE | X-LARGE | LENGTH | 14IN | MATERIAL | PIGSKIN | COLOR | YELLOW | PALM/BACK | COTTON/FOAM | CUFF | [45 empty] | Production Completed
878036 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 878036 | LAMP HEADLAMP PROTAC HL | STREAMLIGHT 61304 | STREAMLIGHT | 61304 | STAPLES ADVANTAGE | 922165 | https://www.streamlight.com/products/detail/protac-hl-headlamp |  | STREAMLIGHT | 61304 |  |  | STAPLES ADVANTAGE | 922165 | 39101600 | Lamps and lightbulbs |  |  | HEADLAMP | NONE |  |  | TYPE | TACTICAL | BATTERY TYPE | CR123A LITHIUM | COLOR | BLACK | ENCLOSURE | IP4X | APPROXIMATE LIFE HOURS |  | LUMENS | 635LM | [46 empty] | Production Completed
769047 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 769047 | CABLE LUG ALL 4000-20 | 22'X1/4" | LUG-ALL | 4000-20 |  |  | https://lug-all.com/products/2-ton-cable-hoist |  | LUG-ALL | 4000-20 |  |  |  |  | 24101602 | Hoists |  |  | HOIST | NONE | CABLE DIAMETER: 1/4IN |  | TYPE | CABLE | CAPACITY | 2TON | LIFT | 20FT | MINIMUM HEAD ROOM |  | OPERATOR | [49 empty] | Production Completed
903499 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 903499 | CABLE HOIST SS ROPE ASSEMBLY | 1 TON |  |  | AMERICAN EQUIPMENT | 72063-03 | URL NOT FOUND | [5 empty] | AMERICAN EQUIPMENT | 72063-03 | 24101602 | Hoists |  |  | HOIST | NONE | MATERIAL: STAINLESS STEEL, ASSEMBLY |  | TYPE | CABLE ROPE | CAPACITY | 1TON | LIFT |  | MINIMUM HEAD ROOM |  | OPERATOR | [49 empty] | Production Completed
865706 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 865706 | HOLDER FUSE | CUTLER MFZ USM2 2P-30A-MOD | CUTLER HAMMER | MFZ USM2 2P-30A-MOD |  |  | https://media.distributordatasolutions.com/xlsx_mersen/2021q1/documents/55624a0903555d77f6823242489bd8445ba8bf7e.pdf |  | CUTLER HAMMER | MFZ USM2 2P-30A-MOD |  |  |  |  | 39121624 | Fuse holder |  |  | HOLDER | FUSE |  |  | FUSE TYPE | MIDGET | VOLTAGE | 800VAC, 1000VDC | AMPERAGE | 30A | FUSE SIZE | 10MM X 38MM | MOUNT | DIN RAIL | MATERIAL | POLYAMIDE | [46 empty] | Production Completed
912399 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 912399 | LEVER CATERPILLAR 217-4155 |  | CATERPILLAR | 217-4155 | WHEELER MACHINERY | 217-4155 | https://parts.cat.com/en/catcorp/217-4155 |  | CATERPILLAR | 217-4155 |  |  | WHEELER MACHINERY | 217-4155 | 31162807 | Levers |  |  | KIT | NONE |  |  | STYLE |  | TYPE | TILT LEVER | APPLICATION |  | CONTAINS | [51 empty] | Production Completed
866059 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 866059 | LABEL WHT 2.25INX100FT | BRADY B30C 2250 595 | BRADY | B30C-2250-595-WT | BORDER STATES ELECTRIC | B30C 2250 595 | https://www.bradyid.com/labels/aggressive-adhesive/b30-series-continuous-indoor-outdoor-vinyl-labels-cps-brus-10054?part-number=b30c-2250-595-wt |  | BRADY | B30C-2250-595-WT |  |  | BORDER STATES ELECTRIC | B30C 2250 595 | 55121612 | Printer labels |  |  | LABEL | NONE |  |  | TYPE | ALL WEATHER PERMANENT ADHESIVE | SIZE | 2.25IN WD X 100FT LG | COLOR | WHITE | DESIGNATION |  | LAYOUT |  | MATERIAL | VINYL | [46 empty] | Production Completed
868096 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 868096 | LABEL 3.5" X 1" S-6788 | THERMAL TRANSFER |  |  | ULINE SHIPPING SUPPLY SPECIALISTS | S-6788 | https://www.uline.com/Product/Detail/S-6788/Barcode-Labels/Industrial-Thermal-Transfer-Labels-3-1-2-x-1-Ribbons-Required | [5 empty] | ULINE SHIPPING SUPPLY SPECIALISTS | S-6788 | 55121612 | Printer labels |  |  | LABEL | NONE |  |  | TYPE | THERMAL TRANSFER, INDUSTRIAL | SIZE | 3-1/2IN WD X 1IN HT | COLOR | WHITE | DESIGNATION |  | LAYOUT |  | MATERIAL | [47 empty] | Production Completed
45938 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 45938 | LAMP MV MVR250/C/U/40 GE |  | GENERAL ELECTRIC | MVR250/C/U/40 |  |  | https://www.gecurrent.com/catalog/quartz-metal-halide-lamp-42731 | https://www.gecurrent.com/node/8661/printable/pdf | GENERAL ELECTRIC | MVR250/C/U/40 |  |  |  |  | 39101614 | Metal halide lamp HID |  |  | LAMP | HID |  |  | TYPE | QUARTZ METAL HALIDE | VOLTAGE |  | WATTAGE | 250W | COLOR |  | BULB STYLE | ED28 | BASE | E39 | OPERATING POSITION | UNIVERSAL | MAXIMUM OVERALL LENGTH | 8.25IN | INITIAL LUMENS | 18200H/19800V LM | APPROXIMATE LIFE HOURS | 6000HR | [38 empty] | Production Completed
49646 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 49646 | LAMP MV HPL N PHILLIPS 125W |  | PHILIPS | HPL-N-125W | MIDDENDORP ELECTRIC | HPL-N-125W | https://www.lighting.philips.co.in/api/assets/v1/file/PhilipsLighting/content/fp928052007399-pss-en_in/928052007399_EU.en_IN.PROF.FP.pdf |  | PHILIPS | HPL-N-125W |  |  | MIDDENDORP ELECTRIC | HPL-N-125W | 39101615 | Mercury vapor lamp HID |  |  | LAMP | HID |  |  | TYPE | STANDARD HIGH PRESSURE MERCURY | VOLTAGE | 125V | WATTAGE | 125W | COLOR | COOL WHITE | BULB STYLE | E75 | BASE | E27 | OPERATING POSITION | UNIVERSAL | MAXIMUM OVERALL LENGTH | 173MM | INITIAL LUMENS | 6200LM | APPROXIMATE LIFE HOURS | 16000HR | [38 empty] | Production Completed
879300 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 879300 | LEVER TRIP CADET WHT LH |  | AMERICAN STANDARD | 047242-0200A |  |  | https://www.americanstandard-us.com/Toilet-Parts/Toilet-Trip-Lever-Assembly/WHITE-0472420200A |  | AMERICAN STANDARD | 047242-0200A |  |  |  |  | 30181500 | Sanitary ware |  |  | LEVER | NONE |  | FOR CADET | TYPE | LEFT HAND TOILET TRIP | SIZE |  | MATERIAL | PLASTIC | COLOR | WHITE | [50 empty] | Production Completed
37374 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 37374 | LIGHT IND 800EPPL6 AB OPT PILO | T BLU | ALLEN BRADLEY | 800EPPL6 |  |  | https://www.farnell.com/datasheets/104312.pdf |  | ALLEN BRADLEY | 800EPPL6 |  |  |  |  | 39121534 | Indicator or pilot lights |  |  | LIGHT | INDICATING |  |  | TYPE | OPTICAL ENHANCED | LAMP TYPE |  | VOLTAGE |  | AMPERAGE |  | COLOR | BLUE | MOUNT |  | CONNECTION | [45 empty] | Production Completed
46751 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 46751 | MICROMETER OUTSIDE 147-105 MIT | UTOYO | MITUTOYO | 147-105 | ECHUCA BEARINGS | 147-105 | https://shop.mitutoyo.eu/web/mitutoyo/en/mitutoyo/$catalogue/mitutoyoData/PR/147-105/datasheet.xhtml;jsessionid=C02E9A8ADD571C8BBCAF64857483C6C8 |  | MITUTOYO | 147-105 |  |  | ECHUCA BEARINGS | 147-105 | 41111601 | Micrometers |  |  | MICROMETER | NONE | OUTSIDE |  | TYPE | CAN SEAM | RANGE | 0 TO 13MM | GRADUATIONS | 0.01MM | MATERIAL | ALUMINUM | [50 empty] | Production Completed
875123 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 875123 | ELECTRODE ELECTRODE GEL-FILLED | 0-14 RESOLUTION EXTECH PH105 | EXTECH | PH105 | MOTION INDUSTRIES | 03180247 | http://www.extech.com/products/resources/PHxxx_CLxxx_RExxx_DS-en.pdf |  | EXTECH | PH105 |  |  | MOTION INDUSTRIES | 03180247 | 41115604 | pH electrodes |  |  | MODULE | NONE |  |  | TYPE | GEL FILLED | FUNCTION | PH ELECTRODE | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | RANGE | 0 TO 10PH | [46 empty] | Production Completed
34936 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 34936 | MOTOR AC 4041009 MAGNUSON ELEC |  | MAGNUSON | 4041009 |  |  | URL NOT FOUND |  | MAGNUSON | 4041009 |  |  |  |  | 26101100 | Electric alternating current AC motors |  |  | MOTOR | ELECTRIC, AC |  |  | TYPE |  | POWER |  | VOLTAGE |  | PHASE |  | FREQUENCY RATING |  | AMPERAGE |  | SPEED |  | POLE |  | FRAME |  | ENCLOSURE |  | SERVICE FACTOR |  | SHAFT SIZE |  | BRAKE |  | MOUNT |  | LENGTH |  | INSULATION |  | TEMPERATURE RATING | [25 empty] | Production Completed
905925 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 905925 | MOTOR AIR | MANNESMANN BOM-MMUD40220F77 | MANNESMANN DEMAG | BOM-MMUD40220F77 |  |  | https://www.mannesmann-demag.com/en/air-motors/standard/stainless-steel/mud-40-220-f77.html | https://www.mannesmann-demag.com/en/product/pdf/28457.html | MANNESMANN DEMAG | BOM-MMUD40220F77 |  |  | MANNESMANN DEMAG | BOM-MMUD40220F77 | 26101301 | Air or pneumatic motor |  |  | MOTOR | PNEUMATIC |  |  | TYPE | REVERSIBLE | OUTPUT POWER | 0.5KW | SPEED | 220RPM | TORQUE RATING | 22NM | AIR CONSUMPTION | 12.6LS | CONNECTION SIZE/TYPE |  | SHAFT SIZE | 14MM DIA | MOUNT |  | BODY MATERIAL | STAINLESS STEEL | [40 empty] | Production Completed
909454 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 909454 | NUT CATERPILLAR 231-2839 |  | CATERPILLAR | 231-2839 | WESTERN STATES EQUIPMENT | 231-2839 | https://parts.cat.com/en/catcorp/231-2839 |  | CATERPILLAR | 231-2839 |  |  | WESTERN STATES EQUIPMENT | 231-2839 | 31161712 | Flange nuts |  |  | NUT | NONE |  |  | TYPE | FLANGE | DIAMETER |  | THREADS |  | HEIGHT |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE |  | STANDARD | [41 empty] | Production Completed
858994 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 858994 | OIL GEAR FMO 2400 AW 1GAL JUG | LURIPLATE L0885 057 | LUBRIPLATE | L0885-057 | MOTION INDUSTRIES | 012896000 | https://www.lubriplate.com/Lubriplate/media/Lubriplate/PDFs/PDS/Lubriplate/8_7_FMO-AW_Series.pdf?ext=.pdf | https://www.applied.com/c-brands/c-lubriplate/l0885-057/Food-Machinery-Oil/p/102070377 | LUBRIPLATE | L0885-057 |  |  | MOTION INDUSTRIES | 012896000 | 15121503 | Gear oil |  |  | OIL | GEAR |  |  | TYPE | FOOD MACHINERY | TRADE/BRAND NAME | LUBRIPLATE | GRADE | ISO 460 | API CLASS |  | VISCOSITY RATING |  | VISCOSITY INDEX |  | FLASH POINT |  | CONTAINER | 4/1GAL PLASTIC JUG | [42 empty] | Production Completed
793831 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 793831 | PAINT SPRAY HUNTER GREEN 15OZ | RUSTOLEUM V2138838 | RUST-OLEUM | V2138838 |  |  | https://www.rustoleum.com/product-catalog/industrial-brands/high-performance/spray-paint/v2100-rust-preventive-spray-paint?ls=V2138838&lc=Hunter%20Green |  | RUST-OLEUM | V2138838 |  |  |  |  | 31211507 | Spray paints |  |  | PAINT | NONE |  |  | TYPE | SPRAY | TRADE/BRAND NAME | RUST-OLEUM | COLOR | HUNTER GREEN | FINISH | SEMI GLOSS | CONTAINER | 15OZ | [48 empty] | Production Completed
909481 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 909481 | PAINT CATERPILLAR 458-9576 |  | CATERPILLAR | 458-9576 | WESTERN STATES EQUIPMENT | 458-9576 | https://parts.cat.com/en/catcorp/458-9576 |  | CATERPILLAR | 458-9576 |  |  | WESTERN STATES EQUIPMENT | 458-9576 | 31211500 | Paints and primers |  |  | PAINT | NONE |  |  | TYPE |  | TRADE/BRAND NAME |  | COLOR | YELLOW | FINISH |  | CONTAINER | 1GAL PAIL | [48 empty] | Production Completed
911350 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 911350 | PAINT SPRAY GLOSS WHITE | RUST-OLEUM 249-090 | RUST-OLEUM | 249090 | KENNEWICK RANCH HOME | RO-249-090 | https://www.rustoleum.com/product-catalog/consumer-brands/painters-touch-2x-ultra-cover/gloss?ls=249090&lc=Gloss%20White |  | RUST-OLEUM | 249090 |  |  | KENNEWICK RANCH HOME | RO-249-090 | 31211507 | Spray paints |  |  | PAINT | NONE |  |  | TYPE | RUST SPRAY | TRADE/BRAND NAME |  | COLOR | WHITE | FINISH | GLOSS | CONTAINER | 12OZ | [48 empty] | Production Completed
904744 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 904744 | PAPER COPY 8-1/2 X 11 | STAPLES 324791 | STAPLES BRAND PRODUCTS | 324791 | STAPLES ADVANTAGE | 324791 | https://www.staples.com/Copy-Paper-8-1-2-x-11-Case/product_324791 |  | STAPLES BRAND PRODUCTS | 324791 |  |  | STAPLES ADVANTAGE | 324791 | 14111507 | Printer or copier paper |  |  | PAPER | PRINTER/COPIER |  |  | TYPE |  | SIZE | 8.5IN WD X 11IN LG | MATERIAL |  | COLOR | WHITE | [50 empty] | Production Completed
793608 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 793608 | PEN YELLOW RETRACTABLE | METAL DETECT 101-I02-C55-PA01 | DETECTAMET | 101-I02-C55-PA01 | NELSON JAMESON | 3642445 | https://nelsonjameson.com/82778.html |  | DETECTAMET | 101-I02-C55-PA01 |  |  | NELSON JAMESON | 3642445 | 44121700 | Writing instruments |  |  | PEN | NONE |  |  | TYPE | RETRACTABLE METAL DETECTABLE | COLOR | YELLOW | POINT |  | TIP MATERIAL | [51 empty] | Production Completed
879891 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 879891 | PIN CATERPILLAR 9J2366 |  | CATERPILLAR | 9J2366 |  |  | https://parts.cat.com/en/catcorp/9J-2366 |  | CATERPILLAR | 9J2366 |  |  |  |  | 31162400 | Miscellaneous fasteners |  |  | PIN | NONE |  |  | TYPE | LINKAGE STRAIGHT | DIAMETER | 3.98IN | LENGTH | 9.84IN | SURFACE TREATMENT |  | MATERIAL | STEEL | [48 empty] | Production Completed
859142 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 859142 | PINION CAT 450-5244 |  | CATERPILLAR | 450-5244 | WESTERN STATES EQUIPMENT | 450-5244 | https://parts.cat.com/en/catcorp/450-5244 |  | CATERPILLAR | 450-5244 |  |  | WESTERN STATES EQUIPMENT | 450-5244 | 25174209 | Pinions |  |  | PINION | NONE |  |  | TYPE |  | SIZE |  | MATERIAL | [53 empty] | Production Completed
804183 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 804183 | PLATE CAT 1233698 |  | CATERPILLAR | 1233698 |  |  | https://parts.cat.com/en/catcorp/123-3698 |  | CATERPILLAR | 1233698 |  |  |  |  | 31162307 | Mounting plates |  |  | PLATE | MOUNTING |  |  | TYPE |  | SIZE | 131MM WD X 205MM LG X 60MM HT | MATERIAL | STEEL | [52 empty] | Production Completed
315144 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 315144 | PLATE DIAPHRAGM OUTER #24 | SANDPIPER 612-008-330 | SANDPIPER PUMP | 612-008-330 |  |  | https://www.pumpfromchina.com/products/plate-outer-diaphragm-612-008-330-fit-sandpiper/ |  | SANDPIPER PUMP | 612-008-330 |  |  |  |  | 30102200 | Plate |  |  | PLATE | NONE | ITEM NO: 24 |  | TYPE | OUTER DIAPHRAGM | SIZE |  | MATERIAL | CARBON STEEL | [52 empty] | Production Completed
904007 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 904007 | BREAKER ADPT PLATE AB 140-KBD |  | ALLEN BRADLEY | 140-KBD |  |  | https://www.revereelectric.com/4623862/Product/Allen-Bradley-140-KBD |  | ALLEN BRADLEY | 140-KBD |  |  |  |  | 39121700 | Electrical hardware and supplies |  |  | PLATE | NONE | MOUNT: DIN RAIL |  | TYPE | TOP HAT ADAPTER | SIZE |  | MATERIAL | [53 empty] | Production Completed
32621 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 32621 | PLUG 250/4KV/3 16A-STI-S HAN 6 | 00VAC 16 PIN |  |  | MACQUARIE ELECTRICAL | HAN 16A-STI-S | https://b2b.harting.com/ebusiness/en_us/Han-16A-STI-S/09200162612 | [5 empty] | MACQUARIE ELECTRICAL | HAN 16A-STI-S | 39121402 | Electrical plugs |  |  | PLUG | ELECTRICAL | RATED IMPULSE VOLTAGE: 4KV |  | TYPE |  | POLE |  | WIRE | 16 | AMPERAGE | 16A | VOLTAGE | 250VAC | NEMA CONFIGURATION |  | HOUSING MATERIAL | POLYCARBONATE | IP RATING |  | CONNECTION | SCREW | STANDARD | EN 60664-1, IEC 61984 | [38 empty] | Production Completed
78886 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 78886 | PLUG 01N8017 MARECHAL 30A 4P | APPLIANCE I/LT | MARECHAL ELECTRIC | 01N8017 | DW ELECTRICAL | 01N8017 | https://www.blackwoods.com.au/electrical/wiring-accessories/industrial-plug-tops/marechal-electric-inlet-pn-3p-n-e-ip66-30a-250-440vac-01n8017/p/00268383 | https://docmar.azureedge.net/shared/Datasheets/PNC_PN%20-%20Technical%20Datasheet.pdf | MARECHAL ELECTRIC | 01N8017 |  |  | DW ELECTRICAL | 01N8017 | 39121402 | Electrical plugs |  |  | PLUG | ELECTRICAL |  |  | TYPE | COMPACT | POLE | 4P+E | WIRE | 5 | AMPERAGE | 30A | VOLTAGE | 220 TO 250VAC/380 TO 440VAC | NEMA CONFIGURATION |  | HOUSING MATERIAL |  | IP RATING | IP66 | CONNECTION | ROUND PIN | STANDARD | [39 empty] | Production Completed
73891 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 73891 | PLUNGER CAT 1P1367 |  | CATERPILLAR | 1P-1367 |  |  | https://parts.cat.com/en/catcorp/1P-1367 |  | CATERPILLAR | 1P-1367 |  |  |  |  | 26101700 | Engine components and accessories |  |  | PLUNGER | NONE |  |  | TYPE | OIL COOLER | SIZE | 71.1MM WD X 96.5MM LG X 27.9MM HT | MATERIAL | [53 empty] | Production Completed
887167 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 887167 | PLUNGER CATERPILLAR 114-5477 |  | CATERPILLAR | 114-5477 | WHEELER MACHINERY | 114-5477 | https://parts.cat.com/en/catcorp/114-5477 |  | CATERPILLAR | 114-5477 |  |  | WHEELER MACHINERY | 114-5477 | 40141700 | Hardware and fittings |  |  | PLUNGER | NONE |  |  | TYPE |  | SIZE |  | MATERIAL | [53 empty] | Production Completed
912188 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 912188 | PAINT PRIMER WHITE CLEAN METAL | V8400 RUST-OLEUM 259157 | RUST-OLEUM | 259157 | MOTION INDUSTRIES | MI# 04800910 | https://www.rustoleum.com/product-catalog/industrial-brands/high-performance/alkyd-coatings/v8400-system-food-beverage-alkyd-enamel-primer?ls=259157&lc=White%20Clean%20Metal%20Primer | https://www.motionindustries.com/products/sku/04800910 | RUST-OLEUM | 259157 |  |  | MOTION INDUSTRIES | MI# 04800910 | 31211500 | Paints and primers |  |  | PRIMER | PAINT |  |  | TYPE |  | COLOR | DAIRY WHITE | CONTAINER | 1GAL | FINISH | HIGH GLOSS | SURFACE | METAL | [48 empty] | Production Completed
786839 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 786839 | PROBE TEMPERATURE | BOSCH 8101304517 | BOSCH PACKAGING | 8101304517 |  |  | https://partsolutionsllc.com/product/bref-8101304517-bosch-probe/ |  | BOSCH PACKAGING | 8101304517 |  |  |  |  | 41112200 | Temperature and heat measuring instruments |  |  | PROBE | NONE |  |  | TYPE | TEMPERATURE | TIP DIAMETER |  | LENGTH |  | RATING |  | CABLE LENGTH |  | MATERIAL | [47 empty] | Production Completed
839206 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 839206 | RAILS | VALU GUIDE VG-SSWFS-1.25-20 | VALU-GUIDE | VG-SSWFS-1.25-20 | MOTION INDUSTRIES | 2992984 | https://www.bdiexpress.com/cn/en/Material-Handling/Conveyor-Components/Guides/VG-SSWFS-1-25-20/p/337894 |  | VALU-GUIDE | VG-SSWFS-1.25-20 |  |  | MOTION INDUSTRIES | 2992984 | 26101755 | Valve guide |  |  | RAIL | GUIDE |  |  | TYPE | CONVEYOR | SIZE | 31.75MM WD X 20FT LG X 17.272MM HT | SURFACE TREATMENT |  | MATERIAL | STAINLESS STEEL | [50 empty] | Production Completed
366035 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 366035 | RAIL F 5 BUS MOD ET200M | INS/REM 483MM | SIEMENS | 6ES7195-1GA00-0XA0 |  |  | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7195-1GA00-0XA0&language=en |  | SIEMENS | 6ES7195-1GA00-0XA0 |  |  |  |  | 39121700 | Electrical hardware and supplies |  |  | RAIL | NONE |  | FOR ET 200M, BUS MODULES, REMOVAL AND INSERTION | TYPE | MOUNTING | SIZE | 482.6MM WD X 122MM HT | SURFACE TREATMENT |  | MATERIAL | [51 empty] | Production Completed
287072 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 287072 | RELAY W/ 240V COIL | ALLEN BRADLEY 700-CF220A | ALLEN BRADLEY | 700-CF220A |  |  | https://rexel-cdn.com/products/ab551752pdf.pdf?i=E9A8CF8C-B332-41C7-B79A-091F6B44C96B |  | ALLEN BRADLEY | 700-CF220A |  |  |  |  | 39122331 | Control relay |  |  | RELAY | NONE |  |  | TYPE | CONTROL | COIL VOLTAGE | 240VAC | CONTACT RATING | 690VAC | CONTACT ARRANGEMENT | 2NO 2NC | CONTACT |  | ACTION |  | TERMINAL | SPRING CLAMP | MOUNT | DIN RAIL | ENCLOSURE | IP2X | STANDARD | IEC 60947-5-1 | [38 empty] | Production Completed
46508 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 46508 | RELAY CEP7-ED1DB S&S O/L 3.2-1 | 6A | S&S | CEP7-ED1DB | AWM ECHUCA | CEP7-EDICB | https://www.sprecherschuh.com/ecatalog/get/b/cep7_overloads.pdf |  | S&S | CEP7-ED1DB |  |  | AWM ECHUCA | CEP7-EDICB | 39122333 | Solid state relay |  |  | RELAY | SOLID STATE | RESET: MANUAL |  | TYPE | OVERLOAD | RATING | 690VAC 3.2 TO 16A 50/60HZ | STYLE |  | TERMINAL | SCREW | MOUNT | DIRECT | ENCLOSURE | IP20 | [46 empty] | Production Completed
228079 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 228079 | HEET GASOLINE ANTIFREEZE |  | GOLD EAGLE | 28201 |  |  | https://buy.wesco.com/Fleet-and-Vehicle-Maintenance/Vehicle-Maintenance/Vehicle-Additives/GOLD-EAGLE/Antifreeze-Gasline-Water-Remover-12-oz-Bottle/28201/p/07390528201-1 |  | GOLD EAGLE | 28201 |  |  |  |  | 15121807 | Antifreeze |  |  | REMOVER | NONE |  |  | TYPE | GASLINE ANTIFREEZE | TRADE/BRAND NAME | HEET | FORM |  | CONTAINER | 12OZ BOTTLE | [50 empty] | Production Completed
889398 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 889398 | RESISTOR CATERPILLAR 125-9740 |  | CATERPILLAR | 125-9740 |  |  | https://parts.cat.com/en/catcorp/125-9740 |  | CATERPILLAR | 125-9740 |  |  |  |  | 32121603 | Variable resistors or varistors |  |  | RESISTOR | VARIABLE |  |  | RESISTANCE | 0.36 TO 2OHM | WATTAGE | 25 TO 50W | CONNECTION | 4 LABELED TERMINAL | TOLERANCE |  | MATERIAL | [49 empty] | Production Completed
868618 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 868618 | RETAINER CAT 226-7191 |  | CATERPILLAR | 226-7191 | WESTERN STATES EQUIPMENT | 226-7191 | https://parts.cat.com/en/catcorp/226-7191 |  | CATERPILLAR | 226-7191 |  |  | WESTERN STATES EQUIPMENT | 226-7191 | 31163200 | Retaining hardware |  |  | RETAINER | NONE |  |  | TYPE |  | SIZE | 61.5MM WD X 64MM LG X 12MM HT | MATERIAL | STEEL | [52 empty] | Production Completed
343731 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 343731 | RING THRUST FORD | FORD F3XY3L539A | FORD MOTOR | F3XY3L539A |  |  | https://parts.lakelandford.com/p/Ford__/Steering-Column-Bearing/54641829/F3XY3L539A.html |  | FORD MOTOR | F3XY3L539A |  |  |  |  | 31163200 | Retaining hardware |  |  | RING | NONE |  |  | TYPE | THRUST | SIZE |  | MATERIAL | [53 empty] | Production Completed
894280 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 894280 | RING RET SS | ROTOR CLIP SH-100 | ROTOR CLIP COMPANY | SH-100 | MOTION INDUSTRIES | 630289 | https://www.motionindustries.com/products/sku/00630289;origin=sayt |  | ROTOR CLIP COMPANY | SH-100 |  |  | MOTION INDUSTRIES | 630289 | 31163202 | Retaining rings |  |  | RING | RETAINING |  |  | TYPE | EXTERNAL | SIZE |  | SURFACE TREATMENT |  | MATERIAL | STAINLESS STEEL | STANDARD | [49 empty] | Production Completed
788397 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 788397 | ROD CONNECTING | BOSCH 8101870062 | BOSCH PACKAGING | 8101870062 | SYNTEGON TECHNOLOGY | 90348101870062 | URL NOT FOUND |  | BOSCH PACKAGING | 8101870062 |  |  | SYNTEGON TECHNOLOGY | 90348101870062 | 26101711 | Connecting rods |  |  | ROD | CONNECTING |  |  | TYPE |  | SIZE |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE | [47 empty] | Production Completed
892107 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 892107 | SCREW GRIPRITE #6 X 1-5/8" | 1LB/PACK | GRIP-RITE | 158CDWS1 | MOTION INDUSTRIES | 158CDWS1 | https://www.supplyworks.com/Sku/100112584/grip-rite-6-x-1-58-in-philips-bugle-head-coarse-thread-sharp-point-drywall-screw-1-lbpack-764666103191-158cdws1 |  | GRIP-RITE | 158CDWS1 |  |  | MOTION INDUSTRIES | 158CDWS1 | 31161509 | Drywall screws |  |  | SCREW | DRYWALL |  |  | HEAD | PHILLIPS | DIAMETER | #6 | LENGTH | 1-5/8IN | MATERIAL | STEEL | FINISH | PHOSPHATE PLATED | [48 empty] | Production Completed
290526 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 290526 | SCREW MACHINED | BOSCH 8101864324 | BOSCH PACKAGING | 8101864324 |  |  | URL NOT FOUND |  | BOSCH PACKAGING | 8101864324 |  |  |  |  | 31161504 | Machine screws |  |  | SCREW | MACHINE |  |  | HEAD |  | DIAMETER |  | THREADS |  | LENGTH |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE |  | STANDARD | [41 empty] | Production Completed
909536 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 909536 | RING SEALING VOLVO | VOE11108441 | VOLVO | VOE11108441 | ARNOLD MACHINERY | VOE11108441 | http://777parts.net/volvo/voe-11108441-sealing-ring/p30323.html |  | VOLVO | VOE11108441 |  |  | ARNOLD MACHINERY | VOE11108441 | 31410000 | Seals |  |  | SEAL | RING |  |  | TYPE |  | SIZE |  | MATERIAL | [53 empty] | Production Completed
47886 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 47886 | SENSOR FLW SI6800 IFM |  | IFM EFECTOR | SI6800 | AWM ECHUCA | SI6800 | https://www.ifm.com/us/en/product/SI6800 |  | IFM EFECTOR | SI6800 |  |  | AWM ECHUCA | SI6800 | 41111931 | Flow sensors |  |  | SENSOR | NONE |  |  | TYPE | FLOW | RANGE | 3 TO 300CM/S (LIQUID), 200 TO 3000CM/S (GAS) | RATING | 19 TO 36VDC | [52 empty] | Production Completed
890457 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 890457 | SENSOR CURRENT VY1A1105 | SCHNEIDER 920860743001 | SCHNEIDER ELECTRIC | VY1A1105 |  |  | https://media.distributordatasolutions.com/schneider/2016q2/70a1f639de186bfb6ae0f93d67ff2cbc9a34b182.pdf |  | SCHNEIDER ELECTRIC | VY1A1105 | SCHNEIDER | 920860743001 |  |  | 41111928 | Current sensors |  |  | SENSOR | NONE |  |  | TYPE | MOTOR CURRENT | RANGE |  | RATING | 314A | [52 empty] | Production Completed
859806 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 859806 | PULLER BEARING SET 10TON | PROTO TOOLS J4234B | PROTO TOOLS | J4234B | MOTION INDUSTRIES | 01194038 | https://www.grainger.com/product/PROTO-Jaw-Puller-Set-2-15-16-in-3R707 | https://www.protoindustrial.com/en/industrial-tools/Proto/Specialty-Tools/Pullers/J4234B_Proto%C2%AE-12-Piece-10%C2%A0Ton-Proto-Ease%E2%84%A2-2-Way-Straight-Jaw-Puller-Set-/ | PROTO TOOLS | J4234B |  |  | PROTO TOOLS | J4234B | 31171500 | Bearings |  |  | SET | NONE |  |  | TYPE | PULLER BEARING | CAPACITY | 10TON | CONTAINS | 11IN LONG, J4011S SPRING CLIP, J4012T STANDARD TIP, J4016A DUAL REACH JAW, J4017 LONG NARROW JAW, J4018 CAP SCREW JAW, J4019 STEEL STORAGE BOX, J4225S FORCING SCREW, J4226CA 2-WAY CROSS ARM | [52 empty] | Production Completed
70116 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 70116 | RELAY PLC-BSC-24DC/21-21 PHOEN | IX TERM 24VDC | PHOENIX CONTACT | 2967015 | GORDON WOOD | PLC-BSC-24DC/21-21 | https://www.phoenixcontact.com/product/pdf/Mjk2NzAxNQ?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Capprovals%2Cclassifications%2Cenvironmental-compliance-data%2Call-accessories |  | PHOENIX CONTACT | 2967015 |  |  | GORDON WOOD | PLC-BSC-24DC/21-21 | 39122335 | Relay socket or base |  |  | SOCKET | RELAY |  |  | ELECTRICAL RATING | 24VDC | CONTACT | PLUG-IN | TERMINAL CONNECTION | SCREW | NUMBER OF PINS |  | MOUNT | DIN RAIL | DIMENSIONS | 14MM WD X 80MM HT X 94MM DP | [46 empty] | Production Completed
799341 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 799341 | SOLUTION BIO CIRCLE 20L | WALTER WLT55A007 | WALTER | WLT55A007 |  |  | https://www.grainger.ca/en/product/CLEANER-DEGREASER-BIO-CIRCLE%28R%29-L-20L/p/WLT55A007 | https://www.walter.com/products/-/producttradename/environmental-solutions/industrial-cleaning-degreasing/bio-circle-l?setLocale=true | WALTER | WLT55A007 |  |  |  |  | 47131821 | Degreasing compounds |  |  | SOLUTION | NONE |  |  | TYPE | INDUSTRIAL STRENGTH | NAME | BIO-CIRCLE | CONCENTRATION |  | CONTAINER | 20L PAIL | [50 empty] | Production Completed
896190 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 896190 | FLOAT HORIZONTAL MAGNET LEVEL | ROSEMOUNT S36DA/F84 | ROSEMOUNT | S36DA/F84 | MOTION INDUSTRIES | S36DA/F84 | https://delta-mobrey.online/product/magnetic-horizontal-float-switch-stainless-steel/ | https://my.rs-online.com/web/p/float-switches/1845073 | ROSEMOUNT | S36DA/F84 |  |  | MOTION INDUSTRIES | S36DA/F84 | 39122219 | Level or float switch |  |  | SWITCH | LEVEL | MATERIAL: ALUMINUM ALLOY |  | TYPE | HORIZONTAL MAGNET | STYLE | FLOAT | RANGE | 33.8BARG | ACTION | SPST | ELECTRICAL RATING | 440VAC, 240VDC | ENCLOSURE | IP66 | STANDARD | IEC 60529 | [44 empty] | Production Completed
815109 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 815109 | BRACKET SWITCH | HAYSSEN 250G-3801 | HAYSSEN | 250G-3801 |  |  | URL NOT FOUND |  | HAYSSEN | 250G-3801 |  |  |  |  | 39122200 | Electrical switches and accessories |  |  | SWITCH | NONE |  |  | TYPE | BRACKET | ACTION |  | VOLTAGE |  | AMPERAGE |  | PHASE |  | FREQUENCY RATING |  | CONTACT ARRANGEMENT |  | MOUNT |  | STANDARD | [41 empty] | Production Completed
48503 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 48503 | SWITCH PRES 0184-45803-2-021 S | UCO | SUPCO | 0184-45803-2-021 | AWM ECHUCA | 0184-45803-2-021 | https://www.farnell.com/datasheets/309017.pdf |  | SUCO | 0184-45803-2-021 |  |  | AWM ECHUCA | 0184-45803-2-021 | 39122210 | Pressure switch |  |  | SWITCH | PRESSURE |  |  | TYPE |  | ELECTRICAL RATING | 250VAC 4A | CONNECTION SIZE/TYPE | 1/4IN BSP | CONNECTION LOCATION |  | RANGE | 1 TO 10BAR | ACTION | SPDT | ENCLOSURE | IP65 | STANDARD | [43 empty] | Production Completed
910931 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 910931 | SWITCH CATERPILLAR 230-5782 |  | CATERPILLAR | 230-5782 | WESTERN STATES EQUIPMENT | 230-5782 | https://parts.cat.com/en/catcorp/230-5782 |  | CATERPILLAR | 230-5782 |  |  | WESTERN STATES EQUIPMENT | 230-5782 | 39122226 | Rocker switch |  |  | SWITCH | ROCKER |  |  | TYPE |  | POSITION | 3 | VOLTAGE |  | AMPERAGE |  | CONNECTION | 8 TERMINAL BLADE | SIZE | 26.7MM WD X 51.1MM LG X 50.8MM HT | TEMPERATURE RATING | -40 TO 71DEG C | MOUNT |  | STANDARD | [41 empty] | Production Completed
868125 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 868125 | SWITCH TEMPERATURE | SANDVIK 002893-003 | SANDVIK | 022893-003 | ARNOLD MACHINERY | 022893-003 | https://supply.parts/request/view?id=198309 |  | SANDVIK | 022893-003 |  |  | ARNOLD MACHINERY | 022893-003 | 39122229 | Temperature switch |  |  | SWITCH | TEMPERATURE |  |  | TYPE |  | ELECTRICAL RATING |  | TEMPERATURE RATING |  | ACTION |  | CONTACT ARRANGEMENT |  | CONNECTION |  | CONTACT |  | ENCLOSURE |  | STANDARD | [41 empty] | Production Completed
861897 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 861897 | TESTER PH/TEMP WATERPROOF | OAKTON PHTESTR 30 | OAKTON INSTRUMENTS | PHTESTR 30 | USA BLUE BOOK | 51752 | http://www.eutechinst.com/pdt-type-pocket-testers-phtestr30.html |  | OAKTON INSTRUMENTS | PHTESTR 30 |  |  | USA BLUE BOOK | 51752 | 41111900 | Indicating and recording instruments |  |  | TESTER | NONE |  |  | TYPE | WATERPROOF PH/TEMPERATURE | RANGE | -1 TO 15PH | RESOLUTION | 0.01PH | [52 empty] | Production Completed
879317 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 879317 | THERMOMETER BIML EI 9" STEM | -20/120 DEG 10390326-3 | ASHCROFT | 10390326-3 | FERGUSON | 30EI60R-090 -20/120F | https://www.ashcroft-usa.com/pdf/datasheet_ei_bimetal_therm.pdf |  | ASHCROFT | 30EI60R-090 -20/120F |  | 10390326-3 | FERGUSON | 30EI60R-090 -20/120F | 41112200 | Temperature and heat measuring instruments |  |  | THERMOMETER | DIAL | SERIES: EI |  | TYPE | BIMETAL | RANGE | -20 TO 120DEG F | GRADUATIONS |  | STEM LENGTH | 9IN | DIAL DIAMETER | 3IN | CONNECTION SIZE/TYPE | 1/2IN NPT | CONNECTION LOCATION | REAR | CONNECTION MATERIAL |  | MATERIAL | 304 STAINLESS STEEL | [40 empty] | Production Completed
43661 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 43661 | CABLE TIE 1.6MM 30M GALV |  | ROBERTS | 9130352 |  |  | URL NOT FOUND |  | ROBERTS | 9130352 |  |  |  |  | 39121703 | Cable ties |  |  | TIE | CABLE |  |  | TYPE |  | DIAMETER RANGE |  | WIDTH | 1.6MM | LENGTH | 30M | STRENGTH |  | MATERIAL |  | COLOR | [45 empty] | Production Completed
56222 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 56222 | CABLE TIE CABCT98BK/100 2.5X10 | 0MM BLK PKG/100 | CABAC | CT98BK/100 | ELECTRICAL WHOLESALE SERVICES | CABCT98BK/100 | https://www.cabac.com.au/p/cable-wire-management/cable-ties-mounts/nylon-ties/ct98bk-100 | https://www.cabac.com.au/amfile/file/download/file/110374/product/139933/ | CABAC | CT98BK/100 |  |  | ELECTRICAL WHOLESALE SERVICES | CABCT98BK/100 | 39121703 | Cable ties |  |  | TIE | CABLE | PACKAGE QUANTITY: 100/PACK |  | TYPE |  | DIAMETER RANGE |  | WIDTH | 2.5MM | LENGTH | 100MM | STRENGTH | 8.2KG | MATERIAL | NYLON | COLOR | BLACK | [44 empty] | Production Completed
70300 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 70300 | TRANSFORMER 44234 LEGRAND 160V | A 24-48V | LEGRAND | 44234 | REXEL AUSTRALIA | 44234-LEG | https://www.legrand.com/ecatalogue/044234-control-and-signal-transfo-1.html |  | LEGRAND | 044234 |  |  | REXEL AUSTRALIA | 44234-LEG | 39121026 | Control power transformer |  |  | TRANSFORMER | CONTROL |  |  | TYPE |  | VOLTAGE | 230/400VAC, 24/48VA | KVA RATING | 160VA | PHASE | 1PH | AMPERAGE |  | ENCLOSURE |  | MOUNTING | DIN RAIL | SIZE | 94MM WD X 113MM LG X 112MM DP | [42 empty] | Production Completed
866652 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 866652 | TRANSFORMER CURRENT PEX-W3 | BOSCH 8101307348 | BOSCH PACKAGING | 8101307348 |  |  | https://ropex.de/de/dokumentation/komponenten.html?file=files/downloads_secure/doc/zubehoer/PEX-W3_e.pdf | https://www.radwell.co.uk/en-GB/Buy/ROPEX/ROPEX/PEX-W3/?redirect=true | ROPEX | PEX-W3 | BOSCH PACKAGING | 8101307348 |  |  | 39121032 | Current transformer |  |  | TRANSFORMER | CURRENT |  |  | TYPE |  | AMP RATIO |  | RATING |  | FREQUENCY RATING |  | CONNECTION |  | BURDEN |  | ACCURACY CLASS |  | ENCLOSURE | IP20 | STANDARD | [41 empty] | Production Completed
864775 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 864775 | TRANSFORMER DRUL30000DX UL-CSA | RIEDEL 0323-00030000 | MICHAEL RIEDEL TRANSFORMERS | 0323-00030000 |  |  | https://www.riedel-trafobau.de/qfcp_data/files/complete_range_14.pdf |  | MICHAEL RIEDEL TRANSFORMERS | 0323-00030000 |  | DRUL30000DX UL-CSA |  |  | 39121000 | Power conditioning equipment |  |  | TRANSFORMER | NONE |  |  | TYPE |  | KVA RATING | 30KVA | PRIMARY VOLTAGE | 200 TO 600VAC | SECONDARY VOLTAGE |  | PHASE | 3PH | FREQUENCY RATING | [47 empty] | Production Completed
913433 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-17 |  | 913433 | TRANSMITTER MV LOAD CELL | AMPLIFIER PR ELECTRONICS 2261 | PR ELECTRONICS | 2261 | FIELD INSTRUMENTS CONTROLS | 2261 | https://www.prelectronics.com/products/special-devices/2200/mv-transmitter-2261/ | https://www.prelectronics.com/filearkiv/pdf-ftp/2200%20series/2261/manual/2261v102_uk.pdf | PR ELECTRONICS | 2261 |  |  | FIELD INSTRUMENTS CONTROLS | 2261 | 41111900 | Indicating and recording instruments |  |  | TRANSMITTER | NONE | W/LOAD CELL AMPLIFIER |  | TYPE | MV | INPUT RANGE | -40 TO 100MV | OUTPUT RANGE | 0 TO 20MA | SUPPLY RATING | 19.2 TO 28.8VDC | OUTPUT RATING | [49 empty] | Production Completed
904888 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-20 | Conflict in Description, Processed based on websource | 904888 | SENSOR PRESS 0-10BAR VIN 10- | 30V JUMO 546121 | JUMO | 546121 | COLUMBIA FOOD MACHINERY | 5000-1302-002-2 | https://assets.alliedelec.com/v1576235339/Datasheets/2aebfa68e18eb6f7274411042ff5453e.pdf |  | JUMO | 546121 |  |  | COLUMBIA FOOD MACHINERY | 5000-1302-002-2 | 41112410 | Pressure transmitters |  |  | TRANSMITTER | PRESSURE |  |  | TYPE |  | INPUT RANGE | 0 TO 10BAR | OUTPUT RANGE |  | SUPPLY RATING | 10 TO 30VDC | OUTPUT RATING | 4 TO 20MA | CONNECTION SIZE/TYPE | [47 empty] | Production Completed
910928 | STP-018 | Data Enrichment | SCV | SCV | CHECK SIZE | 2022-06-17 | 2022-06-17 |  | 910928 | WASHER LOCK 1.396"ID 2-1/4"OD | STEEL STANDARD W07 | STANDARD | W07 | MOTION INDUSTRIES | 00553943 | https://www.motionindustries.com/products/sku/00553943 |  | STANDARD | W07 |  |  | MOTION INDUSTRIES | 00553943 | 31161822 | Tooth lock washer |  |  | WASHER | BEARING LOCK | MATERIAL: STEEL |  | INDUSTRY STANDARD | W07 | SIZE | 1.396IN ID X 2.25IN OD X 0.04IN THK | [54 empty] | Production Completed
141478 | STP-018 | Data Enrichment | SCV | SCV | CHECK SIZE | 2022-06-17 | 2022-06-20 |  | 141478 | WHEEL CUTTING 1/2" TO 2" PIPE | RIDGID 33110 | RIDGID | 33110 |  |  | https://bcfasteners.com/shop/ridgid-33110-f-3s-heavy-duty-pipe-cutter-wheel/ |  | RIDGID | 33110 |  |  |  |  | 23241600 | Metal cutting tools |  |  | WHEEL | CUTTER |  |  | TYPE | HEAVY DUTY | DIAMETER | 1/2 TO 2IN PIPE | THICKNESS |  | ARBOR |  | MATERIAL | STAINLESS STEEL | [48 empty] | Production Completed
897623 | STP-018 | Data Enrichment | SCV | SCV | OK | 2022-06-17 | 2022-06-17 |  | 897623 | CASTER WHEEL 5X2 W/BRG | ALBION TM0520112 | ALBION | TM0520112 | MOTION INDUSTRIES | 05365261 | https://albioncasters.com/wheel/tm0520112/ |  | ALBION | TM0520112 |  |  | MOTION INDUSTRIES | 05365261 | 31162701 | Casters |  |  | WHEEL | NONE | W/BEARING |  | TYPE | CASTER | SIZE | 5IN DIA X 2IN WD | MATERIAL | PHENOLIC | CAPACITY | 1000LB | [50 empty] | Production Completed
885172 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 885172 | WRENCH IMPACT 1/2" DRIVE | CORDLESS MILWAUKEE 2662-22 | MILWAUKEE TOOL | 2662-22 | MSC INDUSTRIAL | 93566156 | https://www.milwaukeetool.com/Products/Power-Tools/Fastening/Impact-Wrenches/2662-22#sp-specs |  | MILWAUKEE TOOL | 2662-22 |  |  | MSC INDUSTRIAL | 93566156 | 27112713 | Impact wrenches |  |  | WRENCH | IMPACT |  |  | TYPE | HIGH TORQUE | DRIVE SIZE | 1/2IN | SPEED | 1900RPM | TORQUE | 450FT-LB | POWER SOURCE | 18V | [48 empty] | Production Completed
900333 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 900333 | WRENCH 1/2 IMPACT | CHICAGO PNEUMATIC CP7749 | CHICAGO PNEUMATIC | CP7749 | MOTION INDUSTRIES | 05085837 | https://tools.cp.com/en-in/products/impactwrenches/cp7749 |  | CHICAGO PNEUMATIC | CP7749 |  |  | MOTION INDUSTRIES | 05085837 | 27112713 | Impact wrenches |  |  | WRENCH | IMPACT |  |  | TYPE | PNEUMATIC | DRIVE SIZE | 1/2IN | SPEED | 7000RPM | TORQUE | 1300NM | POWER SOURCE | [49 empty] | Production Completed
907267 | STP-018 | Data Enrichment | SCV | SCV | ok | 2022-06-17 | 2022-06-20 |  | 907267 | DRIVER IMPACT HEX 1/4" M18 | MILWAUKEE 2853-20 | MILWAUKEE TOOL | 2853-20 | MOTION INDUSTRIES | 07777364 | https://www.milwaukeetool.com/Products/Power-Tools/Fastening/Impact-Drivers/2853-20#sp-specs |  | MILWAUKEE TOOL | 2853-20 |  |  | MOTION INDUSTRIES | 07777364 | 27112713 | Impact wrenches |  |  | WRENCH | IMPACT |  |  | TYPE |  | DRIVE SIZE | 1/4IN HEX | SPEED | 0 TO 3600RPM | TORQUE | 2000IN-LB | POWER SOURCE | 18V | [48 empty] | Production Completed