## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Material | Plant | No | Material Description | Industry sector | Material Type | Material Group | Base Unit of Measure | Input Value Catted | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | Art / Article Number | Mfg Number | Enriched/cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Additional | Attribute Name 1 | AttributeValue 1 | Attribute Name 2 | AttributeValue 2 | Attribute Name 3 | AttributeValue 3 | Attribute Name 4 | AttributeValue 4 | Attribute Name 5 | AttributeValue 5 | Attribute Name 6 | AttributeValue 6 | Attribute Name 7 | AttributeValue 7 | Attribute Name 8 | AttributeValue 8 | Attribute Name 9 | AttributeValue 9 | Attribute Name 10 | AttributeValue 10 | Attribute Name 11 | AttributeValue 11 | Attribute Name 12 | AttributeValue 12 | Attribute Name 13 | AttributeValue 13 | Attribute Name 14 | AttributeValue 14 | Attribute Name 15 | AttributeValue 15 | Attribute Name 16 | AttributeValue 16 | Attribute Name 17 | AttributeValue 17 | Attribute Name 18 | AttributeValue 18 | Attribute Name 19 | AttributeValue 19 | Attribute Name 20 | AttributeValue 20 | Attribute Name 21 | AttributeValue 21 | Attribute Name 22 | AttributeValue 22 | Attribute Name 23 | AttributeValue 23 | Attribute Name 24 | AttributeValue 24 | Attribute Name 25 | AttributeValue 25 | Attribute Name 26 | AttributeValue 26 | Attribute Name 27 | AttributeValue 27 | Attribute Name 28 | AttributeValue 28 | Attribute Name 29 | AttributeValue 29 | Attribute Name 30 | AttributeValue 30 | Status
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 406688 | 9301 | 406688 | 500W POWER SUPPLY 120MM COOLING FAN | M | ZSPA | 061290 | PC | POWER SUPPLY ¦ 500W POWER SUPPLY ¦ CORSAIR ¦ CX500 ¦ 120MM COOLING FAN ¦ SINGLE 12V RAIL 38 AMPS | https://www.corsair.com/us/en/Categories/Products/Power-Supply-Units/CX-SERIES/p/CP-9020047-NA |  | CORSAIR | CX500 | [22 empty] | cleansed |  | POWER SUPPLY | NONE | W/120MM COOLING FAN,W/O SINGLE 12V RAIL | TYPE |  | INPUT RATING | 500W | OUTPUT VOLTAGE |  | OUTPUT AMPERAGE | 38A | [52 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 189804 | 9669 | 189804 | AC-MOTOR 11,0KW 400/690V 1500R B35 | M | ZSPA | 061201 | PC | AC-MOOTTORI ¦ 1LE1003-1DB23-4JA4 ¦ RAUTE NO. 3018839 | https://plc-trade.com/mpn/1le1003-1db23-4ja4/ | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/1LE10031DB234JA4 | SIEMENS | 1LE1003-1DB23-4JA4 | [22 empty] | Enriched |  | MOTOR | ELECTRIC, AC | RAUTE NO:3018839 | TYPE | LOW VOLTAGE | POWER | 11KW | VOLTAGE | 400/690VAC | PHASE | 3PH | FREQUENCY RATING | 50/60HZ | AMPERAGE |  | SPEED | 1500RPM | POLE | 4P | FRAME | 160M | ENCLOSURE | IP55 | SERVICE FACTOR |  | SHAFT SIZE |  | BRAKE |  | MOUNT | B35 | LENGTH |  | INSULATION |  | TEMPERATURE RATING | 155F | [26 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 407013 | 9301 | 407013 | AUXILIARY CONTACT BLOCK 3RH2911-1FA04 | M | ZSPA | 061290 | PC | AUXILIARY CONTACT BLOCK ¦ 3RH2911-1FA04 ¦ SIEMENS ¦ 3RH2911-1FA04 ¦ 0NO+4NC ¦ RS: 706-0876 | https://docs.rs-online.com/9ee0/0900766b80ebd50e.pdf | https://my.rs-online.com/web/p/auxiliary-contacts/7060876 | SIEMENS | 3RH2911-1FA04 | [6 empty] | RS COMPONENT | 706-0876 | [14 empty] | Enriched |  | BLOCK | CONTACT |  | TYPE | AUXILIARY | VOLTAGE | 690VAC | AMPERAGE | 6A | TERMINAL | SCREW | CIRCUITS |  | CONTACT ARRANGEMENT | 4N/C | [48 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 402533 | 9304 | 402533 | BEARING 6206 KKU C3 5C | M | ZSPA | 060890 | PC | BEARING ¦ BEARING 6206 KKU C3 5C ¦ NTN ¦ BEARING 6206 KKU C3 5C | https://eshop.ntn-snr.com/en/product/6206C3-NTN/6206C3 |  | NTN | 6206 KKU C3 5C | [22 empty] | Enriched |  | BEARING | BALL |  | TYPE | DEEP GROOVE | NUMBER OF ROWS | SINGLE | INSIDE DIAMETER | 30MM | OUTSIDE DIAMETER | 62MM | WIDTH | 16MM | SERIES |  | STYLE | OPEN | RADIAL CLEARANCE | C3 | CAGE MATERIAL | PRESSED STEEL | IBI GROUP NUMBER | [41 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 403268 | 9301 | 403268 | BELLEVILLE WASHER CM0010133 | M | ZSPA | 060763 | PC | WASHER ¦ BELLEVILLE WASHER CM0010133 ¦ ARCA ¦ CM0010133 | https://packsyst.ru/repdetails/arca/dyn-vint-krepleniya-pillera-d3x8/ |  | ARCA | CM0010133 | [22 empty] | cleansed |  | WASHER | BEVEL |  | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIMENSIONS |  | SMALLEST THICKNESS |  | LARGEST THICKNESS |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE | [43 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | REVEIW SIZE & MATERIAL | 198444 | 9671 | 198444 | BLADDER 32L 7/8-14UNF/VG5 NBR20/P460 | M | ZSPA | 061490 | PC | BLADDER ¦ 32L 7/8-14UNF/VG5 NBR20/P460 ¦ NBR ¦ HYDAC ¦ 235335 | https://www.hydac.com/shop/en/235335 |  | HYDAC | 235335 | [22 empty] | Enriched |  | BLADDER | ACCUMULATOR | VOLUME:32L | SIZE | 7/8IN-14TPI UNF/VG5 | SERVICE |  | PRESSURE RATING |  | MATERIAL | NBR20/P460 | [52 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 407145 | 9535 | 407145 | CAPACITIVE SENSOR BC20-CP40-FZ3X2 | M | ZSPA | 061301 | PC | CAPACITIVE SENSOR ¦ BC20-CP40-FZ3X2 ¦ TURCK ¦ 23105 ¦ 20...250 VAC ¦ NC/NO ¦ SN 20MM | https://www.electronicsdatasheets.com/download/520e22b4e34e24f27797c3d2.pdf?format=pdf |  | TURCK | BC20-CP40-FZ3X2 | TURCK | 23105 | [20 empty] | Enriched |  | SENSOR | PROXIMITY |  | MODE |  | ELECTRICAL RATING | 20-250VAC | SIZE |  | STYLE | CAPACITIVE | RANGE | 20MM | MOUNT | FLUSH | CONNECTION | TERMINAL CHAMBER | OUTPUT | N/O N/C | SWITCHING FREQUENCY | 0.02KHZ | BODY MATERIAL | PLASTIC,PBT | CABLE LENGTH |  | ENCLOSURE | IP67 | [36 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 199053 | 9669 | 199053 | CIRCUIT BREAKER 5SY6206-7 | M | ZSPA | 061106 | PC | CIRCUIT BREAKER ¦ 5SY6206-7 ¦ SIEMENS ¦ 2115275 ¦ 400V ¦ 6KA ¦ 2-POLE ¦ C | https://docs.rs-online.com/1043/A700000006610256.pdf |  | SIEMENS | 5SY6206-7 | SIEMENS | 2115275 | [20 empty] | Enriched |  | CIRCUIT BREAKER | MINIATURE |  | VOLTAGE | 400VAC | AMPERAGE | 6A | INTERRUPTING CAPACITY | 6KA | TRIP CURVE | C | POLE | 2P | CONNECTION | SCREW | MOUNTING | [47 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 145888 | 9301 | 145888 | COIL 230V-50/60HZ16VA 0498322409 | M | ZSPA | 061590 | PC | BOSCH REXROTH OY ¦ 16W ¦ 230V | https://www.valves-direct.com/product/aventics-0498322409-coil-series-co1-co1-form_a-230ac-160va-30mm-2/ |  | BOSCH REXROTH OY | [23 empty] | Enriched |  | COIL | ELECTRICAL |  | FUNCTION | PNEUMATIC VALVE | ELECTRICAL RATING | 230VAC,50/60HZ,16W,16VA | [56 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 127607 | 9669 | 127607 | CONTACTOR LP4K0910BW3 | M | ZSPA | 061290 | PC | 24VDC ¦ TELEMECANIQUE | https://www.se.com/in/en/product/LP4K0910BW3/tesys-k-contactor---3p---ac-3-%3C%3D-440-v-9-a---1-no-aux.---24-v-dc-coil/ |  | TELEMECANIQUE | LP4K0910BW3 | [22 empty] | Enriched |  | CONTACTOR | MOTOR |  | TYPE |  | COIL VOLTAGE | 24VDC | AMPERAGE | 20A | LINE VOLTAGE | 440VAC | POWER RATING | 1,8W | POLE | 3P | AUXILIARY CONTACTS | 3N/O | ENCLOSURE |  | NEMA/IEC RATING | IEC 60947-4-1 | [42 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | MFR UPDATED AS PER WEB SOURCE | 141090 | 9669 | 141090 | CONTROL SWITCH CG8 A200FT2-VG221 | M | ZSPA | 061290 | PC |  | https://www.kayo.co.th/2019/12/kraus-naimer-cam-switch.html |  | KRAUS & NAIMER | CG8 A200FT2-VG221 | [22 empty] | Enriched |  | SWITCH | SELECTOR |  | TYPE | CONTROL | DESIGNATION |  | OPERATOR | CAM | ELECTRICAL RATING |  | ACTION |  | CONTACT ARRANGEMENT |  | POSITION |  | OPERATED |  | ENCLOSURE |  | STANDARD | [41 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 407861 | 9670 | 407861 | COVER R430183 | M | ZSPA | 060890 | PC | RAUTE ¦ R430183 | URL NOT FOUND |  | RAUTE | R430183 | [22 empty] | cleansed |  | COVER | NONE |  | TYPE |  | SIZE |  | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 136686 | 9301 | 136686 | DEEP GROOVE BALL BEARING 6208 2Z | M | ZSPA | 060890 | PC | SKF | https://www.skf.com/in/products/rolling-bearings/ball-bearings/deep-groove-ball-bearings/productid-6208-2Z |  | SKF | 6208 2Z | [22 empty] | Enriched |  | BEARING | BALL |  | TYPE | DEEP GROOVE | NUMBER OF ROWS | SINGLE | INSIDE DIAMETER | 40MM | OUTSIDE DIAMETER | 80MM | WIDTH | 18MM | SERIES |  | STYLE | DOUBLE SHIELDED | RADIAL CLEARANCE | CN | CAGE MATERIAL | STEEL | IBI GROUP NUMBER | [41 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 110486 | 9301 | 110486 | DIGITAL IN/OUT MODULE 6ES5 482-8MA13 | M | ZSPA | 061301 | PC | SIMATIC S5-100U ¦ SIEMENS | https://sps-service.eu/media/catalog/product/6/e/6es5_482-8ma13_datasheet_en.pdf |  | SIEMENS | 6ES5 482-8MA13 | [13 empty] | SIMATIC S5-100U | SIEMENS | [7 empty] | Enriched |  | MODULE | NONE |  | TYPE |  | FUNCTION | 4 CHANNEL DIGITAL INPUT/OUTPUT | INPUT | 24VDC,4,5MA | OUTPUT | 24VDC,0,5MA | ELECTRICAL RATING | 12VAC,4,5W | [50 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 400526 | 9302 | 400526 | E10191 STRUCK CABLE | M | ZSPA | 061101 | PC | SOCKET ¦ SOCKET 1/2IN CONNECTOR ¦ IFM ¦ ADOGA030MSS0005E03/E10191 | https://plc-trade.com/mpn/e10191/ |  | IFM | ADOGA030MSS0005E03 | IFM | E10191 | [20 empty] | Enriched |  | CABLE | ELECTRICAL |  | TYPE | STRUCK | VOLTAGE | 20-30V | NUMBER OF CONDUCTOR |  | CONDUCTOR SIZE |  | NUMBER OF STRANDS |  | LENGTH | 42,5MM | CONDUCTOR MATERIAL |  | INSULATION COLOR |  | INSULATION MATERIAL |  | INSULATION SHIELD |  | INSULATION THICKNESS |  | JACKET COLOR | YELLOW | JACKET MATERIAL | THERMOPLASTIC POLYURETHANE | METALLIC SHEATH |  | METALLIC SHIELD |  | ARMOR |  | BEDDING |  | STANDARD | [25 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 402892 | 9301 | 402892 | END CAP FOR SHAFT KM13 | M | ZSPA | 062207 | PC | END CAP ¦ KM13 ¦ KM13 | URL NOT FOUND | [25 empty] | cleansed |  | CAP | NONE | FOR SHAFT KM13 | TYPE | END | CONNECTION SIZE/TYPE |  | SIZE |  | MATERIAL | [53 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 405067 | 9301 | 405067 | FEEDER SPRING 0.4X3.0X142MM | M | ZSPA | 061590 | PC | SPRING ¦ FEEDER SPRING 0.4X3.0X142MM ¦ BEA ¦ `14400053 | https://www.sampa.com/en/productdetail?code=14400053 |  | BEA | 14400053 | [22 empty] | cleansed |  | SPRING | NONE |  | TYPE | FEEDER | SIZE | 0,4X3X142MM | SURFACE TREATMENT |  | MATERIAL | [53 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 405048 | 9301 | 405048 | FORKLIFT BULB 24V 70W H3 | M | ZSPA | 061290 | PC | LIGHT BULB ¦ BULB 24V 70W H3 ¦ LUCAS ¦ LLB460 | https://www.bowerspartsonline.co.uk/lighting/bulbs/lucas-bulb-24v-70w-h3-llb460 |  | LUCAS | LLB460 | [12 empty] | FORKLIFT | [9 empty] | cleansed |  | LAMP | INCANDESCENT |  | TYPE | HALOGEN,LIGHT | WATTAGE | 70W | VOLTAGE | 24V | COLOR |  | BULB STYLE | H3 | BASE |  | MAXIMUM OVERALL LENGTH |  | LUMENS |  | APPROXIMATE LIFE HOURS | [43 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 406748 | 9304 | 406748 | FUSE 16A RED SPOT | M | ZSPA | 061290 | PC | FUSE ¦ FUSE 16A RED SPOT ¦ RS ¦ NIT16 ¦ 414-639 | https://www.eaton.com/au/en-gb/skuPage.NIT16.html | https://in.rsdelivers.com/product/eaton/nit16/eaton-16a-british-standard-fuse-a1-550v-ac-445mm/0414639 | EATON | NIT16 | [6 empty] | RS COMPONENT | 414-639 | [14 empty] | Enriched |  | FUSE | NONE | SERIES:RED SPOT | TYPE | LOW VOLTAGE | VOLTAGE | 550VAC/DC | AMPERAGE | 16A | INTERRUPTING CAPACITY | 80KA | CONNECTION | OFFSET BOLTED TAG | CLASS | GG/GL | BODY MATERIAL |  | SIZE | 56X14MM | [44 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 400714 | 9304 | 400714 | FUSE TBC63M100 | M | ZSPA | 061290 | PC | FUSES ¦ FUSES ¦ LAWSON ¦ TBC63M100 | https://www.eaton.com/us/en-us/skuPage.TBC63M100.html |  | LAWSON | TBC63M100 | [22 empty] | Enriched |  | FUSE | NONE |  | TYPE | LOW VOLTAGE | VOLTAGE | 415VAC/DC | AMPERAGE | 63A | INTERRUPTING CAPACITY | 80KA | CONNECTION | CENTER OFFSET BOLTED TAG | CLASS | GM | BODY MATERIAL |  | SIZE | 221X134X54MM | [44 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 407423 | 9672 | 407423 | GEAR MOTOR R37 DRN80MK4 | M | ZSPA | 061207 | PC | GEAR MOTOR ¦ R37 DRN80MK4 ¦ SEW EURODRIVE ¦ R37 DRN80MK4 ¦ 0,55KW ¦ 230/400V ¦ 1435/39RPM ¦ M5 ¦ KYT.KOT AS 0 AST. | https://documents.mrosupply.com/product_documents/64/23/6423379/420029944_100_R37_DRN80MK4_TF_ProductData_en_DE.pdf | https://www.mrosupply.com/electric-motors/6423379_r37-drn80mk4tf-so-013069629401000101_sew-eurodrive/ | SEW EURODRIVE | R37 DRN80MK4 | [22 empty] | Enriched |  | GEARMOTOR | ELECTRIC, AC | KYT.KOT AS 0 AST. | TYPE | HELICAL | POWER | 0,75HP | INPUT SPEED | 1435RPM | OUTPUT SPEED | 39RPM | OUTPUT TORQUE | 200NM | GEAR RATIO | 48,08:00 | VOLTAGE | 230/400VAC | PHASE |  | FREQUENCY RATING | 60HZ | AMPERAGE | 1,92A | WATTAGE | 0,55KW | POLE |  | FRAME |  | ENCLOSURE | IP55 | SERVICE FACTOR | 1,4 | SHAFT SIZE | 25X50MM | BRAKE |  | MOUNT | M5 | [24 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | PARTIAL MATCH | 402019 | 9302 | 402019 | GLAND KIT PDW20S | M | ZSPA | 062107 | PC | GLAND KIT ¦ GLAND KIT ¦ PDW20S | https://www.powerandcables.com/product/product-category/bw20s-brass-cable-gland-kit/ |  |  | PDW20S | [22 empty] | cleansed |  | KIT | NONE |  | STYLE |  | TYPE |  | APPLICATION |  | CONTAINS | [53 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 112878 | 9301 | 112878 | GROOVE BALL BEARING 6212 2RS1 C3 | M | ZSPA | 060890 | PC | SKF | https://www.skf.com/mena/productinfo/productid-6212-2RS1%2FC3 |  | SKF | 6212 2RS1 C3 | [22 empty] | Enriched |  | BEARING | BALL |  | TYPE | DEEP GROOVE | NUMBER OF ROWS | SINGLE | INSIDE DIAMETER | 60MM | OUTSIDE DIAMETER | 110MM | WIDTH | 22MM | SERIES |  | STYLE | DOUBLE SEALED | RADIAL CLEARANCE | C3 | CAGE MATERIAL | STEEL | IBI GROUP NUMBER | [41 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | P/N UPDATED AS PER WEB SOURCE | 181643 | 9535 | 181643 | HYDR.PUMPPU WPO9A1B160R07NB-150N | M | ZSPA | 061490 | PC | WPO9A1B160R07NB-150N ¦ WASTIP OY | http://sml-group.ru/f/katalog_wp09.pdf | https://www.deka-hydraulic.com/products/haldex-pump-wp09a1b-160-r-06-nb-160-n-5945 | WASTIP OY | WP 09 A 1 B 160 R 07 NB 150 N | [22 empty] | Enriched |  | PUMP | HYDRAULIC |  | TYPE | SINGLE SECTION | SIZE | 106,4X51,4MM | CAPACITY |  | RATING | 276BAR | SPEED | 3000RPM | DRIVER | [49 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | SERIES MATCH | 403036 | 9301 | 403036 | INDICATOR LAMP 3SB12 12 | M | ZSPA | 061106 | PC | LIGHT BULB ¦ 3SB12 12 ¦ 3SB12 12 | http://3.imimg.com/data3/SL/JF/MY-2927132/siemens-push-buttons-and-limit-switches.pdf |  |  | 3SB12 12 | [22 empty] | cleansed |  | LIGHT | INDICATING |  | TYPE |  | LAMP TYPE |  | VOLTAGE | 230/240VAC | AMPERAGE |  | COLOR |  | MOUNT |  | CONNECTION | [47 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 195427 | 9669 | 195427 | INDUCTIVE SENSOR XS8C4A1MPG13 | M | ZSPA | 061301 | PC | 40X117 24 240V ¦ XS8C4A1MPG13 ¦ TELEMECANIQUE | https://www.se.com/ww/en/product/XS8C4A1MPG13/inductive-proximity-sensors-xs-inductive-sensor-xs8-40x40x117-pbt-sn20-mm-24-240vac-dc-terminals/ |  | TELEMECANIQUE | XS8C4A1MPG13 | [22 empty] | Enriched |  | SENSOR | PROXIMITY |  | MODE |  | ELECTRICAL RATING | 24-240VAC/DC,60HZ | SIZE | 40X40X117MM | STYLE | INDUCTIVE | RANGE | 0-16MM | MOUNT | FLUSH | CONNECTION | SCREW CLAMP | OUTPUT | 1N/O 1N/C | SWITCHING FREQUENCY | 25/50HZ | BODY MATERIAL | PLASTIC | CABLE LENGTH |  | ENCLOSURE | IP65/67/69K | [36 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 194860 | 9669 | 194860 | INTERFACE MODULE 6ES7174-0AA10-0AA0 | M | ZSPA | 061301 | PC | 6ES7174-0AA10-0AA0 ¦ SIEMENS | https://datasheet.octopart.com/6ES7174-0AA10-0AA0-Siemens-datasheet-14366895.pdf | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7174-0AA10-0AA0 | SIEMENS | 6ES7174-0AA10-0AA0 | [22 empty] | Enriched |  | MODULE | NONE |  | TYPE |  | FUNCTION | 4 CHANNEL INTERFACE | INPUT | 5VDC,100MA | OUTPUT | 24VDC,300MA | ELECTRICAL RATING | [51 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 406958 | 9304 | 406958 | LOCKING RING 00223842 | M | ZSPA | 060780 | PC | LOCKING RING ¦ 00223842 ¦ WEINIG ¦ 00223842 | URL NOT FOUND |  | WEINIG | 00223842 | [22 empty] | cleansed |  | RING | LOCK |  | TYPE |  | SIZE |  | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 406835 | 9535 | 406835 | LOGIC MODULE 6ED1052-1FB08-0BA1 | M | ZSPA | 060490 | PC | LOGIC MODULE ¦ 6ED1052-1FB08-0BA1 ¦ SIEMENS ¦ 6ED1052-1FB08-0BA1 ¦ LOGO 230RCE | https://docs.rs-online.com/cca9/A700000007202398.pdf |  | SIEMENS | 6ED1052-1FB08-0BA1 | [22 empty] | Enriched |  | MODULE | NONE |  | TYPE | LOGIC | FUNCTION | 8 CHANNEL DIGITAL INPUT | INPUT | 115/230VDC | OUTPUT |  | ELECTRICAL RATING | [51 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | SURFACE TREATMENT UPDATED AS PER WEB SOURCE | 403173 | 9301 | 403173 | M8X40MM STUD BRIGHT STEEL | M | ZSPA | 062207 | PC | STEEL STUDDING ¦ BRIGHT STEEL ¦ RS ¦ 769-6305 ¦ 769-6285 | https://in.rsdelivers.com/product/rs-pro/rs-pro-plain-steel-threaded-rod-m8-40mm/7696285 | [9 empty] | RS COMPONENT | 769-6305 | RS COMPONENT | 769-6285 | [12 empty] | Enriched |  | ROD | THREADED |  | TYPE | STUD | DIAMETER | M10 | THREADS |  | LENGTH | 60MM | WEIGHT |  | PROCESS |  | SURFACE TREATMENT | PLAIN | MATERIAL | STEEL | SPECIFICATION |  | GRADE | [41 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 108216 | 9535 | 108216 | MOTOR CIRCUIT BREAKER GV2-ME08 2,5-4,0A | M | ZSPA | 061290 | PC | GV2-ME08 2,5-4,0A ¦ TELEMECANIQUE ¦ 2,5-4,0A | https://www.se.com/in/en/product/GV2ME08/motor-circuit-breaker-tesys-gv2-3p-2-54-a-thermal-magnetic-screw-clamp-terminals/ |  | TELEMECANIQUE | GV2ME08 | [22 empty] | Enriched |  | CIRCUIT BREAKER | MOTOR |  | VOLTAGE | 690VAC | AMPERAGE | 2,5-4A | POWER RATING | 3KW | CONNECTION | SCREW CLAMP | INTERRUPTING CAPACITY | 3KA | POLE | 3P | PHASE | 3PH | FREQUENCY | 50/60HZ | TRIP | THERMAL MAGNETIC | FRAME SIZE |  | STANDARD | EN/IEC 60947-2 | [38 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 157323 | 9301 | 157323 | MOTOR CIRCUIT BREAKER GV2-ME16 9-14A | M | ZSPA | 061290 | PC | 3781073-9 ¦ GV2-ME16 9-14A ¦ TELEMECANIQUE ¦ 9-14A | https://www.se.com/in/en/product/GV2ME16/motor-circuit-breaker-tesys-gv2-3p-914-a-thermal-magnetic-screw-clamp-terminals/ |  | TELEMECANIQUE | GV2ME16 | [22 empty] | Enriched |  | CIRCUIT BREAKER | MOTOR | REF:3781073-9 | VOLTAGE | 690VAC | AMPERAGE | 9-14A | POWER RATING | 9KW | CONNECTION | SCREW CLAMP | INTERRUPTING CAPACITY | 3KA | POLE | 3P | PHASE | 3PH | FREQUENCY | 50/60HZ | TRIP | THERMAL MAGNETIC | FRAME SIZE |  | STANDARD | EN/IEC 60947-2 | [38 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 117789 | 9535 | 117789 | OUTPUT MODULE 6ES7 422-1BL00-0AA0 | M | ZSPA | 061301 | PC | 6ES7422-1BL00-0AA0 ¦ SIEMENS | https://www.nexinstrument.com/assets/images/pdf/6ES74221BL000AA0.pdf |  | SIEMENS | 6ES7422-1BL00-0AA0 | [22 empty] | Enriched |  | MODULE | NONE |  | TYPE |  | FUNCTION | 32 CHANNEL DIGITAL OUTPUT | INPUT |  | OUTPUT | 24VDC,0,5A | ELECTRICAL RATING | [51 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 406225 | 9301 | 406225 | OUTPUT TERMINAL INTERFACE MODULE | M | ZSPA | 061301 | PC | TERMINAL ¦ OUTPUT TERMINAL ¦ OMRON ¦ DRT1-0D08-1 ¦ TFM 01/09/20 | https://www.edata.omron.com.au/eData/Networks/DeviceNet/W347-E1-06.pdf |  | OMRON | DRT1-0D08-1 | TFM | [21 empty] | Enriched |  | MODULE | NONE | 01/09/20 | TYPE |  | FUNCTION | 8 CHANNEL OUTPUT TERMINAL INTERFACE | INPUT |  | OUTPUT | 1,2V,2,4A | ELECTRICAL RATING | [51 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 132577 | 9301 | 132577 | PHOTOELECTRIC SENSOR E3GMR19TG OMRON | M | ZSPA | 061301 | PC | PEILIHEIJASTAVA ¦ OMRON, TOIM. RADIKI ¦ E3GMR19TG ¦ I2-240VDC/24-240 VAC ¦ ON/OFF 0...55 ¦ 10M | https://www.bpx.co.uk/store/product/e3gmr19tg |  | OMRON | E3GMR19TG | RADIKI | [21 empty] | Enriched |  | SENSOR | PHOTOELECTRIC | TEMPERATURE RATING:0-50C,ON/OFF,TOIM | MODE | MIRROR REFLECTION,RETROREFLECTIVE | ELECTRICAL RATING | 24-240VAC,12-240VDC | OUTPUT |  | RANGE | 10M | CONNECTION |  | CABLE LENGTH | [49 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 124224 | 9301 | 124224 | PHOTOELECTRIC SENSOR E3JM-R4M4-G IP66 | M | ZSPA | 061301 | PC | PEILIHEIJASTAVA ¦ E3JM-R4M4-G ¦ OMRON ¦ 4M ¦ 24-240VAC12-240VDC | https://industrial.omron.eu/en/products/E3JM-R4M4-G |  | OMRON | E3JM-R4M4-G | [22 empty] | Enriched |  | SENSOR | PHOTOELECTRIC | ENCLOSURE:IP66 | MODE | MIRROR REFLECTION,RETROREFLECTIVE | ELECTRICAL RATING | 24-240VAC,12-240VDC | OUTPUT |  | RANGE | 4M | CONNECTION | TERMINAL BLOCK | CABLE LENGTH | [49 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 127745 | 9304 | 127745 | PUSH BUTTON ZB4-BA2 BLACK | M | ZSPA | 061106 | PC | MUSTA ¦ HARMONY STYLE 4 ¦ TELEMECANIQUE ¦ ZB4BA2 ¦ 23 204 18 ¦ 330-8969 ¦ 2320418 | https://www.se.com/ww/en/product/ZB4BA2/push-button-head-harmony-xb4-metal-flush-black-22mm-spring-return-unmarked/ |  | TELEMECANIQUE | ZB4BA2 |  | 2320418 | [5 empty] | 330-8969 | [14 empty] | Enriched |  | BUTTON | PUSH | HARMONY STYLE 4 | TYPE | NON-ILLUMINATED | SIZE | 22MM | SHAPE | ROUND | MATERIAL | CHROMIUM PLATED METAL | COLOR | BLACK | [50 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 149094 | 9301 | 149094 | RELAY D2425 CRYDOM | M | ZSPA | 061106 | PC | SENSATA | https://www.mouser.in/ProductDetail/Crydom/D2425?qs=mNyg5qXQ%2FsfvtoMGKU2zkw%3D%3D | https://us.rs-online.com/product/sensata-crydom/d2425/70130431/ | SENSATA - CRYDOM | D2425 | [22 empty] | Enriched |  | RELAY | SOLID STATE |  | TYPE | CONTROL | RATING | 24-280VAC,3-32VDC,25A | STYLE |  | TERMINAL | SCREW | MOUNT | PANEL | ENCLOSURE | IP00 | [48 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 400661 | 9302 | 400661 | S90 WEAR GUIDE 7417886 | M | ZSPA | 060780 | PC | WEAR GUIDE ¦ 7417886 ¦ FOR S90 | URL NOT FOUND | [25 empty] | cleansed |  | GUIDE | NONE | FOR S90 | TYPE | WEAR | SIZE |  | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 127708 | 9669 | 127708 | SELECTOR SWITCH HEAD ZB5AD2, 2 POSITIONS | M | ZSPA | 061290 | PC | MUSTA 2-AS. ¦ HARMONY STYLE 5 ¦ TELEMECANIQUE ¦ ZB5AD2 ¦ 2320830 | https://www.se.com/ww/en/product/ZB5AD2/selector-switch-head-harmony-xb5-plastic-black-22mm-2-positions-stay-put/ |  | TELEMECANIQUE | ZB5AD2 | [13 empty] | 2320830 | [8 empty] | Enriched |  | HEAD | NONE | HARMONY STYLE 5,2-AS | TYPE | 2-POSITION,SELECTOR SWITCH | SIZE | 22MM | RATING | -40TO70C | MATERIAL | PLASTIC | [52 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 128045 | 9301 | 128045 | SELECTOR SWITCH ZB4-BK1853 | M | ZSPA | 061290 | PC | ZB4BK1853 ¦ TELEMECANIQE ¦ KELTAINEN | https://www.se.com/ww/en/product/ZB4BK1853/head-for-illuminated-selector-switch-harmony-xb4-metal-orange-handle-22mm-universal-led-3-positions-right-to-center/ |  | TELEMECANIQUE | ZB4BK1853 | [22 empty] | Enriched |  | HEAD | NONE | COLOR:YELLOW | TYPE | 3-POSITION,SELECTOR SWITCH | SIZE | 22MM | RATING | -40TO70C | MATERIAL | CHROMIUM PLATED METAL | [52 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 188635 | 9669 | 188635 | SENSOR CONNECTOR MEP02 D15/17-POLE | M | ZSPA | 061301 | PC | SENSOR ¦ MEP02 D15/17-POLE ¦ SKS ¦ 1257728 ¦ RAUTE NO: 3021304 | https://assets.ctfassets.net/qp8rp917jhxs/5rWitd4M6IKKuAM0CmOCkC/91dac253801a5ed914f791fef1819e15/MEP02-Anturiliitynt__kortti-Datasheet_1216.pdf |  | SKS | 1257728 | SKS | MEP 02 D15/17-POLE | [20 empty] | Enriched |  | MODULE | NONE | RAUTE NO:3021304 | TYPE |  | FUNCTION | SENSOR INTERFACE,ENCODER | INPUT |  | OUTPUT |  | ELECTRICAL RATING | [51 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 406727 | 9302 | 406727 | SENSOR IG0345 | M | ZSPA | 061301 | PC | SENSOR IG ¦ INDUCTIVE PROX. SWITCH ¦ IFM ¦ IG0345 ¦ SN 12MM NF, N/O, ¦ AC/DC, LS CONNECTOR | https://www.ifm.com/in/en/product/IG0345 |  | IFM | IG0345 | [22 empty] | Enriched |  | SENSOR | PROXIMITY | LS CONNECTOR,NF | MODE |  | ELECTRICAL RATING | 20-250VAC/DC | SIZE | M18X1 | STYLE | INDUCTIVE | RANGE | 12MM | MOUNT | NON-FLUSH | CONNECTION | LOCKNUT | OUTPUT | N/O | SWITCHING FREQUENCY | 25/90HZ | BODY MATERIAL | BRASS | CABLE LENGTH |  | ENCLOSURE | IP67 | [36 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 406684 | 9302 | 406684 | SOLENOID CPE18-MZH-5L-1/4 | M | ZSPA | 061590 | PC | SOLENOID VALVE ¦ AIR SOLENOID VALVE ¦ FESTO ¦ CPE18-MZH-5L-1/4 ¦ 175-4572 | https://www.festo.com/at/en/a/163142/?q=163142~:festoSortOrderScored&fwacid=9c87dca34e34d0c0&gclid=Cj0KCQiA6rCgBhDVARIsAK1kGPJSkNSH37Aq1NGOUPC5YMRMgU3-E2tFyC-ItnR4mZkPREEsaEsiLk8aAs7gEALw_wcB |  | FESTO | CPE18-MZH-5L-1/4 | [6 empty] | RS COMPONENT | 175-4572 | [14 empty] | Enriched |  | VALVE | SOLENOID |  | TYPE |  | CONFIGURATION | 5/2-WAY | SIZE | 1/4IN | CONNECTION | BSPP | ORIFICE DIAMETER |  | ELECTRICAL RATING | 24VDC,1,5W | OPERATION |  | DESIGN RATING | 2,5-10BAR | PRESSURE/TEMPERATURE RATING | -5TO50C | FLOW COEFFICIENT |  | COIL |  | ENCLOSURE | IP65 | BODY MATERIAL | DIE-CAST ALUMINIUM | SOFTGOODS | NBR SEAL | PROCESS FLUID | AIR | [30 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 407043 | 9302 | 407043 | SOLENOID VALVE 824.52.3.6.M2 | M | ZSPA | 060190 | PC | SOLENOID VALVE ¦ 824.52.3.6.M2 ¦ PNEUMAX ¦ 824.52.3.6.M2 ¦ 5/2 ¦ TREATMENT PLANT | https://platinum-international.store/product/platinum-international/pneumatic-system/pneumatic-valves/pneumax-824-52-3-6-m2-single-solenoid-valve/ |  | PNEUMAX | 824.52.3.6.M2 | [22 empty] | cleansed |  | VALVE | SOLENOID | TREATMENT PLANT | TYPE | ELECTICAL,SINGLE | CONFIGURATION | 5/2-WAY | SIZE | 1/4IN | CONNECTION | BSPP | ORIFICE DIAMETER |  | ELECTRICAL RATING |  | OPERATION |  | DESIGN RATING | 2,5-10BAR | PRESSURE/TEMPERATURE RATING | -5TO45C | FLOW COEFFICIENT |  | COIL |  | ENCLOSURE |  | BODY MATERIAL |  | SOFTGOODS |  | PROCESS FLUID | [31 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | CONFLICT W.R.T INPUT PROCESSED BASED ON WEB SOURCE | 404159 | 9301 | 404159 | SPRING LOCKWASHER 7434.05 | M | ZSPA | 060763 | PC | LOCKWASHER ¦ SPRING LOCKWASHER ¦ GORDIAN ¦ 7434.05 | https://www.generica.net/en/spareparts-for-oms/category-1-ET_.GEN__ET_.OMS-2.html |  | GORDIAN | 7434.05 | [22 empty] | Enriched |  | RING | LOCK |  | TYPE |  | SIZE |  | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 405696 | 9301 | 405696 | TAB LOCK WASHER | M | ZSPA | 062207 | PC | LOCK WASHER ¦ TAB LOCK WASHER ¦ TFM ¦ MB 5 | https://www.skf.com/ph/products/rolling-bearings/accessories/lock-nuts/keyway/productid-MB%205%20A |  | TFM | MB 5 | [22 empty] | Enriched |  | WASHER | LOCK |  | TYPE | TAB | NOMINAL SIZE |  | INSIDE DIAMETER | 25MM | OUTSIDE DIAMETER | 42MM | THICKNESS | 1,8MM | HEIGHT |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE | [41 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 400906 | 9302 | 400906 | TAPER BUSH V110 | M | ZSPA | 061004 | PC | TAPER LOCK ¦ SIZE V110 STEEL TAPER LOCK HUB ¦ REXNORD ¦ VIVA V110 HUB TLÂ | https://www.bearingstation.co.uk/products/viva-size-v110-steel-taper-lock-hub=29843 |  | REXNORD | VIVA V110 HUB TLÂ | [22 empty] | Enriched |  | HUB | DRIVE | FOR TAPER BUSH | TYPE | TAPER LOCK | SIZE | 209X115MM | MATERIAL | STEEL | [54 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 134126 | 9304 | 134126 | THERMAL OVERLOAD RELAY LRD16 | M | ZSPA | 061290 | PC | TELEMECANIQUE ¦ 9-13A ¦ SSTL-NRO 3860243 | https://www.se.com/ww/en/product/LRD16/thermal-overload-relay-tesys-deca-690vac-9-to-13a-1no+1nc-class-10a-screw-clamp/ |  | TELEMECANIQUE | LRD16 | TELEMECANIQUE | 3860243 | [20 empty] | Enriched |  | RELAY | OVERLOAD | SSTL-NRO | TYPE | THERMAL | CONTACT ARRANGEMENT | 1N/O 1N/C | CONTACT RATING | 9-13A | COIL VOLTAGE | 690VAC | CONTACT |  | ACTION | 3P | RESET | AUTOMATIC/MANUAL | TERMINAL | SCREW CLAMP | MOUNT | DIN RAIL | ENCLOSURE | IP20 | [40 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | MFR UPDATED AS PER WEB SOURCE | 403477 | 9301 | 403477 | THRUST WASHER AS2035 | M | ZSPA | 062207 | PC | WASHER ¦ AS2035 ¦ AS2035 | https://www.skf.com/us/products/rolling-bearings/roller-bearings/needle-roller-thrust-bearings/productid-AS%202035 |  | SKF | AS2035 | [22 empty] | Enriched |  | WASHER | THRUST |  | TYPE | UNIVERSAL | SIZE | D35/20 | SURFACE TREATMENT |  | MATERIAL | STEEL | [52 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 166350 | 9301 | 166350 | TIME RELAY H3DE-G AC/DC24-230 | M | ZSPA | 061290 | PC | OMRON ¦ 0221T | https://www.mouser.in/ProductDetail/Omron-Automation-and-Safety/H3DE-G-AC-DC24-230?qs=TwPrcXezm72ipd3OuLXSGA%3D%3D | https://uk.rs-online.com/web/p/timer-relays/4546184 | OMRON | H3DE-G AC/DC24-230 | [22 empty] | Enriched |  | RELAY | TIME DELAY | 0221T | OPERATION | 0,05-0,5S | COIL VOLTAGE | 24-230VAC/DC | CONTACT RATING |  | CONTACT ARRANGEMENT |  | CONTACT |  | ACTION |  | TERMINAL | CLAMP | MOUNT | DIN RAIL | ENCLOSURE | [43 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 155611 | 9669 | 155611 | U PACKING RING UN 80X100X12 | M | ZSPA | 061490 | PC |  | URL NOT FOUND | [25 empty] | cleansed |  | PACKING | RING |  | TYPE | UN | INSIDE DIAMETER | 80MM | OUTSIDE DIAMETER | 100MM | THICKNESS | 12MM | MATERIAL |  | STYLE | [49 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 404994 | 9301 | 404994 | WASHER 10MMID CLEARANCE 25MMOD 4MM THICK | M | ZSPA | 062207 | PC | WASHER ¦ TFM ¦ 10MM ID (CLEAR.) / 25MM OD / 4 ¦ PORTABLE BANDING TROLLEY | URL NOT FOUND |  | TFM | [23 empty] | cleansed |  | WASHER | NONE |  | TYPE |  | NOMINAL SIZE |  | INSIDE DIAMETER | 10MM (CLEARANCE) | OUTSIDE DIAMETER | 25MM | THICKNESS | 4MM | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE | [43 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 |  | 187171 | 9535 | 187171 | WEARING STRIP LOWER R764405 | M | ZSPA | 060784 | PC | SKARFFISAHA KETJU ¦ KULUTUSLISTA ALA ¦ R764405 | URL NOT FOUND | [25 empty] | cleansed |  | STRIP | WEAR | SCARF SAW CHAIN ​​CONSUMPTION LIST SUB | TYPE | LOWER | WIDTH |  | LENGTH |  | THICKNESS |  | MATERIAL | [51 empty] | Production Completed
STP | Data Enrichment | SMX | SMX | OK | 2023-03-10 | 2023-03-10 | NM BASED ON WEB SOURCE | 400388 | 9535 | 400388 | WIRING HARNESS M12 FEMALE 90DEG 5M | M | ZSPA | 061101 | PC | WIRING HARNESS ¦ M12 FEMALE 90DEG 5M ¦ LUMBERG AUTOMATION ¦ PRKWT 5-56/5 M ¦ 13635 ¦ 144-73-912 | https://www.belden.com/products/connectors/industrial-connectors/power-connectors/g-series/prkwt-5-56 | https://complete-electronics.com/manufacturers/lumberg-automation/connectors/m12/m12-cable-socket/prkwt-5-565-m13635 | LUMBERG AUTOMATION | PRKWT 5-56/5 M | LUMBERG AUTOMATION | 13635 | LUMBERG AUTOMATION | 144-73-912 | [18 empty] | Enriched |  | CORD | ELECTRICAL |  | TYPE | SENSOR,SINGLE ENDED | LENGTH | 5M | CONDUCTOR | 0,34MM2 | CONDUCTOR MATERIAL | STAINLESS STEEL | INSULATION |  | RATING | 50VAC/60VDC | JACKET MATERIAL | PVC | JACKET COLOR | ORANGE | CONNECTORS | M12 90DEG FEMALE | [42 empty] | Production Completed