## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Material | Plant | No | Material Description | Industry sector | Material Type | Material Group | Base Unit of Measure | Input Value Catted | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | Art / Article Number | Mfg Number | Enriched/cleansed | UNSPSC Ver.23.07 | Noun | Modifier | Additional | Attribute Name 1 | AttributeValue 1 | Attribute Name 2 | AttributeValue 2 | Attribute Name 3 | AttributeValue 3 | Attribute Name 4 | AttributeValue 4 | Attribute Name 5 | AttributeValue 5 | Attribute Name 6 | AttributeValue 6 | Attribute Name 7 | AttributeValue 7 | Attribute Name 8 | AttributeValue 8 | Attribute Name 9 | AttributeValue 9 | Attribute Name 10 | AttributeValue 10 | Attribute Name 11 | AttributeValue 11 | Attribute Name 12 | AttributeValue 12 | Attribute Name 13 | AttributeValue 13 | Attribute Name 14 | AttributeValue 14 | Attribute Name 15 | AttributeValue 15 | Attribute Name 16 | AttributeValue 16 | Attribute Name 17 | AttributeValue 17 | Attribute Name 18 | AttributeValue 18 | Attribute Name 19 | AttributeValue 19 | Attribute Name 20 | AttributeValue 20 | Attribute Name 21 | AttributeValue 21 | Attribute Name 22 | AttributeValue 22 | Attribute Name 23 | AttributeValue 23 | Attribute Name 24 | AttributeValue 24 | Attribute Name 25 | AttributeValue 25 | Attribute Name 26 | AttributeValue 26 | Attribute Name 27 | AttributeValue 27 | Attribute Name 28 | AttributeValue 28 | Attribute Name 29 | AttributeValue 29 | Attribute Name 30 | AttributeValue 30 | Status
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 405612 | 9301 | 405612 | 3 POLE CONTACTOR 7A 110V 50/60Hz | M | ZSPA | 061301 | PC | CONTACTOR ¦ CONTACTOR ¦ SIEMENS ¦ 3RT2015-1AF02 ¦ 3NO, 3 KW ¦ 706-1061 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=3RT2015-1AF02&language=en |  | SIEMENS | 3RT2015-1AF02 |  | 706-1061 | [20 empty] | ENRICHED |  | CONTACTOR | MOTOR | CONTACT CONFIGURATION:3NO,FREQUENCY RATING:50/60 HZ | TYPE | POWER | COIL VOLTAGE | 110VAC | AMPERAGE | 7A | LINE VOLTAGE | 400VAC | POWER RATING | 3KW | POLE | 3 | AUXILIARY CONTACTS | 1NC | ENCLOSURE | IP20 | NEMA/IEC RATING | IEC 60529 | [42 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 187488 | 9535 | 187488 | ANALOG TERMINAL DTR2-AD04 | M | ZSPA | 061301 | PC | DTR2-AD04 ¦ OMRON ¦ 60 ¦ 1 | URL NOT FOUND |  | OMRON | DTR2-AD04 | [22 empty] | CLEANSED |  | TERMINAL | NONE | 60,1 | TYPE | ANALOG | ELECTRICAL RATING |  | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 404211 | 9301 | 404211 | ANALOGUE OUTPUT MOD 6ES7332-7ND02-0AB0 | M | ZSPA | 061590 | PC | OUTPUT MODULE ¦ PLC EXPANSION MODULE ¦ SIEMENS ¦ 6ES7332-7ND02-0AB0 ¦ 746-6659 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7332-7ND02-0AB0&language=en | https://in.rsdelivers.com/product/siemens/6es7332-7nd02-0ab0/siemens-plc-expansion-module-for-use-with-s7-300-x/7466659 | SIEMENS | 6ES7332-7ND02-0AB0 |  | 746-6659 | [20 empty] | ENRICHED |  | MODULE | NONE |  | TYPE | PLC EXPANSION | FUNCTION | ANALOGUE OUTPUT | INPUT | 290MA | OUTPUT | 0-10V,1-5V,+/-10V,0-20MA,+/-20MA,4-20MA | ELECTRICAL RATING | 24VDC | [50 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | PART NO CHANGED AS PER WEB SOURCE | 407016 | 9301 | 407016 | AUXILIARY CONTACT BLOCK DILM150-XH104 | M | ZSPA | 061290 | PC | AUXILIARY CONTACT BLOCK ¦ DILM150-XH104 ¦ EATON ¦ 277952 ¦ 0NO+4NC ¦ RS: 513-0257 | https://www.imc-direct.com/product_p/dilm150-xhi04.htm | https://datasheet.eaton.com/Eaton-277952-DILM150-XHI04-en_GB.pdf?model=277952&locale=en_GB&_lt=&type=pdf | EATON | DILM150-XHI04 | EATON | 277952 | RS | 513-0257 | [18 empty] | ENRICHED |  | BLOCK | CONTACT |  | TYPE | AUXILIARY | VOLTAGE | 500VAC | AMPERAGE | 1.5A | TERMINAL | SCREW | CIRCUITS |  | CONTACT ARRANGEMENT | 4NC | [48 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 127815 | 9301 | 127815 | AUXILIARY CONTACT BLOCK LADN04 3860031 | M | ZSPA | 061290 | PC | 4AV ¦ LADN04 ¦ TELEMECANIQE ¦ 3860031 | https://media.distributordatasolutions.com/schneider2/2020q4/documents/4d0469f1d02e1c879535dbfdadfc033cbe4f7b44.pdf | https://us.rs-online.com/product/schneider-electric/ladn04/70007728/ | TELEMECANIQUE | LADN04 |  | 3860031 | [20 empty] | ENRICHED |  | BLOCK | CONTACT |  | TYPE | AUXILIARY | VOLTAGE | 690VAC | AMPERAGE | 10A | TERMINAL | SCREW | CIRCUITS |  | CONTACT ARRANGEMENT | 4NC | [48 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 402033 | 9302 | 402033 | BATTERY 1756-BA2 | M | ZSPA | 061301 | PC | BATTERY ¦ BATTERY ASSEMBLY ¦ ALLEN BRADLEY ¦ BATTERY 1756-BA2 ¦ PLC ¦ LITHIUM | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/1756BA2-13352-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D | https://www.batterystore.com/allen-bradley-1756-ba2-1756-l6x-energy-br2-3a-ab-replacement-battery/ | ALLEN BRADLEY | 1756-BA2 | [22 empty] | ENRICHED |  | BATTERY | DRY CELL | FOR PLC,ASSEMBLY | TYPE | LITHIUM | VOLTAGE | 3V | AMP HOURS | 1200 | SIZE |  | CONNECTION |  | STANDARD | [49 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | MFR UPDATE AS PER WEB SOURCE | 110788 | 9535 | 110788 | BEARING UNIT UCP 212 | M | ZSPA | 060890 | PC |  | https://www.skf.com/id/products/mounted-bearings/ball-bearing-units/pillow-block-ball-bearing-units/productid-UCP%20212 | blob:https://www.skf.com/8243a4dc-87c8-4863-ae5e-29839bc29d13 | SKF | UCP 212 | [22 empty] | ENRICHED |  | BEARING | PILLOW BLOCK | UNIT | TYPE |  | ROLLING ELEMENT | BALL | INSIDE DIAMETER | 60MM | SHAFT HEIGHT |  | HOUSING MATERIAL | CAST IRON | NUMBER OF BOLT HOLES | 2 | BOLT DIAMETER | 20MM | BOLT CENTER DISTANCE | 184MM | BLOCK SIZE | L239,5XW62XH141,5MM | SERIES |  | SHAFT ATTACHMENT | SET SCREW | [38 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 406959 | 9304 | 406959 | BOLT 8119139618 | M | ZSPA | 060780 | PC | BOLT ¦ 8119139618 ¦ WEINIG ¦ 8119139618 ¦ FOR ROLLER | URL NOT FOUND |  | WEINIG | 8119139618 | [12 empty] | ROLLER | [9 empty] | CLEANSED |  | BOLT | NONE |  | TYPE |  | HEAD |  | DIAMETER |  | THREADS |  | LENGTH |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE | [43 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 113628 | 9669 | 113628 | CABLE GLAND PLASTIC PG13,5 | M | ZSPA | 061102 | PC |  | URL NOT FOUND | [25 empty] | CLEANSED |  | GLAND | CABLE |  | TYPE |  | CABLE SIZE |  | THREAD SIZE | PG13,5 | GLAND SIZE |  | MATERIAL | PLASTIC | STANDARD | [49 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 400314 | 9304 | 400314 | CIRCUIT BREAKER 3RV1021-1JA10 | M | ZSPA | 061301 | PC | CIRCUIT BREAKER ¦ CIRCUIT BREAKER ¦ SIEMENS ¦ 3RV1021-1JA10 ¦ 246-4888 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=3RV1021-1JA10&language=en |  | SIEMENS | 3RV1021-1JA10 |  | 246-4888 | [20 empty] | ENRICHED |  | CIRCUIT BREAKER | MOTOR |  | VOLTAGE | 690VAC | AMPERAGE | 10A | POWER RATING | 4KW | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY | 6KA | POLE | 3 | PHASE |  | FREQUENCY |  | TRIP | THERMOMAGNETIC | FRAME SIZE |  | STANDARD | [39 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | MFR UPDATE AS PER WEB SOURCE | 190807 | 9669 | 190807 | CIRCUIT BREAKER IC60N 3P C10A 6KA A9F04> | M | ZSPA | 061290 | PC | CIRCUIT BREAKER ¦ IC60N 3P C 10 6KA ¦ A9F04310 | https://www.se.com/sg/en/product/A9F04310/miniature-circuit-breaker-mcb-acti9-ic60n-3p-10a-c-curve-6000a-iec-608981-10ka-iec-609472-double-term-/ |  | SCHNEIDER ELECTRIC | A9F04310 | [22 empty] | ENRICHED |  | CIRCUIT BREAKER | MINIATURE | IC60N | VOLTAGE | 440VAC | AMPERAGE | 10A | INTERRUPTING CAPACITY | 6KA | TRIP CURVE | C | POLE | 3 | CONNECTION | TERMINAL | MOUNTING | DIN RAIL | [46 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 400391 | 9535 | 400391 | CONNECTOR CABLE STRAIGHT M12 5M | M | ZSPA | 061101 | PC | CONNECTOR CABLE ¦ STRAIGHT M12 5M ¦ SCHNEIDER ELECTRIC ¦ XZCP1141L5 ¦ 3520295 | https://www.se.com/ww/en/product/download-pdf/XZCP1141L5 |  | SCHNEIDER ELECTRIC | XZCP1141L5 |  | 3520295 | [20 empty] | ENRICHED |  | CONNECTOR | CABLE | CABLE LENGTH:5M | TYPE | STRAIGHT | CONDUCTOR SIZE | D5,2MM | CONDUCTOR MATERIAL |  | CONNECTION | M12 4PIN FEMALE | ELECTRICAL RATING | 250VAC,300VDC,4A | BODY MATERIAL | METAL | COLOR | [47 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 406097 | 9301 | 406097 | CONNECTOR S7 ET200L DIG OUTPUT MODULE | M | ZSPA | 061301 | PC | OUTPUT MODULE ¦ SIMATIC ET 200L PLC I/O MODULE ¦ SIEMENS ¦ 6ES7132-1BL00-0XB0 ¦ 32 OUTPUTS ¦ 24VDC B5 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7132-1BL00-0XB0&language=en | https://sg.rs-online.com/web/p/plc-accessories/6623628 | SIEMENS | 6ES7132-1BL00-0XB0 | [22 empty] | ENRICHED |  | MODULE | NONE | NO OF OUTPUT:32,FOR SIMANTIC S7 ET200L,B5 | TYPE | PLC I/O | FUNCTION | DIGITAL OUTPUT | INPUT | 70MA | OUTPUT | 0.5A | ELECTRICAL RATING | 24VDC | [50 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 132670 | 9301 | 132670 | CONTACT BLOCK ZB4-BZ101 1S 2320660 | M | ZSPA | 061290 | PC | SCHNEIDER | https://www.se.com/in/en/product/download-pdf/ZB4BZ101 |  | SCHNEIDER | ZB4BZ101 |  | 2320660 | [20 empty] | ENRICHED |  | BLOCK | CONTACT |  | TYPE | SINGLE | VOLTAGE | 600VAC | AMPERAGE | 1.2A | TERMINAL | SCREW CLAMP | CIRCUITS |  | CONTACT ARRANGEMENT | 1NO | [48 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 146175 | 9304 | 146175 | CONTACTOR 3RH1131-1BB40 24VDC SIEMENS | M | ZSPA | 061290 | PC | SIEMENS ¦ 24VDC | https://www.ideadigitalcontent.com/files/10991/3RH11311BB40_en.pdf |  | SIEMENS | 3RH1131-1BB40 | [22 empty] | ENRICHED |  | RELAY | NONE |  | TYPE | CONTACTOR | COIL VOLTAGE | 24VDC | CONTACT RATING | 10A | CONTACT ARRANGEMENT | 3NO+1NC | CONTACT |  | ACTION |  | TERMINAL | SCREW | MOUNT |  | ENCLOSURE | IP20 | STANDARD | [41 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 402635 | 9301 | 402635 | CONTROL RELAY 2N/0 + 2N/C 3TH4022-0AP0 | M | ZSPA | 061301 | PC | CONTROL RELAY ¦ 3TH4022-0AP0 ¦ 3TH4022-0AP0 ¦ 230V COIL | https://z3d9b7u8.stackpathcdn.com/pdf-down/3/T/H/3TH4_Siemens.pdf |  | SIEMENS | 3TH4022-0AP0 | [22 empty] | ENRICHED |  | RELAY | NONE |  | TYPE | CONTROL | COIL VOLTAGE | 230V | CONTACT RATING |  | CONTACT ARRANGEMENT | 2NO+2NC | CONTACT |  | ACTION |  | TERMINAL | SCREW | MOUNT | DIN-RAIL | ENCLOSURE |  | STANDARD | [41 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | AVAILABLE IN NON ENGLISH | 2023-03-10 | 2023-03-10 |  | 181837 | 9669 | 181837 | COUNTER SUNK SCREW M10X50 PP | M | ZSPA | 060766 | PC | UPPOKANTARUUVI M10X50 PP ¦ 442699 ¦ LÄPIJATKOSLINJA JALOSTE | URL NOT FOUND |  |  | 442699 | [22 empty] | CLEANSED |  | SCREW | NONE | LÄPIJATKOSLINJA JALOSTE | TYPE |  | HEAD | COUNTERSUNK | DIAMETER | M10 | THREADS |  | LENGTH | 50MM | SURFACE TREATMENT |  | MATERIAL | POLYPROPYLENE | SPECIFICATION |  | GRADE |  | STANDARD | [41 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 407791 | 9301 | 407791 | CUTTER 230X30X3MM | M | ZSPA | 062205 | PC | EB SAWS ¦ CUTTER 230X30X3MM | URL NOT FOUND | [25 empty] | CLEANSED |  | CUTTER | NONE | EB | TYPE | SAW | CAPACITY |  | SIZE | 230X30X3MM | MATERIAL | [53 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 407049 | 9302 | 407049 | FILTER REGULATOR 5205008 | M | ZSPA | 061590 | PC | FILTER REGULATOR ¦ 5205008 ¦ METALWORK ¦ 5205008 ¦ G1/4 ¦ 0-8BAR ¦ TREATMENT PLANT | https://www.bearingboys.co.uk/Miniature-Filter-Regulators/5205008-Miniature-Filter-Regulator--20-micron-08-bar-G14-26170-p |  | METALWORK | 5205008 | [22 empty] | ENRICHED |  | REGULATOR | FILTER | FOR TREATMENT PLANT | TYPE | MINIATURE | CONNECTION SIZE/TYPE | G1/4 | PRESSURE RATING | 0-8BAR | FLOW RATE | 290NL/M (0.5BAR),600NL/M (1BAR) | FILTERING RETENTION | 20UM | TEMPERATURE RATING | 50C | BODY MATERIAL | [47 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 189709 | 9669 | 189709 | FUSE TERMINAL BLOCK PT4-HESILED24 | M | ZSPA | 061290 | PC | SULAKELIITIN ¦ PT4-HESILED24 ¦ RAUTE NO. 3012665 | https://www.phoenixcontact.com/product/pdf/api/v1/MzIxMTkwMw?_realm=in&_locale=en-IN&blocks=commercial-data%2Ctechnical-data%2Cdrawings%2Capprovals%2Cclassifications%2Cenvironmental-compliance-data%2Call-accessories |  | SULAKELIITIN | PT 4-HESILED 24 | RAUTE | 3012665 | [20 empty] | ENRICHED |  | BLOCK | TERMINAL |  | TYPE | FUSE MODULAR | VOLTAGE | 24V | AMPERAGE | 6.3A | CIRCUITS |  | TERMINAL |  | WIRE SIZE | 0,2-6MM2 | SIZE | 0,6X3,5X100MM | BLOCK MATERIAL | POLYAMIDE | COLOR | BK | MOUNTING | PLUG-IN | [40 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 406981 | 9672 | 406981 | INDICATOR RCA219DZ091Z | M | ZSPA | 061690 | PC | PRESSURE INDICATOR ¦ RCA219DZ091Z ¦ PALL ¦ RCA219DZ091Z ¦ 3,4BAR | https://shop.pall.co.uk/uk/en/products/zidRCA219DZ091Z |  | PALL | RCA219DZ091Z | [22 empty] | ENRICHED |  | INDICATOR | NONE |  | TYPE | PRESSURE | SIZE |  | RANGE | 3.4BAR | SCALE |  | MATERIAL | VITON (SEAL) | [50 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 117802 | 9301 | 117802 | INPUT MODULE 321 6ES7321-1BL00-0AA0 | M | ZSPA | 061301 | PC | 6ES7321-1BL00-0AA0 ¦ SIEMENS | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7321-1BL00-0AA0&language=en | https://in.rsdelivers.com/product/siemens/6es7321-1bl00-0aa0/siemens-input-relay-module-for-use-with-s7-300-125/4532618 | SIEMENS | 6ES7321-1BL00-0AA0 | [22 empty] | ENRICHED |  | MODULE | NONE |  | TYPE | RELAY | FUNCTION | DIGITAL INPUT SM 321 | INPUT | 24VDC,7MA | OUTPUT |  | ELECTRICAL RATING | 24VDC | [50 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | CONFLICT NM I/P AND WEB SOURCE.PROCESS BASED ON WEB SOURCE | 400669 | 9304 | 400669 | INPUT MODULE 6ES7315-2AH14-0AB0 | M | ZSPA | 061301 | PC | INPUT MODULE ¦ DIGITAL INPUT MODULE ¦ SIEMENS ¦ 6ES7315-2AH14-0AB0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7315-2AH14-0AB0&language=en |  | SIEMENS | 6ES7315-2AH14-0AB0 | [22 empty] | ENRICHED |  | PROCESSOR | NONE |  | TYPE | CPU | TRADE/BRAND NAME |  | MEMORY | 256KB | VOLTAGE | 24VDC | CURRENT | 850MA | SPEED | [49 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 192491 | 9669 | 192491 | LEVEL SENSOR KME/E-3/8-ME/U-L100/12-1/S> | M | ZSPA | 061490 | PC | KME/E-3/8-ME/U-L100/12-1/> ¦ KSR KUEBLER ¦ <SV52/15/A-5PVC+H33227 | URL NOT FOUND |  | KSR KUEBLER | KME/E-3/8-ME/U-L100/12-1/S |  | SV52/15/A-5PVC+H33227 | [20 empty] | CLEANSED |  | SENSOR | LEVEL |  | TYPE |  | RANGE |  | INPUT RATING |  | OUTPUT RATING |  | ELEMENT TYPE | [51 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | PART NO CHANGED AS PER WEB SOURCE,CONFLICT NM I/P AND WEB SOURCE.PROCESS BASED ON WEB SOURCE | 166408 | 9304 | 166408 | LEVEL SENSOR SME-8M-DS-24V-K-0.3-M8D | M | ZSPA | 061290 | PC | ANTURI ¦ FESTO ¦ 543861 | https://www.festo.com/us/en/a/543861/ |  | FESTO | SME-8M-DS-24V-K-0,3-M8D | FESTO | 543861 | [20 empty] | ENRICHED |  | SENSOR | PROXIMITY | SENSOR_PROXIMITY | MODE |  | ELECTRICAL RATING | 5-30VAC/DC,500MA | SIZE |  | STYLE | MAGNETIC REED | RANGE |  | MOUNT | SCREW | CONNECTION | CABLE | OUTPUT | NO | SWITCHING FREQUENCY |  | BODY MATERIAL | BRASS,NICKEL PLATED,POLYAMIDE,PUR,HIGH-ALLOY STAINLESS STEEL | CABLE LENGTH | 0,3M | ENCLOSURE | IP65,IP68 | [36 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 127617 | 9301 | 127617 | LIMIT SWITCH BODY ZCKM1 | M | ZSPA | 061102 | PC | 1SU+1AV ¦ ZCKM1 ¦ TELEMECANIQUE | https://tesensors.com/us/en/product/reference/ZCKM1 |  | TELEMECANIQUE | ZCKM1 | [22 empty] | ENRICHED |  | BODY | NONE | CONTACT ARRANGEMENT:1NO+1NC | TYPE | LIMIT SWITCH | SIZE | L64XW64XDP30MM | MATERIAL | METAL | [54 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 188190 | 9301 | 188190 | LIMIT SWITCH ZCKM1H29 | M | ZSPA | 061301 | PC | ZCKM1H29 ¦ TELEMECANIQUE ¦ 1NC+1N0 ¦ 6F003 ¦ 15 | https://www.se.com/in/en/product/ZCKM1H29/limit-switch-body-zckm-1nc+1no-snap-action-m20/ |  | TELEMECANIQUE | ZCKM1H29 |  | 6F003 | [20 empty] | ENRICHED |  | SWITCH | LIMIT | 6F003,15 | TYPE |  | ELECTRICAL RATING | 240VAC,3A | ACTION |  | ACTUATOR |  | CONTACT ARRANGEMENT | 1NO+1NC | ENCLOSURE | IP66 | BODY MATERIAL | METAL | STANDARD | [45 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 157719 | 9669 | 157719 | LOCKNUT PG13,5 GMP-13,5 | M | ZSPA | 061102 | PC |  | URL NOT FOUND |  |  | GMP-13,5 | [22 empty] | CLEANSED |  | NUT | LOCK | NUT_LOCK | TYPE |  | DIAMETER |  | THREADS | PG13,5 | HEIGHT |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE |  | STANDARD | [43 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 151671 | 9301 | 151671 | MOTOR CIRCUIT BREAKER 3RV1031-4EA10 | M | ZSPA | 061290 | PC | SIEMENS | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=3RV1031-4EA10&language=en |  | SIEMENS | 3RV1031-4EA10 | [22 empty] | ENRICHED |  | CIRCUIT BREAKER | MOTOR |  | VOLTAGE | 690VAC | AMPERAGE | 32A | POWER RATING | 15KW | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY | 4KA | POLE | 3 | PHASE |  | FREQUENCY |  | TRIP | THERMOMAGNETIC | FRAME SIZE |  | STANDARD | [39 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 188661 | 9669 | 188661 | MOTOR CIRCUIT BREAKER 3RV2021-4DA10 | M | ZSPA | 061301 | PC | MOTOR CIRCUIT BREAKER ¦ 3RV2021-4DA10 ¦ SIEMENS ¦ 18-25A ¦ S0 ¦ RAUTE NO: 3013922 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=3RV2021-4DA10&language=en |  | SIEMENS | 3RV2021-4DA10 | RAUTE | 3013922 | [20 empty] | ENRICHED |  | CIRCUIT BREAKER | MOTOR | SIZE:S0 | VOLTAGE | 690VAC | AMPERAGE | 18-25A | POWER RATING | 22KW | CONNECTION | SCREW TERMINAL | INTERRUPTING CAPACITY | 4KA | POLE | 3 | PHASE | 1PH,3PH | FREQUENCY | 50/60HZ | TRIP | MAGNETIC | FRAME SIZE |  | STANDARD | [39 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 402016 | 9304 | 402016 | OPTIC SENSOR CABLE DOL-1204-F02M | M | ZSPA | 061101 | PC | SENSOR CABLE ¦ OPTIC SENSOR CABLE ¦ SICK ¦ DOL-1204-F02M | URL NOT FOUND |  | SICK | DOL-1204-F02M | [22 empty] | CLEANSED |  | CABLE | FIBER OPTIC |  | TYPE | SENSOR | JACKET |  | SIZE |  | FIBERS |  | BUFFER |  | STYLE |  | STANDARD | [47 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 124716 | 9535 | 124716 | O-RING 7,66X1,78 | M | ZSPA | 060904 | PC | NITRIILIKUMIA, -35 - +120C ¦ WURTH ¦ 0468-766 ¦ 7,66X1,78MM 5/16IN | http://media.wuerth.com/stmedia/shop/masterpages0000/std.lang.all/01618.pdf |  | WURTH | 0468 766 | [22 empty] | ENRICHED |  | O-RING | NONE | TEMPERATURE RATING:-35-120C | TYPE |  | INDUSTRY STANDARD |  | INSIDE DIAMETER | 7,66MM (5/16IN) | OUTSIDE DIAMETER |  | WIDTH | 1,78MM | MATERIAL | NITRILE RUBBER | HARDNESS |  | COLOR |  | SPECIFICATION |  | STANDARD |  | SERVICE | [39 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 406814 | 9304 | 406814 | PH/ELEC SENSOR WTB250-2P2441/6044681 | M | ZSPA | 061301 | PC | PHOTO ELECTRIC SENSOR ¦ SUPPRESSION PH/ELEC SENSOR 150 ¦ SICK ¦ WTB250-2P2441/6044681 ¦ 770-7001 | https://www.sick.com/my/en/w250-2/wtb250-2p2441/p/p291715 |  | SICK | WTB250-2P2441 | SICK | 6044681 |  | 770-7001 | [18 empty] | ENRICHED | TYPE:SUPPESSION | SENSOR | PHOTOELECTRIC |  | MODE |  | ELECTRICAL RATING | 10-30VDC,100MA | OUTPUT | PNP | RANGE | 150-500MM | CONNECTION | M12 MALE,4-PIN | CABLE LENGTH | [49 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 129654 | 9301 | 129654 | PHOTOELECTRIC SENSOR E3S-GS3B4 PNP | M | ZSPA | 061301 | PC | E3S-GS3B4 ¦ OMRON ¦ PNP ¦ 12-240VDC | https://assets.omron.eu/downloads/latest/datasheet/en/e036_e3s-g_photoelectric_sensor_datasheet_en.pdf | https://us.rs-online.com/product/omron-automation/e3s-gs3b4/70179581/ | OMRON | E3S-GS3B4 | [22 empty] | ENRICHED |  | SENSOR | PHOTOELECTRIC |  | MODE |  | ELECTRICAL RATING | 12-24VDC | OUTPUT | PNP | RANGE | 10MM | CONNECTION | CABLE | CABLE LENGTH | 2M | [48 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 135572 | 9669 | 135572 | PIPE ELBOW 1/2IN 90AST FE/ZN | M | ZSPA | 061902 | PC | TAKORAUTA | URL NOT FOUND | [25 empty] | CLEANSED |  | ELBOW | PIPE | TAKORAUTA | TYPE |  | SIZE | 1/2IN | CONNECTION |  | DEGREE | 90DEG | RADIUS |  | RATING |  | SURFACE TREATMENT |  | MATERIAL | IRON(FE)/ZINC(ZN) | SPECIFICATION |  | GRADE |  | STANDARD | [39 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 407862 | 9670 | 407862 | PLATE H164633 | M | ZSPA | 061102 | PC | S=6 155X155 SFS-EN 10025 ¦ RAUTE ¦ H164633 | URL NOT FOUND |  | RAUTE | H164633 | SFS | [21 empty] | CLEANSED |  | PLATE | METAL |  | TYPE |  | SIZE | W155XH155XS6MM | PROCESS |  | WEIGHT |  | MATERIAL | STEEL | SPECIFICATION | SFS-EN 10025 | GRADE | [47 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | CONFLICT WATTAGE I/P AND WEB SOURCE.PROCESS BASED ON WEB SOURCE | 406728 | 9301 | 406728 | POTENTIOMETER 2K 2,25W | M | ZSPA | 061301 | PC | POTENTIOMETER ¦ 2KOHM ROTARY POTENTIOMETER ¦ HONEYWELL ¦ JA1N056S202UA ¦ 831-6785 | https://www.mouser.in/ProductDetail/Honeywell/JA1N056S202UA?qs=ovwBW99ovRCftH%252BPpZ8aFw%3D%3D |  | HONEYWELL | JA1N056S202UA |  | 831-6785 | [20 empty] | ENRICHED |  | POTENTIOMETER | NONE |  | TYPE | ROTARY | TAPER | LINEAR | RESISTANCE | 2KOHM | WATTAGE | 2W | TURNS | 1 | TOLERANCE | +/-10% | MATERIAL | CARBON (ELEMENT) | [46 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | PART NO CHANGED AS PER WEB SOURCE | 405366 | 9301 | 405366 | POWER MODULE 1.5KW | M | ZSPA | 061301 | PC | POWER MODULE ¦ POWER MODULE 1.5KW ¦ SIEMENS ¦ 6SL3224-OBE21-5UA0 | https://mall.industry.siemens.com/spice/docuservice/docuservice?configid=14&docu.mlfb=6SL3224-0BE21-5UA0&docu.inittype=MLFB&docu.generationtype=VIEW&docu.viewid=PDF&region=SE&language=en&docu.language.locale1=en&docu.language.locale2=en |  | SIEMENS | 6SL3224-0BE21-5UA0 | [22 empty] | ENRICHED |  | MODULE | POWER SUPPLY |  | TYPE |  | INPUT | 380-480VAC,4.3A,3PH,47-63HZ | OUTPUT | 400VAC,8.2A,1.5KW,3PH | [54 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | PART NO CHANGED AS PER WEB SOURCE,CONFLICT NM I/P AND WEB SOURCE.PROCESS BASED ON WEB SOURCE | 193818 | 9535 | 193818 | PROXIMITY SWITCH SIES-8M-PO-24-K-0.3-M8D | M | ZSPA | 061590 | PC | BLACK AS ¦ SIES-8M-PO-24-K-0.3-M8D ¦ FESTO ¦ SIES-8M-PO-24-K-0.3-M8D ¦ RAUTE NO. 3014046 | https://www.festo.com/gb/en/a/download-document/datasheet/551392 |  | FESTO | SIES-8M-PO-24V-K-0,3-M8D | RAUTE | 3014046 | [20 empty] | ENRICHED |  | SENSOR | PROXIMITY | HOUSING COLOR:BLACK | MODE |  | ELECTRICAL RATING | 10-30VDC,150MA | SIZE |  | STYLE | INDUCTIVE | RANGE | 1,5MM | MOUNT | FLUSH | CONNECTION | M8X1 | OUTPUT | PNP | SWITCHING FREQUENCY | 4500HZ | BODY MATERIAL | BRASS,NICKEL PLATED,POLYAMIDE,PUR,HIGH-ALLOY STAINLESS STEEL | CABLE LENGTH | 0,3M | ENCLOSURE | IP65,IP67 | [36 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | CONFLICT ELECTRICAL RATING I/P AND WEB SOURCE.PROCESS BASED ON WEB SOURCE | 403042 | 9301 | 403042 | REED SWITCH 0-240 VAC 0-60 VDC 0.13 AMP | M | ZSPA | 061301 | PC | REED SWITCH ¦ 0 830 100 365 ¦ BOSCH ¦ 0 830 100 365 ¦ MDF S/WRAP 5 | https://files.kempstoncontrols.com/files/9df410dbb0a0b531706579e5d34cb3e1/0830100365.cfm |  | BOSCH | 0830100365 | [22 empty] | ENRICHED |  | SENSOR | PROXIMITY | TYPE:REED | MODE |  | ELECTRICAL RATING | 12-240VAC,0-60VDC,0.13A | SIZE | W22XH26XDP16MM | STYLE |  | RANGE |  | MOUNT |  | CONNECTION |  | OUTPUT |  | SWITCHING FREQUENCY |  | BODY MATERIAL | POLYAMIDE | CABLE LENGTH | 3M | ENCLOSURE | IP67 | [36 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | CONFLICT NM I/P AND WEB SOURCE.PROCESS BASED ON WEB SOURCE | 198434 | 9672 | 198434 | REPAIR KIT 3/4 AC50-F06 | M | ZSPA | 061590 | PC | REPAIR KIT ¦ AC50-F06 ¦ SMC ¦ 3/4IN | http://www.tecnopointonline.it/files/pneumatica/smc/trattamento-aria-smc-1.pdf |  | SMC | AC50-F06 | [22 empty] | ENRICHED |  | UNIT | FILTER REGULATOR LUBRICATOR |  | TYPE |  | CONNECTION SIZE/TYPE | G3/4 | PRESSURE RATING | 0.05-0.85MPA | FILTERING RETENTION | 5UM | FLOW RATE |  | TEMPERATURE RATING | -5-60C | BODY MATERIAL |  | BOWL MATERIAL | POLYCARBONATE,NYLON,METAL | [44 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 405012 | 9301 | 405012 | RIGHT PRESS ARM ASSEMBLY | M | ZSPA | 060763 | PC | PRESS ARM ASSY ¦ RIGHT PRESS ARM ASSEMBLY ¦ GORDIAN ¦ 900-01-31110 | https://www.packsourcesys.com/PDF/RQ-8x_Parts_List.pdf |  | GORDIAN | 900-01-31110 | [22 empty] | CLEANSED |  | ARM | NONE | ASSEMBLY | TYPE | RIGHT PRESS | SIZE |  | SURFACE TREATMENT |  | MATERIAL | [53 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 157104 | 9669 | 157104 | RING CABLE LUG 0,25-1,5 M5 | M | ZSPA | 061102 | PC | ABIKO PUNAINEN ¦ SL 5217204 | URL NOT FOUND |  | ABIKO | SL 5217204 | [22 empty] | CLEANSED |  | CONNECTOR | CABLE | SIZE:M5 | TYPE | RING LUG | CONDUCTOR SIZE | 0,25-1,5MM2 | CONDUCTOR MATERIAL |  | CONNECTION |  | ELECTRICAL RATING |  | BODY MATERIAL |  | COLOR | [47 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 407390 | 9304 | 407390 | ROTARY ENCODER 0040208873 | M | ZSPA | 061301 | PC | ROTARY ENCODER ¦ 0040208973 ¦ WEINIG ¦ 0040208973 | URL NOT FOUND |  | WEINIG | 0040208973 | [22 empty] | CLEANSED |  | ENCODER | NONE |  | TYPE | ROTARY | ELECTRICAL RATING |  | SPEED | [55 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 402984 | 9304 | 402984 | SEAL RING 327394.0 30X2.5 RD | M | ZSPA | 060780 | PC | SEAL RING ¦ SEAL RING 30X2.5 RD ¦ WEINIG ¦ 327394.0 | URL NOT FOUND |  | WEINIG | 327394.0 | [22 empty] | CLEANSED |  | SEAL | RING |  | TYPE |  | SIZE | D30XS2.5MM | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 403626 | 9304 | 403626 | SHAFT WA91505001 50X170 | M | ZSPA | 060780 | PC | SHAFT ¦ SHAFT 50X170 ¦ WEINIG ¦ WA91505001 | URL NOT FOUND |  | WEINIG | WA91505001 | [22 empty] | CLEANSED |  | SHAFT | NONE |  | TYPE |  | SIZE | 50X170MM | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 406323 | 9301 | 406323 | SHIM 00.114.030 | M | ZSPA | 060780 | PC | SHIM ¦ 00.114.030 ¦ 00.114.030 | URL NOT FOUND |  |  | 00.114.030 | [22 empty] | CLEANSED |  | SHIM | NONE |  | TYPE |  | THICKNESS |  | SIZE |  | MATERIAL | [53 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | MFR UPDATE AS PER WEB SOURCE | 141175 | 9535 | 141175 | SWITCH HEAD ZCK-E05 | M | ZSPA | 061290 | PC | ZCK-E05 ¦ LIMIT SWITCH HEAD ZCKE WITHOUT ¦ LEVER LEFT AND RIGHT ACTUATION | https://www.se.com/ww/en/product/download-pdf/ZCKE05 |  | SCHNEIDER ELECTRIC | ZCK-E05 | [22 empty] | ENRICHED |  | HEAD | NONE | W/O LEVER LEFT AND RIGHT ACTUATION,ZCKE | TYPE | LIMIT SWITCH,ROTARY | SIZE |  | RATING |  | MATERIAL | METAL | [52 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 109117 | 9301 | 109117 | TAPER LOCK BUSH TL1210-30 | M | ZSPA | 061004 | PC |  | https://www.northwestbearings.co.uk/metric-taperlocks/TL1210-30-Tapered-Locking-Bush-With-a-30mm-Bore |  |  | TL1210-30 | [22 empty] | ENRICHED |  | BUSHING | DRIVE |  | TYPE | TAPER LOCK | SIZE NUMBER |  | BORE | 30MM | LENGTH | 25,4MM | TAPER |  | NUMBER OF BOLTS |  | BOLT CIRCLE DIAMETER |  | KEYWAY SIZE | W8XDP3,3MM | MATERIAL | [43 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 194861 | 9669 | 194861 | TERMINAL MODULE 6ES7193-4CC30-0AA0 | M | ZSPA | 061301 | PC | 6ES7193-4CC30-0AA0 ¦ SIEMENS | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7193-4CC30-0AA0&language=en |  | SIEMENS | 6ES7193-4CC30-0AA0 | [22 empty] | CLEANSED |  | MODULE | NONE |  | TYPE | TERMINAL | FUNCTION |  | INPUT |  | OUTPUT |  | ELECTRICAL RATING | [51 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | PART NO CHANGED AS PER WEB SOURCE | 145028 | 9301 | 145028 | TIMING BELT HTD-960-8M30 30X960 | M | ZSPA | 061002 | PC |  | https://in.rsdelivers.com/product/contitech/960-8m-30/contitech-960-8m-30-timing-belt-120-teeth-960mm/4750822 |  |  | 960 8M 30 | [22 empty] | ENRICHED |  | BELT | TIMING |  | TYPE | HIGH TORQUE DRIVE | BELT NUMBER |  | PITCH | 8MM | TOP WIDTH | 30MM | THICKNESS | 8MM | BELT LENGTH | 960MM | NUMBER OF TEETH | 120 | MATERIAL | RUBBER | [44 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | MFR UPDATE AS PER WEB SOURCE | 198702 | 9669 | 198702 | VALVE HGL-M5-B | M | ZSPA | 061590 | PC | VALVE ¦ HGL-M5-B ¦ M00002494 ¦ NON-RETURN ¦ PILOTED | https://www.festo.com/us/en/a/download-document/datasheet/530029 |  | FESTO | HGL-M5-B |  | M00002494 | [20 empty] | ENRICHED |  | VALVE | CHECK |  | TYPE | PILOTED NON-RETURN | CONFIGURATION |  | SIZE |  | CONNECTION |  | PORT |  | DESIGN RATING |  | PRESSURE/TEMPERATURE RATING | 0.05-1MPA/-10 TO 60C | STYLE |  | BODY MATERIAL |  | TRIM | ALUMINIUM ALLOY(BOLT),DIE CAST ZINC(SWIVEL JOINT) | SOFTGOODS | NBR | PROCESS FLUID | [37 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 401758 | 9302 | 401758 | VALVE TERMINAL 10P-14-4A-MP-R-U-JMNJ | M | ZSPA | 061590 | PC | VALVE TERMINAL ¦ VALVE TERMINAL ¦ FESTO ¦ 10P-14-4A-MP-R-U-JMNJ | URL NOT FOUND |  | FESTO | 10P-14-4A-MP-R-U-JMNJ | [22 empty] | CLEANSED |  | TERMINAL | NONE |  | TYPE | VALVE | ELECTRICAL RATING |  | MATERIAL | [55 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 |  | 137838 | 9301 | 137838 | V-BELT XPB 2240 | M | ZSPA | 061001 | PC |  | https://www.grainger.com/product/GATES-Metric-V-Belt-XPB-1NJP9 |  |  | XPB 2240 | [22 empty] | ENRICHED |  | BELT | V |  | TYPE |  | BELT NUMBER | XPB2240 | NUMBER OF RIBS | 1 | TOP WIDTH | 16MM | THICKNESS | 13MM | INSIDE CIRCUMFERENCE |  | OUTSIDE CIRCUMFERENCE |  | DATUM LENGTH | 2267MM | MATERIAL | [43 empty] | Production Completed
STP | Data Enrichment | RYM | RYM | Completed | 2023-03-10 | 2023-03-10 | MFR UPDATE AS PER WEB SOURCE | 403175 | 9304 | 403175 | WASHER MB1 | M | ZSPA | 062207 | PC | WASHER ¦ WASHER ¦ MB1 | https://www.skf.com/us/products/rolling-bearings/accessories/lock-nuts/keyway/productid-MB%201 |  | SKF | MB1 | [22 empty] | ENRICHED |  | WASHER | LOCK |  | TYPE |  | NOMINAL SIZE |  | INSIDE DIAMETER | 12MM | OUTSIDE DIAMETER | 25MM | THICKNESS | 1MM | HEIGHT |  | SURFACE TREATMENT |  | MATERIAL |  | SPECIFICATION |  | GRADE | [41 empty] | Production Completed