## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060121388 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060121388 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | COIL, SOLENOID VALVE, 240V AC, PUMP, SPE | COIL, SOLENOID VALVE, 240V AC, PUMP, SPERRY VICKERS | 02-178049 | 0019008942 | SPERRY VICKERS | https://okmarts.com/eaton-vickers-solenoid-coil-02-178049.html |  |  | 02-178049 | [5 empty] | PUMP | [5 empty] | CLEANSED | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 240 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060119927 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060119927 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | COIL, SOLENOID VALVE, 24V DC, SERIES WP4 | COIL, SOLENOID VALVE, 24V DC, SERIES WP4, AIRMATE CONTROL |  |  |  | https://www.jsc.no/en/valves-actuation/produkter/actuation/solenoid-valves/solenoid-valves-catalog/mar80110-detail |  | AIRMATE CONTROL | WP4 | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060116652 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060116652 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | COIL, SOLENOID VALVE, 24V, DWG J1615, CH | COIL, SOLENOID VALVE, 24V, DRG J1615, CHROME RECOVERY PLANT, HYDRAULIC ACTUATOR, BATAC JIG, KHD HUMBOLDT WEDAG | 2388 | 0019008711 | HUMBOLDT WEDAG | URL NOT FOUND |  |  | 2388 | [8 empty] | J1615 |  |  | CLEANSED | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 24 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CHROME RECOVERY PLANT,BATAC JIG,FOR HYDRAULIC ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060119926 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060119926 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | COIL, SOLENOID VALVE, 50HZ, ASCO | COIL, SOLENOID VALVE, 50HZ, ASCO | 99216002D | 0019000328 | AUTOMATIC SWITCH CO USA | https://lowlaundry.com/parts-milnor-96t1003a71.html |  |  | 99216002D | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 240 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060171578 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060171578 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | COIL, SOLINOID, 220 VOLT, 210 BAR, EATON | COIL, SOLINOID, 220 VOLT, 210 BAR, EATON | 300AA00086A | 0019007204 | EATON CORPORATION | https://www.eaton.com/br/en-us/skuPage.300AA00086A.specifications.html |  |  | 300AA00086A | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE | CARTRIDGE VALVE | VOLTAGE RATING | 230 VAC | POWER RATING | 20 W | SIZE |  | MATERIAL | GLASS FILLED NYLON | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 43650-A | ADDITIONAL FEATURES EN | PRESSURE RATING:210 BAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060227683 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060227683 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,110V,FOR LC1F330 LX1FH1102 | COIL FOR LC1F330 LX1FH1102 110V SCHNEIDER |  |  |  | https://www.se.com/us/en/product/LX1FH1102/tesys-f-contactor-coil-lx1fh-110-115-v-ac-40-400-hz/ |  | SCHNEIDER | LX1FH1102 | [6 empty] | LC1F330 |  |  |  |  | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 110-115 VAC | CURRENT RATING |  | TEMPERATURE RATING | 23-131 DEG F | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060229995 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060229995 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,16MM 50MM LENGTH PYZ-050088 | COIL, 16MM 50MM LENGTH PYZ-050088 | PYZ-050088 |  |  | URL NOT FOUND |  |  | PYZ-050088 | [11 empty] | CLEANSED | COIL | NO MODIFIER | TYPE |  | MATERIAL |  | DIAMETER | 16 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LENGTH:50 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060243126 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060243126 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,230V/50/08 HP | COIL, 230V/50/08 HP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 230 V | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:8 HP,FREQUENCY RATING:50 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060229913 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060229913 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,24VDC 16MM ID 50 X 48 LONG HC162419 | COIL,24VDC 16MM ID 50 X 48 LONG HC162419 | HC162419 | 0019011367 | ELECTRO DIESEL | URL NOT FOUND |  | ELECTRO DIESEL | HC162419 | [11 empty] | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE | ID 16 X OD 50 X LG 48 MM | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255238 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255238 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | COIL,48V,50/60HZ,EA | COIL,48V,50/60HZ,CODE,TX1-D4E,EA | TX1-D4E | 0019011819 | Unknown | URL NOT FOUND |  | Unknown | TX1-D4E | [11 empty] | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 48 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50/60 HZ,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060232657 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060232657 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,55041156,DD211L | COIL, PN 55041156, DD211L | 55041156 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/55041156_coil/ |  | SANDVIK | 55041156 | [6 empty] | DD211L |  |  |  |  | CLEANSED | COIL | NO MODIFIER | TYPE |  | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232668 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060232668 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,55208665,DD210L | COIL, PN 55208665, DD210L | 55208665 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/55208665_coil/ |  | SANDVIK | 55208665 | [6 empty] | DD210L |  |  |  |  | CLEANSED | COIL | NO MODIFIER | TYPE |  | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060180890 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060180890 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | COIL,AC RBS1L P/N 3177309252 | COIL, AC RBS1L P/N 3177309252 | 3177309252 | 0019008517 | ATLAS COPCO SOUTH AFRICA (PTY) | URL NOT FOUND |  | ATLAS COPCO SOUTH AFRICA (PTY) | 3177309252 | [6 empty] | RBS1L |  |  |  |  | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060245407 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060245407 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | COIL,ALLEN BRADLEY,100-DFSV40 24AC/DC F | COIL, ALLEN BRADLEY,100-DFSV40 24AC/DC FOR CONTACTOR, 100-D250 | 100-DFSV40 | 0019011819 | Unknown | https://literature.rockwellautomation.com/idc/groups/literature/documents/in/100-in026_-en-e.pdf |  | ALLEN BRADLEY | 100-DFSV40 | [11 empty] | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 24 VAC/VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CONTACTOR 100-D250 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060241663 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060241663 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,CLICKON,ASSEMBLY,PN:9152.02400,24DC | INST,COIL,CLICK ON,ASSEMBLY,PN:9152.02400,24VDC | PN:9152.02400 |  |  | URL NOT FOUND |  |  | PN:9152.02400 | [11 empty] | CLEANSED | COIL | ELECTRICAL | TYPE | INST,CLICK ON | SIZE |  | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060217850 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060217850 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,CLOSING,110V DC,ABB SAFEPLUS | COIL,CLOSING,110V DC,ABB SAFEPLUS, AS PER SSI 5009. | 1VDC000014R4 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | URL NOT FOUND |  | ABB SOUTH AFRICA (PTY) LTD | 1VDC000014R4 | [11 empty] | CLEANSED | COIL | ELECTRICAL | TYPE | CLOSING | SIZE |  | VOLTAGE RATING | 110 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAFEPLUS | ADDITIONAL FEATURES EN | AS PER SSI 5009 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060181449 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060181449 | BHP1 | BHP Spares & Supplies | 321310 | Electronic component parts and raw materials and accessories | EA | MAN2 | COIL,CLOSING,VD4 CB 1VCR004291G0005 | COIL,CLOSING,VD4 CB 1VCR004291G0005, AS PER SSI 3156 |  |  |  | https://new.abb.com/products/1VCR004291G0005/1vcr004291g0005 |  |  | 1VCR004291G0005 | [11 empty] | ENRICHED | COIL | ELECTRICAL | TYPE | SHUNT CLOSING RELEASE | SIZE |  | VOLTAGE RATING | 110 VAC/VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CIRCUIT BREAKER VD4,AS PER SSI 3156 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060166283 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060166283 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,ELECTRICAL,220V,V48A417Y-C2 DIRE | COIL, ELECTRICAL: 220V, V48A417Y-C2 DIRECTIONAL CONTROL VALVE, NORGREN |  |  |  | URL NOT FOUND |  | NORGREN | V48A417Y-C2 | [11 empty] | CLEANSED | VALVE | CONTROL | TYPE | DIRECTIONAL | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060239733 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060239733 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,FESTO,24V,4.5W,MSFG 24/42,50/60 | COIL, FESTO, 24V, 4.5W, MSFG 24/42, 50/60 |  |  |  | https://www.festo.com/us/en/a/34411/ |  | FESTO | MSFG 24/42 | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 42 VAC,24 VDC | POWER RATING | 4.5 W | SIZE |  | MATERIAL | DUROPLAST/COPPER/STEEL | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50/60 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060224233 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060224233 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,FOR N800 CONTACTOR | COIL,FOR N800 CONTACTOR,LIQUID STARTER BALL MILL PSP4 |  |  |  | URL NOT FOUND | [8 empty] | LIQUID STARTER BALL MILL | PSP4 |  |  |  |  | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CONTACTOR N800 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060251885 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251885 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,GENERATOR,METAL,DETECTOR | COIL,GENERATOR,METAL,DETECTOR |  |  |  | URL NOT FOUND | [8 empty] | GENERATOR,METAL DETECTOR | [5 empty] | CLEANSED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING |  | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060241867 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060241867 | BHP1 | BHP Spares & Supplies | 831018 | Electric utilities | EA | MAN2 | COIL,HYDRAULIC,ELECTRODE, | COIL, HYDRAULIC, ELECTRODE, 45-K4-30G24 04, 24VDC,R901370939,, NEW STOCK AS PER ESSI; 1632, PART: 45-K4-30G24 04, 24VDC,R901370939, |  |  |  | https://store.boschrexroth.com/Hydraulics/Valves/Accessories/Coils/SOLENOID-COIL_R901370939?cclcl=en_SA |  |  | 45-K4-30G24 04 |  |  | R901370939 |  |  | HYDRAULIC ELECTRODE | [5 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1632 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060251127 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251127 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | COIL,INDICATOR,FILTER,REXROTH,R928028409 | COIL INDICATOR FILTER HOUSING, REXROTH, PART NO R928028409, EP T1-T3 FURNACE DOORS | R928028409 | 0019011819 | Unknown | https://ph.rs-online.com/web/p/pressure-sensors/8696882 |  | REXROTH | R928028409 | [11 empty] | CLEANSED | HOUSING | FILTER | TYPE | COIL INDICATOR | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTOR:M12 X 1,FOR EP T1-T3 FURNACE DOORS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060183192 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060183192 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,LUCIFER,MODEL;481865-A5,110 V. | COIL,LUCIFER,MODEL;481865-A5,110 V., AS PER SSI 2877. | 48 1865-A5 110V | 0019002014 | LUCIFER VALVE CO | https://idealmachinery.com/inventory/valves-accessories/lucifer/33903-48-1865a5-f |  | LUCIFER VALVE CO | 48 1865-A5 110V | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 110 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2877 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060227767 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060227767 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,LX9FF110,110V FOR LC1F150 | COIL, LX9FF110 110V FOR LC1F150 SCHNEIDER |  |  |  | https://www.se.com/in/en/product/LX9FF110/tesys-f-specific-contactor-coil-110-115-v-ac-40-400-hz-low-consumption/ |  | SCHNEIDER | LX9FF110 | [6 empty] | LC1F150 |  |  |  |  | ENRICHED | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 110-115 VAC | CURRENT RATING |  | TEMPERATURE RATING | -5-55 DEG C | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060235872 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060235872 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | COIL,MODEL,770224,24VDC,CONNECTOR,DIODE | COIL,MODEL:770224,24VDC,FORM A CONNECTOR WITH TVS DIODE |  |  |  | https://www.sunhydraulics.com/model/770224 |  |  | 770224 | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 VDC | POWER RATING | 22 W | SIZE | 50 MM | MATERIAL |  | ENCLOSURE | IP65/IP67 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTOR:FORM A,W/ TVS DIODE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060217849 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060217849 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,OPENING,110V DC,ABB SAFEPLUS | COIL,OPENING,110V DC,ABB SAFEPLUS, AS PER SSI 5010. | 1VDC00000PR4 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | URL NOT FOUND |  | ABB SOUTH AFRICA (PTY) LTD | 1VDC00000PR4 | [11 empty] | CLEANSED | COIL | ELECTRICAL | TYPE | OPENING | SIZE |  | VOLTAGE RATING | 110 VDC | CURRENT RATING |  | TEMPERATURE RATING |  | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SAFEPLUS | ADDITIONAL FEATURES EN | AS PER SSI 5010 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060251888 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251888 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,RECEIVER,METAL,DETECTOR | COIL,RECEIVER,METAL,DETECTOR |  |  |  | URL NOT FOUND | [8 empty] | METAL DETECTOR | [5 empty] | CLEANSED | COIL | NO MODIFIER | TYPE | RECEIVER | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060180103 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060180103 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | COIL,SCHNEIDER,MORRIS CRANE,SERIAL NUMBE | COIL,SCHNEIDER,MORRIS CRANE,SERIAL NUMBER 9204,(LX1-FJ220), AS PER SSI 3152. | LX1-FJ220 | 0019004855 | SCHNEIDER P/L | https://www.se.com/ww/en/product/LX1FJ220/tesys-f-contactor-coil-lx1fj-220-230-v-ac-40-400-hz/ |  | SCHNEIDER P/L | LX1-FJ220 | [5 empty] | CRANE |  | MORRIS |  | 9204 |  | ENRICHED | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 220-230 VAC | CURRENT RATING |  | TEMPERATURE RATING | -5-55 DEG C | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3152 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060180109 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060180109 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | COIL,SCHNEIDER,MORRIS CRANE,SERIAL NUMBE | COIL,SCHNEIDER,MORRIS CRANE,SERIAL NUMBER 9204,(LX1-FF220), AS PER SSI 3152. | LX1-FF220 | 0019004855 | SCHNEIDER P/L | https://www.se.com/ww/en/product/LX1FF220/tesys-f-contactor-coil-lx1ff-220-230-v-ac-50hz-265-277-v-ac-60-hz/ |  | SCHNEIDER P/L | LX1-FF220 | [5 empty] | CRANE |  | MORRIS |  | 9204 |  | ENRICHED | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 220-230/265-277 VAC | CURRENT RATING |  | TEMPERATURE RATING | -5-55 DEG C | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3152 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060180106 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060180106 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | COIL,SCHNEIDER,MORRIS CRANE,SERIAL NUMBE | COIL,SCHNEIDER,MORRIS CRANE,SERIAL NUMBER 9204,(LX1-FH2202), AS PER SSI 3152. | LX1-FH2202 | 0019004855 | SCHNEIDER P/L | https://www.se.com/ww/en/product/LX1FH2202/tesys-f-contactor-coil-lx1fh-220-230-v-ac-40-400-hz/ |  | SCHNEIDER P/L | LX1-FH2202 | [5 empty] | CRANE |  | MORRIS |  | 9204 |  | ENRICHED | COIL | ELECTRICAL | TYPE | CONTACTOR | SIZE |  | VOLTAGE RATING | 220-230 VAC | CURRENT RATING |  | TEMPERATURE RATING | -5-55 DEG C | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3152 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060250482 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060250482 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,SHUNT TRIP,SHTD250-05SVRFS,4 POLE | COIL,SHUNT TRIP,SHTD250-05SVRFS,4 POLE BREAKER,MITSUBISHI,DC 220-250V,R HAND FITTING,4P,FOR W75, 90, 105 TERMINAL BLOCK | SHTD250-05SVRFS | 0019011819 | Unknown | https://www.lcautomation.com/wb_documents/mitsubishi/mitsubishi%20low%20voltage%20switchgear%20catalogue.pdf |  | MITSUBISHI | SHTD250-05SVRFS | [11 empty] | CLEANSED | TRIP | SHUNT | TYPE | RIGHT HAND FITTING | OPERATING VOLTAGE | 220-250 VDC | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 4 POLE BREAKER,TERMINAL BLOCK W75,90,105 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060250483 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060250483 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,SHUNT TRIP,SHTD250-05SVRS,3 POLE | COIL,SHUNT TRIP,SHTD250-05SVRS,3 POLE BREAKER,MITSUBISHI,DC 220-250V,R HAND FITTING,FOR W75, 90, 105 TERMINAL BLOCK | SHTD250-05SVRS | 0019011819 | Unknown | https://www.lcautomation.com/wb_documents/mitsubishi/mitsubishi%20low%20voltage%20switchgear%20catalogue.pdf |  | MITSUBISHI | SHTD250-05SVRS | [11 empty] | CLEANSED | TRIP | SHUNT | TYPE | RIGHT HAND FITTING | OPERATING VOLTAGE | 220-250 VDC | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 3 POLE BREAKER,TERMINAL BLOCK W75,90,105 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060173778 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060173778 | BHP1 | BHP Spares & Supplies | 271317 | Pneumatic cylinders and components | EA | MAN2 | COIL,SOLENOID, 0017069-T15,HYDRAULIC,MIX | COIL,SOLENOID, 0017069-T15,HYDRAULIC,MIXER,PSP 3 PELLETISING PLANT-MFC | P41 POSITION 41760-604361 | 0019002490 | OUTOTEC | URL NOT FOUND |  | OUTOTEC | P41 POSITION 41760-604361 | [5 empty] | MIXER | 0017069-T15 |  |  |  |  | CLEANSED | COIL | SOLENOID | TYPE | HYDRAULIC | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PSP 3 PELLETIZING PLANT-MFC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060145550 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060145550 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COIL,SOLENOID, 24V DC, ASCO, P/N400127-6 | COIL,SOLENOID, 24V DC, ASCO, PART NUMBER 400127-624, PDDS | 400127-624 | 0019009179 | ASCO | URL NOT FOUND |  | ASCO | 400127-624 | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 VDC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PDDS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060256046 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256046 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,SOLENOID,220V,NORGREN,89J,EA | COIL, ELECTRIC, SOLENOID, 220V, NORGREN, QM/48/89J/21, EACH | QM/48/89J/21 | 0019011819 | Unknown | https://www.norgren.com/uk/en/detail/qm_48_89j_21 |  | NORGREN | QM/48/89J/21 | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE | ELECTRIC | VOLTAGE RATING | 220 VAC | POWER RATING |  | SIZE | WD 22 X LG 40 X HT 30 MM | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | WEEE | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060256015 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256015 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,SOLENOID,220V,NORGREN,89J,EA | COIL, ELECTRIC, SOLENOID, 220V, NORGREN, QM/48/89J/21, EACH | QM/48/89J/21 | 0019011819 | Unknown | https://www.norgren.com/uk/en/detail/qm_48_89j_21 |  | NORGREN | QM/48/89J/21 | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE | ELECTRIC | VOLTAGE RATING | 220 VAC | POWER RATING |  | SIZE | WD 22 X LG 40 X HT 30 MM | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | WEEE | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060230379 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060230379 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,SOLENOID,24V UV-71800057 | COIL, SOLENOID, 24V UV-71800057 | UV-71800057 | 0019011370 | AARD MINING | URL NOT FOUND |  | AARD MINING | UV-71800057 | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060230106 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060230106 | BHP1 | BHP Spares & Supplies | 401516 | Compressors | EA | MAN2 | COIL,SOLENOID,HOERDRA38F,OZEN,OSC340U,OZ | COIL,SOLENOID,HOERDRA38F,OZEN,OSC340U,OZE05V27010,ROTARY SCREW,AIR COMP | OZE153V040221 | 0019000000 | 1069 | URL NOT FOUND |  |  | OZE153V040221 | [5 empty] | ROTARY SCREW AIR COMPRESSOR | [5 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOERDRA38F,OSC340U,REF:1069 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060254598 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254598 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,SOLENOID,PARKER,220V,50HZ,6W,EA | COIL, SOLENOID, PARKER, 4827303D-F, DZ903D, 220V-50HZ, 230V-50HZ, 6W, EA | 4827303D F | 0019011819 | Unknown | https://ph.parker.com/cz/cs/32mm-coils-for-fcse-solenoid-valves-to-be-used-in-industrial-and-process-applications/4827303d |  | PARKER | 4827303D F | [6 empty] | DZ903D |  |  |  |  | ENRICHED | COIL | SOLENOID | TYPE | VALVE | VOLTAGE RATING | 220-230 VAC | POWER RATING | 6 W | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50 HZ,EA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060246662 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060246662 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COIL,SOLINOID,24V,UV-71800057 | COIL,SOLINOID,24V,UV-71800057 | UV-71800057 | 0019011819 | Unknown | URL NOT FOUND |  |  | UV-71800057 | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060248438 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060248438 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | COIL,SPRING,2.9OD,LONG | COIL,SPRING,2.9OD,LONG |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPRING | HELICAL/COIL | TYPE |  | SIZE | OD 1.9,LONG | WIRE SIZE |  | FREE LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | LOAD CAPACITY |  | NUMBER OF COILS |  | END TYPE |  | MEAN COIL DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060248927 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060248927 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | COIL,SPRING,MEDIUM,2.5OD | COIL,SPRING,MEDIUM,2.5OD |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPRING | HELICAL/COIL | TYPE |  | SIZE | OD 2.5,MEDIUM | WIRE SIZE |  | FREE LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | LOAD CAPACITY |  | NUMBER OF COILS |  | END TYPE |  | MEAN COIL DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060248439 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060248439 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | COIL,SPRING,SHORT,2.4OD | COIL,SPRING,SHORT,2.4OD |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPRING | HELICAL/COIL | TYPE |  | SIZE | OD 2.4,SHORT | WIRE SIZE |  | FREE LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | LOAD CAPACITY |  | NUMBER OF COILS |  | END TYPE |  | MEAN COIL DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060181450 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060181450 | BHP1 | BHP Spares & Supplies | 321310 | Electronic component parts and raw materials and accessories | EA | MAN2 | COIL,TRIP,VD4 CB 1VCR004289G0005 | COIL,TRIP,VD4 CB 1VCR004289G0005, AS PER SSI 3156 |  |  |  | https://new.abb.com/products/1VCR004289G0005/1vcr004289g0005 |  |  | 1VCR004289G0005 | [11 empty] | ENRICHED | TRIP | SHUNT | TYPE | OPENING RELEASE | OPERATING VOLTAGE |  | SIZE |  | MATERIAL |  | TRIP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VD4,CB,AS PER SSI 3156 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060240295 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060240295 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | COIL,VICKERS,24V,H507848,3PIN | INSTR,COIL,VICKERS,24V,H507848,3PIN | H507848 |  |  | https://www.jordan-anwar.com/product/jordan-anwar/pneumatic-system/electrical-coils/vickers-h-507848-solenoid-coil-%E2%80%8E/ |  | VICKERS | H507848 | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 VDC | POWER RATING | 30 W | SIZE | WD 46 X LG 60 MM | MATERIAL |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:3 PIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060174249 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060174249 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,VICKERS,NG10-110V AC,50HZ,EJE,IP 65 | COIL,VICKERS,NG10-110V AC,50HZ,EJE,IP 65,100% ED,700/105 VA,617475, AS PER SSI 0245. | 617475 | 0019008634 | EDMIK | https://www.jordan-anwar.com/product/jordan-anwar/pneumatic-system/electrical-coils/vickers-617475-solenoid-coil/ |  | EDMIK | 617475 |  | VICKERS | [9 empty] | ENRICHED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 110 VAC | POWER RATING |  | SIZE | WD 70 X LG 45 MM | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:3 PIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060174250 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060174250 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COIL,VICKERS,NG10-220V AC,50HZ,JJD,IP 65 | COIL,VICKERS,NG10-220V AC,50HZ,JJD,IP 65,100% ED,700/105 VA,617476, AS PER SSI 0246 | 617476 | 0019008634 | EDMIK | http://www.valvulaslimaperu.com/data-s-2/DG4V-VICKERS.pdf |  | EDMIK | 617476 |  | VICKERS | [9 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 10-220 VAC | POWER RATING | 700/105 VA | SIZE |  | MATERIAL |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50 HZ,OPERATION:ED 100 PCT,NG,JJD,AS PER SSI 0246 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060170152 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060170152 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | COIL: 110 VOLT FOR VICKERS VALVE | COIL: 110 VOLT FOR VICKERS VALVE, AS PER STOCK SSI 1619 | 02-178048 | 0019000982 | VICKERS INC,USA [DOUBLE A VALVE DIV | https://okmarts.com/solenoid-coil/eaton-vickers-solenoid-coil-02-178048.html |  | VICKERS INC,USA [DOUBLE A VALVE DIV | 02-178048 | [5 empty] | VALVE | [5 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 110 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER STOCK SSI 1619 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060170153 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060170153 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | COIL: PARKER 30W,110 VOLT DC,N/O | COIL: PARKER 30W,110 VOLT DC,N/O, AS PER STOCK SSI 1621 | 851020120 VAL | 0019002518 | PARKER MOTION & CONTROL | https://www.jordan-anwar.com/product/jordan-anwar/pneumatic-system/electrical-coils/parker-851020-solenoid-coil-%E2%80%8E/ |  | PARKER MOTION & CONTROL | 851020120 VAL | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 110 VDC | POWER RATING | 30 W | SIZE | WD 31 X LG 45 MM | MATERIAL |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER STOCK SSI 1621,CONTACT CONFIGURATION:N/O | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060147139 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060147139 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COIL:SOLENOID, 115 VOLT AC, SECONDARY DE | COIL:SOLENOID, 115 VOLT AC, SECONDARY DE-DUSTING FILTER BAG SYSTEM, SIZE 3600, BATEMAN ENGINEERING |  |  |  | URL NOT FOUND |  | BATEMAN ENGINEERING | [6 empty] | SECONDARY DE-DUSTING FILTER BAG SYSTEM SIZE 3600 | [5 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 115 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060239442 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060239442 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | COILS ENCAPSULATED LT3150/10 | COILS ENCAPSULATED LT3150/10 |  |  |  | URL NOT FOUND |  |  | LT3150/10 | [11 empty] | CLEANSED | COIL | NO MODIFIER | TYPE | ENCAPSULATED | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060123994 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060123994 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COILS, 110 VOLT, SIZE 4, GENERAL ELEC | COILS, 110 VOLT, SIZE 4, GENERAL ELECTRIC | 55-501463G007 | 0019008693 | GENERAL ELECTRIC | https://www.radwell.co.uk/en-GB/Buy/GENERAL%20ELECTRIC/GENERAL%20ELECTRIC/55-501463-G007/?redirect=true |  | GENERAL ELECTRIC | 55-501463G007 | [11 empty] | CLEANSED | COIL | ELECTROMAGNET | TYPE |  | SIZE |  | POWER RATING |  | COIL VOLTAGE | 110 V | CURRENT RATING |  | MATERIAL |  | INSULATION CLASS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060123995 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060123995 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COILS, 220 VOLT, SIZE 1, GENERAL ELEC | COILS, 220 VOLT, SIZE 1, GENERAL ELEC | 15D21G008 | 0019008693 | GENERAL ELECTRIC | https://www.electrical.com/Products/Motor-Control-General-Electric/15D21G008 |  | GENERAL ELECTRIC | 15D21G008 | [11 empty] | ENRICHED | COIL | ELECTROMAGNET | TYPE |  | SIZE |  | POWER RATING |  | COIL VOLTAGE | 220 V | CURRENT RATING |  | MATERIAL |  | INSULATION CLASS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060123996 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060123996 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COILS, 220 VOLT, SIZE 2, GENERAL ELEC | COILS, 220 VOLT, SIZE 2, GENERAL ELECTRIC | 15D22G008 | 0019008693 | GENERAL ELECTRIC | https://www.radwell.co.uk/Buy/GENERAL%20ELECTRIC/GENERAL%20ELECTRIC/15D22-G008?redirect=true |  | GENERAL ELECTRIC | 15D22G008 | [11 empty] | ENRICHED | COIL | ELECTROMAGNET | TYPE |  | SIZE |  | POWER RATING |  | COIL VOLTAGE | 220 V | CURRENT RATING |  | MATERIAL |  | INSULATION CLASS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060123997 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060123997 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COILS, 220 VOLT, SIZE 3, GENERAL ELEC | COILS, 220 VOLT, SIZE 3, GENERAL ELECTRIC | 55-501336G008 | 0019008693 | GENERAL ELECTRIC | https://www.radwell.co.uk/en-GB/Buy/GENERAL%20ELECTRIC/GENERAL%20ELECTRIC/55-501336G008/?redirect=true |  | GENERAL ELECTRIC | 55-501336G008 | [11 empty] | CLEANSED | COIL | ELECTROMAGNET | TYPE |  | SIZE |  | POWER RATING |  | COIL VOLTAGE | 220 V | CURRENT RATING |  | MATERIAL |  | INSULATION CLASS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060123998 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060123998 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COILS, 220 VOLT, SIZE 4, GENERAL ELEC | COILS, 220 VOLT, SIZE 4, GENERAL ELECTRIC | 55-501463G008 | 0019008693 | GENERAL ELECTRIC | https://electrification.us.abb.com/catalog/controlcatalog/13_CC.pdf?omni_key=PG-CC13 |  | GENERAL ELECTRIC | 55-501463G008 | [11 empty] | CLEANSED | COIL | ELECTROMAGNET | TYPE |  | SIZE |  | POWER RATING |  | COIL VOLTAGE | 220 V | CURRENT RATING |  | MATERIAL |  | INSULATION CLASS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060024803 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060024803 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | COILS, 220 VOLTS AC, SIEMENS | COILS, 220 VOLTS AC, SIEMENS | 3TY4803-OAMO | 0019000502 | BLACK & DECKER A'ASIA PTY. LTD. | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3TY4803-0AM0 |  | BLACK & DECKER A'ASIA PTY. LTD. | 3TY4803-OAMO |  | SIEMENS | [9 empty] | CLEANSED | COIL | RELAY | TYPE |  | COIL RATING | 220/264 VAC | ELECTRICAL RATING | 50/60 HZ | CONTACTOR TYPE |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060231776 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060231776 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | COILS,HYDAC,PERMIT VALVES | COILS, HYDAC, PERMIT VALVES, NEW STOCK AS PER ESSI: 1297 | 770-223 | 0019008713 | HYDAC | https://www.sunhydraulics.com/model/770223 |  | HYDAC | 770-223 | [5 empty] | PERMIT VALVE | [5 empty] | ENRICHED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 230 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO/DIN 43650 | ADDITIONAL FEATURES EN | FREQUENCY RATING:50/60 HZ,NEW STOCK AS PER ESSI 1297 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060214890 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060214890 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | COL,ELEC,SCHNEDER,LX1-FG220,525V,50 HZ | COIL,ELEC,SCHNEIDER,LX1-FG220,525V,50 HZ,AC,3 PHASE, AS PER SSI 4219. | LX1-FG220 | 0019003293 | TELEMECANIQUE | https://www.se.com/ww/en/product/LX1FG220/tesys-f-contactor-coil-lx1fg-220-230-v-ac-50-hz-265-277-v-ac-60-hz/ |  | TELEMECANIQUE | LX1-FG220 |  | SCHNEIDER ELECTRIC | [9 empty] | ENRICHED | COIL | ELECTRICAL | TYPE |  | SIZE |  | VOLTAGE RATING | 220-230/265-277 VAC | CURRENT RATING |  | TEMPERATURE RATING | -5-55 DEG C | INSULATION CLASS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3 PHASE,AS PER SSI 4219,FREQUENCY RATING:50/60 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060219033 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060219033 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | COL,PARK BRAKE SOLOD P/N GH99990691 | COIL, PARK BRAKE SOLIOID P/N GH99990691 | GH99990691 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | GH99990691 | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE | PARK BRAKE | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060220295 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060220295 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | COL,SOLENOD,R900071030,220 VAC | COIL,SOLENOID, R900071030, 220 VAC, NEW STOCK AS PER ESSI-1634 | SOLENOD COL R900071030, 220 VAC |  |  | https://store.boschrexroth.com/apex/ccrz__ProductDetails?cclcl=en_US&seoid=Solenoid_R900071030&sku=R900071030 |  |  | R900071030 | [11 empty] | ENRICHED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 230 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY RATING:50/60 HZ,NEW STOCK AS PER ESSI 1634 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060221855 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060221855 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | COL,WATER COOLED,CENTRE ROOF UPPER,D | COIL, WATER COOLED, CENTRE ROOF UPPER, DGR F7000-43-23-026, QA ACCORDING, TO NOTES ON GA DRG F7000-43-23-022, NEW STOCK AS PER SSI 7351., TEST CERIFICATE TO BE SUPPLIED WITH ORDER DELIVERY | F7000-43-23-026 | 0019009967 | UNDEFINED | URL NOT FOUND |  | UNDEFINED | F7000-43-23-026 | [8 empty] | F7000-43-23-022 |  |  | CLEANSED | COIL | COOLING | TYPE | WATER,CENTRE ROOF UPPER | DIAMETER |  | MEDIUM |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | QA ACCORDING,TO NOTES ON GA,NEW STOCK AS PER SSI 7351,TEST CERTIFICATE TO BE SUPPLIED W/ORDER DELIVERY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060247419 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060247419 | BHP1 | BHP Spares & Supplies | 311700 | Bearings, bushings, wheels, and gears | EA | MAN2 | HELICOIL,STAINLESS STEEL 304,UNC,-20 | HELICOIL,STAINLESS STEEL 304,UNC,-20 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | SPRING | HELICAL/COIL | TYPE |  | SIZE |  | WIRE SIZE |  | FREE LENGTH |  | MATERIAL | STAINLESS STEEL 304 | MATERIAL SPECIFICATION |  | LOAD CAPACITY |  | NUMBER OF COILS |  | END TYPE |  | MEAN COIL DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:HELICOIL,THREAD TYPE:20 UNC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060247836 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060247836 | BHP1 | BHP Spares & Supplies | 411000 | Laboratory Equipment | EA | MAN2 | ICP,LOAD,COIL | ICP,LOAD,COIL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COIL | NO MODIFIER | TYPE | ICP,LOAD | MATERIAL |  | DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060234259 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060234259 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | MAGNETIC COIL PDAL1 | MAGNETIC COIL PDAL1 |  |  |  | URL NOT FOUND |  |  |  | PDAL1 | [10 empty] | CLEANSED | COIL | ELECTROMAGNET | TYPE |  | SIZE |  | POWER RATING |  | COIL VOLTAGE |  | CURRENT RATING |  | MATERIAL |  | INSULATION CLASS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060225823 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060225823 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SOLENOD,COL,24V (9002159) | SOLENOID, COIL, 24V (9002159) | 9002159 | 0019011370 | AARD MINING | URL NOT FOUND |  | AARD MINING | 9002159 | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 24 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060180656 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060180656 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SOLENOID ATLAS COPCO RIG S1L PART NR 322 | SOLENOID ATLAS COPCO RIG S1L PART NR 3222310610 | 3222310610 | 0019008517 | ATLAS COPCO SOUTH AFRICA (PTY) | https://www.aga-parts.com/atlas-copco/part/3222310610_solenoid/ |  | ATLAS COPCO SOUTH AFRICA (PTY) | 3222310610 | [6 empty] | RIGS1L |  |  |  |  | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060251171 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251171 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | SOLENOID COIL,SC2-A2,220AC,25MA,EA | SOLENOID COIL,SC2-A2,220AC,25MA,EA |  |  |  | URL NOT FOUND |  |  | SC2-A2 | [11 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 220 VAC | POWER RATING | 5.5 VA | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURRENT RATING:25 MA,EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060216187 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060216187 | BHP1 | BHP Spares & Supplies | 301019 | Coil | EA | MAN2 | SOLENOID COIL; 230V AC, RECTIFIED; DIN P | SOLENOID COIL; 230V AC, RECTIFIED; DIN PLUG; EP T1-T3 FURNACE DOORS |  |  |  | URL NOT FOUND | [8 empty] | FURNACE DOORS | EP T1-T3 |  |  |  |  | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 230 VAC | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RECTIFIED,DIN PLUG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060180887 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060180887 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SOLENOID, AC RBS1L P/N 5112310949 | SOLENOID, AC RBS1L P/N 5112310949 | 5112310949 | 0019008517 | ATLAS COPCO SOUTH AFRICA (PTY) | https://www.aga-parts.com/ar/atlas-copco-parts?page=4834 |  | ATLAS COPCO SOUTH AFRICA (PTY) | 5112310949 | [6 empty] | RBS1L |  |  |  |  | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060199617 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060199617 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SOLENOID, APE 24V SINGLE WIRE P/N 37DZS1 | SOLENOID, APE 24V SINGLE WIRE P/N 37DZS1E2 | 37DZS1E2 | 0019011367 | ELECTRO DIESEL | https://www.excavatorelectricalparts.com/sale-14215959-04234303-fits-deutz-engine-stop-solenoid-24v-ape-37dzs1e2-diesel-engine-stop-solenoid.html |  | ELECTRO DIESEL | 37DZS1E2 |  | APE | 37DZS1E2 | [8 empty] | CLEANSED | COIL | SOLENOID | TYPE | SINGLE WIRE | VOLTAGE RATING | 24 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060219729 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060219729 | BHP1 | BHP Spares & Supplies | 432116 | Computer accessories | EA | MAN2 | SOLENOID, EOH | SOLENOID, EOH, NEW STOCK AS PER SSI 7056. |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING |  | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EOH,NEW STOCK AS PER SSI 7056 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060180976 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060180976 | BHP1 | BHP Spares & Supplies | 411200 | Laboratory supplies and fixtures | EA | MAN2 | CATALYST TUBE 10.75 772-739 | CATALYST TUBE 10.75 772-739 | 772-739 | 0019008760 | LECO CORP | URL NOT FOUND |  | LECO CORP | 772-739 | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | CATALYST | SIZE | 10.75 | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060248189 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060248189 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | COAXIAL TUBE,IFM,LEVEL SENSOR,E43217,EA | COAXIAL, TUBE, FOR IFM LEVEL SENSOR, TEMP RANGE -40 TO 200 DEG, PRESSURE RATING 16 BAR, PROCESS FITING G 3/4 INC, LENTH 1.6 METER, P | E43217 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/E43217 |  | IFM | E43217 | [5 empty] | LEVEL SENSOR | [5 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE | 1.6 M | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING | 16 BAR | TEMPERATURE RATING | -40 TO 200 DEG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:G 3/4 IN BSP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060251661 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251661 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | COMBUSTION TUBE,PART NO 619-591-683,EA | COMBUSTION TUBE, PART NO 619-591-683, EACH |  |  |  | https://www.stellarindustrial.com/Product/LECOC-619-591-683 | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | COMBUSTION | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060252534 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060252534 | BHP1 | BHP Spares & Supplies | 201224 | Production systems equipment | EA | MAN2 | INS TUBE,HANGER BRACKET,S/GLASS G7,41X31 | INSULATION TUBE,HANGER BRACKET,S/GLASS G7,41X31X34,D4 AS PER DRW NO MC002-34-32-529 REV3,ITEM NO8 |  |  |  | URL NOT FOUND | [11 empty] | MC002-34-32-529 REV3 |  | 8 | CLEANSED | INSULATION | TUBE | TYPE | HANGER BRACKET | TUBE SIZE |  | THICKNESS | 31 | MATERIAL | STEEL/GLASS | LENGTH | 41 | DENSITY |  | INSIDE DIAMETER | 34 | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:G7 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060249499 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060249499 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | METROHM TUBING,PART NO 61805120,EA | METROHM TUBING, PART NO 61805120, EACH | 61805120 | 0019011819 | Unknown | URL NOT FOUND |  | METROHM | 61805120 | [11 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060249269 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060249269 | BHP1 | BHP Spares & Supplies | 301016 | Bar | M | MAN2 | ROUND TUBE 152X3.0-6M | ROUND TUBE 152X3.0-6METER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | ROUND | SIZE | 152 X 3.0-6 M | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060216191 | TNG_001 | DATA ENRICHMENT | KIB | KIB | OK | 2022-11-02 | 2022-11-03 |  | 000000000060216191 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | SOLENOID, NG10, D-SERIES, 220/50V, 230/6 | SOLENOID, NG10, D-SERIES, 220/50V, 230/60V; EP T1-T3 FURNACE DOORS |  |  |  | URL NOT FOUND |  |  |  | NG10 |  |  |  |  | FURNACE DOORS | EP T1-T3 |  |  |  |  | CLEANSED | COIL | SOLENOID | TYPE |  | VOLTAGE RATING | 220/230 V | POWER RATING |  | SIZE |  | MATERIAL |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | D-SERIES,FREQUENCY:50/60 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed