## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060239186 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060239186 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,BEACON,XENON,RED,FA260R | INST,LIGHT,BEACON,XENON,RED,FA260R,9-60VDC |  |  |  | https://www.acdc.co.za/products/9-60vdc-2wattseagle-xenon-beacon-red?variant=30478109644 |  |  | FA260R | [11 empty] | ENRICHED | BEACON | NO MODIFIER | TYPE | LIGHT, XENON | LAMP TYPE |  | FLASH RATE |  | VOLTAGE RATING | 9-60 VDC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE | 2 W | LENS MATERIAL |  | SIZE |  | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060240353 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060240353 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | LIGHT,BEKA,SHREDDER,ROUND,LED,HE,29W/220 | LIGHT,BEKA,SHREDDER,ROUND,LED,HE,29W/220V |  |  |  | URL NOT FOUND |  | BEKA SCHREDER | [12 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | ROUND, LED | LAMP WATTAGE | 29 W | POWER SUPPLY | 220 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256226 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256226 | BHP1 | BHP Spares & Supplies | 391018 | Lamp components | EA | MAN2 | LIGHT,BULB,HOLDER,PCB,MOUNT,BA9 | LIGHT, BULB HOLDER, PCB MOUNT, BA9 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HOLDER | LAMP | TYPE | LIGHT, BULB | LAMP TYPE |  | POWER RATING |  | VOLTAGE RATING |  | LAMP BASE | BA9 | HOLDER MATERIAL |  | SIZE |  | MOUNTING TYPE | PCB | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256228 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256228 | BHP1 | BHP Spares & Supplies | 391018 | Lamp components | EA | MAN2 | LIGHT,BULB,HOLDER,PCB,MOUNT,E10 | LIGHT, BULB HOLDER, PCB MOUNT, E10 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HOLDER | LAMP | TYPE | LIGHT, BULB | LAMP TYPE |  | POWER RATING |  | VOLTAGE RATING |  | LAMP BASE | E10 | HOLDER MATERIAL |  | SIZE |  | MOUNTING TYPE | PCB | TERMINAL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256227 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256227 | BHP1 | BHP Spares & Supplies | 391016 | Lamps | EA | MAN2 | LIGHT,E10 | LIGHT, E10 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LAMP | NO MODIFIER | TYPE | LIGHT | WATTAGE |  | VOLTAGE RATING |  | SHAPE DESIGNATION |  | BASE TYPE | E10 | LAMP LIFE |  | COLOUR |  | SIZE |  | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060241615 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060241615 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | LIGHT,EMERGENCY BACK UP 4 HOURS POC SGL | EMERGENCY LIGHT BACK UP 4 HOURS POC SGL 4 FT - 3 FT EMERG LIGHTS WITH 4 HOUR BACK UP INCLUDES 5FT TUBES 1X3FT EMERGENCY CHARGE CONT | BATTERY BACK UP |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | EMERGENCY | TYPE |  | LAMP WATTAGE |  | VOLTAGE RATING |  | BASE TYPE |  | NUMBER OF LAMPS |  | INTENSITY |  | LAMP LIFE |  | BATTERY DETAILS |  | SIZE |  | BACKUP TIME | 4 HR | DEGREE OF PROTECTION |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POC SGL 4 FT - 3 FT, INCLUDES 5 FT TUBES 1 X 3 FT EMERGENCY CHARGE CONT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255369 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255369 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,FITTING,FLUORESCENT,SINGLE,SMALL | LIGHT, FITTING, FLUORESCENT, SINGLE, SMALL |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FIXTURE | LIGHT | TYPE | LIGHT, SMALL | LAMP WATTAGE |  | VOLTAGE RATING |  | BALLAST TYPE |  | LAMP TYPE | FLUORESCENT | FREQUENCY RATING |  | NUMBER OF LAMPS | 1 | LENS |  | CURRENT RATING |  | SIZE |  | MATERIAL |  | DEGREE OF PROTECTION |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060238151 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060238151 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | LIGHT,FLAMEPROOF,220V-50Hz,120W | LIGHT,FLAMEPROOF,OHBF8192-1200,AC220V,50/60Hz,120W | OHBF8192-1200AC220V50 |  |  | URL NOT FOUND |  |  | OHBF8192-1200AC220V50 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | FLAMEPROOF | LAMP WATTAGE | 120 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREQUENCY: 50/60 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248522 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060248522 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,FLOOD,200W,HIFLEX | LIGHT,FLOOD,200W,HIFLEX | FL13-200W | 0019011819 | Unknown | https://www.agcled.com/product-detail/hiflex.html |  |  | FL13-200W | [11 empty] | ENRICHED | LIGHT | FLOOD | TYPE | HIGH POWER | LAMP WATTAGE | 200 W | VOLTAGE RATING |  | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION | IP66 | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HIFLEX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060245234 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060245234 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,FLOOD,HIMAST,HIGHLUMEN,600W,RAPTOR | LIGHT,FLOOD,HIMAST,HIGHLUMEN,600W,RAPTOR |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | FLOOD | TYPE | HIGH LUMEN | LAMP WATTAGE | 600 W | VOLTAGE RATING |  | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: RAPTOR, HIMAST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060254342 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254342 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,FLOOD,LED,200W,WITH,10KV,PROTECTIO | LIGHT, FLOOD, LED, 200W, WITH, 10KV, PROTECTION, 220V |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | FLOOD | TYPE | LED | LAMP WATTAGE | 200 W | VOLTAGE RATING | 200 V | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ 10 KV PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060252433 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060252433 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,FLOOD,LED,230V,400W,FLED2400,MAGNI | LIGHT,FLOOD,LED,230V,400W,FLED2400,MAGNITECH,SPECTRALEDGEN2,MARINEGRADE,6400LM | FLED2400 | 0019011819 | Unknown | URL NOT FOUND |  | MAGNITECH | FLED2400 | [11 empty] | CLEANSED | LIGHT | FLOOD | TYPE | SPECTRALED | LAMP WATTAGE | 400 W | VOLTAGE RATING | 230 V | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY | 6400 LM | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GEN 2, MARINEGRADE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060249869 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060249869 | BHP1 | BHP Spares & Supplies | 391016 | Lamps | EA | MAN2 | LIGHT,FSSERIES,WPROOF,40W,FS-112 | LIGHT, FS SERIES, WPROOF, 40W, FS-112 | FS-112 40W | 0019011819 | Unknown | URL NOT FOUND |  |  | FS-112 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | WATER PROOF | LAMP WATTAGE | 40 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES: FS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060243687 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060243687 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,FULLEON,TYPE,AB1017226,258090E | INST,LIGHT,FULLEON,TYPE: A/B 1017226,25-8090-E,POWER:2.2.-2.4W,CURRENT:245-40MA,VOLTAGE:9-60VDC | TYPE: A/B 1017226 |  |  | URL NOT FOUND |  | FULLEON | A/B 1017226,25-8090-E | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE |  | LAMP WATTAGE | 2.2-2.4 W | POWER SUPPLY | 245-40 MA, 9-60 VDC | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060255193 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255193 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,HIMAST,AFRISOM,170W,LED | LIGHT,HIMAST,AFRISOM,170W,LED,CW,C/BOX,BRACKET |  |  |  | URL NOT FOUND |  | AFRISOM | [12 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | HIGH MAST, LED | LAMP WATTAGE | 170 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BOX, BRACKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060233671 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 | URL FOR REFERENCE ONLY | 000000000060233671 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | LIGHT,IM,SUSPENSION,KIT,GL-LS,ALU.LIN | IM, SUSPENSION, KIT, GL-LS, ALU.LIN.LIGHT |  |  |  | https://www.acdc.co.za/products/1m-suspension-kit-for-gl-ls-alu-lin-light | [14 empty] | CLEANSED | KIT | NO MODIFIER | TYPE | SUSPENSION, LIGHT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1M, FOR GL-LS, ALU.LIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060233665 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 | URL FOR REFERENCE ONLY | 000000000060233665 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | LIGHT,INGROUND,12VAC/DC,MR,16,SSLIGHT SQ | 12VAC/DC, INGROUND, MR, 16, SSLIGHT SQUARE, .98X140, CUTOUT |  |  |  | https://www.acdc.co.za/products/12vac-dc-inground-mr16-ss-light-square-98x140-cutout?variant=30482175756 | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | INGROUND, SQUARE | LAMP WATTAGE |  | POWER SUPPLY | 12 V AC/DC | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL | STAINLESS STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MR16, 98 X 140 CUTOUT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060246735 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060246735 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | LIGHT,L/R,11CB103133,MANITAU,EA | LIGHT, LEFT, REAR, 11CB103133, MANITAU, EACH | 11CB103133 |  |  | URL NOT FOUND |  | MANITOU | 11CB103133 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | LEFT, REAR | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060238762 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 | URL FOR REFERENCE ONLY | 000000000060238762 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | LIGHT,LED,FITTING,COMBO,5W,B22OPEL,PVC6, | LEDLIGHT , FITTING , COMBO , 5W , B22OPEL , PVC6 , PURE , WHITE |  |  |  | https://www.acdc.co.za/products/led-light-fitting-combo-5w-b22-opel-pvc-6-pure-white?variant=30482228492 | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | LED, COMBO | LAMP WATTAGE | 5 W | POWER SUPPLY |  | COLOUR | PURE WHITE | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B22OPEL, PVC6 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256002 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256002 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | LIGHT,LED,HIGHBAY,150W | LIGHT, LED, HIGHBAY, 150W |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | HIGHBAY | LAMP WATTAGE | 150 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060239822 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060239822 | BHP1 | BHP Spares & Supplies | 391118 | Lighting accessories | EA | MAN2 | LIGHT,LM-LED2,230V, RED,CODE LM-LED2 | LIGHT, LM-LED2, 230V, RED, CODE LM-LED2, AC/DC | LM-LED02 |  |  | URL NOT FOUND |  |  | LM-LED02 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE |  | LAMP WATTAGE |  | POWER SUPPLY | 230 V AC/DC | COLOUR | RED | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060251404 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251404 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,LOCO,12W,24V,BATTERY,BACKUP,C/W,BR | LIGHT,LOCO,12W,24V,BATTERY,BACKUP,C/W,BRACKET |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | BATTERY BACKUP | LAMP WATTAGE | 12 W | POWER SUPPLY | 24 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LOCO, C/W BRACKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060164774 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060164774 | BHP1 | BHP Spares & Supplies | 391100 | Lighting, fixtures and accessories | EA | MAN2 | LIGHT,MAG 400W C/W LAMP METAL HALIDE | LIGHT: MAG 400W C/W LAMP METAL HALIDE |  |  |  | URL NOT FOUND |  | MAGNITECH | [12 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE |  | LAMP WATTAGE | 400 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W LAMP METAL HALIDE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060255423 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255423 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,MAG 44,INSERT,LED,70W,EA | LIGHT, MAG 44 INSERT, LED, 70W, MAGNITECH, EACH | N/A | 0019011819 | Unknown | https://magnitech.co.za/our-products/bulkheads/mag44-led/ |  | MAGNITECH | MAG 44 | [11 empty] | ENRICHED | LIGHT | NO MODIFIER | TYPE | LED INSERT | LAMP WATTAGE | 70 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL | DIE CAST ALUMINIUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS, SANS/IEC 60598, SANS 60079-15 | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060243418 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060243418 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,PANEL,LUXN,12W,DAYLIGHT6000K | INST,LIGHT,PANEL,LUXN,12W,DAYLIGHT6000K,CSO | LUXN 12W | 0019011819 | Unknown | https://www.takealot.com/led-panel-light-luxn-12w-100-daylight-6000k/PLID53865644 |  |  | LUXN 12W | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | PANEL, DAYLIGHT | LAMP WATTAGE | 12 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST, COLOUR TEMPERATURE: 6000 K, CSO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060245053 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 | URL FOR REFERENCE ONLY | 000000000060245053 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,PILOT LED GREEN 22MM 110V | LIGHT, PILOT LED GREEN HI-BRITE 22MM 110V AC/DC |  |  |  | https://www.acdc.co.za/products/green-led-pilot-light-hi-brite-22mm?variant=30468698892 | [14 empty] | CLEANSED | LIGHT | INDICATING | TYPE | PILOT LED, HI-BRITE | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 110 V AC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 22 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060244559 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060244559 | BHP1 | BHP Spares & Supplies | 391018 | Lamp components | EA | MAN2 | LIGHT,PILOT,GREEN,AD30-G 110V AC/DC.EA | LIGHT, PILOT, GREEN, 30MM HOLE MOUNTING, AD30-G 110V AC/DC, EACH | AD30-G 110V AC/DC | 0019011819 | Unknown | https://www.acdc.co.za/products/green-led-pilot-light-hi-brite-30mm-110v-ac-dc?variant=30468624012 |  |  | AD30-G | [11 empty] | ENRICHED | LIGHT | INDICATING | TYPE | PILOT LED, HI-BRITE | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 110 V AC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNT TYPE: 30 MM HOLE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060244558 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060244558 | BHP1 | BHP Spares & Supplies | 391018 | Lamp components | EA | MAN2 | LIGHT,PILOT,RED,AD30-R 110V AC/DC,EA | LIGHT, PILOT, RED, 30MM HOLE MOUNTING, AD30-R 110V AC/DC, EACH | AD30-R 110V AC/DC | 0019011819 | Unknown | https://www.acdc.co.za/collections/d_f/products/red-led-pilot-light-hi-brite-30mm-110v-ac-dc?variant=30468625100 |  |  | AD30-R | [11 empty] | ENRICHED | LIGHT | INDICATING | TYPE | PILOT LED, HI-BRITE | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 110 V AC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNT TYPE: 30 MM HOLE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060244549 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060244549 | BHP1 | BHP Spares & Supplies | 391018 | Lamp components | EA | MAN2 | LIGHT,PILOT,YELLOW,AD30-Y 110V AC/DC,EA | LIGHT, PILOT, YELLOW, 30MM HOLE MOUNTING, AD30-Y 110V AC/DC | AD30-Y 110V AC/DC | 0019011819 | Unknown | https://www.acdc.co.za/products/yellow-led-pilot-light-hi-brite-30mm-110v-ac-dc?variant=30468630348 |  |  | AD30-Y | [11 empty] | ENRICHED | LIGHT | INDICATING | TYPE | PILOT LED, HI-BRITE | LAMP WATTAGE |  | LENS COLOUR | YELLOW | VOLTAGE RATING | 110 V AC/DC | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNT TYPE: 30 MM HOLE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060246221 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060246221 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | LIGHT,R/H,11CB103126,MANITAU,EA | LIGHT, RIGHT, HAND, 11CB103126, MANITAU, EACH | 11CB103126 |  |  | URL NOT FOUND |  | MANITOU | 11CB103126 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | RIGHT HAND | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060248692 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060248692 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,REVERSE,LDV,MAUBRA | LIGHT,REVERSE,LDV,MAUBRA |  |  |  | URL NOT FOUND | [8 empty] | LDV |  | MAUBRA |  |  |  | CLEANSED | LIGHT | NO MODIFIER | TYPE | REVERSE | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060245998 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060245998 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | LIGHT,SOLAR,STREET,ALL IN ONE,300W | LIGHT,SOLAR,STREET, ALL IN ONE, 300W,600PCS 2835,SMD,LED,CHIPS | SOLAR STREET LIGHT | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | SOLAR, STREET, ALL IN ONE | LAMP WATTAGE | 300 W | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ 600 PCS 2835 SMD LED CHIPS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232938 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060232938 | BHP1 | BHP Spares & Supplies | 261200 | Electrical wire, cable and harness | EA | MAN2 | LIGHT,SPORT,230VAC,9W,COOLWHITE,LED,B22 | 230VAC,9W,COOLWHITE,LED,SPORTLIGHT,B22 |  |  |  | https://mykit.in/orient-eternal-shine-led-bulb-9w-5-star-cool-white-b22 |  |  | B22 | [11 empty] | CLEANSED | LAMP | LED | TYPE | SPORTLIGHT | WATTAGE | 9 W | VOLTAGE RATING | 230 VAC | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR | COOLWHITE | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060250162 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060250162 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | ST | MAN2 | LIGHT,SPOT,HELL COMET,700FF LDV,EA | LIGHT,SPOT,HELL COMET,700FF LDV,C/W WIRING HARNESS,EA |  |  |  | https://www.carplus.in/products/kmh-comet-700ff-driving-lamp-kit |  | HELLA | COMET 700FF | [5 empty] | LDV | [5 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | SPOT | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W WIRING HARNESS, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060243692 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060243692 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | M | MAN2 | LIGHT,STRIP,LED,HALO 1,ALPHA,UL 60,220V, | LIGHT,STRIP,LED,HALO 1,ALPHA,UL 60,220V,60LED H2,SIB289089 | HALO-UL-60 | 0019011819 | Unknown | https://www.acdc.co.za/pages/product-individual?HALO-UL-60 |  |  | HALO-UL-60 | [11 empty] | ENRICHED | LIGHT | NO MODIFIER | TYPE | STRIP, LED | LAMP WATTAGE |  | POWER SUPPLY | 220 V, 36 VDC | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ HALO 1, ALPHA, UL 60, 60 LED H2, SIB289089 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060251407 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251407 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,STROBE,GREEN,LED,12VDC | LIGHT,STROBE,GREEN,LED,12VDC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | WARNING | TYPE | STROBE, LED | LAMP WATTAGE |  | VOLTAGE RATING | 12 VDC | BASE TYPE |  | INTENSITY |  | COLOUR | GREEN | FLASH RATE |  | COVERAGE AREA |  | DEGREE OF PROTECTION |  | LAMP LIFE |  | SIZE |  | HOUSING MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060247059 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060247059 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,STROBE,RED,BLUE,12-110V(DOUBLE,CAS | LIGHT,STROBE,RED,BLUE,12-110V(DOUBLE,CASTED)EHLSTRLED24RB | EHLSTRLED24RB | 0019011819 | Unknown | URL NOT FOUND |  |  | EHLSTRLED24RB | [11 empty] | CLEANSED | LIGHT | WARNING | TYPE | STROBE, DOUBLE CASTED | LAMP WATTAGE |  | VOLTAGE RATING | 12-110 V | BASE TYPE |  | INTENSITY |  | COLOUR | RED, BLUE | FLASH RATE |  | COVERAGE AREA |  | DEGREE OF PROTECTION |  | LAMP LIFE |  | SIZE |  | HOUSING MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060254307 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254307 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,STROPE,GREEN,BEACON,230VAC | LIGHT, STROPE, GREEN, BEACON, 230VAC, 150MM X 200MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BEACON | NO MODIFIER | TYPE | LIGHT, STROBE | LAMP TYPE |  | FLASH RATE |  | VOLTAGE RATING | 230 VAC | CAP/LENS COLOUR | GREEN | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 200 X 150 MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060241520 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060241520 | BHP1 | BHP Spares & Supplies | P1545 | Electric fittings, lamps fuses, batteries, | EA | MAN2 | LIGHT,TEST,DIGITAL,LED,3-48V,F1090 | DIGITAL LED TEST LIGHT, 3-48V, PN F1090 | F1090 |  |  | URL NOT FOUND |  |  | F1090 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | DIGITAL, LED, TEST | LAMP WATTAGE |  | POWER SUPPLY | 3-48 V | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254867 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254867 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,TRAFFIC,LED,GREEN,220V,EA | LIGHT,TRAFFIC,LED,GREEN,220V,TO FIT 500X250X160 HOUSING,LIGHT ONLY,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | INDICATING | TYPE | TRAFFIC, LED | LAMP WATTAGE |  | LENS COLOUR | GREEN | VOLTAGE RATING | 220 V | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TO FIT 500 X 250 X 160 MM HOUSING, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060254868 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254868 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,TRAFFIC,LED,RED AND GREEN,220V,EA | LIGHT,TRAFFIC,LED,RED AND GREEN,220V,COMPLETE WITH 500X250X160 HOUSING,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | INDICATING | TYPE | TRAFFIC, LED | LAMP WATTAGE |  | LENS COLOUR | RED AND GREEN | VOLTAGE RATING | 220 V | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 500 X 250 X 160 MM HOUSING, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060254864 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254864 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LIGHT,TRAFFIC,LED,RED,220V,EA | LIGHT,TRAFFIC,LED,RED,220V,TO FIT 500X250X160 HOUSING,LIGHT ONLY,EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | INDICATING | TYPE | TRAFFIC, LED | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 220 V | SIZE |  | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TO FIT 500 X 250 X 160 MM HOUSING, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060245619 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060245619 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | LIGHT,TUBE,LED,CLEAR,5FT,BATTERY BACKUP | LIGHT, TUBE, LED, CLEAR, 5FT, FLOURESCENT, BATTERY BACKUP | LIGHT LED 5FT BATTERY BACKUP FLOURESCENT | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | TUBE, LED, FLOURESCENT, BATTERY BACKUP | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | CLEAR | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 5 FT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060249871 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060249871 | BHP1 | BHP Spares & Supplies | 391016 | Lamps | EA | MAN2 | LIGHT,TUBES,2D | LIGHT, TUBES, 2D |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | TUBES, 2D | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060240941 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060240941 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | LIGHT,WARNING BAR,AMBER,LED | LIGHT WARNING BAR AMBER LED LDV'S | HY9218A |  |  | URL NOT FOUND |  |  | HY9218A | [5 empty] | LDV | [5 empty] | CLEANSED | LIGHT | WARNING | TYPE | LED BAR | LAMP WATTAGE |  | VOLTAGE RATING |  | BASE TYPE |  | INTENSITY |  | COLOUR | AMBER | FLASH RATE |  | COVERAGE AREA |  | DEGREE OF PROTECTION |  | LAMP LIFE |  | SIZE |  | HOUSING MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060238963 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060238963 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | LIGHT,WL35,1,STROBE,MINI,RED,12V,DC,LED, | WL35,1,STROBE,MINI,RED,12V,DC,LED,WITH,EARS |  |  |  | URL NOT FOUND |  |  | WL35 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | MINI, 1 STROBE, LED | LAMP WATTAGE |  | POWER SUPPLY | 12 VDC | COLOUR | RED | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ EARS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060255298 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255298 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,WORKING,55153743,DD210L | LIGHT, WORKING, PN 55153743, DD210L | 55153743 | 0019011819 | Unknown | https://www.aga-parts.com/sandvik/part/55153743_working-light/ |  |  | 55153743 | [6 empty] | DD210L |  |  |  |  | CLEANSED | LIGHT | NO MODIFIER | TYPE | WORKING | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060255320 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255320 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHT,WORKING,55153743,DD210L | LIGHT, WORKING, PN 55153743, DD210L | 55153743 | 0019011819 | Unknown | https://www.aga-parts.com/sandvik/part/55153743_working-light/ |  |  | 55153743 | [6 empty] | DD210L |  |  |  |  | CLEANSED | LIGHT | NO MODIFIER | TYPE | WORKING | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254379 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254379 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LIGHTER,TRIPLE,FLINT,MATWELD | LIGHTER, TRIPLE, FLINT, MATWELD |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHTER | NO MODIFIER | TYPE | TRIPLE FLINT, MATWELD | FUEL TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [47 empty] | Production Completed
000000000060244595 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060244595 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | LIGHTING LED 100W HEAT RESISTANCE,8500 | LIGHTING LED 100W HEAT RESISTANCE, 85000LMNS, SAFE WORKING TEMPERATURE 100 DEG -200DEG, 50000HRS LIFE SPAN, SIZE W380xH210D210, ALL | HTRL 01 |  |  | URL NOT FOUND |  |  | HTRL 01 | [11 empty] | CLEANSED | LAMP | LED | TYPE | LIGHT, HEAT RESISTANT | WATTAGE | 100 W | VOLTAGE RATING |  | BASE TYPE |  | SHAPE DESIGNATION |  | COLOUR |  | SIZE | WD 380 X HT 210 X DP 210 MM | COLOUR TEMPERATURE |  | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INTENSITY: 85000 LM, SAFE WORKING TEMPERATURE: 100-200 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060249977 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060249977 | BHP1 | BHP Spares & Supplies | 721022 | Electrical services | EA | MAN2 | LIGHTING,HAULAGE,EMES BOXES,4X4,5M,SPACI | LIGHTING,HAULAGE,EMES BOXES,4X4,5M,SPACING | J/279306 | 0019011819 | Unknown | URL NOT FOUND |  |  | J/279306 | [11 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | HAULAGE BOXES, EMES | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4X4, 5 M SPACING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060246862 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060246862 | BHP1 | BHP Spares & Supplies | 391000 | Lamps (lightbulbs) and lamp components | EA | MAN2 | LIGHTS,PORTABLE,RECHARGEBLE | LIGHTS,PORTABLE,RECHARGEBLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | NO MODIFIER | TYPE | PORTABLE, RECHARGEBLE | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232940 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060232940 | BHP1 | BHP Spares & Supplies | 261200 | Electrical wire, cable and harness | EA | MAN2 | LIGHTTIPS,65,FLOOD,220,240,100W,COOLWHIT | 220,240,100W,COOLWHITE,LEDALUM,FLOOD,LIGHTIPS,65 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | LIGHT | FLOOD | TYPE | LED | LAMP WATTAGE | 100 W | VOLTAGE RATING | 220-240 V | LIGHT COLOUR | COOLWHITE | HOUSING MATERIAL | ALUMINIUM | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LIGHTIPS, 65 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060253439 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060253439 | BHP1 | BHP Spares & Supplies | 111500 | Fibers, threads and yarns | EA | MAN2 | MACHINE, EMBROIDERY AND SEWING | guided bobbin with thread butter Easy bobbin winder with independent, motor Built-in fully automatic needle threader Automatic thread cutter, Upper thread and bobbin thread sensors Automatic thread tension control, Independent Upper Feed System 10 built-in white LED lamps in 5 different, locations including one retractable front lamp and and a full colour, front line light Memory capability up to 4MB of storage Knee lifter, function Connections for two USB sticks Free arm, MACHINE, EMBROIDERY AND SEWING TECHNICAL FEATURES Long arm with large, work space of 11 x 4.7 (280 x 120 mm), Wide, high speed and full-colors LCD touch screen: 7.7 x 4.6 (196.8 x, 118.1 mm) Stitch chart on top cover Horizontal full rotary hook with, transparent bobbin cover Multi-language interface (13 languages) 7, pieces feed dog for a permanent contact with fabric Automatic presser, foot control Automatic presser foot lifter and extra-high lift Easy and | EXPRESSIVE 920 | 0019011819 | Unknown | https://new.elna.com/us/en/models/expressive/expressive-920/ |  |  | EXPRESSIVE 920 | [11 empty] | ENRICHED | MACHINE | NO MODIFIER | TYPE | EMBROIDERY AND SEWING | ELECTRICAL RATING |  | SIZE | 624 X 322 X 262 MM | MATERIAL |  | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GUIDED BOBBIN WITH THREAD BUTTER EASY BOBBIN WINDER WITH INDEPENDENT, MOTOR BUILT-IN FULLY AUTOMATIC NEEDLE THREADER AUTOMATIC THREAD CUTTER, UPPER THREAD AND BOBBIN THREAD SENSORS AUTOMATIC THREAD TENSION CONTROL, INDEPENDENT UPPER FEED SYSTEM 10 BUILT-IN WHITE LED LAMPS IN 5 DIFFERENT, LOCATIONS INCLUDING ONE RETRACTABLE FRONT LAMP AND AND A FULL COLOUR, FRONT LINE LIGHT MEMORY CAPABILITY UP TO 4MB OF STORAGE KNEE LIFTER, FUNCTION CONNECTIONS FOR TWO USB STICKS FREE ARM, TECHNICAL FEATURES LONG ARM WITH LARGE, WORK SPACE OF 11 X 4.7 (280 X 120 MM), WIDE, HIGH SPEED AND FULL-COLORS LCD TOUCH SCREEN: 7.7 X 4.6 (196.8 X, 118.1 MM) STITCH CHART ON TOP COVER HORIZONTAL FULL ROTARY HOOK WITH, TRANSPARENT BOBBIN COVER MULTI-LANGUAGE INTERFACE (13 LANGUAGES) 7, PIECES FEED DOG FOR A PERMANENT CONTACT WITH FABRIC AUTOMATIC PRESSER, FOOT CONTROL AUTOMATIC PRESSER FOOT LIFTER AND EXTRA-HIGH LIFT EASY AND | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255163 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255163 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | MIRROR,INSPECTION,3PCS,5MM,LEDLIGHTS | MIRROR,INSPECTION,3 PCS,5MM LED LIGHTS,MIRROR DIAMETER, 82MM,MAX EXPANDING LENGTH, 760MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MIRROR | INSPECTION | TYPE |  | MIRROR SIZE | DIA 82 MM | ADJUSTMENT TYPE |  | HANDLE LENGTH |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ 5 MM LED LIGHTS, MAX EXPANDING LENGTH: 760 MM, PACKING QUANTITY: 3 PIECE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255037 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255037 | BHP1 | BHP Spares & Supplies | 432100 | Computer Equipment and Accessories | EA | MAN2 | NETWK EQUIP,LIGHT SOURCE,CABLE TESTER,EA | NETWORK EQUIPMENT, LIGHT SOURCE, FIBER CABLE TESTER, EACH |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TESTER | NETWORK | TYPE | EQUIPMENT, LIGHT SOURCE, FIBER CABLE | FUNCTION |  | ELECTRICAL RATING |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | DISPLAY SIZE |  | BATTERY DETAILS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060181262 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060181262 | BHP1 | BHP Spares & Supplies | 311516 | Chains | EA | MAN2 | PITCHES,REDLER CHAIN,400/3002 TI C/W 300 | PITCHES,REDLER CHAIN,400/3002 TI C/W 3002 LINKS,CIRCLIPS, CONNECTING, PINS AND FLIGHTS AS PER DRG 012/5136, AS PER SSI 3085 | RED/012/5136 | 0019008533 | BATEMAN ENGINEERING | URL NOT FOUND |  | BATEMAN ENGINEERING | [9 empty] | 012/5136 |  |  | CLEANSED | CHAIN | NO MODIFIER | TYPE | REDLER, PITCHES | LOAD RATING |  | SIZE |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR: RED, 400/3002 TI C/W 3002 LINKS, CIRCLIPS, CONNECTING PINS AND FLIGHTS, AS PER SSI 3085 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060255044 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255044 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | POWER,SUPPLY,110/220V | POWER SUPPLY, FOR 100M METEOR STRIP LIGHT, 110/220V DC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | POWER SUPPLY | NO MODIFIER | TYPE |  | INPUT RATING | 110/220 V DC | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | NUMBER OF OUTPUTS |  | POWER RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 100 M METEOR STRIP LIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060253861 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060253861 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PURIFIER,RO,4000,LIGHT,COMMERCIAL,4000GP | PURIFIER, RO, 4000, LIGHT, COMMERCIAL, 4000GPD, AND, EXTRA, MEMBRANE | RO5000 | 0019011819 | Unknown | URL NOT FOUND |  |  | RO5000 | [11 empty] | CLEANSED | PURIFIER | NO MODIFIER | TYPE | COMMERCIAL | ELECTRICAL RATING |  | CAPACITY | 4000 GPD | FLOW RATING |  | FILTRATION RATE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LIGHT AND EXTRA MEMBRANE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060254922 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 | SUITABLE NM NOT FOUND | 000000000060254922 | BHP1 | BHP Spares & Supplies | 131000 | Rubber and plastics | EA | MAN2 | RUBBER,ECO,LIGHT,GREY,25.0KG,DIY,2 | RUBBER, ECO LIGHT, GREY, 25.0KG, DIY 25SQ/COAT, REQ 2 COATS | 1310356 | 0019011819 | Unknown | URL NOT FOUND |  |  | 1310356 | [74 empty] | Production Completed
000000000060251686 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060251686 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SPECTRALED,250W/500W,LED,FLOODLIGHT,ALUM | SPECTRALED, 250W/500W, LED, FLOODLIGHT, ALUMINIUM, HP30, MAGNITECH | HP30 | 0019011819 | Unknown | URL NOT FOUND |  | MAGNITECH | HP30 | [11 empty] | CLEANSED | LIGHT | FLOOD | TYPE | LED, SPECTRALED | LAMP WATTAGE | 250/500 W | VOLTAGE RATING |  | LIGHT COLOUR |  | HOUSING MATERIAL | ALUMINIUM | DEGREE OF PROTECTION |  | BALLAST TYPE |  | LAMP LIFE |  | INTENSITY |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060241921 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060241921 | BHP1 | BHP Spares & Supplies | 461815 | Safety apparel | EA | MAN2 | TAKKIE,SAFETY,REBEL LIGHT INUSTRIAL STC | SAFETY TAKKIE REBEL LIGHT INUSTRIAL STC GREY SO8 RE942 | RE94208 |  |  | URL NOT FOUND |  | REBEL | RE94208 | [11 empty] | CLEANSED | SHOE | SAFETY | TYPE | TAKKIE, LIGHT INUSTRIAL | GENDER |  | SIZE DESIGNATION |  | MATERIAL |  | INSOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STC, SO8 RE942 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060254239 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254239 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | BALL VALVE,25MM,3 PIECE,202506,FULL BORE | BALL VALVE, 25MM, 3 PIECE, 202506, FULL BORE, STAINLESS STEEL, THREAD ENDS, WITH DIRECT MOUNTING ACTUATOR |  |  |  | https://www.genebre.com/3-pcs-full-bore-ball-valve |  |  | 2025 06 | [11 empty] | ENRICHED | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 25 MM | END CONNECTION | THREADED | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO, EN 10226-1 | ADDITIONAL FEATURES EN | W/ DIRECT MOUNTING ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060250502 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060250502 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | BALL VALVE,2INCH,3 PIECE,316, FULL BORE | BALL VALVE,2INCH,3 PIECE,316, FULL BORE,STAINLESS STEEL,CONNECTION SCREWED,WITH DOUBLE ACTING ACTUATOR,1000 WOG | 1000 WOG | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 2 IN | END CONNECTION | SCREWED | PRESSURE CLASS/RATING | 1000 PSI | BODY MATERIAL | STAINLESS STEEL 316 | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ DOUBLE ACTING ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060254240 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254240 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | BALL VALVE,32MM,3 PIECE,202507,FULL BORE | BALL VALVE, 32MM, 3 PIECE, 202507, FULL BORE, STAINLESS STEEL, THREAD ENDS, WITH DIRECT MOUNTING ACTUATOR |  |  |  | https://www.genebre.com/3-pcs-full-bore-ball-valve |  |  | 202507 | [11 empty] | ENRICHED | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 32 MM | END CONNECTION | THREADED | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO, EN 10226-1 | ADDITIONAL FEATURES EN | W/ DIRECT MOUNTING ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060254242 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254242 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | BALL VALVE,50MM,3 PIECE,202509,FULL BORE | BALL VALVE, 50MM, 3 PIECE, 202509, FULL BORE, STAINLESS STEEL, THREAD ENDS, WITH DIRECT MOUNTING ACTUATOR |  |  |  | https://www.genebre.com/3-pcs-full-bore-ball-valve |  |  | 202509 | [11 empty] | ENRICHED | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 50 MM | END CONNECTION | THREADED | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO, EN 10226-1 | ADDITIONAL FEATURES EN | W/ DIRECT MOUNTING ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060254241 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254241 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | BALL VALVE,63MM,3 PIECE,202510,FULL BORE | BALL VALVE, 63MM, 3 PIECE, 202510, FULL BORE, STAINLESS STEEL, THREAD ENDS, WITH DIRECT MOUNTING ACTUATOR |  |  |  | https://www.genebre.com/3-pcs-full-bore-ball-valve |  |  | 202510 | [11 empty] | ENRICHED | VALVE | BALL | TYPE | 3-PIECE | NOMINAL SIZE | 63 MM | END CONNECTION | THREADED | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL | CONFIGURATION |  | PORT TYPE | FULL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO, EN 10226-1 | ADDITIONAL FEATURES EN | W/ DIRECT MOUNTING ACTUATOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060254404 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060254404 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | BALL VALVE,FEMALE,40MM PVC,EA | BALL VALVE, FEMALE THREAD, 40MM PVC, EA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | BALL | TYPE |  | NOMINAL SIZE | 40 MM | END CONNECTION | FEMALE THREAD | PRESSURE CLASS/RATING |  | BODY MATERIAL | POLYVINYL CHLORIDE | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060250410 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060250410 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | FESTO VALVE, INSTRUMENTATION, 4-20MA, 10 | FESTO VALVE, INSTRUMENTATION, 4-20MA, 100MM PISTON, DFPI-100-150-ND2P-C1V-NB3P-A 2184841, FESTO LINEAR ACTUATORS DFPI WITH CLEVIS SW | DFPI-100-150-ND2P-C1V-NB3P-A 2184841 | 0019011819 | Unknown | https://www.festo.com/media/pim/988/D15000100121988.PDF | https://www.festo.com/my/en/a/2184841/?q=dfp~:sortByFacetValues-asc | FESTO | DFPI-100-150-ND2P-C1V-NB3P-A 2184841 | [11 empty] | ENRICHED | ACTUATOR | NO MODIFIER | TYPE | LINEAR | SIZE |  | TRAVEL |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 15552 | ADDITIONAL FEATURES EN | OUTPUT RATING: 4-20 MA, PISTON SIZE: 100 MM, VALVE INSTRUMENTATION, DFPI W/ CLEVIS SW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253943 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060253943 | BHP1 | BHP Spares & Supplies | 401017 | Cooling | EA | MAN2 | FLOAT,VALVE,ASSEMBLY,EVAPCO,PART,NO,030- | FLOAT VALVE ASSEMBLY, EVAPCO, PART NO 030-0007, 2 INCH COMPLETED WITH 10 INCH BALL, MODEL NO ATW 144-3K-2, SERIAL NO 16-8180 |  |  |  | https://2.imimg.com/data2/EW/FD/MY-4973371/evaporative-closed-circuit-liquid-cooler.pdf |  | EVAPCO | 030-0007 | ATW 144-3K-2 | [8 empty] | 16-8180 |  | CLEANSED | ASSEMBLY | NO MODIFIER | TYPE | FLOAT VALVE | ADDITIONAL FEATURES EN | 2 IN C/W 10 IN BALL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [53 empty] | Production Completed
000000000060247478 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060247478 | BHP1 | BHP Spares & Supplies | 311600 | Hardware | EA | MAN2 | FLUSH,VALVE,URINAL, | VALVE,URINAL,FLUSH, |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | URINAL FLUSH | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060171252 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060171252 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | NON RETURN DOOR D/DOOR 100MM VALVE STEEL | NON RETURN DOOR D/DOOR 100MM VALVE STEEL DISC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | CHECK | TYPE | NON RETURN DOOR, D | NOMINAL SIZE | 100 MM | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DISC MATERIAL: STEEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060255297 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255297 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | RECON,100MM,MTT,VALVE | VALVE, RECON, 100MM, MTT, STRAIGHT, THRU, TYPE, DAIPHRAGM, VALVE | ST100REC | 0019011819 | Unknown | URL NOT FOUND |  | RECON | ST100REC | [11 empty] | CLEANSED | VALVE | DIAPHRAGM | TYPE | STRAIGHT, THROUGH | NOMINAL SIZE | 100 MM | END CONNECTION |  | DIAPHRAGM MATERIAL |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | OPERATED |  | BODY MATERIAL |  | BONNET JOINT |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MTT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060238921 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060238921 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RELIEF,VALVE,421-43-48640,WA480-6 | RELIEF,VALVE,421-43-48640,WA480-6 | 421-43-48640 RELIEF VALVE | 0019001867 | KOMATSU CORP | https://www.stszcmparts.com/loader-parts/58380680.html |  | KOMATSU CORP | 421-43-48640 | [6 empty] | WA480-6 |  |  |  |  | CLEANSED | VALVE | RELIEF | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | SET PRESSURE |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060256076 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256076 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | STEAM VALVE,SOLENOID 24VDC,1/2INCH,CW617 | STEAM VALVE, SOLENOID 24VDC, 1/2INCH, ELECTRICALLY OPERATED, CW617N | CW617N | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | SOLENOID | TYPE | STEAM, ELECTRICALLY OPERATED | NOMINAL SIZE | 1/2 IN | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | CW617N | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060256073 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060256073 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | STEAM VALVE,SOLENOID 24VDC,ELECTRICALLY | STEAM VALVE, SOLENOID 24VDC, ELECTRICALLY OPERATED, 1INCH, CW617N |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | SOLENOID | TYPE | STEAM, ELECTRICALLY OPERATED | NOMINAL SIZE | 1 IN | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | CW617N | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060255413 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255413 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | TRACKING VALVE,INCL.,ROUND PADDLE,GKD,EA | TRACKING VALVE, INCLUDING ROUND PADDLE, BELT FILTER CLOTH, GKD, EACH |  |  |  | URL NOT FOUND |  | GKD | [12 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | TRACKING | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INCLUDING ROUND PADDLE, BELT FILTER CLOTH, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060255360 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060255360 | BHP1 | BHP Spares & Supplies | 401421 | Pipe | EA | MAN2 | VALVE 100MM DIA,TYPE KB,SAUNDERS,FLANGE | VALVE 100MM DIA,TYPE KB,SAUNDERS,FLANGE TABLE D,RUBBERLINED 6MM LINATEX | VALVE 100MM DIA | 0019011819 | Unknown | URL NOT FOUND |  | LINATEX CORP |  |  | SAUNDERS VALVE | [9 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | TYPE KB | NOMINAL SIZE | DIA 100 MM | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ 6 MM RUBBER LINED, FLANGE TABLE D | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060222095 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060222095 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | VALVE BANK, PECKER | VALVE BANK, PECKER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | BANK, PECKER | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060252488 | TNG_001 | DATA ENRICHMENT | MKV | MKV | OK | 2022-11-02 | 2022-11-03 |  | 000000000060252488 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | VALVE BANK,3EC6135310,KOMATSU,EA | VALVE, BANK, 3EC6135310, KOMATSU, EACH | 3EC6135310 |  |  | https://forklifts24.ru/product/control-valve-ass-y-3-spool-komatsu-forklifts-3ec-61-35310 |  | KOMATSU | 3EC6135310 | [11 empty] | ENRICHED | VALVE | CONTROL | TYPE | BANK | NOMINAL SIZE |  | END CONNECTION |  | ACTUATION TYPE |  | POSITIONER TYPE |  | FAILURE POSITION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | FLOW RATING |  | END TO END DISTANCE |  | PORT TYPE |  | CONFIGURATION |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed